## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -10.213 | 0 | 0
246.5 | -8.7617 | 1.3893 | 0.00037924
247 | -7.9051 | 2.2459 | 0.00061307
247.5 | -10.767 | 0 | 0
248 | -9.2611 | 0.8899 | 0.00024292
248.5 | -8.9101 | 1.2409 | 0.00033873
249 | -7.1327 | 3.0183 | 0.00082392
249.5 | -4.951 | 5.2 | 0.0014195
250 | -8.4895 | 1.6615 | 0.00045355
250.5 | -7.4973 | 2.6537 | 0.00072439
251 | -7.5841 | 2.5669 | 0.0007007
251.5 | -8.135 | 2.016 | 0.00055032
252 | -6.6554 | 3.4956 | 0.00095421
252.5 | -5.2856 | 4.8654 | 0.0013281
253 | -7.0853 | 3.0657 | 0.00083686
253.5 | -8.136 | 2.015 | 0.00055004
254 | -10.151 | 0 | 0
254.5 | -9.5653 | 0.5857 | 0.00015988
255 | -10.358 | 0 | 0
255.5 | -10.784 | 0 | 0
256 | -9.5653 | 0.5857 | 0.00015988
256.5 | -9.0548 | 1.0962 | 0.00029923
257 | -8.6017 | 1.5493 | 0.00042292
257.5 | -9.1709 | 0.9801 | 0.00026754
258 | -9.6209 | 0.5301 | 0.0001447
258.5 | -9.7554 | 0.3956 | 0.00010799
259 | -9.4658 | 0.6852 | 0.00018704
259.5 | -9.2242 | 0.9268 | 0.00025299
260 | -9.0871 | 1.0639 | 0.00029042
260.5 | -8.8923 | 1.2587 | 0.00034359
261 | -8.6859 | 1.4651 | 0.00039993
261.5 | -8.5996 | 1.5514 | 0.00042349
262 | -8.5806 | 1.5704 | 0.00042868
262.5 | -8.6531 | 1.4979 | 0.00040889
263 | -8.7245 | 1.4265 | 0.0003894
263.5 | -8.6183 | 1.5327 | 0.00041839
264 | -8.4237 | 1.7273 | 0.00047151
264.5 | -8.2328 | 1.9182 | 0.00052362
265 | -8.3948 | 1.7562 | 0.0004794
265.5 | -8.6458 | 1.5052 | 0.00041088
266 | -8.7864 | 1.3646 | 0.0003725
266.5 | -8.8761 | 1.2749 | 0.00034801
267 | -8.9871 | 1.1639 | 0.00031771
267.5 | -9.1761 | 0.9749 | 0.00026612
268 | -9.3606 | 0.7904 | 0.00021576
268.5 | -9.8835 | 0.2675 | 7.3021e-05
269 | -10.313 | 0 | 0
269.5 | -10.548 | 0 | 0
270 | -10.5 | 0 | 0
270.5 | -10.589 | 0 | 0
271 | -10.673 | 0 | 0
271.5 | -10.692 | 0 | 0
272 | -10.611 | 0 | 0
272.5 | -10.61 | 0 | 0
273 | -10.682 | 0 | 0
273.5 | -10.763 | 0 | 0
274 | -10.817 | 0 | 0
274.5 | -10.778 | 0 | 0
275 | -10.654 | 0 | 0
275.5 | -10.363 | 0 | 0
276 | -10.169 | 0 | 0
276.5 | -10.109 | 0.042 | 1.1465e-05
277 | -10.071 | 0.08 | 2.1838e-05
277.5 | -9.9635 | 0.1875 | 5.1183e-05
278 | -9.7368 | 0.4142 | 0.00011307
278.5 | -9.481 | 0.67 | 0.00018289
279 | -9.3852 | 0.7658 | 0.00020904
279.5 | -9.2611 | 0.8899 | 0.00024292
280 | -9.0814 | 1.0696 | 0.00029197
280.5 | -8.9664 | 1.1846 | 0.00032337
281 | -8.8978 | 1.2532 | 0.00034209
281.5 | -8.7695 | 1.3815 | 0.00037711
282 | -8.495 | 1.656 | 0.00045205
282.5 | -8.1284 | 2.0226 | 0.00055212
283 | -7.7769 | 2.3741 | 0.00064807
283.5 | -7.1963 | 2.9547 | 0.00080656
284 | -6.8138 | 3.3372 | 0.00091097
284.5 | -6.6679 | 3.4831 | 0.0009508
285 | -6.5419 | 3.6091 | 0.00098519
285.5 | -6.465 | 3.686 | 0.0010062
286 | -6.1542 | 3.9968 | 0.001091
286.5 | -5.9365 | 4.2145 | 0.0011504
287 | -6.0567 | 4.0943 | 0.0011176
287.5 | -6.0775 | 4.0735 | 0.001112
288 | -6.1109 | 4.0401 | 0.0011028
288.5 | -6.328 | 3.823 | 0.0010436
289 | -6.6712 | 3.4798 | 0.0009499
289.5 | -6.7676 | 3.3834 | 0.00092358
290 | -7.0385 | 3.1125 | 0.00084963
290.5 | -7.3275 | 2.8235 | 0.00077074
291 | -7.4765 | 2.6745 | 0.00073007
291.5 | -7.5744 | 2.5766 | 0.00070335
292 | -7.6407 | 2.5103 | 0.00068525
292.5 | -7.7419 | 2.4091 | 0.00065762
293 | -8.1269 | 2.0241 | 0.00055253
293.5 | -8.2074 | 1.9436 | 0.00053055
294 | -8.2492 | 1.9018 | 0.00051914
294.5 | -8.2863 | 1.8647 | 0.00050901
295 | -8.1719 | 1.9791 | 0.00054024
295.5 | -7.8916 | 2.2594 | 0.00061676
296 | -7.8916 | 2.2594 | 0.00061676
296.5 | -8.1159 | 2.0351 | 0.00055553
297 | -8.2871 | 1.8639 | 0.0005088
297.5 | -8.4902 | 1.6608 | 0.00045336
298 | -8.5491 | 1.6019 | 0.00043728
298.5 | -8.4842 | 1.6668 | 0.00045499
299 | -8.4314 | 1.7196 | 0.00046941
299.5 | -8.2433 | 1.9077 | 0.00052075
300 | -8.2693 | 1.8817 | 0.00051366
300.5 | -8.4026 | 1.7484 | 0.00047727
301 | -8.6307 | 1.5203 | 0.000415
301.5 | -8.7528 | 1.3982 | 0.00038167
302 | -8.8938 | 1.2572 | 0.00034318
302.5 | -8.9189 | 1.2321 | 0.00033633
303 | -8.8254 | 1.3256 | 0.00036185
303.5 | -8.8186 | 1.3324 | 0.00036371
304 | -8.7647 | 1.3863 | 0.00037842
304.5 | -8.987 | 1.164 | 0.00031774
305 | -9.2066 | 0.9444 | 0.0002578
305.5 | -9.5213 | 0.6297 | 0.00017189
306 | -9.513 | 0.638 | 0.00017416
306.5 | -9.2457 | 0.9053 | 0.00024712
307 | -8.9795 | 1.1715 | 0.00031979
307.5 | -8.6188 | 1.5322 | 0.00041825
308 | -8.4255 | 1.7255 | 0.00047102
308.5 | -8.1873 | 1.9637 | 0.00053604
309 | -8.0989 | 2.0521 | 0.00056017
309.5 | -7.9973 | 2.1537 | 0.0005879
310 | -7.9954 | 2.1556 | 0.00058842
310.5 | -7.9354 | 2.2156 | 0.0006048
311 | -7.7884 | 2.3626 | 0.00064493
311.5 | -7.8711 | 2.2799 | 0.00062235
312 | -7.829 | 2.322 | 0.00063385
312.5 | -7.955 | 2.196 | 0.00059945
313 | -7.8798 | 2.2712 | 0.00061998
313.5 | -7.6351 | 2.5159 | 0.00068678
314 | -7.286 | 2.865 | 0.00078207
314.5 | -6.9647 | 3.1863 | 0.00086978
315 | -7.0066 | 3.1444 | 0.00085834
315.5 | -7.0102 | 3.1408 | 0.00085736
316 | -7.0508 | 3.1002 | 0.00084627
316.5 | -6.9467 | 3.2043 | 0.00087469
317 | -6.8747 | 3.2763 | 0.00089435
317.5 | -6.8943 | 3.2567 | 0.00088899
318 | -6.5699 | 3.5811 | 0.00097755
318.5 | -6.1814 | 3.9696 | 0.0010836
319 | -6.1188 | 4.0322 | 0.0011007
319.5 | -6.4546 | 3.6964 | 0.001009
320 | -6.7029 | 3.4481 | 0.00094124
320.5 | -7.0491 | 3.1019 | 0.00084674
321 | -7.055 | 3.096 | 0.00084513
321.5 | -7.0149 | 3.1361 | 0.00085607
322 | -7.0639 | 3.0871 | 0.0008427
322.5 | -7.0268 | 3.1242 | 0.00085283
323 | -6.9101 | 3.2409 | 0.00088468
323.5 | -6.6792 | 3.4718 | 0.00094771
324 | -6.3241 | 3.8269 | 0.0010446
324.5 | -6.2114 | 3.9396 | 0.0010754
325 | -6.0855 | 4.0655 | 0.0011098
325.5 | -5.6378 | 4.5132 | 0.001232
326 | -5.2606 | 4.8904 | 0.001335
326.5 | -5.137 | 5.014 | 0.0013687
327 | -4.9955 | 5.1555 | 0.0014073
327.5 | -5.083 | 5.068 | 0.0013834
328 | -5.0497 | 5.1013 | 0.0013925
328.5 | -5.0944 | 5.0566 | 0.0013803
329 | -4.9818 | 5.1692 | 0.0014111
329.5 | -5.1212 | 5.0298 | 0.001373
330 | -5.1057 | 5.0453 | 0.0013772
330.5 | -5.0604 | 5.0906 | 0.0013896
331 | -5.0892 | 5.0618 | 0.0013817
331.5 | -5.3154 | 4.8356 | 0.00132
332 | -5.6578 | 4.4932 | 0.0012265
332.5 | -5.834 | 4.317 | 0.0011784
333 | -6.0057 | 4.1453 | 0.0011316
333.5 | -5.869 | 4.282 | 0.0011689
334 | -5.7104 | 4.4406 | 0.0012122
334.5 | -5.5785 | 4.5725 | 0.0012482
335 | -5.1853 | 4.9657 | 0.0013555
335.5 | -4.8463 | 5.3047 | 0.001448
336 | -4.601 | 5.55 | 0.001515
336.5 | -4.6651 | 5.4859 | 0.0014975
337 | -4.7079 | 5.4431 | 0.0014858
337.5 | -4.7162 | 5.4348 | 0.0014836
338 | -4.4656 | 5.6854 | 0.001552
338.5 | -4.001 | 6.15 | 0.0016788
339 | -3.6908 | 6.4602 | 0.0017635
339.5 | -3.5126 | 6.6384 | 0.0018121
340 | -3.751 | 6.4 | 0.001747
340.5 | -4.0677 | 6.0833 | 0.0016606
341 | -4.1869 | 5.9641 | 0.001628
341.5 | -4.3769 | 5.7741 | 0.0015762
342 | -4.6261 | 5.5249 | 0.0015082
342.5 | -4.7522 | 5.3988 | 0.0014737
343 | -4.6831 | 5.4679 | 0.0014926
343.5 | -4.4916 | 5.6594 | 0.0015449
344 | -4.3773 | 5.7737 | 0.0015761
344.5 | -4.4689 | 5.6821 | 0.0015511
345 | -4.7775 | 5.3735 | 0.0014668
345.5 | -4.758 | 5.393 | 0.0014721
346 | -4.5208 | 5.6302 | 0.0015369
346.5 | -4.122 | 6.029 | 0.0016458
347 | -3.5318 | 6.6192 | 0.0018069
347.5 | -3.0608 | 7.0902 | 0.0019354
348 | -2.6932 | 7.4578 | 0.0020358
348.5 | -2.1777 | 7.9733 | 0.0021765
349 | -1.4827 | 8.6683 | 0.0023662
349.5 | -0.66431 | 9.4867 | 0.0025896
350 | 0.1875 | 10.3385 | 0.0028221
350.5 | 1.1699 | 11.3209 | 0.0030903
351 | 2.1863 | 12.3373 | 0.0033678
351.5 | 3.5624 | 13.7134 | 0.0037434
352 | 5.2173 | 15.3683 | 0.0041951
352.5 | 7.6824 | 17.8334 | 0.0048681
353 | 10.903 | 21.054 | 0.0057472
353.5 | 15.41 | 25.561 | 0.0069775
354 | 21.818 | 31.969 | 0.0087267
354.5 | 30.732 | 40.883 | 0.01116
355 | 43.293 | 53.444 | 0.014589
355.5 | 60.068 | 70.219 | 0.019168
356 | 81.833 | 91.984 | 0.025109
356.5 | 111.04 | 121.191 | 0.033082
357 | 147.98 | 158.131 | 0.043166
357.5 | 193.91 | 204.061 | 0.055703
358 | 251.95 | 262.101 | 0.071547
358.5 | 321.64 | 331.791 | 0.09057
359 | 404.11 | 414.261 | 0.11308
359.5 | 503.43 | 513.581 | 0.14019
360 | 618.06 | 628.211 | 0.17149
360.5 | 749.49 | 759.641 | 0.20736
361 | 900.17 | 910.321 | 0.24849
361.5 | 1067.3 | 1077.451 | 0.29412
362 | 1250.9 | 1261.051 | 0.34423
362.5 | 1450.6 | 1460.751 | 0.39875
363 | 1662 | 1672.151 | 0.45645
363.5 | 1882.1 | 1892.251 | 0.51654
364 | 2106.6 | 2116.751 | 0.57782
364.5 | 2330.5 | 2340.651 | 0.63894
365 | 2548.8 | 2558.951 | 0.69853
365.5 | 2756.4 | 2766.551 | 0.7552
366 | 2951 | 2961.151 | 0.80832
366.5 | 3127.3 | 3137.451 | 0.85644
367 | 3282 | 3292.151 | 0.89867
367.5 | 3414.4 | 3424.551 | 0.93481
368 | 3518.4 | 3528.551 | 0.9632
368.5 | 3592.8 | 3602.951 | 0.98351
369 | 3638.9 | 3649.051 | 0.9961
369.5 | 3653.2 | 3663.351 | 1
370 | 3641 | 3651.151 | 0.99667
370.5 | 3606.8 | 3616.951 | 0.98733
371 | 3551.2 | 3561.351 | 0.97216
371.5 | 3480 | 3490.151 | 0.95272
372 | 3395.2 | 3405.351 | 0.92957
372.5 | 3295.9 | 3306.051 | 0.90247
373 | 3187 | 3197.151 | 0.87274
373.5 | 3070.4 | 3080.551 | 0.84091
374 | 2947.6 | 2957.751 | 0.80739
374.5 | 2822 | 2832.151 | 0.7731
375 | 2696.2 | 2706.351 | 0.73876
375.5 | 2571.6 | 2581.751 | 0.70475
376 | 2448.4 | 2458.551 | 0.67112
376.5 | 2327.1 | 2337.251 | 0.63801
377 | 2207.1 | 2217.251 | 0.60525
377.5 | 2088.6 | 2098.751 | 0.5729
378 | 1973 | 1983.151 | 0.54135
378.5 | 1861.1 | 1871.251 | 0.5108
379 | 1753.3 | 1763.451 | 0.48138
379.5 | 1649.6 | 1659.751 | 0.45307
380 | 1549.9 | 1560.051 | 0.42585
380.5 | 1454.2 | 1464.351 | 0.39973
381 | 1363.3 | 1373.451 | 0.37492
381.5 | 1276.1 | 1286.251 | 0.35111
382 | 1193.8 | 1203.951 | 0.32865
382.5 | 1117 | 1127.151 | 0.30768
383 | 1044.7 | 1054.851 | 0.28795
383.5 | 977.36 | 987.511 | 0.26956
384 | 914.69 | 924.841 | 0.25246
384.5 | 855.94 | 866.091 | 0.23642
385 | 801.44 | 811.591 | 0.22154
385.5 | 750.64 | 760.791 | 0.20768
386 | 703.07 | 713.221 | 0.19469
386.5 | 659.24 | 669.391 | 0.18273
387 | 618.31 | 628.461 | 0.17155
387.5 | 580.24 | 590.391 | 0.16116
388 | 545 | 555.151 | 0.15154
388.5 | 511.95 | 522.101 | 0.14252
389 | 481.34 | 491.491 | 0.13416
389.5 | 452.96 | 463.111 | 0.12642
390 | 426.52 | 436.671 | 0.1192
390.5 | 402.4 | 412.551 | 0.11262
391 | 379.92 | 390.071 | 0.10648
391.5 | 358.82 | 368.971 | 0.10072
392 | 339.12 | 349.271 | 0.095342
392.5 | 320.57 | 330.721 | 0.090278
393 | 302.81 | 312.961 | 0.08543
393.5 | 286.45 | 296.601 | 0.080964
394 | 270.91 | 281.061 | 0.076722
394.5 | 256.46 | 266.611 | 0.072778
395 | 242.99 | 253.141 | 0.069101
395.5 | 230.43 | 240.581 | 0.065672
396 | 218.45 | 228.601 | 0.062402
396.5 | 206.8 | 216.951 | 0.059222
397 | 195.37 | 205.521 | 0.056102
397.5 | 184.77 | 194.921 | 0.053208
398 | 174.62 | 184.771 | 0.050438
398.5 | 165 | 175.151 | 0.047812
399 | 155.95 | 166.101 | 0.045341
399.5 | 147.5 | 157.651 | 0.043035
400 | 139.73 | 149.881 | 0.040914
400.5 | 132.52 | 142.671 | 0.038945
401 | 125.35 | 135.501 | 0.036988
401.5 | 118.41 | 128.561 | 0.035094
402 | 111.84 | 121.991 | 0.0333
402.5 | 105.86 | 116.011 | 0.031668
403 | 100.28 | 110.431 | 0.030145
403.5 | 95.132 | 105.283 | 0.02874
404 | 90.391 | 100.542 | 0.027445
404.5 | 86.001 | 96.152 | 0.026247
405 | 81.666 | 91.817 | 0.025064
405.5 | 77.656 | 87.807 | 0.023969
406 | 73.785 | 83.936 | 0.022912
406.5 | 69.985 | 80.136 | 0.021875
407 | 66.338 | 76.489 | 0.02088
407.5 | 62.936 | 73.087 | 0.019951
408 | 59.949 | 70.1 | 0.019135
408.5 | 57.186 | 67.337 | 0.018381
409 | 54.573 | 64.724 | 0.017668
409.5 | 52.046 | 62.197 | 0.016978
410 | 49.739 | 59.89 | 0.016348
410.5 | 47.519 | 57.67 | 0.015742
411 | 45.187 | 55.338 | 0.015106
411.5 | 43.066 | 53.217 | 0.014527
412 | 40.932 | 51.083 | 0.013944
412.5 | 38.922 | 49.073 | 0.013396
413 | 37.456 | 47.607 | 0.012995
413.5 | 36.315 | 46.466 | 0.012684
414 | 34.89 | 45.041 | 0.012295
414.5 | 33.131 | 43.282 | 0.011815
415 | 31.586 | 41.737 | 0.011393
415.5 | 30.182 | 40.333 | 0.01101
416 | 28.73 | 38.881 | 0.010614
416.5 | 27.151 | 37.302 | 0.010182
417 | 26.032 | 36.183 | 0.009877
417.5 | 25.236 | 35.387 | 0.0096597
418 | 24.604 | 34.755 | 0.0094872
418.5 | 23.849 | 34 | 0.0092811
419 | 22.873 | 33.024 | 0.0090147
419.5 | 21.606 | 31.757 | 0.0086688
420 | 20.481 | 30.632 | 0.0083617
420.5 | 19.538 | 29.689 | 0.0081043
421 | 18.523 | 28.674 | 0.0078273
421.5 | 17.538 | 27.689 | 0.0075584
422 | 16.739 | 26.89 | 0.0073403
422.5 | 16.244 | 26.395 | 0.0072052
423 | 15.723 | 25.874 | 0.0070629
423.5 | 14.774 | 24.925 | 0.0068039
424 | 13.665 | 23.816 | 0.0065012
424.5 | 12.698 | 22.849 | 0.0062372
425 | 11.991 | 22.142 | 0.0060442
425.5 | 11.504 | 21.655 | 0.0059113
426 | 11.111 | 21.262 | 0.005804
426.5 | 10.582 | 20.733 | 0.0056596
427 | 9.9811 | 20.1321 | 0.0054955
427.5 | 9.4133 | 19.5643 | 0.0053405
428 | 8.5777 | 18.7287 | 0.0051125
428.5 | 7.591 | 17.742 | 0.0048431
429 | 6.7714 | 16.9224 | 0.0046194
429.5 | 6.1855 | 16.3365 | 0.0044594
430 | 5.8392 | 15.9902 | 0.0043649
430.5 | 5.1379 | 15.2889 | 0.0041735
431 | 4.2318 | 14.3828 | 0.0039261
431.5 | 3.2407 | 13.3917 | 0.0036556
432 | 2.4408 | 12.5918 | 0.0034372
432.5 | 1.8709 | 12.0219 | 0.0032817
433 | 1.3653 | 11.5163 | 0.0031437
433.5 | 0.85752 | 11.0085 | 0.003005
434 | 0.41802 | 10.569 | 0.0028851
434.5 | -0.18694 | 9.9641 | 0.0027199
435 | -0.8217 | 9.3293 | 0.0025467
435.5 | -1.3695 | 8.7815 | 0.0023971
436 | -1.9493 | 8.2017 | 0.0022389
436.5 | -2.1762 | 7.9748 | 0.0021769
437 | -2.169 | 7.982 | 0.0021789
437.5 | -2.1339 | 8.0171 | 0.0021885
438 | -2.3239 | 7.8271 | 0.0021366
438.5 | -2.4455 | 7.7055 | 0.0021034
439 | -2.5535 | 7.5975 | 0.0020739
439.5 | -2.6824 | 7.4686 | 0.0020387
440 | -2.779 | 7.372 | 0.0020124
440.5 | -2.747 | 7.404 | 0.0020211
441 | -2.8234 | 7.3276 | 0.0020002
441.5 | -3.0662 | 7.0848 | 0.001934
442 | -3.4264 | 6.7246 | 0.0018356
442.5 | -3.7186 | 6.4324 | 0.0017559
443 | -4.194 | 5.957 | 0.0016261
443.5 | -4.4687 | 5.6823 | 0.0015511
444 | -4.7182 | 5.4328 | 0.001483
444.5 | -4.9812 | 5.1698 | 0.0014112
445 | -5.3934 | 4.7576 | 0.0012987
445.5 | -5.7994 | 4.3516 | 0.0011879
446 | -6.2272 | 3.9238 | 0.0010711
446.5 | -6.6184 | 3.5326 | 0.00096431
447 | -6.8603 | 3.2907 | 0.00089828
447.5 | -7.1363 | 3.0147 | 0.00082294
448 | -7.2285 | 2.9225 | 0.00079777
448.5 | -7.474 | 2.677 | 0.00073075
449 | -7.6972 | 2.4538 | 0.00066982
449.5 | -8.1919 | 1.9591 | 0.00053478
450 | -8.6088 | 1.5422 | 0.00042098
450.5 | -8.806 | 1.345 | 0.00036715
451 | -8.9357 | 1.2153 | 0.00033175
451.5 | -9.0856 | 1.0654 | 0.00029083
452 | -9.2615 | 0.8895 | 0.00024281
452.5 | -9.2597 | 0.8913 | 0.0002433
453 | -9.2083 | 0.9427 | 0.00025733
453.5 | -9.1971 | 0.9539 | 0.00026039
454 | -9.1835 | 0.9675 | 0.0002641
454.5 | -9.2891 | 0.8619 | 0.00023528
455 | -9.0685 | 1.0825 | 0.00029549
455.5 | -8.5833 | 1.5677 | 0.00042794
456 | -8.29 | 1.861 | 0.000508
456.5 | -8.1083 | 2.0427 | 0.0005576
457 | -7.8209 | 2.3301 | 0.00063606
457.5 | -7.5992 | 2.5518 | 0.00069658
458 | -7.3641 | 2.7869 | 0.00076075
458.5 | -7.418 | 2.733 | 0.00074604
459 | -7.5198 | 2.6312 | 0.00071825
459.5 | -7.5627 | 2.5883 | 0.00070654
460 | -7.7017 | 2.4493 | 0.0006686
460.5 | -7.5623 | 2.5887 | 0.00070665
461 | -7.8315 | 2.3195 | 0.00063316
461.5 | -8.288 | 1.863 | 0.00050855
462 | -8.273 | 1.878 | 0.00051265
462.5 | -8.516 | 1.635 | 0.00044631
463 | -8.8199 | 1.3311 | 0.00036336
463.5 | -8.8463 | 1.3047 | 0.00035615
464 | -8.757 | 1.394 | 0.00038053
464.5 | -8.6666 | 1.4844 | 0.0004052
465 | -8.6202 | 1.5308 | 0.00041787
465.5 | -8.5 | 1.651 | 0.00045068
466 | -8.269 | 1.882 | 0.00051374
466.5 | -8.22 | 1.931 | 0.00052711
467 | -8.0647 | 2.0863 | 0.00056951
467.5 | -7.8137 | 2.3373 | 0.00063802
468 | -7.8115 | 2.3395 | 0.00063862
468.5 | -7.7525 | 2.3985 | 0.00065473
469 | -7.7812 | 2.3698 | 0.00064689
469.5 | -7.6917 | 2.4593 | 0.00067133
470 | -7.6587 | 2.4923 | 0.00068033
470.5 | -7.4947 | 2.6563 | 0.0007251
471 | -7.3507 | 2.8003 | 0.00076441
471.5 | -7.0879 | 3.0631 | 0.00083615
472 | -6.821 | 3.33 | 0.000909
472.5 | -6.5635 | 3.5875 | 0.00097929
473 | -6.3802 | 3.7708 | 0.0010293
473.5 | -6.1808 | 3.9702 | 0.0010838
474 | -6.2863 | 3.8647 | 0.001055
474.5 | -6.2978 | 3.8532 | 0.0010518
475 | -6.5747 | 3.5763 | 0.00097624
475.5 | -7.0721 | 3.0789 | 0.00084046
476 | -7.4598 | 2.6912 | 0.00073463
476.5 | -7.7274 | 2.4236 | 0.00066158
477 | -7.8435 | 2.3075 | 0.00062989
477.5 | -8.1321 | 2.0189 | 0.00055111
478 | -8.4171 | 1.7339 | 0.00047331
478.5 | -8.7689 | 1.3821 | 0.00037728
479 | -9.2833 | 0.8677 | 0.00023686
479.5 | -10.09 | 0.061 | 1.6651e-05
480 | -10.597 | 0 | 0
480.5 | -10.802 | 0 | 0
481 | -10.522 | 0 | 0
481.5 | -10.128 | 0.023 | 6.2784e-06
482 | -10.038 | 0.113 | 3.0846e-05
482.5 | -10.158 | 0 | 0
483 | -10.424 | 0 | 0
483.5 | -10.679 | 0 | 0
484 | -10.852 | 0 | 0
484.5 | -10.676 | 0 | 0
485 | -10.285 | 0 | 0
485.5 | -9.7089 | 0.4421 | 0.00012068
486 | -9.3724 | 0.7786 | 0.00021254
486.5 | -9.201 | 0.95 | 0.00025933
487 | -9.3346 | 0.8164 | 0.00022286
487.5 | -9.49 | 0.661 | 0.00018044
488 | -9.3903 | 0.7607 | 0.00020765
488.5 | -8.9996 | 1.1514 | 0.0003143
489 | -8.5597 | 1.5913 | 0.00043438
489.5 | -8.0879 | 2.0631 | 0.00056317
490 | -7.8947 | 2.2563 | 0.00061591
490.5 | -7.845 | 2.306 | 0.00062948
491 | -7.8177 | 2.3333 | 0.00063693
491.5 | -7.9125 | 2.2385 | 0.00061105
492 | -8.0658 | 2.0852 | 0.00056921
492.5 | -7.8844 | 2.2666 | 0.00061872
493 | -7.7965 | 2.3545 | 0.00064272
493.5 | -7.9618 | 2.1892 | 0.00059759
494 | -8.0168 | 2.1342 | 0.00058258
494.5 | -8.2648 | 1.8862 | 0.00051488
495 | -8.4828 | 1.6682 | 0.00045538
495.5 | -8.7979 | 1.3531 | 0.00036936
496 | -8.8293 | 1.3217 | 0.00036079
496.5 | -8.8031 | 1.3479 | 0.00036794
497 | -8.6705 | 1.4805 | 0.00040414
497.5 | -8.4322 | 1.7188 | 0.00046919
498 | -7.9447 | 2.2063 | 0.00060226
498.5 | -8.1003 | 2.0507 | 0.00055979
499 | -7.9791 | 2.1719 | 0.00059287
499.5 | -7.739 | 2.412 | 0.00065841
500 | -7.6015 | 2.5495 | 0.00069595
500.5 | -7.4471 | 2.7039 | 0.00073809
501 | -7.287 | 2.864 | 0.0007818
501.5 | -7.0709 | 3.0801 | 0.00084079
502 | -7.1367 | 3.0143 | 0.00082283
502.5 | -7.3706 | 2.7804 | 0.00075898
503 | -7.4778 | 2.6732 | 0.00072971
503.5 | -7.8307 | 2.3203 | 0.00063338
504 | -7.8892 | 2.2618 | 0.00061741
504.5 | -7.9064 | 2.2446 | 0.00061272
505 | -7.8091 | 2.3419 | 0.00063928
505.5 | -7.6578 | 2.4932 | 0.00068058
506 | -7.5927 | 2.5583 | 0.00069835
506.5 | -7.5281 | 2.6229 | 0.00071598
507 | -7.6188 | 2.5322 | 0.00069123
507.5 | -7.5838 | 2.5672 | 0.00070078
508 | -7.3992 | 2.7518 | 0.00075117
508.5 | -7.2973 | 2.8537 | 0.00077899
509 | -7.2219 | 2.9291 | 0.00079957
509.5 | -7.2523 | 2.8987 | 0.00079127
510 | -7.5744 | 2.5766 | 0.00070335
510.5 | -7.7576 | 2.3934 | 0.00065334
511 | -7.955 | 2.196 | 0.00059945
511.5 | -8.3018 | 1.8492 | 0.00050478
512 | -8.9071 | 1.2439 | 0.00033955
512.5 | -9.2803 | 0.8707 | 0.00023768
513 | -9.5674 | 0.5836 | 0.00015931
513.5 | -9.6341 | 0.5169 | 0.0001411
514 | -9.5057 | 0.6453 | 0.00017615
514.5 | -9.3212 | 0.8298 | 0.00022651
515 | -9.2083 | 0.9427 | 0.00025733
515.5 | -9.0185 | 1.1325 | 0.00030914
516 | -8.8377 | 1.3133 | 0.0003585
516.5 | -8.6529 | 1.4981 | 0.00040894
517 | -8.3962 | 1.7548 | 0.00047901
517.5 | -7.7821 | 2.3689 | 0.00064665
518 | -7.1903 | 2.9607 | 0.00080819
518.5 | -7.0401 | 3.1109 | 0.0008492
519 | -7.0153 | 3.1357 | 0.00085596
519.5 | -7.2818 | 2.8692 | 0.00078322
520 | -7.4298 | 2.7212 | 0.00074282
520.5 | -7.4266 | 2.7244 | 0.00074369
521 | -7.4098 | 2.7412 | 0.00074828
521.5 | -7.3748 | 2.7762 | 0.00075783
522 | -7.3398 | 2.8112 | 0.00076738
522.5 | -7.5226 | 2.6284 | 0.00071749
523 | -7.7809 | 2.3701 | 0.00064698
523.5 | -7.6607 | 2.4903 | 0.00067979
524 | -7.4084 | 2.7426 | 0.00074866
524.5 | -7.3218 | 2.8292 | 0.0007723
525 | -7.3434 | 2.8076 | 0.0007664
525.5 | -7.5373 | 2.6137 | 0.00071347
526 | -7.9553 | 2.1957 | 0.00059937
526.5 | -8.2994 | 1.8516 | 0.00050544
527 | -8.3914 | 1.7596 | 0.00048033
527.5 | -8.3956 | 1.7554 | 0.00047918
528 | -8.3894 | 1.7616 | 0.00048087
528.5 | -8.2133 | 1.9377 | 0.00052894
529 | -8.1081 | 2.0429 | 0.00055766
529.5 | -8.385 | 1.766 | 0.00048207
530 | -8.3088 | 1.8422 | 0.00050287
530.5 | -8.4826 | 1.6684 | 0.00045543
531 | -8.4652 | 1.6858 | 0.00046018
531.5 | -8.3304 | 1.8206 | 0.00049698
532 | -8.1737 | 1.9773 | 0.00053975
532.5 | -8.236 | 1.915 | 0.00052275
533 | -8.4363 | 1.7147 | 0.00046807
533.5 | -8.4099 | 1.7411 | 0.00047528
534 | -8.4936 | 1.6574 | 0.00045243
534.5 | -8.8325 | 1.3185 | 0.00035992
535 | -8.9648 | 1.1862 | 0.0003238
535.5 | -8.9522 | 1.1988 | 0.00032724
536 | -8.6636 | 1.4874 | 0.00040602
536.5 | -8.4386 | 1.7124 | 0.00046744
537 | -8.3217 | 1.8293 | 0.00049935
537.5 | -8.2402 | 1.9108 | 0.0005216
538 | -7.9403 | 2.2107 | 0.00060346
538.5 | -7.7298 | 2.4212 | 0.00066092
539 | -7.6669 | 2.4841 | 0.0006781
539.5 | -7.5652 | 2.5858 | 0.00070586
540 | -7.3602 | 2.7908 | 0.00076182
540.5 | -7.2314 | 2.9196 | 0.00079698
541 | -7.3931 | 2.7579 | 0.00075284
541.5 | -7.7182 | 2.4328 | 0.00066409
542 | -7.6574 | 2.4936 | 0.00068069
542.5 | -7.2209 | 2.9301 | 0.00079984
543 | -6.8351 | 3.3159 | 0.00090515
543.5 | -6.7165 | 3.4345 | 0.00093753
544 | -6.8475 | 3.3035 | 0.00090177
544.5 | -6.9862 | 3.1648 | 0.00086391
545 | -7.3496 | 2.8014 | 0.00076471
545.5 | -7.624 | 2.527 | 0.00068981
546 | -7.9492 | 2.2018 | 0.00060103
546.5 | -8.2828 | 1.8682 | 0.00050997
547 | -8.3522 | 1.7988 | 0.00049103
547.5 | -8.724 | 1.427 | 0.00038953
548 | -9.2116 | 0.9394 | 0.00025643
548.5 | -9.499 | 0.652 | 0.00017798
549 | -9.7361 | 0.4149 | 0.00011326
549.5 | -9.5222 | 0.6288 | 0.00017165
550 | -9.3979 | 0.7531 | 0.00020558
550.5 | -8.9974 | 1.1536 | 0.0003149
551 | -8.7815 | 1.3695 | 0.00037384
551.5 | -8.7422 | 1.4088 | 0.00038457
552 | -8.6005 | 1.5505 | 0.00042325
552.5 | -8.3302 | 1.8208 | 0.00049703
553 | -7.9706 | 2.1804 | 0.00059519
553.5 | -7.6631 | 2.4879 | 0.00067913
554 | -7.5561 | 2.5949 | 0.00070834
554.5 | -7.6455 | 2.5055 | 0.00068394
555 | -7.8655 | 2.2855 | 0.00062388
555.5 | -7.8493 | 2.3017 | 0.0006283
556 | -7.9681 | 2.1829 | 0.00059588
556.5 | -8.0813 | 2.0697 | 0.00056497
557 | -7.8359 | 2.3151 | 0.00063196
557.5 | -7.559 | 2.592 | 0.00070755
558 | -7.2109 | 2.9401 | 0.00080257
558.5 | -7.0809 | 3.0701 | 0.00083806
559 | -7.121 | 3.03 | 0.00082711
559.5 | -7.1951 | 2.9559 | 0.00080688
560 | -7.3653 | 2.7857 | 0.00076042
560.5 | -7.1182 | 3.0328 | 0.00082788
561 | -7.1772 | 2.9738 | 0.00081177
561.5 | -7.1239 | 3.0271 | 0.00082632
562 | -7.1015 | 3.0495 | 0.00083243
562.5 | -7.2788 | 2.8722 | 0.00078404
563 | -7.4712 | 2.6798 | 0.00073152
563.5 | -7.8839 | 2.2671 | 0.00061886
564 | -8.0559 | 2.0951 | 0.00057191
564.5 | -8.1017 | 2.0493 | 0.00055941
565 | -8.3118 | 1.8392 | 0.00050205
565.5 | -8.2342 | 1.9168 | 0.00052324
566 | -8.4109 | 1.7401 | 0.000475
566.5 | -8.492 | 1.659 | 0.00045286
567 | -8.4395 | 1.7115 | 0.0004672
567.5 | -8.2909 | 1.8601 | 0.00050776
568 | -7.9476 | 2.2034 | 0.00060147
568.5 | -7.7257 | 2.4253 | 0.00066204
569 | -7.7064 | 2.4446 | 0.00066731
569.5 | -7.9793 | 2.1717 | 0.00059282
570 | -8.1211 | 2.0299 | 0.00055411
570.5 | -8.113 | 2.038 | 0.00055632
571 | -8.2052 | 1.9458 | 0.00053115
571.5 | -8.1895 | 1.9615 | 0.00053544
572 | -8.0979 | 2.0531 | 0.00056044
572.5 | -8.2995 | 1.8515 | 0.00050541
573 | -8.5213 | 1.6297 | 0.00044487
573.5 | -8.8519 | 1.2991 | 0.00035462
574 | -8.9678 | 1.1832 | 0.00032298
574.5 | -8.7751 | 1.3759 | 0.00037559
575 | -8.628 | 1.523 | 0.00041574
575.5 | -8.7709 | 1.3801 | 0.00037673
576 | -9.1509 | 1.0001 | 0.000273
576.5 | -9.3357 | 0.8153 | 0.00022256
577 | -9.5436 | 0.6074 | 0.0001658
577.5 | -9.6451 | 0.5059 | 0.0001381
578 | -9.6336 | 0.5174 | 0.00014124
578.5 | -10.016 | 0.135 | 3.6852e-05
579 | -10.502 | 0 | 0
579.5 | -10.859 | 0 | 0
580 | -11.177 | 0 | 0
580.5 | -11.101 | 0 | 0
581 | -10.847 | 0 | 0
581.5 | -10.55 | 0 | 0
582 | -10.158 | 0 | 0
582.5 | -9.8664 | 0.2846 | 7.7688e-05
583 | -10.021 | 0.13 | 3.5487e-05
583.5 | -10.209 | 0 | 0
584 | -9.9229 | 0.2281 | 6.2265e-05
584.5 | -9.5088 | 0.6422 | 0.0001753
585 | -9.2515 | 0.8995 | 0.00024554
585.5 | -9.023 | 1.128 | 0.00030791
586 | -9.1692 | 0.9818 | 0.00026801
586.5 | -9.5122 | 0.6388 | 0.00017438
587 | -9.5661 | 0.5849 | 0.00015966
587.5 | -9.759 | 0.392 | 0.00010701
588 | -9.6896 | 0.4614 | 0.00012595
588.5 | -9.5225 | 0.6285 | 0.00017156
589 | -9.2793 | 0.8717 | 0.00023795
589.5 | -9.0824 | 1.0686 | 0.0002917
590 | -8.9791 | 1.1719 | 0.0003199
590.5 | -8.8939 | 1.2571 | 0.00034316
591 | -8.7682 | 1.3828 | 0.00037747
591.5 | -8.6951 | 1.4559 | 0.00039742
592 | -8.3862 | 1.7648 | 0.00048174
592.5 | -8.0773 | 2.0737 | 0.00056607
593 | -7.7943 | 2.3567 | 0.00064332
593.5 | -7.794 | 2.357 | 0.0006434
594 | -7.6554 | 2.4956 | 0.00068123
594.5 | -7.6452 | 2.5058 | 0.00068402
595 | -7.7728 | 2.3782 | 0.00064919
595.5 | -7.8795 | 2.2715 | 0.00062006
596 | -8.0958 | 2.0552 | 0.00056102
596.5 | -8.0724 | 2.0786 | 0.0005674
597 | -7.9057 | 2.2453 | 0.00061291
597.5 | -7.7397 | 2.4113 | 0.00065822
598 | -8.0373 | 2.1137 | 0.00057699
598.5 | -8.3979 | 1.7531 | 0.00047855
599 | -8.618 | 1.533 | 0.00041847
599.5 | -8.8307 | 1.3203 | 0.00036041
600 | -8.8606 | 1.2904 | 0.00035225
600.5 | -8.809 | 1.342 | 0.00036633
601 | -8.5191 | 1.6319 | 0.00044547
601.5 | -8.4328 | 1.7182 | 0.00046902
602 | -8.6115 | 1.5395 | 0.00042024
602.5 | -8.885 | 1.266 | 0.00034559
603 | -9.0862 | 1.0648 | 0.00029066
603.5 | -8.8897 | 1.2613 | 0.0003443
604 | -8.5669 | 1.5841 | 0.00043242
604.5 | -8.5136 | 1.6374 | 0.00044697
605 | -8.2933 | 1.8577 | 0.0005071
605.5 | -8.3651 | 1.7859 | 0.0004875
606 | -8.7905 | 1.3605 | 0.00037138
606.5 | -9.282 | 0.869 | 0.00023721
607 | -9.4518 | 0.6992 | 0.00019086
607.5 | -9.4384 | 0.7126 | 0.00019452
608 | -9.4356 | 0.7154 | 0.00019529
608.5 | -9.5147 | 0.6363 | 0.00017369
609 | -10.122 | 0.029 | 7.9162e-06
609.5 | -10.544 | 0 | 0
610 | -10.709 | 0 | 0
610.5 | -10.969 | 0 | 0
611 | -11.119 | 0 | 0
611.5 | -11.065 | 0 | 0
612 | -10.728 | 0 | 0
612.5 | -10.796 | 0 | 0
613 | -10.832 | 0 | 0
613.5 | -10.438 | 0 | 0
614 | -10.268 | 0 | 0
614.5 | -9.8732 | 0.2778 | 7.5832e-05
615 | -9.6014 | 0.5496 | 0.00015003
615.5 | -9.3032 | 0.8478 | 0.00023143
616 | -9.0436 | 1.1074 | 0.00030229
616.5 | -8.6372 | 1.5138 | 0.00041323
617 | -8.5566 | 1.5944 | 0.00043523
617.5 | -8.648 | 1.503 | 0.00041028
618 | -8.8706 | 1.2804 | 0.00034952
618.5 | -9.1619 | 0.9891 | 0.00027
619 | -9.3315 | 0.8195 | 0.0002237
619.5 | -9.1837 | 0.9673 | 0.00026405
620 | -9.196 | 0.955 | 0.00026069
620.5 | -9.5737 | 0.5773 | 0.00015759
621 | -9.8601 | 0.2909 | 7.9408e-05
621.5 | -9.9361 | 0.2149 | 5.8662e-05
622 | -9.9893 | 0.1617 | 4.414e-05
622.5 | -9.862 | 0.289 | 7.889e-05
623 | -9.4684 | 0.6826 | 0.00018633
623.5 | -9.234 | 0.917 | 0.00025032
624 | -9.2651 | 0.8859 | 0.00024183
624.5 | -9.6906 | 0.4604 | 0.00012568
625 | -9.9184 | 0.2326 | 6.3494e-05
625.5 | -9.7939 | 0.3571 | 9.7479e-05
626 | -9.7283 | 0.4227 | 0.00011539
626.5 | -10.032 | 0.119 | 3.2484e-05
627 | -10.133 | 0.018 | 4.9135e-06
627.5 | -9.9674 | 0.1836 | 5.0118e-05
628 | -10.117 | 0.034 | 9.2811e-06
628.5 | -10.021 | 0.13 | 3.5487e-05
629 | -9.6385 | 0.5125 | 0.0001399
629.5 | -9.3767 | 0.7743 | 0.00021136
630 | -9.3174 | 0.8336 | 0.00022755
630.5 | -9.5976 | 0.5534 | 0.00015106
631 | -9.4443 | 0.7067 | 0.00019291
631.5 | -8.9211 | 1.2299 | 0.00033573
632 | -8.4813 | 1.6697 | 0.00045578
632.5 | -8.3231 | 1.8279 | 0.00049897
633 | -8.2074 | 1.9436 | 0.00053055
633.5 | -8.3278 | 1.8232 | 0.00049769
634 | -8.5941 | 1.5569 | 0.00042499
634.5 | -8.7416 | 1.4094 | 0.00038473
635 | -8.3557 | 1.7953 | 0.00049007
635.5 | -7.6976 | 2.4534 | 0.00066971
636 | -7.5301 | 2.6209 | 0.00071544
636.5 | -7.9303 | 2.2207 | 0.00060619
637 | -8.6277 | 1.5233 | 0.00041582
637.5 | -9.2978 | 0.8532 | 0.0002329
638 | -9.818 | 0.333 | 9.09e-05
638.5 | -10.189 | 0 | 0
639 | -10.359 | 0 | 0
639.5 | -10.494 | 0 | 0
640 | -10.685 | 0 | 0
640.5 | -10.987 | 0 | 0
641 | -11.269 | 0 | 0
641.5 | -11.079 | 0 | 0
642 | -10.911 | 0 | 0
642.5 | -10.504 | 0 | 0
643 | -10.482 | 0 | 0
643.5 | -10.523 | 0 | 0
644 | -10.473 | 0 | 0
644.5 | -10.509 | 0 | 0
645 | -10.259 | 0 | 0
645.5 | -10.1 | 0.051 | 1.3922e-05
646 | -10.109 | 0.042 | 1.1465e-05
646.5 | -9.8947 | 0.2563 | 6.9963e-05
647 | -9.8533 | 0.2977 | 8.1264e-05
647.5 | -9.8217 | 0.3293 | 8.989e-05
648 | -9.4966 | 0.6544 | 0.00017863
648.5 | -9.0574 | 1.0936 | 0.00029852
649 | -8.6308 | 1.5202 | 0.00041498
649.5 | -8.406 | 1.745 | 0.00047634
650 | -8.3045 | 1.8465 | 0.00050405
650.5 | -8.2574 | 1.8936 | 0.0005169
651 | -8.0289 | 2.1221 | 0.00057928
651.5 | -7.9028 | 2.2482 | 0.0006137
652 | -7.958 | 2.193 | 0.00059863
652.5 | -7.7798 | 2.3712 | 0.00064728
653 | -7.7462 | 2.4048 | 0.00065645
653.5 | -7.6609 | 2.4901 | 0.00067973
654 | -7.8438 | 2.3072 | 0.00062981
654.5 | -8.0145 | 2.1365 | 0.00058321
655 | -8.1584 | 1.9926 | 0.00054393
655.5 | -8.3002 | 1.8508 | 0.00050522
656 | -8.5267 | 1.6243 | 0.00044339
656.5 | -8.8663 | 1.2847 | 0.00035069
657 | -9.0267 | 1.1243 | 0.0003069
657.5 | -8.919 | 1.232 | 0.0003363
658 | -9.1191 | 1.0319 | 0.00028168
658.5 | -9.4679 | 0.6831 | 0.00018647
659 | -9.5923 | 0.5587 | 0.00015251
659.5 | -9.7549 | 0.3961 | 0.00010813
660 | -9.9627 | 0.1883 | 5.1401e-05
660.5 | -10.425 | 0 | 0
661 | -10.78 | 0 | 0
661.5 | -10.928 | 0 | 0
662 | -11.07 | 0 | 0
662.5 | -11.419 | 0 | 0
663 | -11.548 | 0 | 0
663.5 | -11.623 | 0 | 0
664 | -11.871 | 0 | 0
664.5 | -11.875 | 0 | 0
665 | -11.634 | 0 | 0
665.5 | -11.112 | 0 | 0
666 | -10.774 | 0 | 0
666.5 | -10.651 | 0 | 0
667 | -10.65 | 0 | 0
667.5 | -10.879 | 0 | 0
668 | -10.817 | 0 | 0
668.5 | -10.876 | 0 | 0
669 | -10.895 | 0 | 0
669.5 | -10.913 | 0 | 0
670 | -11.049 | 0 | 0
670.5 | -11.456 | 0 | 0
671 | -11.725 | 0 | 0
671.5 | -11.701 | 0 | 0
672 | -11.8 | 0 | 0
672.5 | -11.828 | 0 | 0
673 | -12.121 | 0 | 0
673.5 | -12.082 | 0 | 0
674 | -11.531 | 0 | 0
674.5 | -10.954 | 0 | 0
675 | -10.459 | 0 | 0
675.5 | -10.022 | 0.129 | 3.5214e-05
676 | -9.678 | 0.473 | 0.00012912
676.5 | -9.5163 | 0.6347 | 0.00017326
677 | -8.9454 | 1.2056 | 0.0003291
677.5 | -8.3947 | 1.7563 | 0.00047942
678 | -7.9616 | 2.1894 | 0.00059765
678.5 | -7.9459 | 2.2051 | 0.00060194
679 | -8.0534 | 2.0976 | 0.00057259
679.5 | -8.2391 | 1.9119 | 0.0005219
680 | -8.4741 | 1.6769 | 0.00045775
680.5 | -8.8196 | 1.3314 | 0.00036344
681 | -9.1284 | 1.0226 | 0.00027914
681.5 | -9.1968 | 0.9542 | 0.00026047
682 | -9.6711 | 0.4799 | 0.000131
682.5 | -9.8537 | 0.2973 | 8.1155e-05
683 | -9.6742 | 0.4768 | 0.00013015
683.5 | -9.3987 | 0.7523 | 0.00020536
684 | -9.7431 | 0.4079 | 0.00011135
684.5 | -10.086 | 0.065 | 1.7743e-05
685 | -10.083 | 0.068 | 1.8562e-05
685.5 | -9.7018 | 0.4492 | 0.00012262
686 | -9.5568 | 0.5942 | 0.0001622
686.5 | -9.6525 | 0.4985 | 0.00013608
687 | -9.6011 | 0.5499 | 0.00015011
687.5 | -9.6704 | 0.4806 | 0.00013119
688 | -9.8293 | 0.3217 | 8.7816e-05
688.5 | -9.7922 | 0.3588 | 9.7943e-05
689 | -9.5466 | 0.6044 | 0.00016499
689.5 | -9.2977 | 0.8533 | 0.00023293
690 | -9.3312 | 0.8198 | 0.00022378
690.5 | -9.5545 | 0.5965 | 0.00016283
691 | -9.3392 | 0.8118 | 0.0002216
691.5 | -9.2851 | 0.8659 | 0.00023637
692 | -9.4407 | 0.7103 | 0.00019389
692.5 | -9.3909 | 0.7601 | 0.00020749
693 | -9.3508 | 0.8002 | 0.00021843
693.5 | -9.4859 | 0.6651 | 0.00018156
694 | -9.568 | 0.583 | 0.00015914
694.5 | -9.6256 | 0.5254 | 0.00014342
695 | -9.6339 | 0.5171 | 0.00014115
695.5 | -9.6805 | 0.4705 | 0.00012843
696 | -10.028 | 0.123 | 3.3576e-05
696.5 | -10.112 | 0.039 | 1.0646e-05
697 | -10.183 | 0 | 0
697.5 | -10.271 | 0 | 0
698 | -10.407 | 0 | 0
698.5 | -10.579 | 0 | 0
699 | -10.672 | 0 | 0
699.5 | -10.927 | 0 | 0
700 | -11.151 | 0 | 0
700.5 | -11.316 | 0 | 0
701 | -11.27 | 0 | 0
701.5 | -11.231 | 0 | 0
702 | -10.979 | 0 | 0
702.5 | -11.015 | 0 | 0
703 | -11.09 | 0 | 0
703.5 | -10.901 | 0 | 0
704 | -10.818 | 0 | 0
704.5 | -10.816 | 0 | 0
705 | -10.754 | 0 | 0
705.5 | -10.571 | 0 | 0
706 | -10.476 | 0 | 0
706.5 | -10.515 | 0 | 0
707 | -10.613 | 0 | 0
707.5 | -10.682 | 0 | 0
708 | -10.812 | 0 | 0
708.5 | -11.257 | 0 | 0
709 | -11.353 | 0 | 0
709.5 | -11.476 | 0 | 0
710 | -11.692 | 0 | 0
710.5 | -11.764 | 0 | 0
711 | -11.918 | 0 | 0
711.5 | -11.897 | 0 | 0
712 | -11.792 | 0 | 0
712.5 | -11.466 | 0 | 0
713 | -10.956 | 0 | 0
713.5 | -10.04 | 0.111 | 3.03e-05
714 | -9.5534 | 0.5976 | 0.00016313
714.5 | -9.1543 | 0.9967 | 0.00027207
715 | -9.0162 | 1.1348 | 0.00030977
715.5 | -8.8314 | 1.3196 | 0.00036022
716 | -8.7594 | 1.3916 | 0.00037987
716.5 | -8.6185 | 1.5325 | 0.00041833
717 | -8.6958 | 1.4552 | 0.00039723
717.5 | -8.5593 | 1.5917 | 0.00043449
718 | -8.5634 | 1.5876 | 0.00043337
718.5 | -8.7412 | 1.4098 | 0.00038484
719 | -8.9522 | 1.1988 | 0.00032724
719.5 | -8.8536 | 1.2974 | 0.00035416
720 | -8.5432 | 1.6078 | 0.00043889
720.5 | -8.1235 | 2.0275 | 0.00055346
721 | -7.9643 | 2.1867 | 0.00059691
721.5 | -7.6637 | 2.4873 | 0.00067897
722 | -7.3585 | 2.7925 | 0.00076228
722.5 | -7.1164 | 3.0346 | 0.00082837
723 | -6.889 | 3.262 | 0.00089044
723.5 | -6.4708 | 3.6802 | 0.0010046
724 | -6.2417 | 3.9093 | 0.0010671
724.5 | -6.1847 | 3.9663 | 0.0010827
725 | -6.1879 | 3.9631 | 0.0010818
725.5 | -5.9931 | 4.1579 | 0.001135
726 | -5.6642 | 4.4868 | 0.0012248
726.5 | -5.2959 | 4.8551 | 0.0013253
727 | -4.9484 | 5.2026 | 0.0014202
727.5 | -4.9153 | 5.2357 | 0.0014292
728 | -4.9716 | 5.1794 | 0.0014138
728.5 | -4.9108 | 5.2402 | 0.0014304
729 | -4.4131 | 5.7379 | 0.0015663
729.5 | -3.7902 | 6.3608 | 0.0017363
730 | -3.3824 | 6.7686 | 0.0018477
730.5 | -2.7404 | 7.4106 | 0.0020229
731 | -2.0168 | 8.1342 | 0.0022204
731.5 | -1.7218 | 8.4292 | 0.002301
732 | -1.1316 | 9.0194 | 0.0024621
732.5 | -0.43799 | 9.713 | 0.0026514
733 | 0.64114 | 10.7921 | 0.002946
733.5 | 1.528 | 11.679 | 0.0031881
734 | 2.4453 | 12.5963 | 0.0034385
734.5 | 3.1414 | 13.2924 | 0.0036285
735 | 3.7753 | 13.9263 | 0.0038015
735.5 | 4.2287 | 14.3797 | 0.0039253
736 | 4.9959 | 15.1469 | 0.0041347
736.5 | 5.5989 | 15.7499 | 0.0042993
737 | 6.105 | 16.256 | 0.0044375
737.5 | 6.1833 | 16.3343 | 0.0044588
738 | 6.1856 | 16.3366 | 0.0044595
738.5 | 5.9922 | 16.1432 | 0.0044067
739 | 5.8975 | 16.0485 | 0.0043808
739.5 | 5.9735 | 16.1245 | 0.0044016
740 | 6.0124 | 16.1634 | 0.0044122
740.5 | 5.9391 | 16.0901 | 0.0043922
741 | 5.7154 | 15.8664 | 0.0043311
741.5 | 5.5231 | 15.6741 | 0.0042786
742 | 5.4119 | 15.5629 | 0.0042483
742.5 | 5.5008 | 15.6518 | 0.0042725
743 | 5.5738 | 15.7248 | 0.0042925
743.5 | 5.6147 | 15.7657 | 0.0043036
744 | 5.2948 | 15.4458 | 0.0042163
744.5 | 4.882 | 15.033 | 0.0041036
745 | 4.3948 | 14.5458 | 0.0039706
745.5 | 3.8116 | 13.9626 | 0.0038114
746 | 3.6255 | 13.7765 | 0.0037606
746.5 | 3.6701 | 13.8211 | 0.0037728
747 | 3.6507 | 13.8017 | 0.0037675
747.5 | 3.3143 | 13.4653 | 0.0036757
748 | 2.7041 | 12.8551 | 0.0035091
748.5 | 2.0815 | 12.2325 | 0.0033392
749 | 1.9405 | 12.0915 | 0.0033007
749.5 | 1.9552 | 12.1062 | 0.0033047
750 | 2.0415 | 12.1925 | 0.0033282
750.5 | 1.4985 | 11.6495 | 0.00318
751 | 0.635 | 10.786 | 0.0029443
751.5 | 0.01083 | 10.1618 | 0.0027739
752 | -0.65482 | 9.4962 | 0.0025922
752.5 | -1.0236 | 9.1274 | 0.0024915
753 | -1.2864 | 8.8646 | 0.0024198
753.5 | -1.1855 | 8.9655 | 0.0024473
754 | -1.1955 | 8.9555 | 0.0024446
754.5 | -1.528 | 8.623 | 0.0023539
755 | -1.7127 | 8.4383 | 0.0023034
755.5 | -1.5558 | 8.5952 | 0.0023463
756 | -1.6269 | 8.5241 | 0.0023269
756.5 | -1.2533 | 8.8977 | 0.0024288
757 | -0.67157 | 9.4794 | 0.0025876
757.5 | -0.17102 | 9.98 | 0.0027243
758 | -0.3983 | 9.7527 | 0.0026622
758.5 | -0.9602 | 9.1908 | 0.0025089
759 | -1.4077 | 8.7433 | 0.0023867
759.5 | -1.944 | 8.207 | 0.0022403
760 | -2.3317 | 7.8193 | 0.0021345
760.5 | -2.531 | 7.62 | 0.0020801
761 | -3.2437 | 6.9073 | 0.0018855
761.5 | -4.0365 | 6.1145 | 0.0016691
762 | -4.4788 | 5.6722 | 0.0015484
762.5 | -4.7651 | 5.3859 | 0.0014702
763 | -4.8817 | 5.2693 | 0.0014384
763.5 | -5.014 | 5.137 | 0.0014023
764 | -4.9662 | 5.1848 | 0.0014153
764.5 | -4.9717 | 5.1793 | 0.0014138
765 | -5.0515 | 5.0995 | 0.001392
765.5 | -5.1206 | 5.0304 | 0.0013732
766 | -5.1076 | 5.0434 | 0.0013767
766.5 | -5.5108 | 4.6402 | 0.0012667
767 | -5.6995 | 4.4515 | 0.0012151
767.5 | -5.8486 | 4.3024 | 0.0011744
768 | -6.2047 | 3.9463 | 0.0010772
768.5 | -6.5039 | 3.6471 | 0.00099556
769 | -6.65 | 3.501 | 0.00095568
769.5 | -7.0469 | 3.1041 | 0.00084734
770 | -7.5241 | 2.6269 | 0.00071708
770.5 | -7.7423 | 2.4087 | 0.00065751
771 | -8.1293 | 2.0217 | 0.00055187
771.5 | -8.4603 | 1.6907 | 0.00046152
772 | -8.8706 | 1.2804 | 0.00034952
772.5 | -8.5939 | 1.5571 | 0.00042505
773 | -8.446 | 1.705 | 0.00046542
773.5 | -8.4127 | 1.7383 | 0.00047451
774 | -8.5377 | 1.6133 | 0.00044039
774.5 | -8.4777 | 1.6733 | 0.00045677
775 | -8.5266 | 1.6244 | 0.00044342
775.5 | -8.1919 | 1.9591 | 0.00053478
776 | -7.8379 | 2.3131 | 0.00063142
776.5 | -7.4392 | 2.7118 | 0.00074025
777 | -7.8194 | 2.3316 | 0.00063647
777.5 | -8.2749 | 1.8761 | 0.00051213
778 | -8.5547 | 1.5963 | 0.00043575
778.5 | -8.736 | 1.415 | 0.00038626
779 | -8.4053 | 1.7457 | 0.00047653
779.5 | -8.4034 | 1.7476 | 0.00047705
780 | -8.9115 | 1.2395 | 0.00033835
780.5 | -9.4026 | 0.7484 | 0.00020429
781 | -9.9393 | 0.2117 | 5.7789e-05
781.5 | -9.7752 | 0.3758 | 0.00010258
782 | -9.4168 | 0.7342 | 0.00020042
782.5 | -9.208 | 0.943 | 0.00025741
783 | -8.7839 | 1.3671 | 0.00037318
783.5 | -8.7502 | 1.4008 | 0.00038238
784 | -8.4508 | 1.7002 | 0.00046411
784.5 | -8.2253 | 1.9257 | 0.00052567
785 | -8.1542 | 1.9968 | 0.00054507
785.5 | -7.9029 | 2.2481 | 0.00061367
786 | -7.7344 | 2.4166 | 0.00065967
786.5 | -7.769 | 2.382 | 0.00065022
787 | -8.1032 | 2.0478 | 0.000559
787.5 | -8.3102 | 1.8408 | 0.00050249
788 | -8.3569 | 1.7941 | 0.00048974
788.5 | -8.7156 | 1.4354 | 0.00039183
789 | -9.0848 | 1.0662 | 0.00029105
789.5 | -9.1516 | 0.9994 | 0.00027281
790 | -9.1785 | 0.9725 | 0.00026547
790.5 | -9.4938 | 0.6572 | 0.0001794
791 | -9.8092 | 0.3418 | 9.3303e-05
791.5 | -9.6224 | 0.5286 | 0.00014429
792 | -9.7316 | 0.4194 | 0.00011449
792.5 | -10.246 | 0 | 0
793 | -10.286 | 0 | 0
793.5 | -9.8827 | 0.2683 | 7.3239e-05
794 | -9.7938 | 0.3572 | 9.7506e-05
794.5 | -9.8821 | 0.2689 | 7.3403e-05
795 | -9.9431 | 0.2079 | 5.6751e-05
795.5 | -9.815 | 0.336 | 9.1719e-05
796 | -9.6412 | 0.5098 | 0.00013916
796.5 | -9.336 | 0.815 | 0.00022247
797 | -8.914 | 1.237 | 0.00033767
797.5 | -8.7077 | 1.4433 | 0.00039398
798 | -8.8022 | 1.3488 | 0.00036819
798.5 | -8.5438 | 1.6072 | 0.00043872
799 | -8.5557 | 1.5953 | 0.00043548
799.5 | -8.5359 | 1.6151 | 0.00044088
800 | -8.7132 | 1.4378 | 0.00039248
800.5 | -9.0098 | 1.1412 | 0.00031152
801 | -9.0811 | 1.0699 | 0.00029206
801.5 | -9.1175 | 1.0335 | 0.00028212
802 | -9.5354 | 0.6156 | 0.00016804
802.5 | -9.9392 | 0.2118 | 5.7816e-05
803 | -10.518 | 0 | 0
803.5 | -10.561 | 0 | 0
804 | -10.595 | 0 | 0
804.5 | -10.425 | 0 | 0
805 | -10.556 | 0 | 0
805.5 | -11.098 | 0 | 0
806 | -11.63 | 0 | 0
806.5 | -11.49 | 0 | 0
807 | -10.999 | 0 | 0
807.5 | -10.421 | 0 | 0
808 | -9.9561 | 0.1949 | 5.3203e-05
808.5 | -9.9338 | 0.2172 | 5.929e-05
809 | -10.074 | 0.077 | 2.1019e-05
809.5 | -9.946 | 0.205 | 5.596e-05
810 | -9.4591 | 0.6919 | 0.00018887
810.5 | -9.3133 | 0.8377 | 0.00022867
811 | -9.3768 | 0.7742 | 0.00021134
811.5 | -9.5376 | 0.6134 | 0.00016744
812 | -9.8207 | 0.3303 | 9.0163e-05
812.5 | -10.018 | 0.133 | 3.6306e-05
813 | -9.7301 | 0.4209 | 0.00011489
813.5 | -9.4083 | 0.7427 | 0.00020274
814 | -9.4146 | 0.7364 | 0.00020102
814.5 | -9.3077 | 0.8433 | 0.0002302
815 | -8.7714 | 1.3796 | 0.0003766
815.5 | -8.7259 | 1.4251 | 0.00038902
816 | -8.4984 | 1.6526 | 0.00045112
816.5 | -8.346 | 1.805 | 0.00049272
817 | -8.1824 | 1.9686 | 0.00053738
817.5 | -8.2864 | 1.8646 | 0.00050899
818 | -8.2619 | 1.8891 | 0.00051568
818.5 | -8.385 | 1.766 | 0.00048207
819 | -8.7353 | 1.4157 | 0.00038645
819.5 | -8.9233 | 1.2277 | 0.00033513
820 | -8.7815 | 1.3695 | 0.00037384
820.5 | -8.7756 | 1.3754 | 0.00037545
821 | -8.9078 | 1.2432 | 0.00033936
821.5 | -8.8417 | 1.3093 | 0.00035741
822 | -8.905 | 1.246 | 0.00034013
822.5 | -8.6689 | 1.4821 | 0.00040457
823 | -8.5921 | 1.5589 | 0.00042554
823.5 | -8.6114 | 1.5396 | 0.00042027
824 | -8.9023 | 1.2487 | 0.00034086
824.5 | -9.1786 | 0.9724 | 0.00026544
825 | -9.3205 | 0.8305 | 0.00022671
825.5 | -9.5975 | 0.5535 | 0.00015109
826 | -10.171 | 0 | 0
826.5 | -10.793 | 0 | 0
827 | -11.221 | 0 | 0
827.5 | -11.096 | 0 | 0
828 | -10.995 | 0 | 0
828.5 | -11.016 | 0 | 0
829 | -11.386 | 0 | 0
829.5 | -11.513 | 0 | 0
830 | -11.462 | 0 | 0
830.5 | -11.043 | 0 | 0
831 | -10.815 | 0 | 0
831.5 | -10.638 | 0 | 0
832 | -10.143 | 0.008 | 2.1838e-06
832.5 | -9.5643 | 0.5867 | 0.00016015
833 | -9.3306 | 0.8204 | 0.00022395
833.5 | -9.4511 | 0.6999 | 0.00019105
834 | -9.2956 | 0.8554 | 0.0002335
834.5 | -9.149 | 1.002 | 0.00027352
835 | -8.841 | 1.31 | 0.0003576
835.5 | -8.6315 | 1.5195 | 0.00041478
836 | -8.916 | 1.235 | 0.00033712
836.5 | -9.4765 | 0.6745 | 0.00018412
837 | -9.472 | 0.679 | 0.00018535
837.5 | -8.8458 | 1.3052 | 0.00035629
838 | -8.5503 | 1.6007 | 0.00043695
838.5 | -8.451 | 1.7 | 0.00046406
839 | -8.6414 | 1.5096 | 0.00041208
839.5 | -8.6727 | 1.4783 | 0.00040354
840 | -8.8972 | 1.2538 | 0.00034225
840.5 | -8.8155 | 1.3355 | 0.00036456
841 | -8.8376 | 1.3134 | 0.00035852
841.5 | -9.029 | 1.122 | 0.00030628
842 | -9.0981 | 1.0529 | 0.00028741
842.5 | -9.096 | 1.055 | 0.00028799
843 | -9.2729 | 0.8781 | 0.0002397
843.5 | -9.8884 | 0.2626 | 7.1683e-05
844 | -10.262 | 0 | 0
844.5 | -10.465 | 0 | 0
845 | -10.495 | 0 | 0
845.5 | -10.596 | 0 | 0
846 | -10.936 | 0 | 0
846.5 | -11.341 | 0 | 0
847 | -11.637 | 0 | 0
847.5 | -11.321 | 0 | 0
848 | -10.676 | 0 | 0
848.5 | -10.502 | 0 | 0
849 | -10.252 | 0 | 0
849.5 | -10.21 | 0 | 0
850 | -10.187 | 0 | 0
850.5 | -9.8682 | 0.2828 | 7.7197e-05
851 | -9.9857 | 0.1653 | 4.5123e-05
851.5 | -9.9962 | 0.1548 | 4.2256e-05
852 | -9.9294 | 0.2216 | 6.0491e-05
852.5 | -9.9847 | 0.1663 | 4.5396e-05
853 | -10.069 | 0.082 | 2.2384e-05
853.5 | -10.487 | 0 | 0
854 | -10.909 | 0 | 0
854.5 | -11.421 | 0 | 0
855 | -11.387 | 0 | 0
855.5 | -11.546 | 0 | 0
856 | -11.815 | 0 | 0
856.5 | -11.715 | 0 | 0
857 | -11.798 | 0 | 0
857.5 | -11.405 | 0 | 0
858 | -10.551 | 0 | 0
858.5 | -9.6135 | 0.5375 | 0.00014672
859 | -9.0966 | 1.0544 | 0.00028782
859.5 | -8.5607 | 1.5903 | 0.00043411
860 | -8.6105 | 1.5405 | 0.00042052
860.5 | -8.8599 | 1.2911 | 0.00035244
861 | -8.4307 | 1.7203 | 0.0004696
861.5 | -8.4374 | 1.7136 | 0.00046777
862 | -8.9385 | 1.2125 | 0.00033098
862.5 | -9.6173 | 0.5337 | 0.00014569
863 | -10.181 | 0 | 0
863.5 | -10.313 | 0 | 0
864 | -10.247 | 0 | 0
864.5 | -9.9601 | 0.1909 | 5.2111e-05
865 | -10.143 | 0.008 | 2.1838e-06
865.5 | -10.537 | 0 | 0
866 | -10.64 | 0 | 0
866.5 | -10.199 | 0 | 0
867 | -9.7685 | 0.3825 | 0.00010441
867.5 | -9.7946 | 0.3564 | 9.7288e-05
868 | -9.6347 | 0.5163 | 0.00014094
868.5 | -9.6829 | 0.4681 | 0.00012778
869 | -10.037 | 0.114 | 3.1119e-05
869.5 | -10.216 | 0 | 0
870 | -10.357 | 0 | 0
870.5 | -10.899 | 0 | 0
871 | -11.003 | 0 | 0
871.5 | -11.239 | 0 | 0
872 | -11.568 | 0 | 0
872.5 | -11.645 | 0 | 0
873 | -11.602 | 0 | 0
873.5 | -11.558 | 0 | 0
874 | -11.784 | 0 | 0
874.5 | -11.644 | 0 | 0
875 | -11.869 | 0 | 0
875.5 | -11.922 | 0 | 0
876 | -11.565 | 0 | 0
876.5 | -11.512 | 0 | 0
877 | -11.408 | 0 | 0
877.5 | -11.366 | 0 | 0
878 | -11.125 | 0 | 0
878.5 | -11.456 | 0 | 0
879 | -11.653 | 0 | 0
879.5 | -11.472 | 0 | 0
880 | -11.247 | 0 | 0
880.5 | -10.929 | 0 | 0
881 | -10.732 | 0 | 0
881.5 | -10.7 | 0 | 0
882 | -10.626 | 0 | 0
882.5 | -10.335 | 0 | 0
883 | -10.073 | 0.078 | 2.1292e-05
883.5 | -8.5107 | 1.6403 | 0.00044776
884 | -12.169 | 0 | 0
884.5 | -12.818 | 0 | 0
885 | 3.4055 | 13.5565 | 0.0037006
885.5 | -3.2952 | 6.8558 | 0.0018715
886 | -34.923 | 0 | 0
886.5 | 1.7414 | 11.8924 | 0.0032463