## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -33.568 | 0 | 0
246.5 | -32.01 | 0.936 | 0.00027918
247 | -30.695 | 2.251 | 0.00067141
247.5 | -32.894 | 0.052 | 1.551e-05
248 | -31.253 | 1.693 | 0.00050497
248.5 | -30.981 | 1.965 | 0.0005861
249 | -30.167 | 2.779 | 0.0008289
249.5 | -29.437 | 3.509 | 0.0010466
250 | -33.649 | 0 | 0
250.5 | -33.286 | 0 | 0
251 | -33.623 | 0 | 0
251.5 | -33.417 | 0 | 0
252 | -31.284 | 1.662 | 0.00049573
252.5 | -29.693 | 3.253 | 0.00097028
253 | -30.862 | 2.084 | 0.0006216
253.5 | -31.25 | 1.696 | 0.00050587
254 | -32.946 | 0 | 0
254.5 | -32.06 | 0.886 | 0.00026427
255 | -32.77 | 0.176 | 5.2496e-05
255.5 | -32.93 | 0.016 | 4.7723e-06
256 | -31.211 | 1.735 | 0.0005175
256.5 | -30.563 | 2.383 | 0.00071078
257 | -30.054 | 2.892 | 0.0008626
257.5 | -30.01 | 2.936 | 0.00087573
258 | -29.812 | 3.134 | 0.00093478
258.5 | -29.577 | 3.369 | 0.0010049
259 | -29.257 | 3.689 | 0.0011003
259.5 | -29.191 | 3.755 | 0.00112
260 | -29.097 | 3.849 | 0.001148
260.5 | -28.923 | 4.023 | 0.0011999
261 | -28.763 | 4.183 | 0.0012477
261.5 | -28.741 | 4.205 | 0.0012542
262 | -28.842 | 4.104 | 0.0012241
262.5 | -29.069 | 3.877 | 0.0011564
263 | -29.336 | 3.61 | 0.0010768
263.5 | -29.483 | 3.463 | 0.0010329
264 | -29.546 | 3.4 | 0.0010141
264.5 | -29.515 | 3.431 | 0.0010234
265 | -29.79 | 3.156 | 0.00094135
265.5 | -30.14 | 2.806 | 0.00083695
266 | -30.33 | 2.616 | 0.00078028
266.5 | -30.503 | 2.443 | 0.00072868
267 | -30.77 | 2.176 | 0.00064904
267.5 | -31.145 | 1.801 | 0.00053719
268 | -31.539 | 1.407 | 0.00041967
268.5 | -32.244 | 0.702 | 0.00020939
269 | -32.768 | 0.178 | 5.3092e-05
269.5 | -33.007 | 0 | 0
270 | -32.874 | 0.072 | 2.1476e-05
270.5 | -32.836 | 0.11 | 3.281e-05
271 | -32.797 | 0.149 | 4.4443e-05
271.5 | -32.692 | 0.254 | 7.5761e-05
272 | -32.435 | 0.511 | 0.00015242
272.5 | -32.255 | 0.691 | 0.00020611
273 | -32.171 | 0.775 | 0.00023116
273.5 | -32.1 | 0.846 | 0.00025234
274 | -32.01 | 0.936 | 0.00027918
274.5 | -31.838 | 1.108 | 0.00033049
275 | -31.569 | 1.377 | 0.00041072
275.5 | -31.114 | 1.832 | 0.00054643
276 | -30.78 | 2.166 | 0.00064606
276.5 | -30.59 | 2.356 | 0.00070273
277 | -30.477 | 2.469 | 0.00073643
277.5 | -30.392 | 2.554 | 0.00076179
278 | -30.257 | 2.689 | 0.00080205
278.5 | -30.204 | 2.742 | 0.00081786
279 | -30.365 | 2.581 | 0.00076984
279.5 | -30.468 | 2.478 | 0.00073912
280 | -30.481 | 2.465 | 0.00073524
280.5 | -30.552 | 2.394 | 0.00071406
281 | -30.664 | 2.282 | 0.00068066
281.5 | -30.744 | 2.202 | 0.00065679
282 | -30.741 | 2.205 | 0.00065769
282.5 | -30.648 | 2.298 | 0.00068543
283 | -30.623 | 2.323 | 0.00069289
283.5 | -30.337 | 2.609 | 0.00077819
284 | -30.171 | 2.775 | 0.0008277
284.5 | -30.21 | 2.736 | 0.00081607
285 | -30.209 | 2.737 | 0.00081637
285.5 | -30.176 | 2.77 | 0.00082621
286 | -29.803 | 3.143 | 0.00093747
286.5 | -29.43 | 3.516 | 0.0010487
287 | -29.31 | 3.636 | 0.0010845
287.5 | -29.003 | 3.943 | 0.0011761
288 | -28.609 | 4.337 | 0.0012936
288.5 | -28.31 | 4.636 | 0.0013828
289 | -28.196 | 4.75 | 0.0014168
289.5 | -27.954 | 4.992 | 0.001489
290 | -27.975 | 4.971 | 0.0014827
290.5 | -28.079 | 4.867 | 0.0014517
291 | -28.097 | 4.849 | 0.0014463
291.5 | -28.094 | 4.852 | 0.0014472
292 | -28.078 | 4.868 | 0.001452
292.5 | -28.163 | 4.783 | 0.0014266
293 | -28.574 | 4.372 | 0.001304
293.5 | -28.774 | 4.172 | 0.0012444
294 | -29.062 | 3.884 | 0.0011585
294.5 | -29.423 | 3.523 | 0.0010508
295 | -29.667 | 3.279 | 0.00097803
295.5 | -29.685 | 3.261 | 0.00097266
296 | -29.836 | 3.11 | 0.00092763
296.5 | -30.049 | 2.897 | 0.00086409
297 | -30.134 | 2.812 | 0.00083874
297.5 | -30.173 | 2.773 | 0.00082711
298 | -29.957 | 2.989 | 0.00089153
298.5 | -29.546 | 3.4 | 0.0010141
299 | -29.115 | 3.831 | 0.0011427
299.5 | -28.593 | 4.353 | 0.0012984
300 | -28.331 | 4.615 | 0.0013765
300.5 | -28.171 | 4.775 | 0.0014242
301 | -28.128 | 4.818 | 0.0014371
301.5 | -28.066 | 4.88 | 0.0014556
302 | -28.077 | 4.869 | 0.0014523
302.5 | -27.988 | 4.958 | 0.0014788
303 | -27.799 | 5.147 | 0.0015352
303.5 | -27.753 | 5.193 | 0.0015489
304 | -27.741 | 5.205 | 0.0015525
304.5 | -28.178 | 4.768 | 0.0014222
305 | -28.772 | 4.174 | 0.001245
305.5 | -29.55 | 3.396 | 0.0010129
306 | -30.038 | 2.908 | 0.00086737
306.5 | -30.181 | 2.765 | 0.00082472
307 | -30.231 | 2.715 | 0.00080981
307.5 | -30.07 | 2.876 | 0.00085783
308 | -29.925 | 3.021 | 0.00090108
308.5 | -29.648 | 3.298 | 0.0009837
309 | -29.566 | 3.38 | 0.0010082
309.5 | -29.564 | 3.382 | 0.0010088
310 | -29.688 | 3.258 | 0.00097177
310.5 | -29.724 | 3.222 | 0.00096103
311 | -29.556 | 3.39 | 0.0010111
311.5 | -29.512 | 3.434 | 0.0010243
312 | -29.322 | 3.624 | 0.0010809
312.5 | -29.329 | 3.617 | 0.0010788
313 | -29.328 | 3.618 | 0.0010791
313.5 | -29.318 | 3.628 | 0.0010821
314 | -29.331 | 3.615 | 0.0010783
314.5 | -29.386 | 3.56 | 0.0010618
315 | -29.717 | 3.229 | 0.00096312
315.5 | -29.793 | 3.153 | 0.00094045
316 | -29.674 | 3.272 | 0.00097595
316.5 | -29.337 | 3.609 | 0.0010765
317 | -29.061 | 3.885 | 0.0011588
317.5 | -29.042 | 3.904 | 0.0011645
318 | -28.796 | 4.15 | 0.0012378
318.5 | -28.508 | 4.438 | 0.0013237
319 | -28.499 | 4.447 | 0.0013264
319.5 | -28.698 | 4.248 | 0.0012671
320 | -28.617 | 4.329 | 0.0012912
320.5 | -28.541 | 4.405 | 0.0013139
321 | -28.233 | 4.713 | 0.0014058
321.5 | -28.02 | 4.926 | 0.0014693
322 | -28.117 | 4.829 | 0.0014404
322.5 | -28.356 | 4.59 | 0.0013691
323 | -28.588 | 4.358 | 0.0012999
323.5 | -28.681 | 4.265 | 0.0012721
324 | -28.499 | 4.447 | 0.0013264
324.5 | -28.518 | 4.428 | 0.0013207
325 | -28.566 | 4.38 | 0.0013064
325.5 | -28.306 | 4.64 | 0.001384
326 | -28.094 | 4.852 | 0.0014472
326.5 | -28.156 | 4.79 | 0.0014287
327 | -28.178 | 4.768 | 0.0014222
327.5 | -28.352 | 4.594 | 0.0013703
328 | -28.355 | 4.591 | 0.0013694
328.5 | -28.382 | 4.564 | 0.0013613
329 | -28.234 | 4.712 | 0.0014055
329.5 | -28.286 | 4.66 | 0.0013899
330 | -28.086 | 4.86 | 0.0014496
330.5 | -27.792 | 5.154 | 0.0015373
331 | -27.507 | 5.439 | 0.0016223
331.5 | -27.356 | 5.59 | 0.0016673
332 | -27.378 | 5.568 | 0.0016608
332.5 | -27.401 | 5.545 | 0.0016539
333 | -27.628 | 5.318 | 0.0015862
333.5 | -27.738 | 5.208 | 0.0015534
334 | -27.918 | 5.028 | 0.0014997
334.5 | -28.146 | 4.8 | 0.0014317
335 | -28.051 | 4.895 | 0.00146
335.5 | -27.926 | 5.02 | 0.0014973
336 | -27.927 | 5.019 | 0.001497
336.5 | -28.329 | 4.617 | 0.0013771
337 | -28.775 | 4.171 | 0.0012441
337.5 | -29.223 | 3.723 | 0.0011105
338 | -29.393 | 3.553 | 0.0010598
338.5 | -29.234 | 3.712 | 0.0011072
339 | -29.086 | 3.86 | 0.0011513
339.5 | -28.92 | 4.026 | 0.0012008
340 | -29.031 | 3.915 | 0.0011677
340.5 | -29.25 | 3.696 | 0.0011024
341 | -29.311 | 3.635 | 0.0010842
341.5 | -29.461 | 3.485 | 0.0010395
342 | -29.673 | 3.273 | 0.00097624
342.5 | -29.735 | 3.211 | 0.00095775
343 | -29.627 | 3.319 | 0.00098996
343.5 | -29.463 | 3.483 | 0.0010389
344 | -29.443 | 3.503 | 0.0010448
344.5 | -29.634 | 3.312 | 0.00098788
345 | -30.102 | 2.844 | 0.00084829
345.5 | -30.259 | 2.687 | 0.00080146
346 | -30.153 | 2.793 | 0.00083307
346.5 | -29.859 | 3.087 | 0.00092077
347 | -29.371 | 3.575 | 0.0010663
347.5 | -29.134 | 3.812 | 0.001137
348 | -29.213 | 3.733 | 0.0011134
348.5 | -29.331 | 3.615 | 0.0010783
349 | -29.385 | 3.561 | 0.0010621
349.5 | -29.307 | 3.639 | 0.0010854
350 | -29.079 | 3.867 | 0.0011534
350.5 | -28.587 | 4.359 | 0.0013002
351 | -28.09 | 4.856 | 0.0014484
351.5 | -27.461 | 5.485 | 0.001636
352 | -27.137 | 5.809 | 0.0017327
352.5 | -26.841 | 6.105 | 0.0018209
353 | -26.782 | 6.164 | 0.0018385
353.5 | -26.935 | 6.011 | 0.0017929
354 | -26.898 | 6.048 | 0.0018039
354.5 | -26.556 | 6.39 | 0.001906
355 | -26.197 | 6.749 | 0.002013
355.5 | -25.787 | 7.159 | 0.0021353
356 | -25.575 | 7.371 | 0.0021986
356.5 | -25.571 | 7.375 | 0.0021998
357 | -25.687 | 7.259 | 0.0021652
357.5 | -25.703 | 7.243 | 0.0021604
358 | -25.842 | 7.104 | 0.0021189
358.5 | -25.737 | 7.209 | 0.0021502
359 | -25.541 | 7.405 | 0.0022087
359.5 | -25.185 | 7.761 | 0.0023149
360 | -24.868 | 8.078 | 0.0024094
360.5 | -24.312 | 8.634 | 0.0025753
361 | -23.874 | 9.072 | 0.0027059
361.5 | -23.364 | 9.582 | 0.002858
362 | -22.745 | 10.201 | 0.0030427
362.5 | -21.965 | 10.981 | 0.0032753
363 | -20.562 | 12.384 | 0.0036938
363.5 | -18.875 | 14.071 | 0.004197
364 | -16.981 | 15.965 | 0.0047619
364.5 | -14.481 | 18.465 | 0.0055076
365 | -11.14 | 21.806 | 0.0065041
365.5 | -6.7096 | 26.2364 | 0.0078256
366 | -0.89713 | 32.0489 | 0.0095593
366.5 | 6.2895 | 39.2355 | 0.011703
367 | 15.098 | 48.044 | 0.01433
367.5 | 25.839 | 58.785 | 0.017534
368 | 39.161 | 72.107 | 0.021507
368.5 | 55.268 | 88.214 | 0.026312
369 | 74.084 | 107.03 | 0.031924
369.5 | 96.515 | 129.461 | 0.038615
370 | 122.77 | 155.716 | 0.046446
370.5 | 152.81 | 185.756 | 0.055406
371 | 187.91 | 220.856 | 0.065875
371.5 | 227.74 | 260.686 | 0.077755
372 | 272.82 | 305.766 | 0.091201
372.5 | 324.3 | 357.246 | 0.10656
373 | 382.42 | 415.366 | 0.12389
373.5 | 447.82 | 480.766 | 0.1434
374 | 521.72 | 554.666 | 0.16544
374.5 | 602.52 | 635.466 | 0.18954
375 | 691.7 | 724.646 | 0.21614
375.5 | 790.27 | 823.216 | 0.24554
376 | 897.31 | 930.256 | 0.27747
376.5 | 1014.5 | 1047.446 | 0.31242
377 | 1141.4 | 1174.346 | 0.35027
377.5 | 1277.3 | 1310.246 | 0.39081
378 | 1423 | 1455.946 | 0.43427
378.5 | 1577.8 | 1610.746 | 0.48044
379 | 1739.9 | 1772.846 | 0.52879
379.5 | 1908.9 | 1941.846 | 0.5792
380 | 2082.6 | 2115.546 | 0.63101
380.5 | 2259.2 | 2292.146 | 0.68368
381 | 2436.4 | 2469.346 | 0.73654
381.5 | 2609.5 | 2642.446 | 0.78817
382 | 2774.2 | 2807.146 | 0.83729
382.5 | 2924.6 | 2957.546 | 0.88215
383 | 3057.8 | 3090.746 | 0.92188
383.5 | 3167 | 3199.946 | 0.95445
384 | 3248 | 3280.946 | 0.97861
384.5 | 3300.8 | 3333.746 | 0.99436
385 | 3319.7 | 3352.646 | 1
385.5 | 3306.4 | 3339.346 | 0.99603
386 | 3262.7 | 3295.646 | 0.983
386.5 | 3184.6 | 3217.546 | 0.9597
387 | 3080.7 | 3113.646 | 0.92871
387.5 | 2953.8 | 2986.746 | 0.89086
388 | 2806.6 | 2839.546 | 0.84696
388.5 | 2646.9 | 2679.846 | 0.79932
389 | 2479.3 | 2512.246 | 0.74933
389.5 | 2309.6 | 2342.546 | 0.69872
390 | 2142.5 | 2175.446 | 0.64887
390.5 | 1983.5 | 2016.446 | 0.60145
391 | 1834.1 | 1867.046 | 0.55689
391.5 | 1695.8 | 1728.746 | 0.51564
392 | 1571.8 | 1604.746 | 0.47865
392.5 | 1459.5 | 1492.446 | 0.44515
393 | 1358 | 1390.946 | 0.41488
393.5 | 1267.3 | 1300.246 | 0.38783
394 | 1184.3 | 1217.246 | 0.36307
394.5 | 1108.5 | 1141.446 | 0.34046
395 | 1038.4 | 1071.346 | 0.31955
395.5 | 972.47 | 1005.416 | 0.29989
396 | 909.9 | 942.846 | 0.28122
396.5 | 849.19 | 882.136 | 0.26312
397 | 789.83 | 822.776 | 0.24541
397.5 | 732.26 | 765.206 | 0.22824
398 | 675.94 | 708.886 | 0.21144
398.5 | 621.43 | 654.376 | 0.19518
399 | 569.2 | 602.146 | 0.1796
399.5 | 519.34 | 552.286 | 0.16473
400 | 472.6 | 505.546 | 0.15079
400.5 | 429.11 | 462.056 | 0.13782
401 | 388.48 | 421.426 | 0.1257
401.5 | 351.54 | 384.486 | 0.11468
402 | 318.03 | 350.976 | 0.10469
402.5 | 288.51 | 321.456 | 0.095881
403 | 262.38 | 295.326 | 0.088087
403.5 | 239 | 271.946 | 0.081114
404 | 218.37 | 251.316 | 0.07496
404.5 | 199.9 | 232.846 | 0.069451
405 | 183.05 | 215.996 | 0.064426
405.5 | 168.12 | 201.066 | 0.059972
406 | 154.43 | 187.376 | 0.055889
406.5 | 141.94 | 174.886 | 0.052164
407 | 130.58 | 163.526 | 0.048775
407.5 | 120.09 | 153.036 | 0.045646
408 | 110.57 | 143.516 | 0.042807
408.5 | 101.52 | 134.466 | 0.040107
409 | 92.816 | 125.762 | 0.037511
409.5 | 84.486 | 117.432 | 0.035027
410 | 76.612 | 109.558 | 0.032678
410.5 | 69.183 | 102.129 | 0.030462
411 | 62.098 | 95.044 | 0.028349
411.5 | 55.536 | 88.482 | 0.026392
412 | 49.319 | 82.265 | 0.024537
412.5 | 43.52 | 76.466 | 0.022808
413 | 38.47 | 71.416 | 0.021301
413.5 | 34.009 | 66.955 | 0.019971
414 | 29.538 | 62.484 | 0.018637
414.5 | 25.067 | 58.013 | 0.017304
415 | 21.189 | 54.135 | 0.016147
415.5 | 17.777 | 50.723 | 0.015129
416 | 14.557 | 47.503 | 0.014169
416.5 | 11.424 | 44.37 | 0.013234
417 | 8.8643 | 41.8103 | 0.012471
417.5 | 6.6612 | 39.6072 | 0.011814
418 | 4.7259 | 37.6719 | 0.011236
418.5 | 2.7515 | 35.6975 | 0.010648
419 | 0.67362 | 33.6196 | 0.010028
419.5 | -1.5129 | 31.4331 | 0.0093756
420 | -3.3006 | 29.6454 | 0.0088424
420.5 | -4.7493 | 28.1967 | 0.0084103
421 | -6.1715 | 26.7745 | 0.0079861
421.5 | -7.6886 | 25.2574 | 0.0075336
422 | -9.1002 | 23.8458 | 0.0071125
422.5 | -10.217 | 22.729 | 0.0067794
423 | -11.326 | 21.62 | 0.0064486
423.5 | -12.725 | 20.221 | 0.0060314
424 | -14.143 | 18.803 | 0.0056084
424.5 | -15.296 | 17.65 | 0.0052645
425 | -16.195 | 16.751 | 0.0049964
425.5 | -16.925 | 16.021 | 0.0047786
426 | -17.745 | 15.201 | 0.004534
426.5 | -18.705 | 14.241 | 0.0042477
427 | -19.618 | 13.328 | 0.0039754
427.5 | -20.21 | 12.736 | 0.0037988
428 | -20.883 | 12.063 | 0.0035981
428.5 | -21.607 | 11.339 | 0.0033821
429 | -22.171 | 10.775 | 0.0032139
429.5 | -22.568 | 10.378 | 0.0030955
430 | -22.797 | 10.149 | 0.0030272
430.5 | -23.401 | 9.545 | 0.002847
431 | -24.055 | 8.891 | 0.0026519
431.5 | -24.677 | 8.269 | 0.0024664
432 | -25.02 | 7.926 | 0.0023641
432.5 | -25.171 | 7.775 | 0.0023191
433 | -25.405 | 7.541 | 0.0022493
433.5 | -25.757 | 7.189 | 0.0021443
434 | -26.017 | 6.929 | 0.0020667
434.5 | -26.361 | 6.585 | 0.0019641
435 | -26.665 | 6.281 | 0.0018734
435.5 | -26.856 | 6.09 | 0.0018165
436 | -27.128 | 5.818 | 0.0017353
436.5 | -27.13 | 5.816 | 0.0017347
437 | -27.093 | 5.853 | 0.0017458
437.5 | -27.139 | 5.807 | 0.0017321
438 | -27.444 | 5.502 | 0.0016411
438.5 | -27.664 | 5.282 | 0.0015755
439 | -27.802 | 5.144 | 0.0015343
439.5 | -27.923 | 5.023 | 0.0014982
440 | -27.977 | 4.969 | 0.0014821
440.5 | -27.884 | 5.062 | 0.0015099
441 | -27.889 | 5.057 | 0.0015084
441.5 | -28.028 | 4.918 | 0.0014669
442 | -28.289 | 4.657 | 0.0013891
442.5 | -28.508 | 4.438 | 0.0013237
443 | -28.803 | 4.143 | 0.0012357
443.5 | -28.811 | 4.135 | 0.0012334
444 | -28.737 | 4.209 | 0.0012554
444.5 | -28.675 | 4.271 | 0.0012739
445 | -28.88 | 4.066 | 0.0012128
445.5 | -29.204 | 3.742 | 0.0011161
446 | -29.738 | 3.208 | 0.00095686
446.5 | -30.401 | 2.545 | 0.0007591
447 | -30.975 | 1.971 | 0.00058789
447.5 | -31.526 | 1.42 | 0.00042355
448 | -31.754 | 1.192 | 0.00035554
448.5 | -31.917 | 1.029 | 0.00030692
449 | -32.025 | 0.921 | 0.00027471
449.5 | -32.46 | 0.486 | 0.00014496
450 | -32.906 | 0.04 | 1.1931e-05
450.5 | -33.222 | 0 | 0
451 | -33.453 | 0 | 0
451.5 | -33.586 | 0 | 0
452 | -33.609 | 0 | 0
452.5 | -33.309 | 0 | 0
453 | -32.894 | 0.052 | 1.551e-05
453.5 | -32.591 | 0.355 | 0.00010589
454 | -32.449 | 0.497 | 0.00014824
454.5 | -32.694 | 0.252 | 7.5165e-05
455 | -32.773 | 0.173 | 5.1601e-05
455.5 | -32.598 | 0.348 | 0.0001038
456 | -32.553 | 0.393 | 0.00011722
456.5 | -32.479 | 0.467 | 0.00013929
457 | -32.146 | 0.8 | 0.00023862
457.5 | -31.787 | 1.159 | 0.0003457
458 | -31.351 | 1.595 | 0.00047574
458.5 | -31.242 | 1.704 | 0.00050826
459 | -31.274 | 1.672 | 0.00049871
459.5 | -31.273 | 1.673 | 0.00049901
460 | -31.279 | 1.667 | 0.00049722
460.5 | -30.805 | 2.141 | 0.0006386
461 | -30.585 | 2.361 | 0.00070422
461.5 | -30.48 | 2.466 | 0.00073554
462 | -29.929 | 3.017 | 0.00089989
462.5 | -29.691 | 3.255 | 0.00097087
463 | -29.673 | 3.273 | 0.00097624
463.5 | -29.569 | 3.377 | 0.0010073
464 | -29.515 | 3.431 | 0.0010234
464.5 | -29.544 | 3.402 | 0.0010147
465 | -29.689 | 3.257 | 0.00097147
465.5 | -29.81 | 3.136 | 0.00093538
466 | -29.846 | 3.1 | 0.00092464
466.5 | -30.036 | 2.91 | 0.00086797
467 | -30.043 | 2.903 | 0.00086588
467.5 | -29.902 | 3.044 | 0.00090794
468 | -30.009 | 2.937 | 0.00087602
468.5 | -30.095 | 2.851 | 0.00085037
469 | -30.277 | 2.669 | 0.00079609
469.5 | -30.396 | 2.55 | 0.00076059
470 | -30.579 | 2.367 | 0.00070601
470.5 | -30.588 | 2.358 | 0.00070333
471 | -30.513 | 2.433 | 0.0007257
471.5 | -30.264 | 2.682 | 0.00079997
472 | -30.065 | 2.881 | 0.00085932
472.5 | -29.936 | 3.01 | 0.0008978
473 | -29.886 | 3.06 | 0.00091271
473.5 | -29.878 | 3.068 | 0.0009151
474 | -30.218 | 2.728 | 0.00081369
474.5 | -30.477 | 2.469 | 0.00073643
475 | -30.893 | 2.053 | 0.00061235
475.5 | -31.37 | 1.576 | 0.00047008
476 | -31.627 | 1.319 | 0.00039342
476.5 | -31.707 | 1.239 | 0.00036956
477 | -31.587 | 1.359 | 0.00040535
477.5 | -31.585 | 1.361 | 0.00040595
478 | -31.541 | 1.405 | 0.00041907
478.5 | -31.555 | 1.391 | 0.0004149
479 | -31.711 | 1.235 | 0.00036837
479.5 | -32.08 | 0.866 | 0.0002583
480 | -32.121 | 0.825 | 0.00024607
480.5 | -31.951 | 0.995 | 0.00029678
481 | -31.438 | 1.508 | 0.00044979
481.5 | -30.956 | 1.99 | 0.00059356
482 | -30.964 | 1.982 | 0.00059117
482.5 | -31.237 | 1.709 | 0.00050975
483 | -31.679 | 1.267 | 0.00037791
483.5 | -32.063 | 0.883 | 0.00026337
484 | -32.405 | 0.541 | 0.00016137
484.5 | -32.48 | 0.466 | 0.00013899
485 | -32.447 | 0.499 | 0.00014884
485.5 | -32.344 | 0.602 | 0.00017956
486 | -32.505 | 0.441 | 0.00013154
486.5 | -32.701 | 0.245 | 7.3077e-05
487 | -33.073 | 0 | 0
487.5 | -33.263 | 0 | 0
488 | -33.121 | 0 | 0
488.5 | -32.721 | 0.225 | 6.7111e-05
489 | -32.353 | 0.593 | 0.00017688
489.5 | -31.957 | 0.989 | 0.00029499
490 | -31.698 | 1.248 | 0.00037224
490.5 | -31.467 | 1.479 | 0.00044114
491 | -31.17 | 1.776 | 0.00052973
491.5 | -30.921 | 2.025 | 0.000604
492 | -30.742 | 2.204 | 0.00065739
492.5 | -30.287 | 2.659 | 0.0007931
493 | -30.063 | 2.883 | 0.00085992
493.5 | -30.164 | 2.782 | 0.00082979
494 | -30.027 | 2.919 | 0.00087066
494.5 | -29.999 | 2.947 | 0.00087901
495 | -29.928 | 3.018 | 0.00090018
495.5 | -30.053 | 2.893 | 0.0008629
496 | -30.055 | 2.891 | 0.0008623
496.5 | -30.105 | 2.841 | 0.00084739
497 | -30.171 | 2.775 | 0.0008277
497.5 | -30.236 | 2.71 | 0.00080832
498 | -30.064 | 2.882 | 0.00085962
498.5 | -30.526 | 2.42 | 0.00072182
499 | -30.688 | 2.258 | 0.0006735
499.5 | -30.731 | 2.215 | 0.00066067
500 | -30.891 | 2.055 | 0.00061295
500.5 | -30.917 | 2.029 | 0.00060519
501 | -30.817 | 2.129 | 0.00063502
501.5 | -30.598 | 2.348 | 0.00070034
502 | -30.679 | 2.267 | 0.00067618
502.5 | -31.002 | 1.944 | 0.00057984
503 | -31.229 | 1.717 | 0.00051213
503.5 | -31.71 | 1.236 | 0.00036866
504 | -31.863 | 1.083 | 0.00032303
504.5 | -31.912 | 1.034 | 0.00030841
505 | -31.743 | 1.203 | 0.00035882
505.5 | -31.495 | 1.451 | 0.00043279
506 | -31.375 | 1.571 | 0.00046859
506.5 | -31.443 | 1.503 | 0.0004483
507 | -31.823 | 1.123 | 0.00033496
507.5 | -32.091 | 0.855 | 0.00025502
508 | -32.124 | 0.822 | 0.00024518
508.5 | -32.09 | 0.856 | 0.00025532
509 | -31.864 | 1.082 | 0.00032273
509.5 | -31.585 | 1.361 | 0.00040595
510 | -31.53 | 1.416 | 0.00042235
510.5 | -31.43 | 1.516 | 0.00045218
511 | -31.466 | 1.48 | 0.00044144
511.5 | -31.737 | 1.209 | 0.00036061
512 | -32.332 | 0.614 | 0.00018314
512.5 | -32.664 | 0.282 | 8.4113e-05
513 | -32.921 | 0.025 | 7.4568e-06
513.5 | -32.966 | 0 | 0
514 | -32.831 | 0.115 | 3.4301e-05
514.5 | -32.706 | 0.24 | 7.1585e-05
515 | -32.694 | 0.252 | 7.5165e-05
515.5 | -32.59 | 0.356 | 0.00010618
516 | -32.411 | 0.535 | 0.00015958
516.5 | -32.186 | 0.76 | 0.00022669
517 | -31.949 | 0.997 | 0.00029738
517.5 | -31.405 | 1.541 | 0.00045964
518 | -30.849 | 2.097 | 0.00062548
518.5 | -30.672 | 2.274 | 0.00067827
519 | -30.537 | 2.409 | 0.00071854
519.5 | -30.653 | 2.293 | 0.00068394
520 | -30.638 | 2.308 | 0.00068841
520.5 | -30.601 | 2.345 | 0.00069945
521 | -30.657 | 2.289 | 0.00068274
521.5 | -30.826 | 2.12 | 0.00063234
522 | -31.008 | 1.938 | 0.00057805
522.5 | -31.25 | 1.696 | 0.00050587
523 | -31.427 | 1.519 | 0.00045307
523.5 | -31.238 | 1.708 | 0.00050945
524 | -30.986 | 1.96 | 0.00058461
524.5 | -30.963 | 1.983 | 0.00059147
525 | -31.027 | 1.919 | 0.00057238
525.5 | -31.244 | 1.702 | 0.00050766
526 | -31.603 | 1.343 | 0.00040058
526.5 | -31.805 | 1.141 | 0.00034033
527 | -31.778 | 1.168 | 0.00034838
527.5 | -31.794 | 1.152 | 0.00034361
528 | -31.943 | 1.003 | 0.00029917
528.5 | -32.034 | 0.912 | 0.00027202
529 | -32.18 | 0.766 | 0.00022848
529.5 | -32.681 | 0.265 | 7.9042e-05
530 | -32.78 | 0.166 | 4.9513e-05
530.5 | -33.153 | 0 | 0
531 | -33.323 | 0 | 0
531.5 | -33.287 | 0 | 0
532 | -33.062 | 0 | 0
532.5 | -32.934 | 0.012 | 3.5793e-06
533 | -32.822 | 0.124 | 3.6986e-05
533.5 | -32.504 | 0.442 | 0.00013184
534 | -32.34 | 0.606 | 0.00018075
534.5 | -32.57 | 0.376 | 0.00011215
535 | -32.653 | 0.293 | 8.7394e-05
535.5 | -32.567 | 0.379 | 0.00011305
536 | -32.148 | 0.798 | 0.00023802
536.5 | -31.739 | 1.207 | 0.00036001
537 | -31.442 | 1.504 | 0.0004486
537.5 | -31.296 | 1.65 | 0.00049215
538 | -31.006 | 1.94 | 0.00057865
538.5 | -30.898 | 2.048 | 0.00061086
539 | -30.946 | 2 | 0.00059654
539.5 | -30.962 | 1.984 | 0.00059177
540 | -30.813 | 2.133 | 0.00063621
540.5 | -30.675 | 2.271 | 0.00067738
541 | -30.839 | 2.107 | 0.00062846
541.5 | -31.252 | 1.694 | 0.00050527
542 | -31.338 | 1.608 | 0.00047962
542.5 | -31.116 | 1.83 | 0.00054584
543 | -30.971 | 1.975 | 0.00058909
543.5 | -31.137 | 1.809 | 0.00053957
544 | -31.503 | 1.443 | 0.00043041
544.5 | -31.803 | 1.143 | 0.00034092
545 | -32.222 | 0.724 | 0.00021595
545.5 | -32.533 | 0.413 | 0.00012319
546 | -32.894 | 0.052 | 1.551e-05
546.5 | -33.161 | 0 | 0
547 | -33.056 | 0 | 0
547.5 | -33.278 | 0 | 0
548 | -33.745 | 0 | 0
548.5 | -34.128 | 0 | 0
549 | -34.546 | 0 | 0
549.5 | -34.586 | 0 | 0
550 | -34.567 | 0 | 0
550.5 | -33.996 | 0 | 0
551 | -33.465 | 0 | 0
551.5 | -33.176 | 0 | 0
552 | -32.989 | 0 | 0
552.5 | -32.909 | 0.037 | 1.1036e-05
553 | -32.851 | 0.095 | 2.8336e-05
553.5 | -32.655 | 0.291 | 8.6797e-05
554 | -32.35 | 0.596 | 0.00017777
554.5 | -31.977 | 0.969 | 0.00028903
555 | -31.707 | 1.239 | 0.00036956
555.5 | -31.33 | 1.616 | 0.00048201
556 | -31.376 | 1.57 | 0.00046829
556.5 | -31.638 | 1.308 | 0.00039014
557 | -31.591 | 1.355 | 0.00040416
557.5 | -31.409 | 1.537 | 0.00045844
558 | -31.052 | 1.894 | 0.00056493
558.5 | -30.816 | 2.13 | 0.00063532
559 | -30.815 | 2.131 | 0.00063562
559.5 | -30.95 | 1.996 | 0.00059535
560 | -31.275 | 1.671 | 0.00049841
560.5 | -31.137 | 1.809 | 0.00053957
561 | -31.274 | 1.672 | 0.00049871
561.5 | -31.213 | 1.733 | 0.00051691
562 | -31.006 | 1.94 | 0.00057865
562.5 | -30.84 | 2.106 | 0.00062816
563 | -30.661 | 2.285 | 0.00068155
563.5 | -30.77 | 2.176 | 0.00064904
564 | -30.807 | 2.139 | 0.000638
564.5 | -30.831 | 2.115 | 0.00063085
565 | -31.076 | 1.87 | 0.00055777
565.5 | -30.973 | 1.973 | 0.00058849
566 | -31.025 | 1.921 | 0.00057298
566.5 | -31.001 | 1.945 | 0.00058014
567 | -30.961 | 1.985 | 0.00059207
567.5 | -31.074 | 1.872 | 0.00055836
568 | -31.169 | 1.777 | 0.00053003
568.5 | -31.349 | 1.597 | 0.00047634
569 | -31.543 | 1.403 | 0.00041848
569.5 | -31.686 | 1.26 | 0.00037582
570 | -31.509 | 1.437 | 0.00042862
570.5 | -31.194 | 1.752 | 0.00052257
571 | -31.153 | 1.793 | 0.0005348
571.5 | -31.207 | 1.739 | 0.00051869
572 | -31.3 | 1.646 | 0.00049096
572.5 | -31.681 | 1.265 | 0.00037731
573 | -32.017 | 0.929 | 0.00027709
573.5 | -32.357 | 0.589 | 0.00017568
574 | -32.445 | 0.501 | 0.00014943
574.5 | -32.22 | 0.726 | 0.00021655
575 | -32.127 | 0.819 | 0.00024428
575.5 | -32.36 | 0.586 | 0.00017479
576 | -32.883 | 0.063 | 1.8791e-05
576.5 | -33.264 | 0 | 0
577 | -33.615 | 0 | 0
577.5 | -33.674 | 0 | 0
578 | -33.424 | 0 | 0
578.5 | -33.354 | 0 | 0
579 | -33.374 | 0 | 0
579.5 | -33.429 | 0 | 0
580 | -33.697 | 0 | 0
580.5 | -33.686 | 0 | 0
581 | -33.478 | 0 | 0
581.5 | -33.049 | 0 | 0
582 | -32.264 | 0.682 | 0.00020342
582.5 | -31.521 | 1.425 | 0.00042504
583 | -31.399 | 1.547 | 0.00046143
583.5 | -31.585 | 1.361 | 0.00040595
584 | -31.546 | 1.4 | 0.00041758
584.5 | -31.389 | 1.557 | 0.00046441
585 | -31.114 | 1.832 | 0.00054643
585.5 | -30.511 | 2.435 | 0.00072629
586 | -30.15 | 2.796 | 0.00083397
586.5 | -30.116 | 2.83 | 0.00084411
587 | -30.117 | 2.829 | 0.00084381
587.5 | -30.714 | 2.232 | 0.00066574
588 | -31.247 | 1.699 | 0.00050676
588.5 | -31.671 | 1.275 | 0.0003803
589 | -31.826 | 1.12 | 0.00033406
589.5 | -31.871 | 1.075 | 0.00032064
590 | -31.975 | 0.971 | 0.00028962
590.5 | -32.247 | 0.699 | 0.00020849
591 | -32.65 | 0.296 | 8.8288e-05
591.5 | -33.124 | 0 | 0
592 | -33.227 | 0 | 0
592.5 | -33.116 | 0 | 0
593 | -32.811 | 0.135 | 4.0267e-05
593.5 | -32.698 | 0.248 | 7.3971e-05
594 | -32.429 | 0.517 | 0.00015421
594.5 | -32.278 | 0.668 | 0.00019925
595 | -32.245 | 0.701 | 0.00020909
595.5 | -32.127 | 0.819 | 0.00024428
596 | -32.032 | 0.914 | 0.00027262
596.5 | -31.681 | 1.265 | 0.00037731
597 | -31.23 | 1.716 | 0.00051183
597.5 | -30.851 | 2.095 | 0.00062488
598 | -30.957 | 1.989 | 0.00059326
598.5 | -31.028 | 1.918 | 0.00057209
599 | -30.918 | 2.028 | 0.0006049
599.5 | -30.828 | 2.118 | 0.00063174
600 | -30.701 | 2.245 | 0.00066962
600.5 | -30.606 | 2.34 | 0.00069796
601 | -30.422 | 2.524 | 0.00075284
601.5 | -30.615 | 2.331 | 0.00069527
602 | -30.989 | 1.957 | 0.00058372
602.5 | -31.384 | 1.562 | 0.0004659
603 | -31.637 | 1.309 | 0.00039044
603.5 | -31.492 | 1.454 | 0.00043369
604 | -31.205 | 1.741 | 0.00051929
604.5 | -31.179 | 1.767 | 0.00052705
605 | -31.057 | 1.889 | 0.00056344
605.5 | -31.155 | 1.791 | 0.0005342
606 | -31.604 | 1.342 | 0.00040028
606.5 | -32.07 | 0.876 | 0.00026129
607 | -32.184 | 0.762 | 0.00022728
607.5 | -32.148 | 0.798 | 0.00023802
608 | -32.068 | 0.878 | 0.00026188
608.5 | -31.976 | 0.97 | 0.00028932
609 | -32.398 | 0.548 | 0.00016345
609.5 | -32.743 | 0.203 | 6.0549e-05
610 | -32.782 | 0.164 | 4.8917e-05
610.5 | -32.84 | 0.106 | 3.1617e-05
611 | -32.859 | 0.087 | 2.595e-05
611.5 | -32.642 | 0.304 | 9.0675e-05
612 | -32.102 | 0.844 | 0.00025174
612.5 | -32.028 | 0.918 | 0.00027381
613 | -32.071 | 0.875 | 0.00026099
613.5 | -31.805 | 1.141 | 0.00034033
614 | -31.804 | 1.142 | 0.00034063
614.5 | -31.585 | 1.361 | 0.00040595
615 | -31.439 | 1.507 | 0.0004495
615.5 | -31.257 | 1.689 | 0.00050378
616 | -31.076 | 1.87 | 0.00055777
616.5 | -30.669 | 2.277 | 0.00067917
617 | -30.607 | 2.339 | 0.00069766
617.5 | -30.708 | 2.238 | 0.00066753
618 | -30.842 | 2.104 | 0.00062756
618.5 | -30.992 | 1.954 | 0.00058282
619 | -31.081 | 1.865 | 0.00055628
619.5 | -30.909 | 2.037 | 0.00060758
620 | -30.937 | 2.009 | 0.00059923
620.5 | -31.329 | 1.617 | 0.00048231
621 | -31.638 | 1.308 | 0.00039014
621.5 | -31.732 | 1.214 | 0.0003621
622 | -31.811 | 1.135 | 0.00033854
622.5 | -31.757 | 1.189 | 0.00035465
623 | -31.486 | 1.46 | 0.00043548
623.5 | -31.362 | 1.584 | 0.00047246
624 | -31.325 | 1.621 | 0.0004835
624.5 | -31.611 | 1.335 | 0.00039819
625 | -31.643 | 1.303 | 0.00038865
625.5 | -31.388 | 1.558 | 0.00046471
626 | -31.28 | 1.666 | 0.00049692
626.5 | -31.659 | 1.287 | 0.00038388
627 | -31.919 | 1.027 | 0.00030633
627.5 | -31.849 | 1.097 | 0.0003272
628 | -32.069 | 0.877 | 0.00026158
628.5 | -32.098 | 0.848 | 0.00025293
629 | -31.992 | 0.954 | 0.00028455
629.5 | -32.111 | 0.835 | 0.00024906
630 | -32.345 | 0.601 | 0.00017926
630.5 | -32.865 | 0.081 | 2.416e-05
631 | -32.785 | 0.161 | 4.8022e-05
631.5 | -32.27 | 0.676 | 0.00020163
632 | -31.745 | 1.201 | 0.00035822
632.5 | -31.519 | 1.427 | 0.00042563
633 | -31.385 | 1.561 | 0.0004656
633.5 | -31.421 | 1.525 | 0.00045486
634 | -31.553 | 1.393 | 0.00041549
634.5 | -31.458 | 1.488 | 0.00044383
635 | -30.843 | 2.103 | 0.00062727
635.5 | -29.968 | 2.978 | 0.00088825
636 | -29.594 | 3.352 | 0.00099981
636.5 | -29.811 | 3.135 | 0.00093508
637 | -30.298 | 2.648 | 0.00078982
637.5 | -30.676 | 2.27 | 0.00067708
638 | -30.789 | 2.157 | 0.00064337
638.5 | -30.805 | 2.141 | 0.0006386
639 | -30.717 | 2.229 | 0.00066485
639.5 | -30.654 | 2.292 | 0.00068364
640 | -30.732 | 2.214 | 0.00066037
640.5 | -30.99 | 1.956 | 0.00058342
641 | -31.245 | 1.701 | 0.00050736
641.5 | -31.056 | 1.89 | 0.00056373
642 | -31.014 | 1.932 | 0.00057626
642.5 | -30.801 | 2.145 | 0.00063979
643 | -30.886 | 2.06 | 0.00061444
643.5 | -30.843 | 2.103 | 0.00062727
644 | -30.64 | 2.306 | 0.00068781
644.5 | -30.554 | 2.392 | 0.00071347
645 | -30.335 | 2.611 | 0.00077879
645.5 | -30.338 | 2.608 | 0.00077789
646 | -30.534 | 2.412 | 0.00071943
646.5 | -30.351 | 2.595 | 0.00077402
647 | -30.139 | 2.807 | 0.00083725
647.5 | -29.888 | 3.058 | 0.00091212
648 | -29.501 | 3.445 | 0.0010275
648.5 | -29.303 | 3.643 | 0.0010866
649 | -29.282 | 3.664 | 0.0010929
649.5 | -29.433 | 3.513 | 0.0010478
650 | -29.629 | 3.317 | 0.00098937
650.5 | -29.717 | 3.229 | 0.00096312
651 | -29.602 | 3.344 | 0.00099742
651.5 | -29.631 | 3.315 | 0.00098877
652 | -29.989 | 2.957 | 0.00088199
652.5 | -30.094 | 2.852 | 0.00085067
653 | -30.332 | 2.614 | 0.00077968
653.5 | -30.48 | 2.466 | 0.00073554
654 | -30.758 | 2.188 | 0.00065262
654.5 | -30.905 | 2.041 | 0.00060877
655 | -30.868 | 2.078 | 0.00061981
655.5 | -30.752 | 2.194 | 0.00065441
656 | -30.593 | 2.353 | 0.00070183
656.5 | -30.573 | 2.373 | 0.0007078
657 | -30.513 | 2.433 | 0.0007257
657.5 | -30.278 | 2.668 | 0.00079579
658 | -30.302 | 2.644 | 0.00078863
658.5 | -30.456 | 2.49 | 0.0007427
659 | -30.393 | 2.553 | 0.00076149
659.5 | -30.354 | 2.592 | 0.00077312
660 | -30.435 | 2.511 | 0.00074896
660.5 | -30.908 | 2.038 | 0.00060788
661 | -31.378 | 1.568 | 0.00046769
661.5 | -31.708 | 1.238 | 0.00036926
662 | -32.056 | 0.89 | 0.00026546
662.5 | -32.552 | 0.394 | 0.00011752
663 | -32.778 | 0.168 | 5.011e-05
663.5 | -32.807 | 0.139 | 4.146e-05
664 | -32.891 | 0.055 | 1.6405e-05
664.5 | -32.772 | 0.174 | 5.1899e-05
665 | -32.528 | 0.418 | 0.00012468
665.5 | -32.025 | 0.921 | 0.00027471
666 | -31.678 | 1.268 | 0.00037821
666.5 | -31.545 | 1.401 | 0.00041788
667 | -31.473 | 1.473 | 0.00043935
667.5 | -31.673 | 1.273 | 0.0003797
668 | -31.705 | 1.241 | 0.00037016
668.5 | -31.879 | 1.067 | 0.00031826
669 | -32.069 | 0.877 | 0.00026158
669.5 | -32.241 | 0.705 | 0.00021028
670 | -32.538 | 0.408 | 0.00012169
670.5 | -33.075 | 0 | 0
671 | -33.395 | 0 | 0
671.5 | -33.221 | 0 | 0
672 | -32.9 | 0.046 | 1.3721e-05
672.5 | -32.381 | 0.565 | 0.00016852
673 | -32.178 | 0.768 | 0.00022907
673.5 | -31.957 | 0.989 | 0.00029499
674 | -31.496 | 1.45 | 0.00043249
674.5 | -31.125 | 1.821 | 0.00054315
675 | -30.808 | 2.138 | 0.00063771
675.5 | -30.488 | 2.458 | 0.00073315
676 | -30.387 | 2.559 | 0.00076328
676.5 | -30.796 | 2.15 | 0.00064128
677 | -31.086 | 1.86 | 0.00055479
677.5 | -31.36 | 1.586 | 0.00047306
678 | -31.439 | 1.507 | 0.0004495
678.5 | -31.6 | 1.346 | 0.00040147
679 | -31.653 | 1.293 | 0.00038567
679.5 | -31.732 | 1.214 | 0.0003621
680 | -31.895 | 1.051 | 0.00031348
680.5 | -32.113 | 0.833 | 0.00024846
681 | -32.179 | 0.767 | 0.00022877
681.5 | -31.824 | 1.122 | 0.00033466
682 | -31.869 | 1.077 | 0.00032124
682.5 | -31.736 | 1.21 | 0.00036091
683 | -31.43 | 1.516 | 0.00045218
683.5 | -31.179 | 1.767 | 0.00052705
684 | -31.521 | 1.425 | 0.00042504
684.5 | -31.82 | 1.126 | 0.00033585
685 | -31.681 | 1.265 | 0.00037731
685.5 | -31.201 | 1.745 | 0.00052048
686 | -30.983 | 1.963 | 0.00058551
686.5 | -31.079 | 1.867 | 0.00055687
687 | -31.044 | 1.902 | 0.00056731
687.5 | -31.04 | 1.906 | 0.00056851
688 | -31.043 | 1.903 | 0.00056761
688.5 | -30.77 | 2.176 | 0.00064904
689 | -30.389 | 2.557 | 0.00076268
689.5 | -30.088 | 2.858 | 0.00085246
690 | -30.145 | 2.801 | 0.00083546
690.5 | -30.473 | 2.473 | 0.00073763
691 | -30.358 | 2.588 | 0.00077193
691.5 | -30.365 | 2.581 | 0.00076984
692 | -30.567 | 2.379 | 0.00070959
692.5 | -30.674 | 2.272 | 0.00067767
693 | -30.756 | 2.19 | 0.00065322
693.5 | -31.007 | 1.939 | 0.00057835
694 | -31.185 | 1.761 | 0.00052526
694.5 | -31.321 | 1.625 | 0.00048469
695 | -31.356 | 1.59 | 0.00047425
695.5 | -31.381 | 1.565 | 0.0004668
696 | -31.585 | 1.361 | 0.00040595
696.5 | -31.46 | 1.486 | 0.00044323
697 | -31.311 | 1.635 | 0.00048767
697.5 | -31.227 | 1.719 | 0.00051273
698 | -31.335 | 1.611 | 0.00048052
698.5 | -31.479 | 1.467 | 0.00043756
699 | -31.4 | 1.546 | 0.00046113
699.5 | -31.356 | 1.59 | 0.00047425
700 | -31.38 | 1.566 | 0.00046709
700.5 | -31.441 | 1.505 | 0.0004489
701 | -31.499 | 1.447 | 0.0004316
701.5 | -31.609 | 1.337 | 0.00039879
702 | -31.496 | 1.45 | 0.00043249
702.5 | -31.578 | 1.368 | 0.00040804
703 | -31.613 | 1.333 | 0.0003976
703.5 | -31.347 | 1.599 | 0.00047694
704 | -31.28 | 1.666 | 0.00049692
704.5 | -31.391 | 1.555 | 0.00046381
705 | -31.387 | 1.559 | 0.00046501
705.5 | -31.354 | 1.592 | 0.00047485
706 | -31.36 | 1.586 | 0.00047306
706.5 | -31.473 | 1.473 | 0.00043935
707 | -31.473 | 1.473 | 0.00043935
707.5 | -31.441 | 1.505 | 0.0004489
708 | -31.479 | 1.467 | 0.00043756
708.5 | -31.832 | 1.114 | 0.00033227
709 | -31.785 | 1.161 | 0.00034629
709.5 | -31.708 | 1.238 | 0.00036926
710 | -31.772 | 1.174 | 0.00035017
710.5 | -31.594 | 1.352 | 0.00040326
711 | -31.598 | 1.348 | 0.00040207
711.5 | -31.574 | 1.372 | 0.00040923
712 | -31.65 | 1.296 | 0.00038656
712.5 | -31.539 | 1.407 | 0.00041967
713 | -31.36 | 1.586 | 0.00047306
713.5 | -30.886 | 2.06 | 0.00061444
714 | -30.913 | 2.033 | 0.00060639
714.5 | -30.993 | 1.953 | 0.00058252
715 | -31.325 | 1.621 | 0.0004835
715.5 | -31.571 | 1.375 | 0.00041012
716 | -31.757 | 1.189 | 0.00035465
716.5 | -31.668 | 1.278 | 0.00038119
717 | -31.672 | 1.274 | 0.00038
717.5 | -31.404 | 1.542 | 0.00045994
718 | -31.23 | 1.716 | 0.00051183
718.5 | -31.309 | 1.637 | 0.00048827
719 | -31.41 | 1.536 | 0.00045815
719.5 | -31.181 | 1.765 | 0.00052645
720 | -30.644 | 2.302 | 0.00068662
720.5 | -30.095 | 2.851 | 0.00085037
721 | -30.017 | 2.929 | 0.00087364
721.5 | -29.992 | 2.954 | 0.0008811
722 | -30.061 | 2.885 | 0.00086051
722.5 | -30.202 | 2.744 | 0.00081846
723 | -30.277 | 2.669 | 0.00079609
723.5 | -30.041 | 2.905 | 0.00086648
724 | -29.977 | 2.969 | 0.00088557
724.5 | -30.139 | 2.807 | 0.00083725
725 | -30.517 | 2.429 | 0.0007245
725.5 | -30.7 | 2.246 | 0.00066992
726 | -30.694 | 2.252 | 0.00067171
726.5 | -30.646 | 2.3 | 0.00068603
727 | -30.694 | 2.252 | 0.00067171
727.5 | -31.05 | 1.896 | 0.00056552
728 | -31.535 | 1.411 | 0.00042086
728.5 | -32.012 | 0.934 | 0.00027859
729 | -32.17 | 0.776 | 0.00023146
729.5 | -32.258 | 0.688 | 0.00020521
730 | -32.541 | 0.405 | 0.0001208
730.5 | -32.616 | 0.33 | 9.843e-05
731 | -32.51 | 0.436 | 0.00013005
731.5 | -32.704 | 0.242 | 7.2182e-05
732 | -32.619 | 0.327 | 9.7535e-05
732.5 | -32.547 | 0.399 | 0.00011901
733 | -32.098 | 0.848 | 0.00025293
733.5 | -31.854 | 1.092 | 0.00032571
734 | -31.556 | 1.39 | 0.0004146
734.5 | -31.346 | 1.6 | 0.00047723
735 | -31.139 | 1.807 | 0.00053898
735.5 | -31.081 | 1.865 | 0.00055628
736 | -30.798 | 2.148 | 0.00064069
736.5 | -30.644 | 2.302 | 0.00068662
737 | -30.434 | 2.512 | 0.00074926
737.5 | -30.44 | 2.506 | 0.00074747
738 | -30.339 | 2.607 | 0.00077759
738.5 | -30.346 | 2.6 | 0.00077551
739 | -30.261 | 2.685 | 0.00080086
739.5 | -30.094 | 2.852 | 0.00085067
740 | -29.898 | 3.048 | 0.00090913
740.5 | -29.72 | 3.226 | 0.00096223
741 | -29.621 | 3.325 | 0.00099175
741.5 | -29.509 | 3.437 | 0.0010252
742 | -29.359 | 3.587 | 0.0010699
742.5 | -29.153 | 3.793 | 0.0011313
743 | -29.039 | 3.907 | 0.0011653
743.5 | -28.811 | 4.135 | 0.0012334
744 | -28.886 | 4.06 | 0.001211
744.5 | -29.067 | 3.879 | 0.001157
745 | -29.297 | 3.649 | 0.0010884
745.5 | -29.635 | 3.311 | 0.00098758
746 | -29.677 | 3.269 | 0.00097505
746.5 | -29.459 | 3.487 | 0.0010401
747 | -29.255 | 3.691 | 0.0011009
747.5 | -29.178 | 3.768 | 0.0011239
748 | -29.31 | 3.636 | 0.0010845
748.5 | -29.387 | 3.559 | 0.0010615
749 | -28.967 | 3.979 | 0.0011868
749.5 | -28.504 | 4.442 | 0.0013249
750 | -28.134 | 4.812 | 0.0014353
750.5 | -28.236 | 4.71 | 0.0014049
751 | -28.526 | 4.42 | 0.0013184
751.5 | -28.536 | 4.41 | 0.0013154
752 | -28.555 | 4.391 | 0.0013097
752.5 | -28.324 | 4.622 | 0.0013786
753 | -28.217 | 4.729 | 0.0014105
753.5 | -27.789 | 5.157 | 0.0015382
754 | -27.448 | 5.498 | 0.0016399
754.5 | -27.182 | 5.764 | 0.0017192
755 | -26.68 | 6.266 | 0.001869
755.5 | -25.964 | 6.982 | 0.0020825
756 | -25.839 | 7.107 | 0.0021198
756.5 | -25.551 | 7.395 | 0.0022057
757 | -25.082 | 7.864 | 0.0023456
757.5 | -24.291 | 8.655 | 0.0025815
758 | -23.696 | 9.25 | 0.002759
758.5 | -23.194 | 9.752 | 0.0029087
759 | -22.716 | 10.23 | 0.0030513
759.5 | -22.574 | 10.372 | 0.0030937
760 | -22.321 | 10.625 | 0.0031691
760.5 | -21.654 | 11.292 | 0.0033681
761 | -21.284 | 11.662 | 0.0034784
761.5 | -21.019 | 11.927 | 0.0035575
762 | -20.621 | 12.325 | 0.0036762
762.5 | -20.421 | 12.525 | 0.0037359
763 | -20.204 | 12.742 | 0.0038006
763.5 | -19.938 | 13.008 | 0.0038799
764 | -19.386 | 13.56 | 0.0040446
764.5 | -18.883 | 14.063 | 0.0041946
765 | -18.596 | 14.35 | 0.0042802
765.5 | -18.291 | 14.655 | 0.0043712
766 | -17.811 | 15.135 | 0.0045143
766.5 | -17.642 | 15.304 | 0.0045648
767 | -17.168 | 15.778 | 0.0047061
767.5 | -16.722 | 16.224 | 0.0048392
768 | -16.641 | 16.305 | 0.0048633
768.5 | -16.613 | 16.333 | 0.0048717
769 | -16.42 | 16.526 | 0.0049292
769.5 | -16.345 | 16.601 | 0.0049516
770 | -16.169 | 16.777 | 0.0050041
770.5 | -15.832 | 17.114 | 0.0051046
771 | -15.866 | 17.08 | 0.0050945
771.5 | -16.204 | 16.742 | 0.0049937
772 | -16.757 | 16.189 | 0.0048287
772.5 | -16.637 | 16.309 | 0.0048645
773 | -16.569 | 16.377 | 0.0048848
773.5 | -16.744 | 16.202 | 0.0048326
774 | -17.263 | 15.683 | 0.0046778
774.5 | -17.896 | 15.05 | 0.004489
775 | -18.602 | 14.344 | 0.0042784
775.5 | -18.788 | 14.158 | 0.0042229
776 | -18.723 | 14.223 | 0.0042423
776.5 | -18.574 | 14.372 | 0.0042868
777 | -19.195 | 13.751 | 0.0041015
777.5 | -19.96 | 12.986 | 0.0038734
778 | -20.526 | 12.42 | 0.0037045
778.5 | -20.908 | 12.038 | 0.0035906
779 | -20.868 | 12.078 | 0.0036025
779.5 | -21.393 | 11.553 | 0.0034459
780 | -22.611 | 10.335 | 0.0030826
780.5 | -23.847 | 9.099 | 0.002714
781 | -24.981 | 7.965 | 0.0023757
781.5 | -25.344 | 7.602 | 0.0022675
782 | -25.509 | 7.437 | 0.0022182
782.5 | -25.899 | 7.047 | 0.0021019
783 | -26.107 | 6.839 | 0.0020399
783.5 | -26.466 | 6.48 | 0.0019328
784 | -26.312 | 6.634 | 0.0019787
784.5 | -26.192 | 6.754 | 0.0020145
785 | -26.215 | 6.731 | 0.0020077
785.5 | -26.178 | 6.768 | 0.0020187
786 | -26.284 | 6.662 | 0.0019871
786.5 | -26.493 | 6.453 | 0.0019247
787 | -26.903 | 6.043 | 0.0018025
787.5 | -27.055 | 5.891 | 0.0017571
788 | -26.942 | 6.004 | 0.0017908
788.5 | -27.017 | 5.929 | 0.0017685
789 | -26.936 | 6.01 | 0.0017926
789.5 | -26.574 | 6.372 | 0.0019006
790 | -26.367 | 6.579 | 0.0019623
790.5 | -26.53 | 6.416 | 0.0019137
791 | -26.865 | 6.081 | 0.0018138
791.5 | -26.643 | 6.303 | 0.00188
792 | -26.675 | 6.271 | 0.0018705
792.5 | -27.304 | 5.642 | 0.0016828
793 | -27.732 | 5.214 | 0.0015552
793.5 | -27.682 | 5.264 | 0.0015701
794 | -27.83 | 5.116 | 0.001526
794.5 | -27.91 | 5.036 | 0.0015021
795 | -27.817 | 5.129 | 0.0015298
795.5 | -27.577 | 5.369 | 0.0016014
796 | -27.603 | 5.343 | 0.0015937
796.5 | -27.704 | 5.242 | 0.0015635
797 | -27.752 | 5.194 | 0.0015492
797.5 | -27.946 | 5 | 0.0014914
798 | -28.418 | 4.528 | 0.0013506
798.5 | -28.459 | 4.487 | 0.0013383
799 | -28.793 | 4.153 | 0.0012387
799.5 | -29.146 | 3.8 | 0.0011334
800 | -29.551 | 3.395 | 0.0010126
800.5 | -29.732 | 3.214 | 0.00095865
801 | -29.471 | 3.475 | 0.0010365
801.5 | -29.075 | 3.871 | 0.0011546
802 | -29.071 | 3.875 | 0.0011558
802.5 | -29.147 | 3.799 | 0.0011331
803 | -29.472 | 3.474 | 0.0010362
803.5 | -29.247 | 3.699 | 0.0011033
804 | -29.087 | 3.859 | 0.001151
804.5 | -28.926 | 4.02 | 0.0011991
805 | -29.208 | 3.738 | 0.0011149
805.5 | -29.88 | 3.066 | 0.0009145
806 | -30.388 | 2.558 | 0.00076298
806.5 | -30.303 | 2.643 | 0.00078833
807 | -30.236 | 2.71 | 0.00080832
807.5 | -30.447 | 2.499 | 0.00074538
808 | -30.677 | 2.269 | 0.00067678
808.5 | -30.981 | 1.965 | 0.0005861
809 | -31.011 | 1.935 | 0.00057716
809.5 | -30.775 | 2.171 | 0.00064755
810 | -30.362 | 2.584 | 0.00077073
810.5 | -30.457 | 2.489 | 0.0007424
811 | -30.549 | 2.397 | 0.00071496
811.5 | -30.54 | 2.406 | 0.00071764
812 | -30.631 | 2.315 | 0.0006905
812.5 | -30.836 | 2.11 | 0.00062935
813 | -30.673 | 2.273 | 0.00067797
813.5 | -30.624 | 2.322 | 0.00069259
814 | -30.879 | 2.067 | 0.00061653
814.5 | -31.054 | 1.892 | 0.00056433
815 | -30.875 | 2.071 | 0.00061772
815.5 | -31.256 | 1.69 | 0.00050408
816 | -31.31 | 1.636 | 0.00048797
816.5 | -31.26 | 1.686 | 0.00050289
817 | -31.034 | 1.912 | 0.0005703
817.5 | -31.101 | 1.845 | 0.00055031
818 | -30.974 | 1.972 | 0.00058819
818.5 | -30.886 | 2.06 | 0.00061444
819 | -30.859 | 2.087 | 0.00062249
819.5 | -30.623 | 2.323 | 0.00069289
820 | -30.127 | 2.819 | 0.00084083
820.5 | -29.996 | 2.95 | 0.0008799
821 | -30.22 | 2.726 | 0.00081309
821.5 | -30.254 | 2.692 | 0.00080295
822 | -30.212 | 2.734 | 0.00081548
822.5 | -29.78 | 3.166 | 0.00094433
823 | -29.61 | 3.336 | 0.00099503
823.5 | -29.696 | 3.25 | 0.00096938
824 | -30.038 | 2.908 | 0.00086737
824.5 | -30.014 | 2.932 | 0.00087453
825 | -29.484 | 3.462 | 0.0010326
825.5 | -29.129 | 3.817 | 0.0011385
826 | -29.384 | 3.562 | 0.0010624
826.5 | -29.955 | 2.991 | 0.00089213
827 | -30.318 | 2.628 | 0.00078386
827.5 | -29.997 | 2.949 | 0.0008796
828 | -29.695 | 3.251 | 0.00096968
828.5 | -29.798 | 3.148 | 0.00093896
829 | -30.58 | 2.366 | 0.00070571
829.5 | -31.087 | 1.859 | 0.00055449
830 | -31.113 | 1.833 | 0.00054673
830.5 | -30.706 | 2.24 | 0.00066813
831 | -30.705 | 2.241 | 0.00066843
831.5 | -31.053 | 1.893 | 0.00056463
832 | -31.129 | 1.817 | 0.00054196
832.5 | -30.775 | 2.171 | 0.00064755
833 | -30.441 | 2.505 | 0.00074717
833.5 | -30.388 | 2.558 | 0.00076298
834 | -30.399 | 2.547 | 0.0007597
834.5 | -30.565 | 2.381 | 0.00071019
835 | -30.317 | 2.629 | 0.00078416
835.5 | -29.911 | 3.035 | 0.00090526
836 | -29.834 | 3.112 | 0.00092822
836.5 | -30.096 | 2.85 | 0.00085007
837 | -30.155 | 2.791 | 0.00083248
837.5 | -29.678 | 3.268 | 0.00097475
838 | -29.408 | 3.538 | 0.0010553
838.5 | -29.266 | 3.68 | 0.0010976
839 | -29.461 | 3.485 | 0.0010395
839.5 | -29.558 | 3.388 | 0.0010105
840 | -29.959 | 2.987 | 0.00089094
840.5 | -30.092 | 2.854 | 0.00085127
841 | -30.226 | 2.72 | 0.0008113
841.5 | -30.498 | 2.448 | 0.00073017
842 | -30.596 | 2.35 | 0.00070094
842.5 | -30.525 | 2.421 | 0.00072212
843 | -30.601 | 2.345 | 0.00069945
843.5 | -31.157 | 1.789 | 0.00053361
844 | -31.318 | 1.628 | 0.00048559
844.5 | -31.184 | 1.762 | 0.00052556
845 | -30.807 | 2.139 | 0.000638
845.5 | -30.445 | 2.501 | 0.00074598
846 | -30.471 | 2.475 | 0.00073822
846.5 | -30.745 | 2.201 | 0.0006565
847 | -31.068 | 1.878 | 0.00056015
847.5 | -30.941 | 2.005 | 0.00059804
848 | -30.562 | 2.384 | 0.00071108
848.5 | -30.572 | 2.374 | 0.0007081
849 | -30.375 | 2.571 | 0.00076686
849.5 | -30.433 | 2.513 | 0.00074956
850 | -30.587 | 2.359 | 0.00070362
850.5 | -30.496 | 2.45 | 0.00073077
851 | -30.767 | 2.179 | 0.00064993
851.5 | -30.812 | 2.134 | 0.00063651
852 | -30.789 | 2.157 | 0.00064337
852.5 | -31.042 | 1.904 | 0.00056791
853 | -31.517 | 1.429 | 0.00042623
853.5 | -32.252 | 0.694 | 0.000207
854 | -32.669 | 0.277 | 8.2621e-05
854.5 | -32.895 | 0.051 | 1.5212e-05
855 | -32.446 | 0.5 | 0.00014914
855.5 | -32.207 | 0.739 | 0.00022042
856 | -32.205 | 0.741 | 0.00022102
856.5 | -31.899 | 1.047 | 0.00031229
857 | -31.803 | 1.143 | 0.00034092
857.5 | -31.472 | 1.474 | 0.00043965
858 | -30.964 | 1.982 | 0.00059117
858.5 | -30.564 | 2.382 | 0.00071048
859 | -30.615 | 2.331 | 0.00069527
859.5 | -30.573 | 2.373 | 0.0007078
860 | -30.774 | 2.172 | 0.00064785
860.5 | -31.16 | 1.786 | 0.00053271
861 | -30.879 | 2.067 | 0.00061653
861.5 | -30.91 | 2.036 | 0.00060728
862 | -31.239 | 1.707 | 0.00050915
862.5 | -31.6 | 1.346 | 0.00040147
863 | -31.924 | 1.022 | 0.00030483
863.5 | -32.034 | 0.912 | 0.00027202
864 | -32.1 | 0.846 | 0.00025234
864.5 | -31.928 | 1.018 | 0.00030364
865 | -32.042 | 0.904 | 0.00026964
865.5 | -32.374 | 0.572 | 0.00017061
866 | -32.501 | 0.445 | 0.00013273
866.5 | -32.071 | 0.875 | 0.00026099
867 | -31.522 | 1.424 | 0.00042474
867.5 | -31.201 | 1.745 | 0.00052048
868 | -30.635 | 2.311 | 0.00068931
868.5 | -30.39 | 2.556 | 0.00076238
869 | -30.629 | 2.317 | 0.0006911
869.5 | -30.775 | 2.171 | 0.00064755
870 | -30.97 | 1.976 | 0.00058939
870.5 | -31.692 | 1.254 | 0.00037403
871 | -32.031 | 0.915 | 0.00027292
871.5 | -32.413 | 0.533 | 0.00015898
872 | -32.863 | 0.083 | 2.4757e-05
872.5 | -32.879 | 0.067 | 1.9984e-05
873 | -32.722 | 0.224 | 6.6813e-05
873.5 | -32.448 | 0.498 | 0.00014854
874 | -32.315 | 0.631 | 0.00018821
874.5 | -31.716 | 1.23 | 0.00036687
875 | -31.52 | 1.426 | 0.00042534
875.5 | -31.352 | 1.594 | 0.00047545
876 | -31.076 | 1.87 | 0.00055777
876.5 | -31.368 | 1.578 | 0.00047067
877 | -31.586 | 1.36 | 0.00040565
877.5 | -31.714 | 1.232 | 0.00036747
878 | -31.582 | 1.364 | 0.00040684
878.5 | -32.147 | 0.799 | 0.00023832
879 | -32.664 | 0.282 | 8.4113e-05
879.5 | -32.747 | 0.199 | 5.9356e-05
880 | -32.497 | 0.449 | 0.00013392
880.5 | -32.019 | 0.927 | 0.0002765
881 | -31.882 | 1.064 | 0.00031736
881.5 | -32.243 | 0.703 | 0.00020969
882 | -32.671 | 0.275 | 8.2025e-05
882.5 | -32.706 | 0.24 | 7.1585e-05
883 | -32.46 | 0.486 | 0.00014496
883.5 | -31.219 | 1.727 | 0.00051512
884 | -35.003 | 0 | 0
884.5 | -34.668 | 0 | 0
885 | -18.636 | 14.31 | 0.0042683
885.5 | -27.038 | 5.908 | 0.0017622
886 | -54.449 | 0 | 0
886.5 | -5.0823 | 27.8637 | 0.008311