## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 105.6 | 112.963 | 0.029561
246.5 | 68.74 | 76.103 | 0.019915
247 | 51.25 | 58.613 | 0.015338
247.5 | 34.25 | 41.613 | 0.01089
248 | 18.67 | 26.033 | 0.0068125
248.5 | 5.027 | 12.39 | 0.0032423
249 | -6.221 | 1.142 | 0.00029885
249.5 | -13.76 | 0 | 0
250 | -16.95 | 0 | 0
250.5 | -15.12 | 0 | 0
251 | -7.309 | 0.054 | 1.4131e-05
251.5 | -7.363 | 0 | 0
252 | -7.494 | 0 | 0
252.5 | -7.689 | 0 | 0
253 | -7.824 | 0 | 0
253.5 | -7.886 | 0 | 0
254 | -7.781 | 0 | 0
254.5 | -7.646 | 0 | 0
255 | -7.341 | 0.022 | 5.7571e-06
255.5 | -7.124 | 0.239 | 6.2543e-05
256 | -6.953 | 0.41 | 0.00010729
256.5 | -6.863 | 0.5 | 0.00013084
257 | -6.866 | 0.497 | 0.00013006
257.5 | -6.949 | 0.414 | 0.00010834
258 | -6.978 | 0.385 | 0.00010075
258.5 | -6.913 | 0.45 | 0.00011776
259 | -6.823 | 0.54 | 0.00014131
259.5 | -6.721 | 0.642 | 0.000168
260 | -6.614 | 0.749 | 0.000196
260.5 | -6.505 | 0.858 | 0.00022453
261 | -6.41 | 0.953 | 0.00024939
261.5 | -6.346 | 1.017 | 0.00026614
262 | -6.308 | 1.055 | 0.00027608
262.5 | -6.281 | 1.082 | 0.00028315
263 | -6.262 | 1.101 | 0.00028812
263.5 | -6.248 | 1.115 | 0.00029178
264 | -6.237 | 1.126 | 0.00029466
264.5 | -6.239 | 1.124 | 0.00029414
265 | -6.245 | 1.118 | 0.00029257
265.5 | -6.243 | 1.12 | 0.00029309
266 | -6.222 | 1.141 | 0.00029858
266.5 | -6.171 | 1.192 | 0.00031193
267 | -6.094 | 1.269 | 0.00033208
267.5 | -5.992 | 1.371 | 0.00035877
268 | -5.862 | 1.501 | 0.00039279
268.5 | -5.723 | 1.64 | 0.00042917
269 | -5.602 | 1.761 | 0.00046083
269.5 | -5.499 | 1.864 | 0.00048778
270 | -5.406 | 1.957 | 0.00051212
270.5 | -5.337 | 2.026 | 0.00053018
271 | -5.292 | 2.071 | 0.00054195
271.5 | -5.274 | 2.089 | 0.00054666
272 | -5.287 | 2.076 | 0.00054326
272.5 | -5.318 | 2.045 | 0.00053515
273 | -5.357 | 2.006 | 0.00052494
273.5 | -5.393 | 1.97 | 0.00051552
274 | -5.415 | 1.948 | 0.00050977
274.5 | -5.408 | 1.955 | 0.0005116
275 | -5.383 | 1.98 | 0.00051814
275.5 | -5.35 | 2.013 | 0.00052678
276 | -5.321 | 2.042 | 0.00053436
276.5 | -5.304 | 2.059 | 0.00053881
277 | -5.294 | 2.069 | 0.00054143
277.5 | -5.292 | 2.071 | 0.00054195
278 | -5.288 | 2.075 | 0.000543
278.5 | -5.284 | 2.079 | 0.00054405
279 | -5.292 | 2.071 | 0.00054195
279.5 | -5.309 | 2.054 | 0.0005375
280 | -5.337 | 2.026 | 0.00053018
280.5 | -5.387 | 1.976 | 0.00051709
281 | -5.461 | 1.902 | 0.00049773
281.5 | -5.542 | 1.821 | 0.00047653
282 | -5.619 | 1.744 | 0.00045638
282.5 | -5.696 | 1.667 | 0.00043623
283 | -5.764 | 1.599 | 0.00041844
283.5 | -5.81 | 1.553 | 0.0004064
284 | -5.844 | 1.519 | 0.0003975
284.5 | -5.86 | 1.503 | 0.00039332
285 | -5.854 | 1.509 | 0.00039489
285.5 | -5.82 | 1.543 | 0.00040378
286 | -5.76 | 1.603 | 0.00041948
286.5 | -5.686 | 1.677 | 0.00043885
287 | -5.598 | 1.765 | 0.00046188
287.5 | -5.52 | 1.843 | 0.00048229
288 | -5.472 | 1.891 | 0.00049485
288.5 | -5.449 | 1.914 | 0.00050087
289 | -5.438 | 1.925 | 0.00050375
289.5 | -5.446 | 1.917 | 0.00050165
290 | -5.463 | 1.9 | 0.0004972
290.5 | -5.468 | 1.895 | 0.0004959
291 | -5.466 | 1.897 | 0.00049642
291.5 | -5.472 | 1.891 | 0.00049485
292 | -5.49 | 1.873 | 0.00049014
292.5 | -5.521 | 1.842 | 0.00048203
293 | -5.566 | 1.797 | 0.00047025
293.5 | -5.61 | 1.753 | 0.00045874
294 | -5.637 | 1.726 | 0.00045167
294.5 | -5.629 | 1.734 | 0.00045376
295 | -5.606 | 1.757 | 0.00045978
295.5 | -5.57 | 1.793 | 0.0004692
296 | -5.526 | 1.837 | 0.00048072
296.5 | -5.471 | 1.892 | 0.00049511
297 | -5.399 | 1.964 | 0.00051395
297.5 | -5.314 | 2.049 | 0.0005362
298 | -5.219 | 2.144 | 0.00056106
298.5 | -5.131 | 2.232 | 0.00058408
299 | -5.052 | 2.311 | 0.00060476
299.5 | -4.993 | 2.37 | 0.0006202
300 | -4.955 | 2.408 | 0.00063014
300.5 | -4.926 | 2.437 | 0.00063773
301 | -4.895 | 2.468 | 0.00064584
301.5 | -4.842 | 2.521 | 0.00065971
302 | -4.767 | 2.596 | 0.00067934
302.5 | -4.68 | 2.683 | 0.00070211
303 | -4.586 | 2.777 | 0.0007267
303.5 | -4.502 | 2.861 | 0.00074869
304 | -4.422 | 2.941 | 0.00076962
304.5 | -4.342 | 3.021 | 0.00079056
305 | -4.256 | 3.107 | 0.00081306
305.5 | -4.159 | 3.204 | 0.00083844
306 | -4.051 | 3.312 | 0.00086671
306.5 | -3.933 | 3.43 | 0.00089759
307 | -3.817 | 3.546 | 0.00092794
307.5 | -3.7 | 3.663 | 0.00095856
308 | -3.584 | 3.779 | 0.00098891
308.5 | -3.468 | 3.895 | 0.0010193
309 | -3.352 | 4.011 | 0.0010496
309.5 | -3.261 | 4.102 | 0.0010734
310 | -3.198 | 4.165 | 0.0010899
310.5 | -3.162 | 4.201 | 0.0010993
311 | -3.151 | 4.212 | 0.0011022
311.5 | -3.162 | 4.201 | 0.0010993
312 | -3.189 | 4.174 | 0.0010923
312.5 | -3.218 | 4.145 | 0.0010847
313 | -3.234 | 4.129 | 0.0010805
313.5 | -3.248 | 4.115 | 0.0010768
314 | -3.254 | 4.109 | 0.0010753
314.5 | -3.265 | 4.098 | 0.0010724
315 | -3.267 | 4.096 | 0.0010719
315.5 | -3.261 | 4.102 | 0.0010734
316 | -3.249 | 4.114 | 0.0010766
316.5 | -3.237 | 4.126 | 0.0010797
317 | -3.221 | 4.142 | 0.0010839
317.5 | -3.198 | 4.165 | 0.0010899
318 | -3.168 | 4.195 | 0.0010978
318.5 | -3.12 | 4.243 | 0.0011103
319 | -3.052 | 4.311 | 0.0011281
319.5 | -2.985 | 4.378 | 0.0011457
320 | -2.923 | 4.44 | 0.0011619
320.5 | -2.87 | 4.493 | 0.0011758
321 | -2.828 | 4.535 | 0.0011867
321.5 | -2.786 | 4.577 | 0.0011977
322 | -2.75 | 4.613 | 0.0012072
322.5 | -2.699 | 4.664 | 0.0012205
323 | -2.648 | 4.715 | 0.0012339
323.5 | -2.595 | 4.768 | 0.0012477
324 | -2.541 | 4.822 | 0.0012619
324.5 | -2.476 | 4.887 | 0.0012789
325 | -2.4 | 4.963 | 0.0012988
325.5 | -2.317 | 5.046 | 0.0013205
326 | -2.213 | 5.15 | 0.0013477
326.5 | -2.105 | 5.258 | 0.0013759
327 | -2.007 | 5.356 | 0.0014016
327.5 | -1.936 | 5.427 | 0.0014202
328 | -1.886 | 5.477 | 0.0014333
328.5 | -1.847 | 5.516 | 0.0014435
329 | -1.804 | 5.559 | 0.0014547
329.5 | -1.748 | 5.615 | 0.0014694
330 | -1.671 | 5.692 | 0.0014895
330.5 | -1.589 | 5.774 | 0.001511
331 | -1.499 | 5.864 | 0.0015345
331.5 | -1.425 | 5.938 | 0.0015539
332 | -1.35 | 6.013 | 0.0015735
332.5 | -1.262 | 6.101 | 0.0015966
333 | -1.156 | 6.207 | 0.0016243
333.5 | -1.033 | 6.33 | 0.0016565
334 | -0.8951 | 6.4679 | 0.0016926
334.5 | -0.751 | 6.612 | 0.0017303
335 | -0.6161 | 6.7469 | 0.0017656
335.5 | -0.4802 | 6.8828 | 0.0018011
336 | -0.3246 | 7.0384 | 0.0018419
336.5 | -0.1498 | 7.2132 | 0.0018876
337 | 0.03739 | 7.4004 | 0.0019366
337.5 | 0.2244 | 7.5874 | 0.0019855
338 | 0.4034 | 7.7664 | 0.0020324
338.5 | 0.571 | 7.934 | 0.0020762
339 | 0.7131 | 8.0761 | 0.0021134
339.5 | 0.8568 | 8.2198 | 0.002151
340 | 1.019 | 8.382 | 0.0021935
340.5 | 1.207 | 8.57 | 0.0022427
341 | 1.417 | 8.78 | 0.0022976
341.5 | 1.633 | 8.996 | 0.0023541
342 | 1.84 | 9.203 | 0.0024083
342.5 | 2.038 | 9.401 | 0.0024601
343 | 2.234 | 9.597 | 0.0025114
343.5 | 2.435 | 9.798 | 0.002564
344 | 2.634 | 9.997 | 0.0026161
344.5 | 2.812 | 10.175 | 0.0026627
345 | 2.967 | 10.33 | 0.0027032
345.5 | 3.108 | 10.471 | 0.0027401
346 | 3.231 | 10.594 | 0.0027723
346.5 | 3.338 | 10.701 | 0.0028003
347 | 3.453 | 10.816 | 0.0028304
347.5 | 3.589 | 10.952 | 0.002866
348 | 3.737 | 11.1 | 0.0029047
348.5 | 3.881 | 11.244 | 0.0029424
349 | 4.038 | 11.401 | 0.0029835
349.5 | 4.218 | 11.581 | 0.0030306
350 | 4.425 | 11.788 | 0.0030848
350.5 | 4.652 | 12.015 | 0.0031442
351 | 4.903 | 12.266 | 0.0032098
351.5 | 5.178 | 12.541 | 0.0032818
352 | 5.474 | 12.837 | 0.0033593
352.5 | 5.798 | 13.161 | 0.0034441
353 | 6.149 | 13.512 | 0.0035359
353.5 | 6.535 | 13.898 | 0.0036369
354 | 6.955 | 14.318 | 0.0037468
354.5 | 7.408 | 14.771 | 0.0038654
355 | 7.889 | 15.252 | 0.0039912
355.5 | 8.408 | 15.771 | 0.0041271
356 | 8.961 | 16.324 | 0.0042718
356.5 | 9.601 | 16.964 | 0.0044393
357 | 10.31 | 17.673 | 0.0046248
357.5 | 11.08 | 18.443 | 0.0048263
358 | 11.95 | 19.313 | 0.005054
358.5 | 12.92 | 20.283 | 0.0053078
359 | 14.01 | 21.373 | 0.005593
359.5 | 15.28 | 22.643 | 0.0059254
360 | 16.73 | 24.093 | 0.0063048
360.5 | 18.39 | 25.753 | 0.0067392
361 | 20.3 | 27.663 | 0.007239
361.5 | 22.44 | 29.803 | 0.007799
362 | 24.85 | 32.213 | 0.0084297
362.5 | 27.6 | 34.963 | 0.0091494
363 | 30.68 | 38.043 | 0.0099553
363.5 | 34.19 | 41.553 | 0.010874
364 | 38.23 | 45.593 | 0.011931
364.5 | 42.82 | 50.183 | 0.013132
365 | 48.09 | 55.453 | 0.014511
365.5 | 54.15 | 61.513 | 0.016097
366 | 61.01 | 68.373 | 0.017892
366.5 | 68.93 | 76.293 | 0.019965
367 | 78.04 | 85.403 | 0.022349
367.5 | 88.37 | 95.733 | 0.025052
368 | 100.3 | 107.663 | 0.028174
368.5 | 113.8 | 121.163 | 0.031707
369 | 129.1 | 136.463 | 0.035711
369.5 | 146.7 | 154.063 | 0.040316
370 | 166.7 | 174.063 | 0.04555
370.5 | 189.2 | 196.563 | 0.051438
371 | 215.3 | 222.663 | 0.058268
371.5 | 245 | 252.363 | 0.06604
372 | 278.6 | 285.963 | 0.074833
372.5 | 317.3 | 324.663 | 0.08496
373 | 360.9 | 368.263 | 0.09637
373.5 | 410 | 417.363 | 0.10922
374 | 466 | 473.363 | 0.12387
374.5 | 528.6 | 535.963 | 0.14025
375 | 598.9 | 606.263 | 0.15865
375.5 | 677.9 | 685.263 | 0.17932
376 | 765.3 | 772.663 | 0.2022
376.5 | 862.9 | 870.263 | 0.22774
377 | 970.5 | 977.863 | 0.25589
377.5 | 1087 | 1094.363 | 0.28638
378 | 1213 | 1220.363 | 0.31935
378.5 | 1347 | 1354.363 | 0.35442
379 | 1487 | 1494.363 | 0.39105
379.5 | 1632 | 1639.363 | 0.429
380 | 1780 | 1787.363 | 0.46773
380.5 | 1928 | 1935.363 | 0.50646
381 | 2077 | 2084.363 | 0.54545
381.5 | 2224 | 2231.363 | 0.58392
382 | 2368 | 2375.363 | 0.6216
382.5 | 2509 | 2516.363 | 0.6585
383 | 2647 | 2654.363 | 0.69461
383.5 | 2780 | 2787.363 | 0.72942
384 | 2909 | 2916.363 | 0.76317
384.5 | 3034 | 3041.363 | 0.79588
385 | 3154 | 3161.363 | 0.82729
385.5 | 3269 | 3276.363 | 0.85738
386 | 3379 | 3386.363 | 0.88617
386.5 | 3481 | 3488.363 | 0.91286
387 | 3574 | 3581.363 | 0.9372
387.5 | 3655 | 3662.363 | 0.95839
388 | 3721 | 3728.363 | 0.97566
388.5 | 3771 | 3778.363 | 0.98875
389 | 3803 | 3810.363 | 0.99712
389.5 | 3814 | 3821.363 | 1
390 | 3808 | 3815.363 | 0.99843
390.5 | 3780 | 3787.363 | 0.9911
391 | 3735 | 3742.363 | 0.97933
391.5 | 3676 | 3683.363 | 0.96389
392 | 3602 | 3609.363 | 0.94452
392.5 | 3519 | 3526.363 | 0.9228
393 | 3428 | 3435.363 | 0.89899
393.5 | 3331 | 3338.363 | 0.87361
394 | 3228 | 3235.363 | 0.84665
394.5 | 3120 | 3127.363 | 0.81839
395 | 3008 | 3015.363 | 0.78908
395.5 | 2892 | 2899.363 | 0.75872
396 | 2772 | 2779.363 | 0.72732
396.5 | 2649 | 2656.363 | 0.69513
397 | 2521 | 2528.363 | 0.66164
397.5 | 2390 | 2397.363 | 0.62736
398 | 2255 | 2262.363 | 0.59203
398.5 | 2117 | 2124.363 | 0.55592
399 | 1979 | 1986.363 | 0.5198
399.5 | 1842 | 1849.363 | 0.48395
400 | 1708 | 1715.363 | 0.44889
400.5 | 1578 | 1585.363 | 0.41487
401 | 1454 | 1461.363 | 0.38242
401.5 | 1338 | 1345.363 | 0.35206
402 | 1230 | 1237.363 | 0.3238
402.5 | 1131 | 1138.363 | 0.29789
403 | 1041 | 1048.363 | 0.27434
403.5 | 959.3 | 966.663 | 0.25296
404 | 885.3 | 892.663 | 0.2336
404.5 | 816.9 | 824.263 | 0.2157
405 | 753.6 | 760.963 | 0.19913
405.5 | 695.9 | 703.263 | 0.18403
406 | 642.9 | 650.263 | 0.17017
406.5 | 594.6 | 601.963 | 0.15753
407 | 550.6 | 557.963 | 0.14601
407.5 | 510.2 | 517.563 | 0.13544
408 | 473.6 | 480.963 | 0.12586
408.5 | 439.9 | 447.263 | 0.11704
409 | 408.9 | 416.263 | 0.10893
409.5 | 380.6 | 387.963 | 0.10152
410 | 354.4 | 361.763 | 0.094669
410.5 | 330.4 | 337.763 | 0.088388
411 | 308.3 | 315.663 | 0.082605
411.5 | 287.8 | 295.163 | 0.07724
412 | 269 | 276.363 | 0.072321
412.5 | 251.5 | 258.863 | 0.067741
413 | 235.3 | 242.663 | 0.063502
413.5 | 220.3 | 227.663 | 0.059576
414 | 206.3 | 213.663 | 0.055913
414.5 | 193.5 | 200.863 | 0.052563
415 | 181.4 | 188.763 | 0.049397
415.5 | 170.2 | 177.563 | 0.046466
416 | 159.7 | 167.063 | 0.043718
416.5 | 149.9 | 157.263 | 0.041154
417 | 140.6 | 147.963 | 0.03872
417.5 | 132 | 139.363 | 0.036469
418 | 123.7 | 131.063 | 0.034297
418.5 | 116.1 | 123.463 | 0.032309
419 | 108.9 | 116.263 | 0.030424
419.5 | 102 | 109.363 | 0.028619
420 | 95.63 | 102.993 | 0.026952
420.5 | 89.6 | 96.963 | 0.025374
421 | 84.01 | 91.373 | 0.023911
421.5 | 78.77 | 86.133 | 0.02254
422 | 73.86 | 81.223 | 0.021255
422.5 | 69.23 | 76.593 | 0.020043
423 | 64.84 | 72.203 | 0.018895
423.5 | 60.74 | 68.103 | 0.017822
424 | 56.86 | 64.223 | 0.016806
424.5 | 53.24 | 60.603 | 0.015859
425 | 49.87 | 57.233 | 0.014977
425.5 | 46.71 | 54.073 | 0.01415
426 | 43.73 | 51.093 | 0.01337
426.5 | 40.91 | 48.273 | 0.012632
427 | 38.25 | 45.613 | 0.011936
427.5 | 35.78 | 43.143 | 0.01129
428 | 33.46 | 40.823 | 0.010683
428.5 | 31.29 | 38.653 | 0.010115
429 | 29.27 | 36.633 | 0.0095864
429.5 | 27.37 | 34.733 | 0.0090892
430 | 25.63 | 32.993 | 0.0086338
430.5 | 23.99 | 31.353 | 0.0082047
431 | 22.49 | 29.853 | 0.0078121
431.5 | 21.09 | 28.453 | 0.0074458
432 | 19.78 | 27.143 | 0.007103
432.5 | 18.53 | 25.893 | 0.0067759
433 | 17.33 | 24.693 | 0.0064618
433.5 | 16.19 | 23.553 | 0.0061635
434 | 15.1 | 22.463 | 0.0058783
434.5 | 14.09 | 21.453 | 0.005614
435 | 13.14 | 20.503 | 0.0053654
435.5 | 12.26 | 19.623 | 0.0051351
436 | 11.43 | 18.793 | 0.0049179
436.5 | 10.66 | 18.023 | 0.0047164
437 | 9.948 | 17.311 | 0.0045301
437.5 | 9.296 | 16.659 | 0.0043594
438 | 8.696 | 16.059 | 0.0042024
438.5 | 8.143 | 15.506 | 0.0040577
439 | 7.616 | 14.979 | 0.0039198
439.5 | 7.117 | 14.48 | 0.0037892
440 | 6.665 | 14.028 | 0.0036709
440.5 | 6.246 | 13.609 | 0.0035613
441 | 5.862 | 13.225 | 0.0034608
441.5 | 5.499 | 12.862 | 0.0033658
442 | 5.132 | 12.495 | 0.0032698
442.5 | 4.778 | 12.141 | 0.0031771
443 | 4.425 | 11.788 | 0.0030848
443.5 | 4.081 | 11.444 | 0.0029947
444 | 3.747 | 11.11 | 0.0029073
444.5 | 3.445 | 10.808 | 0.0028283
445 | 3.16 | 10.523 | 0.0027537
445.5 | 2.867 | 10.23 | 0.0026771
446 | 2.576 | 9.939 | 0.0026009
446.5 | 2.309 | 9.672 | 0.002531
447 | 2.059 | 9.422 | 0.0024656
447.5 | 1.817 | 9.18 | 0.0024023
448 | 1.574 | 8.937 | 0.0023387
448.5 | 1.319 | 8.682 | 0.002272
449 | 1.043 | 8.406 | 0.0021997
449.5 | 0.7314 | 8.0944 | 0.0021182
450 | 0.3999 | 7.7629 | 0.0020314
450.5 | 0.05593 | 7.4189 | 0.0019414
451 | -0.295 | 7.068 | 0.0018496
451.5 | -0.6313 | 6.7317 | 0.0017616
452 | -0.9668 | 6.3962 | 0.0016738
452.5 | -1.305 | 6.058 | 0.0015853
453 | -1.615 | 5.748 | 0.0015042
453.5 | -1.885 | 5.478 | 0.0014335
454 | -2.13 | 5.233 | 0.0013694
454.5 | -2.353 | 5.01 | 0.0013111
455 | -2.544 | 4.819 | 0.0012611
455.5 | -2.726 | 4.637 | 0.0012134
456 | -2.923 | 4.44 | 0.0011619
456.5 | -3.152 | 4.211 | 0.001102
457 | -3.376 | 3.987 | 0.0010433
457.5 | -3.602 | 3.761 | 0.0009842
458 | -3.838 | 3.525 | 0.00092245
458.5 | -4.057 | 3.306 | 0.00086514
459 | -4.263 | 3.1 | 0.00081123
459.5 | -4.441 | 2.922 | 0.00076465
460 | -4.587 | 2.776 | 0.00072644
460.5 | -4.696 | 2.667 | 0.00069792
461 | -4.78 | 2.583 | 0.00067594
461.5 | -4.84 | 2.523 | 0.00066024
462 | -4.866 | 2.497 | 0.00065343
462.5 | -4.878 | 2.485 | 0.00065029
463 | -4.905 | 2.458 | 0.00064323
463.5 | -4.956 | 2.407 | 0.00062988
464 | -5.008 | 2.355 | 0.00061627
464.5 | -5.077 | 2.286 | 0.00059822
465 | -5.169 | 2.194 | 0.00057414
465.5 | -5.267 | 2.096 | 0.0005485
466 | -5.381 | 1.982 | 0.00051866
466.5 | -5.5 | 1.863 | 0.00048752
467 | -5.617 | 1.746 | 0.00045691
467.5 | -5.72 | 1.643 | 0.00042995
468 | -5.813 | 1.55 | 0.00040561
468.5 | -5.888 | 1.475 | 0.00038599
469 | -5.939 | 1.424 | 0.00037264
469.5 | -5.952 | 1.411 | 0.00036924
470 | -5.959 | 1.404 | 0.00036741
470.5 | -5.964 | 1.399 | 0.0003661
471 | -5.972 | 1.391 | 0.00036401
471.5 | -5.987 | 1.376 | 0.00036008
472 | -6.008 | 1.355 | 0.00035459
472.5 | -6.02 | 1.343 | 0.00035145
473 | -6.007 | 1.356 | 0.00035485
473.5 | -5.983 | 1.38 | 0.00036113
474 | -5.96 | 1.403 | 0.00036715
474.5 | -5.941 | 1.422 | 0.00037212
475 | -5.919 | 1.444 | 0.00037788
475.5 | -5.886 | 1.477 | 0.00038651
476 | -5.831 | 1.532 | 0.0004009
476.5 | -5.761 | 1.602 | 0.00041922
477 | -5.69 | 1.673 | 0.0004378
477.5 | -5.61 | 1.753 | 0.00045874
478 | -5.531 | 1.832 | 0.00047941
478.5 | -5.449 | 1.914 | 0.00050087
479 | -5.349 | 2.014 | 0.00052704
479.5 | -5.205 | 2.158 | 0.00056472
480 | -5.049 | 2.314 | 0.00060554
480.5 | -4.906 | 2.457 | 0.00064296
481 | -4.798 | 2.565 | 0.00067123
481.5 | -4.728 | 2.635 | 0.00068954
482 | -4.689 | 2.674 | 0.00069975
482.5 | -4.66 | 2.703 | 0.00070734
483 | -4.633 | 2.73 | 0.0007144
483.5 | -4.62 | 2.743 | 0.00071781
484 | -4.628 | 2.735 | 0.00071571
484.5 | -4.68 | 2.683 | 0.00070211
485 | -4.767 | 2.596 | 0.00067934
485.5 | -4.869 | 2.494 | 0.00065265
486 | -4.948 | 2.415 | 0.00063197
486.5 | -5.006 | 2.357 | 0.0006168
487 | -5.06 | 2.303 | 0.00060266
487.5 | -5.127 | 2.236 | 0.00058513
488 | -5.199 | 2.164 | 0.00056629
488.5 | -5.272 | 2.091 | 0.00054719
489 | -5.338 | 2.025 | 0.00052992
489.5 | -5.384 | 1.979 | 0.00051788
490 | -5.435 | 1.928 | 0.00050453
490.5 | -5.515 | 1.848 | 0.0004836
491 | -5.643 | 1.72 | 0.0004501
491.5 | -5.799 | 1.564 | 0.00040928
492 | -5.978 | 1.385 | 0.00036244
492.5 | -6.16 | 1.203 | 0.00031481
493 | -6.32 | 1.043 | 0.00027294
493.5 | -6.47 | 0.893 | 0.00023369
494 | -6.619 | 0.744 | 0.00019469
494.5 | -6.756 | 0.607 | 0.00015884
495 | -6.875 | 0.488 | 0.0001277
495.5 | -6.978 | 0.385 | 0.00010075
496 | -7.058 | 0.305 | 7.9814e-05
496.5 | -7.11 | 0.253 | 6.6207e-05
497 | -7.157 | 0.206 | 5.3907e-05
497.5 | -7.213 | 0.15 | 3.9253e-05
498 | -7.278 | 0.085 | 2.2243e-05
498.5 | -7.349 | 0.014 | 3.6636e-06
499 | -7.41 | 0 | 0
499.5 | -7.465 | 0 | 0
500 | -7.514 | 0 | 0
500.5 | -7.564 | 0 | 0
501 | -7.62 | 0 | 0
501.5 | -7.66 | 0 | 0
502 | -7.691 | 0 | 0
502.5 | -7.699 | 0 | 0
503 | -7.685 | 0 | 0
503.5 | -7.664 | 0 | 0
504 | -7.647 | 0 | 0
504.5 | -7.612 | 0 | 0
505 | -7.552 | 0 | 0
505.5 | -7.457 | 0 | 0
506 | -7.342 | 0.021 | 5.4954e-06
506.5 | -7.214 | 0.149 | 3.8991e-05
507 | -7.069 | 0.294 | 7.6936e-05
507.5 | -6.92 | 0.443 | 0.00011593
508 | -6.773 | 0.59 | 0.0001544
508.5 | -6.621 | 0.742 | 0.00019417
509 | -6.471 | 0.892 | 0.00023342
509.5 | -6.327 | 1.036 | 0.00027111
510 | -6.215 | 1.148 | 0.00030042
510.5 | -6.132 | 1.231 | 0.00032214
511 | -6.06 | 1.303 | 0.00034098
511.5 | -5.994 | 1.369 | 0.00035825
512 | -5.925 | 1.438 | 0.00037631
512.5 | -5.862 | 1.501 | 0.00039279
513 | -5.808 | 1.555 | 0.00040692
513.5 | -5.766 | 1.597 | 0.00041791
514 | -5.743 | 1.62 | 0.00042393
514.5 | -5.734 | 1.629 | 0.00042629
515 | -5.711 | 1.652 | 0.00043231
515.5 | -5.699 | 1.664 | 0.00043545
516 | -5.703 | 1.66 | 0.0004344
516.5 | -5.729 | 1.634 | 0.0004276
517 | -5.793 | 1.57 | 0.00041085
517.5 | -5.877 | 1.486 | 0.00038887
518 | -5.961 | 1.402 | 0.00036688
518.5 | -6.045 | 1.318 | 0.0003449
519 | -6.125 | 1.238 | 0.00032397
519.5 | -6.187 | 1.176 | 0.00030774
520 | -6.227 | 1.136 | 0.00029728
520.5 | -6.235 | 1.128 | 0.00029518
521 | -6.217 | 1.146 | 0.00029989
521.5 | -6.161 | 1.202 | 0.00031455
522 | -6.102 | 1.261 | 0.00032999
522.5 | -6.037 | 1.326 | 0.000347
523 | -5.98 | 1.383 | 0.00036191
523.5 | -5.951 | 1.412 | 0.0003695
524 | -5.941 | 1.422 | 0.00037212
524.5 | -5.948 | 1.415 | 0.00037029
525 | -5.98 | 1.383 | 0.00036191
525.5 | -6.014 | 1.349 | 0.00035302
526 | -6.06 | 1.303 | 0.00034098
526.5 | -6.112 | 1.251 | 0.00032737
527 | -6.184 | 1.179 | 0.00030853
527.5 | -6.28 | 1.083 | 0.00028341
528 | -6.374 | 0.989 | 0.00025881
528.5 | -6.447 | 0.916 | 0.00023971
529 | -6.495 | 0.868 | 0.00022714
529.5 | -6.515 | 0.848 | 0.00022191
530 | -6.506 | 0.857 | 0.00022427
530.5 | -6.481 | 0.882 | 0.00023081
531 | -6.458 | 0.905 | 0.00023683
531.5 | -6.45 | 0.913 | 0.00023892
532 | -6.451 | 0.912 | 0.00023866
532.5 | -6.472 | 0.891 | 0.00023316
533 | -6.512 | 0.851 | 0.0002227
533.5 | -6.598 | 0.765 | 0.00020019
534 | -6.699 | 0.664 | 0.00017376
534.5 | -6.772 | 0.591 | 0.00015466
535 | -6.812 | 0.551 | 0.00014419
535.5 | -6.826 | 0.537 | 0.00014053
536 | -6.818 | 0.545 | 0.00014262
536.5 | -6.782 | 0.581 | 0.00015204
537 | -6.717 | 0.646 | 0.00016905
537.5 | -6.65 | 0.713 | 0.00018658
538 | -6.562 | 0.801 | 0.00020961
538.5 | -6.445 | 0.918 | 0.00024023
539 | -6.314 | 1.049 | 0.00027451
539.5 | -6.193 | 1.17 | 0.00030617
540 | -6.09 | 1.273 | 0.00033313
540.5 | -6.002 | 1.361 | 0.00035616
541 | -5.932 | 1.431 | 0.00037447
541.5 | -5.908 | 1.455 | 0.00038075
542 | -5.932 | 1.431 | 0.00037447
542.5 | -5.981 | 1.382 | 0.00036165
543 | -6.036 | 1.327 | 0.00034726
543.5 | -6.092 | 1.271 | 0.0003326
544 | -6.14 | 1.223 | 0.00032004
544.5 | -6.141 | 1.222 | 0.00031978
545 | -6.14 | 1.223 | 0.00032004
545.5 | -6.16 | 1.203 | 0.00031481
546 | -6.184 | 1.179 | 0.00030853
546.5 | -6.19 | 1.173 | 0.00030696
547 | -6.19 | 1.173 | 0.00030696
547.5 | -6.192 | 1.171 | 0.00030644
548 | -6.199 | 1.164 | 0.0003046
548.5 | -6.19 | 1.173 | 0.00030696
549 | -6.182 | 1.181 | 0.00030905
549.5 | -6.178 | 1.185 | 0.0003101
550 | -6.169 | 1.194 | 0.00031245
550.5 | -6.162 | 1.201 | 0.00031429
551 | -6.165 | 1.198 | 0.0003135
551.5 | -6.204 | 1.159 | 0.00030329
552 | -6.267 | 1.096 | 0.00028681
552.5 | -6.318 | 1.045 | 0.00027346
553 | -6.327 | 1.036 | 0.00027111
553.5 | -6.324 | 1.039 | 0.00027189
554 | -6.32 | 1.043 | 0.00027294
554.5 | -6.308 | 1.055 | 0.00027608
555 | -6.304 | 1.059 | 0.00027713
555.5 | -6.327 | 1.036 | 0.00027111
556 | -6.325 | 1.038 | 0.00027163
556.5 | -6.309 | 1.054 | 0.00027582
557 | -6.32 | 1.043 | 0.00027294
557.5 | -6.353 | 1.01 | 0.0002643
558 | -6.393 | 0.97 | 0.00025384
558.5 | -6.446 | 0.917 | 0.00023997
559 | -6.508 | 0.855 | 0.00022374
559.5 | -6.574 | 0.789 | 0.00020647
560 | -6.663 | 0.7 | 0.00018318
560.5 | -6.762 | 0.601 | 0.00015727
561 | -6.859 | 0.504 | 0.00013189
561.5 | -6.953 | 0.41 | 0.00010729
562 | -7.032 | 0.331 | 8.6618e-05
562.5 | -7.068 | 0.295 | 7.7198e-05
563 | -7.072 | 0.291 | 7.6151e-05
563.5 | -7.068 | 0.295 | 7.7198e-05
564 | -7.078 | 0.285 | 7.4581e-05
564.5 | -7.089 | 0.274 | 7.1702e-05
565 | -7.111 | 0.252 | 6.5945e-05
565.5 | -7.119 | 0.244 | 6.3852e-05
566 | -7.109 | 0.254 | 6.6468e-05
566.5 | -7.104 | 0.259 | 6.7777e-05
567 | -7.115 | 0.248 | 6.4898e-05
567.5 | -7.123 | 0.24 | 6.2805e-05
568 | -7.122 | 0.241 | 6.3067e-05
568.5 | -7.098 | 0.265 | 6.9347e-05
569 | -7.043 | 0.32 | 8.374e-05
569.5 | -6.951 | 0.412 | 0.00010781
570 | -6.869 | 0.494 | 0.00012927
570.5 | -6.793 | 0.57 | 0.00014916
571 | -6.703 | 0.66 | 0.00017271
571.5 | -6.608 | 0.755 | 0.00019757
572 | -6.519 | 0.844 | 0.00022086
572.5 | -6.442 | 0.921 | 0.00024101
573 | -6.382 | 0.981 | 0.00025671
573.5 | -6.337 | 1.026 | 0.00026849
574 | -6.31 | 1.053 | 0.00027556
574.5 | -6.281 | 1.082 | 0.00028315
575 | -6.233 | 1.13 | 0.00029571
575.5 | -6.173 | 1.19 | 0.00031141
576 | -6.115 | 1.248 | 0.00032659
576.5 | -6.07 | 1.293 | 0.00033836
577 | -6.022 | 1.341 | 0.00035092
577.5 | -5.978 | 1.385 | 0.00036244
578 | -5.94 | 1.423 | 0.00037238
578.5 | -5.901 | 1.462 | 0.00038259
579 | -5.849 | 1.514 | 0.00039619
579.5 | -5.804 | 1.559 | 0.00040797
580 | -5.789 | 1.574 | 0.00041189
580.5 | -5.787 | 1.576 | 0.00041242
581 | -5.766 | 1.597 | 0.00041791
581.5 | -5.744 | 1.619 | 0.00042367
582 | -5.736 | 1.627 | 0.00042576
582.5 | -5.734 | 1.629 | 0.00042629
583 | -5.725 | 1.638 | 0.00042864
583.5 | -5.723 | 1.64 | 0.00042917
584 | -5.733 | 1.63 | 0.00042655
584.5 | -5.765 | 1.598 | 0.00041818
585 | -5.814 | 1.549 | 0.00040535
585.5 | -5.88 | 1.483 | 0.00038808
586 | -5.962 | 1.401 | 0.00036662
586.5 | -6.055 | 1.308 | 0.00034229
587 | -6.142 | 1.221 | 0.00031952
587.5 | -6.217 | 1.146 | 0.00029989
588 | -6.277 | 1.086 | 0.00028419
588.5 | -6.313 | 1.05 | 0.00027477
589 | -6.322 | 1.041 | 0.00027242
589.5 | -6.32 | 1.043 | 0.00027294
590 | -6.321 | 1.042 | 0.00027268
590.5 | -6.325 | 1.038 | 0.00027163
591 | -6.333 | 1.03 | 0.00026954
591.5 | -6.34 | 1.023 | 0.00026771
592 | -6.347 | 1.016 | 0.00026587
592.5 | -6.353 | 1.01 | 0.0002643
593 | -6.372 | 0.991 | 0.00025933
593.5 | -6.409 | 0.954 | 0.00024965
594 | -6.458 | 0.905 | 0.00023683
594.5 | -6.511 | 0.852 | 0.00022296
595 | -6.541 | 0.822 | 0.00021511
595.5 | -6.543 | 0.82 | 0.00021458
596 | -6.543 | 0.82 | 0.00021458
596.5 | -6.539 | 0.824 | 0.00021563
597 | -6.53 | 0.833 | 0.00021799
597.5 | -6.531 | 0.832 | 0.00021772
598 | -6.522 | 0.841 | 0.00022008
598.5 | -6.51 | 0.853 | 0.00022322
599 | -6.507 | 0.856 | 0.000224
599.5 | -6.51 | 0.853 | 0.00022322
600 | -6.519 | 0.844 | 0.00022086
600.5 | -6.527 | 0.836 | 0.00021877
601 | -6.509 | 0.854 | 0.00022348
601.5 | -6.463 | 0.9 | 0.00023552
602 | -6.406 | 0.957 | 0.00025043
602.5 | -6.351 | 1.012 | 0.00026483
603 | -6.3 | 1.063 | 0.00027817
603.5 | -6.258 | 1.105 | 0.00028916
604 | -6.214 | 1.149 | 0.00030068
604.5 | -6.153 | 1.21 | 0.00031664
605 | -6.087 | 1.276 | 0.00033391
605.5 | -6.014 | 1.349 | 0.00035302
606 | -5.938 | 1.425 | 0.0003729
606.5 | -5.866 | 1.497 | 0.00039175
607 | -5.779 | 1.584 | 0.00041451
607.5 | -5.676 | 1.687 | 0.00044147
608 | -5.565 | 1.798 | 0.00047051
608.5 | -5.48 | 1.883 | 0.00049276
609 | -5.42 | 1.943 | 0.00050846
609.5 | -5.381 | 1.982 | 0.00051866
610 | -5.368 | 1.995 | 0.00052207
610.5 | -5.375 | 1.988 | 0.00052023
611 | -5.406 | 1.957 | 0.00051212
611.5 | -5.47 | 1.893 | 0.00049537
612 | -5.548 | 1.815 | 0.00047496
612.5 | -5.643 | 1.72 | 0.0004501
613 | -5.731 | 1.632 | 0.00042707
613.5 | -5.803 | 1.56 | 0.00040823
614 | -5.857 | 1.506 | 0.0003941
614.5 | -5.908 | 1.455 | 0.00038075
615 | -5.964 | 1.399 | 0.0003661
615.5 | -6.018 | 1.345 | 0.00035197
616 | -6.088 | 1.275 | 0.00033365
616.5 | -6.157 | 1.206 | 0.00031559
617 | -6.22 | 1.143 | 0.00029911
617.5 | -6.298 | 1.065 | 0.0002787
618 | -6.378 | 0.985 | 0.00025776
618.5 | -6.453 | 0.91 | 0.00023813
619 | -6.515 | 0.848 | 0.00022191
619.5 | -6.57 | 0.793 | 0.00020752
620 | -6.613 | 0.75 | 0.00019627
620.5 | -6.657 | 0.706 | 0.00018475
621 | -6.703 | 0.66 | 0.00017271
621.5 | -6.749 | 0.614 | 0.00016068
622 | -6.811 | 0.552 | 0.00014445
622.5 | -6.864 | 0.499 | 0.00013058
623 | -6.905 | 0.458 | 0.00011985
623.5 | -6.958 | 0.405 | 0.00010598
624 | -7.014 | 0.349 | 9.1329e-05
624.5 | -7.051 | 0.312 | 8.1646e-05
625 | -7.078 | 0.285 | 7.4581e-05
625.5 | -7.082 | 0.281 | 7.3534e-05
626 | -7.062 | 0.301 | 7.8768e-05
626.5 | -7.051 | 0.312 | 8.1646e-05
627 | -7.06 | 0.303 | 7.9291e-05
627.5 | -7.069 | 0.294 | 7.6936e-05
628 | -7.067 | 0.296 | 7.7459e-05
628.5 | -7.037 | 0.326 | 8.531e-05
629 | -6.981 | 0.382 | 9.9964e-05
629.5 | -6.904 | 0.459 | 0.00012011
630 | -6.809 | 0.554 | 0.00014497
630.5 | -6.706 | 0.657 | 0.00017193
631 | -6.582 | 0.781 | 0.00020438
631.5 | -6.433 | 0.93 | 0.00024337
632 | -6.276 | 1.087 | 0.00028445
632.5 | -6.15 | 1.213 | 0.00031743
633 | -6.071 | 1.292 | 0.0003381
633.5 | -6.007 | 1.356 | 0.00035485
634 | -5.954 | 1.409 | 0.00036872
634.5 | -5.906 | 1.457 | 0.00038128
635 | -5.873 | 1.49 | 0.00038991
635.5 | -5.861 | 1.502 | 0.00039305
636 | -5.885 | 1.478 | 0.00038677
636.5 | -5.92 | 1.443 | 0.00037761
637 | -5.916 | 1.447 | 0.00037866
637.5 | -5.893 | 1.47 | 0.00038468
638 | -5.846 | 1.517 | 0.00039698
638.5 | -5.81 | 1.553 | 0.0004064
639 | -5.793 | 1.57 | 0.00041085
639.5 | -5.789 | 1.574 | 0.00041189
640 | -5.799 | 1.564 | 0.00040928
640.5 | -5.81 | 1.553 | 0.0004064
641 | -5.839 | 1.524 | 0.00039881
641.5 | -5.876 | 1.487 | 0.00038913
642 | -5.922 | 1.441 | 0.00037709
642.5 | -5.959 | 1.404 | 0.00036741
643 | -5.979 | 1.384 | 0.00036217
643.5 | -5.998 | 1.365 | 0.0003572
644 | -6.035 | 1.328 | 0.00034752
644.5 | -6.105 | 1.258 | 0.0003292
645 | -6.19 | 1.173 | 0.00030696
645.5 | -6.274 | 1.089 | 0.00028498
646 | -6.357 | 1.006 | 0.00026326
646.5 | -6.407 | 0.956 | 0.00025017
647 | -6.453 | 0.91 | 0.00023813
647.5 | -6.5 | 0.863 | 0.00022584
648 | -6.56 | 0.803 | 0.00021013
648.5 | -6.624 | 0.739 | 0.00019339
649 | -6.701 | 0.662 | 0.00017324
649.5 | -6.796 | 0.567 | 0.00014838
650 | -6.919 | 0.444 | 0.00011619
650.5 | -7.056 | 0.307 | 8.0338e-05
651 | -7.175 | 0.188 | 4.9197e-05
651.5 | -7.298 | 0.065 | 1.701e-05
652 | -7.424 | 0 | 0
652.5 | -7.514 | 0 | 0
653 | -7.592 | 0 | 0
653.5 | -7.647 | 0 | 0
654 | -7.642 | 0 | 0
654.5 | -7.575 | 0 | 0
655 | -7.478 | 0 | 0
655.5 | -7.375 | 0 | 0
656 | -7.285 | 0.078 | 2.0412e-05
656.5 | -7.232 | 0.131 | 3.4281e-05
657 | -7.212 | 0.151 | 3.9515e-05
657.5 | -7.216 | 0.147 | 3.8468e-05
658 | -7.24 | 0.123 | 3.2187e-05
658.5 | -7.277 | 0.086 | 2.2505e-05
659 | -7.306 | 0.057 | 1.4916e-05
659.5 | -7.305 | 0.058 | 1.5178e-05
660 | -7.236 | 0.127 | 3.3234e-05
660.5 | -7.126 | 0.237 | 6.202e-05
661 | -7.013 | 0.35 | 9.159e-05
661.5 | -6.909 | 0.454 | 0.00011881
662 | -6.827 | 0.536 | 0.00014026
662.5 | -6.785 | 0.578 | 0.00015125
663 | -6.769 | 0.594 | 0.00015544
663.5 | -6.777 | 0.586 | 0.00015335
664 | -6.849 | 0.514 | 0.00013451
664.5 | -6.978 | 0.385 | 0.00010075
665 | -7.128 | 0.235 | 6.1496e-05
665.5 | -7.247 | 0.116 | 3.0356e-05
666 | -7.316 | 0.047 | 1.2299e-05
666.5 | -7.336 | 0.027 | 7.0655e-06
667 | -7.305 | 0.058 | 1.5178e-05
667.5 | -7.245 | 0.118 | 3.0879e-05
668 | -7.178 | 0.185 | 4.8412e-05
668.5 | -7.134 | 0.229 | 5.9926e-05
669 | -7.115 | 0.248 | 6.4898e-05
669.5 | -7.131 | 0.232 | 6.0711e-05
670 | -7.212 | 0.151 | 3.9515e-05
670.5 | -7.333 | 0.03 | 7.8506e-06
671 | -7.455 | 0 | 0
671.5 | -7.55 | 0 | 0
672 | -7.609 | 0 | 0
672.5 | -7.624 | 0 | 0
673 | -7.605 | 0 | 0
673.5 | -7.555 | 0 | 0
674 | -7.487 | 0 | 0
674.5 | -7.405 | 0 | 0
675 | -7.332 | 0.031 | 8.1123e-06
675.5 | -7.292 | 0.071 | 1.858e-05
676 | -7.295 | 0.068 | 1.7795e-05
676.5 | -7.345 | 0.018 | 4.7104e-06
677 | -7.434 | 0 | 0
677.5 | -7.54 | 0 | 0
678 | -7.635 | 0 | 0
678.5 | -7.7 | 0 | 0
679 | -7.726 | 0 | 0
679.5 | -7.713 | 0 | 0
680 | -7.672 | 0 | 0
680.5 | -7.622 | 0 | 0
681 | -7.576 | 0 | 0
681.5 | -7.531 | 0 | 0
682 | -7.496 | 0 | 0
682.5 | -7.476 | 0 | 0
683 | -7.456 | 0 | 0
683.5 | -7.43 | 0 | 0
684 | -7.4 | 0 | 0
684.5 | -7.363 | 0 | 0
685 | -7.323 | 0.04 | 1.0467e-05
685.5 | -7.289 | 0.074 | 1.9365e-05
686 | -7.262 | 0.101 | 2.643e-05
686.5 | -7.219 | 0.144 | 3.7683e-05
687 | -7.175 | 0.188 | 4.9197e-05
687.5 | -7.131 | 0.232 | 6.0711e-05
688 | -7.079 | 0.284 | 7.4319e-05
688.5 | -7 | 0.363 | 9.4992e-05
689 | -6.925 | 0.438 | 0.00011462
689.5 | -6.857 | 0.506 | 0.00013241
690 | -6.796 | 0.567 | 0.00014838
690.5 | -6.747 | 0.616 | 0.0001612
691 | -6.71 | 0.653 | 0.00017088
691.5 | -6.71 | 0.653 | 0.00017088
692 | -6.71 | 0.653 | 0.00017088
692.5 | -6.744 | 0.619 | 0.00016198
693 | -6.806 | 0.557 | 0.00014576
693.5 | -6.855 | 0.508 | 0.00013294
694 | -6.878 | 0.485 | 0.00012692
694.5 | -6.883 | 0.48 | 0.00012561
695 | -6.883 | 0.48 | 0.00012561
695.5 | -6.868 | 0.495 | 0.00012953
696 | -6.844 | 0.519 | 0.00013582
696.5 | -6.805 | 0.558 | 0.00014602
697 | -6.748 | 0.615 | 0.00016094
697.5 | -6.688 | 0.675 | 0.00017664
698 | -6.681 | 0.682 | 0.00017847
698.5 | -6.721 | 0.642 | 0.000168
699 | -6.766 | 0.597 | 0.00015623
699.5 | -6.793 | 0.57 | 0.00014916
700 | -6.786 | 0.577 | 0.00015099
700.5 | -6.758 | 0.605 | 0.00015832
701 | -6.7 | 0.663 | 0.0001735
701.5 | -6.617 | 0.746 | 0.00019522
702 | -6.499 | 0.864 | 0.0002261
702.5 | -6.348 | 1.015 | 0.00026561
703 | -6.22 | 1.143 | 0.00029911
703.5 | -6.152 | 1.211 | 0.0003169
704 | -6.138 | 1.225 | 0.00032057
704.5 | -6.137 | 1.226 | 0.00032083
705 | -6.125 | 1.238 | 0.00032397
705.5 | -6.112 | 1.251 | 0.00032737
706 | -6.117 | 1.246 | 0.00032606
706.5 | -6.152 | 1.211 | 0.0003169
707 | -6.208 | 1.155 | 0.00030225
707.5 | -6.247 | 1.116 | 0.00029204
708 | -6.267 | 1.096 | 0.00028681
708.5 | -6.282 | 1.081 | 0.00028288
709 | -6.302 | 1.061 | 0.00027765
709.5 | -6.339 | 1.024 | 0.00026797
710 | -6.369 | 0.994 | 0.00026012
710.5 | -6.388 | 0.975 | 0.00025514
711 | -6.438 | 0.925 | 0.00024206
711.5 | -6.52 | 0.843 | 0.0002206
712 | -6.618 | 0.745 | 0.00019496
712.5 | -6.708 | 0.655 | 0.0001714
713 | -6.765 | 0.598 | 0.00015649
713.5 | -6.806 | 0.557 | 0.00014576
714 | -6.836 | 0.527 | 0.00013791
714.5 | -6.879 | 0.484 | 0.00012666
715 | -6.908 | 0.455 | 0.00011907
715.5 | -6.912 | 0.451 | 0.00011802
716 | -6.883 | 0.48 | 0.00012561
716.5 | -6.84 | 0.523 | 0.00013686
717 | -6.788 | 0.575 | 0.00015047
717.5 | -6.732 | 0.631 | 0.00016512
718 | -6.695 | 0.668 | 0.00017481
718.5 | -6.665 | 0.698 | 0.00018266
719 | -6.64 | 0.723 | 0.0001892
719.5 | -6.627 | 0.736 | 0.0001926
720 | -6.624 | 0.739 | 0.00019339
720.5 | -6.596 | 0.767 | 0.00020071
721 | -6.537 | 0.826 | 0.00021615
721.5 | -6.445 | 0.918 | 0.00024023
722 | -6.34 | 1.023 | 0.00026771
722.5 | -6.247 | 1.116 | 0.00029204
723 | -6.164 | 1.199 | 0.00031376
723.5 | -6.113 | 1.25 | 0.00032711
724 | -6.078 | 1.285 | 0.00033627
724.5 | -6.072 | 1.291 | 0.00033784
725 | -6.107 | 1.256 | 0.00032868
725.5 | -6.193 | 1.17 | 0.00030617
726 | -6.311 | 1.052 | 0.00027529
726.5 | -6.457 | 0.906 | 0.00023709
727 | -6.588 | 0.775 | 0.00020281
727.5 | -6.703 | 0.66 | 0.00017271
728 | -6.83 | 0.533 | 0.00013948
728.5 | -6.964 | 0.399 | 0.00010441
729 | -7.106 | 0.257 | 6.7253e-05
729.5 | -7.231 | 0.132 | 3.4543e-05
730 | -7.34 | 0.023 | 6.0188e-06
730.5 | -7.446 | 0 | 0
731 | -7.558 | 0 | 0
731.5 | -7.671 | 0 | 0
732 | -7.763 | 0 | 0
732.5 | -7.823 | 0 | 0
733 | -7.867 | 0 | 0
733.5 | -7.902 | 0 | 0
734 | -7.92 | 0 | 0
734.5 | -7.889 | 0 | 0
735 | -7.82 | 0 | 0
735.5 | -7.718 | 0 | 0
736 | -7.594 | 0 | 0
736.5 | -7.469 | 0 | 0
737 | -7.337 | 0.026 | 6.8039e-06
737.5 | -7.208 | 0.155 | 4.0561e-05
738 | -7.115 | 0.248 | 6.4898e-05
738.5 | -7.044 | 0.319 | 8.3478e-05
739 | -6.959 | 0.404 | 0.00010572
739.5 | -6.851 | 0.512 | 0.00013398
740 | -6.735 | 0.628 | 0.00016434
740.5 | -6.616 | 0.747 | 0.00019548
741 | -6.455 | 0.908 | 0.00023761
741.5 | -6.264 | 1.099 | 0.00028759
742 | -6.034 | 1.329 | 0.00034778
742.5 | -5.796 | 1.567 | 0.00041006
743 | -5.586 | 1.777 | 0.00046502
743.5 | -5.438 | 1.925 | 0.00050375
744 | -5.334 | 2.029 | 0.00053096
744.5 | -5.242 | 2.121 | 0.00055504
745 | -5.177 | 2.186 | 0.00057205
745.5 | -5.159 | 2.204 | 0.00057676
746 | -5.148 | 2.215 | 0.00057964
746.5 | -5.128 | 2.235 | 0.00058487
747 | -5.074 | 2.289 | 0.000599
747.5 | -4.967 | 2.396 | 0.000627
748 | -4.837 | 2.526 | 0.00066102
748.5 | -4.711 | 2.652 | 0.00069399
749 | -4.595 | 2.768 | 0.00072435
749.5 | -4.486 | 2.877 | 0.00075287
750 | -4.39 | 2.973 | 0.00077799
750.5 | -4.32 | 3.043 | 0.00079631
751 | -4.3 | 3.063 | 0.00080155
751.5 | -4.293 | 3.07 | 0.00080338
752 | -4.27 | 3.093 | 0.0008094
752.5 | -4.201 | 3.162 | 0.00082745
753 | -4.069 | 3.294 | 0.000862
753.5 | -3.86 | 3.503 | 0.00091669
754 | -3.606 | 3.757 | 0.00098316
754.5 | -3.299 | 4.064 | 0.0010635
755 | -2.988 | 4.375 | 0.0011449
755.5 | -2.688 | 4.675 | 0.0012234
756 | -2.42 | 4.943 | 0.0012935
756.5 | -2.186 | 5.177 | 0.0013548
757 | -1.981 | 5.382 | 0.0014084
757.5 | -1.789 | 5.574 | 0.0014586
758 | -1.597 | 5.766 | 0.0015089
758.5 | -1.355 | 6.008 | 0.0015722
759 | -1.043 | 6.32 | 0.0016539
759.5 | -0.7052 | 6.6578 | 0.0017423
760 | -0.3313 | 7.0317 | 0.0018401
760.5 | 0.04695 | 7.41 | 0.0019391
761 | 0.4439 | 7.8069 | 0.002043
761.5 | 0.8765 | 8.2395 | 0.0021562
762 | 1.354 | 8.717 | 0.0022811
762.5 | 1.856 | 9.219 | 0.0024125
763 | 2.393 | 9.756 | 0.002553
763.5 | 2.967 | 10.33 | 0.0027032
764 | 3.621 | 10.984 | 0.0028744
764.5 | 4.344 | 11.707 | 0.0030636
765 | 5.12 | 12.483 | 0.0032666
765.5 | 5.937 | 13.3 | 0.0034804
766 | 6.753 | 14.116 | 0.003694
766.5 | 7.552 | 14.915 | 0.0039031
767 | 8.333 | 15.696 | 0.0041074
767.5 | 9.069 | 16.432 | 0.0043
768 | 9.733 | 17.096 | 0.0044738
768.5 | 10.36 | 17.723 | 0.0046379
769 | 10.99 | 18.353 | 0.0048027
769.5 | 11.66 | 19.023 | 0.0049781
770 | 12.32 | 19.683 | 0.0051508
770.5 | 12.97 | 20.333 | 0.0053209
771 | 13.52 | 20.883 | 0.0054648
771.5 | 13.96 | 21.323 | 0.0055799
772 | 14.31 | 21.673 | 0.0056715
772.5 | 14.58 | 21.943 | 0.0057422
773 | 14.76 | 22.123 | 0.0057893
773.5 | 14.89 | 22.253 | 0.0058233
774 | 14.99 | 22.353 | 0.0058495
774.5 | 15.09 | 22.453 | 0.0058757
775 | 15.19 | 22.553 | 0.0059018
775.5 | 15.25 | 22.613 | 0.0059175
776 | 15.27 | 22.633 | 0.0059228
776.5 | 15.24 | 22.603 | 0.0059149
777 | 15.18 | 22.543 | 0.0058992
777.5 | 15.1 | 22.463 | 0.0058783
778 | 14.97 | 22.333 | 0.0058442
778.5 | 14.79 | 22.153 | 0.0057971
779 | 14.57 | 21.933 | 0.0057396
779.5 | 14.31 | 21.673 | 0.0056715
780 | 14.06 | 21.423 | 0.0056061
780.5 | 13.79 | 21.153 | 0.0055355
781 | 13.5 | 20.863 | 0.0054596
781.5 | 13.18 | 20.543 | 0.0053758
782 | 12.84 | 20.203 | 0.0052869
782.5 | 12.47 | 19.833 | 0.00519
783 | 12.09 | 19.453 | 0.0050906
783.5 | 11.65 | 19.013 | 0.0049754
784 | 11.15 | 18.513 | 0.0048446
784.5 | 10.63 | 17.993 | 0.0047085
785 | 10.07 | 17.433 | 0.004562
785.5 | 9.484 | 16.847 | 0.0044086
786 | 8.873 | 16.236 | 0.0042487
786.5 | 8.236 | 15.599 | 0.0040821
787 | 7.604 | 14.967 | 0.0039167
787.5 | 7.03 | 14.393 | 0.0037665
788 | 6.518 | 13.881 | 0.0036325
788.5 | 6.017 | 13.38 | 0.0035014
789 | 5.502 | 12.865 | 0.0033666
789.5 | 5.029 | 12.392 | 0.0032428
790 | 4.583 | 11.946 | 0.0031261
790.5 | 4.166 | 11.529 | 0.003017
791 | 3.748 | 11.111 | 0.0029076
791.5 | 3.316 | 10.679 | 0.0027946
792 | 2.914 | 10.277 | 0.0026894
792.5 | 2.601 | 9.964 | 0.0026074
793 | 2.359 | 9.722 | 0.0025441
793.5 | 2.171 | 9.534 | 0.0024949
794 | 2.03 | 9.393 | 0.002458
794.5 | 1.952 | 9.315 | 0.0024376
795 | 1.931 | 9.294 | 0.0024321
795.5 | 1.929 | 9.292 | 0.0024316
796 | 1.886 | 9.249 | 0.0024203
796.5 | 1.765 | 9.128 | 0.0023887
797 | 1.609 | 8.972 | 0.0023479
797.5 | 1.449 | 8.812 | 0.002306
798 | 1.259 | 8.622 | 0.0022563
798.5 | 1.031 | 8.394 | 0.0021966
799 | 0.7876 | 8.1506 | 0.0021329
799.5 | 0.5172 | 7.8802 | 0.0020621
800 | 0.2544 | 7.6174 | 0.0019934
800.5 | -0.018 | 7.345 | 0.0019221
801 | -0.3389 | 7.0241 | 0.0018381
801.5 | -0.7148 | 6.6482 | 0.0017397
802 | -1.101 | 6.262 | 0.0016387
802.5 | -1.496 | 5.867 | 0.0015353
803 | -1.903 | 5.46 | 0.0014288
803.5 | -2.319 | 5.044 | 0.0013199
804 | -2.696 | 4.667 | 0.0012213
804.5 | -3.032 | 4.331 | 0.0011334
805 | -3.306 | 4.057 | 0.0010617
805.5 | -3.52 | 3.843 | 0.0010057
806 | -3.698 | 3.665 | 0.00095908
806.5 | -3.821 | 3.542 | 0.00092689
807 | -3.904 | 3.459 | 0.00090517
807.5 | -3.97 | 3.393 | 0.0008879
808 | -4.01 | 3.353 | 0.00087744
808.5 | -4.034 | 3.329 | 0.00087116
809 | -4.064 | 3.299 | 0.0008633
809.5 | -4.1 | 3.263 | 0.00085388
810 | -4.153 | 3.21 | 0.00084001
810.5 | -4.212 | 3.151 | 0.00082457
811 | -4.277 | 3.086 | 0.00080757
811.5 | -4.319 | 3.044 | 0.00079657
812 | -4.325 | 3.038 | 0.000795
812.5 | -4.342 | 3.021 | 0.00079056
813 | -4.384 | 2.979 | 0.00077956
813.5 | -4.439 | 2.924 | 0.00076517
814 | -4.509 | 2.854 | 0.00074685
814.5 | -4.554 | 2.809 | 0.00073508
815 | -4.633 | 2.73 | 0.0007144
815.5 | -4.718 | 2.645 | 0.00069216
816 | -4.803 | 2.56 | 0.00066992
816.5 | -4.864 | 2.499 | 0.00065396
817 | -4.899 | 2.464 | 0.0006448
817.5 | -4.928 | 2.435 | 0.00063721
818 | -4.945 | 2.418 | 0.00063276
818.5 | -4.919 | 2.444 | 0.00063956
819 | -4.852 | 2.511 | 0.0006571
819.5 | -4.763 | 2.6 | 0.00068039
820 | -4.73 | 2.633 | 0.00068902
820.5 | -4.73 | 2.633 | 0.00068902
821 | -4.751 | 2.612 | 0.00068353
821.5 | -4.787 | 2.576 | 0.00067411
822 | -4.821 | 2.542 | 0.00066521
822.5 | -4.852 | 2.511 | 0.0006571
823 | -4.896 | 2.467 | 0.00064558
823.5 | -4.94 | 2.423 | 0.00063407
824 | -5.011 | 2.352 | 0.00061549
824.5 | -5.105 | 2.258 | 0.00059089
825 | -5.223 | 2.14 | 0.00056001
825.5 | -5.34 | 2.023 | 0.00052939
826 | -5.468 | 1.895 | 0.0004959
826.5 | -5.597 | 1.766 | 0.00046214
827 | -5.707 | 1.656 | 0.00043335
827.5 | -5.805 | 1.558 | 0.00040771
828 | -5.894 | 1.469 | 0.00038442
828.5 | -5.942 | 1.421 | 0.00037186
829 | -5.983 | 1.38 | 0.00036113
829.5 | -5.979 | 1.384 | 0.00036217
830 | -5.946 | 1.417 | 0.00037081
830.5 | -5.965 | 1.398 | 0.00036584
831 | -6.052 | 1.311 | 0.00034307
831.5 | -6.161 | 1.202 | 0.00031455
832 | -6.263 | 1.1 | 0.00028786
832.5 | -6.343 | 1.02 | 0.00026692
833 | -6.398 | 0.965 | 0.00025253
833.5 | -6.427 | 0.936 | 0.00024494
834 | -6.425 | 0.938 | 0.00024546
834.5 | -6.392 | 0.971 | 0.0002541
835 | -6.382 | 0.981 | 0.00025671
835.5 | -6.398 | 0.965 | 0.00025253
836 | -6.431 | 0.932 | 0.00024389
836.5 | -6.45 | 0.913 | 0.00023892
837 | -6.509 | 0.854 | 0.00022348
837.5 | -6.615 | 0.748 | 0.00019574
838 | -6.755 | 0.608 | 0.00015911
838.5 | -6.878 | 0.485 | 0.00012692
839 | -6.948 | 0.415 | 0.0001086
839.5 | -6.977 | 0.386 | 0.00010101
840 | -6.955 | 0.408 | 0.00010677
840.5 | -6.891 | 0.472 | 0.00012352
841 | -6.814 | 0.549 | 0.00014367
841.5 | -6.755 | 0.608 | 0.00015911
842 | -6.73 | 0.633 | 0.00016565
842.5 | -6.719 | 0.644 | 0.00016853
843 | -6.679 | 0.684 | 0.00017899
843.5 | -6.631 | 0.732 | 0.00019155
844 | -6.57 | 0.793 | 0.00020752
844.5 | -6.544 | 0.819 | 0.00021432
845 | -6.515 | 0.848 | 0.00022191
845.5 | -6.477 | 0.886 | 0.00023185
846 | -6.435 | 0.928 | 0.00024285
846.5 | -6.391 | 0.972 | 0.00025436
847 | -6.375 | 0.988 | 0.00025855
847.5 | -6.387 | 0.976 | 0.00025541
848 | -6.42 | 0.943 | 0.00024677
848.5 | -6.507 | 0.856 | 0.000224
849 | -6.604 | 0.759 | 0.00019862
849.5 | -6.719 | 0.644 | 0.00016853
850 | -6.837 | 0.526 | 0.00013765
850.5 | -6.964 | 0.399 | 0.00010441
851 | -7.102 | 0.261 | 6.83e-05
851.5 | -7.26 | 0.103 | 2.6954e-05
852 | -7.44 | 0 | 0
852.5 | -7.588 | 0 | 0
853 | -7.697 | 0 | 0
853.5 | -7.767 | 0 | 0
854 | -7.796 | 0 | 0
854.5 | -7.844 | 0 | 0
855 | -7.887 | 0 | 0
855.5 | -7.885 | 0 | 0
856 | -7.875 | 0 | 0
856.5 | -7.866 | 0 | 0
857 | -7.847 | 0 | 0
857.5 | -7.796 | 0 | 0
858 | -7.722 | 0 | 0
858.5 | -7.643 | 0 | 0
859 | -7.57 | 0 | 0
859.5 | -7.484 | 0 | 0
860 | -7.37 | 0 | 0
860.5 | -7.273 | 0.09 | 2.3552e-05
861 | -7.238 | 0.125 | 3.2711e-05
861.5 | -7.213 | 0.15 | 3.9253e-05
862 | -7.183 | 0.18 | 4.7104e-05
862.5 | -7.141 | 0.222 | 5.8094e-05
863 | -7.091 | 0.272 | 7.1179e-05
863.5 | -7.044 | 0.319 | 8.3478e-05
864 | -6.96 | 0.403 | 0.00010546
864.5 | -6.847 | 0.516 | 0.00013503
865 | -6.753 | 0.61 | 0.00015963
865.5 | -6.672 | 0.691 | 0.00018083
866 | -6.585 | 0.778 | 0.00020359
866.5 | -6.47 | 0.893 | 0.00023369
867 | -6.375 | 0.988 | 0.00025855
867.5 | -6.292 | 1.071 | 0.00028027
868 | -6.238 | 1.125 | 0.0002944
868.5 | -6.165 | 1.198 | 0.0003135
869 | -6.072 | 1.291 | 0.00033784
869.5 | -6.031 | 1.332 | 0.00034857
870 | -6.023 | 1.34 | 0.00035066
870.5 | -6.019 | 1.344 | 0.00035171
871 | -5.997 | 1.366 | 0.00035746
871.5 | -5.971 | 1.392 | 0.00036427
872 | -5.962 | 1.401 | 0.00036662
872.5 | -5.963 | 1.4 | 0.00036636
873 | -5.976 | 1.387 | 0.00036296
873.5 | -6.029 | 1.334 | 0.00034909
874 | -6.123 | 1.24 | 0.00032449
874.5 | -6.248 | 1.115 | 0.00029178
875 | -6.355 | 1.008 | 0.00026378
875.5 | -6.436 | 0.927 | 0.00024258
876 | -6.492 | 0.871 | 0.00022793
876.5 | -6.544 | 0.819 | 0.00021432
877 | -6.602 | 0.761 | 0.00019914
877.5 | -6.687 | 0.676 | 0.0001769
878 | -6.793 | 0.57 | 0.00014916
878.5 | -6.882 | 0.481 | 0.00012587
879 | -7.004 | 0.359 | 9.3946e-05
879.5 | -7.174 | 0.189 | 4.9459e-05
880 | -7.367 | 0 | 0
880.5 | -7.563 | 0 | 0
881 | -7.267 | 0.096 | 2.5122e-05
881.5 | -8.109 | 0 | 0
882 | -8.551 | 0 | 0
882.5 | -8.949 | 0 | 0
883 | -9.536 | 0 | 0
883.5 | -9.877 | 0 | 0
884 | -9.971 | 0 | 0
884.5 | -2.908 | 4.455 | 0.0011658
885 | -1.837 | 5.526 | 0.0014461
885.5 | -8.664 | 0 | 0
886 | -8.961 | 0 | 0
886.5 | -9.623 | 0 | 0