## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 14.42 | 0 | 0
246.5 | 15.07 | 0 | 0
247 | 13.32 | 0 | 0
247.5 | 15 | 0 | 0
248 | 14.37 | 0 | 0
248.5 | 13.74 | 0 | 0
249 | 13.57 | 0 | 0
249.5 | 13.26 | 0 | 0
250 | 13.62 | 0 | 0
250.5 | 14.49 | 0 | 0
251 | 17.02 | 1.95 | 0.00058772
251.5 | 15.69 | 0.62 | 0.00018686
252 | 15.06 | 0 | 0
252.5 | 14.84 | 0 | 0
253 | 12.57 | 0 | 0
253.5 | 12.42 | 0 | 0
254 | 13.48 | 0 | 0
254.5 | 14.99 | 0 | 0
255 | 15.17 | 0.1 | 3.0139e-05
255.5 | 15.89 | 0.82 | 0.00024714
256 | 15.57 | 0.5 | 0.0001507
256.5 | 16.92 | 1.85 | 0.00055758
257 | 17.07 | 2 | 0.00060279
257.5 | 18.7 | 3.63 | 0.0010941
258 | 16.17 | 1.1 | 0.00033153
258.5 | 16.06 | 0.99 | 0.00029838
259 | 16.59 | 1.52 | 0.00045812
259.5 | 15.07 | 0 | 0
260 | 14.68 | 0 | 0
260.5 | 13.12 | 0 | 0
261 | 14.39 | 0 | 0
261.5 | 15.37 | 0.3 | 9.0418e-05
262 | 15.57 | 0.5 | 0.0001507
262.5 | 16.97 | 1.9 | 0.00057265
263 | 19.37 | 4.3 | 0.001296
263.5 | 18.06 | 2.99 | 0.00090116
264 | 18.04 | 2.97 | 0.00089514
264.5 | 15.52 | 0.45 | 0.00013563
265 | 13.82 | 0 | 0
265.5 | 12.54 | 0 | 0
266 | 14.63 | 0 | 0
266.5 | 15.91 | 0.84 | 0.00025317
267 | 14.98 | 0 | 0
267.5 | 14.57 | 0 | 0
268 | 15.29 | 0.22 | 6.6306e-05
268.5 | 14.81 | 0 | 0
269 | 17.95 | 2.88 | 0.00086801
269.5 | 17.6 | 2.53 | 0.00076252
270 | 15.19 | 0.12 | 3.6167e-05
270.5 | 17.13 | 2.06 | 0.00062087
271 | 17.77 | 2.7 | 0.00081376
271.5 | 17.39 | 2.32 | 0.00069923
272 | 14.89 | 0 | 0
272.5 | 14.88 | 0 | 0
273 | 16.88 | 1.81 | 0.00054552
273.5 | 17.61 | 2.54 | 0.00076554
274 | 15.34 | 0.27 | 8.1376e-05
274.5 | 12.84 | 0 | 0
275 | 14.58 | 0 | 0
275.5 | 15.22 | 0.15 | 4.5209e-05
276 | 14.99 | 0 | 0
276.5 | 14.14 | 0 | 0
277 | 13.79 | 0 | 0
277.5 | 14.64 | 0 | 0
278 | 15.13 | 0.06 | 1.8084e-05
278.5 | 17.55 | 2.48 | 0.00074745
279 | 15.89 | 0.82 | 0.00024714
279.5 | 18.35 | 3.28 | 0.00098857
280 | 17.31 | 2.24 | 0.00067512
280.5 | 17.69 | 2.62 | 0.00078965
281 | 18.16 | 3.09 | 0.0009313
281.5 | 15.84 | 0.77 | 0.00023207
282 | 13.61 | 0 | 0
282.5 | 16.31 | 1.24 | 0.00037373
283 | 16.39 | 1.32 | 0.00039784
283.5 | 17.07 | 2 | 0.00060279
284 | 16.4 | 1.33 | 0.00040085
284.5 | 15.07 | 0 | 0
285 | 14.73 | 0 | 0
285.5 | 12.13 | 0 | 0
286 | 14.49 | 0 | 0
286.5 | 17.62 | 2.55 | 0.00076855
287 | 18.07 | 3 | 0.00090418
287.5 | 14.63 | 0 | 0
288 | 15.28 | 0.21 | 6.3292e-05
288.5 | 15.57 | 0.5 | 0.0001507
289 | 15.57 | 0.5 | 0.0001507
289.5 | 17.15 | 2.08 | 0.0006269
290 | 14.92 | 0 | 0
290.5 | 17.09 | 2.02 | 0.00060881
291 | 18.49 | 3.42 | 0.0010308
291.5 | 19.18 | 4.11 | 0.0012387
292 | 18.73 | 3.66 | 0.0011031
292.5 | 17.63 | 2.56 | 0.00077157
293 | 19.09 | 4.02 | 0.0012116
293.5 | 16.85 | 1.78 | 0.00053648
294 | 11.54 | 0 | 0
294.5 | 13.37 | 0 | 0
295 | 12.82 | 0 | 0
295.5 | 14.25 | 0 | 0
296 | 20.49 | 5.42 | 0.0016335
296.5 | 19.57 | 4.5 | 0.0013563
297 | 19.57 | 4.5 | 0.0013563
297.5 | 17.16 | 2.09 | 0.00062991
298 | 16.29 | 1.22 | 0.0003677
298.5 | 14.9 | 0 | 0
299 | 14.72 | 0 | 0
299.5 | 15.35 | 0.28 | 8.439e-05
300 | 13.85 | 0 | 0
300.5 | 16.54 | 1.47 | 0.00044305
301 | 15.15 | 0.08 | 2.4111e-05
301.5 | 16.9 | 1.83 | 0.00055155
302 | 16.57 | 1.5 | 0.00045209
302.5 | 16.57 | 1.5 | 0.00045209
303 | 14.1 | 0 | 0
303.5 | 13.37 | 0 | 0
304 | 16.99 | 1.92 | 0.00057867
304.5 | 20 | 4.93 | 0.0014859
305 | 18.7 | 3.63 | 0.0010941
305.5 | 17.94 | 2.87 | 0.000865
306 | 14.05 | 0 | 0
306.5 | 14.92 | 0 | 0
307 | 15.01 | 0 | 0
307.5 | 15.45 | 0.38 | 0.00011453
308 | 18.2 | 3.13 | 0.00094336
308.5 | 16.52 | 1.45 | 0.00043702
309 | 16.92 | 1.85 | 0.00055758
309.5 | 17.42 | 2.35 | 0.00070827
310 | 15.88 | 0.81 | 0.00024413
310.5 | 13.93 | 0 | 0
311 | 13.2 | 0 | 0
311.5 | 15.26 | 0.19 | 5.7265e-05
312 | 14.55 | 0 | 0
312.5 | 15.05 | 0 | 0
313 | 15.07 | 0 | 0
313.5 | 15.07 | 0 | 0
314 | 15.52 | 0.45 | 0.00013563
314.5 | 17.07 | 2 | 0.00060279
315 | 16.29 | 1.22 | 0.0003677
315.5 | 16.81 | 1.74 | 0.00052442
316 | 15.84 | 0.77 | 0.00023207
316.5 | 16.68 | 1.61 | 0.00048524
317 | 15.57 | 0.5 | 0.0001507
317.5 | 16.54 | 1.47 | 0.00044305
318 | 14.4 | 0 | 0
318.5 | 13.61 | 0 | 0
319 | 14.57 | 0 | 0
319.5 | 15.02 | 0 | 0
320 | 16.38 | 1.31 | 0.00039482
320.5 | 18.42 | 3.35 | 0.0010097
321 | 20.45 | 5.38 | 0.0016215
321.5 | 19.8 | 4.73 | 0.0014256
322 | 19.57 | 4.5 | 0.0013563
322.5 | 20.46 | 5.39 | 0.0016245
323 | 18.3 | 3.23 | 0.0009735
323.5 | 17.47 | 2.4 | 0.00072334
324 | 18.13 | 3.06 | 0.00092226
324.5 | 18.79 | 3.72 | 0.0011212
325 | 19.07 | 4 | 0.0012056
325.5 | 19.39 | 4.32 | 0.001302
326 | 16 | 0.93 | 0.0002803
326.5 | 16.46 | 1.39 | 0.00041894
327 | 16.55 | 1.48 | 0.00044606
327.5 | 15.37 | 0.3 | 9.0418e-05
328 | 18.07 | 3 | 0.00090418
328.5 | 20.95 | 5.88 | 0.0017722
329 | 19.43 | 4.36 | 0.0013141
329.5 | 19.07 | 4 | 0.0012056
330 | 19.53 | 4.46 | 0.0013442
330.5 | 20.8 | 5.73 | 0.001727
331 | 21.02 | 5.95 | 0.0017933
331.5 | 21.01 | 5.94 | 0.0017903
332 | 20.96 | 5.89 | 0.0017752
332.5 | 22.83 | 7.76 | 0.0023388
333 | 21.82 | 6.75 | 0.0020344
333.5 | 20.07 | 5 | 0.001507
334 | 19.36 | 4.29 | 0.001293
334.5 | 18.97 | 3.9 | 0.0011754
335 | 18.25 | 3.18 | 0.00095843
335.5 | 19.13 | 4.06 | 0.0012237
336 | 18.19 | 3.12 | 0.00094035
336.5 | 20.44 | 5.37 | 0.0016185
337 | 18.45 | 3.38 | 0.0010187
337.5 | 17.2 | 2.13 | 0.00064197
338 | 17.88 | 2.81 | 0.00084691
338.5 | 15.46 | 0.39 | 0.00011754
339 | 16.43 | 1.36 | 0.00040989
339.5 | 17.61 | 2.54 | 0.00076554
340 | 18.75 | 3.68 | 0.0011091
340.5 | 18.73 | 3.66 | 0.0011031
341 | 18.54 | 3.47 | 0.0010458
341.5 | 17.41 | 2.34 | 0.00070526
342 | 17.4 | 2.33 | 0.00070225
342.5 | 15.07 | 0 | 0
343 | 19.07 | 4 | 0.0012056
343.5 | 18.74 | 3.67 | 0.0011061
344 | 15.61 | 0.54 | 0.00016275
344.5 | 17.91 | 2.84 | 0.00085596
345 | 17.57 | 2.5 | 0.00075348
345.5 | 20.98 | 5.91 | 0.0017812
346 | 18.92 | 3.85 | 0.0011604
346.5 | 18.25 | 3.18 | 0.00095843
347 | 18.55 | 3.48 | 0.0010488
347.5 | 20.57 | 5.5 | 0.0016577
348 | 18.99 | 3.92 | 0.0011815
348.5 | 19.03 | 3.96 | 0.0011935
349 | 20.07 | 5 | 0.001507
349.5 | 18.81 | 3.74 | 0.0011272
350 | 18.07 | 3 | 0.00090418
350.5 | 19.07 | 4 | 0.0012056
351 | 19.07 | 4 | 0.0012056
351.5 | 17.14 | 2.07 | 0.00062388
352 | 18.67 | 3.6 | 0.001085
352.5 | 19.11 | 4.04 | 0.0012176
353 | 19.54 | 4.47 | 0.0013472
353.5 | 21.42 | 6.35 | 0.0019138
354 | 21.72 | 6.65 | 0.0020043
354.5 | 22.07 | 7 | 0.0021097
355 | 22.91 | 7.84 | 0.0023629
355.5 | 22.24 | 7.17 | 0.002161
356 | 23.56 | 8.49 | 0.0025588
356.5 | 22.4 | 7.33 | 0.0022092
357 | 21.73 | 6.66 | 0.0020073
357.5 | 21.1 | 6.03 | 0.0018174
358 | 23.6 | 8.53 | 0.0025709
358.5 | 24.92 | 9.85 | 0.0029687
359 | 24.17 | 9.1 | 0.0027427
359.5 | 27.44 | 12.37 | 0.0037282
360 | 26.64 | 11.57 | 0.0034871
360.5 | 24.19 | 9.12 | 0.0027487
361 | 27.07 | 12 | 0.0036167
361.5 | 28.2 | 13.13 | 0.0039573
362 | 28.57 | 13.5 | 0.0040688
362.5 | 28.14 | 13.07 | 0.0039392
363 | 26.8 | 11.73 | 0.0035353
363.5 | 28.36 | 13.29 | 0.0040055
364 | 30.11 | 15.04 | 0.0045329
364.5 | 31.99 | 16.92 | 0.0050996
365 | 36.99 | 21.92 | 0.0066065
365.5 | 37.81 | 22.74 | 0.0068537
366 | 42.86 | 27.79 | 0.0083757
366.5 | 44.07 | 29 | 0.0087404
367 | 45.41 | 30.34 | 0.0091443
367.5 | 48.34 | 33.27 | 0.010027
368 | 49.69 | 34.62 | 0.010434
368.5 | 53.54 | 38.47 | 0.011595
369 | 58.39 | 43.32 | 0.013056
369.5 | 66.86 | 51.79 | 0.015609
370 | 74.69 | 59.62 | 0.017969
370.5 | 83.39 | 68.32 | 0.020591
371 | 91.16 | 76.09 | 0.022933
371.5 | 102 | 86.93 | 0.0262
372 | 113.8 | 98.73 | 0.029757
372.5 | 126.3 | 111.23 | 0.033524
373 | 146.4 | 131.33 | 0.039582
373.5 | 164.8 | 149.73 | 0.045128
374 | 188.4 | 173.33 | 0.05224
374.5 | 212.6 | 197.53 | 0.059534
375 | 242.7 | 227.63 | 0.068606
375.5 | 274.3 | 259.23 | 0.07813
376 | 309 | 293.93 | 0.088588
376.5 | 346.9 | 331.83 | 0.10001
377 | 396.5 | 381.43 | 0.11496
377.5 | 455.4 | 440.33 | 0.13271
378 | 525.8 | 510.73 | 0.15393
378.5 | 596 | 580.93 | 0.17509
379 | 673.2 | 658.13 | 0.19836
379.5 | 757.3 | 742.23 | 0.2237
380 | 851.3 | 836.23 | 0.25203
380.5 | 962.4 | 947.33 | 0.28552
381 | 1077 | 1061.93 | 0.32006
381.5 | 1206 | 1190.93 | 0.35894
382 | 1338 | 1322.93 | 0.39872
382.5 | 1477 | 1461.93 | 0.44062
383 | 1631 | 1615.93 | 0.48703
383.5 | 1786 | 1770.93 | 0.53375
384 | 1951 | 1935.93 | 0.58348
384.5 | 2116 | 2100.93 | 0.63321
385 | 2288 | 2272.93 | 0.68504
385.5 | 2457 | 2441.93 | 0.73598
386 | 2631 | 2615.93 | 0.78842
386.5 | 2776 | 2760.93 | 0.83212
387 | 2926 | 2910.93 | 0.87733
387.5 | 3062 | 3046.93 | 0.91832
388 | 3171 | 3155.93 | 0.95117
388.5 | 3230 | 3214.93 | 0.96896
389 | 3297 | 3281.93 | 0.98915
389.5 | 3333 | 3317.93 | 1
390 | 3326 | 3310.93 | 0.99789
390.5 | 3289 | 3273.93 | 0.98674
391 | 3247 | 3231.93 | 0.97408
391.5 | 3152 | 3136.93 | 0.94545
392 | 3009 | 2993.93 | 0.90235
392.5 | 2883 | 2867.93 | 0.86437
393 | 2750 | 2734.93 | 0.82429
393.5 | 2611 | 2595.93 | 0.78239
394 | 2471 | 2455.93 | 0.7402
394.5 | 2332 | 2316.93 | 0.69831
395 | 2191 | 2175.93 | 0.65581
395.5 | 2057 | 2041.93 | 0.61542
396 | 1901 | 1885.93 | 0.56841
396.5 | 1764 | 1748.93 | 0.52711
397 | 1637 | 1621.93 | 0.48884
397.5 | 1519 | 1503.93 | 0.45327
398 | 1404 | 1388.93 | 0.41861
398.5 | 1300 | 1284.93 | 0.38727
399 | 1197 | 1181.93 | 0.35623
399.5 | 1101 | 1085.93 | 0.32729
400 | 1019 | 1003.93 | 0.30258
400.5 | 931.6 | 916.53 | 0.27624
401 | 852 | 836.93 | 0.25224
401.5 | 788.5 | 773.43 | 0.23311
402 | 724.3 | 709.23 | 0.21376
402.5 | 662.3 | 647.23 | 0.19507
403 | 607.3 | 592.23 | 0.17849
403.5 | 563.6 | 548.53 | 0.16532
404 | 519.3 | 504.23 | 0.15197
404.5 | 475.9 | 460.83 | 0.13889
405 | 438.4 | 423.33 | 0.12759
405.5 | 406.1 | 391.03 | 0.11785
406 | 376.6 | 361.53 | 0.10896
406.5 | 352.7 | 337.63 | 0.10176
407 | 330.9 | 315.83 | 0.095189
407.5 | 312.6 | 297.53 | 0.089673
408 | 291.7 | 276.63 | 0.083374
408.5 | 270.6 | 255.53 | 0.077015
409 | 250.1 | 235.03 | 0.070836
409.5 | 235.5 | 220.43 | 0.066436
410 | 221.2 | 206.13 | 0.062126
410.5 | 207.3 | 192.23 | 0.057937
411 | 197.1 | 182.03 | 0.054863
411.5 | 188 | 172.93 | 0.05212
412 | 180.9 | 165.83 | 0.04998
412.5 | 168.5 | 153.43 | 0.046243
413 | 153.7 | 138.63 | 0.041782
413.5 | 143.5 | 128.43 | 0.038708
414 | 136.3 | 121.23 | 0.036538
414.5 | 128.4 | 113.33 | 0.034157
415 | 122.3 | 107.23 | 0.032318
415.5 | 116.1 | 101.03 | 0.03045
416 | 109.6 | 94.53 | 0.028491
416.5 | 103.1 | 88.03 | 0.026532
417 | 98.26 | 83.19 | 0.025073
417.5 | 93.27 | 78.2 | 0.023569
418 | 91.01 | 75.94 | 0.022888
418.5 | 85.71 | 70.64 | 0.02129
419 | 78.52 | 63.45 | 0.019123
419.5 | 77.34 | 62.27 | 0.018768
420 | 71.27 | 56.2 | 0.016938
420.5 | 67.58 | 52.51 | 0.015826
421 | 67.23 | 52.16 | 0.015721
421.5 | 64.3 | 49.23 | 0.014838
422 | 60.99 | 45.92 | 0.01384
422.5 | 60.57 | 45.5 | 0.013713
423 | 58.67 | 43.6 | 0.013141
423.5 | 52.03 | 36.96 | 0.011139
424 | 51.55 | 36.48 | 0.010995
424.5 | 49.44 | 34.37 | 0.010359
425 | 49.63 | 34.56 | 0.010416
425.5 | 49.65 | 34.58 | 0.010422
426 | 45.59 | 30.52 | 0.0091985
426.5 | 43.14 | 28.07 | 0.0084601
427 | 40.96 | 25.89 | 0.0078031
427.5 | 40.84 | 25.77 | 0.0077669
428 | 41.57 | 26.5 | 0.0079869
428.5 | 39.92 | 24.85 | 0.0074896
429 | 39.57 | 24.5 | 0.0073841
429.5 | 39.81 | 24.74 | 0.0074565
430 | 37.32 | 22.25 | 0.006706
430.5 | 35.72 | 20.65 | 0.0062238
431 | 31.72 | 16.65 | 0.0050182
431.5 | 33.12 | 18.05 | 0.0054401
432 | 34.47 | 19.4 | 0.005847
432.5 | 33.57 | 18.5 | 0.0055758
433 | 34.02 | 18.95 | 0.0057114
433.5 | 31.92 | 16.85 | 0.0050785
434 | 29.08 | 14.01 | 0.0042225
434.5 | 27.24 | 12.17 | 0.0036679
435 | 29.35 | 14.28 | 0.0043039
435.5 | 28.68 | 13.61 | 0.004102
436 | 27.41 | 12.34 | 0.0037192
436.5 | 27.54 | 12.47 | 0.0037584
437 | 26.86 | 11.79 | 0.0035534
437.5 | 25.3 | 10.23 | 0.0030832
438 | 26.02 | 10.95 | 0.0033003
438.5 | 25.35 | 10.28 | 0.0030983
439 | 24.84 | 9.77 | 0.0029446
439.5 | 27.9 | 12.83 | 0.0038669
440 | 26.2 | 11.13 | 0.0033545
440.5 | 24.58 | 9.51 | 0.0028662
441 | 24.77 | 9.7 | 0.0029235
441.5 | 22.76 | 7.69 | 0.0023177
442 | 25.02 | 9.95 | 0.0029989
442.5 | 23.7 | 8.63 | 0.002601
443 | 22.01 | 6.94 | 0.0020917
443.5 | 21.02 | 5.95 | 0.0017933
444 | 20.71 | 5.64 | 0.0016999
444.5 | 18.9 | 3.83 | 0.0011543
445 | 20.73 | 5.66 | 0.0017059
445.5 | 22.12 | 7.05 | 0.0021248
446 | 21.8 | 6.73 | 0.0020284
446.5 | 20.61 | 5.54 | 0.0016697
447 | 21.55 | 6.48 | 0.001953
447.5 | 19.05 | 3.98 | 0.0011995
448 | 23.31 | 8.24 | 0.0024835
448.5 | 22.66 | 7.59 | 0.0022876
449 | 21.57 | 6.5 | 0.0019591
449.5 | 21.43 | 6.36 | 0.0019169
450 | 20.99 | 5.92 | 0.0017842
450.5 | 19.83 | 4.76 | 0.0014346
451 | 19.89 | 4.82 | 0.0014527
451.5 | 17.97 | 2.9 | 0.00087404
452 | 17.07 | 2 | 0.00060279
452.5 | 18.47 | 3.4 | 0.0010247
453 | 18.25 | 3.18 | 0.00095843
453.5 | 20.12 | 5.05 | 0.001522
454 | 18.27 | 3.2 | 0.00096446
454.5 | 19.38 | 4.31 | 0.001299
455 | 20.51 | 5.44 | 0.0016396
455.5 | 19.07 | 4 | 0.0012056
456 | 19.51 | 4.44 | 0.0013382
456.5 | 20.26 | 5.19 | 0.0015642
457 | 21.04 | 5.97 | 0.0017993
457.5 | 20.31 | 5.24 | 0.0015793
458 | 20.99 | 5.92 | 0.0017842
458.5 | 20.56 | 5.49 | 0.0016546
459 | 19.35 | 4.28 | 0.00129
459.5 | 18.64 | 3.57 | 0.001076
460 | 18.78 | 3.71 | 0.0011182
460.5 | 17.36 | 2.29 | 0.00069019
461 | 17.42 | 2.35 | 0.00070827
461.5 | 18.15 | 3.08 | 0.00092829
462 | 17.57 | 2.5 | 0.00075348
462.5 | 17.57 | 2.5 | 0.00075348
463 | 17.57 | 2.5 | 0.00075348
463.5 | 16.92 | 1.85 | 0.00055758
464 | 19.07 | 4 | 0.0012056
464.5 | 19.35 | 4.28 | 0.00129
465 | 19.22 | 4.15 | 0.0012508
465.5 | 18.11 | 3.04 | 0.00091623
466 | 21.19 | 6.12 | 0.0018445
466.5 | 20.94 | 5.87 | 0.0017692
467 | 18.96 | 3.89 | 0.0011724
467.5 | 20.16 | 5.09 | 0.0015341
468 | 19.4 | 4.33 | 0.001305
468.5 | 17.96 | 2.89 | 0.00087103
469 | 17.98 | 2.91 | 0.00087705
469.5 | 17.51 | 2.44 | 0.0007354
470 | 17.7 | 2.63 | 0.00079266
470.5 | 19.28 | 4.21 | 0.0012689
471 | 19.78 | 4.71 | 0.0014196
471.5 | 21.57 | 6.5 | 0.0019591
472 | 21.57 | 6.5 | 0.0019591
472.5 | 20.57 | 5.5 | 0.0016577
473 | 19.76 | 4.69 | 0.0014135
473.5 | 20.54 | 5.47 | 0.0016486
474 | 18.41 | 3.34 | 0.0010067
474.5 | 16.98 | 1.91 | 0.00057566
475 | 17.72 | 2.65 | 0.00079869
475.5 | 18.07 | 3 | 0.00090418
476 | 19.07 | 4 | 0.0012056
476.5 | 17.18 | 2.11 | 0.00063594
477 | 17.07 | 2 | 0.00060279
477.5 | 16.04 | 0.97 | 0.00029235
478 | 17.47 | 2.4 | 0.00072334
478.5 | 19.37 | 4.3 | 0.001296
479 | 19.92 | 4.85 | 0.0014618
479.5 | 19.34 | 4.27 | 0.0012869
480 | 18.31 | 3.24 | 0.00097651
480.5 | 17.39 | 2.32 | 0.00069923
481 | 16.57 | 1.5 | 0.00045209
481.5 | 17.45 | 2.38 | 0.00071731
482 | 15.81 | 0.74 | 0.00022303
482.5 | 16.54 | 1.47 | 0.00044305
483 | 17.73 | 2.66 | 0.0008017
483.5 | 16.57 | 1.5 | 0.00045209
484 | 18.21 | 3.14 | 0.00094637
484.5 | 16.48 | 1.41 | 0.00042496
485 | 19.01 | 3.94 | 0.0011875
485.5 | 19.56 | 4.49 | 0.0013533
486 | 18.82 | 3.75 | 0.0011302
486.5 | 20.28 | 5.21 | 0.0015703
487 | 19.57 | 4.5 | 0.0013563
487.5 | 19.57 | 4.5 | 0.0013563
488 | 16.29 | 1.22 | 0.0003677
488.5 | 16.05 | 0.98 | 0.00029536
489 | 19.26 | 4.19 | 0.0012628
489.5 | 19.42 | 4.35 | 0.0013111
490 | 18.32 | 3.25 | 0.00097953
490.5 | 17.75 | 2.68 | 0.00080773
491 | 18.24 | 3.17 | 0.00095541
491.5 | 19.57 | 4.5 | 0.0013563
492 | 18.11 | 3.04 | 0.00091623
492.5 | 15.11 | 0.04 | 1.2056e-05
493 | 16.57 | 1.5 | 0.00045209
493.5 | 17.07 | 2 | 0.00060279
494 | 18.11 | 3.04 | 0.00091623
494.5 | 17.82 | 2.75 | 0.00082883
495 | 17.74 | 2.67 | 0.00080472
495.5 | 17.27 | 2.2 | 0.00066306
496 | 19.27 | 4.2 | 0.0012658
496.5 | 17.02 | 1.95 | 0.00058772
497 | 16.48 | 1.41 | 0.00042496
497.5 | 15.42 | 0.35 | 0.00010549
498 | 14.63 | 0 | 0
498.5 | 17.63 | 2.56 | 0.00077157
499 | 21.41 | 6.34 | 0.0019108
499.5 | 17.32 | 2.25 | 0.00067813
500 | 21.44 | 6.37 | 0.0019199
500.5 | 18.35 | 3.28 | 0.00098857
501 | 16.71 | 1.64 | 0.00049428
501.5 | 17.88 | 2.81 | 0.00084691
502 | 19.25 | 4.18 | 0.0012598
502.5 | 18.92 | 3.85 | 0.0011604
503 | 17.41 | 2.34 | 0.00070526
503.5 | 17.83 | 2.76 | 0.00083184
504 | 16.71 | 1.64 | 0.00049428
504.5 | 18.94 | 3.87 | 0.0011664
505 | 21.55 | 6.48 | 0.001953
505.5 | 20.19 | 5.12 | 0.0015431
506 | 17.57 | 2.5 | 0.00075348
506.5 | 17.11 | 2.04 | 0.00061484
507 | 17.3 | 2.23 | 0.00067211
507.5 | 16.07 | 1 | 0.00030139
508 | 15.34 | 0.27 | 8.1376e-05
508.5 | 15.53 | 0.46 | 0.00013864
509 | 15.07 | 0 | 0
509.5 | 16.9 | 1.83 | 0.00055155
510 | 18.46 | 3.39 | 0.0010217
510.5 | 18.2 | 3.13 | 0.00094336
511 | 14.24 | 0 | 0
511.5 | 14.98 | 0 | 0
512 | 15.87 | 0.8 | 0.00024111
512.5 | 18.9 | 3.83 | 0.0011543
513 | 20.45 | 5.38 | 0.0016215
513.5 | 21.94 | 6.87 | 0.0020706
514 | 18.18 | 3.11 | 0.00093733
514.5 | 17.53 | 2.46 | 0.00074143
515 | 17.16 | 2.09 | 0.00062991
515.5 | 17.57 | 2.5 | 0.00075348
516 | 17.49 | 2.42 | 0.00072937
516.5 | 20.38 | 5.31 | 0.0016004
517 | 16.12 | 1.05 | 0.00031646
517.5 | 16.57 | 1.5 | 0.00045209
518 | 17.64 | 2.57 | 0.00077458
518.5 | 18.57 | 3.5 | 0.0010549
519 | 17.48 | 2.41 | 0.00072636
519.5 | 16.36 | 1.29 | 0.0003888
520 | 17.55 | 2.48 | 0.00074745
520.5 | 16.07 | 1 | 0.00030139
521 | 18.54 | 3.47 | 0.0010458
521.5 | 18.57 | 3.5 | 0.0010549
522 | 18.09 | 3.02 | 0.00091021
522.5 | 17.84 | 2.77 | 0.00083486
523 | 16.63 | 1.56 | 0.00047017
523.5 | 17.57 | 2.5 | 0.00075348
524 | 16.18 | 1.11 | 0.00033455
524.5 | 16.7 | 1.63 | 0.00049127
525 | 15.3 | 0.23 | 6.932e-05
525.5 | 18.57 | 3.5 | 0.0010549
526 | 19.02 | 3.95 | 0.0011905
526.5 | 20.26 | 5.19 | 0.0015642
527 | 19.69 | 4.62 | 0.0013924
527.5 | 19.38 | 4.31 | 0.001299
528 | 17.77 | 2.7 | 0.00081376
528.5 | 17.89 | 2.82 | 0.00084993
529 | 15.85 | 0.78 | 0.00023509
529.5 | 17 | 1.93 | 0.00058169
530 | 17.63 | 2.56 | 0.00077157
530.5 | 17.07 | 2 | 0.00060279
531 | 17.92 | 2.85 | 0.00085897
531.5 | 18.55 | 3.48 | 0.0010488
532 | 15.03 | 0 | 0
532.5 | 18.2 | 3.13 | 0.00094336
533 | 17.42 | 2.35 | 0.00070827
533.5 | 19.09 | 4.02 | 0.0012116
534 | 18.37 | 3.3 | 0.0009946
534.5 | 18.63 | 3.56 | 0.001073
535 | 17.15 | 2.08 | 0.0006269
535.5 | 16.89 | 1.82 | 0.00054853
536 | 16.14 | 1.07 | 0.00032249
536.5 | 17.39 | 2.32 | 0.00069923
537 | 17.5 | 2.43 | 0.00073238
537.5 | 18.38 | 3.31 | 0.00099761
538 | 17.19 | 2.12 | 0.00063895
538.5 | 15.99 | 0.92 | 0.00027728
539 | 14.18 | 0 | 0
539.5 | 16.17 | 1.1 | 0.00033153
540 | 17.98 | 2.91 | 0.00087705
540.5 | 19.57 | 4.5 | 0.0013563
541 | 19.57 | 4.5 | 0.0013563
541.5 | 19.07 | 4 | 0.0012056
542 | 18.6 | 3.53 | 0.0010639
542.5 | 14.7 | 0 | 0
543 | 14.52 | 0 | 0
543.5 | 18.05 | 2.98 | 0.00089815
544 | 17.58 | 2.51 | 0.0007565
544.5 | 18.08 | 3.01 | 0.00090719
545 | 19.05 | 3.98 | 0.0011995
545.5 | 18.87 | 3.8 | 0.0011453
546 | 16.98 | 1.91 | 0.00057566
546.5 | 14.51 | 0 | 0
547 | 15.65 | 0.58 | 0.00017481
547.5 | 16.57 | 1.5 | 0.00045209
548 | 15.29 | 0.22 | 6.6306e-05
548.5 | 18.64 | 3.57 | 0.001076
549 | 18.42 | 3.35 | 0.0010097
549.5 | 18.24 | 3.17 | 0.00095541
550 | 18.16 | 3.09 | 0.0009313
550.5 | 15.4 | 0.33 | 9.946e-05
551 | 16.01 | 0.94 | 0.00028331
551.5 | 18.92 | 3.85 | 0.0011604
552 | 20.57 | 5.5 | 0.0016577
552.5 | 19.78 | 4.71 | 0.0014196
553 | 18.29 | 3.22 | 0.00097048
553.5 | 16.57 | 1.5 | 0.00045209
554 | 16.14 | 1.07 | 0.00032249
554.5 | 16.31 | 1.24 | 0.00037373
555 | 19.18 | 4.11 | 0.0012387
555.5 | 20.54 | 5.47 | 0.0016486
556 | 19.61 | 4.54 | 0.0013683
556.5 | 20.55 | 5.48 | 0.0016516
557 | 16.06 | 0.99 | 0.00029838
557.5 | 17.53 | 2.46 | 0.00074143
558 | 16 | 0.93 | 0.0002803
558.5 | 16.52 | 1.45 | 0.00043702
559 | 16.38 | 1.31 | 0.00039482
559.5 | 17.3 | 2.23 | 0.00067211
560 | 18.23 | 3.16 | 0.0009524
560.5 | 18.46 | 3.39 | 0.0010217
561 | 19.57 | 4.5 | 0.0013563
561.5 | 16.07 | 1 | 0.00030139
562 | 16.88 | 1.81 | 0.00054552
562.5 | 15.87 | 0.8 | 0.00024111
563 | 15.45 | 0.38 | 0.00011453
563.5 | 17.07 | 2 | 0.00060279
564 | 18.5 | 3.43 | 0.0010338
564.5 | 16.83 | 1.76 | 0.00053045
565 | 17.58 | 2.51 | 0.0007565
565.5 | 18.35 | 3.28 | 0.00098857
566 | 17.47 | 2.4 | 0.00072334
566.5 | 17.53 | 2.46 | 0.00074143
567 | 18.13 | 3.06 | 0.00092226
567.5 | 15.36 | 0.29 | 8.7404e-05
568 | 16.2 | 1.13 | 0.00034057
568.5 | 16.97 | 1.9 | 0.00057265
569 | 19.07 | 4 | 0.0012056
569.5 | 18.07 | 3 | 0.00090418
570 | 18.86 | 3.79 | 0.0011423
570.5 | 16.64 | 1.57 | 0.00047319
571 | 17.58 | 2.51 | 0.0007565
571.5 | 17.65 | 2.58 | 0.00077759
572 | 18.18 | 3.11 | 0.00093733
572.5 | 18.29 | 3.22 | 0.00097048
573 | 15.54 | 0.47 | 0.00014165
573.5 | 14.57 | 0 | 0
574 | 15.35 | 0.28 | 8.439e-05
574.5 | 15.57 | 0.5 | 0.0001507
575 | 14.7 | 0 | 0
575.5 | 15.51 | 0.44 | 0.00013261
576 | 15.04 | 0 | 0
576.5 | 15.81 | 0.74 | 0.00022303
577 | 17 | 1.93 | 0.00058169
577.5 | 17.01 | 1.94 | 0.0005847
578 | 18.07 | 3 | 0.00090418
578.5 | 16.98 | 1.91 | 0.00057566
579 | 17.13 | 2.06 | 0.00062087
579.5 | 15.64 | 0.57 | 0.00017179
580 | 13.94 | 0 | 0
580.5 | 14.18 | 0 | 0
581 | 18.82 | 3.75 | 0.0011302
581.5 | 17.54 | 2.47 | 0.00074444
582 | 17.07 | 2 | 0.00060279
582.5 | 17.3 | 2.23 | 0.00067211
583 | 14.66 | 0 | 0
583.5 | 16.86 | 1.79 | 0.00053949
584 | 18.84 | 3.77 | 0.0011363
584.5 | 20.57 | 5.5 | 0.0016577
585 | 18.64 | 3.57 | 0.001076
585.5 | 15.46 | 0.39 | 0.00011754
586 | 16.07 | 1 | 0.00030139
586.5 | 16.72 | 1.65 | 0.0004973
587 | 16.82 | 1.75 | 0.00052744
587.5 | 15.23 | 0.16 | 4.8223e-05
588 | 18.24 | 3.17 | 0.00095541
588.5 | 14.5 | 0 | 0
589 | 14.63 | 0 | 0
589.5 | 16.98 | 1.91 | 0.00057566
590 | 15.47 | 0.4 | 0.00012056
590.5 | 15.9 | 0.83 | 0.00025016
591 | 17.65 | 2.58 | 0.00077759
591.5 | 16.76 | 1.69 | 0.00050935
592 | 14.32 | 0 | 0
592.5 | 15.9 | 0.83 | 0.00025016
593 | 17.05 | 1.98 | 0.00059676
593.5 | 15.28 | 0.21 | 6.3292e-05
594 | 15.68 | 0.61 | 0.00018385
594.5 | 13.57 | 0 | 0
595 | 13.87 | 0 | 0
595.5 | 16.32 | 1.25 | 0.00037674
596 | 15.07 | 0 | 0
596.5 | 18.04 | 2.97 | 0.00089514
597 | 15.67 | 0.6 | 0.00018084
597.5 | 16.9 | 1.83 | 0.00055155
598 | 14.57 | 0 | 0
598.5 | 11.91 | 0 | 0
599 | 14.74 | 0 | 0
599.5 | 15.34 | 0.27 | 8.1376e-05
600 | 14.44 | 0 | 0
600.5 | 16.75 | 1.68 | 0.00050634
601 | 14.79 | 0 | 0
601.5 | 12.87 | 0 | 0
602 | 13.07 | 0 | 0
602.5 | 14.52 | 0 | 0
603 | 12.67 | 0 | 0
603.5 | 15.07 | 0 | 0
604 | 13.99 | 0 | 0
604.5 | 14.47 | 0 | 0
605 | 13.07 | 0 | 0
605.5 | 12.78 | 0 | 0
606 | 14.89 | 0 | 0
606.5 | 13.69 | 0 | 0
607 | 14.45 | 0 | 0
607.5 | 13.25 | 0 | 0
608 | 13.6 | 0 | 0
608.5 | 14.06 | 0 | 0
609 | 12.66 | 0 | 0
609.5 | 11.76 | 0 | 0
610 | 12.96 | 0 | 0
610.5 | 13.2 | 0 | 0
611 | 14.01 | 0 | 0
611.5 | 13.79 | 0 | 0
612 | 12.99 | 0 | 0
612.5 | 12.57 | 0 | 0
613 | 11.91 | 0 | 0
613.5 | 13.04 | 0 | 0
614 | 13.53 | 0 | 0
614.5 | 12.5 | 0 | 0
615 | 13.9 | 0 | 0
615.5 | 12.23 | 0 | 0
616 | 11.78 | 0 | 0
616.5 | 12.07 | 0 | 0
617 | 14.7 | 0 | 0
617.5 | 14.1 | 0 | 0
618 | 14.74 | 0 | 0
618.5 | 16.54 | 1.47 | 0.00044305
619 | 12.49 | 0 | 0
619.5 | 13.44 | 0 | 0
620 | 15.95 | 0.88 | 0.00026523
620.5 | 13.28 | 0 | 0
621 | 13.12 | 0 | 0
621.5 | 15.57 | 0.5 | 0.0001507
622 | 14.12 | 0 | 0
622.5 | 12.86 | 0 | 0
623 | 12.77 | 0 | 0
623.5 | 15.55 | 0.48 | 0.00014467
624 | 11.95 | 0 | 0
624.5 | 14.46 | 0 | 0
625 | 14.49 | 0 | 0
625.5 | 12.8 | 0 | 0
626 | 12.7 | 0 | 0
626.5 | 13.21 | 0 | 0
627 | 12.28 | 0 | 0
627.5 | 11.57 | 0 | 0
628 | 14.31 | 0 | 0
628.5 | 13.07 | 0 | 0
629 | 15.34 | 0.27 | 8.1376e-05
629.5 | 15.38 | 0.31 | 9.3432e-05
630 | 13.58 | 0 | 0
630.5 | 10.57 | 0 | 0
631 | 11.84 | 0 | 0
631.5 | 13.2 | 0 | 0
632 | 14.47 | 0 | 0
632.5 | 14.38 | 0 | 0
633 | 13.65 | 0 | 0
633.5 | 15.39 | 0.32 | 9.6446e-05
634 | 14.07 | 0 | 0
634.5 | 12.87 | 0 | 0
635 | 13.5 | 0 | 0
635.5 | 15.07 | 0 | 0
636 | 12.37 | 0 | 0
636.5 | 10.81 | 0 | 0
637 | 13.79 | 0 | 0
637.5 | 12.54 | 0 | 0
638 | 13.04 | 0 | 0
638.5 | 13.42 | 0 | 0
639 | 15.08 | 0.01 | 3.0139e-06
639.5 | 14.88 | 0 | 0
640 | 12.3 | 0 | 0
640.5 | 13.29 | 0 | 0
641 | 13.89 | 0 | 0
641.5 | 14.66 | 0 | 0
642 | 16.03 | 0.96 | 0.00028934
642.5 | 16.09 | 1.02 | 0.00030742
643 | 15.23 | 0.16 | 4.8223e-05
643.5 | 13.18 | 0 | 0
644 | 13.87 | 0 | 0
644.5 | 16.22 | 1.15 | 0.0003466
645 | 15.94 | 0.87 | 0.00026221
645.5 | 13.83 | 0 | 0
646 | 14.49 | 0 | 0
646.5 | 13.28 | 0 | 0
647 | 12.38 | 0 | 0
647.5 | 14.77 | 0 | 0
648 | 16.71 | 1.64 | 0.00049428
648.5 | 16.75 | 1.68 | 0.00050634
649 | 14.58 | 0 | 0
649.5 | 15.73 | 0.66 | 0.00019892
650 | 16.07 | 1 | 0.00030139