## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -27.89 | 0 | 0
246.5 | -70.3 | 0 | 0
247 | 0.21 | 0 | 0
247.5 | 25.6 | 25.39 | 0.0069432
248 | 6.442 | 6.232 | 0.0017042
248.5 | -11.33 | 0 | 0
249 | -25.91 | 0 | 0
249.5 | -39.18 | 0 | 0
250 | -41.36 | 0 | 0
250.5 | -40.18 | 0 | 0
251 | -32.46 | 0 | 0
251.5 | -29.13 | 0 | 0
252 | -30.16 | 0 | 0
252.5 | -31.95 | 0 | 0
253 | -31.12 | 0 | 0
253.5 | -31.08 | 0 | 0
254 | -31.02 | 0 | 0
254.5 | -31.03 | 0 | 0
255 | -29.92 | 0 | 0
255.5 | -29.36 | 0 | 0
256 | -28.01 | 0 | 0
256.5 | -28.66 | 0 | 0
257 | -28.97 | 0 | 0
257.5 | -29.86 | 0 | 0
258 | -31.9 | 0 | 0
258.5 | -29.87 | 0 | 0
259 | -30 | 0 | 0
259.5 | -30.73 | 0 | 0
260 | -27.58 | 0 | 0
260.5 | -29.73 | 0 | 0
261 | -30.67 | 0 | 0
261.5 | -31.85 | 0 | 0
262 | -32.7 | 0 | 0
262.5 | -33.34 | 0 | 0
263 | -30.76 | 0 | 0
263.5 | -30.09 | 0 | 0
264 | -27.87 | 0 | 0
264.5 | -28.99 | 0 | 0
265 | -30.75 | 0 | 0
265.5 | -31.74 | 0 | 0
266 | -30.78 | 0 | 0
266.5 | -32.33 | 0 | 0
267 | -30.42 | 0 | 0
267.5 | -30.42 | 0 | 0
268 | -30.97 | 0 | 0
268.5 | -28.76 | 0 | 0
269 | -29.82 | 0 | 0
269.5 | -32.41 | 0 | 0
270 | -30.47 | 0 | 0
270.5 | -31.91 | 0 | 0
271 | -29.62 | 0 | 0
271.5 | -31.42 | 0 | 0
272 | -31.56 | 0 | 0
272.5 | -28.3 | 0 | 0
273 | -28.03 | 0 | 0
273.5 | -30.42 | 0 | 0
274 | -31.53 | 0 | 0
274.5 | -30.96 | 0 | 0
275 | -30.91 | 0 | 0
275.5 | -29.92 | 0 | 0
276 | -29.91 | 0 | 0
276.5 | -30.76 | 0 | 0
277 | -29.72 | 0 | 0
277.5 | -29.27 | 0 | 0
278 | -29.8 | 0 | 0
278.5 | -28.78 | 0 | 0
279 | -29.29 | 0 | 0
279.5 | -31.26 | 0 | 0
280 | -31.65 | 0 | 0
280.5 | -29.71 | 0 | 0
281 | -29.69 | 0 | 0
281.5 | -29.1 | 0 | 0
282 | -30.3 | 0 | 0
282.5 | -29.75 | 0 | 0
283 | -27.68 | 0 | 0
283.5 | -27.22 | 0 | 0
284 | -26.23 | 0 | 0
284.5 | -26.69 | 0 | 0
285 | -27.36 | 0 | 0
285.5 | -27.45 | 0 | 0
286 | -28.06 | 0 | 0
286.5 | -30.17 | 0 | 0
287 | -27.32 | 0 | 0
287.5 | -30.45 | 0 | 0
288 | -27.46 | 0 | 0
288.5 | -27.8 | 0 | 0
289 | -26.67 | 0 | 0
289.5 | -28.94 | 0 | 0
290 | -29.09 | 0 | 0
290.5 | -28.71 | 0 | 0
291 | -30.76 | 0 | 0
291.5 | -30.38 | 0 | 0
292 | -29.9 | 0 | 0
292.5 | -26.96 | 0 | 0
293 | -27.33 | 0 | 0
293.5 | -28.68 | 0 | 0
294 | -30.05 | 0 | 0
294.5 | -31.62 | 0 | 0
295 | -28.78 | 0 | 0
295.5 | -28.31 | 0 | 0
296 | -28.42 | 0 | 0
296.5 | -30.08 | 0 | 0
297 | -33.34 | 0 | 0
297.5 | -35.29 | 0 | 0
298 | -33.05 | 0 | 0
298.5 | -32.83 | 0 | 0
299 | -30.65 | 0 | 0
299.5 | -31.13 | 0 | 0
300 | -31.5 | 0 | 0
300.5 | -30.52 | 0 | 0
301 | -29.96 | 0 | 0
301.5 | -30.95 | 0 | 0
302 | -32.9 | 0 | 0
302.5 | -30.96 | 0 | 0
303 | -30.97 | 0 | 0
303.5 | -32.14 | 0 | 0
304 | -32.45 | 0 | 0
304.5 | -31.43 | 0 | 0
305 | -32.16 | 0 | 0
305.5 | -32.03 | 0 | 0
306 | -29.94 | 0 | 0
306.5 | -30.1 | 0 | 0
307 | -26.73 | 0 | 0
307.5 | -28.35 | 0 | 0
308 | -28.43 | 0 | 0
308.5 | -28.34 | 0 | 0
309 | -28.26 | 0 | 0
309.5 | -29.64 | 0 | 0
310 | -31.61 | 0 | 0
310.5 | -30.19 | 0 | 0
311 | -27.83 | 0 | 0
311.5 | -27.34 | 0 | 0
312 | -25.94 | 0 | 0
312.5 | -24.54 | 0 | 0
313 | -27.01 | 0 | 0
313.5 | -28.93 | 0 | 0
314 | -29.24 | 0 | 0
314.5 | -26.72 | 0 | 0
315 | -24.51 | 0 | 0
315.5 | -25.58 | 0 | 0
316 | -25.71 | 0 | 0
316.5 | -25.65 | 0 | 0
317 | -25.96 | 0 | 0
317.5 | -26.79 | 0 | 0
318 | -29.38 | 0 | 0
318.5 | -29.93 | 0 | 0
319 | -29.6 | 0 | 0
319.5 | -26.49 | 0 | 0
320 | -28.57 | 0 | 0
320.5 | -28.57 | 0 | 0
321 | -27.57 | 0 | 0
321.5 | -28.13 | 0 | 0
322 | -27.72 | 0 | 0
322.5 | -29.6 | 0 | 0
323 | -29.14 | 0 | 0
323.5 | -27.86 | 0 | 0
324 | -27.06 | 0 | 0
324.5 | -29.34 | 0 | 0
325 | -27.34 | 0 | 0
325.5 | -24.95 | 0 | 0
326 | -27.46 | 0 | 0
326.5 | -29.3 | 0 | 0
327 | -29.03 | 0 | 0
327.5 | -28.77 | 0 | 0
328 | -29.44 | 0 | 0
328.5 | -31.19 | 0 | 0
329 | -29.3 | 0 | 0
329.5 | -29.97 | 0 | 0
330 | -27.71 | 0 | 0
330.5 | -26.75 | 0 | 0
331 | -27.57 | 0 | 0
331.5 | -27.64 | 0 | 0
332 | -29.92 | 0 | 0
332.5 | -30.79 | 0 | 0
333 | -31.67 | 0 | 0
333.5 | -31.37 | 0 | 0
334 | -28.33 | 0 | 0
334.5 | -28.56 | 0 | 0
335 | -26.83 | 0 | 0
335.5 | -28.1 | 0 | 0
336 | -30.9 | 0 | 0
336.5 | -32.35 | 0 | 0
337 | -30.03 | 0 | 0
337.5 | -30.08 | 0 | 0
338 | -29.99 | 0 | 0
338.5 | -25.75 | 0 | 0
339 | -24.34 | 0 | 0
339.5 | -26.08 | 0 | 0
340 | -28.12 | 0 | 0
340.5 | -26.71 | 0 | 0
341 | -27.54 | 0 | 0
341.5 | -27.08 | 0 | 0
342 | -28.23 | 0 | 0
342.5 | -27.06 | 0 | 0
343 | -27.23 | 0 | 0
343.5 | -25.76 | 0 | 0
344 | -26.53 | 0 | 0
344.5 | -26.38 | 0 | 0
345 | -25.55 | 0 | 0
345.5 | -25.02 | 0 | 0
346 | -25.86 | 0 | 0
346.5 | -25.71 | 0 | 0
347 | -27.5 | 0 | 0
347.5 | -25.21 | 0 | 0
348 | -23.53 | 0 | 0
348.5 | -26.04 | 0 | 0
349 | -24.57 | 0 | 0
349.5 | -24.59 | 0 | 0
350 | -25.66 | 0 | 0
350.5 | -26.22 | 0 | 0
351 | -26.25 | 0 | 0
351.5 | -25.42 | 0 | 0
352 | -24.13 | 0 | 0
352.5 | -21.92 | 0 | 0
353 | -24.18 | 0 | 0
353.5 | -24.9 | 0 | 0
354 | -25.48 | 0 | 0
354.5 | -26.18 | 0 | 0
355 | -22.51 | 0 | 0
355.5 | -23.76 | 0 | 0
356 | -24.1 | 0 | 0
356.5 | -25.04 | 0 | 0
357 | -25.65 | 0 | 0
357.5 | -23.88 | 0 | 0
358 | -23.16 | 0 | 0
358.5 | -24.43 | 0 | 0
359 | -22.67 | 0 | 0
359.5 | -22.62 | 0 | 0
360 | -21.13 | 0 | 0
360.5 | -20.5 | 0 | 0
361 | -21.26 | 0 | 0
361.5 | -22.43 | 0 | 0
362 | -22.22 | 0 | 0
362.5 | -20.78 | 0 | 0
363 | -21.31 | 0 | 0
363.5 | -21.6 | 0 | 0
364 | -24.17 | 0 | 0
364.5 | -24.07 | 0 | 0
365 | -23.26 | 0 | 0
365.5 | -23.35 | 0 | 0
366 | -20.01 | 0 | 0
366.5 | -20.7 | 0 | 0
367 | -23.43 | 0 | 0
367.5 | -25.03 | 0 | 0
368 | -24.73 | 0 | 0
368.5 | -23.23 | 0 | 0
369 | -19.21 | 0 | 0
369.5 | -17.84 | 0 | 0
370 | -19.36 | 0 | 0
370.5 | -18.64 | 0 | 0
371 | -18.71 | 0 | 0
371.5 | -20.74 | 0 | 0
372 | -20.67 | 0 | 0
372.5 | -20.62 | 0 | 0
373 | -16.3 | 0 | 0
373.5 | -14.55 | 0 | 0
374 | -11.92 | 0 | 0
374.5 | -12.28 | 0 | 0
375 | -10.17 | 0 | 0
375.5 | -8.436 | 0 | 0
376 | -7.375 | 0 | 0
376.5 | -2.028 | 0 | 0
377 | 0.05421 | 0 | 0
377.5 | 2.543 | 2.333 | 0.00063799
378 | 4.624 | 4.414 | 0.0012071
378.5 | 8.907 | 8.697 | 0.0023783
379 | 11.96 | 11.75 | 0.0032132
379.5 | 17.09 | 16.88 | 0.0046161
380 | 22.55 | 22.34 | 0.0061092
380.5 | 28.32 | 28.11 | 0.0076871
381 | 36.71 | 36.5 | 0.0099814
381.5 | 43.07 | 42.86 | 0.011721
382 | 52.79 | 52.58 | 0.014379
382.5 | 63.96 | 63.75 | 0.017433
383 | 74.51 | 74.3 | 0.020318
383.5 | 85.25 | 85.04 | 0.023255
384 | 100.2 | 99.99 | 0.027344
384.5 | 117.8 | 117.59 | 0.032157
385 | 134.5 | 134.29 | 0.036723
385.5 | 154.8 | 154.59 | 0.042275
386 | 175.7 | 175.49 | 0.04799
386.5 | 203.8 | 203.59 | 0.055675
387 | 229.8 | 229.59 | 0.062785
387.5 | 262.6 | 262.39 | 0.071754
388 | 300.7 | 300.49 | 0.082173
388.5 | 340.9 | 340.69 | 0.093166
389 | 384.6 | 384.39 | 0.10512
389.5 | 434.3 | 434.09 | 0.11871
390 | 487.8 | 487.59 | 0.13334
390.5 | 548.6 | 548.39 | 0.14996
391 | 614.7 | 614.49 | 0.16804
391.5 | 687.5 | 687.29 | 0.18795
392 | 764.1 | 763.89 | 0.2089
392.5 | 849.4 | 849.19 | 0.23222
393 | 943.6 | 943.39 | 0.25798
393.5 | 1040 | 1039.79 | 0.28435
394 | 1146 | 1145.79 | 0.31333
394.5 | 1260 | 1259.79 | 0.34451
395 | 1382 | 1381.79 | 0.37787
395.5 | 1504 | 1503.79 | 0.41123
396 | 1637 | 1636.79 | 0.4476
396.5 | 1774 | 1773.79 | 0.48507
397 | 1912 | 1911.79 | 0.52281
397.5 | 2050 | 2049.79 | 0.56054
398 | 2190 | 2189.79 | 0.59883
398.5 | 2327 | 2326.79 | 0.63629
399 | 2457 | 2456.79 | 0.67184
399.5 | 2588 | 2587.79 | 0.70767
400 | 2716 | 2715.79 | 0.74267
400.5 | 2839 | 2838.79 | 0.77631
401 | 2958 | 2957.79 | 0.80885
401.5 | 3070 | 3069.79 | 0.83948
402 | 3178 | 3177.79 | 0.86901
402.5 | 3278 | 3277.79 | 0.89636
403 | 3371 | 3370.79 | 0.92179
403.5 | 3456 | 3455.79 | 0.94503
404 | 3526 | 3525.79 | 0.96418
404.5 | 3585 | 3584.79 | 0.98031
405 | 3628 | 3627.79 | 0.99207
405.5 | 3650 | 3649.79 | 0.99809
406 | 3657 | 3656.79 | 1
406.5 | 3648 | 3647.79 | 0.99754
407 | 3619 | 3618.79 | 0.98961
407.5 | 3576 | 3575.79 | 0.97785
408 | 3522 | 3521.79 | 0.96308
408.5 | 3454 | 3453.79 | 0.94449
409 | 3376 | 3375.79 | 0.92316
409.5 | 3290 | 3289.79 | 0.89964
410 | 3198 | 3197.79 | 0.87448
410.5 | 3102 | 3101.79 | 0.84823
411 | 3000 | 2999.79 | 0.82033
411.5 | 2897 | 2896.79 | 0.79217
412 | 2789 | 2788.79 | 0.76263
412.5 | 2679 | 2678.79 | 0.73255
413 | 2564 | 2563.79 | 0.7011
413.5 | 2445 | 2444.79 | 0.66856
414 | 2323 | 2322.79 | 0.6352
414.5 | 2199 | 2198.79 | 0.60129
415 | 2071 | 2070.79 | 0.56629
415.5 | 1945 | 1944.79 | 0.53183
416 | 1823 | 1822.79 | 0.49847
416.5 | 1704 | 1703.79 | 0.46593
417 | 1589 | 1588.79 | 0.43448
417.5 | 1482 | 1481.79 | 0.40522
418 | 1382 | 1381.79 | 0.37787
418.5 | 1292 | 1291.79 | 0.35326
419 | 1205 | 1204.79 | 0.32947
419.5 | 1129 | 1128.79 | 0.30868
420 | 1055 | 1054.79 | 0.28845
420.5 | 983.6 | 983.39 | 0.26892
421 | 919.8 | 919.59 | 0.25147
421.5 | 856 | 855.79 | 0.23403
422 | 795 | 794.79 | 0.21735
422.5 | 737.5 | 737.29 | 0.20162
423 | 683 | 682.79 | 0.18672
423.5 | 633.2 | 632.99 | 0.1731
424 | 586.2 | 585.99 | 0.16025
424.5 | 539.9 | 539.69 | 0.14759
425 | 498.1 | 497.89 | 0.13615
425.5 | 457.9 | 457.69 | 0.12516
426 | 418.8 | 418.59 | 0.11447
426.5 | 380.2 | 379.99 | 0.10391
427 | 350.9 | 350.69 | 0.095901
427.5 | 323.6 | 323.39 | 0.088435
428 | 299.6 | 299.39 | 0.081872
428.5 | 274 | 273.79 | 0.074872
429 | 251.5 | 251.29 | 0.068719
429.5 | 232.3 | 232.09 | 0.063468
430 | 214.4 | 214.19 | 0.058573
430.5 | 199.8 | 199.59 | 0.054581
431 | 183.5 | 183.29 | 0.050123
431.5 | 170.3 | 170.09 | 0.046513
432 | 154.8 | 154.59 | 0.042275
432.5 | 143 | 142.79 | 0.039048
433 | 131.9 | 131.69 | 0.036012
433.5 | 124.3 | 124.09 | 0.033934
434 | 116.7 | 116.49 | 0.031856
434.5 | 108.2 | 107.99 | 0.029531
435 | 96.32 | 96.11 | 0.026283
435.5 | 88.41 | 88.2 | 0.02412
436 | 78.72 | 78.51 | 0.02147
436.5 | 71.13 | 70.92 | 0.019394
437 | 65.02 | 64.81 | 0.017723
437.5 | 62.54 | 62.33 | 0.017045
438 | 54.78 | 54.57 | 0.014923
438.5 | 49.91 | 49.7 | 0.013591
439 | 44.52 | 44.31 | 0.012117
439.5 | 38.21 | 38 | 0.010392
440 | 33.67 | 33.46 | 0.0091501
440.5 | 31.38 | 31.17 | 0.0085239
441 | 28.25 | 28.04 | 0.0076679
441.5 | 22.75 | 22.54 | 0.0061639
442 | 19.33 | 19.12 | 0.0052286
442.5 | 14.9 | 14.69 | 0.0040172
443 | 11.25 | 11.04 | 0.003019
443.5 | 9.968 | 9.758 | 0.0026685
444 | 8.014 | 7.804 | 0.0021341
444.5 | 5.993 | 5.783 | 0.0015814
445 | 4.597 | 4.387 | 0.0011997
445.5 | 2.431 | 2.221 | 0.00060736
446 | -2.209 | 0 | 0
446.5 | -4.864 | 0 | 0
447 | -2.749 | 0 | 0
447.5 | -5.598 | 0 | 0
448 | -5.355 | 0 | 0
448.5 | -6.252 | 0 | 0
449 | -6.604 | 0 | 0
449.5 | -6.167 | 0 | 0
450 | -9.503 | 0 | 0
450.5 | -10.56 | 0 | 0
451 | -12.12 | 0 | 0
451.5 | -14.57 | 0 | 0
452 | -16.07 | 0 | 0
452.5 | -13.65 | 0 | 0
453 | -13.35 | 0 | 0
453.5 | -14.29 | 0 | 0
454 | -16.35 | 0 | 0
454.5 | -16.93 | 0 | 0
455 | -19.43 | 0 | 0
455.5 | -19.01 | 0 | 0
456 | -17.8 | 0 | 0
456.5 | -19.36 | 0 | 0
457 | -21.21 | 0 | 0
457.5 | -19.06 | 0 | 0
458 | -18.78 | 0 | 0
458.5 | -21.35 | 0 | 0
459 | -21.93 | 0 | 0
459.5 | -20.76 | 0 | 0
460 | -20.29 | 0 | 0
460.5 | -22.19 | 0 | 0
461 | -20.34 | 0 | 0
461.5 | -23.88 | 0 | 0
462 | -26.68 | 0 | 0
462.5 | -27.04 | 0 | 0
463 | -24.8 | 0 | 0
463.5 | -27.36 | 0 | 0
464 | -26.17 | 0 | 0
464.5 | -25.4 | 0 | 0
465 | -25.58 | 0 | 0
465.5 | -26.53 | 0 | 0
466 | -29.57 | 0 | 0
466.5 | -29.09 | 0 | 0
467 | -28.66 | 0 | 0
467.5 | -27.32 | 0 | 0
468 | -25.68 | 0 | 0
468.5 | -27.62 | 0 | 0
469 | -28.44 | 0 | 0
469.5 | -30.41 | 0 | 0
470 | -27.58 | 0 | 0
470.5 | -24.45 | 0 | 0
471 | -26.07 | 0 | 0
471.5 | -25.43 | 0 | 0
472 | -29.23 | 0 | 0
472.5 | -27.63 | 0 | 0
473 | -28.23 | 0 | 0
473.5 | -26.79 | 0 | 0
474 | -30.22 | 0 | 0
474.5 | -31.7 | 0 | 0
475 | -30.18 | 0 | 0
475.5 | -29.41 | 0 | 0
476 | -29.12 | 0 | 0
476.5 | -30.6 | 0 | 0
477 | -30.93 | 0 | 0
477.5 | -29 | 0 | 0
478 | -28.06 | 0 | 0
478.5 | -28.3 | 0 | 0
479 | -28.03 | 0 | 0
479.5 | -28.57 | 0 | 0
480 | -28.64 | 0 | 0
480.5 | -29.65 | 0 | 0
481 | -30.53 | 0 | 0
481.5 | -28.58 | 0 | 0
482 | -27.03 | 0 | 0
482.5 | -26.6 | 0 | 0
483 | -29.63 | 0 | 0
483.5 | -30.47 | 0 | 0
484 | -30.87 | 0 | 0
484.5 | -28.63 | 0 | 0
485 | -29.52 | 0 | 0
485.5 | -30.89 | 0 | 0
486 | -31.16 | 0 | 0
486.5 | -29.98 | 0 | 0
487 | -29.05 | 0 | 0
487.5 | -27.58 | 0 | 0
488 | -28.1 | 0 | 0
488.5 | -27.73 | 0 | 0
489 | -28.86 | 0 | 0
489.5 | -27.23 | 0 | 0
490 | -29.53 | 0 | 0
490.5 | -30.29 | 0 | 0
491 | -30.97 | 0 | 0
491.5 | -27.56 | 0 | 0
492 | -29.92 | 0 | 0
492.5 | -30.33 | 0 | 0
493 | -27.9 | 0 | 0
493.5 | -28.34 | 0 | 0
494 | -27.02 | 0 | 0
494.5 | -27.33 | 0 | 0
495 | -27.48 | 0 | 0
495.5 | -26.73 | 0 | 0
496 | -28.6 | 0 | 0
496.5 | -27.95 | 0 | 0
497 | -26.95 | 0 | 0
497.5 | -28.52 | 0 | 0
498 | -29.23 | 0 | 0
498.5 | -31.15 | 0 | 0
499 | -29.37 | 0 | 0
499.5 | -29.91 | 0 | 0
500 | -31.47 | 0 | 0
500.5 | -31.78 | 0 | 0
501 | -28.92 | 0 | 0
501.5 | -26.53 | 0 | 0
502 | -27.81 | 0 | 0
502.5 | -27.82 | 0 | 0
503 | -31.7 | 0 | 0
503.5 | -32.57 | 0 | 0
504 | -31.1 | 0 | 0
504.5 | -29.62 | 0 | 0
505 | -28.8 | 0 | 0
505.5 | -28.94 | 0 | 0
506 | -30.46 | 0 | 0
506.5 | -32.85 | 0 | 0
507 | -33.07 | 0 | 0
507.5 | -32.09 | 0 | 0
508 | -32.18 | 0 | 0
508.5 | -32.17 | 0 | 0
509 | -32.65 | 0 | 0
509.5 | -30.44 | 0 | 0
510 | -28.49 | 0 | 0
510.5 | -28.13 | 0 | 0
511 | -29.86 | 0 | 0
511.5 | -29.72 | 0 | 0
512 | -31.99 | 0 | 0
512.5 | -30.47 | 0 | 0
513 | -29.59 | 0 | 0
513.5 | -29.48 | 0 | 0
514 | -30.43 | 0 | 0
514.5 | -29.11 | 0 | 0
515 | -28.98 | 0 | 0
515.5 | -29.43 | 0 | 0
516 | -29.92 | 0 | 0
516.5 | -28.98 | 0 | 0
517 | -28.79 | 0 | 0
517.5 | -27.21 | 0 | 0
518 | -24.94 | 0 | 0
518.5 | -27.64 | 0 | 0
519 | -29.45 | 0 | 0
519.5 | -28.52 | 0 | 0
520 | -29.39 | 0 | 0
520.5 | -27.38 | 0 | 0
521 | -28.38 | 0 | 0
521.5 | -26.48 | 0 | 0
522 | -25.48 | 0 | 0
522.5 | -28.44 | 0 | 0
523 | -29.56 | 0 | 0
523.5 | -29.02 | 0 | 0
524 | -28.68 | 0 | 0
524.5 | -27.06 | 0 | 0
525 | -27.67 | 0 | 0
525.5 | -29.86 | 0 | 0
526 | -27.77 | 0 | 0
526.5 | -26.91 | 0 | 0
527 | -26.61 | 0 | 0
527.5 | -24.78 | 0 | 0
528 | -24.85 | 0 | 0
528.5 | -24.29 | 0 | 0
529 | -24.98 | 0 | 0
529.5 | -27.36 | 0 | 0
530 | -29.74 | 0 | 0
530.5 | -29.1 | 0 | 0
531 | -30.23 | 0 | 0
531.5 | -30.5 | 0 | 0
532 | -31.44 | 0 | 0
532.5 | -30.15 | 0 | 0
533 | -26.57 | 0 | 0
533.5 | -28.7 | 0 | 0
534 | -28.59 | 0 | 0
534.5 | -27.9 | 0 | 0
535 | -32.91 | 0 | 0
535.5 | -31.36 | 0 | 0
536 | -30.78 | 0 | 0
536.5 | -29.21 | 0 | 0
537 | -29.03 | 0 | 0
537.5 | -29.21 | 0 | 0
538 | -31.55 | 0 | 0
538.5 | -31.11 | 0 | 0
539 | -28.53 | 0 | 0
539.5 | -29.13 | 0 | 0
540 | -27.45 | 0 | 0
540.5 | -29.15 | 0 | 0
541 | -28.67 | 0 | 0
541.5 | -31.62 | 0 | 0
542 | -30.9 | 0 | 0
542.5 | -32.35 | 0 | 0
543 | -30.83 | 0 | 0
543.5 | -29.23 | 0 | 0
544 | -30.68 | 0 | 0
544.5 | -30.64 | 0 | 0
545 | -29.61 | 0 | 0
545.5 | -31.53 | 0 | 0
546 | -32.35 | 0 | 0
546.5 | -31.17 | 0 | 0
547 | -33.41 | 0 | 0
547.5 | -31.89 | 0 | 0
548 | -30.57 | 0 | 0
548.5 | -30.79 | 0 | 0
549 | -31.5 | 0 | 0
549.5 | -31.61 | 0 | 0
550 | -30.15 | 0 | 0
550.5 | -29.3 | 0 | 0
551 | -26.4 | 0 | 0
551.5 | -26.18 | 0 | 0
552 | -29.57 | 0 | 0
552.5 | -27.9 | 0 | 0
553 | -31.8 | 0 | 0
553.5 | -28.72 | 0 | 0
554 | -28.99 | 0 | 0
554.5 | -27.43 | 0 | 0
555 | -28.28 | 0 | 0
555.5 | -29.19 | 0 | 0
556 | -27.26 | 0 | 0
556.5 | -27.26 | 0 | 0
557 | -27.28 | 0 | 0
557.5 | -25.38 | 0 | 0
558 | -28.27 | 0 | 0
558.5 | -27.32 | 0 | 0
559 | -28.01 | 0 | 0
559.5 | -27.13 | 0 | 0
560 | -27.55 | 0 | 0
560.5 | -28.38 | 0 | 0
561 | -29.3 | 0 | 0
561.5 | -28.59 | 0 | 0
562 | -29.46 | 0 | 0
562.5 | -31.35 | 0 | 0
563 | -30.74 | 0 | 0
563.5 | -28.1 | 0 | 0
564 | -28.66 | 0 | 0
564.5 | -27.86 | 0 | 0
565 | -30.98 | 0 | 0
565.5 | -33.18 | 0 | 0
566 | -33.75 | 0 | 0
566.5 | -30.21 | 0 | 0
567 | -30.63 | 0 | 0
567.5 | -30.93 | 0 | 0
568 | -31.92 | 0 | 0
568.5 | -30.46 | 0 | 0
569 | -30.44 | 0 | 0
569.5 | -30.42 | 0 | 0
570 | -30 | 0 | 0
570.5 | -31.35 | 0 | 0
571 | -31.95 | 0 | 0
571.5 | -29.55 | 0 | 0
572 | -30.23 | 0 | 0
572.5 | -31.37 | 0 | 0
573 | -30.63 | 0 | 0
573.5 | -31.28 | 0 | 0
574 | -31.23 | 0 | 0
574.5 | -29.16 | 0 | 0
575 | -29.08 | 0 | 0
575.5 | -28 | 0 | 0
576 | -32.8 | 0 | 0
576.5 | -29.37 | 0 | 0
577 | -30.01 | 0 | 0
577.5 | -30.58 | 0 | 0
578 | -30.25 | 0 | 0
578.5 | -26.26 | 0 | 0
579 | -27.22 | 0 | 0
579.5 | -27.78 | 0 | 0
580 | -28.37 | 0 | 0
580.5 | -30.49 | 0 | 0
581 | -31 | 0 | 0
581.5 | -29.29 | 0 | 0
582 | -28.27 | 0 | 0
582.5 | -28.59 | 0 | 0
583 | -28.69 | 0 | 0
583.5 | -30.85 | 0 | 0
584 | -26.88 | 0 | 0
584.5 | -28.42 | 0 | 0
585 | -29.4 | 0 | 0
585.5 | -30.94 | 0 | 0
586 | -26.77 | 0 | 0
586.5 | -29.52 | 0 | 0
587 | -31.09 | 0 | 0
587.5 | -29.5 | 0 | 0
588 | -29.8 | 0 | 0
588.5 | -28.46 | 0 | 0
589 | -31.93 | 0 | 0
589.5 | -30.34 | 0 | 0
590 | -26.24 | 0 | 0
590.5 | -26.46 | 0 | 0
591 | -26.46 | 0 | 0
591.5 | -28.68 | 0 | 0
592 | -30.56 | 0 | 0
592.5 | -28.98 | 0 | 0
593 | -29.4 | 0 | 0
593.5 | -26.87 | 0 | 0
594 | -24.65 | 0 | 0
594.5 | -27.74 | 0 | 0
595 | -30.33 | 0 | 0
595.5 | -32.33 | 0 | 0
596 | -32.88 | 0 | 0
596.5 | -30.82 | 0 | 0
597 | -29.29 | 0 | 0
597.5 | -29.11 | 0 | 0
598 | -30 | 0 | 0
598.5 | -31.39 | 0 | 0
599 | -30.29 | 0 | 0
599.5 | -31.6 | 0 | 0
600 | -32.06 | 0 | 0
600.5 | -30.5 | 0 | 0
601 | -32.39 | 0 | 0
601.5 | -33.19 | 0 | 0
602 | -33.46 | 0 | 0
602.5 | -31.31 | 0 | 0
603 | -30.8 | 0 | 0
603.5 | -31.45 | 0 | 0
604 | -30.14 | 0 | 0
604.5 | -30.38 | 0 | 0
605 | -29.75 | 0 | 0
605.5 | -30.78 | 0 | 0
606 | -29.66 | 0 | 0
606.5 | -28.4 | 0 | 0
607 | -30.19 | 0 | 0
607.5 | -31.67 | 0 | 0
608 | -30.17 | 0 | 0
608.5 | -31.49 | 0 | 0
609 | -32.4 | 0 | 0
609.5 | -31.89 | 0 | 0
610 | -31.98 | 0 | 0
610.5 | -29.92 | 0 | 0
611 | -32.14 | 0 | 0
611.5 | -31.78 | 0 | 0
612 | -32.9 | 0 | 0
612.5 | -31.93 | 0 | 0
613 | -29.16 | 0 | 0
613.5 | -28.19 | 0 | 0
614 | -29.01 | 0 | 0
614.5 | -27.89 | 0 | 0
615 | -29.9 | 0 | 0
615.5 | -30.92 | 0 | 0
616 | -31.96 | 0 | 0
616.5 | -30.38 | 0 | 0
617 | -28.8 | 0 | 0
617.5 | -28.77 | 0 | 0
618 | -25.77 | 0 | 0
618.5 | -26.84 | 0 | 0
619 | -24.9 | 0 | 0
619.5 | -25.29 | 0 | 0
620 | -28.66 | 0 | 0
620.5 | -28.35 | 0 | 0
621 | -31.98 | 0 | 0
621.5 | -29.6 | 0 | 0
622 | -31.22 | 0 | 0
622.5 | -32.83 | 0 | 0
623 | -31.87 | 0 | 0
623.5 | -29.25 | 0 | 0
624 | -29.22 | 0 | 0
624.5 | -31.72 | 0 | 0
625 | -30.95 | 0 | 0
625.5 | -31.06 | 0 | 0
626 | -33.64 | 0 | 0
626.5 | -28.02 | 0 | 0
627 | -30.04 | 0 | 0
627.5 | -31.9 | 0 | 0
628 | -29.67 | 0 | 0
628.5 | -34.04 | 0 | 0
629 | -30.18 | 0 | 0
629.5 | -27.89 | 0 | 0
630 | -26.33 | 0 | 0
630.5 | -29.97 | 0 | 0
631 | -31.9 | 0 | 0
631.5 | -31.2 | 0 | 0
632 | -29.83 | 0 | 0
632.5 | -31.16 | 0 | 0
633 | -29.5 | 0 | 0
633.5 | -31.14 | 0 | 0
634 | -29.1 | 0 | 0
634.5 | -28.58 | 0 | 0
635 | -29.89 | 0 | 0
635.5 | -28.98 | 0 | 0
636 | -29.77 | 0 | 0
636.5 | -29.83 | 0 | 0
637 | -30 | 0 | 0
637.5 | -28.41 | 0 | 0
638 | -28.69 | 0 | 0
638.5 | -31.29 | 0 | 0
639 | -29.92 | 0 | 0
639.5 | -30.65 | 0 | 0
640 | -27.58 | 0 | 0
640.5 | -28.78 | 0 | 0
641 | -29.62 | 0 | 0
641.5 | -27.88 | 0 | 0
642 | -30.26 | 0 | 0
642.5 | -29.14 | 0 | 0
643 | -27.49 | 0 | 0
643.5 | -27.24 | 0 | 0
644 | -31.46 | 0 | 0
644.5 | -30.19 | 0 | 0
645 | -28.72 | 0 | 0
645.5 | -28.23 | 0 | 0
646 | -26.18 | 0 | 0
646.5 | -26.37 | 0 | 0
647 | -28.3 | 0 | 0
647.5 | -29.02 | 0 | 0
648 | -29.74 | 0 | 0
648.5 | -31.1 | 0 | 0
649 | -30.94 | 0 | 0
649.5 | -28.93 | 0 | 0
650 | -28.2 | 0 | 0
650.5 | -27.93 | 0 | 0
651 | -28.07 | 0 | 0
651.5 | -29.62 | 0 | 0
652 | -30.67 | 0 | 0
652.5 | -30.24 | 0 | 0
653 | -26.47 | 0 | 0
653.5 | -29.74 | 0 | 0
654 | -32.4 | 0 | 0
654.5 | -35.75 | 0 | 0
655 | -33.28 | 0 | 0
655.5 | -31.37 | 0 | 0
656 | -28.92 | 0 | 0
656.5 | -28.16 | 0 | 0
657 | -29.95 | 0 | 0
657.5 | -29.98 | 0 | 0
658 | -30.03 | 0 | 0
658.5 | -31.5 | 0 | 0
659 | -30.26 | 0 | 0
659.5 | -29.25 | 0 | 0
660 | -30.34 | 0 | 0
660.5 | -29.29 | 0 | 0
661 | -31.89 | 0 | 0
661.5 | -31.8 | 0 | 0
662 | -31.15 | 0 | 0
662.5 | -31.09 | 0 | 0
663 | -27.66 | 0 | 0
663.5 | -29 | 0 | 0
664 | -29.18 | 0 | 0
664.5 | -31.25 | 0 | 0
665 | -33.66 | 0 | 0
665.5 | -32.15 | 0 | 0
666 | -29.88 | 0 | 0
666.5 | -29.5 | 0 | 0
667 | -28.82 | 0 | 0
667.5 | -27.96 | 0 | 0
668 | -29.63 | 0 | 0
668.5 | -30.56 | 0 | 0
669 | -28.98 | 0 | 0
669.5 | -29.37 | 0 | 0
670 | -29.05 | 0 | 0
670.5 | -29.15 | 0 | 0
671 | -25.45 | 0 | 0
671.5 | -28.65 | 0 | 0
672 | -31.45 | 0 | 0
672.5 | -29.39 | 0 | 0
673 | -30.25 | 0 | 0
673.5 | -29.57 | 0 | 0
674 | -28.58 | 0 | 0
674.5 | -27.72 | 0 | 0
675 | -28.51 | 0 | 0
675.5 | -29.42 | 0 | 0
676 | -27.75 | 0 | 0
676.5 | -27.66 | 0 | 0
677 | -29.4 | 0 | 0
677.5 | -28.67 | 0 | 0
678 | -28.31 | 0 | 0
678.5 | -31.09 | 0 | 0
679 | -28.73 | 0 | 0
679.5 | -28.8 | 0 | 0
680 | -30.45 | 0 | 0
680.5 | -29.87 | 0 | 0
681 | -29.11 | 0 | 0
681.5 | -27.25 | 0 | 0
682 | -31.49 | 0 | 0
682.5 | -34.19 | 0 | 0
683 | -35.08 | 0 | 0
683.5 | -32.86 | 0 | 0
684 | -30.6 | 0 | 0
684.5 | -31.74 | 0 | 0
685 | -31.34 | 0 | 0
685.5 | -31.27 | 0 | 0
686 | -31.84 | 0 | 0
686.5 | -29.85 | 0 | 0
687 | -29.47 | 0 | 0
687.5 | -30.2 | 0 | 0
688 | -29.55 | 0 | 0
688.5 | -28.49 | 0 | 0
689 | -32.13 | 0 | 0
689.5 | -31.9 | 0 | 0
690 | -30.49 | 0 | 0
690.5 | -29.4 | 0 | 0
691 | -33.6 | 0 | 0
691.5 | -29.66 | 0 | 0
692 | -27.9 | 0 | 0
692.5 | -29.87 | 0 | 0
693 | -30.59 | 0 | 0
693.5 | -30.89 | 0 | 0
694 | -30.04 | 0 | 0
694.5 | -26.69 | 0 | 0
695 | -28.08 | 0 | 0
695.5 | -29.8 | 0 | 0
696 | -29.93 | 0 | 0
696.5 | -30.56 | 0 | 0
697 | -27.76 | 0 | 0
697.5 | -27.51 | 0 | 0
698 | -28.32 | 0 | 0
698.5 | -28.09 | 0 | 0
699 | -29.1 | 0 | 0
699.5 | -30.28 | 0 | 0
700 | -30.01 | 0 | 0
700.5 | -29.22 | 0 | 0
701 | -27.05 | 0 | 0
701.5 | -29.23 | 0 | 0
702 | -29.12 | 0 | 0
702.5 | -27.68 | 0 | 0
703 | -29.79 | 0 | 0
703.5 | -28.03 | 0 | 0
704 | -28.06 | 0 | 0
704.5 | -26.43 | 0 | 0
705 | -28.19 | 0 | 0
705.5 | -26.73 | 0 | 0
706 | -26.89 | 0 | 0
706.5 | -27.5 | 0 | 0
707 | -25.63 | 0 | 0
707.5 | -28.23 | 0 | 0
708 | -29.74 | 0 | 0
708.5 | -27.44 | 0 | 0
709 | -28.68 | 0 | 0
709.5 | -28.63 | 0 | 0
710 | -27.85 | 0 | 0
710.5 | -32.06 | 0 | 0
711 | -32.97 | 0 | 0
711.5 | -30.43 | 0 | 0
712 | -29.65 | 0 | 0
712.5 | -30.89 | 0 | 0
713 | -29.13 | 0 | 0
713.5 | -30.03 | 0 | 0
714 | -29.44 | 0 | 0
714.5 | -28.34 | 0 | 0
715 | -31.87 | 0 | 0
715.5 | -31.93 | 0 | 0
716 | -29.84 | 0 | 0
716.5 | -29.43 | 0 | 0
717 | -32.03 | 0 | 0
717.5 | -28.29 | 0 | 0
718 | -31.52 | 0 | 0
718.5 | -29.67 | 0 | 0
719 | -27.83 | 0 | 0
719.5 | -27.94 | 0 | 0
720 | -27.57 | 0 | 0
720.5 | -27.32 | 0 | 0
721 | -31.48 | 0 | 0
721.5 | -29.77 | 0 | 0
722 | -30.02 | 0 | 0
722.5 | -27.98 | 0 | 0
723 | -27.9 | 0 | 0
723.5 | -27.96 | 0 | 0
724 | -27.48 | 0 | 0
724.5 | -28.34 | 0 | 0
725 | -29.33 | 0 | 0
725.5 | -27.97 | 0 | 0
726 | -25.27 | 0 | 0
726.5 | -24.79 | 0 | 0
727 | -29.68 | 0 | 0
727.5 | -28.93 | 0 | 0
728 | -30.09 | 0 | 0
728.5 | -29.73 | 0 | 0
729 | -26.51 | 0 | 0
729.5 | -26.65 | 0 | 0
730 | -29.49 | 0 | 0
730.5 | -29.87 | 0 | 0
731 | -27.59 | 0 | 0
731.5 | -31.22 | 0 | 0
732 | -30.63 | 0 | 0
732.5 | -29.53 | 0 | 0
733 | -28.65 | 0 | 0
733.5 | -28.29 | 0 | 0
734 | -30.37 | 0 | 0
734.5 | -30.47 | 0 | 0
735 | -31.55 | 0 | 0
735.5 | -27.82 | 0 | 0
736 | -25.89 | 0 | 0
736.5 | -31.25 | 0 | 0
737 | -34.2 | 0 | 0
737.5 | -32.2 | 0 | 0
738 | -31.94 | 0 | 0
738.5 | -31.86 | 0 | 0
739 | -32.81 | 0 | 0
739.5 | -31.79 | 0 | 0
740 | -32.35 | 0 | 0
740.5 | -30.78 | 0 | 0
741 | -31.69 | 0 | 0
741.5 | -28.03 | 0 | 0
742 | -30.22 | 0 | 0
742.5 | -31.1 | 0 | 0
743 | -30.62 | 0 | 0
743.5 | -31.24 | 0 | 0
744 | -30.04 | 0 | 0
744.5 | -29.58 | 0 | 0
745 | -31.05 | 0 | 0
745.5 | -30.71 | 0 | 0
746 | -31.25 | 0 | 0
746.5 | -29.86 | 0 | 0
747 | -29.03 | 0 | 0
747.5 | -29.82 | 0 | 0
748 | -29.83 | 0 | 0
748.5 | -29.66 | 0 | 0
749 | -27.72 | 0 | 0
749.5 | -26.84 | 0 | 0
750 | -29.82 | 0 | 0
750.5 | -27.86 | 0 | 0
751 | -30.05 | 0 | 0
751.5 | -29.17 | 0 | 0
752 | -26.43 | 0 | 0
752.5 | -26.3 | 0 | 0
753 | -28.46 | 0 | 0
753.5 | -26.65 | 0 | 0
754 | -28.78 | 0 | 0
754.5 | -27.93 | 0 | 0
755 | -27.34 | 0 | 0
755.5 | -27.58 | 0 | 0
756 | -26.85 | 0 | 0
756.5 | -28.44 | 0 | 0
757 | -29.42 | 0 | 0
757.5 | -29.43 | 0 | 0
758 | -27.23 | 0 | 0
758.5 | -28.66 | 0 | 0
759 | -30.28 | 0 | 0
759.5 | -29.59 | 0 | 0
760 | -28.78 | 0 | 0
760.5 | -30.48 | 0 | 0
761 | -32.31 | 0 | 0
761.5 | -33.97 | 0 | 0
762 | -30.67 | 0 | 0
762.5 | -29.84 | 0 | 0
763 | -28.99 | 0 | 0
763.5 | -32.97 | 0 | 0
764 | -30.95 | 0 | 0
764.5 | -29.84 | 0 | 0
765 | -29.81 | 0 | 0
765.5 | -30.82 | 0 | 0
766 | -30.86 | 0 | 0
766.5 | -31.86 | 0 | 0
767 | -31.14 | 0 | 0
767.5 | -33.49 | 0 | 0
768 | -32.75 | 0 | 0
768.5 | -29.18 | 0 | 0
769 | -29.63 | 0 | 0
769.5 | -30.29 | 0 | 0
770 | -28.65 | 0 | 0
770.5 | -29.59 | 0 | 0
771 | -30.35 | 0 | 0
771.5 | -29.65 | 0 | 0
772 | -29.29 | 0 | 0
772.5 | -29.54 | 0 | 0
773 | -27.6 | 0 | 0
773.5 | -27.47 | 0 | 0
774 | -28.4 | 0 | 0
774.5 | -28.84 | 0 | 0
775 | -27.67 | 0 | 0
775.5 | -27.63 | 0 | 0
776 | -26.72 | 0 | 0
776.5 | -27.57 | 0 | 0
777 | -27.76 | 0 | 0
777.5 | -26.41 | 0 | 0
778 | -27.62 | 0 | 0
778.5 | -27.11 | 0 | 0
779 | -25.2 | 0 | 0
779.5 | -24.54 | 0 | 0
780 | -22.61 | 0 | 0
780.5 | -26.37 | 0 | 0
781 | -30.32 | 0 | 0
781.5 | -29.32 | 0 | 0
782 | -26.15 | 0 | 0
782.5 | -25.8 | 0 | 0
783 | -25.05 | 0 | 0
783.5 | -25.08 | 0 | 0
784 | -24.97 | 0 | 0
784.5 | -23.86 | 0 | 0
785 | -26.78 | 0 | 0
785.5 | -25.43 | 0 | 0
786 | -23.85 | 0 | 0
786.5 | -24.38 | 0 | 0
787 | -24.84 | 0 | 0
787.5 | -25.73 | 0 | 0
788 | -22.37 | 0 | 0
788.5 | -24.52 | 0 | 0
789 | -27.17 | 0 | 0
789.5 | -30.1 | 0 | 0
790 | -25.41 | 0 | 0
790.5 | -28.1 | 0 | 0
791 | -26.02 | 0 | 0
791.5 | -24.95 | 0 | 0
792 | -24.85 | 0 | 0
792.5 | -24.14 | 0 | 0
793 | -24.01 | 0 | 0
793.5 | -25.02 | 0 | 0
794 | -24.7 | 0 | 0
794.5 | -21.39 | 0 | 0
795 | -23.25 | 0 | 0
795.5 | -23.35 | 0 | 0
796 | -20.71 | 0 | 0
796.5 | -20.39 | 0 | 0
797 | -21.08 | 0 | 0
797.5 | -21.06 | 0 | 0
798 | -18.04 | 0 | 0
798.5 | -20.8 | 0 | 0
799 | -16.64 | 0 | 0
799.5 | -16.14 | 0 | 0
800 | -17.64 | 0 | 0
800.5 | -16.18 | 0 | 0
801 | -17.45 | 0 | 0
801.5 | -14.62 | 0 | 0
802 | -14.1 | 0 | 0
802.5 | -13.89 | 0 | 0
803 | -14.92 | 0 | 0
803.5 | -14.46 | 0 | 0
804 | -11.74 | 0 | 0
804.5 | -10.79 | 0 | 0
805 | -11.35 | 0 | 0
805.5 | -11.01 | 0 | 0
806 | -11.65 | 0 | 0
806.5 | -11.18 | 0 | 0
807 | -12.96 | 0 | 0
807.5 | -10.2 | 0 | 0
808 | -13.25 | 0 | 0
808.5 | -11.86 | 0 | 0
809 | -11.17 | 0 | 0
809.5 | -9.279 | 0 | 0
810 | -8.494 | 0 | 0
810.5 | -9.095 | 0 | 0
811 | -10.43 | 0 | 0
811.5 | -8.083 | 0 | 0
812 | -9.824 | 0 | 0
812.5 | -10.97 | 0 | 0
813 | -10.22 | 0 | 0
813.5 | -10.03 | 0 | 0
814 | -10.42 | 0 | 0
814.5 | -13.41 | 0 | 0
815 | -12.61 | 0 | 0
815.5 | -8.816 | 0 | 0
816 | -9.044 | 0 | 0
816.5 | -12.55 | 0 | 0
817 | -11.52 | 0 | 0
817.5 | -11.29 | 0 | 0
818 | -13.59 | 0 | 0
818.5 | -13.18 | 0 | 0
819 | -13.79 | 0 | 0
819.5 | -13.97 | 0 | 0
820 | -14.53 | 0 | 0
820.5 | -13.65 | 0 | 0
821 | -14.21 | 0 | 0
821.5 | -17.02 | 0 | 0
822 | -19.87 | 0 | 0
822.5 | -18.76 | 0 | 0
823 | -17.21 | 0 | 0
823.5 | -16.22 | 0 | 0
824 | -19.99 | 0 | 0
824.5 | -21.12 | 0 | 0
825 | -20.72 | 0 | 0
825.5 | -21.06 | 0 | 0
826 | -20.74 | 0 | 0
826.5 | -21.14 | 0 | 0
827 | -21.18 | 0 | 0
827.5 | -21.11 | 0 | 0
828 | -22.19 | 0 | 0
828.5 | -20.49 | 0 | 0
829 | -21.66 | 0 | 0
829.5 | -23.59 | 0 | 0
830 | -22.04 | 0 | 0
830.5 | -22.21 | 0 | 0
831 | -23.33 | 0 | 0
831.5 | -22.65 | 0 | 0
832 | -25.16 | 0 | 0
832.5 | -22.39 | 0 | 0
833 | -22.65 | 0 | 0
833.5 | -23.95 | 0 | 0
834 | -22.1 | 0 | 0
834.5 | -20.28 | 0 | 0
835 | -25.43 | 0 | 0
835.5 | -23.58 | 0 | 0
836 | -26.62 | 0 | 0
836.5 | -26.73 | 0 | 0
837 | -23.81 | 0 | 0
837.5 | -22.25 | 0 | 0
838 | -26.53 | 0 | 0
838.5 | -29.58 | 0 | 0
839 | -27.66 | 0 | 0
839.5 | -23.85 | 0 | 0
840 | -24.48 | 0 | 0
840.5 | -26.48 | 0 | 0
841 | -28.24 | 0 | 0
841.5 | -26.73 | 0 | 0
842 | -26.06 | 0 | 0
842.5 | -23.56 | 0 | 0
843 | -25.52 | 0 | 0
843.5 | -26.43 | 0 | 0
844 | -26.09 | 0 | 0
844.5 | -29.01 | 0 | 0
845 | -26.37 | 0 | 0
845.5 | -28.11 | 0 | 0
846 | -26.52 | 0 | 0
846.5 | -28.15 | 0 | 0
847 | -27.2 | 0 | 0
847.5 | -25.79 | 0 | 0
848 | -27.95 | 0 | 0
848.5 | -27.15 | 0 | 0
849 | -27.42 | 0 | 0
849.5 | -28.73 | 0 | 0
850 | -30.07 | 0 | 0
850.5 | -32.16 | 0 | 0
851 | -28.18 | 0 | 0
851.5 | -29.8 | 0 | 0
852 | -29.56 | 0 | 0
852.5 | -29.36 | 0 | 0
853 | -28.59 | 0 | 0
853.5 | -28.69 | 0 | 0
854 | -27.91 | 0 | 0
854.5 | -28.96 | 0 | 0
855 | -29.74 | 0 | 0
855.5 | -29.25 | 0 | 0
856 | -26.65 | 0 | 0
856.5 | -29.36 | 0 | 0
857 | -29.9 | 0 | 0
857.5 | -28.01 | 0 | 0
858 | -29.46 | 0 | 0
858.5 | -30.59 | 0 | 0
859 | -29.6 | 0 | 0
859.5 | -28.91 | 0 | 0
860 | -29.25 | 0 | 0
860.5 | -26.34 | 0 | 0
861 | -30.78 | 0 | 0
861.5 | -32.02 | 0 | 0
862 | -31.68 | 0 | 0
862.5 | -29.6 | 0 | 0
863 | -28.59 | 0 | 0
863.5 | -31.09 | 0 | 0
864 | -31.24 | 0 | 0
864.5 | -29.54 | 0 | 0
865 | -28.73 | 0 | 0
865.5 | -29.89 | 0 | 0
866 | -30.97 | 0 | 0
866.5 | -30.79 | 0 | 0
867 | -30.04 | 0 | 0
867.5 | -30.09 | 0 | 0
868 | -30.07 | 0 | 0
868.5 | -28.12 | 0 | 0
869 | -28.37 | 0 | 0
869.5 | -29.19 | 0 | 0
870 | -27.95 | 0 | 0
870.5 | -28.02 | 0 | 0
871 | -30.09 | 0 | 0
871.5 | -29.53 | 0 | 0
872 | -28.27 | 0 | 0
872.5 | -27.39 | 0 | 0
873 | -27.55 | 0 | 0
873.5 | -25.41 | 0 | 0
874 | -28.73 | 0 | 0
874.5 | -28.88 | 0 | 0
875 | -28.37 | 0 | 0
875.5 | -27.41 | 0 | 0
876 | -27.6 | 0 | 0
876.5 | -29.35 | 0 | 0
877 | -31.46 | 0 | 0
877.5 | -29.36 | 0 | 0
878 | -28.75 | 0 | 0
878.5 | -28.5 | 0 | 0
879 | -27.92 | 0 | 0
879.5 | -27.41 | 0 | 0
880 | -29.49 | 0 | 0
880.5 | -27.69 | 0 | 0
881 | -26.9 | 0 | 0
881.5 | -27.86 | 0 | 0
882 | -32.29 | 0 | 0
882.5 | -31.77 | 0 | 0
883 | -28.12 | 0 | 0
883.5 | -30.06 | 0 | 0
884 | -32.82 | 0 | 0
884.5 | -26.39 | 0 | 0
885 | -21.82 | 0 | 0
885.5 | -29.74 | 0 | 0
886 | -31.13 | 0 | 0
886.5 | -30.72 | 0 | 0