## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -7.9299 | 0 | 0
246.5 | -7.3628 | 0 | 0
247 | -8.0278 | 0 | 0
247.5 | -8.6819 | 0 | 0
248 | -8.7299 | 0 | 0
248.5 | -7.4752 | 0 | 0
249 | -6.2324 | 1.1304 | 0.00029688
249.5 | -5.2019 | 2.1609 | 0.00056753
250 | -5.433 | 1.9298 | 0.00050683
250.5 | -5.0644 | 2.2984 | 0.00060364
251 | -7.8027 | 0 | 0
251.5 | -6.7995 | 0.5633 | 0.00014794
252 | -6.2772 | 1.0856 | 0.00028512
252.5 | -7.1548 | 0.208 | 5.4628e-05
253 | -6.4866 | 0.8762 | 0.00023012
253.5 | -7.7233 | 0 | 0
254 | -10.675 | 0 | 0
254.5 | -9.8516 | 0 | 0
255 | -8.5857 | 0 | 0
255.5 | -4.799 | 2.5638 | 0.00067334
256 | -3.803 | 3.5598 | 0.00093493
256.5 | -5.1489 | 2.2139 | 0.00058145
257 | -7.8794 | 0 | 0
257.5 | -8.2309 | 0 | 0
258 | -8.0827 | 0 | 0
258.5 | -7.8879 | 0 | 0
259 | -8.1486 | 0 | 0
259.5 | -8.1374 | 0 | 0
260 | -8.1749 | 0 | 0
260.5 | -8.1185 | 0 | 0
261 | -7.8922 | 0 | 0
261.5 | -7.4458 | 0 | 0
262 | -6.8627 | 0.5001 | 0.00013134
262.5 | -6.4521 | 0.9107 | 0.00023918
263 | -5.9237 | 1.4391 | 0.00037796
263.5 | -5.3605 | 2.0023 | 0.00052587
264 | -4.9214 | 2.4414 | 0.0006412
264.5 | -4.7351 | 2.6277 | 0.00069013
265 | -4.3095 | 3.0533 | 0.0008019
265.5 | -3.571 | 3.7918 | 0.00099586
266 | -3.0163 | 4.3465 | 0.0011415
266.5 | -2.7009 | 4.6619 | 0.0012244
267 | -2.5627 | 4.8001 | 0.0012607
267.5 | -2.6144 | 4.7484 | 0.0012471
268 | -2.8625 | 4.5003 | 0.0011819
268.5 | -3.0366 | 4.3262 | 0.0011362
269 | -3.1148 | 4.248 | 0.0011157
269.5 | -3.1417 | 4.2211 | 0.0011086
270 | -3.4285 | 3.9343 | 0.0010333
270.5 | -3.7716 | 3.5912 | 0.00094318
271 | -4.1426 | 3.2202 | 0.00084574
271.5 | -4.9579 | 2.4049 | 0.00063161
272 | -5.9381 | 1.4247 | 0.00037418
272.5 | -6.829 | 0.5338 | 0.00014019
273 | -7.3292 | 0.0336 | 8.8245e-06
273.5 | -7.6906 | 0 | 0
274 | -7.8624 | 0 | 0
274.5 | -7.6168 | 0 | 0
275 | -7.3118 | 0.051 | 1.3394e-05
275.5 | -7.0342 | 0.3286 | 8.6302e-05
276 | -6.8067 | 0.5561 | 0.00014605
276.5 | -6.6085 | 0.7543 | 0.00019811
277 | -6.6439 | 0.7189 | 0.00018881
277.5 | -6.5348 | 0.828 | 0.00021746
278 | -6.3768 | 0.986 | 0.00025896
278.5 | -6.0909 | 1.2719 | 0.00033405
279 | -5.8683 | 1.4945 | 0.00039251
279.5 | -5.6285 | 1.7343 | 0.00045549
280 | -5.3858 | 1.977 | 0.00051923
280.5 | -4.9689 | 2.3939 | 0.00062872
281 | -4.7801 | 2.5827 | 0.00067831
281.5 | -4.6442 | 2.7186 | 0.000714
282 | -4.527 | 2.8358 | 0.00074478
282.5 | -4.4798 | 2.883 | 0.00075718
283 | -4.491 | 2.8718 | 0.00075424
283.5 | -4.3207 | 3.0421 | 0.00079896
284 | -4.0764 | 3.2864 | 0.00086312
284.5 | -3.7002 | 3.6626 | 0.00096193
285 | -3.5871 | 3.7757 | 0.00099163
285.5 | -3.6631 | 3.6997 | 0.00097167
286 | -3.676 | 3.6868 | 0.00096828
286.5 | -3.6989 | 3.6639 | 0.00096227
287 | -3.8687 | 3.4941 | 0.00091767
287.5 | -4.1831 | 3.1797 | 0.0008351
288 | -4.4108 | 2.952 | 0.0007753
288.5 | -4.5725 | 2.7903 | 0.00073283
289 | -4.6173 | 2.7455 | 0.00072106
289.5 | -4.6243 | 2.7385 | 0.00071923
290 | -5.1356 | 2.2272 | 0.00058494
290.5 | -5.9046 | 1.4582 | 0.00038297
291 | -6.2317 | 1.1311 | 0.00029707
291.5 | -6.1168 | 1.246 | 0.00032724
292 | -5.6284 | 1.7344 | 0.00045551
292.5 | -5.2569 | 2.1059 | 0.00055308
293 | -5.1713 | 2.1915 | 0.00057557
293.5 | -5.2278 | 2.135 | 0.00056073
294 | -5.0069 | 2.3559 | 0.00061874
294.5 | -5.4715 | 1.8913 | 0.00049672
295 | -5.7628 | 1.6 | 0.00042022
295.5 | -5.741 | 1.6218 | 0.00042594
296 | -5.6624 | 1.7004 | 0.00044658
296.5 | -5.2887 | 2.0741 | 0.00054473
297 | -4.4046 | 2.9582 | 0.00077693
297.5 | -3.9294 | 3.4334 | 0.00090173
298 | -3.8006 | 3.5622 | 0.00093556
298.5 | -4.0658 | 3.297 | 0.00086591
299 | -4.3698 | 2.993 | 0.00078607
299.5 | -4.7468 | 2.616 | 0.00068705
300 | -4.9142 | 2.4486 | 0.00064309
300.5 | -5.126 | 2.2368 | 0.00058746
301 | -4.7258 | 2.637 | 0.00069257
301.5 | -4.4075 | 2.9553 | 0.00077617
302 | -4.6045 | 2.7583 | 0.00072443
302.5 | -4.8208 | 2.542 | 0.00066762
303 | -5.1721 | 2.1907 | 0.00057535
303.5 | -5.7311 | 1.6317 | 0.00042854
304 | -6.1993 | 1.1635 | 0.00030558
304.5 | -6.4635 | 0.8993 | 0.00023619
305 | -6.4656 | 0.8972 | 0.00023564
305.5 | -6.2704 | 1.0924 | 0.0002869
306 | -5.9569 | 1.4059 | 0.00036924
306.5 | -5.9379 | 1.4249 | 0.00037423
307 | -5.9916 | 1.3712 | 0.00036013
307.5 | -6.2822 | 1.0806 | 0.0002838
308 | -6.6721 | 0.6907 | 0.0001814
308.5 | -6.7044 | 0.6584 | 0.00017292
309 | -6.7783 | 0.5845 | 0.00015351
309.5 | -6.6157 | 0.7471 | 0.00019621
310 | -6.1605 | 1.2023 | 0.00031577
310.5 | -5.7715 | 1.5913 | 0.00041793
311 | -5.5434 | 1.8194 | 0.00047784
311.5 | -5.4592 | 1.9036 | 0.00049995
312 | -5.9638 | 1.399 | 0.00036743
312.5 | -6.3359 | 1.0269 | 0.0002697
313 | -6.4122 | 0.9506 | 0.00024966
313.5 | -6.4694 | 0.8934 | 0.00023464
314 | -6.2727 | 1.0901 | 0.0002863
314.5 | -6.8468 | 0.516 | 0.00013552
315 | -7.5583 | 0 | 0
315.5 | -8.1628 | 0 | 0
316 | -8.8518 | 0 | 0
316.5 | -9.3559 | 0 | 0
317 | -9.7115 | 0 | 0
317.5 | -10.183 | 0 | 0
318 | -10.43 | 0 | 0
318.5 | -10.244 | 0 | 0
319 | -10.05 | 0 | 0
319.5 | -10.015 | 0 | 0
320 | -9.8763 | 0 | 0
320.5 | -9.7933 | 0 | 0
321 | -8.9169 | 0 | 0
321.5 | -8.2897 | 0 | 0
322 | -7.7664 | 0 | 0
322.5 | -7.109 | 0.2538 | 6.6657e-05
323 | -6.4853 | 0.8775 | 0.00023046
323.5 | -5.9771 | 1.3857 | 0.00036393
324 | -5.6337 | 1.7291 | 0.00045412
324.5 | -5.4689 | 1.8939 | 0.0004974
325 | -5.3874 | 1.9754 | 0.00051881
325.5 | -5.3661 | 1.9967 | 0.0005244
326 | -5.0914 | 2.2714 | 0.00059655
326.5 | -5.2082 | 2.1546 | 0.00056587
327 | -5.198 | 2.1648 | 0.00056855
327.5 | -5.4976 | 1.8652 | 0.00048987
328 | -5.5584 | 1.8044 | 0.0004739
328.5 | -5.5588 | 1.804 | 0.00047379
329 | -5.471 | 1.8918 | 0.00049685
329.5 | -5.4468 | 1.916 | 0.00050321
330 | -5.6661 | 1.6967 | 0.00044561
330.5 | -5.6637 | 1.6991 | 0.00044624
331 | -5.601 | 1.7618 | 0.00046271
331.5 | -5.5179 | 1.8449 | 0.00048454
332 | -5.4141 | 1.9487 | 0.0005118
332.5 | -5.5718 | 1.791 | 0.00047038
333 | -5.7202 | 1.6426 | 0.0004314
333.5 | -6.0701 | 1.2927 | 0.00033951
334 | -6.0268 | 1.336 | 0.00035088
334.5 | -5.8001 | 1.5627 | 0.00041042
335 | -5.6919 | 1.6709 | 0.00043884
335.5 | -5.8187 | 1.5441 | 0.00040554
336 | -5.797 | 1.5658 | 0.00041123
336.5 | -5.5591 | 1.8037 | 0.00047372
337 | -5.3134 | 2.0494 | 0.00053824
337.5 | -5.3099 | 2.0529 | 0.00053916
338 | -5.4305 | 1.9323 | 0.00050749
338.5 | -5.6507 | 1.7121 | 0.00044966
339 | -5.6916 | 1.6712 | 0.00043892
339.5 | -5.4929 | 1.8699 | 0.0004911
340 | -5.3376 | 2.0252 | 0.00053189
340.5 | -5.6554 | 1.7074 | 0.00044842
341 | -5.8582 | 1.5046 | 0.00039516
341.5 | -5.8996 | 1.4632 | 0.00038429
342 | -5.9286 | 1.4342 | 0.00037667
342.5 | -6.1984 | 1.1644 | 0.00030581
343 | -6.4396 | 0.9232 | 0.00024246
343.5 | -6.7013 | 0.6615 | 0.00017373
344 | -6.8228 | 0.54 | 0.00014182
344.5 | -6.6562 | 0.7066 | 0.00018558
345 | -6.5061 | 0.8567 | 0.000225
345.5 | -6.228 | 1.1348 | 0.00029804
346 | -5.9539 | 1.4089 | 0.00037003
346.5 | -5.564 | 1.7988 | 0.00047243
347 | -4.944 | 2.4188 | 0.00063526
347.5 | -4.6935 | 2.6693 | 0.00070105
348 | -4.7707 | 2.5921 | 0.00068078
348.5 | -5.1513 | 2.2115 | 0.00058082
349 | -5.4718 | 1.891 | 0.00049664
349.5 | -5.5721 | 1.7907 | 0.0004703
350 | -5.3811 | 1.9817 | 0.00052046
350.5 | -5.1461 | 2.2167 | 0.00058218
351 | -5.1202 | 2.2426 | 0.00058899
351.5 | -4.9943 | 2.3685 | 0.00062205
352 | -5.0718 | 2.291 | 0.0006017
352.5 | -5.1764 | 2.1864 | 0.00057423
353 | -5.0313 | 2.3315 | 0.00061233
353.5 | -4.9074 | 2.4554 | 0.00064487
354 | -5.0079 | 2.3549 | 0.00061848
354.5 | -4.8543 | 2.5085 | 0.00065882
355 | -4.4692 | 2.8936 | 0.00075996
355.5 | -4.023 | 3.3398 | 0.00087715
356 | -3.733 | 3.6298 | 0.00095331
356.5 | -3.7232 | 3.6396 | 0.00095589
357 | -3.6167 | 3.7461 | 0.00098386
357.5 | -3.4896 | 3.8732 | 0.0010172
358 | -3.4695 | 3.8933 | 0.0010225
358.5 | -3.3932 | 3.9696 | 0.0010426
359 | -3.5455 | 3.8173 | 0.0010026
359.5 | -3.847 | 3.5158 | 0.00092337
360 | -4.0078 | 3.355 | 0.00088114
360.5 | -4.2889 | 3.0739 | 0.00080731
361 | -4.1796 | 3.1832 | 0.00083602
361.5 | -4.1537 | 3.2091 | 0.00084282
362 | -4.2188 | 3.144 | 0.00082573
362.5 | -4.4629 | 2.8999 | 0.00076162
363 | -4.6299 | 2.7329 | 0.00071776
363.5 | -4.8528 | 2.51 | 0.00065921
364 | -4.962 | 2.4008 | 0.00063053
364.5 | -5.2462 | 2.1166 | 0.00055589
365 | -5.1619 | 2.2009 | 0.00057803
365.5 | -4.6366 | 2.7262 | 0.000716
366 | -4.2671 | 3.0957 | 0.00081304
366.5 | -3.9848 | 3.378 | 0.00088718
367 | -3.3637 | 3.9991 | 0.0010503
367.5 | -3.0037 | 4.3591 | 0.0011449
368 | -2.5207 | 4.8421 | 0.0012717
368.5 | -2.2104 | 5.1524 | 0.0013532
369 | -1.7853 | 5.5775 | 0.0014648
369.5 | -1.1845 | 6.1783 | 0.0016226
370 | -0.82749 | 6.5353 | 0.0017164
370.5 | -0.1972 | 7.1656 | 0.0018819
371 | 0.56732 | 7.9301 | 0.0020827
371.5 | 1.0751 | 8.4379 | 0.0022161
372 | 1.8715 | 9.2343 | 0.0024253
372.5 | 2.9072 | 10.27 | 0.0026973
373 | 3.7838 | 11.1466 | 0.0029275
373.5 | 4.4843 | 11.8471 | 0.0031115
374 | 5.4027 | 12.7655 | 0.0033527
374.5 | 6.4093 | 13.7721 | 0.003617
375 | 7.3669 | 14.7297 | 0.0038685
375.5 | 8.3991 | 15.7619 | 0.0041396
376 | 9.717 | 17.0798 | 0.0044858
376.5 | 11.659 | 19.0218 | 0.0049958
377 | 13.761 | 21.1238 | 0.0055479
377.5 | 16.102 | 23.4648 | 0.0061627
378 | 18.587 | 25.9498 | 0.0068153
378.5 | 20.831 | 28.1938 | 0.0074047
379 | 23.785 | 31.1478 | 0.0081805
379.5 | 28.028 | 35.3908 | 0.0092949
380 | 32.921 | 40.2838 | 0.01058
380.5 | 38.594 | 45.9568 | 0.01207
381 | 45.212 | 52.5748 | 0.013808
381.5 | 53.131 | 60.4938 | 0.015888
382 | 61.642 | 69.0048 | 0.018123
382.5 | 71.443 | 78.8058 | 0.020697
383 | 82.517 | 89.8798 | 0.023606
383.5 | 95.183 | 102.5458 | 0.026932
384 | 109.39 | 116.7528 | 0.030663
384.5 | 125.8 | 133.1628 | 0.034973
385 | 144.33 | 151.6928 | 0.03984
385.5 | 165.12 | 172.4828 | 0.0453
386 | 188.61 | 195.9728 | 0.051469
386.5 | 215.78 | 223.1428 | 0.058605
387 | 246.29 | 253.6528 | 0.066618
387.5 | 280.55 | 287.9128 | 0.075616
388 | 319.46 | 326.8228 | 0.085835
388.5 | 363.12 | 370.4828 | 0.097302
389 | 412.38 | 419.7428 | 0.11024
389.5 | 468.07 | 475.4328 | 0.12487
390 | 530.82 | 538.1828 | 0.14135
390.5 | 602.8 | 610.1628 | 0.16025
391 | 683.8 | 691.1628 | 0.18152
391.5 | 773.79 | 781.1528 | 0.20516
392 | 875.26 | 882.6228 | 0.23181
392.5 | 986.85 | 994.2128 | 0.26112
393 | 1109.9 | 1117.2628 | 0.29343
393.5 | 1246.6 | 1253.9628 | 0.32933
394 | 1395.8 | 1403.1628 | 0.36852
394.5 | 1559.3 | 1566.6628 | 0.41146
395 | 1736.4 | 1743.7628 | 0.45797
395.5 | 1924.6 | 1931.9628 | 0.5074
396 | 2122.6 | 2129.9628 | 0.5594
396.5 | 2324.5 | 2331.8628 | 0.61243
397 | 2525.6 | 2532.9628 | 0.66525
397.5 | 2720.6 | 2727.9628 | 0.71646
398 | 2906.2 | 2913.5628 | 0.7652
398.5 | 3077.5 | 3084.8628 | 0.81019
399 | 3232.5 | 3239.8628 | 0.8509
399.5 | 3371.2 | 3378.5628 | 0.88733
400 | 3490.1 | 3497.4628 | 0.91856
400.5 | 3588.7 | 3596.0628 | 0.94445
401 | 3667.8 | 3675.1628 | 0.96523
401.5 | 3728.3 | 3735.6628 | 0.98112
402 | 3773.1 | 3780.4628 | 0.99288
402.5 | 3798.1 | 3805.4628 | 0.99945
403 | 3800.2 | 3807.5628 | 1
403.5 | 3779.8 | 3787.1628 | 0.99464
404 | 3731.4 | 3738.7628 | 0.98193
404.5 | 3658.4 | 3665.7628 | 0.96276
405 | 3563.5 | 3570.8628 | 0.93783
405.5 | 3448 | 3455.3628 | 0.9075
406 | 3319.8 | 3327.1628 | 0.87383
406.5 | 3179.9 | 3187.2628 | 0.83709
407 | 3030.2 | 3037.5628 | 0.79777
407.5 | 2869.3 | 2876.6628 | 0.75551
408 | 2695.5 | 2702.8628 | 0.70987
408.5 | 2515.9 | 2523.2628 | 0.6627
409 | 2336.4 | 2343.7628 | 0.61555
409.5 | 2165.1 | 2172.4628 | 0.57057
410 | 2006.4 | 2013.7628 | 0.52888
410.5 | 1865.4 | 1872.7628 | 0.49185
411 | 1742.3 | 1749.6628 | 0.45952
411.5 | 1633.2 | 1640.5628 | 0.43087
412 | 1534.8 | 1542.1628 | 0.40503
412.5 | 1442.7 | 1450.0628 | 0.38084
413 | 1356.2 | 1363.5628 | 0.35812
413.5 | 1274.7 | 1282.0628 | 0.33671
414 | 1196.6 | 1203.9628 | 0.3162
414.5 | 1122.3 | 1129.6628 | 0.29669
415 | 1050.9 | 1058.2628 | 0.27794
415.5 | 981.92 | 989.2828 | 0.25982
416 | 915.5 | 922.8628 | 0.24238
416.5 | 851.52 | 858.8828 | 0.22557
417 | 790.22 | 797.5828 | 0.20947
417.5 | 731.59 | 738.9528 | 0.19408
418 | 675.52 | 682.8828 | 0.17935
418.5 | 623.22 | 630.5828 | 0.16561
419 | 574.11 | 581.4728 | 0.15272
419.5 | 528.19 | 535.5528 | 0.14066
420 | 485.6 | 492.9628 | 0.12947
420.5 | 445.93 | 453.2928 | 0.11905
421 | 409.58 | 416.9428 | 0.1095
421.5 | 376.32 | 383.6828 | 0.10077
422 | 346.21 | 353.5728 | 0.092861
422.5 | 318.96 | 326.3228 | 0.085704
423 | 294.31 | 301.6728 | 0.07923
423.5 | 272.54 | 279.9028 | 0.073512
424 | 252.86 | 260.2228 | 0.068344
424.5 | 234.89 | 242.2528 | 0.063624
425 | 217.64 | 225.0028 | 0.059094
425.5 | 201.83 | 209.1928 | 0.054941
426 | 187.44 | 194.8028 | 0.051162
426.5 | 174.2 | 181.5628 | 0.047685
427 | 161.7 | 169.0628 | 0.044402
427.5 | 150.1 | 157.4628 | 0.041355
428 | 139.07 | 146.4328 | 0.038458
428.5 | 128.71 | 136.0728 | 0.035738
429 | 119.04 | 126.4028 | 0.033198
429.5 | 109.62 | 116.9828 | 0.030724
430 | 100.67 | 108.0328 | 0.028373
430.5 | 92.331 | 99.6938 | 0.026183
431 | 85.001 | 92.3638 | 0.024258
431.5 | 75.799 | 83.1618 | 0.021841
432 | 62.74 | 70.1028 | 0.018411
432.5 | 52.277 | 59.6398 | 0.015664
433 | 45.043 | 52.4058 | 0.013764
433.5 | 39.494 | 46.8568 | 0.012306
434 | 34.745 | 42.1078 | 0.011059
434.5 | 30.525 | 37.8878 | 0.0099507
435 | 26.465 | 33.8278 | 0.0088844
435.5 | 22.791 | 30.1538 | 0.0079194
436 | 19.797 | 27.1598 | 0.0071331
436.5 | 16.925 | 24.2878 | 0.0063788
437 | 14.116 | 21.4788 | 0.0056411
437.5 | 13.639 | 21.0018 | 0.0055158
438 | 18.034 | 25.3968 | 0.0066701
438.5 | 20.78 | 28.1428 | 0.0073913
439 | 20.635 | 27.9978 | 0.0073532
439.5 | 19.211 | 26.5738 | 0.0069792
440 | 16.862 | 24.2248 | 0.0063623
440.5 | 14.902 | 22.2648 | 0.0058475
441 | 13.164 | 20.5268 | 0.0053911
441.5 | 11.733 | 19.0958 | 0.0050152
442 | 10.305 | 17.6678 | 0.0046402
442.5 | 8.6055 | 15.9683 | 0.0041938
443 | 7.0026 | 14.3654 | 0.0037729
443.5 | 5.5572 | 12.92 | 0.0033932
444 | 4.0951 | 11.4579 | 0.0030092
444.5 | 2.8921 | 10.2549 | 0.0026933
445 | 1.8258 | 9.1886 | 0.0024132
445.5 | 1.0024 | 8.3652 | 0.002197
446 | 0.92294 | 8.2857 | 0.0021761
446.5 | 0.47545 | 7.8383 | 0.0020586
447 | -0.099526 | 7.2633 | 0.0019076
447.5 | -1.0344 | 6.3284 | 0.0016621
448 | -1.9802 | 5.3826 | 0.0014137
448.5 | -2.4144 | 4.9484 | 0.0012996
449 | -2.4486 | 4.9142 | 0.0012906
449.5 | -2.7785 | 4.5843 | 0.001204
450 | -3.1084 | 4.2544 | 0.0011174
450.5 | -3.3901 | 3.9727 | 0.0010434
451 | -3.9407 | 3.4221 | 0.00089876
451.5 | -4.5224 | 2.8404 | 0.00074599
452 | -4.9279 | 2.4349 | 0.00063949
452.5 | -5.3433 | 2.0195 | 0.00053039
453 | -5.6514 | 1.7114 | 0.00044947
453.5 | -6.0656 | 1.2972 | 0.00034069
454 | -6.5169 | 0.8459 | 0.00022216
454.5 | -7.1251 | 0.2377 | 6.2428e-05
455 | -7.9187 | 0 | 0
455.5 | -8.6248 | 0 | 0
456 | -9.0935 | 0 | 0
456.5 | -9.4509 | 0 | 0
457 | -9.6897 | 0 | 0
457.5 | -10.07 | 0 | 0
458 | -10.747 | 0 | 0
458.5 | -11.25 | 0 | 0
459 | -11.593 | 0 | 0
459.5 | -11.925 | 0 | 0
460 | -12.315 | 0 | 0
460.5 | -12.826 | 0 | 0
461 | -13.065 | 0 | 0
461.5 | -13.164 | 0 | 0
462 | -13.712 | 0 | 0
462.5 | -14.303 | 0 | 0
463 | -14.527 | 0 | 0
463.5 | -14.689 | 0 | 0
464 | -14.8 | 0 | 0
464.5 | -14.879 | 0 | 0
465 | -15.004 | 0 | 0
465.5 | -15.018 | 0 | 0
466 | -15.155 | 0 | 0
466.5 | -15.182 | 0 | 0
467 | -15.279 | 0 | 0
467.5 | -15.352 | 0 | 0
468 | -15.37 | 0 | 0
468.5 | -15.431 | 0 | 0
469 | -15.545 | 0 | 0
469.5 | -15.742 | 0 | 0
470 | -15.795 | 0 | 0
470.5 | -16.46 | 0 | 0
471 | -17.03 | 0 | 0
471.5 | -17.13 | 0 | 0
472 | -17.112 | 0 | 0
472.5 | -17.092 | 0 | 0
473 | -17.364 | 0 | 0
473.5 | -17.286 | 0 | 0
474 | -17.359 | 0 | 0
474.5 | -17.792 | 0 | 0
475 | -18.29 | 0 | 0
475.5 | -18.416 | 0 | 0
476 | -18.635 | 0 | 0
476.5 | -18.454 | 0 | 0
477 | -18.231 | 0 | 0
477.5 | -18.159 | 0 | 0
478 | -18.2 | 0 | 0
478.5 | -18.265 | 0 | 0
479 | -18.466 | 0 | 0
479.5 | -18.852 | 0 | 0
480 | -18.986 | 0 | 0
480.5 | -18.651 | 0 | 0
481 | -18.741 | 0 | 0
481.5 | -19.166 | 0 | 0
482 | -19.633 | 0 | 0
482.5 | -20.253 | 0 | 0
483 | -21.26 | 0 | 0
483.5 | -22.288 | 0 | 0
484 | -23.242 | 0 | 0
484.5 | -24.155 | 0 | 0
485 | -24.878 | 0 | 0
485.5 | -25.54 | 0 | 0
486 | -26.15 | 0 | 0
486.5 | -26.648 | 0 | 0
487 | -26.971 | 0 | 0
487.5 | -27.125 | 0 | 0
488 | -27.3 | 0 | 0
488.5 | -27.252 | 0 | 0
489 | -27.368 | 0 | 0
489.5 | -27.049 | 0 | 0
490 | -26.313 | 0 | 0
490.5 | -25.686 | 0 | 0
491 | -25.218 | 0 | 0
491.5 | -24.508 | 0 | 0
492 | -23.704 | 0 | 0
492.5 | -23.198 | 0 | 0
493 | -22.723 | 0 | 0
493.5 | -22.171 | 0 | 0
494 | -21.423 | 0 | 0
494.5 | -20.44 | 0 | 0
495 | -19.507 | 0 | 0
495.5 | -18.991 | 0 | 0
496 | -18.562 | 0 | 0
496.5 | -17.622 | 0 | 0
497 | -17.067 | 0 | 0
497.5 | -16.976 | 0 | 0
498 | -16.888 | 0 | 0
498.5 | -16.629 | 0 | 0
499 | -16.583 | 0 | 0
499.5 | -16.695 | 0 | 0
500 | -16.932 | 0 | 0
500.5 | -17.149 | 0 | 0
501 | -17.128 | 0 | 0
501.5 | -17.066 | 0 | 0
502 | -17.247 | 0 | 0
502.5 | -17.667 | 0 | 0
503 | -17.883 | 0 | 0
503.5 | -17.886 | 0 | 0
504 | -18.006 | 0 | 0
504.5 | -17.978 | 0 | 0
505 | -17.893 | 0 | 0
505.5 | -17.848 | 0 | 0
506 | -17.895 | 0 | 0
506.5 | -17.82 | 0 | 0
507 | -18.165 | 0 | 0
507.5 | -18.695 | 0 | 0
508 | -19.221 | 0 | 0
508.5 | -19.456 | 0 | 0
509 | -19.631 | 0 | 0
509.5 | -19.82 | 0 | 0
510 | -19.531 | 0 | 0
510.5 | -19.266 | 0 | 0
511 | -19.205 | 0 | 0
511.5 | -19.19 | 0 | 0
512 | -19.249 | 0 | 0
512.5 | -19.295 | 0 | 0
513 | -19.005 | 0 | 0
513.5 | -18.464 | 0 | 0
514 | -18.071 | 0 | 0
514.5 | -17.808 | 0 | 0
515 | -17.762 | 0 | 0
515.5 | -18.074 | 0 | 0
516 | -18.595 | 0 | 0
516.5 | -18.701 | 0 | 0
517 | -18.756 | 0 | 0
517.5 | -18.625 | 0 | 0
518 | -18.434 | 0 | 0
518.5 | -18.586 | 0 | 0
519 | -18.999 | 0 | 0
519.5 | -19.185 | 0 | 0
520 | -19.145 | 0 | 0
520.5 | -19.193 | 0 | 0
521 | -18.99 | 0 | 0
521.5 | -19.334 | 0 | 0
522 | -19.961 | 0 | 0
522.5 | -20.104 | 0 | 0
523 | -19.915 | 0 | 0
523.5 | -20.024 | 0 | 0
524 | -20.029 | 0 | 0
524.5 | -19.954 | 0 | 0
525 | -19.955 | 0 | 0
525.5 | -20.304 | 0 | 0
526 | -20.531 | 0 | 0
526.5 | -21.18 | 0 | 0
527 | -21.369 | 0 | 0
527.5 | -20.905 | 0 | 0
528 | -20.943 | 0 | 0
528.5 | -21.249 | 0 | 0
529 | -21.429 | 0 | 0
529.5 | -21.663 | 0 | 0
530 | -21.675 | 0 | 0
530.5 | -21.448 | 0 | 0
531 | -21.268 | 0 | 0
531.5 | -21.097 | 0 | 0
532 | -20.901 | 0 | 0
532.5 | -21.014 | 0 | 0
533 | -21.065 | 0 | 0
533.5 | -21.247 | 0 | 0
534 | -21.56 | 0 | 0
534.5 | -21.834 | 0 | 0
535 | -22.397 | 0 | 0
535.5 | -23.386 | 0 | 0
536 | -25.167 | 0 | 0
536.5 | -27.012 | 0 | 0
537 | -29.512 | 0 | 0
537.5 | -33.219 | 0 | 0
538 | -38.783 | 0 | 0
538.5 | -44.893 | 0 | 0
539 | -50.115 | 0 | 0
539.5 | -54.501 | 0 | 0
540 | -58.823 | 0 | 0
540.5 | -62.945 | 0 | 0
541 | -66.742 | 0 | 0
541.5 | -69.805 | 0 | 0
542 | -73.869 | 0 | 0
542.5 | -81.318 | 0 | 0
543 | -86.547 | 0 | 0
543.5 | -86.524 | 0 | 0
544 | -84.441 | 0 | 0
544.5 | -82.428 | 0 | 0
545 | -80.562 | 0 | 0
545.5 | -78.578 | 0 | 0
546 | -76.108 | 0 | 0
546.5 | -73.493 | 0 | 0
547 | -70.721 | 0 | 0
547.5 | -67.112 | 0 | 0
548 | -59.648 | 0 | 0
548.5 | -51.842 | 0 | 0
549 | -46.873 | 0 | 0
549.5 | -43.303 | 0 | 0
550 | -40.464 | 0 | 0
550.5 | -38.064 | 0 | 0
551 | -35.827 | 0 | 0
551.5 | -33.784 | 0 | 0
552 | -31.672 | 0 | 0
552.5 | -29.807 | 0 | 0
553 | -28.034 | 0 | 0
553.5 | -26.526 | 0 | 0
554 | -25.323 | 0 | 0
554.5 | -24.531 | 0 | 0
555 | -23.549 | 0 | 0
555.5 | -22.384 | 0 | 0
556 | -21.381 | 0 | 0
556.5 | -20.714 | 0 | 0
557 | -20.09 | 0 | 0
557.5 | -19.933 | 0 | 0
558 | -20.104 | 0 | 0
558.5 | -20.511 | 0 | 0
559 | -20.79 | 0 | 0
559.5 | -20.906 | 0 | 0
560 | -20.497 | 0 | 0
560.5 | -20.508 | 0 | 0
561 | -20.6 | 0 | 0
561.5 | -20.631 | 0 | 0
562 | -20.559 | 0 | 0
562.5 | -20.69 | 0 | 0
563 | -20.433 | 0 | 0
563.5 | -19.895 | 0 | 0
564 | -19.138 | 0 | 0
564.5 | -18.491 | 0 | 0
565 | -17.935 | 0 | 0
565.5 | -17.493 | 0 | 0
566 | -17.158 | 0 | 0
566.5 | -16.83 | 0 | 0
567 | -16.18 | 0 | 0
567.5 | -15.686 | 0 | 0
568 | -15.333 | 0 | 0
568.5 | -15.583 | 0 | 0
569 | -15.971 | 0 | 0
569.5 | -16.07 | 0 | 0
570 | -16.009 | 0 | 0
570.5 | -15.86 | 0 | 0
571 | -16.205 | 0 | 0
571.5 | -16.574 | 0 | 0
572 | -16.92 | 0 | 0
572.5 | -17.279 | 0 | 0
573 | -17.995 | 0 | 0
573.5 | -19.132 | 0 | 0
574 | -19.776 | 0 | 0
574.5 | -19.867 | 0 | 0
575 | -20.129 | 0 | 0
575.5 | -20.946 | 0 | 0
576 | -21.924 | 0 | 0
576.5 | -22.929 | 0 | 0
577 | -23.596 | 0 | 0
577.5 | -23.771 | 0 | 0
578 | -24.275 | 0 | 0
578.5 | -24.366 | 0 | 0
579 | -24.162 | 0 | 0
579.5 | -24.59 | 0 | 0
580 | -25.719 | 0 | 0
580.5 | -26.42 | 0 | 0
581 | -26.568 | 0 | 0
581.5 | -26.868 | 0 | 0
582 | -26.68 | 0 | 0
582.5 | -26.512 | 0 | 0
583 | -26.757 | 0 | 0
583.5 | -27.207 | 0 | 0
584 | -27.899 | 0 | 0
584.5 | -28.154 | 0 | 0
585 | -27.549 | 0 | 0
585.5 | -26.982 | 0 | 0
586 | -26.573 | 0 | 0
586.5 | -25.846 | 0 | 0
587 | -24.896 | 0 | 0
587.5 | -24.847 | 0 | 0
588 | -25.025 | 0 | 0
588.5 | -24.955 | 0 | 0
589 | -24.521 | 0 | 0
589.5 | -24.17 | 0 | 0
590 | -24.099 | 0 | 0
590.5 | -24.084 | 0 | 0
591 | -23.689 | 0 | 0
591.5 | -23.551 | 0 | 0
592 | -23.791 | 0 | 0
592.5 | -23.729 | 0 | 0
593 | -22.979 | 0 | 0
593.5 | -22.237 | 0 | 0
594 | -21.828 | 0 | 0
594.5 | -21.225 | 0 | 0
595 | -20.564 | 0 | 0
595.5 | -20.207 | 0 | 0
596 | -20.292 | 0 | 0
596.5 | -20.678 | 0 | 0
597 | -20.906 | 0 | 0
597.5 | -20.799 | 0 | 0
598 | -21.449 | 0 | 0
598.5 | -21.515 | 0 | 0
599 | -21.173 | 0 | 0
599.5 | -20.908 | 0 | 0
600 | -21.102 | 0 | 0
600.5 | -21.051 | 0 | 0
601 | -20.817 | 0 | 0
601.5 | -19.909 | 0 | 0
602 | -18.754 | 0 | 0
602.5 | -17.844 | 0 | 0
603 | -17.586 | 0 | 0
603.5 | -17.576 | 0 | 0
604 | -18.005 | 0 | 0
604.5 | -18.551 | 0 | 0
605 | -18.893 | 0 | 0
605.5 | -18.987 | 0 | 0
606 | -19.241 | 0 | 0
606.5 | -20.545 | 0 | 0
607 | -23.006 | 0 | 0
607.5 | -29.064 | 0 | 0
608 | -38.701 | 0 | 0
608.5 | -46.277 | 0 | 0
609 | -50.556 | 0 | 0
609.5 | -53.699 | 0 | 0
610 | -56.177 | 0 | 0
610.5 | -57.916 | 0 | 0
611 | -59.608 | 0 | 0
611.5 | -60.434 | 0 | 0
612 | -60.084 | 0 | 0
612.5 | -58.062 | 0 | 0
613 | -51.663 | 0 | 0
613.5 | -42.793 | 0 | 0
614 | -36.232 | 0 | 0
614.5 | -32.462 | 0 | 0
615 | -29.416 | 0 | 0
615.5 | -26.956 | 0 | 0
616 | -24.805 | 0 | 0
616.5 | -22.711 | 0 | 0
617 | -21.084 | 0 | 0
617.5 | -20.648 | 0 | 0
618 | -20.348 | 0 | 0
618.5 | -19.821 | 0 | 0
619 | -19.614 | 0 | 0
619.5 | -19.549 | 0 | 0
620 | -19.36 | 0 | 0
620.5 | -19.283 | 0 | 0
621 | -19.376 | 0 | 0
621.5 | -19.587 | 0 | 0
622 | -19.758 | 0 | 0
622.5 | -19.705 | 0 | 0
623 | -19.193 | 0 | 0
623.5 | -18.878 | 0 | 0
624 | -19.018 | 0 | 0
624.5 | -19.076 | 0 | 0
625 | -19.064 | 0 | 0
625.5 | -19.079 | 0 | 0
626 | -19.492 | 0 | 0
626.5 | -19.505 | 0 | 0
627 | -19.75 | 0 | 0
627.5 | -20.212 | 0 | 0
628 | -20.751 | 0 | 0
628.5 | -21.033 | 0 | 0
629 | -21.321 | 0 | 0
629.5 | -20.889 | 0 | 0
630 | -20.501 | 0 | 0
630.5 | -19.924 | 0 | 0
631 | -19.413 | 0 | 0
631.5 | -18.724 | 0 | 0
632 | -17.927 | 0 | 0
632.5 | -17.077 | 0 | 0
633 | -15.96 | 0 | 0
633.5 | -15.041 | 0 | 0
634 | -14.45 | 0 | 0
634.5 | -14.009 | 0 | 0
635 | -13.843 | 0 | 0
635.5 | -13.756 | 0 | 0
636 | -13.723 | 0 | 0
636.5 | -13.858 | 0 | 0
637 | -14.562 | 0 | 0
637.5 | -15.219 | 0 | 0
638 | -15.481 | 0 | 0
638.5 | -15.331 | 0 | 0
639 | -14.971 | 0 | 0
639.5 | -15.038 | 0 | 0
640 | -14.988 | 0 | 0
640.5 | -14.929 | 0 | 0
641 | -14.687 | 0 | 0
641.5 | -14.314 | 0 | 0
642 | -13.475 | 0 | 0
642.5 | -12.416 | 0 | 0
643 | -11.775 | 0 | 0
643.5 | -11.564 | 0 | 0
644 | -11.48 | 0 | 0
644.5 | -11.291 | 0 | 0
645 | -10.744 | 0 | 0
645.5 | -10.392 | 0 | 0
646 | -10.119 | 0 | 0
646.5 | -10.178 | 0 | 0
647 | -10.602 | 0 | 0
647.5 | -11.254 | 0 | 0
648 | -11.628 | 0 | 0
648.5 | -11.773 | 0 | 0
649 | -11.876 | 0 | 0
649.5 | -11.83 | 0 | 0
650 | -11.675 | 0 | 0
650.5 | -11.469 | 0 | 0
651 | -11.293 | 0 | 0
651.5 | -11.023 | 0 | 0
652 | -10.311 | 0 | 0
652.5 | -9.4578 | 0 | 0
653 | -9.0414 | 0 | 0
653.5 | -8.6409 | 0 | 0
654 | -8.7608 | 0 | 0
654.5 | -9.0879 | 0 | 0
655 | -9.3683 | 0 | 0
655.5 | -9.7591 | 0 | 0
656 | -9.9764 | 0 | 0
656.5 | -10.15 | 0 | 0
657 | -10.871 | 0 | 0
657.5 | -11.606 | 0 | 0
658 | -12.148 | 0 | 0
658.5 | -12.508 | 0 | 0
659 | -12.528 | 0 | 0
659.5 | -12.438 | 0 | 0
660 | -12.551 | 0 | 0
660.5 | -12.69 | 0 | 0
661 | -12.592 | 0 | 0
661.5 | -12.533 | 0 | 0
662 | -12.047 | 0 | 0
662.5 | -11.891 | 0 | 0
663 | -11.622 | 0 | 0
663.5 | -11.677 | 0 | 0
664 | -11.64 | 0 | 0
664.5 | -11.526 | 0 | 0
665 | -11.352 | 0 | 0
665.5 | -11.497 | 0 | 0
666 | -11.813 | 0 | 0
666.5 | -12.383 | 0 | 0
667 | -12.872 | 0 | 0
667.5 | -12.849 | 0 | 0
668 | -13.061 | 0 | 0
668.5 | -13.098 | 0 | 0
669 | -13.21 | 0 | 0
669.5 | -13.064 | 0 | 0
670 | -12.906 | 0 | 0
670.5 | -12.403 | 0 | 0
671 | -12.109 | 0 | 0
671.5 | -12.258 | 0 | 0
672 | -12.494 | 0 | 0
672.5 | -12.791 | 0 | 0
673 | -12.843 | 0 | 0
673.5 | -12.437 | 0 | 0
674 | -11.894 | 0 | 0
674.5 | -11.823 | 0 | 0
675 | -11.488 | 0 | 0
675.5 | -11.372 | 0 | 0
676 | -11.709 | 0 | 0
676.5 | -11.448 | 0 | 0
677 | -10.735 | 0 | 0
677.5 | -10.332 | 0 | 0
678 | -10.167 | 0 | 0
678.5 | -9.8927 | 0 | 0
679 | -9.8683 | 0 | 0
679.5 | -9.7221 | 0 | 0
680 | -10.068 | 0 | 0
680.5 | -10.325 | 0 | 0
681 | -9.9195 | 0 | 0
681.5 | -9.4877 | 0 | 0
682 | -9.4189 | 0 | 0
682.5 | -9.3161 | 0 | 0
683 | -9.4255 | 0 | 0
683.5 | -9.9532 | 0 | 0
684 | -10.872 | 0 | 0
684.5 | -11.716 | 0 | 0
685 | -12.455 | 0 | 0
685.5 | -12.518 | 0 | 0
686 | -12.4 | 0 | 0
686.5 | -12.555 | 0 | 0
687 | -13.258 | 0 | 0
687.5 | -13.527 | 0 | 0
688 | -13.328 | 0 | 0
688.5 | -13.27 | 0 | 0
689 | -12.783 | 0 | 0
689.5 | -12.004 | 0 | 0
690 | -10.767 | 0 | 0
690.5 | -10.393 | 0 | 0
691 | -10.808 | 0 | 0
691.5 | -11.214 | 0 | 0
692 | -10.883 | 0 | 0
692.5 | -10.594 | 0 | 0
693 | -10.194 | 0 | 0
693.5 | -9.785 | 0 | 0
694 | -10.276 | 0 | 0
694.5 | -10.876 | 0 | 0
695 | -11.458 | 0 | 0
695.5 | -12.379 | 0 | 0
696 | -12.366 | 0 | 0
696.5 | -12.212 | 0 | 0
697 | -11.995 | 0 | 0
697.5 | -12.043 | 0 | 0
698 | -12.506 | 0 | 0
698.5 | -13.14 | 0 | 0
699 | -12.843 | 0 | 0
699.5 | -12.48 | 0 | 0
700 | -12.121 | 0 | 0
700.5 | -11.059 | 0 | 0
701 | -10.541 | 0 | 0
701.5 | -10.19 | 0 | 0
702 | -10.421 | 0 | 0
702.5 | -10.682 | 0 | 0
703 | -10.826 | 0 | 0
703.5 | -10.525 | 0 | 0
704 | -10.307 | 0 | 0
704.5 | -10.47 | 0 | 0
705 | -10.669 | 0 | 0
705.5 | -11.058 | 0 | 0
706 | -11.606 | 0 | 0
706.5 | -11.987 | 0 | 0
707 | -11.837 | 0 | 0
707.5 | -11.772 | 0 | 0
708 | -11.546 | 0 | 0
708.5 | -11.643 | 0 | 0
709 | -11.649 | 0 | 0
709.5 | -11.848 | 0 | 0
710 | -12.083 | 0 | 0
710.5 | -12.276 | 0 | 0
711 | -12.046 | 0 | 0
711.5 | -11.844 | 0 | 0
712 | -11.789 | 0 | 0
712.5 | -11.3 | 0 | 0
713 | -10.545 | 0 | 0
713.5 | -9.5529 | 0 | 0
714 | -8.7486 | 0 | 0
714.5 | -8.1554 | 0 | 0
715 | -7.9812 | 0 | 0
715.5 | -7.8682 | 0 | 0
716 | -7.6236 | 0 | 0
716.5 | -7.3693 | 0 | 0
717 | -7.6658 | 0 | 0
717.5 | -7.9017 | 0 | 0
718 | -8.1164 | 0 | 0
718.5 | -8.5124 | 0 | 0
719 | -9.3112 | 0 | 0
719.5 | -9.931 | 0 | 0
720 | -10.13 | 0 | 0
720.5 | -10.123 | 0 | 0
721 | -10.31 | 0 | 0
721.5 | -10.271 | 0 | 0
722 | -9.878 | 0 | 0
722.5 | -10.211 | 0 | 0
723 | -10.653 | 0 | 0
723.5 | -10.745 | 0 | 0
724 | -10.226 | 0 | 0
724.5 | -9.6242 | 0 | 0
725 | -9.2566 | 0 | 0
725.5 | -8.7248 | 0 | 0
726 | -8.3639 | 0 | 0
726.5 | -8.3445 | 0 | 0
727 | -8.3042 | 0 | 0
727.5 | -8.1343 | 0 | 0
728 | -8.2075 | 0 | 0
728.5 | -8.3068 | 0 | 0
729 | -8.3382 | 0 | 0
729.5 | -8.4525 | 0 | 0
730 | -8.8144 | 0 | 0
730.5 | -9.648 | 0 | 0
731 | -9.9085 | 0 | 0
731.5 | -10.037 | 0 | 0
732 | -10.279 | 0 | 0
732.5 | -9.9331 | 0 | 0
733 | -9.4558 | 0 | 0
733.5 | -9.3432 | 0 | 0
734 | -9.2798 | 0 | 0
734.5 | -9.1887 | 0 | 0
735 | -8.761 | 0 | 0
735.5 | -8.1779 | 0 | 0
736 | -7.977 | 0 | 0
736.5 | -7.1997 | 0.1631 | 4.2836e-05
737 | -6.914 | 0.4488 | 0.00011787
737.5 | -7.0833 | 0.2795 | 7.3407e-05
738 | -7.453 | 0 | 0
738.5 | -7.6987 | 0 | 0
739 | -7.7142 | 0 | 0
739.5 | -7.5091 | 0 | 0
740 | -7.9026 | 0 | 0
740.5 | -7.9383 | 0 | 0
741 | -8.4811 | 0 | 0
741.5 | -9.2209 | 0 | 0
742 | -9.5343 | 0 | 0
742.5 | -9.4842 | 0 | 0
743 | -9.4479 | 0 | 0
743.5 | -8.8002 | 0 | 0
744 | -8.4787 | 0 | 0
744.5 | -8.1538 | 0 | 0
745 | -8.0686 | 0 | 0
745.5 | -7.4519 | 0 | 0
746 | -7.1029 | 0.2599 | 6.8259e-05
746.5 | -6.7017 | 0.6611 | 0.00017363
747 | -6.9988 | 0.364 | 9.5599e-05
747.5 | -7.246 | 0.1168 | 3.0676e-05
748 | -7.4767 | 0 | 0
748.5 | -8.2812 | 0 | 0
749 | -8.6277 | 0 | 0
749.5 | -8.7709 | 0 | 0
750 | -8.9563 | 0 | 0
750.5 | -8.9321 | 0 | 0
751 | -8.8657 | 0 | 0
751.5 | -8.5879 | 0 | 0
752 | -8.3795 | 0 | 0
752.5 | -8.2903 | 0 | 0
753 | -8.7432 | 0 | 0
753.5 | -8.6318 | 0 | 0
754 | -8.7249 | 0 | 0
754.5 | -9.0148 | 0 | 0
755 | -9.2975 | 0 | 0
755.5 | -9.5473 | 0 | 0
756 | -9.6247 | 0 | 0
756.5 | -9.5527 | 0 | 0
757 | -10.054 | 0 | 0
757.5 | -9.8383 | 0 | 0
758 | -9.8766 | 0 | 0
758.5 | -9.874 | 0 | 0
759 | -9.7326 | 0 | 0
759.5 | -9.7543 | 0 | 0
760 | -9.8665 | 0 | 0
760.5 | -10.025 | 0 | 0
761 | -10.065 | 0 | 0
761.5 | -9.8063 | 0 | 0
762 | -9.252 | 0 | 0
762.5 | -8.774 | 0 | 0
763 | -8.6917 | 0 | 0
763.5 | -8.5345 | 0 | 0
764 | -8.1918 | 0 | 0
764.5 | -8.3416 | 0 | 0
765 | -7.9522 | 0 | 0
765.5 | -7.6554 | 0 | 0
766 | -7.2039 | 0.1589 | 4.1733e-05
766.5 | -7.2318 | 0.131 | 3.4405e-05
767 | -7.182 | 0.1808 | 4.7484e-05
767.5 | -7.0807 | 0.2821 | 7.4089e-05
768 | -6.9643 | 0.3985 | 0.00010466
768.5 | -7.2715 | 0.0913 | 2.3979e-05
769 | -6.958 | 0.4048 | 0.00010631
769.5 | -7.0707 | 0.2921 | 7.6716e-05
770 | -7.423 | 0 | 0
770.5 | -7.6265 | 0 | 0
771 | -8.0636 | 0 | 0
771.5 | -8.1706 | 0 | 0
772 | -7.7922 | 0 | 0
772.5 | -7.7272 | 0 | 0
773 | -7.6699 | 0 | 0
773.5 | -7.8598 | 0 | 0
774 | -8.0413 | 0 | 0
774.5 | -7.9062 | 0 | 0
775 | -7.7839 | 0 | 0
775.5 | -7.5913 | 0 | 0
776 | -7.5039 | 0 | 0
776.5 | -8.0614 | 0 | 0
777 | -8.2306 | 0 | 0
777.5 | -7.9693 | 0 | 0
778 | -7.5952 | 0 | 0
778.5 | -7.4071 | 0 | 0
779 | -7.6152 | 0 | 0
779.5 | -7.6626 | 0 | 0
780 | -7.6147 | 0 | 0
780.5 | -7.9971 | 0 | 0
781 | -7.9086 | 0 | 0
781.5 | -7.8381 | 0 | 0
782 | -7.5548 | 0 | 0
782.5 | -7.4017 | 0 | 0
783 | -6.769 | 0.5938 | 0.00015595
783.5 | -6.1013 | 1.2615 | 0.00033131
784 | -5.8408 | 1.522 | 0.00039973
784.5 | -5.7406 | 1.6222 | 0.00042605
785 | -5.3554 | 2.0074 | 0.00052721
785.5 | -5.2032 | 2.1596 | 0.00056719
786 | -5.1228 | 2.24 | 0.0005883
786.5 | -5.3061 | 2.0567 | 0.00054016
787 | -4.8677 | 2.4951 | 0.0006553
787.5 | -4.8695 | 2.4933 | 0.00065483
788 | -4.6513 | 2.7115 | 0.00071214
788.5 | -4.1052 | 3.2576 | 0.00085556
789 | -3.3719 | 3.9909 | 0.0010482
789.5 | -2.6237 | 4.7391 | 0.0012447
790 | -1.9801 | 5.3827 | 0.0014137
790.5 | -1.314 | 6.0488 | 0.0015886
791 | -0.75994 | 6.6029 | 0.0017341
791.5 | -0.57075 | 6.792 | 0.0017838
792 | -0.36943 | 6.9934 | 0.0018367
792.5 | -0.12677 | 7.236 | 0.0019004
793 | -0.12395 | 7.2389 | 0.0019012
793.5 | -0.33097 | 7.0318 | 0.0018468
794 | 0.072394 | 7.4352 | 0.0019527
794.5 | 0.93389 | 8.2967 | 0.002179
795 | 1.1309 | 8.4937 | 0.0022307
795.5 | 2.0428 | 9.4056 | 0.0024702
796 | 2.4656 | 9.8284 | 0.0025813
796.5 | 3.1479 | 10.5107 | 0.0027605
797 | 3.9933 | 11.3561 | 0.0029825
797.5 | 4.7137 | 12.0765 | 0.0031717
798 | 5.96 | 13.3228 | 0.003499
798.5 | 6.43 | 13.7928 | 0.0036225
799 | 5.7151 | 13.0779 | 0.0034347
799.5 | 5.4849 | 12.8477 | 0.0033743
800 | 4.8824 | 12.2452 | 0.003216
800.5 | 5.0581 | 12.4209 | 0.0032622
801 | 5.7147 | 13.0775 | 0.0034346
801.5 | 6.3314 | 13.6942 | 0.0035966
802 | 6.6236 | 13.9864 | 0.0036733
802.5 | 6.6599 | 14.0227 | 0.0036829
803 | 7.6567 | 15.0195 | 0.0039446
803.5 | 9.3962 | 16.759 | 0.0044015
804 | 10.765 | 18.1278 | 0.004761
804.5 | 12.145 | 19.5078 | 0.0051234
805 | 13.131 | 20.4938 | 0.0053824
805.5 | 13.624 | 20.9868 | 0.0055119
806 | 13.871 | 21.2338 | 0.0055767
806.5 | 13.601 | 20.9638 | 0.0055058
807 | 13.581 | 20.9438 | 0.0055006
807.5 | 13.152 | 20.5148 | 0.0053879
808 | 12.596 | 19.9588 | 0.0052419
808.5 | 11.987 | 19.3498 | 0.0050819
809 | 11.225 | 18.5878 | 0.0048818
809.5 | 10.312 | 17.6748 | 0.004642
810 | 8.9264 | 16.2892 | 0.0042781
810.5 | 8.7561 | 16.1189 | 0.0042334
811 | 8.8539 | 16.2167 | 0.0042591
811.5 | 8.2509 | 15.6137 | 0.0041007
812 | 7.5606 | 14.9234 | 0.0039194
812.5 | 7.0847 | 14.4475 | 0.0037944
813 | 6.9698 | 14.3326 | 0.0037642
813.5 | 6.5701 | 13.9329 | 0.0036593
814 | 5.8895 | 13.2523 | 0.0034805
814.5 | 5.7438 | 13.1066 | 0.0034423
815 | 5.1356 | 12.4984 | 0.0032825
815.5 | 4.5216 | 11.8844 | 0.0031213
816 | 3.6761 | 11.0389 | 0.0028992
816.5 | 3.0479 | 10.4107 | 0.0027342
817 | 2.7088 | 10.0716 | 0.0026452
817.5 | 2.0437 | 9.4065 | 0.0024705
818 | 1.4849 | 8.8477 | 0.0023237
818.5 | 0.78189 | 8.1447 | 0.0021391
819 | -0.21115 | 7.1517 | 0.0018783
819.5 | -0.67789 | 6.6849 | 0.0017557
820 | -0.1801 | 7.1827 | 0.0018864
820.5 | 0.27692 | 7.6397 | 0.0020065
821 | 0.2152 | 7.578 | 0.0019902
821.5 | -0.36658 | 6.9962 | 0.0018375
822 | -0.94123 | 6.4216 | 0.0016865
822.5 | -0.76028 | 6.6025 | 0.0017341
823 | 0.10008 | 7.4629 | 0.00196
823.5 | 0.87366 | 8.2365 | 0.0021632
824 | 0.941 | 8.3038 | 0.0021809
824.5 | 0.12679 | 7.4896 | 0.001967
825 | -0.5157 | 6.8471 | 0.0017983
825.5 | -0.80677 | 6.556 | 0.0017218
826 | -0.40915 | 6.9536 | 0.0018263
826.5 | -0.25143 | 7.1114 | 0.0018677
827 | -0.60512 | 6.7577 | 0.0017748
827.5 | -1.3841 | 5.9787 | 0.0015702
828 | -2.2885 | 5.0743 | 0.0013327
828.5 | -2.6851 | 4.6777 | 0.0012285
829 | -2.4903 | 4.8725 | 0.0012797
829.5 | -2.9707 | 4.3921 | 0.0011535
830 | -3.5734 | 3.7894 | 0.00099523
830.5 | -3.9275 | 3.4353 | 0.00090223
831 | -4.4862 | 2.8766 | 0.0007555
831.5 | -4.5245 | 2.8383 | 0.00074544
832 | -4.4713 | 2.8915 | 0.00075941
832.5 | -5.1032 | 2.2596 | 0.00059345
833 | -5.7081 | 1.6547 | 0.00043458
833.5 | -6.1724 | 1.1904 | 0.00031264
834 | -5.7763 | 1.5865 | 0.00041667
834.5 | -5.5433 | 1.8195 | 0.00047786
835 | -5.6783 | 1.6845 | 0.00044241
835.5 | -5.7722 | 1.5906 | 0.00041775
836 | -6.1342 | 1.2286 | 0.00032267
836.5 | -6.9574 | 0.4054 | 0.00010647
837 | -6.99 | 0.3728 | 9.791e-05
837.5 | -6.5478 | 0.815 | 0.00021405
838 | -6.6585 | 0.7043 | 0.00018497
838.5 | -6.8699 | 0.4929 | 0.00012945
839 | -6.9529 | 0.4099 | 0.00010765
839.5 | -6.7936 | 0.5692 | 0.00014949
840 | -6.9429 | 0.4199 | 0.00011028
840.5 | -6.3232 | 1.0396 | 0.00027304
841 | -5.2117 | 2.1511 | 0.00056495
841.5 | -5.3304 | 2.0324 | 0.00053378
842 | -5.5997 | 1.7631 | 0.00046305
842.5 | -6.1335 | 1.2293 | 0.00032286
843 | -6.2631 | 1.0997 | 0.00028882
843.5 | -6.0044 | 1.3584 | 0.00035676
844 | -5.5153 | 1.8475 | 0.00048522
844.5 | -5.2902 | 2.0726 | 0.00054434
845 | -5.4009 | 1.9619 | 0.00051526
845.5 | -5.3797 | 1.9831 | 0.00052083
846 | -5.2863 | 2.0765 | 0.00054536
846.5 | -5.084 | 2.2788 | 0.00059849
847 | -4.7389 | 2.6239 | 0.00068913
847.5 | -4.7115 | 2.6513 | 0.00069632
848 | -5.0309 | 2.3319 | 0.00061244
848.5 | -5.3244 | 2.0384 | 0.00053536
849 | -5.7783 | 1.5845 | 0.00041615
849.5 | -5.7468 | 1.616 | 0.00042442
850 | -5.9005 | 1.4623 | 0.00038405
850.5 | -5.5071 | 1.8557 | 0.00048737
851 | -5.1922 | 2.1706 | 0.00057008
851.5 | -5.4688 | 1.894 | 0.00049743
852 | -5.838 | 1.5248 | 0.00040047
852.5 | -6.1027 | 1.2601 | 0.00033095
853 | -6.0939 | 1.2689 | 0.00033326
853.5 | -6.3029 | 1.0599 | 0.00027837
854 | -6.546 | 0.8168 | 0.00021452
854.5 | -6.9673 | 0.3955 | 0.00010387
855 | -6.9476 | 0.4152 | 0.00010905
855.5 | -6.8209 | 0.5419 | 0.00014232
856 | -6.671 | 0.6918 | 0.00018169
856.5 | -6.4494 | 0.9134 | 0.00023989
857 | -6.9358 | 0.427 | 0.00011215
857.5 | -7.1264 | 0.2364 | 6.2087e-05
858 | -6.8956 | 0.4672 | 0.0001227
858.5 | -6.7632 | 0.5996 | 0.00015748
859 | -7.0752 | 0.2876 | 7.5534e-05
859.5 | -7.0872 | 0.2756 | 7.2382e-05
860 | -6.9106 | 0.4522 | 0.00011876
860.5 | -6.5885 | 0.7743 | 0.00020336
861 | -5.829 | 1.5338 | 0.00040283
861.5 | -5.4258 | 1.937 | 0.00050872
862 | -5.8273 | 1.5355 | 0.00040328
862.5 | -5.7521 | 1.6107 | 0.00042303
863 | -5.7196 | 1.6432 | 0.00043156
863.5 | -6.0817 | 1.2811 | 0.00033646
864 | -6.5777 | 0.7851 | 0.00020619
864.5 | -7.2255 | 0.1373 | 3.606e-05
865 | -7.7245 | 0 | 0
865.5 | -7.9765 | 0 | 0
866 | -7.9107 | 0 | 0
866.5 | -7.7785 | 0 | 0
867 | -7.4693 | 0 | 0
867.5 | -7.4183 | 0 | 0
868 | -7.1668 | 0.196 | 5.1476e-05
868.5 | -6.6739 | 0.6889 | 0.00018093
869 | -6.4035 | 0.9593 | 0.00025195
869.5 | -6.1728 | 1.19 | 0.00031254
870 | -6.0169 | 1.3459 | 0.00035348
870.5 | -6.3024 | 1.0604 | 0.0002785
871 | -6.3545 | 1.0083 | 0.00026482
871.5 | -6.6598 | 0.703 | 0.00018463
872 | -6.8215 | 0.5413 | 0.00014216
872.5 | -7.7522 | 0 | 0
873 | -8.3739 | 0 | 0
873.5 | -8.8341 | 0 | 0
874 | -9.5473 | 0 | 0
874.5 | -9.7168 | 0 | 0
875 | -9.9906 | 0 | 0
875.5 | -9.8109 | 0 | 0
876 | -9.9875 | 0 | 0
876.5 | -9.581 | 0 | 0
877 | -9.3368 | 0 | 0
877.5 | -9.2512 | 0 | 0
878 | -9.2733 | 0 | 0
878.5 | -9.0151 | 0 | 0
879 | -9.5686 | 0 | 0
879.5 | -9.8543 | 0 | 0
880 | -9.6722 | 0 | 0
880.5 | -9.8353 | 0 | 0
881 | -9.8324 | 0 | 0
881.5 | -9.6855 | 0 | 0
882 | -9.4461 | 0 | 0
882.5 | -9.5306 | 0 | 0
883 | -8.6621 | 0 | 0
883.5 | -6.4972 | 0.8656 | 0.00022734
884 | -9.8411 | 0 | 0
884.5 | -9.3051 | 0 | 0
885 | 7.8161 | 15.1789 | 0.0039865
885.5 | 0.14751 | 7.5103 | 0.0019725
886 | -34.422 | 0 | 0
886.5 | 2.7199 | 10.0827 | 0.0026481