## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -5.3206 | 0 | 0
246.5 | -3.7707 | 1.5499 | 0.00061253
247 | -2.9905 | 2.3301 | 0.00092087
247.5 | -3.7364 | 1.5842 | 0.00062609
248 | -3.1829 | 2.1377 | 0.00084483
248.5 | -3.4194 | 1.9012 | 0.00075137
249 | -4.65 | 0.6706 | 0.00026503
249.5 | -3.7991 | 1.5215 | 0.00060131
250 | -4.4436 | 0.877 | 0.0003466
250.5 | -5.7335 | 0 | 0
251 | -6.6392 | 0 | 0
251.5 | -5.7299 | 0 | 0
252 | -6.98 | 0 | 0
252.5 | -7.5111 | 0 | 0
253 | -7.4847 | 0 | 0
253.5 | -6.6325 | 0 | 0
254 | -9.2235 | 0 | 0
254.5 | -8.9432 | 0 | 0
255 | -4.7517 | 0.5689 | 0.00022483
255.5 | -3.5377 | 1.7829 | 0.00070461
256 | -3.5514 | 1.7692 | 0.0006992
256.5 | -4.2234 | 1.0972 | 0.00043362
257 | -5.4365 | 0 | 0
257.5 | -4.6638 | 0.6568 | 0.00025957
258 | -4.1419 | 1.1787 | 0.00046583
258.5 | -4.0954 | 1.2252 | 0.00048421
259 | -4.0452 | 1.2754 | 0.00050405
259.5 | -4.2501 | 1.0705 | 0.00042307
260 | -4.3607 | 0.9599 | 0.00037936
260.5 | -4.7332 | 0.5874 | 0.00023214
261 | -4.9678 | 0.3528 | 0.00013943
261.5 | -5.1406 | 0.18 | 7.1137e-05
262 | -5.1425 | 0.1781 | 7.0386e-05
262.5 | -4.9354 | 0.3852 | 0.00015223
263 | -4.8649 | 0.4557 | 0.0001801
263.5 | -4.7436 | 0.577 | 0.00022803
264 | -4.779 | 0.5416 | 0.00021404
264.5 | -5.007 | 0.3136 | 0.00012394
265 | -5.1338 | 0.1868 | 7.3825e-05
265.5 | -5.0665 | 0.2541 | 0.00010042
266 | -4.8778 | 0.4428 | 0.000175
266.5 | -4.4667 | 0.8539 | 0.00033747
267 | -3.9083 | 1.4123 | 0.00055815
267.5 | -3.2211 | 2.0995 | 0.00082974
268 | -2.5236 | 2.797 | 0.0011054
268.5 | -2.2425 | 3.0781 | 0.0012165
269 | -2.2439 | 3.0767 | 0.0012159
269.5 | -2.0871 | 3.2335 | 0.0012779
270 | -1.9515 | 3.3691 | 0.0013315
270.5 | -1.8042 | 3.5164 | 0.0013897
271 | -1.6538 | 3.6668 | 0.0014491
271.5 | -1.46 | 3.8606 | 0.0015257
272 | -1.4444 | 3.8762 | 0.0015319
272.5 | -1.4438 | 3.8768 | 0.0015321
273 | -1.4932 | 3.8274 | 0.0015126
273.5 | -1.6265 | 3.6941 | 0.0014599
274 | -1.9717 | 3.3489 | 0.0013235
274.5 | -2.5903 | 2.7303 | 0.001079
275 | -3.0052 | 2.3154 | 0.00091506
275.5 | -3.4069 | 1.9137 | 0.00075631
276 | -3.8412 | 1.4794 | 0.00058467
276.5 | -4.3045 | 1.0161 | 0.00040157
277 | -4.6071 | 0.7135 | 0.00028198
277.5 | -4.7448 | 0.5758 | 0.00022756
278 | -4.8013 | 0.5193 | 0.00020523
278.5 | -4.8368 | 0.4838 | 0.0001912
279 | -4.8612 | 0.4594 | 0.00018156
279.5 | -4.8674 | 0.4532 | 0.00017911
280 | -4.8395 | 0.4811 | 0.00019013
280.5 | -4.7077 | 0.6129 | 0.00024222
281 | -4.6793 | 0.6413 | 0.00025345
281.5 | -4.8002 | 0.5204 | 0.00020567
282 | -4.8428 | 0.4778 | 0.00018883
282.5 | -4.9536 | 0.367 | 0.00014504
283 | -4.8833 | 0.4373 | 0.00017282
283.5 | -4.7708 | 0.5498 | 0.00021728
284 | -4.7721 | 0.5485 | 0.00021677
284.5 | -4.9419 | 0.3787 | 0.00014966
285 | -5.3456 | 0 | 0
285.5 | -5.6801 | 0 | 0
286 | -6.0238 | 0 | 0
286.5 | -6.222 | 0 | 0
287 | -6.479 | 0 | 0
287.5 | -6.699 | 0 | 0
288 | -6.45 | 0 | 0
288.5 | -6.1831 | 0 | 0
289 | -5.7297 | 0 | 0
289.5 | -5.6878 | 0 | 0
290 | -5.8491 | 0 | 0
290.5 | -6.0322 | 0 | 0
291 | -5.814 | 0 | 0
291.5 | -5.4181 | 0 | 0
292 | -4.9768 | 0.3438 | 0.00013587
292.5 | -4.7284 | 0.5922 | 0.00023404
293 | -4.6005 | 0.7201 | 0.00028459
293.5 | -4.5886 | 0.732 | 0.00028929
294 | -4.371 | 0.9496 | 0.00037529
294.5 | -4.5152 | 0.8054 | 0.0003183
295 | -4.5684 | 0.7522 | 0.00029727
295.5 | -4.5092 | 0.8114 | 0.00032067
296 | -4.3323 | 0.9883 | 0.00039058
296.5 | -4.0375 | 1.2831 | 0.00050709
297 | -3.6433 | 1.6773 | 0.00066288
297.5 | -3.5989 | 1.7217 | 0.00068043
298 | -3.7031 | 1.6175 | 0.00063925
298.5 | -3.884 | 1.4366 | 0.00056775
299 | -4.0369 | 1.2837 | 0.00050733
299.5 | -4.2234 | 1.0972 | 0.00043362
300 | -4.1433 | 1.1773 | 0.00046528
300.5 | -4.0086 | 1.312 | 0.00051851
301 | -3.8961 | 1.4245 | 0.00056297
301.5 | -3.8342 | 1.4864 | 0.00058744
302 | -3.8423 | 1.4783 | 0.00058423
302.5 | -3.7875 | 1.5331 | 0.00060589
303 | -3.7321 | 1.5885 | 0.00062779
303.5 | -3.9058 | 1.4148 | 0.00055914
304 | -4.0837 | 1.2369 | 0.00048883
304.5 | -4.1443 | 1.1763 | 0.00046488
305 | -3.8095 | 1.5111 | 0.0005972
305.5 | -3.4435 | 1.8771 | 0.00074184
306 | -3.0667 | 2.2539 | 0.00089076
306.5 | -3.0089 | 2.3117 | 0.0009136
307 | -3.0817 | 2.2389 | 0.00088483
307.5 | -3.161 | 2.1596 | 0.00085349
308 | -3.2292 | 2.0914 | 0.00082654
308.5 | -3.2241 | 2.0965 | 0.00082855
309 | -3.3031 | 2.0175 | 0.00079733
309.5 | -3.5871 | 1.7335 | 0.00068509
310 | -3.7383 | 1.5823 | 0.00062534
310.5 | -3.7282 | 1.5924 | 0.00062933
311 | -3.6865 | 1.6341 | 0.00064581
311.5 | -3.89 | 1.4306 | 0.00056538
312 | -3.9969 | 1.3237 | 0.00052314
312.5 | -4.1719 | 1.1487 | 0.00045397
313 | -4.375 | 0.9456 | 0.00037371
313.5 | -4.4204 | 0.9002 | 0.00035577
314 | -4.0542 | 1.2664 | 0.00050049
314.5 | -3.6625 | 1.6581 | 0.00065529
315 | -3.5124 | 1.8082 | 0.00071461
315.5 | -3.3511 | 1.9695 | 0.00077836
316 | -3.2495 | 2.0711 | 0.00081851
316.5 | -3.2321 | 2.0885 | 0.00082539
317 | -3.3005 | 2.0201 | 0.00079836
317.5 | -3.3319 | 1.9887 | 0.00078595
318 | -3.459 | 1.8616 | 0.00073572
318.5 | -3.7379 | 1.5827 | 0.00062549
319 | -3.9126 | 1.408 | 0.00055645
319.5 | -3.8416 | 1.479 | 0.00058451
320 | -3.9197 | 1.4009 | 0.00055365
320.5 | -4.2898 | 1.0308 | 0.00040738
321 | -4.4474 | 0.8732 | 0.00034509
321.5 | -4.7358 | 0.5848 | 0.00023112
322 | -5.062 | 0.2586 | 0.0001022
322.5 | -5.0244 | 0.2962 | 0.00011706
323 | -4.9037 | 0.4169 | 0.00016476
323.5 | -4.9614 | 0.3592 | 0.00014196
324 | -5.3442 | 0 | 0
324.5 | -5.6406 | 0 | 0
325 | -5.9476 | 0 | 0
325.5 | -6.0757 | 0 | 0
326 | -6.2532 | 0 | 0
326.5 | -6.2539 | 0 | 0
327 | -6.0511 | 0 | 0
327.5 | -6.2062 | 0 | 0
328 | -6.1006 | 0 | 0
328.5 | -6.039 | 0 | 0
329 | -6.1852 | 0 | 0
329.5 | -6.3166 | 0 | 0
330 | -6.2539 | 0 | 0
330.5 | -6.2441 | 0 | 0
331 | -6.0116 | 0 | 0
331.5 | -5.5257 | 0 | 0
332 | -5.3338 | 0 | 0
332.5 | -5.155 | 0.1656 | 6.5446e-05
333 | -5.1767 | 0.1439 | 5.687e-05
333.5 | -5.3071 | 0.0135 | 5.3353e-06
334 | -5.2062 | 0.1144 | 4.5212e-05
334.5 | -5.2143 | 0.1063 | 4.201e-05
335 | -5.4767 | 0 | 0
335.5 | -5.6731 | 0 | 0
336 | -5.598 | 0 | 0
336.5 | -5.5216 | 0 | 0
337 | -5.2957 | 0.0249 | 9.8407e-06
337.5 | -5.2728 | 0.0478 | 1.8891e-05
338 | -5.2849 | 0.0357 | 1.4109e-05
338.5 | -5.0011 | 0.3195 | 0.00012627
339 | -4.6388 | 0.6818 | 0.00026945
339.5 | -4.1741 | 1.1465 | 0.0004531
340 | -3.8648 | 1.4558 | 0.00057534
340.5 | -3.657 | 1.6636 | 0.00065747
341 | -3.207 | 2.1136 | 0.00083531
341.5 | -2.5824 | 2.7382 | 0.0010822
342 | -2.1994 | 3.1212 | 0.0012335
342.5 | -2.1106 | 3.21 | 0.0012686
343 | -2.0519 | 3.2687 | 0.0012918
343.5 | -1.9971 | 3.3235 | 0.0013135
344 | -1.8842 | 3.4364 | 0.0013581
344.5 | -1.9642 | 3.3564 | 0.0013265
345 | -2.0508 | 3.2698 | 0.0012922
345.5 | -2.0935 | 3.2271 | 0.0012754
346 | -2.2866 | 3.034 | 0.0011991
346.5 | -2.6665 | 2.6541 | 0.0010489
347 | -2.9785 | 2.3421 | 0.00092561
347.5 | -2.9636 | 2.357 | 0.0009315
348 | -2.7692 | 2.5514 | 0.0010083
348.5 | -2.5744 | 2.7462 | 0.0010853
349 | -2.1357 | 3.1849 | 0.0012587
349.5 | -1.7964 | 3.5242 | 0.0013928
350 | -1.6651 | 3.6555 | 0.0014447
350.5 | -1.7899 | 3.5307 | 0.0013954
351 | -2.031 | 3.2896 | 0.0013001
351.5 | -2.396 | 2.9246 | 0.0011558
352 | -2.8887 | 2.4319 | 0.0009611
352.5 | -3.0157 | 2.3049 | 0.00091091
353 | -2.8236 | 2.497 | 0.00098683
353.5 | -3.0973 | 2.2233 | 0.00087866
354 | -3.8699 | 1.4507 | 0.00057333
354.5 | -4.4328 | 0.8878 | 0.00035086
355 | -4.7744 | 0.5462 | 0.00021586
355.5 | -5.0482 | 0.2724 | 0.00010765
356 | -4.9634 | 0.3572 | 0.00014117
356.5 | -4.8459 | 0.4747 | 0.0001876
357 | -4.7163 | 0.6043 | 0.00023882
357.5 | -4.294 | 1.0266 | 0.00040572
358 | -4.2127 | 1.1079 | 0.00043785
358.5 | -3.9581 | 1.3625 | 0.00053847
359 | -4.0264 | 1.2942 | 0.00051148
359.5 | -4.0802 | 1.2404 | 0.00049021
360 | -3.7443 | 1.5763 | 0.00062296
360.5 | -3.4703 | 1.8503 | 0.00073125
361 | -3.0754 | 2.2452 | 0.00088732
361.5 | -2.8382 | 2.4824 | 0.00098106
362 | -2.6489 | 2.6717 | 0.0010559
362.5 | -2.8337 | 2.4869 | 0.00098284
363 | -2.7743 | 2.5463 | 0.0010063
363.5 | -2.5418 | 2.7788 | 0.0010982
364 | -2.2711 | 3.0495 | 0.0012052
364.5 | -1.9333 | 3.3873 | 0.0013387
365 | -1.7446 | 3.576 | 0.0014133
365.5 | -1.3104 | 4.0102 | 0.0015849
366 | -0.89177 | 4.4288 | 0.0017503
366.5 | -0.49455 | 4.826 | 0.0019073
367 | -0.081429 | 5.2392 | 0.0020706
367.5 | 0.13955 | 5.4601 | 0.0021579
368 | 0.47128 | 5.7919 | 0.002289
368.5 | 0.81727 | 6.1379 | 0.0024257
369 | 1.2713 | 6.5919 | 0.0026052
369.5 | 1.5579 | 6.8785 | 0.0027184
370 | 1.566 | 6.8866 | 0.0027216
370.5 | 1.6552 | 6.9758 | 0.0027569
371 | 1.7266 | 7.0472 | 0.0027851
371.5 | 1.9065 | 7.2271 | 0.0028562
372 | 2.0488 | 7.3694 | 0.0029124
372.5 | 2.4636 | 7.7842 | 0.0030764
373 | 2.6676 | 7.9882 | 0.003157
373.5 | 2.9349 | 8.2555 | 0.0032626
374 | 3.2354 | 8.556 | 0.0033814
374.5 | 3.6062 | 8.9268 | 0.0035279
375 | 3.9057 | 9.2263 | 0.0036463
375.5 | 4.3322 | 9.6528 | 0.0038149
376 | 5.0462 | 10.3668 | 0.004097
376.5 | 5.8067 | 11.1273 | 0.0043976
377 | 6.9806 | 12.3012 | 0.0048615
377.5 | 8.1855 | 13.5061 | 0.0053377
378 | 9.3929 | 14.7135 | 0.0058149
378.5 | 10.706 | 16.0266 | 0.0063338
379 | 12.521 | 17.8416 | 0.0070511
379.5 | 14.496 | 19.8166 | 0.0078317
380 | 16.486 | 21.8066 | 0.0086181
380.5 | 18.748 | 24.0686 | 0.0095121
381 | 21.395 | 26.7156 | 0.010558
381.5 | 24.616 | 29.9366 | 0.011831
382 | 28.426 | 33.7466 | 0.013337
382.5 | 32.695 | 38.0156 | 0.015024
383 | 37.579 | 42.8996 | 0.016954
383.5 | 42.802 | 48.1226 | 0.019018
384 | 48.848 | 54.1686 | 0.021408
384.5 | 55.816 | 61.1366 | 0.024162
385 | 63.517 | 68.8376 | 0.027205
385.5 | 72.286 | 77.6066 | 0.030671
386 | 82.616 | 87.9366 | 0.034753
386.5 | 94.518 | 99.8386 | 0.039457
387 | 107.85 | 113.1706 | 0.044726
387.5 | 122.8 | 128.1206 | 0.050634
388 | 139.72 | 145.0406 | 0.057321
388.5 | 158.7 | 164.0206 | 0.064822
389 | 180.48 | 185.8006 | 0.07343
389.5 | 205.42 | 210.7406 | 0.083286
390 | 233.74 | 239.0606 | 0.094478
390.5 | 266.24 | 271.5606 | 0.10732
391 | 302.91 | 308.2306 | 0.12181
391.5 | 343.67 | 348.9906 | 0.13792
392 | 389.54 | 394.8606 | 0.15605
392.5 | 440.71 | 446.0306 | 0.17627
393 | 498.31 | 503.6306 | 0.19904
393.5 | 563.43 | 568.7506 | 0.22477
394 | 635.4 | 640.7206 | 0.25322
394.5 | 715.63 | 720.9506 | 0.28492
395 | 803.64 | 808.9606 | 0.31971
395.5 | 898.42 | 903.7406 | 0.35716
396 | 1000.9 | 1006.2206 | 0.39767
396.5 | 1110 | 1115.3206 | 0.44078
397 | 1225.8 | 1231.1206 | 0.48655
397.5 | 1348.6 | 1353.9206 | 0.53508
398 | 1475.7 | 1481.0206 | 0.58531
398.5 | 1606.4 | 1611.7206 | 0.63696
399 | 1738.9 | 1744.2206 | 0.68933
399.5 | 1870.7 | 1876.0206 | 0.74142
400 | 1998.8 | 2004.1206 | 0.79204
400.5 | 2120.4 | 2125.7206 | 0.8401
401 | 2232.4 | 2237.7206 | 0.88436
401.5 | 2329.5 | 2334.8206 | 0.92274
402 | 2410.4 | 2415.7206 | 0.95471
402.5 | 2471 | 2476.3206 | 0.97866
403 | 2508.8 | 2514.1206 | 0.9936
403.5 | 2525 | 2530.3206 | 1
404 | 2516.9 | 2522.2206 | 0.9968
404.5 | 2488.7 | 2494.0206 | 0.98565
405 | 2441.4 | 2446.7206 | 0.96696
405.5 | 2373.3 | 2378.6206 | 0.94005
406 | 2289.1 | 2294.4206 | 0.90677
406.5 | 2189.1 | 2194.4206 | 0.86725
407 | 2077.3 | 2082.6206 | 0.82307
407.5 | 1958 | 1963.3206 | 0.77592
408 | 1836.4 | 1841.7206 | 0.72786
408.5 | 1717.2 | 1722.5206 | 0.68075
409 | 1602.8 | 1608.1206 | 0.63554
409.5 | 1496.2 | 1501.5206 | 0.59341
410 | 1396.4 | 1401.7206 | 0.55397
410.5 | 1303.5 | 1308.8206 | 0.51725
411 | 1217 | 1222.3206 | 0.48307
411.5 | 1136.9 | 1142.2206 | 0.45141
412 | 1065.5 | 1070.8206 | 0.4232
412.5 | 1001.5 | 1006.8206 | 0.3979
413 | 944.58 | 949.9006 | 0.37541
413.5 | 894.13 | 899.4506 | 0.35547
414 | 847.34 | 852.6606 | 0.33698
414.5 | 802.51 | 807.8306 | 0.31926
415 | 758.35 | 763.6706 | 0.30181
415.5 | 714.03 | 719.3506 | 0.28429
416 | 669.86 | 675.1806 | 0.26684
416.5 | 626.74 | 632.0606 | 0.24979
417 | 584.61 | 589.9306 | 0.23314
417.5 | 543.04 | 548.3606 | 0.21672
418 | 502.13 | 507.4506 | 0.20055
418.5 | 462.38 | 467.7006 | 0.18484
419 | 424.02 | 429.3406 | 0.16968
419.5 | 387.6 | 392.9206 | 0.15528
420 | 353.82 | 359.1406 | 0.14193
420.5 | 323.18 | 328.5006 | 0.12983
421 | 296.04 | 301.3606 | 0.1191
421.5 | 271.27 | 276.5906 | 0.10931
422 | 249.11 | 254.4306 | 0.10055
422.5 | 229.39 | 234.7106 | 0.092759
423 | 211.45 | 216.7706 | 0.085669
423.5 | 195.92 | 201.2406 | 0.079532
424 | 181.91 | 187.2306 | 0.073995
424.5 | 169.32 | 174.6406 | 0.069019
425 | 157.91 | 163.2306 | 0.06451
425.5 | 147.08 | 152.4006 | 0.06023
426 | 136.79 | 142.1106 | 0.056163
426.5 | 127.05 | 132.3706 | 0.052314
427 | 117.9 | 123.2206 | 0.048698
427.5 | 110.11 | 115.4306 | 0.045619
428 | 102.89 | 108.2106 | 0.042766
428.5 | 96.435 | 101.7556 | 0.040215
429 | 90.705 | 96.0256 | 0.03795
429.5 | 84.852 | 90.1726 | 0.035637
430 | 79.286 | 84.6066 | 0.033437
430.5 | 73.899 | 79.2196 | 0.031308
431 | 69.001 | 74.3216 | 0.029372
431.5 | 64.208 | 69.5286 | 0.027478
432 | 58.931 | 64.2516 | 0.025393
432.5 | 54.304 | 59.6246 | 0.023564
433 | 50.172 | 55.4926 | 0.021931
433.5 | 46.306 | 51.6266 | 0.020403
434 | 43.144 | 48.4646 | 0.019154
434.5 | 40.011 | 45.3316 | 0.017915
435 | 37.094 | 42.4146 | 0.016763
435.5 | 34.607 | 39.9276 | 0.01578
436 | 32.253 | 37.5736 | 0.014849
436.5 | 29.99 | 35.3106 | 0.013955
437 | 27.669 | 32.9896 | 0.013038
437.5 | 25.795 | 31.1156 | 0.012297
438 | 25.103 | 30.4236 | 0.012024
438.5 | 24.315 | 29.6356 | 0.011712
439 | 23.453 | 28.7736 | 0.011372
439.5 | 22.461 | 27.7816 | 0.010979
440 | 21.148 | 26.4686 | 0.010461
440.5 | 19.968 | 25.2886 | 0.0099942
441 | 18.553 | 23.8736 | 0.009435
441.5 | 17.252 | 22.5726 | 0.0089208
442 | 16.048 | 21.3686 | 0.008445
442.5 | 14.779 | 20.0996 | 0.0079435
443 | 13.571 | 18.8916 | 0.0074661
443.5 | 12.575 | 17.8956 | 0.0070725
444 | 11.625 | 16.9456 | 0.006697
444.5 | 10.688 | 16.0086 | 0.0063267
445 | 9.6235 | 14.9441 | 0.005906
445.5 | 8.798 | 14.1186 | 0.0055798
446 | 7.7548 | 13.0754 | 0.0051675
446.5 | 6.611 | 11.9316 | 0.0047154
447 | 5.8611 | 11.1817 | 0.0044191
447.5 | 4.9267 | 10.2473 | 0.0040498
448 | 4.2164 | 9.537 | 0.0037691
448.5 | 3.6536 | 8.9742 | 0.0035467
449 | 2.9881 | 8.3087 | 0.0032837
449.5 | 2.4231 | 7.7437 | 0.0030604
450 | 1.8718 | 7.1924 | 0.0028425
450.5 | 1.45 | 6.7706 | 0.0026758
451 | 1.2892 | 6.6098 | 0.0026122
451.5 | 0.8041 | 6.1247 | 0.0024205
452 | 0.27839 | 5.599 | 0.0022128
452.5 | -0.036222 | 5.2844 | 0.0020884
453 | -0.37413 | 4.9465 | 0.0019549
453.5 | -0.41908 | 4.9015 | 0.0019371
454 | -0.48922 | 4.8314 | 0.0019094
454.5 | -0.47739 | 4.8432 | 0.0019141
455 | -0.37718 | 4.9434 | 0.0019537
455.5 | -0.7061 | 4.6145 | 0.0018237
456 | -1.1932 | 4.1274 | 0.0016312
456.5 | -1.6608 | 3.6598 | 0.0014464
457 | -2.2011 | 3.1195 | 0.0012328
457.5 | -2.6198 | 2.7008 | 0.0010674
458 | -2.8025 | 2.5181 | 0.00099517
458.5 | -2.9566 | 2.364 | 0.00093427
459 | -3.1565 | 2.1641 | 0.00085527
459.5 | -3.2812 | 2.0394 | 0.00080598
460 | -3.4049 | 1.9157 | 0.0007571
460.5 | -3.5601 | 1.7605 | 0.00069576
461 | -3.4862 | 1.8344 | 0.00072497
461.5 | -3.2324 | 2.0882 | 0.00082527
462 | -3.0805 | 2.2401 | 0.0008853
462.5 | -2.8642 | 2.4564 | 0.00097079
463 | -2.5864 | 2.7342 | 0.0010806
463.5 | -2.111 | 3.2096 | 0.0012685
464 | -1.9876 | 3.333 | 0.0013172
464.5 | -2.1056 | 3.215 | 0.0012706
465 | -1.9093 | 3.4113 | 0.0013482
465.5 | -1.9099 | 3.4107 | 0.0013479
466 | -2.1846 | 3.136 | 0.0012394
466.5 | -2.4359 | 2.8847 | 0.0011401
467 | -2.4718 | 2.8488 | 0.0011259
467.5 | -2.47 | 2.8506 | 0.0011266
468 | -2.5167 | 2.8039 | 0.0011081
468.5 | -2.5767 | 2.7439 | 0.0010844
469 | -2.7352 | 2.5854 | 0.0010218
469.5 | -3.0501 | 2.2705 | 0.00089732
470 | -2.9547 | 2.3659 | 0.00093502
470.5 | -2.8794 | 2.4412 | 0.00096478
471 | -2.8549 | 2.4657 | 0.00097446
471.5 | -2.8458 | 2.4748 | 0.00097806
472 | -2.4981 | 2.8225 | 0.0011155
472.5 | -2.3775 | 2.9431 | 0.0011631
473 | -2.2256 | 3.095 | 0.0012232
473.5 | -2.0978 | 3.2228 | 0.0012737
474 | -1.7586 | 3.562 | 0.0014077
474.5 | -1.4812 | 3.8394 | 0.0015174
475 | -1.178 | 4.1426 | 0.0016372
475.5 | -0.86314 | 4.4575 | 0.0017616
476 | -0.71035 | 4.6102 | 0.001822
476.5 | -0.59866 | 4.7219 | 0.0018661
477 | -0.59029 | 4.7303 | 0.0018695
477.5 | -0.54684 | 4.7738 | 0.0018866
478 | -0.71559 | 4.605 | 0.0018199
478.5 | -0.94517 | 4.3754 | 0.0017292
479 | -1.3917 | 3.9289 | 0.0015527
479.5 | -1.8015 | 3.5191 | 0.0013908
480 | -2.4028 | 2.9178 | 0.0011531
480.5 | -3.1064 | 2.2142 | 0.00087507
481 | -4.1366 | 1.184 | 0.00046792
481.5 | -5.0091 | 0.3115 | 0.00012311
482 | -5.4974 | 0 | 0
482.5 | -5.5603 | 0 | 0
483 | -5.8775 | 0 | 0
483.5 | -6.2676 | 0 | 0
484 | -6.7995 | 0 | 0
484.5 | -7.2084 | 0 | 0
485 | -7.2827 | 0 | 0
485.5 | -7.3721 | 0 | 0
486 | -7.5699 | 0 | 0
486.5 | -7.5394 | 0 | 0
487 | -7.1484 | 0 | 0
487.5 | -6.9363 | 0 | 0
488 | -6.7928 | 0 | 0
488.5 | -6.9537 | 0 | 0
489 | -7.0764 | 0 | 0
489.5 | -6.9106 | 0 | 0
490 | -6.5577 | 0 | 0
490.5 | -6.4514 | 0 | 0
491 | -6.6701 | 0 | 0
491.5 | -6.6478 | 0 | 0
492 | -6.7012 | 0 | 0
492.5 | -6.7074 | 0 | 0
493 | -6.59 | 0 | 0
493.5 | -6.5163 | 0 | 0
494 | -6.3471 | 0 | 0
494.5 | -6.0061 | 0 | 0
495 | -5.5053 | 0 | 0
495.5 | -5.1147 | 0.2059 | 8.1373e-05
496 | -4.5716 | 0.749 | 0.00029601
496.5 | -3.8103 | 1.5103 | 0.00059688
497 | -3.1684 | 2.1522 | 0.00085056
497.5 | -2.741 | 2.5796 | 0.0010195
498 | -2.3145 | 3.0061 | 0.001188
498.5 | -2.0305 | 3.2901 | 0.0013003
499 | -1.8412 | 3.4794 | 0.0013751
499.5 | -1.5899 | 3.7307 | 0.0014744
500 | -1.4712 | 3.8494 | 0.0015213
500.5 | -1.6074 | 3.7132 | 0.0014675
501 | -1.8756 | 3.445 | 0.0013615
501.5 | -1.8879 | 3.4327 | 0.0013566
502 | -2.0802 | 3.2404 | 0.0012806
502.5 | -2.57 | 2.7506 | 0.0010871
503 | -2.8087 | 2.5119 | 0.00099272
503.5 | -3.0675 | 2.2531 | 0.00089044
504 | -3.4345 | 1.8861 | 0.0007454
504.5 | -3.9079 | 1.4127 | 0.00055831
505 | -4.3515 | 0.9691 | 0.00038299
505.5 | -4.5817 | 0.7389 | 0.00029202
506 | -4.8879 | 0.4327 | 0.00017101
506.5 | -5.0645 | 0.2561 | 0.00010121
507 | -5.3204 | 0.0002 | 7.9041e-08
507.5 | -5.5305 | 0 | 0
508 | -5.5428 | 0 | 0
508.5 | -5.2804 | 0.0402 | 1.5887e-05
509 | -4.9926 | 0.328 | 0.00012963
509.5 | -4.5452 | 0.7754 | 0.00030644
510 | -4.1978 | 1.1228 | 0.00044374
510.5 | -3.98 | 1.3406 | 0.00052981
511 | -3.8351 | 1.4855 | 0.00058708
511.5 | -3.7034 | 1.6172 | 0.00063913
512 | -3.6494 | 1.6712 | 0.00066047
512.5 | -3.7451 | 1.5755 | 0.00062265
513 | -3.7634 | 1.5572 | 0.00061542
513.5 | -3.879 | 1.4416 | 0.00056973
514 | -3.991 | 1.3296 | 0.00052547
514.5 | -4.1504 | 1.1702 | 0.00046247
515 | -4.3518 | 0.9688 | 0.00038288
515.5 | -4.6524 | 0.6682 | 0.00026408
516 | -4.8932 | 0.4274 | 0.00016891
516.5 | -5.2554 | 0.0652 | 2.5767e-05
517 | -5.7114 | 0 | 0
517.5 | -6.0751 | 0 | 0
518 | -6.2927 | 0 | 0
518.5 | -6.4214 | 0 | 0
519 | -6.4777 | 0 | 0
519.5 | -6.8817 | 0 | 0
520 | -7.2824 | 0 | 0
520.5 | -7.6886 | 0 | 0
521 | -7.7522 | 0 | 0
521.5 | -7.5762 | 0 | 0
522 | -7.4405 | 0 | 0
522.5 | -6.797 | 0 | 0
523 | -6.2266 | 0 | 0
523.5 | -5.8961 | 0 | 0
524 | -5.6779 | 0 | 0
524.5 | -5.5736 | 0 | 0
525 | -5.4079 | 0 | 0
525.5 | -5.2322 | 0.0884 | 3.4936e-05
526 | -4.8846 | 0.436 | 0.00017231
526.5 | -4.4942 | 0.8264 | 0.0003266
527 | -4.3109 | 1.0097 | 0.00039904
527.5 | -3.8863 | 1.4343 | 0.00056685
528 | -3.721 | 1.5996 | 0.00063217
528.5 | -4.062 | 1.2586 | 0.00049741
529 | -4.2834 | 1.0372 | 0.00040991
529.5 | -4.2041 | 1.1165 | 0.00044125
530 | -4.2122 | 1.1084 | 0.00043805
530.5 | -4.1373 | 1.1833 | 0.00046765
531 | -4.1507 | 1.1699 | 0.00046235
531.5 | -4.1608 | 1.1598 | 0.00045836
532 | -4.2771 | 1.0435 | 0.0004124
532.5 | -4.402 | 0.9186 | 0.00036304
533 | -4.8744 | 0.4462 | 0.00017634
533.5 | -5.18 | 0.1406 | 5.5566e-05
534 | -5.273 | 0.0476 | 1.8812e-05
534.5 | -5.1739 | 0.1467 | 5.7977e-05
535 | -5.0771 | 0.2435 | 9.6233e-05
535.5 | -4.7245 | 0.5961 | 0.00023558
536 | -4.6589 | 0.6617 | 0.00026151
536.5 | -4.5151 | 0.8055 | 0.00031834
537 | -4.4466 | 0.874 | 0.00034541
537.5 | -4.607 | 0.7136 | 0.00028202
538 | -4.7638 | 0.5568 | 0.00022005
538.5 | -4.7676 | 0.553 | 0.00021855
539 | -4.7813 | 0.5393 | 0.00021314
539.5 | -4.843 | 0.4776 | 0.00018875
540 | -4.8201 | 0.5005 | 0.0001978
540.5 | -4.6495 | 0.6711 | 0.00026522
541 | -4.7195 | 0.6011 | 0.00023756
541.5 | -5.0603 | 0.2603 | 0.00010287
542 | -5.3757 | 0 | 0
542.5 | -6.3077 | 0 | 0
543 | -7.0001 | 0 | 0
543.5 | -7.1893 | 0 | 0
544 | -7.1064 | 0 | 0
544.5 | -6.9487 | 0 | 0
545 | -7.087 | 0 | 0
545.5 | -7.2397 | 0 | 0
546 | -7.5686 | 0 | 0
546.5 | -7.8561 | 0 | 0
547 | -7.739 | 0 | 0
547.5 | -7.709 | 0 | 0
548 | -7.617 | 0 | 0
548.5 | -7.336 | 0 | 0
549 | -7.4488 | 0 | 0
549.5 | -7.5425 | 0 | 0
550 | -7.7527 | 0 | 0
550.5 | -7.6104 | 0 | 0
551 | -7.6878 | 0 | 0
551.5 | -7.6092 | 0 | 0
552 | -7.9664 | 0 | 0
552.5 | -8.1455 | 0 | 0
553 | -8.063 | 0 | 0
553.5 | -7.4886 | 0 | 0
554 | -6.8953 | 0 | 0
554.5 | -6.3632 | 0 | 0
555 | -6.0698 | 0 | 0
555.5 | -6.1623 | 0 | 0
556 | -6.2226 | 0 | 0
556.5 | -5.8226 | 0 | 0
557 | -5.5434 | 0 | 0
557.5 | -5.3157 | 0.0049 | 1.9365e-06
558 | -5.1419 | 0.1787 | 7.0623e-05
558.5 | -5.2255 | 0.0951 | 3.7584e-05
559 | -5.4411 | 0 | 0
559.5 | -5.3942 | 0 | 0
560 | -5.2098 | 0.1108 | 4.3789e-05
560.5 | -5.1132 | 0.2074 | 8.1966e-05
561 | -4.8871 | 0.4335 | 0.00017132
561.5 | -4.9517 | 0.3689 | 0.00014579
562 | -5.3688 | 0 | 0
562.5 | -5.6725 | 0 | 0
563 | -5.6102 | 0 | 0
563.5 | -5.5278 | 0 | 0
564 | -5.263 | 0.0576 | 2.2764e-05
564.5 | -4.9469 | 0.3737 | 0.00014769
565 | -4.9115 | 0.4091 | 0.00016168
565.5 | -5.1086 | 0.212 | 8.3784e-05
566 | -5.6077 | 0 | 0
566.5 | -6.0863 | 0 | 0
567 | -6.2034 | 0 | 0
567.5 | -6.2606 | 0 | 0
568 | -6.3404 | 0 | 0
568.5 | -6.4781 | 0 | 0
569 | -6.7722 | 0 | 0
569.5 | -6.9344 | 0 | 0
570 | -7.0244 | 0 | 0
570.5 | -7.1305 | 0 | 0
571 | -7.0848 | 0 | 0
571.5 | -6.9263 | 0 | 0
572 | -6.5903 | 0 | 0
572.5 | -6.2997 | 0 | 0
573 | -6.1829 | 0 | 0
573.5 | -6.0625 | 0 | 0
574 | -6.0606 | 0 | 0
574.5 | -6.146 | 0 | 0
575 | -6.2802 | 0 | 0
575.5 | -6.4786 | 0 | 0
576 | -6.6677 | 0 | 0
576.5 | -7.0255 | 0 | 0
577 | -6.9237 | 0 | 0
577.5 | -6.7732 | 0 | 0
578 | -7.013 | 0 | 0
578.5 | -7.3567 | 0 | 0
579 | -7.6474 | 0 | 0
579.5 | -7.5911 | 0 | 0
580 | -7.2704 | 0 | 0
580.5 | -7.0756 | 0 | 0
581 | -7.2415 | 0 | 0
581.5 | -7.3643 | 0 | 0
582 | -7.1978 | 0 | 0
582.5 | -7.2652 | 0 | 0
583 | -7.557 | 0 | 0
583.5 | -7.5011 | 0 | 0
584 | -7.3743 | 0 | 0
584.5 | -7.1888 | 0 | 0
585 | -7.0875 | 0 | 0
585.5 | -6.9103 | 0 | 0
586 | -6.8271 | 0 | 0
586.5 | -6.2472 | 0 | 0
587 | -5.8205 | 0 | 0
587.5 | -5.8965 | 0 | 0
588 | -5.8519 | 0 | 0
588.5 | -5.9344 | 0 | 0
589 | -6.0689 | 0 | 0
589.5 | -5.9186 | 0 | 0
590 | -5.5536 | 0 | 0
590.5 | -5.1363 | 0.1843 | 7.2837e-05
591 | -5.2982 | 0.0224 | 8.8526e-06
591.5 | -5.5297 | 0 | 0
592 | -5.7028 | 0 | 0
592.5 | -5.7538 | 0 | 0
593 | -5.5175 | 0 | 0
593.5 | -5.3368 | 0 | 0
594 | -4.8075 | 0.5131 | 0.00020278
594.5 | -4.2479 | 1.0727 | 0.00042394
595 | -4.2 | 1.1206 | 0.00044287
595.5 | -4.5014 | 0.8192 | 0.00032375
596 | -4.9449 | 0.3757 | 0.00014848
596.5 | -5.0829 | 0.2377 | 9.3941e-05
597 | -4.6598 | 0.6608 | 0.00026115
597.5 | -4.3719 | 0.9487 | 0.00037493
598 | -4.0463 | 1.2743 | 0.00050361
598.5 | -3.8615 | 1.4591 | 0.00057665
599 | -3.8138 | 1.5068 | 0.0005955
599.5 | -3.9025 | 1.4181 | 0.00056044
600 | -4.0524 | 1.2682 | 0.0005012
600.5 | -4.2666 | 1.054 | 0.00041655
601 | -4.3705 | 0.9501 | 0.00037549
601.5 | -4.4357 | 0.8849 | 0.00034972
602 | -4.3682 | 0.9524 | 0.00037639
602.5 | -4.6649 | 0.6557 | 0.00025914
603 | -4.8024 | 0.5182 | 0.0002048
603.5 | -5.0904 | 0.2302 | 9.0977e-05
604 | -5.2049 | 0.1157 | 4.5725e-05
604.5 | -5.3181 | 0.0025 | 9.8802e-07
605 | -5.4599 | 0 | 0
605.5 | -5.3084 | 0.0122 | 4.8215e-06
606 | -5.0394 | 0.2812 | 0.00011113
606.5 | -5.0349 | 0.2857 | 0.00011291
607 | -4.719 | 0.6016 | 0.00023776
607.5 | -4.3588 | 0.9618 | 0.00038011
608 | -4.2392 | 1.0814 | 0.00042738
608.5 | -4.2387 | 1.0819 | 0.00042757
609 | -4.2498 | 1.0708 | 0.00042319
609.5 | -4.4886 | 0.832 | 0.00032881
610 | -4.709 | 0.6116 | 0.00024171
610.5 | -4.6174 | 0.7032 | 0.00027791
611 | -4.7119 | 0.6087 | 0.00024056
611.5 | -5.1434 | 0.1772 | 7.0031e-05
612 | -5.7001 | 0 | 0
612.5 | -6.5345 | 0 | 0
613 | -7.3214 | 0 | 0
613.5 | -7.635 | 0 | 0
614 | -7.6977 | 0 | 0
614.5 | -7.5067 | 0 | 0
615 | -7.5547 | 0 | 0
615.5 | -7.5601 | 0 | 0
616 | -7.5048 | 0 | 0
616.5 | -7.2967 | 0 | 0
617 | -6.5397 | 0 | 0
617.5 | -5.7406 | 0 | 0
618 | -4.9591 | 0.3615 | 0.00014287
618.5 | -4.3809 | 0.9397 | 0.00037138
619 | -4.0403 | 1.2803 | 0.00050598
619.5 | -4.0435 | 1.2771 | 0.00050472
620 | -3.7799 | 1.5407 | 0.0006089
620.5 | -3.3048 | 2.0158 | 0.00079666
621 | -3.1318 | 2.1888 | 0.00086503
621.5 | -3.1366 | 2.184 | 0.00086313
622 | -3.1394 | 2.1812 | 0.00086203
622.5 | -3.6059 | 1.7147 | 0.00067766
623 | -4.1678 | 1.1528 | 0.00045559
623.5 | -4.3606 | 0.96 | 0.0003794
624 | -4.456 | 0.8646 | 0.0003417
624.5 | -4.5346 | 0.786 | 0.00031063
625 | -4.5048 | 0.8158 | 0.00032241
625.5 | -4.4935 | 0.8271 | 0.00032688
626 | -4.7424 | 0.5782 | 0.00022851
626.5 | -4.7048 | 0.6158 | 0.00024337
627 | -4.6609 | 0.6597 | 0.00026072
627.5 | -4.549 | 0.7716 | 0.00030494
628 | -4.3457 | 0.9749 | 0.00038529
628.5 | -4.1354 | 1.1852 | 0.0004684
629 | -3.8843 | 1.4363 | 0.00056764
629.5 | -3.5616 | 1.759 | 0.00069517
630 | -3.3629 | 1.9577 | 0.0007737
630.5 | -3.3093 | 2.0113 | 0.00079488
631 | -3.2385 | 2.0821 | 0.00082286
631.5 | -3.0667 | 2.2539 | 0.00089076
632 | -3.0244 | 2.2962 | 0.00090747
632.5 | -2.8386 | 2.482 | 0.0009809
633 | -2.5517 | 2.7689 | 0.0010943
633.5 | -2.3944 | 2.9262 | 0.0011565
634 | -2.2608 | 3.0598 | 0.0012093
634.5 | -2.6494 | 2.6712 | 0.0010557
635 | -3.0708 | 2.2498 | 0.00088914
635.5 | -3.3257 | 1.9949 | 0.0007884
636 | -3.5221 | 1.7985 | 0.00071078
636.5 | -3.5809 | 1.7397 | 0.00068754
637 | -3.9124 | 1.4082 | 0.00055653
637.5 | -4.3049 | 1.0157 | 0.00040141
638 | -4.8275 | 0.4931 | 0.00019488
638.5 | -5.2025 | 0.1181 | 4.6674e-05
639 | -5.3294 | 0 | 0
639.5 | -5.4764 | 0 | 0
640 | -5.5779 | 0 | 0
640.5 | -5.4674 | 0 | 0
641 | -5.3988 | 0 | 0
641.5 | -5.5286 | 0 | 0
642 | -5.8099 | 0 | 0
642.5 | -5.7387 | 0 | 0
643 | -5.7104 | 0 | 0
643.5 | -5.3655 | 0 | 0
644 | -5.2121 | 0.1085 | 4.288e-05
644.5 | -5.0653 | 0.2553 | 0.0001009
645 | -4.8229 | 0.4977 | 0.00019669
645.5 | -4.6073 | 0.7133 | 0.0002819
646 | -4.6194 | 0.7012 | 0.00027712
646.5 | -4.5257 | 0.7949 | 0.00031415
647 | -4.2666 | 1.054 | 0.00041655
647.5 | -3.7354 | 1.5852 | 0.00062648
648 | -3.2752 | 2.0454 | 0.00080836
648.5 | -3.136 | 2.1846 | 0.00086337
649 | -3.2726 | 2.048 | 0.00080938
649.5 | -3.4888 | 1.8318 | 0.00072394
650 | -3.5568 | 1.7638 | 0.00069707
650.5 | -3.7227 | 1.5979 | 0.0006315
651 | -3.5578 | 1.7628 | 0.00069667
651.5 | -3.5046 | 1.816 | 0.0007177
652 | -3.7377 | 1.5829 | 0.00062557
652.5 | -4.3201 | 1.0005 | 0.0003954
653 | -4.8356 | 0.485 | 0.00019168
653.5 | -4.9726 | 0.348 | 0.00013753
654 | -5.1174 | 0.2032 | 8.0306e-05
654.5 | -4.894 | 0.4266 | 0.0001686
655 | -4.6195 | 0.7011 | 0.00027708
655.5 | -4.5863 | 0.7343 | 0.0002902
656 | -4.7785 | 0.5421 | 0.00021424
656.5 | -4.9071 | 0.4135 | 0.00016342
657 | -4.8411 | 0.4795 | 0.0001895
657.5 | -4.1439 | 1.1767 | 0.00046504
658 | -3.366 | 1.9546 | 0.00077247
658.5 | -2.8083 | 2.5123 | 0.00099288
659 | -2.2912 | 3.0294 | 0.0011972
659.5 | -2.0665 | 3.2541 | 0.001286
660 | -2.2597 | 3.0609 | 0.0012097
660.5 | -2.5229 | 2.7977 | 0.0011057
661 | -2.5448 | 2.7758 | 0.001097
661.5 | -2.5671 | 2.7535 | 0.0010882
662 | -2.4878 | 2.8328 | 0.0011195
662.5 | -2.7746 | 2.546 | 0.0010062
663 | -3.3361 | 1.9845 | 0.00078429
663.5 | -4.0518 | 1.2688 | 0.00050144
664 | -4.5406 | 0.78 | 0.00030826
664.5 | -5.012 | 0.3086 | 0.00012196
665 | -5.1291 | 0.1915 | 7.5682e-05
665.5 | -4.9326 | 0.388 | 0.00015334
666 | -5.0119 | 0.3087 | 0.000122
666.5 | -5.5462 | 0 | 0
667 | -5.8013 | 0 | 0
667.5 | -5.6498 | 0 | 0
668 | -5.266 | 0.0546 | 2.1578e-05
668.5 | -4.8408 | 0.4798 | 0.00018962
669 | -4.6082 | 0.7124 | 0.00028155
669.5 | -4.8268 | 0.4938 | 0.00019515
670 | -5.0922 | 0.2284 | 9.0265e-05
670.5 | -5.4114 | 0 | 0
671 | -5.2065 | 0.1141 | 4.5093e-05
671.5 | -4.6143 | 0.7063 | 0.00027913
672 | -4.4774 | 0.8432 | 0.00033324
672.5 | -4.6776 | 0.643 | 0.00025412
673 | -4.9567 | 0.3639 | 0.00014382
673.5 | -4.9512 | 0.3694 | 0.00014599
674 | -4.8049 | 0.5157 | 0.00020381
674.5 | -4.1036 | 1.217 | 0.00048097
675 | -3.5462 | 1.7744 | 0.00070126
675.5 | -3.2161 | 2.1045 | 0.00083171
676 | -3.1205 | 2.2001 | 0.00086949
676.5 | -3.1344 | 2.1862 | 0.000864
677 | -2.8334 | 2.4872 | 0.00098296
677.5 | -2.7065 | 2.6141 | 0.0010331
678 | -2.8097 | 2.5109 | 0.00099232
678.5 | -2.8704 | 2.4502 | 0.00096834
679 | -3.0892 | 2.2314 | 0.00088186
679.5 | -3.4896 | 1.831 | 0.00072362
680 | -3.6688 | 1.6518 | 0.0006528
680.5 | -3.6884 | 1.6322 | 0.00064506
681 | -3.9055 | 1.4151 | 0.00055926
681.5 | -4.0044 | 1.3162 | 0.00052017
682 | -4.359 | 0.9616 | 0.00038003
682.5 | -4.6178 | 0.7028 | 0.00027775
683 | -4.6176 | 0.703 | 0.00027783
683.5 | -4.716 | 0.6046 | 0.00023894
684 | -4.8108 | 0.5098 | 0.00020148
684.5 | -4.5651 | 0.7555 | 0.00029858
685 | -4.645 | 0.6756 | 0.000267
685.5 | -4.7467 | 0.5739 | 0.00022681
686 | -4.9078 | 0.4128 | 0.00016314
686.5 | -5.1333 | 0.1873 | 7.4022e-05
687 | -4.9836 | 0.337 | 0.00013318
687.5 | -4.6857 | 0.6349 | 0.00025092
688 | -4.6235 | 0.6971 | 0.0002755
688.5 | -4.6172 | 0.7034 | 0.00027799
689 | -4.889 | 0.4316 | 0.00017057
689.5 | -5.1899 | 0.1307 | 5.1654e-05
690 | -5.0716 | 0.249 | 9.8407e-05
690.5 | -4.8344 | 0.4862 | 0.00019215
691 | -4.698 | 0.6226 | 0.00024606
691.5 | -4.5731 | 0.7475 | 0.00029542
692 | -4.4893 | 0.8313 | 0.00032854
692.5 | -4.2316 | 1.089 | 0.00043038
693 | -4.023 | 1.2976 | 0.00051282
693.5 | -3.8135 | 1.5071 | 0.00059562
694 | -3.7247 | 1.5959 | 0.00063071
694.5 | -3.6644 | 1.6562 | 0.00065454
695 | -3.5795 | 1.7411 | 0.00068809
695.5 | -3.7383 | 1.5823 | 0.00062534
696 | -3.4013 | 1.9193 | 0.00075852
696.5 | -3.2429 | 2.0777 | 0.00082112
697 | -3.2679 | 2.0527 | 0.00081124
697.5 | -3.7501 | 1.5705 | 0.00062067
698 | -3.8815 | 1.4391 | 0.00056874
698.5 | -3.7408 | 1.5798 | 0.00062435
699 | -3.3716 | 1.949 | 0.00077026
699.5 | -3.5146 | 1.806 | 0.00071374
700 | -3.9158 | 1.4048 | 0.00055519
700.5 | -4.1066 | 1.214 | 0.00047978
701 | -4.5844 | 0.7362 | 0.00029095
701.5 | -4.7057 | 0.6149 | 0.00024301
702 | -4.6659 | 0.6547 | 0.00025874
702.5 | -4.4359 | 0.8847 | 0.00034964
703 | -4.6975 | 0.6231 | 0.00024625
703.5 | -4.7079 | 0.6127 | 0.00024214
704 | -4.6675 | 0.6531 | 0.00025811
704.5 | -4.5195 | 0.8011 | 0.0003166
705 | -4.2103 | 1.1103 | 0.0004388
705.5 | -3.975 | 1.3456 | 0.00053179
706 | -3.9063 | 1.4143 | 0.00055894
706.5 | -3.8556 | 1.465 | 0.00057898
707 | -3.6545 | 1.6661 | 0.00065845
707.5 | -3.4807 | 1.8399 | 0.00072714
708 | -3.0935 | 2.2271 | 0.00088017
708.5 | -3.0488 | 2.2718 | 0.00089783
709 | -3.1474 | 2.1732 | 0.00085886
709.5 | -3.1252 | 2.1954 | 0.00086764
710 | -3.106 | 2.2146 | 0.00087523
710.5 | -3.2389 | 2.0817 | 0.0008227
711 | -3.1299 | 2.1907 | 0.00086578
711.5 | -3.4232 | 1.8974 | 0.00074987
712 | -3.7456 | 1.575 | 0.00062245
712.5 | -4.0217 | 1.2989 | 0.00051333
713 | -4.4259 | 0.8947 | 0.00035359
713.5 | -4.8184 | 0.5022 | 0.00019847
714 | -4.8546 | 0.466 | 0.00018417
714.5 | -5.1436 | 0.177 | 6.9952e-05
715 | -5.3051 | 0.0155 | 6.1257e-06
715.5 | -4.9979 | 0.3227 | 0.00012753
716 | -4.6562 | 0.6644 | 0.00026258
716.5 | -4.054 | 1.2666 | 0.00050057
717 | -3.9402 | 1.3804 | 0.00054554
717.5 | -3.9848 | 1.3358 | 0.00052792
718 | -3.8761 | 1.4445 | 0.00057088
718.5 | -3.9709 | 1.3497 | 0.00053341
719 | -3.9412 | 1.3794 | 0.00054515
719.5 | -3.5684 | 1.7522 | 0.00069248
720 | -3.4181 | 1.9025 | 0.00075188
720.5 | -3.4772 | 1.8434 | 0.00072852
721 | -3.9386 | 1.382 | 0.00054618
721.5 | -4.264 | 1.0566 | 0.00041758
722 | -4.5881 | 0.7325 | 0.00028949
722.5 | -4.6109 | 0.7097 | 0.00028048
723 | -4.7625 | 0.5581 | 0.00022056
723.5 | -4.8077 | 0.5129 | 0.0002027
724 | -4.8689 | 0.4517 | 0.00017851
724.5 | -5.2997 | 0.0209 | 8.2598e-06
725 | -5.6991 | 0 | 0
725.5 | -6.0768 | 0 | 0
726 | -6.4058 | 0 | 0
726.5 | -6.4948 | 0 | 0
727 | -6.1891 | 0 | 0
727.5 | -6.043 | 0 | 0
728 | -5.681 | 0 | 0
728.5 | -5.1256 | 0.195 | 7.7065e-05
729 | -4.4947 | 0.8259 | 0.0003264
729.5 | -3.9935 | 1.3271 | 0.00052448
730 | -3.6228 | 1.6978 | 0.00067098
730.5 | -3.3205 | 2.0001 | 0.00079045
731 | -3.0774 | 2.2432 | 0.00088653
731.5 | -2.863 | 2.4576 | 0.00097126
732 | -2.9418 | 2.3788 | 0.00094012
732.5 | -2.849 | 2.4716 | 0.00097679
733 | -3.2913 | 2.0293 | 0.00080199
733.5 | -3.7069 | 1.6137 | 0.00063775
734 | -4.2738 | 1.0468 | 0.0004137
734.5 | -4.6049 | 0.7157 | 0.00028285
735 | -4.546 | 0.7746 | 0.00030613
735.5 | -4.5932 | 0.7274 | 0.00028747
736 | -4.4622 | 0.8584 | 0.00033925
736.5 | -4.5851 | 0.7355 | 0.00029067
737 | -4.7612 | 0.5594 | 0.00022108
737.5 | -4.842 | 0.4786 | 0.00018915
738 | -4.6771 | 0.6435 | 0.00025432
738.5 | -4.4692 | 0.8514 | 0.00033648
739 | -4.1484 | 1.1722 | 0.00046326
739.5 | -3.7068 | 1.6138 | 0.00063778
740 | -3.5015 | 1.8191 | 0.00071892
740.5 | -3.3407 | 1.9799 | 0.00078247
741 | -2.9865 | 2.3341 | 0.00092245
741.5 | -2.929 | 2.3916 | 0.00094518
742 | -2.7593 | 2.5613 | 0.0010122
742.5 | -2.7413 | 2.5793 | 0.0010194
743 | -3.0617 | 2.2589 | 0.00089273
743.5 | -3.0722 | 2.2484 | 0.00088858
744 | -3.1674 | 2.1532 | 0.00085096
744.5 | -3.6571 | 1.6635 | 0.00065743
745 | -4.1636 | 1.157 | 0.00045725
745.5 | -4.8083 | 0.5123 | 0.00020246
746 | -5.1744 | 0.1462 | 5.7779e-05
746.5 | -5.0693 | 0.2513 | 9.9315e-05
747 | -5.3783 | 0 | 0
747.5 | -5.5284 | 0 | 0
748 | -5.634 | 0 | 0
748.5 | -6.0762 | 0 | 0
749 | -5.9277 | 0 | 0
749.5 | -5.5937 | 0 | 0
750 | -5.1133 | 0.2073 | 8.1926e-05
750.5 | -4.5797 | 0.7409 | 0.00029281
751 | -4.2129 | 1.1077 | 0.00043777
751.5 | -3.8854 | 1.4352 | 0.0005672
752 | -3.2345 | 2.0861 | 0.00082444
752.5 | -2.8107 | 2.5099 | 0.00099193
753 | -2.554 | 2.7666 | 0.0010934
753.5 | -1.932 | 3.3886 | 0.0013392
754 | -1.589 | 3.7316 | 0.0014748
754.5 | -1.4219 | 3.8987 | 0.0015408
755 | -1.2807 | 4.0399 | 0.0015966
755.5 | -1.3002 | 4.0204 | 0.0015889
756 | -1.5212 | 3.7994 | 0.0015015
756.5 | -1.766 | 3.5546 | 0.0014048
757 | -1.9891 | 3.3315 | 0.0013166
757.5 | -2.1539 | 3.1667 | 0.0012515
758 | -2.5504 | 2.7702 | 0.0010948
758.5 | -3.0388 | 2.2818 | 0.00090178
759 | -3.1724 | 2.1482 | 0.00084898
759.5 | -3.4587 | 1.8619 | 0.00073584
760 | -3.7156 | 1.605 | 0.00063431
760.5 | -3.9466 | 1.374 | 0.00054301
761 | -4.0483 | 1.2723 | 0.00050282
761.5 | -4.1412 | 1.1794 | 0.00046611
762 | -4.0458 | 1.2748 | 0.00050381
762.5 | -3.6937 | 1.6269 | 0.00064296
763 | -3.7782 | 1.5424 | 0.00060957
763.5 | -3.8382 | 1.4824 | 0.00058585
764 | -3.8537 | 1.4669 | 0.00057973
764.5 | -3.8337 | 1.4869 | 0.00058763
765 | -3.8692 | 1.4514 | 0.0005736
765.5 | -3.8498 | 1.4708 | 0.00058127
766 | -3.8757 | 1.4449 | 0.00057103
766.5 | -3.8851 | 1.4355 | 0.00056732
767 | -4.1387 | 1.1819 | 0.00046709
767.5 | -4.2294 | 1.0912 | 0.00043125
768 | -4.2283 | 1.0923 | 0.00043168
768.5 | -4.3033 | 1.0173 | 0.00040204
769 | -4.4248 | 0.8958 | 0.00035403
769.5 | -4.3006 | 1.02 | 0.00040311
770 | -4.2533 | 1.0673 | 0.0004218
770.5 | -4.559 | 0.7616 | 0.00030099
771 | -4.6236 | 0.697 | 0.00027546
771.5 | -4.4873 | 0.8333 | 0.00032933
772 | -4.2628 | 1.0578 | 0.00041805
772.5 | -4.3318 | 0.9888 | 0.00039078
773 | -4.7068 | 0.6138 | 0.00024258
773.5 | -5.2374 | 0.0832 | 3.2881e-05
774 | -5.5506 | 0 | 0
774.5 | -5.4227 | 0 | 0
775 | -4.8786 | 0.442 | 0.00017468
775.5 | -4.387 | 0.9336 | 0.00036897
776 | -4.6863 | 0.6343 | 0.00025068
776.5 | -5.0885 | 0.2321 | 9.1728e-05
777 | -5.1053 | 0.2153 | 8.5088e-05
777.5 | -4.4706 | 0.85 | 0.00033593
778 | -3.8207 | 1.4999 | 0.00059277
778.5 | -3.2658 | 2.0548 | 0.00081207
779 | -3.1435 | 2.1771 | 0.0008604
779.5 | -3.0013 | 2.3193 | 0.0009166
780 | -3.0024 | 2.3182 | 0.00091617
780.5 | -2.4786 | 2.842 | 0.0011232
781 | -1.7287 | 3.5919 | 0.0014195
781.5 | -1.1545 | 4.1661 | 0.0016465
782 | -1.2152 | 4.1054 | 0.0016225
782.5 | -1.1211 | 4.1995 | 0.0016597
783 | -1.1893 | 4.1313 | 0.0016327
783.5 | -1.4837 | 3.8369 | 0.0015164
784 | -1.7181 | 3.6025 | 0.0014237
784.5 | -1.8268 | 3.4938 | 0.0013808
785 | -1.9747 | 3.3459 | 0.0013223
785.5 | -2.3259 | 2.9947 | 0.0011835
786 | -2.4428 | 2.8778 | 0.0011373
786.5 | -2.2612 | 3.0594 | 0.0012091
787 | -2.019 | 3.3016 | 0.0013048
787.5 | -1.6613 | 3.6593 | 0.0014462
788 | -1.4452 | 3.8754 | 0.0015316
788.5 | -1.1278 | 4.1928 | 0.001657
789 | -1.0574 | 4.2632 | 0.0016848
789.5 | -1.1305 | 4.1901 | 0.001656
790 | -1.1949 | 4.1257 | 0.0016305
790.5 | -1.5068 | 3.8138 | 0.0015072
791 | -1.8073 | 3.5133 | 0.0013885
791.5 | -1.8475 | 3.4731 | 0.0013726
792 | -1.7919 | 3.5287 | 0.0013946
792.5 | -1.1885 | 4.1321 | 0.001633
793 | -1.1783 | 4.1423 | 0.0016371
793.5 | -0.88341 | 4.4372 | 0.0017536
794 | -0.46222 | 4.8584 | 0.0019201
794.5 | 0.17965 | 5.5002 | 0.0021737
795 | 0.54543 | 5.866 | 0.0023183
795.5 | 1.084 | 6.4046 | 0.0025311
796 | 1.6393 | 6.9599 | 0.0027506
796.5 | 1.9054 | 7.226 | 0.0028558
797 | 2.2188 | 7.5394 | 0.0029796
797.5 | 3.0139 | 8.3345 | 0.0032939
798 | 3.633 | 8.9536 | 0.0035385
798.5 | 3.9231 | 9.2437 | 0.0036532
799 | 4.2832 | 9.6038 | 0.0037955
799.5 | 5.1622 | 10.4828 | 0.0041429
800 | 6.036 | 11.3566 | 0.0044882
800.5 | 6.4755 | 11.7961 | 0.0046619
801 | 6.8471 | 12.1677 | 0.0048088
801.5 | 7.0083 | 12.3289 | 0.0048725
802 | 7.3293 | 12.6499 | 0.0049993
802.5 | 7.9821 | 13.3027 | 0.0052573
803 | 8.6979 | 14.0185 | 0.0055402
803.5 | 8.8217 | 14.1423 | 0.0055891
804 | 8.6083 | 13.9289 | 0.0055048
804.5 | 8.3672 | 13.6878 | 0.0054095
805 | 8.6378 | 13.9584 | 0.0055165
805.5 | 9.2416 | 14.5622 | 0.0057551
806 | 9.5921 | 14.9127 | 0.0058936
806.5 | 9.1064 | 14.427 | 0.0057016
807 | 8.7372 | 14.0578 | 0.0055557
807.5 | 8.6334 | 13.954 | 0.0055147
808 | 8.8818 | 14.2024 | 0.0056129
808.5 | 9.2273 | 14.5479 | 0.0057494
809 | 9.3438 | 14.6644 | 0.0057955
809.5 | 9.2589 | 14.5795 | 0.0057619
810 | 8.6256 | 13.9462 | 0.0055116
810.5 | 8.651 | 13.9716 | 0.0055217
811 | 9.1218 | 14.4424 | 0.0057077
811.5 | 9.2017 | 14.5223 | 0.0057393
812 | 8.8733 | 14.1939 | 0.0056095
812.5 | 8.318 | 13.6386 | 0.0053901
813 | 7.7476 | 13.0682 | 0.0051646
813.5 | 7.5739 | 12.8945 | 0.005096
814 | 7.4014 | 12.722 | 0.0050278
814.5 | 7.5529 | 12.8735 | 0.0050877
815 | 7.4954 | 12.816 | 0.005065
815.5 | 6.8398 | 12.1604 | 0.0048059
816 | 6.2668 | 11.5874 | 0.0045794
816.5 | 6.0016 | 11.3222 | 0.0044746
817 | 6.0877 | 11.4083 | 0.0045086
817.5 | 6.0277 | 11.3483 | 0.0044849
818 | 5.5882 | 10.9088 | 0.0043112
818.5 | 5.0576 | 10.3782 | 0.0041015
819 | 4.5678 | 9.8884 | 0.003908
819.5 | 4.0485 | 9.3691 | 0.0037027
820 | 3.7 | 9.0206 | 0.003565
820.5 | 3.529 | 8.8496 | 0.0034974
821 | 3.4482 | 8.7688 | 0.0034655
821.5 | 3.203 | 8.5236 | 0.0033686
822 | 2.6912 | 8.0118 | 0.0031663
822.5 | 2.4222 | 7.7428 | 0.00306
823 | 2.1282 | 7.4488 | 0.0029438
823.5 | 1.6677 | 6.9883 | 0.0027618
824 | 1.3921 | 6.7127 | 0.0026529
824.5 | 1.3087 | 6.6293 | 0.0026199
825 | 1.1124 | 6.433 | 0.0025424
825.5 | 0.63763 | 5.9582 | 0.0023547
826 | 0.51001 | 5.8306 | 0.0023043
826.5 | 0.45834 | 5.7789 | 0.0022839
827 | 0.052415 | 5.373 | 0.0021235
827.5 | -0.21017 | 5.1104 | 0.0020197
828 | -0.56993 | 4.7507 | 0.0018775
828.5 | -0.71232 | 4.6083 | 0.0018212
829 | -0.67368 | 4.6469 | 0.0018365
829.5 | -0.8811 | 4.4395 | 0.0017545
830 | -0.98987 | 4.3307 | 0.0017115
830.5 | -1.0515 | 4.2691 | 0.0016872
831 | -0.81461 | 4.506 | 0.0017808
831.5 | -0.75253 | 4.5681 | 0.0018053
832 | -0.6886 | 4.632 | 0.0018306
832.5 | -0.56759 | 4.753 | 0.0018784
833 | -0.66254 | 4.6581 | 0.0018409
833.5 | -0.76324 | 4.5574 | 0.0018011
834 | -0.62128 | 4.6993 | 0.0018572
834.5 | -0.39108 | 4.9295 | 0.0019482
835 | -0.73741 | 4.5832 | 0.0018113
835.5 | -0.77876 | 4.5418 | 0.001795
836 | -0.6108 | 4.7098 | 0.0018613
836.5 | -0.39955 | 4.9211 | 0.0019448
837 | -0.19378 | 5.1268 | 0.0020262
837.5 | -0.29883 | 5.0218 | 0.0019846
838 | -0.70343 | 4.6172 | 0.0018247
838.5 | -1.0939 | 4.2267 | 0.0016704
839 | -1.317 | 4.0036 | 0.0015823
839.5 | -1.6749 | 3.6457 | 0.0014408
840 | -2.3592 | 2.9614 | 0.0011704
840.5 | -3.0758 | 2.2448 | 0.00088716
841 | -3.4131 | 1.9075 | 0.00075386
841.5 | -3.6427 | 1.6779 | 0.00066312
842 | -3.7031 | 1.6175 | 0.00063925
842.5 | -3.8798 | 1.4408 | 0.00056941
843 | -4.3468 | 0.9738 | 0.00038485
843.5 | -4.644 | 0.6766 | 0.0002674
844 | -4.6629 | 0.6577 | 0.00025993
844.5 | -4.6379 | 0.6827 | 0.00026981
845 | -4.5684 | 0.7522 | 0.00029727
845.5 | -4.878 | 0.4426 | 0.00017492
846 | -5.5551 | 0 | 0
846.5 | -6.2816 | 0 | 0
847 | -6.417 | 0 | 0
847.5 | -6.1137 | 0 | 0
848 | -6.1267 | 0 | 0
848.5 | -6.1681 | 0 | 0
849 | -6.3337 | 0 | 0
849.5 | -6.5493 | 0 | 0
850 | -6.2894 | 0 | 0
850.5 | -5.4932 | 0 | 0
851 | -4.7825 | 0.5381 | 0.00021266
851.5 | -4.5342 | 0.7864 | 0.00031079
852 | -4.3915 | 0.9291 | 0.00036719
852.5 | -4.1616 | 1.159 | 0.00045804
853 | -3.897 | 1.4236 | 0.00056262
853.5 | -3.9972 | 1.3234 | 0.00052302
854 | -3.8117 | 1.5089 | 0.00059633
854.5 | -3.475 | 1.8456 | 0.00072939
855 | -3.3592 | 1.9614 | 0.00077516
855.5 | -3.36 | 1.9606 | 0.00077484
856 | -3.3225 | 1.9981 | 0.00078966
856.5 | -2.8573 | 2.4633 | 0.00097351
857 | -2.6028 | 2.7178 | 0.0010741
857.5 | -2.3596 | 2.961 | 0.0011702
858 | -2.1164 | 3.2042 | 0.0012663
858.5 | -2.5526 | 2.768 | 0.0010939
859 | -2.9098 | 2.4108 | 0.00095276
859.5 | -3.1145 | 2.2061 | 0.00087187
860 | -3.443 | 1.8776 | 0.00074204
860.5 | -3.7767 | 1.5439 | 0.00061016
861 | -4.0605 | 1.2601 | 0.000498
861.5 | -4.0259 | 1.2947 | 0.00051167
862 | -4.3157 | 1.0049 | 0.00039714
862.5 | -4.4219 | 0.8987 | 0.00035517
863 | -4.5708 | 0.7498 | 0.00029633
863.5 | -4.9628 | 0.3578 | 0.00014141
864 | -5.1681 | 0.1525 | 6.0269e-05
864.5 | -5.3793 | 0 | 0
865 | -5.5916 | 0 | 0
865.5 | -5.7598 | 0 | 0
866 | -5.8958 | 0 | 0
866.5 | -5.4673 | 0 | 0
867 | -4.9879 | 0.3327 | 0.00013149
867.5 | -4.7497 | 0.5709 | 0.00022562
868 | -4.472 | 0.8486 | 0.00033537
868.5 | -4.139 | 1.1816 | 0.00046698
869 | -4.2299 | 1.0907 | 0.00043105
869.5 | -4.7129 | 0.6077 | 0.00024017
870 | -5.1247 | 0.1959 | 7.7421e-05
870.5 | -5.3928 | 0 | 0
871 | -5.7039 | 0 | 0
871.5 | -5.6982 | 0 | 0
872 | -5.2926 | 0.028 | 1.1066e-05
872.5 | -5.1852 | 0.1354 | 5.3511e-05
873 | -4.9189 | 0.4017 | 0.00015875
873.5 | -4.4192 | 0.9014 | 0.00035624
874 | -4.0686 | 1.252 | 0.0004948
874.5 | -4.162 | 1.1586 | 0.00045789
875 | -4.3888 | 0.9318 | 0.00036825
875.5 | -4.3982 | 0.9224 | 0.00036454
876 | -4.7876 | 0.533 | 0.00021065
876.5 | -5.2885 | 0.0321 | 1.2686e-05
877 | -5.6459 | 0 | 0
877.5 | -5.9428 | 0 | 0
878 | -5.7571 | 0 | 0
878.5 | -5.4373 | 0 | 0
879 | -4.9658 | 0.3548 | 0.00014022
879.5 | -4.9726 | 0.348 | 0.00013753
880 | -4.9141 | 0.4065 | 0.00016065
880.5 | -4.717 | 0.6036 | 0.00023855
881 | -4.6987 | 0.6219 | 0.00024578
881.5 | -4.354 | 0.9666 | 0.00038201
882 | -4.0321 | 1.2885 | 0.00050922
882.5 | -3.9277 | 1.3929 | 0.00055048
883 | -3.9481 | 1.3725 | 0.00054242
883.5 | -3.2304 | 2.0902 | 0.00082606
884 | -5.3557 | 0 | 0
884.5 | -5.7617 | 0 | 0
885 | 2.9503 | 8.2709 | 0.0032687
885.5 | -3.2986 | 2.022 | 0.00079911
886 | -22.99 | 0 | 0
886.5 | 1.0648 | 6.3854 | 0.0025236