## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 12.744 | 0 | 0
246.5 | 13.322 | 0 | 0
247 | 7.9776 | 0 | 0
247.5 | 9.7743 | 0 | 0
248 | 12.904 | 0 | 0
248.5 | 9.7771 | 0 | 0
249 | 11.862 | 0 | 0
249.5 | 9.0963 | 0 | 0
250 | 9.0963 | 0 | 0
250.5 | 12.654 | 0 | 0
251 | 14.096 | 0.774 | 0.0004432
251.5 | 9.5322 | 0 | 0
252 | 13.089 | 0 | 0
252.5 | 12.096 | 0 | 0
253 | 7.1635 | 0 | 0
253.5 | 9.6943 | 0 | 0
254 | 10.532 | 0 | 0
254.5 | 8.4347 | 0 | 0
255 | 8.2129 | 0 | 0
255.5 | 9.3691 | 0 | 0
256 | 10.38 | 0 | 0
256.5 | 11.974 | 0 | 0
257 | 10.639 | 0 | 0
257.5 | 11.713 | 0 | 0
258 | 13.286 | 0 | 0
258.5 | 13.904 | 0.582 | 0.00033326
259 | 14.964 | 1.642 | 0.00094023
259.5 | 15.318 | 1.996 | 0.0011429
260 | 15.237 | 1.915 | 0.0010966
260.5 | 14.217 | 0.895 | 0.00051249
261 | 15.057 | 1.735 | 0.00099348
261.5 | 13.824 | 0.502 | 0.00028745
262 | 13.446 | 0.124 | 7.1004e-05
262.5 | 14.086 | 0.764 | 0.00043748
263 | 12.682 | 0 | 0
263.5 | 12.933 | 0 | 0
264 | 12.423 | 0 | 0
264.5 | 10.807 | 0 | 0
265 | 10.452 | 0 | 0
265.5 | 9.9858 | 0 | 0
266 | 9.4218 | 0 | 0
266.5 | 10.326 | 0 | 0
267 | 10.357 | 0 | 0
267.5 | 10.333 | 0 | 0
268 | 10.161 | 0 | 0
268.5 | 9.8293 | 0 | 0
269 | 11.672 | 0 | 0
269.5 | 11.518 | 0 | 0
270 | 13.235 | 0 | 0
270.5 | 12.201 | 0 | 0
271 | 9.9361 | 0 | 0
271.5 | 10.654 | 0 | 0
272 | 9.6685 | 0 | 0
272.5 | 10.143 | 0 | 0
273 | 10.571 | 0 | 0
273.5 | 10.537 | 0 | 0
274 | 10.63 | 0 | 0
274.5 | 11.14 | 0 | 0
275 | 11.348 | 0 | 0
275.5 | 10.81 | 0 | 0
276 | 11.786 | 0 | 0
276.5 | 11.392 | 0 | 0
277 | 11.238 | 0 | 0
277.5 | 11.735 | 0 | 0
278 | 11.279 | 0 | 0
278.5 | 11.423 | 0 | 0
279 | 11.279 | 0 | 0
279.5 | 10.895 | 0 | 0
280 | 10.688 | 0 | 0
280.5 | 10.993 | 0 | 0
281 | 11.374 | 0 | 0
281.5 | 11.38 | 0 | 0
282 | 11.064 | 0 | 0
282.5 | 11.463 | 0 | 0
283 | 12.66 | 0 | 0
283.5 | 12.639 | 0 | 0
284 | 12.595 | 0 | 0
284.5 | 12.274 | 0 | 0
285 | 12.109 | 0 | 0
285.5 | 11.78 | 0 | 0
286 | 12.161 | 0 | 0
286.5 | 11.562 | 0 | 0
287 | 11.142 | 0 | 0
287.5 | 11.698 | 0 | 0
288 | 11.358 | 0 | 0
288.5 | 11.502 | 0 | 0
289 | 11.321 | 0 | 0
289.5 | 10.132 | 0 | 0
290 | 11.297 | 0 | 0
290.5 | 11.493 | 0 | 0
291 | 11.469 | 0 | 0
291.5 | 12.102 | 0 | 0
292 | 12.232 | 0 | 0
292.5 | 10.382 | 0 | 0
293 | 11.225 | 0 | 0
293.5 | 11.62 | 0 | 0
294 | 10.444 | 0 | 0
294.5 | 11.665 | 0 | 0
295 | 11.131 | 0 | 0
295.5 | 10.656 | 0 | 0
296 | 10.672 | 0 | 0
296.5 | 9.5961 | 0 | 0
297 | 8.7985 | 0 | 0
297.5 | 10.017 | 0 | 0
298 | 10.046 | 0 | 0
298.5 | 10.796 | 0 | 0
299 | 10.715 | 0 | 0
299.5 | 9.5494 | 0 | 0
300 | 9.0425 | 0 | 0
300.5 | 8.995 | 0 | 0
301 | 10.585 | 0 | 0
301.5 | 11.026 | 0 | 0
302 | 11.033 | 0 | 0
302.5 | 10.257 | 0 | 0
303 | 9.5038 | 0 | 0
303.5 | 9.4162 | 0 | 0
304 | 9.7649 | 0 | 0
304.5 | 11.351 | 0 | 0
305 | 11.616 | 0 | 0
305.5 | 12.561 | 0 | 0
306 | 13.12 | 0 | 0
306.5 | 13.207 | 0 | 0
307 | 13.251 | 0 | 0
307.5 | 12.503 | 0 | 0
308 | 12.957 | 0 | 0
308.5 | 12.981 | 0 | 0
309 | 13.519 | 0.197 | 0.0001128
309.5 | 13.973 | 0.651 | 0.00037277
310 | 12.784 | 0 | 0
310.5 | 11.641 | 0 | 0
311 | 10.227 | 0 | 0
311.5 | 9.4667 | 0 | 0
312 | 9.8697 | 0 | 0
312.5 | 10.243 | 0 | 0
313 | 10.755 | 0 | 0
313.5 | 11.194 | 0 | 0
314 | 12.184 | 0 | 0
314.5 | 12.256 | 0 | 0
315 | 12.068 | 0 | 0
315.5 | 11.741 | 0 | 0
316 | 10.612 | 0 | 0
316.5 | 11.514 | 0 | 0
317 | 10.785 | 0 | 0
317.5 | 10.229 | 0 | 0
318 | 10.018 | 0 | 0
318.5 | 9.623 | 0 | 0
319 | 10.699 | 0 | 0
319.5 | 10.932 | 0 | 0
320 | 11.868 | 0 | 0
320.5 | 11.794 | 0 | 0
321 | 11.715 | 0 | 0
321.5 | 11.29 | 0 | 0
322 | 10.446 | 0 | 0
322.5 | 11.042 | 0 | 0
323 | 10.551 | 0 | 0
323.5 | 11.446 | 0 | 0
324 | 11.867 | 0 | 0
324.5 | 10.744 | 0 | 0
325 | 10.347 | 0 | 0
325.5 | 8.9085 | 0 | 0
326 | 9.8724 | 0 | 0
326.5 | 10.563 | 0 | 0
327 | 11.046 | 0 | 0
327.5 | 11.306 | 0 | 0
328 | 10.211 | 0 | 0
328.5 | 10.252 | 0 | 0
329 | 10.757 | 0 | 0
329.5 | 10.725 | 0 | 0
330 | 10.31 | 0 | 0
330.5 | 10.264 | 0 | 0
331 | 8.6535 | 0 | 0
331.5 | 8.5699 | 0 | 0
332 | 8.0901 | 0 | 0
332.5 | 6.5029 | 0 | 0
333 | 6.165 | 0 | 0
333.5 | 5.7417 | 0 | 0
334 | 5.9451 | 0 | 0
334.5 | 6.7045 | 0 | 0
335 | 7.553 | 0 | 0
335.5 | 8.6628 | 0 | 0
336 | 9.4146 | 0 | 0
336.5 | 9.0562 | 0 | 0
337 | 7.706 | 0 | 0
337.5 | 7.2772 | 0 | 0
338 | 7.9956 | 0 | 0
338.5 | 8.9814 | 0 | 0
339 | 11.373 | 0 | 0
339.5 | 12.125 | 0 | 0
340 | 12.353 | 0 | 0
340.5 | 11.766 | 0 | 0
341 | 10.193 | 0 | 0
341.5 | 9.3767 | 0 | 0
342 | 8.8852 | 0 | 0
342.5 | 8.5905 | 0 | 0
343 | 7.8766 | 0 | 0
343.5 | 8.2364 | 0 | 0
344 | 8.3713 | 0 | 0
344.5 | 9.229 | 0 | 0
345 | 11.118 | 0 | 0
345.5 | 10.181 | 0 | 0
346 | 11.032 | 0 | 0
346.5 | 9.7294 | 0 | 0
347 | 8.5202 | 0 | 0
347.5 | 8.6335 | 0 | 0
348 | 7.7366 | 0 | 0
348.5 | 8.0701 | 0 | 0
349 | 9.0341 | 0 | 0
349.5 | 9.4493 | 0 | 0
350 | 10.802 | 0 | 0
350.5 | 10.308 | 0 | 0
351 | 10.294 | 0 | 0
351.5 | 9.2368 | 0 | 0
352 | 7.6554 | 0 | 0
352.5 | 8.056 | 0 | 0
353 | 9.5534 | 0 | 0
353.5 | 10.057 | 0 | 0
354 | 11.271 | 0 | 0
354.5 | 11.798 | 0 | 0
355 | 10.65 | 0 | 0
355.5 | 11.244 | 0 | 0
356 | 10.312 | 0 | 0
356.5 | 9.8351 | 0 | 0
357 | 9.9696 | 0 | 0
357.5 | 8.1962 | 0 | 0
358 | 8.688 | 0 | 0
358.5 | 8.3047 | 0 | 0
359 | 8.815 | 0 | 0
359.5 | 8.6359 | 0 | 0
360 | 9.2957 | 0 | 0
360.5 | 8.8877 | 0 | 0
361 | 9.7195 | 0 | 0
361.5 | 10.489 | 0 | 0
362 | 9.9223 | 0 | 0
362.5 | 10.748 | 0 | 0
363 | 10.838 | 0 | 0
363.5 | 10.93 | 0 | 0
364 | 10.303 | 0 | 0
364.5 | 9.1763 | 0 | 0
365 | 9.5778 | 0 | 0
365.5 | 10.237 | 0 | 0
366 | 10.465 | 0 | 0
366.5 | 11.827 | 0 | 0
367 | 11.789 | 0 | 0
367.5 | 11.853 | 0 | 0
368 | 12.134 | 0 | 0
368.5 | 10.841 | 0 | 0
369 | 10.561 | 0 | 0
369.5 | 11.445 | 0 | 0
370 | 11.104 | 0 | 0
370.5 | 11.05 | 0 | 0
371 | 11.095 | 0 | 0
371.5 | 10.92 | 0 | 0
372 | 11.897 | 0 | 0
372.5 | 11.572 | 0 | 0
373 | 10.865 | 0 | 0
373.5 | 11.413 | 0 | 0
374 | 11.472 | 0 | 0
374.5 | 10.973 | 0 | 0
375 | 11.111 | 0 | 0
375.5 | 9.4448 | 0 | 0
376 | 10.386 | 0 | 0
376.5 | 10.558 | 0 | 0
377 | 10.065 | 0 | 0
377.5 | 9.0931 | 0 | 0
378 | 7.051 | 0 | 0
378.5 | 7.2605 | 0 | 0
379 | 6.8625 | 0 | 0
379.5 | 8.0218 | 0 | 0
380 | 8.2608 | 0 | 0
380.5 | 9.0368 | 0 | 0
381 | 10.395 | 0 | 0
381.5 | 11.329 | 0 | 0
382 | 13.55 | 0.228 | 0.00013056
382.5 | 13.614 | 0.292 | 0.0001672
383 | 13.639 | 0.317 | 0.00018152
383.5 | 12.58 | 0 | 0
384 | 10.933 | 0 | 0
384.5 | 12.347 | 0 | 0
385 | 11.93 | 0 | 0
385.5 | 12.523 | 0 | 0
386 | 11.877 | 0 | 0
386.5 | 11.203 | 0 | 0
387 | 12.563 | 0 | 0
387.5 | 12.978 | 0 | 0
388 | 13.613 | 0.291 | 0.00016663
388.5 | 13.974 | 0.652 | 0.00037334
389 | 14.793 | 1.471 | 0.00084231
389.5 | 16.193 | 2.871 | 0.001644
390 | 18.24 | 4.918 | 0.0028161
390.5 | 18.597 | 5.275 | 0.0030205
391 | 18.862 | 5.54 | 0.0031723
391.5 | 19.243 | 5.921 | 0.0033904
392 | 19.568 | 6.246 | 0.0035765
392.5 | 20.504 | 7.182 | 0.0041125
393 | 22.921 | 9.599 | 0.0054965
393.5 | 25.12 | 11.798 | 0.0067557
394 | 27.448 | 14.126 | 0.0080887
394.5 | 28.795 | 15.473 | 0.0088601
395 | 30.308 | 16.986 | 0.0097264
395.5 | 32.202 | 18.88 | 0.010811
396 | 35.583 | 22.261 | 0.012747
396.5 | 37.474 | 24.152 | 0.01383
397 | 41.258 | 27.936 | 0.015997
397.5 | 44.498 | 31.176 | 0.017852
398 | 49.08 | 35.758 | 0.020476
398.5 | 55.964 | 42.642 | 0.024417
399 | 61.14 | 47.818 | 0.027381
399.5 | 67.438 | 54.116 | 0.030988
400 | 73.906 | 60.584 | 0.034691
400.5 | 79.875 | 66.553 | 0.038109
401 | 87.402 | 74.08 | 0.042419
401.5 | 95.498 | 82.176 | 0.047055
402 | 104.95 | 91.628 | 0.052467
402.5 | 115.65 | 102.328 | 0.058594
403 | 127.2 | 113.878 | 0.065208
403.5 | 138.19 | 124.868 | 0.071501
404 | 153.45 | 140.128 | 0.080239
404.5 | 170.59 | 157.268 | 0.090054
405 | 188.91 | 175.588 | 0.10054
405.5 | 209.59 | 196.268 | 0.11239
406 | 230.62 | 217.298 | 0.12443
406.5 | 252.4 | 239.078 | 0.1369
407 | 277.09 | 263.768 | 0.15104
407.5 | 306.45 | 293.128 | 0.16785
408 | 338.58 | 325.258 | 0.18625
408.5 | 374.09 | 360.768 | 0.20658
409 | 412.54 | 399.218 | 0.2286
409.5 | 454.95 | 441.628 | 0.25288
410 | 502.26 | 488.938 | 0.27997
410.5 | 552.92 | 539.598 | 0.30898
411 | 608.38 | 595.058 | 0.34074
411.5 | 666.57 | 653.248 | 0.37406
412 | 725.71 | 712.388 | 0.40792
412.5 | 790.31 | 776.988 | 0.44491
413 | 861.63 | 848.308 | 0.48575
413.5 | 934.64 | 921.318 | 0.52756
414 | 1009 | 995.678 | 0.57014
414.5 | 1087.2 | 1073.878 | 0.61492
415 | 1164.1 | 1150.778 | 0.65895
415.5 | 1243.7 | 1230.378 | 0.70453
416 | 1320.7 | 1307.378 | 0.74862
416.5 | 1394.5 | 1381.178 | 0.79088
417 | 1464.9 | 1451.578 | 0.83119
417.5 | 1532.4 | 1519.078 | 0.86984
418 | 1595.4 | 1582.078 | 0.90592
418.5 | 1648.8 | 1635.478 | 0.9365
419 | 1693.6 | 1680.278 | 0.96215
419.5 | 1726.3 | 1712.978 | 0.98087
420 | 1749 | 1735.678 | 0.99387
420.5 | 1759.7 | 1746.378 | 1
421 | 1759.3 | 1745.978 | 0.99977
421.5 | 1747.3 | 1733.978 | 0.9929
422 | 1723.8 | 1710.478 | 0.97944
422.5 | 1693.9 | 1680.578 | 0.96232
423 | 1651.3 | 1637.978 | 0.93793
423.5 | 1597.5 | 1584.178 | 0.90712
424 | 1536.4 | 1523.078 | 0.87214
424.5 | 1470.6 | 1457.278 | 0.83446
425 | 1399.1 | 1385.778 | 0.79352
425.5 | 1325.5 | 1312.178 | 0.75137
426 | 1250.9 | 1237.578 | 0.70865
426.5 | 1176.2 | 1162.878 | 0.66588
427 | 1103.8 | 1090.478 | 0.62442
427.5 | 1031.8 | 1018.478 | 0.58319
428 | 959.58 | 946.258 | 0.54184
428.5 | 892.81 | 879.488 | 0.50361
429 | 831 | 817.678 | 0.46821
429.5 | 776.01 | 762.688 | 0.43673
430 | 725.52 | 712.198 | 0.40781
430.5 | 678.16 | 664.838 | 0.3807
431 | 634.14 | 620.818 | 0.35549
431.5 | 594.49 | 581.168 | 0.33278
432 | 557.93 | 544.608 | 0.31185
432.5 | 525.23 | 511.908 | 0.29313
433 | 493.54 | 480.218 | 0.27498
433.5 | 466.82 | 453.498 | 0.25968
434 | 441.98 | 428.658 | 0.24546
434.5 | 417.13 | 403.808 | 0.23123
435 | 391.66 | 378.338 | 0.21664
435.5 | 366.39 | 353.068 | 0.20217
436 | 343.09 | 329.768 | 0.18883
436.5 | 322.4 | 309.078 | 0.17698
437 | 302.02 | 288.698 | 0.16531
437.5 | 283.55 | 270.228 | 0.15474
438 | 266.74 | 253.418 | 0.14511
438.5 | 249.74 | 236.418 | 0.13538
439 | 233.54 | 220.218 | 0.1261
439.5 | 217.3 | 203.978 | 0.1168
440 | 201.13 | 187.808 | 0.10754
440.5 | 186.51 | 173.188 | 0.09917
441 | 174.32 | 160.998 | 0.09219
441.5 | 161.82 | 148.498 | 0.085032
442 | 151.82 | 138.498 | 0.079306
442.5 | 140.6 | 127.278 | 0.072881
443 | 130.51 | 117.188 | 0.067103
443.5 | 121.61 | 108.288 | 0.062007
444 | 111.18 | 97.858 | 0.056035
444.5 | 104.54 | 91.218 | 0.052233
445 | 97.284 | 83.962 | 0.048078
445.5 | 89.439 | 76.117 | 0.043586
446 | 84.859 | 71.537 | 0.040963
446.5 | 78.625 | 65.303 | 0.037393
447 | 74.546 | 61.224 | 0.035058
447.5 | 71.082 | 57.76 | 0.033074
448 | 68.057 | 54.735 | 0.031342
448.5 | 65.151 | 51.829 | 0.029678
449 | 62.517 | 49.195 | 0.02817
449.5 | 57.6 | 44.278 | 0.025354
450 | 53.344 | 40.022 | 0.022917
450.5 | 48.65 | 35.328 | 0.020229
451 | 45.125 | 31.803 | 0.018211
451.5 | 42.602 | 29.28 | 0.016766
452 | 41.376 | 28.054 | 0.016064
452.5 | 39.194 | 25.872 | 0.014815
453 | 38.1 | 24.778 | 0.014188
453.5 | 36.648 | 23.326 | 0.013357
454 | 33.199 | 19.877 | 0.011382
454.5 | 32.18 | 18.858 | 0.010798
455 | 31.155 | 17.833 | 0.010211
455.5 | 29.738 | 16.416 | 0.0094
456 | 28.275 | 14.953 | 0.0085623
456.5 | 25.387 | 12.065 | 0.0069086
457 | 24.45 | 11.128 | 0.006372
457.5 | 23.431 | 10.109 | 0.0057886
458 | 23.342 | 10.02 | 0.0057376
458.5 | 23.754 | 10.432 | 0.0059735
459 | 21.872 | 8.55 | 0.0048958
459.5 | 21.358 | 8.036 | 0.0046015
460 | 20.813 | 7.491 | 0.0042894
460.5 | 20.794 | 7.472 | 0.0042786
461 | 20.965 | 7.643 | 0.0043765
461.5 | 20.741 | 7.419 | 0.0042482
462 | 19.371 | 6.049 | 0.0034637
462.5 | 17.767 | 4.445 | 0.0025453
463 | 17.442 | 4.12 | 0.0023592
463.5 | 17.308 | 3.986 | 0.0022824
464 | 17.19 | 3.868 | 0.0022149
464.5 | 15.529 | 2.207 | 0.0012638
465 | 14.814 | 1.492 | 0.00085434
465.5 | 14.655 | 1.333 | 0.00076329
466 | 13.952 | 0.63 | 0.00036075
466.5 | 14.225 | 0.903 | 0.00051707
467 | 14.305 | 0.983 | 0.00056288
467.5 | 14.207 | 0.885 | 0.00050676
468 | 13.574 | 0.252 | 0.0001443
468.5 | 13.423 | 0.101 | 5.7834e-05
469 | 12.431 | 0 | 0
469.5 | 12.538 | 0 | 0
470 | 13.415 | 0.093 | 5.3253e-05
470.5 | 13.843 | 0.521 | 0.00029833
471 | 14.07 | 0.748 | 0.00042832
471.5 | 13.852 | 0.53 | 0.00030349
472 | 12.772 | 0 | 0
472.5 | 11.098 | 0 | 0
473 | 11.326 | 0 | 0
473.5 | 10.731 | 0 | 0
474 | 10.67 | 0 | 0
474.5 | 9.8727 | 0 | 0
475 | 9.8189 | 0 | 0
475.5 | 9.4047 | 0 | 0
476 | 9.3762 | 0 | 0
476.5 | 9.6307 | 0 | 0
477 | 11.737 | 0 | 0
477.5 | 12.049 | 0 | 0
478 | 12.142 | 0 | 0
478.5 | 11.939 | 0 | 0
479 | 10.261 | 0 | 0
479.5 | 10.679 | 0 | 0
480 | 10.221 | 0 | 0
480.5 | 10.259 | 0 | 0
481 | 10.219 | 0 | 0
481.5 | 9.2498 | 0 | 0
482 | 9.5181 | 0 | 0
482.5 | 10.765 | 0 | 0
483 | 10.169 | 0 | 0
483.5 | 10.367 | 0 | 0
484 | 10.448 | 0 | 0
484.5 | 9.9393 | 0 | 0
485 | 10.238 | 0 | 0
485.5 | 10.18 | 0 | 0
486 | 8.6166 | 0 | 0
486.5 | 9.5803 | 0 | 0
487 | 9.9645 | 0 | 0
487.5 | 9.6632 | 0 | 0
488 | 9.8551 | 0 | 0
488.5 | 9.9247 | 0 | 0
489 | 10.991 | 0 | 0
489.5 | 13.103 | 0 | 0
490 | 12.76 | 0 | 0
490.5 | 11.966 | 0 | 0
491 | 11.264 | 0 | 0
491.5 | 10.701 | 0 | 0
492 | 10.799 | 0 | 0
492.5 | 10.857 | 0 | 0
493 | 9.1036 | 0 | 0
493.5 | 10.054 | 0 | 0
494 | 9.7873 | 0 | 0
494.5 | 9.9015 | 0 | 0
495 | 9.7607 | 0 | 0
495.5 | 7.9845 | 0 | 0
496 | 6.8242 | 0 | 0
496.5 | 6.0994 | 0 | 0
497 | 6.5875 | 0 | 0
497.5 | 8.8266 | 0 | 0
498 | 10.404 | 0 | 0
498.5 | 10.358 | 0 | 0
499 | 10.072 | 0 | 0
499.5 | 9.1931 | 0 | 0
500 | 10.096 | 0 | 0
500.5 | 9.104 | 0 | 0
501 | 8.4308 | 0 | 0
501.5 | 8.1784 | 0 | 0
502 | 7.628 | 0 | 0
502.5 | 8.2358 | 0 | 0
503 | 8.2516 | 0 | 0
503.5 | 8.8928 | 0 | 0
504 | 9.5309 | 0 | 0
504.5 | 11.575 | 0 | 0
505 | 12.541 | 0 | 0
505.5 | 12.175 | 0 | 0
506 | 11.334 | 0 | 0
506.5 | 10.6 | 0 | 0
507 | 10.647 | 0 | 0
507.5 | 11.701 | 0 | 0
508 | 10.318 | 0 | 0
508.5 | 11.038 | 0 | 0
509 | 9.3611 | 0 | 0
509.5 | 8.8762 | 0 | 0
510 | 8.9751 | 0 | 0
510.5 | 9.0872 | 0 | 0
511 | 10.195 | 0 | 0
511.5 | 11.814 | 0 | 0
512 | 12.692 | 0 | 0
512.5 | 11.543 | 0 | 0
513 | 10.817 | 0 | 0
513.5 | 10.51 | 0 | 0
514 | 11.075 | 0 | 0
514.5 | 10.096 | 0 | 0
515 | 9.5995 | 0 | 0
515.5 | 9.6286 | 0 | 0
516 | 10.292 | 0 | 0
516.5 | 11.471 | 0 | 0
517 | 10.846 | 0 | 0
517.5 | 8.5556 | 0 | 0
518 | 8.1325 | 0 | 0
518.5 | 7.514 | 0 | 0
519 | 8.9134 | 0 | 0
519.5 | 9.6024 | 0 | 0
520 | 10.049 | 0 | 0
520.5 | 11.159 | 0 | 0
521 | 10.663 | 0 | 0
521.5 | 9.4538 | 0 | 0
522 | 10.404 | 0 | 0
522.5 | 10.053 | 0 | 0
523 | 11.557 | 0 | 0
523.5 | 10.743 | 0 | 0
524 | 9.7583 | 0 | 0
524.5 | 8.3051 | 0 | 0
525 | 8.7887 | 0 | 0
525.5 | 8.3174 | 0 | 0
526 | 8.8533 | 0 | 0
526.5 | 7.5507 | 0 | 0
527 | 7.6442 | 0 | 0
527.5 | 8.7195 | 0 | 0
528 | 9.8987 | 0 | 0
528.5 | 10.554 | 0 | 0
529 | 10.559 | 0 | 0
529.5 | 10.572 | 0 | 0
530 | 10.136 | 0 | 0
530.5 | 11.024 | 0 | 0
531 | 12.423 | 0 | 0
531.5 | 13.152 | 0 | 0
532 | 13.28 | 0 | 0
532.5 | 11.632 | 0 | 0
533 | 11.725 | 0 | 0
533.5 | 11.997 | 0 | 0
534 | 13 | 0 | 0
534.5 | 13.73 | 0.408 | 0.00023363
535 | 12.598 | 0 | 0
535.5 | 11.509 | 0 | 0
536 | 10.438 | 0 | 0
536.5 | 12.217 | 0 | 0
537 | 13.44 | 0.118 | 6.7568e-05
537.5 | 13.991 | 0.669 | 0.00038308
538 | 13.682 | 0.36 | 0.00020614
538.5 | 12.224 | 0 | 0
539 | 10.807 | 0 | 0
539.5 | 10.412 | 0 | 0
540 | 9.1381 | 0 | 0
540.5 | 8.3317 | 0 | 0
541 | 7.9671 | 0 | 0
541.5 | 8.2209 | 0 | 0
542 | 8.2639 | 0 | 0
542.5 | 8.9047 | 0 | 0
543 | 9.4081 | 0 | 0
543.5 | 11.306 | 0 | 0
544 | 11.007 | 0 | 0
544.5 | 12.037 | 0 | 0
545 | 10.643 | 0 | 0
545.5 | 10.111 | 0 | 0
546 | 10.218 | 0 | 0
546.5 | 10.782 | 0 | 0
547 | 10.464 | 0 | 0
547.5 | 9.3999 | 0 | 0
548 | 8.8364 | 0 | 0
548.5 | 9.4665 | 0 | 0
549 | 10.136 | 0 | 0
549.5 | 9.8768 | 0 | 0
550 | 9.6357 | 0 | 0
550.5 | 9.2261 | 0 | 0
551 | 9.7562 | 0 | 0
551.5 | 10.944 | 0 | 0
552 | 12.063 | 0 | 0
552.5 | 12.036 | 0 | 0
553 | 11.567 | 0 | 0
553.5 | 11.361 | 0 | 0
554 | 10.192 | 0 | 0
554.5 | 9.2743 | 0 | 0
555 | 8.9584 | 0 | 0
555.5 | 8.4492 | 0 | 0
556 | 9.0723 | 0 | 0
556.5 | 8.8168 | 0 | 0
557 | 10.022 | 0 | 0
557.5 | 10.145 | 0 | 0
558 | 11.231 | 0 | 0
558.5 | 11.955 | 0 | 0
559 | 12.734 | 0 | 0
559.5 | 13.163 | 0 | 0
560 | 13.218 | 0 | 0
560.5 | 12.574 | 0 | 0
561 | 12.502 | 0 | 0
561.5 | 12.731 | 0 | 0
562 | 12.714 | 0 | 0
562.5 | 13.065 | 0 | 0
563 | 12.447 | 0 | 0
563.5 | 12.994 | 0 | 0
564 | 13.271 | 0 | 0
564.5 | 12.594 | 0 | 0
565 | 12.325 | 0 | 0
565.5 | 11.79 | 0 | 0
566 | 11.336 | 0 | 0
566.5 | 11.548 | 0 | 0
567 | 11.138 | 0 | 0
567.5 | 11.283 | 0 | 0
568 | 10.976 | 0 | 0
568.5 | 11.901 | 0 | 0
569 | 9.9954 | 0 | 0
569.5 | 9.5588 | 0 | 0
570 | 10.007 | 0 | 0
570.5 | 11.927 | 0 | 0
571 | 12.533 | 0 | 0
571.5 | 13.264 | 0 | 0
572 | 13.111 | 0 | 0
572.5 | 13.283 | 0 | 0
573 | 13.131 | 0 | 0
573.5 | 12.978 | 0 | 0
574 | 11.819 | 0 | 0
574.5 | 11.409 | 0 | 0
575 | 12.215 | 0 | 0
575.5 | 12.112 | 0 | 0
576 | 13.339 | 0.017 | 9.7344e-06
576.5 | 11.36 | 0 | 0
577 | 12.815 | 0 | 0
577.5 | 11.876 | 0 | 0
578 | 12.797 | 0 | 0
578.5 | 13.648 | 0.326 | 0.00018667
579 | 14.593 | 1.271 | 0.00072779
579.5 | 14.582 | 1.26 | 0.00072149
580 | 13.555 | 0.233 | 0.00013342
580.5 | 12.311 | 0 | 0
581 | 10.891 | 0 | 0
581.5 | 10.244 | 0 | 0
582 | 10.326 | 0 | 0
582.5 | 11.274 | 0 | 0
583 | 11.316 | 0 | 0
583.5 | 12.655 | 0 | 0
584 | 13.512 | 0.19 | 0.0001088
584.5 | 13.879 | 0.557 | 0.00031895
585 | 14.048 | 0.726 | 0.00041572
585.5 | 13.709 | 0.387 | 0.0002216
586 | 14.521 | 1.199 | 0.00068656
586.5 | 12.226 | 0 | 0
587 | 11.982 | 0 | 0
587.5 | 9.9339 | 0 | 0
588 | 9.4724 | 0 | 0
588.5 | 9.1114 | 0 | 0
589 | 9.0645 | 0 | 0
589.5 | 9.4735 | 0 | 0
590 | 9.9015 | 0 | 0
590.5 | 10.14 | 0 | 0
591 | 9.8768 | 0 | 0
591.5 | 11.147 | 0 | 0
592 | 10.621 | 0 | 0
592.5 | 11.817 | 0 | 0
593 | 11.395 | 0 | 0
593.5 | 10.991 | 0 | 0
594 | 10.225 | 0 | 0
594.5 | 10.995 | 0 | 0
595 | 11.433 | 0 | 0
595.5 | 12.221 | 0 | 0
596 | 11.514 | 0 | 0
596.5 | 10.94 | 0 | 0
597 | 10.022 | 0 | 0
597.5 | 9.9341 | 0 | 0
598 | 9.8377 | 0 | 0
598.5 | 11.556 | 0 | 0
599 | 14.13 | 0.808 | 0.00046267
599.5 | 13.99 | 0.668 | 0.00038251
600 | 13.084 | 0 | 0
600.5 | 11.374 | 0 | 0
601 | 11.134 | 0 | 0
601.5 | 10.752 | 0 | 0
602 | 10.579 | 0 | 0
602.5 | 11.645 | 0 | 0
603 | 12.642 | 0 | 0
603.5 | 13.012 | 0 | 0
604 | 11.789 | 0 | 0
604.5 | 10.424 | 0 | 0
605 | 10.764 | 0 | 0
605.5 | 12.486 | 0 | 0
606 | 12.062 | 0 | 0
606.5 | 11.835 | 0 | 0
607 | 10.673 | 0 | 0
607.5 | 11.636 | 0 | 0
608 | 11.462 | 0 | 0
608.5 | 10.719 | 0 | 0
609 | 11.221 | 0 | 0
609.5 | 10.939 | 0 | 0
610 | 12.689 | 0 | 0
610.5 | 11.819 | 0 | 0
611 | 11.849 | 0 | 0
611.5 | 13.201 | 0 | 0
612 | 13.712 | 0.39 | 0.00022332
612.5 | 11.815 | 0 | 0
613 | 9.7868 | 0 | 0
613.5 | 8.0023 | 0 | 0
614 | 8.4736 | 0 | 0
614.5 | 8.3965 | 0 | 0
615 | 9.4661 | 0 | 0
615.5 | 10.482 | 0 | 0
616 | 9.5383 | 0 | 0
616.5 | 9.9192 | 0 | 0
617 | 9.2064 | 0 | 0
617.5 | 10.4 | 0 | 0
618 | 9.8422 | 0 | 0
618.5 | 11.465 | 0 | 0
619 | 9.9445 | 0 | 0
619.5 | 9.8649 | 0 | 0
620 | 8.827 | 0 | 0
620.5 | 8.5053 | 0 | 0
621 | 8.1951 | 0 | 0
621.5 | 8.6076 | 0 | 0
622 | 8.6851 | 0 | 0
622.5 | 10.009 | 0 | 0
623 | 9.5327 | 0 | 0
623.5 | 9.7764 | 0 | 0
624 | 9.6494 | 0 | 0
624.5 | 9.5087 | 0 | 0
625 | 10.484 | 0 | 0
625.5 | 9.9462 | 0 | 0
626 | 10.01 | 0 | 0
626.5 | 10.128 | 0 | 0
627 | 10.706 | 0 | 0
627.5 | 12.012 | 0 | 0
628 | 11.491 | 0 | 0
628.5 | 10.495 | 0 | 0
629 | 10.201 | 0 | 0
629.5 | 10.554 | 0 | 0
630 | 12.179 | 0 | 0
630.5 | 12.167 | 0 | 0
631 | 12.896 | 0 | 0
631.5 | 11.363 | 0 | 0
632 | 9.1439 | 0 | 0
632.5 | 7.1303 | 0 | 0
633 | 7.902 | 0 | 0
633.5 | 9.0199 | 0 | 0
634 | 9.3158 | 0 | 0
634.5 | 10.339 | 0 | 0
635 | 9.9376 | 0 | 0
635.5 | 10.804 | 0 | 0
636 | 10.12 | 0 | 0
636.5 | 10.711 | 0 | 0
637 | 11.497 | 0 | 0
637.5 | 13.095 | 0 | 0
638 | 12.63 | 0 | 0
638.5 | 11.301 | 0 | 0
639 | 9.6461 | 0 | 0
639.5 | 8.8628 | 0 | 0
640 | 8.1841 | 0 | 0
640.5 | 9.9949 | 0 | 0
641 | 11.408 | 0 | 0
641.5 | 11.972 | 0 | 0
642 | 9.7622 | 0 | 0
642.5 | 8.763 | 0 | 0
643 | 8.3316 | 0 | 0
643.5 | 10.161 | 0 | 0
644 | 9.4494 | 0 | 0
644.5 | 8.6212 | 0 | 0
645 | 7.2774 | 0 | 0
645.5 | 7.5945 | 0 | 0
646 | 9.2338 | 0 | 0