## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 96.77 | 78.4 | 0.020135
246.5 | 64.71 | 46.34 | 0.011901
247 | 48.79 | 30.42 | 0.0078128
247.5 | 33.12 | 14.75 | 0.0037882
248 | 18.37 | 0 | 0
248.5 | 5.557 | 0.01 | 2.5683e-06
249 | -4.974 | 0.01 | 2.5683e-06
249.5 | -11.94 | 0.01 | 2.5683e-06
250 | -14.73 | 0.01 | 2.5683e-06
250.5 | -12.91 | 0.01 | 2.5683e-06
251 | -5.554 | 0.01 | 2.5683e-06
251.5 | -5.368 | 0.01 | 2.5683e-06
252 | -5.186 | 0.01 | 2.5683e-06
252.5 | -4.933 | 0.01 | 2.5683e-06
253 | -4.632 | 0.01 | 2.5683e-06
253.5 | -4.562 | 0.01 | 2.5683e-06
254 | -4.427 | 0.01 | 2.5683e-06
254.5 | -4.323 | 0.01 | 2.5683e-06
255 | -4.202 | 0.01 | 2.5683e-06
255.5 | -4.122 | 0.01 | 2.5683e-06
256 | -4.053 | 0.01 | 2.5683e-06
256.5 | -4.045 | 0.01 | 2.5683e-06
257 | -4.223 | 0.01 | 2.5683e-06
257.5 | -4.111 | 0.01 | 2.5683e-06
258 | -4.022 | 0.01 | 2.5683e-06
258.5 | -3.979 | 0.01 | 2.5683e-06
259 | -3.934 | 0.01 | 2.5683e-06
259.5 | -3.896 | 0.01 | 2.5683e-06
260 | -3.87 | 0.01 | 2.5683e-06
260.5 | -3.853 | 0.01 | 2.5683e-06
261 | -3.846 | 0.01 | 2.5683e-06
261.5 | -3.848 | 0.01 | 2.5683e-06
262 | -3.865 | 0.01 | 2.5683e-06
262.5 | -3.893 | 0.01 | 2.5683e-06
263 | -3.932 | 0.01 | 2.5683e-06
263.5 | -3.981 | 0.01 | 2.5683e-06
264 | -4.032 | 0.01 | 2.5683e-06
264.5 | -4.088 | 0.01 | 2.5683e-06
265 | -4.144 | 0.01 | 2.5683e-06
265.5 | -4.198 | 0.01 | 2.5683e-06
266 | -4.249 | 0.01 | 2.5683e-06
266.5 | -4.278 | 0.01 | 2.5683e-06
267 | -4.294 | 0.01 | 2.5683e-06
267.5 | -4.298 | 0.01 | 2.5683e-06
268 | -4.294 | 0.01 | 2.5683e-06
268.5 | -4.279 | 0.01 | 2.5683e-06
269 | -4.251 | 0.01 | 2.5683e-06
269.5 | -4.221 | 0.01 | 2.5683e-06
270 | -4.19 | 0.01 | 2.5683e-06
270.5 | -4.155 | 0.01 | 2.5683e-06
271 | -4.125 | 0.01 | 2.5683e-06
271.5 | -4.106 | 0.01 | 2.5683e-06
272 | -4.098 | 0.01 | 2.5683e-06
272.5 | -4.096 | 0.01 | 2.5683e-06
273 | -4.083 | 0.01 | 2.5683e-06
273.5 | -4.052 | 0.01 | 2.5683e-06
274 | -3.996 | 0.01 | 2.5683e-06
274.5 | -3.924 | 0.01 | 2.5683e-06
275 | -3.839 | 0.01 | 2.5683e-06
275.5 | -3.742 | 0.01 | 2.5683e-06
276 | -3.646 | 0.01 | 2.5683e-06
276.5 | -3.541 | 0.01 | 2.5683e-06
277 | -3.438 | 0.01 | 2.5683e-06
277.5 | -3.334 | 0.01 | 2.5683e-06
278 | -3.216 | 0.01 | 2.5683e-06
278.5 | -3.097 | 0.01 | 2.5683e-06
279 | -2.988 | 0.01 | 2.5683e-06
279.5 | -2.897 | 0.01 | 2.5683e-06
280 | -2.812 | 0.01 | 2.5683e-06
280.5 | -2.726 | 0.01 | 2.5683e-06
281 | -2.642 | 0.01 | 2.5683e-06
281.5 | -2.552 | 0.01 | 2.5683e-06
282 | -2.477 | 0.01 | 2.5683e-06
282.5 | -2.429 | 0.01 | 2.5683e-06
283 | -2.4 | 0.01 | 2.5683e-06
283.5 | -2.393 | 0.01 | 2.5683e-06
284 | -2.391 | 0.01 | 2.5683e-06
284.5 | -2.389 | 0.01 | 2.5683e-06
285 | -2.377 | 0.01 | 2.5683e-06
285.5 | -2.353 | 0.01 | 2.5683e-06
286 | -2.344 | 0.01 | 2.5683e-06
286.5 | -2.362 | 0.01 | 2.5683e-06
287 | -2.416 | 0.01 | 2.5683e-06
287.5 | -2.49 | 0.01 | 2.5683e-06
288 | -2.583 | 0.01 | 2.5683e-06
288.5 | -2.685 | 0.01 | 2.5683e-06
289 | -2.771 | 0.01 | 2.5683e-06
289.5 | -2.856 | 0.01 | 2.5683e-06
290 | -2.943 | 0.01 | 2.5683e-06
290.5 | -3.027 | 0.01 | 2.5683e-06
291 | -3.111 | 0.01 | 2.5683e-06
291.5 | -3.176 | 0.01 | 2.5683e-06
292 | -3.223 | 0.01 | 2.5683e-06
292.5 | -3.258 | 0.01 | 2.5683e-06
293 | -3.283 | 0.01 | 2.5683e-06
293.5 | -3.317 | 0.01 | 2.5683e-06
294 | -3.378 | 0.01 | 2.5683e-06
294.5 | -3.457 | 0.01 | 2.5683e-06
295 | -3.524 | 0.01 | 2.5683e-06
295.5 | -3.58 | 0.01 | 2.5683e-06
296 | -3.626 | 0.01 | 2.5683e-06
296.5 | -3.645 | 0.01 | 2.5683e-06
297 | -3.647 | 0.01 | 2.5683e-06
297.5 | -3.647 | 0.01 | 2.5683e-06
298 | -3.651 | 0.01 | 2.5683e-06
298.5 | -3.647 | 0.01 | 2.5683e-06
299 | -3.621 | 0.01 | 2.5683e-06
299.5 | -3.574 | 0.01 | 2.5683e-06
300 | -3.517 | 0.01 | 2.5683e-06
300.5 | -3.456 | 0.01 | 2.5683e-06
301 | -3.382 | 0.01 | 2.5683e-06
301.5 | -3.329 | 0.01 | 2.5683e-06
302 | -3.294 | 0.01 | 2.5683e-06
302.5 | -3.25 | 0.01 | 2.5683e-06
303 | -3.214 | 0.01 | 2.5683e-06
303.5 | -3.202 | 0.01 | 2.5683e-06
304 | -3.202 | 0.01 | 2.5683e-06
304.5 | -3.206 | 0.01 | 2.5683e-06
305 | -3.208 | 0.01 | 2.5683e-06
305.5 | -3.208 | 0.01 | 2.5683e-06
306 | -3.2 | 0.01 | 2.5683e-06
306.5 | -3.172 | 0.01 | 2.5683e-06
307 | -3.139 | 0.01 | 2.5683e-06
307.5 | -3.112 | 0.01 | 2.5683e-06
308 | -3.086 | 0.01 | 2.5683e-06
308.5 | -3.047 | 0.01 | 2.5683e-06
309 | -3.007 | 0.01 | 2.5683e-06
309.5 | -2.97 | 0.01 | 2.5683e-06
310 | -2.91 | 0.01 | 2.5683e-06
310.5 | -2.845 | 0.01 | 2.5683e-06
311 | -2.791 | 0.01 | 2.5683e-06
311.5 | -2.742 | 0.01 | 2.5683e-06
312 | -2.694 | 0.01 | 2.5683e-06
312.5 | -2.628 | 0.01 | 2.5683e-06
313 | -2.554 | 0.01 | 2.5683e-06
313.5 | -2.476 | 0.01 | 2.5683e-06
314 | -2.39 | 0.01 | 2.5683e-06
314.5 | -2.301 | 0.01 | 2.5683e-06
315 | -2.214 | 0.01 | 2.5683e-06
315.5 | -2.127 | 0.01 | 2.5683e-06
316 | -2.026 | 0.01 | 2.5683e-06
316.5 | -1.914 | 0.01 | 2.5683e-06
317 | -1.795 | 0.01 | 2.5683e-06
317.5 | -1.683 | 0.01 | 2.5683e-06
318 | -1.602 | 0.01 | 2.5683e-06
318.5 | -1.548 | 0.01 | 2.5683e-06
319 | -1.514 | 0.01 | 2.5683e-06
319.5 | -1.482 | 0.01 | 2.5683e-06
320 | -1.44 | 0.01 | 2.5683e-06
320.5 | -1.39 | 0.01 | 2.5683e-06
321 | -1.337 | 0.01 | 2.5683e-06
321.5 | -1.284 | 0.01 | 2.5683e-06
322 | -1.235 | 0.01 | 2.5683e-06
322.5 | -1.205 | 0.01 | 2.5683e-06
323 | -1.189 | 0.01 | 2.5683e-06
323.5 | -1.173 | 0.01 | 2.5683e-06
324 | -1.163 | 0.01 | 2.5683e-06
324.5 | -1.157 | 0.01 | 2.5683e-06
325 | -1.164 | 0.01 | 2.5683e-06
325.5 | -1.185 | 0.01 | 2.5683e-06
326 | -1.223 | 0.01 | 2.5683e-06
326.5 | -1.274 | 0.01 | 2.5683e-06
327 | -1.33 | 0.01 | 2.5683e-06
327.5 | -1.394 | 0.01 | 2.5683e-06
328 | -1.472 | 0.01 | 2.5683e-06
328.5 | -1.555 | 0.01 | 2.5683e-06
329 | -1.642 | 0.01 | 2.5683e-06
329.5 | -1.751 | 0.01 | 2.5683e-06
330 | -1.88 | 0.01 | 2.5683e-06
330.5 | -2.004 | 0.01 | 2.5683e-06
331 | -2.119 | 0.01 | 2.5683e-06
331.5 | -2.225 | 0.01 | 2.5683e-06
332 | -2.306 | 0.01 | 2.5683e-06
332.5 | -2.364 | 0.01 | 2.5683e-06
333 | -2.404 | 0.01 | 2.5683e-06
333.5 | -2.433 | 0.01 | 2.5683e-06
334 | -2.455 | 0.01 | 2.5683e-06
334.5 | -2.463 | 0.01 | 2.5683e-06
335 | -2.446 | 0.01 | 2.5683e-06
335.5 | -2.414 | 0.01 | 2.5683e-06
336 | -2.366 | 0.01 | 2.5683e-06
336.5 | -2.304 | 0.01 | 2.5683e-06
337 | -2.251 | 0.01 | 2.5683e-06
337.5 | -2.207 | 0.01 | 2.5683e-06
338 | -2.156 | 0.01 | 2.5683e-06
338.5 | -2.111 | 0.01 | 2.5683e-06
339 | -2.067 | 0.01 | 2.5683e-06
339.5 | -2.015 | 0.01 | 2.5683e-06
340 | -1.958 | 0.01 | 2.5683e-06
340.5 | -1.884 | 0.01 | 2.5683e-06
341 | -1.812 | 0.01 | 2.5683e-06
341.5 | -1.757 | 0.01 | 2.5683e-06
342 | -1.7 | 0.01 | 2.5683e-06
342.5 | -1.64 | 0.01 | 2.5683e-06
343 | -1.594 | 0.01 | 2.5683e-06
343.5 | -1.55 | 0.01 | 2.5683e-06
344 | -1.489 | 0.01 | 2.5683e-06
344.5 | -1.415 | 0.01 | 2.5683e-06
345 | -1.326 | 0.01 | 2.5683e-06
345.5 | -1.235 | 0.01 | 2.5683e-06
346 | -1.148 | 0.01 | 2.5683e-06
346.5 | -1.047 | 0.01 | 2.5683e-06
347 | -0.9343 | 0.01 | 2.5683e-06
347.5 | -0.8148 | 0.01 | 2.5683e-06
348 | -0.678 | 0.01 | 2.5683e-06
348.5 | -0.5417 | 0.01 | 2.5683e-06
349 | -0.4212 | 0.01 | 2.5683e-06
349.5 | -0.3049 | 0.01 | 2.5683e-06
350 | -0.2017 | 0.01 | 2.5683e-06
350.5 | -0.1256 | 0.01 | 2.5683e-06
351 | -0.04727 | 0.01 | 2.5683e-06
351.5 | 0.04354 | 0.01 | 2.5683e-06
352 | 0.1386 | 0.01 | 2.5683e-06
352.5 | 0.228 | 0.01 | 2.5683e-06
353 | 0.2986 | 0.01 | 2.5683e-06
353.5 | 0.3825 | 0.01 | 2.5683e-06
354 | 0.4888 | 0.01 | 2.5683e-06
354.5 | 0.6132 | 0.01 | 2.5683e-06
355 | 0.7674 | 0.01 | 2.5683e-06
355.5 | 0.9496 | 0.01 | 2.5683e-06
356 | 1.135 | 0.01 | 2.5683e-06
356.5 | 1.284 | 0.01 | 2.5683e-06
357 | 1.4 | 0.01 | 2.5683e-06
357.5 | 1.477 | 0.01 | 2.5683e-06
358 | 1.511 | 0.01 | 2.5683e-06
358.5 | 1.519 | 0.01 | 2.5683e-06
359 | 1.503 | 0.01 | 2.5683e-06
359.5 | 1.465 | 0.01 | 2.5683e-06
360 | 1.398 | 0.01 | 2.5683e-06
360.5 | 1.317 | 0.01 | 2.5683e-06
361 | 1.252 | 0.01 | 2.5683e-06
361.5 | 1.222 | 0.01 | 2.5683e-06
362 | 1.23 | 0.01 | 2.5683e-06
362.5 | 1.28 | 0.01 | 2.5683e-06
363 | 1.364 | 0.01 | 2.5683e-06
363.5 | 1.46 | 0.01 | 2.5683e-06
364 | 1.553 | 0.01 | 2.5683e-06
364.5 | 1.648 | 0.01 | 2.5683e-06
365 | 1.752 | 0.01 | 2.5683e-06
365.5 | 1.849 | 0.01 | 2.5683e-06
366 | 1.931 | 0.01 | 2.5683e-06
366.5 | 1.994 | 0.01 | 2.5683e-06
367 | 2.037 | 0.01 | 2.5683e-06
367.5 | 2.058 | 0.01 | 2.5683e-06
368 | 2.076 | 0.01 | 2.5683e-06
368.5 | 2.113 | 0.01 | 2.5683e-06
369 | 2.173 | 0.01 | 2.5683e-06
369.5 | 2.256 | 0.01 | 2.5683e-06
370 | 2.371 | 0.01 | 2.5683e-06
370.5 | 2.516 | 0.01 | 2.5683e-06
371 | 2.681 | 0.01 | 2.5683e-06
371.5 | 2.856 | 0.01 | 2.5683e-06
372 | 3.055 | 0.01 | 2.5683e-06
372.5 | 3.269 | 0.01 | 2.5683e-06
373 | 3.465 | 0.01 | 2.5683e-06
373.5 | 3.633 | 0.01 | 2.5683e-06
374 | 3.768 | 0.01 | 2.5683e-06
374.5 | 3.883 | 0.01 | 2.5683e-06
375 | 3.977 | 0.01 | 2.5683e-06
375.5 | 4.072 | 0.01 | 2.5683e-06
376 | 4.17 | 0.01 | 2.5683e-06
376.5 | 4.256 | 0.01 | 2.5683e-06
377 | 4.332 | 0.01 | 2.5683e-06
377.5 | 4.406 | 0.01 | 2.5683e-06
378 | 4.474 | 0.01 | 2.5683e-06
378.5 | 4.562 | 0.01 | 2.5683e-06
379 | 4.677 | 0.01 | 2.5683e-06
379.5 | 4.822 | 0.01 | 2.5683e-06
380 | 4.984 | 0.01 | 2.5683e-06
380.5 | 5.146 | 0.01 | 2.5683e-06
381 | 5.305 | 0.01 | 2.5683e-06
381.5 | 5.463 | 0.01 | 2.5683e-06
382 | 5.631 | 0.01 | 2.5683e-06
382.5 | 5.82 | 0.01 | 2.5683e-06
383 | 6.028 | 0.01 | 2.5683e-06
383.5 | 6.239 | 0.01 | 2.5683e-06
384 | 6.43 | 0.01 | 2.5683e-06
384.5 | 6.606 | 0.01 | 2.5683e-06
385 | 6.786 | 0.01 | 2.5683e-06
385.5 | 6.987 | 0.01 | 2.5683e-06
386 | 7.217 | 0.01 | 2.5683e-06
386.5 | 7.464 | 0.01 | 2.5683e-06
387 | 7.74 | 0.01 | 2.5683e-06
387.5 | 8.019 | 0.01 | 2.5683e-06
388 | 8.282 | 0.01 | 2.5683e-06
388.5 | 8.548 | 0.01 | 2.5683e-06
389 | 8.839 | 0.01 | 2.5683e-06
389.5 | 9.149 | 0.01 | 2.5683e-06
390 | 9.482 | 0.01 | 2.5683e-06
390.5 | 9.824 | 0.01 | 2.5683e-06
391 | 10.16 | 0.01 | 2.5683e-06
391.5 | 10.48 | 0.01 | 2.5683e-06
392 | 10.8 | 0.01 | 2.5683e-06
392.5 | 11.11 | 0.01 | 2.5683e-06
393 | 11.42 | 0.01 | 2.5683e-06
393.5 | 11.76 | 0.01 | 2.5683e-06
394 | 12.1 | 0.01 | 2.5683e-06
394.5 | 12.42 | 0.01 | 2.5683e-06
395 | 12.73 | 0.01 | 2.5683e-06
395.5 | 13.05 | 0.01 | 2.5683e-06
396 | 13.38 | 0.01 | 2.5683e-06
396.5 | 13.72 | 0.01 | 2.5683e-06
397 | 14.09 | 0.01 | 2.5683e-06
397.5 | 14.48 | 0.01 | 2.5683e-06
398 | 14.89 | 0.01 | 2.5683e-06
398.5 | 15.31 | 0.01 | 2.5683e-06
399 | 15.73 | 0.01 | 2.5683e-06
399.5 | 16.17 | 0.01 | 2.5683e-06
400 | 16.64 | 0.01 | 2.5683e-06
400.5 | 17.16 | 0.01 | 2.5683e-06
401 | 17.71 | 0.01 | 2.5683e-06
401.5 | 18.3 | 0.01 | 2.5683e-06
402 | 18.95 | 0.58 | 0.00014896
402.5 | 19.64 | 1.27 | 0.00032617
403 | 20.41 | 2.04 | 0.00052393
403.5 | 21.26 | 2.89 | 0.00074224
404 | 22.22 | 3.85 | 0.00098879
404.5 | 23.28 | 4.91 | 0.001261
405 | 24.45 | 6.08 | 0.0015615
405.5 | 25.76 | 7.39 | 0.001898
406 | 27.19 | 8.82 | 0.0022652
406.5 | 28.78 | 10.41 | 0.0026736
407 | 30.57 | 12.2 | 0.0031333
407.5 | 32.54 | 14.17 | 0.0036393
408 | 34.73 | 16.36 | 0.0042017
408.5 | 37.14 | 18.77 | 0.0048207
409 | 39.8 | 21.43 | 0.0055039
409.5 | 42.75 | 24.38 | 0.0062615
410 | 45.99 | 27.62 | 0.0070936
410.5 | 49.62 | 31.25 | 0.0080259
411 | 53.65 | 35.28 | 0.009061
411.5 | 58.12 | 39.75 | 0.010209
412 | 63.13 | 44.76 | 0.011496
412.5 | 68.64 | 50.27 | 0.012911
413 | 74.78 | 56.41 | 0.014488
413.5 | 81.6 | 63.23 | 0.016239
414 | 89.05 | 70.68 | 0.018153
414.5 | 97.3 | 78.93 | 0.020272
415 | 106.3 | 87.93 | 0.022583
415.5 | 116.1 | 97.73 | 0.0251
416 | 127 | 108.63 | 0.027899
416.5 | 138.7 | 120.33 | 0.030904
417 | 151.6 | 133.23 | 0.034217
417.5 | 165.8 | 147.43 | 0.037864
418 | 181.1 | 162.73 | 0.041794
418.5 | 198 | 179.63 | 0.046134
419 | 216.2 | 197.83 | 0.050809
419.5 | 236.1 | 217.73 | 0.05592
420 | 257.9 | 239.53 | 0.061518
420.5 | 281.4 | 263.03 | 0.067554
421 | 307.1 | 288.73 | 0.074154
421.5 | 334.9 | 316.53 | 0.081294
422 | 364.9 | 346.53 | 0.088999
422.5 | 397.5 | 379.13 | 0.097372
423 | 432.3 | 413.93 | 0.10631
423.5 | 470.1 | 451.73 | 0.11602
424 | 510.7 | 492.33 | 0.12644
424.5 | 554.2 | 535.83 | 0.13762
425 | 601.2 | 582.83 | 0.14969
425.5 | 651.5 | 633.13 | 0.16261
426 | 705.9 | 687.53 | 0.17658
426.5 | 764.3 | 745.93 | 0.19158
427 | 827.1 | 808.73 | 0.20771
427.5 | 894.8 | 876.43 | 0.22509
428 | 967 | 948.63 | 0.24364
428.5 | 1045 | 1026.63 | 0.26367
429 | 1128 | 1109.63 | 0.28499
429.5 | 1216 | 1197.63 | 0.30759
430 | 1311 | 1292.63 | 0.33199
430.5 | 1411 | 1392.63 | 0.35767
431 | 1518 | 1499.63 | 0.38515
431.5 | 1631 | 1612.63 | 0.41417
432 | 1749 | 1730.63 | 0.44448
432.5 | 1872 | 1853.63 | 0.47607
433 | 1998 | 1979.63 | 0.50843
433.5 | 2126 | 2107.63 | 0.5413
434 | 2255 | 2236.63 | 0.57443
434.5 | 2384 | 2365.63 | 0.60756
435 | 2511 | 2492.63 | 0.64018
435.5 | 2635 | 2616.63 | 0.67203
436 | 2756 | 2737.63 | 0.7031
436.5 | 2873 | 2854.63 | 0.73315
437 | 2985 | 2966.63 | 0.76192
437.5 | 3092 | 3073.63 | 0.7894
438 | 3195 | 3176.63 | 0.81585
438.5 | 3293 | 3274.63 | 0.84102
439 | 3385 | 3366.63 | 0.86465
439.5 | 3471 | 3452.63 | 0.88674
440 | 3551 | 3532.63 | 0.90728
440.5 | 3625 | 3606.63 | 0.92629
441 | 3694 | 3675.63 | 0.94401
441.5 | 3755 | 3736.63 | 0.95968
442 | 3809 | 3790.63 | 0.97355
442.5 | 3853 | 3834.63 | 0.98485
443 | 3886 | 3867.63 | 0.99332
443.5 | 3905 | 3886.63 | 0.9982
444 | 3912 | 3893.63 | 1
444.5 | 3904 | 3885.63 | 0.99795
445 | 3883 | 3864.63 | 0.99255
445.5 | 3849 | 3830.63 | 0.98382
446 | 3803 | 3784.63 | 0.97201
446.5 | 3747 | 3728.63 | 0.95762
447 | 3681 | 3662.63 | 0.94067
447.5 | 3609 | 3590.63 | 0.92218
448 | 3532 | 3513.63 | 0.9024
448.5 | 3450 | 3431.63 | 0.88134
449 | 3363 | 3344.63 | 0.859
449.5 | 3272 | 3253.63 | 0.83563
450 | 3176 | 3157.63 | 0.81097
450.5 | 3077 | 3058.63 | 0.78555
451 | 2974 | 2955.63 | 0.75909
451.5 | 2867 | 2848.63 | 0.73161
452 | 2757 | 2738.63 | 0.70336
452.5 | 2643 | 2624.63 | 0.67408
453 | 2525 | 2506.63 | 0.64378
453.5 | 2405 | 2386.63 | 0.61296
454 | 2283 | 2264.63 | 0.58162
454.5 | 2162 | 2143.63 | 0.55055
455 | 2042 | 2023.63 | 0.51973
455.5 | 1927 | 1908.63 | 0.49019
456 | 1817 | 1798.63 | 0.46194
456.5 | 1713 | 1694.63 | 0.43523
457 | 1616 | 1597.63 | 0.41032
457.5 | 1526 | 1507.63 | 0.3872
458 | 1444 | 1425.63 | 0.36614
458.5 | 1368 | 1349.63 | 0.34663
459 | 1298 | 1279.63 | 0.32865
459.5 | 1231 | 1212.63 | 0.31144
460 | 1168 | 1149.63 | 0.29526
460.5 | 1109 | 1090.63 | 0.28011
461 | 1053 | 1034.63 | 0.26572
461.5 | 1001 | 982.63 | 0.25237
462 | 950.3 | 931.93 | 0.23935
462.5 | 902.9 | 884.53 | 0.22717
463 | 857.7 | 839.33 | 0.21556
463.5 | 814.7 | 796.33 | 0.20452
464 | 773.6 | 755.23 | 0.19397
464.5 | 734.4 | 716.03 | 0.1839
465 | 697.2 | 678.83 | 0.17434
465.5 | 661.6 | 643.23 | 0.1652
466 | 628 | 609.63 | 0.15657
466.5 | 595.9 | 577.53 | 0.14833
467 | 565.4 | 547.03 | 0.14049
467.5 | 536.5 | 518.13 | 0.13307
468 | 509 | 490.63 | 0.12601
468.5 | 482.9 | 464.53 | 0.11931
469 | 458 | 439.63 | 0.11291
469.5 | 434.6 | 416.23 | 0.1069
470 | 412.2 | 393.83 | 0.10115
470.5 | 391.2 | 372.83 | 0.095754
471 | 371.3 | 352.93 | 0.090643
471.5 | 352.6 | 334.23 | 0.08584
472 | 335 | 316.63 | 0.08132
472.5 | 318.4 | 300.03 | 0.077057
473 | 302.9 | 284.53 | 0.073076
473.5 | 288.2 | 269.83 | 0.0693
474 | 274.4 | 256.03 | 0.065756
474.5 | 261.5 | 243.13 | 0.062443
475 | 249.3 | 230.93 | 0.05931
475.5 | 237.8 | 219.43 | 0.056356
476 | 227 | 208.63 | 0.053582
476.5 | 216.7 | 198.33 | 0.050937
477 | 207 | 188.63 | 0.048446
477.5 | 197.8 | 179.43 | 0.046083
478 | 188.9 | 170.53 | 0.043797
478.5 | 180.5 | 162.13 | 0.04164
479 | 172.3 | 153.93 | 0.039534
479.5 | 164.6 | 146.23 | 0.037556
480 | 157.1 | 138.73 | 0.03563
480.5 | 149.9 | 131.53 | 0.033781
481 | 142.9 | 124.53 | 0.031983
481.5 | 136.3 | 117.93 | 0.030288
482 | 129.9 | 111.53 | 0.028644
482.5 | 123.7 | 105.33 | 0.027052
483 | 117.9 | 99.53 | 0.025562
483.5 | 112.3 | 93.93 | 0.024124
484 | 106.9 | 88.53 | 0.022737
484.5 | 101.8 | 83.43 | 0.021427
485 | 96.93 | 78.56 | 0.020177
485.5 | 92.32 | 73.95 | 0.018993
486 | 87.95 | 69.58 | 0.01787
486.5 | 83.82 | 65.45 | 0.01681
487 | 79.89 | 61.52 | 0.0158
487.5 | 76.17 | 57.8 | 0.014845
488 | 72.62 | 54.25 | 0.013933
488.5 | 69.28 | 50.91 | 0.013075
489 | 66.12 | 47.75 | 0.012264
489.5 | 63.13 | 44.76 | 0.011496
490 | 60.29 | 41.92 | 0.010766
490.5 | 57.61 | 39.24 | 0.010078
491 | 55.07 | 36.7 | 0.0094257
491.5 | 52.66 | 34.29 | 0.0088067
492 | 50.37 | 32 | 0.0082186
492.5 | 48.17 | 29.8 | 0.0076535
493 | 46.09 | 27.72 | 0.0071193
493.5 | 44.1 | 25.73 | 0.0066082
494 | 42.19 | 23.82 | 0.0061177
494.5 | 40.33 | 21.96 | 0.00564
495 | 38.55 | 20.18 | 0.0051828
495.5 | 36.83 | 18.46 | 0.0047411
496 | 35.15 | 16.78 | 0.0043096
496.5 | 33.52 | 15.15 | 0.003891
497 | 31.94 | 13.57 | 0.0034852
497.5 | 30.41 | 12.04 | 0.0030922
498 | 28.92 | 10.55 | 0.0027096
498.5 | 27.47 | 9.1 | 0.0023372
499 | 26.07 | 7.7 | 0.0019776
499.5 | 24.72 | 6.35 | 0.0016309
500 | 23.4 | 5.03 | 0.0012919
500.5 | 22.11 | 3.74 | 0.00096054
501 | 20.85 | 2.48 | 0.00063694
501.5 | 19.6 | 1.23 | 0.0003159
502 | 18.38 | 0.01 | 2.5683e-06
502.5 | 17.2 | 0.01 | 2.5683e-06
503 | 16.08 | 0.01 | 2.5683e-06
503.5 | 15.03 | 0.01 | 2.5683e-06
504 | 14.03 | 0.01 | 2.5683e-06
504.5 | 13.09 | 0.01 | 2.5683e-06
505 | 12.22 | 0.01 | 2.5683e-06
505.5 | 11.4 | 0.01 | 2.5683e-06
506 | 10.65 | 0.01 | 2.5683e-06
506.5 | 9.941 | 0.01 | 2.5683e-06
507 | 9.287 | 0.01 | 2.5683e-06
507.5 | 8.671 | 0.01 | 2.5683e-06
508 | 8.075 | 0.01 | 2.5683e-06
508.5 | 7.494 | 0.01 | 2.5683e-06
509 | 6.953 | 0.01 | 2.5683e-06
509.5 | 6.439 | 0.01 | 2.5683e-06
510 | 5.941 | 0.01 | 2.5683e-06
510.5 | 5.457 | 0.01 | 2.5683e-06
511 | 4.998 | 0.01 | 2.5683e-06
511.5 | 4.572 | 0.01 | 2.5683e-06
512 | 4.178 | 0.01 | 2.5683e-06
512.5 | 3.799 | 0.01 | 2.5683e-06
513 | 3.436 | 0.01 | 2.5683e-06
513.5 | 3.093 | 0.01 | 2.5683e-06
514 | 2.76 | 0.01 | 2.5683e-06
514.5 | 2.439 | 0.01 | 2.5683e-06
515 | 2.142 | 0.01 | 2.5683e-06
515.5 | 1.856 | 0.01 | 2.5683e-06
516 | 1.586 | 0.01 | 2.5683e-06
516.5 | 1.331 | 0.01 | 2.5683e-06
517 | 1.087 | 0.01 | 2.5683e-06
517.5 | 0.8548 | 0.01 | 2.5683e-06
518 | 0.6171 | 0.01 | 2.5683e-06
518.5 | 0.3785 | 0.01 | 2.5683e-06
519 | 0.1344 | 0.01 | 2.5683e-06
519.5 | -0.1099 | 0.01 | 2.5683e-06
520 | -0.3523 | 0.01 | 2.5683e-06
520.5 | -0.5907 | 0.01 | 2.5683e-06
521 | -0.8289 | 0.01 | 2.5683e-06
521.5 | -1.056 | 0.01 | 2.5683e-06
522 | -1.279 | 0.01 | 2.5683e-06
522.5 | -1.499 | 0.01 | 2.5683e-06
523 | -1.729 | 0.01 | 2.5683e-06
523.5 | -1.944 | 0.01 | 2.5683e-06
524 | -2.134 | 0.01 | 2.5683e-06
524.5 | -2.299 | 0.01 | 2.5683e-06
525 | -2.427 | 0.01 | 2.5683e-06
525.5 | -2.518 | 0.01 | 2.5683e-06
526 | -2.599 | 0.01 | 2.5683e-06
526.5 | -2.655 | 0.01 | 2.5683e-06
527 | -2.722 | 0.01 | 2.5683e-06
527.5 | -2.818 | 0.01 | 2.5683e-06
528 | -2.924 | 0.01 | 2.5683e-06
528.5 | -3.045 | 0.01 | 2.5683e-06
529 | -3.191 | 0.01 | 2.5683e-06
529.5 | -3.357 | 0.01 | 2.5683e-06
530 | -3.518 | 0.01 | 2.5683e-06
530.5 | -3.655 | 0.01 | 2.5683e-06
531 | -3.776 | 0.01 | 2.5683e-06
531.5 | -3.885 | 0.01 | 2.5683e-06
532 | -3.984 | 0.01 | 2.5683e-06
532.5 | -4.074 | 0.01 | 2.5683e-06
533 | -4.165 | 0.01 | 2.5683e-06
533.5 | -4.254 | 0.01 | 2.5683e-06
534 | -4.331 | 0.01 | 2.5683e-06
534.5 | -4.381 | 0.01 | 2.5683e-06
535 | -4.432 | 0.01 | 2.5683e-06
535.5 | -4.491 | 0.01 | 2.5683e-06
536 | -4.568 | 0.01 | 2.5683e-06
536.5 | -4.67 | 0.01 | 2.5683e-06
537 | -4.78 | 0.01 | 2.5683e-06
537.5 | -4.895 | 0.01 | 2.5683e-06
538 | -5.01 | 0.01 | 2.5683e-06
538.5 | -5.122 | 0.01 | 2.5683e-06
539 | -5.238 | 0.01 | 2.5683e-06
539.5 | -5.354 | 0.01 | 2.5683e-06
540 | -5.442 | 0.01 | 2.5683e-06
540.5 | -5.505 | 0.01 | 2.5683e-06
541 | -5.545 | 0.01 | 2.5683e-06
541.5 | -5.583 | 0.01 | 2.5683e-06
542 | -5.615 | 0.01 | 2.5683e-06
542.5 | -5.639 | 0.01 | 2.5683e-06
543 | -5.665 | 0.01 | 2.5683e-06
543.5 | -5.706 | 0.01 | 2.5683e-06
544 | -5.76 | 0.01 | 2.5683e-06
544.5 | -5.833 | 0.01 | 2.5683e-06
545 | -5.916 | 0.01 | 2.5683e-06
545.5 | -6.008 | 0.01 | 2.5683e-06
546 | -6.095 | 0.01 | 2.5683e-06
546.5 | -6.177 | 0.01 | 2.5683e-06
547 | -6.257 | 0.01 | 2.5683e-06
547.5 | -6.319 | 0.01 | 2.5683e-06
548 | -6.35 | 0.01 | 2.5683e-06
548.5 | -6.348 | 0.01 | 2.5683e-06
549 | -6.304 | 0.01 | 2.5683e-06
549.5 | -6.236 | 0.01 | 2.5683e-06
550 | -6.182 | 0.01 | 2.5683e-06
550.5 | -6.143 | 0.01 | 2.5683e-06
551 | -6.124 | 0.01 | 2.5683e-06
551.5 | -6.111 | 0.01 | 2.5683e-06
552 | -6.099 | 0.01 | 2.5683e-06
552.5 | -6.101 | 0.01 | 2.5683e-06
553 | -6.138 | 0.01 | 2.5683e-06
553.5 | -6.205 | 0.01 | 2.5683e-06
554 | -6.265 | 0.01 | 2.5683e-06
554.5 | -6.282 | 0.01 | 2.5683e-06
555 | -6.24 | 0.01 | 2.5683e-06
555.5 | -6.158 | 0.01 | 2.5683e-06
556 | -6.071 | 0.01 | 2.5683e-06
556.5 | -5.998 | 0.01 | 2.5683e-06
557 | -5.955 | 0.01 | 2.5683e-06
557.5 | -5.929 | 0.01 | 2.5683e-06
558 | -5.905 | 0.01 | 2.5683e-06
558.5 | -5.91 | 0.01 | 2.5683e-06
559 | -5.989 | 0.01 | 2.5683e-06
559.5 | -6.115 | 0.01 | 2.5683e-06
560 | -6.287 | 0.01 | 2.5683e-06
560.5 | -6.456 | 0.01 | 2.5683e-06
561 | -6.598 | 0.01 | 2.5683e-06
561.5 | -6.726 | 0.01 | 2.5683e-06
562 | -6.86 | 0.01 | 2.5683e-06
562.5 | -6.987 | 0.01 | 2.5683e-06
563 | -7.104 | 0.01 | 2.5683e-06
563.5 | -7.192 | 0.01 | 2.5683e-06
564 | -7.244 | 0.01 | 2.5683e-06
564.5 | -7.275 | 0.01 | 2.5683e-06
565 | -7.312 | 0.01 | 2.5683e-06
565.5 | -7.359 | 0.01 | 2.5683e-06
566 | -7.421 | 0.01 | 2.5683e-06
566.5 | -7.505 | 0.01 | 2.5683e-06
567 | -7.595 | 0.01 | 2.5683e-06
567.5 | -7.698 | 0.01 | 2.5683e-06
568 | -7.8 | 0.01 | 2.5683e-06
568.5 | -7.9 | 0.01 | 2.5683e-06
569 | -7.999 | 0.01 | 2.5683e-06
569.5 | -8.082 | 0.01 | 2.5683e-06
570 | -8.152 | 0.01 | 2.5683e-06
570.5 | -8.228 | 0.01 | 2.5683e-06
571 | -8.292 | 0.01 | 2.5683e-06
571.5 | -8.332 | 0.01 | 2.5683e-06
572 | -8.348 | 0.01 | 2.5683e-06
572.5 | -8.34 | 0.01 | 2.5683e-06
573 | -8.306 | 0.01 | 2.5683e-06
573.5 | -8.281 | 0.01 | 2.5683e-06
574 | -8.274 | 0.01 | 2.5683e-06
574.5 | -8.276 | 0.01 | 2.5683e-06
575 | -8.275 | 0.01 | 2.5683e-06
575.5 | -8.258 | 0.01 | 2.5683e-06
576 | -8.244 | 0.01 | 2.5683e-06
576.5 | -8.266 | 0.01 | 2.5683e-06
577 | -8.283 | 0.01 | 2.5683e-06
577.5 | -8.275 | 0.01 | 2.5683e-06
578 | -8.246 | 0.01 | 2.5683e-06
578.5 | -8.188 | 0.01 | 2.5683e-06
579 | -8.116 | 0.01 | 2.5683e-06
579.5 | -8.046 | 0.01 | 2.5683e-06
580 | -7.987 | 0.01 | 2.5683e-06
580.5 | -7.935 | 0.01 | 2.5683e-06
581 | -7.848 | 0.01 | 2.5683e-06
581.5 | -7.723 | 0.01 | 2.5683e-06
582 | -7.578 | 0.01 | 2.5683e-06
582.5 | -7.458 | 0.01 | 2.5683e-06
583 | -7.353 | 0.01 | 2.5683e-06
583.5 | -7.27 | 0.01 | 2.5683e-06
584 | -7.217 | 0.01 | 2.5683e-06
584.5 | -7.175 | 0.01 | 2.5683e-06
585 | -7.123 | 0.01 | 2.5683e-06
585.5 | -7.077 | 0.01 | 2.5683e-06
586 | -7.043 | 0.01 | 2.5683e-06
586.5 | -7.033 | 0.01 | 2.5683e-06
587 | -7.013 | 0.01 | 2.5683e-06
587.5 | -6.994 | 0.01 | 2.5683e-06
588 | -6.994 | 0.01 | 2.5683e-06
588.5 | -7.017 | 0.01 | 2.5683e-06
589 | -7.057 | 0.01 | 2.5683e-06
589.5 | -7.108 | 0.01 | 2.5683e-06
590 | -7.168 | 0.01 | 2.5683e-06
590.5 | -7.211 | 0.01 | 2.5683e-06
591 | -7.221 | 0.01 | 2.5683e-06
591.5 | -7.219 | 0.01 | 2.5683e-06
592 | -7.216 | 0.01 | 2.5683e-06
592.5 | -7.238 | 0.01 | 2.5683e-06
593 | -7.277 | 0.01 | 2.5683e-06
593.5 | -7.36 | 0.01 | 2.5683e-06
594 | -7.47 | 0.01 | 2.5683e-06
594.5 | -7.579 | 0.01 | 2.5683e-06
595 | -7.678 | 0.01 | 2.5683e-06
595.5 | -7.775 | 0.01 | 2.5683e-06
596 | -7.864 | 0.01 | 2.5683e-06
596.5 | -7.938 | 0.01 | 2.5683e-06
597 | -7.972 | 0.01 | 2.5683e-06
597.5 | -7.987 | 0.01 | 2.5683e-06
598 | -7.985 | 0.01 | 2.5683e-06
598.5 | -7.99 | 0.01 | 2.5683e-06
599 | -8.017 | 0.01 | 2.5683e-06
599.5 | -8.066 | 0.01 | 2.5683e-06
600 | -8.118 | 0.01 | 2.5683e-06
600.5 | -8.157 | 0.01 | 2.5683e-06
601 | -8.188 | 0.01 | 2.5683e-06
601.5 | -8.212 | 0.01 | 2.5683e-06
602 | -8.216 | 0.01 | 2.5683e-06
602.5 | -8.23 | 0.01 | 2.5683e-06
603 | -8.238 | 0.01 | 2.5683e-06
603.5 | -8.22 | 0.01 | 2.5683e-06
604 | -8.171 | 0.01 | 2.5683e-06
604.5 | -8.106 | 0.01 | 2.5683e-06
605 | -8.033 | 0.01 | 2.5683e-06
605.5 | -7.966 | 0.01 | 2.5683e-06
606 | -7.925 | 0.01 | 2.5683e-06
606.5 | -7.915 | 0.01 | 2.5683e-06
607 | -7.917 | 0.01 | 2.5683e-06
607.5 | -7.926 | 0.01 | 2.5683e-06
608 | -7.938 | 0.01 | 2.5683e-06
608.5 | -7.952 | 0.01 | 2.5683e-06
609 | -7.94 | 0.01 | 2.5683e-06
609.5 | -7.855 | 0.01 | 2.5683e-06
610 | -7.718 | 0.01 | 2.5683e-06
610.5 | -7.562 | 0.01 | 2.5683e-06
611 | -7.392 | 0.01 | 2.5683e-06
611.5 | -7.229 | 0.01 | 2.5683e-06
612 | -7.101 | 0.01 | 2.5683e-06
612.5 | -7.025 | 0.01 | 2.5683e-06
613 | -6.967 | 0.01 | 2.5683e-06
613.5 | -6.924 | 0.01 | 2.5683e-06
614 | -6.899 | 0.01 | 2.5683e-06
614.5 | -6.875 | 0.01 | 2.5683e-06
615 | -6.856 | 0.01 | 2.5683e-06
615.5 | -6.845 | 0.01 | 2.5683e-06
616 | -6.855 | 0.01 | 2.5683e-06
616.5 | -6.887 | 0.01 | 2.5683e-06
617 | -6.906 | 0.01 | 2.5683e-06
617.5 | -6.92 | 0.01 | 2.5683e-06
618 | -6.942 | 0.01 | 2.5683e-06
618.5 | -6.983 | 0.01 | 2.5683e-06
619 | -7.023 | 0.01 | 2.5683e-06
619.5 | -7.059 | 0.01 | 2.5683e-06
620 | -7.121 | 0.01 | 2.5683e-06
620.5 | -7.186 | 0.01 | 2.5683e-06
621 | -7.265 | 0.01 | 2.5683e-06
621.5 | -7.378 | 0.01 | 2.5683e-06
622 | -7.518 | 0.01 | 2.5683e-06
622.5 | -7.648 | 0.01 | 2.5683e-06
623 | -7.75 | 0.01 | 2.5683e-06
623.5 | -7.844 | 0.01 | 2.5683e-06
624 | -7.94 | 0.01 | 2.5683e-06
624.5 | -8.036 | 0.01 | 2.5683e-06
625 | -8.128 | 0.01 | 2.5683e-06
625.5 | -8.197 | 0.01 | 2.5683e-06
626 | -8.245 | 0.01 | 2.5683e-06
626.5 | -8.247 | 0.01 | 2.5683e-06
627 | -8.228 | 0.01 | 2.5683e-06
627.5 | -8.227 | 0.01 | 2.5683e-06
628 | -8.236 | 0.01 | 2.5683e-06
628.5 | -8.234 | 0.01 | 2.5683e-06
629 | -8.232 | 0.01 | 2.5683e-06
629.5 | -8.262 | 0.01 | 2.5683e-06
630 | -8.325 | 0.01 | 2.5683e-06
630.5 | -8.39 | 0.01 | 2.5683e-06
631 | -8.466 | 0.01 | 2.5683e-06
631.5 | -8.543 | 0.01 | 2.5683e-06
632 | -8.612 | 0.01 | 2.5683e-06
632.5 | -8.677 | 0.01 | 2.5683e-06
633 | -8.729 | 0.01 | 2.5683e-06
633.5 | -8.75 | 0.01 | 2.5683e-06
634 | -8.718 | 0.01 | 2.5683e-06
634.5 | -8.65 | 0.01 | 2.5683e-06
635 | -8.57 | 0.01 | 2.5683e-06
635.5 | -8.488 | 0.01 | 2.5683e-06
636 | -8.408 | 0.01 | 2.5683e-06
636.5 | -8.34 | 0.01 | 2.5683e-06
637 | -8.307 | 0.01 | 2.5683e-06
637.5 | -8.306 | 0.01 | 2.5683e-06
638 | -8.331 | 0.01 | 2.5683e-06
638.5 | -8.373 | 0.01 | 2.5683e-06
639 | -8.403 | 0.01 | 2.5683e-06
639.5 | -8.372 | 0.01 | 2.5683e-06
640 | -8.272 | 0.01 | 2.5683e-06
640.5 | -8.146 | 0.01 | 2.5683e-06
641 | -8.007 | 0.01 | 2.5683e-06
641.5 | -7.843 | 0.01 | 2.5683e-06
642 | -7.659 | 0.01 | 2.5683e-06
642.5 | -7.461 | 0.01 | 2.5683e-06
643 | -7.265 | 0.01 | 2.5683e-06
643.5 | -7.1 | 0.01 | 2.5683e-06
644 | -6.973 | 0.01 | 2.5683e-06
644.5 | -6.872 | 0.01 | 2.5683e-06
645 | -6.787 | 0.01 | 2.5683e-06
645.5 | -6.72 | 0.01 | 2.5683e-06
646 | -6.683 | 0.01 | 2.5683e-06