## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 95.28 | 98.353 | 0.028392
246.5 | 64.42 | 67.493 | 0.019484
247 | 49.09 | 52.163 | 0.015058
247.5 | 33.87 | 36.943 | 0.010665
248 | 19.71 | 22.783 | 0.0065769
248.5 | 7.104 | 10.177 | 0.0029379
249 | -3.073 | 0 | 0
249.5 | -10.07 | 0 | 0
250 | -13.04 | 0 | 0
250.5 | -11.47 | 0 | 0
251 | -4.537 | 0 | 0
251.5 | -4.3 | 0 | 0
252 | -4.193 | 0 | 0
252.5 | -4.024 | 0 | 0
253 | -3.679 | 0 | 0
253.5 | -3.314 | 0 | 0
254 | -3.138 | 0 | 0
254.5 | -2.737 | 0.336 | 9.6996e-05
255 | -2.333 | 0.74 | 0.00021362
255.5 | -2.209 | 0.864 | 0.00024942
256 | -2.175 | 0.898 | 0.00025923
256.5 | -2.167 | 0.906 | 0.00026154
257 | -2.177 | 0.896 | 0.00025866
257.5 | -2.089 | 0.984 | 0.00028406
258 | -1.936 | 1.137 | 0.00032823
258.5 | -1.835 | 1.238 | 0.00035738
259 | -1.731 | 1.342 | 0.00038741
259.5 | -1.626 | 1.447 | 0.00041772
260 | -1.523 | 1.55 | 0.00044745
260.5 | -1.426 | 1.647 | 0.00047545
261 | -1.363 | 1.71 | 0.00049364
261.5 | -1.33 | 1.743 | 0.00050316
262 | -1.297 | 1.776 | 0.00051269
262.5 | -1.246 | 1.827 | 0.00052741
263 | -1.185 | 1.888 | 0.00054502
263.5 | -1.119 | 1.954 | 0.00056408
264 | -1.037 | 2.036 | 0.00058775
264.5 | -0.9625 | 2.1105 | 0.00060925
265 | -0.9067 | 2.1663 | 0.00062536
265.5 | -0.8787 | 2.1943 | 0.00063345
266 | -0.8776 | 2.1954 | 0.00063376
266.5 | -0.8777 | 2.1953 | 0.00063373
267 | -0.8701 | 2.2029 | 0.00063593
267.5 | -0.8561 | 2.2169 | 0.00063997
268 | -0.8446 | 2.2284 | 0.00064329
268.5 | -0.8355 | 2.2375 | 0.00064592
269 | -0.8168 | 2.2562 | 0.00065131
269.5 | -0.7696 | 2.3034 | 0.00066494
270 | -0.6884 | 2.3846 | 0.00068838
270.5 | -0.5978 | 2.4752 | 0.00071453
271 | -0.49 | 2.583 | 0.00074565
271.5 | -0.3656 | 2.7074 | 0.00078157
272 | -0.2474 | 2.8256 | 0.00081569
272.5 | -0.1517 | 2.9213 | 0.00084331
273 | -0.0812 | 2.9918 | 0.00086367
273.5 | -0.02163 | 3.0514 | 0.00088086
274 | 0.04355 | 3.1166 | 0.00089968
274.5 | 0.1163 | 3.1893 | 0.00092068
275 | 0.1792 | 3.2522 | 0.00093884
275.5 | 0.2203 | 3.2933 | 0.0009507
276 | 0.2565 | 3.3295 | 0.00096115
276.5 | 0.2779 | 3.3509 | 0.00096733
277 | 0.2917 | 3.3647 | 0.00097131
277.5 | 0.3053 | 3.3783 | 0.00097524
278 | 0.3148 | 3.3878 | 0.00097798
278.5 | 0.3327 | 3.4057 | 0.00098315
279 | 0.3644 | 3.4374 | 0.0009923
279.5 | 0.3921 | 3.4651 | 0.0010003
280 | 0.4199 | 3.4929 | 0.0010083
280.5 | 0.4392 | 3.5122 | 0.0010139
281 | 0.4578 | 3.5308 | 0.0010193
281.5 | 0.4787 | 3.5517 | 0.0010253
282 | 0.4905 | 3.5635 | 0.0010287
282.5 | 0.4733 | 3.5463 | 0.0010237
283 | 0.4378 | 3.5108 | 0.0010135
283.5 | 0.4005 | 3.4735 | 0.0010027
284 | 0.3406 | 3.4136 | 0.00098543
284.5 | 0.2637 | 3.3367 | 0.00096323
285 | 0.1898 | 3.2628 | 0.0009419
285.5 | 0.1245 | 3.1975 | 0.00092305
286 | 0.08949 | 3.1625 | 0.00091294
286.5 | 0.08359 | 3.1566 | 0.00091124
287 | 0.09668 | 3.1697 | 0.00091502
287.5 | 0.122 | 3.195 | 0.00092232
288 | 0.1396 | 3.2126 | 0.00092741
288.5 | 0.1431 | 3.2161 | 0.00092842
289 | 0.1307 | 3.2037 | 0.00092484
289.5 | 0.112 | 3.185 | 0.00091944
290 | 0.07893 | 3.1519 | 0.00090989
290.5 | 0.04466 | 3.1177 | 0.0009
291 | 0.02161 | 3.0946 | 0.00089334
291.5 | -0.0005468 | 3.0725 | 0.00088695
292 | -0.008221 | 3.0648 | 0.00088473
292.5 | 0.009276 | 3.0823 | 0.00088978
293 | 0.06238 | 3.1354 | 0.00090511
293.5 | 0.1446 | 3.2176 | 0.00092885
294 | 0.2541 | 3.3271 | 0.00096046
294.5 | 0.3884 | 3.4614 | 0.00099923
295 | 0.5393 | 3.6123 | 0.0010428
295.5 | 0.6997 | 3.7727 | 0.0010891
296 | 0.8672 | 3.9402 | 0.0011374
296.5 | 1.019 | 4.092 | 0.0011813
297 | 1.165 | 4.238 | 0.0012234
297.5 | 1.311 | 4.384 | 0.0012656
298 | 1.449 | 4.522 | 0.0013054
298.5 | 1.565 | 4.638 | 0.0013389
299 | 1.661 | 4.734 | 0.0013666
299.5 | 1.741 | 4.814 | 0.0013897
300 | 1.808 | 4.881 | 0.001409
300.5 | 1.859 | 4.932 | 0.0014238
301 | 1.904 | 4.977 | 0.0014367
301.5 | 1.96 | 5.033 | 0.0014529
302 | 2.032 | 5.105 | 0.0014737
302.5 | 2.117 | 5.19 | 0.0014982
303 | 2.21 | 5.283 | 0.0015251
303.5 | 2.306 | 5.379 | 0.0015528
304 | 2.405 | 5.478 | 0.0015814
304.5 | 2.499 | 5.572 | 0.0016085
305 | 2.584 | 5.657 | 0.001633
305.5 | 2.659 | 5.732 | 0.0016547
306 | 2.711 | 5.784 | 0.0016697
306.5 | 2.743 | 5.816 | 0.0016789
307 | 2.752 | 5.825 | 0.0016815
307.5 | 2.737 | 5.81 | 0.0016772
308 | 2.692 | 5.765 | 0.0016642
308.5 | 2.619 | 5.692 | 0.0016432
309 | 2.532 | 5.605 | 0.001618
309.5 | 2.449 | 5.522 | 0.0015941
310 | 2.35 | 5.423 | 0.0015655
310.5 | 2.24 | 5.313 | 0.0015337
311 | 2.148 | 5.221 | 0.0015072
311.5 | 2.071 | 5.144 | 0.001485
312 | 2.001 | 5.074 | 0.0014647
312.5 | 1.939 | 5.012 | 0.0014469
313 | 1.911 | 4.984 | 0.0014388
313.5 | 1.916 | 4.989 | 0.0014402
314 | 1.948 | 5.021 | 0.0014494
314.5 | 2.002 | 5.075 | 0.001465
315 | 2.054 | 5.127 | 0.00148
315.5 | 2.106 | 5.179 | 0.0014951
316 | 2.157 | 5.23 | 0.0015098
316.5 | 2.188 | 5.261 | 0.0015187
317 | 2.205 | 5.278 | 0.0015236
317.5 | 2.191 | 5.264 | 0.0015196
318 | 2.147 | 5.22 | 0.0015069
318.5 | 2.078 | 5.151 | 0.001487
319 | 1.984 | 5.057 | 0.0014598
319.5 | 1.864 | 4.937 | 0.0014252
320 | 1.74 | 4.813 | 0.0013894
320.5 | 1.63 | 4.703 | 0.0013577
321 | 1.557 | 4.63 | 0.0013366
321.5 | 1.52 | 4.593 | 0.0013259
322 | 1.5 | 4.573 | 0.0013201
322.5 | 1.5 | 4.573 | 0.0013201
323 | 1.509 | 4.582 | 0.0013227
323.5 | 1.519 | 4.592 | 0.0013256
324 | 1.517 | 4.59 | 0.001325
324.5 | 1.52 | 4.593 | 0.0013259
325 | 1.531 | 4.604 | 0.0013291
325.5 | 1.541 | 4.614 | 0.001332
326 | 1.539 | 4.612 | 0.0013314
326.5 | 1.513 | 4.586 | 0.0013239
327 | 1.458 | 4.531 | 0.001308
327.5 | 1.398 | 4.471 | 0.0012907
328 | 1.348 | 4.421 | 0.0012762
328.5 | 1.318 | 4.391 | 0.0012676
329 | 1.303 | 4.376 | 0.0012633
329.5 | 1.301 | 4.374 | 0.0012627
330 | 1.319 | 4.392 | 0.0012679
330.5 | 1.347 | 4.42 | 0.001276
331 | 1.405 | 4.478 | 0.0012927
331.5 | 1.494 | 4.567 | 0.0013184
332 | 1.613 | 4.686 | 0.0013527
332.5 | 1.744 | 4.817 | 0.0013906
333 | 1.862 | 4.935 | 0.0014246
333.5 | 1.958 | 5.031 | 0.0014523
334 | 2.016 | 5.089 | 0.0014691
334.5 | 2.052 | 5.125 | 0.0014795
335 | 2.081 | 5.154 | 0.0014878
335.5 | 2.12 | 5.193 | 0.0014991
336 | 2.166 | 5.239 | 0.0015124
336.5 | 2.216 | 5.289 | 0.0015268
337 | 2.276 | 5.349 | 0.0015441
337.5 | 2.345 | 5.418 | 0.0015641
338 | 2.415 | 5.488 | 0.0015843
338.5 | 2.497 | 5.57 | 0.0016079
339 | 2.585 | 5.658 | 0.0016333
339.5 | 2.674 | 5.747 | 0.001659
340 | 2.753 | 5.826 | 0.0016818
340.5 | 2.811 | 5.884 | 0.0016986
341 | 2.859 | 5.932 | 0.0017124
341.5 | 2.897 | 5.97 | 0.0017234
342 | 2.923 | 5.996 | 0.0017309
342.5 | 2.932 | 6.005 | 0.0017335
343 | 2.934 | 6.007 | 0.0017341
343.5 | 2.934 | 6.007 | 0.0017341
344 | 2.925 | 5.998 | 0.0017315
344.5 | 2.925 | 5.998 | 0.0017315
345 | 2.941 | 6.014 | 0.0017361
345.5 | 2.975 | 6.048 | 0.0017459
346 | 3.025 | 6.098 | 0.0017604
346.5 | 3.086 | 6.159 | 0.001778
347 | 3.165 | 6.238 | 0.0018008
347.5 | 3.252 | 6.325 | 0.0018259
348 | 3.334 | 6.407 | 0.0018496
348.5 | 3.41 | 6.483 | 0.0018715
349 | 3.484 | 6.557 | 0.0018929
349.5 | 3.536 | 6.609 | 0.0019079
350 | 3.557 | 6.63 | 0.0019139
350.5 | 3.557 | 6.63 | 0.0019139
351 | 3.56 | 6.633 | 0.0019148
351.5 | 3.578 | 6.651 | 0.00192
352 | 3.619 | 6.692 | 0.0019318
352.5 | 3.683 | 6.756 | 0.0019503
353 | 3.759 | 6.832 | 0.0019722
353.5 | 3.82 | 6.893 | 0.0019899
354 | 3.875 | 6.948 | 0.0020057
354.5 | 3.929 | 7.002 | 0.0020213
355 | 3.989 | 7.062 | 0.0020386
355.5 | 4.052 | 7.125 | 0.0020568
356 | 4.112 | 7.185 | 0.0020741
356.5 | 4.177 | 7.25 | 0.0020929
357 | 4.226 | 7.299 | 0.0021071
357.5 | 4.258 | 7.331 | 0.0021163
358 | 4.295 | 7.368 | 0.002127
358.5 | 4.359 | 7.432 | 0.0021455
359 | 4.454 | 7.527 | 0.0021729
359.5 | 4.573 | 7.646 | 0.0022072
360 | 4.725 | 7.798 | 0.0022511
360.5 | 4.892 | 7.965 | 0.0022993
361 | 5.063 | 8.136 | 0.0023487
361.5 | 5.238 | 8.311 | 0.0023992
362 | 5.421 | 8.494 | 0.002452
362.5 | 5.625 | 8.698 | 0.0025109
363 | 5.827 | 8.9 | 0.0025692
363.5 | 6.012 | 9.085 | 0.0026226
364 | 6.165 | 9.238 | 0.0026668
364.5 | 6.281 | 9.354 | 0.0027003
365 | 6.356 | 9.429 | 0.0027219
365.5 | 6.423 | 9.496 | 0.0027413
366 | 6.497 | 9.57 | 0.0027626
366.5 | 6.587 | 9.66 | 0.0027886
367 | 6.701 | 9.774 | 0.0028215
367.5 | 6.832 | 9.905 | 0.0028594
368 | 6.979 | 10.052 | 0.0029018
368.5 | 7.133 | 10.206 | 0.0029462
369 | 7.296 | 10.369 | 0.0029933
369.5 | 7.477 | 10.55 | 0.0030455
370 | 7.669 | 10.742 | 0.003101
370.5 | 7.846 | 10.919 | 0.0031521
371 | 7.991 | 11.064 | 0.0031939
371.5 | 8.112 | 11.185 | 0.0032289
372 | 8.202 | 11.275 | 0.0032548
372.5 | 8.259 | 11.332 | 0.0032713
373 | 8.304 | 11.377 | 0.0032843
373.5 | 8.342 | 11.415 | 0.0032953
374 | 8.373 | 11.446 | 0.0033042
374.5 | 8.402 | 11.475 | 0.0033126
375 | 8.429 | 11.502 | 0.0033204
375.5 | 8.472 | 11.545 | 0.0033328
376 | 8.528 | 11.601 | 0.0033489
376.5 | 8.606 | 11.679 | 0.0033715
377 | 8.715 | 11.788 | 0.0034029
377.5 | 8.846 | 11.919 | 0.0034407
378 | 8.983 | 12.056 | 0.0034803
378.5 | 9.123 | 12.196 | 0.0035207
379 | 9.256 | 12.329 | 0.0035591
379.5 | 9.368 | 12.441 | 0.0035914
380 | 9.465 | 12.538 | 0.0036194
380.5 | 9.561 | 12.634 | 0.0036472
381 | 9.642 | 12.715 | 0.0036705
381.5 | 9.711 | 12.784 | 0.0036905
382 | 9.785 | 12.858 | 0.0037118
382.5 | 9.864 | 12.937 | 0.0037346
383 | 9.947 | 13.02 | 0.0037586
383.5 | 10.04 | 13.113 | 0.0037854
384 | 10.16 | 13.233 | 0.0038201
384.5 | 10.29 | 13.363 | 0.0038576
385 | 10.44 | 13.513 | 0.0039009
385.5 | 10.6 | 13.673 | 0.0039471
386 | 10.76 | 13.833 | 0.0039933
386.5 | 10.93 | 14.003 | 0.0040424
387 | 11.09 | 14.163 | 0.0040885
387.5 | 11.24 | 14.313 | 0.0041318
388 | 11.39 | 14.463 | 0.0041751
388.5 | 11.53 | 14.603 | 0.0042156
389 | 11.69 | 14.763 | 0.0042617
389.5 | 11.87 | 14.943 | 0.0043137
390 | 12.08 | 15.153 | 0.0043743
390.5 | 12.33 | 15.403 | 0.0044465
391 | 12.61 | 15.683 | 0.0045273
391.5 | 12.91 | 15.983 | 0.0046139
392 | 13.23 | 16.303 | 0.0047063
392.5 | 13.57 | 16.643 | 0.0048045
393 | 13.94 | 17.013 | 0.0049113
393.5 | 14.35 | 17.423 | 0.0050296
394 | 14.78 | 17.853 | 0.0051538
394.5 | 15.25 | 18.323 | 0.0052894
395 | 15.73 | 18.803 | 0.005428
395.5 | 16.24 | 19.313 | 0.0055752
396 | 16.75 | 19.823 | 0.0057225
396.5 | 17.28 | 20.353 | 0.0058755
397 | 17.83 | 20.903 | 0.0060342
397.5 | 18.41 | 21.483 | 0.0062017
398 | 19.01 | 22.083 | 0.0063749
398.5 | 19.63 | 22.703 | 0.0065538
399 | 20.3 | 23.373 | 0.0067473
399.5 | 21.04 | 24.113 | 0.0069609
400 | 21.87 | 24.943 | 0.0072005
400.5 | 22.78 | 25.853 | 0.0074632
401 | 23.78 | 26.853 | 0.0077519
401.5 | 24.86 | 27.933 | 0.0080636
402 | 25.98 | 29.053 | 0.0083869
402.5 | 27.15 | 30.223 | 0.0087247
403 | 28.39 | 31.463 | 0.0090827
403.5 | 29.71 | 32.783 | 0.0094637
404 | 31.15 | 34.223 | 0.0098794
404.5 | 32.71 | 35.783 | 0.01033
405 | 34.42 | 37.493 | 0.010823
405.5 | 36.34 | 39.413 | 0.011378
406 | 38.44 | 41.513 | 0.011984
406.5 | 40.75 | 43.823 | 0.012651
407 | 43.31 | 46.383 | 0.01339
407.5 | 46.09 | 49.163 | 0.014192
408 | 49.17 | 52.243 | 0.015081
408.5 | 52.54 | 55.613 | 0.016054
409 | 56.23 | 59.303 | 0.017119
409.5 | 60.31 | 63.383 | 0.018297
410 | 64.79 | 67.863 | 0.019591
410.5 | 69.75 | 72.823 | 0.021022
411 | 75.22 | 78.293 | 0.022601
411.5 | 81.18 | 84.253 | 0.024322
412 | 87.79 | 90.863 | 0.02623
412.5 | 94.99 | 98.063 | 0.028309
413 | 102.9 | 105.973 | 0.030592
413.5 | 111.5 | 114.573 | 0.033075
414 | 120.9 | 123.973 | 0.035788
414.5 | 131.3 | 134.373 | 0.03879
415 | 142.4 | 145.473 | 0.041995
415.5 | 154.5 | 157.573 | 0.045488
416 | 167.6 | 170.673 | 0.049269
416.5 | 181.6 | 184.673 | 0.053311
417 | 196.8 | 199.873 | 0.057699
417.5 | 213.1 | 216.173 | 0.062404
418 | 230.4 | 233.473 | 0.067398
418.5 | 249 | 252.073 | 0.072768
419 | 268.7 | 271.773 | 0.078455
419.5 | 289.7 | 292.773 | 0.084517
420 | 312.1 | 315.173 | 0.090983
420.5 | 335.9 | 338.973 | 0.097854
421 | 361.6 | 364.673 | 0.10527
421.5 | 389 | 392.073 | 0.11318
422 | 418.4 | 421.473 | 0.12167
422.5 | 449.8 | 452.873 | 0.13073
423 | 483.1 | 486.173 | 0.14035
423.5 | 518.8 | 521.873 | 0.15065
424 | 556.6 | 559.673 | 0.16157
424.5 | 596.6 | 599.673 | 0.17311
425 | 639.2 | 642.273 | 0.18541
425.5 | 683.9 | 686.973 | 0.19831
426 | 731.3 | 734.373 | 0.212
426.5 | 781.2 | 784.273 | 0.2264
427 | 833.8 | 836.873 | 0.24159
427.5 | 889.7 | 892.773 | 0.25772
428 | 948.4 | 951.473 | 0.27467
428.5 | 1010 | 1013.073 | 0.29245
429 | 1075 | 1078.073 | 0.31122
429.5 | 1143 | 1146.073 | 0.33085
430 | 1215 | 1218.073 | 0.35163
430.5 | 1290 | 1293.073 | 0.37328
431 | 1368 | 1371.073 | 0.3958
431.5 | 1451 | 1454.073 | 0.41976
432 | 1536 | 1539.073 | 0.4443
432.5 | 1626 | 1629.073 | 0.47028
433 | 1718 | 1721.073 | 0.49684
433.5 | 1813 | 1816.073 | 0.52426
434 | 1912 | 1915.073 | 0.55284
434.5 | 2012 | 2015.073 | 0.58171
435 | 2115 | 2118.073 | 0.61144
435.5 | 2220 | 2223.073 | 0.64175
436 | 2325 | 2328.073 | 0.67206
436.5 | 2430 | 2433.073 | 0.70237
437 | 2535 | 2538.073 | 0.73268
437.5 | 2639 | 2642.073 | 0.76271
438 | 2741 | 2744.073 | 0.79215
438.5 | 2839 | 2842.073 | 0.82044
439 | 2934 | 2937.073 | 0.84787
439.5 | 3024 | 3027.073 | 0.87385
440 | 3107 | 3110.073 | 0.89781
440.5 | 3184 | 3187.073 | 0.92004
441 | 3253 | 3256.073 | 0.93996
441.5 | 3313 | 3316.073 | 0.95728
442 | 3363 | 3366.073 | 0.97171
442.5 | 3404 | 3407.073 | 0.98355
443 | 3434 | 3437.073 | 0.99221
443.5 | 3452 | 3455.073 | 0.9974
444 | 3461 | 3464.073 | 1
444.5 | 3458 | 3461.073 | 0.99913
445 | 3444 | 3447.073 | 0.99509
445.5 | 3420 | 3423.073 | 0.98816
446 | 3384 | 3387.073 | 0.97777
446.5 | 3339 | 3342.073 | 0.96478
447 | 3284 | 3287.073 | 0.9489
447.5 | 3219 | 3222.073 | 0.93014
448 | 3147 | 3150.073 | 0.90936
448.5 | 3067 | 3070.073 | 0.88626
449 | 2981 | 2984.073 | 0.86143
449.5 | 2888 | 2891.073 | 0.83459
450 | 2791 | 2794.073 | 0.80659
450.5 | 2691 | 2694.073 | 0.77772
451 | 2589 | 2592.073 | 0.74827
451.5 | 2486 | 2489.073 | 0.71854
452 | 2382 | 2385.073 | 0.68852
452.5 | 2280 | 2283.073 | 0.65907
453 | 2179 | 2182.073 | 0.62992
453.5 | 2080 | 2083.073 | 0.60134
454 | 1985 | 1988.073 | 0.57391
454.5 | 1893 | 1896.073 | 0.54735
455 | 1805 | 1808.073 | 0.52195
455.5 | 1720 | 1723.073 | 0.49741
456 | 1640 | 1643.073 | 0.47432
456.5 | 1563 | 1566.073 | 0.45209
457 | 1490 | 1493.073 | 0.43102
457.5 | 1421 | 1424.073 | 0.4111
458 | 1356 | 1359.073 | 0.39233
458.5 | 1294 | 1297.073 | 0.37444
459 | 1236 | 1239.073 | 0.35769
459.5 | 1181 | 1184.073 | 0.34182
460 | 1130 | 1133.073 | 0.32709
460.5 | 1082 | 1085.073 | 0.31324
461 | 1036 | 1039.073 | 0.29996
461.5 | 992 | 995.073 | 0.28726
462 | 950.4 | 953.473 | 0.27525
462.5 | 910.6 | 913.673 | 0.26376
463 | 872 | 875.073 | 0.25261
463.5 | 835 | 838.073 | 0.24193
464 | 799.2 | 802.273 | 0.2316
464.5 | 764.8 | 767.873 | 0.22167
465 | 731.7 | 734.773 | 0.21211
465.5 | 699.8 | 702.873 | 0.2029
466 | 669.1 | 672.173 | 0.19404
466.5 | 639.4 | 642.473 | 0.18547
467 | 610.8 | 613.873 | 0.17721
467.5 | 583.2 | 586.273 | 0.16924
468 | 556.8 | 559.873 | 0.16162
468.5 | 531.4 | 534.473 | 0.15429
469 | 506.8 | 509.873 | 0.14719
469.5 | 483.3 | 486.373 | 0.1404
470 | 460.6 | 463.673 | 0.13385
470.5 | 439.2 | 442.273 | 0.12767
471 | 418.7 | 421.773 | 0.12176
471.5 | 399.2 | 402.273 | 0.11613
472 | 380.6 | 383.673 | 0.11076
472.5 | 362.9 | 365.973 | 0.10565
473 | 346.2 | 349.273 | 0.10083
473.5 | 330.2 | 333.273 | 0.096208
474 | 315.3 | 318.373 | 0.091907
474.5 | 301.1 | 304.173 | 0.087808
475 | 287.7 | 290.773 | 0.08394
475.5 | 275 | 278.073 | 0.080273
476 | 262.9 | 265.973 | 0.07678
476.5 | 251.3 | 254.373 | 0.073432
477 | 240.1 | 243.173 | 0.070199
477.5 | 229.4 | 232.473 | 0.06711
478 | 219.1 | 222.173 | 0.064136
478.5 | 209.2 | 212.273 | 0.061278
479 | 199.8 | 202.873 | 0.058565
479.5 | 190.8 | 193.873 | 0.055967
480 | 182.3 | 185.373 | 0.053513
480.5 | 174.3 | 177.373 | 0.051204
481 | 166.7 | 169.773 | 0.04901
481.5 | 159.4 | 162.473 | 0.046902
482 | 152.5 | 155.573 | 0.04491
482.5 | 145.8 | 148.873 | 0.042976
483 | 139.4 | 142.473 | 0.041129
483.5 | 133.2 | 136.273 | 0.039339
484 | 127.2 | 130.273 | 0.037607
484.5 | 121.4 | 124.473 | 0.035933
485 | 115.8 | 118.873 | 0.034316
485.5 | 110.5 | 113.573 | 0.032786
486 | 105.5 | 108.573 | 0.031343
486.5 | 100.6 | 103.673 | 0.029928
487 | 96.03 | 99.103 | 0.028609
487.5 | 91.66 | 94.733 | 0.027347
488 | 87.51 | 90.583 | 0.026149
488.5 | 83.6 | 86.673 | 0.025021
489 | 79.84 | 82.913 | 0.023935
489.5 | 76.25 | 79.323 | 0.022899
490 | 72.81 | 75.883 | 0.021906
490.5 | 69.52 | 72.593 | 0.020956
491 | 66.37 | 69.443 | 0.020047
491.5 | 63.37 | 66.443 | 0.019181
492 | 60.56 | 63.633 | 0.018369
492.5 | 57.87 | 60.943 | 0.017593
493 | 55.33 | 58.403 | 0.01686
493.5 | 52.89 | 55.963 | 0.016155
494 | 50.56 | 53.633 | 0.015483
494.5 | 48.31 | 51.383 | 0.014833
495 | 46.18 | 49.253 | 0.014218
495.5 | 44.11 | 47.183 | 0.013621
496 | 42.16 | 45.233 | 0.013058
496.5 | 40.29 | 43.363 | 0.012518
497 | 38.51 | 41.583 | 0.012004
497.5 | 36.81 | 39.883 | 0.011513
498 | 35.21 | 38.283 | 0.011051
498.5 | 33.71 | 36.783 | 0.010618
499 | 32.32 | 35.393 | 0.010217
499.5 | 31.01 | 34.083 | 0.009839
500 | 29.76 | 32.833 | 0.0094781
500.5 | 28.56 | 31.633 | 0.0091317
501 | 27.41 | 30.483 | 0.0087998
501.5 | 26.35 | 29.423 | 0.0084938
502 | 25.38 | 28.453 | 0.0082137
502.5 | 24.49 | 27.563 | 0.0079568
503 | 23.63 | 26.703 | 0.0077086
503.5 | 22.78 | 25.853 | 0.0074632
504 | 21.95 | 25.023 | 0.0072236
504.5 | 21.13 | 24.203 | 0.0069869
505 | 20.35 | 23.423 | 0.0067617
505.5 | 19.63 | 22.703 | 0.0065538
506 | 18.92 | 21.993 | 0.0063489
506.5 | 18.22 | 21.293 | 0.0061468
507 | 17.51 | 20.583 | 0.0059418
507.5 | 16.8 | 19.873 | 0.0057369
508 | 16.12 | 19.193 | 0.0055406
508.5 | 15.46 | 18.533 | 0.0053501
509 | 14.81 | 17.883 | 0.0051624
509.5 | 14.15 | 17.223 | 0.0049719
510 | 13.51 | 16.583 | 0.0047871
510.5 | 12.85 | 15.923 | 0.0045966
511 | 12.23 | 15.303 | 0.0044176
511.5 | 11.64 | 14.713 | 0.0042473
512 | 11.09 | 14.163 | 0.0040885
512.5 | 10.55 | 13.623 | 0.0039327
513 | 10.01 | 13.083 | 0.0037768
513.5 | 9.454 | 12.527 | 0.0036163
514 | 8.895 | 11.968 | 0.0034549
514.5 | 8.35 | 11.423 | 0.0032976
515 | 7.823 | 10.896 | 0.0031454
515.5 | 7.319 | 10.392 | 0.0029999
516 | 6.83 | 9.903 | 0.0028588
516.5 | 6.376 | 9.449 | 0.0027277
517 | 5.948 | 9.021 | 0.0026042
517.5 | 5.591 | 8.664 | 0.0025011
518 | 5.273 | 8.346 | 0.0024093
518.5 | 4.97 | 8.043 | 0.0023218
519 | 4.677 | 7.75 | 0.0022373
519.5 | 4.4 | 7.473 | 0.0021573
520 | 4.122 | 7.195 | 0.002077
520.5 | 3.838 | 6.911 | 0.0019951
521 | 3.537 | 6.61 | 0.0019082
521.5 | 3.227 | 6.3 | 0.0018187
522 | 2.92 | 5.993 | 0.00173
522.5 | 2.62 | 5.693 | 0.0016434
523 | 2.34 | 5.413 | 0.0015626
523.5 | 2.11 | 5.183 | 0.0014962
524 | 1.914 | 4.987 | 0.0014396
524.5 | 1.728 | 4.801 | 0.0013859
525 | 1.564 | 4.637 | 0.0013386
525.5 | 1.419 | 4.492 | 0.0012967
526 | 1.284 | 4.357 | 0.0012578
526.5 | 1.162 | 4.235 | 0.0012225
527 | 1.054 | 4.127 | 0.0011914
527.5 | 0.9592 | 4.0322 | 0.001164
528 | 0.8814 | 3.9544 | 0.0011415
528.5 | 0.8297 | 3.9027 | 0.0011266
529 | 0.7987 | 3.8717 | 0.0011177
529.5 | 0.793 | 3.866 | 0.001116
530 | 0.8232 | 3.8962 | 0.0011247
530.5 | 0.8628 | 3.9358 | 0.0011362
531 | 0.9039 | 3.9769 | 0.001148
531.5 | 0.9609 | 4.0339 | 0.0011645
532 | 1.012 | 4.085 | 0.0011792
532.5 | 1.059 | 4.132 | 0.0011928
533 | 1.112 | 4.185 | 0.0012081
533.5 | 1.18 | 4.253 | 0.0012277
534 | 1.243 | 4.316 | 0.0012459
534.5 | 1.275 | 4.348 | 0.0012552
535 | 1.284 | 4.357 | 0.0012578
535.5 | 1.275 | 4.348 | 0.0012552
536 | 1.233 | 4.306 | 0.001243
536.5 | 1.185 | 4.258 | 0.0012292
537 | 1.123 | 4.196 | 0.0012113
537.5 | 1.062 | 4.135 | 0.0011937
538 | 1.011 | 4.084 | 0.001179
538.5 | 0.9473 | 4.0203 | 0.0011606
539 | 0.8817 | 3.9547 | 0.0011416
539.5 | 0.7973 | 3.8703 | 0.0011173
540 | 0.7106 | 3.7836 | 0.0010922
540.5 | 0.6162 | 3.6892 | 0.001065
541 | 0.4966 | 3.5696 | 0.0010305
541.5 | 0.3649 | 3.4379 | 0.00099244
542 | 0.2309 | 3.3039 | 0.00095376
542.5 | 0.1008 | 3.1738 | 0.0009162
543 | 0.0002541 | 3.0733 | 0.00088718
543.5 | -0.08566 | 2.9873 | 0.00086238
544 | -0.1503 | 2.9227 | 0.00084372
544.5 | -0.2223 | 2.8507 | 0.00082293
545 | -0.3028 | 2.7702 | 0.00079969
545.5 | -0.3825 | 2.6905 | 0.00077669
546 | -0.4749 | 2.5981 | 0.00075001
546.5 | -0.57 | 2.503 | 0.00072256
547 | -0.6576 | 2.4154 | 0.00069727
547.5 | -0.7495 | 2.3235 | 0.00067074
548 | -0.8234 | 2.2496 | 0.00064941
548.5 | -0.8967 | 2.1763 | 0.00062825
549 | -0.9736 | 2.0994 | 0.00060605
549.5 | -1.054 | 2.019 | 0.00058284
550 | -1.144 | 1.929 | 0.00055686
550.5 | -1.24 | 1.833 | 0.00052915
551 | -1.347 | 1.726 | 0.00049826
551.5 | -1.447 | 1.626 | 0.00046939
552 | -1.543 | 1.53 | 0.00044168
552.5 | -1.644 | 1.429 | 0.00041252
553 | -1.742 | 1.331 | 0.00038423
553.5 | -1.836 | 1.237 | 0.00035709
554 | -1.909 | 1.164 | 0.00033602
554.5 | -1.969 | 1.104 | 0.0003187
555 | -2.04 | 1.033 | 0.0002982
555.5 | -2.109 | 0.964 | 0.00027829
556 | -2.166 | 0.907 | 0.00026183
556.5 | -2.229 | 0.844 | 0.00024364
557 | -2.281 | 0.792 | 0.00022863
557.5 | -2.304 | 0.769 | 0.00022199
558 | -2.295 | 0.778 | 0.00022459
558.5 | -2.266 | 0.807 | 0.00023296
559 | -2.238 | 0.835 | 0.00024105
559.5 | -2.209 | 0.864 | 0.00024942
560 | -2.174 | 0.899 | 0.00025952
560.5 | -2.119 | 0.954 | 0.0002754
561 | -2.061 | 1.012 | 0.00029214
561.5 | -1.998 | 1.075 | 0.00031033
562 | -1.929 | 1.144 | 0.00033025
562.5 | -1.848 | 1.225 | 0.00035363
563 | -1.761 | 1.312 | 0.00037874
563.5 | -1.634 | 1.439 | 0.00041541
564 | -1.467 | 1.606 | 0.00046362
564.5 | -1.29 | 1.783 | 0.00051471
565 | -1.128 | 1.945 | 0.00056148
565.5 | -0.9917 | 2.0813 | 0.00060082
566 | -0.8586 | 2.2144 | 0.00063925
566.5 | -0.7426 | 2.3304 | 0.00067273
567 | -0.6358 | 2.4372 | 0.00070356
567.5 | -0.5242 | 2.5488 | 0.00073578
568 | -0.4298 | 2.6432 | 0.00076303
568.5 | -0.3694 | 2.7036 | 0.00078047
569 | -0.3297 | 2.7433 | 0.00079193
569.5 | -0.317 | 2.756 | 0.0007956
570 | -0.3146 | 2.7584 | 0.00079629
570.5 | -0.3312 | 2.7418 | 0.0007915
571 | -0.3779 | 2.6951 | 0.00077801
571.5 | -0.4494 | 2.6236 | 0.00075737
572 | -0.5244 | 2.5486 | 0.00073572
572.5 | -0.604 | 2.469 | 0.00071274
573 | -0.6836 | 2.3894 | 0.00068977
573.5 | -0.7333 | 2.3397 | 0.00067542
574 | -0.7704 | 2.3026 | 0.00066471
574.5 | -0.8451 | 2.2279 | 0.00064314
575 | -0.951 | 2.122 | 0.00061257
575.5 | -1.069 | 2.004 | 0.00057851
576 | -1.187 | 1.886 | 0.00054445
576.5 | -1.317 | 1.756 | 0.00050692
577 | -1.451 | 1.622 | 0.00046823
577.5 | -1.587 | 1.486 | 0.00042897
578 | -1.739 | 1.334 | 0.0003851
578.5 | -1.879 | 1.194 | 0.00034468
579 | -1.991 | 1.082 | 0.00031235
579.5 | -2.078 | 0.995 | 0.00028723
580 | -2.135 | 0.938 | 0.00027078
580.5 | -2.183 | 0.89 | 0.00025692
581 | -2.211 | 0.862 | 0.00024884
581.5 | -2.215 | 0.858 | 0.00024769
582 | -2.177 | 0.896 | 0.00025866
582.5 | -2.111 | 0.962 | 0.00027771
583 | -2.044 | 1.029 | 0.00029705
583.5 | -1.993 | 1.08 | 0.00031177
584 | -1.959 | 1.114 | 0.00032159
584.5 | -1.942 | 1.131 | 0.00032649
585 | -1.906 | 1.167 | 0.00033689
585.5 | -1.869 | 1.204 | 0.00034757
586 | -1.847 | 1.226 | 0.00035392
586.5 | -1.841 | 1.232 | 0.00035565
587 | -1.838 | 1.235 | 0.00035652
587.5 | -1.813 | 1.26 | 0.00036373
588 | -1.75 | 1.323 | 0.00038192
588.5 | -1.645 | 1.428 | 0.00041223
589 | -1.531 | 1.542 | 0.00044514
589.5 | -1.428 | 1.645 | 0.00047487
590 | -1.333 | 1.74 | 0.0005023
590.5 | -1.239 | 1.834 | 0.00052943
591 | -1.137 | 1.936 | 0.00055888
591.5 | -1.056 | 2.017 | 0.00058226
592 | -1.014 | 2.059 | 0.00059439
592.5 | -1.035 | 2.038 | 0.00058832
593 | -1.098 | 1.975 | 0.00057014
593.5 | -1.157 | 1.916 | 0.00055311
594 | -1.187 | 1.886 | 0.00054445
594.5 | -1.207 | 1.866 | 0.00053867
595 | -1.224 | 1.849 | 0.00053376
595.5 | -1.242 | 1.831 | 0.00052857
596 | -1.247 | 1.826 | 0.00052713
596.5 | -1.218 | 1.855 | 0.0005355
597 | -1.15 | 1.923 | 0.00055513
597.5 | -1.076 | 1.997 | 0.00057649
598 | -1.024 | 2.049 | 0.0005915
598.5 | -1.026 | 2.047 | 0.00059092
599 | -1.085 | 1.988 | 0.00057389
599.5 | -1.155 | 1.918 | 0.00055368
600 | -1.221 | 1.852 | 0.00053463
600.5 | -1.293 | 1.78 | 0.00051385
601 | -1.372 | 1.701 | 0.00049104
601.5 | -1.46 | 1.613 | 0.00046564
602 | -1.538 | 1.535 | 0.00044312
602.5 | -1.588 | 1.485 | 0.00042869
603 | -1.592 | 1.481 | 0.00042753
603.5 | -1.581 | 1.492 | 0.00043071
604 | -1.582 | 1.491 | 0.00043042
604.5 | -1.615 | 1.458 | 0.00042089
605 | -1.675 | 1.398 | 0.00040357
605.5 | -1.742 | 1.331 | 0.00038423
606 | -1.809 | 1.264 | 0.00036489
606.5 | -1.898 | 1.175 | 0.0003392
607 | -2.008 | 1.065 | 0.00030744
607.5 | -2.143 | 0.93 | 0.00026847
608 | -2.278 | 0.795 | 0.0002295
608.5 | -2.398 | 0.675 | 0.00019486
609 | -2.476 | 0.597 | 0.00017234
609.5 | -2.511 | 0.562 | 0.00016224
610 | -2.523 | 0.55 | 0.00015877
610.5 | -2.525 | 0.548 | 0.0001582
611 | -2.519 | 0.554 | 0.00015993
611.5 | -2.511 | 0.562 | 0.00016224
612 | -2.506 | 0.567 | 0.00016368
612.5 | -2.513 | 0.56 | 0.00016166
613 | -2.527 | 0.546 | 0.00015762
613.5 | -2.542 | 0.531 | 0.00015329
614 | -2.563 | 0.51 | 0.00014723
614.5 | -2.584 | 0.489 | 0.00014116
615 | -2.578 | 0.495 | 0.0001429
615.5 | -2.546 | 0.527 | 0.00015213
616 | -2.486 | 0.587 | 0.00016945
616.5 | -2.405 | 0.668 | 0.00019284
617 | -2.299 | 0.774 | 0.00022344
617.5 | -2.19 | 0.883 | 0.0002549
618 | -2.08 | 0.993 | 0.00028666
618.5 | -1.976 | 1.097 | 0.00031668
619 | -1.885 | 1.188 | 0.00034295
619.5 | -1.823 | 1.25 | 0.00036085
620 | -1.814 | 1.259 | 0.00036344
620.5 | -1.864 | 1.209 | 0.00034901
621 | -1.943 | 1.13 | 0.00032621
621.5 | -2.027 | 1.046 | 0.00030196
622 | -2.088 | 0.985 | 0.00028435
622.5 | -2.103 | 0.97 | 0.00028002
623 | -2.098 | 0.975 | 0.00028146
623.5 | -2.093 | 0.98 | 0.0002829
624 | -2.092 | 0.981 | 0.00028319
624.5 | -2.074 | 0.999 | 0.00028839
625 | -2.041 | 1.032 | 0.00029792
625.5 | -2.028 | 1.045 | 0.00030167
626 | -2.055 | 1.018 | 0.00029387
626.5 | -2.14 | 0.933 | 0.00026934
627 | -2.259 | 0.814 | 0.00023498
627.5 | -2.381 | 0.692 | 0.00019976
628 | -2.481 | 0.592 | 0.0001709
628.5 | -2.563 | 0.51 | 0.00014723
629 | -2.632 | 0.441 | 0.00012731
629.5 | -2.667 | 0.406 | 0.0001172
630 | -2.671 | 0.402 | 0.00011605
630.5 | -2.625 | 0.448 | 0.00012933
631 | -2.549 | 0.524 | 0.00015127
631.5 | -2.48 | 0.593 | 0.00017119
632 | -2.417 | 0.656 | 0.00018937
632.5 | -2.377 | 0.696 | 0.00020092
633 | -2.35 | 0.723 | 0.00020871
633.5 | -2.33 | 0.743 | 0.00021449
634 | -2.308 | 0.765 | 0.00022084
634.5 | -2.291 | 0.782 | 0.00022575
635 | -2.27 | 0.803 | 0.00023181
635.5 | -2.241 | 0.832 | 0.00024018
636 | -2.202 | 0.871 | 0.00025144
636.5 | -2.176 | 0.897 | 0.00025894
637 | -2.155 | 0.918 | 0.00026501
637.5 | -2.134 | 0.939 | 0.00027107
638 | -2.114 | 0.959 | 0.00027684
638.5 | -2.111 | 0.962 | 0.00027771
639 | -2.118 | 0.955 | 0.00027569
639.5 | -2.161 | 0.912 | 0.00026327
640 | -2.214 | 0.859 | 0.00024797
640.5 | -2.265 | 0.808 | 0.00023325
641 | -2.292 | 0.781 | 0.00022546
641.5 | -2.278 | 0.795 | 0.0002295
642 | -2.24 | 0.833 | 0.00024047
642.5 | -2.198 | 0.875 | 0.00025259
643 | -2.15 | 0.923 | 0.00026645
643.5 | -2.091 | 0.982 | 0.00028348
644 | -2.006 | 1.067 | 0.00030802
644.5 | -1.923 | 1.15 | 0.00033198
645 | -1.871 | 1.202 | 0.00034699
645.5 | -1.887 | 1.186 | 0.00034237
646 | -1.934 | 1.139 | 0.0003288
646.5 | -1.987 | 1.086 | 0.0003135
647 | -2.005 | 1.068 | 0.00030831
647.5 | -1.998 | 1.075 | 0.00031033
648 | -1.985 | 1.088 | 0.00031408
648.5 | -1.957 | 1.116 | 0.00032216
649 | -1.909 | 1.164 | 0.00033602
649.5 | -1.8 | 1.273 | 0.00036749
650 | -1.636 | 1.437 | 0.00041483
650.5 | -1.456 | 1.617 | 0.00046679
651 | -1.303 | 1.77 | 0.00051096
651.5 | -1.201 | 1.872 | 0.0005404
652 | -1.135 | 1.938 | 0.00055946
652.5 | -1.097 | 1.976 | 0.00057043
653 | -1.071 | 2.002 | 0.00057793
653.5 | -1.092 | 1.981 | 0.00057187
654 | -1.185 | 1.888 | 0.00054502
654.5 | -1.322 | 1.751 | 0.00050547
655 | -1.469 | 1.604 | 0.00046304
655.5 | -1.579 | 1.494 | 0.00043128
656 | -1.636 | 1.437 | 0.00041483
656.5 | -1.655 | 1.418 | 0.00040934
657 | -1.663 | 1.41 | 0.00040704
657.5 | -1.659 | 1.414 | 0.00040819
658 | -1.629 | 1.444 | 0.00041685
658.5 | -1.605 | 1.468 | 0.00042378
659 | -1.604 | 1.469 | 0.00042407
659.5 | -1.664 | 1.409 | 0.00040675
660 | -1.782 | 1.291 | 0.00037268
660.5 | -1.924 | 1.149 | 0.00033169
661 | -2.069 | 1.004 | 0.00028983
661.5 | -2.201 | 0.872 | 0.00025173
662 | -2.316 | 0.757 | 0.00021853
662.5 | -2.424 | 0.649 | 0.00018735
663 | -2.513 | 0.56 | 0.00016166
663.5 | -2.543 | 0.53 | 0.000153
664 | -2.514 | 0.559 | 0.00016137
664.5 | -2.456 | 0.617 | 0.00017811
665 | -2.38 | 0.693 | 0.00020005
665.5 | -2.292 | 0.781 | 0.00022546
666 | -2.221 | 0.852 | 0.00024595
666.5 | -2.179 | 0.894 | 0.00025808
667 | -2.186 | 0.887 | 0.00025606
667.5 | -2.266 | 0.807 | 0.00023296
668 | -2.403 | 0.67 | 0.00019341
668.5 | -2.551 | 0.522 | 0.00015069
669 | -2.673 | 0.4 | 0.00011547
669.5 | -2.754 | 0.319 | 9.2088e-05
670 | -2.816 | 0.257 | 7.419e-05
670.5 | -2.874 | 0.199 | 5.7447e-05
671 | -2.929 | 0.144 | 4.157e-05
671.5 | -2.961 | 0.112 | 3.2332e-05
672 | -3.004 | 0.069 | 1.9919e-05
672.5 | -3.035 | 0.038 | 1.097e-05
673 | -3.067 | 0.006 | 1.7321e-06
673.5 | -3.118 | 0 | 0
674 | -3.142 | 0 | 0
674.5 | -3.111 | 0 | 0
675 | -3.033 | 0.04 | 1.1547e-05
675.5 | -2.93 | 0.143 | 4.1281e-05
676 | -2.817 | 0.256 | 7.3901e-05
676.5 | -2.703 | 0.37 | 0.00010681
677 | -2.578 | 0.495 | 0.0001429
677.5 | -2.421 | 0.652 | 0.00018822
678 | -2.251 | 0.822 | 0.00023729
678.5 | -2.087 | 0.986 | 0.00028464
679 | -1.949 | 1.124 | 0.00032447
679.5 | -1.857 | 1.216 | 0.00035103
680 | -1.789 | 1.284 | 0.00037066
680.5 | -1.721 | 1.352 | 0.00039029
681 | -1.655 | 1.418 | 0.00040934
681.5 | -1.606 | 1.467 | 0.00042349
682 | -1.562 | 1.511 | 0.00043619
682.5 | -1.542 | 1.531 | 0.00044197
683 | -1.522 | 1.551 | 0.00044774
683.5 | -1.501 | 1.572 | 0.0004538
684 | -1.498 | 1.575 | 0.00045467
684.5 | -1.535 | 1.538 | 0.00044399
685 | -1.608 | 1.465 | 0.00042291
685.5 | -1.704 | 1.369 | 0.0003952
686 | -1.797 | 1.276 | 0.00036835
686.5 | -1.882 | 1.191 | 0.00034381
687 | -1.965 | 1.108 | 0.00031985
687.5 | -2.043 | 1.03 | 0.00029734
688 | -2.144 | 0.929 | 0.00026818
688.5 | -2.245 | 0.828 | 0.00023902
689 | -2.342 | 0.731 | 0.00021102
689.5 | -2.4 | 0.673 | 0.00019428
690 | -2.44 | 0.633 | 0.00018273
690.5 | -2.471 | 0.602 | 0.00017378
691 | -2.485 | 0.588 | 0.00016974
691.5 | -2.489 | 0.584 | 0.00016859
692 | -2.487 | 0.586 | 0.00016917
692.5 | -2.494 | 0.579 | 0.00016714
693 | -2.523 | 0.55 | 0.00015877
693.5 | -2.579 | 0.494 | 0.00014261
694 | -2.636 | 0.437 | 0.00012615
694.5 | -2.685 | 0.388 | 0.00011201
695 | -2.717 | 0.356 | 0.00010277
695.5 | -2.746 | 0.327 | 9.4398e-05
696 | -2.748 | 0.325 | 9.382e-05
696.5 | -2.718 | 0.355 | 0.00010248
697 | -2.66 | 0.413 | 0.00011922
697.5 | -2.575 | 0.498 | 0.00014376
698 | -2.506 | 0.567 | 0.00016368
698.5 | -2.454 | 0.619 | 0.00017869
699 | -2.417 | 0.656 | 0.00018937
699.5 | -2.366 | 0.707 | 0.0002041
700 | -2.31 | 0.763 | 0.00022026
700.5 | -2.271 | 0.802 | 0.00023152
701 | -2.242 | 0.831 | 0.00023989
701.5 | -2.197 | 0.876 | 0.00025288
702 | -2.109 | 0.964 | 0.00027829
702.5 | -1.976 | 1.097 | 0.00031668
703 | -1.815 | 1.258 | 0.00036316
703.5 | -1.667 | 1.406 | 0.00040588
704 | -1.549 | 1.524 | 0.00043994
704.5 | -1.452 | 1.621 | 0.00046795
705 | -1.358 | 1.715 | 0.00049508
705.5 | -1.296 | 1.777 | 0.00051298
706 | -1.282 | 1.791 | 0.00051702
706.5 | -1.326 | 1.747 | 0.00050432
707 | -1.397 | 1.676 | 0.00048382
707.5 | -1.455 | 1.618 | 0.00046708
708 | -1.478 | 1.595 | 0.00046044
708.5 | -1.508 | 1.565 | 0.00045178
709 | -1.569 | 1.504 | 0.00043417
709.5 | -1.653 | 1.42 | 0.00040992
710 | -1.727 | 1.346 | 0.00038856
710.5 | -1.779 | 1.294 | 0.00037355
711 | -1.821 | 1.252 | 0.00036142
711.5 | -1.879 | 1.194 | 0.00034468
712 | -1.975 | 1.098 | 0.00031697
712.5 | -2.071 | 1.002 | 0.00028925
713 | -2.149 | 0.924 | 0.00026674
713.5 | -2.219 | 0.854 | 0.00024653
714 | -2.301 | 0.772 | 0.00022286
714.5 | -2.379 | 0.694 | 0.00020034
715 | -2.444 | 0.629 | 0.00018158
715.5 | -2.48 | 0.593 | 0.00017119
716 | -2.494 | 0.579 | 0.00016714
716.5 | -2.505 | 0.568 | 0.00016397
717 | -2.513 | 0.56 | 0.00016166
717.5 | -2.532 | 0.541 | 0.00015617
718 | -2.538 | 0.535 | 0.00015444
718.5 | -2.541 | 0.532 | 0.00015358
719 | -2.544 | 0.529 | 0.00015271
719.5 | -2.569 | 0.504 | 0.00014549
720 | -2.599 | 0.474 | 0.00013683
720.5 | -2.651 | 0.422 | 0.00012182
721 | -2.714 | 0.359 | 0.00010364
721.5 | -2.763 | 0.31 | 8.949e-05
722 | -2.82 | 0.253 | 7.3035e-05
722.5 | -2.857 | 0.216 | 6.2354e-05
723 | -2.852 | 0.221 | 6.3798e-05
723.5 | -2.807 | 0.266 | 7.6788e-05
724 | -2.781 | 0.292 | 8.4294e-05
724.5 | -2.774 | 0.299 | 8.6315e-05
725 | -2.785 | 0.288 | 8.3139e-05
725.5 | -2.762 | 0.311 | 8.9779e-05
726 | -2.704 | 0.369 | 0.00010652
726.5 | -2.622 | 0.451 | 0.00013019
727 | -2.537 | 0.536 | 0.00015473
727.5 | -2.47 | 0.603 | 0.00017407
728 | -2.382 | 0.691 | 0.00019948
728.5 | -2.273 | 0.8 | 0.00023094
729 | -2.161 | 0.912 | 0.00026327
729.5 | -2.087 | 0.986 | 0.00028464
730 | -2.016 | 1.057 | 0.00030513
730.5 | -1.926 | 1.147 | 0.00033111
731 | -1.819 | 1.254 | 0.000362
731.5 | -1.706 | 1.367 | 0.00039462
732 | -1.616 | 1.457 | 0.0004206
732.5 | -1.575 | 1.498 | 0.00043244
733 | -1.562 | 1.511 | 0.00043619
733.5 | -1.529 | 1.544 | 0.00044572
734 | -1.497 | 1.576 | 0.00045496
734.5 | -1.471 | 1.602 | 0.00046246
735 | -1.46 | 1.613 | 0.00046564
735.5 | -1.482 | 1.591 | 0.00045929
736 | -1.539 | 1.534 | 0.00044283
736.5 | -1.604 | 1.469 | 0.00042407
737 | -1.653 | 1.42 | 0.00040992
737.5 | -1.714 | 1.359 | 0.00039231
738 | -1.772 | 1.301 | 0.00037557
738.5 | -1.827 | 1.246 | 0.00035969
739 | -1.853 | 1.22 | 0.00035219
739.5 | -1.864 | 1.209 | 0.00034901
740 | -1.894 | 1.179 | 0.00034035
740.5 | -1.947 | 1.126 | 0.00032505
741 | -2.048 | 1.025 | 0.00029589
741.5 | -2.185 | 0.888 | 0.00025635
742 | -2.321 | 0.752 | 0.00021709
742.5 | -2.451 | 0.622 | 0.00017956
743 | -2.553 | 0.52 | 0.00015011
743.5 | -2.612 | 0.461 | 0.00013308
744 | -2.678 | 0.395 | 0.00011403
744.5 | -2.723 | 0.35 | 0.00010104
745 | -2.717 | 0.356 | 0.00010277
745.5 | -2.675 | 0.398 | 0.00011489
746 | -2.608 | 0.465 | 0.00013424
746.5 | -2.541 | 0.532 | 0.00015358
747 | -2.5 | 0.573 | 0.00016541
747.5 | -2.478 | 0.595 | 0.00017176
748 | -2.478 | 0.595 | 0.00017176
748.5 | -2.496 | 0.577 | 0.00016657
749 | -2.547 | 0.526 | 0.00015184
749.5 | -2.626 | 0.447 | 0.00012904
750 | -2.684 | 0.389 | 0.0001123
750.5 | -2.697 | 0.376 | 0.00010854
751 | -2.675 | 0.398 | 0.00011489
751.5 | -2.636 | 0.437 | 0.00012615
752 | -2.586 | 0.487 | 0.00014059
752.5 | -2.541 | 0.532 | 0.00015358
753 | -2.488 | 0.585 | 0.00016888
753.5 | -2.456 | 0.617 | 0.00017811
754 | -2.453 | 0.62 | 0.00017898
754.5 | -2.471 | 0.602 | 0.00017378
755 | -2.5 | 0.573 | 0.00016541
755.5 | -2.52 | 0.553 | 0.00015964
756 | -2.539 | 0.534 | 0.00015415
756.5 | -2.535 | 0.538 | 0.00015531
757 | -2.499 | 0.574 | 0.0001657
757.5 | -2.429 | 0.644 | 0.00018591
758 | -2.339 | 0.734 | 0.00021189
758.5 | -2.23 | 0.843 | 0.00024336
759 | -2.113 | 0.96 | 0.00027713
759.5 | -1.991 | 1.082 | 0.00031235
760 | -1.868 | 1.205 | 0.00034786
760.5 | -1.762 | 1.311 | 0.00037846
761 | -1.71 | 1.363 | 0.00039347
761.5 | -1.714 | 1.359 | 0.00039231
762 | -1.739 | 1.334 | 0.0003851
762.5 | -1.776 | 1.297 | 0.00037441
763 | -1.818 | 1.255 | 0.00036229
763.5 | -1.852 | 1.221 | 0.00035248
764 | -1.864 | 1.209 | 0.00034901
764.5 | -1.878 | 1.195 | 0.00034497
765 | -1.882 | 1.191 | 0.00034381
765.5 | -1.905 | 1.168 | 0.00033718
766 | -1.957 | 1.116 | 0.00032216
766.5 | -2.026 | 1.047 | 0.00030225
767 | -2.056 | 1.017 | 0.00029359
767.5 | -2.045 | 1.028 | 0.00029676
768 | -2.031 | 1.042 | 0.0003008
768.5 | -2.012 | 1.061 | 0.00030629
769 | -2.004 | 1.069 | 0.0003086
769.5 | -2.021 | 1.052 | 0.00030369
770 | -2.056 | 1.017 | 0.00029359
770.5 | -2.105 | 0.968 | 0.00027944
771 | -2.181 | 0.892 | 0.0002575
771.5 | -2.23 | 0.843 | 0.00024336
772 | -2.248 | 0.825 | 0.00023816
772.5 | -2.243 | 0.83 | 0.0002396
773 | -2.262 | 0.811 | 0.00023412
773.5 | -2.284 | 0.789 | 0.00022777
774 | -2.316 | 0.757 | 0.00021853
774.5 | -2.318 | 0.755 | 0.00021795
775 | -2.296 | 0.777 | 0.0002243
775.5 | -2.289 | 0.784 | 0.00022632
776 | -2.332 | 0.741 | 0.00021391
776.5 | -2.43 | 0.643 | 0.00018562
777 | -2.566 | 0.507 | 0.00014636
777.5 | -2.729 | 0.344 | 9.9305e-05
778 | -2.878 | 0.195 | 5.6292e-05
778.5 | -2.969 | 0.104 | 3.0022e-05
779 | -3.001 | 0.072 | 2.0785e-05
779.5 | -2.947 | 0.126 | 3.6373e-05
780 | -2.801 | 0.272 | 7.852e-05
780.5 | -2.638 | 0.435 | 0.00012557
781 | -2.518 | 0.555 | 0.00016022
781.5 | -2.472 | 0.601 | 0.0001735
782 | -2.477 | 0.596 | 0.00017205
782.5 | -2.505 | 0.568 | 0.00016397
783 | -2.518 | 0.555 | 0.00016022
783.5 | -2.538 | 0.535 | 0.00015444
784 | -2.575 | 0.498 | 0.00014376
784.5 | -2.598 | 0.475 | 0.00013712
785 | -2.571 | 0.502 | 0.00014492
785.5 | -2.493 | 0.58 | 0.00016743
786 | -2.374 | 0.699 | 0.00020179
786.5 | -2.239 | 0.834 | 0.00024076
787 | -2.105 | 0.968 | 0.00027944
787.5 | -1.983 | 1.09 | 0.00031466
788 | -1.854 | 1.219 | 0.0003519
788.5 | -1.81 | 1.263 | 0.0003646
789 | -1.843 | 1.23 | 0.00035507
789.5 | -1.911 | 1.162 | 0.00033544
790 | -1.942 | 1.131 | 0.00032649
790.5 | -1.903 | 1.17 | 0.00033775
791 | -1.827 | 1.246 | 0.00035969
791.5 | -1.76 | 1.313 | 0.00037903
792 | -1.732 | 1.341 | 0.00038712
792.5 | -1.746 | 1.327 | 0.00038308
793 | -1.764 | 1.309 | 0.00037788
793.5 | -1.822 | 1.251 | 0.00036114
794 | -1.905 | 1.168 | 0.00033718
794.5 | -2.015 | 1.058 | 0.00030542
795 | -2.123 | 0.95 | 0.00027424
795.5 | -2.219 | 0.854 | 0.00024653
796 | -2.322 | 0.751 | 0.0002168
796.5 | -2.45 | 0.623 | 0.00017985
797 | -2.566 | 0.507 | 0.00014636
797.5 | -2.647 | 0.426 | 0.00012298
798 | -2.693 | 0.38 | 0.0001097
798.5 | -2.699 | 0.374 | 0.00010797
799 | -2.665 | 0.408 | 0.00011778
799.5 | -2.604 | 0.469 | 0.00013539
800 | -2.549 | 0.524 | 0.00015127
800.5 | -2.515 | 0.558 | 0.00016108
801 | -2.501 | 0.572 | 0.00016512
801.5 | -2.505 | 0.568 | 0.00016397
802 | -2.483 | 0.59 | 0.00017032
802.5 | -2.441 | 0.632 | 0.00018244
803 | -2.375 | 0.698 | 0.0002015
803.5 | -2.262 | 0.811 | 0.00023412
804 | -2.091 | 0.982 | 0.00028348
804.5 | -1.885 | 1.188 | 0.00034295
805 | -1.698 | 1.375 | 0.00039693
805.5 | -1.564 | 1.509 | 0.00043561
806 | -1.473 | 1.6 | 0.00046188
806.5 | -1.398 | 1.675 | 0.00048353
807 | -1.366 | 1.707 | 0.00049277
807.5 | -1.404 | 1.669 | 0.0004818
808 | -1.485 | 1.588 | 0.00045842
808.5 | -1.559 | 1.514 | 0.00043706
809 | -1.572 | 1.501 | 0.0004333
809.5 | -1.514 | 1.559 | 0.00045005
810 | -1.405 | 1.668 | 0.00048151
810.5 | -1.295 | 1.778 | 0.00051327
811 | -1.189 | 1.884 | 0.00054387
811.5 | -1.117 | 1.956 | 0.00056465
812 | -1.112 | 1.961 | 0.0005661
812.5 | -1.19 | 1.883 | 0.00054358
813 | -1.344 | 1.729 | 0.00049912
813.5 | -1.507 | 1.566 | 0.00045207
814 | -1.645 | 1.428 | 0.00041223
814.5 | -1.769 | 1.304 | 0.00037644
815 | -1.864 | 1.209 | 0.00034901
815.5 | -1.953 | 1.12 | 0.00032332
816 | -2.034 | 1.039 | 0.00029994
816.5 | -2.114 | 0.959 | 0.00027684
817 | -2.167 | 0.906 | 0.00026154
817.5 | -2.226 | 0.847 | 0.00024451
818 | -2.29 | 0.783 | 0.00022603
818.5 | -2.365 | 0.708 | 0.00020438
819 | -2.46 | 0.613 | 0.00017696
819.5 | -2.568 | 0.505 | 0.00014578
820 | -2.664 | 0.409 | 0.00011807
820.5 | -2.768 | 0.305 | 8.8047e-05
821 | -2.898 | 0.175 | 5.0519e-05
821.5 | -3.001 | 0.072 | 2.0785e-05
822 | -3.046 | 0.027 | 7.7943e-06
822.5 | -3.053 | 0.02 | 5.7736e-06
823 | -3.015 | 0.058 | 1.6743e-05
823.5 | -2.962 | 0.111 | 3.2043e-05
824 | -2.898 | 0.175 | 5.0519e-05
824.5 | -2.844 | 0.229 | 6.6107e-05
825 | -2.806 | 0.267 | 7.7077e-05
825.5 | -2.796 | 0.277 | 7.9964e-05
826 | -2.797 | 0.276 | 7.9675e-05
826.5 | -2.78 | 0.293 | 8.4583e-05
827 | -2.753 | 0.32 | 9.2377e-05
827.5 | -2.705 | 0.368 | 0.00010623
828 | -2.61 | 0.463 | 0.00013366
828.5 | -2.484 | 0.589 | 0.00017003
829 | -2.354 | 0.719 | 0.00020756
829.5 | -2.218 | 0.855 | 0.00024682
830 | -2.089 | 0.984 | 0.00028406
830.5 | -1.959 | 1.114 | 0.00032159
831 | -1.87 | 1.203 | 0.00034728
831.5 | -1.831 | 1.242 | 0.00035854
832 | -1.81 | 1.263 | 0.0003646
832.5 | -1.771 | 1.302 | 0.00037586
833 | -1.709 | 1.364 | 0.00039376
833.5 | -1.659 | 1.414 | 0.00040819
834 | -1.624 | 1.449 | 0.00041829
834.5 | -1.591 | 1.482 | 0.00042782
835 | -1.582 | 1.491 | 0.00043042
835.5 | -1.591 | 1.482 | 0.00042782
836 | -1.665 | 1.408 | 0.00040646
836.5 | -1.792 | 1.281 | 0.0003698
837 | -1.935 | 1.138 | 0.00032852
837.5 | -2.046 | 1.027 | 0.00029647
838 | -2.15 | 0.923 | 0.00026645
838.5 | -2.243 | 0.83 | 0.0002396
839 | -2.313 | 0.76 | 0.00021939
839.5 | -2.343 | 0.73 | 0.00021073
840 | -2.337 | 0.736 | 0.00021247
840.5 | -2.311 | 0.762 | 0.00021997
841 | -2.268 | 0.805 | 0.00023239
841.5 | -2.205 | 0.868 | 0.00025057
842 | -2.116 | 0.957 | 0.00027626
842.5 | -1.988 | 1.085 | 0.00031322
843 | -1.848 | 1.225 | 0.00035363
843.5 | -1.71 | 1.363 | 0.00039347
844 | -1.566 | 1.507 | 0.00043504
844.5 | -1.41 | 1.663 | 0.00048007
845 | -1.232 | 1.841 | 0.00053146
845.5 | -1.039 | 2.034 | 0.00058717
846 | -0.8296 | 2.2434 | 0.00064762
846.5 | -0.649 | 2.424 | 0.00069975
847 | -0.4832 | 2.5898 | 0.00074762
847.5 | -0.3369 | 2.7361 | 0.00078985
848 | -0.2031 | 2.8699 | 0.00082848
848.5 | -0.07824 | 2.9948 | 0.00086452
849 | 0.03431 | 3.1073 | 0.00089701
849.5 | 0.1378 | 3.2108 | 0.00092689
850 | 0.2566 | 3.3296 | 0.00096118
850.5 | 0.386 | 3.459 | 0.00099854
851 | 0.5131 | 3.5861 | 0.0010352
851.5 | 0.6269 | 3.6999 | 0.0010681
852 | 0.741 | 3.814 | 0.001101
852.5 | 0.8484 | 3.9214 | 0.001132
853 | 0.9777 | 4.0507 | 0.0011693
853.5 | 1.112 | 4.185 | 0.0012081
854 | 1.203 | 4.276 | 0.0012344
854.5 | 1.326 | 4.399 | 0.0012699
855 | 1.454 | 4.527 | 0.0013068
855.5 | 1.609 | 4.682 | 0.0013516
856 | 1.768 | 4.841 | 0.0013975
856.5 | 1.908 | 4.981 | 0.0014379
857 | 2.055 | 5.128 | 0.0014803
857.5 | 2.216 | 5.289 | 0.0015268
858 | 2.376 | 5.449 | 0.001573
858.5 | 2.484 | 5.557 | 0.0016042
859 | 2.577 | 5.65 | 0.001631
859.5 | 2.682 | 5.755 | 0.0016613
860 | 2.814 | 5.887 | 0.0016994
860.5 | 2.948 | 6.021 | 0.0017381
861 | 3.046 | 6.119 | 0.0017664
861.5 | 3.14 | 6.213 | 0.0017936
862 | 3.251 | 6.324 | 0.0018256
862.5 | 3.335 | 6.408 | 0.0018498
863 | 3.407 | 6.48 | 0.0018706
863.5 | 3.462 | 6.535 | 0.0018865
864 | 3.51 | 6.583 | 0.0019004
864.5 | 3.561 | 6.634 | 0.0019151
865 | 3.586 | 6.659 | 0.0019223
865.5 | 3.591 | 6.664 | 0.0019237
866 | 3.597 | 6.67 | 0.0019255
866.5 | 3.641 | 6.714 | 0.0019382
867 | 3.678 | 6.751 | 0.0019489
867.5 | 3.722 | 6.795 | 0.0019616
868 | 3.803 | 6.876 | 0.0019849
868.5 | 3.947 | 7.02 | 0.0020265
869 | 4.123 | 7.196 | 0.0020773
869.5 | 4.315 | 7.388 | 0.0021327
870 | 4.556 | 7.629 | 0.0022023
870.5 | 4.859 | 7.932 | 0.0022898
871 | 5.187 | 8.26 | 0.0023845
871.5 | 5.479 | 8.552 | 0.0024688
872 | 5.767 | 8.84 | 0.0025519
872.5 | 6.076 | 9.149 | 0.0026411
873 | 6.436 | 9.509 | 0.002745
873.5 | 6.795 | 9.868 | 0.0028487
874 | 7.11 | 10.183 | 0.0029396
874.5 | 7.383 | 10.456 | 0.0030184
875 | 7.628 | 10.701 | 0.0030891
875.5 | 7.857 | 10.93 | 0.0031552
876 | 8.047 | 11.12 | 0.0032101
876.5 | 8.226 | 11.299 | 0.0032618
877 | 8.439 | 11.512 | 0.0033233
877.5 | 8.698 | 11.771 | 0.003398
878 | 8.96 | 12.033 | 0.0034737
878.5 | 9.188 | 12.261 | 0.0035395
879 | 9.392 | 12.465 | 0.0035984
879.5 | 9.619 | 12.692 | 0.0036639
880 | 9.845 | 12.918 | 0.0037291
880.5 | 10.04 | 13.113 | 0.0037854
881 | 10.69 | 13.763 | 0.0039731
881.5 | 10.2 | 13.273 | 0.0038316
882 | 9.78 | 12.853 | 0.0037104
882.5 | 9.645 | 12.718 | 0.0036714
883 | 9.783 | 12.856 | 0.0037112
883.5 | 10.2 | 13.273 | 0.0038316
884 | 10.63 | 13.703 | 0.0039557
884.5 | 18.39 | 21.463 | 0.0061959
885 | 19.74 | 22.813 | 0.0065856
885.5 | 10.33 | 13.403 | 0.0038691
886 | 12.67 | 15.743 | 0.0045447
886.5 | 10.03 | 13.103 | 0.0037825