## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 139.5 | 131.89 | 0.038169
246.5 | 95.9 | 88.29 | 0.025551
247 | 75.8 | 68.19 | 0.019734
247.5 | 55.98 | 48.37 | 0.013998
248 | 37.48 | 29.87 | 0.0086445
248.5 | 21.24 | 13.63 | 0.0039446
249 | 7.61 | 0 | 0
249.5 | -1.589 | 0 | 0
250 | -4.947 | 0 | 0
250.5 | -2.345 | 0 | 0
251 | 6.924 | 0 | 0
251.5 | 7.383 | 0 | 0
252 | 7.562 | 0 | 0
252.5 | 7.733 | 0.123 | 3.5597e-05
253 | 7.837 | 0.227 | 6.5694e-05
253.5 | 8.003 | 0.393 | 0.00011374
254 | 8.275 | 0.665 | 0.00019245
254.5 | 8.521 | 0.911 | 0.00026365
255 | 8.644 | 1.034 | 0.00029924
255.5 | 8.856 | 1.246 | 0.0003606
256 | 8.848 | 1.238 | 0.00035828
256.5 | 8.678 | 1.068 | 0.00030908
257 | 8.594 | 0.984 | 0.00028477
257.5 | 8.826 | 1.216 | 0.00035191
258 | 9.053 | 1.443 | 0.00041761
258.5 | 9.176 | 1.566 | 0.0004532
259 | 9.292 | 1.682 | 0.00048678
259.5 | 9.403 | 1.793 | 0.0005189
260 | 9.516 | 1.906 | 0.0005516
260.5 | 9.62 | 2.01 | 0.0005817
261 | 9.696 | 2.086 | 0.00060369
261.5 | 9.758 | 2.148 | 0.00062164
262 | 9.802 | 2.192 | 0.00063437
262.5 | 9.828 | 2.218 | 0.0006419
263 | 9.853 | 2.243 | 0.00064913
263.5 | 9.885 | 2.275 | 0.00065839
264 | 9.923 | 2.313 | 0.00066939
264.5 | 9.953 | 2.343 | 0.00067807
265 | 9.955 | 2.345 | 0.00067865
265.5 | 9.936 | 2.326 | 0.00067315
266 | 9.907 | 2.297 | 0.00066476
266.5 | 9.869 | 2.259 | 0.00065376
267 | 9.816 | 2.206 | 0.00063842
267.5 | 9.755 | 2.145 | 0.00062077
268 | 9.699 | 2.089 | 0.00060456
268.5 | 9.639 | 2.029 | 0.0005872
269 | 9.574 | 1.964 | 0.00056839
269.5 | 9.504 | 1.894 | 0.00054813
270 | 9.436 | 1.826 | 0.00052845
270.5 | 9.376 | 1.766 | 0.00051109
271 | 9.315 | 1.705 | 0.00049343
271.5 | 9.251 | 1.641 | 0.00047491
272 | 9.201 | 1.591 | 0.00046044
272.5 | 9.152 | 1.542 | 0.00044626
273 | 9.098 | 1.488 | 0.00043063
273.5 | 9.045 | 1.435 | 0.00041529
274 | 8.999 | 1.389 | 0.00040198
274.5 | 8.95 | 1.34 | 0.0003878
275 | 8.903 | 1.293 | 0.0003742
275.5 | 8.868 | 1.258 | 0.00036407
276 | 8.842 | 1.232 | 0.00035654
276.5 | 8.836 | 1.226 | 0.00035481
277 | 8.835 | 1.225 | 0.00035452
277.5 | 8.844 | 1.234 | 0.00035712
278 | 8.865 | 1.255 | 0.0003632
278.5 | 8.903 | 1.293 | 0.0003742
279 | 8.971 | 1.361 | 0.00039388
279.5 | 9.063 | 1.453 | 0.0004205
280 | 9.17 | 1.56 | 0.00045147
280.5 | 9.272 | 1.662 | 0.00048099
281 | 9.376 | 1.766 | 0.00051109
281.5 | 9.486 | 1.876 | 0.00054292
282 | 9.589 | 1.979 | 0.00057273
282.5 | 9.68 | 2.07 | 0.00059906
283 | 9.753 | 2.143 | 0.00062019
283.5 | 9.813 | 2.203 | 0.00063755
284 | 9.877 | 2.267 | 0.00065608
284.5 | 9.938 | 2.328 | 0.00067373
285 | 9.988 | 2.378 | 0.0006882
285.5 | 10.03 | 2.42 | 0.00070036
286 | 10.06 | 2.45 | 0.00070904
286.5 | 10.08 | 2.47 | 0.00071483
287 | 10.09 | 2.48 | 0.00071772
287.5 | 10.06 | 2.45 | 0.00070904
288 | 10.04 | 2.43 | 0.00070325
288.5 | 10.02 | 2.41 | 0.00069746
289 | 10.01 | 2.4 | 0.00069457
289.5 | 10.01 | 2.4 | 0.00069457
290 | 10.02 | 2.41 | 0.00069746
290.5 | 10.04 | 2.43 | 0.00070325
291 | 10.07 | 2.46 | 0.00071193
291.5 | 10.12 | 2.51 | 0.0007264
292 | 10.18 | 2.57 | 0.00074377
292.5 | 10.24 | 2.63 | 0.00076113
293 | 10.31 | 2.7 | 0.00078139
293.5 | 10.37 | 2.76 | 0.00079875
294 | 10.4 | 2.79 | 0.00080743
294.5 | 10.41 | 2.8 | 0.00081033
295 | 10.4 | 2.79 | 0.00080743
295.5 | 10.39 | 2.78 | 0.00080454
296 | 10.39 | 2.78 | 0.00080454
296.5 | 10.37 | 2.76 | 0.00079875
297 | 10.35 | 2.74 | 0.00079296
297.5 | 10.31 | 2.7 | 0.00078139
298 | 10.26 | 2.65 | 0.00076692
298.5 | 10.23 | 2.62 | 0.00075824
299 | 10.2 | 2.59 | 0.00074955
299.5 | 10.2 | 2.59 | 0.00074955
300 | 10.22 | 2.61 | 0.00075534
300.5 | 10.26 | 2.65 | 0.00076692
301 | 10.31 | 2.7 | 0.00078139
301.5 | 10.34 | 2.73 | 0.00079007
302 | 10.37 | 2.76 | 0.00079875
302.5 | 10.39 | 2.78 | 0.00080454
303 | 10.41 | 2.8 | 0.00081033
303.5 | 10.44 | 2.83 | 0.00081901
304 | 10.47 | 2.86 | 0.00082769
304.5 | 10.49 | 2.88 | 0.00083348
305 | 10.5 | 2.89 | 0.00083637
305.5 | 10.52 | 2.91 | 0.00084216
306 | 10.54 | 2.93 | 0.00084795
306.5 | 10.56 | 2.95 | 0.00085374
307 | 10.59 | 2.98 | 0.00086242
307.5 | 10.61 | 3 | 0.00086821
308 | 10.62 | 3.01 | 0.0008711
308.5 | 10.61 | 3 | 0.00086821
309 | 10.59 | 2.98 | 0.00086242
309.5 | 10.58 | 2.97 | 0.00085953
310 | 10.57 | 2.96 | 0.00085663
310.5 | 10.56 | 2.95 | 0.00085374
311 | 10.55 | 2.94 | 0.00085084
311.5 | 10.55 | 2.94 | 0.00085084
312 | 10.54 | 2.93 | 0.00084795
312.5 | 10.52 | 2.91 | 0.00084216
313 | 10.49 | 2.88 | 0.00083348
313.5 | 10.44 | 2.83 | 0.00081901
314 | 10.39 | 2.78 | 0.00080454
314.5 | 10.31 | 2.7 | 0.00078139
315 | 10.22 | 2.61 | 0.00075534
315.5 | 10.11 | 2.5 | 0.00072351
316 | 10.01 | 2.4 | 0.00069457
316.5 | 9.912 | 2.302 | 0.00066621
317 | 9.812 | 2.202 | 0.00063727
317.5 | 9.707 | 2.097 | 0.00060688
318 | 9.594 | 1.984 | 0.00057418
318.5 | 9.483 | 1.873 | 0.00054205
319 | 9.373 | 1.763 | 0.00051022
319.5 | 9.289 | 1.679 | 0.00048591
320 | 9.234 | 1.624 | 0.00046999
320.5 | 9.202 | 1.592 | 0.00046073
321 | 9.191 | 1.581 | 0.00045755
321.5 | 9.181 | 1.571 | 0.00045465
322 | 9.163 | 1.553 | 0.00044944
322.5 | 9.148 | 1.538 | 0.0004451
323 | 9.155 | 1.545 | 0.00044713
323.5 | 9.171 | 1.561 | 0.00045176
324 | 9.196 | 1.586 | 0.00045899
324.5 | 9.22 | 1.61 | 0.00046594
325 | 9.249 | 1.639 | 0.00047433
325.5 | 9.301 | 1.691 | 0.00048938
326 | 9.374 | 1.764 | 0.00051051
326.5 | 9.471 | 1.861 | 0.00053858
327 | 9.607 | 1.997 | 0.00057794
327.5 | 9.79 | 2.18 | 0.0006309
328 | 9.992 | 2.382 | 0.00068936
328.5 | 10.19 | 2.58 | 0.00074666
329 | 10.37 | 2.76 | 0.00079875
329.5 | 10.53 | 2.92 | 0.00084506
330 | 10.68 | 3.07 | 0.00088847
330.5 | 10.82 | 3.21 | 0.00092898
331 | 10.94 | 3.33 | 0.00096371
331.5 | 11.03 | 3.42 | 0.00098976
332 | 11.09 | 3.48 | 0.0010071
332.5 | 11.1 | 3.49 | 0.00101
333 | 11.09 | 3.48 | 0.0010071
333.5 | 11.05 | 3.44 | 0.00099555
334 | 11.01 | 3.4 | 0.00098397
334.5 | 10.97 | 3.36 | 0.00097239
335 | 10.95 | 3.34 | 0.00096661
335.5 | 10.94 | 3.33 | 0.00096371
336 | 10.94 | 3.33 | 0.00096371
336.5 | 10.94 | 3.33 | 0.00096371
337 | 10.97 | 3.36 | 0.00097239
337.5 | 11.02 | 3.41 | 0.00098686
338 | 11.07 | 3.46 | 0.0010013
338.5 | 11.11 | 3.5 | 0.0010129
339 | 11.14 | 3.53 | 0.0010216
339.5 | 11.15 | 3.54 | 0.0010245
340 | 11.14 | 3.53 | 0.0010216
340.5 | 11.1 | 3.49 | 0.00101
341 | 11.07 | 3.46 | 0.0010013
341.5 | 11.04 | 3.43 | 0.00099265
342 | 11.01 | 3.4 | 0.00098397
342.5 | 10.98 | 3.37 | 0.00097529
343 | 10.94 | 3.33 | 0.00096371
343.5 | 10.9 | 3.29 | 0.00095214
344 | 10.86 | 3.25 | 0.00094056
344.5 | 10.83 | 3.22 | 0.00093188
345 | 10.81 | 3.2 | 0.00092609
345.5 | 10.79 | 3.18 | 0.0009203
346 | 10.8 | 3.19 | 0.0009232
346.5 | 10.82 | 3.21 | 0.00092898
347 | 10.85 | 3.24 | 0.00093767
347.5 | 10.87 | 3.26 | 0.00094345
348 | 10.88 | 3.27 | 0.00094635
348.5 | 10.91 | 3.3 | 0.00095503
349 | 10.92 | 3.31 | 0.00095792
349.5 | 10.93 | 3.32 | 0.00096082
350 | 10.92 | 3.31 | 0.00095792
350.5 | 10.89 | 3.28 | 0.00094924
351 | 10.86 | 3.25 | 0.00094056
351.5 | 10.85 | 3.24 | 0.00093767
352 | 10.83 | 3.22 | 0.00093188
352.5 | 10.82 | 3.21 | 0.00092898
353 | 10.81 | 3.2 | 0.00092609
353.5 | 10.8 | 3.19 | 0.0009232
354 | 10.77 | 3.16 | 0.00091451
354.5 | 10.73 | 3.12 | 0.00090294
355 | 10.69 | 3.08 | 0.00089136
355.5 | 10.65 | 3.04 | 0.00087978
356 | 10.63 | 3.02 | 0.000874
356.5 | 10.63 | 3.02 | 0.000874
357 | 10.64 | 3.03 | 0.00087689
357.5 | 10.68 | 3.07 | 0.00088847
358 | 10.71 | 3.1 | 0.00089715
358.5 | 10.76 | 3.15 | 0.00091162
359 | 10.8 | 3.19 | 0.0009232
359.5 | 10.86 | 3.25 | 0.00094056
360 | 10.94 | 3.33 | 0.00096371
360.5 | 11.04 | 3.43 | 0.00099265
361 | 11.14 | 3.53 | 0.0010216
361.5 | 11.24 | 3.63 | 0.0010505
362 | 11.34 | 3.73 | 0.0010795
362.5 | 11.45 | 3.84 | 0.0011113
363 | 11.56 | 3.95 | 0.0011431
363.5 | 11.67 | 4.06 | 0.001175
364 | 11.77 | 4.16 | 0.0012039
364.5 | 11.84 | 4.23 | 0.0012242
365 | 11.88 | 4.27 | 0.0012358
365.5 | 11.88 | 4.27 | 0.0012358
366 | 11.86 | 4.25 | 0.00123
366.5 | 11.85 | 4.24 | 0.0012271
367 | 11.87 | 4.26 | 0.0012329
367.5 | 11.91 | 4.3 | 0.0012444
368 | 11.96 | 4.35 | 0.0012589
368.5 | 11.99 | 4.38 | 0.0012676
369 | 12.03 | 4.42 | 0.0012792
369.5 | 12.07 | 4.46 | 0.0012907
370 | 12.11 | 4.5 | 0.0013023
370.5 | 12.16 | 4.55 | 0.0013168
371 | 12.23 | 4.62 | 0.001337
371.5 | 12.28 | 4.67 | 0.0013515
372 | 12.31 | 4.7 | 0.0013602
372.5 | 12.29 | 4.68 | 0.0013544
373 | 12.26 | 4.65 | 0.0013457
373.5 | 12.2 | 4.59 | 0.0013284
374 | 12.14 | 4.53 | 0.001311
374.5 | 12.08 | 4.47 | 0.0012936
375 | 12.01 | 4.4 | 0.0012734
375.5 | 11.93 | 4.32 | 0.0012502
376 | 11.84 | 4.23 | 0.0012242
376.5 | 11.76 | 4.15 | 0.001201
377 | 11.7 | 4.09 | 0.0011837
377.5 | 11.68 | 4.07 | 0.0011779
378 | 11.69 | 4.08 | 0.0011808
378.5 | 11.72 | 4.11 | 0.0011894
379 | 11.74 | 4.13 | 0.0011952
379.5 | 11.76 | 4.15 | 0.001201
380 | 11.78 | 4.17 | 0.0012068
380.5 | 11.8 | 4.19 | 0.0012126
381 | 11.82 | 4.21 | 0.0012184
381.5 | 11.86 | 4.25 | 0.00123
382 | 11.91 | 4.3 | 0.0012444
382.5 | 11.93 | 4.32 | 0.0012502
383 | 11.91 | 4.3 | 0.0012444
383.5 | 11.89 | 4.28 | 0.0012386
384 | 11.88 | 4.27 | 0.0012358
384.5 | 11.86 | 4.25 | 0.00123
385 | 11.84 | 4.23 | 0.0012242
385.5 | 11.82 | 4.21 | 0.0012184
386 | 11.79 | 4.18 | 0.0012097
386.5 | 11.77 | 4.16 | 0.0012039
387 | 11.72 | 4.11 | 0.0011894
387.5 | 11.68 | 4.07 | 0.0011779
388 | 11.64 | 4.03 | 0.0011663
388.5 | 11.62 | 4.01 | 0.0011605
389 | 11.62 | 4.01 | 0.0011605
389.5 | 11.6 | 3.99 | 0.0011547
390 | 11.58 | 3.97 | 0.0011489
390.5 | 11.6 | 3.99 | 0.0011547
391 | 11.65 | 4.04 | 0.0011692
391.5 | 11.71 | 4.1 | 0.0011866
392 | 11.8 | 4.19 | 0.0012126
392.5 | 11.89 | 4.28 | 0.0012386
393 | 11.99 | 4.38 | 0.0012676
393.5 | 12.05 | 4.44 | 0.0012849
394 | 12.1 | 4.49 | 0.0012994
394.5 | 12.13 | 4.52 | 0.0013081
395 | 12.19 | 4.58 | 0.0013255
395.5 | 12.24 | 4.63 | 0.0013399
396 | 12.28 | 4.67 | 0.0013515
396.5 | 12.33 | 4.72 | 0.001366
397 | 12.4 | 4.79 | 0.0013862
397.5 | 12.49 | 4.88 | 0.0014123
398 | 12.6 | 4.99 | 0.0014441
398.5 | 12.74 | 5.13 | 0.0014846
399 | 12.89 | 5.28 | 0.001528
399.5 | 13.05 | 5.44 | 0.0015744
400 | 13.21 | 5.6 | 0.0016207
400.5 | 13.35 | 5.74 | 0.0016612
401 | 13.49 | 5.88 | 0.0017017
401.5 | 13.63 | 6.02 | 0.0017422
402 | 13.75 | 6.14 | 0.0017769
402.5 | 13.83 | 6.22 | 0.0018001
403 | 13.86 | 6.25 | 0.0018088
403.5 | 13.88 | 6.27 | 0.0018146
404 | 13.86 | 6.25 | 0.0018088
404.5 | 13.86 | 6.25 | 0.0018088
405 | 13.88 | 6.27 | 0.0018146
405.5 | 13.93 | 6.32 | 0.001829
406 | 14 | 6.39 | 0.0018493
406.5 | 14.1 | 6.49 | 0.0018782
407 | 14.24 | 6.63 | 0.0019187
407.5 | 14.38 | 6.77 | 0.0019593
408 | 14.54 | 6.93 | 0.0020056
408.5 | 14.68 | 7.07 | 0.0020461
409 | 14.8 | 7.19 | 0.0020808
409.5 | 14.89 | 7.28 | 0.0021069
410 | 14.95 | 7.34 | 0.0021242
410.5 | 14.98 | 7.37 | 0.0021329
411 | 15 | 7.39 | 0.0021387
411.5 | 15.03 | 7.42 | 0.0021474
412 | 15.07 | 7.46 | 0.0021589
412.5 | 15.12 | 7.51 | 0.0021734
413 | 15.17 | 7.56 | 0.0021879
413.5 | 15.23 | 7.62 | 0.0022053
414 | 15.31 | 7.7 | 0.0022284
414.5 | 15.43 | 7.82 | 0.0022631
415 | 15.57 | 7.96 | 0.0023036
415.5 | 15.73 | 8.12 | 0.00235
416 | 15.9 | 8.29 | 0.0023992
416.5 | 16.05 | 8.44 | 0.0024426
417 | 16.16 | 8.55 | 0.0024744
417.5 | 16.24 | 8.63 | 0.0024975
418 | 16.3 | 8.69 | 0.0025149
418.5 | 16.33 | 8.72 | 0.0025236
419 | 16.34 | 8.73 | 0.0025265
419.5 | 16.34 | 8.73 | 0.0025265
420 | 16.32 | 8.71 | 0.0025207
420.5 | 16.32 | 8.71 | 0.0025207
421 | 16.37 | 8.76 | 0.0025352
421.5 | 16.44 | 8.83 | 0.0025554
422 | 16.55 | 8.94 | 0.0025873
422.5 | 16.68 | 9.07 | 0.0026249
423 | 16.83 | 9.22 | 0.0026683
423.5 | 16.96 | 9.35 | 0.0027059
424 | 17.07 | 9.46 | 0.0027378
424.5 | 17.17 | 9.56 | 0.0027667
425 | 17.27 | 9.66 | 0.0027956
425.5 | 17.38 | 9.77 | 0.0028275
426 | 17.49 | 9.88 | 0.0028593
426.5 | 17.59 | 9.98 | 0.0028882
427 | 17.7 | 10.09 | 0.0029201
427.5 | 17.81 | 10.2 | 0.0029519
428 | 17.95 | 10.34 | 0.0029924
428.5 | 18.13 | 10.52 | 0.0030445
429 | 18.37 | 10.76 | 0.003114
429.5 | 18.68 | 11.07 | 0.0032037
430 | 19.03 | 11.42 | 0.003305
430.5 | 19.41 | 11.8 | 0.003415
431 | 19.82 | 12.21 | 0.0035336
431.5 | 20.27 | 12.66 | 0.0036638
432 | 20.75 | 13.14 | 0.0038028
432.5 | 21.26 | 13.65 | 0.0039504
433 | 21.76 | 14.15 | 0.0040951
433.5 | 22.26 | 14.65 | 0.0042398
434 | 22.76 | 15.15 | 0.0043845
434.5 | 23.27 | 15.66 | 0.004532
435 | 23.79 | 16.18 | 0.0046825
435.5 | 24.34 | 16.73 | 0.0048417
436 | 24.97 | 17.36 | 0.005024
436.5 | 25.63 | 18.02 | 0.005215
437 | 26.32 | 18.71 | 0.0054147
437.5 | 27.04 | 19.43 | 0.0056231
438 | 27.78 | 20.17 | 0.0058373
438.5 | 28.56 | 20.95 | 0.006063
439 | 29.36 | 21.75 | 0.0062945
439.5 | 30.2 | 22.59 | 0.0065376
440 | 31.04 | 23.43 | 0.0067807
440.5 | 31.89 | 24.28 | 0.0070267
441 | 32.73 | 25.12 | 0.0072698
441.5 | 33.56 | 25.95 | 0.00751
442 | 34.38 | 26.77 | 0.0077473
442.5 | 35.23 | 27.62 | 0.0079933
443 | 36.09 | 28.48 | 0.0082422
443.5 | 36.96 | 29.35 | 0.008494
444 | 37.84 | 30.23 | 0.0087487
444.5 | 38.74 | 31.13 | 0.0090091
445 | 39.67 | 32.06 | 0.0092783
445.5 | 40.64 | 33.03 | 0.009559
446 | 41.68 | 34.07 | 0.00986
446.5 | 42.77 | 35.16 | 0.010175
447 | 43.91 | 36.3 | 0.010505
447.5 | 45.1 | 37.49 | 0.01085
448 | 46.34 | 38.73 | 0.011209
448.5 | 47.63 | 40.02 | 0.011582
449 | 48.95 | 41.34 | 0.011964
449.5 | 50.34 | 42.73 | 0.012366
450 | 51.79 | 44.18 | 0.012786
450.5 | 53.28 | 45.67 | 0.013217
451 | 54.81 | 47.2 | 0.01366
451.5 | 56.4 | 48.79 | 0.01412
452 | 58.06 | 50.45 | 0.0146
452.5 | 59.8 | 52.19 | 0.015104
453 | 61.64 | 54.03 | 0.015636
453.5 | 63.58 | 55.97 | 0.016198
454 | 65.64 | 58.03 | 0.016794
454.5 | 67.81 | 60.2 | 0.017422
455 | 70.1 | 62.49 | 0.018085
455.5 | 72.53 | 64.92 | 0.018788
456 | 75.11 | 67.5 | 0.019535
456.5 | 77.92 | 70.31 | 0.020348
457 | 80.92 | 73.31 | 0.021216
457.5 | 84.13 | 76.52 | 0.022145
458 | 87.54 | 79.93 | 0.023132
458.5 | 91.16 | 83.55 | 0.02418
459 | 95.01 | 87.4 | 0.025294
459.5 | 99.12 | 91.51 | 0.026483
460 | 103.5 | 95.89 | 0.027751
460.5 | 108.2 | 100.59 | 0.029111
461 | 113.1 | 105.49 | 0.030529
461.5 | 118.3 | 110.69 | 0.032034
462 | 123.9 | 116.29 | 0.033655
462.5 | 129.8 | 122.19 | 0.035362
463 | 136.1 | 128.49 | 0.037185
463.5 | 142.8 | 135.19 | 0.039124
464 | 149.9 | 142.29 | 0.041179
464.5 | 157.5 | 149.89 | 0.043379
465 | 165.5 | 157.89 | 0.045694
465.5 | 174 | 166.39 | 0.048154
466 | 183.1 | 175.49 | 0.050787
466.5 | 192.7 | 185.09 | 0.053566
467 | 202.9 | 195.29 | 0.056517
467.5 | 213.7 | 206.09 | 0.059643
468 | 225.1 | 217.49 | 0.062942
468.5 | 237.2 | 229.59 | 0.066444
469 | 249.9 | 242.29 | 0.070119
469.5 | 263.4 | 255.79 | 0.074026
470 | 277.6 | 269.99 | 0.078136
470.5 | 292.6 | 284.99 | 0.082477
471 | 308.3 | 300.69 | 0.087021
471.5 | 325 | 317.39 | 0.091854
472 | 342.6 | 334.99 | 0.096947
472.5 | 361.1 | 353.49 | 0.1023
473 | 380.8 | 373.19 | 0.108
473.5 | 401.3 | 393.69 | 0.11394
474 | 423.1 | 415.49 | 0.12024
474.5 | 445.8 | 438.19 | 0.12681
475 | 470 | 462.39 | 0.13382
475.5 | 495.5 | 487.89 | 0.1412
476 | 522.3 | 514.69 | 0.14895
476.5 | 550.5 | 542.89 | 0.15711
477 | 580 | 572.39 | 0.16565
477.5 | 611.1 | 603.49 | 0.17465
478 | 643.6 | 635.99 | 0.18406
478.5 | 677.9 | 670.29 | 0.19398
479 | 713.6 | 705.99 | 0.20432
479.5 | 750.9 | 743.29 | 0.21511
480 | 789.3 | 781.69 | 0.22622
480.5 | 828.8 | 821.19 | 0.23765
481 | 869.6 | 861.99 | 0.24946
481.5 | 911.6 | 903.99 | 0.26162
482 | 955.2 | 947.59 | 0.27424
482.5 | 1000 | 992.39 | 0.2872
483 | 1046 | 1038.39 | 0.30051
483.5 | 1094 | 1086.39 | 0.3144
484 | 1143 | 1135.39 | 0.32859
484.5 | 1194 | 1186.39 | 0.34334
485 | 1247 | 1239.39 | 0.35868
485.5 | 1301 | 1293.39 | 0.37431
486 | 1358 | 1350.39 | 0.39081
486.5 | 1416 | 1408.39 | 0.40759
487 | 1476 | 1468.39 | 0.42496
487.5 | 1537 | 1529.39 | 0.44261
488 | 1601 | 1593.39 | 0.46113
488.5 | 1666 | 1658.39 | 0.47994
489 | 1732 | 1724.39 | 0.49904
489.5 | 1800 | 1792.39 | 0.51872
490 | 1868 | 1860.39 | 0.5384
490.5 | 1937 | 1929.39 | 0.55837
491 | 2006 | 1998.39 | 0.57834
491.5 | 2077 | 2069.39 | 0.59889
492 | 2148 | 2140.39 | 0.61944
492.5 | 2220 | 2212.39 | 0.64027
493 | 2293 | 2285.39 | 0.6614
493.5 | 2365 | 2357.39 | 0.68224
494 | 2439 | 2431.39 | 0.70365
494.5 | 2512 | 2504.39 | 0.72478
495 | 2585 | 2577.39 | 0.7459
495.5 | 2658 | 2650.39 | 0.76703
496 | 2730 | 2722.39 | 0.78787
496.5 | 2801 | 2793.39 | 0.80842
497 | 2870 | 2862.39 | 0.82838
497.5 | 2937 | 2929.39 | 0.84777
498 | 3001 | 2993.39 | 0.8663
498.5 | 3062 | 3054.39 | 0.88395
499 | 3120 | 3112.39 | 0.90073
499.5 | 3173 | 3165.39 | 0.91607
500 | 3222 | 3214.39 | 0.93025
500.5 | 3266 | 3258.39 | 0.94299
501 | 3306 | 3298.39 | 0.95456
501.5 | 3341 | 3333.39 | 0.96469
502 | 3372 | 3364.39 | 0.97366
502.5 | 3399 | 3391.39 | 0.98148
503 | 3421 | 3413.39 | 0.98785
503.5 | 3439 | 3431.39 | 0.99305
504 | 3452 | 3444.39 | 0.99682
504.5 | 3460 | 3452.39 | 0.99913
505 | 3463 | 3455.39 | 1
505.5 | 3462 | 3454.39 | 0.99971
506 | 3455 | 3447.39 | 0.99768
506.5 | 3443 | 3435.39 | 0.99421
507 | 3426 | 3418.39 | 0.98929
507.5 | 3404 | 3396.39 | 0.98293
508 | 3378 | 3370.39 | 0.9754
508.5 | 3347 | 3339.39 | 0.96643
509 | 3313 | 3305.39 | 0.95659
509.5 | 3274 | 3266.39 | 0.9453
510 | 3231 | 3223.39 | 0.93286
510.5 | 3185 | 3177.39 | 0.91955
511 | 3135 | 3127.39 | 0.90508
511.5 | 3083 | 3075.39 | 0.89003
512 | 3028 | 3020.39 | 0.87411
512.5 | 2971 | 2963.39 | 0.85761
513 | 2911 | 2903.39 | 0.84025
513.5 | 2850 | 2842.39 | 0.8226
514 | 2787 | 2779.39 | 0.80436
514.5 | 2723 | 2715.39 | 0.78584
515 | 2658 | 2650.39 | 0.76703
515.5 | 2593 | 2585.39 | 0.74822
516 | 2528 | 2520.39 | 0.72941
516.5 | 2462 | 2454.39 | 0.71031
517 | 2396 | 2388.39 | 0.69121
517.5 | 2330 | 2322.39 | 0.67211
518 | 2264 | 2256.39 | 0.65301
518.5 | 2197 | 2189.39 | 0.63362
519 | 2131 | 2123.39 | 0.61452
519.5 | 2065 | 2057.39 | 0.59541
520 | 1999 | 1991.39 | 0.57631
520.5 | 1935 | 1927.39 | 0.55779
521 | 1871 | 1863.39 | 0.53927
521.5 | 1810 | 1802.39 | 0.52162
522 | 1752 | 1744.39 | 0.50483
522.5 | 1695 | 1687.39 | 0.48834
523 | 1641 | 1633.39 | 0.47271
523.5 | 1589 | 1581.39 | 0.45766
524 | 1539 | 1531.39 | 0.44319
524.5 | 1491 | 1483.39 | 0.4293
525 | 1444 | 1436.39 | 0.4157
525.5 | 1398 | 1390.39 | 0.40238
526 | 1353 | 1345.39 | 0.38936
526.5 | 1308 | 1300.39 | 0.37634
527 | 1264 | 1256.39 | 0.3636
527.5 | 1222 | 1214.39 | 0.35145
528 | 1181 | 1173.39 | 0.33958
528.5 | 1141 | 1133.39 | 0.32801
529 | 1103 | 1095.39 | 0.31701
529.5 | 1066 | 1058.39 | 0.3063
530 | 1031 | 1023.39 | 0.29617
530.5 | 997.5 | 989.89 | 0.28648
531 | 965.6 | 957.99 | 0.27725
531.5 | 935 | 927.39 | 0.26839
532 | 905.4 | 897.79 | 0.25982
532.5 | 876.6 | 868.99 | 0.25149
533 | 848.5 | 840.89 | 0.24336
533.5 | 821.1 | 813.49 | 0.23543
534 | 794.5 | 786.89 | 0.22773
534.5 | 768.6 | 760.99 | 0.22023
535 | 743.2 | 735.59 | 0.21288
535.5 | 718.6 | 710.99 | 0.20576
536 | 694.7 | 687.09 | 0.19885
536.5 | 671.7 | 664.09 | 0.19219
537 | 649.4 | 641.79 | 0.18574
537.5 | 627.9 | 620.29 | 0.17951
538 | 606.9 | 599.29 | 0.17344
538.5 | 586.7 | 579.09 | 0.16759
539 | 567 | 559.39 | 0.16189
539.5 | 547.9 | 540.29 | 0.15636
540 | 529.5 | 521.89 | 0.15104
540.5 | 511.5 | 503.89 | 0.14583
541 | 494 | 486.39 | 0.14076
541.5 | 476.9 | 469.29 | 0.13581
542 | 460.2 | 452.59 | 0.13098
542.5 | 444.2 | 436.59 | 0.12635
543 | 428.7 | 421.09 | 0.12186
543.5 | 413.6 | 405.99 | 0.11749
544 | 398.9 | 391.29 | 0.11324
544.5 | 384.7 | 377.09 | 0.10913
545 | 370.8 | 363.19 | 0.10511
545.5 | 357.6 | 349.99 | 0.10129
546 | 344.8 | 337.19 | 0.097584
546.5 | 332.6 | 324.99 | 0.094053
547 | 320.9 | 313.29 | 0.090667
547.5 | 309.7 | 302.09 | 0.087426
548 | 298.9 | 291.29 | 0.0843
548.5 | 288.7 | 281.09 | 0.081348
549 | 278.8 | 271.19 | 0.078483
549.5 | 269.3 | 261.69 | 0.075734
550 | 260 | 252.39 | 0.073042
550.5 | 250.9 | 243.29 | 0.070409
551 | 241.8 | 234.19 | 0.067775
551.5 | 233 | 225.39 | 0.065229
552 | 224.4 | 216.79 | 0.06274
552.5 | 216.2 | 208.59 | 0.060367
553 | 208.3 | 200.69 | 0.05808
553.5 | 200.6 | 192.99 | 0.055852
554 | 193.1 | 185.49 | 0.053681
554.5 | 185.9 | 178.29 | 0.051598
555 | 179 | 171.39 | 0.049601
555.5 | 172.3 | 164.69 | 0.047662
556 | 165.8 | 158.19 | 0.045781
556.5 | 159.5 | 151.89 | 0.043957
557 | 153.3 | 145.69 | 0.042163
557.5 | 147.3 | 139.69 | 0.040427
558 | 141.6 | 133.99 | 0.038777
558.5 | 136 | 128.39 | 0.037156
559 | 130.7 | 123.09 | 0.035623
559.5 | 125.7 | 118.09 | 0.034176
560 | 120.8 | 113.19 | 0.032758
560.5 | 116.3 | 108.69 | 0.031455
561 | 111.9 | 104.29 | 0.030182
561.5 | 107.8 | 100.19 | 0.028995
562 | 103.9 | 96.29 | 0.027867
562.5 | 100.1 | 92.49 | 0.026767
563 | 96.46 | 88.85 | 0.025713
563.5 | 92.94 | 85.33 | 0.024695
564 | 89.55 | 81.94 | 0.023714
564.5 | 86.29 | 78.68 | 0.02277
565 | 83.14 | 75.53 | 0.021859
565.5 | 80.15 | 72.54 | 0.020993
566 | 77.31 | 69.7 | 0.020171
566.5 | 74.65 | 67.04 | 0.019402
567 | 72.12 | 64.51 | 0.018669
567.5 | 69.74 | 62.13 | 0.017981
568 | 67.48 | 59.87 | 0.017327
568.5 | 65.35 | 57.74 | 0.01671
569 | 63.32 | 55.71 | 0.016123
569.5 | 61.35 | 53.74 | 0.015553
570 | 59.47 | 51.86 | 0.015008
570.5 | 57.66 | 50.05 | 0.014485
571 | 55.92 | 48.31 | 0.013981
571.5 | 54.25 | 46.64 | 0.013498
572 | 52.69 | 45.08 | 0.013046
572.5 | 51.18 | 43.57 | 0.012609
573 | 49.7 | 42.09 | 0.012181
573.5 | 48.24 | 40.63 | 0.011758
574 | 46.82 | 39.21 | 0.011347
574.5 | 45.45 | 37.84 | 0.010951
575 | 44.14 | 36.53 | 0.010572
575.5 | 42.91 | 35.3 | 0.010216
576 | 41.74 | 34.13 | 0.0098773
576.5 | 40.65 | 33.04 | 0.0095619
577 | 39.58 | 31.97 | 0.0092522
577.5 | 38.55 | 30.94 | 0.0089541
578 | 37.54 | 29.93 | 0.0086618
578.5 | 36.56 | 28.95 | 0.0083782
579 | 35.59 | 27.98 | 0.0080975
579.5 | 34.64 | 27.03 | 0.0078226
580 | 33.72 | 26.11 | 0.0075563
580.5 | 32.82 | 25.21 | 0.0072958
581 | 31.96 | 24.35 | 0.007047
581.5 | 31.14 | 23.53 | 0.0068097
582 | 30.36 | 22.75 | 0.0065839
582.5 | 29.58 | 21.97 | 0.0063582
583 | 28.79 | 21.18 | 0.0061296
583.5 | 28.01 | 20.4 | 0.0059038
584 | 27.25 | 19.64 | 0.0056839
584.5 | 26.51 | 18.9 | 0.0054697
585 | 25.8 | 18.19 | 0.0052642
585.5 | 25.1 | 17.49 | 0.0050617
586 | 24.41 | 16.8 | 0.004862
586.5 | 23.73 | 16.12 | 0.0046652
587 | 23.05 | 15.44 | 0.0044684
587.5 | 22.41 | 14.8 | 0.0042832
588 | 21.82 | 14.21 | 0.0041124
588.5 | 21.27 | 13.66 | 0.0039532
589 | 20.75 | 13.14 | 0.0038028
589.5 | 20.26 | 12.65 | 0.0036609
590 | 19.83 | 12.22 | 0.0035365
590.5 | 19.43 | 11.82 | 0.0034207
591 | 19.06 | 11.45 | 0.0033137
591.5 | 18.71 | 11.1 | 0.0032124
592 | 18.36 | 10.75 | 0.0031111
592.5 | 18.01 | 10.4 | 0.0030098
593 | 17.67 | 10.06 | 0.0029114
593.5 | 17.36 | 9.75 | 0.0028217
594 | 17.1 | 9.49 | 0.0027464
594.5 | 16.86 | 9.25 | 0.002677
595 | 16.63 | 9.02 | 0.0026104
595.5 | 16.4 | 8.79 | 0.0025439
596 | 16.18 | 8.57 | 0.0024802
596.5 | 15.96 | 8.35 | 0.0024165
597 | 15.76 | 8.15 | 0.0023586
597.5 | 15.57 | 7.96 | 0.0023036
598 | 15.37 | 7.76 | 0.0022458
598.5 | 15.17 | 7.56 | 0.0021879
599 | 14.96 | 7.35 | 0.0021271
599.5 | 14.79 | 7.18 | 0.0020779
600 | 14.65 | 7.04 | 0.0020374
600.5 | 14.51 | 6.9 | 0.0019969
601 | 14.37 | 6.76 | 0.0019564
601.5 | 14.23 | 6.62 | 0.0019158
602 | 14.06 | 6.45 | 0.0018666
602.5 | 13.91 | 6.3 | 0.0018232
603 | 13.78 | 6.17 | 0.0017856
603.5 | 13.65 | 6.04 | 0.001748
604 | 13.51 | 5.9 | 0.0017075
604.5 | 13.37 | 5.76 | 0.001667
605 | 13.22 | 5.61 | 0.0016236
605.5 | 13.09 | 5.48 | 0.0015859
606 | 12.97 | 5.36 | 0.0015512
606.5 | 12.88 | 5.27 | 0.0015252
607 | 12.8 | 5.19 | 0.001502
607.5 | 12.73 | 5.12 | 0.0014817
608 | 12.68 | 5.07 | 0.0014673
608.5 | 12.65 | 5.04 | 0.0014586
609 | 12.62 | 5.01 | 0.0014499
609.5 | 12.6 | 4.99 | 0.0014441
610 | 12.53 | 4.92 | 0.0014239
610.5 | 12.43 | 4.82 | 0.0013949
611 | 12.31 | 4.7 | 0.0013602
611.5 | 12.16 | 4.55 | 0.0013168
612 | 12.02 | 4.41 | 0.0012763
612.5 | 11.88 | 4.27 | 0.0012358
613 | 11.75 | 4.14 | 0.0011981
613.5 | 11.63 | 4.02 | 0.0011634
614 | 11.51 | 3.9 | 0.0011287
614.5 | 11.38 | 3.77 | 0.001091
615 | 11.26 | 3.65 | 0.0010563
615.5 | 11.14 | 3.53 | 0.0010216
616 | 11.03 | 3.42 | 0.00098976
616.5 | 10.92 | 3.31 | 0.00095792
617 | 10.79 | 3.18 | 0.0009203
617.5 | 10.67 | 3.06 | 0.00088557
618 | 10.54 | 2.93 | 0.00084795
618.5 | 10.41 | 2.8 | 0.00081033
619 | 10.27 | 2.66 | 0.00076981
619.5 | 10.13 | 2.52 | 0.0007293
620 | 9.987 | 2.377 | 0.00068791
620.5 | 9.818 | 2.208 | 0.000639
621 | 9.655 | 2.045 | 0.00059183
621.5 | 9.534 | 1.924 | 0.00055681
622 | 9.45 | 1.84 | 0.0005325
622.5 | 9.391 | 1.781 | 0.00051543
623 | 9.353 | 1.743 | 0.00050443
623.5 | 9.326 | 1.716 | 0.00049662
624 | 9.321 | 1.711 | 0.00049517
624.5 | 9.354 | 1.744 | 0.00050472
625 | 9.408 | 1.798 | 0.00052035
625.5 | 9.459 | 1.849 | 0.00053511
626 | 9.479 | 1.869 | 0.00054089
626.5 | 9.465 | 1.855 | 0.00053684
627 | 9.439 | 1.829 | 0.00052932
627.5 | 9.428 | 1.818 | 0.00052613
628 | 9.418 | 1.808 | 0.00052324
628.5 | 9.416 | 1.806 | 0.00052266
629 | 9.421 | 1.811 | 0.00052411
629.5 | 9.423 | 1.813 | 0.00052469
630 | 9.442 | 1.832 | 0.00053019
630.5 | 9.481 | 1.871 | 0.00054147
631 | 9.502 | 1.892 | 0.00054755
631.5 | 9.479 | 1.869 | 0.00054089
632 | 9.407 | 1.797 | 0.00052006
632.5 | 9.314 | 1.704 | 0.00049314
633 | 9.218 | 1.608 | 0.00046536
633.5 | 9.14 | 1.53 | 0.00044279
634 | 9.062 | 1.452 | 0.00042021
634.5 | 8.986 | 1.376 | 0.00039822
635 | 8.908 | 1.298 | 0.00037565
635.5 | 8.849 | 1.239 | 0.00035857
636 | 8.819 | 1.209 | 0.00034989
636.5 | 8.819 | 1.209 | 0.00034989
637 | 8.84 | 1.23 | 0.00035597
637.5 | 8.847 | 1.237 | 0.00035799
638 | 8.837 | 1.227 | 0.0003551
638.5 | 8.834 | 1.224 | 0.00035423
639 | 8.847 | 1.237 | 0.00035799
639.5 | 8.862 | 1.252 | 0.00036233
640 | 8.865 | 1.255 | 0.0003632
640.5 | 8.884 | 1.274 | 0.0003687
641 | 8.931 | 1.321 | 0.0003823
641.5 | 9.033 | 1.423 | 0.00041182
642 | 9.17 | 1.56 | 0.00045147
642.5 | 9.315 | 1.705 | 0.00049343
643 | 9.423 | 1.813 | 0.00052469
643.5 | 9.48 | 1.87 | 0.00054118
644 | 9.485 | 1.875 | 0.00054263
644.5 | 9.461 | 1.851 | 0.00053568
645 | 9.408 | 1.798 | 0.00052035
645.5 | 9.315 | 1.705 | 0.00049343
646 | 9.201 | 1.591 | 0.00046044
646.5 | 9.108 | 1.498 | 0.00043353
647 | 9.017 | 1.407 | 0.00040719
647.5 | 8.939 | 1.329 | 0.00038462
648 | 8.873 | 1.263 | 0.00036552
648.5 | 8.798 | 1.188 | 0.00034381
649 | 8.703 | 1.093 | 0.00031632
649.5 | 8.594 | 0.984 | 0.00028477
650 | 8.485 | 0.875 | 0.00025323
650.5 | 8.381 | 0.771 | 0.00022313
651 | 8.278 | 0.668 | 0.00019332
651.5 | 8.156 | 0.546 | 0.00015801
652 | 8.016 | 0.406 | 0.0001175
652.5 | 7.886 | 0.276 | 7.9875e-05
653 | 7.757 | 0.147 | 4.2542e-05
653.5 | 7.646 | 0.036 | 1.0419e-05
654 | 7.585 | 0 | 0
654.5 | 7.565 | 0 | 0
655 | 7.59 | 0 | 0
655.5 | 7.635 | 0.025 | 7.2351e-06
656 | 7.7 | 0.09 | 2.6046e-05
656.5 | 7.783 | 0.173 | 5.0067e-05
657 | 7.879 | 0.269 | 7.7849e-05
657.5 | 7.993 | 0.383 | 0.00011084
658 | 8.092 | 0.482 | 0.00013949
658.5 | 8.171 | 0.561 | 0.00016236
659 | 8.234 | 0.624 | 0.00018059
659.5 | 8.319 | 0.709 | 0.00020519
660 | 8.434 | 0.824 | 0.00023847
660.5 | 8.551 | 0.941 | 0.00027233
661 | 8.661 | 1.051 | 0.00030416
661.5 | 8.764 | 1.154 | 0.00033397
662 | 8.885 | 1.275 | 0.00036899
662.5 | 9.031 | 1.421 | 0.00041124
663 | 9.22 | 1.61 | 0.00046594
663.5 | 9.418 | 1.808 | 0.00052324
664 | 9.563 | 1.953 | 0.0005652
664.5 | 9.659 | 2.049 | 0.00059299
665 | 9.726 | 2.116 | 0.00061238
665.5 | 9.804 | 2.194 | 0.00063495
666 | 9.869 | 2.259 | 0.00065376
666.5 | 9.9 | 2.29 | 0.00066273
667 | 9.913 | 2.303 | 0.00066649
667.5 | 9.913 | 2.303 | 0.00066649
668 | 9.923 | 2.313 | 0.00066939
668.5 | 9.957 | 2.347 | 0.00067923
669 | 9.988 | 2.378 | 0.0006882
669.5 | 9.979 | 2.369 | 0.0006856
670 | 9.93 | 2.32 | 0.00067141
670.5 | 9.881 | 2.271 | 0.00065723
671 | 9.856 | 2.246 | 0.00065
671.5 | 9.841 | 2.231 | 0.00064566
672 | 9.803 | 2.193 | 0.00063466
672.5 | 9.729 | 2.119 | 0.00061324
673 | 9.625 | 2.015 | 0.00058315
673.5 | 9.513 | 1.903 | 0.00055073
674 | 9.409 | 1.799 | 0.00052064
674.5 | 9.303 | 1.693 | 0.00048996
675 | 9.169 | 1.559 | 0.00045118
675.5 | 9.011 | 1.401 | 0.00040545
676 | 8.859 | 1.249 | 0.00036146
676.5 | 8.722 | 1.112 | 0.00032182
677 | 8.566 | 0.956 | 0.00027667
677.5 | 8.399 | 0.789 | 0.00022834
678 | 8.228 | 0.618 | 0.00017885
678.5 | 8.044 | 0.434 | 0.0001256
679 | 7.864 | 0.254 | 7.3508e-05
679.5 | 7.695 | 0.085 | 2.4599e-05
680 | 7.527 | 0 | 0
680.5 | 7.337 | 0 | 0
681 | 7.136 | 0 | 0
681.5 | 6.955 | 0 | 0
682 | 6.803 | 0 | 0
682.5 | 6.692 | 0 | 0
683 | 6.64 | 0 | 0
683.5 | 6.664 | 0 | 0
684 | 6.731 | 0 | 0
684.5 | 6.825 | 0 | 0
685 | 6.948 | 0 | 0
685.5 | 7.074 | 0 | 0
686 | 7.194 | 0 | 0
686.5 | 7.329 | 0 | 0
687 | 7.454 | 0 | 0
687.5 | 7.562 | 0 | 0
688 | 7.683 | 0.073 | 2.1126e-05
688.5 | 7.835 | 0.225 | 6.5116e-05
689 | 8.028 | 0.418 | 0.00012097
689.5 | 8.243 | 0.633 | 0.00018319
690 | 8.446 | 0.836 | 0.00024194
690.5 | 8.647 | 1.037 | 0.00030011
691 | 8.838 | 1.228 | 0.00035539
691.5 | 9.028 | 1.418 | 0.00041037
692 | 9.204 | 1.594 | 0.00046131
692.5 | 9.331 | 1.721 | 0.00049806
693 | 9.364 | 1.754 | 0.00050761
693.5 | 9.351 | 1.741 | 0.00050385
694 | 9.317 | 1.707 | 0.00049401
694.5 | 9.279 | 1.669 | 0.00048301
695 | 9.256 | 1.646 | 0.00047636
695.5 | 9.232 | 1.622 | 0.00046941
696 | 9.209 | 1.599 | 0.00046276
696.5 | 9.22 | 1.61 | 0.00046594
697 | 9.273 | 1.663 | 0.00048128
697.5 | 9.347 | 1.737 | 0.00050269
698 | 9.395 | 1.785 | 0.00051658
698.5 | 9.399 | 1.789 | 0.00051774
699 | 9.369 | 1.759 | 0.00050906
699.5 | 9.336 | 1.726 | 0.00049951
700 | 9.3 | 1.69 | 0.00048909
700.5 | 9.27 | 1.66 | 0.00048041
701 | 9.233 | 1.623 | 0.0004697
701.5 | 9.182 | 1.572 | 0.00045494
702 | 9.16 | 1.55 | 0.00044857
702.5 | 9.166 | 1.556 | 0.00045031
703 | 9.156 | 1.546 | 0.00044742
703.5 | 9.122 | 1.512 | 0.00043758
704 | 9.083 | 1.473 | 0.00042629
704.5 | 9.033 | 1.423 | 0.00041182
705 | 8.973 | 1.363 | 0.00039446
705.5 | 8.908 | 1.298 | 0.00037565
706 | 8.814 | 1.204 | 0.00034844
706.5 | 8.708 | 1.098 | 0.00031776
707 | 8.609 | 0.999 | 0.00028911
707.5 | 8.536 | 0.926 | 0.00026799
708 | 8.481 | 0.871 | 0.00025207
708.5 | 8.432 | 0.822 | 0.00023789
709 | 8.382 | 0.772 | 0.00022342
709.5 | 8.332 | 0.722 | 0.00020895
710 | 8.267 | 0.657 | 0.00019014
710.5 | 8.19 | 0.58 | 0.00016785
711 | 8.097 | 0.487 | 0.00014094
711.5 | 7.978 | 0.368 | 0.0001065
712 | 7.866 | 0.256 | 7.4087e-05
712.5 | 7.793 | 0.183 | 5.2961e-05
713 | 7.729 | 0.119 | 3.4439e-05
713.5 | 7.645 | 0.035 | 1.0129e-05
714 | 7.57 | 0 | 0
714.5 | 7.518 | 0 | 0
715 | 7.487 | 0 | 0
715.5 | 7.49 | 0 | 0
716 | 7.509 | 0 | 0
716.5 | 7.538 | 0 | 0
717 | 7.575 | 0 | 0
717.5 | 7.641 | 0.031 | 8.9715e-06
718 | 7.733 | 0.123 | 3.5597e-05
718.5 | 7.832 | 0.222 | 6.4247e-05
719 | 7.908 | 0.298 | 8.6242e-05
719.5 | 7.999 | 0.389 | 0.00011258
720 | 8.108 | 0.498 | 0.00014412
720.5 | 8.229 | 0.619 | 0.00017914
721 | 8.339 | 0.729 | 0.00021097
721.5 | 8.417 | 0.807 | 0.00023355
722 | 8.485 | 0.875 | 0.00025323
722.5 | 8.553 | 0.943 | 0.00027291
723 | 8.652 | 1.042 | 0.00030156
723.5 | 8.76 | 1.15 | 0.00033281
724 | 8.851 | 1.241 | 0.00035915
724.5 | 8.914 | 1.304 | 0.00037738
725 | 8.972 | 1.362 | 0.00039417
725.5 | 9.018 | 1.408 | 0.00040748
726 | 9.05 | 1.44 | 0.00041674
726.5 | 9.073 | 1.463 | 0.0004234
727 | 9.063 | 1.453 | 0.0004205
727.5 | 9.015 | 1.405 | 0.00040661
728 | 8.947 | 1.337 | 0.00038693
728.5 | 8.876 | 1.266 | 0.00036638
729 | 8.781 | 1.171 | 0.00033889
729.5 | 8.658 | 1.048 | 0.00030329
730 | 8.527 | 0.917 | 0.00026538
730.5 | 8.425 | 0.815 | 0.00023586
731 | 8.344 | 0.734 | 0.00021242
731.5 | 8.288 | 0.678 | 0.00019622
732 | 8.263 | 0.653 | 0.00018898
732.5 | 8.226 | 0.616 | 0.00017827
733 | 8.183 | 0.573 | 0.00016583
733.5 | 8.152 | 0.542 | 0.00015686
734 | 8.134 | 0.524 | 0.00015165
734.5 | 8.115 | 0.505 | 0.00014615
735 | 8.075 | 0.465 | 0.00013457
735.5 | 7.995 | 0.385 | 0.00011142
736 | 7.896 | 0.286 | 8.2769e-05
736.5 | 7.803 | 0.193 | 5.5855e-05
737 | 7.733 | 0.123 | 3.5597e-05
737.5 | 7.699 | 0.089 | 2.5757e-05
738 | 7.691 | 0.081 | 2.3442e-05
738.5 | 7.708 | 0.098 | 2.8361e-05
739 | 7.789 | 0.179 | 5.1803e-05
739.5 | 7.917 | 0.307 | 8.8847e-05
740 | 8.056 | 0.446 | 0.00012907
740.5 | 8.17 | 0.56 | 0.00016207
741 | 8.244 | 0.634 | 0.00018348
741.5 | 8.289 | 0.679 | 0.0001965
742 | 8.341 | 0.731 | 0.00021155
742.5 | 8.38 | 0.77 | 0.00022284
743 | 8.39 | 0.78 | 0.00022573
743.5 | 8.344 | 0.734 | 0.00021242
744 | 8.294 | 0.684 | 0.00019795
744.5 | 8.296 | 0.686 | 0.00019853
745 | 8.332 | 0.722 | 0.00020895
745.5 | 8.359 | 0.749 | 0.00021676
746 | 8.359 | 0.749 | 0.00021676
746.5 | 8.35 | 0.74 | 0.00021416
747 | 8.35 | 0.74 | 0.00021416
747.5 | 8.385 | 0.775 | 0.00022429
748 | 8.423 | 0.813 | 0.00023528
748.5 | 8.425 | 0.815 | 0.00023586
749 | 8.399 | 0.789 | 0.00022834
749.5 | 8.386 | 0.776 | 0.00022458
750 | 8.392 | 0.782 | 0.00022631
750.5 | 8.4 | 0.79 | 0.00022863
751 | 8.337 | 0.727 | 0.0002104
751.5 | 8.224 | 0.614 | 0.00017769
752 | 8.109 | 0.499 | 0.00014441
752.5 | 8.026 | 0.416 | 0.00012039
753 | 7.978 | 0.368 | 0.0001065
753.5 | 7.936 | 0.326 | 9.4345e-05
754 | 7.887 | 0.277 | 8.0165e-05
754.5 | 7.855 | 0.245 | 7.0904e-05
755 | 7.866 | 0.256 | 7.4087e-05
755.5 | 7.909 | 0.299 | 8.6531e-05
756 | 7.94 | 0.33 | 9.5503e-05
756.5 | 7.916 | 0.306 | 8.8557e-05
757 | 7.862 | 0.252 | 7.293e-05
757.5 | 7.803 | 0.193 | 5.5855e-05
758 | 7.731 | 0.121 | 3.5018e-05
758.5 | 7.66 | 0.05 | 1.447e-05
759 | 7.611 | 0.001 | 2.894e-07
759.5 | 7.584 | 0 | 0
760 | 7.633 | 0.023 | 6.6563e-06
760.5 | 7.725 | 0.115 | 3.3281e-05
761 | 7.819 | 0.209 | 6.0485e-05
761.5 | 7.866 | 0.256 | 7.4087e-05
762 | 7.855 | 0.245 | 7.0904e-05
762.5 | 7.801 | 0.191 | 5.5276e-05
763 | 7.71 | 0.1 | 2.894e-05
763.5 | 7.601 | 0 | 0
764 | 7.494 | 0 | 0
764.5 | 7.4 | 0 | 0
765 | 7.338 | 0 | 0
765.5 | 7.328 | 0 | 0
766 | 7.341 | 0 | 0
766.5 | 7.356 | 0 | 0
767 | 7.362 | 0 | 0
767.5 | 7.349 | 0 | 0
768 | 7.337 | 0 | 0
768.5 | 7.354 | 0 | 0
769 | 7.374 | 0 | 0
769.5 | 7.394 | 0 | 0
770 | 7.435 | 0 | 0
770.5 | 7.548 | 0 | 0
771 | 7.709 | 0.099 | 2.8651e-05
771.5 | 7.904 | 0.294 | 8.5084e-05
772 | 8.111 | 0.501 | 0.00014499
772.5 | 8.285 | 0.675 | 0.00019535
773 | 8.442 | 0.832 | 0.00024078
773.5 | 8.585 | 0.975 | 0.00028217
774 | 8.69 | 1.08 | 0.00031256
774.5 | 8.738 | 1.128 | 0.00032645
775 | 8.742 | 1.132 | 0.0003276
775.5 | 8.743 | 1.133 | 0.00032789
776 | 8.761 | 1.151 | 0.0003331
776.5 | 8.814 | 1.204 | 0.00034844
777 | 8.848 | 1.238 | 0.00035828
777.5 | 8.835 | 1.225 | 0.00035452
778 | 8.795 | 1.185 | 0.00034294
778.5 | 8.727 | 1.117 | 0.00032326
779 | 8.62 | 1.01 | 0.0002923
779.5 | 8.458 | 0.848 | 0.00024541
780 | 8.253 | 0.643 | 0.00018609
780.5 | 8.036 | 0.426 | 0.00012329
781 | 7.873 | 0.263 | 7.6113e-05
781.5 | 7.799 | 0.189 | 5.4697e-05
782 | 7.753 | 0.143 | 4.1385e-05
782.5 | 7.721 | 0.111 | 3.2124e-05
783 | 7.711 | 0.101 | 2.923e-05
783.5 | 7.716 | 0.106 | 3.0677e-05
784 | 7.718 | 0.108 | 3.1256e-05
784.5 | 7.688 | 0.078 | 2.2573e-05
785 | 7.64 | 0.03 | 8.6821e-06
785.5 | 7.556 | 0 | 0
786 | 7.455 | 0 | 0
786.5 | 7.367 | 0 | 0
787 | 7.29 | 0 | 0
787.5 | 7.241 | 0 | 0
788 | 7.227 | 0 | 0
788.5 | 7.24 | 0 | 0
789 | 7.265 | 0 | 0
789.5 | 7.284 | 0 | 0
790 | 7.241 | 0 | 0
790.5 | 7.142 | 0 | 0
791 | 7.013 | 0 | 0
791.5 | 6.903 | 0 | 0
792 | 6.848 | 0 | 0
792.5 | 6.86 | 0 | 0
793 | 6.923 | 0 | 0
793.5 | 6.99 | 0 | 0
794 | 7.038 | 0 | 0
794.5 | 7.106 | 0 | 0
795 | 7.156 | 0 | 0
795.5 | 7.2 | 0 | 0
796 | 7.28 | 0 | 0
796.5 | 7.405 | 0 | 0
797 | 7.57 | 0 | 0
797.5 | 7.756 | 0.146 | 4.2253e-05
798 | 7.93 | 0.32 | 9.2609e-05
798.5 | 8.079 | 0.469 | 0.00013573
799 | 8.204 | 0.594 | 0.00017191
799.5 | 8.34 | 0.73 | 0.00021126
800 | 8.45 | 0.84 | 0.0002431
800.5 | 8.511 | 0.901 | 0.00026075
801 | 8.505 | 0.895 | 0.00025902
801.5 | 8.473 | 0.863 | 0.00024975
802 | 8.458 | 0.848 | 0.00024541
802.5 | 8.468 | 0.858 | 0.00024831
803 | 8.486 | 0.876 | 0.00025352
803.5 | 8.515 | 0.905 | 0.00026191
804 | 8.547 | 0.937 | 0.00027117
804.5 | 8.546 | 0.936 | 0.00027088
805 | 8.482 | 0.872 | 0.00025236
805.5 | 8.353 | 0.743 | 0.00021503
806 | 8.171 | 0.561 | 0.00016236
806.5 | 7.987 | 0.377 | 0.0001091
807 | 7.841 | 0.231 | 6.6852e-05
807.5 | 7.743 | 0.133 | 3.8491e-05
808 | 7.67 | 0.06 | 1.7364e-05
808.5 | 7.617 | 0.007 | 2.0258e-06
809 | 7.573 | 0 | 0
809.5 | 7.539 | 0 | 0
810 | 7.501 | 0 | 0
810.5 | 7.442 | 0 | 0
811 | 7.373 | 0 | 0
811.5 | 7.286 | 0 | 0
812 | 7.213 | 0 | 0
812.5 | 7.168 | 0 | 0
813 | 7.143 | 0 | 0
813.5 | 7.144 | 0 | 0
814 | 7.179 | 0 | 0
814.5 | 7.271 | 0 | 0
815 | 7.392 | 0 | 0
815.5 | 7.504 | 0 | 0
816 | 7.613 | 0.003 | 8.6821e-07
816.5 | 7.693 | 0.083 | 2.402e-05
817 | 7.745 | 0.135 | 3.9069e-05
817.5 | 7.781 | 0.171 | 4.9488e-05
818 | 7.808 | 0.198 | 5.7302e-05
818.5 | 7.824 | 0.214 | 6.1932e-05
819 | 7.851 | 0.241 | 6.9746e-05
819.5 | 7.893 | 0.283 | 8.1901e-05
820 | 7.963 | 0.353 | 0.00010216
820.5 | 8.026 | 0.416 | 0.00012039
821 | 8.089 | 0.479 | 0.00013862
821.5 | 8.153 | 0.543 | 0.00015715
822 | 8.223 | 0.613 | 0.0001774
822.5 | 8.298 | 0.688 | 0.00019911
823 | 8.346 | 0.736 | 0.000213
823.5 | 8.337 | 0.727 | 0.0002104
824 | 8.297 | 0.687 | 0.00019882
824.5 | 8.22 | 0.61 | 0.00017654
825 | 8.12 | 0.51 | 0.0001476
825.5 | 8.015 | 0.405 | 0.00011721
826 | 7.945 | 0.335 | 9.695e-05
826.5 | 7.918 | 0.308 | 8.9136e-05
827 | 7.958 | 0.348 | 0.00010071
827.5 | 8.032 | 0.422 | 0.00012213
828 | 8.118 | 0.508 | 0.00014702
828.5 | 8.178 | 0.568 | 0.00016438
829 | 8.196 | 0.586 | 0.00016959
829.5 | 8.161 | 0.551 | 0.00015946
830 | 8.088 | 0.478 | 0.00013833
830.5 | 7.981 | 0.371 | 0.00010737
831 | 7.863 | 0.253 | 7.3219e-05
831.5 | 7.767 | 0.157 | 4.5436e-05
832 | 7.714 | 0.104 | 3.0098e-05
832.5 | 7.7 | 0.09 | 2.6046e-05
833 | 7.724 | 0.114 | 3.2992e-05
833.5 | 7.801 | 0.191 | 5.5276e-05
834 | 7.892 | 0.282 | 8.1612e-05
834.5 | 7.965 | 0.355 | 0.00010274
835 | 7.987 | 0.377 | 0.0001091
835.5 | 7.93 | 0.32 | 9.2609e-05
836 | 7.82 | 0.21 | 6.0775e-05
836.5 | 7.67 | 0.06 | 1.7364e-05
837 | 7.534 | 0 | 0
837.5 | 7.429 | 0 | 0
838 | 7.378 | 0 | 0
838.5 | 7.377 | 0 | 0
839 | 7.409 | 0 | 0
839.5 | 7.443 | 0 | 0
840 | 7.483 | 0 | 0
840.5 | 7.513 | 0 | 0
841 | 7.542 | 0 | 0
841.5 | 7.588 | 0 | 0
842 | 7.61 | 0 | 0
842.5 | 7.59 | 0 | 0
843 | 7.539 | 0 | 0
843.5 | 7.499 | 0 | 0
844 | 7.489 | 0 | 0
844.5 | 7.541 | 0 | 0
845 | 7.644 | 0.034 | 9.8397e-06
845.5 | 7.789 | 0.179 | 5.1803e-05
846 | 7.955 | 0.345 | 9.9844e-05
846.5 | 8.115 | 0.505 | 0.00014615
847 | 8.227 | 0.617 | 0.00017856
847.5 | 8.298 | 0.688 | 0.00019911
848 | 8.356 | 0.746 | 0.00021589
848.5 | 8.441 | 0.831 | 0.00024049
849 | 8.54 | 0.93 | 0.00026914
849.5 | 8.628 | 1.018 | 0.00029461
850 | 8.676 | 1.066 | 0.0003085
850.5 | 8.704 | 1.094 | 0.00031661
851 | 8.724 | 1.114 | 0.00032239
851.5 | 8.719 | 1.109 | 0.00032095
852 | 8.689 | 1.079 | 0.00031227
852.5 | 8.635 | 1.025 | 0.00029664
853 | 8.574 | 0.964 | 0.00027898
853.5 | 8.526 | 0.916 | 0.00026509
854 | 8.487 | 0.877 | 0.00025381
854.5 | 8.416 | 0.806 | 0.00023326
855 | 8.384 | 0.774 | 0.000224
855.5 | 8.383 | 0.773 | 0.00022371
856 | 8.379 | 0.769 | 0.00022255
856.5 | 8.329 | 0.719 | 0.00020808
857 | 8.215 | 0.605 | 0.00017509
857.5 | 8.076 | 0.466 | 0.00013486
858 | 7.982 | 0.372 | 0.00010766
858.5 | 7.923 | 0.313 | 9.0583e-05
859 | 7.905 | 0.295 | 8.5374e-05
859.5 | 7.96 | 0.35 | 0.00010129
860 | 8.041 | 0.431 | 0.00012473
860.5 | 8.133 | 0.523 | 0.00015136
861 | 8.192 | 0.582 | 0.00016843
861.5 | 8.203 | 0.593 | 0.00017162
862 | 8.17 | 0.56 | 0.00016207
862.5 | 8.132 | 0.522 | 0.00015107
863 | 8.059 | 0.449 | 0.00012994
863.5 | 7.966 | 0.356 | 0.00010303
864 | 7.885 | 0.275 | 7.9586e-05
864.5 | 7.809 | 0.199 | 5.7591e-05
865 | 7.792 | 0.182 | 5.2671e-05
865.5 | 7.828 | 0.218 | 6.309e-05
866 | 7.871 | 0.261 | 7.5534e-05
866.5 | 7.888 | 0.278 | 8.0454e-05
867 | 7.87 | 0.26 | 7.5245e-05
867.5 | 7.849 | 0.239 | 6.9167e-05
868 | 7.86 | 0.25 | 7.2351e-05
868.5 | 7.908 | 0.298 | 8.6242e-05
869 | 7.984 | 0.374 | 0.00010824
869.5 | 8.106 | 0.496 | 0.00014354
870 | 8.272 | 0.662 | 0.00019158
870.5 | 8.417 | 0.807 | 0.00023355
871 | 8.517 | 0.907 | 0.00026249
871.5 | 8.581 | 0.971 | 0.00028101
872 | 8.642 | 1.032 | 0.00029866
872.5 | 8.723 | 1.113 | 0.00032211
873 | 8.773 | 1.163 | 0.00033658
873.5 | 8.764 | 1.154 | 0.00033397
874 | 8.792 | 1.182 | 0.00034207
874.5 | 8.916 | 1.306 | 0.00037796
875 | 9.074 | 1.464 | 0.00042369
875.5 | 9.229 | 1.619 | 0.00046854
876 | 9.356 | 1.746 | 0.0005053
876.5 | 9.446 | 1.836 | 0.00053134
877 | 9.478 | 1.868 | 0.0005406
877.5 | 9.41 | 1.8 | 0.00052093
878 | 9.249 | 1.639 | 0.00047433
878.5 | 9.115 | 1.505 | 0.00043555
879 | 8.997 | 1.387 | 0.0004014
879.5 | 8.896 | 1.286 | 0.00037217
880 | 8.816 | 1.206 | 0.00034902
880.5 | 8.759 | 1.149 | 0.00033252
881 | 9.373 | 1.763 | 0.00051022
881.5 | 8.578 | 0.968 | 0.00028014
882 | 8.019 | 0.409 | 0.00011837
882.5 | 7.053 | 0 | 0
883 | 6.623 | 0 | 0
883.5 | 6.672 | 0 | 0
884 | 7.012 | 0 | 0
884.5 | 16.52 | 8.91 | 0.0025786
885 | 18.27 | 10.66 | 0.003085
885.5 | 8.883 | 1.273 | 0.00036841
886 | 9.222 | 1.612 | 0.00046652
886.5 | 7.585 | 0 | 0