## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -21.967 | 0 | 0
246.5 | -20.623 | 0 | 0
247 | -19.571 | 1.052 | 0.00029088
247.5 | -21.258 | 0 | 0
248 | -18.265 | 2.358 | 0.00065199
248.5 | -17.009 | 3.614 | 0.00099927
249 | -15.301 | 5.322 | 0.0014715
249.5 | -14.369 | 6.254 | 0.0017292
250 | -19.317 | 1.306 | 0.00036111
250.5 | -19.486 | 1.137 | 0.00031438
251 | -20.429 | 0.194 | 5.3641e-05
251.5 | -21.46 | 0 | 0
252 | -19.678 | 0.945 | 0.00026129
252.5 | -17.235 | 3.388 | 0.00093679
253 | -18.293 | 2.33 | 0.00064425
253.5 | -19.158 | 1.465 | 0.00040507
254 | -21.47 | 0 | 0
254.5 | -21.161 | 0 | 0
255 | -21.777 | 0 | 0
255.5 | -22.046 | 0 | 0
256 | -20.431 | 0.192 | 5.3088e-05
256.5 | -19.464 | 1.159 | 0.00032046
257 | -18.471 | 2.152 | 0.00059503
257.5 | -18.494 | 2.129 | 0.00058867
258 | -18.792 | 1.831 | 0.00050627
258.5 | -18.976 | 1.647 | 0.0004554
259 | -18.68 | 1.943 | 0.00053724
259.5 | -18.52 | 2.103 | 0.00058148
260 | -18.434 | 2.189 | 0.00060526
260.5 | -18.24 | 2.383 | 0.0006589
261 | -18.044 | 2.579 | 0.0007131
261.5 | -17.971 | 2.652 | 0.00073328
262 | -18.011 | 2.612 | 0.00072222
262.5 | -18.173 | 2.45 | 0.00067743
263 | -18.331 | 2.292 | 0.00063374
263.5 | -18.331 | 2.292 | 0.00063374
264 | -18.232 | 2.391 | 0.00066111
264.5 | -18.027 | 2.596 | 0.0007178
265 | -18.12 | 2.503 | 0.00069208
265.5 | -18.3 | 2.323 | 0.00064231
266 | -18.36 | 2.263 | 0.00062572
266.5 | -18.422 | 2.201 | 0.00060858
267 | -18.568 | 2.055 | 0.00056821
267.5 | -18.791 | 1.832 | 0.00050655
268 | -19.001 | 1.622 | 0.00044848
268.5 | -19.528 | 1.095 | 0.00030277
269 | -19.91 | 0.713 | 0.00019715
269.5 | -20.105 | 0.518 | 0.00014323
270 | -20.023 | 0.6 | 0.0001659
270.5 | -20.038 | 0.585 | 0.00016175
271 | -20.056 | 0.567 | 0.00015678
271.5 | -19.987 | 0.636 | 0.00017585
272 | -19.799 | 0.824 | 0.00022784
272.5 | -19.698 | 0.925 | 0.00025576
273 | -19.696 | 0.927 | 0.00025632
273.5 | -19.724 | 0.899 | 0.00024857
274 | -19.776 | 0.847 | 0.0002342
274.5 | -19.738 | 0.885 | 0.0002447
275 | -19.559 | 1.064 | 0.0002942
275.5 | -19.214 | 1.409 | 0.00038959
276 | -18.932 | 1.691 | 0.00046756
276.5 | -18.77 | 1.853 | 0.00051236
277 | -18.706 | 1.917 | 0.00053005
277.5 | -18.671 | 1.952 | 0.00053973
278 | -18.606 | 2.017 | 0.0005577
278.5 | -18.609 | 2.014 | 0.00055687
279 | -18.783 | 1.84 | 0.00050876
279.5 | -18.896 | 1.727 | 0.00047752
280 | -18.938 | 1.685 | 0.0004659
280.5 | -18.954 | 1.669 | 0.00046148
281 | -18.931 | 1.692 | 0.00046784
281.5 | -18.859 | 1.764 | 0.00048775
282 | -18.737 | 1.886 | 0.00052148
282.5 | -18.644 | 1.979 | 0.0005472
283 | -18.646 | 1.977 | 0.00054664
283.5 | -18.386 | 2.237 | 0.00061853
284 | -18.232 | 2.391 | 0.00066111
284.5 | -18.217 | 2.406 | 0.00066526
285 | -18.054 | 2.569 | 0.00071033
285.5 | -17.77 | 2.853 | 0.00078886
286 | -17.149 | 3.474 | 0.00096056
286.5 | -16.581 | 4.042 | 0.0011176
287 | -16.37 | 4.253 | 0.001176
287.5 | -16.107 | 4.516 | 0.0012487
288 | -15.826 | 4.797 | 0.0013264
288.5 | -15.679 | 4.944 | 0.001367
289 | -15.638 | 4.985 | 0.0013784
289.5 | -15.397 | 5.226 | 0.001445
290 | -15.421 | 5.202 | 0.0014384
290.5 | -15.541 | 5.082 | 0.0014052
291 | -15.62 | 5.003 | 0.0013833
291.5 | -15.762 | 4.861 | 0.0013441
292 | -15.932 | 4.691 | 0.0012971
292.5 | -16.158 | 4.465 | 0.0012346
293 | -16.683 | 3.94 | 0.0010894
293.5 | -16.928 | 3.695 | 0.0010217
294 | -17.205 | 3.418 | 0.00094508
294.5 | -17.53 | 3.093 | 0.00085522
295 | -17.703 | 2.92 | 0.00080738
295.5 | -17.708 | 2.915 | 0.000806
296 | -17.905 | 2.718 | 0.00075153
296.5 | -18.18 | 2.443 | 0.00067549
297 | -18.334 | 2.289 | 0.00063291
297.5 | -18.493 | 2.13 | 0.00058895
298 | -18.463 | 2.16 | 0.00059724
298.5 | -18.329 | 2.294 | 0.00063429
299 | -18.199 | 2.424 | 0.00067024
299.5 | -17.911 | 2.712 | 0.00074987
300 | -17.778 | 2.845 | 0.00078665
300.5 | -17.678 | 2.945 | 0.0008143
301 | -17.643 | 2.98 | 0.00082397
301.5 | -17.513 | 3.11 | 0.00085992
302 | -17.423 | 3.2 | 0.0008848
302.5 | -17.273 | 3.35 | 0.00092628
303 | -17.146 | 3.477 | 0.00096139
303.5 | -17.176 | 3.447 | 0.0009531
304 | -17.195 | 3.428 | 0.00094785
304.5 | -17.567 | 3.056 | 0.00084499
305 | -18.032 | 2.591 | 0.00071641
305.5 | -18.643 | 1.98 | 0.00054747
306 | -18.934 | 1.689 | 0.00046701
306.5 | -18.972 | 1.651 | 0.0004565
307 | -19.018 | 1.605 | 0.00044378
307.5 | -18.97 | 1.653 | 0.00045706
308 | -19.088 | 1.535 | 0.00042443
308.5 | -19.124 | 1.499 | 0.00041448
309 | -19.274 | 1.349 | 0.000373
309.5 | -19.31 | 1.313 | 0.00036305
310 | -19.338 | 1.285 | 0.0003553
310.5 | -19.203 | 1.42 | 0.00039263
311 | -18.873 | 1.75 | 0.00048388
311.5 | -18.635 | 1.988 | 0.00054968
312 | -18.303 | 2.32 | 0.00064148
312.5 | -18.287 | 2.336 | 0.00064591
313 | -18.31 | 2.313 | 0.00063955
313.5 | -18.35 | 2.273 | 0.00062849
314 | -18.407 | 2.216 | 0.00061273
314.5 | -18.493 | 2.13 | 0.00058895
315 | -18.86 | 1.763 | 0.00048747
315.5 | -19 | 1.623 | 0.00044876
316 | -18.95 | 1.673 | 0.00046259
316.5 | -18.637 | 1.986 | 0.00054913
317 | -18.349 | 2.274 | 0.00062876
317.5 | -18.273 | 2.35 | 0.00064978
318 | -18.053 | 2.57 | 0.00071061
318.5 | -17.842 | 2.781 | 0.00076895
319 | -17.888 | 2.735 | 0.00075623
319.5 | -18.182 | 2.441 | 0.00067494
320 | -18.226 | 2.397 | 0.00066277
320.5 | -18.216 | 2.407 | 0.00066554
321 | -17.834 | 2.789 | 0.00077116
321.5 | -17.443 | 3.18 | 0.00087927
322 | -17.353 | 3.27 | 0.00090416
322.5 | -17.501 | 3.122 | 0.00086324
323 | -17.749 | 2.874 | 0.00079466
323.5 | -17.923 | 2.7 | 0.00074655
324 | -17.902 | 2.721 | 0.00075236
324.5 | -18.005 | 2.618 | 0.00072388
325 | -18.017 | 2.606 | 0.00072056
325.5 | -17.701 | 2.922 | 0.00080794
326 | -17.38 | 3.243 | 0.00089669
326.5 | -17.323 | 3.3 | 0.00091245
327 | -17.289 | 3.334 | 0.00092185
327.5 | -17.465 | 3.158 | 0.00087319
328 | -17.489 | 3.134 | 0.00086655
328.5 | -17.51 | 3.113 | 0.00086075
329 | -17.3 | 3.323 | 0.00091881
329.5 | -17.343 | 3.28 | 0.00090692
330 | -17.216 | 3.407 | 0.00094204
330.5 | -16.999 | 3.624 | 0.001002
331 | -16.838 | 3.785 | 0.0010466
331.5 | -16.863 | 3.76 | 0.0010396
332 | -17.029 | 3.594 | 0.00099374
332.5 | -17.139 | 3.484 | 0.00096333
333 | -17.386 | 3.237 | 0.00089503
333.5 | -17.478 | 3.145 | 0.0008696
334 | -17.684 | 2.939 | 0.00081264
334.5 | -17.997 | 2.626 | 0.00072609
335 | -18.052 | 2.571 | 0.00071088
335.5 | -18.103 | 2.52 | 0.00069678
336 | -18.17 | 2.453 | 0.00067826
336.5 | -18.503 | 2.12 | 0.00058618
337 | -18.806 | 1.817 | 0.0005024
337.5 | -19.068 | 1.555 | 0.00042996
338 | -19.069 | 1.554 | 0.00042968
338.5 | -18.837 | 1.786 | 0.00049383
339 | -18.704 | 1.919 | 0.00053061
339.5 | -18.586 | 2.037 | 0.00056323
340 | -18.71 | 1.913 | 0.00052895
340.5 | -18.853 | 1.77 | 0.00048941
341 | -18.761 | 1.862 | 0.00051484
341.5 | -18.699 | 1.924 | 0.00053199
342 | -18.683 | 1.94 | 0.00053641
342.5 | -18.596 | 2.027 | 0.00056047
343 | -18.398 | 2.225 | 0.00061521
343.5 | -18.202 | 2.421 | 0.00066941
344 | -18.181 | 2.442 | 0.00067522
344.5 | -18.413 | 2.21 | 0.00061107
345 | -18.964 | 1.659 | 0.00045872
345.5 | -19.234 | 1.389 | 0.00038406
346 | -19.293 | 1.33 | 0.00036775
346.5 | -19.217 | 1.406 | 0.00038876
347 | -18.963 | 1.66 | 0.00045899
347.5 | -18.923 | 1.7 | 0.00047005
348 | -19.124 | 1.499 | 0.00041448
348.5 | -19.294 | 1.329 | 0.00036747
349 | -19.421 | 1.202 | 0.00033235
349.5 | -19.521 | 1.102 | 0.0003047
350 | -19.551 | 1.072 | 0.00029641
350.5 | -19.411 | 1.212 | 0.00033512
351 | -19.272 | 1.351 | 0.00037355
351.5 | -18.922 | 1.701 | 0.00047033
352 | -18.737 | 1.886 | 0.00052148
352.5 | -18.405 | 2.218 | 0.00061328
353 | -18.256 | 2.367 | 0.00065448
353.5 | -18.412 | 2.211 | 0.00061134
354 | -18.524 | 2.099 | 0.00058038
354.5 | -18.437 | 2.186 | 0.00060443
355 | -18.369 | 2.254 | 0.00062323
355.5 | -18.186 | 2.437 | 0.00067383
356 | -18.037 | 2.586 | 0.00071503
356.5 | -17.919 | 2.704 | 0.00074766
357 | -17.821 | 2.802 | 0.00077476
357.5 | -17.58 | 3.043 | 0.00084139
358 | -17.584 | 3.039 | 0.00084029
358.5 | -17.556 | 3.067 | 0.00084803
359 | -17.607 | 3.016 | 0.00083393
359.5 | -17.543 | 3.08 | 0.00085162
360 | -17.494 | 3.129 | 0.00086517
360.5 | -17.202 | 3.421 | 0.00094591
361 | -17.18 | 3.443 | 0.00095199
361.5 | -17.26 | 3.363 | 0.00092987
362 | -17.394 | 3.229 | 0.00089282
362.5 | -17.66 | 2.963 | 0.00081927
363 | -17.626 | 2.997 | 0.00082867
363.5 | -17.688 | 2.935 | 0.00081153
364 | -18.004 | 2.619 | 0.00072416
364.5 | -18.201 | 2.422 | 0.00066969
365 | -18.313 | 2.31 | 0.00063872
365.5 | -18.429 | 2.194 | 0.00060664
366 | -18.346 | 2.277 | 0.00062959
366.5 | -18.399 | 2.224 | 0.00061494
367 | -18.616 | 2.007 | 0.00055494
367.5 | -18.771 | 1.852 | 0.00051208
368 | -18.755 | 1.868 | 0.0005165
368.5 | -18.631 | 1.992 | 0.00055079
369 | -18.607 | 2.016 | 0.00055743
369.5 | -18.548 | 2.075 | 0.00057374
370 | -18.409 | 2.214 | 0.00061217
370.5 | -18.381 | 2.242 | 0.00061992
371 | -18.418 | 2.205 | 0.00060968
371.5 | -18.557 | 2.066 | 0.00057125
372 | -18.502 | 2.121 | 0.00058646
372.5 | -18.764 | 1.859 | 0.00051402
373 | -18.761 | 1.862 | 0.00051484
373.5 | -18.503 | 2.12 | 0.00058618
374 | -18.07 | 2.553 | 0.00070591
374.5 | -18.291 | 2.332 | 0.0006448
375 | -18.636 | 1.987 | 0.00054941
375.5 | -19.064 | 1.559 | 0.00043107
376 | -19.601 | 1.022 | 0.00028258
376.5 | -19.567 | 1.056 | 0.00029199
377 | -19.476 | 1.147 | 0.00031715
377.5 | -19.362 | 1.261 | 0.00034867
378 | -19.384 | 1.239 | 0.00034258
378.5 | -19.278 | 1.345 | 0.00037189
379 | -19.126 | 1.497 | 0.00041392
379.5 | -19.336 | 1.287 | 0.00035586
380 | -19.683 | 0.94 | 0.00025991
380.5 | -19.938 | 0.685 | 0.0001894
381 | -19.737 | 0.886 | 0.00024498
381.5 | -19.536 | 1.087 | 0.00030056
382 | -19.256 | 1.367 | 0.00037798
382.5 | -19.128 | 1.495 | 0.00041337
383 | -19.048 | 1.575 | 0.00043549
383.5 | -18.95 | 1.673 | 0.00046259
384 | -18.865 | 1.758 | 0.00048609
384.5 | -18.916 | 1.707 | 0.00047199
385 | -18.981 | 1.642 | 0.00045401
385.5 | -19.01 | 1.613 | 0.000446
386 | -19.093 | 1.53 | 0.00042305
386.5 | -19.23 | 1.393 | 0.00038517
387 | -19.312 | 1.311 | 0.00036249
387.5 | -19.158 | 1.465 | 0.00040507
388 | -18.925 | 1.698 | 0.0004695
388.5 | -18.703 | 1.92 | 0.00053088
389 | -18.382 | 2.241 | 0.00061964
389.5 | -18.176 | 2.447 | 0.0006766
390 | -18.023 | 2.6 | 0.0007189
390.5 | -17.635 | 2.988 | 0.00082619
391 | -17.31 | 3.313 | 0.00091605
391.5 | -16.894 | 3.729 | 0.0010311
392 | -16.405 | 4.218 | 0.0011663
392.5 | -15.766 | 4.857 | 0.001343
393 | -15.435 | 5.188 | 0.0014345
393.5 | -15.123 | 5.5 | 0.0015208
394 | -15.225 | 5.398 | 0.0014926
394.5 | -15.558 | 5.065 | 0.0014005
395 | -15.914 | 4.709 | 0.001302
395.5 | -16.065 | 4.558 | 0.0012603
396 | -16.219 | 4.404 | 0.0012177
396.5 | -16.405 | 4.218 | 0.0011663
397 | -16.7 | 3.923 | 0.0010847
397.5 | -16.723 | 3.9 | 0.0010784
398 | -16.884 | 3.739 | 0.0010338
398.5 | -17.153 | 3.47 | 0.00095946
399 | -17.486 | 3.137 | 0.00086738
399.5 | -17.635 | 2.988 | 0.00082619
400 | -17.471 | 3.152 | 0.00087153
400.5 | -17.019 | 3.604 | 0.00099651
401 | -16.74 | 3.883 | 0.0010737
401.5 | -16.58 | 4.043 | 0.0011179
402 | -16.415 | 4.208 | 0.0011635
402.5 | -16.05 | 4.573 | 0.0012644
403 | -15.776 | 4.847 | 0.0013402
403.5 | -15.498 | 5.125 | 0.0014171
404 | -15.154 | 5.469 | 0.0015122
404.5 | -14.693 | 5.93 | 0.0016397
405 | -14.404 | 6.219 | 0.0017196
405.5 | -14.133 | 6.49 | 0.0017945
406 | -14.085 | 6.538 | 0.0018078
406.5 | -14.237 | 6.386 | 0.0017657
407 | -14.455 | 6.168 | 0.0017055
407.5 | -14.701 | 5.922 | 0.0016374
408 | -14.773 | 5.85 | 0.0016175
408.5 | -14.827 | 5.796 | 0.0016026
409 | -14.923 | 5.7 | 0.0015761
409.5 | -15.138 | 5.485 | 0.0015166
410 | -15.344 | 5.279 | 0.0014596
410.5 | -15.608 | 5.015 | 0.0013867
411 | -15.986 | 4.637 | 0.0012821
411.5 | -16.148 | 4.475 | 0.0012373
412 | -16.359 | 4.264 | 0.001179
412.5 | -16.523 | 4.1 | 0.0011337
413 | -16.302 | 4.321 | 0.0011948
413.5 | -15.87 | 4.753 | 0.0013142
414 | -15.845 | 4.778 | 0.0013211
414.5 | -16.245 | 4.378 | 0.0012105
415 | -16.403 | 4.22 | 0.0011668
415.5 | -16.342 | 4.281 | 0.0011837
416 | -16.321 | 4.302 | 0.0011895
416.5 | -16.516 | 4.107 | 0.0011356
417 | -16.395 | 4.228 | 0.001169
417.5 | -16.115 | 4.508 | 0.0012465
418 | -15.738 | 4.885 | 0.0013507
418.5 | -15.522 | 5.101 | 0.0014104
419 | -15.493 | 5.13 | 0.0014185
419.5 | -15.686 | 4.937 | 0.0013651
420 | -15.607 | 5.016 | 0.0013869
420.5 | -15.293 | 5.33 | 0.0014738
421 | -15.124 | 5.499 | 0.0015205
421.5 | -15.063 | 5.56 | 0.0015373
422 | -14.893 | 5.73 | 0.0015844
422.5 | -14.402 | 6.221 | 0.0017201
423 | -13.927 | 6.696 | 0.0018515
423.5 | -13.793 | 6.83 | 0.0018885
424 | -13.751 | 6.872 | 0.0019001
424.5 | -13.546 | 7.077 | 0.0019568
425 | -13.203 | 7.42 | 0.0020516
425.5 | -12.787 | 7.836 | 0.0021667
426 | -12.483 | 8.14 | 0.0022507
426.5 | -12.357 | 8.266 | 0.0022856
427 | -12.24 | 8.383 | 0.0023179
427.5 | -11.978 | 8.645 | 0.0023904
428 | -11.917 | 8.706 | 0.0024072
428.5 | -12.057 | 8.566 | 0.0023685
429 | -12.18 | 8.443 | 0.0023345
429.5 | -12.252 | 8.371 | 0.0023146
430 | -12.285 | 8.338 | 0.0023055
430.5 | -12.753 | 7.87 | 0.0021761
431 | -13.337 | 7.286 | 0.0020146
431.5 | -13.864 | 6.759 | 0.0018689
432 | -14.054 | 6.569 | 0.0018163
432.5 | -13.995 | 6.628 | 0.0018326
433 | -13.998 | 6.625 | 0.0018318
433.5 | -14.145 | 6.478 | 0.0017912
434 | -14.273 | 6.35 | 0.0017558
434.5 | -14.602 | 6.021 | 0.0016648
435 | -14.951 | 5.672 | 0.0015683
435.5 | -15.13 | 5.493 | 0.0015188
436 | -15.297 | 5.326 | 0.0014726
436.5 | -15.11 | 5.513 | 0.0015244
437 | -14.788 | 5.835 | 0.0016134
437.5 | -14.572 | 6.051 | 0.0016731
438 | -14.65 | 5.973 | 0.0016515
438.5 | -14.744 | 5.879 | 0.0016255
439 | -14.814 | 5.809 | 0.0016062
439.5 | -14.806 | 5.817 | 0.0016084
440 | -14.74 | 5.883 | 0.0016267
440.5 | -14.481 | 6.142 | 0.0016983
441 | -14.182 | 6.441 | 0.0017809
441.5 | -13.982 | 6.641 | 0.0018362
442 | -13.878 | 6.745 | 0.001865
442.5 | -13.718 | 6.905 | 0.0019092
443 | -13.741 | 6.882 | 0.0019029
443.5 | -13.518 | 7.105 | 0.0019645
444 | -13.31 | 7.313 | 0.0020221
444.5 | -13.152 | 7.471 | 0.0020657
445 | -13.196 | 7.427 | 0.0020536
445.5 | -13.327 | 7.296 | 0.0020174
446 | -13.573 | 7.05 | 0.0019493
446.5 | -13.914 | 6.709 | 0.001855
447 | -14.24 | 6.383 | 0.0017649
447.5 | -14.607 | 6.016 | 0.0016634
448 | -14.705 | 5.918 | 0.0016363
448.5 | -14.811 | 5.812 | 0.001607
449 | -14.818 | 5.805 | 0.0016051
449.5 | -15.063 | 5.56 | 0.0015373
450 | -15.115 | 5.508 | 0.001523
450.5 | -14.925 | 5.698 | 0.0015755
451 | -14.651 | 5.972 | 0.0016513
451.5 | -14.38 | 6.243 | 0.0017262
452 | -14.185 | 6.438 | 0.0017801
452.5 | -13.797 | 6.826 | 0.0018874
453 | -13.344 | 7.279 | 0.0020127
453.5 | -13.01 | 7.613 | 0.002105
454 | -12.706 | 7.917 | 0.0021891
454.5 | -12.564 | 8.059 | 0.0022283
455 | -12.131 | 8.492 | 0.002348
455.5 | -11.477 | 9.146 | 0.0025289
456 | -11.155 | 9.468 | 0.0026179
456.5 | -10.918 | 9.705 | 0.0026834
457 | -10.535 | 10.088 | 0.0027893
457.5 | -10.189 | 10.434 | 0.002885
458 | -9.7089 | 10.9141 | 0.0030178
458.5 | -9.4204 | 11.2026 | 0.0030975
459 | -9.1449 | 11.4781 | 0.0031737
459.5 | -8.7778 | 11.8452 | 0.0032752
460 | -8.5241 | 12.0989 | 0.0033454
460.5 | -7.9483 | 12.6747 | 0.0035046
461 | -7.7385 | 12.8845 | 0.0035626
461.5 | -7.67 | 12.953 | 0.0035815
462 | -7.0896 | 13.5334 | 0.003742
462.5 | -6.8003 | 13.8227 | 0.003822
463 | -6.6455 | 13.9775 | 0.0038648
463.5 | -6.2611 | 14.3619 | 0.0039711
464 | -5.791 | 14.832 | 0.0041011
464.5 | -5.2602 | 15.3628 | 0.0042478
465 | -4.6941 | 15.9289 | 0.0044044
465.5 | -3.9879 | 16.6351 | 0.0045996
466 | -3.1062 | 17.5168 | 0.0048434
466.5 | -2.3527 | 18.2703 | 0.0050518
467 | -1.3816 | 19.2414 | 0.0053203
467.5 | -0.19295 | 20.4301 | 0.0056489
468 | 0.87599 | 21.499 | 0.0059445
468.5 | 2.1091 | 22.7321 | 0.0062854
469 | 3.2959 | 23.9189 | 0.0066136
469.5 | 4.5963 | 25.2193 | 0.0069732
470 | 5.8528 | 26.4758 | 0.0073206
470.5 | 7.2736 | 27.8966 | 0.0077134
471 | 8.7669 | 29.3899 | 0.0081263
471.5 | 10.431 | 31.054 | 0.0085865
472 | 12.093 | 32.716 | 0.009046
472.5 | 13.726 | 34.349 | 0.0094975
473 | 15.314 | 35.937 | 0.0099366
473.5 | 16.956 | 37.579 | 0.010391
474 | 18.399 | 39.022 | 0.01079
474.5 | 20.109 | 40.732 | 0.011262
475 | 21.876 | 42.499 | 0.011751
475.5 | 23.71 | 44.333 | 0.012258
476 | 25.835 | 46.458 | 0.012846
476.5 | 28.235 | 48.858 | 0.013509
477 | 30.961 | 51.584 | 0.014263
477.5 | 33.762 | 54.385 | 0.015038
478 | 36.762 | 57.385 | 0.015867
478.5 | 39.974 | 60.597 | 0.016755
479 | 43.353 | 63.976 | 0.017689
479.5 | 46.843 | 67.466 | 0.018654
480 | 51.047 | 71.67 | 0.019817
480.5 | 55.914 | 76.537 | 0.021163
481 | 61.646 | 82.269 | 0.022747
481.5 | 67.75 | 88.373 | 0.024435
482 | 73.834 | 94.457 | 0.026117
482.5 | 80.044 | 100.667 | 0.027835
483 | 86.637 | 107.26 | 0.029658
483.5 | 93.837 | 114.46 | 0.031648
484 | 101.8 | 122.423 | 0.03385
484.5 | 110.7 | 131.323 | 0.036311
485 | 120.24 | 140.863 | 0.038949
485.5 | 130.29 | 150.913 | 0.041728
486 | 140.36 | 160.983 | 0.044512
486.5 | 150.89 | 171.513 | 0.047424
487 | 161.94 | 182.563 | 0.050479
487.5 | 174.3 | 194.923 | 0.053896
488 | 188.01 | 208.633 | 0.057687
488.5 | 203.09 | 223.713 | 0.061857
489 | 219.19 | 239.813 | 0.066309
489.5 | 236.31 | 256.933 | 0.071042
490 | 254.09 | 274.713 | 0.075958
490.5 | 272.74 | 293.363 | 0.081115
491 | 292.68 | 313.303 | 0.086629
491.5 | 313.79 | 334.413 | 0.092466
492 | 336.29 | 356.913 | 0.098687
492.5 | 360.3 | 380.923 | 0.10533
493 | 385.69 | 406.313 | 0.11235
493.5 | 412.05 | 432.673 | 0.11963
494 | 440.13 | 460.753 | 0.1274
494.5 | 469.61 | 490.233 | 0.13555
495 | 500.94 | 521.563 | 0.14421
495.5 | 534.26 | 554.883 | 0.15343
496 | 570.44 | 591.063 | 0.16343
496.5 | 609.67 | 630.293 | 0.17428
497 | 651.74 | 672.363 | 0.18591
497.5 | 696.86 | 717.483 | 0.19838
498 | 744.82 | 765.443 | 0.21165
498.5 | 794.88 | 815.503 | 0.22549
499 | 847.21 | 867.833 | 0.23996
499.5 | 902.54 | 923.163 | 0.25526
500 | 960.52 | 981.143 | 0.27129
500.5 | 1021.9 | 1042.523 | 0.28826
501 | 1085.9 | 1106.523 | 0.30595
501.5 | 1152.3 | 1172.923 | 0.32431
502 | 1220.2 | 1240.823 | 0.34309
502.5 | 1289.1 | 1309.723 | 0.36214
503 | 1359.5 | 1380.123 | 0.38161
503.5 | 1431.3 | 1451.923 | 0.40146
504 | 1505.5 | 1526.123 | 0.42197
504.5 | 1582.1 | 1602.723 | 0.44315
505 | 1662.2 | 1682.823 | 0.4653
505.5 | 1744.4 | 1765.023 | 0.48803
506 | 1828.4 | 1849.023 | 0.51126
506.5 | 1913.3 | 1933.923 | 0.53473
507 | 1998.9 | 2019.523 | 0.5584
507.5 | 2085.1 | 2105.723 | 0.58223
508 | 2172.2 | 2192.823 | 0.60632
508.5 | 2259.8 | 2280.423 | 0.63054
509 | 2347.9 | 2368.523 | 0.6549
509.5 | 2435.4 | 2456.023 | 0.67909
510 | 2521 | 2541.623 | 0.70276
510.5 | 2604.3 | 2624.923 | 0.72579
511 | 2685 | 2705.623 | 0.74811
511.5 | 2763.2 | 2783.823 | 0.76973
512 | 2838.8 | 2859.423 | 0.79063
512.5 | 2912.2 | 2932.823 | 0.81093
513 | 2983.6 | 3004.223 | 0.83067
513.5 | 3052.2 | 3072.823 | 0.84964
514 | 3117.3 | 3137.923 | 0.86764
514.5 | 3178.4 | 3199.023 | 0.88453
515 | 3236.7 | 3257.323 | 0.90065
515.5 | 3292.7 | 3313.323 | 0.91614
516 | 3346.7 | 3367.323 | 0.93107
516.5 | 3398.5 | 3419.123 | 0.94539
517 | 3447.3 | 3467.923 | 0.95888
517.5 | 3490.5 | 3511.123 | 0.97083
518 | 3527.2 | 3547.823 | 0.98098
518.5 | 3554.5 | 3575.123 | 0.98853
519 | 3574.8 | 3595.423 | 0.99414
519.5 | 3587.5 | 3608.123 | 0.99765
520 | 3594.7 | 3615.323 | 0.99964
520.5 | 3596 | 3616.623 | 1
521 | 3591.4 | 3612.023 | 0.99873
521.5 | 3579 | 3599.623 | 0.9953
522 | 3559.5 | 3580.123 | 0.98991
522.5 | 3531.6 | 3552.223 | 0.98219
523 | 3497.8 | 3518.423 | 0.97285
523.5 | 3460.6 | 3481.223 | 0.96256
524 | 3422.3 | 3442.923 | 0.95197
524.5 | 3384.3 | 3404.923 | 0.94146
525 | 3346.7 | 3367.323 | 0.93107
525.5 | 3309.7 | 3330.323 | 0.92084
526 | 3272.8 | 3293.423 | 0.91063
526.5 | 3235.7 | 3256.323 | 0.90038
527 | 3198.9 | 3219.523 | 0.8902
527.5 | 3162.5 | 3183.123 | 0.88014
528 | 3126.6 | 3147.223 | 0.87021
528.5 | 3091.4 | 3112.023 | 0.86048
529 | 3056.3 | 3076.923 | 0.85077
529.5 | 3020.2 | 3040.823 | 0.84079
530 | 2983.3 | 3003.923 | 0.83059
530.5 | 2944.1 | 2964.723 | 0.81975
531 | 2903.1 | 2923.723 | 0.80841
531.5 | 2859.9 | 2880.523 | 0.79647
532 | 2814.6 | 2835.223 | 0.78394
532.5 | 2767.5 | 2788.123 | 0.77092
533 | 2719 | 2739.623 | 0.75751
533.5 | 2669.6 | 2690.223 | 0.74385
534 | 2619.1 | 2639.723 | 0.72989
534.5 | 2567.4 | 2588.023 | 0.71559
535 | 2515.3 | 2535.923 | 0.70119
535.5 | 2462.4 | 2483.023 | 0.68656
536 | 2408.7 | 2429.323 | 0.67171
536.5 | 2354.7 | 2375.323 | 0.65678
537 | 2300.8 | 2321.423 | 0.64188
537.5 | 2247.8 | 2268.423 | 0.62722
538 | 2196.2 | 2216.823 | 0.61295
538.5 | 2146.1 | 2166.723 | 0.5991
539 | 2097.7 | 2118.323 | 0.58572
539.5 | 2050.4 | 2071.023 | 0.57264
540 | 2003.9 | 2024.523 | 0.55978
540.5 | 1957.7 | 1978.323 | 0.54701
541 | 1911.9 | 1932.523 | 0.53434
541.5 | 1866.9 | 1887.523 | 0.5219
542 | 1823.3 | 1843.923 | 0.50985
542.5 | 1781 | 1801.623 | 0.49815
543 | 1739.5 | 1760.123 | 0.48668
543.5 | 1697.7 | 1718.323 | 0.47512
544 | 1654.8 | 1675.423 | 0.46326
544.5 | 1611.1 | 1631.723 | 0.45117
545 | 1567.3 | 1587.923 | 0.43906
545.5 | 1524.4 | 1545.023 | 0.4272
546 | 1482.6 | 1503.223 | 0.41564
546.5 | 1442.6 | 1463.223 | 0.40458
547 | 1404.4 | 1425.023 | 0.39402
547.5 | 1366.7 | 1387.323 | 0.3836
548 | 1329.1 | 1349.723 | 0.3732
548.5 | 1291.8 | 1312.423 | 0.36289
549 | 1254.3 | 1274.923 | 0.35252
549.5 | 1217.1 | 1237.723 | 0.34223
550 | 1179.8 | 1200.423 | 0.33192
550.5 | 1143.1 | 1163.723 | 0.32177
551 | 1106.6 | 1127.223 | 0.31168
551.5 | 1070.6 | 1091.223 | 0.30172
552 | 1035.2 | 1055.823 | 0.29194
552.5 | 1000.5 | 1021.123 | 0.28234
553 | 966.45 | 987.073 | 0.27293
553.5 | 933.23 | 953.853 | 0.26374
554 | 900.55 | 921.173 | 0.25471
554.5 | 868.74 | 889.363 | 0.24591
555 | 837.91 | 858.533 | 0.23739
555.5 | 808.14 | 828.763 | 0.22915
556 | 779.07 | 799.693 | 0.22112
556.5 | 750.98 | 771.603 | 0.21335
557 | 724.6 | 745.223 | 0.20605
557.5 | 699.47 | 720.093 | 0.19911
558 | 675.94 | 696.563 | 0.1926
558.5 | 653.32 | 673.943 | 0.18635
559 | 631.45 | 652.073 | 0.1803
559.5 | 610.05 | 630.673 | 0.17438
560 | 589.26 | 609.883 | 0.16863
560.5 | 569.78 | 590.403 | 0.16325
561 | 551.25 | 571.873 | 0.15812
561.5 | 533.81 | 554.433 | 0.1533
562 | 517.17 | 537.793 | 0.1487
562.5 | 500.75 | 521.373 | 0.14416
563 | 484.5 | 505.123 | 0.13967
563.5 | 468.15 | 488.773 | 0.13515
564 | 452.26 | 472.883 | 0.13075
564.5 | 437.04 | 457.663 | 0.12654
565 | 422.35 | 442.973 | 0.12248
565.5 | 408.56 | 429.183 | 0.11867
566 | 394.95 | 415.573 | 0.11491
566.5 | 381.75 | 402.373 | 0.11126
567 | 368.9 | 389.523 | 0.1077
567.5 | 356.34 | 376.963 | 0.10423
568 | 344.11 | 364.733 | 0.10085
568.5 | 332.1 | 352.723 | 0.097528
569 | 320.28 | 340.903 | 0.09426
569.5 | 308.5 | 329.123 | 0.091003
570 | 297.03 | 317.653 | 0.087831
570.5 | 285.88 | 306.503 | 0.084748
571 | 275.04 | 295.663 | 0.081751
571.5 | 264.67 | 285.293 | 0.078884
572 | 254.92 | 275.543 | 0.076188
572.5 | 245.39 | 266.013 | 0.073553
573 | 236.58 | 257.203 | 0.071117
573.5 | 228.17 | 248.793 | 0.068792
574 | 220.32 | 240.943 | 0.066621
574.5 | 213.15 | 233.773 | 0.064638
575 | 206.3 | 226.923 | 0.062744
575.5 | 199.43 | 220.053 | 0.060845
576 | 192.52 | 213.143 | 0.058934
576.5 | 186.03 | 206.653 | 0.05714
577 | 179.78 | 200.403 | 0.055412
577.5 | 173.8 | 194.423 | 0.053758
578 | 168.14 | 188.763 | 0.052193
578.5 | 162.23 | 182.853 | 0.050559
579 | 156.2 | 176.823 | 0.048892
579.5 | 150.2 | 170.823 | 0.047233
580 | 144.09 | 164.713 | 0.045543
580.5 | 138.33 | 158.953 | 0.043951
581 | 132.77 | 153.393 | 0.042413
581.5 | 127.5 | 148.123 | 0.040956
582 | 122.75 | 143.373 | 0.039643
582.5 | 118.28 | 138.903 | 0.038407
583 | 113.83 | 134.453 | 0.037176
583.5 | 109.61 | 130.233 | 0.03601
584 | 106.09 | 126.713 | 0.035036
584.5 | 102.95 | 123.573 | 0.034168
585 | 100.11 | 120.733 | 0.033383
585.5 | 97.713 | 118.336 | 0.03272
586 | 95.194 | 115.817 | 0.032024
586.5 | 92.583 | 113.206 | 0.031302
587 | 90.076 | 110.699 | 0.030608
587.5 | 87.005 | 107.628 | 0.029759
588 | 83.93 | 104.553 | 0.028909
588.5 | 80.883 | 101.506 | 0.028067
589 | 78.137 | 98.76 | 0.027307
589.5 | 75.552 | 96.175 | 0.026592
590 | 72.962 | 93.585 | 0.025876
590.5 | 70.285 | 90.908 | 0.025136
591 | 67.533 | 88.156 | 0.024375
591.5 | 64.79 | 85.413 | 0.023617
592 | 62.447 | 83.07 | 0.022969
592.5 | 60.295 | 80.918 | 0.022374
593 | 58.26 | 78.883 | 0.021811
593.5 | 55.92 | 76.543 | 0.021164
594 | 53.617 | 74.24 | 0.020527
594.5 | 51.098 | 71.721 | 0.019831
595 | 48.501 | 69.124 | 0.019113
595.5 | 46.165 | 66.788 | 0.018467
596 | 43.89 | 64.513 | 0.017838
596.5 | 41.942 | 62.565 | 0.017299
597 | 40.192 | 60.815 | 0.016815
597.5 | 38.514 | 59.137 | 0.016351
598 | 36.536 | 57.159 | 0.015805
598.5 | 34.708 | 55.331 | 0.015299
599 | 33.192 | 53.815 | 0.01488
599.5 | 31.691 | 52.314 | 0.014465
600 | 30.208 | 50.831 | 0.014055
600.5 | 28.708 | 49.331 | 0.01364
601 | 27.41 | 48.033 | 0.013281
601.5 | 25.966 | 46.589 | 0.012882
602 | 24.447 | 45.07 | 0.012462
602.5 | 22.921 | 43.544 | 0.01204
603 | 21.466 | 42.089 | 0.011638
603.5 | 20.265 | 40.888 | 0.011306
604 | 19.199 | 39.822 | 0.011011
604.5 | 17.918 | 38.541 | 0.010657
605 | 17.003 | 37.626 | 0.010404
605.5 | 16.031 | 36.654 | 0.010135
606 | 14.755 | 35.378 | 0.0097821
606.5 | 13.34 | 33.963 | 0.0093908
607 | 12.099 | 32.722 | 0.0090477
607.5 | 10.923 | 31.546 | 0.0087225
608 | 9.7372 | 30.3602 | 0.0083946
608.5 | 8.6342 | 29.2572 | 0.0080896
609 | 7.2338 | 27.8568 | 0.0077024
609.5 | 6.0417 | 26.6647 | 0.0073728
610 | 5.1182 | 25.7412 | 0.0071175
610.5 | 4.0188 | 24.6418 | 0.0068135
611 | 2.9042 | 23.5272 | 0.0065053
611.5 | 2.0064 | 22.6294 | 0.0062571
612 | 1.5335 | 22.1565 | 0.0061263
612.5 | 0.86503 | 21.488 | 0.0059415
613 | 0.33257 | 20.9556 | 0.0057942
613.5 | 0.32155 | 20.9445 | 0.0057912
614 | 0.047121 | 20.6701 | 0.0057153
614.5 | -0.10536 | 20.5176 | 0.0056731
615 | -0.44346 | 20.1795 | 0.0055797
615.5 | -0.74677 | 19.8762 | 0.0054958
616 | -0.89006 | 19.7329 | 0.0054562
616.5 | -0.66399 | 19.959 | 0.0055187
617 | -0.74447 | 19.8785 | 0.0054964
617.5 | -1.1795 | 19.4435 | 0.0053761
618 | -1.998 | 18.625 | 0.0051498
618.5 | -3.1175 | 17.5055 | 0.0048403
619 | -4.2048 | 16.4182 | 0.0045396
619.5 | -4.8366 | 15.7864 | 0.004365
620 | -5.2449 | 15.3781 | 0.0042521
620.5 | -5.8324 | 14.7906 | 0.0040896
621 | -6.3532 | 14.2698 | 0.0039456
621.5 | -6.885 | 13.738 | 0.0037986
622 | -7.5805 | 13.0425 | 0.0036063
622.5 | -8.0768 | 12.5462 | 0.003469
623 | -8.1828 | 12.4402 | 0.0034397
623.5 | -8.1985 | 12.4245 | 0.0034354
624 | -8.2658 | 12.3572 | 0.0034168
624.5 | -8.6802 | 11.9428 | 0.0033022
625 | -8.9936 | 11.6294 | 0.0032155
625.5 | -9.1749 | 11.4481 | 0.0031654
626 | -9.495 | 11.128 | 0.0030769
626.5 | -10.263 | 10.36 | 0.0028646
627 | -10.82 | 9.803 | 0.0027105
627.5 | -10.988 | 9.635 | 0.0026641
628 | -11.368 | 9.255 | 0.002559
628.5 | -11.445 | 9.178 | 0.0025377
629 | -11.289 | 9.334 | 0.0025809
629.5 | -11.353 | 9.27 | 0.0025632
630 | -11.656 | 8.967 | 0.0024794
630.5 | -12.431 | 8.192 | 0.0022651
631 | -12.693 | 7.93 | 0.0021927
631.5 | -12.512 | 8.111 | 0.0022427
632 | -12.212 | 8.411 | 0.0023257
632.5 | -12.103 | 8.52 | 0.0023558
633 | -12.031 | 8.592 | 0.0023757
633.5 | -12.141 | 8.482 | 0.0023453
634 | -12.44 | 8.183 | 0.0022626
634.5 | -12.523 | 8.1 | 0.0022397
635 | -12.086 | 8.537 | 0.0023605
635.5 | -11.308 | 9.315 | 0.0025756
636 | -11.035 | 9.588 | 0.0026511
636.5 | -11.339 | 9.284 | 0.002567
637 | -11.988 | 8.635 | 0.0023876
637.5 | -12.673 | 7.95 | 0.0021982
638 | -13.19 | 7.433 | 0.0020552
638.5 | -13.712 | 6.911 | 0.0019109
639 | -14.128 | 6.495 | 0.0017959
639.5 | -14.562 | 6.061 | 0.0016759
640 | -15.036 | 5.587 | 0.0015448
640.5 | -15.548 | 5.075 | 0.0014032
641 | -16.027 | 4.596 | 0.0012708
641.5 | -15.99 | 4.633 | 0.001281
642 | -15.985 | 4.638 | 0.0012824
642.5 | -15.657 | 4.966 | 0.0013731
643 | -15.676 | 4.947 | 0.0013679
643.5 | -15.732 | 4.891 | 0.0013524
644 | -15.716 | 4.907 | 0.0013568
644.5 | -15.927 | 4.696 | 0.0012984
645 | -15.974 | 4.649 | 0.0012855
645.5 | -16.178 | 4.445 | 0.001229
646 | -16.402 | 4.221 | 0.0011671
646.5 | -16.215 | 4.408 | 0.0012188
647 | -16.121 | 4.502 | 0.0012448
647.5 | -16.118 | 4.505 | 0.0012456
648 | -16.019 | 4.604 | 0.001273
648.5 | -15.951 | 4.672 | 0.0012918
649 | -15.851 | 4.772 | 0.0013195
649.5 | -15.693 | 4.93 | 0.0013632
650 | -15.395 | 5.228 | 0.0014455
650.5 | -15.07 | 5.553 | 0.0015354
651 | -14.767 | 5.856 | 0.0016192
651.5 | -14.793 | 5.83 | 0.001612
652 | -15.176 | 5.447 | 0.0015061
652.5 | -15.227 | 5.396 | 0.001492
653 | -15.263 | 5.36 | 0.001482
653.5 | -15.109 | 5.514 | 0.0015246
654 | -15.185 | 5.438 | 0.0015036
654.5 | -15.329 | 5.294 | 0.0014638
655 | -15.578 | 5.045 | 0.0013949
655.5 | -15.838 | 4.785 | 0.0013231
656 | -16.066 | 4.557 | 0.00126
656.5 | -16.279 | 4.344 | 0.0012011
657 | -16.28 | 4.343 | 0.0012008
657.5 | -16.044 | 4.579 | 0.0012661
658 | -16.124 | 4.499 | 0.001244
658.5 | -16.356 | 4.267 | 0.0011798
659 | -16.265 | 4.358 | 0.001205
659.5 | -16.125 | 4.498 | 0.0012437
660 | -15.989 | 4.634 | 0.0012813
660.5 | -16.214 | 4.409 | 0.0012191
661 | -16.453 | 4.17 | 0.001153
661.5 | -16.561 | 4.062 | 0.0011231
662 | -16.697 | 3.926 | 0.0010855
662.5 | -17.003 | 3.62 | 0.0010009
663 | -17.125 | 3.498 | 0.0009672
663.5 | -17.314 | 3.309 | 0.00091494
664 | -17.809 | 2.814 | 0.00077807
664.5 | -18.146 | 2.477 | 0.00068489
665 | -18.261 | 2.362 | 0.0006531
665.5 | -18.032 | 2.591 | 0.00071641
666 | -17.905 | 2.718 | 0.00075153
666.5 | -18.023 | 2.6 | 0.0007189
667 | -18.276 | 2.347 | 0.00064895
667.5 | -18.804 | 1.819 | 0.00050296
668 | -19.02 | 1.603 | 0.00044323
668.5 | -19.172 | 1.451 | 0.0004012
669 | -19.257 | 1.366 | 0.0003777
669.5 | -19.427 | 1.196 | 0.0003307
670 | -19.903 | 0.72 | 0.00019908
670.5 | -20.755 | 0 | 0
671 | -21.374 | 0 | 0
671.5 | -21.405 | 0 | 0
672 | -21.349 | 0 | 0
672.5 | -21.18 | 0 | 0
673 | -21.457 | 0 | 0
673.5 | -21.709 | 0 | 0
674 | -21.607 | 0 | 0
674.5 | -21.361 | 0 | 0
675 | -20.975 | 0 | 0
675.5 | -20.44 | 0.183 | 5.06e-05
676 | -20.03 | 0.593 | 0.00016397
676.5 | -20.057 | 0.566 | 0.0001565
677 | -19.881 | 0.742 | 0.00020516
677.5 | -19.706 | 0.917 | 0.00025355
678 | -19.409 | 1.214 | 0.00033567
678.5 | -19.19 | 1.433 | 0.00039623
679 | -18.782 | 1.841 | 0.00050904
679.5 | -18.427 | 2.196 | 0.0006072
680 | -18.214 | 2.409 | 0.00066609
680.5 | -18.17 | 2.453 | 0.00067826
681 | -18.135 | 2.488 | 0.00068793
681.5 | -17.808 | 2.815 | 0.00077835
682 | -17.867 | 2.756 | 0.00076204
682.5 | -17.627 | 2.996 | 0.0008284
683 | -17.166 | 3.457 | 0.00095586
683.5 | -16.806 | 3.817 | 0.0010554
684 | -17.144 | 3.479 | 0.00096195
684.5 | -17.53 | 3.093 | 0.00085522
685 | -17.527 | 3.096 | 0.00085605
685.5 | -17.161 | 3.462 | 0.00095725
686 | -16.989 | 3.634 | 0.0010048
686.5 | -17.117 | 3.506 | 0.00096941
687 | -17.17 | 3.453 | 0.00095476
687.5 | -17.378 | 3.245 | 0.00089725
688 | -17.649 | 2.974 | 0.00082231
688.5 | -17.666 | 2.957 | 0.00081761
689 | -17.536 | 3.087 | 0.00085356
689.5 | -17.403 | 3.22 | 0.00089033
690 | -17.523 | 3.1 | 0.00085715
690.5 | -17.879 | 2.744 | 0.00075872
691 | -17.849 | 2.774 | 0.00076701
691.5 | -17.96 | 2.663 | 0.00073632
692 | -18.217 | 2.406 | 0.00066526
692.5 | -18.278 | 2.345 | 0.00064839
693 | -18.353 | 2.27 | 0.00062766
693.5 | -18.588 | 2.035 | 0.00056268
694 | -18.753 | 1.87 | 0.00051706
694.5 | -18.881 | 1.742 | 0.00048166
695 | -19.043 | 1.58 | 0.00043687
695.5 | -19.307 | 1.316 | 0.00036388
696 | -19.862 | 0.761 | 0.00021042
696.5 | -20.175 | 0.448 | 0.00012387
697 | -20.457 | 0.166 | 4.5899e-05
697.5 | -20.653 | 0 | 0
698 | -20.771 | 0 | 0
698.5 | -20.929 | 0 | 0
699 | -21.078 | 0 | 0
699.5 | -21.423 | 0 | 0
700 | -21.804 | 0 | 0
700.5 | -22.082 | 0 | 0
701 | -22.054 | 0 | 0
701.5 | -21.835 | 0 | 0
702 | -21.467 | 0 | 0
702.5 | -21.572 | 0 | 0
703 | -21.839 | 0 | 0
703.5 | -21.798 | 0 | 0
704 | -21.681 | 0 | 0
704.5 | -21.482 | 0 | 0
705 | -21.104 | 0 | 0
705.5 | -20.756 | 0 | 0
706 | -20.6 | 0.023 | 6.3595e-06
706.5 | -20.609 | 0.014 | 3.871e-06
707 | -20.516 | 0.107 | 2.9586e-05
707.5 | -20.277 | 0.346 | 9.5669e-05
708 | -20.117 | 0.506 | 0.00013991
708.5 | -20.285 | 0.338 | 9.3457e-05
709 | -20.086 | 0.537 | 0.00014848
709.5 | -19.904 | 0.719 | 0.0001988
710 | -19.828 | 0.795 | 0.00021982
710.5 | -19.585 | 1.038 | 0.00028701
711 | -19.713 | 0.91 | 0.00025162
711.5 | -19.9 | 0.723 | 0.00019991
712 | -20.092 | 0.531 | 0.00014682
712.5 | -19.989 | 0.634 | 0.0001753
713 | -19.692 | 0.931 | 0.00025742
713.5 | -19.063 | 1.56 | 0.00043134
714 | -19.052 | 1.571 | 0.00043438
714.5 | -19.262 | 1.361 | 0.00037632
715 | -19.709 | 0.914 | 0.00025272
715.5 | -19.928 | 0.695 | 0.00019217
716 | -19.898 | 0.725 | 0.00020046
716.5 | -19.619 | 1.004 | 0.00027761
717 | -19.62 | 1.003 | 0.00027733
717.5 | -19.51 | 1.113 | 0.00030775
718 | -19.584 | 1.039 | 0.00028728
718.5 | -19.886 | 0.737 | 0.00020378
719 | -20.065 | 0.558 | 0.00015429
719.5 | -19.784 | 0.839 | 0.00023198
720 | -19.292 | 1.331 | 0.00036802
720.5 | -18.851 | 1.772 | 0.00048996
721 | -18.814 | 1.809 | 0.00050019
721.5 | -18.633 | 1.99 | 0.00055024
722 | -18.41 | 2.213 | 0.0006119
722.5 | -18.266 | 2.357 | 0.00065171
723 | -18.298 | 2.325 | 0.00064286
723.5 | -18.32 | 2.303 | 0.00063678
724 | -18.722 | 1.901 | 0.00052563
724.5 | -19.333 | 1.29 | 0.00035669
725 | -19.936 | 0.687 | 0.00018996
725.5 | -20.335 | 0.288 | 7.9632e-05
726 | -20.696 | 0 | 0
726.5 | -21.128 | 0 | 0
727 | -21.586 | 0 | 0
727.5 | -22.106 | 0 | 0
728 | -22.381 | 0 | 0
728.5 | -22.37 | 0 | 0
729 | -21.985 | 0 | 0
729.5 | -21.699 | 0 | 0
730 | -21.716 | 0 | 0
730.5 | -21.518 | 0 | 0
731 | -21.074 | 0 | 0
731.5 | -20.992 | 0 | 0
732 | -20.848 | 0 | 0
732.5 | -20.872 | 0 | 0
733 | -20.624 | 0 | 0
733.5 | -20.526 | 0.097 | 2.6821e-05
734 | -20.259 | 0.364 | 0.00010065
734.5 | -20.039 | 0.584 | 0.00016148
735 | -19.912 | 0.711 | 0.00019659
735.5 | -20.106 | 0.517 | 0.00014295
736 | -20.047 | 0.576 | 0.00015926
736.5 | -19.953 | 0.67 | 0.00018526
737 | -19.649 | 0.974 | 0.00026931
737.5 | -19.556 | 1.067 | 0.00029503
738 | -19.454 | 1.169 | 0.00032323
738.5 | -19.572 | 1.051 | 0.0002906
739 | -19.757 | 0.866 | 0.00023945
739.5 | -19.822 | 0.801 | 0.00022148
740 | -19.726 | 0.897 | 0.00024802
740.5 | -19.591 | 1.032 | 0.00028535
741 | -19.625 | 0.998 | 0.00027595
741.5 | -19.714 | 0.909 | 0.00025134
742 | -19.809 | 0.814 | 0.00022507
742.5 | -19.852 | 0.771 | 0.00021318
743 | -19.821 | 0.802 | 0.00022175
743.5 | -19.465 | 1.158 | 0.00032019
744 | -19.233 | 1.39 | 0.00038434
744.5 | -19.078 | 1.545 | 0.00042719
745 | -19.135 | 1.488 | 0.00041143
745.5 | -19.559 | 1.064 | 0.0002942
746 | -19.739 | 0.884 | 0.00024443
746.5 | -19.645 | 0.978 | 0.00027042
747 | -19.477 | 1.146 | 0.00031687
747.5 | -19.423 | 1.2 | 0.0003318
748 | -19.641 | 0.982 | 0.00027152
748.5 | -19.91 | 0.713 | 0.00019715
749 | -19.717 | 0.906 | 0.00025051
749.5 | -19.423 | 1.2 | 0.0003318
750 | -19.022 | 1.601 | 0.00044268
750.5 | -19.101 | 1.522 | 0.00042083
751 | -19.494 | 1.129 | 0.00031217
751.5 | -19.681 | 0.942 | 0.00026046
752 | -19.993 | 0.63 | 0.0001742
752.5 | -20.226 | 0.397 | 0.00010977
753 | -20.553 | 0.07 | 1.9355e-05
753.5 | -20.61 | 0.013 | 3.5945e-06
754 | -20.724 | 0 | 0
754.5 | -20.895 | 0 | 0
755 | -20.766 | 0 | 0
755.5 | -20.325 | 0.298 | 8.2397e-05
756 | -20.409 | 0.214 | 5.9171e-05
756.5 | -20.304 | 0.319 | 8.8204e-05
757 | -19.994 | 0.629 | 0.00017392
757.5 | -19.492 | 1.131 | 0.00031272
758 | -19.405 | 1.218 | 0.00033678
758.5 | -19.583 | 1.04 | 0.00028756
759 | -19.684 | 0.939 | 0.00025963
759.5 | -19.908 | 0.715 | 0.0001977
760 | -19.811 | 0.812 | 0.00022452
760.5 | -19.294 | 1.329 | 0.00036747
761 | -19.169 | 1.454 | 0.00040203
761.5 | -19.321 | 1.302 | 0.00036
762 | -19.319 | 1.304 | 0.00036056
762.5 | -19.336 | 1.287 | 0.00035586
763 | -19.131 | 1.492 | 0.00041254
763.5 | -18.941 | 1.682 | 0.00046507
764 | -18.662 | 1.961 | 0.00054222
764.5 | -18.767 | 1.856 | 0.00051319
765 | -19.102 | 1.521 | 0.00042056
765.5 | -19.309 | 1.314 | 0.00036332
766 | -19.146 | 1.477 | 0.00040839
766.5 | -19.264 | 1.359 | 0.00037576
767 | -19.12 | 1.503 | 0.00041558
767.5 | -19.107 | 1.516 | 0.00041918
768 | -19.421 | 1.202 | 0.00033235
768.5 | -19.651 | 0.972 | 0.00026876
769 | -19.465 | 1.158 | 0.00032019
769.5 | -19.344 | 1.279 | 0.00035364
770 | -19.202 | 1.421 | 0.00039291
770.5 | -18.986 | 1.637 | 0.00045263
771 | -19.163 | 1.46 | 0.00040369
771.5 | -19.641 | 0.982 | 0.00027152
772 | -20.212 | 0.411 | 0.00011364
772.5 | -20.062 | 0.561 | 0.00015512
773 | -19.987 | 0.636 | 0.00017585
773.5 | -20.118 | 0.505 | 0.00013963
774 | -20.429 | 0.194 | 5.3641e-05
774.5 | -20.499 | 0.124 | 3.4286e-05
775 | -20.458 | 0.165 | 4.5623e-05
775.5 | -19.855 | 0.768 | 0.00021235
776 | -19.166 | 1.457 | 0.00040286
776.5 | -18.545 | 2.078 | 0.00057457
777 | -18.705 | 1.918 | 0.00053033
777.5 | -18.868 | 1.755 | 0.00048526
778 | -18.855 | 1.768 | 0.00048885
778.5 | -18.832 | 1.791 | 0.00049521
779 | -18.637 | 1.986 | 0.00054913
779.5 | -19.147 | 1.476 | 0.00040812
780 | -20.211 | 0.412 | 0.00011392
780.5 | -21.019 | 0 | 0
781 | -21.606 | 0 | 0
781.5 | -21.412 | 0 | 0
782 | -20.95 | 0 | 0
782.5 | -20.768 | 0 | 0
783 | -20.529 | 0.094 | 2.5991e-05
783.5 | -20.68 | 0 | 0
784 | -20.382 | 0.241 | 6.6637e-05
784.5 | -20.103 | 0.52 | 0.00014378
785 | -19.868 | 0.755 | 0.00020876
785.5 | -19.428 | 1.195 | 0.00033042
786 | -19.08 | 1.543 | 0.00042664
786.5 | -19.105 | 1.518 | 0.00041973
787 | -19.417 | 1.206 | 0.00033346
787.5 | -19.423 | 1.2 | 0.0003318
788 | -19.165 | 1.458 | 0.00040314
788.5 | -19.179 | 1.444 | 0.00039927
789 | -19.232 | 1.391 | 0.00038461
789.5 | -19.198 | 1.425 | 0.00039401
790 | -19.381 | 1.242 | 0.00034341
790.5 | -19.882 | 0.741 | 0.00020489
791 | -20.334 | 0.289 | 7.9909e-05
791.5 | -20.037 | 0.586 | 0.00016203
792 | -19.935 | 0.688 | 0.00019023
792.5 | -20.146 | 0.477 | 0.00013189
793 | -19.954 | 0.669 | 0.00018498
793.5 | -19.365 | 1.258 | 0.00034784
794 | -19.078 | 1.545 | 0.00042719
794.5 | -18.845 | 1.778 | 0.00049162
795 | -18.69 | 1.933 | 0.00053448
795.5 | -18.501 | 2.122 | 0.00058674
796 | -18.541 | 2.082 | 0.00057568
796.5 | -18.518 | 2.105 | 0.00058203
797 | -18.354 | 2.269 | 0.00062738
797.5 | -18.286 | 2.337 | 0.00064618
798 | -18.499 | 2.124 | 0.00058729
798.5 | -18.336 | 2.287 | 0.00063236
799 | -18.403 | 2.22 | 0.00061383
799.5 | -18.236 | 2.387 | 0.00066001
800 | -18.161 | 2.462 | 0.00068075
800.5 | -18.134 | 2.489 | 0.00068821
801 | -17.962 | 2.661 | 0.00073577
801.5 | -17.88 | 2.743 | 0.00075844
802 | -18.228 | 2.395 | 0.00066222
802.5 | -18.576 | 2.047 | 0.000566
803 | -19.213 | 1.41 | 0.00038987
803.5 | -19.345 | 1.278 | 0.00035337
804 | -19.523 | 1.1 | 0.00030415
804.5 | -19.499 | 1.124 | 0.00031079
805 | -19.694 | 0.929 | 0.00025687
805.5 | -20.23 | 0.393 | 0.00010866
806 | -20.662 | 0 | 0
806.5 | -20.437 | 0.186 | 5.1429e-05
807 | -20.095 | 0.528 | 0.00014599
807.5 | -19.971 | 0.652 | 0.00018028
808 | -20.03 | 0.593 | 0.00016397
808.5 | -20.509 | 0.114 | 3.1521e-05
809 | -20.855 | 0 | 0
809.5 | -20.723 | 0 | 0
810 | -20.069 | 0.554 | 0.00015318
810.5 | -19.788 | 0.835 | 0.00023088
811 | -19.626 | 0.997 | 0.00027567
811.5 | -19.437 | 1.186 | 0.00032793
812 | -19.266 | 1.357 | 0.00037521
812.5 | -19.092 | 1.531 | 0.00042332
813 | -18.602 | 2.021 | 0.00055881
813.5 | -18.447 | 2.176 | 0.00060167
814 | -18.882 | 1.741 | 0.00048139
814.5 | -19.27 | 1.353 | 0.00037411
815 | -19.216 | 1.407 | 0.00038904
815.5 | -19.635 | 0.988 | 0.00027318
816 | -19.827 | 0.796 | 0.00022009
816.5 | -19.996 | 0.627 | 0.00017337
817 | -19.918 | 0.705 | 0.00019493
817.5 | -19.893 | 0.73 | 0.00020185
818 | -19.579 | 1.044 | 0.00028867
818.5 | -19.355 | 1.268 | 0.0003506
819 | -19.457 | 1.166 | 0.0003224
819.5 | -19.38 | 1.243 | 0.00034369
820 | -18.93 | 1.693 | 0.00046812
820.5 | -18.662 | 1.961 | 0.00054222
821 | -18.741 | 1.882 | 0.00052037
821.5 | -18.848 | 1.775 | 0.00049079
822 | -19.037 | 1.586 | 0.00043853
822.5 | -18.792 | 1.831 | 0.00050627
823 | -18.648 | 1.975 | 0.00054609
823.5 | -18.585 | 2.038 | 0.00056351
824 | -18.901 | 1.722 | 0.00047613
824.5 | -19.187 | 1.436 | 0.00039706
825 | -19.116 | 1.507 | 0.00041669
825.5 | -19.03 | 1.593 | 0.00044047
826 | -19.358 | 1.265 | 0.00034977
826.5 | -19.945 | 0.678 | 0.00018747
827 | -20.424 | 0.199 | 5.5024e-05
827.5 | -20.293 | 0.33 | 9.1245e-05
828 | -20.025 | 0.598 | 0.00016535
828.5 | -19.797 | 0.826 | 0.00022839
829 | -20.108 | 0.515 | 0.0001424
829.5 | -20.29 | 0.333 | 9.2075e-05
830 | -20.23 | 0.393 | 0.00010866
830.5 | -19.642 | 0.981 | 0.00027125
831 | -19.357 | 1.266 | 0.00035005
831.5 | -19.339 | 1.284 | 0.00035503
832 | -19.374 | 1.249 | 0.00034535
832.5 | -19.406 | 1.217 | 0.0003365
833 | -19.461 | 1.162 | 0.00032129
833.5 | -19.508 | 1.115 | 0.0003083
834 | -19.196 | 1.427 | 0.00039457
834.5 | -18.903 | 1.72 | 0.00047558
835 | -18.499 | 2.124 | 0.00058729
835.5 | -18.099 | 2.524 | 0.00069789
836 | -17.983 | 2.64 | 0.00072996
836.5 | -18.03 | 2.593 | 0.00071697
837 | -17.682 | 2.941 | 0.00081319
837.5 | -16.994 | 3.629 | 0.0010034
838 | -16.832 | 3.791 | 0.0010482
838.5 | -17.038 | 3.585 | 0.00099126
839 | -17.474 | 3.149 | 0.0008707
839.5 | -17.691 | 2.932 | 0.0008107
840 | -18.115 | 2.508 | 0.00069346
840.5 | -18.238 | 2.385 | 0.00065945
841 | -18.458 | 2.165 | 0.00059862
841.5 | -18.821 | 1.802 | 0.00049825
842 | -18.992 | 1.631 | 0.00045097
842.5 | -19.02 | 1.603 | 0.00044323
843 | -19.13 | 1.493 | 0.00041282
843.5 | -19.692 | 0.931 | 0.00025742
844 | -19.998 | 0.625 | 0.00017281
844.5 | -20.21 | 0.413 | 0.00011419
845 | -20.369 | 0.254 | 7.0231e-05
845.5 | -20.528 | 0.095 | 2.6268e-05
846 | -20.895 | 0 | 0
846.5 | -21.232 | 0 | 0
847 | -21.537 | 0 | 0
847.5 | -21.35 | 0 | 0
848 | -20.889 | 0 | 0
848.5 | -20.756 | 0 | 0
849 | -20.433 | 0.19 | 5.2535e-05
849.5 | -20.314 | 0.309 | 8.5439e-05
850 | -20.41 | 0.213 | 5.8895e-05
850.5 | -20.207 | 0.416 | 0.00011502
851 | -20.475 | 0.148 | 4.0922e-05
851.5 | -20.701 | 0 | 0
852 | -20.959 | 0 | 0
852.5 | -21.316 | 0 | 0
853 | -21.637 | 0 | 0
853.5 | -22.043 | 0 | 0
854 | -22.111 | 0 | 0
854.5 | -22.036 | 0 | 0
855 | -21.415 | 0 | 0
855.5 | -21.043 | 0 | 0
856 | -20.916 | 0 | 0
856.5 | -20.493 | 0.13 | 3.5945e-05
857 | -20.216 | 0.407 | 0.00011254
857.5 | -19.557 | 1.066 | 0.00029475
858 | -18.883 | 1.74 | 0.00048111
858.5 | -18.365 | 2.258 | 0.00062434
859 | -18.236 | 2.387 | 0.00066001
859.5 | -17.856 | 2.767 | 0.00076508
860 | -17.664 | 2.959 | 0.00081817
860.5 | -17.672 | 2.951 | 0.00081595
861 | -17.211 | 3.412 | 0.00094342
861.5 | -17.303 | 3.32 | 0.00091798
862 | -17.822 | 2.801 | 0.00077448
862.5 | -18.518 | 2.105 | 0.00058203
863 | -19.319 | 1.304 | 0.00036056
863.5 | -19.955 | 0.668 | 0.0001847
864 | -20.394 | 0.229 | 6.3319e-05
864.5 | -20.542 | 0.081 | 2.2397e-05
865 | -20.994 | 0 | 0
865.5 | -21.634 | 0 | 0
866 | -21.925 | 0 | 0
866.5 | -21.459 | 0 | 0
867 | -20.667 | 0 | 0
867.5 | -20.079 | 0.544 | 0.00015042
868 | -19.387 | 1.236 | 0.00034176
868.5 | -19.027 | 1.596 | 0.0004413
869 | -19.145 | 1.478 | 0.00040867
869.5 | -19.261 | 1.362 | 0.00037659
870 | -19.376 | 1.247 | 0.0003448
870.5 | -20.092 | 0.531 | 0.00014682
871 | -20.55 | 0.073 | 2.0185e-05
871.5 | -21.188 | 0 | 0
872 | -22.013 | 0 | 0
872.5 | -22.489 | 0 | 0
873 | -22.612 | 0 | 0
873.5 | -22.457 | 0 | 0
874 | -22.44 | 0 | 0
874.5 | -21.988 | 0 | 0
875 | -21.939 | 0 | 0
875.5 | -21.874 | 0 | 0
876 | -21.518 | 0 | 0
876.5 | -21.533 | 0 | 0
877 | -21.454 | 0 | 0
877.5 | -21.257 | 0 | 0
878 | -20.901 | 0 | 0
878.5 | -21.305 | 0 | 0
879 | -21.559 | 0 | 0
879.5 | -21.058 | 0 | 0
880 | -20.201 | 0.422 | 0.00011668
880.5 | -19.399 | 1.224 | 0.00033844
881 | -19.263 | 1.36 | 0.00037604
881.5 | -19.686 | 0.937 | 0.00025908
882 | -19.9 | 0.723 | 0.00019991
882.5 | -19.429 | 1.194 | 0.00033014
883 | -18.923 | 1.7 | 0.00047005
883.5 | -17.67 | 2.953 | 0.00081651
884 | -21.528 | 0 | 0
884.5 | -22.126 | 0 | 0
885 | -6.5843 | 14.0387 | 0.0038817
885.5 | -14.082 | 6.541 | 0.0018086
886 | -43.852 | 0 | 0
886.5 | -0.88313 | 19.7399 | 0.0054581