## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 2.608 | 0 | 0
246.5 | 2.967 | 0 | 0
247 | 1.269 | 0 | 0
247.5 | 0.9443 | 0 | 0
248 | 0.8748 | 0 | 0
248.5 | 1.75 | 0 | 0
249 | 2.963 | 0 | 0
249.5 | 4.08 | 1.113 | 0.0003413
250 | 3.632 | 0.665 | 0.00020392
250.5 | 1.657 | 0 | 0
251 | 0.1047 | 0 | 0
251.5 | -1.3 | 0 | 0
252 | -1.676 | 0 | 0
252.5 | -0.4988 | 0 | 0
253 | 2.046 | 0 | 0
253.5 | 0.9304 | 0 | 0
254 | 0.8623 | 0 | 0
254.5 | 0.6645 | 0 | 0
255 | 1.08 | 0 | 0
255.5 | 0.3521 | 0 | 0
256 | -0.9201 | 0 | 0
256.5 | 0.4274 | 0 | 0
257 | -0.837 | 0 | 0
257.5 | 0.448 | 0 | 0
258 | 1.229 | 0 | 0
258.5 | 1.08 | 0 | 0
259 | -0.3 | 0 | 0
259.5 | 1.608 | 0 | 0
260 | 3.47 | 0.503 | 0.00015425
260.5 | 1.957 | 0 | 0
261 | 0.3786 | 0 | 0
261.5 | 1.195 | 0 | 0
262 | 2.733 | 0 | 0
262.5 | 3.116 | 0.149 | 4.5691e-05
263 | 1.292 | 0 | 0
263.5 | 2.742 | 0 | 0
264 | 4.477 | 1.51 | 0.00046304
264.5 | 3.138 | 0.171 | 5.2437e-05
265 | 1.827 | 0 | 0
265.5 | 3.615 | 0.648 | 0.00019871
266 | 1.559 | 0 | 0
266.5 | 1.553 | 0 | 0
267 | 3.464 | 0.497 | 0.00015241
267.5 | 3.648 | 0.681 | 0.00020883
268 | 2.275 | 0 | 0
268.5 | 5.13 | 2.163 | 0.00066329
269 | 1.355 | 0 | 0
269.5 | 0.5799 | 0 | 0
270 | 2.686 | 0 | 0
270.5 | 2.764 | 0 | 0
271 | 0.682 | 0 | 0
271.5 | 1.08 | 0 | 0
272 | 2.133 | 0 | 0
272.5 | 3.451 | 0.484 | 0.00014842
273 | 3.534 | 0.567 | 0.00017387
273.5 | 6.429 | 3.462 | 0.0010616
274 | 3.58 | 0.613 | 0.00018798
274.5 | 5.813 | 2.846 | 0.00087273
275 | 2.568 | 0 | 0
275.5 | 2.84 | 0 | 0
276 | 3.119 | 0.152 | 4.6611e-05
276.5 | 2.945 | 0 | 0
277 | 2.507 | 0 | 0
277.5 | 2.508 | 0 | 0
278 | 2.725 | 0 | 0
278.5 | 0.1015 | 0 | 0
279 | -0.188 | 0 | 0
279.5 | 1.967 | 0 | 0
280 | 1.5 | 0 | 0
280.5 | 3.518 | 0.551 | 0.00016896
281 | 2.266 | 0 | 0
281.5 | 2.116 | 0 | 0
282 | 3.555 | 0.588 | 0.00018031
282.5 | 3.45 | 0.483 | 0.00014811
283 | 3.625 | 0.658 | 0.00020178
283.5 | 2.418 | 0 | 0
284 | 1.672 | 0 | 0
284.5 | -0.4133 | 0 | 0
285 | 1.425 | 0 | 0
285.5 | 3.044 | 0.077 | 2.3612e-05
286 | 0.1851 | 0 | 0
286.5 | 0.4569 | 0 | 0
287 | 1.161 | 0 | 0
287.5 | 1.072 | 0 | 0
288 | -3.251 | 0 | 0
288.5 | -2.659 | 0 | 0
289 | -0.4296 | 0 | 0
289.5 | -1.911 | 0 | 0
290 | -4.133 | 0 | 0
290.5 | -1.33 | 0 | 0
291 | 1.926 | 0 | 0
291.5 | 2.86 | 0 | 0
292 | 1.766 | 0 | 0
292.5 | 3.052 | 0.085 | 2.6065e-05
293 | 1.6 | 0 | 0
293.5 | 0.5799 | 0 | 0
294 | 0.5799 | 0 | 0
294.5 | 1.274 | 0 | 0
295 | 3.342 | 0.375 | 0.00011499
295.5 | 1.794 | 0 | 0
296 | 1.801 | 0 | 0
296.5 | -1.046 | 0 | 0
297 | 1.587 | 0 | 0
297.5 | 2.098 | 0 | 0
298 | 2.34 | 0 | 0
298.5 | 3.358 | 0.391 | 0.0001199
299 | 4.432 | 1.465 | 0.00044924
299.5 | 2.376 | 0 | 0
300 | 3.857 | 0.89 | 0.00027292
300.5 | 3.58 | 0.613 | 0.00018798
301 | 3.64 | 0.673 | 0.00020638
301.5 | 5.587 | 2.62 | 0.00080343
302 | 5.625 | 2.658 | 0.00081508
302.5 | 4.612 | 1.645 | 0.00050444
303 | 3.048 | 0.081 | 2.4839e-05
303.5 | 2.979 | 0.012 | 3.6798e-06
304 | 2.83 | 0 | 0
304.5 | 4.58 | 1.613 | 0.00049463
305 | 4.363 | 1.396 | 0.00042809
305.5 | 4.815 | 1.848 | 0.00056669
306 | 3.49 | 0.523 | 0.00016038
306.5 | 1.923 | 0 | 0
307 | 3.58 | 0.613 | 0.00018798
307.5 | 2.168 | 0 | 0
308 | 2.836 | 0 | 0
308.5 | 2.353 | 0 | 0
309 | 3.855 | 0.888 | 0.00027231
309.5 | 3.08 | 0.113 | 3.4652e-05
310 | 2.622 | 0 | 0
310.5 | 1.318 | 0 | 0
311 | 1.814 | 0 | 0
311.5 | 5.266 | 2.299 | 0.00070499
312 | 3.208 | 0.241 | 7.3903e-05
312.5 | 3.063 | 0.096 | 2.9439e-05
313 | 2.725 | 0 | 0
313.5 | 3.974 | 1.007 | 0.0003088
314 | 3.226 | 0.259 | 7.9423e-05
314.5 | 1.475 | 0 | 0
315 | 0.04436 | 0 | 0
315.5 | -0.5072 | 0 | 0
316 | 1.214 | 0 | 0
316.5 | 2.744 | 0 | 0
317 | 2.076 | 0 | 0
317.5 | 2.08 | 0 | 0
318 | 3.378 | 0.411 | 0.00012603
318.5 | 3.537 | 0.57 | 0.00017479
319 | 0.5967 | 0 | 0
319.5 | 2.277 | 0 | 0
320 | 1.58 | 0 | 0
320.5 | 1.117 | 0 | 0
321 | 2.343 | 0 | 0
321.5 | 2.13 | 0 | 0
322 | 0.8555 | 0 | 0
322.5 | -0.2706 | 0 | 0
323 | -2.164 | 0 | 0
323.5 | -2.42 | 0 | 0
324 | -0.7451 | 0 | 0
324.5 | 0.7955 | 0 | 0
325 | 1.826 | 0 | 0
325.5 | 3.049 | 0.082 | 2.5145e-05
326 | 2.768 | 0 | 0
326.5 | 1.002 | 0 | 0
327 | -0.4201 | 0 | 0
327.5 | 0.2316 | 0 | 0
328 | 2.866 | 0 | 0
328.5 | 1.659 | 0 | 0
329 | 0.8581 | 0 | 0
329.5 | 2.773 | 0 | 0
330 | 0.8352 | 0 | 0
330.5 | -0.4201 | 0 | 0
331 | -0.4201 | 0 | 0
331.5 | 2.198 | 0 | 0
332 | 2.484 | 0 | 0
332.5 | 2.08 | 0 | 0
333 | 1.663 | 0 | 0
333.5 | 2.847 | 0 | 0
334 | 0.6266 | 0 | 0
334.5 | -0.02077 | 0 | 0
335 | 3.701 | 0.734 | 0.00022508
335.5 | 5.245 | 2.278 | 0.00069855
336 | 4.164 | 1.197 | 0.00036706
336.5 | 2.035 | 0 | 0
337 | 1.787 | 0 | 0
337.5 | 0.9733 | 0 | 0
338 | 3.455 | 0.488 | 0.00014965
338.5 | 0.8057 | 0 | 0
339 | -0.06387 | 0 | 0
339.5 | 2.656 | 0 | 0
340 | 4.034 | 1.067 | 0.0003272
340.5 | 2.735 | 0 | 0
341 | 3.606 | 0.639 | 0.00019595
341.5 | 5.08 | 2.113 | 0.00064795
342 | 6.424 | 3.457 | 0.0010601
342.5 | 5.081 | 2.114 | 0.00064826
343 | 3.244 | 0.277 | 8.4942e-05
343.5 | 5.55 | 2.583 | 0.00079208
344 | 2.637 | 0 | 0
344.5 | 1.292 | 0 | 0
345 | -0.09766 | 0 | 0
345.5 | 2.517 | 0 | 0
346 | 5.163 | 2.196 | 0.00067341
346.5 | 1.807 | 0 | 0
347 | 0.5961 | 0 | 0
347.5 | 1.58 | 0 | 0
348 | 2.527 | 0 | 0
348.5 | 4.526 | 1.559 | 0.00047807
349 | 2.877 | 0 | 0
349.5 | 2.95 | 0 | 0
350 | 4.025 | 1.058 | 0.00032444
350.5 | 4.634 | 1.667 | 0.00051119
351 | 3.896 | 0.929 | 0.00028488
351.5 | 3.113 | 0.146 | 4.4771e-05
352 | 5.278 | 2.311 | 0.00070867
352.5 | 3.624 | 0.657 | 0.00020147
353 | 1.62 | 0 | 0
353.5 | 1.58 | 0 | 0
354 | 2.226 | 0 | 0
354.5 | 1.105 | 0 | 0
355 | -0.2791 | 0 | 0
355.5 | 1.08 | 0 | 0
356 | 3.571 | 0.604 | 0.00018522
356.5 | 4.58 | 1.613 | 0.00049463
357 | 4.243 | 1.276 | 0.00039129
357.5 | 2.593 | 0 | 0
358 | 2.874 | 0 | 0
358.5 | 1.233 | 0 | 0
359 | 1.08 | 0 | 0
359.5 | 2.766 | 0 | 0
360 | 6.654 | 3.687 | 0.0011306
360.5 | 6.378 | 3.411 | 0.001046
361 | 2.68 | 0 | 0
361.5 | 0.5954 | 0 | 0
362 | -0.2498 | 0 | 0
362.5 | 2.223 | 0 | 0
363 | 3.466 | 0.499 | 0.00015302
363.5 | 2.196 | 0 | 0
364 | 4.461 | 1.494 | 0.00045814
364.5 | 1.651 | 0 | 0
365 | -0.9686 | 0 | 0
365.5 | 2.572 | 0 | 0
366 | 1.896 | 0 | 0
366.5 | 0.7319 | 0 | 0
367 | -1.314 | 0 | 0
367.5 | 1.404 | 0 | 0
368 | 1.54 | 0 | 0
368.5 | 4.525 | 1.558 | 0.00047776
369 | 5.58 | 2.613 | 0.00080128
369.5 | 4.892 | 1.925 | 0.0005903
370 | 2.768 | 0 | 0
370.5 | 1.119 | 0 | 0
371 | 4.904 | 1.937 | 0.00059398
371.5 | 5.917 | 2.95 | 0.00090462
372 | 4.154 | 1.187 | 0.000364
372.5 | 6.328 | 3.361 | 0.0010307
373 | 5.807 | 2.84 | 0.00087089
373.5 | 4.62 | 1.653 | 0.00050689
374 | 5.512 | 2.545 | 0.00078043
374.5 | 6.472 | 3.505 | 0.0010748
375 | 2.08 | 0 | 0
375.5 | 2.08 | 0 | 0
376 | 3.77 | 0.803 | 0.00024624
376.5 | 2.781 | 0 | 0
377 | 1.58 | 0 | 0
377.5 | 2.944 | 0 | 0
378 | 1.58 | 0 | 0
378.5 | 2.821 | 0 | 0
379 | 3.091 | 0.124 | 3.8025e-05
379.5 | 4.747 | 1.78 | 0.00054584
380 | 5.735 | 2.768 | 0.00084881
380.5 | 4.032 | 1.065 | 0.00032658
381 | 3.08 | 0.113 | 3.4652e-05
381.5 | 4.227 | 1.26 | 0.00038638
382 | 1.765 | 0 | 0
382.5 | 3.321 | 0.354 | 0.00010855
383 | 2.317 | 0 | 0
383.5 | 3.883 | 0.916 | 0.00028089
384 | 4.236 | 1.269 | 0.00038914
384.5 | 4.965 | 1.998 | 0.00061269
385 | 3.58 | 0.613 | 0.00018798
385.5 | 4.549 | 1.582 | 0.00048512
386 | 4.588 | 1.621 | 0.00049708
386.5 | 5.58 | 2.613 | 0.00080128
387 | 4.48 | 1.513 | 0.00046396
387.5 | 4.291 | 1.324 | 0.00040601
388 | 2.5 | 0 | 0
388.5 | 1.52 | 0 | 0
389 | 4.645 | 1.678 | 0.00051456
389.5 | 6.527 | 3.56 | 0.0010917
390 | 2.405 | 0 | 0
390.5 | 4.575 | 1.608 | 0.0004931
391 | 7.08 | 4.113 | 0.0012613
391.5 | 6.055 | 3.088 | 0.00094694
392 | 4.388 | 1.421 | 0.00043575
392.5 | 2.953 | 0 | 0
393 | 3.783 | 0.816 | 0.00025023
393.5 | 1.093 | 0 | 0
394 | 1.863 | 0 | 0
394.5 | 5.754 | 2.787 | 0.00085464
395 | 9.268 | 6.301 | 0.0019322
395.5 | 8.634 | 5.667 | 0.0017378
396 | 8.914 | 5.947 | 0.0018237
396.5 | 11.34 | 8.373 | 0.0025676
397 | 12.23 | 9.263 | 0.0028405
397.5 | 14.53 | 11.563 | 0.0035458
398 | 13.85 | 10.883 | 0.0033373
398.5 | 13.68 | 10.713 | 0.0032852
399 | 12.39 | 9.423 | 0.0028896
399.5 | 15.3 | 12.333 | 0.0037819
400 | 18.01 | 15.043 | 0.004613
400.5 | 23.16 | 20.193 | 0.0061922
401 | 26.7 | 23.733 | 0.0072778
401.5 | 27.28 | 24.313 | 0.0074556
402 | 26.39 | 23.423 | 0.0071827
402.5 | 30.54 | 27.573 | 0.0084553
403 | 33.42 | 30.453 | 0.0093385
403.5 | 38.77 | 35.803 | 0.010979
404 | 39.55 | 36.583 | 0.011218
404.5 | 42.65 | 39.683 | 0.012169
405 | 46.79 | 43.823 | 0.013438
405.5 | 50.92 | 47.953 | 0.014705
406 | 54.64 | 51.673 | 0.015846
406.5 | 59.68 | 56.713 | 0.017391
407 | 63.88 | 60.913 | 0.018679
407.5 | 71.4 | 68.433 | 0.020985
408 | 75.29 | 72.323 | 0.022178
408.5 | 81.21 | 78.243 | 0.023993
409 | 89.06 | 86.093 | 0.026401
409.5 | 94.3 | 91.333 | 0.028007
410 | 99.49 | 96.523 | 0.029599
410.5 | 105 | 102.033 | 0.031289
411 | 113.4 | 110.433 | 0.033864
411.5 | 121.7 | 118.733 | 0.03641
412 | 132.9 | 129.933 | 0.039844
412.5 | 144.5 | 141.533 | 0.043401
413 | 148.6 | 145.633 | 0.044659
413.5 | 158.6 | 155.633 | 0.047725
414 | 166.2 | 163.233 | 0.050056
414.5 | 178.1 | 175.133 | 0.053705
415 | 185.7 | 182.733 | 0.056035
415.5 | 194.4 | 191.433 | 0.058703
416 | 205.5 | 202.533 | 0.062107
416.5 | 211.3 | 208.333 | 0.063886
417 | 217 | 214.033 | 0.065633
417.5 | 225.6 | 222.633 | 0.068271
418 | 231.4 | 228.433 | 0.070049
418.5 | 240.5 | 237.533 | 0.07284
419 | 241.9 | 238.933 | 0.073269
419.5 | 244.7 | 241.733 | 0.074128
420 | 247.2 | 244.233 | 0.074894
420.5 | 252.5 | 249.533 | 0.07652
421 | 252.1 | 249.133 | 0.076397
421.5 | 251.9 | 248.933 | 0.076336
422 | 248.7 | 245.733 | 0.075354
422.5 | 248.2 | 245.233 | 0.075201
423 | 241.9 | 238.933 | 0.073269
423.5 | 236.7 | 233.733 | 0.071675
424 | 231 | 228.033 | 0.069927
424.5 | 228.9 | 225.933 | 0.069283
425 | 220.9 | 217.933 | 0.066829
425.5 | 215.3 | 212.333 | 0.065112
426 | 201.8 | 198.833 | 0.060972
426.5 | 198.7 | 195.733 | 0.060022
427 | 187.6 | 184.633 | 0.056618
427.5 | 180.5 | 177.533 | 0.054441
428 | 176.7 | 173.733 | 0.053275
428.5 | 168.1 | 165.133 | 0.050638
429 | 157.9 | 154.933 | 0.04751
429.5 | 148.7 | 145.733 | 0.044689
430 | 142.1 | 139.133 | 0.042665
430.5 | 136.4 | 133.433 | 0.040917
431 | 127.4 | 124.433 | 0.038158
431.5 | 119.4 | 116.433 | 0.035704
432 | 113.9 | 110.933 | 0.034018
432.5 | 104.5 | 101.533 | 0.031135
433 | 101.1 | 98.133 | 0.030093
433.5 | 96.65 | 93.683 | 0.028728
434 | 91.73 | 88.763 | 0.027219
434.5 | 84.94 | 81.973 | 0.025137
435 | 77.74 | 74.773 | 0.022929
435.5 | 73.27 | 70.303 | 0.021559
436 | 69.09 | 66.123 | 0.020277
436.5 | 65.51 | 62.543 | 0.019179
437 | 62.8 | 59.833 | 0.018348
437.5 | 61.9 | 58.933 | 0.018072
438 | 58.3 | 55.333 | 0.016968
438.5 | 54.65 | 51.683 | 0.015849
439 | 51.31 | 48.343 | 0.014824
439.5 | 50.32 | 47.353 | 0.014521
440 | 46.17 | 43.203 | 0.013248
440.5 | 42.1 | 39.133 | 0.012
441 | 38.68 | 35.713 | 0.010951
441.5 | 37.79 | 34.823 | 0.010679
442 | 36.42 | 33.453 | 0.010258
442.5 | 34.08 | 31.113 | 0.0095408
443 | 32.48 | 29.513 | 0.0090502
443.5 | 28.95 | 25.983 | 0.0079677
444 | 26.28 | 23.313 | 0.007149
444.5 | 24.22 | 21.253 | 0.0065173
445 | 25.61 | 22.643 | 0.0069435
445.5 | 23.98 | 21.013 | 0.0064437
446 | 22.05 | 19.083 | 0.0058518
446.5 | 20.15 | 17.183 | 0.0052692
447 | 19.06 | 16.093 | 0.0049349
447.5 | 18.08 | 15.113 | 0.0046344
448 | 17.76 | 14.793 | 0.0045363
448.5 | 18.28 | 15.313 | 0.0046958
449 | 14.56 | 11.593 | 0.003555
449.5 | 13.85 | 10.883 | 0.0033373
450 | 14.32 | 11.353 | 0.0034814
450.5 | 14.1 | 11.133 | 0.0034139
451 | 13.89 | 10.923 | 0.0033496
451.5 | 13.58 | 10.613 | 0.0032545
452 | 12.29 | 9.323 | 0.0028589
452.5 | 14.35 | 11.383 | 0.0034906
453 | 11.72 | 8.753 | 0.0026841
453.5 | 8.752 | 5.785 | 0.001774
454 | 6.474 | 3.507 | 0.0010754
454.5 | 8.08 | 5.113 | 0.0015679
455 | 6.12 | 3.153 | 0.00096687
455.5 | 7.774 | 4.807 | 0.0014741
456 | 8.137 | 5.17 | 0.0015854
456.5 | 10.39 | 7.423 | 0.0022763
457 | 10.71 | 7.743 | 0.0023744
457.5 | 9.423 | 6.456 | 0.0019797
458 | 7.998 | 5.031 | 0.0015428
458.5 | 9.587 | 6.62 | 0.00203
459 | 10.58 | 7.613 | 0.0023345
459.5 | 14.87 | 11.903 | 0.0036501
460 | 13.65 | 10.683 | 0.003276
460.5 | 12.22 | 9.253 | 0.0028374
461 | 12.01 | 9.043 | 0.002773
461.5 | 10.44 | 7.473 | 0.0022916
462 | 10.58 | 7.613 | 0.0023345
462.5 | 7.505 | 4.538 | 0.0013916
463 | 9.362 | 6.395 | 0.001961
463.5 | 11.65 | 8.683 | 0.0026627
464 | 11.3 | 8.333 | 0.0025553
464.5 | 11.37 | 8.403 | 0.0025768
465 | 11.35 | 8.383 | 0.0025707
465.5 | 8.611 | 5.644 | 0.0017307
466 | 12.74 | 9.773 | 0.0029969
466.5 | 14.89 | 11.923 | 0.0036562
467 | 14.43 | 11.463 | 0.0035151
467.5 | 15.93 | 12.963 | 0.0039751
468 | 16.17 | 13.203 | 0.0040487
468.5 | 14.75 | 11.783 | 0.0036133
469 | 14.19 | 11.223 | 0.0034415
469.5 | 16.82 | 13.853 | 0.004248
470 | 17.08 | 14.113 | 0.0043278
470.5 | 19.23 | 16.263 | 0.0049871
471 | 18.19 | 15.223 | 0.0046682
471.5 | 19.47 | 16.503 | 0.0050607
472 | 20.74 | 17.773 | 0.0054501
472.5 | 21.53 | 18.563 | 0.0056924
473 | 22.98 | 20.013 | 0.006137
473.5 | 27.03 | 24.063 | 0.007379
474 | 28.66 | 25.693 | 0.0078788
474.5 | 30.24 | 27.273 | 0.0083633
475 | 30.28 | 27.313 | 0.0083756
475.5 | 29.58 | 26.613 | 0.0081609
476 | 30.55 | 27.583 | 0.0084584
476.5 | 33.21 | 30.243 | 0.0092741
477 | 35.76 | 32.793 | 0.010056
477.5 | 38.08 | 35.113 | 0.010767
478 | 40.48 | 37.513 | 0.011503
478.5 | 42.59 | 39.623 | 0.01215
479 | 46.62 | 43.653 | 0.013386
479.5 | 48.96 | 45.993 | 0.014104
480 | 54.4 | 51.433 | 0.015772
480.5 | 57.73 | 54.763 | 0.016793
481 | 62.16 | 59.193 | 0.018152
481.5 | 64.01 | 61.043 | 0.018719
482 | 69.61 | 66.643 | 0.020436
482.5 | 76.41 | 73.443 | 0.022521
483 | 81.06 | 78.093 | 0.023947
483.5 | 88.31 | 85.343 | 0.026171
484 | 92.01 | 89.043 | 0.027305
484.5 | 100.3 | 97.333 | 0.029847
485 | 104.9 | 101.933 | 0.031258
485.5 | 115.6 | 112.633 | 0.034539
486 | 127 | 124.033 | 0.038035
486.5 | 135.9 | 132.933 | 0.040764
487 | 144.3 | 141.333 | 0.04334
487.5 | 155.4 | 152.433 | 0.046744
488 | 168.5 | 165.533 | 0.050761
488.5 | 178.2 | 175.233 | 0.053735
489 | 194.3 | 191.333 | 0.058673
489.5 | 209.5 | 206.533 | 0.063334
490 | 225.7 | 222.733 | 0.068301
490.5 | 241 | 238.033 | 0.072993
491 | 258.8 | 255.833 | 0.078452
491.5 | 276.9 | 273.933 | 0.084002
492 | 296.5 | 293.533 | 0.090012
492.5 | 319.2 | 316.233 | 0.096973
493 | 344.1 | 341.133 | 0.10461
493.5 | 369.4 | 366.433 | 0.11237
494 | 390.3 | 387.333 | 0.11878
494.5 | 420.6 | 417.633 | 0.12807
495 | 450.9 | 447.933 | 0.13736
495.5 | 484.9 | 481.933 | 0.14779
496 | 515.5 | 512.533 | 0.15717
496.5 | 549.8 | 546.833 | 0.16769
497 | 588.7 | 585.733 | 0.17962
497.5 | 624.3 | 621.333 | 0.19053
498 | 659.3 | 656.333 | 0.20127
498.5 | 699.8 | 696.833 | 0.21368
499 | 747.2 | 744.233 | 0.22822
499.5 | 789 | 786.033 | 0.24104
500 | 834.6 | 831.633 | 0.25502
500.5 | 881.7 | 878.733 | 0.26946
501 | 932.9 | 929.933 | 0.28517
501.5 | 983.3 | 980.333 | 0.30062
502 | 1043 | 1040.033 | 0.31893
502.5 | 1101 | 1098.033 | 0.33671
503 | 1156 | 1153.033 | 0.35358
503.5 | 1199 | 1196.033 | 0.36677
504 | 1245 | 1242.033 | 0.38087
504.5 | 1304 | 1301.033 | 0.39896
505 | 1368 | 1365.033 | 0.41859
505.5 | 1418 | 1415.033 | 0.43392
506 | 1468 | 1465.033 | 0.44925
506.5 | 1531 | 1528.033 | 0.46857
507 | 1583 | 1580.033 | 0.48452
507.5 | 1642 | 1639.033 | 0.50261
508 | 1704 | 1701.033 | 0.52162
508.5 | 1767 | 1764.033 | 0.54094
509 | 1803 | 1800.033 | 0.55198
509.5 | 1867 | 1864.033 | 0.57161
510 | 1913 | 1910.033 | 0.58571
510.5 | 1953 | 1950.033 | 0.59798
511 | 2003 | 2000.033 | 0.61331
511.5 | 2042 | 2039.033 | 0.62527
512 | 2085 | 2082.033 | 0.63846
512.5 | 2143 | 2140.033 | 0.65624
513 | 2193 | 2190.033 | 0.67158
513.5 | 2237 | 2234.033 | 0.68507
514 | 2285 | 2282.033 | 0.69979
514.5 | 2323 | 2320.033 | 0.71144
515 | 2357 | 2354.033 | 0.72187
515.5 | 2378 | 2375.033 | 0.72831
516 | 2420 | 2417.033 | 0.74119
516.5 | 2443 | 2440.033 | 0.74824
517 | 2480 | 2477.033 | 0.75959
517.5 | 2516 | 2513.033 | 0.77062
518 | 2559 | 2556.033 | 0.78381
518.5 | 2583 | 2580.033 | 0.79117
519 | 2605 | 2602.033 | 0.79792
519.5 | 2618 | 2615.033 | 0.8019
520 | 2639 | 2636.033 | 0.80834
520.5 | 2641 | 2638.033 | 0.80896
521 | 2659 | 2656.033 | 0.81448
521.5 | 2677 | 2674.033 | 0.82
522 | 2699 | 2696.033 | 0.82674
522.5 | 2720 | 2717.033 | 0.83318
523 | 2744 | 2741.033 | 0.84054
523.5 | 2769 | 2766.033 | 0.84821
524 | 2794 | 2791.033 | 0.85587
524.5 | 2818 | 2815.033 | 0.86323
525 | 2843 | 2840.033 | 0.8709
525.5 | 2862 | 2859.033 | 0.87673
526 | 2879 | 2876.033 | 0.88194
526.5 | 2899 | 2896.033 | 0.88807
527 | 2901 | 2898.033 | 0.88869
527.5 | 2914 | 2911.033 | 0.89267
528 | 2938 | 2935.033 | 0.90003
528.5 | 2948 | 2945.033 | 0.9031
529 | 2969 | 2966.033 | 0.90954
529.5 | 2974 | 2971.033 | 0.91107
530 | 2979 | 2976.033 | 0.9126
530.5 | 2993 | 2990.033 | 0.9169
531 | 3007 | 3004.033 | 0.92119
531.5 | 3022 | 3019.033 | 0.92579
532 | 3038 | 3035.033 | 0.9307
532.5 | 3041 | 3038.033 | 0.93162
533 | 3063 | 3060.033 | 0.93836
533.5 | 3081 | 3078.033 | 0.94388
534 | 3094 | 3091.033 | 0.94787
534.5 | 3120 | 3117.033 | 0.95584
535 | 3135 | 3132.033 | 0.96044
535.5 | 3141 | 3138.033 | 0.96228
536 | 3150 | 3147.033 | 0.96504
536.5 | 3163 | 3160.033 | 0.96903
537 | 3178 | 3175.033 | 0.97363
537.5 | 3184 | 3181.033 | 0.97547
538 | 3196 | 3193.033 | 0.97915
538.5 | 3200 | 3197.033 | 0.98037
539 | 3200 | 3197.033 | 0.98037
539.5 | 3195 | 3192.033 | 0.97884
540 | 3193 | 3190.033 | 0.97823
540.5 | 3217 | 3214.033 | 0.98559
541 | 3234 | 3231.033 | 0.9908
541.5 | 3251 | 3248.033 | 0.99601
542 | 3256 | 3253.033 | 0.99755
542.5 | 3259 | 3256.033 | 0.99847
543 | 3250 | 3247.033 | 0.99571
543.5 | 3262 | 3259.033 | 0.99939
544 | 3264 | 3261.033 | 1
544.5 | 3261 | 3258.033 | 0.99908
545 | 3254 | 3251.033 | 0.99693
545.5 | 3249 | 3246.033 | 0.9954
546 | 3240 | 3237.033 | 0.99264
546.5 | 3236 | 3233.033 | 0.99141
547 | 3223 | 3220.033 | 0.98743
547.5 | 3205 | 3202.033 | 0.98191
548 | 3206 | 3203.033 | 0.98221
548.5 | 3172 | 3169.033 | 0.97179
549 | 3158 | 3155.033 | 0.96749
549.5 | 3141 | 3138.033 | 0.96228
550 | 3122 | 3119.033 | 0.95646
550.5 | 3118 | 3115.033 | 0.95523
551 | 3104 | 3101.033 | 0.95094
551.5 | 3086 | 3083.033 | 0.94542
552 | 3068 | 3065.033 | 0.9399
552.5 | 3058 | 3055.033 | 0.93683
553 | 3043 | 3040.033 | 0.93223
553.5 | 3048 | 3045.033 | 0.93376
554 | 3032 | 3029.033 | 0.92886
554.5 | 3023 | 3020.033 | 0.9261
555 | 3009 | 3006.033 | 0.9218
555.5 | 2986 | 2983.033 | 0.91475
556 | 2973 | 2970.033 | 0.91076
556.5 | 2949 | 2946.033 | 0.9034
557 | 2915 | 2912.033 | 0.89298
557.5 | 2892 | 2889.033 | 0.88593
558 | 2868 | 2865.033 | 0.87857
558.5 | 2843 | 2840.033 | 0.8709
559 | 2828 | 2825.033 | 0.8663
559.5 | 2824 | 2821.033 | 0.86507
560 | 2804 | 2801.033 | 0.85894
560.5 | 2767 | 2764.033 | 0.84759
561 | 2754 | 2751.033 | 0.84361
561.5 | 2728 | 2725.033 | 0.83563
562 | 2717 | 2714.033 | 0.83226
562.5 | 2702 | 2699.033 | 0.82766
563 | 2681 | 2678.033 | 0.82122
563.5 | 2663 | 2660.033 | 0.8157
564 | 2644 | 2641.033 | 0.80988
564.5 | 2633 | 2630.033 | 0.8065
565 | 2605 | 2602.033 | 0.79792
565.5 | 2584 | 2581.033 | 0.79148
566 | 2579 | 2576.033 | 0.78994
566.5 | 2567 | 2564.033 | 0.78626
567 | 2552 | 2549.033 | 0.78166
567.5 | 2536 | 2533.033 | 0.77676
568 | 2524 | 2521.033 | 0.77308
568.5 | 2497 | 2494.033 | 0.7648
569 | 2475 | 2472.033 | 0.75805
569.5 | 2446 | 2443.033 | 0.74916
570 | 2417 | 2414.033 | 0.74027
570.5 | 2401 | 2398.033 | 0.73536
571 | 2388 | 2385.033 | 0.73137
571.5 | 2386 | 2383.033 | 0.73076
572 | 2376 | 2373.033 | 0.72769
572.5 | 2374 | 2371.033 | 0.72708
573 | 2364 | 2361.033 | 0.72401
573.5 | 2348 | 2345.033 | 0.71911
574 | 2335 | 2332.033 | 0.71512
574.5 | 2324 | 2321.033 | 0.71175
575 | 2305 | 2302.033 | 0.70592
575.5 | 2279 | 2276.033 | 0.69795
576 | 2269 | 2266.033 | 0.69488
576.5 | 2249 | 2246.033 | 0.68875
577 | 2219 | 2216.033 | 0.67955
577.5 | 2205 | 2202.033 | 0.67526
578 | 2200 | 2197.033 | 0.67372
578.5 | 2189 | 2186.033 | 0.67035
579 | 2183 | 2180.033 | 0.66851
579.5 | 2160 | 2157.033 | 0.66146
580 | 2151 | 2148.033 | 0.6587
580.5 | 2148 | 2145.033 | 0.65778
581 | 2148 | 2145.033 | 0.65778
581.5 | 2130 | 2127.033 | 0.65226
582 | 2117 | 2114.033 | 0.64827
582.5 | 2098 | 2095.033 | 0.64244
583 | 2076 | 2073.033 | 0.6357
583.5 | 2054 | 2051.033 | 0.62895
584 | 2041 | 2038.033 | 0.62497
584.5 | 2022 | 2019.033 | 0.61914
585 | 2010 | 2007.033 | 0.61546
585.5 | 2000 | 1997.033 | 0.61239
586 | 1981 | 1978.033 | 0.60657
586.5 | 1987 | 1984.033 | 0.60841
587 | 1987 | 1984.033 | 0.60841
587.5 | 1979 | 1976.033 | 0.60595
588 | 1975 | 1972.033 | 0.60473
588.5 | 1951 | 1948.033 | 0.59737
589 | 1938 | 1935.033 | 0.59338
589.5 | 1923 | 1920.033 | 0.58878
590 | 1907 | 1904.033 | 0.58387
590.5 | 1884 | 1881.033 | 0.57682
591 | 1861 | 1858.033 | 0.56977
591.5 | 1836 | 1833.033 | 0.5621
592 | 1820 | 1817.033 | 0.5572
592.5 | 1810 | 1807.033 | 0.55413
593 | 1787 | 1784.033 | 0.54708
593.5 | 1767 | 1764.033 | 0.54094
594 | 1749 | 1746.033 | 0.53542
594.5 | 1738 | 1735.033 | 0.53205
595 | 1725 | 1722.033 | 0.52806
595.5 | 1696 | 1693.033 | 0.51917
596 | 1679 | 1676.033 | 0.51396
596.5 | 1663 | 1660.033 | 0.50905
597 | 1643 | 1640.033 | 0.50292
597.5 | 1622 | 1619.033 | 0.49648
598 | 1594 | 1591.033 | 0.48789
598.5 | 1578 | 1575.033 | 0.48299
599 | 1564 | 1561.033 | 0.47869
599.5 | 1542 | 1539.033 | 0.47195
600 | 1529 | 1526.033 | 0.46796
600.5 | 1503 | 1500.033 | 0.45999
601 | 1482 | 1479.033 | 0.45355
601.5 | 1461 | 1458.033 | 0.44711
602 | 1453 | 1450.033 | 0.44465
602.5 | 1439 | 1436.033 | 0.44036
603 | 1421 | 1418.033 | 0.43484
603.5 | 1403 | 1400.033 | 0.42932
604 | 1376 | 1373.033 | 0.42104
604.5 | 1356 | 1353.033 | 0.41491
605 | 1333 | 1330.033 | 0.40786
605.5 | 1310 | 1307.033 | 0.4008
606 | 1294 | 1291.033 | 0.3959
606.5 | 1272 | 1269.033 | 0.38915
607 | 1259 | 1256.033 | 0.38516
607.5 | 1237 | 1234.033 | 0.37842
608 | 1219 | 1216.033 | 0.3729
608.5 | 1207 | 1204.033 | 0.36922
609 | 1190 | 1187.033 | 0.36401
609.5 | 1181 | 1178.033 | 0.36125
610 | 1162 | 1159.033 | 0.35542
610.5 | 1142 | 1139.033 | 0.34929
611 | 1127 | 1124.033 | 0.34469
611.5 | 1107 | 1104.033 | 0.33855
612 | 1089 | 1086.033 | 0.33303
612.5 | 1067 | 1064.033 | 0.32629
613 | 1052 | 1049.033 | 0.32169
613.5 | 1028 | 1025.033 | 0.31433
614 | 1019 | 1016.033 | 0.31157
614.5 | 1005 | 1002.033 | 0.30727
615 | 987 | 984.033 | 0.30175
615.5 | 968.6 | 965.633 | 0.29611
616 | 947.7 | 944.733 | 0.2897
616.5 | 935.9 | 932.933 | 0.28609
617 | 917.1 | 914.133 | 0.28032
617.5 | 908.4 | 905.433 | 0.27765
618 | 890.9 | 887.933 | 0.27229
618.5 | 868.3 | 865.333 | 0.26536
619 | 855.1 | 852.133 | 0.26131
619.5 | 840.6 | 837.633 | 0.25686
620 | 833.9 | 830.933 | 0.25481
620.5 | 824.9 | 821.933 | 0.25205
621 | 817.7 | 814.733 | 0.24984
621.5 | 801.2 | 798.233 | 0.24478
622 | 791 | 788.033 | 0.24165
622.5 | 782.1 | 779.133 | 0.23892
623 | 774.2 | 771.233 | 0.2365
623.5 | 765.5 | 762.533 | 0.23383
624 | 752.9 | 749.933 | 0.22997
624.5 | 744 | 741.033 | 0.22724
625 | 734.4 | 731.433 | 0.22429
625.5 | 730.4 | 727.433 | 0.22307
626 | 723.3 | 720.333 | 0.22089
626.5 | 709.9 | 706.933 | 0.21678
627 | 698.6 | 695.633 | 0.21332
627.5 | 685.9 | 682.933 | 0.20942
628 | 677.4 | 674.433 | 0.20682
628.5 | 663 | 660.033 | 0.2024
629 | 651.9 | 648.933 | 0.199
629.5 | 637.5 | 634.533 | 0.19458
630 | 633.6 | 630.633 | 0.19338
630.5 | 627.3 | 624.333 | 0.19145
631 | 617 | 614.033 | 0.18829
631.5 | 610.6 | 607.633 | 0.18633
632 | 595.7 | 592.733 | 0.18176
632.5 | 588.1 | 585.133 | 0.17943
633 | 583 | 580.033 | 0.17787
633.5 | 573.8 | 570.833 | 0.17505
634 | 571 | 568.033 | 0.17419
634.5 | 562.5 | 559.533 | 0.17158
635 | 556 | 553.033 | 0.16959
635.5 | 550.3 | 547.333 | 0.16784
636 | 536 | 533.033 | 0.16346
636.5 | 534.4 | 531.433 | 0.16296
637 | 528.7 | 525.733 | 0.16122
637.5 | 524.1 | 521.133 | 0.15981
638 | 523.6 | 520.633 | 0.15965
638.5 | 514.3 | 511.333 | 0.1568
639 | 504.5 | 501.533 | 0.1538
639.5 | 496.3 | 493.333 | 0.15128
640 | 496.1 | 493.133 | 0.15122
640.5 | 491.7 | 488.733 | 0.14987
641 | 486.1 | 483.133 | 0.14815
641.5 | 479.6 | 476.633 | 0.14616
642 | 475.4 | 472.433 | 0.14487
642.5 | 469.5 | 466.533 | 0.14306
643 | 462.7 | 459.733 | 0.14098
643.5 | 453.5 | 450.533 | 0.13816
644 | 450 | 447.033 | 0.13708
644.5 | 445.7 | 442.733 | 0.13576
645 | 436.5 | 433.533 | 0.13294
645.5 | 428.6 | 425.633 | 0.13052
646 | 424.8 | 421.833 | 0.12936
646.5 | 411.9 | 408.933 | 0.1254
647 | 403.7 | 400.733 | 0.12289
647.5 | 399.2 | 396.233 | 0.12151
648 | 391.2 | 388.233 | 0.11905
648.5 | 388.7 | 385.733 | 0.11829
649 | 381 | 378.033 | 0.11592
649.5 | 371 | 368.033 | 0.11286
650 | 368.4 | 365.433 | 0.11206
650.5 | 359.4 | 356.433 | 0.1093
651 | 348.6 | 345.633 | 0.10599
651.5 | 339.3 | 336.333 | 0.10314
652 | 338.3 | 335.333 | 0.10283
652.5 | 331.2 | 328.233 | 0.10065
653 | 326.6 | 323.633 | 0.099242
653.5 | 325 | 322.033 | 0.098752
654 | 313.8 | 310.833 | 0.095317
654.5 | 310 | 307.033 | 0.094152
655 | 305.5 | 302.533 | 0.092772
655.5 | 302.3 | 299.333 | 0.091791
656 | 292.1 | 289.133 | 0.088663
656.5 | 286.7 | 283.733 | 0.087007
657 | 284.2 | 281.233 | 0.08624
657.5 | 277.4 | 274.433 | 0.084155
658 | 275.2 | 272.233 | 0.083481
658.5 | 274.1 | 271.133 | 0.083143
659 | 266.8 | 263.833 | 0.080905
659.5 | 257.5 | 254.533 | 0.078053
660 | 251.1 | 248.133 | 0.07609
660.5 | 249.2 | 246.233 | 0.075508
661 | 250.9 | 247.933 | 0.076029
661.5 | 242.1 | 239.133 | 0.07333
662 | 233.1 | 230.133 | 0.070571
662.5 | 232.6 | 229.633 | 0.070417
663 | 234.2 | 231.233 | 0.070908
663.5 | 229 | 226.033 | 0.069313
664 | 225.4 | 222.433 | 0.068209
664.5 | 219.6 | 216.633 | 0.066431
665 | 209.1 | 206.133 | 0.063211
665.5 | 204.8 | 201.833 | 0.061892
666 | 201.7 | 198.733 | 0.060942
666.5 | 196.1 | 193.133 | 0.059224
667 | 194.6 | 191.633 | 0.058765
667.5 | 193.2 | 190.233 | 0.058335
668 | 187.2 | 184.233 | 0.056495
668.5 | 180.8 | 177.833 | 0.054533
669 | 174.3 | 171.333 | 0.052539
669.5 | 173.8 | 170.833 | 0.052386
670 | 168.3 | 165.333 | 0.0507
670.5 | 166.1 | 163.133 | 0.050025
671 | 161.9 | 158.933 | 0.048737
671.5 | 161.8 | 158.833 | 0.048706
672 | 161.8 | 158.833 | 0.048706
672.5 | 160.6 | 157.633 | 0.048338
673 | 154.3 | 151.333 | 0.046406
673.5 | 152.8 | 149.833 | 0.045946
674 | 148.8 | 145.833 | 0.04472
674.5 | 149.6 | 146.633 | 0.044965
675 | 142.5 | 139.533 | 0.042788
675.5 | 138.6 | 135.633 | 0.041592
676 | 134.8 | 131.833 | 0.040427
676.5 | 132.8 | 129.833 | 0.039813
677 | 134.5 | 131.533 | 0.040335
677.5 | 130.6 | 127.633 | 0.039139
678 | 127.7 | 124.733 | 0.03825
678.5 | 125.5 | 122.533 | 0.037575
679 | 125 | 122.033 | 0.037422
679.5 | 121.3 | 118.333 | 0.036287
680 | 120.4 | 117.433 | 0.036011
680.5 | 119.4 | 116.433 | 0.035704
681 | 114.8 | 111.833 | 0.034294
681.5 | 113.7 | 110.733 | 0.033956
682 | 112.5 | 109.533 | 0.033588
682.5 | 111.2 | 108.233 | 0.03319
683 | 109.7 | 106.733 | 0.03273
683.5 | 108.5 | 105.533 | 0.032362
684 | 104.6 | 101.633 | 0.031166
684.5 | 101.1 | 98.133 | 0.030093
685 | 100.9 | 97.933 | 0.030031
685.5 | 100.4 | 97.433 | 0.029878
686 | 97.87 | 94.903 | 0.029102
686.5 | 95.31 | 92.343 | 0.028317
687 | 92.37 | 89.403 | 0.027416
687.5 | 92.04 | 89.073 | 0.027314
688 | 88.03 | 85.063 | 0.026085
688.5 | 88.08 | 85.113 | 0.0261
689 | 87.53 | 84.563 | 0.025931
689.5 | 84.97 | 82.003 | 0.025146
690 | 83.86 | 80.893 | 0.024806
690.5 | 78.46 | 75.493 | 0.02315
691 | 80.58 | 77.613 | 0.0238
691.5 | 81.72 | 78.753 | 0.02415
692 | 80.16 | 77.193 | 0.023671
692.5 | 82.56 | 79.593 | 0.024407
693 | 77.31 | 74.343 | 0.022797
693.5 | 75.29 | 72.323 | 0.022178
694 | 74.81 | 71.843 | 0.022031
694.5 | 70.96 | 67.993 | 0.02085
695 | 70.08 | 67.113 | 0.02058
695.5 | 68.44 | 65.473 | 0.020077
696 | 67.58 | 64.613 | 0.019814
696.5 | 66.87 | 63.903 | 0.019596
697 | 68.08 | 65.113 | 0.019967
697.5 | 68.27 | 65.303 | 0.020025
698 | 66.58 | 63.613 | 0.019507
698.5 | 63.89 | 60.923 | 0.018682
699 | 62.79 | 59.823 | 0.018345
699.5 | 61.58 | 58.613 | 0.017974
700 | 60.44 | 57.473 | 0.017624
700.5 | 56.85 | 53.883 | 0.016523
701 | 53.79 | 50.823 | 0.015585
701.5 | 51.3 | 48.333 | 0.014821
702 | 54.41 | 51.443 | 0.015775
702.5 | 53.38 | 50.413 | 0.015459
703 | 53.34 | 50.373 | 0.015447
703.5 | 52.01 | 49.043 | 0.015039
704 | 50.92 | 47.953 | 0.014705
704.5 | 49.3 | 46.333 | 0.014208
705 | 47.45 | 44.483 | 0.013641
705.5 | 46.52 | 43.553 | 0.013356
706 | 45.34 | 42.373 | 0.012994
706.5 | 44.58 | 41.613 | 0.012761
707 | 46.05 | 43.083 | 0.013211
707.5 | 44.93 | 41.963 | 0.012868
708 | 43.94 | 40.973 | 0.012564
708.5 | 42.08 | 39.113 | 0.011994
709 | 41.15 | 38.183 | 0.011709
709.5 | 38.41 | 35.443 | 0.010869
710 | 39.69 | 36.723 | 0.011261
710.5 | 38.9 | 35.933 | 0.011019
711 | 35.08 | 32.113 | 0.0098475
711.5 | 35.72 | 32.753 | 0.010044
712 | 35.58 | 32.613 | 0.010001
712.5 | 37.52 | 34.553 | 0.010596
713 | 38.38 | 35.413 | 0.010859
713.5 | 33.96 | 30.993 | 0.009504
714 | 30.53 | 27.563 | 0.0084522
714.5 | 30.8 | 27.833 | 0.008535
715 | 31.72 | 28.753 | 0.0088171
715.5 | 31.58 | 28.613 | 0.0087742
716 | 31.94 | 28.973 | 0.0088846
716.5 | 35.97 | 33.003 | 0.01012
717 | 30.76 | 27.793 | 0.0085228
717.5 | 28.96 | 25.993 | 0.0079708
718 | 30.34 | 27.373 | 0.008394
718.5 | 27.95 | 24.983 | 0.0076611
719 | 26.64 | 23.673 | 0.0072594
719.5 | 27.26 | 24.293 | 0.0074495
720 | 26.38 | 23.413 | 0.0071796
720.5 | 24.16 | 21.193 | 0.0064989
721 | 24.12 | 21.153 | 0.0064866
721.5 | 19.74 | 16.773 | 0.0051435
722 | 21.93 | 18.963 | 0.005815
722.5 | 23.28 | 20.313 | 0.006229
723 | 26 | 23.033 | 0.0070631
723.5 | 21.18 | 18.213 | 0.005585
724 | 20.82 | 17.853 | 0.0054746
724.5 | 22.08 | 19.113 | 0.005861
725 | 21.01 | 18.043 | 0.0055329
725.5 | 18.87 | 15.903 | 0.0048767
726 | 16.58 | 13.613 | 0.0041744
726.5 | 16.92 | 13.953 | 0.0042787
727 | 16.13 | 13.163 | 0.0040365
727.5 | 19.18 | 16.213 | 0.0049717
728 | 17.62 | 14.653 | 0.0044934
728.5 | 12.76 | 9.793 | 0.003003
729 | 14.89 | 11.923 | 0.0036562
729.5 | 15.04 | 12.073 | 0.0037022
730 | 15.08 | 12.113 | 0.0037145
730.5 | 12.06 | 9.093 | 0.0027884
731 | 12.79 | 9.823 | 0.0030122
731.5 | 11.11 | 8.143 | 0.0024971
732 | 11.16 | 8.193 | 0.0025124
732.5 | 11.77 | 8.803 | 0.0026995
733 | 10.89 | 7.923 | 0.0024296
733.5 | 12.99 | 10.023 | 0.0030736
734 | 12.09 | 9.123 | 0.0027976
734.5 | 11.33 | 8.363 | 0.0025645
735 | 12.77 | 9.803 | 0.0030061
735.5 | 12.26 | 9.293 | 0.0028497
736 | 10.36 | 7.393 | 0.0022671
736.5 | 10.82 | 7.853 | 0.0024081
737 | 12.61 | 9.643 | 0.002957
737.5 | 8.893 | 5.926 | 0.0018172
738 | 6.345 | 3.378 | 0.0010359
738.5 | 8.247 | 5.28 | 0.0016191
739 | 11.5 | 8.533 | 0.0026167
739.5 | 12.16 | 9.193 | 0.002819
740 | 11.8 | 8.833 | 0.0027087
740.5 | 9.966 | 6.999 | 0.0021463
741 | 10.52 | 7.553 | 0.0023161
741.5 | 10.54 | 7.573 | 0.0023223
742 | 9.962 | 6.995 | 0.002145
742.5 | 12.33 | 9.363 | 0.0028712
743 | 10.15 | 7.183 | 0.0022027
743.5 | 9.612 | 6.645 | 0.0020377
744 | 11.99 | 9.023 | 0.0027669
744.5 | 11.96 | 8.993 | 0.0027577
745 | 11.73 | 8.763 | 0.0026872
745.5 | 6.646 | 3.679 | 0.0011282
746 | 9.017 | 6.05 | 0.0018552
746.5 | 7.499 | 4.532 | 0.0013897
747 | 8.758 | 5.791 | 0.0017758
747.5 | 10.48 | 7.513 | 0.0023039
748 | 9.036 | 6.069 | 0.0018611
748.5 | 5.221 | 2.254 | 0.00069119
749 | 8.402 | 5.435 | 0.0016666
749.5 | 8.387 | 5.42 | 0.0016621
750 | 9.085 | 6.118 | 0.0018761
750.5 | 9.761 | 6.794 | 0.0020834
751 | 10.41 | 7.443 | 0.0022824
751.5 | 9.733 | 6.766 | 0.0020748
752 | 8.228 | 5.261 | 0.0016133
752.5 | 6.788 | 3.821 | 0.0011717
753 | 7.679 | 4.712 | 0.0014449
753.5 | 8.359 | 5.392 | 0.0016535
754 | 7.477 | 4.51 | 0.001383
754.5 | 7.236 | 4.269 | 0.0013091
755 | 6.238 | 3.271 | 0.0010031
755.5 | 6.548 | 3.581 | 0.0010981
756 | 4.078 | 1.111 | 0.00034069
756.5 | 7.844 | 4.877 | 0.0014955
757 | 6.58 | 3.613 | 0.0011079
757.5 | 3.459 | 0.492 | 0.00015087
758 | 5.038 | 2.071 | 0.00063507
758.5 | 5.282 | 2.315 | 0.0007099
759 | 4.431 | 1.464 | 0.00044894
759.5 | 5.515 | 2.548 | 0.00078135
760 | 3.157 | 0.19 | 5.8264e-05
760.5 | 2.374 | 0 | 0
761 | 7.394 | 4.427 | 0.0013575
761.5 | 6.421 | 3.454 | 0.0010592
762 | 5.43 | 2.463 | 0.00075528
762.5 | 5.738 | 2.771 | 0.00084973
763 | 4.555 | 1.588 | 0.00048696
763.5 | 2.638 | 0 | 0
764 | 4.753 | 1.786 | 0.00054768
764.5 | 4.823 | 1.856 | 0.00056914
765 | 7.074 | 4.107 | 0.0012594
765.5 | 5.129 | 2.162 | 0.00066298
766 | 2.592 | 0 | 0
766.5 | 2.645 | 0 | 0
767 | 4.364 | 1.397 | 0.00042839
767.5 | 5.706 | 2.739 | 0.00083992
768 | 8.108 | 5.141 | 0.0015765
768.5 | 6.471 | 3.504 | 0.0010745
769 | 8.08 | 5.113 | 0.0015679
769.5 | 3.752 | 0.785 | 0.00024072
770 | 2.766 | 0 | 0
770.5 | 2.58 | 0 | 0
771 | 5.428 | 2.461 | 0.00075467
771.5 | 5.826 | 2.859 | 0.00087672
772 | 6.663 | 3.696 | 0.0011334
772.5 | 7.035 | 4.068 | 0.0012475
773 | 5.631 | 2.664 | 0.00081692
773.5 | 3.463 | 0.496 | 0.0001521
774 | 3.749 | 0.782 | 0.0002398
774.5 | 2.345 | 0 | 0
775 | 3.973 | 1.006 | 0.00030849
775.5 | 4.58 | 1.613 | 0.00049463
776 | 3.506 | 0.539 | 0.00016529
776.5 | 8.555 | 5.588 | 0.0017136
777 | 5.153 | 2.186 | 0.00067034
777.5 | 6.997 | 4.03 | 0.0012358
778 | 3.284 | 0.317 | 9.7208e-05
778.5 | 4.197 | 1.23 | 0.00037718
779 | 2.416 | 0 | 0
779.5 | 4.886 | 1.919 | 0.00058846
780 | 4.887 | 1.92 | 0.00058877
780.5 | -0.2736 | 0 | 0
781 | 0.4271 | 0 | 0
781.5 | 3.283 | 0.316 | 9.6902e-05
782 | 4.58 | 1.613 | 0.00049463
782.5 | 2.663 | 0 | 0
783 | 0.911 | 0 | 0
783.5 | 3.58 | 0.613 | 0.00018798
784 | 3.08 | 0.113 | 3.4652e-05
784.5 | 2.589 | 0 | 0
785 | 3.513 | 0.546 | 0.00016743
785.5 | 2.959 | 0 | 0
786 | 3.305 | 0.338 | 0.00010365
786.5 | 3.007 | 0.04 | 1.2266e-05
787 | 0.8737 | 0 | 0
787.5 | 1.627 | 0 | 0
788 | -0.1121 | 0 | 0
788.5 | 0.7467 | 0 | 0
789 | 0.6283 | 0 | 0
789.5 | 1.015 | 0 | 0
790 | 0.3159 | 0 | 0
790.5 | 3.57 | 0.603 | 0.00018491
791 | 4.693 | 1.726 | 0.00052928
791.5 | 1.625 | 0 | 0
792 | 3.61 | 0.643 | 0.00019718
792.5 | 5.699 | 2.732 | 0.00083777
793 | 0.9675 | 0 | 0
793.5 | 2.109 | 0 | 0
794 | 2.58 | 0 | 0
794.5 | 3.311 | 0.344 | 0.00010549
795 | 3.037 | 0.07 | 2.1466e-05
795.5 | 1.919 | 0 | 0
796 | 2.459 | 0 | 0
796.5 | 3.565 | 0.598 | 0.00018338
797 | 2.498 | 0 | 0
797.5 | 4.347 | 1.38 | 0.00042318
798 | 5.538 | 2.571 | 0.0007884
798.5 | 5.437 | 2.47 | 0.00075743
799 | 5.051 | 2.084 | 0.00063906
799.5 | 4.58 | 1.613 | 0.00049463
800 | 6.36 | 3.393 | 0.0010405
800.5 | 5.272 | 2.305 | 0.00070683
801 | 4.944 | 1.977 | 0.00060625
801.5 | 4.228 | 1.261 | 0.00038669
802 | 0.7953 | 0 | 0
802.5 | 2.826 | 0 | 0
803 | 2.164 | 0 | 0
803.5 | -1.079 | 0 | 0
804 | 1.847 | 0 | 0
804.5 | 3.983 | 1.016 | 0.00031156
805 | 4.764 | 1.797 | 0.00055105
805.5 | 2.08 | 0 | 0
806 | 0.6054 | 0 | 0
806.5 | 2.537 | 0 | 0
807 | 0.5362 | 0 | 0
807.5 | 0.8622 | 0 | 0
808 | 1.515 | 0 | 0
808.5 | 2.561 | 0 | 0
809 | 0.8759 | 0 | 0
809.5 | -1.247 | 0 | 0
810 | -1.449 | 0 | 0
810.5 | 0.3432 | 0 | 0
811 | -1.243 | 0 | 0
811.5 | 1.282 | 0 | 0
812 | 1.052 | 0 | 0
812.5 | 2.729 | 0 | 0
813 | -0.05629 | 0 | 0
813.5 | 1.995 | 0 | 0
814 | 3.529 | 0.562 | 0.00017234
814.5 | 2.572 | 0 | 0
815 | 4.422 | 1.455 | 0.00044618
815.5 | 0.7447 | 0 | 0
816 | -0.03127 | 0 | 0
816.5 | 1.08 | 0 | 0
817 | 0.5799 | 0 | 0
817.5 | 0.2948 | 0 | 0
818 | 0.4281 | 0 | 0
818.5 | 3.897 | 0.93 | 0.00028519
819 | 4.984 | 2.017 | 0.00061852
819.5 | 0.8005 | 0 | 0
820 | -1.397 | 0 | 0
820.5 | 1.08 | 0 | 0
821 | 3.853 | 0.886 | 0.00027169
821.5 | 1.89 | 0 | 0
822 | 0.5589 | 0 | 0
822.5 | 1.633 | 0 | 0
823 | 1.08 | 0 | 0
823.5 | 2.927 | 0 | 0
824 | 3.38 | 0.413 | 0.00012665
824.5 | 2.57 | 0 | 0
825 | 1.427 | 0 | 0
825.5 | 3.498 | 0.531 | 0.00016283
826 | 6.486 | 3.519 | 0.0010791
826.5 | 4.412 | 1.445 | 0.00044311
827 | 4.43 | 1.463 | 0.00044863
827.5 | 2.948 | 0 | 0
828 | -1.188 | 0 | 0
828.5 | 3.131 | 0.164 | 5.0291e-05
829 | 3.992 | 1.025 | 0.00031432
829.5 | 3.892 | 0.925 | 0.00028365
830 | 2.419 | 0 | 0
830.5 | 2.607 | 0 | 0
831 | 2.626 | 0 | 0
831.5 | 3.619 | 0.652 | 0.00019994
832 | -0.4201 | 0 | 0
832.5 | -1.892 | 0 | 0
833 | -0.8829 | 0 | 0
833.5 | 2.614 | 0 | 0
834 | 3.069 | 0.102 | 3.1278e-05
834.5 | 1.102 | 0 | 0
835 | 1.104 | 0 | 0
835.5 | 4.094 | 1.127 | 0.0003456
836 | 4.985 | 2.018 | 0.00061882
836.5 | 2.08 | 0 | 0
837 | 1.947 | 0 | 0
837.5 | 1.527 | 0 | 0
838 | 3.111 | 0.144 | 4.4158e-05
838.5 | 3.543 | 0.576 | 0.00017663
839 | 1.08 | 0 | 0
839.5 | 0.6293 | 0 | 0
840 | 2.523 | 0 | 0
840.5 | 2.21 | 0 | 0
841 | 3.212 | 0.245 | 7.513e-05
841.5 | 2.082 | 0 | 0
842 | 2.138 | 0 | 0
842.5 | 4.476 | 1.509 | 0.00046274
843 | 5.119 | 2.152 | 0.00065991
843.5 | 3.58 | 0.613 | 0.00018798
844 | 3.241 | 0.274 | 8.4022e-05
844.5 | 1.427 | 0 | 0
845 | 2.911 | 0 | 0
845.5 | 1.262 | 0 | 0
846 | 1.37 | 0 | 0
846.5 | 3.794 | 0.827 | 0.0002536
847 | 2.428 | 0 | 0
847.5 | 3.067 | 0.1 | 3.0665e-05
848 | 4.484 | 1.517 | 0.00046519
848.5 | 4.073 | 1.106 | 0.00033916
849 | 5.493 | 2.526 | 0.0007746
849.5 | 6.229 | 3.262 | 0.0010003
850 | 2.389 | 0 | 0
850.5 | 4.281 | 1.314 | 0.00040294
851 | 2.969 | 0.002 | 6.133e-07
851.5 | 1.492 | 0 | 0
852 | 2.58 | 0 | 0
852.5 | 2.12 | 0 | 0
853 | 2.11 | 0 | 0
853.5 | -0.4094 | 0 | 0
854 | 3.08 | 0.113 | 3.4652e-05
854.5 | 4.695 | 1.728 | 0.00052989
855 | -2.46 | 0 | 0
855.5 | -1.041 | 0 | 0
856 | -0.2704 | 0 | 0
856.5 | -0.8814 | 0 | 0
857 | 2.529 | 0 | 0
857.5 | 3.304 | 0.337 | 0.00010334
858 | 0.9389 | 0 | 0
858.5 | 0.8862 | 0 | 0
859 | 4.278 | 1.311 | 0.00040202
859.5 | 3.211 | 0.244 | 7.4823e-05
860 | -2.281 | 0 | 0
860.5 | 0.02422 | 0 | 0
861 | 1.061 | 0 | 0
861.5 | 3.527 | 0.56 | 0.00017172
862 | 2.135 | 0 | 0
862.5 | 2.111 | 0 | 0
863 | 3.58 | 0.613 | 0.00018798
863.5 | 4.061 | 1.094 | 0.00033548
864 | 2.226 | 0 | 0
864.5 | 1.07 | 0 | 0
865 | 1.862 | 0 | 0
865.5 | 2.939 | 0 | 0
866 | 2.347 | 0 | 0
866.5 | 0.7247 | 0 | 0
867 | 2.08 | 0 | 0
867.5 | 5.025 | 2.058 | 0.00063109
868 | 3.95 | 0.983 | 0.00030144
868.5 | 5.131 | 2.164 | 0.00066359
869 | 2.24 | 0 | 0
869.5 | 1.498 | 0 | 0
870 | 0.3217 | 0 | 0
870.5 | 4.314 | 1.347 | 0.00041306
871 | 4.799 | 1.832 | 0.00056179
871.5 | 4.491 | 1.524 | 0.00046734
872 | 4.007 | 1.04 | 0.00031892
872.5 | 3.13 | 0.163 | 4.9984e-05
873 | 1.651 | 0 | 0
873.5 | 0.578 | 0 | 0
874 | -0.2819 | 0 | 0
874.5 | 0.6056 | 0 | 0
875 | 1.08 | 0 | 0
875.5 | 1.672 | 0 | 0
876 | 0.1695 | 0 | 0
876.5 | -0.8595 | 0 | 0
877 | -0.3307 | 0 | 0
877.5 | 2.761 | 0 | 0
878 | 0.9711 | 0 | 0
878.5 | -0.9201 | 0 | 0
879 | 0.1354 | 0 | 0
879.5 | -0.9201 | 0 | 0
880 | 1.08 | 0 | 0
880.5 | 2.939 | 0 | 0
881 | 0.618 | 0 | 0
881.5 | 1.975 | 0 | 0
882 | 0.9258 | 0 | 0
882.5 | -0.4031 | 0 | 0
883 | -0.1091 | 0 | 0
883.5 | 0.8421 | 0 | 0
884 | 0.6279 | 0 | 0
884.5 | 0.5561 | 0 | 0
885 | -1.938 | 0 | 0
885.5 | -0.09901 | 0 | 0
886 | 0.5677 | 0 | 0
886.5 | 1.355 | 0 | 0