## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 4.858 | 0 | 0
246.5 | 4.21 | 0 | 0
247 | 7.706 | 0.447 | 0.00012062
247.5 | 9.481 | 2.222 | 0.00059961
248 | 11.21 | 3.951 | 0.0010662
248.5 | 10.55 | 3.291 | 0.00088808
249 | 9.288 | 2.029 | 0.00054753
249.5 | 8.395 | 1.136 | 0.00030655
250 | 8.762 | 1.503 | 0.00040559
250.5 | 8.921 | 1.662 | 0.00044849
251 | 7.259 | 0 | 0
251.5 | 8.449 | 1.19 | 0.00032112
252 | 7.699 | 0.44 | 0.00011873
252.5 | 9.284 | 2.025 | 0.00054645
253 | 10.24 | 2.981 | 0.00080443
253.5 | 10.74 | 3.481 | 0.00093935
254 | 9.751 | 2.492 | 0.00067247
254.5 | 9.668 | 2.409 | 0.00065007
255 | 9.168 | 1.909 | 0.00051515
255.5 | 8.776 | 1.517 | 0.00040936
256 | 8.671 | 1.412 | 0.00038103
256.5 | 8.45 | 1.191 | 0.00032139
257 | 8.162 | 0.903 | 0.00024368
257.5 | 8.249 | 0.99 | 0.00026715
258 | 8.391 | 1.132 | 0.00030547
258.5 | 8.767 | 1.508 | 0.00040694
259 | 8.825 | 1.566 | 0.00042259
259.5 | 8.853 | 1.594 | 0.00043014
260 | 9.11 | 1.851 | 0.0004995
260.5 | 9.629 | 2.37 | 0.00063955
261 | 10.08 | 2.821 | 0.00076125
261.5 | 10.11 | 2.851 | 0.00076935
262 | 9.697 | 2.438 | 0.0006579
262.5 | 9.267 | 2.008 | 0.00054186
263 | 8.017 | 0.758 | 0.00020455
263.5 | 7.547 | 0.288 | 7.7717e-05
264 | 7.549 | 0.29 | 7.8257e-05
264.5 | 6.896 | 0 | 0
265 | 6.727 | 0 | 0
265.5 | 6.849 | 0 | 0
266 | 7.128 | 0 | 0
266.5 | 8.465 | 1.206 | 0.00032544
267 | 8.518 | 1.259 | 0.00033974
267.5 | 7.73 | 0.471 | 0.0001271
268 | 7.004 | 0 | 0
268.5 | 6.467 | 0 | 0
269 | 6.435 | 0 | 0
269.5 | 6.283 | 0 | 0
270 | 5.894 | 0 | 0
270.5 | 6.475 | 0 | 0
271 | 7.502 | 0.243 | 6.5574e-05
271.5 | 8.859 | 1.6 | 0.00043176
272 | 9.753 | 2.494 | 0.00067301
272.5 | 9.838 | 2.579 | 0.00069595
273 | 10.2 | 2.941 | 0.00079363
273.5 | 10.43 | 3.171 | 0.0008557
274 | 10.22 | 2.961 | 0.00079903
274.5 | 10.15 | 2.891 | 0.00078014
275 | 9.849 | 2.59 | 0.00069892
275.5 | 10.12 | 2.861 | 0.00077205
276 | 10.6 | 3.341 | 0.00090157
276.5 | 10.55 | 3.291 | 0.00088808
277 | 10.22 | 2.961 | 0.00079903
277.5 | 10.46 | 3.201 | 0.00086379
278 | 10.39 | 3.131 | 0.00084491
278.5 | 10.11 | 2.851 | 0.00076935
279 | 9.231 | 1.972 | 0.00053215
279.5 | 8.489 | 1.23 | 0.00033192
280 | 7.422 | 0.163 | 4.3986e-05
280.5 | 6.658 | 0 | 0
281 | 5.511 | 0 | 0
281.5 | 4.957 | 0 | 0
282 | 4.724 | 0 | 0
282.5 | 5.358 | 0 | 0
283 | 6.331 | 0 | 0
283.5 | 7.91 | 0.651 | 0.00017567
284 | 9.063 | 1.804 | 0.00048681
284.5 | 9.726 | 2.467 | 0.00066572
285 | 9.643 | 2.384 | 0.00064333
285.5 | 9.944 | 2.685 | 0.00072455
286 | 10.02 | 2.761 | 0.00074506
286.5 | 9.827 | 2.568 | 0.00069298
287 | 9.48 | 2.221 | 0.00059934
287.5 | 9.595 | 2.336 | 0.00063037
288 | 9.96 | 2.701 | 0.00072887
288.5 | 10.3 | 3.041 | 0.00082062
289 | 9.99 | 2.731 | 0.00073696
289.5 | 9.77 | 2.511 | 0.0006776
290 | 9.393 | 2.134 | 0.00057586
290.5 | 9.357 | 2.098 | 0.00056615
291 | 9.113 | 1.854 | 0.0005003
291.5 | 8.479 | 1.22 | 0.00032922
292 | 7.663 | 0.404 | 0.00010902
292.5 | 7.085 | 0 | 0
293 | 6.824 | 0 | 0
293.5 | 6.558 | 0 | 0
294 | 6.489 | 0 | 0
294.5 | 6.47 | 0 | 0
295 | 6.843 | 0 | 0
295.5 | 7.471 | 0.212 | 5.7209e-05
296 | 8.099 | 0.84 | 0.00022668
296.5 | 8.429 | 1.17 | 0.00031573
297 | 8.346 | 1.087 | 0.00029333
297.5 | 7.965 | 0.706 | 0.00019052
298 | 8.085 | 0.826 | 0.0002229
298.5 | 8.06 | 0.801 | 0.00021615
299 | 8.125 | 0.866 | 0.00023369
299.5 | 7.914 | 0.655 | 0.00017675
300 | 7.2 | 0 | 0
300.5 | 7.068 | 0 | 0
301 | 6.844 | 0 | 0
301.5 | 7.207 | 0 | 0
302 | 7.318 | 0.059 | 1.5921e-05
302.5 | 7.414 | 0.155 | 4.1827e-05
303 | 7.585 | 0.326 | 8.7972e-05
303.5 | 7.693 | 0.434 | 0.00011712
304 | 7.967 | 0.708 | 0.00019105
304.5 | 8.309 | 1.05 | 0.00028334
305 | 7.996 | 0.737 | 0.00019888
305.5 | 8.082 | 0.823 | 0.00022209
306 | 8.122 | 0.863 | 0.00023288
306.5 | 8.657 | 1.398 | 0.00037725
307 | 9.282 | 2.023 | 0.00054591
307.5 | 9.085 | 1.826 | 0.00049275
308 | 9.086 | 1.827 | 0.00049302
308.5 | 8.969 | 1.71 | 0.00046145
309 | 8.467 | 1.208 | 0.00032598
309.5 | 8.09 | 0.831 | 0.00022425
310 | 7.631 | 0.372 | 0.00010038
310.5 | 7.11 | 0 | 0
311 | 7.107 | 0 | 0
311.5 | 7.605 | 0.346 | 9.3369e-05
312 | 7.375 | 0.116 | 3.1303e-05
312.5 | 7.419 | 0.16 | 4.3176e-05
313 | 7.467 | 0.208 | 5.6129e-05
313.5 | 7.311 | 0.052 | 1.4032e-05
314 | 7.131 | 0 | 0
314.5 | 6.724 | 0 | 0
315 | 6.106 | 0 | 0
315.5 | 6.253 | 0 | 0
316 | 6.368 | 0 | 0
316.5 | 6.476 | 0 | 0
317 | 7.373 | 0.114 | 3.0763e-05
317.5 | 8.873 | 1.614 | 0.00043554
318 | 10.5 | 3.241 | 0.00087459
318.5 | 11.12 | 3.861 | 0.0010419
319 | 11.07 | 3.811 | 0.0010284
319.5 | 11.13 | 3.871 | 0.0010446
320 | 10.7 | 3.441 | 0.00092856
320.5 | 10.06 | 2.801 | 0.00075585
321 | 9.006 | 1.747 | 0.00047143
321.5 | 7.873 | 0.614 | 0.00016569
322 | 7.525 | 0.266 | 7.1781e-05
322.5 | 7.59 | 0.331 | 8.9321e-05
323 | 7.814 | 0.555 | 0.00014977
323.5 | 8.411 | 1.152 | 0.00031087
324 | 8.678 | 1.419 | 0.00038292
324.5 | 8.69 | 1.431 | 0.00038616
325 | 8.485 | 1.226 | 0.00033084
325.5 | 8.114 | 0.855 | 0.00023072
326 | 8.172 | 0.913 | 0.00024637
326.5 | 7.788 | 0.529 | 0.00014275
327 | 7.184 | 0 | 0
327.5 | 6.545 | 0 | 0
328 | 5.944 | 0 | 0
328.5 | 5.994 | 0 | 0
329 | 5.885 | 0 | 0
329.5 | 5.154 | 0 | 0
330 | 5.082 | 0 | 0
330.5 | 5.691 | 0 | 0
331 | 5.515 | 0 | 0
331.5 | 5.956 | 0 | 0
332 | 5.819 | 0 | 0
332.5 | 6.226 | 0 | 0
333 | 6.768 | 0 | 0
333.5 | 7.071 | 0 | 0
334 | 6.952 | 0 | 0
334.5 | 7.36 | 0.101 | 2.7255e-05
335 | 7.319 | 0.06 | 1.6191e-05
335.5 | 7.273 | 0.014 | 3.7779e-06
336 | 7.092 | 0 | 0
336.5 | 7.076 | 0 | 0
337 | 6.835 | 0 | 0
337.5 | 6.6 | 0 | 0
338 | 6.813 | 0 | 0
338.5 | 6.952 | 0 | 0
339 | 6.716 | 0 | 0
339.5 | 6.385 | 0 | 0
340 | 6.245 | 0 | 0
340.5 | 6.278 | 0 | 0
341 | 6.443 | 0 | 0
341.5 | 5.848 | 0 | 0
342 | 6.205 | 0 | 0
342.5 | 6.865 | 0 | 0
343 | 7.357 | 0.098 | 2.6445e-05
343.5 | 7.645 | 0.386 | 0.00010416
344 | 7.83 | 0.571 | 0.00015409
344.5 | 7.787 | 0.528 | 0.00014248
345 | 7.611 | 0.352 | 9.4988e-05
345.5 | 6.823 | 0 | 0
346 | 7.047 | 0 | 0
346.5 | 7.139 | 0 | 0
347 | 7.423 | 0.164 | 4.4256e-05
347.5 | 7.607 | 0.348 | 9.3908e-05
348 | 7.662 | 0.403 | 0.00010875
348.5 | 8.101 | 0.842 | 0.00022722
349 | 8.165 | 0.906 | 0.00024449
349.5 | 8.355 | 1.096 | 0.00029576
350 | 8.678 | 1.419 | 0.00038292
350.5 | 8.073 | 0.814 | 0.00021966
351 | 7.854 | 0.595 | 0.00016056
351.5 | 7.758 | 0.499 | 0.00013466
352 | 7.688 | 0.429 | 0.00011577
352.5 | 7.56 | 0.301 | 8.1225e-05
353 | 7.065 | 0 | 0
353.5 | 6.696 | 0 | 0
354 | 7.024 | 0 | 0
354.5 | 7.668 | 0.409 | 0.00011037
355 | 8.649 | 1.39 | 0.00037509
355.5 | 9.045 | 1.786 | 0.00048195
356 | 9.01 | 1.751 | 0.00047251
356.5 | 8.709 | 1.45 | 0.00039128
357 | 8.404 | 1.145 | 0.00030898
357.5 | 8.217 | 0.958 | 0.00025852
358 | 7.583 | 0.324 | 8.7432e-05
358.5 | 7.042 | 0 | 0
359 | 6.977 | 0 | 0
359.5 | 6.635 | 0 | 0
360 | 6.717 | 0 | 0
360.5 | 6.777 | 0 | 0
361 | 6.601 | 0 | 0
361.5 | 7.148 | 0 | 0
362 | 7.832 | 0.573 | 0.00015462
362.5 | 8.491 | 1.232 | 0.00033246
363 | 8.818 | 1.559 | 0.0004207
363.5 | 8.99 | 1.731 | 0.00046711
364 | 9.476 | 2.217 | 0.00059826
364.5 | 9.632 | 2.373 | 0.00064036
365 | 9.477 | 2.218 | 0.00059853
365.5 | 9.046 | 1.787 | 0.00048222
366 | 8.461 | 1.202 | 0.00032436
366.5 | 7.99 | 0.731 | 0.00019726
367 | 7.898 | 0.639 | 0.00017244
367.5 | 7.545 | 0.286 | 7.7178e-05
368 | 7.64 | 0.381 | 0.00010281
368.5 | 6.927 | 0 | 0
369 | 6.714 | 0 | 0
369.5 | 7.206 | 0 | 0
370 | 7.293 | 0.034 | 9.175e-06
370.5 | 6.799 | 0 | 0
371 | 6.187 | 0 | 0
371.5 | 6.186 | 0 | 0
372 | 6.563 | 0 | 0
372.5 | 6.476 | 0 | 0
373 | 6.557 | 0 | 0
373.5 | 6.551 | 0 | 0
374 | 7.214 | 0 | 0
374.5 | 7.463 | 0.204 | 5.505e-05
375 | 7.408 | 0.149 | 4.0208e-05
375.5 | 7.666 | 0.407 | 0.00010983
376 | 7.664 | 0.405 | 0.00010929
376.5 | 8.072 | 0.813 | 0.00021939
377 | 8.533 | 1.274 | 0.00034379
377.5 | 8.632 | 1.373 | 0.00037051
378 | 9.03 | 1.771 | 0.00047791
378.5 | 9.215 | 1.956 | 0.00052783
379 | 9.241 | 1.982 | 0.00053485
379.5 | 8.947 | 1.688 | 0.00045551
380 | 8.722 | 1.463 | 0.00039479
380.5 | 8.899 | 1.64 | 0.00044256
381 | 8.833 | 1.574 | 0.00042475
381.5 | 8.738 | 1.479 | 0.00039911
382 | 8.894 | 1.635 | 0.00044121
382.5 | 8.959 | 1.7 | 0.00045875
383 | 8.986 | 1.727 | 0.00046603
383.5 | 8.614 | 1.355 | 0.00036565
384 | 8.484 | 1.225 | 0.00033057
384.5 | 8.669 | 1.41 | 0.00038049
385 | 8.343 | 1.084 | 0.00029252
385.5 | 8.8 | 1.541 | 0.00041584
386 | 8.978 | 1.719 | 0.00046387
386.5 | 9.344 | 2.085 | 0.00056264
387 | 9.528 | 2.269 | 0.00061229
387.5 | 9.398 | 2.139 | 0.00057721
388 | 9.453 | 2.194 | 0.00059205
388.5 | 9.032 | 1.773 | 0.00047845
389 | 8.513 | 1.254 | 0.00033839
389.5 | 8.131 | 0.872 | 0.00023531
390 | 7.867 | 0.608 | 0.00016407
390.5 | 7.497 | 0.238 | 6.4225e-05
391 | 7.275 | 0.016 | 4.3176e-06
391.5 | 7.336 | 0.077 | 2.0779e-05
392 | 7.631 | 0.372 | 0.00010038
392.5 | 8.146 | 0.887 | 0.00023936
393 | 9.061 | 1.802 | 0.00048627
393.5 | 9.717 | 2.458 | 0.0006633
394 | 10.27 | 3.011 | 0.00081252
394.5 | 10.21 | 2.951 | 0.00079633
395 | 10.1 | 2.841 | 0.00076665
395.5 | 9.389 | 2.13 | 0.00057478
396 | 8.595 | 1.336 | 0.00036052
396.5 | 8.407 | 1.148 | 0.00030979
397 | 8.456 | 1.197 | 0.00032301
397.5 | 9.021 | 1.762 | 0.00047548
398 | 9.775 | 2.516 | 0.00067895
398.5 | 9.849 | 2.59 | 0.00069892
399 | 10.14 | 2.881 | 0.00077744
399.5 | 10.2 | 2.941 | 0.00079363
400 | 9.565 | 2.306 | 0.00062228
400.5 | 8.826 | 1.567 | 0.00042286
401 | 8.133 | 0.874 | 0.00023585
401.5 | 7.975 | 0.716 | 0.00019321
402 | 7.907 | 0.648 | 0.00017486
402.5 | 8.347 | 1.088 | 0.0002936
403 | 7.778 | 0.519 | 0.00014005
403.5 | 6.786 | 0 | 0
404 | 6.458 | 0 | 0
404.5 | 6.037 | 0 | 0
405 | 5.887 | 0 | 0
405.5 | 5.611 | 0 | 0
406 | 6.058 | 0 | 0
406.5 | 6.566 | 0 | 0
407 | 7.005 | 0 | 0
407.5 | 6.924 | 0 | 0
408 | 6.46 | 0 | 0
408.5 | 6.315 | 0 | 0
409 | 5.632 | 0 | 0
409.5 | 5.454 | 0 | 0
410 | 5.929 | 0 | 0
410.5 | 6.667 | 0 | 0
411 | 7.468 | 0.209 | 5.6399e-05
411.5 | 8.032 | 0.773 | 0.0002086
412 | 8.813 | 1.554 | 0.00041935
412.5 | 9.511 | 2.252 | 0.00060771
413 | 9.84 | 2.581 | 0.00069649
413.5 | 9.554 | 2.295 | 0.00061931
414 | 8.953 | 1.694 | 0.00045713
414.5 | 8.468 | 1.209 | 0.00032625
415 | 8.256 | 0.997 | 0.00026904
415.5 | 8.895 | 1.636 | 0.00044148
416 | 8.803 | 1.544 | 0.00041665
416.5 | 9.193 | 1.934 | 0.00052189
417 | 9.612 | 2.353 | 0.00063496
417.5 | 10.3 | 3.041 | 0.00082062
418 | 11.19 | 3.931 | 0.0010608
418.5 | 11.29 | 4.031 | 0.0010878
419 | 11.24 | 3.981 | 0.0010743
419.5 | 11.41 | 4.151 | 0.0011202
420 | 11.17 | 3.911 | 0.0010554
420.5 | 10.99 | 3.731 | 0.0010068
421 | 10.73 | 3.471 | 0.00093665
421.5 | 10.38 | 3.121 | 0.00084221
422 | 9.82 | 2.561 | 0.00069109
422.5 | 9.062 | 1.803 | 0.00048654
423 | 9.161 | 1.902 | 0.00051326
423.5 | 9.526 | 2.267 | 0.00061175
424 | 9.73 | 2.471 | 0.0006668
424.5 | 9.684 | 2.425 | 0.00065439
425 | 9.156 | 1.897 | 0.00051191
425.5 | 9.242 | 1.983 | 0.00053512
426 | 8.251 | 0.992 | 0.00026769
426.5 | 6.781 | 0 | 0
427 | 6.684 | 0 | 0
427.5 | 6.762 | 0 | 0
428 | 7.259 | 0 | 0
428.5 | 7.88 | 0.621 | 0.00016758
429 | 8.216 | 0.957 | 0.00025825
429.5 | 9.466 | 2.207 | 0.00059556
430 | 9.954 | 2.695 | 0.00072725
430.5 | 9.674 | 2.415 | 0.00065169
431 | 10.04 | 2.781 | 0.00075046
431.5 | 9.957 | 2.698 | 0.00072806
432 | 9.641 | 2.382 | 0.00064279
432.5 | 9.346 | 2.087 | 0.00056318
433 | 8.976 | 1.717 | 0.00046334
433.5 | 8.758 | 1.499 | 0.00040451
434 | 7.664 | 0.405 | 0.00010929
434.5 | 7.263 | 0.004 | 1.0794e-06
435 | 6.794 | 0 | 0
435.5 | 6.585 | 0 | 0
436 | 6.32 | 0 | 0
436.5 | 6.263 | 0 | 0
437 | 6.405 | 0 | 0
437.5 | 6.128 | 0 | 0
438 | 6.072 | 0 | 0
438.5 | 7.037 | 0 | 0
439 | 7.69 | 0.431 | 0.00011631
439.5 | 7.71 | 0.451 | 0.0001217
440 | 7.989 | 0.73 | 0.00019699
440.5 | 7.9 | 0.641 | 0.00017297
441 | 8.276 | 1.017 | 0.00027444
441.5 | 7.688 | 0.429 | 0.00011577
442 | 6.854 | 0 | 0
442.5 | 6.5 | 0 | 0
443 | 6.079 | 0 | 0
443.5 | 6.223 | 0 | 0
444 | 6.778 | 0 | 0
444.5 | 7.68 | 0.421 | 0.00011361
445 | 8.473 | 1.214 | 0.0003276
445.5 | 8.635 | 1.376 | 0.00037132
446 | 8.683 | 1.424 | 0.00038427
446.5 | 8.895 | 1.636 | 0.00044148
447 | 8.106 | 0.847 | 0.00022856
447.5 | 7.511 | 0.252 | 6.8003e-05
448 | 7.151 | 0 | 0
448.5 | 7.552 | 0.293 | 7.9067e-05
449 | 8.303 | 1.044 | 0.00028173
449.5 | 8.852 | 1.593 | 0.00042987
450 | 9.088 | 1.829 | 0.00049356
450.5 | 9.14 | 1.881 | 0.00050759
451 | 9.498 | 2.239 | 0.0006042
451.5 | 8.924 | 1.665 | 0.0004493
452 | 8.203 | 0.944 | 0.00025474
452.5 | 7.478 | 0.219 | 5.9097e-05
453 | 7.487 | 0.228 | 6.1526e-05
453.5 | 7.919 | 0.66 | 0.0001781
454 | 7.691 | 0.432 | 0.00011658
454.5 | 8.213 | 0.954 | 0.00025744
455 | 8.674 | 1.415 | 0.00038184
455.5 | 9.02 | 1.761 | 0.00047521
456 | 8.991 | 1.732 | 0.00046738
456.5 | 8.855 | 1.596 | 0.00043068
457 | 8.697 | 1.438 | 0.00038805
457.5 | 8.616 | 1.357 | 0.00036619
458 | 8.148 | 0.889 | 0.0002399
458.5 | 8.054 | 0.795 | 0.00021453
459 | 7.995 | 0.736 | 0.00019861
459.5 | 7.786 | 0.527 | 0.00014221
460 | 7.532 | 0.273 | 7.3669e-05
460.5 | 7.777 | 0.518 | 0.00013978
461 | 8.62 | 1.361 | 0.00036727
461.5 | 8.502 | 1.243 | 0.00033543
462 | 8.676 | 1.417 | 0.00038238
462.5 | 9.358 | 2.099 | 0.00056642
463 | 9.353 | 2.094 | 0.00056507
463.5 | 8.815 | 1.556 | 0.00041989
464 | 7.838 | 0.579 | 0.00015624
464.5 | 7.335 | 0.076 | 2.0509e-05
465 | 6.706 | 0 | 0
465.5 | 6.066 | 0 | 0
466 | 6.372 | 0 | 0
466.5 | 6.975 | 0 | 0
467 | 7.229 | 0 | 0
467.5 | 7.225 | 0 | 0
468 | 7.188 | 0 | 0
468.5 | 7.316 | 0.057 | 1.5382e-05
469 | 7.174 | 0 | 0
469.5 | 6.786 | 0 | 0
470 | 6.789 | 0 | 0
470.5 | 7.198 | 0 | 0
471 | 8.105 | 0.846 | 0.00022829
471.5 | 8.731 | 1.472 | 0.00039722
472 | 8.636 | 1.377 | 0.00037159
472.5 | 8.322 | 1.063 | 0.00028685
473 | 7.943 | 0.684 | 0.00018458
473.5 | 6.989 | 0 | 0
474 | 6.243 | 0 | 0
474.5 | 5.724 | 0 | 0
475 | 5.981 | 0 | 0
475.5 | 6.639 | 0 | 0
476 | 6.997 | 0 | 0
476.5 | 7.521 | 0.262 | 7.0701e-05
477 | 8.011 | 0.752 | 0.00020293
477.5 | 7.756 | 0.497 | 0.00013412
478 | 7.302 | 0.043 | 1.1604e-05
478.5 | 7.037 | 0 | 0
479 | 7.51 | 0.251 | 6.7733e-05
479.5 | 7.978 | 0.719 | 0.00019402
480 | 8.242 | 0.983 | 0.00026526
480.5 | 8.686 | 1.427 | 0.00038508
481 | 9.317 | 2.058 | 0.00055535
481.5 | 9.602 | 2.343 | 0.00063226
482 | 9.545 | 2.286 | 0.00061688
482.5 | 9.468 | 2.209 | 0.0005961
483 | 9.703 | 2.444 | 0.00065952
483.5 | 9.677 | 2.418 | 0.0006525
484 | 9.819 | 2.56 | 0.00069082
484.5 | 9.936 | 2.677 | 0.00072239
485 | 9.774 | 2.515 | 0.00067868
485.5 | 9.315 | 2.056 | 0.00055481
486 | 8.586 | 1.327 | 0.00035809
486.5 | 8.082 | 0.823 | 0.00022209
487 | 8.17 | 0.911 | 0.00024583
487.5 | 7.943 | 0.684 | 0.00018458
488 | 8.328 | 1.069 | 0.00028847
488.5 | 8.591 | 1.332 | 0.00035944
489 | 9.135 | 1.876 | 0.00050624
489.5 | 9.48 | 2.221 | 0.00059934
490 | 8.925 | 1.666 | 0.00044957
490.5 | 8.848 | 1.589 | 0.00042879
491 | 8.606 | 1.347 | 0.00036349
491.5 | 8.924 | 1.665 | 0.0004493
492 | 9.047 | 1.788 | 0.00048249
492.5 | 8.668 | 1.409 | 0.00038022
493 | 8.338 | 1.079 | 0.00029117
493.5 | 8.103 | 0.844 | 0.00022775
494 | 7.889 | 0.63 | 0.00017001
494.5 | 7.794 | 0.535 | 0.00014437
495 | 7.598 | 0.339 | 9.148e-05
495.5 | 7.661 | 0.402 | 0.00010848
496 | 7.993 | 0.734 | 0.00019807
496.5 | 7.752 | 0.493 | 0.00013304
497 | 7.672 | 0.413 | 0.00011145
497.5 | 7.533 | 0.274 | 7.3939e-05
498 | 7.401 | 0.142 | 3.8319e-05
498.5 | 7.395 | 0.136 | 3.67e-05
499 | 6.88 | 0 | 0
499.5 | 6.839 | 0 | 0
500 | 7.397 | 0.138 | 3.724e-05
500.5 | 8.023 | 0.764 | 0.00020617
501 | 8.535 | 1.276 | 0.00034433
501.5 | 8.8 | 1.541 | 0.00041584
502 | 9.897 | 2.638 | 0.00071187
502.5 | 9.963 | 2.704 | 0.00072968
503 | 9.358 | 2.099 | 0.00056642
503.5 | 8.974 | 1.715 | 0.0004628
504 | 8.648 | 1.389 | 0.00037482
504.5 | 8.095 | 0.836 | 0.0002256
505 | 8.111 | 0.852 | 0.00022991
505.5 | 8.449 | 1.19 | 0.00032112
506 | 9.115 | 1.856 | 0.00050084
506.5 | 9.319 | 2.06 | 0.00055589
507 | 9.473 | 2.214 | 0.00059745
507.5 | 10.18 | 2.921 | 0.00078824
508 | 10.76 | 3.501 | 0.00094475
508.5 | 11.28 | 4.021 | 0.0010851
509 | 10.84 | 3.581 | 0.00096634
509.5 | 10.49 | 3.231 | 0.00087189
510 | 10.22 | 2.961 | 0.00079903
510.5 | 10.55 | 3.291 | 0.00088808
511 | 9.914 | 2.655 | 0.00071646
511.5 | 9.496 | 2.237 | 0.00060366
512 | 9.954 | 2.695 | 0.00072725
512.5 | 10.48 | 3.221 | 0.00086919
513 | 10.31 | 3.051 | 0.00082332
513.5 | 9.902 | 2.643 | 0.00071322
514 | 9.897 | 2.638 | 0.00071187
514.5 | 10.29 | 3.031 | 0.00081792
515 | 11.16 | 3.901 | 0.0010527
515.5 | 11.66 | 4.401 | 0.0011876
516 | 12.88 | 5.621 | 0.0015168
516.5 | 13.22 | 5.961 | 0.0016086
517 | 12.87 | 5.611 | 0.0015141
517.5 | 12.75 | 5.491 | 0.0014818
518 | 11.8 | 4.541 | 0.0012254
518.5 | 10.78 | 3.521 | 0.00095015
519 | 9.651 | 2.392 | 0.00064548
519.5 | 9.49 | 2.231 | 0.00060204
520 | 9.785 | 2.526 | 0.00068165
520.5 | 10.43 | 3.171 | 0.0008557
521 | 10.43 | 3.171 | 0.0008557
521.5 | 10.58 | 3.321 | 0.00089618
522 | 10.61 | 3.351 | 0.00090427
522.5 | 10.56 | 3.301 | 0.00089078
523 | 10.88 | 3.621 | 0.00097713
523.5 | 10.41 | 3.151 | 0.0008503
524 | 10 | 2.741 | 0.00073966
524.5 | 9.742 | 2.483 | 0.00067004
525 | 9.726 | 2.467 | 0.00066572
525.5 | 9.685 | 2.426 | 0.00065466
526 | 9.482 | 2.223 | 0.00059988
526.5 | 9.406 | 2.147 | 0.00057937
527 | 9.969 | 2.71 | 0.0007313
527.5 | 10.2 | 2.941 | 0.00079363
528 | 10.23 | 2.971 | 0.00080173
528.5 | 10.32 | 3.061 | 0.00082602
529 | 10.71 | 3.451 | 0.00093126
529.5 | 10.87 | 3.611 | 0.00097443
530 | 10.86 | 3.601 | 0.00097174
530.5 | 10.39 | 3.131 | 0.00084491
531 | 9.986 | 2.727 | 0.00073589
531.5 | 10.23 | 2.971 | 0.00080173
532 | 9.607 | 2.348 | 0.00063361
532.5 | 9.52 | 2.261 | 0.00061013
533 | 8.848 | 1.589 | 0.00042879
533.5 | 8.657 | 1.398 | 0.00037725
534 | 8.917 | 1.658 | 0.00044741
534.5 | 9.01 | 1.751 | 0.00047251
535 | 9 | 1.741 | 0.00046981
535.5 | 8.574 | 1.315 | 0.00035485
536 | 8.605 | 1.346 | 0.00036322
536.5 | 9.109 | 1.85 | 0.00049923
537 | 8.886 | 1.627 | 0.00043905
537.5 | 9.537 | 2.278 | 0.00061472
538 | 10.67 | 3.411 | 0.00092046
538.5 | 11.43 | 4.171 | 0.0011256
539 | 12.02 | 4.761 | 0.0012848
539.5 | 12.6 | 5.341 | 0.0014413
540 | 12.97 | 5.711 | 0.0015411
540.5 | 12.01 | 4.751 | 0.0012821
541 | 11.58 | 4.321 | 0.001166
541.5 | 12.04 | 4.781 | 0.0012902
542 | 12.65 | 5.391 | 0.0014548
542.5 | 12.71 | 5.451 | 0.001471
543 | 12.9 | 5.641 | 0.0015222
543.5 | 12.68 | 5.421 | 0.0014629
544 | 11.96 | 4.701 | 0.0012686
544.5 | 11.4 | 4.141 | 0.0011175
545 | 11.21 | 3.951 | 0.0010662
545.5 | 11.75 | 4.491 | 0.0012119
546 | 11.97 | 4.711 | 0.0012713
546.5 | 12.56 | 5.301 | 0.0014305
547 | 13.1 | 5.841 | 0.0015762
547.5 | 12.88 | 5.621 | 0.0015168
548 | 12.53 | 5.271 | 0.0014224
548.5 | 12.4 | 5.141 | 0.0013873
549 | 12.65 | 5.391 | 0.0014548
549.5 | 12.73 | 5.471 | 0.0014764
550 | 12.36 | 5.101 | 0.0013765
550.5 | 12.94 | 5.681 | 0.001533
551 | 13.48 | 6.221 | 0.0016787
551.5 | 13.89 | 6.631 | 0.0017894
552 | 14.03 | 6.771 | 0.0018272
552.5 | 14.41 | 7.151 | 0.0019297
553 | 14.99 | 7.731 | 0.0020862
553.5 | 14.71 | 7.451 | 0.0020107
554 | 14.58 | 7.321 | 0.0019756
554.5 | 14.52 | 7.261 | 0.0019594
555 | 15.56 | 8.301 | 0.00224
555.5 | 16.61 | 9.351 | 0.0025234
556 | 17.32 | 10.061 | 0.002715
556.5 | 18.85 | 11.591 | 0.0031278
557 | 21.53 | 14.271 | 0.0038511
557.5 | 24.75 | 17.491 | 0.00472
558 | 26.96 | 19.701 | 0.0053163
558.5 | 29.81 | 22.551 | 0.0060854
559 | 33.91 | 26.651 | 0.0071918
559.5 | 38.26 | 31.001 | 0.0083657
560 | 42.36 | 35.101 | 0.0094721
560.5 | 46.72 | 39.461 | 0.010649
561 | 51.98 | 44.721 | 0.012068
561.5 | 57.52 | 50.261 | 0.013563
562 | 64.18 | 56.921 | 0.01536
562.5 | 70.47 | 63.211 | 0.017058
563 | 76.85 | 69.591 | 0.018779
563.5 | 84.02 | 76.761 | 0.020714
564 | 91.91 | 84.651 | 0.022843
564.5 | 100.6 | 93.341 | 0.025188
565 | 108.1 | 100.841 | 0.027212
565.5 | 115.7 | 108.441 | 0.029263
566 | 122.7 | 115.441 | 0.031152
566.5 | 130.6 | 123.341 | 0.033284
567 | 138.9 | 131.641 | 0.035524
567.5 | 147.4 | 140.141 | 0.037817
568 | 157.1 | 149.841 | 0.040435
568.5 | 167.8 | 160.541 | 0.043322
569 | 179.4 | 172.141 | 0.046453
569.5 | 189.7 | 182.441 | 0.049232
570 | 199.7 | 192.441 | 0.051931
570.5 | 210 | 202.741 | 0.05471
571 | 220 | 212.741 | 0.057408
571.5 | 230.4 | 223.141 | 0.060215
572 | 242 | 234.741 | 0.063345
572.5 | 255.6 | 248.341 | 0.067015
573 | 271.9 | 264.641 | 0.071414
573.5 | 290.3 | 283.041 | 0.076379
574 | 309.5 | 302.241 | 0.08156
574.5 | 330.7 | 323.441 | 0.087281
575 | 354.1 | 346.841 | 0.093596
575.5 | 378 | 370.741 | 0.10005
576 | 401.6 | 394.341 | 0.10641
576.5 | 426 | 418.741 | 0.113
577 | 453.7 | 446.441 | 0.12047
577.5 | 482.9 | 475.641 | 0.12835
578 | 512.8 | 505.541 | 0.13642
578.5 | 544.2 | 536.941 | 0.14489
579 | 576.4 | 569.141 | 0.15358
579.5 | 609.1 | 601.841 | 0.16241
580 | 642.7 | 635.441 | 0.17147
580.5 | 678.5 | 671.241 | 0.18114
581 | 718.3 | 711.041 | 0.19188
581.5 | 761.1 | 753.841 | 0.20343
582 | 810.4 | 803.141 | 0.21673
582.5 | 865.3 | 858.041 | 0.23154
583 | 922 | 914.741 | 0.24684
583.5 | 979.6 | 972.341 | 0.26239
584 | 1038 | 1030.741 | 0.27815
584.5 | 1097 | 1089.741 | 0.29407
585 | 1155 | 1147.741 | 0.30972
585.5 | 1217 | 1209.741 | 0.32645
586 | 1283 | 1275.741 | 0.34426
586.5 | 1356 | 1348.741 | 0.36396
587 | 1431 | 1423.741 | 0.3842
587.5 | 1513 | 1505.741 | 0.40633
588 | 1604 | 1596.741 | 0.43088
588.5 | 1703 | 1695.741 | 0.4576
589 | 1807 | 1799.741 | 0.48566
589.5 | 1916 | 1908.741 | 0.51508
590 | 2031 | 2023.741 | 0.54611
590.5 | 2142 | 2134.741 | 0.57606
591 | 2248 | 2240.741 | 0.60467
591.5 | 2356 | 2348.741 | 0.63381
592 | 2472 | 2464.741 | 0.66511
592.5 | 2600 | 2592.741 | 0.69966
593 | 2733 | 2725.741 | 0.73555
593.5 | 2875 | 2867.741 | 0.77386
594 | 3021 | 3013.741 | 0.81326
594.5 | 3161 | 3153.741 | 0.85104
595 | 3288 | 3280.741 | 0.88531
595.5 | 3404 | 3396.741 | 0.91662
596 | 3501 | 3493.741 | 0.94279
596.5 | 3585 | 3577.741 | 0.96546
597 | 3654 | 3646.741 | 0.98408
597.5 | 3698 | 3690.741 | 0.99595
598 | 3713 | 3705.741 | 1
598.5 | 3710 | 3702.741 | 0.99919
599 | 3700 | 3692.741 | 0.99649
599.5 | 3666 | 3658.741 | 0.98732
600 | 3609 | 3601.741 | 0.97194
600.5 | 3536 | 3528.741 | 0.95224
601 | 3450 | 3442.741 | 0.92903
601.5 | 3339 | 3331.741 | 0.89908
602 | 3194 | 3186.741 | 0.85995
602.5 | 3026 | 3018.741 | 0.81461
603 | 2844 | 2836.741 | 0.7655
603.5 | 2650 | 2642.741 | 0.71315
604 | 2451 | 2443.741 | 0.65945
604.5 | 2257 | 2249.741 | 0.6071
605 | 2080 | 2072.741 | 0.55933
605.5 | 1919 | 1911.741 | 0.51589
606 | 1771 | 1763.741 | 0.47595
606.5 | 1636 | 1628.741 | 0.43952
607 | 1505 | 1497.741 | 0.40417
607.5 | 1381 | 1373.741 | 0.37071
608 | 1264 | 1256.741 | 0.33913
608.5 | 1151 | 1143.741 | 0.30864
609 | 1043 | 1035.741 | 0.2795
609.5 | 943.1 | 935.841 | 0.25254
610 | 853.3 | 846.041 | 0.22831
610.5 | 771.1 | 763.841 | 0.20612
611 | 696.1 | 688.841 | 0.18588
611.5 | 632.1 | 624.841 | 0.16861
612 | 577.8 | 570.541 | 0.15396
612.5 | 531.1 | 523.841 | 0.14136
613 | 490 | 482.741 | 0.13027
613.5 | 451.5 | 444.241 | 0.11988
614 | 416.6 | 409.341 | 0.11046
614.5 | 382.4 | 375.141 | 0.10123
615 | 349 | 341.741 | 0.092219
615.5 | 316.2 | 308.941 | 0.083368
616 | 286.5 | 279.241 | 0.075354
616.5 | 260.7 | 253.441 | 0.068391
617 | 237.3 | 230.041 | 0.062077
617.5 | 217.7 | 210.441 | 0.056788
618 | 200.2 | 192.941 | 0.052065
618.5 | 185 | 177.741 | 0.047964
619 | 172.1 | 164.841 | 0.044483
619.5 | 160.5 | 153.241 | 0.041352
620 | 150.5 | 143.241 | 0.038654
620.5 | 140.6 | 133.341 | 0.035982
621 | 131.5 | 124.241 | 0.033527
621.5 | 122 | 114.741 | 0.030963
622 | 112.9 | 105.641 | 0.028507
622.5 | 105.2 | 97.941 | 0.02643
623 | 98.01 | 90.751 | 0.024489
623.5 | 91.64 | 84.381 | 0.02277
624 | 86.32 | 79.061 | 0.021335
624.5 | 81.4 | 74.141 | 0.020007
625 | 76.82 | 69.561 | 0.018771
625.5 | 72.79 | 65.531 | 0.017684
626 | 68.52 | 61.261 | 0.016531
626.5 | 63.82 | 56.561 | 0.015263
627 | 59.63 | 52.371 | 0.014132
627.5 | 56.67 | 49.411 | 0.013334
628 | 53.51 | 46.251 | 0.012481
628.5 | 50.42 | 43.161 | 0.011647
629 | 48.1 | 40.841 | 0.011021
629.5 | 45.6 | 38.341 | 0.010346
630 | 43.11 | 35.851 | 0.0096744
630.5 | 40.73 | 33.471 | 0.0090322
631 | 38.63 | 31.371 | 0.0084655
631.5 | 37.07 | 29.811 | 0.0080445
632 | 36.54 | 29.281 | 0.0079015
632.5 | 36.04 | 28.781 | 0.0077666
633 | 34.1 | 26.841 | 0.0072431
633.5 | 32.36 | 25.101 | 0.0067735
634 | 30.97 | 23.711 | 0.0063985
634.5 | 29.62 | 22.361 | 0.0060342
635 | 27.34 | 20.081 | 0.0054189
635.5 | 25.32 | 18.061 | 0.0048738
636 | 24.07 | 16.811 | 0.0045365
636.5 | 22.73 | 15.471 | 0.0041749
637 | 21.76 | 14.501 | 0.0039131
637.5 | 20.47 | 13.211 | 0.003565
638 | 20.4 | 13.141 | 0.0035461
638.5 | 20.14 | 12.881 | 0.003476
639 | 19.86 | 12.601 | 0.0034004
639.5 | 19.57 | 12.311 | 0.0033221
640 | 19.94 | 12.681 | 0.003422
640.5 | 19.87 | 12.611 | 0.0034031
641 | 19.4 | 12.141 | 0.0032763
641.5 | 18.48 | 11.221 | 0.003028
642 | 18.06 | 10.801 | 0.0029147
642.5 | 17.58 | 10.321 | 0.0027851
643 | 17.27 | 10.011 | 0.0027015
643.5 | 17.31 | 10.051 | 0.0027123
644 | 17.36 | 10.101 | 0.0027258
644.5 | 16.99 | 9.731 | 0.0026259
645 | 15.95 | 8.691 | 0.0023453
645.5 | 13.98 | 6.721 | 0.0018137
646 | 12.7 | 5.441 | 0.0014683
646.5 | 12.47 | 5.211 | 0.0014062
647 | 12.33 | 5.071 | 0.0013684
647.5 | 12.29 | 5.031 | 0.0013576
648 | 11.91 | 4.651 | 0.0012551
648.5 | 12.25 | 4.991 | 0.0013468
649 | 11.95 | 4.691 | 0.0012659
649.5 | 11.16 | 3.901 | 0.0010527
650 | 10.45 | 3.191 | 0.0008611
650.5 | 10.01 | 2.751 | 0.00074236
651 | 9.584 | 2.325 | 0.0006274
651.5 | 8.472 | 1.213 | 0.00032733
652 | 7.932 | 0.673 | 0.00018161
652.5 | 7.932 | 0.673 | 0.00018161
653 | 8.193 | 0.934 | 0.00025204
653.5 | 8.65 | 1.391 | 0.00037536
654 | 8.866 | 1.607 | 0.00043365
654.5 | 8.916 | 1.657 | 0.00044714
655 | 8.749 | 1.49 | 0.00040208
655.5 | 8.501 | 1.242 | 0.00033516
656 | 9.1 | 1.841 | 0.0004968
656.5 | 10.28 | 3.021 | 0.00081522
657 | 10.9 | 3.641 | 0.00098253
657.5 | 11.37 | 4.111 | 0.0011094
658 | 11.71 | 4.451 | 0.0012011
658.5 | 11.35 | 4.091 | 0.001104
659 | 10.35 | 3.091 | 0.00083411
659.5 | 10.7 | 3.441 | 0.00092856
660 | 10.84 | 3.581 | 0.00096634
660.5 | 11.22 | 3.961 | 0.0010689
661 | 11.94 | 4.681 | 0.0012632
661.5 | 12.12 | 4.861 | 0.0013117
662 | 11.86 | 4.601 | 0.0012416
662.5 | 11.22 | 3.961 | 0.0010689
663 | 11.02 | 3.761 | 0.0010149
663.5 | 10.61 | 3.351 | 0.00090427
664 | 9.961 | 2.702 | 0.00072914
664.5 | 9.594 | 2.335 | 0.0006301
665 | 9.256 | 1.997 | 0.00053889
665.5 | 9.607 | 2.348 | 0.00063361
666 | 9.612 | 2.353 | 0.00063496
666.5 | 9.715 | 2.456 | 0.00066276
667 | 10.06 | 2.801 | 0.00075585
667.5 | 10.16 | 2.901 | 0.00078284
668 | 9.751 | 2.492 | 0.00067247
668.5 | 9.709 | 2.45 | 0.00066114
669 | 9.217 | 1.958 | 0.00052837
669.5 | 8.433 | 1.174 | 0.00031681
670 | 8.033 | 0.774 | 0.00020887
670.5 | 8.689 | 1.43 | 0.00038589
671 | 8.775 | 1.516 | 0.00040909
671.5 | 8.639 | 1.38 | 0.0003724
672 | 8.719 | 1.46 | 0.00039398
672.5 | 8.494 | 1.235 | 0.00033327
673 | 7.178 | 0 | 0
673.5 | 6.048 | 0 | 0
674 | 5.596 | 0 | 0
674.5 | 6.262 | 0 | 0
675 | 5.978 | 0 | 0
675.5 | 6.234 | 0 | 0
676 | 6.887 | 0 | 0
676.5 | 7.774 | 0.515 | 0.00013897
677 | 7.263 | 0.004 | 1.0794e-06
677.5 | 6.876 | 0 | 0
678 | 6.496 | 0 | 0
678.5 | 5.97 | 0 | 0
679 | 5.553 | 0 | 0
679.5 | 5.743 | 0 | 0
680 | 6.039 | 0 | 0
680.5 | 7.457 | 0.198 | 5.3431e-05
681 | 8.455 | 1.196 | 0.00032274
681.5 | 8.694 | 1.435 | 0.00038724
682 | 7.47 | 0.211 | 5.6939e-05
682.5 | 6.62 | 0 | 0
683 | 6.328 | 0 | 0
683.5 | 6.504 | 0 | 0
684 | 7.097 | 0 | 0
684.5 | 8.528 | 1.269 | 0.00034244
685 | 9.001 | 1.742 | 0.00047008
685.5 | 9.266 | 2.007 | 0.00054159
686 | 8.576 | 1.317 | 0.00035539
686.5 | 7.411 | 0.152 | 4.1017e-05
687 | 6.752 | 0 | 0
687.5 | 7.793 | 0.534 | 0.0001441
688 | 7.83 | 0.571 | 0.00015409
688.5 | 7.313 | 0.054 | 1.4572e-05
689 | 6.816 | 0 | 0
689.5 | 6.917 | 0 | 0
690 | 6.512 | 0 | 0
690.5 | 5.665 | 0 | 0
691 | 6.106 | 0 | 0
691.5 | 6.691 | 0 | 0
692 | 6.484 | 0 | 0
692.5 | 6.51 | 0 | 0
693 | 6.488 | 0 | 0
693.5 | 5.856 | 0 | 0
694 | 5.261 | 0 | 0
694.5 | 5.191 | 0 | 0
695 | 5.342 | 0 | 0
695.5 | 6.004 | 0 | 0
696 | 6.974 | 0 | 0
696.5 | 7.159 | 0 | 0
697 | 7.156 | 0 | 0
697.5 | 7.562 | 0.303 | 8.1765e-05
698 | 8.361 | 1.102 | 0.00029738
698.5 | 8.806 | 1.547 | 0.00041746
699 | 9.323 | 2.064 | 0.00055697
699.5 | 9.274 | 2.015 | 0.00054375
700 | 8.452 | 1.193 | 0.00032193
700.5 | 7.181 | 0 | 0
701 | 6.767 | 0 | 0
701.5 | 6.506 | 0 | 0
702 | 6.935 | 0 | 0
702.5 | 6.978 | 0 | 0
703 | 7.057 | 0 | 0
703.5 | 6.383 | 0 | 0
704 | 5.571 | 0 | 0
704.5 | 5.305 | 0 | 0
705 | 5.021 | 0 | 0
705.5 | 5.507 | 0 | 0
706 | 5.43 | 0 | 0
706.5 | 6.275 | 0 | 0
707 | 7.131 | 0 | 0
707.5 | 7.752 | 0.493 | 0.00013304
708 | 7.881 | 0.622 | 0.00016785
708.5 | 8.231 | 0.972 | 0.0002623
709 | 7.32 | 0.061 | 1.6461e-05
709.5 | 6.186 | 0 | 0
710 | 5.107 | 0 | 0
710.5 | 5.255 | 0 | 0
711 | 6.026 | 0 | 0
711.5 | 6.973 | 0 | 0
712 | 8.067 | 0.808 | 0.00021804
712.5 | 8.601 | 1.342 | 0.00036214
713 | 8.651 | 1.392 | 0.00037563
713.5 | 8.264 | 1.005 | 0.0002712
714 | 7.641 | 0.382 | 0.00010308
714.5 | 7.199 | 0 | 0
715 | 6.862 | 0 | 0
715.5 | 7.048 | 0 | 0
716 | 7.156 | 0 | 0
716.5 | 6.932 | 0 | 0
717 | 6.637 | 0 | 0
717.5 | 7.255 | 0 | 0
718 | 6.943 | 0 | 0
718.5 | 6.963 | 0 | 0
719 | 6.903 | 0 | 0
719.5 | 7.47 | 0.211 | 5.6939e-05
720 | 7.103 | 0 | 0
720.5 | 7.432 | 0.173 | 4.6684e-05
721 | 7.341 | 0.082 | 2.2128e-05
721.5 | 7.326 | 0.067 | 1.808e-05
722 | 7.612 | 0.353 | 9.5258e-05
722.5 | 8.052 | 0.793 | 0.00021399
723 | 8.314 | 1.055 | 0.00028469
723.5 | 7.607 | 0.348 | 9.3908e-05
724 | 7.989 | 0.73 | 0.00019699
724.5 | 8.353 | 1.094 | 0.00029522
725 | 9.125 | 1.866 | 0.00050354
725.5 | 8.065 | 0.806 | 0.0002175
726 | 7.892 | 0.633 | 0.00017082
726.5 | 7.136 | 0 | 0
727 | 6.25 | 0 | 0
727.5 | 4.865 | 0 | 0
728 | 5.049 | 0 | 0
728.5 | 5.582 | 0 | 0
729 | 5.888 | 0 | 0
729.5 | 5.685 | 0 | 0
730 | 5.833 | 0 | 0
730.5 | 6.362 | 0 | 0
731 | 6.036 | 0 | 0
731.5 | 6.037 | 0 | 0
732 | 6.27 | 0 | 0
732.5 | 6.198 | 0 | 0
733 | 5.591 | 0 | 0
733.5 | 5.705 | 0 | 0
734 | 5.357 | 0 | 0
734.5 | 5.947 | 0 | 0
735 | 7.098 | 0 | 0
735.5 | 7.813 | 0.554 | 0.0001495
736 | 7.256 | 0 | 0
736.5 | 7.91 | 0.651 | 0.00017567
737 | 7.716 | 0.457 | 0.00012332
737.5 | 7.471 | 0.212 | 5.7209e-05
738 | 7.509 | 0.25 | 6.7463e-05
738.5 | 8.243 | 0.984 | 0.00026553
739 | 8.875 | 1.616 | 0.00043608
739.5 | 8.999 | 1.74 | 0.00046954
740 | 8.297 | 1.038 | 0.00028011
740.5 | 8.033 | 0.774 | 0.00020887
741 | 7.878 | 0.619 | 0.00016704
741.5 | 6.783 | 0 | 0
742 | 6.172 | 0 | 0
742.5 | 6.563 | 0 | 0
743 | 6.926 | 0 | 0
743.5 | 6.955 | 0 | 0
744 | 7.114 | 0 | 0
744.5 | 7.718 | 0.459 | 0.00012386
745 | 7.641 | 0.382 | 0.00010308
745.5 | 7.358 | 0.099 | 2.6715e-05
746 | 7.709 | 0.45 | 0.00012143
746.5 | 8.123 | 0.864 | 0.00023315
747 | 8.042 | 0.783 | 0.00021129
747.5 | 7.831 | 0.572 | 0.00015436
748 | 7.116 | 0 | 0
748.5 | 6.762 | 0 | 0
749 | 6.281 | 0 | 0
749.5 | 5.39 | 0 | 0
750 | 5.696 | 0 | 0
750.5 | 6.567 | 0 | 0
751 | 6.385 | 0 | 0
751.5 | 6.573 | 0 | 0
752 | 6.547 | 0 | 0
752.5 | 5.805 | 0 | 0
753 | 5.459 | 0 | 0
753.5 | 5.506 | 0 | 0
754 | 5.99 | 0 | 0
754.5 | 6.163 | 0 | 0
755 | 5.897 | 0 | 0
755.5 | 5.533 | 0 | 0
756 | 5.162 | 0 | 0
756.5 | 4.89 | 0 | 0
757 | 5.249 | 0 | 0
757.5 | 6.421 | 0 | 0
758 | 6.919 | 0 | 0
758.5 | 7.316 | 0.057 | 1.5382e-05
759 | 7.039 | 0 | 0
759.5 | 6.868 | 0 | 0
760 | 6.82 | 0 | 0
760.5 | 7.705 | 0.446 | 0.00012035
761 | 7.471 | 0.212 | 5.7209e-05
761.5 | 7.793 | 0.534 | 0.0001441
762 | 8.111 | 0.852 | 0.00022991
762.5 | 8.295 | 1.036 | 0.00027957
763 | 8.168 | 0.909 | 0.0002453
763.5 | 8.587 | 1.328 | 0.00035836
764 | 8.201 | 0.942 | 0.0002542
764.5 | 7.961 | 0.702 | 0.00018944
765 | 7.564 | 0.305 | 8.2305e-05
765.5 | 7.01 | 0 | 0
766 | 7.436 | 0.177 | 4.7764e-05
766.5 | 8.499 | 1.24 | 0.00033462
767 | 8.875 | 1.616 | 0.00043608
767.5 | 9.26 | 2.001 | 0.00053997
768 | 9.216 | 1.957 | 0.0005281
768.5 | 8.799 | 1.54 | 0.00041557
769 | 8.216 | 0.957 | 0.00025825
769.5 | 7.422 | 0.163 | 4.3986e-05
770 | 6.405 | 0 | 0
770.5 | 6.254 | 0 | 0
771 | 6.135 | 0 | 0
771.5 | 6.393 | 0 | 0
772 | 7.855 | 0.596 | 0.00016083
772.5 | 8.309 | 1.05 | 0.00028334
773 | 8.304 | 1.045 | 0.00028199
773.5 | 9.704 | 2.445 | 0.00065979
774 | 9.953 | 2.694 | 0.00072698
774.5 | 8.336 | 1.077 | 0.00029063
775 | 7.975 | 0.716 | 0.00019321
775.5 | 7.755 | 0.496 | 0.00013385
776 | 6.938 | 0 | 0
776.5 | 6.842 | 0 | 0
777 | 6.982 | 0 | 0
777.5 | 6.383 | 0 | 0
778 | 5.86 | 0 | 0
778.5 | 5.39 | 0 | 0
779 | 5.409 | 0 | 0
779.5 | 6.053 | 0 | 0
780 | 6.273 | 0 | 0
780.5 | 5.91 | 0 | 0
781 | 5.7 | 0 | 0
781.5 | 5.552 | 0 | 0
782 | 5.186 | 0 | 0
782.5 | 5.605 | 0 | 0
783 | 5.943 | 0 | 0
783.5 | 5.316 | 0 | 0
784 | 5.611 | 0 | 0
784.5 | 6.281 | 0 | 0
785 | 6.434 | 0 | 0
785.5 | 6.079 | 0 | 0
786 | 6.715 | 0 | 0
786.5 | 6.955 | 0 | 0
787 | 7.276 | 0.017 | 4.5875e-06
787.5 | 7.793 | 0.534 | 0.0001441
788 | 8.748 | 1.489 | 0.00040181
788.5 | 9.239 | 1.98 | 0.00053431
789 | 8.875 | 1.616 | 0.00043608
789.5 | 8.632 | 1.373 | 0.00037051
790 | 9.039 | 1.78 | 0.00048034
790.5 | 8.399 | 1.14 | 0.00030763
791 | 8.112 | 0.853 | 0.00023018
791.5 | 7.808 | 0.549 | 0.00014815
792 | 6.81 | 0 | 0
792.5 | 5.91 | 0 | 0
793 | 6.006 | 0 | 0
793.5 | 5.976 | 0 | 0
794 | 6.535 | 0 | 0
794.5 | 6.604 | 0 | 0
795 | 6.561 | 0 | 0
795.5 | 6.036 | 0 | 0
796 | 5.856 | 0 | 0
796.5 | 6.018 | 0 | 0
797 | 7.118 | 0 | 0
797.5 | 8.17 | 0.911 | 0.00024583
798 | 8.893 | 1.634 | 0.00044094
798.5 | 8.594 | 1.335 | 0.00036025
799 | 7.894 | 0.635 | 0.00017136
799.5 | 6.704 | 0 | 0
800 | 6.479 | 0 | 0
800.5 | 6.846 | 0 | 0
801 | 7.359 | 0.1 | 2.6985e-05
801.5 | 8.048 | 0.789 | 0.00021291
802 | 7.679 | 0.42 | 0.00011334
802.5 | 6.766 | 0 | 0
803 | 6.302 | 0 | 0
803.5 | 5.137 | 0 | 0
804 | 4.897 | 0 | 0
804.5 | 5.328 | 0 | 0
805 | 5.145 | 0 | 0
805.5 | 4.987 | 0 | 0
806 | 6.64 | 0 | 0
806.5 | 6.664 | 0 | 0
807 | 7.373 | 0.114 | 3.0763e-05
807.5 | 8.191 | 0.932 | 0.0002515
808 | 8.269 | 1.01 | 0.00027255
808.5 | 8.421 | 1.162 | 0.00031357
809 | 9.498 | 2.239 | 0.0006042
809.5 | 9.038 | 1.779 | 0.00048007
810 | 8.974 | 1.715 | 0.0004628
810.5 | 9.144 | 1.885 | 0.00050867
811 | 9.51 | 2.251 | 0.00060744
811.5 | 9.395 | 2.136 | 0.0005764
812 | 9.413 | 2.154 | 0.00058126
812.5 | 9.165 | 1.906 | 0.00051434
813 | 9.233 | 1.974 | 0.00053269
813.5 | 8.53 | 1.271 | 0.00034298
814 | 7.432 | 0.173 | 4.6684e-05
814.5 | 8.159 | 0.9 | 0.00024287
815 | 7.775 | 0.516 | 0.00013924
815.5 | 6.99 | 0 | 0
816 | 7.256 | 0 | 0
816.5 | 8.199 | 0.94 | 0.00025366
817 | 8.095 | 0.836 | 0.0002256
817.5 | 8.778 | 1.519 | 0.0004099
818 | 8.781 | 1.522 | 0.00041071
818.5 | 8.826 | 1.567 | 0.00042286
819 | 8.341 | 1.082 | 0.00029198
819.5 | 8.874 | 1.615 | 0.00043581
820 | 9.454 | 2.195 | 0.00059232
820.5 | 9.586 | 2.327 | 0.00062794
821 | 9.955 | 2.696 | 0.00072752
821.5 | 10.61 | 3.351 | 0.00090427
822 | 10.25 | 2.991 | 0.00080713
822.5 | 9.216 | 1.957 | 0.0005281
823 | 8.514 | 1.255 | 0.00033866
823.5 | 8.202 | 0.943 | 0.00025447
824 | 7.967 | 0.708 | 0.00019105
824.5 | 8.47 | 1.211 | 0.00032679
825 | 8.433 | 1.174 | 0.00031681
825.5 | 7.517 | 0.258 | 6.9622e-05
826 | 7.388 | 0.129 | 3.4811e-05
826.5 | 6.555 | 0 | 0
827 | 6.247 | 0 | 0
827.5 | 6.973 | 0 | 0
828 | 7.53 | 0.271 | 7.313e-05
828.5 | 7.1 | 0 | 0
829 | 6.995 | 0 | 0
829.5 | 7.16 | 0 | 0
830 | 6.668 | 0 | 0
830.5 | 5.988 | 0 | 0
831 | 6.419 | 0 | 0
831.5 | 7.066 | 0 | 0
832 | 7.734 | 0.475 | 0.00012818
832.5 | 8.532 | 1.273 | 0.00034352
833 | 7.892 | 0.633 | 0.00017082
833.5 | 7.42 | 0.161 | 4.3446e-05
834 | 8.513 | 1.254 | 0.00033839
834.5 | 9.072 | 1.813 | 0.00048924
835 | 9.786 | 2.527 | 0.00068191
835.5 | 10.15 | 2.891 | 0.00078014
836 | 10.53 | 3.271 | 0.00088268
836.5 | 9.762 | 2.503 | 0.00067544
837 | 9.75 | 2.491 | 0.0006722
837.5 | 10.12 | 2.861 | 0.00077205
838 | 10.41 | 3.151 | 0.0008503
838.5 | 9.46 | 2.201 | 0.00059394
839 | 9.175 | 1.916 | 0.00051704
839.5 | 9.469 | 2.21 | 0.00059637
840 | 8.699 | 1.44 | 0.00038859
840.5 | 9.306 | 2.047 | 0.00055239
841 | 8.75 | 1.491 | 0.00040235
841.5 | 8.189 | 0.93 | 0.00025096
842 | 8.539 | 1.28 | 0.00034541
842.5 | 8.357 | 1.098 | 0.0002963
843 | 8.012 | 0.753 | 0.0002032
843.5 | 8.38 | 1.121 | 0.0003025
844 | 8.922 | 1.663 | 0.00044876
844.5 | 9.439 | 2.18 | 0.00058828
845 | 9.947 | 2.688 | 0.00072536
845.5 | 9.465 | 2.206 | 0.00059529
846 | 8.25 | 0.991 | 0.00026742
846.5 | 7.853 | 0.594 | 0.00016029
847 | 8.164 | 0.905 | 0.00024422
847.5 | 8.271 | 1.012 | 0.00027309
848 | 8.475 | 1.216 | 0.00032814
848.5 | 8.303 | 1.044 | 0.00028173
849 | 6.951 | 0 | 0
849.5 | 5.823 | 0 | 0
850 | 6.154 | 0 | 0
850.5 | 6.724 | 0 | 0
851 | 7.269 | 0.01 | 2.6985e-06
851.5 | 7.901 | 0.642 | 0.00017324
852 | 7.853 | 0.594 | 0.00016029
852.5 | 7.455 | 0.196 | 5.2891e-05
853 | 6.962 | 0 | 0
853.5 | 6.803 | 0 | 0
854 | 6.197 | 0 | 0
854.5 | 6.027 | 0 | 0
855 | 6.186 | 0 | 0
855.5 | 5.785 | 0 | 0
856 | 5.064 | 0 | 0
856.5 | 5 | 0 | 0
857 | 6.162 | 0 | 0
857.5 | 7.02 | 0 | 0
858 | 8.811 | 1.552 | 0.00041881
858.5 | 9.711 | 2.452 | 0.00066168
859 | 9.067 | 1.808 | 0.00048789
859.5 | 8.96 | 1.701 | 0.00045902
860 | 8 | 0.741 | 0.00019996
860.5 | 8.188 | 0.929 | 0.00025069
861 | 7.586 | 0.327 | 8.8241e-05
861.5 | 6.832 | 0 | 0
862 | 8.012 | 0.753 | 0.0002032
862.5 | 8.076 | 0.817 | 0.00022047
863 | 7.941 | 0.682 | 0.00018404
863.5 | 8.577 | 1.318 | 0.00035566
864 | 7.842 | 0.583 | 0.00015732
864.5 | 7.535 | 0.276 | 7.4479e-05
865 | 8.149 | 0.89 | 0.00024017
865.5 | 8.565 | 1.306 | 0.00035243
866 | 9.111 | 1.852 | 0.00049977
866.5 | 9.553 | 2.294 | 0.00061904
867 | 8.517 | 1.258 | 0.00033947
867.5 | 8.699 | 1.44 | 0.00038859
868 | 8.654 | 1.395 | 0.00037644
868.5 | 7.537 | 0.278 | 7.5019e-05
869 | 8.233 | 0.974 | 0.00026284
869.5 | 8.778 | 1.519 | 0.0004099
870 | 8.349 | 1.09 | 0.00029414
870.5 | 8.062 | 0.803 | 0.00021669
871 | 7.288 | 0.029 | 7.8257e-06
871.5 | 6.986 | 0 | 0
872 | 6.705 | 0 | 0
872.5 | 7.287 | 0.028 | 7.5558e-06
873 | 6.995 | 0 | 0
873.5 | 6.648 | 0 | 0
874 | 6.022 | 0 | 0
874.5 | 6.241 | 0 | 0
875 | 7.31 | 0.051 | 1.3762e-05
875.5 | 7.28 | 0.021 | 5.6669e-06
876 | 7.652 | 0.393 | 0.00010605
876.5 | 8.323 | 1.064 | 0.00028712
877 | 7.86 | 0.601 | 0.00016218
877.5 | 7.309 | 0.05 | 1.3493e-05
878 | 6.598 | 0 | 0
878.5 | 6.054 | 0 | 0
879 | 6.046 | 0 | 0
879.5 | 6.23 | 0 | 0
880 | 6.922 | 0 | 0
880.5 | 7.091 | 0 | 0
881 | 6.439 | 0 | 0
881.5 | 7.634 | 0.375 | 0.00010119
882 | 8.358 | 1.099 | 0.00029657
882.5 | 8.648 | 1.389 | 0.00037482
883 | 9.519 | 2.26 | 0.00060986
883.5 | 9.188 | 1.929 | 0.00052054
884 | 8.922 | 1.663 | 0.00044876
884.5 | 8.465 | 1.206 | 0.00032544
885 | 8.557 | 1.298 | 0.00035027
885.5 | 8.471 | 1.212 | 0.00032706
886 | 9.479 | 2.22 | 0.00059907
886.5 | 8.934 | 1.675 | 0.000452