## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 103.4 | 102.9131 | 0.026909
246.5 | 69.37 | 68.8831 | 0.018011
247 | 54.33 | 53.8431 | 0.014078
247.5 | 39.3 | 38.8131 | 0.010149
248 | 24.88 | 24.3931 | 0.0063781
248.5 | 12.18 | 11.6931 | 0.0030574
249 | 1.565 | 1.0781 | 0.00028189
249.5 | -5.624 | 0 | 0
250 | -8.619 | 0 | 0
250.5 | -6.818 | 0 | 0
251 | 0.4869 | 0 | 0
251.5 | 0.8934 | 0.4065 | 0.00010629
252 | 0.8588 | 0.3719 | 9.7241e-05
252.5 | 0.539 | 0.0521 | 1.3623e-05
253 | 0.239 | 0 | 0
253.5 | 0.01295 | 0 | 0
254 | -0.04975 | 0 | 0
254.5 | 0.1187 | 0 | 0
255 | 0.3272 | 0 | 0
255.5 | 0.3731 | 0 | 0
256 | 0.4418 | 0 | 0
256.5 | 0.3195 | 0 | 0
257 | 0.09609 | 0 | 0
257.5 | 0.1033 | 0 | 0
258 | 0.1022 | 0 | 0
258.5 | 0.07308 | 0 | 0
259 | 0.06576 | 0 | 0
259.5 | 0.08439 | 0 | 0
260 | 0.1186 | 0 | 0
260.5 | 0.1399 | 0 | 0
261 | 0.1429 | 0 | 0
261.5 | 0.1341 | 0 | 0
262 | 0.1291 | 0 | 0
262.5 | 0.1268 | 0 | 0
263 | 0.1162 | 0 | 0
263.5 | 0.1054 | 0 | 0
264 | 0.09973 | 0 | 0
264.5 | 0.09456 | 0 | 0
265 | 0.09646 | 0 | 0
265.5 | 0.1119 | 0 | 0
266 | 0.1393 | 0 | 0
266.5 | 0.1835 | 0 | 0
267 | 0.2353 | 0 | 0
267.5 | 0.2833 | 0 | 0
268 | 0.3181 | 0 | 0
268.5 | 0.3347 | 0 | 0
269 | 0.3488 | 0 | 0
269.5 | 0.3472 | 0 | 0
270 | 0.3284 | 0 | 0
270.5 | 0.3012 | 0 | 0
271 | 0.2738 | 0 | 0
271.5 | 0.2528 | 0 | 0
272 | 0.2439 | 0 | 0
272.5 | 0.2357 | 0 | 0
273 | 0.243 | 0 | 0
273.5 | 0.2725 | 0 | 0
274 | 0.3073 | 0 | 0
274.5 | 0.3432 | 0 | 0
275 | 0.3704 | 0 | 0
275.5 | 0.4047 | 0 | 0
276 | 0.4402 | 0 | 0
276.5 | 0.4852 | 0 | 0
277 | 0.5268 | 0.0399 | 1.0433e-05
277.5 | 0.5678 | 0.0809 | 2.1153e-05
278 | 0.608 | 0.1211 | 3.1664e-05
278.5 | 0.6462 | 0.1593 | 4.1652e-05
279 | 0.6958 | 0.2089 | 5.4621e-05
279.5 | 0.7517 | 0.2648 | 6.9238e-05
280 | 0.8111 | 0.3242 | 8.4769e-05
280.5 | 0.8718 | 0.3849 | 0.00010064
281 | 0.9457 | 0.4588 | 0.00011996
281.5 | 1.029 | 0.5421 | 0.00014174
282 | 1.122 | 0.6351 | 0.00016606
282.5 | 1.247 | 0.7601 | 0.00019874
283 | 1.403 | 0.9161 | 0.00023953
283.5 | 1.574 | 1.0871 | 0.00028425
284 | 1.752 | 1.2651 | 0.00033079
284.5 | 1.917 | 1.4301 | 0.00037393
285 | 2.049 | 1.5621 | 0.00040844
285.5 | 2.148 | 1.6611 | 0.00043433
286 | 2.198 | 1.7111 | 0.0004474
286.5 | 2.23 | 1.7431 | 0.00045577
287 | 2.238 | 1.7511 | 0.00045786
287.5 | 2.21 | 1.7231 | 0.00045054
288 | 2.152 | 1.6651 | 0.00043538
288.5 | 2.071 | 1.5841 | 0.0004142
289 | 1.989 | 1.5021 | 0.00039276
289.5 | 1.903 | 1.4161 | 0.00037027
290 | 1.822 | 1.3351 | 0.00034909
290.5 | 1.742 | 1.2551 | 0.00032817
291 | 1.661 | 1.1741 | 0.00030699
291.5 | 1.573 | 1.0861 | 0.00028398
292 | 1.473 | 0.9861 | 0.00025784
292.5 | 1.366 | 0.8791 | 0.00022986
293 | 1.256 | 0.7691 | 0.0002011
293.5 | 1.154 | 0.6671 | 0.00017443
294 | 1.063 | 0.5761 | 0.00015063
294.5 | 0.9903 | 0.5034 | 0.00013162
295 | 0.9123 | 0.4254 | 0.00011123
295.5 | 0.8241 | 0.3372 | 8.8168e-05
296 | 0.7213 | 0.2344 | 6.1289e-05
296.5 | 0.6177 | 0.1308 | 3.42e-05
297 | 0.5216 | 0.0347 | 9.0731e-06
297.5 | 0.4366 | 0 | 0
298 | 0.3708 | 0 | 0
298.5 | 0.3163 | 0 | 0
299 | 0.2665 | 0 | 0
299.5 | 0.2108 | 0 | 0
300 | 0.1721 | 0 | 0
300.5 | 0.1446 | 0 | 0
301 | 0.1319 | 0 | 0
301.5 | 0.1308 | 0 | 0
302 | 0.1392 | 0 | 0
302.5 | 0.1607 | 0 | 0
303 | 0.1937 | 0 | 0
303.5 | 0.2529 | 0 | 0
304 | 0.3393 | 0 | 0
304.5 | 0.4594 | 0 | 0
305 | 0.5882 | 0.1013 | 2.6487e-05
305.5 | 0.7233 | 0.2364 | 6.1812e-05
306 | 0.846 | 0.3591 | 9.3894e-05
306.5 | 0.9486 | 0.4617 | 0.00012072
307 | 1.022 | 0.5351 | 0.00013991
307.5 | 1.087 | 0.6001 | 0.00015691
308 | 1.136 | 0.6491 | 0.00016972
308.5 | 1.166 | 0.6791 | 0.00017757
309 | 1.183 | 0.6961 | 0.00018201
309.5 | 1.193 | 0.7061 | 0.00018462
310 | 1.22 | 0.7331 | 0.00019168
310.5 | 1.266 | 0.7791 | 0.00020371
311 | 1.332 | 0.8451 | 0.00022097
311.5 | 1.41 | 0.9231 | 0.00024136
312 | 1.495 | 1.0081 | 0.00026359
312.5 | 1.581 | 1.0941 | 0.00028608
313 | 1.67 | 1.1831 | 0.00030935
313.5 | 1.756 | 1.2691 | 0.00033183
314 | 1.843 | 1.3561 | 0.00035458
314.5 | 1.927 | 1.4401 | 0.00037654
315 | 2 | 1.5131 | 0.00039563
315.5 | 2.051 | 1.5641 | 0.00040897
316 | 2.075 | 1.5881 | 0.00041524
316.5 | 2.069 | 1.5821 | 0.00041367
317 | 2.045 | 1.5581 | 0.0004074
317.5 | 2.025 | 1.5381 | 0.00040217
318 | 2.01 | 1.5231 | 0.00039825
318.5 | 1.993 | 1.5061 | 0.0003938
319 | 1.968 | 1.4811 | 0.00038726
319.5 | 1.937 | 1.4501 | 0.00037916
320 | 1.901 | 1.4141 | 0.00036975
320.5 | 1.863 | 1.3761 | 0.00035981
321 | 1.838 | 1.3511 | 0.00035327
321.5 | 1.823 | 1.3361 | 0.00034935
322 | 1.801 | 1.3141 | 0.0003436
322.5 | 1.744 | 1.2571 | 0.0003287
323 | 1.655 | 1.1681 | 0.00030542
323.5 | 1.556 | 1.0691 | 0.00027954
324 | 1.456 | 0.9691 | 0.00025339
324.5 | 1.373 | 0.8861 | 0.00023169
325 | 1.318 | 0.8311 | 0.00021731
325.5 | 1.28 | 0.7931 | 0.00020737
326 | 1.252 | 0.7651 | 0.00020005
326.5 | 1.223 | 0.7361 | 0.00019247
327 | 1.191 | 0.7041 | 0.0001841
327.5 | 1.161 | 0.6741 | 0.00017626
328 | 1.145 | 0.6581 | 0.00017207
328.5 | 1.132 | 0.6451 | 0.00016868
329 | 1.115 | 0.6281 | 0.00016423
329.5 | 1.099 | 0.6121 | 0.00016005
330 | 1.075 | 0.5881 | 0.00015377
330.5 | 1.05 | 0.5631 | 0.00014723
331 | 1.043 | 0.5561 | 0.0001454
331.5 | 1.06 | 0.5731 | 0.00014985
332 | 1.088 | 0.6011 | 0.00015717
332.5 | 1.119 | 0.6321 | 0.00016528
333 | 1.149 | 0.6621 | 0.00017312
333.5 | 1.169 | 0.6821 | 0.00017835
334 | 1.175 | 0.6881 | 0.00017992
334.5 | 1.167 | 0.6801 | 0.00017783
335 | 1.15 | 0.6631 | 0.00017338
335.5 | 1.137 | 0.6501 | 0.00016998
336 | 1.105 | 0.6181 | 0.00016162
336.5 | 1.069 | 0.5821 | 0.0001522
337 | 1.045 | 0.5581 | 0.00014593
337.5 | 1.021 | 0.5341 | 0.00013965
338 | 1.006 | 0.5191 | 0.00013573
338.5 | 1.016 | 0.5291 | 0.00013834
339 | 1.039 | 0.5521 | 0.00014436
339.5 | 1.07 | 0.5831 | 0.00015246
340 | 1.112 | 0.6251 | 0.00016345
340.5 | 1.176 | 0.6891 | 0.00018018
341 | 1.264 | 0.7771 | 0.00020319
341.5 | 1.359 | 0.8721 | 0.00022803
342 | 1.435 | 0.9481 | 0.0002479
342.5 | 1.49 | 1.0031 | 0.00026228
343 | 1.521 | 1.0341 | 0.00027039
343.5 | 1.52 | 1.0331 | 0.00027013
344 | 1.498 | 1.0111 | 0.00026437
344.5 | 1.481 | 0.9941 | 0.00025993
345 | 1.466 | 0.9791 | 0.00025601
345.5 | 1.465 | 0.9781 | 0.00025574
346 | 1.489 | 1.0021 | 0.00026202
346.5 | 1.529 | 1.0421 | 0.00027248
347 | 1.59 | 1.1031 | 0.00028843
347.5 | 1.683 | 1.1961 | 0.00031275
348 | 1.812 | 1.3251 | 0.00034648
348.5 | 1.968 | 1.4811 | 0.00038726
349 | 2.114 | 1.6271 | 0.00042544
349.5 | 2.229 | 1.7421 | 0.00045551
350 | 2.318 | 1.8311 | 0.00047878
350.5 | 2.383 | 1.8961 | 0.00049578
351 | 2.422 | 1.9351 | 0.00050597
351.5 | 2.451 | 1.9641 | 0.00051356
352 | 2.475 | 1.9881 | 0.00051983
352.5 | 2.491 | 2.0041 | 0.00052401
353 | 2.49 | 2.0031 | 0.00052375
353.5 | 2.485 | 1.9981 | 0.00052245
354 | 2.481 | 1.9941 | 0.0005214
354.5 | 2.497 | 2.0101 | 0.00052558
355 | 2.542 | 2.0551 | 0.00053735
355.5 | 2.618 | 2.1311 | 0.00055722
356 | 2.724 | 2.2371 | 0.00058494
356.5 | 2.838 | 2.3511 | 0.00061474
357 | 2.951 | 2.4641 | 0.00064429
357.5 | 3.064 | 2.5771 | 0.00067384
358 | 3.16 | 2.6731 | 0.00069894
358.5 | 3.237 | 2.7501 | 0.00071907
359 | 3.297 | 2.8101 | 0.00073476
359.5 | 3.341 | 2.8541 | 0.00074626
360 | 3.351 | 2.8641 | 0.00074888
360.5 | 3.323 | 2.8361 | 0.00074156
361 | 3.267 | 2.7801 | 0.00072692
361.5 | 3.207 | 2.7201 | 0.00071123
362 | 3.152 | 2.6651 | 0.00069685
362.5 | 3.099 | 2.6121 | 0.00068299
363 | 3.049 | 2.5621 | 0.00066992
363.5 | 2.998 | 2.5111 | 0.00065658
364 | 2.936 | 2.4491 | 0.00064037
364.5 | 2.863 | 2.3761 | 0.00062128
365 | 2.772 | 2.2851 | 0.00059749
365.5 | 2.67 | 2.1831 | 0.00057082
366 | 2.575 | 2.0881 | 0.00054598
366.5 | 2.484 | 1.9971 | 0.00052218
367 | 2.394 | 1.9071 | 0.00049865
367.5 | 2.288 | 1.8011 | 0.00047094
368 | 2.163 | 1.6761 | 0.00043825
368.5 | 2.038 | 1.5511 | 0.00040557
369 | 1.928 | 1.4411 | 0.00037681
369.5 | 1.822 | 1.3351 | 0.00034909
370 | 1.71 | 1.2231 | 0.00031981
370.5 | 1.61 | 1.1231 | 0.00029366
371 | 1.517 | 1.0301 | 0.00026934
371.5 | 1.435 | 0.9481 | 0.0002479
372 | 1.355 | 0.8681 | 0.00022698
372.5 | 1.275 | 0.7881 | 0.00020607
373 | 1.199 | 0.7121 | 0.00018619
373.5 | 1.133 | 0.6461 | 0.00016894
374 | 1.087 | 0.6001 | 0.00015691
374.5 | 1.055 | 0.5681 | 0.00014854
375 | 1.035 | 0.5481 | 0.00014331
375.5 | 1.037 | 0.5501 | 0.00014384
376 | 1.059 | 0.5721 | 0.00014959
376.5 | 1.087 | 0.6001 | 0.00015691
377 | 1.12 | 0.6331 | 0.00016554
377.5 | 1.171 | 0.6841 | 0.00017887
378 | 1.23 | 0.7431 | 0.0001943
378.5 | 1.292 | 0.8051 | 0.00021051
379 | 1.344 | 0.8571 | 0.00022411
379.5 | 1.371 | 0.8841 | 0.00023117
380 | 1.394 | 0.9071 | 0.00023718
380.5 | 1.408 | 0.9211 | 0.00024084
381 | 1.404 | 0.9171 | 0.0002398
381.5 | 1.388 | 0.9011 | 0.00023561
382 | 1.375 | 0.8881 | 0.00023221
382.5 | 1.356 | 0.8691 | 0.00022724
383 | 1.326 | 0.8391 | 0.0002194
383.5 | 1.284 | 0.7971 | 0.00020842
384 | 1.242 | 0.7551 | 0.00019744
384.5 | 1.212 | 0.7251 | 0.00018959
385 | 1.206 | 0.7191 | 0.00018802
385.5 | 1.217 | 0.7301 | 0.0001909
386 | 1.242 | 0.7551 | 0.00019744
386.5 | 1.264 | 0.7771 | 0.00020319
387 | 1.282 | 0.7951 | 0.0002079
387.5 | 1.281 | 0.7941 | 0.00020763
388 | 1.268 | 0.7811 | 0.00020424
388.5 | 1.259 | 0.7721 | 0.00020188
389 | 1.266 | 0.7791 | 0.00020371
389.5 | 1.277 | 0.7901 | 0.00020659
390 | 1.29 | 0.8031 | 0.00020999
390.5 | 1.31 | 0.8231 | 0.00021522
391 | 1.337 | 0.8501 | 0.00022228
391.5 | 1.387 | 0.9001 | 0.00023535
392 | 1.456 | 0.9691 | 0.00025339
392.5 | 1.53 | 1.0431 | 0.00027274
393 | 1.612 | 1.1251 | 0.00029418
393.5 | 1.695 | 1.2081 | 0.00031588
394 | 1.759 | 1.2721 | 0.00033262
394.5 | 1.803 | 1.3161 | 0.00034412
395 | 1.857 | 1.3701 | 0.00035824
395.5 | 1.915 | 1.4281 | 0.00037341
396 | 1.981 | 1.4941 | 0.00039066
396.5 | 2.051 | 1.5641 | 0.00040897
397 | 2.111 | 1.6241 | 0.00042466
397.5 | 2.147 | 1.6601 | 0.00043407
398 | 2.161 | 1.6741 | 0.00043773
398.5 | 2.171 | 1.6841 | 0.00044034
399 | 2.174 | 1.6871 | 0.00044113
399.5 | 2.172 | 1.6851 | 0.00044061
400 | 2.162 | 1.6751 | 0.00043799
400.5 | 2.147 | 1.6601 | 0.00043407
401 | 2.112 | 1.6251 | 0.00042492
401.5 | 2.05 | 1.5631 | 0.00040871
402 | 1.971 | 1.4841 | 0.00038805
402.5 | 1.875 | 1.3881 | 0.00036295
403 | 1.773 | 1.2861 | 0.00033628
403.5 | 1.67 | 1.1831 | 0.00030935
404 | 1.57 | 1.0831 | 0.0002832
404.5 | 1.486 | 0.9991 | 0.00026124
405 | 1.413 | 0.9261 | 0.00024215
405.5 | 1.361 | 0.8741 | 0.00022855
406 | 1.333 | 0.8461 | 0.00022123
406.5 | 1.329 | 0.8421 | 0.00022018
407 | 1.327 | 0.8401 | 0.00021966
407.5 | 1.332 | 0.8451 | 0.00022097
408 | 1.354 | 0.8671 | 0.00022672
408.5 | 1.378 | 0.8911 | 0.000233
409 | 1.4 | 0.9131 | 0.00023875
409.5 | 1.424 | 0.9371 | 0.00024502
410 | 1.447 | 0.9601 | 0.00025104
410.5 | 1.474 | 0.9871 | 0.0002581
411 | 1.518 | 1.0311 | 0.0002696
411.5 | 1.596 | 1.1091 | 0.00029
412 | 1.678 | 1.1911 | 0.00031144
412.5 | 1.762 | 1.2751 | 0.0003334
413 | 1.851 | 1.3641 | 0.00035667
413.5 | 1.937 | 1.4501 | 0.00037916
414 | 2.018 | 1.5311 | 0.00040034
414.5 | 2.089 | 1.6021 | 0.0004189
415 | 2.156 | 1.6691 | 0.00043642
415.5 | 2.202 | 1.7151 | 0.00044845
416 | 2.212 | 1.7251 | 0.00045106
416.5 | 2.189 | 1.7021 | 0.00044505
417 | 2.13 | 1.6431 | 0.00042962
417.5 | 2.06 | 1.5731 | 0.00041132
418 | 1.994 | 1.5071 | 0.00039406
418.5 | 1.951 | 1.4641 | 0.00038282
419 | 1.911 | 1.4241 | 0.00037236
419.5 | 1.882 | 1.3951 | 0.00036478
420 | 1.857 | 1.3701 | 0.00035824
420.5 | 1.838 | 1.3511 | 0.00035327
421 | 1.833 | 1.3461 | 0.00035197
421.5 | 1.855 | 1.3681 | 0.00035772
422 | 1.902 | 1.4151 | 0.00037001
422.5 | 1.953 | 1.4661 | 0.00038334
423 | 1.992 | 1.5051 | 0.00039354
423.5 | 2.021 | 1.5341 | 0.00040112
424 | 2.052 | 1.5651 | 0.00040923
424.5 | 2.094 | 1.6071 | 0.00042021
425 | 2.142 | 1.6551 | 0.00043276
425.5 | 2.194 | 1.7071 | 0.00044636
426 | 2.246 | 1.7591 | 0.00045995
426.5 | 2.3 | 1.8131 | 0.00047407
427 | 2.355 | 1.8681 | 0.00048845
427.5 | 2.421 | 1.9341 | 0.00050571
428 | 2.5 | 2.0131 | 0.00052637
428.5 | 2.612 | 2.1251 | 0.00055565
429 | 2.721 | 2.2341 | 0.00058415
429.5 | 2.816 | 2.3291 | 0.00060899
430 | 2.884 | 2.3971 | 0.00062677
430.5 | 2.935 | 2.4481 | 0.00064011
431 | 2.971 | 2.4841 | 0.00064952
431.5 | 2.985 | 2.4981 | 0.00065318
432 | 2.968 | 2.4811 | 0.00064874
432.5 | 2.931 | 2.4441 | 0.00063906
433 | 2.882 | 2.3951 | 0.00062625
433.5 | 2.809 | 2.3221 | 0.00060716
434 | 2.716 | 2.2291 | 0.00058285
434.5 | 2.616 | 2.1291 | 0.0005567
435 | 2.522 | 2.0351 | 0.00053212
435.5 | 2.434 | 1.9471 | 0.00050911
436 | 2.329 | 1.8421 | 0.00048166
436.5 | 2.223 | 1.7361 | 0.00045394
437 | 2.12 | 1.6331 | 0.00042701
437.5 | 2.026 | 1.5391 | 0.00040243
438 | 1.945 | 1.4581 | 0.00038125
438.5 | 1.869 | 1.3821 | 0.00036138
439 | 1.797 | 1.3101 | 0.00034255
439.5 | 1.727 | 1.2401 | 0.00032425
440 | 1.643 | 1.1561 | 0.00030229
440.5 | 1.548 | 1.0611 | 0.00027745
441 | 1.471 | 0.9841 | 0.00025731
441.5 | 1.426 | 0.9391 | 0.00024555
442 | 1.415 | 0.9281 | 0.00024267
442.5 | 1.428 | 0.9411 | 0.00024607
443 | 1.455 | 0.9681 | 0.00025313
443.5 | 1.518 | 1.0311 | 0.0002696
444 | 1.606 | 1.1191 | 0.00029261
444.5 | 1.71 | 1.2231 | 0.00031981
445 | 1.821 | 1.3341 | 0.00034883
445.5 | 1.926 | 1.4391 | 0.00037628
446 | 2.013 | 1.5261 | 0.00039903
446.5 | 2.068 | 1.5811 | 0.00041341
447 | 2.082 | 1.5951 | 0.00041707
447.5 | 2.088 | 1.6011 | 0.00041864
448 | 2.108 | 1.6211 | 0.00042387
448.5 | 2.129 | 1.6421 | 0.00042936
449 | 2.166 | 1.6791 | 0.00043904
449.5 | 2.214 | 1.7271 | 0.00045159
450 | 2.269 | 1.7821 | 0.00046597
450.5 | 2.335 | 1.8481 | 0.00048322
451 | 2.409 | 1.9221 | 0.00050257
451.5 | 2.492 | 2.0051 | 0.00052428
452 | 2.585 | 2.0981 | 0.00054859
452.5 | 2.679 | 2.1921 | 0.00057317
453 | 2.753 | 2.2661 | 0.00059252
453.5 | 2.81 | 2.3231 | 0.00060742
454 | 2.849 | 2.3621 | 0.00061762
454.5 | 2.875 | 2.3881 | 0.00062442
455 | 2.886 | 2.3991 | 0.0006273
455.5 | 2.878 | 2.3911 | 0.0006252
456 | 2.864 | 2.3771 | 0.00062154
456.5 | 2.83 | 2.3431 | 0.00061265
457 | 2.793 | 2.3061 | 0.00060298
457.5 | 2.766 | 2.2791 | 0.00059592
458 | 2.746 | 2.2591 | 0.00059069
458.5 | 2.731 | 2.2441 | 0.00058677
459 | 2.706 | 2.2191 | 0.00058023
459.5 | 2.669 | 2.1821 | 0.00057056
460 | 2.633 | 2.1461 | 0.00056114
460.5 | 2.596 | 2.1091 | 0.00055147
461 | 2.552 | 2.0651 | 0.00053996
461.5 | 2.498 | 2.0111 | 0.00052584
462 | 2.441 | 1.9541 | 0.00051094
462.5 | 2.403 | 1.9161 | 0.000501
463 | 2.375 | 1.8881 | 0.00049368
463.5 | 2.372 | 1.8851 | 0.0004929
464 | 2.394 | 1.9071 | 0.00049865
464.5 | 2.432 | 1.9451 | 0.00050859
465 | 2.46 | 1.9731 | 0.00051591
465.5 | 2.472 | 1.9851 | 0.00051905
466 | 2.461 | 1.9741 | 0.00051617
466.5 | 2.447 | 1.9601 | 0.00051251
467 | 2.425 | 1.9381 | 0.00050676
467.5 | 2.383 | 1.8961 | 0.00049578
468 | 2.328 | 1.8411 | 0.00048139
468.5 | 2.255 | 1.7681 | 0.00046231
469 | 2.193 | 1.7061 | 0.0004461
469.5 | 2.145 | 1.6581 | 0.00043355
470 | 2.119 | 1.6321 | 0.00042675
470.5 | 2.137 | 1.6501 | 0.00043145
471 | 2.168 | 1.6811 | 0.00043956
471.5 | 2.177 | 1.6901 | 0.00044191
472 | 2.149 | 1.6621 | 0.00043459
472.5 | 2.099 | 1.6121 | 0.00042152
473 | 2.036 | 1.5491 | 0.00040505
473.5 | 1.975 | 1.4881 | 0.0003891
474 | 1.895 | 1.4081 | 0.00036818
474.5 | 1.815 | 1.3281 | 0.00034726
475 | 1.738 | 1.2511 | 0.00032713
475.5 | 1.673 | 1.1861 | 0.00031013
476 | 1.635 | 1.1481 | 0.0003002
476.5 | 1.627 | 1.1401 | 0.0002981
477 | 1.671 | 1.1841 | 0.00030961
477.5 | 1.755 | 1.2681 | 0.00033157
478 | 1.84 | 1.3531 | 0.0003538
478.5 | 1.917 | 1.4301 | 0.00037393
479 | 1.997 | 1.5101 | 0.00039485
479.5 | 2.09 | 1.6031 | 0.00041916
480 | 2.197 | 1.7101 | 0.00044714
480.5 | 2.295 | 1.8081 | 0.00047277
481 | 2.374 | 1.8871 | 0.00049342
481.5 | 2.441 | 1.9541 | 0.00051094
482 | 2.481 | 1.9941 | 0.0005214
482.5 | 2.524 | 2.0371 | 0.00053264
483 | 2.595 | 2.1081 | 0.00055121
483.5 | 2.707 | 2.2201 | 0.00058049
484 | 2.845 | 2.3581 | 0.00061658
484.5 | 2.992 | 2.5051 | 0.00065501
485 | 3.126 | 2.6391 | 0.00069005
485.5 | 3.253 | 2.7661 | 0.00072326
486 | 3.377 | 2.8901 | 0.00075568
486.5 | 3.472 | 2.9851 | 0.00078052
487 | 3.522 | 3.0351 | 0.00079359
487.5 | 3.513 | 3.0261 | 0.00079124
488 | 3.458 | 2.9711 | 0.00077686
488.5 | 3.354 | 2.8671 | 0.00074966
489 | 3.235 | 2.7481 | 0.00071855
489.5 | 3.124 | 2.6371 | 0.00068953
490 | 3.026 | 2.5391 | 0.0006639
490.5 | 2.933 | 2.4461 | 0.00063958
491 | 2.843 | 2.3561 | 0.00061605
491.5 | 2.761 | 2.2741 | 0.00059461
492 | 2.685 | 2.1981 | 0.00057474
492.5 | 2.629 | 2.1421 | 0.0005601
493 | 2.581 | 2.0941 | 0.00054755
493.5 | 2.541 | 2.0541 | 0.00053709
494 | 2.494 | 2.0071 | 0.0005248
494.5 | 2.443 | 1.9561 | 0.00051146
495 | 2.383 | 1.8961 | 0.00049578
495.5 | 2.327 | 1.8401 | 0.00048113
496 | 2.268 | 1.7811 | 0.00046571
496.5 | 2.205 | 1.7181 | 0.00044923
497 | 2.128 | 1.6411 | 0.0004291
497.5 | 2.036 | 1.5491 | 0.00040505
498 | 1.943 | 1.4561 | 0.00038073
498.5 | 1.856 | 1.3691 | 0.00035798
499 | 1.782 | 1.2951 | 0.00033863
499.5 | 1.728 | 1.2411 | 0.00032451
500 | 1.682 | 1.1951 | 0.00031248
500.5 | 1.641 | 1.1541 | 0.00030176
501 | 1.624 | 1.1371 | 0.00029732
501.5 | 1.647 | 1.1601 | 0.00030333
502 | 1.699 | 1.2121 | 0.00031693
502.5 | 1.762 | 1.2751 | 0.0003334
503 | 1.813 | 1.3261 | 0.00034674
503.5 | 1.847 | 1.3601 | 0.00035563
504 | 1.85 | 1.3631 | 0.00035641
504.5 | 1.84 | 1.3531 | 0.0003538
505 | 1.827 | 1.3401 | 0.0003504
505.5 | 1.821 | 1.3341 | 0.00034883
506 | 1.826 | 1.3391 | 0.00035014
506.5 | 1.82 | 1.3331 | 0.00034857
507 | 1.813 | 1.3261 | 0.00034674
507.5 | 1.834 | 1.3471 | 0.00035223
508 | 1.914 | 1.4271 | 0.00037315
508.5 | 2.029 | 1.5421 | 0.00040321
509 | 2.17 | 1.6831 | 0.00044008
509.5 | 2.305 | 1.8181 | 0.00047538
510 | 2.451 | 1.9641 | 0.00051356
510.5 | 2.576 | 2.0891 | 0.00054624
511 | 2.667 | 2.1801 | 0.00057003
511.5 | 2.739 | 2.2521 | 0.00058886
512 | 2.797 | 2.3101 | 0.00060402
512.5 | 2.827 | 2.3401 | 0.00061187
513 | 2.835 | 2.3481 | 0.00061396
513.5 | 2.827 | 2.3401 | 0.00061187
514 | 2.83 | 2.3431 | 0.00061265
514.5 | 2.87 | 2.3831 | 0.00062311
515 | 2.957 | 2.4701 | 0.00064586
515.5 | 3.081 | 2.5941 | 0.00067828
516 | 3.214 | 2.7271 | 0.00071306
516.5 | 3.349 | 2.8621 | 0.00074836
517 | 3.455 | 2.9681 | 0.00077607
517.5 | 3.526 | 3.0391 | 0.00079464
518 | 3.571 | 3.0841 | 0.0008064
518.5 | 3.602 | 3.1151 | 0.00081451
519 | 3.602 | 3.1151 | 0.00081451
519.5 | 3.572 | 3.0851 | 0.00080666
520 | 3.521 | 3.0341 | 0.00079333
520.5 | 3.458 | 2.9711 | 0.00077686
521 | 3.401 | 2.9141 | 0.00076195
521.5 | 3.364 | 2.8771 | 0.00075228
522 | 3.362 | 2.8751 | 0.00075176
522.5 | 3.376 | 2.8891 | 0.00075542
523 | 3.386 | 2.8991 | 0.00075803
523.5 | 3.399 | 2.9121 | 0.00076143
524 | 3.417 | 2.9301 | 0.00076614
524.5 | 3.44 | 2.9531 | 0.00077215
525 | 3.488 | 3.0011 | 0.0007847
525.5 | 3.531 | 3.0441 | 0.00079594
526 | 3.553 | 3.0661 | 0.0008017
526.5 | 3.544 | 3.0571 | 0.00079934
527 | 3.525 | 3.0381 | 0.00079438
527.5 | 3.492 | 3.0051 | 0.00078575
528 | 3.458 | 2.9711 | 0.00077686
528.5 | 3.443 | 2.9561 | 0.00077293
529 | 3.448 | 2.9611 | 0.00077424
529.5 | 3.456 | 2.9691 | 0.00077633
530 | 3.468 | 2.9811 | 0.00077947
530.5 | 3.493 | 3.0061 | 0.00078601
531 | 3.519 | 3.0321 | 0.00079281
531.5 | 3.571 | 3.0841 | 0.0008064
532 | 3.618 | 3.1311 | 0.00081869
532.5 | 3.649 | 3.1621 | 0.0008268
533 | 3.663 | 3.1761 | 0.00083046
533.5 | 3.69 | 3.2031 | 0.00083752
534 | 3.727 | 3.2401 | 0.00084719
534.5 | 3.762 | 3.2751 | 0.00085634
535 | 3.778 | 3.2911 | 0.00086053
535.5 | 3.789 | 3.3021 | 0.0008634
536 | 3.789 | 3.3021 | 0.0008634
536.5 | 3.798 | 3.3111 | 0.00086576
537 | 3.841 | 3.3541 | 0.000877
537.5 | 3.906 | 3.4191 | 0.000894
538 | 3.974 | 3.4871 | 0.00091178
538.5 | 4.048 | 3.5611 | 0.00093113
539 | 4.119 | 3.6321 | 0.00094969
539.5 | 4.208 | 3.7211 | 0.00097296
540 | 4.319 | 3.8321 | 0.001002
540.5 | 4.429 | 3.9421 | 0.0010307
541 | 4.523 | 4.0361 | 0.0010553
541.5 | 4.584 | 4.0971 | 0.0010713
542 | 4.636 | 4.1491 | 0.0010849
542.5 | 4.676 | 4.1891 | 0.0010953
543 | 4.726 | 4.2391 | 0.0011084
543.5 | 4.796 | 4.3091 | 0.0011267
544 | 4.864 | 4.3771 | 0.0011445
544.5 | 4.903 | 4.4161 | 0.0011547
545 | 4.935 | 4.4481 | 0.0011631
545.5 | 4.956 | 4.4691 | 0.0011685
546 | 4.996 | 4.5091 | 0.001179
546.5 | 5.03 | 4.5431 | 0.0011879
547 | 5.054 | 4.5671 | 0.0011942
547.5 | 5.058 | 4.5711 | 0.0011952
548 | 5.036 | 4.5491 | 0.0011895
548.5 | 5.013 | 4.5261 | 0.0011834
549 | 4.998 | 4.5111 | 0.0011795
549.5 | 5.01 | 4.5231 | 0.0011827
550 | 5.056 | 4.5691 | 0.0011947
550.5 | 5.101 | 4.6141 | 0.0012065
551 | 5.144 | 4.6571 | 0.0012177
551.5 | 5.189 | 4.7021 | 0.0012295
552 | 5.237 | 4.7501 | 0.001242
552.5 | 5.283 | 4.7961 | 0.001254
553 | 5.321 | 4.8341 | 0.001264
553.5 | 5.355 | 4.8681 | 0.0012729
554 | 5.369 | 4.8821 | 0.0012765
554.5 | 5.388 | 4.9011 | 0.0012815
555 | 5.434 | 4.9471 | 0.0012935
555.5 | 5.515 | 5.0281 | 0.0013147
556 | 5.638 | 5.1511 | 0.0013469
556.5 | 5.797 | 5.3101 | 0.0013884
557 | 5.973 | 5.4861 | 0.0014345
557.5 | 6.181 | 5.6941 | 0.0014888
558 | 6.402 | 5.9151 | 0.0015466
558.5 | 6.633 | 6.1461 | 0.001607
559 | 6.876 | 6.3891 | 0.0016706
559.5 | 7.128 | 6.6411 | 0.0017365
560 | 7.389 | 6.9021 | 0.0018047
560.5 | 7.645 | 7.1581 | 0.0018716
561 | 7.918 | 7.4311 | 0.001943
561.5 | 8.204 | 7.7171 | 0.0020178
562 | 8.519 | 8.0321 | 0.0021002
562.5 | 8.857 | 8.3701 | 0.0021885
563 | 9.23 | 8.7431 | 0.0022861
563.5 | 9.65 | 9.1631 | 0.0023959
564 | 10.12 | 9.6331 | 0.0025188
564.5 | 10.65 | 10.1631 | 0.0026574
565 | 11.21 | 10.7231 | 0.0028038
565.5 | 11.78 | 11.2931 | 0.0029528
566 | 12.38 | 11.8931 | 0.0031097
566.5 | 12.98 | 12.4931 | 0.0032666
567 | 13.59 | 13.1031 | 0.0034261
567.5 | 14.24 | 13.7531 | 0.003596
568 | 14.91 | 14.4231 | 0.0037712
568.5 | 15.6 | 15.1131 | 0.0039516
569 | 16.29 | 15.8031 | 0.0041321
569.5 | 17.02 | 16.5331 | 0.0043229
570 | 17.78 | 17.2931 | 0.0045216
570.5 | 18.56 | 18.0731 | 0.0047256
571 | 19.36 | 18.8731 | 0.0049348
571.5 | 20.16 | 19.6731 | 0.0051439
572 | 20.96 | 20.4731 | 0.0053531
572.5 | 21.8 | 21.3131 | 0.0055728
573 | 22.68 | 22.1931 | 0.0058029
573.5 | 23.66 | 23.1731 | 0.0060591
574 | 24.72 | 24.2331 | 0.0063363
574.5 | 25.84 | 25.3531 | 0.0066291
575 | 27.02 | 26.5331 | 0.0069376
575.5 | 28.28 | 27.7931 | 0.0072671
576 | 29.6 | 29.1131 | 0.0076122
576.5 | 31.01 | 30.5231 | 0.0079809
577 | 32.46 | 31.9731 | 0.00836
577.5 | 33.96 | 33.4731 | 0.0087523
578 | 35.51 | 35.0231 | 0.0091575
578.5 | 37.11 | 36.6231 | 0.0095759
579 | 38.79 | 38.3031 | 0.010015
579.5 | 40.59 | 40.1031 | 0.010486
580 | 42.51 | 42.0231 | 0.010988
580.5 | 44.53 | 44.0431 | 0.011516
581 | 46.69 | 46.2031 | 0.012081
581.5 | 49.01 | 48.5231 | 0.012687
582 | 51.49 | 51.0031 | 0.013336
582.5 | 54.14 | 53.6531 | 0.014029
583 | 56.92 | 56.4331 | 0.014756
583.5 | 59.84 | 59.3531 | 0.015519
584 | 62.89 | 62.4031 | 0.016317
584.5 | 66.09 | 65.6031 | 0.017153
585 | 69.44 | 68.9531 | 0.018029
585.5 | 72.98 | 72.4931 | 0.018955
586 | 76.69 | 76.2031 | 0.019925
586.5 | 80.6 | 80.1131 | 0.020947
587 | 84.65 | 84.1631 | 0.022006
587.5 | 88.9 | 88.4131 | 0.023117
588 | 93.37 | 92.8831 | 0.024286
588.5 | 98.02 | 97.5331 | 0.025502
589 | 102.9 | 102.4131 | 0.026778
589.5 | 107.9 | 107.4131 | 0.028085
590 | 113.2 | 112.7131 | 0.029471
590.5 | 118.8 | 118.3131 | 0.030935
591 | 124.6 | 124.1131 | 0.032452
591.5 | 130.8 | 130.3131 | 0.034073
592 | 137.3 | 136.8131 | 0.035773
592.5 | 144.1 | 143.6131 | 0.037551
593 | 151.2 | 150.7131 | 0.039407
593.5 | 158.7 | 158.2131 | 0.041368
594 | 166.6 | 166.1131 | 0.043434
594.5 | 174.9 | 174.4131 | 0.045604
595 | 183.4 | 182.9131 | 0.047827
595.5 | 192.3 | 191.8131 | 0.050154
596 | 201.6 | 201.1131 | 0.052585
596.5 | 211.3 | 210.8131 | 0.055122
597 | 221.6 | 221.1131 | 0.057815
597.5 | 232.4 | 231.9131 | 0.060639
598 | 243.7 | 243.2131 | 0.063593
598.5 | 255.5 | 255.0131 | 0.066679
599 | 267.7 | 267.2131 | 0.069869
599.5 | 280.3 | 279.8131 | 0.073163
600 | 293.5 | 293.0131 | 0.076614
600.5 | 307.2 | 306.7131 | 0.080197
601 | 321.5 | 321.0131 | 0.083936
601.5 | 336.5 | 336.0131 | 0.087858
602 | 352.2 | 351.7131 | 0.091963
602.5 | 368.6 | 368.1131 | 0.096251
603 | 385.7 | 385.2131 | 0.10072
603.5 | 403.3 | 402.8131 | 0.10532
604 | 421.7 | 421.2131 | 0.11014
604.5 | 440.7 | 440.2131 | 0.1151
605 | 460.4 | 459.9131 | 0.12025
605.5 | 480.9 | 480.4131 | 0.12561
606 | 502.2 | 501.7131 | 0.13118
606.5 | 524.5 | 524.0131 | 0.13701
607 | 547.7 | 547.2131 | 0.14308
607.5 | 571.8 | 571.3131 | 0.14938
608 | 597.2 | 596.7131 | 0.15602
608.5 | 623.8 | 623.3131 | 0.16298
609 | 651.5 | 651.0131 | 0.17022
609.5 | 680.3 | 679.8131 | 0.17775
610 | 710.3 | 709.8131 | 0.1856
610.5 | 741.6 | 741.1131 | 0.19378
611 | 774.3 | 773.8131 | 0.20233
611.5 | 808.8 | 808.3131 | 0.21135
612 | 845 | 844.5131 | 0.22082
612.5 | 882.7 | 882.2131 | 0.23067
613 | 922 | 921.5131 | 0.24095
613.5 | 963 | 962.5131 | 0.25167
614 | 1006 | 1005.5131 | 0.26291
614.5 | 1051 | 1050.5131 | 0.27468
615 | 1098 | 1097.5131 | 0.28697
615.5 | 1146 | 1145.5131 | 0.29952
616 | 1195 | 1194.5131 | 0.31233
616.5 | 1245 | 1244.5131 | 0.3254
617 | 1298 | 1297.5131 | 0.33926
617.5 | 1353 | 1352.5131 | 0.35364
618 | 1409 | 1408.5131 | 0.36829
618.5 | 1467 | 1466.5131 | 0.38345
619 | 1528 | 1527.5131 | 0.3994
619.5 | 1590 | 1589.5131 | 0.41561
620 | 1656 | 1655.5131 | 0.43287
620.5 | 1723 | 1722.5131 | 0.45039
621 | 1791 | 1790.5131 | 0.46817
621.5 | 1861 | 1860.5131 | 0.48647
622 | 1933 | 1932.5131 | 0.5053
622.5 | 2005 | 2004.5131 | 0.52412
623 | 2080 | 2079.5131 | 0.54373
623.5 | 2155 | 2154.5131 | 0.56334
624 | 2232 | 2231.5131 | 0.58348
624.5 | 2310 | 2309.5131 | 0.60387
625 | 2389 | 2388.5131 | 0.62453
625.5 | 2470 | 2469.5131 | 0.64571
626 | 2551 | 2550.5131 | 0.66689
626.5 | 2633 | 2632.5131 | 0.68833
627 | 2716 | 2715.5131 | 0.71003
627.5 | 2799 | 2798.5131 | 0.73173
628 | 2882 | 2881.5131 | 0.75343
628.5 | 2965 | 2964.5131 | 0.77513
629 | 3047 | 3046.5131 | 0.79658
629.5 | 3127 | 3126.5131 | 0.81749
630 | 3206 | 3205.5131 | 0.83815
630.5 | 3280 | 3279.5131 | 0.8575
631 | 3351 | 3350.5131 | 0.87606
631.5 | 3419 | 3418.5131 | 0.89384
632 | 3482 | 3481.5131 | 0.91032
632.5 | 3541 | 3540.5131 | 0.92574
633 | 3596 | 3595.5131 | 0.94012
633.5 | 3647 | 3646.5131 | 0.95346
634 | 3694 | 3693.5131 | 0.96575
634.5 | 3735 | 3734.5131 | 0.97647
635 | 3770 | 3769.5131 | 0.98562
635.5 | 3797 | 3796.5131 | 0.99268
636 | 3816 | 3815.5131 | 0.99765
636.5 | 3825 | 3824.5131 | 1
637 | 3820 | 3819.5131 | 0.99869
637.5 | 3803 | 3802.5131 | 0.99425
638 | 3772 | 3771.5131 | 0.98614
638.5 | 3725 | 3724.5131 | 0.97385
639 | 3666 | 3665.5131 | 0.95843
639.5 | 3594 | 3593.5131 | 0.9396
640 | 3511 | 3510.5131 | 0.9179
640.5 | 3417 | 3416.5131 | 0.89332
641 | 3316 | 3315.5131 | 0.86691
641.5 | 3208 | 3207.5131 | 0.83867
642 | 3095 | 3094.5131 | 0.80913
642.5 | 2975 | 2974.5131 | 0.77775
643 | 2851 | 2850.5131 | 0.74533
643.5 | 2720 | 2719.5131 | 0.71107
644 | 2584 | 2583.5131 | 0.67551
644.5 | 2444 | 2443.5131 | 0.63891
645 | 2301 | 2300.5131 | 0.60152
645.5 | 2157 | 2156.5131 | 0.56387
646 | 2014 | 2013.5131 | 0.52648
646.5 | 1873 | 1872.5131 | 0.48961
647 | 1737 | 1736.5131 | 0.45405
647.5 | 1608 | 1607.5131 | 0.42032
648 | 1486 | 1485.5131 | 0.38842
648.5 | 1373 | 1372.5131 | 0.35887
649 | 1268 | 1267.5131 | 0.33142
649.5 | 1171 | 1170.5131 | 0.30606
650 | 1082 | 1081.5131 | 0.28278
650.5 | 999.2 | 998.7131 | 0.26113
651 | 923.1 | 922.6131 | 0.24124
651.5 | 852 | 851.5131 | 0.22265
652 | 785.4 | 784.9131 | 0.20523
652.5 | 723.3 | 722.8131 | 0.18899
653 | 665.1 | 664.6131 | 0.17378
653.5 | 611.2 | 610.7131 | 0.15968
654 | 561.7 | 561.2131 | 0.14674
654.5 | 516.4 | 515.9131 | 0.1349
655 | 475.2 | 474.7131 | 0.12412
655.5 | 437.7 | 437.2131 | 0.11432
656 | 403.6 | 403.1131 | 0.1054
656.5 | 372.7 | 372.2131 | 0.097323
657 | 344.5 | 344.0131 | 0.08995
657.5 | 318.5 | 318.0131 | 0.083151
658 | 294.6 | 294.1131 | 0.076902
658.5 | 272.5 | 272.0131 | 0.071124
659 | 252.2 | 251.7131 | 0.065816
659.5 | 233.6 | 233.1131 | 0.060952
660 | 216.6 | 216.1131 | 0.056507
660.5 | 201 | 200.5131 | 0.052428
661 | 186.9 | 186.4131 | 0.048742
661.5 | 174 | 173.5131 | 0.045369
662 | 162.2 | 161.7131 | 0.042283
662.5 | 151.4 | 150.9131 | 0.039459
663 | 141.5 | 141.0131 | 0.036871
663.5 | 132.3 | 131.8131 | 0.034465
664 | 123.9 | 123.4131 | 0.032269
664.5 | 116.1 | 115.6131 | 0.030229
665 | 108.9 | 108.4131 | 0.028347
665.5 | 102.2 | 101.7131 | 0.026595
666 | 95.95 | 95.4631 | 0.024961
666.5 | 90.08 | 89.5931 | 0.023426
667 | 84.66 | 84.1731 | 0.022009
667.5 | 79.61 | 79.1231 | 0.020688
668 | 74.96 | 74.4731 | 0.019473
668.5 | 70.68 | 70.1931 | 0.018353
669 | 66.74 | 66.2531 | 0.017323
669.5 | 63.07 | 62.5831 | 0.016364
670 | 59.62 | 59.1331 | 0.015462
670.5 | 56.35 | 55.8631 | 0.014607
671 | 53.28 | 52.7931 | 0.013804
671.5 | 50.4 | 49.9131 | 0.013051
672 | 47.65 | 47.1631 | 0.012332
672.5 | 45.03 | 44.5431 | 0.011647
673 | 42.55 | 42.0631 | 0.010998
673.5 | 40.21 | 39.7231 | 0.010386
674 | 38.02 | 37.5331 | 0.0098138
674.5 | 36 | 35.5131 | 0.0092857
675 | 34.15 | 33.6631 | 0.0088019
675.5 | 32.43 | 31.9431 | 0.0083522
676 | 30.84 | 30.3531 | 0.0079365
676.5 | 29.38 | 28.8931 | 0.0075547
677 | 28.03 | 27.5431 | 0.0072017
677.5 | 26.76 | 26.2731 | 0.0068697
678 | 25.56 | 25.0731 | 0.0065559
678.5 | 24.39 | 23.9031 | 0.00625
679 | 23.25 | 22.7631 | 0.0059519
679.5 | 22.16 | 21.6731 | 0.0056669
680 | 21.11 | 20.6231 | 0.0053923
680.5 | 20.14 | 19.6531 | 0.0051387
681 | 19.23 | 18.7431 | 0.0049008
681.5 | 18.41 | 17.9231 | 0.0046864
682 | 17.66 | 17.1731 | 0.0044903
682.5 | 16.96 | 16.4731 | 0.0043072
683 | 16.3 | 15.8131 | 0.0041347
683.5 | 15.66 | 15.1731 | 0.0039673
684 | 15.06 | 14.5731 | 0.0038104
684.5 | 14.47 | 13.9831 | 0.0036562
685 | 13.92 | 13.4331 | 0.0035124
685.5 | 13.36 | 12.8731 | 0.0033659
686 | 12.8 | 12.3131 | 0.0032195
686.5 | 12.25 | 11.7631 | 0.0030757
687 | 11.73 | 11.2431 | 0.0029397
687.5 | 11.24 | 10.7531 | 0.0028116
688 | 10.8 | 10.3131 | 0.0026966
688.5 | 10.38 | 9.8931 | 0.0025868
689 | 9.964 | 9.4771 | 0.002478
689.5 | 9.6 | 9.1131 | 0.0023828
690 | 9.307 | 8.8201 | 0.0023062
690.5 | 9.045 | 8.5581 | 0.0022377
691 | 8.792 | 8.3051 | 0.0021715
691.5 | 8.545 | 8.0581 | 0.002107
692 | 8.318 | 7.8311 | 0.0020476
692.5 | 8.106 | 7.6191 | 0.0019922
693 | 7.91 | 7.4231 | 0.0019409
693.5 | 7.713 | 7.2261 | 0.0018894
694 | 7.485 | 6.9981 | 0.0018298
694.5 | 7.204 | 6.7171 | 0.0017563
695 | 6.902 | 6.4151 | 0.0016774
695.5 | 6.638 | 6.1511 | 0.0016083
696 | 6.387 | 5.9001 | 0.0015427
696.5 | 6.169 | 5.6821 | 0.0014857
697 | 5.978 | 5.4911 | 0.0014358
697.5 | 5.822 | 5.3351 | 0.001395
698 | 5.683 | 5.1961 | 0.0013586
698.5 | 5.582 | 5.0951 | 0.0013322
699 | 5.491 | 5.0041 | 0.0013084
699.5 | 5.374 | 4.8871 | 0.0012778
700 | 5.243 | 4.7561 | 0.0012436
700.5 | 5.092 | 4.6051 | 0.0012041
701 | 4.944 | 4.4571 | 0.0011654
701.5 | 4.795 | 4.3081 | 0.0011264
702 | 4.67 | 4.1831 | 0.0010938
702.5 | 4.542 | 4.0551 | 0.0010603
703 | 4.398 | 3.9111 | 0.0010226
703.5 | 4.253 | 3.7661 | 0.00098473
704 | 4.145 | 3.6581 | 0.00095649
704.5 | 4.063 | 3.5761 | 0.00093505
705 | 3.966 | 3.4791 | 0.00090968
705.5 | 3.893 | 3.4061 | 0.0008906
706 | 3.826 | 3.3391 | 0.00087308
706.5 | 3.752 | 3.2651 | 0.00085373
707 | 3.666 | 3.1791 | 0.00083124
707.5 | 3.601 | 3.1141 | 0.00081425
708 | 3.537 | 3.0501 | 0.00079751
708.5 | 3.455 | 2.9681 | 0.00077607
709 | 3.358 | 2.8711 | 0.00075071
709.5 | 3.251 | 2.7641 | 0.00072273
710 | 3.154 | 2.6671 | 0.00069737
710.5 | 3.059 | 2.5721 | 0.00067253
711 | 2.977 | 2.4901 | 0.00065109
711.5 | 2.908 | 2.4211 | 0.00063305
712 | 2.837 | 2.3501 | 0.00061448
712.5 | 2.786 | 2.2991 | 0.00060115
713 | 2.76 | 2.2731 | 0.00059435
713.5 | 2.743 | 2.2561 | 0.00058991
714 | 2.731 | 2.2441 | 0.00058677
714.5 | 2.718 | 2.2311 | 0.00058337
715 | 2.704 | 2.2171 | 0.00057971
715.5 | 2.708 | 2.2211 | 0.00058075
716 | 2.734 | 2.2471 | 0.00058755
716.5 | 2.755 | 2.2681 | 0.00059304
717 | 2.772 | 2.2851 | 0.00059749
717.5 | 2.781 | 2.2941 | 0.00059984
718 | 2.791 | 2.3041 | 0.00060246
718.5 | 2.779 | 2.2921 | 0.00059932
719 | 2.74 | 2.2531 | 0.00058912
719.5 | 2.669 | 2.1821 | 0.00057056
720 | 2.602 | 2.1151 | 0.00055304
720.5 | 2.535 | 2.0481 | 0.00053552
721 | 2.474 | 1.9871 | 0.00051957
721.5 | 2.432 | 1.9451 | 0.00050859
722 | 2.424 | 1.9371 | 0.0005065
722.5 | 2.441 | 1.9541 | 0.00051094
723 | 2.487 | 2.0001 | 0.00052297
723.5 | 2.548 | 2.0611 | 0.00053892
724 | 2.594 | 2.1071 | 0.00055095
724.5 | 2.612 | 2.1251 | 0.00055565
725 | 2.584 | 2.0971 | 0.00054833
725.5 | 2.531 | 2.0441 | 0.00053447
726 | 2.449 | 1.9621 | 0.00051303
726.5 | 2.324 | 1.8371 | 0.00048035
727 | 2.172 | 1.6851 | 0.00044061
727.5 | 2.037 | 1.5501 | 0.00040531
728 | 1.945 | 1.4581 | 0.00038125
728.5 | 1.9 | 1.4131 | 0.00036948
729 | 1.899 | 1.4121 | 0.00036922
729.5 | 1.915 | 1.4281 | 0.00037341
730 | 1.927 | 1.4401 | 0.00037654
730.5 | 1.926 | 1.4391 | 0.00037628
731 | 1.903 | 1.4161 | 0.00037027
731.5 | 1.84 | 1.3531 | 0.0003538
732 | 1.719 | 1.2321 | 0.00032216
732.5 | 1.551 | 1.0641 | 0.00027823
733 | 1.378 | 0.8911 | 0.000233
733.5 | 1.22 | 0.7331 | 0.00019168
734 | 1.057 | 0.5701 | 0.00014906
734.5 | 0.9295 | 0.4426 | 0.00011573
735 | 0.8379 | 0.351 | 9.1776e-05
735.5 | 0.7851 | 0.2982 | 7.7971e-05
736 | 0.7843 | 0.2974 | 7.7762e-05
736.5 | 0.8242 | 0.3373 | 8.8194e-05
737 | 0.8576 | 0.3707 | 9.6927e-05
737.5 | 0.9055 | 0.4186 | 0.00010945
738 | 0.9423 | 0.4554 | 0.00011907
738.5 | 0.9267 | 0.4398 | 0.000115
739 | 0.8525 | 0.3656 | 9.5594e-05
739.5 | 0.726 | 0.2391 | 6.2518e-05
740 | 0.6025 | 0.1156 | 3.0226e-05
740.5 | 0.5162 | 0.0293 | 7.6611e-06
741 | 0.4996 | 0.0127 | 3.3207e-06
741.5 | 0.5521 | 0.0652 | 1.7048e-05
742 | 0.6587 | 0.1718 | 4.4921e-05
742.5 | 0.7992 | 0.3123 | 8.1657e-05
743 | 1.008 | 0.5211 | 0.00013625
743.5 | 1.214 | 0.7271 | 0.00019012
744 | 1.355 | 0.8681 | 0.00022698
744.5 | 1.435 | 0.9481 | 0.0002479
745 | 1.444 | 0.9571 | 0.00025025
745.5 | 1.424 | 0.9371 | 0.00024502
746 | 1.406 | 0.9191 | 0.00024032
746.5 | 1.388 | 0.9011 | 0.00023561
747 | 1.36 | 0.8731 | 0.00022829
747.5 | 1.367 | 0.8801 | 0.00023012
748 | 1.428 | 0.9411 | 0.00024607
748.5 | 1.557 | 1.0701 | 0.0002798
749 | 1.701 | 1.2141 | 0.00031745
749.5 | 1.808 | 1.3211 | 0.00034543
750 | 1.862 | 1.3751 | 0.00035955
750.5 | 1.876 | 1.3891 | 0.00036321
751 | 1.847 | 1.3601 | 0.00035563
751.5 | 1.785 | 1.2981 | 0.00033942
752 | 1.678 | 1.1911 | 0.00031144
752.5 | 1.584 | 1.0971 | 0.00028686
753 | 1.533 | 1.0461 | 0.00027353
753.5 | 1.532 | 1.0451 | 0.00027326
754 | 1.586 | 1.0991 | 0.00028738
754.5 | 1.645 | 1.1581 | 0.00030281
755 | 1.683 | 1.1961 | 0.00031275
755.5 | 1.69 | 1.2031 | 0.00031458
756 | 1.669 | 1.1821 | 0.00030909
756.5 | 1.593 | 1.1061 | 0.00028921
757 | 1.489 | 1.0021 | 0.00026202
757.5 | 1.354 | 0.8671 | 0.00022672
758 | 1.23 | 0.7431 | 0.0001943
758.5 | 1.112 | 0.6251 | 0.00016345
759 | 0.9967 | 0.5098 | 0.0001333
759.5 | 0.8804 | 0.3935 | 0.00010289
760 | 0.7715 | 0.2846 | 7.4415e-05
760.5 | 0.6673 | 0.1804 | 4.7169e-05
761 | 0.5343 | 0.0474 | 1.2394e-05
761.5 | 0.3692 | 0 | 0
762 | 0.1739 | 0 | 0
762.5 | -0.01175 | 0 | 0
763 | -0.1642 | 0 | 0
763.5 | -0.2681 | 0 | 0
764 | -0.3479 | 0 | 0
764.5 | -0.4093 | 0 | 0
765 | -0.4415 | 0 | 0
765.5 | -0.437 | 0 | 0
766 | -0.4068 | 0 | 0
766.5 | -0.3731 | 0 | 0
767 | -0.3423 | 0 | 0
767.5 | -0.2735 | 0 | 0
768 | -0.1598 | 0 | 0
768.5 | -0.01775 | 0 | 0
769 | 0.1338 | 0 | 0
769.5 | 0.2777 | 0 | 0
770 | 0.4015 | 0 | 0
770.5 | 0.505 | 0.0181 | 4.7326e-06
771 | 0.6074 | 0.1205 | 3.1507e-05
771.5 | 0.7033 | 0.2164 | 5.6582e-05
772 | 0.7739 | 0.287 | 7.5042e-05
772.5 | 0.8219 | 0.335 | 8.7593e-05
773 | 0.8603 | 0.3734 | 9.7633e-05
773.5 | 0.8949 | 0.408 | 0.00010668
774 | 0.9417 | 0.4548 | 0.00011892
774.5 | 1.003 | 0.5161 | 0.00013495
775 | 1.059 | 0.5721 | 0.00014959
775.5 | 1.111 | 0.6241 | 0.00016318
776 | 1.167 | 0.6801 | 0.00017783
776.5 | 1.195 | 0.7081 | 0.00018515
777 | 1.208 | 0.7211 | 0.00018855
777.5 | 1.186 | 0.6991 | 0.00018279
778 | 1.145 | 0.6581 | 0.00017207
778.5 | 1.088 | 0.6011 | 0.00015717
779 | 1.041 | 0.5541 | 0.00014488
779.5 | 1.027 | 0.5401 | 0.00014122
780 | 1.014 | 0.5271 | 0.00013782
780.5 | 0.992 | 0.5051 | 0.00013207
781 | 0.9656 | 0.4787 | 0.00012517
781.5 | 0.9208 | 0.4339 | 0.00011345
782 | 0.8871 | 0.4002 | 0.00010464
782.5 | 0.8742 | 0.3873 | 0.00010127
783 | 0.8543 | 0.3674 | 9.6065e-05
783.5 | 0.8201 | 0.3332 | 8.7122e-05
784 | 0.78 | 0.2931 | 7.6637e-05
784.5 | 0.7621 | 0.2752 | 7.1957e-05
785 | 0.744 | 0.2571 | 6.7224e-05
785.5 | 0.6872 | 0.2003 | 5.2373e-05
786 | 0.5866 | 0.0997 | 2.6069e-05
786.5 | 0.4669 | 0 | 0
787 | 0.3473 | 0 | 0
787.5 | 0.263 | 0 | 0
788 | 0.1982 | 0 | 0
788.5 | 0.16 | 0 | 0
789 | 0.1739 | 0 | 0
789.5 | 0.2189 | 0 | 0
790 | 0.2618 | 0 | 0
790.5 | 0.3059 | 0 | 0
791 | 0.3228 | 0 | 0
791.5 | 0.3199 | 0 | 0
792 | 0.3106 | 0 | 0
792.5 | 0.301 | 0 | 0
793 | 0.2987 | 0 | 0
793.5 | 0.309 | 0 | 0
794 | 0.3629 | 0 | 0
794.5 | 0.4424 | 0 | 0
795 | 0.5307 | 0.0438 | 1.1452e-05
795.5 | 0.6545 | 0.1676 | 4.3823e-05
796 | 0.8045 | 0.3176 | 8.3043e-05
796.5 | 0.9783 | 0.4914 | 0.00012849
797 | 1.156 | 0.6691 | 0.00017495
797.5 | 1.283 | 0.7961 | 0.00020816
798 | 1.36 | 0.8731 | 0.00022829
798.5 | 1.396 | 0.9091 | 0.0002377
799 | 1.407 | 0.9201 | 0.00024058
799.5 | 1.404 | 0.9171 | 0.0002398
800 | 1.389 | 0.9021 | 0.00023587
800.5 | 1.367 | 0.8801 | 0.00023012
801 | 1.373 | 0.8861 | 0.00023169
801.5 | 1.402 | 0.9151 | 0.00023927
802 | 1.42 | 0.9331 | 0.00024398
802.5 | 1.405 | 0.9181 | 0.00024006
803 | 1.384 | 0.8971 | 0.00023457
803.5 | 1.367 | 0.8801 | 0.00023012
804 | 1.33 | 0.8431 | 0.00022045
804.5 | 1.281 | 0.7941 | 0.00020763
805 | 1.201 | 0.7141 | 0.00018672
805.5 | 1.097 | 0.6101 | 0.00015952
806 | 1.011 | 0.5241 | 0.00013704
806.5 | 0.9398 | 0.4529 | 0.00011842
807 | 0.9007 | 0.4138 | 0.0001082
807.5 | 0.913 | 0.4261 | 0.00011141
808 | 0.9491 | 0.4622 | 0.00012085
808.5 | 0.9676 | 0.4807 | 0.00012569
809 | 0.9632 | 0.4763 | 0.00012454
809.5 | 0.9224 | 0.4355 | 0.00011387
810 | 0.8342 | 0.3473 | 9.0809e-05
810.5 | 0.7151 | 0.2282 | 5.9668e-05
811 | 0.6189 | 0.132 | 3.4514e-05
811.5 | 0.5419 | 0.055 | 1.4381e-05
812 | 0.4982 | 0.0113 | 2.9546e-06
812.5 | 0.4993 | 0.0124 | 3.2422e-06
813 | 0.5124 | 0.0255 | 6.6675e-06
813.5 | 0.5333 | 0.0464 | 1.2132e-05
814 | 0.5294 | 0.0425 | 1.1113e-05
814.5 | 0.4821 | 0 | 0
815 | 0.4258 | 0 | 0
815.5 | 0.3901 | 0 | 0
816 | 0.3846 | 0 | 0
816.5 | 0.4064 | 0 | 0
817 | 0.4571 | 0 | 0
817.5 | 0.5315 | 0.0446 | 1.1662e-05
818 | 0.6327 | 0.1458 | 3.8122e-05
818.5 | 0.7616 | 0.2747 | 7.1826e-05
819 | 0.8736 | 0.3867 | 0.00010111
819.5 | 0.9664 | 0.4795 | 0.00012538
820 | 1.069 | 0.5821 | 0.0001522
820.5 | 1.165 | 0.6781 | 0.0001773
821 | 1.25 | 0.7631 | 0.00019953
821.5 | 1.322 | 0.8351 | 0.00021835
822 | 1.366 | 0.8791 | 0.00022986
822.5 | 1.401 | 0.9141 | 0.00023901
823 | 1.432 | 0.9451 | 0.00024712
823.5 | 1.472 | 0.9851 | 0.00025758
824 | 1.484 | 0.9971 | 0.00026071
824.5 | 1.459 | 0.9721 | 0.00025418
825 | 1.407 | 0.9201 | 0.00024058
825.5 | 1.347 | 0.8601 | 0.00022489
826 | 1.301 | 0.8141 | 0.00021286
826.5 | 1.247 | 0.7601 | 0.00019874
827 | 1.19 | 0.7031 | 0.00018384
827.5 | 1.135 | 0.6481 | 0.00016946
828 | 1.053 | 0.5661 | 0.00014802
828.5 | 0.9498 | 0.4629 | 0.00012104
829 | 0.8355 | 0.3486 | 9.1149e-05
829.5 | 0.7031 | 0.2162 | 5.653e-05
830 | 0.5933 | 0.1064 | 2.7821e-05
830.5 | 0.529 | 0.0421 | 1.1008e-05
831 | 0.5367 | 0.0498 | 1.3021e-05
831.5 | 0.5549 | 0.068 | 1.778e-05
832 | 0.5746 | 0.0877 | 2.2931e-05
832.5 | 0.602 | 0.1151 | 3.0095e-05
833 | 0.6008 | 0.1139 | 2.9782e-05
833.5 | 0.6 | 0.1131 | 2.9572e-05
834 | 0.5817 | 0.0948 | 2.4787e-05
834.5 | 0.5548 | 0.0679 | 1.7754e-05
835 | 0.529 | 0.0421 | 1.1008e-05
835.5 | 0.5149 | 0.028 | 7.3212e-06
836 | 0.5117 | 0.0248 | 6.4845e-06
836.5 | 0.5155 | 0.0286 | 7.4781e-06
837 | 0.5474 | 0.0605 | 1.5819e-05
837.5 | 0.5842 | 0.0973 | 2.5441e-05
838 | 0.5881 | 0.1012 | 2.6461e-05
838.5 | 0.5657 | 0.0788 | 2.0604e-05
839 | 0.5451 | 0.0582 | 1.5218e-05
839.5 | 0.5571 | 0.0702 | 1.8355e-05
840 | 0.5942 | 0.1073 | 2.8056e-05
840.5 | 0.6384 | 0.1515 | 3.9613e-05
841 | 0.7273 | 0.2404 | 6.2858e-05
841.5 | 0.8747 | 0.3878 | 0.0001014
842 | 1.053 | 0.5661 | 0.00014802
842.5 | 1.194 | 0.7071 | 0.00018489
843 | 1.277 | 0.7901 | 0.00020659
843.5 | 1.337 | 0.8501 | 0.00022228
844 | 1.396 | 0.9091 | 0.0002377
844.5 | 1.461 | 0.9741 | 0.0002547
845 | 1.483 | 0.9961 | 0.00026045
845.5 | 1.479 | 0.9921 | 0.00025941
846 | 1.515 | 1.0281 | 0.00026882
846.5 | 1.605 | 1.1181 | 0.00029235
847 | 1.683 | 1.1961 | 0.00031275
847.5 | 1.728 | 1.2411 | 0.00032451
848 | 1.733 | 1.2461 | 0.00032582
848.5 | 1.724 | 1.2371 | 0.00032347
849 | 1.704 | 1.2171 | 0.00031824
849.5 | 1.675 | 1.1881 | 0.00031065
850 | 1.611 | 1.1241 | 0.00029392
850.5 | 1.568 | 1.0811 | 0.00028268
851 | 1.578 | 1.0911 | 0.00028529
851.5 | 1.608 | 1.1211 | 0.00029314
852 | 1.618 | 1.1311 | 0.00029575
852.5 | 1.616 | 1.1291 | 0.00029523
853 | 1.592 | 1.1051 | 0.00028895
853.5 | 1.591 | 1.1041 | 0.00028869
854 | 1.61 | 1.1231 | 0.00029366
854.5 | 1.588 | 1.1011 | 0.00028791
855 | 1.541 | 1.0541 | 0.00027562
855.5 | 1.454 | 0.9671 | 0.00025287
856 | 1.361 | 0.8741 | 0.00022855
856.5 | 1.254 | 0.7671 | 0.00020057
857 | 1.128 | 0.6411 | 0.00016763
857.5 | 0.965 | 0.4781 | 0.00012501
858 | 0.8268 | 0.3399 | 8.8874e-05
858.5 | 0.7383 | 0.2514 | 6.5734e-05
859 | 0.6638 | 0.1769 | 4.6254e-05
859.5 | 0.6056 | 0.1187 | 3.1037e-05
860 | 0.5449 | 0.058 | 1.5165e-05
860.5 | 0.446 | 0 | 0
861 | 0.3703 | 0 | 0
861.5 | 0.2761 | 0 | 0
862 | 0.1447 | 0 | 0
862.5 | 0.05303 | 0 | 0
863 | 0.01809 | 0 | 0
863.5 | 0.05019 | 0 | 0
864 | 0.1219 | 0 | 0
864.5 | 0.2092 | 0 | 0
865 | 0.2749 | 0 | 0
865.5 | 0.3406 | 0 | 0
866 | 0.3756 | 0 | 0
866.5 | 0.3559 | 0 | 0
867 | 0.3082 | 0 | 0
867.5 | 0.2597 | 0 | 0
868 | 0.2849 | 0 | 0
868.5 | 0.4101 | 0 | 0
869 | 0.5801 | 0.0932 | 2.4369e-05
869.5 | 0.7684 | 0.2815 | 7.3604e-05
870 | 0.9704 | 0.4835 | 0.00012642
870.5 | 1.143 | 0.6561 | 0.00017155
871 | 1.262 | 0.7751 | 0.00020267
871.5 | 1.297 | 0.8101 | 0.00021182
872 | 1.28 | 0.7931 | 0.00020737
872.5 | 1.299 | 0.8121 | 0.00021234
873 | 1.38 | 0.8931 | 0.00023352
873.5 | 1.492 | 1.0051 | 0.0002628
874 | 1.617 | 1.1301 | 0.00029549
874.5 | 1.765 | 1.2781 | 0.00033419
875 | 1.901 | 1.4141 | 0.00036975
875.5 | 1.974 | 1.4871 | 0.00038883
876 | 1.941 | 1.4541 | 0.00038021
876.5 | 1.809 | 1.3221 | 0.00034569
877 | 1.644 | 1.1571 | 0.00030255
877.5 | 1.479 | 0.9921 | 0.00025941
878 | 1.316 | 0.8291 | 0.00021679
878.5 | 1.177 | 0.6901 | 0.00018044
879 | 1.09 | 0.6031 | 0.00015769
879.5 | 1.056 | 0.5691 | 0.0001488
880 | 1.01 | 0.5231 | 0.00013678
880.5 | 0.8998 | 0.4129 | 0.00010796
881 | 1.248 | 0.7611 | 0.00019901
881.5 | 0.4499 | 0 | 0
882 | -0.01861 | 0 | 0
882.5 | -0.2936 | 0 | 0
883 | -0.4744 | 0 | 0
883.5 | -0.5827 | 0 | 0
884 | -0.8855 | 0 | 0
884.5 | 6.203 | 5.7161 | 0.0014946
885 | 7.74 | 7.2531 | 0.0018965
885.5 | -0.6667 | 0 | 0
886 | 0.8211 | 0.3342 | 8.7384e-05
886.5 | 5.971 | 5.4841 | 0.0014339