## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 124.3 | 131.756 | 0.03683
246.5 | 86.14 | 93.596 | 0.026163
247 | 66.88 | 74.336 | 0.020779
247.5 | 48.11 | 55.566 | 0.015532
248 | 30.44 | 37.896 | 0.010593
248.5 | 14.87 | 22.326 | 0.0062407
249 | 2.501 | 9.957 | 0.0027833
249.5 | -5.696 | 1.76 | 0.00049197
250 | -9.369 | 0 | 0
250.5 | -7.456 | 0 | 0
251 | 0.9215 | 8.3775 | 0.0023417
251.5 | 0.854 | 8.31 | 0.0023229
252 | 0.81 | 8.266 | 0.0023106
252.5 | 0.8768 | 8.3328 | 0.0023293
253 | 0.9768 | 8.4328 | 0.0023572
253.5 | 1.05 | 8.506 | 0.0023777
254 | 1.117 | 8.573 | 0.0023964
254.5 | 1.067 | 8.523 | 0.0023824
255 | 1.113 | 8.569 | 0.0023953
255.5 | 1.086 | 8.542 | 0.0023877
256 | 1.181 | 8.637 | 0.0024143
256.5 | 1.34 | 8.796 | 0.0024587
257 | 1.546 | 9.002 | 0.0025163
257.5 | 1.389 | 8.845 | 0.0024724
258 | 1.278 | 8.734 | 0.0024414
258.5 | 1.268 | 8.724 | 0.0024386
259 | 1.255 | 8.711 | 0.002435
259.5 | 1.233 | 8.689 | 0.0024288
260 | 1.21 | 8.666 | 0.0024224
260.5 | 1.179 | 8.635 | 0.0024137
261 | 1.157 | 8.613 | 0.0024076
261.5 | 1.147 | 8.603 | 0.0024048
262 | 1.152 | 8.608 | 0.0024062
262.5 | 1.165 | 8.621 | 0.0024098
263 | 1.17 | 8.626 | 0.0024112
263.5 | 1.148 | 8.604 | 0.0024051
264 | 1.107 | 8.563 | 0.0023936
264.5 | 1.068 | 8.524 | 0.0023827
265 | 1.032 | 8.488 | 0.0023726
265.5 | 0.9967 | 8.4527 | 0.0023628
266 | 0.951 | 8.407 | 0.00235
266.5 | 0.9008 | 8.3568 | 0.002336
267 | 0.839 | 8.295 | 0.0023187
267.5 | 0.7732 | 8.2292 | 0.0023003
268 | 0.6959 | 8.1519 | 0.0022787
268.5 | 0.6171 | 8.0731 | 0.0022567
269 | 0.5618 | 8.0178 | 0.0022412
269.5 | 0.5326 | 7.9886 | 0.002233
270 | 0.5228 | 7.9788 | 0.0022303
270.5 | 0.5318 | 7.9878 | 0.0022328
271 | 0.5507 | 8.0067 | 0.0022381
271.5 | 0.5738 | 8.0298 | 0.0022446
272 | 0.6191 | 8.0751 | 0.0022572
272.5 | 0.6781 | 8.1341 | 0.0022737
273 | 0.7428 | 8.1988 | 0.0022918
273.5 | 0.812 | 8.268 | 0.0023111
274 | 0.8874 | 8.3434 | 0.0023322
274.5 | 0.9729 | 8.4289 | 0.0023561
275 | 1.067 | 8.523 | 0.0023824
275.5 | 1.164 | 8.62 | 0.0024095
276 | 1.262 | 8.718 | 0.0024369
276.5 | 1.375 | 8.831 | 0.0024685
277 | 1.495 | 8.951 | 0.0025021
277.5 | 1.603 | 9.059 | 0.0025322
278 | 1.696 | 9.152 | 0.0025582
278.5 | 1.779 | 9.235 | 0.0025814
279 | 1.863 | 9.319 | 0.0026049
279.5 | 1.935 | 9.391 | 0.002625
280 | 1.991 | 9.447 | 0.0026407
280.5 | 2.033 | 9.489 | 0.0026524
281 | 2.091 | 9.547 | 0.0026687
281.5 | 2.16 | 9.616 | 0.0026879
282 | 2.228 | 9.684 | 0.002707
282.5 | 2.296 | 9.752 | 0.002726
283 | 2.363 | 9.819 | 0.0027447
283.5 | 2.422 | 9.878 | 0.0027612
284 | 2.458 | 9.914 | 0.0027712
284.5 | 2.478 | 9.934 | 0.0027768
285 | 2.471 | 9.927 | 0.0027749
285.5 | 2.447 | 9.903 | 0.0027682
286 | 2.419 | 9.875 | 0.0027603
286.5 | 2.381 | 9.837 | 0.0027497
287 | 2.325 | 9.781 | 0.0027341
287.5 | 2.248 | 9.704 | 0.0027125
288 | 2.16 | 9.616 | 0.0026879
288.5 | 2.083 | 9.539 | 0.0026664
289 | 2.018 | 9.474 | 0.0026483
289.5 | 1.946 | 9.402 | 0.0026281
290 | 1.881 | 9.337 | 0.00261
290.5 | 1.832 | 9.288 | 0.0025963
291 | 1.791 | 9.247 | 0.0025848
291.5 | 1.747 | 9.203 | 0.0025725
292 | 1.703 | 9.159 | 0.0025602
292.5 | 1.668 | 9.124 | 0.0025504
293 | 1.656 | 9.112 | 0.0025471
293.5 | 1.64 | 9.096 | 0.0025426
294 | 1.612 | 9.068 | 0.0025348
294.5 | 1.585 | 9.041 | 0.0025272
295 | 1.575 | 9.031 | 0.0025244
295.5 | 1.575 | 9.031 | 0.0025244
296 | 1.581 | 9.037 | 0.0025261
296.5 | 1.596 | 9.052 | 0.0025303
297 | 1.619 | 9.075 | 0.0025367
297.5 | 1.639 | 9.095 | 0.0025423
298 | 1.668 | 9.124 | 0.0025504
298.5 | 1.698 | 9.154 | 0.0025588
299 | 1.731 | 9.187 | 0.002568
299.5 | 1.757 | 9.213 | 0.0025753
300 | 1.776 | 9.232 | 0.0025806
300.5 | 1.778 | 9.234 | 0.0025812
301 | 1.748 | 9.204 | 0.0025728
301.5 | 1.696 | 9.152 | 0.0025582
302 | 1.644 | 9.1 | 0.0025437
302.5 | 1.592 | 9.048 | 0.0025292
303 | 1.524 | 8.98 | 0.0025102
303.5 | 1.453 | 8.909 | 0.0024903
304 | 1.398 | 8.854 | 0.0024749
304.5 | 1.365 | 8.821 | 0.0024657
305 | 1.344 | 8.8 | 0.0024598
305.5 | 1.342 | 8.798 | 0.0024593
306 | 1.359 | 8.815 | 0.002464
306.5 | 1.4 | 8.856 | 0.0024755
307 | 1.449 | 8.905 | 0.0024892
307.5 | 1.498 | 8.954 | 0.0025029
308 | 1.524 | 8.98 | 0.0025102
308.5 | 1.531 | 8.987 | 0.0025121
309 | 1.523 | 8.979 | 0.0025099
309.5 | 1.5 | 8.956 | 0.0025035
310 | 1.464 | 8.92 | 0.0024934
310.5 | 1.426 | 8.882 | 0.0024828
311 | 1.399 | 8.855 | 0.0024752
311.5 | 1.384 | 8.84 | 0.002471
312 | 1.38 | 8.836 | 0.0024699
312.5 | 1.387 | 8.843 | 0.0024719
313 | 1.408 | 8.864 | 0.0024777
313.5 | 1.451 | 8.907 | 0.0024898
314 | 1.518 | 8.974 | 0.0025085
314.5 | 1.597 | 9.053 | 0.0025306
315 | 1.689 | 9.145 | 0.0025563
315.5 | 1.786 | 9.242 | 0.0025834
316 | 1.884 | 9.34 | 0.0026108
316.5 | 1.969 | 9.425 | 0.0026346
317 | 2.039 | 9.495 | 0.0026541
317.5 | 2.082 | 9.538 | 0.0026661
318 | 2.1 | 9.556 | 0.0026712
318.5 | 2.099 | 9.555 | 0.0026709
319 | 2.089 | 9.545 | 0.0026681
319.5 | 2.068 | 9.524 | 0.0026622
320 | 2.047 | 9.503 | 0.0026564
320.5 | 2.03 | 9.486 | 0.0026516
321 | 2.037 | 9.493 | 0.0026536
321.5 | 2.068 | 9.524 | 0.0026622
322 | 2.114 | 9.57 | 0.0026751
322.5 | 2.187 | 9.643 | 0.0026955
323 | 2.287 | 9.743 | 0.0027234
323.5 | 2.384 | 9.84 | 0.0027506
324 | 2.453 | 9.909 | 0.0027698
324.5 | 2.492 | 9.948 | 0.0027807
325 | 2.506 | 9.962 | 0.0027847
325.5 | 2.502 | 9.958 | 0.0027835
326 | 2.489 | 9.945 | 0.0027799
326.5 | 2.468 | 9.924 | 0.002774
327 | 2.428 | 9.884 | 0.0027629
327.5 | 2.386 | 9.842 | 0.0027511
328 | 2.354 | 9.81 | 0.0027422
328.5 | 2.337 | 9.793 | 0.0027374
329 | 2.345 | 9.801 | 0.0027397
329.5 | 2.366 | 9.822 | 0.0027455
330 | 2.414 | 9.87 | 0.0027589
330.5 | 2.49 | 9.946 | 0.0027802
331 | 2.566 | 10.022 | 0.0028014
331.5 | 2.624 | 10.08 | 0.0028176
332 | 2.668 | 10.124 | 0.0028299
332.5 | 2.691 | 10.147 | 0.0028364
333 | 2.692 | 10.148 | 0.0028367
333.5 | 2.665 | 10.121 | 0.0028291
334 | 2.602 | 10.058 | 0.0028115
334.5 | 2.514 | 9.97 | 0.0027869
335 | 2.414 | 9.87 | 0.0027589
335.5 | 2.285 | 9.741 | 0.0027229
336 | 2.138 | 9.594 | 0.0026818
336.5 | 2.001 | 9.457 | 0.0026435
337 | 1.881 | 9.337 | 0.00261
337.5 | 1.784 | 9.24 | 0.0025828
338 | 1.711 | 9.167 | 0.0025624
338.5 | 1.645 | 9.101 | 0.002544
339 | 1.592 | 9.048 | 0.0025292
339.5 | 1.561 | 9.017 | 0.0025205
340 | 1.536 | 8.992 | 0.0025135
340.5 | 1.508 | 8.964 | 0.0025057
341 | 1.466 | 8.922 | 0.002494
341.5 | 1.422 | 8.878 | 0.0024817
342 | 1.381 | 8.837 | 0.0024702
342.5 | 1.339 | 8.795 | 0.0024585
343 | 1.267 | 8.723 | 0.0024383
343.5 | 1.197 | 8.653 | 0.0024188
344 | 1.146 | 8.602 | 0.0024045
344.5 | 1.106 | 8.562 | 0.0023933
345 | 1.057 | 8.513 | 0.0023796
345.5 | 0.9949 | 8.4509 | 0.0023623
346 | 0.9226 | 8.3786 | 0.0023421
346.5 | 0.865 | 8.321 | 0.002326
347 | 0.8307 | 8.2867 | 0.0023164
347.5 | 0.8051 | 8.2611 | 0.0023092
348 | 0.7978 | 8.2538 | 0.0023072
348.5 | 0.8137 | 8.2697 | 0.0023116
349 | 0.8578 | 8.3138 | 0.0023239
349.5 | 0.9221 | 8.3781 | 0.0023419
350 | 1.003 | 8.459 | 0.0023645
350.5 | 1.085 | 8.541 | 0.0023875
351 | 1.181 | 8.637 | 0.0024143
351.5 | 1.274 | 8.73 | 0.0024403
352 | 1.342 | 8.798 | 0.0024593
352.5 | 1.373 | 8.829 | 0.002468
353 | 1.39 | 8.846 | 0.0024727
353.5 | 1.41 | 8.866 | 0.0024783
354 | 1.426 | 8.882 | 0.0024828
354.5 | 1.443 | 8.899 | 0.0024875
355 | 1.473 | 8.929 | 0.0024959
355.5 | 1.524 | 8.98 | 0.0025102
356 | 1.574 | 9.03 | 0.0025241
356.5 | 1.615 | 9.071 | 0.0025356
357 | 1.658 | 9.114 | 0.0025476
357.5 | 1.718 | 9.174 | 0.0025644
358 | 1.792 | 9.248 | 0.0025851
358.5 | 1.891 | 9.347 | 0.0026128
359 | 2.006 | 9.462 | 0.0026449
359.5 | 2.116 | 9.572 | 0.0026756
360 | 2.222 | 9.678 | 0.0027053
360.5 | 2.331 | 9.787 | 0.0027357
361 | 2.426 | 9.882 | 0.0027623
361.5 | 2.493 | 9.949 | 0.002781
362 | 2.535 | 9.991 | 0.0027928
362.5 | 2.553 | 10.009 | 0.0027978
363 | 2.541 | 9.997 | 0.0027944
363.5 | 2.486 | 9.942 | 0.0027791
364 | 2.41 | 9.866 | 0.0027578
364.5 | 2.338 | 9.794 | 0.0027377
365 | 2.286 | 9.742 | 0.0027232
365.5 | 2.247 | 9.703 | 0.0027123
366 | 2.221 | 9.677 | 0.002705
366.5 | 2.193 | 9.649 | 0.0026972
367 | 2.153 | 9.609 | 0.002686
367.5 | 2.114 | 9.57 | 0.0026751
368 | 2.086 | 9.542 | 0.0026673
368.5 | 2.055 | 9.511 | 0.0026586
369 | 2.024 | 9.48 | 0.0026499
369.5 | 1.99 | 9.446 | 0.0026404
370 | 1.953 | 9.409 | 0.0026301
370.5 | 1.912 | 9.368 | 0.0026186
371 | 1.863 | 9.319 | 0.0026049
371.5 | 1.807 | 9.263 | 0.0025893
372 | 1.752 | 9.208 | 0.0025739
372.5 | 1.7 | 9.156 | 0.0025594
373 | 1.637 | 9.093 | 0.0025418
373.5 | 1.571 | 9.027 | 0.0025233
374 | 1.514 | 8.97 | 0.0025074
374.5 | 1.471 | 8.927 | 0.0024953
375 | 1.463 | 8.919 | 0.0024931
375.5 | 1.5 | 8.956 | 0.0025035
376 | 1.57 | 9.026 | 0.002523
376.5 | 1.674 | 9.13 | 0.0025521
377 | 1.783 | 9.239 | 0.0025826
377.5 | 1.882 | 9.338 | 0.0026102
378 | 1.961 | 9.417 | 0.0026323
378.5 | 2.025 | 9.481 | 0.0026502
379 | 2.093 | 9.549 | 0.0026692
379.5 | 2.156 | 9.612 | 0.0026868
380 | 2.192 | 9.648 | 0.0026969
380.5 | 2.206 | 9.662 | 0.0027008
381 | 2.203 | 9.659 | 0.0027
381.5 | 2.183 | 9.639 | 0.0026944
382 | 2.17 | 9.626 | 0.0026907
382.5 | 2.179 | 9.635 | 0.0026933
383 | 2.205 | 9.661 | 0.0027005
383.5 | 2.231 | 9.687 | 0.0027078
384 | 2.255 | 9.711 | 0.0027145
384.5 | 2.268 | 9.724 | 0.0027181
385 | 2.28 | 9.736 | 0.0027215
385.5 | 2.308 | 9.764 | 0.0027293
386 | 2.352 | 9.808 | 0.0027416
386.5 | 2.42 | 9.876 | 0.0027606
387 | 2.488 | 9.944 | 0.0027796
387.5 | 2.537 | 9.993 | 0.0027933
388 | 2.568 | 10.024 | 0.002802
388.5 | 2.566 | 10.022 | 0.0028014
389 | 2.546 | 10.002 | 0.0027958
389.5 | 2.538 | 9.994 | 0.0027936
390 | 2.543 | 9.999 | 0.002795
390.5 | 2.54 | 9.996 | 0.0027942
391 | 2.52 | 9.976 | 0.0027886
391.5 | 2.489 | 9.945 | 0.0027799
392 | 2.45 | 9.906 | 0.002769
392.5 | 2.43 | 9.886 | 0.0027634
393 | 2.432 | 9.888 | 0.002764
393.5 | 2.47 | 9.926 | 0.0027746
394 | 2.523 | 9.979 | 0.0027894
394.5 | 2.571 | 10.027 | 0.0028028
395 | 2.604 | 10.06 | 0.0028121
395.5 | 2.629 | 10.085 | 0.002819
396 | 2.643 | 10.099 | 0.002823
396.5 | 2.664 | 10.12 | 0.0028288
397 | 2.686 | 10.142 | 0.002835
397.5 | 2.703 | 10.159 | 0.0028397
398 | 2.709 | 10.165 | 0.0028414
398.5 | 2.691 | 10.147 | 0.0028364
399 | 2.65 | 10.106 | 0.0028249
399.5 | 2.612 | 10.068 | 0.0028143
400 | 2.588 | 10.044 | 0.0028076
400.5 | 2.574 | 10.03 | 0.0028037
401 | 2.562 | 10.018 | 0.0028003
401.5 | 2.535 | 9.991 | 0.0027928
402 | 2.486 | 9.942 | 0.0027791
402.5 | 2.429 | 9.885 | 0.0027631
403 | 2.377 | 9.833 | 0.0027486
403.5 | 2.323 | 9.779 | 0.0027335
404 | 2.276 | 9.732 | 0.0027204
404.5 | 2.24 | 9.696 | 0.0027103
405 | 2.218 | 9.674 | 0.0027042
405.5 | 2.183 | 9.639 | 0.0026944
406 | 2.137 | 9.593 | 0.0026815
406.5 | 2.092 | 9.548 | 0.0026689
407 | 2.055 | 9.511 | 0.0026586
407.5 | 2.014 | 9.47 | 0.0026471
408 | 1.971 | 9.427 | 0.0026351
408.5 | 1.915 | 9.371 | 0.0026195
409 | 1.862 | 9.318 | 0.0026046
409.5 | 1.821 | 9.277 | 0.0025932
410 | 1.786 | 9.242 | 0.0025834
410.5 | 1.745 | 9.201 | 0.0025719
411 | 1.713 | 9.169 | 0.002563
411.5 | 1.684 | 9.14 | 0.0025549
412 | 1.642 | 9.098 | 0.0025431
412.5 | 1.599 | 9.055 | 0.0025311
413 | 1.566 | 9.022 | 0.0025219
413.5 | 1.55 | 9.006 | 0.0025174
414 | 1.552 | 9.008 | 0.002518
414.5 | 1.546 | 9.002 | 0.0025163
415 | 1.522 | 8.978 | 0.0025096
415.5 | 1.491 | 8.947 | 0.0025009
416 | 1.482 | 8.938 | 0.0024984
416.5 | 1.485 | 8.941 | 0.0024993
417 | 1.49 | 8.946 | 0.0025007
417.5 | 1.511 | 8.967 | 0.0025065
418 | 1.554 | 9.01 | 0.0025185
418.5 | 1.595 | 9.051 | 0.00253
419 | 1.641 | 9.097 | 0.0025429
419.5 | 1.718 | 9.174 | 0.0025644
420 | 1.824 | 9.28 | 0.002594
420.5 | 1.95 | 9.406 | 0.0026292
421 | 2.078 | 9.534 | 0.002665
421.5 | 2.173 | 9.629 | 0.0026916
422 | 2.239 | 9.695 | 0.00271
422.5 | 2.29 | 9.746 | 0.0027243
423 | 2.339 | 9.795 | 0.002738
423.5 | 2.395 | 9.851 | 0.0027536
424 | 2.453 | 9.909 | 0.0027698
424.5 | 2.516 | 9.972 | 0.0027875
425 | 2.574 | 10.03 | 0.0028037
425.5 | 2.612 | 10.068 | 0.0028143
426 | 2.651 | 10.107 | 0.0028252
426.5 | 2.716 | 10.172 | 0.0028434
427 | 2.799 | 10.255 | 0.0028666
427.5 | 2.892 | 10.348 | 0.0028926
428 | 2.971 | 10.427 | 0.0029146
428.5 | 3.033 | 10.489 | 0.002932
429 | 3.093 | 10.549 | 0.0029487
429.5 | 3.139 | 10.595 | 0.0029616
430 | 3.168 | 10.624 | 0.0029697
430.5 | 3.19 | 10.646 | 0.0029759
431 | 3.185 | 10.641 | 0.0029745
431.5 | 3.156 | 10.612 | 0.0029664
432 | 3.115 | 10.571 | 0.0029549
432.5 | 3.057 | 10.513 | 0.0029387
433 | 3.01 | 10.466 | 0.0029255
433.5 | 3.004 | 10.46 | 0.0029239
434 | 3.016 | 10.472 | 0.0029272
434.5 | 3.032 | 10.488 | 0.0029317
435 | 3.049 | 10.505 | 0.0029364
435.5 | 3.068 | 10.524 | 0.0029418
436 | 3.098 | 10.554 | 0.0029501
436.5 | 3.121 | 10.577 | 0.0029566
437 | 3.13 | 10.586 | 0.0029591
437.5 | 3.128 | 10.584 | 0.0029585
438 | 3.111 | 10.567 | 0.0029538
438.5 | 3.09 | 10.546 | 0.0029479
439 | 3.057 | 10.513 | 0.0029387
439.5 | 3.012 | 10.468 | 0.0029261
440 | 2.966 | 10.422 | 0.0029132
440.5 | 2.916 | 10.372 | 0.0028993
441 | 2.839 | 10.295 | 0.0028777
441.5 | 2.764 | 10.22 | 0.0028568
442 | 2.709 | 10.165 | 0.0028414
442.5 | 2.679 | 10.135 | 0.002833
443 | 2.67 | 10.126 | 0.0028305
443.5 | 2.675 | 10.131 | 0.0028319
444 | 2.683 | 10.139 | 0.0028341
444.5 | 2.695 | 10.151 | 0.0028375
445 | 2.696 | 10.152 | 0.0028378
445.5 | 2.678 | 10.134 | 0.0028327
446 | 2.641 | 10.097 | 0.0028224
446.5 | 2.574 | 10.03 | 0.0028037
447 | 2.474 | 9.93 | 0.0027757
447.5 | 2.36 | 9.816 | 0.0027438
448 | 2.24 | 9.696 | 0.0027103
448.5 | 2.145 | 9.601 | 0.0026838
449 | 2.071 | 9.527 | 0.0026631
449.5 | 2.017 | 9.473 | 0.002648
450 | 1.984 | 9.44 | 0.0026387
450.5 | 1.994 | 9.45 | 0.0026415
451 | 2.038 | 9.494 | 0.0026538
451.5 | 2.101 | 9.557 | 0.0026715
452 | 2.185 | 9.641 | 0.0026949
452.5 | 2.277 | 9.733 | 0.0027206
453 | 2.372 | 9.828 | 0.0027472
453.5 | 2.45 | 9.906 | 0.002769
454 | 2.522 | 9.978 | 0.0027891
454.5 | 2.58 | 10.036 | 0.0028053
455 | 2.616 | 10.072 | 0.0028154
455.5 | 2.635 | 10.091 | 0.0028207
456 | 2.628 | 10.084 | 0.0028188
456.5 | 2.604 | 10.06 | 0.0028121
457 | 2.589 | 10.045 | 0.0028079
457.5 | 2.605 | 10.061 | 0.0028123
458 | 2.655 | 10.111 | 0.0028263
458.5 | 2.725 | 10.181 | 0.0028459
459 | 2.789 | 10.245 | 0.0028638
459.5 | 2.84 | 10.296 | 0.002878
460 | 2.882 | 10.338 | 0.0028898
460.5 | 2.925 | 10.381 | 0.0029018
461 | 2.958 | 10.414 | 0.002911
461.5 | 2.971 | 10.427 | 0.0029146
462 | 2.962 | 10.418 | 0.0029121
462.5 | 2.919 | 10.375 | 0.0029001
463 | 2.84 | 10.296 | 0.002878
463.5 | 2.741 | 10.197 | 0.0028503
464 | 2.64 | 10.096 | 0.0028221
464.5 | 2.555 | 10.011 | 0.0027984
465 | 2.468 | 9.924 | 0.002774
465.5 | 2.372 | 9.828 | 0.0027472
466 | 2.265 | 9.721 | 0.0027173
466.5 | 2.189 | 9.645 | 0.002696
467 | 2.145 | 9.601 | 0.0026838
467.5 | 2.136 | 9.592 | 0.0026812
468 | 2.154 | 9.61 | 0.0026863
468.5 | 2.182 | 9.638 | 0.0026941
469 | 2.189 | 9.645 | 0.002696
469.5 | 2.184 | 9.64 | 0.0026947
470 | 2.169 | 9.625 | 0.0026905
470.5 | 2.156 | 9.612 | 0.0026868
471 | 2.147 | 9.603 | 0.0026843
471.5 | 2.126 | 9.582 | 0.0026784
472 | 2.1 | 9.556 | 0.0026712
472.5 | 2.09 | 9.546 | 0.0026684
473 | 2.086 | 9.542 | 0.0026673
473.5 | 2.08 | 9.536 | 0.0026656
474 | 2.066 | 9.522 | 0.0026617
474.5 | 2.07 | 9.526 | 0.0026628
475 | 2.068 | 9.524 | 0.0026622
475.5 | 2.055 | 9.511 | 0.0026586
476 | 2.028 | 9.484 | 0.002651
476.5 | 2.005 | 9.461 | 0.0026446
477 | 1.975 | 9.431 | 0.0026362
477.5 | 1.954 | 9.41 | 0.0026304
478 | 1.924 | 9.38 | 0.002622
478.5 | 1.897 | 9.353 | 0.0026144
479 | 1.877 | 9.333 | 0.0026088
479.5 | 1.84 | 9.296 | 0.0025985
480 | 1.789 | 9.245 | 0.0025842
480.5 | 1.76 | 9.216 | 0.0025761
481 | 1.756 | 9.212 | 0.002575
481.5 | 1.791 | 9.247 | 0.0025848
482 | 1.844 | 9.3 | 0.0025996
482.5 | 1.898 | 9.354 | 0.0026147
483 | 1.944 | 9.4 | 0.0026276
483.5 | 1.978 | 9.434 | 0.0026371
484 | 2.011 | 9.467 | 0.0026463
484.5 | 2.061 | 9.517 | 0.0026603
485 | 2.123 | 9.579 | 0.0026776
485.5 | 2.187 | 9.643 | 0.0026955
486 | 2.231 | 9.687 | 0.0027078
486.5 | 2.272 | 9.728 | 0.0027193
487 | 2.322 | 9.778 | 0.0027332
487.5 | 2.383 | 9.839 | 0.0027503
488 | 2.458 | 9.914 | 0.0027712
488.5 | 2.54 | 9.996 | 0.0027942
489 | 2.596 | 10.052 | 0.0028098
489.5 | 2.631 | 10.087 | 0.0028196
490 | 2.651 | 10.107 | 0.0028252
490.5 | 2.676 | 10.132 | 0.0028322
491 | 2.717 | 10.173 | 0.0028436
491.5 | 2.761 | 10.217 | 0.0028559
492 | 2.771 | 10.227 | 0.0028587
492.5 | 2.742 | 10.198 | 0.0028506
493 | 2.671 | 10.127 | 0.0028308
493.5 | 2.59 | 10.046 | 0.0028081
494 | 2.505 | 9.961 | 0.0027844
494.5 | 2.431 | 9.887 | 0.0027637
495 | 2.363 | 9.819 | 0.0027447
495.5 | 2.287 | 9.743 | 0.0027234
496 | 2.192 | 9.648 | 0.0026969
496.5 | 2.1 | 9.556 | 0.0026712
497 | 2.025 | 9.481 | 0.0026502
497.5 | 1.98 | 9.436 | 0.0026376
498 | 1.953 | 9.409 | 0.0026301
498.5 | 1.935 | 9.391 | 0.002625
499 | 1.92 | 9.376 | 0.0026209
499.5 | 1.915 | 9.371 | 0.0026195
500 | 1.93 | 9.386 | 0.0026237
500.5 | 1.961 | 9.417 | 0.0026323
501 | 1.984 | 9.44 | 0.0026387
501.5 | 2.002 | 9.458 | 0.0026438
502 | 2.003 | 9.459 | 0.0026441
502.5 | 1.99 | 9.446 | 0.0026404
503 | 1.974 | 9.43 | 0.002636
503.5 | 1.98 | 9.436 | 0.0026376
504 | 2.01 | 9.466 | 0.002646
504.5 | 2.051 | 9.507 | 0.0026575
505 | 2.101 | 9.557 | 0.0026715
505.5 | 2.171 | 9.627 | 0.002691
506 | 2.236 | 9.692 | 0.0027092
506.5 | 2.279 | 9.735 | 0.0027212
507 | 2.287 | 9.743 | 0.0027234
507.5 | 2.283 | 9.739 | 0.0027223
508 | 2.265 | 9.721 | 0.0027173
508.5 | 2.246 | 9.702 | 0.002712
509 | 2.216 | 9.672 | 0.0027036
509.5 | 2.184 | 9.64 | 0.0026947
510 | 2.146 | 9.602 | 0.002684
510.5 | 2.102 | 9.558 | 0.0026717
511 | 2.048 | 9.504 | 0.0026566
511.5 | 1.999 | 9.455 | 0.0026429
512 | 1.97 | 9.426 | 0.0026348
512.5 | 1.927 | 9.383 | 0.0026228
513 | 1.865 | 9.321 | 0.0026055
513.5 | 1.805 | 9.261 | 0.0025887
514 | 1.776 | 9.232 | 0.0025806
514.5 | 1.75 | 9.206 | 0.0025733
515 | 1.715 | 9.171 | 0.0025636
515.5 | 1.669 | 9.125 | 0.0025507
516 | 1.631 | 9.087 | 0.0025401
516.5 | 1.59 | 9.046 | 0.0025286
517 | 1.565 | 9.021 | 0.0025216
517.5 | 1.576 | 9.032 | 0.0025247
518 | 1.628 | 9.084 | 0.0025392
518.5 | 1.715 | 9.171 | 0.0025636
519 | 1.797 | 9.253 | 0.0025865
519.5 | 1.875 | 9.331 | 0.0026083
520 | 1.962 | 9.418 | 0.0026326
520.5 | 2.059 | 9.515 | 0.0026597
521 | 2.14 | 9.596 | 0.0026824
521.5 | 2.213 | 9.669 | 0.0027028
522 | 2.282 | 9.738 | 0.002722
522.5 | 2.335 | 9.791 | 0.0027369
523 | 2.371 | 9.827 | 0.0027469
523.5 | 2.415 | 9.871 | 0.0027592
524 | 2.478 | 9.934 | 0.0027768
524.5 | 2.539 | 9.995 | 0.0027939
525 | 2.584 | 10.04 | 0.0028065
525.5 | 2.62 | 10.076 | 0.0028165
526 | 2.665 | 10.121 | 0.0028291
526.5 | 2.718 | 10.174 | 0.0028439
527 | 2.783 | 10.239 | 0.0028621
527.5 | 2.837 | 10.293 | 0.0028772
528 | 2.875 | 10.331 | 0.0028878
528.5 | 2.89 | 10.346 | 0.002892
529 | 2.872 | 10.328 | 0.002887
529.5 | 2.829 | 10.285 | 0.0028749
530 | 2.79 | 10.246 | 0.002864
530.5 | 2.751 | 10.207 | 0.0028531
531 | 2.711 | 10.167 | 0.002842
531.5 | 2.682 | 10.138 | 0.0028339
532 | 2.688 | 10.144 | 0.0028355
532.5 | 2.721 | 10.177 | 0.0028448
533 | 2.768 | 10.224 | 0.0028579
533.5 | 2.837 | 10.293 | 0.0028772
534 | 2.919 | 10.375 | 0.0029001
534.5 | 2.997 | 10.453 | 0.0029219
535 | 3.066 | 10.522 | 0.0029412
535.5 | 3.117 | 10.573 | 0.0029555
536 | 3.148 | 10.604 | 0.0029641
536.5 | 3.162 | 10.618 | 0.002968
537 | 3.154 | 10.61 | 0.0029658
537.5 | 3.15 | 10.606 | 0.0029647
538 | 3.153 | 10.609 | 0.0029655
538.5 | 3.166 | 10.622 | 0.0029691
539 | 3.171 | 10.627 | 0.0029705
539.5 | 3.179 | 10.635 | 0.0029728
540 | 3.21 | 10.666 | 0.0029814
540.5 | 3.269 | 10.725 | 0.0029979
541 | 3.329 | 10.785 | 0.0030147
541.5 | 3.379 | 10.835 | 0.0030287
542 | 3.4 | 10.856 | 0.0030346
542.5 | 3.382 | 10.838 | 0.0030295
543 | 3.338 | 10.794 | 0.0030172
543.5 | 3.286 | 10.742 | 0.0030027
544 | 3.245 | 10.701 | 0.0029912
544.5 | 3.208 | 10.664 | 0.0029809
545 | 3.17 | 10.626 | 0.0029703
545.5 | 3.146 | 10.602 | 0.0029636
546 | 3.147 | 10.603 | 0.0029638
546.5 | 3.179 | 10.635 | 0.0029728
547 | 3.226 | 10.682 | 0.0029859
547.5 | 3.269 | 10.725 | 0.0029979
548 | 3.317 | 10.773 | 0.0030114
548.5 | 3.347 | 10.803 | 0.0030197
549 | 3.378 | 10.834 | 0.0030284
549.5 | 3.428 | 10.884 | 0.0030424
550 | 3.506 | 10.962 | 0.0030642
550.5 | 3.595 | 11.051 | 0.0030891
551 | 3.691 | 11.147 | 0.0031159
551.5 | 3.802 | 11.258 | 0.0031469
552 | 3.947 | 11.403 | 0.0031875
552.5 | 4.125 | 11.581 | 0.0032372
553 | 4.322 | 11.778 | 0.0032923
553.5 | 4.521 | 11.977 | 0.0033479
554 | 4.72 | 12.176 | 0.0034035
554.5 | 4.921 | 12.377 | 0.0034597
555 | 5.117 | 12.573 | 0.0035145
555.5 | 5.329 | 12.785 | 0.0035738
556 | 5.546 | 13.002 | 0.0036344
556.5 | 5.742 | 13.198 | 0.0036892
557 | 5.917 | 13.373 | 0.0037381
557.5 | 6.089 | 13.545 | 0.0037862
558 | 6.276 | 13.732 | 0.0038385
558.5 | 6.503 | 13.959 | 0.0039019
559 | 6.78 | 14.236 | 0.0039794
559.5 | 7.087 | 14.543 | 0.0040652
560 | 7.417 | 14.873 | 0.0041574
560.5 | 7.78 | 15.236 | 0.0042589
561 | 8.181 | 15.637 | 0.004371
561.5 | 8.612 | 16.068 | 0.0044915
562 | 9.065 | 16.521 | 0.0046181
562.5 | 9.519 | 16.975 | 0.004745
563 | 9.966 | 17.422 | 0.0048699
563.5 | 10.43 | 17.886 | 0.0049996
564 | 10.93 | 18.386 | 0.0051394
564.5 | 11.45 | 18.906 | 0.0052848
565 | 11.99 | 19.446 | 0.0054357
565.5 | 12.54 | 19.996 | 0.0055894
566 | 13.08 | 20.536 | 0.0057404
566.5 | 13.63 | 21.086 | 0.0058941
567 | 14.23 | 21.686 | 0.0060618
567.5 | 14.88 | 22.336 | 0.0062435
568 | 15.57 | 23.026 | 0.0064364
568.5 | 16.34 | 23.796 | 0.0066517
569 | 17.17 | 24.626 | 0.0068837
569.5 | 18.04 | 25.496 | 0.0071269
570 | 18.95 | 26.406 | 0.0073812
570.5 | 19.9 | 27.356 | 0.0076468
571 | 20.86 | 28.316 | 0.0079151
571.5 | 21.81 | 29.266 | 0.0081807
572 | 22.76 | 30.216 | 0.0084462
572.5 | 23.73 | 31.186 | 0.0087174
573 | 24.74 | 32.196 | 0.0089997
573.5 | 25.81 | 33.266 | 0.0092988
574 | 26.94 | 34.396 | 0.0096147
574.5 | 28.14 | 35.596 | 0.0099501
575 | 29.43 | 36.886 | 0.010311
575.5 | 30.83 | 38.286 | 0.010702
576 | 32.28 | 39.736 | 0.011107
576.5 | 33.85 | 41.306 | 0.011546
577 | 35.5 | 42.956 | 0.012007
577.5 | 37.25 | 44.706 | 0.012497
578 | 39.07 | 46.526 | 0.013005
578.5 | 41.01 | 48.466 | 0.013548
579 | 43.05 | 50.506 | 0.014118
579.5 | 45.2 | 52.656 | 0.014719
580 | 47.48 | 54.936 | 0.015356
580.5 | 49.9 | 57.356 | 0.016033
581 | 52.5 | 59.956 | 0.016759
581.5 | 55.3 | 62.756 | 0.017542
582 | 58.33 | 65.786 | 0.018389
582.5 | 61.56 | 69.016 | 0.019292
583 | 64.99 | 72.446 | 0.020251
583.5 | 68.62 | 76.076 | 0.021265
584 | 72.41 | 79.866 | 0.022325
584.5 | 76.37 | 83.826 | 0.023432
585 | 80.51 | 87.966 | 0.024589
585.5 | 84.83 | 92.286 | 0.025797
586 | 89.33 | 96.786 | 0.027054
586.5 | 94.06 | 101.516 | 0.028377
587 | 99.02 | 106.476 | 0.029763
587.5 | 104.2 | 111.656 | 0.031211
588 | 109.7 | 117.156 | 0.032748
588.5 | 115.5 | 122.956 | 0.03437
589 | 121.6 | 129.056 | 0.036075
589.5 | 128 | 135.456 | 0.037864
590 | 134.6 | 142.056 | 0.039709
590.5 | 141.6 | 149.056 | 0.041665
591 | 148.8 | 156.256 | 0.043678
591.5 | 156.3 | 163.756 | 0.045774
592 | 164.1 | 171.556 | 0.047955
592.5 | 172.2 | 179.656 | 0.050219
593 | 180.7 | 188.156 | 0.052595
593.5 | 189.6 | 197.056 | 0.055083
594 | 198.9 | 206.356 | 0.057682
594.5 | 208.8 | 216.256 | 0.06045
595 | 219.1 | 226.556 | 0.063329
595.5 | 230 | 237.456 | 0.066376
596 | 241.5 | 248.956 | 0.06959
596.5 | 253.4 | 260.856 | 0.072917
597 | 265.9 | 273.356 | 0.076411
597.5 | 279 | 286.456 | 0.080073
598 | 292.8 | 300.256 | 0.08393
598.5 | 307.1 | 314.556 | 0.087927
599 | 322 | 329.456 | 0.092092
599.5 | 337.8 | 345.256 | 0.096509
600 | 354.2 | 361.656 | 0.10109
600.5 | 371.6 | 379.056 | 0.10596
601 | 389.7 | 397.156 | 0.11102
601.5 | 408.7 | 416.156 | 0.11633
602 | 428.6 | 436.056 | 0.12189
602.5 | 449.5 | 456.956 | 0.12773
603 | 471.5 | 478.956 | 0.13388
603.5 | 494.6 | 502.056 | 0.14034
604 | 519 | 526.456 | 0.14716
604.5 | 544.7 | 552.156 | 0.15434
605 | 571.6 | 579.056 | 0.16186
605.5 | 600 | 607.456 | 0.1698
606 | 629.8 | 637.256 | 0.17813
606.5 | 661.1 | 668.556 | 0.18688
607 | 693.9 | 701.356 | 0.19605
607.5 | 728.3 | 735.756 | 0.20566
608 | 764.3 | 771.756 | 0.21573
608.5 | 801.9 | 809.356 | 0.22624
609 | 841.4 | 848.856 | 0.23728
609.5 | 882.6 | 890.056 | 0.2488
610 | 925.8 | 933.256 | 0.26087
610.5 | 971 | 978.456 | 0.27351
611 | 1018 | 1025.456 | 0.28664
611.5 | 1067 | 1074.456 | 0.30034
612 | 1119 | 1126.456 | 0.31488
612.5 | 1172 | 1179.456 | 0.32969
613 | 1227 | 1234.456 | 0.34507
613.5 | 1285 | 1292.456 | 0.36128
614 | 1345 | 1352.456 | 0.37805
614.5 | 1406 | 1413.456 | 0.3951
615 | 1471 | 1478.456 | 0.41327
615.5 | 1537 | 1544.456 | 0.43172
616 | 1607 | 1614.456 | 0.45129
616.5 | 1679 | 1686.456 | 0.47141
617 | 1754 | 1761.456 | 0.49238
617.5 | 1833 | 1840.456 | 0.51446
618 | 1914 | 1921.456 | 0.5371
618.5 | 1997 | 2004.456 | 0.5603
619 | 2083 | 2090.456 | 0.58434
619.5 | 2172 | 2179.456 | 0.60922
620 | 2262 | 2269.456 | 0.63438
620.5 | 2355 | 2362.456 | 0.66037
621 | 2449 | 2456.456 | 0.68665
621.5 | 2545 | 2552.456 | 0.71348
622 | 2642 | 2649.456 | 0.7406
622.5 | 2739 | 2746.456 | 0.76771
623 | 2835 | 2842.456 | 0.79455
623.5 | 2930 | 2937.456 | 0.8211
624 | 3022 | 3029.456 | 0.84682
624.5 | 3111 | 3118.456 | 0.8717
625 | 3195 | 3202.456 | 0.89518
625.5 | 3273 | 3280.456 | 0.91698
626 | 3345 | 3352.456 | 0.93711
626.5 | 3408 | 3415.456 | 0.95472
627 | 3463 | 3470.456 | 0.97009
627.5 | 3507 | 3514.456 | 0.98239
628 | 3540 | 3547.456 | 0.99161
628.5 | 3561 | 3568.456 | 0.99748
629 | 3570 | 3577.456 | 1
629.5 | 3566 | 3573.456 | 0.99888
630 | 3549 | 3556.456 | 0.99413
630.5 | 3518 | 3525.456 | 0.98546
631 | 3473 | 3480.456 | 0.97289
631.5 | 3415 | 3422.456 | 0.95667
632 | 3344 | 3351.456 | 0.93683
632.5 | 3261 | 3268.456 | 0.91363
633 | 3167 | 3174.456 | 0.88735
633.5 | 3064 | 3071.456 | 0.85856
634 | 2953 | 2960.456 | 0.82753
634.5 | 2834 | 2841.456 | 0.79427
635 | 2709 | 2716.456 | 0.75933
635.5 | 2580 | 2587.456 | 0.72327
636 | 2448 | 2455.456 | 0.68637
636.5 | 2314 | 2321.456 | 0.64891
637 | 2179 | 2186.456 | 0.61118
637.5 | 2045 | 2052.456 | 0.57372
638 | 1913 | 1920.456 | 0.53682
638.5 | 1785 | 1792.456 | 0.50104
639 | 1660 | 1667.456 | 0.4661
639.5 | 1539 | 1546.456 | 0.43228
640 | 1425 | 1432.456 | 0.40041
640.5 | 1316 | 1323.456 | 0.36994
641 | 1214 | 1221.456 | 0.34143
641.5 | 1119 | 1126.456 | 0.31488
642 | 1029 | 1036.456 | 0.28972
642.5 | 946.8 | 954.256 | 0.26674
643 | 870.4 | 877.856 | 0.24539
643.5 | 799.8 | 807.256 | 0.22565
644 | 735.1 | 742.556 | 0.20757
644.5 | 675.4 | 682.856 | 0.19088
645 | 620.5 | 627.956 | 0.17553
645.5 | 570.2 | 577.656 | 0.16147
646 | 524.1 | 531.556 | 0.14858
646.5 | 482 | 489.456 | 0.13682
647 | 443.4 | 450.856 | 0.12603
647.5 | 408 | 415.456 | 0.11613
648 | 375.6 | 383.056 | 0.10707
648.5 | 345.9 | 353.356 | 0.098773
649 | 318.7 | 326.156 | 0.09117
649.5 | 294 | 301.456 | 0.084265
650 | 271.5 | 278.956 | 0.077976
650.5 | 250.9 | 258.356 | 0.072218
651 | 232.1 | 239.556 | 0.066963
651.5 | 214.9 | 222.356 | 0.062155
652 | 199.2 | 206.656 | 0.057766
652.5 | 184.9 | 192.356 | 0.053769
653 | 171.8 | 179.256 | 0.050107
653.5 | 159.7 | 167.156 | 0.046725
654 | 148.7 | 156.156 | 0.04365
654.5 | 138.6 | 146.056 | 0.040827
655 | 129.3 | 136.756 | 0.038227
655.5 | 120.7 | 128.156 | 0.035823
656 | 112.7 | 120.156 | 0.033587
656.5 | 105.2 | 112.656 | 0.031491
657 | 98.26 | 105.716 | 0.029551
657.5 | 91.73 | 99.186 | 0.027725
658 | 85.67 | 93.126 | 0.026031
658.5 | 80.03 | 87.486 | 0.024455
659 | 74.78 | 82.236 | 0.022987
659.5 | 69.97 | 77.426 | 0.021643
660 | 65.53 | 72.986 | 0.020402
660.5 | 61.44 | 68.896 | 0.019258
661 | 57.67 | 65.126 | 0.018205
661.5 | 54.14 | 61.596 | 0.017218
662 | 50.81 | 58.266 | 0.016287
662.5 | 47.72 | 55.176 | 0.015423
663 | 44.85 | 52.306 | 0.014621
663.5 | 42.17 | 49.626 | 0.013872
664 | 39.64 | 47.096 | 0.013165
664.5 | 37.24 | 44.696 | 0.012494
665 | 35 | 42.456 | 0.011868
665.5 | 32.95 | 40.406 | 0.011295
666 | 31.1 | 38.556 | 0.010777
666.5 | 29.39 | 36.846 | 0.010299
667 | 27.81 | 35.266 | 0.0098578
667.5 | 26.35 | 33.806 | 0.0094497
668 | 24.98 | 32.436 | 0.0090668
668.5 | 23.73 | 31.186 | 0.0087174
669 | 22.59 | 30.046 | 0.0083987
669.5 | 21.5 | 28.956 | 0.008094
670 | 20.43 | 27.886 | 0.0077949
670.5 | 19.44 | 26.896 | 0.0075182
671 | 18.54 | 25.996 | 0.0072666
671.5 | 17.7 | 25.156 | 0.0070318
672 | 16.89 | 24.346 | 0.0068054
672.5 | 16.1 | 23.556 | 0.0065846
673 | 15.37 | 22.826 | 0.0063805
673.5 | 14.68 | 22.136 | 0.0061876
674 | 14.05 | 21.506 | 0.0060115
674.5 | 13.51 | 20.966 | 0.0058606
675 | 13 | 20.456 | 0.005718
675.5 | 12.5 | 19.956 | 0.0055783
676 | 12.04 | 19.496 | 0.0054497
676.5 | 11.62 | 19.076 | 0.0053323
677 | 11.2 | 18.656 | 0.0052149
677.5 | 10.78 | 18.236 | 0.0050975
678 | 10.36 | 17.816 | 0.0049801
678.5 | 9.953 | 17.409 | 0.0048663
679 | 9.569 | 17.025 | 0.004759
679.5 | 9.239 | 16.695 | 0.0046667
680 | 8.949 | 16.405 | 0.0045857
680.5 | 8.667 | 16.123 | 0.0045068
681 | 8.404 | 15.86 | 0.0044333
681.5 | 8.177 | 15.633 | 0.0043699
682 | 7.986 | 15.442 | 0.0043165
682.5 | 7.805 | 15.261 | 0.0042659
683 | 7.594 | 15.05 | 0.0042069
683.5 | 7.353 | 14.809 | 0.0041395
684 | 7.095 | 14.551 | 0.0040674
684.5 | 6.849 | 14.305 | 0.0039987
685 | 6.632 | 14.088 | 0.003938
685.5 | 6.442 | 13.898 | 0.0038849
686 | 6.25 | 13.706 | 0.0038312
686.5 | 6.077 | 13.533 | 0.0037829
687 | 5.952 | 13.408 | 0.0037479
687.5 | 5.873 | 13.329 | 0.0037258
688 | 5.811 | 13.267 | 0.0037085
688.5 | 5.728 | 13.184 | 0.0036853
689 | 5.633 | 13.089 | 0.0036587
689.5 | 5.548 | 13.004 | 0.003635
690 | 5.476 | 12.932 | 0.0036149
690.5 | 5.407 | 12.863 | 0.0035956
691 | 5.342 | 12.798 | 0.0035774
691.5 | 5.248 | 12.704 | 0.0035511
692 | 5.123 | 12.579 | 0.0035162
692.5 | 4.997 | 12.453 | 0.003481
693 | 4.88 | 12.336 | 0.0034483
693.5 | 4.759 | 12.215 | 0.0034144
694 | 4.62 | 12.076 | 0.0033756
694.5 | 4.468 | 11.924 | 0.0033331
695 | 4.302 | 11.758 | 0.0032867
695.5 | 4.138 | 11.594 | 0.0032409
696 | 3.976 | 11.432 | 0.0031956
696.5 | 3.807 | 11.263 | 0.0031483
697 | 3.622 | 11.078 | 0.0030966
697.5 | 3.423 | 10.879 | 0.003041
698 | 3.234 | 10.69 | 0.0029882
698.5 | 3.033 | 10.489 | 0.002932
699 | 2.803 | 10.259 | 0.0028677
699.5 | 2.551 | 10.007 | 0.0027972
700 | 2.28 | 9.736 | 0.0027215
700.5 | 2.021 | 9.477 | 0.0026491
701 | 1.788 | 9.244 | 0.002584
701.5 | 1.582 | 9.038 | 0.0025264
702 | 1.38 | 8.836 | 0.0024699
702.5 | 1.196 | 8.652 | 0.0024185
703 | 1.039 | 8.495 | 0.0023746
703.5 | 0.9071 | 8.3631 | 0.0023377
704 | 0.8082 | 8.2642 | 0.0023101
704.5 | 0.7297 | 8.1857 | 0.0022881
705 | 0.6768 | 8.1328 | 0.0022733
705.5 | 0.6597 | 8.1157 | 0.0022686
706 | 0.6601 | 8.1161 | 0.0022687
706.5 | 0.6709 | 8.1269 | 0.0022717
707 | 0.6924 | 8.1484 | 0.0022777
707.5 | 0.7092 | 8.1652 | 0.0022824
708 | 0.7257 | 8.1817 | 0.002287
708.5 | 0.7534 | 8.2094 | 0.0022948
709 | 0.7892 | 8.2452 | 0.0023048
709.5 | 0.8825 | 8.3385 | 0.0023308
710 | 1.012 | 8.468 | 0.002367
710.5 | 1.158 | 8.614 | 0.0024079
711 | 1.326 | 8.782 | 0.0024548
711.5 | 1.521 | 8.977 | 0.0025093
712 | 1.708 | 9.164 | 0.0025616
712.5 | 1.866 | 9.322 | 0.0026058
713 | 1.988 | 9.444 | 0.0026399
713.5 | 2.048 | 9.504 | 0.0026566
714 | 2.046 | 9.502 | 0.0026561
714.5 | 1.99 | 9.446 | 0.0026404
715 | 1.909 | 9.365 | 0.0026178
715.5 | 1.827 | 9.283 | 0.0025949
716 | 1.748 | 9.204 | 0.0025728
716.5 | 1.681 | 9.137 | 0.002554
717 | 1.641 | 9.097 | 0.0025429
717.5 | 1.61 | 9.066 | 0.0025342
718 | 1.591 | 9.047 | 0.0025289
718.5 | 1.578 | 9.034 | 0.0025253
719 | 1.512 | 8.968 | 0.0025068
719.5 | 1.395 | 8.851 | 0.0024741
720 | 1.249 | 8.705 | 0.0024333
720.5 | 1.085 | 8.541 | 0.0023875
721 | 0.9125 | 8.3685 | 0.0023392
721.5 | 0.763 | 8.219 | 0.0022974
722 | 0.6267 | 8.0827 | 0.0022593
722.5 | 0.5137 | 7.9697 | 0.0022278
723 | 0.4285 | 7.8845 | 0.0022039
723.5 | 0.3772 | 7.8332 | 0.0021896
724 | 0.3114 | 7.7674 | 0.0021712
724.5 | 0.21 | 7.666 | 0.0021429
725 | 0.08661 | 7.5426 | 0.0021084
725.5 | -0.03949 | 7.4165 | 0.0020731
726 | -0.1712 | 7.2848 | 0.0020363
726.5 | -0.3047 | 7.1513 | 0.001999
727 | -0.4035 | 7.0525 | 0.0019714
727.5 | -0.4725 | 6.9835 | 0.0019521
728 | -0.5016 | 6.9544 | 0.001944
728.5 | -0.4905 | 6.9655 | 0.0019471
729 | -0.4328 | 7.0232 | 0.0019632
729.5 | -0.3455 | 7.1105 | 0.0019876
730 | -0.229 | 7.227 | 0.0020202
730.5 | -0.1109 | 7.3451 | 0.0020532
731 | 0.01034 | 7.4663 | 0.0020871
731.5 | 0.1012 | 7.5572 | 0.0021125
732 | 0.1413 | 7.5973 | 0.0021237
732.5 | 0.1542 | 7.6102 | 0.0021273
733 | 0.1738 | 7.6298 | 0.0021327
733.5 | 0.2291 | 7.6851 | 0.0021482
734 | 0.3232 | 7.7792 | 0.0021745
734.5 | 0.459 | 7.915 | 0.0022125
735 | 0.632 | 8.088 | 0.0022608
735.5 | 0.8129 | 8.2689 | 0.0023114
736 | 0.9965 | 8.4525 | 0.0023627
736.5 | 1.15 | 8.606 | 0.0024056
737 | 1.234 | 8.69 | 0.0024291
737.5 | 1.273 | 8.729 | 0.00244
738 | 1.284 | 8.74 | 0.0024431
738.5 | 1.279 | 8.735 | 0.0024417
739 | 1.243 | 8.699 | 0.0024316
739.5 | 1.186 | 8.642 | 0.0024157
740 | 1.109 | 8.565 | 0.0023942
740.5 | 1.038 | 8.494 | 0.0023743
741 | 0.9983 | 8.4543 | 0.0023632
741.5 | 1.005 | 8.461 | 0.0023651
742 | 1.017 | 8.473 | 0.0023684
742.5 | 1.038 | 8.494 | 0.0023743
743 | 1.088 | 8.544 | 0.0023883
743.5 | 1.134 | 8.59 | 0.0024011
744 | 1.136 | 8.592 | 0.0024017
744.5 | 1.088 | 8.544 | 0.0023883
745 | 1.001 | 8.457 | 0.002364
745.5 | 0.884 | 8.34 | 0.0023313
746 | 0.7901 | 8.2461 | 0.002305
746.5 | 0.7248 | 8.1808 | 0.0022868
747 | 0.6611 | 8.1171 | 0.002269
747.5 | 0.6143 | 8.0703 | 0.0022559
748 | 0.5907 | 8.0467 | 0.0022493
748.5 | 0.5868 | 8.0428 | 0.0022482
749 | 0.5811 | 8.0371 | 0.0022466
749.5 | 0.5542 | 8.0102 | 0.0022391
750 | 0.5247 | 7.9807 | 0.0022308
750.5 | 0.4826 | 7.9386 | 0.0022191
751 | 0.4612 | 7.9172 | 0.0022131
751.5 | 0.4802 | 7.9362 | 0.0022184
752 | 0.4911 | 7.9471 | 0.0022214
752.5 | 0.4864 | 7.9424 | 0.0022201
753 | 0.48 | 7.936 | 0.0022183
753.5 | 0.4579 | 7.9139 | 0.0022122
754 | 0.4412 | 7.8972 | 0.0022075
754.5 | 0.4393 | 7.8953 | 0.002207
755 | 0.435 | 7.891 | 0.0022058
755.5 | 0.4469 | 7.9029 | 0.0022091
756 | 0.4933 | 7.9493 | 0.0022221
756.5 | 0.5759 | 8.0319 | 0.0022451
757 | 0.6634 | 8.1194 | 0.0022696
757.5 | 0.7449 | 8.2009 | 0.0022924
758 | 0.8034 | 8.2594 | 0.0023087
758.5 | 0.8423 | 8.2983 | 0.0023196
759 | 0.8726 | 8.3286 | 0.0023281
759.5 | 0.923 | 8.379 | 0.0023422
760 | 0.9721 | 8.4281 | 0.0023559
760.5 | 1.006 | 8.462 | 0.0023654
761 | 1.045 | 8.501 | 0.0023763
761.5 | 1.09 | 8.546 | 0.0023888
762 | 1.139 | 8.595 | 0.0024025
762.5 | 1.217 | 8.673 | 0.0024243
763 | 1.296 | 8.752 | 0.0024464
763.5 | 1.347 | 8.803 | 0.0024607
764 | 1.414 | 8.87 | 0.0024794
764.5 | 1.472 | 8.928 | 0.0024956
765 | 1.512 | 8.968 | 0.0025068
765.5 | 1.524 | 8.98 | 0.0025102
766 | 1.523 | 8.979 | 0.0025099
766.5 | 1.527 | 8.983 | 0.002511
767 | 1.554 | 9.01 | 0.0025185
767.5 | 1.584 | 9.04 | 0.0025269
768 | 1.599 | 9.055 | 0.0025311
768.5 | 1.565 | 9.021 | 0.0025216
769 | 1.494 | 8.95 | 0.0025018
769.5 | 1.388 | 8.844 | 0.0024721
770 | 1.245 | 8.701 | 0.0024322
770.5 | 1.129 | 8.585 | 0.0023997
771 | 1.047 | 8.503 | 0.0023768
771.5 | 0.9984 | 8.4544 | 0.0023632
772 | 1.001 | 8.457 | 0.002364
772.5 | 1.028 | 8.484 | 0.0023715
773 | 1.051 | 8.507 | 0.0023779
773.5 | 1.081 | 8.537 | 0.0023863
774 | 1.075 | 8.531 | 0.0023847
774.5 | 1.032 | 8.488 | 0.0023726
775 | 0.9818 | 8.4378 | 0.0023586
775.5 | 0.9223 | 8.3783 | 0.002342
776 | 0.8583 | 8.3143 | 0.0023241
776.5 | 0.8364 | 8.2924 | 0.002318
777 | 0.8596 | 8.3156 | 0.0023244
777.5 | 0.9281 | 8.3841 | 0.0023436
778 | 0.9977 | 8.4537 | 0.002363
778.5 | 1.067 | 8.523 | 0.0023824
779 | 1.127 | 8.583 | 0.0023992
779.5 | 1.161 | 8.617 | 0.0024087
780 | 1.19 | 8.646 | 0.0024168
780.5 | 1.189 | 8.645 | 0.0024165
781 | 1.153 | 8.609 | 0.0024065
781.5 | 1.121 | 8.577 | 0.0023975
782 | 1.087 | 8.543 | 0.002388
782.5 | 1.059 | 8.515 | 0.0023802
783 | 1.044 | 8.5 | 0.002376
783.5 | 1.009 | 8.465 | 0.0023662
784 | 0.9716 | 8.4276 | 0.0023558
784.5 | 0.9779 | 8.4339 | 0.0023575
785 | 1.036 | 8.492 | 0.0023738
785.5 | 1.095 | 8.551 | 0.0023902
786 | 1.156 | 8.612 | 0.0024073
786.5 | 1.228 | 8.684 | 0.0024274
787 | 1.321 | 8.777 | 0.0024534
787.5 | 1.419 | 8.875 | 0.0024808
788 | 1.51 | 8.966 | 0.0025063
788.5 | 1.541 | 8.997 | 0.0025149
789 | 1.503 | 8.959 | 0.0025043
789.5 | 1.46 | 8.916 | 0.0024923
790 | 1.428 | 8.884 | 0.0024833
790.5 | 1.383 | 8.839 | 0.0024708
791 | 1.358 | 8.814 | 0.0024638
791.5 | 1.344 | 8.8 | 0.0024598
792 | 1.359 | 8.815 | 0.002464
792.5 | 1.392 | 8.848 | 0.0024733
793 | 1.412 | 8.868 | 0.0024789
793.5 | 1.394 | 8.85 | 0.0024738
794 | 1.325 | 8.781 | 0.0024545
794.5 | 1.207 | 8.663 | 0.0024216
795 | 1.069 | 8.525 | 0.002383
795.5 | 0.9045 | 8.3605 | 0.002337
796 | 0.7306 | 8.1866 | 0.0022884
796.5 | 0.5473 | 8.0033 | 0.0022371
797 | 0.3883 | 7.8443 | 0.0021927
797.5 | 0.3036 | 7.7596 | 0.002169
798 | 0.2625 | 7.7185 | 0.0021575
798.5 | 0.25 | 7.706 | 0.002154
799 | 0.2453 | 7.7013 | 0.0021527
799.5 | 0.2316 | 7.6876 | 0.0021489
800 | 0.2193 | 7.6753 | 0.0021455
800.5 | 0.198 | 7.654 | 0.0021395
801 | 0.1749 | 7.6309 | 0.0021331
801.5 | 0.176 | 7.632 | 0.0021334
802 | 0.1979 | 7.6539 | 0.0021395
802.5 | 0.2358 | 7.6918 | 0.0021501
803 | 0.2749 | 7.7309 | 0.002161
803.5 | 0.3175 | 7.7735 | 0.0021729
804 | 0.3883 | 7.8443 | 0.0021927
804.5 | 0.4863 | 7.9423 | 0.0022201
805 | 0.5904 | 8.0464 | 0.0022492
805.5 | 0.708 | 8.164 | 0.0022821
806 | 0.8086 | 8.2646 | 0.0023102
806.5 | 0.9389 | 8.3949 | 0.0023466
807 | 1.062 | 8.518 | 0.002381
807.5 | 1.159 | 8.615 | 0.0024081
808 | 1.213 | 8.669 | 0.0024232
808.5 | 1.238 | 8.694 | 0.0024302
809 | 1.271 | 8.727 | 0.0024394
809.5 | 1.298 | 8.754 | 0.002447
810 | 1.299 | 8.755 | 0.0024473
810.5 | 1.306 | 8.762 | 0.0024492
811 | 1.332 | 8.788 | 0.0024565
811.5 | 1.417 | 8.873 | 0.0024803
812 | 1.514 | 8.97 | 0.0025074
812.5 | 1.585 | 9.041 | 0.0025272
813 | 1.602 | 9.058 | 0.002532
813.5 | 1.591 | 9.047 | 0.0025289
814 | 1.557 | 9.013 | 0.0025194
814.5 | 1.481 | 8.937 | 0.0024981
815 | 1.378 | 8.834 | 0.0024694
815.5 | 1.242 | 8.698 | 0.0024313
816 | 1.097 | 8.553 | 0.0023908
816.5 | 0.9641 | 8.4201 | 0.0023537
817 | 0.8256 | 8.2816 | 0.0023149
817.5 | 0.6659 | 8.1219 | 0.0022703
818 | 0.5136 | 7.9696 | 0.0022277
818.5 | 0.3831 | 7.8391 | 0.0021912
819 | 0.2822 | 7.7382 | 0.002163
819.5 | 0.2103 | 7.6663 | 0.0021429
820 | 0.1728 | 7.6288 | 0.0021325
820.5 | 0.14 | 7.596 | 0.0021233
821 | 0.1348 | 7.5908 | 0.0021218
821.5 | 0.1673 | 7.6233 | 0.0021309
822 | 0.2301 | 7.6861 | 0.0021485
822.5 | 0.3118 | 7.7678 | 0.0021713
823 | 0.4148 | 7.8708 | 0.0022001
823.5 | 0.5124 | 7.9684 | 0.0022274
824 | 0.6392 | 8.0952 | 0.0022628
824.5 | 0.7764 | 8.2324 | 0.0023012
825 | 0.9091 | 8.3651 | 0.0023383
825.5 | 0.995 | 8.451 | 0.0023623
826 | 1.017 | 8.473 | 0.0023684
826.5 | 0.9906 | 8.4466 | 0.0023611
827 | 0.9415 | 8.3975 | 0.0023473
827.5 | 0.8612 | 8.3172 | 0.0023249
828 | 0.7882 | 8.2442 | 0.0023045
828.5 | 0.6832 | 8.1392 | 0.0022751
829 | 0.5875 | 8.0435 | 0.0022484
829.5 | 0.5088 | 7.9648 | 0.0022264
830 | 0.4688 | 7.9248 | 0.0022152
830.5 | 0.4298 | 7.8858 | 0.0022043
831 | 0.3918 | 7.8478 | 0.0021937
831.5 | 0.3453 | 7.8013 | 0.0021807
832 | 0.3135 | 7.7695 | 0.0021718
832.5 | 0.2904 | 7.7464 | 0.0021653
833 | 0.2835 | 7.7395 | 0.0021634
833.5 | 0.2533 | 7.7093 | 0.002155
834 | 0.2656 | 7.7216 | 0.0021584
834.5 | 0.3654 | 7.8214 | 0.0021863
835 | 0.5119 | 7.9679 | 0.0022273
835.5 | 0.6391 | 8.0951 | 0.0022628
836 | 0.7116 | 8.1676 | 0.0022831
836.5 | 0.7174 | 8.1734 | 0.0022847
837 | 0.7293 | 8.1853 | 0.002288
837.5 | 0.7105 | 8.1665 | 0.0022828
838 | 0.6799 | 8.1359 | 0.0022742
838.5 | 0.6405 | 8.0965 | 0.0022632
839 | 0.6508 | 8.1068 | 0.0022661
839.5 | 0.7065 | 8.1625 | 0.0022816
840 | 0.7842 | 8.2402 | 0.0023034
840.5 | 0.8417 | 8.2977 | 0.0023194
841 | 0.8571 | 8.3131 | 0.0023237
841.5 | 0.8688 | 8.3248 | 0.002327
842 | 0.8797 | 8.3357 | 0.0023301
842.5 | 0.8403 | 8.2963 | 0.0023191
843 | 0.764 | 8.22 | 0.0022977
843.5 | 0.6629 | 8.1189 | 0.0022695
844 | 0.581 | 8.037 | 0.0022466
844.5 | 0.5525 | 8.0085 | 0.0022386
845 | 0.5455 | 8.0015 | 0.0022366
845.5 | 0.559 | 8.015 | 0.0022404
846 | 0.5568 | 8.0128 | 0.0022398
846.5 | 0.5158 | 7.9718 | 0.0022283
847 | 0.3974 | 7.8534 | 0.0021952
847.5 | 0.181 | 7.637 | 0.0021348
848 | -0.097 | 7.359 | 0.002057
848.5 | -0.3771 | 7.0789 | 0.0019788
849 | -0.6107 | 6.8453 | 0.0019135
849.5 | -0.7901 | 6.6659 | 0.0018633
850 | -0.8843 | 6.5717 | 0.001837
850.5 | -0.8829 | 6.5731 | 0.0018374
851 | -0.8062 | 6.6498 | 0.0018588
851.5 | -0.6755 | 6.7805 | 0.0018953
852 | -0.5184 | 6.9376 | 0.0019393
852.5 | -0.3546 | 7.1014 | 0.001985
853 | -0.1793 | 7.2767 | 0.002034
853.5 | -0.01249 | 7.4435 | 0.0020807
854 | 0.1254 | 7.5814 | 0.0021192
854.5 | 0.272 | 7.728 | 0.0021602
855 | 0.4428 | 7.8988 | 0.0022079
855.5 | 0.6757 | 8.1317 | 0.002273
856 | 0.9593 | 8.4153 | 0.0023523
856.5 | 1.244 | 8.7 | 0.0024319
857 | 1.491 | 8.947 | 0.0025009
857.5 | 1.708 | 9.164 | 0.0025616
858 | 1.861 | 9.317 | 0.0026044
858.5 | 1.923 | 9.379 | 0.0026217
859 | 1.904 | 9.36 | 0.0026164
859.5 | 1.826 | 9.282 | 0.0025946
860 | 1.713 | 9.169 | 0.002563
860.5 | 1.57 | 9.026 | 0.002523
861 | 1.391 | 8.847 | 0.002473
861.5 | 1.211 | 8.667 | 0.0024227
862 | 1.094 | 8.55 | 0.00239
862.5 | 1.035 | 8.491 | 0.0023735
863 | 0.9901 | 8.4461 | 0.0023609
863.5 | 0.9449 | 8.4009 | 0.0023483
864 | 0.8936 | 8.3496 | 0.0023339
864.5 | 0.8366 | 8.2926 | 0.002318
865 | 0.7947 | 8.2507 | 0.0023063
865.5 | 0.7383 | 8.1943 | 0.0022905
866 | 0.7103 | 8.1663 | 0.0022827
866.5 | 0.7253 | 8.1813 | 0.0022869
867 | 0.7501 | 8.2061 | 0.0022938
867.5 | 0.7845 | 8.2405 | 0.0023035
868 | 0.8128 | 8.2688 | 0.0023114
868.5 | 0.8475 | 8.3035 | 0.0023211
869 | 0.8791 | 8.3351 | 0.0023299
869.5 | 0.9112 | 8.3672 | 0.0023389
870 | 0.8789 | 8.3349 | 0.0023298
870.5 | 0.8081 | 8.2641 | 0.00231
871 | 0.7573 | 8.2133 | 0.0022958
871.5 | 0.6863 | 8.1423 | 0.002276
872 | 0.595 | 8.051 | 0.0022505
872.5 | 0.4901 | 7.9461 | 0.0022212
873 | 0.4045 | 7.8605 | 0.0021972
873.5 | 0.3582 | 7.8142 | 0.0021843
874 | 0.3356 | 7.7916 | 0.002178
874.5 | 0.3458 | 7.8018 | 0.0021808
875 | 0.4129 | 7.8689 | 0.0021996
875.5 | 0.5268 | 7.9828 | 0.0022314
876 | 0.6399 | 8.0959 | 0.002263
876.5 | 0.7387 | 8.1947 | 0.0022907
877 | 0.8445 | 8.3005 | 0.0023202
877.5 | 0.9472 | 8.4032 | 0.0023489
878 | 1.069 | 8.525 | 0.002383
878.5 | 1.15 | 8.606 | 0.0024056
879 | 1.209 | 8.665 | 0.0024221
879.5 | 1.263 | 8.719 | 0.0024372
880 | 1.306 | 8.762 | 0.0024492
880.5 | 1.306 | 8.762 | 0.0024492
881 | 1.857 | 9.313 | 0.0026032
881.5 | 1.091 | 8.547 | 0.0023891
882 | 0.3638 | 7.8198 | 0.0021859
882.5 | -0.1253 | 7.3307 | 0.0020491
883 | -0.511 | 6.945 | 0.0019413
883.5 | -0.4675 | 6.9885 | 0.0019535
884 | -0.6335 | 6.8225 | 0.0019071
884.5 | 7.454 | 14.91 | 0.0041678
885 | 8.833 | 16.289 | 0.0045532
885.5 | -0.4172 | 7.0388 | 0.0019675
886 | -1.911 | 5.545 | 0.00155
886.5 | 1.877 | 9.333 | 0.0026088