## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -6.2837 | 0 | 0
246.5 | -5.8069 | 0 | 0
247 | -4.5718 | 1.2351 | 0.000416
247.5 | -6.4805 | 0 | 0
248 | -5.7247 | 0.0822 | 2.7686e-05
248.5 | -6.207 | 0 | 0
249 | -3.8992 | 1.9077 | 0.00064254
249.5 | -6.9078 | 0 | 0
250 | -7.3223 | 0 | 0
250.5 | -8.5751 | 0 | 0
251 | -7.1737 | 0 | 0
251.5 | -7.6934 | 0 | 0
252 | -6.8232 | 0 | 0
252.5 | -4.2606 | 1.5463 | 0.00052081
253 | -2.7432 | 3.0637 | 0.0010319
253.5 | -4.4081 | 1.3988 | 0.00047113
254 | -4.4029 | 1.404 | 0.00047289
254.5 | -4.1582 | 1.6487 | 0.0005553
255 | -6.1308 | 0 | 0
255.5 | -4.7218 | 1.0851 | 0.00036548
256 | -5.5142 | 0.2927 | 9.8585e-05
256.5 | -4.347 | 1.4599 | 0.00049171
257 | -4.2226 | 1.5843 | 0.00053361
257.5 | -4.3535 | 1.4534 | 0.00048952
258 | -4.7198 | 1.0871 | 0.00036615
258.5 | -4.9045 | 0.9024 | 0.00030394
259 | -4.7988 | 1.0081 | 0.00033954
259.5 | -4.7203 | 1.0866 | 0.00036598
260 | -4.7623 | 1.0446 | 0.00035183
260.5 | -4.7736 | 1.0333 | 0.00034803
261 | -5.0772 | 0.7297 | 0.00024577
261.5 | -5.3798 | 0.4271 | 0.00014385
262 | -5.757 | 0.0499 | 1.6807e-05
262.5 | -5.7237 | 0.0832 | 2.8023e-05
263 | -5.6185 | 0.1884 | 6.3456e-05
263.5 | -5.2764 | 0.5305 | 0.00017868
264 | -4.9706 | 0.8363 | 0.00028168
264.5 | -4.7351 | 1.0718 | 0.000361
265 | -4.2371 | 1.5698 | 0.00052873
265.5 | -3.9524 | 1.8545 | 0.00062462
266 | -3.859 | 1.9479 | 0.00065608
266.5 | -3.6315 | 2.1754 | 0.0007327
267 | -3.4414 | 2.3655 | 0.00079673
267.5 | -3.0685 | 2.7384 | 0.00092233
268 | -2.7486 | 3.0583 | 0.0010301
268.5 | -2.3382 | 3.4687 | 0.0011683
269 | -2.0881 | 3.7188 | 0.0012525
269.5 | -1.7824 | 4.0245 | 0.0013555
270 | -1.8303 | 3.9766 | 0.0013394
270.5 | -1.8811 | 3.9258 | 0.0013223
271 | -1.9575 | 3.8494 | 0.0012965
271.5 | -2.0318 | 3.7751 | 0.0012715
272 | -2.0573 | 3.7496 | 0.0012629
272.5 | -1.9588 | 3.8481 | 0.0012961
273 | -1.7174 | 4.0895 | 0.0013774
273.5 | -1.4742 | 4.3327 | 0.0014593
274 | -1.5563 | 4.2506 | 0.0014317
274.5 | -1.6473 | 4.1596 | 0.001401
275 | -1.5649 | 4.242 | 0.0014288
275.5 | -1.4436 | 4.3633 | 0.0014696
276 | -1.6618 | 4.1451 | 0.0013961
276.5 | -1.8078 | 3.9991 | 0.0013469
277 | -1.8722 | 3.9347 | 0.0013253
277.5 | -1.885 | 3.9219 | 0.0013209
278 | -1.8544 | 3.9525 | 0.0013313
278.5 | -2.0809 | 3.726 | 0.001255
279 | -2.2063 | 3.6006 | 0.0012127
279.5 | -2.3483 | 3.4586 | 0.0011649
280 | -2.4774 | 3.3295 | 0.0011214
280.5 | -2.4725 | 3.3344 | 0.0011231
281 | -2.4761 | 3.3308 | 0.0011219
281.5 | -2.778 | 3.0289 | 0.0010202
282 | -3.0832 | 2.7237 | 0.00091738
282.5 | -3.0947 | 2.7122 | 0.0009135
283 | -2.8688 | 2.9381 | 0.00098959
283.5 | -2.9399 | 2.867 | 0.00096564
284 | -2.9994 | 2.8075 | 0.0009456
284.5 | -3.1936 | 2.6133 | 0.00088019
285 | -3.3431 | 2.4638 | 0.00082984
285.5 | -3.4441 | 2.3628 | 0.00079582
286 | -3.5966 | 2.2103 | 0.00074446
286.5 | -3.7807 | 2.0262 | 0.00068245
287 | -3.9685 | 1.8384 | 0.0006192
287.5 | -4.0939 | 1.713 | 0.00057696
288 | -4.1646 | 1.6423 | 0.00055315
288.5 | -4.1415 | 1.6654 | 0.00056093
289 | -3.9646 | 1.8423 | 0.00062051
289.5 | -4.0916 | 1.7153 | 0.00057774
290 | -4.0444 | 1.7625 | 0.00059363
290.5 | -3.9282 | 1.8787 | 0.00063277
291 | -3.7021 | 2.1048 | 0.00070892
291.5 | -3.4716 | 2.3353 | 0.00078656
292 | -3.3171 | 2.4898 | 0.0008386
292.5 | -3.3504 | 2.4565 | 0.00082738
293 | -3.5488 | 2.2581 | 0.00076056
293.5 | -3.6306 | 2.1763 | 0.00073301
294 | -3.5361 | 2.2708 | 0.00076483
294.5 | -3.2218 | 2.5851 | 0.0008707
295 | -3.0924 | 2.7145 | 0.00091428
295.5 | -3.2252 | 2.5817 | 0.00086955
296 | -3.4922 | 2.3147 | 0.00077962
296.5 | -3.7946 | 2.0123 | 0.00067777
297 | -4.2596 | 1.5473 | 0.00052115
297.5 | -4.8739 | 0.933 | 0.00031425
298 | -5.2354 | 0.5715 | 0.00019249
298.5 | -5.369 | 0.4379 | 0.00014749
299 | -5.1786 | 0.6283 | 0.00021162
299.5 | -4.9681 | 0.8388 | 0.00028252
300 | -4.7472 | 1.0597 | 0.00035692
300.5 | -4.7635 | 1.0434 | 0.00035143
301 | -4.9794 | 0.8275 | 0.00027871
301.5 | -5.2599 | 0.547 | 0.00018424
302 | -5.3829 | 0.424 | 0.00014281
302.5 | -5.1327 | 0.6742 | 0.00022708
303 | -4.7546 | 1.0523 | 0.00035443
303.5 | -4.3036 | 1.5033 | 0.00050633
304 | -3.8479 | 1.959 | 0.00065982
304.5 | -3.4413 | 2.3656 | 0.00079676
305 | -3.3729 | 2.434 | 0.0008198
305.5 | -3.6034 | 2.2035 | 0.00074217
306 | -3.6059 | 2.201 | 0.00074133
306.5 | -3.5653 | 2.2416 | 0.000755
307 | -3.3581 | 2.4488 | 0.00082479
307.5 | -2.95 | 2.8569 | 0.00096224
308 | -2.4701 | 3.3368 | 0.0011239
308.5 | -2.1355 | 3.6714 | 0.0012366
309 | -2.0877 | 3.7192 | 0.0012527
309.5 | -2.1911 | 3.6158 | 0.0012178
310 | -2.2365 | 3.5704 | 0.0012026
310.5 | -2.3194 | 3.4875 | 0.0011746
311 | -2.5047 | 3.3022 | 0.0011122
311.5 | -2.2223 | 3.5846 | 0.0012073
312 | -1.9735 | 3.8334 | 0.0012911
312.5 | -1.9313 | 3.8756 | 0.0013054
313 | -1.8599 | 3.947 | 0.0013294
313.5 | -1.8327 | 3.9742 | 0.0013386
314 | -2.0172 | 3.7897 | 0.0012764
314.5 | -2.1836 | 3.6233 | 0.0012204
315 | -2.3319 | 3.475 | 0.0011704
315.5 | -2.4248 | 3.3821 | 0.0011391
316 | -2.4915 | 3.3154 | 0.0011167
316.5 | -2.4721 | 3.3348 | 0.0011232
317 | -2.4676 | 3.3393 | 0.0011247
317.5 | -2.5017 | 3.3052 | 0.0011132
318 | -2.6471 | 3.1598 | 0.0010643
318.5 | -2.6555 | 3.1514 | 0.0010614
319 | -2.681 | 3.1259 | 0.0010528
319.5 | -2.8009 | 3.006 | 0.0010125
320 | -2.9183 | 2.8886 | 0.00097292
320.5 | -3.1357 | 2.6712 | 0.00089969
321 | -3.5054 | 2.3015 | 0.00077518
321.5 | -3.8656 | 1.9413 | 0.00065385
322 | -4.083 | 1.7239 | 0.00058063
322.5 | -4.2886 | 1.5183 | 0.00051138
323 | -4.3833 | 1.4236 | 0.00047949
323.5 | -4.3372 | 1.4697 | 0.00049501
324 | -4.3288 | 1.4781 | 0.00049784
324.5 | -4.5743 | 1.2326 | 0.00041516
325 | -4.9913 | 0.8156 | 0.0002747
325.5 | -5.1498 | 0.6571 | 0.00022132
326 | -5.3246 | 0.4823 | 0.00016244
326.5 | -5.605 | 0.2019 | 6.8003e-05
327 | -5.5695 | 0.2374 | 7.9959e-05
327.5 | -5.4071 | 0.3998 | 0.00013466
328 | -5.0533 | 0.7536 | 0.00025382
328.5 | -4.7614 | 1.0455 | 0.00035214
329 | -4.5025 | 1.3044 | 0.00043934
329.5 | -4.3506 | 1.4563 | 0.0004905
330 | -4.1327 | 1.6742 | 0.00056389
330.5 | -3.8061 | 2.0008 | 0.0006739
331 | -3.5013 | 2.3056 | 0.00077656
331.5 | -3.0505 | 2.7564 | 0.00092839
332 | -2.9344 | 2.8725 | 0.0009675
332.5 | -2.7986 | 3.0083 | 0.0010132
333 | -2.6102 | 3.1967 | 0.0010767
333.5 | -2.3978 | 3.4091 | 0.0011482
334 | -1.9798 | 3.8271 | 0.001289
334.5 | -1.8669 | 3.94 | 0.001327
335 | -1.6996 | 4.1073 | 0.0013834
335.5 | -1.3864 | 4.4205 | 0.0014889
336 | -1.327 | 4.4799 | 0.0015089
336.5 | -1.452 | 4.3549 | 0.0014668
337 | -1.6177 | 4.1892 | 0.001411
337.5 | -1.8166 | 3.9903 | 0.001344
338 | -2.0297 | 3.7772 | 0.0012722
338.5 | -2.0562 | 3.7507 | 0.0012633
339 | -1.9975 | 3.8094 | 0.0012831
339.5 | -2.217 | 3.5899 | 0.0012091
340 | -2.5626 | 3.2443 | 0.0010927
340.5 | -2.8886 | 2.9183 | 0.00098292
341 | -2.9877 | 2.8192 | 0.00094954
341.5 | -3.3195 | 2.4874 | 0.00083779
342 | -3.5995 | 2.2074 | 0.00074348
342.5 | -3.7902 | 2.0167 | 0.00067925
343 | -3.754 | 2.0529 | 0.00069144
343.5 | -3.4478 | 2.3591 | 0.00079458
344 | -3.1335 | 2.6734 | 0.00090044
344.5 | -2.8985 | 2.9084 | 0.00097959
345 | -2.8403 | 2.9666 | 0.00099919
345.5 | -2.8 | 3.0069 | 0.0010128
346 | -2.5296 | 3.2773 | 0.0011038
346.5 | -2.4022 | 3.4047 | 0.0011467
347 | -2.3798 | 3.4271 | 0.0011543
347.5 | -2.3207 | 3.4862 | 0.0011742
348 | -2.4194 | 3.3875 | 0.001141
348.5 | -2.3398 | 3.4671 | 0.0011678
349 | -2.0661 | 3.7408 | 0.0012599
349.5 | -2.1079 | 3.699 | 0.0012459
350 | -2.4531 | 3.3538 | 0.0011296
350.5 | -2.7479 | 3.059 | 0.0010303
351 | -3.1929 | 2.614 | 0.00088043
351.5 | -3.4943 | 2.3126 | 0.00077891
352 | -3.8441 | 1.9628 | 0.0006611
352.5 | -4.0394 | 1.7675 | 0.00059532
353 | -4.3039 | 1.503 | 0.00050623
353.5 | -4.4887 | 1.3182 | 0.00044399
354 | -4.6952 | 1.1117 | 0.00037443
354.5 | -4.6764 | 1.1305 | 0.00038077
355 | -4.8681 | 0.9388 | 0.0003162
355.5 | -5.149 | 0.6579 | 0.00022159
356 | -5.3456 | 0.4613 | 0.00015537
356.5 | -5.5705 | 0.2364 | 7.9623e-05
357 | -5.8486 | 0 | 0
357.5 | -5.7677 | 0.0392 | 1.3203e-05
358 | -5.6086 | 0.1983 | 6.679e-05
358.5 | -5.263 | 0.5439 | 0.00018319
359 | -5.0251 | 0.7818 | 0.00026332
359.5 | -4.7135 | 1.0934 | 0.00036827
360 | -4.4669 | 1.34 | 0.00045133
360.5 | -4.361 | 1.4459 | 0.000487
361 | -4.5267 | 1.2802 | 0.00043119
361.5 | -4.7877 | 1.0192 | 0.00034328
362 | -4.853 | 0.9539 | 0.00032129
362.5 | -5.1351 | 0.6718 | 0.00022627
363 | -5.1903 | 0.6166 | 0.00020768
363.5 | -4.9246 | 0.8823 | 0.00029717
364 | -4.8211 | 0.9858 | 0.00033203
364.5 | -4.942 | 0.8649 | 0.00029131
365 | -5.0237 | 0.7832 | 0.00026379
365.5 | -4.9993 | 0.8076 | 0.00027201
366 | -5.1899 | 0.617 | 0.00020781
366.5 | -5.4159 | 0.391 | 0.00013169
367 | -5.3933 | 0.4136 | 0.00013931
367.5 | -5.1556 | 0.6513 | 0.00021937
368 | -5.0829 | 0.724 | 0.00024385
368.5 | -5.0452 | 0.7617 | 0.00025655
369 | -4.6584 | 1.1485 | 0.00038683
369.5 | -4.3809 | 1.426 | 0.0004803
370 | -4.5002 | 1.3067 | 0.00044011
370.5 | -4.7556 | 1.0513 | 0.00035409
371 | -4.6184 | 1.1885 | 0.0004003
371.5 | -4.5311 | 1.2758 | 0.00042971
372 | -4.3405 | 1.4664 | 0.0004939
372.5 | -3.8976 | 1.9093 | 0.00064308
373 | -3.5143 | 2.2926 | 0.00077218
373.5 | -3.4084 | 2.3985 | 0.00080785
374 | -3.3524 | 2.4545 | 0.00082671
374.5 | -3.1384 | 2.6685 | 0.00089879
375 | -3.0205 | 2.7864 | 0.0009385
375.5 | -3.1318 | 2.6751 | 0.00090101
376 | -3.2204 | 2.5865 | 0.00087117
376.5 | -3.2323 | 2.5746 | 0.00086716
377 | -3.3367 | 2.4702 | 0.000832
377.5 | -3.4479 | 2.359 | 0.00079454
378 | -3.8425 | 1.9644 | 0.00066164
378.5 | -4.1948 | 1.6121 | 0.00054298
379 | -4.7107 | 1.0962 | 0.00036921
379.5 | -5.0373 | 0.7696 | 0.00025921
380 | -5.0856 | 0.7213 | 0.00024294
380.5 | -5.1917 | 0.6152 | 0.00020721
381 | -5.1956 | 0.6113 | 0.00020589
381.5 | -5.0278 | 0.7791 | 0.00026241
382 | -4.8515 | 0.9554 | 0.00032179
382.5 | -4.3964 | 1.4105 | 0.00047507
383 | -3.821 | 1.9859 | 0.00066888
383.5 | -3.7321 | 2.0748 | 0.00069882
384 | -3.8881 | 1.9188 | 0.00064628
384.5 | -3.832 | 1.9749 | 0.00066517
385 | -3.7075 | 2.0994 | 0.00070711
385.5 | -3.3317 | 2.4752 | 0.00083368
386 | -3.2182 | 2.5887 | 0.00087191
386.5 | -3.0588 | 2.7481 | 0.0009256
387 | -2.8109 | 2.996 | 0.0010091
387.5 | -2.7344 | 3.0725 | 0.0010349
388 | -2.7846 | 3.0223 | 0.0010179
388.5 | -3.0954 | 2.7115 | 0.00091327
389 | -3.6867 | 2.1202 | 0.00071411
389.5 | -4.234 | 1.5729 | 0.00052977
390 | -4.3495 | 1.4574 | 0.00049087
390.5 | -4.2549 | 1.552 | 0.00052273
391 | -4.2151 | 1.5918 | 0.00053614
391.5 | -4.438 | 1.3689 | 0.00046106
392 | -4.8928 | 0.9141 | 0.00030788
392.5 | -5.2038 | 0.6031 | 0.00020313
393 | -5.718 | 0.0889 | 2.9943e-05
393.5 | -6.3131 | 0 | 0
394 | -6.8757 | 0 | 0
394.5 | -7.1888 | 0 | 0
395 | -6.9372 | 0 | 0
395.5 | -6.3882 | 0 | 0
396 | -6.1022 | 0 | 0
396.5 | -6.0393 | 0 | 0
397 | -6.1744 | 0 | 0
397.5 | -6.1141 | 0 | 0
398 | -6.0134 | 0 | 0
398.5 | -5.8601 | 0 | 0
399 | -5.6745 | 0.1324 | 4.4594e-05
399.5 | -5.3859 | 0.421 | 0.0001418
400 | -4.7676 | 1.0393 | 0.00035005
400.5 | -4.1942 | 1.6127 | 0.00054318
401 | -4.0094 | 1.7975 | 0.00060542
401.5 | -4.0438 | 1.7631 | 0.00059383
402 | -4.0018 | 1.8051 | 0.00060798
402.5 | -3.9491 | 1.8578 | 0.00062573
403 | -3.7457 | 2.0612 | 0.00069424
403.5 | -3.6316 | 2.1753 | 0.00073267
404 | -3.7308 | 2.0761 | 0.00069926
404.5 | -3.9147 | 1.8922 | 0.00063732
405 | -4.1357 | 1.6712 | 0.00056288
405.5 | -4.1584 | 1.6485 | 0.00055524
406 | -4.206 | 1.6009 | 0.0005392
406.5 | -4.3179 | 1.489 | 0.00050151
407 | -4.3764 | 1.4305 | 0.00048181
407.5 | -4.4442 | 1.3627 | 0.00045898
408 | -4.3275 | 1.4794 | 0.00049828
408.5 | -4.276 | 1.5309 | 0.00051563
409 | -4.4367 | 1.3702 | 0.0004615
409.5 | -4.3906 | 1.4163 | 0.00047703
410 | -4.2242 | 1.5827 | 0.00053307
410.5 | -3.6381 | 2.1688 | 0.00073048
411 | -3.0141 | 2.7928 | 0.00094065
411.5 | -2.5627 | 3.2442 | 0.0010927
412 | -2.6398 | 3.1671 | 0.0010667
412.5 | -2.6735 | 3.1334 | 0.0010554
413 | -2.7137 | 3.0932 | 0.0010418
413.5 | -2.672 | 3.1349 | 0.0010559
414 | -2.7725 | 3.0344 | 0.001022
414.5 | -2.9454 | 2.8615 | 0.00096379
415 | -2.9873 | 2.8196 | 0.00094968
415.5 | -2.9754 | 2.8315 | 0.00095369
416 | -2.9653 | 2.8416 | 0.00095709
416.5 | -3.0898 | 2.7171 | 0.00091515
417 | -3.6485 | 2.1584 | 0.00072698
417.5 | -4.1477 | 1.6592 | 0.00055884
418 | -4.2554 | 1.5515 | 0.00052257
418.5 | -4.3761 | 1.4308 | 0.00048191
419 | -4.4405 | 1.3664 | 0.00046022
419.5 | -4.6061 | 1.2008 | 0.00040445
420 | -4.793 | 1.0139 | 0.00034149
420.5 | -4.8185 | 0.9884 | 0.00033291
421 | -4.6913 | 1.1156 | 0.00037575
421.5 | -4.6991 | 1.1078 | 0.00037312
422 | -4.7038 | 1.1031 | 0.00037154
422.5 | -4.5398 | 1.2671 | 0.00042678
423 | -4.1999 | 1.607 | 0.00054126
423.5 | -3.6947 | 2.1122 | 0.00071142
424 | -3.4366 | 2.3703 | 0.00079835
424.5 | -3.3367 | 2.4702 | 0.000832
425 | -3.3395 | 2.4674 | 0.00083105
425.5 | -3.2257 | 2.5812 | 0.00086938
426 | -2.9877 | 2.8192 | 0.00094954
426.5 | -2.7092 | 3.0977 | 0.0010433
427 | -2.7797 | 3.0272 | 0.0010196
427.5 | -3.0025 | 2.8044 | 0.00094456
428 | -3.5312 | 2.2757 | 0.00076649
428.5 | -4.1983 | 1.6086 | 0.0005418
429 | -4.5144 | 1.2925 | 0.00043533
429.5 | -4.738 | 1.0689 | 0.00036002
430 | -5.0319 | 0.775 | 0.00026103
430.5 | -5.2205 | 0.5864 | 0.00019751
431 | -5.3197 | 0.4872 | 0.0001641
431.5 | -5.4373 | 0.3696 | 0.00012449
432 | -5.7279 | 0.079 | 2.6608e-05
432.5 | -6.3128 | 0 | 0
433 | -6.6617 | 0 | 0
433.5 | -6.7889 | 0 | 0
434 | -6.5235 | 0 | 0
434.5 | -6.1426 | 0 | 0
435 | -5.9106 | 0 | 0
435.5 | -5.9604 | 0 | 0
436 | -5.9042 | 0 | 0
436.5 | -5.5958 | 0.2111 | 7.1101e-05
437 | -5.2226 | 0.5843 | 0.0001968
437.5 | -5.0288 | 0.7781 | 0.00026207
438 | -4.7183 | 1.0886 | 0.00036665
438.5 | -4.3768 | 1.4301 | 0.00048168
439 | -4.0103 | 1.7966 | 0.00060512
439.5 | -3.6598 | 2.1471 | 0.00072317
440 | -3.5669 | 2.24 | 0.00075446
440.5 | -3.2908 | 2.5161 | 0.00084746
441 | -3.0914 | 2.7155 | 0.00091462
441.5 | -2.8036 | 3.0033 | 0.0010116
442 | -2.7021 | 3.1048 | 0.0010457
442.5 | -3.0728 | 2.7341 | 0.00092088
443 | -3.5171 | 2.2898 | 0.00077123
443.5 | -3.6108 | 2.1961 | 0.00073967
444 | -3.773 | 2.0339 | 0.00068504
444.5 | -3.6378 | 2.1691 | 0.00073058
445 | -3.4843 | 2.3226 | 0.00078228
445.5 | -3.3147 | 2.4922 | 0.00083941
446 | -3.0003 | 2.8066 | 0.0009453
446.5 | -3.0425 | 2.7644 | 0.00093109
447 | -3.257 | 2.5499 | 0.00085884
447.5 | -3.3493 | 2.4576 | 0.00082775
448 | -3.3331 | 2.4738 | 0.00083321
448.5 | -2.9572 | 2.8497 | 0.00095982
449 | -2.6023 | 3.2046 | 0.0010794
449.5 | -2.4814 | 3.3255 | 0.0011201
450 | -2.2318 | 3.5751 | 0.0012041
450.5 | -2.3079 | 3.499 | 0.0011785
451 | -2.5128 | 3.2941 | 0.0011095
451.5 | -2.8605 | 2.9464 | 0.00099239
452 | -3.054 | 2.7529 | 0.00092721
452.5 | -3.2276 | 2.5793 | 0.00086874
453 | -3.1928 | 2.6141 | 0.00088046
453.5 | -3.2191 | 2.5878 | 0.0008716
454 | -3.2362 | 2.5707 | 0.00086585
454.5 | -3.1527 | 2.6542 | 0.00089397
455 | -3.0125 | 2.7944 | 0.00094119
455.5 | -3.1372 | 2.6697 | 0.00089919
456 | -3.2405 | 2.5664 | 0.0008644
456.5 | -3.2415 | 2.5654 | 0.00086406
457 | -3.2638 | 2.5431 | 0.00085655
457.5 | -3.3012 | 2.5057 | 0.00084395
458 | -3.4802 | 2.3267 | 0.00078366
458.5 | -3.3421 | 2.4648 | 0.00083018
459 | -3.1651 | 2.6418 | 0.00088979
459.5 | -3.1136 | 2.6933 | 0.00090714
460 | -3.072 | 2.7349 | 0.00092115
460.5 | -3.2647 | 2.5422 | 0.00085625
461 | -3.3996 | 2.4073 | 0.00081081
461.5 | -3.2049 | 2.602 | 0.00087639
462 | -3.197 | 2.6099 | 0.00087905
462.5 | -3.3231 | 2.4838 | 0.00083658
463 | -3.4495 | 2.3574 | 0.000794
463.5 | -3.5136 | 2.2933 | 0.00077241
464 | -3.5685 | 2.2384 | 0.00075392
464.5 | -3.7324 | 2.0745 | 0.00069872
465 | -4.0768 | 1.7301 | 0.00058272
465.5 | -4.3864 | 1.4205 | 0.00047844
466 | -4.3746 | 1.4323 | 0.00048242
466.5 | -4.5018 | 1.3051 | 0.00043957
467 | -4.8749 | 0.932 | 0.00031391
467.5 | -5.3311 | 0.4758 | 0.00016026
468 | -5.7261 | 0.0808 | 2.7214e-05
468.5 | -5.9113 | 0 | 0
469 | -6.0114 | 0 | 0
469.5 | -5.9698 | 0 | 0
470 | -5.8108 | 0 | 0
470.5 | -5.906 | 0 | 0
471 | -5.9243 | 0 | 0
471.5 | -5.9809 | 0 | 0
472 | -6.1778 | 0 | 0
472.5 | -6.2658 | 0 | 0
473 | -6.1877 | 0 | 0
473.5 | -6.0097 | 0 | 0
474 | -5.7048 | 0.1021 | 3.4389e-05
474.5 | -4.9777 | 0.8292 | 0.00027929
475 | -4.4521 | 1.3548 | 0.00045631
475.5 | -4.4931 | 1.3138 | 0.0004425
476 | -4.6652 | 1.1417 | 0.00038454
476.5 | -4.6694 | 1.1375 | 0.00038312
477 | -4.4825 | 1.3244 | 0.00044608
477.5 | -4.5214 | 1.2855 | 0.00043297
478 | -4.4417 | 1.3652 | 0.00045982
478.5 | -3.9458 | 1.8611 | 0.00062684
479 | -3.6165 | 2.1904 | 0.00073776
479.5 | -3.4969 | 2.31 | 0.00077804
480 | -3.6113 | 2.1956 | 0.00073951
480.5 | -4.0929 | 1.714 | 0.0005773
481 | -4.215 | 1.5919 | 0.00053617
481.5 | -3.9128 | 1.8941 | 0.00063796
482 | -3.7625 | 2.0444 | 0.00068858
482.5 | -3.5959 | 2.211 | 0.00074469
483 | -3.4587 | 2.3482 | 0.0007909
483.5 | -3.2186 | 2.5883 | 0.00087177
484 | -3.2622 | 2.5447 | 0.00085709
484.5 | -3.5356 | 2.2713 | 0.000765
485 | -3.5674 | 2.2395 | 0.00075429
485.5 | -3.1435 | 2.6634 | 0.00089707
486 | -2.8059 | 3.001 | 0.0010108
486.5 | -2.4679 | 3.339 | 0.0011246
487 | -2.3121 | 3.4948 | 0.0011771
487.5 | -2.3003 | 3.5066 | 0.0011811
488 | -2.2178 | 3.5891 | 0.0012089
488.5 | -2.3039 | 3.503 | 0.0011799
489 | -2.5087 | 3.2982 | 0.0011109
489.5 | -2.6736 | 3.1333 | 0.0010553
490 | -2.6617 | 3.1452 | 0.0010593
490.5 | -2.5398 | 3.2671 | 0.0011004
491 | -2.6429 | 3.164 | 0.0010657
491.5 | -2.9856 | 2.8213 | 0.00095025
492 | -3.2602 | 2.5467 | 0.00085776
492.5 | -3.575 | 2.2319 | 0.00075173
493 | -3.5895 | 2.2174 | 0.00074685
493.5 | -3.4112 | 2.3957 | 0.0008069
494 | -3.2412 | 2.5657 | 0.00086416
494.5 | -2.9649 | 2.842 | 0.00095722
495 | -2.5925 | 3.2144 | 0.0010827
495.5 | -2.3874 | 3.4195 | 0.0011517
496 | -2.3902 | 3.4167 | 0.0011508
496.5 | -2.7238 | 3.0831 | 0.0010384
497 | -3.2139 | 2.593 | 0.00087336
497.5 | -3.4778 | 2.3291 | 0.00078447
498 | -3.5775 | 2.2294 | 0.00075089
498.5 | -3.7164 | 2.0905 | 0.00070411
499 | -3.9498 | 1.8571 | 0.0006255
499.5 | -4.0489 | 1.758 | 0.00059212
500 | -4.313 | 1.4939 | 0.00050316
500.5 | -4.4653 | 1.3416 | 0.00045187
501 | -4.7245 | 1.0824 | 0.00036457
501.5 | -4.9627 | 0.8442 | 0.00028434
502 | -4.9667 | 0.8402 | 0.00028299
502.5 | -4.4945 | 1.3124 | 0.00044203
503 | -4.0696 | 1.7373 | 0.00058515
503.5 | -4.0226 | 1.7843 | 0.00060098
504 | -4.1385 | 1.6684 | 0.00056194
504.5 | -4.143 | 1.6639 | 0.00056042
505 | -4.2614 | 1.5455 | 0.00052054
505.5 | -4.255 | 1.5519 | 0.0005227
506 | -4.1035 | 1.7034 | 0.00057373
506.5 | -4.0105 | 1.7964 | 0.00060505
507 | -3.6598 | 2.1471 | 0.00072317
507.5 | -3.3282 | 2.4787 | 0.00083486
508 | -3.4236 | 2.3833 | 0.00080273
508.5 | -3.5281 | 2.2788 | 0.00076753
509 | -3.5527 | 2.2542 | 0.00075924
509.5 | -3.4037 | 2.4032 | 0.00080943
510 | -3.1094 | 2.6975 | 0.00090855
510.5 | -2.8777 | 2.9292 | 0.00098659
511 | -2.6712 | 3.1357 | 0.0010561
511.5 | -2.7837 | 3.0232 | 0.0010183
512 | -2.7193 | 3.0876 | 0.0010399
512.5 | -2.7231 | 3.0838 | 0.0010387
513 | -2.802 | 3.0049 | 0.0010121
513.5 | -2.6308 | 3.1761 | 0.0010698
514 | -2.6781 | 3.1288 | 0.0010538
514.5 | -2.7668 | 3.0401 | 0.0010239
515 | -2.8197 | 2.9872 | 0.0010061
515.5 | -2.932 | 2.8749 | 0.0009683
516 | -2.9776 | 2.8293 | 0.00095294
516.5 | -2.7831 | 3.0238 | 0.0010185
517 | -2.5308 | 3.2761 | 0.0011034
517.5 | -2.239 | 3.5679 | 0.0012017
518 | -2.2712 | 3.5357 | 0.0011909
518.5 | -2.0538 | 3.7531 | 0.0012641
519 | -1.9128 | 3.8941 | 0.0013116
519.5 | -1.5516 | 4.2553 | 0.0014332
520 | -1.1032 | 4.7037 | 0.0015843
520.5 | -0.88453 | 4.9224 | 0.0016579
521 | -0.49 | 5.3169 | 0.0017908
521.5 | -0.16335 | 5.6435 | 0.0019008
522 | -0.20815 | 5.5987 | 0.0018857
522.5 | -0.43278 | 5.3741 | 0.0018101
523 | -0.83206 | 4.9748 | 0.0016756
523.5 | -1.2165 | 4.5904 | 0.0015461
524 | -1.6343 | 4.1726 | 0.0014054
524.5 | -1.8182 | 3.9887 | 0.0013434
525 | -2.011 | 3.7959 | 0.0012785
525.5 | -1.8284 | 3.9785 | 0.00134
526 | -1.6793 | 4.1276 | 0.0013902
526.5 | -1.5639 | 4.243 | 0.0014291
527 | -1.5381 | 4.2688 | 0.0014378
527.5 | -1.4921 | 4.3148 | 0.0014533
528 | -1.4202 | 4.3867 | 0.0014775
528.5 | -1.5445 | 4.2624 | 0.0014356
529 | -1.4629 | 4.344 | 0.0014631
529.5 | -1.3343 | 4.4726 | 0.0015064
530 | -1.7334 | 4.0735 | 0.001372
530.5 | -2.015 | 3.7919 | 0.0012772
531 | -2.5283 | 3.2786 | 0.0011043
531.5 | -2.891 | 2.9159 | 0.00098211
532 | -3.2364 | 2.5705 | 0.00086578
532.5 | -3.6381 | 2.1688 | 0.00073048
533 | -3.9814 | 1.8255 | 0.00061485
533.5 | -4.3398 | 1.4671 | 0.00049414
534 | -4.3605 | 1.4464 | 0.00048717
534.5 | -4.4121 | 1.3948 | 0.00046979
535 | -4.377 | 1.4299 | 0.00048161
535.5 | -4.1416 | 1.6653 | 0.00056089
536 | -4.04 | 1.7669 | 0.00059511
536.5 | -3.8866 | 1.9203 | 0.00064678
537 | -4.0088 | 1.7981 | 0.00060562
537.5 | -4.3442 | 1.4627 | 0.00049266
538 | -4.5582 | 1.2487 | 0.00042058
538.5 | -4.5364 | 1.2705 | 0.00042792
539 | -4.3231 | 1.4838 | 0.00049976
539.5 | -4.355 | 1.4519 | 0.00048902
540 | -4.2835 | 1.5234 | 0.0005131
540.5 | -4.0632 | 1.7437 | 0.0005873
541 | -3.9307 | 1.8762 | 0.00063193
541.5 | -3.8212 | 1.9857 | 0.00066881
542 | -3.8705 | 1.9364 | 0.0006522
542.5 | -3.9705 | 1.8364 | 0.00061852
543 | -3.7873 | 2.0196 | 0.00068023
543.5 | -3.1726 | 2.6343 | 0.00088727
544 | -2.7692 | 3.0377 | 0.0010231
544.5 | -2.6876 | 3.1193 | 0.0010506
545 | -2.5739 | 3.233 | 0.0010889
545.5 | -2.6211 | 3.1858 | 0.001073
546 | -2.7148 | 3.0921 | 0.0010415
546.5 | -2.8883 | 2.9186 | 0.00098302
547 | -2.6936 | 3.1133 | 0.0010486
547.5 | -2.5266 | 3.2803 | 0.0011048
548 | -2.4802 | 3.3267 | 0.0011205
548.5 | -2.4713 | 3.3356 | 0.0011235
549 | -2.7764 | 3.0305 | 0.0010207
549.5 | -3.1502 | 2.6567 | 0.00089481
550 | -3.2923 | 2.5146 | 0.00084695
550.5 | -3.3174 | 2.4895 | 0.0008385
551 | -3.0271 | 2.7798 | 0.00093627
551.5 | -2.8786 | 2.9283 | 0.00098629
552 | -2.7099 | 3.097 | 0.0010431
552.5 | -2.5828 | 3.2241 | 0.0010859
553 | -2.6014 | 3.2055 | 0.0010797
553.5 | -2.2385 | 3.5684 | 0.0012019
554 | -1.928 | 3.8789 | 0.0013065
554.5 | -1.8083 | 3.9986 | 0.0013468
555 | -1.5737 | 4.2332 | 0.0014258
555.5 | -1.4446 | 4.3623 | 0.0014693
556 | -1.4088 | 4.3981 | 0.0014813
556.5 | -1.6114 | 4.1955 | 0.0014131
557 | -1.8563 | 3.9506 | 0.0013306
557.5 | -2.0185 | 3.7884 | 0.001276
558 | -2.5496 | 3.2573 | 0.0010971
558.5 | -2.7484 | 3.0585 | 0.0010301
559 | -2.5587 | 3.2482 | 0.001094
559.5 | -2.353 | 3.4539 | 0.0011633
560 | -1.9594 | 3.8475 | 0.0012959
560.5 | -1.6999 | 4.107 | 0.0013833
561 | -1.6914 | 4.1155 | 0.0013862
561.5 | -1.8321 | 3.9748 | 0.0013388
562 | -2.0206 | 3.7863 | 0.0012753
562.5 | -1.8426 | 3.9643 | 0.0013352
563 | -1.3816 | 4.4253 | 0.0014905
563.5 | -0.59213 | 5.2148 | 0.0017564
564 | -0.042514 | 5.7644 | 0.0019415
564.5 | -0.040053 | 5.7668 | 0.0019423
565 | 0.037707 | 5.8446 | 0.0019685
565.5 | 0.09278 | 5.8997 | 0.0019871
566 | 0.075581 | 5.8825 | 0.0019813
566.5 | 0.41705 | 6.2239 | 0.0020963
567 | 1.0615 | 6.8684 | 0.0023134
567.5 | 1.8686 | 7.6755 | 0.0025852
568 | 2.3248 | 8.1317 | 0.0027389
568.5 | 2.4566 | 8.2635 | 0.0027833
569 | 2.4852 | 8.2921 | 0.0027929
569.5 | 2.603 | 8.4099 | 0.0028326
570 | 2.6626 | 8.4695 | 0.0028526
570.5 | 2.7092 | 8.5161 | 0.0028683
571 | 2.9784 | 8.7853 | 0.002959
571.5 | 3.3088 | 9.1157 | 0.0030703
572 | 3.6273 | 9.4342 | 0.0031776
572.5 | 3.8112 | 9.6181 | 0.0032395
573 | 3.9521 | 9.759 | 0.003287
573.5 | 4.3645 | 10.1714 | 0.0034259
574 | 4.8494 | 10.6563 | 0.0035892
574.5 | 5.2749 | 11.0818 | 0.0037325
575 | 5.6904 | 11.4973 | 0.0038724
575.5 | 6.4971 | 12.304 | 0.0041441
576 | 7.5014 | 13.3083 | 0.0044824
576.5 | 8.3007 | 14.1076 | 0.0047516
577 | 8.9677 | 14.7746 | 0.0049763
577.5 | 9.4346 | 15.2415 | 0.0051335
578 | 10.03 | 15.8369 | 0.0053341
578.5 | 10.926 | 16.7329 | 0.0056359
579 | 11.895 | 17.7019 | 0.0059622
579.5 | 12.656 | 18.4629 | 0.0062185
580 | 13.62 | 19.4269 | 0.0065432
580.5 | 14.847 | 20.6539 | 0.0069565
581 | 16.025 | 21.8319 | 0.0073533
581.5 | 16.977 | 22.7839 | 0.0076739
582 | 17.964 | 23.7709 | 0.0080063
582.5 | 19.022 | 24.8289 | 0.0083627
583 | 20.275 | 26.0819 | 0.0087847
583.5 | 21.528 | 27.3349 | 0.0092067
584 | 22.764 | 28.5709 | 0.009623
584.5 | 23.905 | 29.7119 | 0.010007
585 | 25.48 | 31.2869 | 0.010538
585.5 | 27.233 | 33.0399 | 0.011128
586 | 29.015 | 34.8219 | 0.011728
586.5 | 30.881 | 36.6879 | 0.012357
587 | 32.984 | 38.7909 | 0.013065
587.5 | 35.212 | 41.0189 | 0.013816
588 | 37.893 | 43.6999 | 0.014719
588.5 | 40.585 | 46.3919 | 0.015625
589 | 43.538 | 49.3449 | 0.01662
589.5 | 46.217 | 52.0239 | 0.017522
590 | 49.149 | 54.9559 | 0.01851
590.5 | 51.969 | 57.7759 | 0.01946
591 | 54.797 | 60.6039 | 0.020412
591.5 | 57.865 | 63.6719 | 0.021446
592 | 60.956 | 66.7629 | 0.022487
592.5 | 64.135 | 69.9419 | 0.023557
593 | 67.297 | 73.1039 | 0.024622
593.5 | 70.572 | 76.3789 | 0.025725
594 | 74.451 | 80.2579 | 0.027032
594.5 | 78.685 | 84.4919 | 0.028458
595 | 83.498 | 89.3049 | 0.030079
595.5 | 88.757 | 94.5639 | 0.03185
596 | 94.4 | 100.2069 | 0.033751
596.5 | 100.17 | 105.9769 | 0.035694
597 | 106.23 | 112.0369 | 0.037735
597.5 | 112.3 | 118.1069 | 0.03978
598 | 118.89 | 124.6969 | 0.042
598.5 | 125.98 | 131.7869 | 0.044388
599 | 133.45 | 139.2569 | 0.046904
599.5 | 140.59 | 146.3969 | 0.049308
600 | 147.51 | 153.3169 | 0.051639
600.5 | 154.57 | 160.3769 | 0.054017
601 | 162.01 | 167.8169 | 0.056523
601.5 | 170.08 | 175.8869 | 0.059241
602 | 178.99 | 184.7969 | 0.062242
602.5 | 188.93 | 194.7369 | 0.06559
603 | 200.2 | 206.0069 | 0.069386
603.5 | 212.01 | 217.8169 | 0.073364
604 | 224.36 | 230.1669 | 0.077523
604.5 | 236.89 | 242.6969 | 0.081743
605 | 250.3 | 256.1069 | 0.08626
605.5 | 264.35 | 270.1569 | 0.090992
606 | 278.81 | 284.6169 | 0.095863
606.5 | 293.42 | 299.2269 | 0.10078
607 | 308.26 | 314.0669 | 0.10578
607.5 | 323.29 | 329.0969 | 0.11084
608 | 338.46 | 344.2669 | 0.11595
608.5 | 354.11 | 359.9169 | 0.12122
609 | 370.67 | 376.4769 | 0.1268
609.5 | 388.29 | 394.0969 | 0.13274
610 | 407.9 | 413.7069 | 0.13934
610.5 | 429.05 | 434.8569 | 0.14647
611 | 452.6 | 458.4069 | 0.1544
611.5 | 478.3 | 484.1069 | 0.16305
612 | 505.71 | 511.5169 | 0.17229
612.5 | 534.78 | 540.5869 | 0.18208
613 | 564.53 | 570.3369 | 0.1921
613.5 | 594.8 | 600.6069 | 0.20229
614 | 625.43 | 631.2369 | 0.21261
614.5 | 656.51 | 662.3169 | 0.22308
615 | 687.85 | 693.6569 | 0.23363
615.5 | 719.9 | 725.7069 | 0.24443
616 | 752.11 | 757.9169 | 0.25528
616.5 | 785.16 | 790.9669 | 0.26641
617 | 819.53 | 825.3369 | 0.27798
617.5 | 855.7 | 861.5069 | 0.29017
618 | 893.85 | 899.6569 | 0.30302
618.5 | 935.01 | 940.8169 | 0.31688
619 | 979.46 | 985.2669 | 0.33185
619.5 | 1027.7 | 1033.5069 | 0.3481
620 | 1080.9 | 1086.7069 | 0.36602
620.5 | 1137.9 | 1143.7069 | 0.38522
621 | 1198.4 | 1204.2069 | 0.40559
621.5 | 1262.3 | 1268.1069 | 0.42711
622 | 1328.7 | 1334.5069 | 0.44948
622.5 | 1396.7 | 1402.5069 | 0.47238
623 | 1465.1 | 1470.9069 | 0.49542
623.5 | 1533.9 | 1539.7069 | 0.51859
624 | 1602.5 | 1608.3069 | 0.5417
624.5 | 1671.5 | 1677.3069 | 0.56494
625 | 1740.6 | 1746.4069 | 0.58821
625.5 | 1810.3 | 1816.1069 | 0.61169
626 | 1881.5 | 1887.3069 | 0.63567
626.5 | 1955.4 | 1961.2069 | 0.66056
627 | 2032.6 | 2038.4069 | 0.68656
627.5 | 2114.3 | 2120.1069 | 0.71408
628 | 2200.5 | 2206.3069 | 0.74311
628.5 | 2290.9 | 2296.7069 | 0.77356
629 | 2384.8 | 2390.6069 | 0.80519
629.5 | 2480.3 | 2486.1069 | 0.83735
630 | 2575.5 | 2581.3069 | 0.86942
630.5 | 2667.2 | 2673.0069 | 0.9003
631 | 2752.3 | 2758.1069 | 0.92897
631.5 | 2826.3 | 2832.1069 | 0.95389
632 | 2886.6 | 2892.4069 | 0.9742
632.5 | 2930.7 | 2936.5069 | 0.98905
633 | 2955.9 | 2961.7069 | 0.99754
633.5 | 2963.2 | 2969.0069 | 1
634 | 2949.9 | 2955.7069 | 0.99552
634.5 | 2917.3 | 2923.1069 | 0.98454
635 | 2866.8 | 2872.6069 | 0.96753
635.5 | 2797.9 | 2803.7069 | 0.94432
636 | 2715.7 | 2721.5069 | 0.91664
636.5 | 2621.6 | 2627.4069 | 0.88494
637 | 2517.5 | 2523.3069 | 0.84988
637.5 | 2405.6 | 2411.4069 | 0.81219
638 | 2286.3 | 2292.1069 | 0.77201
638.5 | 2161.9 | 2167.7069 | 0.73011
639 | 2035 | 2040.8069 | 0.68737
639.5 | 1907 | 1912.8069 | 0.64426
640 | 1778.5 | 1784.3069 | 0.60098
640.5 | 1650.5 | 1656.3069 | 0.55787
641 | 1523.8 | 1529.6069 | 0.51519
641.5 | 1399.6 | 1405.4069 | 0.47336
642 | 1279.1 | 1284.9069 | 0.43277
642.5 | 1164.2 | 1170.0069 | 0.39407
643 | 1055.7 | 1061.5069 | 0.35753
643.5 | 954.93 | 960.7369 | 0.32359
644 | 862.34 | 868.1469 | 0.2924
644.5 | 777.27 | 783.0769 | 0.26375
645 | 700.69 | 706.4969 | 0.23796
645.5 | 631.84 | 637.6469 | 0.21477
646 | 570.43 | 576.2369 | 0.19408
646.5 | 516.23 | 522.0369 | 0.17583
647 | 468.08 | 473.8869 | 0.15961
647.5 | 425.58 | 431.3869 | 0.1453
648 | 388.24 | 394.0469 | 0.13272
648.5 | 354.92 | 360.7269 | 0.1215
649 | 324.71 | 330.5169 | 0.11132
649.5 | 297.34 | 303.1469 | 0.1021
650 | 272.25 | 278.0569 | 0.093653
650.5 | 249.22 | 255.0269 | 0.085896
651 | 228.35 | 234.1569 | 0.078867
651.5 | 208.98 | 214.7869 | 0.072343
652 | 191.19 | 196.9969 | 0.066351
652.5 | 174.56 | 180.3669 | 0.06075
653 | 158.55 | 164.3569 | 0.055358
653.5 | 143.73 | 149.5369 | 0.050366
654 | 130.09 | 135.8969 | 0.045772
654.5 | 118.03 | 123.8369 | 0.04171
655 | 107.02 | 112.8269 | 0.038002
655.5 | 97.257 | 103.0639 | 0.034713
656 | 88.463 | 94.2699 | 0.031751
656.5 | 80.48 | 86.2869 | 0.029063
657 | 73.275 | 79.0819 | 0.026636
657.5 | 67.037 | 72.8439 | 0.024535
658 | 62.028 | 67.8349 | 0.022848
658.5 | 57.567 | 63.3739 | 0.021345
659 | 53.762 | 59.5689 | 0.020064
659.5 | 49.97 | 55.7769 | 0.018786
660 | 46.602 | 52.4089 | 0.017652
660.5 | 43.555 | 49.3619 | 0.016626
661 | 40.634 | 46.4409 | 0.015642
661.5 | 37.877 | 43.6839 | 0.014713
662 | 35.354 | 41.1609 | 0.013864
662.5 | 32.864 | 38.6709 | 0.013025
663 | 30.286 | 36.0929 | 0.012157
663.5 | 27.736 | 33.5429 | 0.011298
664 | 25.087 | 30.8939 | 0.010405
664.5 | 22.892 | 28.6989 | 0.0096662
665 | 21.13 | 26.9369 | 0.0090727
665.5 | 19.452 | 25.2589 | 0.0085075
666 | 18.057 | 23.8639 | 0.0080377
666.5 | 16.854 | 22.6609 | 0.0076325
667 | 15.918 | 21.7249 | 0.0073172
667.5 | 14.873 | 20.6799 | 0.0069653
668 | 13.689 | 19.4959 | 0.0065665
668.5 | 12.795 | 18.6019 | 0.0062654
669 | 12.292 | 18.0989 | 0.0060959
669.5 | 11.497 | 17.3039 | 0.0058282
670 | 10.353 | 16.1599 | 0.0054429
670.5 | 9.2714 | 15.0783 | 0.0050786
671 | 8.4232 | 14.2301 | 0.0047929
671.5 | 7.7801 | 13.587 | 0.0045763
672 | 7.0868 | 12.8937 | 0.0043428
672.5 | 6.191 | 11.9979 | 0.004041
673 | 5.5095 | 11.3164 | 0.0038115
673.5 | 4.8264 | 10.6333 | 0.0035814
674 | 4.2439 | 10.0508 | 0.0033852
674.5 | 3.968 | 9.7749 | 0.0032923
675 | 3.5725 | 9.3794 | 0.0031591
675.5 | 3.5087 | 9.3156 | 0.0031376
676 | 3.1216 | 8.9285 | 0.0030072
676.5 | 2.6349 | 8.4418 | 0.0028433
677 | 2.2305 | 8.0374 | 0.0027071
677.5 | 2.3005 | 8.1074 | 0.0027307
678 | 2.3837 | 8.1906 | 0.0027587
678.5 | 2.3983 | 8.2052 | 0.0027636
679 | 2.3521 | 8.159 | 0.0027481
679.5 | 1.9554 | 7.7623 | 0.0026144
680 | 1.6739 | 7.4808 | 0.0025196
680.5 | 1.1239 | 6.9308 | 0.0023344
681 | 0.95571 | 6.7626 | 0.0022777
681.5 | 0.90298 | 6.7099 | 0.00226
682 | 0.72587 | 6.5328 | 0.0022003
682.5 | 0.090879 | 5.8978 | 0.0019864
683 | -0.6918 | 5.1151 | 0.0017228
683.5 | -1.3293 | 4.4776 | 0.0015081
684 | -2.1395 | 3.6674 | 0.0012352
684.5 | -2.5609 | 3.246 | 0.0010933
685 | -2.6283 | 3.1786 | 0.0010706
685.5 | -2.6083 | 3.1986 | 0.0010773
686 | -3.1734 | 2.6335 | 0.000887
686.5 | -3.8157 | 1.9912 | 0.00067066
687 | -4.3044 | 1.5025 | 0.00050606
687.5 | -4.8164 | 0.9905 | 0.00033361
688 | -4.9356 | 0.8713 | 0.00029347
688.5 | -4.9111 | 0.8958 | 0.00030172
689 | -4.653 | 1.1539 | 0.00038865
689.5 | -4.7842 | 1.0227 | 0.00034446
690 | -5.0972 | 0.7097 | 0.00023904
690.5 | -5.41 | 0.3969 | 0.00013368
691 | -5.1676 | 0.6393 | 0.00021532
691.5 | -4.979 | 0.8279 | 0.00027885
692 | -4.8627 | 0.9442 | 0.00031802
692.5 | -4.4048 | 1.4021 | 0.00047225
693 | -4.268 | 1.5389 | 0.00051832
693.5 | -4.2875 | 1.5194 | 0.00051175
694 | -4.4436 | 1.3633 | 0.00045918
694.5 | -4.0612 | 1.7457 | 0.00058797
695 | -3.5184 | 2.2885 | 0.0007708
695.5 | -3.2796 | 2.5273 | 0.00085123
696 | -2.9004 | 2.9065 | 0.00097895
696.5 | -2.4577 | 3.3492 | 0.0011281
697 | -2.0498 | 3.7571 | 0.0012654
697.5 | -1.7792 | 4.0277 | 0.0013566
698 | -1.4322 | 4.3747 | 0.0014735
698.5 | -1.1871 | 4.6198 | 0.001556
699 | -1.1752 | 4.6317 | 0.00156
699.5 | -1.2876 | 4.5193 | 0.0015222
700 | -1.3763 | 4.4306 | 0.0014923
700.5 | -1.2808 | 4.5261 | 0.0015244
701 | -1.4832 | 4.3237 | 0.0014563
701.5 | -1.677 | 4.1299 | 0.001391
702 | -2.0715 | 3.7354 | 0.0012581
702.5 | -2.0274 | 3.7795 | 0.001273
703 | -2.1298 | 3.6771 | 0.0012385
703.5 | -1.9969 | 3.81 | 0.0012833
704 | -1.7662 | 4.0407 | 0.001361
704.5 | -1.7163 | 4.0906 | 0.0013778
705 | -1.8352 | 3.9717 | 0.0013377
705.5 | -1.7238 | 4.0831 | 0.0013752
706 | -1.8211 | 3.9858 | 0.0013425
706.5 | -2.2384 | 3.5685 | 0.0012019
707 | -2.3858 | 3.4211 | 0.0011523
707.5 | -2.8279 | 2.979 | 0.0010034
708 | -3.1387 | 2.6682 | 0.00089868
708.5 | -3.6317 | 2.1752 | 0.00073264
709 | -3.9717 | 1.8352 | 0.00061812
709.5 | -3.9067 | 1.9002 | 0.00064001
710 | -3.7255 | 2.0814 | 0.00070104
710.5 | -3.6915 | 2.1154 | 0.00071249
711 | -3.6259 | 2.181 | 0.00073459
711.5 | -3.7043 | 2.1026 | 0.00070818
712 | -3.826 | 1.9809 | 0.00066719
712.5 | -3.7001 | 2.1068 | 0.0007096
713 | -3.6223 | 2.1846 | 0.0007358
713.5 | -3.4576 | 2.3493 | 0.00079127
714 | -3.4966 | 2.3103 | 0.00077814
714.5 | -3.8842 | 1.9227 | 0.00064759
715 | -4.2879 | 1.519 | 0.00051162
715.5 | -4.5906 | 1.2163 | 0.00040967
716 | -4.5964 | 1.2105 | 0.00040771
716.5 | -4.376 | 1.4309 | 0.00048195
717 | -4.3482 | 1.4587 | 0.00049131
717.5 | -4.3297 | 1.4772 | 0.00049754
718 | -4.424 | 1.3829 | 0.00046578
718.5 | -4.6366 | 1.1703 | 0.00039417
719 | -4.7166 | 1.0903 | 0.00036723
719.5 | -4.7619 | 1.045 | 0.00035197
720 | -4.815 | 0.9919 | 0.00033408
720.5 | -4.9097 | 0.8972 | 0.00030219
721 | -5.4846 | 0.3223 | 0.00010855
721.5 | -5.7125 | 0.0944 | 3.1795e-05
722 | -5.6595 | 0.1474 | 4.9646e-05
722.5 | -5.4491 | 0.3578 | 0.00012051
723 | -4.6089 | 1.198 | 0.0004035
723.5 | -4.0587 | 1.7482 | 0.00058882
724 | -3.8304 | 1.9765 | 0.00066571
724.5 | -3.7707 | 2.0362 | 0.00068582
725 | -3.9021 | 1.9048 | 0.00064156
725.5 | -3.1722 | 2.6347 | 0.0008874
726 | -2.5715 | 3.2354 | 0.0010897
726.5 | -2.099 | 3.7079 | 0.0012489
727 | -1.9376 | 3.8693 | 0.0013032
727.5 | -2.1367 | 3.6702 | 0.0012362
728 | -2.5109 | 3.296 | 0.0011101
728.5 | -2.7167 | 3.0902 | 0.0010408
729 | -2.9213 | 2.8856 | 0.00097191
729.5 | -2.9213 | 2.8856 | 0.00097191
730 | -3.1932 | 2.6137 | 0.00088033
730.5 | -3.7282 | 2.0787 | 0.00070013
731 | -3.9505 | 1.8564 | 0.00062526
731.5 | -4.0519 | 1.755 | 0.00059111
732 | -4.1612 | 1.6457 | 0.00055429
732.5 | -4.3093 | 1.4976 | 0.00050441
733 | -4.1256 | 1.6813 | 0.00056628
733.5 | -4.0751 | 1.7318 | 0.00058329
734 | -4.1243 | 1.6826 | 0.00056672
734.5 | -4.141 | 1.6659 | 0.0005611
735 | -3.8024 | 2.0045 | 0.00067514
735.5 | -3.5944 | 2.2125 | 0.0007452
736 | -3.7416 | 2.0653 | 0.00069562
736.5 | -3.8362 | 1.9707 | 0.00066376
737 | -3.6679 | 2.139 | 0.00072044
737.5 | -3.7761 | 2.0308 | 0.000684
738 | -4.1463 | 1.6606 | 0.00055931
738.5 | -4.152 | 1.6549 | 0.00055739
739 | -4.0743 | 1.7326 | 0.00058356
739.5 | -4.2366 | 1.5703 | 0.0005289
740 | -4.2555 | 1.5514 | 0.00052253
740.5 | -4.1448 | 1.6621 | 0.00055982
741 | -4.0549 | 1.752 | 0.0005901
741.5 | -4.513 | 1.2939 | 0.0004358
742 | -5.2293 | 0.5776 | 0.00019454
742.5 | -5.4612 | 0.3457 | 0.00011644
743 | -5.6049 | 0.202 | 6.8036e-05
743.5 | -5.7301 | 0.0768 | 2.5867e-05
744 | -5.7175 | 0.0894 | 3.0111e-05
744.5 | -5.5187 | 0.2882 | 9.7069e-05
745 | -5.1707 | 0.6362 | 0.00021428
745.5 | -5.0726 | 0.7343 | 0.00024732
746 | -4.824 | 0.9829 | 0.00033105
746.5 | -4.1793 | 1.6276 | 0.0005482
747 | -3.8422 | 1.9647 | 0.00066174
747.5 | -3.647 | 2.1599 | 0.00072748
748 | -3.4651 | 2.3418 | 0.00078875
748.5 | -3.5672 | 2.2397 | 0.00075436
749 | -3.6225 | 2.1844 | 0.00073573
749.5 | -3.9702 | 1.8367 | 0.00061862
750 | -4.1945 | 1.6124 | 0.00054308
750.5 | -4.1446 | 1.6623 | 0.00055988
751 | -4.0334 | 1.7735 | 0.00059734
751.5 | -4.0524 | 1.7545 | 0.00059094
752 | -3.9801 | 1.8268 | 0.00061529
752.5 | -3.7086 | 2.0983 | 0.00070673
753 | -3.4035 | 2.4034 | 0.0008095
753.5 | -3.3905 | 2.4164 | 0.00081387
754 | -3.6913 | 2.1156 | 0.00071256
754.5 | -3.8942 | 1.9127 | 0.00064422
755 | -4.2943 | 1.5126 | 0.00050946
755.5 | -4.6547 | 1.1522 | 0.00038808
756 | -4.5777 | 1.2292 | 0.00041401
756.5 | -4.2439 | 1.563 | 0.00052644
757 | -4.1215 | 1.6854 | 0.00056766
757.5 | -4.1809 | 1.626 | 0.00054766
758 | -4.1127 | 1.6942 | 0.00057063
758.5 | -4.047 | 1.7599 | 0.00059276
759 | -4.0362 | 1.7707 | 0.00059639
759.5 | -3.8216 | 1.9853 | 0.00066867
760 | -3.6599 | 2.147 | 0.00072314
760.5 | -3.791 | 2.0159 | 0.00067898
761 | -4.1165 | 1.6904 | 0.00056935
761.5 | -4.6385 | 1.1684 | 0.00039353
762 | -4.9729 | 0.834 | 0.0002809
762.5 | -4.942 | 0.8649 | 0.00029131
763 | -4.7347 | 1.0722 | 0.00036113
763.5 | -4.243 | 1.5639 | 0.00052674
764 | -3.8549 | 1.952 | 0.00065746
764.5 | -3.9266 | 1.8803 | 0.00063331
765 | -3.833 | 1.9739 | 0.00066484
765.5 | -3.7904 | 2.0165 | 0.00067918
766 | -3.6053 | 2.2016 | 0.00074153
766.5 | -3.4696 | 2.3373 | 0.00078723
767 | -3.5696 | 2.2373 | 0.00075355
767.5 | -3.8079 | 1.999 | 0.00067329
768 | -4.1392 | 1.6677 | 0.0005617
768.5 | -4.8647 | 0.9422 | 0.00031735
769 | -4.8797 | 0.9272 | 0.00031229
769.5 | -4.92 | 0.8869 | 0.00029872
770 | -5.1954 | 0.6115 | 0.00020596
770.5 | -5.5021 | 0.3048 | 0.00010266
771 | -5.6282 | 0.1787 | 6.0188e-05
771.5 | -5.7767 | 0.0302 | 1.0172e-05
772 | -5.8496 | 0 | 0
772.5 | -5.8016 | 0.0053 | 1.7851e-06
773 | -5.6838 | 0.1231 | 4.1462e-05
773.5 | -5.8092 | 0 | 0
774 | -6.1119 | 0 | 0
774.5 | -6.1255 | 0 | 0
775 | -6.0462 | 0 | 0
775.5 | -6.1939 | 0 | 0
776 | -6.3153 | 0 | 0
776.5 | -6.1113 | 0 | 0
777 | -5.9663 | 0 | 0
777.5 | -5.7538 | 0.0531 | 1.7885e-05
778 | -5.8732 | 0 | 0
778.5 | -5.5304 | 0.2765 | 9.3129e-05
779 | -5.0576 | 0.7493 | 0.00025237
779.5 | -4.8567 | 0.9502 | 0.00032004
780 | -4.581 | 1.2259 | 0.0004129
780.5 | -4.1133 | 1.6936 | 0.00057043
781 | -4.0043 | 1.8026 | 0.00060714
781.5 | -3.863 | 1.9439 | 0.00065473
782 | -4.162 | 1.6449 | 0.00055402
782.5 | -4.1217 | 1.6852 | 0.0005676
783 | -3.8676 | 1.9393 | 0.00065318
783.5 | -3.8309 | 1.976 | 0.00066554
784 | -3.4815 | 2.3254 | 0.00078322
784.5 | -3.2147 | 2.5922 | 0.00087309
785 | -3.3437 | 2.4632 | 0.00082964
785.5 | -3.6086 | 2.1983 | 0.00074042
786 | -4.1942 | 1.6127 | 0.00054318
786.5 | -4.2266 | 1.5803 | 0.00053227
787 | -4.1093 | 1.6976 | 0.00057177
787.5 | -4.2963 | 1.5106 | 0.00050879
788 | -4.4877 | 1.3192 | 0.00044432
788.5 | -4.9565 | 0.8504 | 0.00028643
789 | -5.1736 | 0.6333 | 0.0002133
789.5 | -4.784 | 1.0229 | 0.00034453
790 | -4.6115 | 1.1954 | 0.00040263
790.5 | -4.8046 | 1.0023 | 0.00033759
791 | -4.9404 | 0.8665 | 0.00029185
791.5 | -4.797 | 1.0099 | 0.00034015
792 | -4.6946 | 1.1123 | 0.00037464
792.5 | -4.5576 | 1.2493 | 0.00042078
793 | -4.4912 | 1.3157 | 0.00044314
793.5 | -4.5498 | 1.2571 | 0.00042341
794 | -5.0448 | 0.7621 | 0.00025669
794.5 | -5.3444 | 0.4625 | 0.00015578
795 | -5.1865 | 0.6204 | 0.00020896
795.5 | -5.353 | 0.4539 | 0.00015288
796 | -5.958 | 0 | 0
796.5 | -6.6953 | 0 | 0
797 | -7.3672 | 0 | 0
797.5 | -7.6333 | 0 | 0
798 | -7.7339 | 0 | 0
798.5 | -7.7264 | 0 | 0
799 | -7.6164 | 0 | 0
799.5 | -7.4517 | 0 | 0
800 | -6.8791 | 0 | 0
800.5 | -6.1439 | 0 | 0
801 | -5.6948 | 0.1121 | 3.7757e-05
801.5 | -5.4358 | 0.3711 | 0.00012499
802 | -5.3969 | 0.41 | 0.00013809
802.5 | -5.3271 | 0.4798 | 0.0001616
803 | -5.0202 | 0.7867 | 0.00026497
803.5 | -4.4679 | 1.339 | 0.00045099
804 | -3.7951 | 2.0118 | 0.0006776
804.5 | -3.7883 | 2.0186 | 0.00067989
805 | -3.7113 | 2.0956 | 0.00070583
805.5 | -3.2002 | 2.6067 | 0.00087797
806 | -2.719 | 3.0879 | 0.00104
806.5 | -2.4766 | 3.3303 | 0.0011217
807 | -2.5916 | 3.2153 | 0.001083
807.5 | -2.8115 | 2.9954 | 0.0010089
808 | -3.1349 | 2.672 | 0.00089996
808.5 | -3.444 | 2.3629 | 0.00079586
809 | -3.3465 | 2.4604 | 0.00082869
809.5 | -3.694 | 2.1129 | 0.00071165
810 | -3.9536 | 1.8533 | 0.00062422
810.5 | -3.8902 | 1.9167 | 0.00064557
811 | -3.5331 | 2.2738 | 0.00076585
811.5 | -3.2769 | 2.53 | 0.00085214
812 | -3.2223 | 2.5846 | 0.00087053
812.5 | -3.4405 | 2.3664 | 0.00079703
813 | -3.8004 | 2.0065 | 0.00067582
813.5 | -4.1667 | 1.6402 | 0.00055244
814 | -4.2739 | 1.533 | 0.00051633
814.5 | -4.2777 | 1.5292 | 0.00051505
815 | -4.4017 | 1.4052 | 0.00047329
815.5 | -4.4789 | 1.328 | 0.00044729
816 | -4.8781 | 0.9288 | 0.00031283
816.5 | -5.409 | 0.3979 | 0.00013402
817 | -5.7657 | 0.0412 | 1.3877e-05
817.5 | -5.8886 | 0 | 0
818 | -6.0316 | 0 | 0
818.5 | -6.5399 | 0 | 0
819 | -6.8229 | 0 | 0
819.5 | -7.102 | 0 | 0
820 | -7.415 | 0 | 0
820.5 | -7.0738 | 0 | 0
821 | -6.8757 | 0 | 0
821.5 | -6.7616 | 0 | 0
822 | -6.5219 | 0 | 0
822.5 | -6.3617 | 0 | 0
823 | -5.9885 | 0 | 0
823.5 | -5.9303 | 0 | 0
824 | -5.9371 | 0 | 0
824.5 | -5.6223 | 0.1846 | 6.2176e-05
825 | -5.5607 | 0.2462 | 8.2923e-05
825.5 | -5.3933 | 0.4136 | 0.00013931
826 | -5.3191 | 0.4878 | 0.0001643
826.5 | -5.4346 | 0.3723 | 0.0001254
827 | -5.6572 | 0.1497 | 5.0421e-05
827.5 | -5.6937 | 0.1132 | 3.8127e-05
828 | -5.5797 | 0.2272 | 7.6524e-05
828.5 | -5.1397 | 0.6672 | 0.00022472
829 | -4.6857 | 1.1212 | 0.00037763
829.5 | -4.4566 | 1.3503 | 0.0004548
830 | -4.4013 | 1.4056 | 0.00047342
830.5 | -4.0682 | 1.7387 | 0.00058562
831 | -3.712 | 2.0949 | 0.00070559
831.5 | -3.3967 | 2.4102 | 0.00081179
832 | -3.5117 | 2.2952 | 0.00077305
832.5 | -3.6813 | 2.1256 | 0.00071593
833 | -4.1273 | 1.6796 | 0.00056571
833.5 | -4.5379 | 1.269 | 0.00042742
834 | -4.4733 | 1.3336 | 0.00044917
834.5 | -4.4687 | 1.3382 | 0.00045072
835 | -4.7873 | 1.0196 | 0.00034341
835.5 | -4.9946 | 0.8123 | 0.00027359
836 | -5.0508 | 0.7561 | 0.00025466
836.5 | -4.7843 | 1.0226 | 0.00034442
837 | -4.4278 | 1.3791 | 0.0004645
837.5 | -4.5448 | 1.2621 | 0.00042509
838 | -4.8757 | 0.9312 | 0.00031364
838.5 | -4.988 | 0.8189 | 0.00027582
839 | -5.1858 | 0.6211 | 0.00020919
839.5 | -5.2404 | 0.5665 | 0.0001908
840 | -5.3608 | 0.4461 | 0.00015025
840.5 | -6.0541 | 0 | 0
841 | -7.1148 | 0 | 0
841.5 | -7.707 | 0 | 0
842 | -7.6856 | 0 | 0
842.5 | -7.763 | 0 | 0
843 | -7.7807 | 0 | 0
843.5 | -7.899 | 0 | 0
844 | -7.9754 | 0 | 0
844.5 | -7.9236 | 0 | 0
845 | -7.5753 | 0 | 0
845.5 | -7.3926 | 0 | 0
846 | -7.3878 | 0 | 0
846.5 | -7.1451 | 0 | 0
847 | -7.1473 | 0 | 0
847.5 | -7.3601 | 0 | 0
848 | -7.1468 | 0 | 0
848.5 | -6.9465 | 0 | 0
849 | -6.3014 | 0 | 0
849.5 | -5.9184 | 0 | 0
850 | -5.3742 | 0.4327 | 0.00014574
850.5 | -5.1814 | 0.6255 | 0.00021068
851 | -5.4545 | 0.3524 | 0.00011869
851.5 | -4.9353 | 0.8716 | 0.00029357
852 | -4.6276 | 1.1793 | 0.0003972
852.5 | -4.6205 | 1.1864 | 0.00039959
853 | -4.5207 | 1.2862 | 0.00043321
853.5 | -4.4467 | 1.3602 | 0.00045813
854 | -4.4584 | 1.3485 | 0.00045419
854.5 | -4.5458 | 1.2611 | 0.00042475
855 | -4.4401 | 1.3668 | 0.00046036
855.5 | -4.4999 | 1.307 | 0.00044021
856 | -4.5951 | 1.2118 | 0.00040815
856.5 | -4.4785 | 1.3284 | 0.00044742
857 | -4.5966 | 1.2103 | 0.00040764
857.5 | -4.8955 | 0.9114 | 0.00030697
858 | -5.3016 | 0.5053 | 0.00017019
858.5 | -5.4239 | 0.383 | 0.000129
859 | -5.4106 | 0.3963 | 0.00013348
859.5 | -4.8303 | 0.9766 | 0.00032893
860 | -4.3593 | 1.4476 | 0.00048757
860.5 | -3.8966 | 1.9103 | 0.00064341
861 | -4.0971 | 1.7098 | 0.00057588
861.5 | -4.3351 | 1.4718 | 0.00049572
862 | -4.2501 | 1.5568 | 0.00052435
862.5 | -4.3574 | 1.4495 | 0.00048821
863 | -4.7507 | 1.0562 | 0.00035574
863.5 | -5.721 | 0.0859 | 2.8932e-05
864 | -6.5701 | 0 | 0
864.5 | -7.4516 | 0 | 0
865 | -7.6924 | 0 | 0
865.5 | -7.4287 | 0 | 0
866 | -7.5558 | 0 | 0
866.5 | -7.8392 | 0 | 0
867 | -7.9971 | 0 | 0
867.5 | -7.8908 | 0 | 0
868 | -7.7437 | 0 | 0
868.5 | -7.5834 | 0 | 0
869 | -7.468 | 0 | 0
869.5 | -7.5233 | 0 | 0
870 | -7.7054 | 0 | 0
870.5 | -7.6988 | 0 | 0
871 | -7.646 | 0 | 0
871.5 | -7.6483 | 0 | 0
872 | -7.3122 | 0 | 0
872.5 | -7.0929 | 0 | 0
873 | -7.2372 | 0 | 0
873.5 | -7.3158 | 0 | 0
874 | -7.053 | 0 | 0
874.5 | -6.6756 | 0 | 0
875 | -6.3677 | 0 | 0
875.5 | -6.2803 | 0 | 0
876 | -6.4451 | 0 | 0
876.5 | -6.8672 | 0 | 0
877 | -6.5831 | 0 | 0
877.5 | -6.3161 | 0 | 0
878 | -6.2345 | 0 | 0
878.5 | -6.0951 | 0 | 0
879 | -5.9057 | 0 | 0
879.5 | -5.487 | 0.3199 | 0.00010775
880 | -5.5902 | 0.2167 | 7.2987e-05
880.5 | -5.6115 | 0.1954 | 6.5813e-05
881 | -5.8612 | 0 | 0
881.5 | -5.7318 | 0.0751 | 2.5295e-05
882 | -5.5849 | 0.222 | 7.4772e-05
882.5 | -5.3291 | 0.4778 | 0.00016093
883 | -5.2015 | 0.6054 | 0.00020391
883.5 | -3.8428 | 1.9641 | 0.00066153
884 | -6.848 | 0 | 0
884.5 | -6.7456 | 0 | 0
885 | 7.8436 | 13.6505 | 0.0045977
885.5 | -1.3667 | 4.4402 | 0.0014955
886 | -30.515 | 0 | 0
886.5 | 2.9759 | 8.7828 | 0.0029582