## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -8.1426 | 0 | 0
246.5 | -8.1618 | 0 | 0
247 | -8.2132 | 0 | 0
247.5 | -9.1569 | 0 | 0
248 | -8.3107 | 0 | 0
248.5 | -7.525 | 0 | 0
249 | -6.6018 | 0 | 0
249.5 | -5.7678 | 0.834 | 0.00028819
250 | -6.5483 | 0.0535 | 1.8487e-05
250.5 | -7.4922 | 0 | 0
251 | -8.4184 | 0 | 0
251.5 | -10.591 | 0 | 0
252 | -12.33 | 0 | 0
252.5 | -11.607 | 0 | 0
253 | -9.9441 | 0 | 0
253.5 | -7.5488 | 0 | 0
254 | -6.728 | 0 | 0
254.5 | -5.6982 | 0.9036 | 0.00031224
255 | -4.9643 | 1.6375 | 0.00056585
255.5 | -6.2237 | 0.3781 | 0.00013065
256 | -6.7906 | 0 | 0
256.5 | -7.3303 | 0 | 0
257 | -7.7094 | 0 | 0
257.5 | -7.6893 | 0 | 0
258 | -7.8037 | 0 | 0
258.5 | -7.8708 | 0 | 0
259 | -8.1067 | 0 | 0
259.5 | -8.2502 | 0 | 0
260 | -8.3368 | 0 | 0
260.5 | -8.386 | 0 | 0
261 | -8.3687 | 0 | 0
261.5 | -8.3967 | 0 | 0
262 | -8.4111 | 0 | 0
262.5 | -8.4777 | 0 | 0
263 | -8.5821 | 0 | 0
263.5 | -8.6605 | 0 | 0
264 | -8.7413 | 0 | 0
264.5 | -8.7956 | 0 | 0
265 | -8.8209 | 0 | 0
265.5 | -8.8234 | 0 | 0
266 | -8.8131 | 0 | 0
266.5 | -8.8421 | 0 | 0
267 | -8.837 | 0 | 0
267.5 | -8.7889 | 0 | 0
268 | -8.7678 | 0 | 0
268.5 | -8.6916 | 0 | 0
269 | -8.624 | 0 | 0
269.5 | -8.443 | 0 | 0
270 | -8.2548 | 0 | 0
270.5 | -8.0599 | 0 | 0
271 | -7.9493 | 0 | 0
271.5 | -7.8427 | 0 | 0
272 | -7.7236 | 0 | 0
272.5 | -7.672 | 0 | 0
273 | -7.6111 | 0 | 0
273.5 | -7.4802 | 0 | 0
274 | -7.5407 | 0 | 0
274.5 | -7.5905 | 0 | 0
275 | -7.631 | 0 | 0
275.5 | -7.8056 | 0 | 0
276 | -8.0951 | 0 | 0
276.5 | -8.4199 | 0 | 0
277 | -8.696 | 0 | 0
277.5 | -8.9326 | 0 | 0
278 | -9.1698 | 0 | 0
278.5 | -9.4048 | 0 | 0
279 | -9.5761 | 0 | 0
279.5 | -9.793 | 0 | 0
280 | -10.125 | 0 | 0
280.5 | -10.374 | 0 | 0
281 | -10.507 | 0 | 0
281.5 | -10.48 | 0 | 0
282 | -10.31 | 0 | 0
282.5 | -10.013 | 0 | 0
283 | -9.6787 | 0 | 0
283.5 | -9.4274 | 0 | 0
284 | -9.3433 | 0 | 0
284.5 | -9.3196 | 0 | 0
285 | -9.2596 | 0 | 0
285.5 | -9.2121 | 0 | 0
286 | -8.9863 | 0 | 0
286.5 | -8.6402 | 0 | 0
287 | -8.227 | 0 | 0
287.5 | -7.8978 | 0 | 0
288 | -7.8296 | 0 | 0
288.5 | -7.9092 | 0 | 0
289 | -7.9859 | 0 | 0
289.5 | -8.1199 | 0 | 0
290 | -8.2877 | 0 | 0
290.5 | -8.2941 | 0 | 0
291 | -8.24 | 0 | 0
291.5 | -8.2181 | 0 | 0
292 | -8.2295 | 0 | 0
292.5 | -8.2833 | 0 | 0
293 | -8.3789 | 0 | 0
293.5 | -8.4465 | 0 | 0
294 | -8.4698 | 0 | 0
294.5 | -8.4097 | 0 | 0
295 | -8.3772 | 0 | 0
295.5 | -8.3402 | 0 | 0
296 | -8.3494 | 0 | 0
296.5 | -8.368 | 0 | 0
297 | -8.4338 | 0 | 0
297.5 | -8.4893 | 0 | 0
298 | -8.444 | 0 | 0
298.5 | -8.4406 | 0 | 0
299 | -8.513 | 0 | 0
299.5 | -8.7205 | 0 | 0
300 | -8.8872 | 0 | 0
300.5 | -9.0543 | 0 | 0
301 | -9.1612 | 0 | 0
301.5 | -8.9932 | 0 | 0
302 | -8.8917 | 0 | 0
302.5 | -8.7107 | 0 | 0
303 | -8.4045 | 0 | 0
303.5 | -8.1192 | 0 | 0
304 | -7.8864 | 0 | 0
304.5 | -7.7622 | 0 | 0
305 | -7.71 | 0 | 0
305.5 | -7.6208 | 0 | 0
306 | -7.4653 | 0 | 0
306.5 | -7.4255 | 0 | 0
307 | -7.4306 | 0 | 0
307.5 | -7.4528 | 0 | 0
308 | -7.7405 | 0 | 0
308.5 | -8.0694 | 0 | 0
309 | -8.3971 | 0 | 0
309.5 | -8.7488 | 0 | 0
310 | -8.9896 | 0 | 0
310.5 | -9.0382 | 0 | 0
311 | -9.1352 | 0 | 0
311.5 | -9.1271 | 0 | 0
312 | -9.1064 | 0 | 0
312.5 | -9.0597 | 0 | 0
313 | -8.9537 | 0 | 0
313.5 | -8.87 | 0 | 0
314 | -8.9123 | 0 | 0
314.5 | -8.7911 | 0 | 0
315 | -8.5549 | 0 | 0
315.5 | -8.3752 | 0 | 0
316 | -8.2332 | 0 | 0
316.5 | -8.1785 | 0 | 0
317 | -8.211 | 0 | 0
317.5 | -8.1914 | 0 | 0
318 | -8.1802 | 0 | 0
318.5 | -8.2044 | 0 | 0
319 | -8.3033 | 0 | 0
319.5 | -8.4938 | 0 | 0
320 | -8.6164 | 0 | 0
320.5 | -8.5706 | 0 | 0
321 | -8.4819 | 0 | 0
321.5 | -8.2782 | 0 | 0
322 | -8.0566 | 0 | 0
322.5 | -7.9359 | 0 | 0
323 | -7.9089 | 0 | 0
323.5 | -7.979 | 0 | 0
324 | -8.0663 | 0 | 0
324.5 | -8.1942 | 0 | 0
325 | -8.2364 | 0 | 0
325.5 | -8.11 | 0 | 0
326 | -7.9536 | 0 | 0
326.5 | -7.8124 | 0 | 0
327 | -7.7222 | 0 | 0
327.5 | -7.699 | 0 | 0
328 | -7.8411 | 0 | 0
328.5 | -7.9886 | 0 | 0
329 | -8.064 | 0 | 0
329.5 | -7.9778 | 0 | 0
330 | -7.7867 | 0 | 0
330.5 | -7.531 | 0 | 0
331 | -7.1741 | 0 | 0
331.5 | -6.9289 | 0 | 0
332 | -6.8736 | 0 | 0
332.5 | -6.9795 | 0 | 0
333 | -7.0541 | 0 | 0
333.5 | -7.132 | 0 | 0
334 | -7.2993 | 0 | 0
334.5 | -7.3756 | 0 | 0
335 | -7.3426 | 0 | 0
335.5 | -7.3067 | 0 | 0
336 | -7.3488 | 0 | 0
336.5 | -7.4206 | 0 | 0
337 | -7.6065 | 0 | 0
337.5 | -7.8591 | 0 | 0
338 | -8.0007 | 0 | 0
338.5 | -7.9628 | 0 | 0
339 | -7.8089 | 0 | 0
339.5 | -7.6086 | 0 | 0
340 | -7.4819 | 0 | 0
340.5 | -7.3551 | 0 | 0
341 | -7.3873 | 0 | 0
341.5 | -7.6057 | 0 | 0
342 | -7.8635 | 0 | 0
342.5 | -8.0852 | 0 | 0
343 | -8.24 | 0 | 0
343.5 | -8.3715 | 0 | 0
344 | -8.4799 | 0 | 0
344.5 | -8.735 | 0 | 0
345 | -8.9327 | 0 | 0
345.5 | -9.2227 | 0 | 0
346 | -9.5266 | 0 | 0
346.5 | -9.7425 | 0 | 0
347 | -9.8461 | 0 | 0
347.5 | -9.8724 | 0 | 0
348 | -9.8244 | 0 | 0
348.5 | -9.6595 | 0 | 0
349 | -9.4912 | 0 | 0
349.5 | -9.3994 | 0 | 0
350 | -9.3115 | 0 | 0
350.5 | -9.1447 | 0 | 0
351 | -9.0169 | 0 | 0
351.5 | -8.9808 | 0 | 0
352 | -8.7977 | 0 | 0
352.5 | -8.6976 | 0 | 0
353 | -8.6323 | 0 | 0
353.5 | -8.6337 | 0 | 0
354 | -8.6667 | 0 | 0
354.5 | -8.7032 | 0 | 0
355 | -8.8165 | 0 | 0
355.5 | -8.8659 | 0 | 0
356 | -8.6789 | 0 | 0
356.5 | -8.408 | 0 | 0
357 | -8.252 | 0 | 0
357.5 | -8.0742 | 0 | 0
358 | -8.0085 | 0 | 0
358.5 | -8.1874 | 0 | 0
359 | -8.3904 | 0 | 0
359.5 | -8.5751 | 0 | 0
360 | -8.5802 | 0 | 0
360.5 | -8.4184 | 0 | 0
361 | -8.1611 | 0 | 0
361.5 | -7.8873 | 0 | 0
362 | -7.69 | 0 | 0
362.5 | -7.7396 | 0 | 0
363 | -7.8143 | 0 | 0
363.5 | -7.7901 | 0 | 0
364 | -7.7349 | 0 | 0
364.5 | -7.5969 | 0 | 0
365 | -7.3107 | 0 | 0
365.5 | -7.0664 | 0 | 0
366 | -6.8619 | 0 | 0
366.5 | -6.7377 | 0 | 0
367 | -6.6595 | 0 | 0
367.5 | -6.6768 | 0 | 0
368 | -6.7958 | 0 | 0
368.5 | -6.9733 | 0 | 0
369 | -7.0589 | 0 | 0
369.5 | -7.2739 | 0 | 0
370 | -7.4378 | 0 | 0
370.5 | -7.5177 | 0 | 0
371 | -7.5162 | 0 | 0
371.5 | -7.5261 | 0 | 0
372 | -7.5631 | 0 | 0
372.5 | -7.5991 | 0 | 0
373 | -7.7774 | 0 | 0
373.5 | -8.0125 | 0 | 0
374 | -8.1625 | 0 | 0
374.5 | -8.2283 | 0 | 0
375 | -8.3237 | 0 | 0
375.5 | -8.3591 | 0 | 0
376 | -8.364 | 0 | 0
376.5 | -8.4812 | 0 | 0
377 | -8.6364 | 0 | 0
377.5 | -8.8608 | 0 | 0
378 | -9.0146 | 0 | 0
378.5 | -9.1547 | 0 | 0
379 | -9.1085 | 0 | 0
379.5 | -9.0747 | 0 | 0
380 | -9.0081 | 0 | 0
380.5 | -8.9154 | 0 | 0
381 | -8.768 | 0 | 0
381.5 | -8.5651 | 0 | 0
382 | -8.3547 | 0 | 0
382.5 | -8.3122 | 0 | 0
383 | -8.2295 | 0 | 0
383.5 | -8.2064 | 0 | 0
384 | -8.302 | 0 | 0
384.5 | -8.455 | 0 | 0
385 | -8.586 | 0 | 0
385.5 | -8.6874 | 0 | 0
386 | -8.769 | 0 | 0
386.5 | -8.9418 | 0 | 0
387 | -9.1865 | 0 | 0
387.5 | -9.5101 | 0 | 0
388 | -9.8365 | 0 | 0
388.5 | -9.987 | 0 | 0
389 | -10.005 | 0 | 0
389.5 | -9.8008 | 0 | 0
390 | -9.405 | 0 | 0
390.5 | -9.0117 | 0 | 0
391 | -8.7981 | 0 | 0
391.5 | -8.658 | 0 | 0
392 | -8.5365 | 0 | 0
392.5 | -8.317 | 0 | 0
393 | -8.1021 | 0 | 0
393.5 | -7.7324 | 0 | 0
394 | -7.4813 | 0 | 0
394.5 | -7.3414 | 0 | 0
395 | -7.2732 | 0 | 0
395.5 | -7.3216 | 0 | 0
396 | -7.6037 | 0 | 0
396.5 | -7.7458 | 0 | 0
397 | -7.7548 | 0 | 0
397.5 | -7.6062 | 0 | 0
398 | -7.5819 | 0 | 0
398.5 | -7.6706 | 0 | 0
399 | -7.6955 | 0 | 0
399.5 | -7.843 | 0 | 0
400 | -7.9813 | 0 | 0
400.5 | -8.0937 | 0 | 0
401 | -8.2741 | 0 | 0
401.5 | -8.3356 | 0 | 0
402 | -8.4121 | 0 | 0
402.5 | -8.6063 | 0 | 0
403 | -8.7958 | 0 | 0
403.5 | -9 | 0 | 0
404 | -9.1625 | 0 | 0
404.5 | -9.2658 | 0 | 0
405 | -9.4257 | 0 | 0
405.5 | -9.4452 | 0 | 0
406 | -9.4689 | 0 | 0
406.5 | -9.4084 | 0 | 0
407 | -9.1019 | 0 | 0
407.5 | -8.8158 | 0 | 0
408 | -8.6416 | 0 | 0
408.5 | -8.4263 | 0 | 0
409 | -8.2289 | 0 | 0
409.5 | -8.1166 | 0 | 0
410 | -8.0324 | 0 | 0
410.5 | -7.9371 | 0 | 0
411 | -7.8176 | 0 | 0
411.5 | -7.8256 | 0 | 0
412 | -7.8853 | 0 | 0
412.5 | -8.0388 | 0 | 0
413 | -8.2467 | 0 | 0
413.5 | -8.4298 | 0 | 0
414 | -8.6111 | 0 | 0
414.5 | -8.7263 | 0 | 0
415 | -8.8447 | 0 | 0
415.5 | -8.8894 | 0 | 0
416 | -9.1126 | 0 | 0
416.5 | -9.3372 | 0 | 0
417 | -9.5355 | 0 | 0
417.5 | -9.6045 | 0 | 0
418 | -9.6568 | 0 | 0
418.5 | -9.4964 | 0 | 0
419 | -9.2685 | 0 | 0
419.5 | -9.1082 | 0 | 0
420 | -9.04 | 0 | 0
420.5 | -9.0059 | 0 | 0
421 | -9.0146 | 0 | 0
421.5 | -9.027 | 0 | 0
422 | -8.7831 | 0 | 0
422.5 | -8.3477 | 0 | 0
423 | -7.9314 | 0 | 0
423.5 | -7.5178 | 0 | 0
424 | -7.2256 | 0 | 0
424.5 | -7.0561 | 0 | 0
425 | -7.1259 | 0 | 0
425.5 | -7.2308 | 0 | 0
426 | -7.2116 | 0 | 0
426.5 | -7.1115 | 0 | 0
427 | -6.9516 | 0 | 0
427.5 | -6.8446 | 0 | 0
428 | -6.8691 | 0 | 0
428.5 | -7.1082 | 0 | 0
429 | -7.3702 | 0 | 0
429.5 | -7.6202 | 0 | 0
430 | -7.7707 | 0 | 0
430.5 | -7.8828 | 0 | 0
431 | -7.9467 | 0 | 0
431.5 | -8.0431 | 0 | 0
432 | -8.1157 | 0 | 0
432.5 | -8.1957 | 0 | 0
433 | -8.2962 | 0 | 0
433.5 | -8.4571 | 0 | 0
434 | -8.5658 | 0 | 0
434.5 | -8.6099 | 0 | 0
435 | -8.5908 | 0 | 0
435.5 | -8.5751 | 0 | 0
436 | -8.5257 | 0 | 0
436.5 | -8.4904 | 0 | 0
437 | -8.4256 | 0 | 0
437.5 | -8.3131 | 0 | 0
438 | -8.2407 | 0 | 0
438.5 | -8.3673 | 0 | 0
439 | -8.4561 | 0 | 0
439.5 | -8.5603 | 0 | 0
440 | -8.5925 | 0 | 0
440.5 | -8.5721 | 0 | 0
441 | -8.6033 | 0 | 0
441.5 | -8.628 | 0 | 0
442 | -8.7917 | 0 | 0
442.5 | -8.9597 | 0 | 0
443 | -9.1705 | 0 | 0
443.5 | -9.3277 | 0 | 0
444 | -9.4647 | 0 | 0
444.5 | -9.3299 | 0 | 0
445 | -9.0926 | 0 | 0
445.5 | -8.8023 | 0 | 0
446 | -8.6131 | 0 | 0
446.5 | -8.4645 | 0 | 0
447 | -8.4402 | 0 | 0
447.5 | -8.5657 | 0 | 0
448 | -8.635 | 0 | 0
448.5 | -8.6617 | 0 | 0
449 | -8.6133 | 0 | 0
449.5 | -8.6131 | 0 | 0
450 | -8.6159 | 0 | 0
450.5 | -8.7418 | 0 | 0
451 | -8.9551 | 0 | 0
451.5 | -9.1521 | 0 | 0
452 | -9.1668 | 0 | 0
452.5 | -9.3543 | 0 | 0
453 | -9.5124 | 0 | 0
453.5 | -9.698 | 0 | 0
454 | -9.7593 | 0 | 0
454.5 | -9.8077 | 0 | 0
455 | -9.7997 | 0 | 0
455.5 | -9.6434 | 0 | 0
456 | -9.4289 | 0 | 0
456.5 | -9.3299 | 0 | 0
457 | -9.306 | 0 | 0
457.5 | -9.3368 | 0 | 0
458 | -9.4641 | 0 | 0
458.5 | -9.2629 | 0 | 0
459 | -8.9532 | 0 | 0
459.5 | -8.5682 | 0 | 0
460 | -8.192 | 0 | 0
460.5 | -7.7754 | 0 | 0
461 | -7.5444 | 0 | 0
461.5 | -7.5178 | 0 | 0
462 | -7.5464 | 0 | 0
462.5 | -7.4889 | 0 | 0
463 | -7.2716 | 0 | 0
463.5 | -7.0449 | 0 | 0
464 | -6.8499 | 0 | 0
464.5 | -6.8569 | 0 | 0
465 | -6.8612 | 0 | 0
465.5 | -6.8347 | 0 | 0
466 | -6.9035 | 0 | 0
466.5 | -7.042 | 0 | 0
467 | -7.1911 | 0 | 0
467.5 | -7.3352 | 0 | 0
468 | -7.4238 | 0 | 0
468.5 | -7.4912 | 0 | 0
469 | -7.7116 | 0 | 0
469.5 | -7.7853 | 0 | 0
470 | -7.836 | 0 | 0
470.5 | -7.8554 | 0 | 0
471 | -7.9388 | 0 | 0
471.5 | -8.0249 | 0 | 0
472 | -8.0707 | 0 | 0
472.5 | -8.205 | 0 | 0
473 | -8.1752 | 0 | 0
473.5 | -8.3074 | 0 | 0
474 | -8.3557 | 0 | 0
474.5 | -8.2632 | 0 | 0
475 | -8.1199 | 0 | 0
475.5 | -8.1278 | 0 | 0
476 | -8.1785 | 0 | 0
476.5 | -8.1229 | 0 | 0
477 | -8.0294 | 0 | 0
477.5 | -8.0629 | 0 | 0
478 | -8.1826 | 0 | 0
478.5 | -8.1652 | 0 | 0
479 | -7.9823 | 0 | 0
479.5 | -7.6592 | 0 | 0
480 | -7.5349 | 0 | 0
480.5 | -7.5441 | 0 | 0
481 | -7.6086 | 0 | 0
481.5 | -7.715 | 0 | 0
482 | -7.8794 | 0 | 0
482.5 | -8.0477 | 0 | 0
483 | -8.045 | 0 | 0
483.5 | -7.9307 | 0 | 0
484 | -7.7275 | 0 | 0
484.5 | -7.6074 | 0 | 0
485 | -7.7652 | 0 | 0
485.5 | -7.948 | 0 | 0
486 | -8.2193 | 0 | 0
486.5 | -8.4709 | 0 | 0
487 | -8.5377 | 0 | 0
487.5 | -8.4311 | 0 | 0
488 | -8.3398 | 0 | 0
488.5 | -8.3105 | 0 | 0
489 | -8.3952 | 0 | 0
489.5 | -8.616 | 0 | 0
490 | -8.8052 | 0 | 0
490.5 | -8.8733 | 0 | 0
491 | -8.6834 | 0 | 0
491.5 | -8.5373 | 0 | 0
492 | -8.3282 | 0 | 0
492.5 | -8.2648 | 0 | 0
493 | -8.1732 | 0 | 0
493.5 | -8.1236 | 0 | 0
494 | -8.0661 | 0 | 0
494.5 | -7.8396 | 0 | 0
495 | -7.6547 | 0 | 0
495.5 | -7.3536 | 0 | 0
496 | -7.1765 | 0 | 0
496.5 | -7.1997 | 0 | 0
497 | -7.3129 | 0 | 0
497.5 | -7.3365 | 0 | 0
498 | -7.2932 | 0 | 0
498.5 | -7.3655 | 0 | 0
499 | -7.3924 | 0 | 0
499.5 | -7.3339 | 0 | 0
500 | -7.5468 | 0 | 0
500.5 | -7.7882 | 0 | 0
501 | -7.9779 | 0 | 0
501.5 | -8.2272 | 0 | 0
502 | -8.5377 | 0 | 0
502.5 | -8.7376 | 0 | 0
503 | -8.7845 | 0 | 0
503.5 | -8.7588 | 0 | 0
504 | -8.6233 | 0 | 0
504.5 | -8.5389 | 0 | 0
505 | -8.5956 | 0 | 0
505.5 | -8.6961 | 0 | 0
506 | -8.7044 | 0 | 0
506.5 | -8.6361 | 0 | 0
507 | -8.6057 | 0 | 0
507.5 | -8.4791 | 0 | 0
508 | -8.2725 | 0 | 0
508.5 | -8.034 | 0 | 0
509 | -7.9603 | 0 | 0
509.5 | -7.9959 | 0 | 0
510 | -8.0375 | 0 | 0
510.5 | -8.0458 | 0 | 0
511 | -8.0908 | 0 | 0
511.5 | -8.0339 | 0 | 0
512 | -8.1253 | 0 | 0
512.5 | -8.1692 | 0 | 0
513 | -8.0599 | 0 | 0
513.5 | -8.0887 | 0 | 0
514 | -8.1865 | 0 | 0
514.5 | -8.2393 | 0 | 0
515 | -8.1661 | 0 | 0
515.5 | -8.0428 | 0 | 0
516 | -7.8825 | 0 | 0
516.5 | -7.8293 | 0 | 0
517 | -7.9351 | 0 | 0
517.5 | -8.087 | 0 | 0
518 | -8.2759 | 0 | 0
518.5 | -8.5181 | 0 | 0
519 | -8.6686 | 0 | 0
519.5 | -8.7182 | 0 | 0
520 | -8.7838 | 0 | 0
520.5 | -8.9031 | 0 | 0
521 | -9.0978 | 0 | 0
521.5 | -9.3133 | 0 | 0
522 | -9.4867 | 0 | 0
522.5 | -9.499 | 0 | 0
523 | -9.1935 | 0 | 0
523.5 | -8.8885 | 0 | 0
524 | -8.6837 | 0 | 0
524.5 | -8.4943 | 0 | 0
525 | -8.4254 | 0 | 0
525.5 | -8.2759 | 0 | 0
526 | -8.0914 | 0 | 0
526.5 | -7.7706 | 0 | 0
527 | -7.4461 | 0 | 0
527.5 | -7.2017 | 0 | 0
528 | -7.1043 | 0 | 0
528.5 | -7.1846 | 0 | 0
529 | -7.2301 | 0 | 0
529.5 | -7.2176 | 0 | 0
530 | -7.2778 | 0 | 0
530.5 | -7.2683 | 0 | 0
531 | -7.2635 | 0 | 0
531.5 | -7.3534 | 0 | 0
532 | -7.6209 | 0 | 0
532.5 | -7.9835 | 0 | 0
533 | -8.1685 | 0 | 0
533.5 | -8.222 | 0 | 0
534 | -8.2437 | 0 | 0
534.5 | -8.2599 | 0 | 0
535 | -8.2566 | 0 | 0
535.5 | -8.1283 | 0 | 0
536 | -7.986 | 0 | 0
536.5 | -8.0574 | 0 | 0
537 | -8.1605 | 0 | 0
537.5 | -8.2002 | 0 | 0
538 | -8.1556 | 0 | 0
538.5 | -8.0846 | 0 | 0
539 | -7.9599 | 0 | 0
539.5 | -7.7026 | 0 | 0
540 | -7.4925 | 0 | 0
540.5 | -7.4755 | 0 | 0
541 | -7.6692 | 0 | 0
541.5 | -7.8508 | 0 | 0
542 | -7.8617 | 0 | 0
542.5 | -7.7849 | 0 | 0
543 | -7.6813 | 0 | 0
543.5 | -7.6462 | 0 | 0
544 | -7.6015 | 0 | 0
544.5 | -7.6375 | 0 | 0
545 | -7.9284 | 0 | 0
545.5 | -8.4145 | 0 | 0
546 | -8.6421 | 0 | 0
546.5 | -8.4967 | 0 | 0
547 | -8.3569 | 0 | 0
547.5 | -8.1786 | 0 | 0
548 | -8.1074 | 0 | 0
548.5 | -8.2315 | 0 | 0
549 | -8.3985 | 0 | 0
549.5 | -8.5892 | 0 | 0
550 | -8.8078 | 0 | 0
550.5 | -8.7659 | 0 | 0
551 | -8.433 | 0 | 0
551.5 | -8.0473 | 0 | 0
552 | -7.9322 | 0 | 0
552.5 | -7.9232 | 0 | 0
553 | -8.0884 | 0 | 0
553.5 | -8.1915 | 0 | 0
554 | -8.073 | 0 | 0
554.5 | -7.7733 | 0 | 0
555 | -7.3885 | 0 | 0
555.5 | -7.1 | 0 | 0
556 | -7.1056 | 0 | 0
556.5 | -7.1699 | 0 | 0
557 | -7.3348 | 0 | 0
557.5 | -7.5521 | 0 | 0
558 | -7.7055 | 0 | 0
558.5 | -7.6175 | 0 | 0
559 | -7.5585 | 0 | 0
559.5 | -7.5439 | 0 | 0
560 | -7.5161 | 0 | 0
560.5 | -7.5325 | 0 | 0
561 | -7.5684 | 0 | 0
561.5 | -7.4045 | 0 | 0
562 | -7.0665 | 0 | 0
562.5 | -6.6537 | 0 | 0
563 | -6.1454 | 0.4564 | 0.00015771
563.5 | -5.5295 | 1.0723 | 0.00037054
564 | -5.0413 | 1.5605 | 0.00053924
564.5 | -4.5669 | 2.0349 | 0.00070317
565 | -4.0446 | 2.5572 | 0.00088365
565.5 | -3.6539 | 2.9479 | 0.0010187
566 | -3.3895 | 3.2123 | 0.00111
566.5 | -2.9587 | 3.6431 | 0.0012589
567 | -2.5636 | 4.0382 | 0.0013954
567.5 | -2.2165 | 4.3853 | 0.0015154
568 | -1.9755 | 4.6263 | 0.0015986
568.5 | -1.7539 | 4.8479 | 0.0016752
569 | -1.687 | 4.9148 | 0.0016983
569.5 | -1.5937 | 5.0081 | 0.0017306
570 | -1.2786 | 5.3232 | 0.0018395
570.5 | -0.84335 | 5.7584 | 0.0019899
571 | -0.34235 | 6.2595 | 0.002163
571.5 | 0.18653 | 6.7883 | 0.0023457
572 | 0.79565 | 7.3975 | 0.0025562
572.5 | 1.3714 | 7.9732 | 0.0027552
573 | 1.7468 | 8.3486 | 0.0028849
573.5 | 2.3093 | 8.9111 | 0.0030793
574 | 2.91 | 9.5118 | 0.0032868
574.5 | 3.5548 | 10.1566 | 0.0035097
575 | 4.3006 | 10.9024 | 0.0037674
575.5 | 4.9602 | 11.562 | 0.0039953
576 | 5.4807 | 12.0825 | 0.0041752
576.5 | 6.0551 | 12.6569 | 0.0043736
577 | 6.6261 | 13.2279 | 0.004571
577.5 | 6.9985 | 13.6003 | 0.0046996
578 | 7.6415 | 14.2433 | 0.0049218
578.5 | 8.479 | 15.0808 | 0.0052112
579 | 9.3128 | 15.9146 | 0.0054994
579.5 | 10.156 | 16.7578 | 0.0057907
580 | 11.012 | 17.6138 | 0.0060865
580.5 | 11.78 | 18.3818 | 0.0063519
581 | 12.642 | 19.2438 | 0.0066498
581.5 | 13.806 | 20.4078 | 0.007052
582 | 15.194 | 21.7958 | 0.0075316
582.5 | 16.757 | 23.3588 | 0.0080717
583 | 18.339 | 24.9408 | 0.0086184
583.5 | 19.545 | 26.1468 | 0.0090351
584 | 20.815 | 27.4168 | 0.009474
584.5 | 22.018 | 28.6198 | 0.0098897
585 | 23.412 | 30.0138 | 0.010371
585.5 | 24.973 | 31.5748 | 0.010911
586 | 26.662 | 33.2638 | 0.011494
586.5 | 28.216 | 34.8178 | 0.012031
587 | 29.555 | 36.1568 | 0.012494
587.5 | 30.814 | 37.4158 | 0.012929
588 | 32.15 | 38.7518 | 0.013391
588.5 | 33.737 | 40.3388 | 0.013939
589 | 35.708 | 42.3098 | 0.01462
589.5 | 37.796 | 44.3978 | 0.015342
590 | 39.961 | 46.5628 | 0.01609
590.5 | 42.18 | 48.7818 | 0.016857
591 | 44.441 | 51.0428 | 0.017638
591.5 | 46.922 | 53.5238 | 0.018495
592 | 49.579 | 56.1808 | 0.019414
592.5 | 52.409 | 59.0108 | 0.020391
593 | 55.281 | 61.8828 | 0.021384
593.5 | 58.321 | 64.9228 | 0.022434
594 | 61.49 | 68.0918 | 0.023529
594.5 | 64.712 | 71.3138 | 0.024643
595 | 67.731 | 74.3328 | 0.025686
595.5 | 70.736 | 77.3378 | 0.026724
596 | 73.802 | 80.4038 | 0.027784
596.5 | 76.875 | 83.4768 | 0.028846
597 | 79.921 | 86.5228 | 0.029898
597.5 | 83.189 | 89.7908 | 0.031028
598 | 86.735 | 93.3368 | 0.032253
598.5 | 90.584 | 97.1858 | 0.033583
599 | 94.631 | 101.2328 | 0.034981
599.5 | 98.695 | 105.2968 | 0.036386
600 | 103 | 109.6018 | 0.037873
600.5 | 107.63 | 114.2318 | 0.039473
601 | 112.46 | 119.0618 | 0.041142
601.5 | 117.45 | 124.0518 | 0.042867
602 | 122.62 | 129.2218 | 0.044653
602.5 | 128.09 | 134.6918 | 0.046543
603 | 133.67 | 140.2718 | 0.048472
603.5 | 139.36 | 145.9618 | 0.050438
604 | 144.99 | 151.5918 | 0.052383
604.5 | 150.73 | 157.3318 | 0.054367
605 | 156.83 | 163.4318 | 0.056475
605.5 | 163.06 | 169.6618 | 0.058627
606 | 169.41 | 176.0118 | 0.060822
606.5 | 176.09 | 182.6918 | 0.06313
607 | 183.04 | 189.6418 | 0.065532
607.5 | 190.3 | 196.9018 | 0.06804
608 | 197.73 | 204.3318 | 0.070608
608.5 | 205.4 | 212.0018 | 0.073258
609 | 213.37 | 219.9718 | 0.076012
609.5 | 221.61 | 228.2118 | 0.07886
610 | 230.38 | 236.9818 | 0.08189
610.5 | 239.54 | 246.1418 | 0.085055
611 | 249.26 | 255.8618 | 0.088414
611.5 | 259.56 | 266.1618 | 0.091973
612 | 270.28 | 276.8818 | 0.095678
612.5 | 281.5 | 288.1018 | 0.099555
613 | 292.99 | 299.5918 | 0.10353
613.5 | 304.93 | 311.5318 | 0.10765
614 | 317.14 | 323.7418 | 0.11187
614.5 | 329.74 | 336.3418 | 0.11622
615 | 342.78 | 349.3818 | 0.12073
615.5 | 356.2 | 362.8018 | 0.12537
616 | 370.31 | 376.9118 | 0.13024
616.5 | 385.08 | 391.6818 | 0.13535
617 | 400.91 | 407.5118 | 0.14082
617.5 | 417.76 | 424.3618 | 0.14664
618 | 435.59 | 442.1918 | 0.1528
618.5 | 454.28 | 460.8818 | 0.15926
619 | 473.84 | 480.4418 | 0.16602
619.5 | 494.45 | 501.0518 | 0.17314
620 | 516.08 | 522.6818 | 0.18061
620.5 | 538.51 | 545.1118 | 0.18837
621 | 561.74 | 568.3418 | 0.19639
621.5 | 585.58 | 592.1818 | 0.20463
622 | 610.08 | 616.6818 | 0.2131
622.5 | 635.21 | 641.8118 | 0.22178
623 | 661.19 | 667.7918 | 0.23076
623.5 | 688.51 | 695.1118 | 0.2402
624 | 717.22 | 723.8218 | 0.25012
624.5 | 747.05 | 753.6518 | 0.26043
625 | 778 | 784.6018 | 0.27112
625.5 | 810.3 | 816.9018 | 0.28228
626 | 844.01 | 850.6118 | 0.29393
626.5 | 879.47 | 886.0718 | 0.30619
627 | 916.83 | 923.4318 | 0.3191
627.5 | 956 | 962.6018 | 0.33263
628 | 996.84 | 1003.4418 | 0.34674
628.5 | 1039.6 | 1046.2018 | 0.36152
629 | 1084.5 | 1091.1018 | 0.37703
629.5 | 1131.5 | 1138.1018 | 0.39328
630 | 1180.4 | 1187.0018 | 0.41017
630.5 | 1230.8 | 1237.4018 | 0.42759
631 | 1282.3 | 1288.9018 | 0.44539
631.5 | 1335 | 1341.6018 | 0.4636
632 | 1388.3 | 1394.9018 | 0.48201
632.5 | 1442.2 | 1448.8018 | 0.50064
633 | 1496.3 | 1502.9018 | 0.51933
633.5 | 1550.3 | 1556.9018 | 0.53799
634 | 1603.6 | 1610.2018 | 0.55641
634.5 | 1656.5 | 1663.1018 | 0.57469
635 | 1709.5 | 1716.1018 | 0.59301
635.5 | 1764.3 | 1770.9018 | 0.61194
636 | 1821.3 | 1827.9018 | 0.63164
636.5 | 1881 | 1887.6018 | 0.65227
637 | 1943.7 | 1950.3018 | 0.67394
637.5 | 2009.5 | 2016.1018 | 0.69667
638 | 2078.2 | 2084.8018 | 0.72041
638.5 | 2150.1 | 2156.7018 | 0.74526
639 | 2224.7 | 2231.3018 | 0.77104
639.5 | 2301.7 | 2308.3018 | 0.79764
640 | 2380 | 2386.6018 | 0.8247
640.5 | 2458.4 | 2465.0018 | 0.85179
641 | 2534.9 | 2541.5018 | 0.87823
641.5 | 2608.2 | 2614.8018 | 0.90356
642 | 2676.7 | 2683.3018 | 0.92723
642.5 | 2737.9 | 2744.5018 | 0.94837
643 | 2790.5 | 2797.1018 | 0.96655
643.5 | 2832.2 | 2838.8018 | 0.98096
644 | 2862.4 | 2869.0018 | 0.9914
644.5 | 2881.2 | 2887.8018 | 0.99789
645 | 2887.3 | 2893.9018 | 1
645.5 | 2881.4 | 2888.0018 | 0.99796
646 | 2863.1 | 2869.7018 | 0.99164
646.5 | 2830.4 | 2837.0018 | 0.98034
647 | 2784.4 | 2791.0018 | 0.96444
647.5 | 2725 | 2731.6018 | 0.94392
648 | 2653.8 | 2660.4018 | 0.91931
648.5 | 2572.5 | 2579.1018 | 0.89122
649 | 2481.4 | 2488.0018 | 0.85974
649.5 | 2382.1 | 2388.7018 | 0.82543
650 | 2275.3 | 2281.9018 | 0.78852
650.5 | 2161.5 | 2168.1018 | 0.7492
651 | 2042.9 | 2049.5018 | 0.70821
651.5 | 1921.8 | 1928.4018 | 0.66637
652 | 1800.1 | 1806.7018 | 0.62431
652.5 | 1679.9 | 1686.5018 | 0.58278
653 | 1561.6 | 1568.2018 | 0.5419
653.5 | 1447 | 1453.6018 | 0.5023
654 | 1337.1 | 1343.7018 | 0.46432
654.5 | 1232.2 | 1238.8018 | 0.42807
655 | 1133.3 | 1139.9018 | 0.3939
655.5 | 1040.4 | 1047.0018 | 0.3618
656 | 953.92 | 960.5218 | 0.33191
656.5 | 873.7 | 880.3018 | 0.30419
657 | 799.21 | 805.8118 | 0.27845
657.5 | 730.49 | 737.0918 | 0.25471
658 | 667.64 | 674.2418 | 0.23299
658.5 | 609.95 | 616.5518 | 0.21305
659 | 557.36 | 563.9618 | 0.19488
659.5 | 509.38 | 515.9818 | 0.1783
660 | 465.44 | 472.0418 | 0.16312
660.5 | 425.58 | 432.1818 | 0.14934
661 | 388.78 | 395.3818 | 0.13663
661.5 | 354.71 | 361.3118 | 0.12485
662 | 323.43 | 330.0318 | 0.11404
662.5 | 294.67 | 301.2718 | 0.10411
663 | 268.13 | 274.7318 | 0.094935
663.5 | 244.29 | 250.8918 | 0.086697
664 | 222.84 | 229.4418 | 0.079285
664.5 | 203.39 | 209.9918 | 0.072564
665 | 185.73 | 192.3318 | 0.066461
665.5 | 169.62 | 176.2218 | 0.060894
666 | 155 | 161.6018 | 0.055842
666.5 | 142.01 | 148.6118 | 0.051353
667 | 130.22 | 136.8218 | 0.047279
667.5 | 119.46 | 126.0618 | 0.043561
668 | 109.86 | 116.4618 | 0.040244
668.5 | 100.87 | 107.4718 | 0.037137
669 | 92.462 | 99.0638 | 0.034232
669.5 | 84.902 | 91.5038 | 0.03162
670 | 78.178 | 84.7798 | 0.029296
670.5 | 72.097 | 78.6988 | 0.027195
671 | 66.441 | 73.0428 | 0.02524
671.5 | 61.35 | 67.9518 | 0.023481
672 | 56.581 | 63.1828 | 0.021833
672.5 | 52.258 | 58.8598 | 0.020339
673 | 48.206 | 54.8078 | 0.018939
673.5 | 44.57 | 51.1718 | 0.017683
674 | 41.222 | 47.8238 | 0.016526
674.5 | 37.962 | 44.5638 | 0.015399
675 | 34.745 | 41.3468 | 0.014288
675.5 | 31.654 | 38.2558 | 0.013219
676 | 28.685 | 35.2868 | 0.012194
676.5 | 25.945 | 32.5468 | 0.011247
677 | 23.503 | 30.1048 | 0.010403
677.5 | 21.438 | 28.0398 | 0.0096893
678 | 19.812 | 26.4138 | 0.0091274
678.5 | 18.305 | 24.9068 | 0.0086067
679 | 16.862 | 23.4638 | 0.008108
679.5 | 15.484 | 22.0858 | 0.0076318
680 | 14.249 | 20.8508 | 0.0072051
680.5 | 12.912 | 19.5138 | 0.0067431
681 | 11.771 | 18.3728 | 0.0063488
681.5 | 10.591 | 17.1928 | 0.005941
682 | 9.4867 | 16.0885 | 0.0055594
682.5 | 8.4982 | 15.1 | 0.0052179
683 | 7.4181 | 14.0199 | 0.0048446
683.5 | 6.3631 | 12.9649 | 0.0044801
684 | 5.3664 | 11.9682 | 0.0041357
684.5 | 4.4914 | 11.0932 | 0.0038333
685 | 3.7183 | 10.3201 | 0.0035662
685.5 | 3.1667 | 9.7685 | 0.0033755
686 | 2.5929 | 9.1947 | 0.0031773
686.5 | 2.0598 | 8.6616 | 0.0029931
687 | 1.4643 | 8.0661 | 0.0027873
687.5 | 0.84979 | 7.4516 | 0.0025749
688 | 0.29534 | 6.8971 | 0.0023833
688.5 | -0.16938 | 6.4324 | 0.0022227
689 | -0.62675 | 5.975 | 0.0020647
689.5 | -1.141 | 5.4608 | 0.001887
690 | -1.5872 | 5.0146 | 0.0017328
690.5 | -2.0447 | 4.5571 | 0.0015747
691 | -2.3802 | 4.2216 | 0.0014588
691.5 | -2.6842 | 3.9176 | 0.0013537
692 | -2.8351 | 3.7667 | 0.0013016
692.5 | -3.0667 | 3.5351 | 0.0012216
693 | -3.3822 | 3.2196 | 0.0011125
693.5 | -3.7409 | 2.8609 | 0.0009886
694 | -4.1709 | 2.4309 | 0.00084001
694.5 | -4.3841 | 2.2177 | 0.00076634
695 | -4.5292 | 2.0726 | 0.0007162
695.5 | -4.6089 | 1.9929 | 0.00068866
696 | -4.5908 | 2.011 | 0.00069491
696.5 | -4.6396 | 1.9622 | 0.00067805
697 | -4.8603 | 1.7415 | 0.00060178
697.5 | -4.9871 | 1.6147 | 0.00055797
698 | -4.9788 | 1.623 | 0.00056083
698.5 | -4.9152 | 1.6866 | 0.00058281
699 | -4.8644 | 1.7374 | 0.00060037
699.5 | -4.8539 | 1.7479 | 0.00060399
700 | -4.9022 | 1.6996 | 0.0005873
700.5 | -5.081 | 1.5208 | 0.00052552
701 | -5.2465 | 1.3553 | 0.00046833
701.5 | -5.3853 | 1.2165 | 0.00042037
702 | -5.4075 | 1.1943 | 0.0004127
702.5 | -5.3185 | 1.2833 | 0.00044345
703 | -5.3849 | 1.2169 | 0.0004205
703.5 | -5.525 | 1.0768 | 0.00037209
704 | -5.6279 | 0.9739 | 0.00033654
704.5 | -5.8773 | 0.7245 | 0.00025035
705 | -6.0153 | 0.5865 | 0.00020267
705.5 | -6.0854 | 0.5164 | 0.00017844
706 | -6.1761 | 0.4257 | 0.0001471
706.5 | -6.325 | 0.2768 | 9.5649e-05
707 | -6.5795 | 0.0223 | 7.7059e-06
707.5 | -7.063 | 0 | 0
708 | -7.4467 | 0 | 0
708.5 | -7.7658 | 0 | 0
709 | -8.0383 | 0 | 0
709.5 | -8.0565 | 0 | 0
710 | -8.055 | 0 | 0
710.5 | -7.9337 | 0 | 0
711 | -7.9172 | 0 | 0
711.5 | -7.8465 | 0 | 0
712 | -7.8461 | 0 | 0
712.5 | -7.8225 | 0 | 0
713 | -7.7299 | 0 | 0
713.5 | -7.6498 | 0 | 0
714 | -7.3952 | 0 | 0
714.5 | -7.2912 | 0 | 0
715 | -7.1113 | 0 | 0
715.5 | -6.9908 | 0 | 0
716 | -6.8785 | 0 | 0
716.5 | -6.6659 | 0 | 0
717 | -6.4158 | 0.186 | 6.4273e-05
717.5 | -6.3235 | 0.2783 | 9.6168e-05
718 | -6.3629 | 0.2389 | 8.2553e-05
718.5 | -6.4298 | 0.172 | 5.9435e-05
719 | -6.5593 | 0.0425 | 1.4686e-05
719.5 | -6.8693 | 0 | 0
720 | -7.1671 | 0 | 0
720.5 | -7.5191 | 0 | 0
721 | -7.9088 | 0 | 0
721.5 | -8.2329 | 0 | 0
722 | -8.3638 | 0 | 0
722.5 | -8.2383 | 0 | 0
723 | -8.3042 | 0 | 0
723.5 | -8.4453 | 0 | 0
724 | -8.6163 | 0 | 0
724.5 | -8.8062 | 0 | 0
725 | -8.8384 | 0 | 0
725.5 | -8.6956 | 0 | 0
726 | -8.507 | 0 | 0
726.5 | -8.2818 | 0 | 0
727 | -8.1299 | 0 | 0
727.5 | -7.91 | 0 | 0
728 | -7.7025 | 0 | 0
728.5 | -7.5554 | 0 | 0
729 | -7.5688 | 0 | 0
729.5 | -7.5549 | 0 | 0
730 | -7.6374 | 0 | 0
730.5 | -7.6438 | 0 | 0
731 | -7.5775 | 0 | 0
731.5 | -7.6897 | 0 | 0
732 | -7.8931 | 0 | 0
732.5 | -8.0748 | 0 | 0
733 | -8.1958 | 0 | 0
733.5 | -8.1561 | 0 | 0
734 | -8.0578 | 0 | 0
734.5 | -7.9566 | 0 | 0
735 | -8.0146 | 0 | 0
735.5 | -8.2514 | 0 | 0
736 | -8.3209 | 0 | 0
736.5 | -8.4091 | 0 | 0
737 | -8.5581 | 0 | 0
737.5 | -8.6686 | 0 | 0
738 | -8.6728 | 0 | 0
738.5 | -8.74 | 0 | 0
739 | -8.7386 | 0 | 0
739.5 | -8.7631 | 0 | 0
740 | -8.7608 | 0 | 0
740.5 | -8.6433 | 0 | 0
741 | -8.5397 | 0 | 0
741.5 | -8.25 | 0 | 0
742 | -7.714 | 0 | 0
742.5 | -7.3319 | 0 | 0
743 | -7.0608 | 0 | 0
743.5 | -7.0668 | 0 | 0
744 | -7.242 | 0 | 0
744.5 | -7.2749 | 0 | 0
745 | -7.5338 | 0 | 0
745.5 | -7.7898 | 0 | 0
746 | -8.0896 | 0 | 0
746.5 | -8.5911 | 0 | 0
747 | -8.9152 | 0 | 0
747.5 | -9.1373 | 0 | 0
748 | -9.2013 | 0 | 0
748.5 | -9.13 | 0 | 0
749 | -9.133 | 0 | 0
749.5 | -9.0212 | 0 | 0
750 | -8.889 | 0 | 0
750.5 | -8.8674 | 0 | 0
751 | -8.8404 | 0 | 0
751.5 | -8.6682 | 0 | 0
752 | -8.4109 | 0 | 0
752.5 | -7.9332 | 0 | 0
753 | -7.6265 | 0 | 0
753.5 | -7.4307 | 0 | 0
754 | -7.4288 | 0 | 0
754.5 | -7.5427 | 0 | 0
755 | -7.6119 | 0 | 0
755.5 | -7.4959 | 0 | 0
756 | -7.5829 | 0 | 0
756.5 | -7.7723 | 0 | 0
757 | -8.0321 | 0 | 0
757.5 | -8.1708 | 0 | 0
758 | -8.2083 | 0 | 0
758.5 | -8.177 | 0 | 0
759 | -8.1251 | 0 | 0
759.5 | -8.1674 | 0 | 0
760 | -8.2283 | 0 | 0
760.5 | -8.2537 | 0 | 0
761 | -8.266 | 0 | 0
761.5 | -8.2799 | 0 | 0
762 | -8.5154 | 0 | 0
762.5 | -8.745 | 0 | 0
763 | -9.0327 | 0 | 0
763.5 | -9.2868 | 0 | 0
764 | -9.3685 | 0 | 0
764.5 | -9.3506 | 0 | 0
765 | -9.0987 | 0 | 0
765.5 | -8.8554 | 0 | 0
766 | -8.9348 | 0 | 0
766.5 | -8.935 | 0 | 0
767 | -8.9521 | 0 | 0
767.5 | -8.7664 | 0 | 0
768 | -8.6365 | 0 | 0
768.5 | -8.5875 | 0 | 0
769 | -8.7051 | 0 | 0
769.5 | -9.0097 | 0 | 0
770 | -9.3915 | 0 | 0
770.5 | -9.482 | 0 | 0
771 | -9.4342 | 0 | 0
771.5 | -9.1556 | 0 | 0
772 | -9.0339 | 0 | 0
772.5 | -9.0055 | 0 | 0
773 | -8.9842 | 0 | 0
773.5 | -8.9684 | 0 | 0
774 | -8.7974 | 0 | 0
774.5 | -8.4007 | 0 | 0
775 | -8.2226 | 0 | 0
775.5 | -8.3942 | 0 | 0
776 | -8.8626 | 0 | 0
776.5 | -9.1825 | 0 | 0
777 | -9.1008 | 0 | 0
777.5 | -8.7203 | 0 | 0
778 | -8.2481 | 0 | 0
778.5 | -7.9074 | 0 | 0
779 | -7.8723 | 0 | 0
779.5 | -7.8434 | 0 | 0
780 | -7.5076 | 0 | 0
780.5 | -6.8842 | 0 | 0
781 | -6.475 | 0.1268 | 4.3816e-05
781.5 | -6.4584 | 0.1434 | 4.9552e-05
782 | -6.8526 | 0 | 0
782.5 | -7.1368 | 0 | 0
783 | -7.4818 | 0 | 0
783.5 | -7.869 | 0 | 0
784 | -8.1451 | 0 | 0
784.5 | -8.5105 | 0 | 0
785 | -8.9753 | 0 | 0
785.5 | -9.1368 | 0 | 0
786 | -9.1704 | 0 | 0
786.5 | -8.874 | 0 | 0
787 | -8.7127 | 0 | 0
787.5 | -8.51 | 0 | 0
788 | -8.3611 | 0 | 0
788.5 | -8.2727 | 0 | 0
789 | -8.1623 | 0 | 0
789.5 | -7.9414 | 0 | 0
790 | -7.7215 | 0 | 0
790.5 | -7.6523 | 0 | 0
791 | -7.723 | 0 | 0
791.5 | -7.7178 | 0 | 0
792 | -7.6878 | 0 | 0
792.5 | -7.6359 | 0 | 0
793 | -7.6193 | 0 | 0
793.5 | -7.6724 | 0 | 0
794 | -7.8446 | 0 | 0
794.5 | -8.024 | 0 | 0
795 | -8.0196 | 0 | 0
795.5 | -7.9866 | 0 | 0
796 | -8.0805 | 0 | 0
796.5 | -8.2458 | 0 | 0
797 | -8.2731 | 0 | 0
797.5 | -8.2499 | 0 | 0
798 | -8.2058 | 0 | 0
798.5 | -8.1783 | 0 | 0
799 | -8.1388 | 0 | 0
799.5 | -8.1092 | 0 | 0
800 | -8.1989 | 0 | 0
800.5 | -8.3732 | 0 | 0
801 | -8.6504 | 0 | 0
801.5 | -8.8732 | 0 | 0
802 | -9.1641 | 0 | 0
802.5 | -9.0688 | 0 | 0
803 | -8.7695 | 0 | 0
803.5 | -8.8367 | 0 | 0
804 | -9.0475 | 0 | 0
804.5 | -9.0028 | 0 | 0
805 | -8.7941 | 0 | 0
805.5 | -8.424 | 0 | 0
806 | -8.1262 | 0 | 0
806.5 | -7.8319 | 0 | 0
807 | -7.7999 | 0 | 0
807.5 | -7.9506 | 0 | 0
808 | -7.8508 | 0 | 0
808.5 | -7.694 | 0 | 0
809 | -7.7786 | 0 | 0
809.5 | -7.8412 | 0 | 0
810 | -8.0126 | 0 | 0
810.5 | -8.01 | 0 | 0
811 | -8.1648 | 0 | 0
811.5 | -8.4158 | 0 | 0
812 | -8.5961 | 0 | 0
812.5 | -8.6841 | 0 | 0
813 | -8.6504 | 0 | 0
813.5 | -8.5011 | 0 | 0
814 | -8.4749 | 0 | 0
814.5 | -8.3513 | 0 | 0
815 | -8.36 | 0 | 0
815.5 | -8.353 | 0 | 0
816 | -8.0884 | 0 | 0
816.5 | -7.9114 | 0 | 0
817 | -7.8444 | 0 | 0
817.5 | -7.9263 | 0 | 0
818 | -8.0029 | 0 | 0
818.5 | -8.0785 | 0 | 0
819 | -8.0071 | 0 | 0
819.5 | -7.8973 | 0 | 0
820 | -7.7461 | 0 | 0
820.5 | -7.9024 | 0 | 0
821 | -8.0381 | 0 | 0
821.5 | -8.196 | 0 | 0
822 | -8.3624 | 0 | 0
822.5 | -8.5783 | 0 | 0
823 | -8.7464 | 0 | 0
823.5 | -8.892 | 0 | 0
824 | -8.9765 | 0 | 0
824.5 | -8.998 | 0 | 0
825 | -8.9656 | 0 | 0
825.5 | -8.7322 | 0 | 0
826 | -8.5022 | 0 | 0
826.5 | -8.2591 | 0 | 0
827 | -8.1207 | 0 | 0
827.5 | -8.0484 | 0 | 0
828 | -8.2578 | 0 | 0
828.5 | -8.4424 | 0 | 0
829 | -8.5876 | 0 | 0
829.5 | -8.5395 | 0 | 0
830 | -8.4511 | 0 | 0
830.5 | -8.1712 | 0 | 0
831 | -7.9932 | 0 | 0
831.5 | -7.9435 | 0 | 0
832 | -7.8714 | 0 | 0
832.5 | -7.5706 | 0 | 0
833 | -7.3072 | 0 | 0
833.5 | -7.1538 | 0 | 0
834 | -7.349 | 0 | 0
834.5 | -7.8645 | 0 | 0
835 | -8.1304 | 0 | 0
835.5 | -8.2637 | 0 | 0
836 | -8.2057 | 0 | 0
836.5 | -8.2714 | 0 | 0
837 | -8.3738 | 0 | 0
837.5 | -8.6055 | 0 | 0
838 | -8.6721 | 0 | 0
838.5 | -8.6975 | 0 | 0
839 | -8.6897 | 0 | 0
839.5 | -8.8677 | 0 | 0
840 | -9.1038 | 0 | 0
840.5 | -9.4773 | 0 | 0
841 | -9.6244 | 0 | 0
841.5 | -9.4816 | 0 | 0
842 | -9.3886 | 0 | 0
842.5 | -9.3431 | 0 | 0
843 | -9.1996 | 0 | 0
843.5 | -9.2202 | 0 | 0
844 | -9.315 | 0 | 0
844.5 | -9.3508 | 0 | 0
845 | -9.2922 | 0 | 0
845.5 | -9.4221 | 0 | 0
846 | -9.5188 | 0 | 0
846.5 | -9.4284 | 0 | 0
847 | -9.4871 | 0 | 0
847.5 | -9.421 | 0 | 0
848 | -8.9533 | 0 | 0
848.5 | -8.5975 | 0 | 0
849 | -8.3527 | 0 | 0
849.5 | -8.1572 | 0 | 0
850 | -8.2343 | 0 | 0
850.5 | -8.4823 | 0 | 0
851 | -8.5032 | 0 | 0
851.5 | -8.3215 | 0 | 0
852 | -8.1277 | 0 | 0
852.5 | -7.9951 | 0 | 0
853 | -7.9668 | 0 | 0
853.5 | -8.185 | 0 | 0
854 | -8.0717 | 0 | 0
854.5 | -7.8999 | 0 | 0
855 | -7.7809 | 0 | 0
855.5 | -7.8477 | 0 | 0
856 | -8.0152 | 0 | 0
856.5 | -8.1304 | 0 | 0
857 | -8.0969 | 0 | 0
857.5 | -7.906 | 0 | 0
858 | -8.0699 | 0 | 0
858.5 | -8.3709 | 0 | 0
859 | -8.7011 | 0 | 0
859.5 | -8.9676 | 0 | 0
860 | -9.1803 | 0 | 0
860.5 | -9.4332 | 0 | 0
861 | -9.5219 | 0 | 0
861.5 | -9.6072 | 0 | 0
862 | -9.6318 | 0 | 0
862.5 | -9.6252 | 0 | 0
863 | -9.4611 | 0 | 0
863.5 | -9.2971 | 0 | 0
864 | -9.0978 | 0 | 0
864.5 | -9.037 | 0 | 0
865 | -9.169 | 0 | 0
865.5 | -9.311 | 0 | 0
866 | -9.341 | 0 | 0
866.5 | -9.2857 | 0 | 0
867 | -9.0365 | 0 | 0
867.5 | -8.6415 | 0 | 0
868 | -8.5985 | 0 | 0
868.5 | -8.7546 | 0 | 0
869 | -8.6901 | 0 | 0
869.5 | -8.6224 | 0 | 0
870 | -8.5079 | 0 | 0
870.5 | -8.2262 | 0 | 0
871 | -8.1152 | 0 | 0
871.5 | -8.4222 | 0 | 0
872 | -8.5671 | 0 | 0
872.5 | -8.4227 | 0 | 0
873 | -8.2171 | 0 | 0
873.5 | -8.1684 | 0 | 0
874 | -8.2881 | 0 | 0
874.5 | -8.4379 | 0 | 0
875 | -8.3061 | 0 | 0
875.5 | -7.9674 | 0 | 0
876 | -7.5532 | 0 | 0
876.5 | -7.3432 | 0 | 0
877 | -7.3072 | 0 | 0
877.5 | -7.0955 | 0 | 0
878 | -6.8378 | 0 | 0
878.5 | -6.9275 | 0 | 0
879 | -7.4472 | 0 | 0
879.5 | -7.8058 | 0 | 0
880 | -7.9642 | 0 | 0
880.5 | -7.8847 | 0 | 0
881 | -7.9023 | 0 | 0
881.5 | -8.0789 | 0 | 0
882 | -8.16 | 0 | 0
882.5 | -7.9478 | 0 | 0
883 | -7.7483 | 0 | 0
883.5 | -6.475 | 0.1268 | 4.3816e-05
884 | -10.168 | 0 | 0
884.5 | -10.668 | 0 | 0
885 | 4.1828 | 10.7846 | 0.0037267
885.5 | -4.874 | 1.7278 | 0.00059705
886 | -36.15 | 0 | 0
886.5 | 1.2551 | 7.8569 | 0.002715