## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 3.4348 | 0.9848 | 0.00043655
246.5 | 3.4653 | 1.0153 | 0.00045007
247 | 4.4944 | 2.0444 | 0.00090627
247.5 | 2.9396 | 0.4896 | 0.00021704
248 | 0.67907 | 0 | 0
248.5 | 0.59829 | 0 | 0
249 | 2.45 | 0 | 0
249.5 | 3.6453 | 1.1953 | 0.00052987
250 | 3.474 | 1.024 | 0.00045393
250.5 | 3.7791 | 1.3291 | 0.00058918
251 | 1.0048 | 0 | 0
251.5 | 1.7589 | 0 | 0
252 | 2.7737 | 0.3237 | 0.00014349
252.5 | 2.0369 | 0 | 0
253 | 1.2009 | 0 | 0
253.5 | 0.5092 | 0 | 0
254 | 1.7463 | 0 | 0
254.5 | 2.889 | 0.439 | 0.00019461
255 | 4.3755 | 1.9255 | 0.00085356
255.5 | 3.9037 | 1.4537 | 0.00064441
256 | 3.8638 | 1.4138 | 0.00062673
256.5 | 5.9288 | 3.4788 | 0.0015421
257 | 3.8696 | 1.4196 | 0.0006293
257.5 | 3.9456 | 1.4956 | 0.00066299
258 | 3.7137 | 1.2637 | 0.00056019
258.5 | 3.7006 | 1.2506 | 0.00055438
259 | 3.6336 | 1.1836 | 0.00052468
259.5 | 3.686 | 1.236 | 0.00054791
260 | 3.5219 | 1.0719 | 0.00047516
260.5 | 3.4081 | 0.9581 | 0.00042472
261 | 3.4323 | 0.9823 | 0.00043545
261.5 | 3.2432 | 0.7932 | 0.00035162
262 | 3.1155 | 0.6655 | 0.00029501
262.5 | 2.8262 | 0.3762 | 0.00016677
263 | 2.5468 | 0.0968 | 4.2911e-05
263.5 | 2.3351 | 0 | 0
264 | 2.1069 | 0 | 0
264.5 | 2.3072 | 0 | 0
265 | 2.5495 | 0.0995 | 4.4108e-05
265.5 | 2.7183 | 0.2683 | 0.00011894
266 | 2.8021 | 0.3521 | 0.00015608
266.5 | 2.7991 | 0.3491 | 0.00015475
267 | 2.7932 | 0.3432 | 0.00015214
267.5 | 2.5545 | 0.1045 | 4.6324e-05
268 | 2.3175 | 0 | 0
268.5 | 2.1285 | 0 | 0
269 | 2.0336 | 0 | 0
269.5 | 2.1994 | 0 | 0
270 | 2.328 | 0 | 0
270.5 | 2.2289 | 0 | 0
271 | 1.8829 | 0 | 0
271.5 | 1.3935 | 0 | 0
272 | 0.93651 | 0 | 0
272.5 | 0.58222 | 0 | 0
273 | 0.22471 | 0 | 0
273.5 | -0.0080723 | 0 | 0
274 | -0.19682 | 0 | 0
274.5 | -0.24736 | 0 | 0
275 | -0.1341 | 0 | 0
275.5 | -0.066904 | 0 | 0
276 | 0.090255 | 0 | 0
276.5 | 0.48401 | 0 | 0
277 | 0.83658 | 0 | 0
277.5 | 1.0656 | 0 | 0
278 | 1.1657 | 0 | 0
278.5 | 1.3316 | 0 | 0
279 | 1.2005 | 0 | 0
279.5 | 1.0052 | 0 | 0
280 | 0.9877 | 0 | 0
280.5 | 1.1189 | 0 | 0
281 | 1.2751 | 0 | 0
281.5 | 1.0918 | 0 | 0
282 | 0.96612 | 0 | 0
282.5 | 0.89357 | 0 | 0
283 | 0.69589 | 0 | 0
283.5 | 0.42392 | 0 | 0
284 | 0.38025 | 0 | 0
284.5 | 0.69776 | 0 | 0
285 | 0.98853 | 0 | 0
285.5 | 1.0634 | 0 | 0
286 | 1.4587 | 0 | 0
286.5 | 1.6522 | 0 | 0
287 | 1.6126 | 0 | 0
287.5 | 1.574 | 0 | 0
288 | 1.9233 | 0 | 0
288.5 | 2.248 | 0 | 0
289 | 2.5475 | 0.0975 | 4.3221e-05
289.5 | 2.6801 | 0.2301 | 0.000102
290 | 2.801 | 0.351 | 0.0001556
290.5 | 2.8302 | 0.3802 | 0.00016854
291 | 2.4614 | 0.0114 | 5.0535e-06
291.5 | 2.2461 | 0 | 0
292 | 2.413 | 0 | 0
292.5 | 2.5475 | 0.0975 | 4.3221e-05
293 | 2.5981 | 0.1481 | 6.5652e-05
293.5 | 2.707 | 0.257 | 0.00011393
294 | 2.8604 | 0.4104 | 0.00018193
294.5 | 2.7475 | 0.2975 | 0.00013188
295 | 2.5041 | 0.0541 | 2.3982e-05
295.5 | 2.3423 | 0 | 0
296 | 2.3214 | 0 | 0
296.5 | 2.213 | 0 | 0
297 | 2.2143 | 0 | 0
297.5 | 2.4009 | 0 | 0
298 | 2.4662 | 0.0162 | 7.1813e-06
298.5 | 2.4433 | 0 | 0
299 | 2.4328 | 0 | 0
299.5 | 2.5488 | 0.0988 | 4.3797e-05
300 | 2.7304 | 0.2804 | 0.0001243
300.5 | 2.8272 | 0.3772 | 0.00016721
301 | 3.0354 | 0.5854 | 0.0002595
301.5 | 3.3175 | 0.8675 | 0.00038456
302 | 3.3889 | 0.9389 | 0.00041621
302.5 | 3.2118 | 0.7618 | 0.0003377
303 | 3.0101 | 0.5601 | 0.00024829
303.5 | 3.0166 | 0.5666 | 0.00025117
304 | 3.0282 | 0.5782 | 0.00025631
304.5 | 2.9174 | 0.4674 | 0.00020719
305 | 2.7326 | 0.2826 | 0.00012527
305.5 | 2.7309 | 0.2809 | 0.00012452
306 | 2.6747 | 0.2247 | 9.9608e-05
306.5 | 2.6784 | 0.2284 | 0.00010125
307 | 2.8512 | 0.4012 | 0.00017785
307.5 | 3.123 | 0.673 | 0.00029834
308 | 3.0685 | 0.6185 | 0.00027418
308.5 | 3.2101 | 0.7601 | 0.00033695
309 | 3.3025 | 0.8525 | 0.00037791
309.5 | 3.3741 | 0.9241 | 0.00040965
310 | 3.1948 | 0.7448 | 0.00033016
310.5 | 2.9738 | 0.5238 | 0.0002322
311 | 2.7616 | 0.3116 | 0.00013813
311.5 | 2.6555 | 0.2055 | 9.1096e-05
312 | 2.5763 | 0.1263 | 5.5988e-05
312.5 | 2.3892 | 0 | 0
313 | 2.0716 | 0 | 0
313.5 | 1.6649 | 0 | 0
314 | 1.1214 | 0 | 0
314.5 | 0.54169 | 0 | 0
315 | -0.0087292 | 0 | 0
315.5 | -0.39965 | 0 | 0
316 | -0.67671 | 0 | 0
316.5 | -0.70304 | 0 | 0
317 | -0.50171 | 0 | 0
317.5 | -0.28943 | 0 | 0
318 | -0.061612 | 0 | 0
318.5 | 0.014219 | 0 | 0
319 | 0.20331 | 0 | 0
319.5 | 0.39505 | 0 | 0
320 | 0.5706 | 0 | 0
320.5 | 0.74236 | 0 | 0
321 | 1.3859 | 0 | 0
321.5 | 2.0045 | 0 | 0
322 | 2.378 | 0 | 0
322.5 | 2.6038 | 0.1538 | 6.8178e-05
323 | 2.6558 | 0.2058 | 9.1229e-05
323.5 | 2.4225 | 0 | 0
324 | 2.2607 | 0 | 0
324.5 | 2.0821 | 0 | 0
325 | 2.0837 | 0 | 0
325.5 | 1.9923 | 0 | 0
326 | 2.0309 | 0 | 0
326.5 | 2.1315 | 0 | 0
327 | 2.2262 | 0 | 0
327.5 | 2.1172 | 0 | 0
328 | 1.9982 | 0 | 0
328.5 | 1.949 | 0 | 0
329 | 1.9525 | 0 | 0
329.5 | 1.7559 | 0 | 0
330 | 1.6205 | 0 | 0
330.5 | 1.6112 | 0 | 0
331 | 1.5221 | 0 | 0
331.5 | 1.2532 | 0 | 0
332 | 1.0792 | 0 | 0
332.5 | 0.9315 | 0 | 0
333 | 0.7703 | 0 | 0
333.5 | 0.84408 | 0 | 0
334 | 0.81566 | 0 | 0
334.5 | 0.45324 | 0 | 0
335 | 0.25766 | 0 | 0
335.5 | 0.2962 | 0 | 0
336 | 0.26574 | 0 | 0
336.5 | 0.38727 | 0 | 0
337 | 0.45658 | 0 | 0
337.5 | 0.50557 | 0 | 0
338 | 0.6027 | 0 | 0
338.5 | 0.45229 | 0 | 0
339 | 0.19484 | 0 | 0
339.5 | 0.041969 | 0 | 0
340 | -0.15304 | 0 | 0
340.5 | -0.10276 | 0 | 0
341 | 0.058167 | 0 | 0
341.5 | -0.049816 | 0 | 0
342 | -0.18508 | 0 | 0
342.5 | 0.12468 | 0 | 0
343 | 0.24965 | 0 | 0
343.5 | 0.38626 | 0 | 0
344 | 0.50292 | 0 | 0
344.5 | 0.57754 | 0 | 0
345 | 0.71085 | 0 | 0
345.5 | 0.80267 | 0 | 0
346 | 0.77589 | 0 | 0
346.5 | 0.59484 | 0 | 0
347 | 0.30351 | 0 | 0
347.5 | 0.28461 | 0 | 0
348 | 0.47939 | 0 | 0
348.5 | 0.67241 | 0 | 0
349 | 0.77581 | 0 | 0
349.5 | 0.86962 | 0 | 0
350 | 0.78848 | 0 | 0
350.5 | 0.61198 | 0 | 0
351 | 0.71497 | 0 | 0
351.5 | 0.95333 | 0 | 0
352 | 1.273 | 0 | 0
352.5 | 1.5652 | 0 | 0
353 | 1.722 | 0 | 0
353.5 | 1.8118 | 0 | 0
354 | 2.0685 | 0 | 0
354.5 | 2.0954 | 0 | 0
355 | 2.151 | 0 | 0
355.5 | 2.104 | 0 | 0
356 | 2.185 | 0 | 0
356.5 | 2.4938 | 0.0438 | 1.9416e-05
357 | 2.674 | 0.224 | 9.9297e-05
357.5 | 2.6566 | 0.2066 | 9.1584e-05
358 | 2.6323 | 0.1823 | 8.0812e-05
358.5 | 2.6642 | 0.2142 | 9.4953e-05
359 | 2.6499 | 0.1999 | 8.8614e-05
359.5 | 2.9141 | 0.4641 | 0.00020573
360 | 3.0735 | 0.6235 | 0.00027639
360.5 | 2.9645 | 0.5145 | 0.00022807
361 | 2.9867 | 0.5367 | 0.00023791
361.5 | 3.1541 | 0.7041 | 0.00031212
362 | 3.2794 | 0.8294 | 0.00036767
362.5 | 3.1477 | 0.6977 | 0.00030928
363 | 3.1412 | 0.6912 | 0.0003064
363.5 | 3.1744 | 0.7244 | 0.00032112
364 | 3.3251 | 0.8751 | 0.00038792
364.5 | 3.3408 | 0.8908 | 0.00039488
365 | 3.3495 | 0.8995 | 0.00039874
365.5 | 3.4014 | 0.9514 | 0.00042175
366 | 3.5846 | 1.1346 | 0.00050296
366.5 | 3.6328 | 1.1828 | 0.00052433
367 | 3.6625 | 1.2125 | 0.00053749
367.5 | 3.429 | 0.979 | 0.00043398
368 | 3.2813 | 0.8313 | 0.00036851
368.5 | 3.0636 | 0.6136 | 0.000272
369 | 2.8355 | 0.3855 | 0.00017089
369.5 | 2.6665 | 0.2165 | 9.5973e-05
370 | 2.6483 | 0.1983 | 8.7905e-05
370.5 | 2.6537 | 0.2037 | 9.0299e-05
371 | 2.6438 | 0.1938 | 8.591e-05
371.5 | 2.6796 | 0.2296 | 0.00010178
372 | 2.4153 | 0 | 0
372.5 | 2.0951 | 0 | 0
373 | 1.9147 | 0 | 0
373.5 | 1.7825 | 0 | 0
374 | 1.6005 | 0 | 0
374.5 | 1.3827 | 0 | 0
375 | 1.7788 | 0 | 0
375.5 | 1.956 | 0 | 0
376 | 1.9329 | 0 | 0
376.5 | 1.7887 | 0 | 0
377 | 1.7113 | 0 | 0
377.5 | 1.6382 | 0 | 0
378 | 1.47 | 0 | 0
378.5 | 1.6656 | 0 | 0
379 | 1.8007 | 0 | 0
379.5 | 1.9362 | 0 | 0
380 | 2.1307 | 0 | 0
380.5 | 2.3767 | 0 | 0
381 | 2.4611 | 0.0111 | 4.9205e-06
381.5 | 2.3205 | 0 | 0
382 | 2.3125 | 0 | 0
382.5 | 2.3427 | 0 | 0
383 | 2.2235 | 0 | 0
383.5 | 2.1194 | 0 | 0
384 | 2.0332 | 0 | 0
384.5 | 2.0918 | 0 | 0
385 | 2.1959 | 0 | 0
385.5 | 2.2297 | 0 | 0
386 | 2.1535 | 0 | 0
386.5 | 2.1988 | 0 | 0
387 | 2.1528 | 0 | 0
387.5 | 2.0167 | 0 | 0
388 | 2.303 | 0 | 0
388.5 | 2.4469 | 0 | 0
389 | 2.6624 | 0.2124 | 9.4155e-05
389.5 | 2.7507 | 0.3007 | 0.0001333
390 | 2.7959 | 0.3459 | 0.00015333
390.5 | 2.5718 | 0.1218 | 5.3993e-05
391 | 2.3244 | 0 | 0
391.5 | 2.143 | 0 | 0
392 | 1.9605 | 0 | 0
392.5 | 1.8651 | 0 | 0
393 | 1.5447 | 0 | 0
393.5 | 1.4441 | 0 | 0
394 | 1.267 | 0 | 0
394.5 | 1.0382 | 0 | 0
395 | 0.85345 | 0 | 0
395.5 | 0.85202 | 0 | 0
396 | 0.91022 | 0 | 0
396.5 | 1.1358 | 0 | 0
397 | 1.4352 | 0 | 0
397.5 | 1.7466 | 0 | 0
398 | 2.2063 | 0 | 0
398.5 | 2.3621 | 0 | 0
399 | 2.5048 | 0.0548 | 2.4292e-05
399.5 | 2.5242 | 0.0742 | 3.2892e-05
400 | 2.3348 | 0 | 0
400.5 | 2.1529 | 0 | 0
401 | 2.0511 | 0 | 0
401.5 | 2.1147 | 0 | 0
402 | 2.0785 | 0 | 0
402.5 | 2.2098 | 0 | 0
403 | 1.9324 | 0 | 0
403.5 | 1.608 | 0 | 0
404 | 1.2565 | 0 | 0
404.5 | 0.99735 | 0 | 0
405 | 0.82741 | 0 | 0
405.5 | 1.0899 | 0 | 0
406 | 1.4105 | 0 | 0
406.5 | 1.5571 | 0 | 0
407 | 1.718 | 0 | 0
407.5 | 1.9258 | 0 | 0
408 | 1.8928 | 0 | 0
408.5 | 1.7481 | 0 | 0
409 | 1.7258 | 0 | 0
409.5 | 1.855 | 0 | 0
410 | 2.0093 | 0 | 0
410.5 | 2.1172 | 0 | 0
411 | 2.1774 | 0 | 0
411.5 | 2.035 | 0 | 0
412 | 1.7686 | 0 | 0
412.5 | 1.6373 | 0 | 0
413 | 1.8879 | 0 | 0
413.5 | 1.842 | 0 | 0
414 | 1.8885 | 0 | 0
414.5 | 2.1408 | 0 | 0
415 | 2.3615 | 0 | 0
415.5 | 2.2749 | 0 | 0
416 | 2.3465 | 0 | 0
416.5 | 2.4273 | 0 | 0
417 | 2.5916 | 0.1416 | 6.277e-05
417.5 | 2.7206 | 0.2706 | 0.00011995
418 | 2.9234 | 0.4734 | 0.00020985
418.5 | 2.9593 | 0.5093 | 0.00022577
419 | 2.9529 | 0.5029 | 0.00022293
419.5 | 3.0937 | 0.6437 | 0.00028535
420 | 2.9682 | 0.5182 | 0.00022971
420.5 | 2.4876 | 0.0376 | 1.6668e-05
421 | 2.0159 | 0 | 0
421.5 | 1.9047 | 0 | 0
422 | 1.7817 | 0 | 0
422.5 | 1.6131 | 0 | 0
423 | 1.5394 | 0 | 0
423.5 | 1.503 | 0 | 0
424 | 1.2991 | 0 | 0
424.5 | 1.1198 | 0 | 0
425 | 0.96351 | 0 | 0
425.5 | 0.62014 | 0 | 0
426 | 0.48727 | 0 | 0
426.5 | 0.72571 | 0 | 0
427 | 1.0986 | 0 | 0
427.5 | 1.3952 | 0 | 0
428 | 1.4173 | 0 | 0
428.5 | 1.445 | 0 | 0
429 | 1.4428 | 0 | 0
429.5 | 1.6336 | 0 | 0
430 | 2.102 | 0 | 0
430.5 | 2.5588 | 0.1088 | 4.823e-05
431 | 2.8268 | 0.3768 | 0.00016703
431.5 | 3.1085 | 0.6585 | 0.00029191
432 | 3.3601 | 0.9101 | 0.00040344
432.5 | 3.3833 | 0.9333 | 0.00041372
433 | 3.3794 | 0.9294 | 0.000412
433.5 | 3.2953 | 0.8453 | 0.00037471
434 | 3.4835 | 1.0335 | 0.00045814
434.5 | 3.5772 | 1.1272 | 0.00049968
435 | 3.5911 | 1.1411 | 0.00050584
435.5 | 3.4854 | 1.0354 | 0.00045898
436 | 3.2567 | 0.8067 | 0.0003576
436.5 | 3.1799 | 0.7299 | 0.00032356
437 | 3.1568 | 0.7068 | 0.00031332
437.5 | 3.1338 | 0.6838 | 0.00030312
438 | 3.3032 | 0.8532 | 0.00037822
438.5 | 3.4962 | 1.0462 | 0.00046377
439 | 3.4288 | 0.9788 | 0.00043389
439.5 | 3.4282 | 0.9782 | 0.00043363
440 | 3.1946 | 0.7446 | 0.00033008
440.5 | 3.0585 | 0.6085 | 0.00026974
441 | 3.1346 | 0.6846 | 0.00030348
441.5 | 3.3342 | 0.8842 | 0.00039196
442 | 3.6604 | 1.2104 | 0.00053656
442.5 | 3.7825 | 1.3325 | 0.00059069
443 | 3.7681 | 1.3181 | 0.0005843
443.5 | 3.3702 | 0.9202 | 0.00040792
444 | 2.8147 | 0.3647 | 0.00016167
444.5 | 2.4602 | 0.0102 | 4.5216e-06
445 | 2.5026 | 0.0526 | 2.3317e-05
445.5 | 2.5987 | 0.1487 | 6.5918e-05
446 | 2.6362 | 0.1862 | 8.2541e-05
446.5 | 2.9138 | 0.4638 | 0.0002056
447 | 2.901 | 0.451 | 0.00019992
447.5 | 2.7032 | 0.2532 | 0.00011224
448 | 2.3469 | 0 | 0
448.5 | 2.2118 | 0 | 0
449 | 2.3407 | 0 | 0
449.5 | 2.7957 | 0.3457 | 0.00015325
450 | 3.255 | 0.805 | 0.00035685
450.5 | 3.4462 | 0.9962 | 0.00044161
451 | 3.3818 | 0.9318 | 0.00041306
451.5 | 3.2761 | 0.8261 | 0.0003662
452 | 3.1863 | 0.7363 | 0.0003264
452.5 | 2.8643 | 0.4143 | 0.00018366
453 | 2.852 | 0.402 | 0.0001782
453.5 | 2.6145 | 0.1645 | 7.2922e-05
454 | 2.3353 | 0 | 0
454.5 | 2.0658 | 0 | 0
455 | 1.5935 | 0 | 0
455.5 | 0.9863 | 0 | 0
456 | 0.43141 | 0 | 0
456.5 | 0.1263 | 0 | 0
457 | -0.2244 | 0 | 0
457.5 | -0.56719 | 0 | 0
458 | -0.49972 | 0 | 0
458.5 | -0.1997 | 0 | 0
459 | -0.15755 | 0 | 0
459.5 | 0.23092 | 0 | 0
460 | 0.61448 | 0 | 0
460.5 | 0.78004 | 0 | 0
461 | 0.90927 | 0 | 0
461.5 | 1.0744 | 0 | 0
462 | 1.1704 | 0 | 0
462.5 | 1.2969 | 0 | 0
463 | 1.578 | 0 | 0
463.5 | 2.0136 | 0 | 0
464 | 2.2129 | 0 | 0
464.5 | 2.0724 | 0 | 0
465 | 2.0404 | 0 | 0
465.5 | 1.9879 | 0 | 0
466 | 1.8402 | 0 | 0
466.5 | 1.9164 | 0 | 0
467 | 2.2155 | 0 | 0
467.5 | 2.4243 | 0 | 0
468 | 2.6889 | 0.2389 | 0.0001059
468.5 | 2.9075 | 0.4575 | 0.00020281
469 | 3.0521 | 0.6021 | 0.00026691
469.5 | 3.1252 | 0.6752 | 0.00029931
470 | 3.0595 | 0.6095 | 0.00027019
470.5 | 3.1286 | 0.6786 | 0.00030082
471 | 3.3531 | 0.9031 | 0.00040034
471.5 | 3.5408 | 1.0908 | 0.00048354
472 | 3.711 | 1.261 | 0.00055899
472.5 | 3.749 | 1.299 | 0.00057584
473 | 3.6078 | 1.1578 | 0.00051324
473.5 | 3.4771 | 1.0271 | 0.00045531
474 | 3.3323 | 0.8823 | 0.00039112
474.5 | 3.1187 | 0.6687 | 0.00029643
475 | 2.9373 | 0.4873 | 0.00021602
475.5 | 2.8054 | 0.3554 | 0.00015755
476 | 2.7747 | 0.3247 | 0.00014394
476.5 | 2.3419 | 0 | 0
477 | 1.8609 | 0 | 0
477.5 | 1.4242 | 0 | 0
478 | 1.2572 | 0 | 0
478.5 | 1.1794 | 0 | 0
479 | 1.1613 | 0 | 0
479.5 | 1.3414 | 0 | 0
480 | 1.5756 | 0 | 0
480.5 | 2.0494 | 0 | 0
481 | 2.274 | 0 | 0
481.5 | 2.3454 | 0 | 0
482 | 2.6067 | 0.1567 | 6.9464e-05
482.5 | 2.9565 | 0.5065 | 0.00022453
483 | 3.1779 | 0.7279 | 0.00032267
483.5 | 3.4015 | 0.9515 | 0.00042179
484 | 3.5573 | 1.1073 | 0.00049086
484.5 | 3.5561 | 1.1061 | 0.00049033
485 | 3.335 | 0.885 | 0.00039231
485.5 | 3.1516 | 0.7016 | 0.00031101
486 | 2.8338 | 0.3838 | 0.00017014
486.5 | 2.5789 | 0.1289 | 5.714e-05
487 | 2.526 | 0.076 | 3.369e-05
487.5 | 2.1373 | 0 | 0
488 | 1.7787 | 0 | 0
488.5 | 1.4931 | 0 | 0
489 | 1.2098 | 0 | 0
489.5 | 0.95093 | 0 | 0
490 | 0.90076 | 0 | 0
490.5 | 0.84144 | 0 | 0
491 | 0.85025 | 0 | 0
491.5 | 0.91038 | 0 | 0
492 | 1.0725 | 0 | 0
492.5 | 1.049 | 0 | 0
493 | 0.98472 | 0 | 0
493.5 | 0.95911 | 0 | 0
494 | 1.0103 | 0 | 0
494.5 | 1.2351 | 0 | 0
495 | 1.4405 | 0 | 0
495.5 | 1.4069 | 0 | 0
496 | 1.4625 | 0 | 0
496.5 | 1.7913 | 0 | 0
497 | 1.9794 | 0 | 0
497.5 | 2.0098 | 0 | 0
498 | 2.0045 | 0 | 0
498.5 | 2.0849 | 0 | 0
499 | 2.3628 | 0 | 0
499.5 | 2.5837 | 0.1337 | 5.9268e-05
500 | 2.6802 | 0.2302 | 0.00010205
500.5 | 2.6027 | 0.1527 | 6.7691e-05
501 | 2.4852 | 0.0352 | 1.5604e-05
501.5 | 2.0759 | 0 | 0
502 | 1.6843 | 0 | 0
502.5 | 1.4036 | 0 | 0
503 | 1.1367 | 0 | 0
503.5 | 0.87633 | 0 | 0
504 | 0.55112 | 0 | 0
504.5 | 0.30402 | 0 | 0
505 | 0.0049976 | 0 | 0
505.5 | -0.4544 | 0 | 0
506 | -0.54224 | 0 | 0
506.5 | -0.8594 | 0 | 0
507 | -0.64479 | 0 | 0
507.5 | -0.37619 | 0 | 0
508 | -0.18112 | 0 | 0
508.5 | 0.054569 | 0 | 0
509 | 0.20526 | 0 | 0
509.5 | 0.4209 | 0 | 0
510 | 0.70776 | 0 | 0
510.5 | 0.86124 | 0 | 0
511 | 1.2126 | 0 | 0
511.5 | 1.6295 | 0 | 0
512 | 1.8535 | 0 | 0
512.5 | 2.216 | 0 | 0
513 | 2.4739 | 0.0239 | 1.0595e-05
513.5 | 2.4484 | 0 | 0
514 | 2.3144 | 0 | 0
514.5 | 2.068 | 0 | 0
515 | 2.0005 | 0 | 0
515.5 | 1.7544 | 0 | 0
516 | 1.3676 | 0 | 0
516.5 | 1.3897 | 0 | 0
517 | 1.3235 | 0 | 0
517.5 | 1.3479 | 0 | 0
518 | 1.2161 | 0 | 0
518.5 | 1.0734 | 0 | 0
519 | 1.0136 | 0 | 0
519.5 | 1.0493 | 0 | 0
520 | 1.305 | 0 | 0
520.5 | 1.5619 | 0 | 0
521 | 1.6434 | 0 | 0
521.5 | 1.633 | 0 | 0
522 | 1.4678 | 0 | 0
522.5 | 1.1902 | 0 | 0
523 | 1.103 | 0 | 0
523.5 | 1.2141 | 0 | 0
524 | 1.2648 | 0 | 0
524.5 | 1.2406 | 0 | 0
525 | 1.1892 | 0 | 0
525.5 | 1.0523 | 0 | 0
526 | 1.0871 | 0 | 0
526.5 | 0.93691 | 0 | 0
527 | 1.0245 | 0 | 0
527.5 | 1.3628 | 0 | 0
528 | 1.5858 | 0 | 0
528.5 | 1.6472 | 0 | 0
529 | 1.6026 | 0 | 0
529.5 | 1.5361 | 0 | 0
530 | 1.5637 | 0 | 0
530.5 | 1.3598 | 0 | 0
531 | 1.4798 | 0 | 0
531.5 | 1.2511 | 0 | 0
532 | 1.308 | 0 | 0
532.5 | 1.4131 | 0 | 0
533 | 1.4543 | 0 | 0
533.5 | 1.5791 | 0 | 0
534 | 1.8536 | 0 | 0
534.5 | 2.0478 | 0 | 0
535 | 2.1811 | 0 | 0
535.5 | 2.2191 | 0 | 0
536 | 2.6389 | 0.1889 | 8.3738e-05
536.5 | 2.8301 | 0.3801 | 0.0001685
537 | 2.9948 | 0.5448 | 0.00024151
537.5 | 3.1463 | 0.6963 | 0.00030866
538 | 3.1165 | 0.6665 | 0.00029545
538.5 | 2.9481 | 0.4981 | 0.0002208
539 | 2.9133 | 0.4633 | 0.00020538
539.5 | 2.592 | 0.142 | 6.2947e-05
540 | 2.1246 | 0 | 0
540.5 | 1.792 | 0 | 0
541 | 1.5703 | 0 | 0
541.5 | 1.1642 | 0 | 0
542 | 0.97484 | 0 | 0
542.5 | 1.0162 | 0 | 0
543 | 0.75108 | 0 | 0
543.5 | 0.64121 | 0 | 0
544 | 0.92734 | 0 | 0
544.5 | 1.1753 | 0 | 0
545 | 1.4957 | 0 | 0
545.5 | 1.7022 | 0 | 0
546 | 1.8916 | 0 | 0
546.5 | 2.1156 | 0 | 0
547 | 2.3407 | 0 | 0
547.5 | 2.5274 | 0.0774 | 3.4311e-05
548 | 2.3763 | 0 | 0
548.5 | 2.4835 | 0.0335 | 1.485e-05
549 | 2.7826 | 0.3326 | 0.00014744
549.5 | 2.5207 | 0.0707 | 3.1341e-05
550 | 1.9842 | 0 | 0
550.5 | 1.5636 | 0 | 0
551 | 1.44 | 0 | 0
551.5 | 1.3374 | 0 | 0
552 | 1.1519 | 0 | 0
552.5 | 0.80429 | 0 | 0
553 | 0.18511 | 0 | 0
553.5 | -0.077131 | 0 | 0
554 | -0.30697 | 0 | 0
554.5 | -0.73084 | 0 | 0
555 | -1.0191 | 0 | 0
555.5 | -1.0951 | 0 | 0
556 | -1.1255 | 0 | 0
556.5 | -1.0552 | 0 | 0
557 | -0.96718 | 0 | 0
557.5 | -0.59346 | 0 | 0
558 | -0.21996 | 0 | 0
558.5 | 0.26612 | 0 | 0
559 | 0.43608 | 0 | 0
559.5 | 0.61757 | 0 | 0
560 | 0.78545 | 0 | 0
560.5 | 1.246 | 0 | 0
561 | 1.6629 | 0 | 0
561.5 | 1.9667 | 0 | 0
562 | 2.0071 | 0 | 0
562.5 | 1.9135 | 0 | 0
563 | 1.587 | 0 | 0
563.5 | 1.7236 | 0 | 0
564 | 1.9478 | 0 | 0
564.5 | 2.3234 | 0 | 0
565 | 2.5669 | 0.1169 | 5.1821e-05
565.5 | 2.7818 | 0.3318 | 0.00014708
566 | 2.6709 | 0.2209 | 9.7923e-05
566.5 | 2.5453 | 0.0953 | 4.2246e-05
567 | 2.3607 | 0 | 0
567.5 | 2.5185 | 0.0685 | 3.0365e-05
568 | 2.661 | 0.211 | 9.3535e-05
568.5 | 2.8935 | 0.4435 | 0.0001966
569 | 2.8866 | 0.4366 | 0.00019354
569.5 | 2.7129 | 0.2629 | 0.00011654
570 | 2.3902 | 0 | 0
570.5 | 2.0532 | 0 | 0
571 | 1.7097 | 0 | 0
571.5 | 1.4916 | 0 | 0
572 | 1.3112 | 0 | 0
572.5 | 1.227 | 0 | 0
573 | 0.86819 | 0 | 0
573.5 | 0.75199 | 0 | 0
574 | 0.64389 | 0 | 0
574.5 | 0.36275 | 0 | 0
575 | 0.44944 | 0 | 0
575.5 | 0.58413 | 0 | 0
576 | 0.77231 | 0 | 0
576.5 | 0.85545 | 0 | 0
577 | 1.0278 | 0 | 0
577.5 | 1.0234 | 0 | 0
578 | 0.97597 | 0 | 0
578.5 | 0.94858 | 0 | 0
579 | 1.0079 | 0 | 0
579.5 | 1.1765 | 0 | 0
580 | 1.3153 | 0 | 0
580.5 | 1.2154 | 0 | 0
581 | 0.90367 | 0 | 0
581.5 | 0.74474 | 0 | 0
582 | 0.84816 | 0 | 0
582.5 | 0.9744 | 0 | 0
583 | 1.4164 | 0 | 0
583.5 | 1.4596 | 0 | 0
584 | 1.4191 | 0 | 0
584.5 | 1.1094 | 0 | 0
585 | 0.83024 | 0 | 0
585.5 | 0.67242 | 0 | 0
586 | 0.54957 | 0 | 0
586.5 | 0.63293 | 0 | 0
587 | 0.78907 | 0 | 0
587.5 | 0.71434 | 0 | 0
588 | 0.7614 | 0 | 0
588.5 | 0.71588 | 0 | 0
589 | 0.98022 | 0 | 0
589.5 | 1.1908 | 0 | 0
590 | 1.2469 | 0 | 0
590.5 | 1.1757 | 0 | 0
591 | 1.0675 | 0 | 0
591.5 | 0.8394 | 0 | 0
592 | 0.8706 | 0 | 0
592.5 | 0.78671 | 0 | 0
593 | 0.68847 | 0 | 0
593.5 | 0.093625 | 0 | 0
594 | -0.10924 | 0 | 0
594.5 | -0.094844 | 0 | 0
595 | 0.14098 | 0 | 0
595.5 | 0.65279 | 0 | 0
596 | 1.0364 | 0 | 0
596.5 | 1.505 | 0 | 0
597 | 1.8065 | 0 | 0
597.5 | 2.0886 | 0 | 0
598 | 2.1286 | 0 | 0
598.5 | 2.3864 | 0 | 0
599 | 2.9597 | 0.5097 | 0.00022595
599.5 | 3.0423 | 0.5923 | 0.00026256
600 | 2.7915 | 0.3415 | 0.00015138
600.5 | 2.3319 | 0 | 0
601 | 1.9512 | 0 | 0
601.5 | 1.6001 | 0 | 0
602 | 1.2016 | 0 | 0
602.5 | 1.1719 | 0 | 0
603 | 0.86911 | 0 | 0
603.5 | 0.78447 | 0 | 0
604 | 0.51881 | 0 | 0
604.5 | 0.28391 | 0 | 0
605 | 0.50022 | 0 | 0
605.5 | 0.76496 | 0 | 0
606 | 0.74729 | 0 | 0
606.5 | 0.75962 | 0 | 0
607 | 0.78566 | 0 | 0
607.5 | 0.93282 | 0 | 0
608 | 1.009 | 0 | 0
608.5 | 1.204 | 0 | 0
609 | 1.431 | 0 | 0
609.5 | 1.6365 | 0 | 0
610 | 1.7888 | 0 | 0
610.5 | 1.9236 | 0 | 0
611 | 2.287 | 0 | 0
611.5 | 2.5972 | 0.1472 | 6.5253e-05
612 | 2.7199 | 0.2699 | 0.00011964
612.5 | 2.4609 | 0.0109 | 4.8319e-06
613 | 2.2044 | 0 | 0
613.5 | 2.3767 | 0 | 0
614 | 2.6701 | 0.2201 | 9.7569e-05
614.5 | 2.5897 | 0.1397 | 6.1928e-05
615 | 2.3555 | 0 | 0
615.5 | 1.9314 | 0 | 0
616 | 1.1415 | 0 | 0
616.5 | 0.77159 | 0 | 0
617 | 0.8563 | 0 | 0
617.5 | 0.70636 | 0 | 0
618 | 0.79845 | 0 | 0
618.5 | 0.75566 | 0 | 0
619 | 0.40273 | 0 | 0
619.5 | 0.14905 | 0 | 0
620 | 0.59593 | 0 | 0
620.5 | 1.2503 | 0 | 0
621 | 1.6895 | 0 | 0
621.5 | 2.2493 | 0 | 0
622 | 2.1843 | 0 | 0
622.5 | 2.1294 | 0 | 0
623 | 2.2805 | 0 | 0
623.5 | 2.2197 | 0 | 0
624 | 2.0502 | 0 | 0
624.5 | 1.8524 | 0 | 0
625 | 1.3182 | 0 | 0
625.5 | 0.68018 | 0 | 0
626 | 0.13429 | 0 | 0
626.5 | -0.11396 | 0 | 0
627 | -0.44742 | 0 | 0
627.5 | -0.62943 | 0 | 0
628 | -0.42719 | 0 | 0
628.5 | -0.3024 | 0 | 0
629 | -0.04257 | 0 | 0
629.5 | 0.20706 | 0 | 0
630 | 0.54266 | 0 | 0
630.5 | 0.93561 | 0 | 0
631 | 1.1554 | 0 | 0
631.5 | 1.1638 | 0 | 0
632 | 1.4242 | 0 | 0
632.5 | 1.7445 | 0 | 0
633 | 1.796 | 0 | 0
633.5 | 1.622 | 0 | 0
634 | 1.786 | 0 | 0
634.5 | 2.3413 | 0 | 0
635 | 2.3321 | 0 | 0
635.5 | 2.4013 | 0 | 0
636 | 2.2934 | 0 | 0
636.5 | 2.3107 | 0 | 0
637 | 2.2539 | 0 | 0
637.5 | 2.508 | 0.058 | 2.5711e-05
638 | 2.3846 | 0 | 0
638.5 | 2.6688 | 0.2188 | 9.6992e-05
639 | 3.0216 | 0.5716 | 0.00025339
639.5 | 2.7204 | 0.2704 | 0.00011987
640 | 2.4206 | 0 | 0
640.5 | 2.0627 | 0 | 0
641 | 2.103 | 0 | 0
641.5 | 2.345 | 0 | 0
642 | 2.4183 | 0 | 0
642.5 | 2.0455 | 0 | 0
643 | 1.7295 | 0 | 0
643.5 | 1.6706 | 0 | 0
644 | 1.5481 | 0 | 0
644.5 | 1.6991 | 0 | 0
645 | 1.9403 | 0 | 0
645.5 | 2.0842 | 0 | 0
646 | 2.1816 | 0 | 0
646.5 | 2.0711 | 0 | 0
647 | 2.0326 | 0 | 0
647.5 | 2.1343 | 0 | 0
648 | 2.3589 | 0 | 0
648.5 | 2.5008 | 0.0508 | 2.2519e-05
649 | 2.6644 | 0.2144 | 9.5042e-05
649.5 | 2.5869 | 0.1369 | 6.0687e-05
650 | 2.639 | 0.189 | 8.3782e-05
650.5 | 2.9188 | 0.4688 | 0.00020782
651 | 3.1088 | 0.6588 | 0.00029204
651.5 | 3.3934 | 0.9434 | 0.0004182
652 | 3.5689 | 1.1189 | 0.000496
652.5 | 3.5584 | 1.1084 | 0.00049134
653 | 3.7625 | 1.3125 | 0.00058182
653.5 | 3.8361 | 1.3861 | 0.00061445
654 | 3.9175 | 1.4675 | 0.00065053
654.5 | 3.9642 | 1.5142 | 0.00067123
655 | 4.013 | 1.563 | 0.00069287
655.5 | 4.2247 | 1.7747 | 0.00078671
656 | 4.6175 | 2.1675 | 0.00096084
656.5 | 4.9631 | 2.5131 | 0.001114
657 | 5.2741 | 2.8241 | 0.0012519
657.5 | 5.5897 | 3.1397 | 0.0013918
658 | 5.7713 | 3.3213 | 0.0014723
658.5 | 6.0292 | 3.5792 | 0.0015866
659 | 6.4441 | 3.9941 | 0.0017706
659.5 | 6.8412 | 4.3912 | 0.0019466
660 | 6.7708 | 4.3208 | 0.0019154
660.5 | 6.3807 | 3.9307 | 0.0017424
661 | 6.1084 | 3.6584 | 0.0016217
661.5 | 6.2343 | 3.7843 | 0.0016775
662 | 6.5794 | 4.1294 | 0.0018305
662.5 | 6.9809 | 4.5309 | 0.0020085
663 | 7.145 | 4.695 | 0.0020813
663.5 | 7.5487 | 5.0987 | 0.0022602
664 | 7.3378 | 4.8878 | 0.0021667
664.5 | 7.206 | 4.756 | 0.0021083
665 | 7.4864 | 5.0364 | 0.0022326
665.5 | 8.2772 | 5.8272 | 0.0025832
666 | 9.1862 | 6.7362 | 0.0029861
666.5 | 9.0843 | 6.6343 | 0.0029409
667 | 9.0288 | 6.5788 | 0.0029163
667.5 | 8.9901 | 6.5401 | 0.0028992
668 | 9.3568 | 6.9068 | 0.0030617
668.5 | 9.2271 | 6.7771 | 0.0030042
669 | 9.4807 | 7.0307 | 0.0031167
669.5 | 9.7098 | 7.2598 | 0.0032182
670 | 9.9139 | 7.4639 | 0.0033087
670.5 | 10.043 | 7.593 | 0.0033659
671 | 10.074 | 7.624 | 0.0033797
671.5 | 10.644 | 8.194 | 0.0036323
672 | 11.031 | 8.581 | 0.0038039
672.5 | 11.179 | 8.729 | 0.0038695
673 | 11.379 | 8.929 | 0.0039582
673.5 | 12.173 | 9.723 | 0.0043101
674 | 13.018 | 10.568 | 0.0046847
674.5 | 13.678 | 11.228 | 0.0049773
675 | 14.14 | 11.69 | 0.0051821
675.5 | 14.268 | 11.818 | 0.0052388
676 | 14.122 | 11.672 | 0.0051741
676.5 | 14.094 | 11.644 | 0.0051617
677 | 14.271 | 11.821 | 0.0052402
677.5 | 14.901 | 12.451 | 0.0055194
678 | 15.446 | 12.996 | 0.005761
678.5 | 15.807 | 13.357 | 0.005921
679 | 16.08 | 13.63 | 0.0060421
679.5 | 16.631 | 14.181 | 0.0062863
680 | 17.495 | 15.045 | 0.0066693
680.5 | 18.368 | 15.918 | 0.0070563
681 | 19.5 | 17.05 | 0.0075581
681.5 | 20.463 | 18.013 | 0.007985
682 | 21.488 | 19.038 | 0.0084394
682.5 | 22.277 | 19.827 | 0.0087891
683 | 23.134 | 20.684 | 0.009169
683.5 | 24.018 | 21.568 | 0.0095609
684 | 24.931 | 22.481 | 0.0099656
684.5 | 25.647 | 23.197 | 0.010283
685 | 26.292 | 23.842 | 0.010569
685.5 | 27.222 | 24.772 | 0.010981
686 | 28.33 | 25.88 | 0.011472
686.5 | 29.626 | 27.176 | 0.012047
687 | 30.615 | 28.165 | 0.012485
687.5 | 31.412 | 28.962 | 0.012839
688 | 32.205 | 29.755 | 0.01319
688.5 | 33.054 | 30.604 | 0.013567
689 | 34.202 | 31.752 | 0.014075
689.5 | 35.686 | 33.236 | 0.014733
690 | 37.229 | 34.779 | 0.015417
690.5 | 38.894 | 36.444 | 0.016155
691 | 40.255 | 37.805 | 0.016759
691.5 | 41.315 | 38.865 | 0.017229
692 | 42.716 | 40.266 | 0.01785
692.5 | 44.319 | 41.869 | 0.01856
693 | 46.347 | 43.897 | 0.019459
693.5 | 48.641 | 46.191 | 0.020476
694 | 50.839 | 48.389 | 0.02145
694.5 | 53.021 | 50.571 | 0.022418
695 | 55.041 | 52.591 | 0.023313
695.5 | 56.695 | 54.245 | 0.024046
696 | 58.766 | 56.316 | 0.024964
696.5 | 60.869 | 58.419 | 0.025897
697 | 62.853 | 60.403 | 0.026776
697.5 | 65.06 | 62.61 | 0.027755
698 | 67.39 | 64.94 | 0.028787
698.5 | 69.287 | 66.837 | 0.029628
699 | 71.33 | 68.88 | 0.030534
699.5 | 73.342 | 70.892 | 0.031426
700 | 75.605 | 73.155 | 0.032429
700.5 | 78.216 | 75.766 | 0.033586
701 | 80.815 | 78.365 | 0.034739
701.5 | 84.134 | 81.684 | 0.03621
702 | 87.913 | 85.463 | 0.037885
702.5 | 91.757 | 89.307 | 0.039589
703 | 95.59 | 93.14 | 0.041288
703.5 | 99.553 | 97.103 | 0.043045
704 | 103.54 | 101.09 | 0.044812
704.5 | 107.46 | 105.01 | 0.04655
705 | 111.65 | 109.2 | 0.048407
705.5 | 116.35 | 113.9 | 0.050491
706 | 121.18 | 118.73 | 0.052632
706.5 | 125.72 | 123.27 | 0.054645
707 | 129.86 | 127.41 | 0.05648
707.5 | 134.02 | 131.57 | 0.058324
708 | 138.31 | 135.86 | 0.060226
708.5 | 143.15 | 140.7 | 0.062371
709 | 148.5 | 146.05 | 0.064743
709.5 | 154.15 | 151.7 | 0.067247
710 | 159.74 | 157.29 | 0.069725
710.5 | 165.32 | 162.87 | 0.072199
711 | 171.26 | 168.81 | 0.074832
711.5 | 178.31 | 175.86 | 0.077957
712 | 186.1 | 183.65 | 0.081411
712.5 | 193.98 | 191.53 | 0.084904
713 | 202.16 | 199.71 | 0.08853
713.5 | 210.46 | 208.01 | 0.092209
714 | 218.47 | 216.02 | 0.09576
714.5 | 226.54 | 224.09 | 0.099337
715 | 234.42 | 231.97 | 0.10283
715.5 | 242.23 | 239.78 | 0.10629
716 | 249.98 | 247.53 | 0.10973
716.5 | 257.21 | 254.76 | 0.11293
717 | 265.2 | 262.75 | 0.11647
717.5 | 274.18 | 271.73 | 0.12046
718 | 283.41 | 280.96 | 0.12455
718.5 | 293.22 | 290.77 | 0.1289
719 | 303.54 | 301.09 | 0.13347
719.5 | 314.54 | 312.09 | 0.13835
720 | 326.35 | 323.9 | 0.14358
720.5 | 338.65 | 336.2 | 0.14903
721 | 351.61 | 349.16 | 0.15478
721.5 | 364.84 | 362.39 | 0.16064
722 | 377.61 | 375.16 | 0.16631
722.5 | 389.89 | 387.44 | 0.17175
723 | 401.82 | 399.37 | 0.17704
723.5 | 413.3 | 410.85 | 0.18213
724 | 424.53 | 422.08 | 0.1871
724.5 | 435.62 | 433.17 | 0.19202
725 | 447.41 | 444.96 | 0.19725
725.5 | 459.29 | 456.84 | 0.20251
726 | 471.11 | 468.66 | 0.20775
726.5 | 483.37 | 480.92 | 0.21319
727 | 496.34 | 493.89 | 0.21894
727.5 | 509.93 | 507.48 | 0.22496
728 | 525.14 | 522.69 | 0.2317
728.5 | 542.36 | 539.91 | 0.23934
729 | 561.02 | 558.57 | 0.24761
729.5 | 580.23 | 577.78 | 0.25613
730 | 599.86 | 597.41 | 0.26483
730.5 | 620.95 | 618.5 | 0.27418
731 | 643.37 | 640.92 | 0.28411
731.5 | 666.89 | 664.44 | 0.29454
732 | 691.34 | 688.89 | 0.30538
732.5 | 715.96 | 713.51 | 0.31629
733 | 738.96 | 736.51 | 0.32649
733.5 | 760.56 | 758.11 | 0.33606
734 | 780.95 | 778.5 | 0.3451
734.5 | 800.9 | 798.45 | 0.35395
735 | 820.3 | 817.85 | 0.36255
735.5 | 839.05 | 836.6 | 0.37086
736 | 857 | 854.55 | 0.37882
736.5 | 874.87 | 872.42 | 0.38674
737 | 892.53 | 890.08 | 0.39457
737.5 | 911.42 | 908.97 | 0.40294
738 | 932.85 | 930.4 | 0.41244
738.5 | 956.94 | 954.49 | 0.42312
739 | 983.61 | 981.16 | 0.43494
739.5 | 1012.6 | 1010.15 | 0.44779
740 | 1043.7 | 1041.25 | 0.46158
740.5 | 1076.8 | 1074.35 | 0.47625
741 | 1111.6 | 1109.15 | 0.49168
741.5 | 1148.6 | 1146.15 | 0.50808
742 | 1187.6 | 1185.15 | 0.52537
742.5 | 1227.3 | 1224.85 | 0.54297
743 | 1266.6 | 1264.15 | 0.56039
743.5 | 1305.3 | 1302.85 | 0.57754
744 | 1343.1 | 1340.65 | 0.5943
744.5 | 1380 | 1377.55 | 0.61066
745 | 1416.1 | 1413.65 | 0.62666
745.5 | 1451.1 | 1448.65 | 0.64217
746 | 1483.9 | 1481.45 | 0.65671
746.5 | 1514.9 | 1512.45 | 0.67046
747 | 1544.5 | 1542.05 | 0.68358
747.5 | 1574.2 | 1571.75 | 0.69674
748 | 1603.9 | 1601.45 | 0.70991
748.5 | 1634.4 | 1631.95 | 0.72343
749 | 1665.6 | 1663.15 | 0.73726
749.5 | 1697.3 | 1694.85 | 0.75131
750 | 1729.4 | 1726.95 | 0.76554
750.5 | 1761.2 | 1758.75 | 0.77964
751 | 1793.1 | 1790.65 | 0.79378
751.5 | 1825.4 | 1822.95 | 0.8081
752 | 1859 | 1856.55 | 0.82299
752.5 | 1894.5 | 1892.05 | 0.83873
753 | 1932.1 | 1929.65 | 0.8554
753.5 | 1970.2 | 1967.75 | 0.87229
754 | 2008.1 | 2005.65 | 0.88909
754.5 | 2044.4 | 2041.95 | 0.90518
755 | 2078.6 | 2076.15 | 0.92034
755.5 | 2110 | 2107.55 | 0.93426
756 | 2139 | 2136.55 | 0.94712
756.5 | 2164.9 | 2162.45 | 0.9586
757 | 2187.6 | 2185.15 | 0.96866
757.5 | 2206.3 | 2203.85 | 0.97695
758 | 2219.8 | 2217.35 | 0.98293
758.5 | 2229.6 | 2227.15 | 0.98728
759 | 2236.8 | 2234.35 | 0.99047
759.5 | 2242.9 | 2240.45 | 0.99317
760 | 2248.7 | 2246.25 | 0.99574
760.5 | 2254.2 | 2251.75 | 0.99818
761 | 2257.7 | 2255.25 | 0.99973
761.5 | 2258.3 | 2255.85 | 1
762 | 2254.7 | 2252.25 | 0.9984
762.5 | 2246.9 | 2244.45 | 0.99495
763 | 2234.2 | 2231.75 | 0.98932
763.5 | 2215.6 | 2213.15 | 0.98107
764 | 2191.7 | 2189.25 | 0.97048
764.5 | 2163 | 2160.55 | 0.95775
765 | 2126.8 | 2124.35 | 0.94171
765.5 | 2081.7 | 2079.25 | 0.92171
766 | 2026.3 | 2023.85 | 0.89716
766.5 | 1959.9 | 1957.45 | 0.86772
767 | 1883.9 | 1881.45 | 0.83403
767.5 | 1800.1 | 1797.65 | 0.79688
768 | 1709.2 | 1706.75 | 0.75659
768.5 | 1613 | 1610.55 | 0.71394
769 | 1512 | 1509.55 | 0.66917
769.5 | 1408.5 | 1406.05 | 0.62329
770 | 1306 | 1303.55 | 0.57785
770.5 | 1207.3 | 1204.85 | 0.5341
771 | 1113.3 | 1110.85 | 0.49243
771.5 | 1025.4 | 1022.95 | 0.45347
772 | 943.32 | 940.87 | 0.41708
772.5 | 867.29 | 864.84 | 0.38338
773 | 796.67 | 794.22 | 0.35207
773.5 | 731.65 | 729.2 | 0.32325
774 | 671.91 | 669.46 | 0.29677
774.5 | 617.33 | 614.88 | 0.27257
775 | 566.79 | 564.34 | 0.25017
775.5 | 520.5 | 518.05 | 0.22965
776 | 478.06 | 475.61 | 0.21083
776.5 | 439.45 | 437 | 0.19372
777 | 404.39 | 401.94 | 0.17818
777.5 | 372.39 | 369.94 | 0.16399
778 | 342.51 | 340.06 | 0.15075
778.5 | 314.85 | 312.4 | 0.13848
779 | 288.68 | 286.23 | 0.12688
779.5 | 264.22 | 261.77 | 0.11604
780 | 241.81 | 239.36 | 0.10611
780.5 | 221.65 | 219.2 | 0.09717
781 | 203.55 | 201.1 | 0.089146
781.5 | 186.77 | 184.32 | 0.081708
782 | 171.25 | 168.8 | 0.074828
782.5 | 157.52 | 155.07 | 0.068741
783 | 144.81 | 142.36 | 0.063107
783.5 | 133.67 | 131.22 | 0.058169
784 | 123.75 | 121.3 | 0.053771
784.5 | 114.59 | 112.14 | 0.049711
785 | 105.62 | 103.17 | 0.045734
785.5 | 97.376 | 94.926 | 0.04208
786 | 90.416 | 87.966 | 0.038995
786.5 | 84.652 | 82.202 | 0.036439
787 | 79.421 | 76.971 | 0.034121
787.5 | 74.95 | 72.5 | 0.032139
788 | 70.6 | 68.15 | 0.03021
788.5 | 66.197 | 63.747 | 0.028259
789 | 61.984 | 59.534 | 0.026391
789.5 | 58.473 | 56.023 | 0.024835
790 | 55.356 | 52.906 | 0.023453
790.5 | 52.523 | 50.073 | 0.022197
791 | 49.51 | 47.06 | 0.020861
791.5 | 46.433 | 43.983 | 0.019497
792 | 43.455 | 41.005 | 0.018177
792.5 | 40.521 | 38.071 | 0.016877
793 | 37.991 | 35.541 | 0.015755
793.5 | 35.747 | 33.297 | 0.01476
794 | 33.791 | 31.341 | 0.013893
794.5 | 31.672 | 29.222 | 0.012954
795 | 29.574 | 27.124 | 0.012024
795.5 | 27.764 | 25.314 | 0.011221
796 | 26.034 | 23.584 | 0.010455
796.5 | 24.52 | 22.07 | 0.0097835
797 | 23.111 | 20.661 | 0.0091589
797.5 | 21.945 | 19.495 | 0.008642
798 | 20.756 | 18.306 | 0.0081149
798.5 | 19.966 | 17.516 | 0.0077647
799 | 19.533 | 17.083 | 0.0075728
799.5 | 18.875 | 16.425 | 0.0072811
800 | 18.148 | 15.698 | 0.0069588
800.5 | 17.764 | 15.314 | 0.0067886
801 | 17.016 | 14.566 | 0.006457
801.5 | 16.213 | 13.763 | 0.006101
802 | 15.552 | 13.102 | 0.005808
802.5 | 15.116 | 12.666 | 0.0056147
803 | 14.294 | 11.844 | 0.0052503
803.5 | 13.327 | 10.877 | 0.0048217
804 | 12.77 | 10.32 | 0.0045748
804.5 | 12.28 | 9.83 | 0.0043576
805 | 11.629 | 9.179 | 0.004069
805.5 | 11.015 | 8.565 | 0.0037968
806 | 10.609 | 8.159 | 0.0036168
806.5 | 10.087 | 7.637 | 0.0033854
807 | 9.2253 | 6.7753 | 0.0030034
807.5 | 8.1767 | 5.7267 | 0.0025386
808 | 7.5961 | 5.1461 | 0.0022812
808.5 | 7.0913 | 4.6413 | 0.0020575
809 | 6.5265 | 4.0765 | 0.0018071
809.5 | 6.1185 | 3.6685 | 0.0016262
810 | 6.035 | 3.585 | 0.0015892
810.5 | 5.6035 | 3.1535 | 0.0013979
811 | 5.3787 | 2.9287 | 0.0012983
811.5 | 5.6745 | 3.2245 | 0.0014294
812 | 5.7407 | 3.2907 | 0.0014587
812.5 | 5.4553 | 3.0053 | 0.0013322
813 | 5.3069 | 2.8569 | 0.0012664
813.5 | 5.4076 | 2.9576 | 0.0013111
814 | 5.669 | 3.219 | 0.001427
814.5 | 5.9533 | 3.5033 | 0.001553
815 | 6.3089 | 3.8589 | 0.0017106
815.5 | 6.5503 | 4.1003 | 0.0018176
816 | 6.5191 | 4.0691 | 0.0018038
816.5 | 6.8149 | 4.3649 | 0.0019349
817 | 7.1152 | 4.6652 | 0.002068
817.5 | 6.9713 | 4.5213 | 0.0020043
818 | 7.1206 | 4.6706 | 0.0020704
818.5 | 6.8846 | 4.4346 | 0.0019658
819 | 6.7542 | 4.3042 | 0.001908
819.5 | 6.3538 | 3.9038 | 0.0017305
820 | 6.0642 | 3.6142 | 0.0016021
820.5 | 6.0467 | 3.5967 | 0.0015944
821 | 5.9089 | 3.4589 | 0.0015333
821.5 | 5.5751 | 3.1251 | 0.0013853
822 | 5.374 | 2.924 | 0.0012962
822.5 | 5.1595 | 2.7095 | 0.0012011
823 | 4.8936 | 2.4436 | 0.0010832
823.5 | 4.6279 | 2.1779 | 0.00096545
824 | 4.4936 | 2.0436 | 0.00090591
824.5 | 4.0247 | 1.5747 | 0.00069805
825 | 3.6073 | 1.1573 | 0.00051302
825.5 | 3.513 | 1.063 | 0.00047122
826 | 3.5251 | 1.0751 | 0.00047658
826.5 | 3.3675 | 0.9175 | 0.00040672
827 | 3.2136 | 0.7636 | 0.0003385
827.5 | 3.0227 | 0.5727 | 0.00025387
828 | 3.0054 | 0.5554 | 0.0002462
828.5 | 2.8035 | 0.3535 | 0.0001567
829 | 2.6694 | 0.2194 | 9.7258e-05
829.5 | 2.4235 | 0 | 0
830 | 2.3298 | 0 | 0
830.5 | 2.2056 | 0 | 0
831 | 2.0125 | 0 | 0
831.5 | 1.591 | 0 | 0
832 | 1.121 | 0 | 0
832.5 | 0.96718 | 0 | 0
833 | 1.1473 | 0 | 0
833.5 | 1.0628 | 0 | 0
834 | 0.82716 | 0 | 0
834.5 | 0.4804 | 0 | 0
835 | 0.034932 | 0 | 0
835.5 | 0.0070979 | 0 | 0
836 | 0.232 | 0 | 0
836.5 | 0.35659 | 0 | 0
837 | 0.69494 | 0 | 0
837.5 | 1.2617 | 0 | 0
838 | 1.7274 | 0 | 0
838.5 | 1.8184 | 0 | 0
839 | 2.1479 | 0 | 0
839.5 | 2.2713 | 0 | 0
840 | 2.1519 | 0 | 0
840.5 | 2.1011 | 0 | 0
841 | 1.9784 | 0 | 0
841.5 | 1.5971 | 0 | 0
842 | 1.3234 | 0 | 0
842.5 | 1.3493 | 0 | 0
843 | 1.5606 | 0 | 0
843.5 | 1.6113 | 0 | 0
844 | 2.031 | 0 | 0
844.5 | 2.6882 | 0.2382 | 0.00010559
845 | 3.197 | 0.747 | 0.00033114
845.5 | 3.167 | 0.717 | 0.00031784
846 | 3.1395 | 0.6895 | 0.00030565
846.5 | 3.0567 | 0.6067 | 0.00026895
847 | 2.9902 | 0.5402 | 0.00023947
847.5 | 3.1217 | 0.6717 | 0.00029776
848 | 3.3245 | 0.8745 | 0.00038766
848.5 | 3.12 | 0.67 | 0.00029701
849 | 2.8682 | 0.4182 | 0.00018538
849.5 | 2.8157 | 0.3657 | 0.00016211
850 | 2.8541 | 0.4041 | 0.00017913
850.5 | 3.1355 | 0.6855 | 0.00030388
851 | 3.5227 | 1.0727 | 0.00047552
851.5 | 3.4241 | 0.9741 | 0.00043181
852 | 2.8776 | 0.4276 | 0.00018955
852.5 | 2.5692 | 0.1192 | 5.284e-05
853 | 2.3892 | 0 | 0
853.5 | 2.2731 | 0 | 0
854 | 2.0841 | 0 | 0
854.5 | 1.7597 | 0 | 0
855 | 1.0265 | 0 | 0
855.5 | 0.34295 | 0 | 0
856 | -0.082846 | 0 | 0
856.5 | -0.21502 | 0 | 0
857 | -0.43486 | 0 | 0
857.5 | -0.66197 | 0 | 0
858 | -0.87619 | 0 | 0
858.5 | -1.1898 | 0 | 0
859 | -1.5423 | 0 | 0
859.5 | -1.7186 | 0 | 0
860 | -1.4378 | 0 | 0
860.5 | -1.2803 | 0 | 0
861 | -1.0768 | 0 | 0
861.5 | -0.95397 | 0 | 0
862 | -0.83115 | 0 | 0
862.5 | -0.71872 | 0 | 0
863 | -0.20581 | 0 | 0
863.5 | 0.49955 | 0 | 0
864 | 0.97161 | 0 | 0
864.5 | 0.87934 | 0 | 0
865 | 0.59994 | 0 | 0
865.5 | 0.60778 | 0 | 0
866 | 0.61058 | 0 | 0
866.5 | 0.71986 | 0 | 0
867 | 0.57144 | 0 | 0
867.5 | 0.51483 | 0 | 0
868 | 0.37547 | 0 | 0
868.5 | 0.60917 | 0 | 0
869 | 0.62353 | 0 | 0
869.5 | 0.57066 | 0 | 0
870 | 0.26892 | 0 | 0
870.5 | 0.28281 | 0 | 0
871 | 0.68591 | 0 | 0
871.5 | 1.0774 | 0 | 0
872 | 1.3018 | 0 | 0
872.5 | 1.1625 | 0 | 0
873 | 1.1397 | 0 | 0
873.5 | 1.4216 | 0 | 0
874 | 2.0721 | 0 | 0
874.5 | 2.564 | 0.114 | 5.0535e-05
875 | 2.5492 | 0.0992 | 4.3975e-05
875.5 | 2.1562 | 0 | 0
876 | 1.9395 | 0 | 0
876.5 | 1.7989 | 0 | 0
877 | 1.7704 | 0 | 0
877.5 | 1.7199 | 0 | 0
878 | 1.9369 | 0 | 0
878.5 | 1.2673 | 0 | 0
879 | 0.29478 | 0 | 0
879.5 | -0.65841 | 0 | 0
880 | -1.0143 | 0 | 0
880.5 | -0.58855 | 0 | 0
881 | -0.23454 | 0 | 0
881.5 | -0.19454 | 0 | 0
882 | -1.0264 | 0 | 0
882.5 | -0.86914 | 0 | 0
883 | -0.21198 | 0 | 0
883.5 | 2.0723 | 0 | 0
884 | -0.95576 | 0 | 0
884.5 | -1.4667 | 0 | 0
885 | 14.377 | 11.927 | 0.0052871
885.5 | 6.5265 | 4.0765 | 0.0018071
886 | -25.804 | 0 | 0
886.5 | 4.6847 | 2.2347 | 0.00099062