## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
380 | 4.7917 | 0 | 0
380.5 | 8.1125 | 0 | 0
381 | 16.8729 | 8.7603 | 0.00018337
381.5 | 24.251 | 16.1385 | 0.00033782
382 | 23.9911 | 15.8786 | 0.00033238
382.5 | 17.7243 | 9.6118 | 0.0002012
383 | 19.9817 | 11.8692 | 0.00024845
383.5 | 26.6238 | 18.5113 | 0.00038748
384 | 25.4208 | 17.3083 | 0.0003623
384.5 | 25.3239 | 17.2114 | 0.00036027
385 | 27.3765 | 19.264 | 0.00040324
385.5 | 29.2509 | 21.1384 | 0.00044248
386 | 42.574 | 34.4615 | 0.00072136
386.5 | 35.8388 | 27.7263 | 0.00058038
387 | 27.4029 | 19.2904 | 0.00040379
387.5 | 11.6604 | 3.5479 | 7.4266e-05
388 | 2.7342 | 0 | 0
388.5 | 9.3573 | 1.2447 | 2.6055e-05
389 | 23.0593 | 14.9468 | 0.00031287
389.5 | 37.1206 | 29.0081 | 0.00060721
390 | 39.5718 | 31.4593 | 0.00065852
390.5 | 38.7738 | 30.6612 | 0.00064181
391 | 42.7192 | 34.6067 | 0.0007244
391.5 | 46.2116 | 38.0991 | 0.0007975
392 | 40.455 | 32.3425 | 0.000677
392.5 | 30.6655 | 22.553 | 0.00047209
393 | 19.4807 | 11.3682 | 0.00023796
393.5 | 30.8519 | 22.7394 | 0.00047599
394 | 44.6107 | 36.4982 | 0.00076399
394.5 | 52.8124 | 44.6998 | 0.00093567
395 | 54.0124 | 45.8999 | 0.00096079
395.5 | 51.4909 | 43.3784 | 0.00090801
396 | 59.4583 | 51.3458 | 0.0010748
396.5 | 62.3699 | 54.2574 | 0.0011357
397 | 63.9777 | 55.8652 | 0.0011694
397.5 | 56.4125 | 48.3 | 0.001011
398 | 51.3744 | 43.2619 | 0.00090557
398.5 | 59.8592 | 51.7467 | 0.0010832
399 | 65.8152 | 57.7027 | 0.0012079
399.5 | 64.2891 | 56.1765 | 0.0011759
400 | 61.8936 | 53.781 | 0.0011258
400.5 | 55.1529 | 47.0404 | 0.00098466
401 | 51.3497 | 43.2372 | 0.00090506
401.5 | 50.0538 | 41.9413 | 0.00087793
402 | 44.1535 | 36.041 | 0.00075442
402.5 | 43.8142 | 35.7017 | 0.00074732
403 | 51.7084 | 43.5959 | 0.00091256
403.5 | 60.6685 | 52.556 | 0.0011001
404 | 76.4107 | 68.2982 | 0.0014296
404.5 | 89.138 | 81.0255 | 0.0016961
405 | 95.6812 | 87.5687 | 0.001833
405.5 | 114.2243 | 106.1118 | 0.0022212
406 | 125.1401 | 117.0276 | 0.0024497
406.5 | 152.7664 | 144.6539 | 0.0030279
407 | 169.439 | 161.3265 | 0.0033769
407.5 | 183.6815 | 175.569 | 0.0036751
408 | 203.2564 | 195.1439 | 0.0040848
408.5 | 229.4482 | 221.3357 | 0.0046331
409 | 264.1826 | 256.0701 | 0.0053601
409.5 | 290.1107 | 281.9982 | 0.0059029
410 | 313.8501 | 305.7376 | 0.0063998
410.5 | 341.2382 | 333.1257 | 0.0069731
411 | 373.6396 | 365.5271 | 0.0076513
411.5 | 411.0234 | 402.9108 | 0.0084339
412 | 453.3699 | 445.2574 | 0.0093203
412.5 | 497.3979 | 489.2854 | 0.010242
413 | 567.2252 | 559.1127 | 0.011704
413.5 | 627.4578 | 619.3453 | 0.012964
414 | 701.3732 | 693.2607 | 0.014512
414.5 | 788.4714 | 780.3589 | 0.016335
415 | 878.945 | 870.8325 | 0.018229
415.5 | 983.2129 | 975.1004 | 0.020411
416 | 1063.0355 | 1054.9229 | 0.022082
416.5 | 1156.721 | 1148.6084 | 0.024043
417 | 1264.112 | 1255.9995 | 0.026291
417.5 | 1387.1927 | 1379.0802 | 0.028867
418 | 1532.0027 | 1523.8902 | 0.031899
418.5 | 1704.9686 | 1696.8561 | 0.035519
419 | 1902.3116 | 1894.1991 | 0.03965
419.5 | 2112.5575 | 2104.445 | 0.044051
420 | 2313.7686 | 2305.6561 | 0.048263
420.5 | 2532.8255 | 2524.7129 | 0.052848
421 | 2772.72 | 2764.6075 | 0.05787
421.5 | 3033.5808 | 3025.4683 | 0.06333
422 | 3325.7174 | 3317.6049 | 0.069445
422.5 | 3631.1984 | 3623.0859 | 0.07584
423 | 3996.6803 | 3988.5678 | 0.08349
423.5 | 4352.8752 | 4344.7627 | 0.090946
424 | 4699.6655 | 4691.553 | 0.098205
424.5 | 5066.1954 | 5058.0829 | 0.10588
425 | 5484.5033 | 5476.3908 | 0.11463
425.5 | 5961.0692 | 5952.9567 | 0.12461
426 | 6507.3161 | 6499.2036 | 0.13604
426.5 | 7023.6831 | 7015.5706 | 0.14685
427 | 7558.0483 | 7549.9358 | 0.15804
427.5 | 8141.9521 | 8133.8395 | 0.17026
428 | 8784.9521 | 8776.8396 | 0.18372
428.5 | 9481.9417 | 9473.8292 | 0.19831
429 | 10244.2209 | 10236.1084 | 0.21427
429.5 | 10962.9357 | 10954.8232 | 0.22931
430 | 11779.434 | 11771.3215 | 0.2464
430.5 | 12593.382 | 12585.2695 | 0.26344
431 | 13431.3036 | 13423.1911 | 0.28098
431.5 | 14310.6583 | 14302.5458 | 0.29939
432 | 15162.4853 | 15154.3728 | 0.31722
432.5 | 16123.8312 | 16115.7187 | 0.33734
433 | 17047.4379 | 17039.3254 | 0.35667
433.5 | 18010.2616 | 18002.1491 | 0.37683
434 | 18942.4362 | 18934.3237 | 0.39634
434.5 | 19907.7801 | 19899.6676 | 0.41655
435 | 21002.9998 | 20994.8873 | 0.43947
435.5 | 22161.1741 | 22153.0616 | 0.46372
436 | 23252.5886 | 23244.4761 | 0.48656
436.5 | 24337.0136 | 24328.901 | 0.50926
437 | 25408.7574 | 25400.6449 | 0.53169
437.5 | 26533.5208 | 26525.4083 | 0.55524
438 | 27748.5919 | 27740.4794 | 0.58067
438.5 | 29009.9936 | 29001.8811 | 0.60708
439 | 30157.6908 | 30149.5783 | 0.6311
439.5 | 31432.3861 | 31424.2736 | 0.65778
440 | 32521.2659 | 32513.1534 | 0.68058
440.5 | 33651.4651 | 33643.3526 | 0.70423
441 | 34841.0047 | 34832.8921 | 0.72913
441.5 | 36042.2541 | 36034.1416 | 0.75428
442 | 37239.0865 | 37230.974 | 0.77933
442.5 | 38359.9012 | 38351.7887 | 0.80279
443 | 39450.4864 | 39442.3739 | 0.82562
443.5 | 40590.5439 | 40582.4314 | 0.84948
444 | 41760.6843 | 41752.5718 | 0.87398
444.5 | 42864.6478 | 42856.5353 | 0.89709
445 | 43841.8016 | 43833.6891 | 0.91754
445.5 | 44760.0927 | 44751.9802 | 0.93676
446 | 45610.8457 | 45602.7332 | 0.95457
446.5 | 46357.8933 | 46349.7808 | 0.97021
447 | 46964.9426 | 46956.8301 | 0.98292
447.5 | 47369.1393 | 47361.0268 | 0.99138
448 | 47621.2643 | 47613.1518 | 0.99665
448.5 | 47781.112 | 47772.9995 | 1
449 | 47700.8746 | 47692.7621 | 0.99832
449.5 | 47344.9449 | 47336.8324 | 0.99087
450 | 46729.5595 | 46721.447 | 0.97799
450.5 | 45940.6317 | 45932.5191 | 0.96147
451 | 45054.5193 | 45046.4068 | 0.94293
451.5 | 44069.5003 | 44061.3878 | 0.92231
452 | 42940.3709 | 42932.2584 | 0.89867
452.5 | 41751.1888 | 41743.0763 | 0.87378
453 | 40397.219 | 40389.1065 | 0.84544
453.5 | 38936.1503 | 38928.0378 | 0.81485
454 | 37316.3468 | 37308.2343 | 0.78095
454.5 | 35636.6812 | 35628.5687 | 0.74579
455 | 33965.9389 | 33957.8264 | 0.71082
455.5 | 32271.3844 | 32263.2719 | 0.67535
456 | 30698.7355 | 30690.623 | 0.64243
456.5 | 29108.7749 | 29100.6624 | 0.60914
457 | 27664.4197 | 27656.3072 | 0.57891
457.5 | 26363.8347 | 26355.7222 | 0.55169
458 | 25170.0038 | 25161.8913 | 0.5267
458.5 | 24057.3124 | 24049.1999 | 0.50341
459 | 23029.5758 | 23021.4633 | 0.48189
459.5 | 22001.9449 | 21993.8324 | 0.46038
460 | 21117.7786 | 21109.6661 | 0.44187
460.5 | 20311.223 | 20303.1105 | 0.42499
461 | 19549.5928 | 19541.4803 | 0.40905
461.5 | 18850.5034 | 18842.3909 | 0.39442
462 | 18223.9687 | 18215.8562 | 0.3813
462.5 | 17596.051 | 17587.9385 | 0.36816
463 | 17063.2815 | 17055.169 | 0.357
463.5 | 16493.5735 | 16485.461 | 0.34508
464 | 15940.4225 | 15932.31 | 0.3335
464.5 | 15401.6969 | 15393.5844 | 0.32222
465 | 14862.9354 | 14854.8229 | 0.31095
465.5 | 14339.67 | 14331.5575 | 0.29999
466 | 13927.0189 | 13918.9064 | 0.29136
466.5 | 13483.6838 | 13475.5713 | 0.28208
467 | 13091.9438 | 13083.8313 | 0.27388
467.5 | 12638.1145 | 12630.002 | 0.26438
468 | 12147.6908 | 12139.5783 | 0.25411
468.5 | 11657.9774 | 11649.8649 | 0.24386
469 | 11177.6287 | 11169.5162 | 0.2338
469.5 | 10762.1536 | 10754.0411 | 0.22511
470 | 10398.0516 | 10389.9391 | 0.21749
470.5 | 10014.4854 | 10006.3729 | 0.20946
471 | 9624.7033 | 9616.5908 | 0.2013
471.5 | 9234.9544 | 9226.8419 | 0.19314
472 | 8853.2071 | 8845.0946 | 0.18515
472.5 | 8486.685 | 8478.5725 | 0.17748
473 | 8096.9601 | 8088.8476 | 0.16932
473.5 | 7759.1561 | 7751.0436 | 0.16225
474 | 7464.4256 | 7456.3131 | 0.15608
474.5 | 7211.8352 | 7203.7227 | 0.15079
475 | 6980.266 | 6972.1535 | 0.14594
475.5 | 6736.9695 | 6728.8569 | 0.14085
476 | 6460.4562 | 6452.3437 | 0.13506
476.5 | 6220.7736 | 6212.6611 | 0.13005
477 | 5993.5159 | 5985.4034 | 0.12529
477.5 | 5801.3382 | 5793.2257 | 0.12127
478 | 5616.4417 | 5608.3292 | 0.1174
478.5 | 5441.9166 | 5433.8041 | 0.11374
479 | 5290.5893 | 5282.4768 | 0.11057
479.5 | 5150.7168 | 5142.6042 | 0.10765
480 | 5008.1311 | 5000.0186 | 0.10466
480.5 | 4867.471 | 4859.3585 | 0.10172
481 | 4722.3637 | 4714.2512 | 0.09868
481.5 | 4606.1155 | 4598.003 | 0.096247
482 | 4509.5265 | 4501.414 | 0.094225
482.5 | 4402.1616 | 4394.0491 | 0.091978
483 | 4283.2222 | 4275.1096 | 0.089488
483.5 | 4153.2286 | 4145.1161 | 0.086767
484 | 4048.7858 | 4040.6733 | 0.084581
484.5 | 3955.8086 | 3947.6961 | 0.082634
485 | 3888.1011 | 3879.9886 | 0.081217
485.5 | 3838.0878 | 3829.9753 | 0.08017
486 | 3795.2808 | 3787.1683 | 0.079274
486.5 | 3788.9855 | 3780.873 | 0.079142
487 | 3701.0799 | 3692.9674 | 0.077302
487.5 | 3629.1627 | 3621.0502 | 0.075797
488 | 3566.0169 | 3557.9044 | 0.074475
488.5 | 3537.0298 | 3528.9173 | 0.073868
489 | 3539.3832 | 3531.2707 | 0.073918
489.5 | 3539.3166 | 3531.2041 | 0.073916
490 | 3508.9195 | 3500.807 | 0.07328
490.5 | 3468.7696 | 3460.6571 | 0.07244
491 | 3470.9764 | 3462.8639 | 0.072486
491.5 | 3486.1462 | 3478.0337 | 0.072803
492 | 3510.1104 | 3501.9979 | 0.073305
492.5 | 3536.4083 | 3528.2958 | 0.073855
493 | 3567.4566 | 3559.3441 | 0.074505
493.5 | 3660.0429 | 3651.9304 | 0.076443
494 | 3741.5203 | 3733.4078 | 0.078149
494.5 | 3821.1426 | 3813.0301 | 0.079816
495 | 3894.8392 | 3886.7266 | 0.081358
495.5 | 3967.9018 | 3959.7893 | 0.082888
496 | 4039.6793 | 4031.5668 | 0.08439
496.5 | 4107.9592 | 4099.8467 | 0.085819
497 | 4196.9841 | 4188.8716 | 0.087683
497.5 | 4306.8882 | 4298.7757 | 0.089983
498 | 4432.163 | 4424.0505 | 0.092606
498.5 | 4552.9343 | 4544.8217 | 0.095134
499 | 4681.849 | 4673.7365 | 0.097832
499.5 | 4823.7972 | 4815.6847 | 0.1008
500 | 4964.3792 | 4956.2667 | 0.10375
500.5 | 5098.0226 | 5089.9101 | 0.10654
501 | 5274.1128 | 5266.0003 | 0.11023
501.5 | 5459.9578 | 5451.8452 | 0.11412
502 | 5652.2823 | 5644.1698 | 0.11815
502.5 | 5827.3778 | 5819.2653 | 0.12181
503 | 5993.0091 | 5984.8966 | 0.12528
503.5 | 6190.2093 | 6182.0968 | 0.12941
504 | 6416.2917 | 6408.1792 | 0.13414
504.5 | 6638.8885 | 6630.7759 | 0.1388
505 | 6856.3756 | 6848.2631 | 0.14335
505.5 | 7070.1517 | 7062.0392 | 0.14782
506 | 7281.2282 | 7273.1157 | 0.15224
506.5 | 7500.8379 | 7492.7254 | 0.15684
507 | 7741.0523 | 7732.9398 | 0.16187
507.5 | 7969.3439 | 7961.2314 | 0.16665
508 | 8223.2631 | 8215.1506 | 0.17196
508.5 | 8479.158 | 8471.0455 | 0.17732
509 | 8717.4752 | 8709.3627 | 0.18231
509.5 | 8978.4478 | 8970.3353 | 0.18777
510 | 9268.7551 | 9260.6426 | 0.19385
510.5 | 9554.989 | 9546.8765 | 0.19984
511 | 9918.6777 | 9910.5652 | 0.20745
511.5 | 10197.5424 | 10189.4299 | 0.21329
512 | 10472.3951 | 10464.2826 | 0.21904
512.5 | 10718.4757 | 10710.3632 | 0.22419
513 | 10994.7901 | 10986.6776 | 0.22998
513.5 | 11312.5506 | 11304.4381 | 0.23663
514 | 11613.8013 | 11605.6888 | 0.24293
514.5 | 11952.1827 | 11944.0702 | 0.25002
515 | 12176.6311 | 12168.5186 | 0.25472
515.5 | 12471.5989 | 12463.4864 | 0.26089
516 | 12771.9682 | 12763.8557 | 0.26718
516.5 | 13095.4991 | 13087.3866 | 0.27395
517 | 13441.0494 | 13432.9369 | 0.28118
517.5 | 13766.8664 | 13758.7539 | 0.288
518 | 14115.8193 | 14107.7067 | 0.29531
518.5 | 14488.2106 | 14480.0981 | 0.3031
519 | 14867.468 | 14859.3555 | 0.31104
519.5 | 15211.9243 | 15203.8118 | 0.31825
520 | 15518.6014 | 15510.4889 | 0.32467
520.5 | 15805.5833 | 15797.4708 | 0.33068
521 | 16093.0748 | 16084.9623 | 0.3367
521.5 | 16386.9669 | 16378.8544 | 0.34285
522 | 16679.9288 | 16671.8163 | 0.34898
522.5 | 16912.3646 | 16904.2521 | 0.35385
523 | 17110.8339 | 17102.7214 | 0.358
523.5 | 17268.5768 | 17260.4643 | 0.3613
524 | 17386.6954 | 17378.5828 | 0.36377
524.5 | 17477.6673 | 17469.5548 | 0.36568
525 | 17522.0807 | 17513.9682 | 0.36661
525.5 | 17552.5124 | 17544.3999 | 0.36725
526 | 17620.7511 | 17612.6386 | 0.36867
526.5 | 17672.8125 | 17664.7 | 0.36976
527 | 17708.4172 | 17700.3047 | 0.37051
527.5 | 17691.3727 | 17683.2602 | 0.37015
528 | 17576.5972 | 17568.4847 | 0.36775
528.5 | 17442.7932 | 17434.6807 | 0.36495
529 | 17268.8976 | 17260.7851 | 0.36131
529.5 | 17114.6982 | 17106.5857 | 0.35808
530 | 17010.652 | 17002.5395 | 0.3559
530.5 | 16943.7352 | 16935.6226 | 0.3545
531 | 16914.0835 | 16905.971 | 0.35388
531.5 | 16911.1617 | 16903.0492 | 0.35382
532 | 16841.9815 | 16833.869 | 0.35237
532.5 | 16733.6025 | 16725.49 | 0.3501
533 | 16596.4505 | 16588.338 | 0.34723
533.5 | 16504.0731 | 16495.9606 | 0.3453
534 | 16444.5355 | 16436.423 | 0.34405
534.5 | 16415.2014 | 16407.0889 | 0.34344
535 | 16422.0918 | 16413.9793 | 0.34358
535.5 | 16436.5914 | 16428.4789 | 0.34389
536 | 16462.5489 | 16454.4364 | 0.34443
536.5 | 16546.6468 | 16538.5343 | 0.34619
537 | 16610.9269 | 16602.8144 | 0.34754
537.5 | 16708.8169 | 16700.7044 | 0.34958
538 | 16786.7326 | 16778.62 | 0.35122
538.5 | 16796.9212 | 16788.8087 | 0.35143
539 | 16871.9705 | 16863.858 | 0.353
539.5 | 16911.1235 | 16903.011 | 0.35382
540 | 16989.9443 | 16981.8318 | 0.35547
540.5 | 17076.9371 | 17068.8246 | 0.35729
541 | 17123.0088 | 17114.8963 | 0.35825
541.5 | 17148.8798 | 17140.7673 | 0.3588
542 | 17179.7512 | 17171.6387 | 0.35944
542.5 | 17182.7625 | 17174.65 | 0.35951
543 | 17230.5292 | 17222.4167 | 0.36051
543.5 | 17290.8148 | 17282.7023 | 0.36177
544 | 17293.8172 | 17285.7047 | 0.36183
544.5 | 17258.736 | 17250.6235 | 0.3611
545 | 17213.6703 | 17205.5578 | 0.36015
545.5 | 17178.1953 | 17170.0828 | 0.35941
546 | 17157.4324 | 17149.3199 | 0.35898
546.5 | 17141.1976 | 17133.0851 | 0.35864
547 | 17128.9988 | 17120.8863 | 0.35838
547.5 | 17177.2045 | 17169.092 | 0.35939
548 | 17216.0567 | 17207.9442 | 0.3602
548.5 | 17213.5753 | 17205.4628 | 0.36015
549 | 17163.4786 | 17155.3661 | 0.3591
549.5 | 17086.9898 | 17078.8773 | 0.3575
550 | 17094.4504 | 17086.3379 | 0.35766
550.5 | 17124.6851 | 17116.5726 | 0.35829
551 | 17105.0463 | 17096.9338 | 0.35788
551.5 | 17083.6095 | 17075.497 | 0.35743
552 | 17047.3151 | 17039.2026 | 0.35667
552.5 | 17004.7482 | 16996.6357 | 0.35578
553 | 16988.9785 | 16980.866 | 0.35545
553.5 | 16969.3474 | 16961.2349 | 0.35504
554 | 16964.7534 | 16956.6409 | 0.35494
554.5 | 16989.2584 | 16981.1459 | 0.35545
555 | 16970.2463 | 16962.1338 | 0.35506
555.5 | 16927.3918 | 16919.2793 | 0.35416
556 | 16901.056 | 16892.9435 | 0.35361
556.5 | 16886.644 | 16878.5315 | 0.35331
557 | 16794.6931 | 16786.5806 | 0.35138
557.5 | 16645.2509 | 16637.1384 | 0.34825
558 | 16458.8206 | 16450.7081 | 0.34435
558.5 | 16410.0036 | 16401.8911 | 0.34333
559 | 16431.7701 | 16423.6576 | 0.34379
559.5 | 16441.3701 | 16433.2576 | 0.34399
560 | 16398.7216 | 16390.6091 | 0.34309
560.5 | 16310.0453 | 16301.9328 | 0.34124
561 | 16245.349 | 16237.2365 | 0.33988
561.5 | 16255.4415 | 16247.3289 | 0.34009
562 | 16220.6522 | 16212.5397 | 0.33937
562.5 | 16146.8605 | 16138.748 | 0.33782
563 | 16057.7343 | 16049.6218 | 0.33596
563.5 | 15974.379 | 15966.2665 | 0.33421
564 | 15915.9888 | 15907.8762 | 0.33299
564.5 | 15928.9792 | 15920.8667 | 0.33326
565 | 15895.3815 | 15887.269 | 0.33256
565.5 | 15851.9849 | 15843.8724 | 0.33165
566 | 15734.8093 | 15726.6968 | 0.3292
566.5 | 15593.4207 | 15585.3082 | 0.32624
567 | 15495.8276 | 15487.7151 | 0.32419
567.5 | 15464.374 | 15456.2615 | 0.32354
568 | 15481.0296 | 15472.9171 | 0.32388
568.5 | 15387.2954 | 15379.1829 | 0.32192
569 | 15260.3671 | 15252.2546 | 0.31927
569.5 | 15120.2096 | 15112.0971 | 0.31633
570 | 15022.8422 | 15014.7297 | 0.31429
570.5 | 14979.278 | 14971.1654 | 0.31338
571 | 14935.3267 | 14927.2142 | 0.31246
571.5 | 14808.1771 | 14800.0646 | 0.3098
572 | 14669.8745 | 14661.762 | 0.3069
572.5 | 14481.9837 | 14473.8712 | 0.30297
573 | 14378.1197 | 14370.0072 | 0.3008
573.5 | 14357.3227 | 14349.2102 | 0.30036
574 | 14326.7169 | 14318.6044 | 0.29972
574.5 | 14244.503 | 14236.3905 | 0.298
575 | 14187.9725 | 14179.86 | 0.29682
575.5 | 13985.6684 | 13977.5559 | 0.29258
576 | 13946.4887 | 13938.3762 | 0.29176
576.5 | 13845.2722 | 13837.1597 | 0.28964
577 | 13754.795 | 13746.6825 | 0.28775
577.5 | 13653.3934 | 13645.2809 | 0.28563
578 | 13510.7388 | 13502.6263 | 0.28264
578.5 | 13362.2951 | 13354.1826 | 0.27953
579 | 13275.7635 | 13267.651 | 0.27772
579.5 | 13143.874 | 13135.7615 | 0.27496
580 | 13090.2802 | 13082.1677 | 0.27384
580.5 | 12968.5897 | 12960.4772 | 0.27129
581 | 12848.4061 | 12840.2936 | 0.26878
581.5 | 12743.1562 | 12735.0437 | 0.26657
582 | 12610.4823 | 12602.3697 | 0.2638
582.5 | 12530.1993 | 12522.0868 | 0.26212
583 | 12366.4922 | 12358.3797 | 0.25869
583.5 | 12254.8452 | 12246.7327 | 0.25635
584 | 12173.3467 | 12165.2342 | 0.25465
584.5 | 12105.0226 | 12096.9101 | 0.25322
585 | 12026.843 | 12018.7305 | 0.25158
585.5 | 11921.4295 | 11913.317 | 0.24937
586 | 11800.4626 | 11792.3501 | 0.24684
586.5 | 11762.2019 | 11754.0894 | 0.24604
587 | 11676.9492 | 11668.8367 | 0.24426
587.5 | 11582.0907 | 11573.9782 | 0.24227
588 | 11476.0891 | 11467.9765 | 0.24005
588.5 | 11361.3611 | 11353.2486 | 0.23765
589 | 11241.8667 | 11233.7542 | 0.23515
589.5 | 11117.7484 | 11109.6359 | 0.23255
590 | 10982.3414 | 10974.2288 | 0.22972
590.5 | 10916.7985 | 10908.6859 | 0.22834
591 | 10856.1909 | 10848.0784 | 0.22708
591.5 | 10769.5174 | 10761.4049 | 0.22526
592 | 10677.6105 | 10669.498 | 0.22334
592.5 | 10586.3471 | 10578.2346 | 0.22143
593 | 10486.7383 | 10478.6257 | 0.21934
593.5 | 10383.8977 | 10375.7851 | 0.21719
594 | 10237.8783 | 10229.7658 | 0.21413
594.5 | 10127.4825 | 10119.37 | 0.21182
595 | 10010.9679 | 10002.8554 | 0.20938
595.5 | 9887.8567 | 9879.7441 | 0.20681
596 | 9752.3667 | 9744.2542 | 0.20397
596.5 | 9612.7947 | 9604.6822 | 0.20105
597 | 9494.9066 | 9486.7941 | 0.19858
597.5 | 9383.891 | 9375.7784 | 0.19626
598 | 9281.1316 | 9273.0191 | 0.19411
598.5 | 9223.6644 | 9215.5519 | 0.1929
599 | 9169.0995 | 9160.987 | 0.19176
599.5 | 9097.2228 | 9089.1103 | 0.19026
600 | 8981.5368 | 8973.4242 | 0.18783
600.5 | 8819.4718 | 8811.3593 | 0.18444
601 | 8692.8962 | 8684.7837 | 0.18179
601.5 | 8603.6633 | 8595.5508 | 0.17992
602 | 8542.0293 | 8533.9168 | 0.17863
602.5 | 8484.5304 | 8476.4179 | 0.17743
603 | 8401.9466 | 8393.8341 | 0.1757
603.5 | 8305.4777 | 8297.3652 | 0.17368
604 | 8206.5656 | 8198.453 | 0.17161
604.5 | 8091.3318 | 8083.2193 | 0.1692
605 | 8015.6229 | 8007.5104 | 0.16762
605.5 | 7962.8614 | 7954.7489 | 0.16651
606 | 7913.6073 | 7905.4948 | 0.16548
606.5 | 7849.2216 | 7841.1091 | 0.16413
607 | 7747.3065 | 7739.194 | 0.162
607.5 | 7623.4615 | 7615.349 | 0.15941
608 | 7515.0996 | 7506.9871 | 0.15714
608.5 | 7415.23 | 7407.1175 | 0.15505
609 | 7315.6287 | 7307.5162 | 0.15296
609.5 | 7205.8393 | 7197.7268 | 0.15067
610 | 7064.976 | 7056.8635 | 0.14772
610.5 | 6901.6971 | 6893.5846 | 0.1443
611 | 6722.2987 | 6714.1862 | 0.14054
611.5 | 6545.0295 | 6536.9169 | 0.13683
612 | 6408.3553 | 6400.2428 | 0.13397
612.5 | 6321.1381 | 6313.0256 | 0.13215
613 | 6233.745 | 6225.6325 | 0.13032
613.5 | 6090.398 | 6082.2855 | 0.12732
614 | 5954.7216 | 5946.6091 | 0.12448
614.5 | 5839.9483 | 5831.8358 | 0.12207
615 | 5761.0684 | 5752.9559 | 0.12042
615.5 | 5720.5663 | 5712.4538 | 0.11957
616 | 5639.8638 | 5631.7513 | 0.11789
616.5 | 5558.1027 | 5549.9902 | 0.11617
617 | 5482.7757 | 5474.6631 | 0.1146
617.5 | 5445.5895 | 5437.477 | 0.11382
618 | 5456.359 | 5448.2465 | 0.11404
618.5 | 5486.1645 | 5478.052 | 0.11467
619 | 5498.7522 | 5490.6397 | 0.11493
619.5 | 5482.6209 | 5474.5084 | 0.11459
620 | 5445.1941 | 5437.0816 | 0.11381
620.5 | 5362.9663 | 5354.8538 | 0.11209
621 | 5301.2129 | 5293.1004 | 0.1108
621.5 | 5244.5346 | 5236.4221 | 0.10961
622 | 5228.3705 | 5220.2579 | 0.10927
622.5 | 5236.3569 | 5228.2444 | 0.10944
623 | 5215.8223 | 5207.7098 | 0.10901
623.5 | 5171.9094 | 5163.7969 | 0.10809
624 | 5079.2469 | 5071.1344 | 0.10615
624.5 | 5081.523 | 5073.4105 | 0.1062
625 | 5084.1577 | 5076.0452 | 0.10625
625.5 | 5103.943 | 5095.8305 | 0.10667
626 | 5093.9614 | 5085.8489 | 0.10646
626.5 | 5041.1121 | 5032.9996 | 0.10535
627 | 5009.6849 | 5001.5723 | 0.10469
627.5 | 4990.9216 | 4982.809 | 0.1043
628 | 4958.2065 | 4950.094 | 0.10362
628.5 | 4925.5382 | 4917.4257 | 0.10293
629 | 4823.2992 | 4815.1866 | 0.10079
629.5 | 4705.947 | 4697.8345 | 0.098337
630 | 4581.2731 | 4573.1606 | 0.095727
630.5 | 4426.6188 | 4418.5063 | 0.09249
631 | 4273.0544 | 4264.9419 | 0.089275
631.5 | 4121.5757 | 4113.4632 | 0.086104
632 | 4003.0619 | 3994.9494 | 0.083624
632.5 | 3900.457 | 3892.3444 | 0.081476
633 | 3784.9743 | 3776.8618 | 0.079059
633.5 | 3644.6826 | 3636.5701 | 0.076122
634 | 3502.153 | 3494.0405 | 0.073138
634.5 | 3385.7029 | 3377.5904 | 0.070701
635 | 3266.3061 | 3258.1936 | 0.068202
635.5 | 3176.2981 | 3168.1856 | 0.066317
636 | 3082.2732 | 3074.1607 | 0.064349
636.5 | 3035.4091 | 3027.2966 | 0.063368
637 | 2976.6015 | 2968.489 | 0.062137
637.5 | 2905.4135 | 2897.301 | 0.060647
638 | 2834.8375 | 2826.725 | 0.05917
638.5 | 2747.594 | 2739.4815 | 0.057344
639 | 2701.6769 | 2693.5644 | 0.056383
639.5 | 2667.9018 | 2659.7893 | 0.055676
640 | 2626.2962 | 2618.1837 | 0.054805
640.5 | 2603.3615 | 2595.2489 | 0.054325
641 | 2576.4918 | 2568.3792 | 0.053762
641.5 | 2544.5459 | 2536.4334 | 0.053093
642 | 2517.3112 | 2509.1987 | 0.052523
642.5 | 2478.058 | 2469.9455 | 0.051702
643 | 2472.0834 | 2463.9709 | 0.051577
643.5 | 2450.3794 | 2442.2669 | 0.051122
644 | 2408.2553 | 2400.1428 | 0.050241
644.5 | 2367.6708 | 2359.5583 | 0.049391
645 | 2319.621 | 2311.5085 | 0.048385
645.5 | 2268.016 | 2259.9035 | 0.047305
646 | 2235.291 | 2227.1785 | 0.04662
646.5 | 2219.6566 | 2211.5441 | 0.046293
647 | 2222.2684 | 2214.1559 | 0.046347
647.5 | 2206.5754 | 2198.4629 | 0.046019
648 | 2156.562 | 2148.4495 | 0.044972
648.5 | 2108.9485 | 2100.836 | 0.043975
649 | 2081.0961 | 2072.9835 | 0.043392
649.5 | 2063.8623 | 2055.7498 | 0.043032
650 | 2039.1027 | 2030.9902 | 0.042513
650.5 | 2007.3673 | 1999.2548 | 0.041849
651 | 1986.1166 | 1978.0041 | 0.041404
651.5 | 1957.3292 | 1949.2167 | 0.040802
652 | 1945.4027 | 1937.2902 | 0.040552
652.5 | 1922.8168 | 1914.7043 | 0.040079
653 | 1894.7098 | 1886.5973 | 0.039491
653.5 | 1868.5317 | 1860.4192 | 0.038943
654 | 1820.1936 | 1812.0811 | 0.037931
654.5 | 1808.46 | 1800.3475 | 0.037685
655 | 1798.5325 | 1790.42 | 0.037478
655.5 | 1798.0933 | 1789.9808 | 0.037468
656 | 1774.8033 | 1766.6908 | 0.036981
656.5 | 1737.8974 | 1729.7849 | 0.036208
657 | 1715.5769 | 1707.4643 | 0.035741
657.5 | 1718.7397 | 1710.6272 | 0.035807
658 | 1718.8833 | 1710.7708 | 0.03581
658.5 | 1708.4231 | 1700.3106 | 0.035591
659 | 1671.3408 | 1663.2283 | 0.034815
659.5 | 1622.3798 | 1614.2673 | 0.03379
660 | 1577.9803 | 1569.8678 | 0.032861
660.5 | 1538.6833 | 1530.5708 | 0.032038
661 | 1518.0405 | 1509.928 | 0.031606
661.5 | 1524.5698 | 1516.4573 | 0.031743
662 | 1511.8007 | 1503.6882 | 0.031476
662.5 | 1493.8347 | 1485.7222 | 0.0311
663 | 1454.3721 | 1446.2596 | 0.030274
663.5 | 1443.4189 | 1435.3064 | 0.030044
664 | 1431.2283 | 1423.1158 | 0.029789
664.5 | 1416.9661 | 1408.8536 | 0.029491
665 | 1403.49 | 1395.3775 | 0.029208
665.5 | 1385.3543 | 1377.2417 | 0.028829
666 | 1383.2934 | 1375.1808 | 0.028786
666.5 | 1351.705 | 1343.5925 | 0.028125
667 | 1327.6677 | 1319.5552 | 0.027621
667.5 | 1300.8943 | 1292.7818 | 0.027061
668 | 1277.6807 | 1269.5682 | 0.026575
668.5 | 1253.4675 | 1245.355 | 0.026068
669 | 1223.6357 | 1215.5232 | 0.025444
669.5 | 1196.7267 | 1188.6142 | 0.02488
670 | 1190.4454 | 1182.3329 | 0.024749
670.5 | 1184.4505 | 1176.3379 | 0.024623
671 | 1166.9703 | 1158.8578 | 0.024258
671.5 | 1150.9637 | 1142.8512 | 0.023923
672 | 1132.0017 | 1123.8892 | 0.023526
672.5 | 1116.7075 | 1108.595 | 0.023205
673 | 1100.8695 | 1092.7569 | 0.022874
673.5 | 1066.4402 | 1058.3277 | 0.022153
674 | 1058.3471 | 1050.2346 | 0.021984
674.5 | 1028.1058 | 1019.9933 | 0.021351
675 | 1020.3369 | 1012.2244 | 0.021188
675.5 | 986.4719 | 978.3594 | 0.020479
676 | 955.8882 | 947.7757 | 0.019839
676.5 | 933.2633 | 925.1508 | 0.019366
677 | 909.9321 | 901.8196 | 0.018877
677.5 | 898.4009 | 890.2884 | 0.018636
678 | 877.9537 | 869.8412 | 0.018208
678.5 | 875.2541 | 867.1416 | 0.018151
679 | 873.984 | 865.8715 | 0.018125
679.5 | 863.7508 | 855.6383 | 0.01791
680 | 846.7925 | 838.68 | 0.017556
680.5 | 827.7403 | 819.6278 | 0.017157
681 | 816.0927 | 807.9802 | 0.016913
681.5 | 822.8584 | 814.7459 | 0.017055
682 | 817.8459 | 809.7334 | 0.01695
682.5 | 805.824 | 797.7115 | 0.016698
683 | 771.2333 | 763.1207 | 0.015974
683.5 | 749.5571 | 741.4446 | 0.01552
684 | 743.2029 | 735.0904 | 0.015387
684.5 | 749.9271 | 741.8146 | 0.015528
685 | 755.8262 | 747.7137 | 0.015651
685.5 | 730.5261 | 722.4136 | 0.015122
686 | 705.2751 | 697.1626 | 0.014593
686.5 | 675.37 | 667.2575 | 0.013967
687 | 662.5207 | 654.4082 | 0.013698
687.5 | 650.223 | 642.1105 | 0.013441
688 | 633.464 | 625.3515 | 0.01309
688.5 | 625.0958 | 616.9833 | 0.012915
689 | 628.4295 | 620.317 | 0.012985
689.5 | 619.5889 | 611.4764 | 0.0128
690 | 621.2224 | 613.1099 | 0.012834
690.5 | 601.5688 | 593.4562 | 0.012422
691 | 591.0593 | 582.9468 | 0.012202
691.5 | 584.4257 | 576.3132 | 0.012064
692 | 580.5583 | 572.4458 | 0.011983
692.5 | 578.6118 | 570.4993 | 0.011942
693 | 576.2238 | 568.1113 | 0.011892
693.5 | 569.4011 | 561.2886 | 0.011749
694 | 549.2043 | 541.0918 | 0.011326
694.5 | 537.957 | 529.8445 | 0.011091
695 | 507.8214 | 499.7089 | 0.01046
695.5 | 490.0388 | 481.9263 | 0.010088
696 | 478.7044 | 470.5919 | 0.0098506
696.5 | 471.4516 | 463.3391 | 0.0096988
697 | 468.2384 | 460.1258 | 0.0096315
697.5 | 457.5284 | 449.4159 | 0.0094073
698 | 445.8478 | 437.7353 | 0.0091628
698.5 | 460.9038 | 452.7912 | 0.009478
699 | 457.9162 | 449.8037 | 0.0094154
699.5 | 452.3104 | 444.1979 | 0.0092981
700 | 431.6955 | 423.583 | 0.0088666
700.5 | 406.0946 | 397.9821 | 0.0083307
701 | 397.2675 | 389.1549 | 0.0081459
701.5 | 405.614 | 397.5015 | 0.0083206
702 | 407.6592 | 399.5467 | 0.0083634
702.5 | 416.5163 | 408.4038 | 0.0085488
703 | 399.052 | 390.9395 | 0.0081833
703.5 | 380.2261 | 372.1136 | 0.0077892
704 | 361.1558 | 353.0433 | 0.00739
704.5 | 340.7611 | 332.6486 | 0.0069631
705 | 328.8916 | 320.7791 | 0.0067147
705.5 | 336.1797 | 328.0672 | 0.0068672
706 | 331.8983 | 323.7858 | 0.0067776
706.5 | 345.2872 | 337.1747 | 0.0070578
707 | 327.3171 | 319.2046 | 0.0066817
707.5 | 322.7646 | 314.6521 | 0.0065864
708 | 308.7187 | 300.6062 | 0.0062924
708.5 | 294.7484 | 286.6359 | 0.006
709 | 292.606 | 284.4934 | 0.0059551
709.5 | 286.1465 | 278.034 | 0.0058199
710 | 277.5433 | 269.4308 | 0.0056398
710.5 | 275.7883 | 267.6758 | 0.0056031
711 | 266.1993 | 258.0868 | 0.0054024
711.5 | 262.5866 | 254.4741 | 0.0053267
712 | 257.3991 | 249.2866 | 0.0052181
712.5 | 252.2899 | 244.1774 | 0.0051112
713 | 250.4001 | 242.2876 | 0.0050716
713.5 | 249.0274 | 240.9149 | 0.0050429
714 | 246.4122 | 238.2997 | 0.0049882
714.5 | 248.9875 | 240.875 | 0.0050421
715 | 245.0652 | 236.9526 | 0.00496
715.5 | 242.1984 | 234.0859 | 0.0049
716 | 231.749 | 223.6365 | 0.0046812
716.5 | 222.7129 | 214.6004 | 0.0044921
717 | 218.4652 | 210.3527 | 0.0044032
717.5 | 213.5738 | 205.4613 | 0.0043008
718 | 213.2282 | 205.1157 | 0.0042935
718.5 | 210.4176 | 202.3051 | 0.0042347
719 | 194.03 | 185.9175 | 0.0038917
719.5 | 182.832 | 174.7195 | 0.0036573
720 | 175.5998 | 167.4873 | 0.0035059
720.5 | 174.6363 | 166.5238 | 0.0034857
721 | 175.3744 | 167.2619 | 0.0035012
721.5 | 170.9317 | 162.8192 | 0.0034082
722 | 164.0891 | 155.9766 | 0.003265
722.5 | 160.8669 | 152.7544 | 0.0031975
723 | 160.6279 | 152.5154 | 0.0031925
723.5 | 163.7557 | 155.6432 | 0.003258
724 | 168.9908 | 160.8783 | 0.0033676
724.5 | 171.1352 | 163.0227 | 0.0034124
725 | 171.4367 | 163.3242 | 0.0034188
725.5 | 171.0983 | 162.9857 | 0.0034117
726 | 165.9039 | 157.7914 | 0.0033029
726.5 | 160.5459 | 152.4334 | 0.0031908
727 | 157.263 | 149.1505 | 0.0031221
727.5 | 152.6399 | 144.5274 | 0.0030253
728 | 146.7442 | 138.6317 | 0.0029019
728.5 | 140.1509 | 132.0384 | 0.0027639
729 | 131.2075 | 123.095 | 0.0025767
729.5 | 126.9027 | 118.7902 | 0.0024866
730 | 131.9909 | 123.8784 | 0.0025931
730.5 | 118.265 | 110.1525 | 0.0023057
731 | 127.4738 | 119.3613 | 0.0024985
731.5 | 112.746 | 104.6335 | 0.0021902
732 | 121.8835 | 113.771 | 0.0023815
732.5 | 118.1692 | 110.0567 | 0.0023037
733 | 113.589 | 105.4765 | 0.0022079
733.5 | 113.0531 | 104.9406 | 0.0021967
734 | 109.0343 | 100.9218 | 0.0021125
734.5 | 120.8909 | 112.7784 | 0.0023607
735 | 115.9618 | 107.8493 | 0.0022575
735.5 | 120.4547 | 112.3422 | 0.0023516
736 | 109.5081 | 101.3955 | 0.0021224
736.5 | 107.7717 | 99.6592 | 0.0020861
737 | 107.5273 | 99.4148 | 0.002081
737.5 | 109.5327 | 101.4202 | 0.002123
738 | 115.3205 | 107.208 | 0.0022441
738.5 | 113.2923 | 105.1797 | 0.0022017
739 | 115.5242 | 107.4117 | 0.0022484
739.5 | 111.179 | 103.0665 | 0.0021574
740 | 114.3962 | 106.2837 | 0.0022248
740.5 | 103.668 | 95.5555 | 0.0020002
741 | 91.4973 | 83.3848 | 0.0017454
741.5 | 79.4456 | 71.3331 | 0.0014932
742 | 72.5225 | 64.41 | 0.0013483
742.5 | 78.7277 | 70.6152 | 0.0014781
743 | 79.9844 | 71.8719 | 0.0015044
743.5 | 85.3305 | 77.218 | 0.0016164
744 | 79.3896 | 71.2771 | 0.001492
744.5 | 83.2067 | 75.0941 | 0.0015719
745 | 83.41 | 75.2975 | 0.0015762
745.5 | 81.6277 | 73.5152 | 0.0015388
746 | 75.8082 | 67.6957 | 0.001417
746.5 | 66.8871 | 58.7746 | 0.0012303
747 | 65.3777 | 57.2652 | 0.0011987
747.5 | 31.5199 | 23.4074 | 0.00048997
748 | 35.149 | 27.0365 | 0.00056594
748.5 | 30.9009 | 22.7884 | 0.00047701
749 | 47.5168 | 39.4043 | 0.00082482
749.5 | 57.3552 | 49.2427 | 0.0010308
750 | 59.5449 | 51.4324 | 0.0010766
750.5 | 67.9712 | 59.8587 | 0.001253
751 | 80.6015 | 72.489 | 0.0015174
751.5 | 83.1013 | 74.9888 | 0.0015697
752 | 81.4544 | 73.3419 | 0.0015352
752.5 | 69.3441 | 61.2316 | 0.0012817
753 | 70.726 | 62.6135 | 0.0013106
753.5 | 68.8173 | 60.7047 | 0.0012707
754 | 69.7327 | 61.6202 | 0.0012899
754.5 | 72.2715 | 64.159 | 0.001343
755 | 68.7866 | 60.6741 | 0.00127
755.5 | 66.0044 | 57.8919 | 0.0012118
756 | 60.2959 | 52.1834 | 0.0010923
756.5 | 42.4093 | 34.2968 | 0.00071791
757 | 35.925 | 27.8125 | 0.00058218
757.5 | 35.4395 | 27.3269 | 0.00057202
758 | 44.0879 | 35.9754 | 0.00075305
758.5 | 50.3732 | 42.2607 | 0.00088461
759 | 47.1194 | 39.0069 | 0.00081651
759.5 | 40.8338 | 32.7213 | 0.00068493
760 | 31.1976 | 23.085 | 0.00048322
760.5 | 43.0342 | 34.9217 | 0.00073099
761 | 44.7364 | 36.6239 | 0.00076662
761.5 | 52.8334 | 44.7209 | 0.00093611
762 | 49.7808 | 41.6683 | 0.00087221
762.5 | 39.0811 | 30.9686 | 0.00064824
763 | 28.7533 | 20.6407 | 0.00043206
763.5 | 25.1096 | 16.9971 | 0.00035579
764 | 33.4013 | 25.2888 | 0.00052935
764.5 | 42.6059 | 34.4934 | 0.00072203
765 | 48.3212 | 40.2087 | 0.00084166
765.5 | 39.8607 | 31.7482 | 0.00066456
766 | 40.9789 | 32.8664 | 0.00068797
766.5 | 40.7521 | 32.6395 | 0.00068322
767 | 40.7524 | 32.6399 | 0.00068323
767.5 | 42.3945 | 34.282 | 0.0007176
768 | 38.4492 | 30.3367 | 0.00063502
768.5 | 28.9624 | 20.8499 | 0.00043644
769 | 34.2092 | 26.0967 | 0.00054626
769.5 | 37.9793 | 29.8667 | 0.00062518
770 | 50.3375 | 42.225 | 0.00088387
770.5 | 46.4585 | 38.346 | 0.00080267
771 | 42.4435 | 34.331 | 0.00071863
771.5 | 43.0211 | 34.9086 | 0.00073072
772 | 44.2563 | 36.1438 | 0.00075657
772.5 | 46.0222 | 37.9097 | 0.00079354
773 | 31.7412 | 23.6287 | 0.0004946
773.5 | 38.5251 | 30.4126 | 0.00063661
774 | 36.2984 | 28.1859 | 0.00059
774.5 | 36.2261 | 28.1135 | 0.00058848
775 | 33.6622 | 25.5497 | 0.00053481
775.5 | 31.2599 | 23.1474 | 0.00048453
776 | 37.3939 | 29.2814 | 0.00061293
776.5 | 46.6517 | 38.5392 | 0.00080671
777 | 35.8262 | 27.7136 | 0.00058011
777.5 | 21.0584 | 12.9459 | 0.00027099
778 | 20.3501 | 12.2376 | 0.00025616
778.5 | 23.7561 | 15.6436 | 0.00032746
779 | 30.6451 | 22.5326 | 0.00047166
779.5 | 24.9469 | 16.8344 | 0.00035238
780 | 15.3641 | 7.2515 | 0.00015179
780.5 | 16.6192 | 8.5067 | 0.00017806
781 | 28.0603 | 19.9478 | 0.00041755
781.5 | 35.9113 | 27.7988 | 0.00058189
782 | 41.2858 | 33.1733 | 0.00069439
782.5 | 42.5561 | 34.4436 | 0.00072098
783 | 47.4527 | 39.3401 | 0.00082348
783.5 | 46.2729 | 38.1604 | 0.00079879
784 | 36.0832 | 27.9707 | 0.00058549
784.5 | 23.3011 | 15.1886 | 0.00031793
785 | 13.8178 | 5.7053 | 0.00011943
785.5 | 9.489 | 1.3765 | 2.8813e-05
786 | 14.5659 | 6.4534 | 0.00013509
786.5 | 6.5876 | 0 | 0
787 | 23.6868 | 15.5743 | 0.00032601
787.5 | 44.5015 | 36.389 | 0.00076171
788 | 55.3575 | 47.245 | 0.00098895
788.5 | 56.7579 | 48.6454 | 0.0010183
789 | 48.8085 | 40.696 | 0.00085186
789.5 | 40.3939 | 32.2814 | 0.00067572

## Sheet1
380 | 4.7917
380.5 | 8.1125
381 | 16.8729
381.5 | 24.251
382 | 23.9911
382.5 | 17.7243
383 | 19.9817
383.5 | 26.6238
384 | 25.4208
384.5 | 25.3239
385 | 27.3765
385.5 | 29.2509
386 | 42.574
386.5 | 35.8388
387 | 27.4029
387.5 | 11.6604
388 | 2.7342
388.5 | 9.3573
389 | 23.0593
389.5 | 37.1206
390 | 39.5718
390.5 | 38.7738
391 | 42.7192
391.5 | 46.2116
392 | 40.455
392.5 | 30.6655
393 | 19.4807
393.5 | 30.8519
394 | 44.6107
394.5 | 52.8124
395 | 54.0124
395.5 | 51.4909
396 | 59.4583
396.5 | 62.3699
397 | 63.9777
397.5 | 56.4125
398 | 51.3744
398.5 | 59.8592
399 | 65.8152
399.5 | 64.2891
400 | 61.8936
400.5 | 55.1529
401 | 51.3497
401.5 | 50.0538
402 | 44.1535
402.5 | 43.8142
403 | 51.7084
403.5 | 60.6685
404 | 76.4107
404.5 | 89.138
405 | 95.6812
405.5 | 114.2243
406 | 125.1401
406.5 | 152.7664
407 | 169.439
407.5 | 183.6815
408 | 203.2564
408.5 | 229.4482
409 | 264.1826
409.5 | 290.1107
410 | 313.8501
410.5 | 341.2382
411 | 373.6396
411.5 | 411.0234
412 | 453.3699
412.5 | 497.3979
413 | 567.2252
413.5 | 627.4578
414 | 701.3732
414.5 | 788.4714
415 | 878.945
415.5 | 983.2129
416 | 1063.0355
416.5 | 1156.721
417 | 1264.112
417.5 | 1387.1927
418 | 1532.0027
418.5 | 1704.9686
419 | 1902.3116
419.5 | 2112.5575
420 | 2313.7686
420.5 | 2532.8255
421 | 2772.72
421.5 | 3033.5808
422 | 3325.7174
422.5 | 3631.1984
423 | 3996.6803
423.5 | 4352.8752
424 | 4699.6655
424.5 | 5066.1954
425 | 5484.5033
425.5 | 5961.0692
426 | 6507.3161
426.5 | 7023.6831
427 | 7558.0483
427.5 | 8141.9521
428 | 8784.9521
428.5 | 9481.9417
429 | 10244.2209
429.5 | 10962.9357
430 | 11779.434
430.5 | 12593.382
431 | 13431.3036
431.5 | 14310.6583
432 | 15162.4853
432.5 | 16123.8312
433 | 17047.4379
433.5 | 18010.2616
434 | 18942.4362
434.5 | 19907.7801
435 | 21002.9998
435.5 | 22161.1741
436 | 23252.5886
436.5 | 24337.0136
437 | 25408.7574
437.5 | 26533.5208
438 | 27748.5919
438.5 | 29009.9936
439 | 30157.6908
439.5 | 31432.3861
440 | 32521.2659
440.5 | 33651.4651
441 | 34841.0047
441.5 | 36042.2541
442 | 37239.0865
442.5 | 38359.9012
443 | 39450.4864
443.5 | 40590.5439
444 | 41760.6843
444.5 | 42864.6478
445 | 43841.8016
445.5 | 44760.0927
446 | 45610.8457
446.5 | 46357.8933
447 | 46964.9426
447.5 | 47369.1393
448 | 47621.2643
448.5 | 47781.112
449 | 47700.8746
449.5 | 47344.9449
450 | 46729.5595
450.5 | 45940.6317
451 | 45054.5193
451.5 | 44069.5003
452 | 42940.3709
452.5 | 41751.1888
453 | 40397.219
453.5 | 38936.1503
454 | 37316.3468
454.5 | 35636.6812
455 | 33965.9389
455.5 | 32271.3844
456 | 30698.7355
456.5 | 29108.7749
457 | 27664.4197
457.5 | 26363.8347
458 | 25170.0038
458.5 | 24057.3124
459 | 23029.5758
459.5 | 22001.9449
460 | 21117.7786
460.5 | 20311.223
461 | 19549.5928
461.5 | 18850.5034
462 | 18223.9687
462.5 | 17596.051
463 | 17063.2815
463.5 | 16493.5735
464 | 15940.4225
464.5 | 15401.6969
465 | 14862.9354
465.5 | 14339.67
466 | 13927.0189
466.5 | 13483.6838
467 | 13091.9438
467.5 | 12638.1145
468 | 12147.6908
468.5 | 11657.9774
469 | 11177.6287
469.5 | 10762.1536
470 | 10398.0516
470.5 | 10014.4854
471 | 9624.7033
471.5 | 9234.9544
472 | 8853.2071
472.5 | 8486.685
473 | 8096.9601
473.5 | 7759.1561
474 | 7464.4256
474.5 | 7211.8352
475 | 6980.266
475.5 | 6736.9695
476 | 6460.4562
476.5 | 6220.7736
477 | 5993.5159
477.5 | 5801.3382
478 | 5616.4417
478.5 | 5441.9166
479 | 5290.5893
479.5 | 5150.7168
480 | 5008.1311
480.5 | 4867.471
481 | 4722.3637
481.5 | 4606.1155
482 | 4509.5265
482.5 | 4402.1616
483 | 4283.2222
483.5 | 4153.2286
484 | 4048.7858
484.5 | 3955.8086
485 | 3888.1011
485.5 | 3838.0878
486 | 3795.2808
486.5 | 3788.9855
487 | 3701.0799
487.5 | 3629.1627
488 | 3566.0169
488.5 | 3537.0298
489 | 3539.3832
489.5 | 3539.3166
490 | 3508.9195
490.5 | 3468.7696
491 | 3470.9764
491.5 | 3486.1462
492 | 3510.1104
492.5 | 3536.4083
493 | 3567.4566
493.5 | 3660.0429
494 | 3741.5203
494.5 | 3821.1426
495 | 3894.8392
495.5 | 3967.9018
496 | 4039.6793
496.5 | 4107.9592
497 | 4196.9841
497.5 | 4306.8882
498 | 4432.163
498.5 | 4552.9343
499 | 4681.849
499.5 | 4823.7972
500 | 4964.3792
500.5 | 5098.0226
501 | 5274.1128
501.5 | 5459.9578
502 | 5652.2823
502.5 | 5827.3778
503 | 5993.0091
503.5 | 6190.2093
504 | 6416.2917
504.5 | 6638.8885
505 | 6856.3756
505.5 | 7070.1517
506 | 7281.2282
506.5 | 7500.8379
507 | 7741.0523
507.5 | 7969.3439
508 | 8223.2631
508.5 | 8479.158
509 | 8717.4752
509.5 | 8978.4478
510 | 9268.7551
510.5 | 9554.989
511 | 9918.6777
511.5 | 10197.5424
512 | 10472.3951
512.5 | 10718.4757
513 | 10994.7901
513.5 | 11312.5506
514 | 11613.8013
514.5 | 11952.1827
515 | 12176.6311
515.5 | 12471.5989
516 | 12771.9682
516.5 | 13095.4991
517 | 13441.0494
517.5 | 13766.8664
518 | 14115.8193
518.5 | 14488.2106
519 | 14867.468
519.5 | 15211.9243
520 | 15518.6014
520.5 | 15805.5833
521 | 16093.0748
521.5 | 16386.9669
522 | 16679.9288
522.5 | 16912.3646
523 | 17110.8339
523.5 | 17268.5768
524 | 17386.6954
524.5 | 17477.6673
525 | 17522.0807
525.5 | 17552.5124
526 | 17620.7511
526.5 | 17672.8125
527 | 17708.4172
527.5 | 17691.3727
528 | 17576.5972
528.5 | 17442.7932
529 | 17268.8976
529.5 | 17114.6982
530 | 17010.652
530.5 | 16943.7352
531 | 16914.0835
531.5 | 16911.1617
532 | 16841.9815
532.5 | 16733.6025
533 | 16596.4505
533.5 | 16504.0731
534 | 16444.5355
534.5 | 16415.2014
535 | 16422.0918
535.5 | 16436.5914
536 | 16462.5489
536.5 | 16546.6468
537 | 16610.9269
537.5 | 16708.8169
538 | 16786.7326
538.5 | 16796.9212
539 | 16871.9705
539.5 | 16911.1235
540 | 16989.9443
540.5 | 17076.9371
541 | 17123.0088
541.5 | 17148.8798
542 | 17179.7512
542.5 | 17182.7625
543 | 17230.5292
543.5 | 17290.8148
544 | 17293.8172
544.5 | 17258.736
545 | 17213.6703
545.5 | 17178.1953
546 | 17157.4324
546.5 | 17141.1976
547 | 17128.9988
547.5 | 17177.2045
548 | 17216.0567
548.5 | 17213.5753
549 | 17163.4786
549.5 | 17086.9898
550 | 17094.4504
550.5 | 17124.6851
551 | 17105.0463
551.5 | 17083.6095
552 | 17047.3151
552.5 | 17004.7482
553 | 16988.9785
553.5 | 16969.3474
554 | 16964.7534
554.5 | 16989.2584
555 | 16970.2463
555.5 | 16927.3918
556 | 16901.056
556.5 | 16886.644
557 | 16794.6931
557.5 | 16645.2509
558 | 16458.8206
558.5 | 16410.0036
559 | 16431.7701
559.5 | 16441.3701
560 | 16398.7216
560.5 | 16310.0453
561 | 16245.349
561.5 | 16255.4415
562 | 16220.6522
562.5 | 16146.8605
563 | 16057.7343
563.5 | 15974.379
564 | 15915.9888
564.5 | 15928.9792
565 | 15895.3815
565.5 | 15851.9849
566 | 15734.8093
566.5 | 15593.4207
567 | 15495.8276
567.5 | 15464.374
568 | 15481.0296
568.5 | 15387.2954
569 | 15260.3671
569.5 | 15120.2096
570 | 15022.8422
570.5 | 14979.278
571 | 14935.3267
571.5 | 14808.1771
572 | 14669.8745
572.5 | 14481.9837
573 | 14378.1197
573.5 | 14357.3227
574 | 14326.7169
574.5 | 14244.503
575 | 14187.9725
575.5 | 13985.6684
576 | 13946.4887
576.5 | 13845.2722
577 | 13754.795
577.5 | 13653.3934
578 | 13510.7388
578.5 | 13362.2951
579 | 13275.7635
579.5 | 13143.874
580 | 13090.2802
580.5 | 12968.5897
581 | 12848.4061
581.5 | 12743.1562
582 | 12610.4823
582.5 | 12530.1993
583 | 12366.4922
583.5 | 12254.8452
584 | 12173.3467
584.5 | 12105.0226
585 | 12026.843
585.5 | 11921.4295
586 | 11800.4626
586.5 | 11762.2019
587 | 11676.9492
587.5 | 11582.0907
588 | 11476.0891
588.5 | 11361.3611
589 | 11241.8667
589.5 | 11117.7484
590 | 10982.3414
590.5 | 10916.7985
591 | 10856.1909
591.5 | 10769.5174
592 | 10677.6105
592.5 | 10586.3471
593 | 10486.7383
593.5 | 10383.8977
594 | 10237.8783
594.5 | 10127.4825
595 | 10010.9679
595.5 | 9887.8567
596 | 9752.3667
596.5 | 9612.7947
597 | 9494.9066
597.5 | 9383.891
598 | 9281.1316
598.5 | 9223.6644
599 | 9169.0995
599.5 | 9097.2228
600 | 8981.5368
600.5 | 8819.4718
601 | 8692.8962
601.5 | 8603.6633
602 | 8542.0293
602.5 | 8484.5304
603 | 8401.9466
603.5 | 8305.4777
604 | 8206.5656
604.5 | 8091.3318
605 | 8015.6229
605.5 | 7962.8614
606 | 7913.6073
606.5 | 7849.2216
607 | 7747.3065
607.5 | 7623.4615
608 | 7515.0996
608.5 | 7415.23
609 | 7315.6287
609.5 | 7205.8393
610 | 7064.976
610.5 | 6901.6971
611 | 6722.2987
611.5 | 6545.0295
612 | 6408.3553
612.5 | 6321.1381
613 | 6233.745
613.5 | 6090.398
614 | 5954.7216
614.5 | 5839.9483
615 | 5761.0684
615.5 | 5720.5663
616 | 5639.8638
616.5 | 5558.1027
617 | 5482.7757
617.5 | 5445.5895
618 | 5456.359
618.5 | 5486.1645
619 | 5498.7522
619.5 | 5482.6209
620 | 5445.1941
620.5 | 5362.9663
621 | 5301.2129
621.5 | 5244.5346
622 | 5228.3705
622.5 | 5236.3569
623 | 5215.8223
623.5 | 5171.9094
624 | 5079.2469
624.5 | 5081.523
625 | 5084.1577
625.5 | 5103.943
626 | 5093.9614
626.5 | 5041.1121
627 | 5009.6849
627.5 | 4990.9216
628 | 4958.2065
628.5 | 4925.5382
629 | 4823.2992
629.5 | 4705.947
630 | 4581.2731
630.5 | 4426.6188
631 | 4273.0544
631.5 | 4121.5757
632 | 4003.0619
632.5 | 3900.457
633 | 3784.9743
633.5 | 3644.6826
634 | 3502.153
634.5 | 3385.7029
635 | 3266.3061
635.5 | 3176.2981
636 | 3082.2732
636.5 | 3035.4091
637 | 2976.6015
637.5 | 2905.4135
638 | 2834.8375
638.5 | 2747.594
639 | 2701.6769
639.5 | 2667.9018
640 | 2626.2962
640.5 | 2603.3615
641 | 2576.4918
641.5 | 2544.5459
642 | 2517.3112
642.5 | 2478.058
643 | 2472.0834
643.5 | 2450.3794
644 | 2408.2553
644.5 | 2367.6708
645 | 2319.621
645.5 | 2268.016
646 | 2235.291
646.5 | 2219.6566
647 | 2222.2684
647.5 | 2206.5754
648 | 2156.562
648.5 | 2108.9485
649 | 2081.0961
649.5 | 2063.8623
650 | 2039.1027
650.5 | 2007.3673
651 | 1986.1166
651.5 | 1957.3292
652 | 1945.4027
652.5 | 1922.8168
653 | 1894.7098
653.5 | 1868.5317
654 | 1820.1936
654.5 | 1808.46
655 | 1798.5325
655.5 | 1798.0933
656 | 1774.8033
656.5 | 1737.8974
657 | 1715.5769
657.5 | 1718.7397
658 | 1718.8833
658.5 | 1708.4231
659 | 1671.3408
659.5 | 1622.3798
660 | 1577.9803
660.5 | 1538.6833
661 | 1518.0405
661.5 | 1524.5698
662 | 1511.8007
662.5 | 1493.8347
663 | 1454.3721
663.5 | 1443.4189
664 | 1431.2283
664.5 | 1416.9661
665 | 1403.49
665.5 | 1385.3543
666 | 1383.2934
666.5 | 1351.705
667 | 1327.6677
667.5 | 1300.8943
668 | 1277.6807
668.5 | 1253.4675
669 | 1223.6357
669.5 | 1196.7267
670 | 1190.4454
670.5 | 1184.4505
671 | 1166.9703
671.5 | 1150.9637
672 | 1132.0017
672.5 | 1116.7075
673 | 1100.8695
673.5 | 1066.4402
674 | 1058.3471
674.5 | 1028.1058
675 | 1020.3369
675.5 | 986.4719
676 | 955.8882
676.5 | 933.2633
677 | 909.9321
677.5 | 898.4009
678 | 877.9537
678.5 | 875.2541
679 | 873.984
679.5 | 863.7508
680 | 846.7925
680.5 | 827.7403
681 | 816.0927
681.5 | 822.8584
682 | 817.8459
682.5 | 805.824
683 | 771.2333
683.5 | 749.5571
684 | 743.2029
684.5 | 749.9271
685 | 755.8262
685.5 | 730.5261
686 | 705.2751
686.5 | 675.37
687 | 662.5207
687.5 | 650.223
688 | 633.464
688.5 | 625.0958
689 | 628.4295
689.5 | 619.5889
690 | 621.2224
690.5 | 601.5688
691 | 591.0593
691.5 | 584.4257
692 | 580.5583
692.5 | 578.6118
693 | 576.2238
693.5 | 569.4011
694 | 549.2043
694.5 | 537.957
695 | 507.8214
695.5 | 490.0388
696 | 478.7044
696.5 | 471.4516
697 | 468.2384
697.5 | 457.5284
698 | 445.8478
698.5 | 460.9038
699 | 457.9162
699.5 | 452.3104
700 | 431.6955
700.5 | 406.0946
701 | 397.2675
701.5 | 405.614
702 | 407.6592
702.5 | 416.5163
703 | 399.052
703.5 | 380.2261
704 | 361.1558
704.5 | 340.7611
705 | 328.8916
705.5 | 336.1797
706 | 331.8983
706.5 | 345.2872
707 | 327.3171
707.5 | 322.7646
708 | 308.7187
708.5 | 294.7484
709 | 292.606
709.5 | 286.1465
710 | 277.5433
710.5 | 275.7883
711 | 266.1993
711.5 | 262.5866
712 | 257.3991
712.5 | 252.2899
713 | 250.4001
713.5 | 249.0274
714 | 246.4122
714.5 | 248.9875
715 | 245.0652
715.5 | 242.1984
716 | 231.749
716.5 | 222.7129
717 | 218.4652
717.5 | 213.5738
718 | 213.2282
718.5 | 210.4176
719 | 194.03
719.5 | 182.832
720 | 175.5998
720.5 | 174.6363
721 | 175.3744
721.5 | 170.9317
722 | 164.0891
722.5 | 160.8669
723 | 160.6279
723.5 | 163.7557
724 | 168.9908
724.5 | 171.1352
725 | 171.4367
725.5 | 171.0983
726 | 165.9039
726.5 | 160.5459
727 | 157.263
727.5 | 152.6399
728 | 146.7442
728.5 | 140.1509
729 | 131.2075
729.5 | 126.9027
730 | 131.9909
730.5 | 118.265
731 | 127.4738
731.5 | 112.746
732 | 121.8835
732.5 | 118.1692
733 | 113.589
733.5 | 113.0531
734 | 109.0343
734.5 | 120.8909
735 | 115.9618
735.5 | 120.4547
736 | 109.5081
736.5 | 107.7717
737 | 107.5273
737.5 | 109.5327
738 | 115.3205
738.5 | 113.2923
739 | 115.5242
739.5 | 111.179
740 | 114.3962
740.5 | 103.668
741 | 91.4973
741.5 | 79.4456
742 | 72.5225
742.5 | 78.7277
743 | 79.9844
743.5 | 85.3305
744 | 79.3896
744.5 | 83.2067
745 | 83.41
745.5 | 81.6277
746 | 75.8082
746.5 | 66.8871
747 | 65.3777
747.5 | 31.5199
748 | 35.149
748.5 | 30.9009
749 | 47.5168
749.5 | 57.3552
750 | 59.5449
750.5 | 67.9712
751 | 80.6015
751.5 | 83.1013
752 | 81.4544
752.5 | 69.3441
753 | 70.726
753.5 | 68.8173
754 | 69.7327
754.5 | 72.2715
755 | 68.7866
755.5 | 66.0044
756 | 60.2959
756.5 | 42.4093
757 | 35.925
757.5 | 35.4395
758 | 44.0879
758.5 | 50.3732
759 | 47.1194
759.5 | 40.8338
760 | 31.1976
760.5 | 43.0342
761 | 44.7364
761.5 | 52.8334
762 | 49.7808
762.5 | 39.0811
763 | 28.7533
763.5 | 25.1096
764 | 33.4013
764.5 | 42.6059
765 | 48.3212
765.5 | 39.8607
766 | 40.9789
766.5 | 40.7521
767 | 40.7524
767.5 | 42.3945
768 | 38.4492
768.5 | 28.9624
769 | 34.2092
769.5 | 37.9793
770 | 50.3375
770.5 | 46.4585
771 | 42.4435
771.5 | 43.0211
772 | 44.2563
772.5 | 46.0222
773 | 31.7412
773.5 | 38.5251
774 | 36.2984
774.5 | 36.2261
775 | 33.6622
775.5 | 31.2599
776 | 37.3939
776.5 | 46.6517
777 | 35.8262
777.5 | 21.0584
778 | 20.3501
778.5 | 23.7561
779 | 30.6451
779.5 | 24.9469
780 | 15.3641
780.5 | 16.6192
781 | 28.0603
781.5 | 35.9113
782 | 41.2858
782.5 | 42.5561
783 | 47.4527
783.5 | 46.2729
784 | 36.0832
784.5 | 23.3011
785 | 13.8178
785.5 | 9.489
786 | 14.5659
786.5 | 6.5876
787 | 23.6868
787.5 | 44.5015
788 | 55.3575
788.5 | 56.7579
789 | 48.8085
789.5 | 40.3939
790 | NaN
790.5 | NaN
791 | NaN
791.5 | NaN
792 | NaN
792.5 | NaN
793 | NaN
793.5 | NaN
794 | NaN
794.5 | NaN
795 | NaN
795.5 | NaN
796 | NaN
796.5 | NaN
797 | NaN
797.5 | NaN
798 | NaN
798.5 | NaN
799 | NaN
799.5 | NaN
800 | NaN