## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -23.702 | 0 | 0
246.5 | -22.711 | 0 | 0
247 | -22.06 | 0.651 | 0.00020824
247.5 | -24.393 | 0 | 0
248 | -21.409 | 1.302 | 0.00041648
248.5 | -20.078 | 2.633 | 0.00084223
249 | -18.043 | 4.668 | 0.0014932
249.5 | -16.696 | 6.015 | 0.0019241
250 | -20.629 | 2.082 | 0.00066598
250.5 | -19.843 | 2.868 | 0.0009174
251 | -19.963 | 2.748 | 0.00087902
251.5 | -18.875 | 3.836 | 0.001227
252 | -15.247 | 7.464 | 0.0023876
252.5 | -11.637 | 11.074 | 0.0035423
253 | -11.061 | 11.65 | 0.0037266
253.5 | -10.142 | 12.569 | 0.0040205
254 | -11.803 | 10.908 | 0.0034892
254.5 | -11.918 | 10.793 | 0.0034524
255 | -13.423 | 9.288 | 0.002971
255.5 | -14.633 | 8.078 | 0.002584
256 | -13.393 | 9.318 | 0.0029806
256.5 | -12.966 | 9.745 | 0.0031172
257 | -12.753 | 9.958 | 0.0031853
257.5 | -12.957 | 9.754 | 0.0031201
258 | -12.779 | 9.932 | 0.003177
258.5 | -12.727 | 9.984 | 0.0031936
259 | -12.738 | 9.973 | 0.0031901
259.5 | -12.589 | 10.122 | 0.0032378
260 | -12.406 | 10.305 | 0.0032963
260.5 | -12.088 | 10.623 | 0.003398
261 | -11.797 | 10.914 | 0.0034911
261.5 | -11.73 | 10.981 | 0.0035126
262 | -11.847 | 10.864 | 0.0034751
262.5 | -12.08 | 10.631 | 0.0034006
263 | -12.335 | 10.376 | 0.003319
263.5 | -12.386 | 10.325 | 0.0033027
264 | -12.296 | 10.415 | 0.0033315
264.5 | -12.127 | 10.584 | 0.0033856
265 | -12.295 | 10.416 | 0.0033318
265.5 | -12.561 | 10.15 | 0.0032467
266 | -12.705 | 10.006 | 0.0032007
266.5 | -12.855 | 9.856 | 0.0031527
267 | -13.031 | 9.68 | 0.0030964
267.5 | -13.287 | 9.424 | 0.0030145
268 | -13.492 | 9.219 | 0.0029489
268.5 | -13.973 | 8.738 | 0.0027951
269 | -14.322 | 8.389 | 0.0026834
269.5 | -14.448 | 8.263 | 0.0026431
270 | -14.245 | 8.466 | 0.0027081
270.5 | -14.134 | 8.577 | 0.0027436
271 | -14.017 | 8.694 | 0.002781
271.5 | -13.804 | 8.907 | 0.0028491
272 | -13.509 | 9.202 | 0.0029435
272.5 | -13.312 | 9.399 | 0.0030065
273 | -13.226 | 9.485 | 0.003034
273.5 | -13.237 | 9.474 | 0.0030305
274 | -13.275 | 9.436 | 0.0030184
274.5 | -13.212 | 9.499 | 0.0030385
275 | -13.009 | 9.702 | 0.0031034
275.5 | -12.635 | 10.076 | 0.0032231
276 | -12.359 | 10.352 | 0.0033114
276.5 | -12.27 | 10.441 | 0.0033398
277 | -12.331 | 10.38 | 0.0033203
277.5 | -12.412 | 10.299 | 0.0032944
278 | -12.4 | 10.311 | 0.0032982
278.5 | -12.367 | 10.344 | 0.0033088
279 | -12.483 | 10.228 | 0.0032717
279.5 | -12.552 | 10.159 | 0.0032496
280 | -12.629 | 10.082 | 0.003225
280.5 | -12.802 | 9.909 | 0.0031697
281 | -13.079 | 9.632 | 0.003081
281.5 | -13.379 | 9.332 | 0.0029851
282 | -13.566 | 9.145 | 0.0029253
282.5 | -13.567 | 9.144 | 0.0029249
283 | -13.478 | 9.233 | 0.0029534
283.5 | -13.027 | 9.684 | 0.0030977
284 | -12.67 | 10.041 | 0.0032119
284.5 | -12.589 | 10.122 | 0.0032378
285 | -12.555 | 10.156 | 0.0032487
285.5 | -12.532 | 10.179 | 0.003256
286 | -12.202 | 10.509 | 0.0033616
286.5 | -11.808 | 10.903 | 0.0034876
287 | -11.596 | 11.115 | 0.0035554
287.5 | -11.157 | 11.554 | 0.0036958
288 | -10.563 | 12.148 | 0.0038859
288.5 | -10.103 | 12.608 | 0.004033
289 | -9.8889 | 12.8221 | 0.0041015
289.5 | -9.6521 | 13.0589 | 0.0041772
290 | -9.7362 | 12.9748 | 0.0041503
290.5 | -9.8865 | 12.8245 | 0.0041023
291 | -9.8621 | 12.8489 | 0.0041101
291.5 | -9.7208 | 12.9902 | 0.0041553
292 | -9.5127 | 13.1983 | 0.0042218
292.5 | -9.2805 | 13.4305 | 0.0042961
293 | -9.3043 | 13.4067 | 0.0042885
293.5 | -9.0771 | 13.6339 | 0.0043612
294 | -8.962 | 13.749 | 0.004398
294.5 | -9.0153 | 13.6957 | 0.0043809
295 | -9.0033 | 13.7077 | 0.0043848
295.5 | -8.8448 | 13.8662 | 0.0044355
296 | -8.8995 | 13.8115 | 0.004418
296.5 | -9.0494 | 13.6616 | 0.00437
297 | -9.0719 | 13.6391 | 0.0043628
297.5 | -9.0799 | 13.6311 | 0.0043603
298 | -8.8919 | 13.8191 | 0.0044204
298.5 | -8.6441 | 14.0669 | 0.0044997
299 | -8.4585 | 14.2525 | 0.004559
299.5 | -8.2162 | 14.4948 | 0.0046365
300 | -8.234 | 14.477 | 0.0046308
300.5 | -8.2883 | 14.4227 | 0.0046135
301 | -8.3894 | 14.3216 | 0.0045811
301.5 | -8.3847 | 14.3263 | 0.0045826
302 | -8.3924 | 14.3186 | 0.0045802
302.5 | -8.2949 | 14.4161 | 0.0046114
303 | -8.1906 | 14.5204 | 0.0046447
303.5 | -8.2719 | 14.4391 | 0.0046187
304 | -8.4126 | 14.2984 | 0.0045737
304.5 | -8.9544 | 13.7566 | 0.0044004
305 | -9.4855 | 13.2255 | 0.0042305
305.5 | -10.145 | 12.566 | 0.0040196
306 | -10.543 | 12.168 | 0.0038923
306.5 | -10.695 | 12.016 | 0.0038436
307 | -10.88 | 11.831 | 0.0037845
307.5 | -10.962 | 11.749 | 0.0037582
308 | -11.173 | 11.538 | 0.0036907
308.5 | -11.309 | 11.402 | 0.0036472
309 | -11.561 | 11.15 | 0.0035666
309.5 | -11.712 | 10.999 | 0.0035183
310 | -11.891 | 10.82 | 0.0034611
310.5 | -11.938 | 10.773 | 0.003446
311 | -11.815 | 10.896 | 0.0034854
311.5 | -11.835 | 10.876 | 0.003479
312 | -11.651 | 11.06 | 0.0035378
312.5 | -11.58 | 11.131 | 0.0035605
313 | -11.355 | 11.356 | 0.0036325
313.5 | -11.013 | 11.698 | 0.0037419
314 | -10.618 | 12.093 | 0.0038683
314.5 | -10.222 | 12.489 | 0.0039949
315 | -10.101 | 12.61 | 0.0040336
315.5 | -9.8542 | 12.8568 | 0.0041126
316 | -9.5369 | 13.1741 | 0.0042141
316.5 | -8.9941 | 13.7169 | 0.0043877
317 | -8.5131 | 14.1979 | 0.0045416
317.5 | -8.2265 | 14.4845 | 0.0046332
318 | -7.7352 | 14.9758 | 0.0047904
318.5 | -7.3043 | 15.4067 | 0.0049282
319 | -7.2223 | 15.4887 | 0.0049545
319.5 | -7.413 | 15.298 | 0.0048935
320 | -7.3821 | 15.3289 | 0.0049033
320.5 | -7.3545 | 15.3565 | 0.0049122
321 | -7.019 | 15.692 | 0.0050195
321.5 | -6.7343 | 15.9767 | 0.0051106
322 | -6.6679 | 16.0431 | 0.0051318
322.5 | -6.7269 | 15.9841 | 0.0051129
323 | -6.8587 | 15.8523 | 0.0050708
323.5 | -6.83 | 15.881 | 0.00508
324 | -6.5594 | 16.1516 | 0.0051665
324.5 | -6.4967 | 16.2143 | 0.0051866
325 | -6.4449 | 16.2661 | 0.0052031
325.5 | -6.1345 | 16.5765 | 0.0053024
326 | -5.9128 | 16.7982 | 0.0053733
326.5 | -5.9978 | 16.7132 | 0.0053462
327 | -6.0867 | 16.6243 | 0.0053177
327.5 | -6.318 | 16.393 | 0.0052437
328 | -6.3058 | 16.4052 | 0.0052476
328.5 | -6.2912 | 16.4198 | 0.0052523
329 | -6.0511 | 16.6599 | 0.0053291
329.5 | -6.0507 | 16.6603 | 0.0053292
330 | -5.9297 | 16.7813 | 0.0053679
330.5 | -5.792 | 16.919 | 0.005412
331 | -5.6928 | 17.0182 | 0.0054437
331.5 | -5.7339 | 16.9771 | 0.0054306
332 | -5.8892 | 16.8218 | 0.0053809
332.5 | -5.9609 | 16.7501 | 0.005358
333 | -6.1107 | 16.6003 | 0.00531
333.5 | -6.0775 | 16.6335 | 0.0053207
334 | -6.1743 | 16.5367 | 0.0052897
334.5 | -6.3704 | 16.3406 | 0.005227
335 | -6.2589 | 16.4521 | 0.0052626
335.5 | -6.1241 | 16.5869 | 0.0053058
336 | -6.0732 | 16.6378 | 0.005322
336.5 | -6.3599 | 16.3511 | 0.0052303
337 | -6.6397 | 16.0713 | 0.0051408
337.5 | -6.8933 | 15.8177 | 0.0050597
338 | -6.8871 | 15.8239 | 0.0050617
338.5 | -6.5601 | 16.1509 | 0.0051663
339 | -6.2583 | 16.4527 | 0.0052628
339.5 | -5.9706 | 16.7404 | 0.0053549
340 | -5.9981 | 16.7129 | 0.0053461
340.5 | -6.1304 | 16.5806 | 0.0053037
341 | -6.1297 | 16.5813 | 0.005304
341.5 | -6.2551 | 16.4559 | 0.0052638
342 | -6.4734 | 16.2376 | 0.005194
342.5 | -6.5955 | 16.1155 | 0.005155
343 | -6.5166 | 16.1944 | 0.0051802
343.5 | -6.3836 | 16.3274 | 0.0052227
344 | -6.3625 | 16.3485 | 0.0052295
344.5 | -6.534 | 16.177 | 0.0051746
345 | -6.9723 | 15.7387 | 0.0050344
345.5 | -7.1097 | 15.6013 | 0.0049905
346 | -6.9914 | 15.7196 | 0.0050283
346.5 | -6.6754 | 16.0356 | 0.0051294
347 | -6.1476 | 16.5634 | 0.0052982
347.5 | -5.832 | 16.879 | 0.0053992
348 | -5.8145 | 16.8965 | 0.0054048
348.5 | -5.824 | 16.887 | 0.0054017
349 | -5.759 | 16.952 | 0.0054225
349.5 | -5.6164 | 17.0946 | 0.0054682
350 | -5.412 | 17.299 | 0.0055335
350.5 | -5.0544 | 17.6566 | 0.0056479
351 | -4.7146 | 17.9964 | 0.0057566
351.5 | -4.2763 | 18.4347 | 0.0058968
352 | -4.1572 | 18.5538 | 0.0059349
352.5 | -3.9969 | 18.7141 | 0.0059862
353 | -4.0462 | 18.6648 | 0.0059704
353.5 | -4.3036 | 18.4074 | 0.0058881
354 | -4.389 | 18.322 | 0.0058608
354.5 | -4.1789 | 18.5321 | 0.005928
355 | -3.8787 | 18.8323 | 0.006024
355.5 | -3.5058 | 19.2052 | 0.0061433
356 | -3.2919 | 19.4191 | 0.0062117
356.5 | -3.19 | 19.521 | 0.0062443
357 | -3.2028 | 19.5082 | 0.0062402
357.5 | -3.1738 | 19.5372 | 0.0062495
358 | -3.3445 | 19.3665 | 0.0061949
358.5 | -3.3741 | 19.3369 | 0.0061854
359 | -3.3888 | 19.3222 | 0.0061807
359.5 | -3.218 | 19.493 | 0.0062353
360 | -3.0806 | 19.6304 | 0.0062793
360.5 | -2.7007 | 20.0103 | 0.0064008
361 | -2.5771 | 20.1339 | 0.0064404
361.5 | -2.5742 | 20.1368 | 0.0064413
362 | -2.6223 | 20.0887 | 0.0064259
362.5 | -2.8076 | 19.9034 | 0.0063666
363 | -2.7189 | 19.9921 | 0.006395
363.5 | -2.657 | 20.054 | 0.0064148
364 | -2.7508 | 19.9602 | 0.0063848
364.5 | -2.6799 | 20.0311 | 0.0064075
365 | -2.4691 | 20.2419 | 0.0064749
365.5 | -2.2662 | 20.4448 | 0.0065398
366 | -1.9028 | 20.8082 | 0.006656
366.5 | -1.8093 | 20.9017 | 0.006686
367 | -2.0232 | 20.6878 | 0.0066175
367.5 | -2.2371 | 20.4739 | 0.0065491
368 | -2.2766 | 20.4344 | 0.0065365
368.5 | -2.1818 | 20.5292 | 0.0065668
369 | -2.1047 | 20.6063 | 0.0065915
369.5 | -1.9626 | 20.7484 | 0.0066369
370 | -1.7469 | 20.9641 | 0.0067059
370.5 | -1.5966 | 21.1144 | 0.006754
371 | -1.4991 | 21.2119 | 0.0067852
371.5 | -1.4924 | 21.2186 | 0.0067873
372 | -1.3165 | 21.3945 | 0.0068436
372.5 | -1.4881 | 21.2229 | 0.0067887
373 | -1.37 | 21.341 | 0.0068265
373.5 | -1.0051 | 21.7059 | 0.0069432
374 | -0.52127 | 22.1897 | 0.007098
374.5 | -0.60953 | 22.1015 | 0.0070697
375 | -0.68086 | 22.0301 | 0.0070469
375.5 | -0.72574 | 21.9853 | 0.0070326
376 | -0.79477 | 21.9162 | 0.0070105
376.5 | -0.33968 | 22.3713 | 0.007156
377 | 0.067409 | 22.7784 | 0.0072863
377.5 | 0.36672 | 23.0777 | 0.007382
378 | 0.4313 | 23.1423 | 0.0074027
378.5 | 0.60832 | 23.3193 | 0.0074593
379 | 0.88886 | 23.5999 | 0.007549
379.5 | 0.95829 | 23.6693 | 0.0075712
380 | 1.0379 | 23.7489 | 0.0075967
380.5 | 1.2617 | 23.9727 | 0.0076683
381 | 1.9118 | 24.6228 | 0.0078762
381.5 | 2.4675 | 25.1785 | 0.008054
382 | 2.9818 | 25.6928 | 0.0082185
382.5 | 3.2468 | 25.9578 | 0.0083033
383 | 3.3916 | 26.1026 | 0.0083496
383.5 | 3.5187 | 26.2297 | 0.0083903
384 | 3.7056 | 26.4166 | 0.00845
384.5 | 3.8986 | 26.6096 | 0.0085118
385 | 4.2387 | 26.9497 | 0.0086206
385.5 | 4.6896 | 27.4006 | 0.0087648
386 | 4.9928 | 27.7038 | 0.0088618
386.5 | 5.1325 | 27.8435 | 0.0089065
387 | 5.197 | 27.908 | 0.0089271
387.5 | 5.3687 | 28.0797 | 0.008982
388 | 5.6246 | 28.3356 | 0.0090639
388.5 | 6.0153 | 28.7263 | 0.0091889
389 | 6.7117 | 29.4227 | 0.0094116
389.5 | 7.4334 | 30.1444 | 0.0096425
390 | 8.1417 | 30.8527 | 0.009869
390.5 | 9.0219 | 31.7329 | 0.010151
391 | 9.6809 | 32.3919 | 0.010361
391.5 | 10.236 | 32.947 | 0.010539
392 | 10.877 | 33.588 | 0.010744
392.5 | 11.837 | 34.548 | 0.011051
393 | 12.705 | 35.416 | 0.011329
393.5 | 13.79 | 36.501 | 0.011676
394 | 14.601 | 37.312 | 0.011935
394.5 | 15.2 | 37.911 | 0.012127
395 | 15.585 | 38.296 | 0.01225
395.5 | 15.993 | 38.704 | 0.01238
396 | 16.266 | 38.977 | 0.012468
396.5 | 16.525 | 39.236 | 0.012551
397 | 16.769 | 39.48 | 0.012629
397.5 | 17.426 | 40.137 | 0.012839
398 | 18.016 | 40.727 | 0.013028
398.5 | 18.463 | 41.174 | 0.013171
399 | 18.811 | 41.522 | 0.013282
399.5 | 19.386 | 42.097 | 0.013466
400 | 20.267 | 42.978 | 0.013748
400.5 | 21.563 | 44.274 | 0.014162
401 | 22.915 | 45.626 | 0.014595
401.5 | 24.407 | 47.118 | 0.015072
402 | 26.103 | 48.814 | 0.015614
402.5 | 28.102 | 50.813 | 0.016254
403 | 29.979 | 52.69 | 0.016854
403.5 | 31.94 | 54.651 | 0.017482
404 | 34.027 | 56.738 | 0.018149
404.5 | 36.364 | 59.075 | 0.018897
405 | 38.79 | 61.501 | 0.019673
405.5 | 41.439 | 64.15 | 0.02052
406 | 44.078 | 66.789 | 0.021364
406.5 | 46.736 | 69.447 | 0.022214
407 | 49.445 | 72.156 | 0.023081
407.5 | 52.334 | 75.045 | 0.024005
408 | 55.714 | 78.425 | 0.025086
408.5 | 59.41 | 82.121 | 0.026269
409 | 63.556 | 86.267 | 0.027595
409.5 | 68.177 | 90.888 | 0.029073
410 | 73.353 | 96.064 | 0.030729
410.5 | 79.124 | 101.835 | 0.032575
411 | 85.305 | 108.016 | 0.034552
411.5 | 92.2 | 114.911 | 0.036757
412 | 99.624 | 122.335 | 0.039132
412.5 | 107.59 | 130.301 | 0.04168
413 | 116.57 | 139.281 | 0.044553
413.5 | 126.58 | 149.291 | 0.047755
414 | 136.96 | 159.671 | 0.051075
414.5 | 147.83 | 170.541 | 0.054552
415 | 159.78 | 182.491 | 0.058374
415.5 | 172.69 | 195.401 | 0.062504
416 | 186.32 | 209.031 | 0.066864
416.5 | 200.43 | 223.141 | 0.071377
417 | 215.61 | 238.321 | 0.076233
417.5 | 231.75 | 254.461 | 0.081396
418 | 248.9 | 271.611 | 0.086882
418.5 | 267 | 289.711 | 0.092672
419 | 286.01 | 308.721 | 0.098752
419.5 | 306 | 328.711 | 0.10515
420 | 327.45 | 350.161 | 0.11201
420.5 | 350.27 | 372.981 | 0.11931
421 | 374.25 | 396.961 | 0.12698
421.5 | 399.26 | 421.971 | 0.13498
422 | 425.79 | 448.501 | 0.14346
422.5 | 454.1 | 476.811 | 0.15252
423 | 483.83 | 506.541 | 0.16203
423.5 | 514.92 | 537.631 | 0.17198
424 | 547.16 | 569.871 | 0.18229
424.5 | 581.03 | 603.741 | 0.19312
425 | 616.72 | 639.431 | 0.20454
425.5 | 653.99 | 676.701 | 0.21646
426 | 692.97 | 715.681 | 0.22893
426.5 | 733.51 | 756.221 | 0.2419
427 | 776.04 | 798.751 | 0.2555
427.5 | 820.88 | 843.591 | 0.26984
428 | 867.08 | 889.791 | 0.28462
428.5 | 915.66 | 938.371 | 0.30016
429 | 967.38 | 990.091 | 0.31671
429.5 | 1022.6 | 1045.311 | 0.33437
430 | 1082.4 | 1105.111 | 0.3535
430.5 | 1145.4 | 1168.111 | 0.37365
431 | 1211.5 | 1234.211 | 0.39479
431.5 | 1279.7 | 1302.411 | 0.41661
432 | 1349.5 | 1372.211 | 0.43894
432.5 | 1420.9 | 1443.611 | 0.46178
433 | 1493.7 | 1516.411 | 0.48506
433.5 | 1568.5 | 1591.211 | 0.50899
434 | 1646.4 | 1669.111 | 0.53391
434.5 | 1726.5 | 1749.211 | 0.55953
435 | 1807.5 | 1830.211 | 0.58544
435.5 | 1888.6 | 1911.311 | 0.61138
436 | 1969 | 1991.711 | 0.6371
436.5 | 2048.5 | 2071.211 | 0.66253
437 | 2126.7 | 2149.411 | 0.68755
437.5 | 2203.2 | 2225.911 | 0.71202
438 | 2278.6 | 2301.311 | 0.73613
438.5 | 2352.6 | 2375.311 | 0.75981
439 | 2424.5 | 2447.211 | 0.7828
439.5 | 2493.8 | 2516.511 | 0.80497
440 | 2560 | 2582.711 | 0.82615
440.5 | 2623.3 | 2646.011 | 0.8464
441 | 2682.8 | 2705.511 | 0.86543
441.5 | 2738.3 | 2761.011 | 0.88318
442 | 2789.5 | 2812.211 | 0.89956
442.5 | 2837.2 | 2859.911 | 0.91482
443 | 2882.2 | 2904.911 | 0.92921
443.5 | 2924.4 | 2947.111 | 0.94271
444 | 2964 | 2986.711 | 0.95538
444.5 | 3000.3 | 3023.011 | 0.96699
445 | 3032.2 | 3054.911 | 0.97719
445.5 | 3059.2 | 3081.911 | 0.98583
446 | 3079.2 | 3101.911 | 0.99223
446.5 | 3093.3 | 3116.011 | 0.99674
447 | 3101.3 | 3124.011 | 0.9993
447.5 | 3103.5 | 3126.211 | 1
448 | 3099.4 | 3122.111 | 0.99869
448.5 | 3088 | 3110.711 | 0.99504
449 | 3069.6 | 3092.311 | 0.98916
449.5 | 3042.5 | 3065.211 | 0.98049
450 | 3008 | 3030.711 | 0.96945
450.5 | 2965.7 | 2988.411 | 0.95592
451 | 2916.8 | 2939.511 | 0.94028
451.5 | 2862.4 | 2885.111 | 0.92288
452 | 2802.1 | 2824.811 | 0.90359
452.5 | 2737.3 | 2760.011 | 0.88286
453 | 2667.5 | 2690.211 | 0.86053
453.5 | 2593.6 | 2616.311 | 0.8369
454 | 2516.5 | 2539.211 | 0.81223
454.5 | 2436.4 | 2459.111 | 0.78661
455 | 2355.3 | 2378.011 | 0.76067
455.5 | 2274.4 | 2297.111 | 0.73479
456 | 2194.6 | 2217.311 | 0.70926
456.5 | 2116.6 | 2139.311 | 0.68431
457 | 2040.4 | 2063.111 | 0.65994
457.5 | 1965.8 | 1988.511 | 0.63608
458 | 1893.1 | 1915.811 | 0.61282
458.5 | 1821.9 | 1844.611 | 0.59005
459 | 1753.2 | 1775.911 | 0.56807
459.5 | 1687.1 | 1709.811 | 0.54693
460 | 1624.2 | 1646.911 | 0.52681
460.5 | 1565 | 1587.711 | 0.50787
461 | 1508.3 | 1531.011 | 0.48973
461.5 | 1454.3 | 1477.011 | 0.47246
462 | 1402.9 | 1425.611 | 0.45602
462.5 | 1353.8 | 1376.511 | 0.44031
463 | 1307.2 | 1329.911 | 0.42541
463.5 | 1263.8 | 1286.511 | 0.41152
464 | 1223 | 1245.711 | 0.39847
464.5 | 1184.7 | 1207.411 | 0.38622
465 | 1149.2 | 1171.911 | 0.37487
465.5 | 1116.2 | 1138.911 | 0.36431
466 | 1085.8 | 1108.511 | 0.35459
466.5 | 1056.8 | 1079.511 | 0.34531
467 | 1029.3 | 1052.011 | 0.33651
467.5 | 1002.9 | 1025.611 | 0.32807
468 | 976.64 | 999.351 | 0.31967
468.5 | 950.68 | 973.391 | 0.31136
469 | 924.8 | 947.511 | 0.30309
469.5 | 899.7 | 922.411 | 0.29506
470 | 875.28 | 897.991 | 0.28725
470.5 | 851.62 | 874.331 | 0.27968
471 | 828.24 | 850.951 | 0.2722
471.5 | 805.22 | 827.931 | 0.26484
472 | 782.33 | 805.041 | 0.25751
472.5 | 759.59 | 782.301 | 0.25024
473 | 737.22 | 759.931 | 0.24308
473.5 | 715.58 | 738.291 | 0.23616
474 | 694.94 | 717.651 | 0.22956
474.5 | 675.44 | 698.151 | 0.22332
475 | 656.76 | 679.471 | 0.21735
475.5 | 638.78 | 661.491 | 0.2116
476 | 621.64 | 644.351 | 0.20611
476.5 | 605.65 | 628.361 | 0.201
477 | 590.81 | 613.521 | 0.19625
477.5 | 577.04 | 599.751 | 0.19185
478 | 564.44 | 587.151 | 0.18782
478.5 | 553.07 | 575.781 | 0.18418
479 | 542.6 | 565.311 | 0.18083
479.5 | 532.72 | 555.431 | 0.17767
480 | 523.8 | 546.511 | 0.17482
480.5 | 515.94 | 538.651 | 0.1723
481 | 509.58 | 532.291 | 0.17027
481.5 | 504.22 | 526.931 | 0.16855
482 | 499.7 | 522.411 | 0.16711
482.5 | 495.74 | 518.451 | 0.16584
483 | 492.4 | 515.111 | 0.16477
483.5 | 489.48 | 512.191 | 0.16384
484 | 486.88 | 509.591 | 0.16301
484.5 | 484.8 | 507.511 | 0.16234
485 | 483.2 | 505.911 | 0.16183
485.5 | 482.14 | 504.851 | 0.16149
486 | 481.29 | 504.001 | 0.16122
486.5 | 480.97 | 503.681 | 0.16112
487 | 480.99 | 503.701 | 0.16112
487.5 | 481.88 | 504.591 | 0.16141
488 | 483.86 | 506.571 | 0.16204
488.5 | 486.97 | 509.681 | 0.16303
489 | 490.81 | 513.521 | 0.16426
489.5 | 495.49 | 518.201 | 0.16576
490 | 500.91 | 523.621 | 0.16749
490.5 | 507.28 | 529.991 | 0.16953
491 | 514.75 | 537.461 | 0.17192
491.5 | 523.18 | 545.891 | 0.17462
492 | 532.77 | 555.481 | 0.17769
492.5 | 543.55 | 566.261 | 0.18113
493 | 555.01 | 577.721 | 0.1848
493.5 | 566.73 | 589.441 | 0.18855
494 | 579.18 | 601.891 | 0.19253
494.5 | 592.16 | 614.871 | 0.19668
495 | 606.06 | 628.771 | 0.20113
495.5 | 620.71 | 643.421 | 0.20581
496 | 636.38 | 659.091 | 0.21083
496.5 | 652.85 | 675.561 | 0.2161
497 | 669.96 | 692.671 | 0.22157
497.5 | 687.87 | 710.581 | 0.2273
498 | 706.75 | 729.461 | 0.23334
498.5 | 725.91 | 748.621 | 0.23947
499 | 745.91 | 768.621 | 0.24586
499.5 | 766.4 | 789.111 | 0.25242
500 | 786.81 | 809.521 | 0.25895
500.5 | 807.1 | 829.811 | 0.26544
501 | 827.28 | 849.991 | 0.27189
501.5 | 847.72 | 870.431 | 0.27843
502 | 868.31 | 891.021 | 0.28502
502.5 | 889.14 | 911.851 | 0.29168
503 | 910.18 | 932.891 | 0.29841
503.5 | 930.54 | 953.251 | 0.30492
504 | 950.51 | 973.221 | 0.31131
504.5 | 969.91 | 992.621 | 0.31752
505 | 988.98 | 1011.691 | 0.32362
505.5 | 1008 | 1030.711 | 0.3297
506 | 1026.9 | 1049.611 | 0.33575
506.5 | 1045.8 | 1068.511 | 0.34179
507 | 1063.9 | 1086.611 | 0.34758
507.5 | 1081.2 | 1103.911 | 0.35311
508 | 1097.8 | 1120.511 | 0.35842
508.5 | 1113.8 | 1136.511 | 0.36354
509 | 1129.7 | 1152.411 | 0.36863
509.5 | 1145.4 | 1168.111 | 0.37365
510 | 1161 | 1183.711 | 0.37864
510.5 | 1176.8 | 1199.511 | 0.38369
511 | 1192.4 | 1215.111 | 0.38868
511.5 | 1207.4 | 1230.111 | 0.39348
512 | 1221.5 | 1244.211 | 0.39799
512.5 | 1235 | 1257.711 | 0.40231
513 | 1248.4 | 1271.111 | 0.4066
513.5 | 1262.1 | 1284.811 | 0.41098
514 | 1276 | 1298.711 | 0.41543
514.5 | 1289.9 | 1312.611 | 0.41987
515 | 1303.4 | 1326.111 | 0.42419
515.5 | 1315.9 | 1338.611 | 0.42819
516 | 1327 | 1349.711 | 0.43174
516.5 | 1336.6 | 1359.311 | 0.43481
517 | 1345.6 | 1368.311 | 0.43769
517.5 | 1355.2 | 1377.911 | 0.44076
518 | 1365.3 | 1388.011 | 0.44399
518.5 | 1375.8 | 1398.511 | 0.44735
519 | 1386.5 | 1409.211 | 0.45077
519.5 | 1396.3 | 1419.011 | 0.45391
520 | 1405.4 | 1428.111 | 0.45682
520.5 | 1413.7 | 1436.411 | 0.45947
521 | 1421.5 | 1444.211 | 0.46197
521.5 | 1429.4 | 1452.111 | 0.4645
522 | 1438 | 1460.711 | 0.46725
522.5 | 1447.3 | 1470.011 | 0.47022
523 | 1456.6 | 1479.311 | 0.4732
523.5 | 1465.8 | 1488.511 | 0.47614
524 | 1474.4 | 1497.111 | 0.47889
524.5 | 1482.1 | 1504.811 | 0.48135
525 | 1489.2 | 1511.911 | 0.48362
525.5 | 1495.8 | 1518.511 | 0.48574
526 | 1502.6 | 1525.311 | 0.48791
526.5 | 1509.9 | 1532.611 | 0.49025
527 | 1517.9 | 1540.611 | 0.4928
527.5 | 1525.4 | 1548.111 | 0.4952
528 | 1531.7 | 1554.411 | 0.49722
528.5 | 1537.1 | 1559.811 | 0.49895
529 | 1541.8 | 1564.511 | 0.50045
529.5 | 1545.9 | 1568.611 | 0.50176
530 | 1550.8 | 1573.511 | 0.50333
530.5 | 1555.9 | 1578.611 | 0.50496
531 | 1561.9 | 1584.611 | 0.50688
531.5 | 1568.4 | 1591.111 | 0.50896
532 | 1575.5 | 1598.211 | 0.51123
532.5 | 1583.4 | 1606.111 | 0.51376
533 | 1592.1 | 1614.811 | 0.51654
533.5 | 1601.6 | 1624.311 | 0.51958
534 | 1610.7 | 1633.411 | 0.52249
534.5 | 1617.9 | 1640.611 | 0.52479
535 | 1623.3 | 1646.011 | 0.52652
535.5 | 1627.5 | 1650.211 | 0.52786
536 | 1631.2 | 1653.911 | 0.52905
536.5 | 1635 | 1657.711 | 0.53026
537 | 1638.9 | 1661.611 | 0.53151
537.5 | 1642.6 | 1665.311 | 0.53269
538 | 1645.7 | 1668.411 | 0.53368
538.5 | 1647.7 | 1670.411 | 0.53432
539 | 1649 | 1671.711 | 0.53474
539.5 | 1650.6 | 1673.311 | 0.53525
540 | 1653.4 | 1676.111 | 0.53615
540.5 | 1657.7 | 1680.411 | 0.53752
541 | 1662.6 | 1685.311 | 0.53909
541.5 | 1667.2 | 1689.911 | 0.54056
542 | 1671.3 | 1694.011 | 0.54187
542.5 | 1674.7 | 1697.411 | 0.54296
543 | 1677.1 | 1699.811 | 0.54373
543.5 | 1678.7 | 1701.411 | 0.54424
544 | 1680.1 | 1702.811 | 0.54469
544.5 | 1681.7 | 1704.411 | 0.5452
545 | 1682.7 | 1705.411 | 0.54552
545.5 | 1682.6 | 1705.311 | 0.54549
546 | 1680.9 | 1703.611 | 0.54494
546.5 | 1677.4 | 1700.111 | 0.54382
547 | 1672.7 | 1695.411 | 0.54232
547.5 | 1666.5 | 1689.211 | 0.54034
548 | 1659.8 | 1682.511 | 0.53819
548.5 | 1653.3 | 1676.011 | 0.53612
549 | 1646.5 | 1669.211 | 0.53394
549.5 | 1639.7 | 1662.411 | 0.53177
550 | 1632.7 | 1655.411 | 0.52953
550.5 | 1625.9 | 1648.611 | 0.52735
551 | 1618.8 | 1641.511 | 0.52508
551.5 | 1611.9 | 1634.611 | 0.52287
552 | 1605.8 | 1628.511 | 0.52092
552.5 | 1599.9 | 1622.611 | 0.51903
553 | 1593.9 | 1616.611 | 0.51712
553.5 | 1587.3 | 1610.011 | 0.515
554 | 1580.1 | 1602.811 | 0.5127
554.5 | 1572.5 | 1595.211 | 0.51027
555 | 1564.9 | 1587.611 | 0.50784
555.5 | 1557.4 | 1580.111 | 0.50544
556 | 1549.6 | 1572.311 | 0.50294
556.5 | 1541.8 | 1564.511 | 0.50045
557 | 1534.1 | 1556.811 | 0.49799
557.5 | 1525.9 | 1548.611 | 0.49536
558 | 1518.1 | 1540.811 | 0.49287
558.5 | 1510.7 | 1533.411 | 0.4905
559 | 1503.1 | 1525.811 | 0.48807
559.5 | 1494.6 | 1517.311 | 0.48535
560 | 1484.9 | 1507.611 | 0.48225
560.5 | 1474.2 | 1496.911 | 0.47883
561 | 1462.1 | 1484.811 | 0.47496
561.5 | 1449.7 | 1472.411 | 0.47099
562 | 1437.9 | 1460.611 | 0.46721
562.5 | 1426.8 | 1449.511 | 0.46366
563 | 1416.5 | 1439.211 | 0.46037
563.5 | 1405.9 | 1428.611 | 0.45698
564 | 1395.2 | 1417.911 | 0.45356
564.5 | 1384.5 | 1407.211 | 0.45013
565 | 1374.4 | 1397.111 | 0.4469
565.5 | 1365.9 | 1388.611 | 0.44418
566 | 1358.5 | 1381.211 | 0.44182
566.5 | 1352.4 | 1375.111 | 0.43987
567 | 1346.7 | 1369.411 | 0.43804
567.5 | 1340.3 | 1363.011 | 0.43599
568 | 1333.4 | 1356.111 | 0.43379
568.5 | 1326 | 1348.711 | 0.43142
569 | 1319 | 1341.711 | 0.42918
569.5 | 1312.7 | 1335.411 | 0.42717
570 | 1307.1 | 1329.811 | 0.42537
570.5 | 1301.1 | 1323.811 | 0.42346
571 | 1293.2 | 1315.911 | 0.42093
571.5 | 1283.2 | 1305.911 | 0.41773
572 | 1270.9 | 1293.611 | 0.4138
572.5 | 1257.2 | 1279.911 | 0.40941
573 | 1244 | 1266.711 | 0.40519
573.5 | 1231.9 | 1254.611 | 0.40132
574 | 1221.4 | 1244.111 | 0.39796
574.5 | 1211.9 | 1234.611 | 0.39492
575 | 1202.5 | 1225.211 | 0.39192
575.5 | 1192.7 | 1215.411 | 0.38878
576 | 1182.8 | 1205.511 | 0.38561
576.5 | 1174 | 1196.711 | 0.3828
577 | 1166.2 | 1188.911 | 0.3803
577.5 | 1160 | 1182.711 | 0.37832
578 | 1154.8 | 1177.511 | 0.37666
578.5 | 1149.8 | 1172.511 | 0.37506
579 | 1144.9 | 1167.611 | 0.37349
579.5 | 1140.3 | 1163.011 | 0.37202
580 | 1136 | 1158.711 | 0.37064
580.5 | 1132.2 | 1154.911 | 0.36943
581 | 1128.8 | 1151.511 | 0.36834
581.5 | 1125.9 | 1148.611 | 0.36741
582 | 1123.5 | 1146.211 | 0.36665
582.5 | 1121 | 1143.711 | 0.36585
583 | 1117.7 | 1140.411 | 0.36479
583.5 | 1113.2 | 1135.911 | 0.36335
584 | 1107.6 | 1130.311 | 0.36156
584.5 | 1100.4 | 1123.111 | 0.35926
585 | 1091.9 | 1114.611 | 0.35654
585.5 | 1083.1 | 1105.811 | 0.35372
586 | 1074.5 | 1097.211 | 0.35097
586.5 | 1066 | 1088.711 | 0.34825
587 | 1058.1 | 1080.811 | 0.34573
587.5 | 1049.6 | 1072.311 | 0.34301
588 | 1041.2 | 1063.911 | 0.34032
588.5 | 1033.2 | 1055.911 | 0.33776
589 | 1026.4 | 1049.111 | 0.33559
589.5 | 1020.8 | 1043.511 | 0.33379
590 | 1016.1 | 1038.811 | 0.33229
590.5 | 1011.1 | 1033.811 | 0.33069
591 | 1004.6 | 1027.311 | 0.32861
591.5 | 996.34 | 1019.051 | 0.32597
592 | 987.06 | 1009.771 | 0.323
592.5 | 977.85 | 1000.561 | 0.32006
593 | 969.61 | 992.321 | 0.31742
593.5 | 962.41 | 985.121 | 0.31512
594 | 955.81 | 978.521 | 0.31301
594.5 | 948.83 | 971.541 | 0.31077
595 | 940.75 | 963.461 | 0.30819
595.5 | 931.52 | 954.231 | 0.30524
596 | 921.59 | 944.301 | 0.30206
596.5 | 912.02 | 934.731 | 0.299
597 | 903.42 | 926.131 | 0.29625
597.5 | 895.28 | 917.991 | 0.29364
598 | 886.7 | 909.411 | 0.2909
598.5 | 877.55 | 900.261 | 0.28797
599 | 867.82 | 890.531 | 0.28486
599.5 | 857.46 | 880.171 | 0.28155
600 | 846.77 | 869.481 | 0.27813
600.5 | 836.46 | 859.171 | 0.27483
601 | 827.13 | 849.841 | 0.27184
601.5 | 818.34 | 841.051 | 0.26903
602 | 809.64 | 832.351 | 0.26625
602.5 | 800.84 | 823.551 | 0.26343
603 | 791.73 | 814.441 | 0.26052
603.5 | 782.49 | 805.201 | 0.25756
604 | 772.96 | 795.671 | 0.25452
604.5 | 763 | 785.711 | 0.25133
605 | 753.31 | 776.021 | 0.24823
605.5 | 743.71 | 766.421 | 0.24516
606 | 733.76 | 756.471 | 0.24198
606.5 | 723.48 | 746.191 | 0.23869
607 | 713.33 | 736.041 | 0.23544
607.5 | 703.1 | 725.811 | 0.23217
608 | 692.4 | 715.111 | 0.22875
608.5 | 681.37 | 704.081 | 0.22522
609 | 669.76 | 692.471 | 0.2215
609.5 | 658.2 | 680.911 | 0.21781
610 | 647.27 | 669.981 | 0.21431
610.5 | 636.81 | 659.521 | 0.21096
611 | 626.98 | 649.691 | 0.20782
611.5 | 617.85 | 640.561 | 0.2049
612 | 609.27 | 631.981 | 0.20216
612.5 | 600.62 | 623.331 | 0.19939
613 | 592.38 | 615.091 | 0.19675
613.5 | 585.46 | 608.171 | 0.19454
614 | 578.87 | 601.581 | 0.19243
614.5 | 572.74 | 595.451 | 0.19047
615 | 566.64 | 589.351 | 0.18852
615.5 | 560.35 | 583.061 | 0.18651
616 | 553.67 | 576.381 | 0.18437
616.5 | 547.21 | 569.921 | 0.1823
617 | 540.7 | 563.411 | 0.18022
617.5 | 534.24 | 556.951 | 0.17816
618 | 527.54 | 550.251 | 0.17601
618.5 | 520.45 | 543.161 | 0.17374
619 | 512.94 | 535.651 | 0.17134
619.5 | 505.51 | 528.221 | 0.16897
620 | 497.77 | 520.481 | 0.16649
620.5 | 489.47 | 512.181 | 0.16383
621 | 481.01 | 503.721 | 0.16113
621.5 | 472.62 | 495.331 | 0.15844
622 | 464.15 | 486.861 | 0.15574
622.5 | 456.17 | 478.881 | 0.15318
623 | 449.32 | 472.031 | 0.15099
623.5 | 443.44 | 466.151 | 0.14911
624 | 438.42 | 461.131 | 0.1475
624.5 | 433.68 | 456.391 | 0.14599
625 | 429.83 | 452.541 | 0.14476
625.5 | 426.79 | 449.501 | 0.14378
626 | 424.07 | 446.781 | 0.14291
626.5 | 421.04 | 443.751 | 0.14195
627 | 418.08 | 440.791 | 0.141
627.5 | 415.28 | 437.991 | 0.1401
628 | 411.8 | 434.511 | 0.13899
628.5 | 408.13 | 430.841 | 0.13782
629 | 404.28 | 426.991 | 0.13658
629.5 | 400.01 | 422.721 | 0.13522
630 | 395.17 | 417.881 | 0.13367
630.5 | 389.66 | 412.371 | 0.13191
631 | 384.51 | 407.221 | 0.13026
631.5 | 379.73 | 402.441 | 0.12873
632 | 374.96 | 397.671 | 0.12721
632.5 | 369.83 | 392.541 | 0.12556
633 | 364.53 | 387.241 | 0.12387
633.5 | 358.92 | 381.631 | 0.12207
634 | 353.11 | 375.821 | 0.12022
634.5 | 347.69 | 370.401 | 0.11848
635 | 342.95 | 365.661 | 0.11697
635.5 | 338.81 | 361.521 | 0.11564
636 | 334.19 | 356.901 | 0.11416
636.5 | 329.02 | 351.731 | 0.11251
637 | 323.79 | 346.501 | 0.11084
637.5 | 319.04 | 341.751 | 0.10932
638 | 315.05 | 337.761 | 0.10804
638.5 | 311.53 | 334.241 | 0.10692
639 | 308.41 | 331.121 | 0.10592
639.5 | 305.13 | 327.841 | 0.10487
640 | 301.61 | 324.321 | 0.10374
640.5 | 297.89 | 320.601 | 0.10255
641 | 294.18 | 316.891 | 0.10137
641.5 | 291.14 | 313.851 | 0.10039
642 | 288.26 | 310.971 | 0.099472
642.5 | 285.72 | 308.431 | 0.09866
643 | 282.78 | 305.491 | 0.097719
643.5 | 279.71 | 302.421 | 0.096737
644 | 276.44 | 299.151 | 0.095691
644.5 | 272.65 | 295.361 | 0.094479
645 | 268.8 | 291.511 | 0.093247
645.5 | 264.6 | 287.311 | 0.091904
646 | 260.2 | 282.911 | 0.090496
646.5 | 256.2 | 278.911 | 0.089217
647 | 252.12 | 274.831 | 0.087912
647.5 | 248.03 | 270.741 | 0.086604
648 | 244.07 | 266.781 | 0.085337
648.5 | 239.91 | 262.621 | 0.084006
649 | 235.49 | 258.201 | 0.082592
649.5 | 230.76 | 253.471 | 0.081079
650 | 225.89 | 248.601 | 0.079522
650.5 | 220.92 | 243.631 | 0.077932
651 | 216.14 | 238.851 | 0.076403
651.5 | 211.23 | 233.941 | 0.074832
652 | 206.01 | 228.721 | 0.073162
652.5 | 201.04 | 223.751 | 0.071573
653 | 195.99 | 218.701 | 0.069957
653.5 | 191.29 | 214.001 | 0.068454
654 | 186.69 | 209.401 | 0.066982
654.5 | 182.71 | 205.421 | 0.065709
655 | 179.32 | 202.031 | 0.064625
655.5 | 176.32 | 199.031 | 0.063665
656 | 173.48 | 196.191 | 0.062757
656.5 | 170.54 | 193.251 | 0.061816
657 | 167.78 | 190.491 | 0.060934
657.5 | 165.36 | 188.071 | 0.060159
658 | 162.93 | 185.641 | 0.059382
658.5 | 160.5 | 183.211 | 0.058605
659 | 158.45 | 181.161 | 0.057949
659.5 | 156.16 | 178.871 | 0.057217
660 | 153.52 | 176.231 | 0.056372
660.5 | 150.47 | 173.181 | 0.055396
661 | 147.39 | 170.101 | 0.054411
661.5 | 144.54 | 167.251 | 0.0535
662 | 141.76 | 164.471 | 0.05261
662.5 | 138.92 | 161.631 | 0.051702
663 | 136.15 | 158.861 | 0.050816
663.5 | 133.4 | 156.111 | 0.049936
664 | 130.49 | 153.201 | 0.049005
664.5 | 127.94 | 150.651 | 0.04819
665 | 125.96 | 148.671 | 0.047556
665.5 | 124.35 | 147.061 | 0.047041
666 | 122.69 | 145.401 | 0.04651
666.5 | 120.81 | 143.521 | 0.045909
667 | 118.74 | 141.451 | 0.045247
667.5 | 116.36 | 139.071 | 0.044485
668 | 114.36 | 137.071 | 0.043846
668.5 | 112.38 | 135.091 | 0.043212
669 | 110.25 | 132.961 | 0.042531
669.5 | 107.93 | 130.641 | 0.041789
670 | 105.19 | 127.901 | 0.040912
670.5 | 102.1 | 124.811 | 0.039924
671 | 99.317 | 122.028 | 0.039034
671.5 | 97.147 | 119.858 | 0.03834
672 | 95.153 | 117.864 | 0.037702
672.5 | 93.285 | 115.996 | 0.037104
673 | 91.027 | 113.738 | 0.036382
673.5 | 88.892 | 111.603 | 0.035699
674 | 87.248 | 109.959 | 0.035173
674.5 | 85.784 | 108.495 | 0.034705
675 | 84.423 | 107.134 | 0.03427
675.5 | 83.146 | 105.857 | 0.033861
676 | 81.717 | 104.428 | 0.033404
676.5 | 80.005 | 102.716 | 0.032856
677 | 78.639 | 101.35 | 0.032419
677.5 | 77.33 | 100.041 | 0.032001
678 | 76.046 | 98.757 | 0.03159
678.5 | 74.438 | 97.149 | 0.031076
679 | 72.885 | 95.596 | 0.030579
679.5 | 71.417 | 94.128 | 0.030109
680 | 69.976 | 92.687 | 0.029648
680.5 | 68.39 | 91.101 | 0.029141
681 | 66.686 | 89.397 | 0.028596
681.5 | 65.026 | 87.737 | 0.028065
682 | 62.772 | 85.483 | 0.027344
682.5 | 60.887 | 83.598 | 0.026741
683 | 59.561 | 82.272 | 0.026317
683.5 | 58.435 | 81.146 | 0.025957
684 | 56.779 | 79.49 | 0.025427
684.5 | 55.144 | 77.855 | 0.024904
685 | 53.911 | 76.622 | 0.02451
685.5 | 53.196 | 75.907 | 0.024281
686 | 52.519 | 75.23 | 0.024064
686.5 | 51.782 | 74.493 | 0.023829
687 | 51.205 | 73.916 | 0.023644
687.5 | 50.488 | 73.199 | 0.023415
688 | 49.565 | 72.276 | 0.023119
688.5 | 48.763 | 71.474 | 0.022863
689 | 48.065 | 70.776 | 0.02264
689.5 | 47.313 | 70.024 | 0.022399
690 | 46.254 | 68.965 | 0.02206
690.5 | 45.081 | 67.792 | 0.021685
691 | 44.414 | 67.125 | 0.021472
691.5 | 43.63 | 66.341 | 0.021221
692 | 42.687 | 65.398 | 0.020919
692.5 | 41.824 | 64.535 | 0.020643
693 | 40.879 | 63.59 | 0.020341
693.5 | 39.801 | 62.512 | 0.019996
694 | 38.881 | 61.592 | 0.019702
694.5 | 37.91 | 60.621 | 0.019391
695 | 36.922 | 59.633 | 0.019075
695.5 | 35.765 | 58.476 | 0.018705
696 | 34.282 | 56.993 | 0.018231
696.5 | 33.147 | 55.858 | 0.017868
697 | 32.18 | 54.891 | 0.017558
697.5 | 31.384 | 54.095 | 0.017304
698 | 30.667 | 53.378 | 0.017074
698.5 | 29.999 | 52.71 | 0.016861
699 | 29.39 | 52.101 | 0.016666
699.5 | 28.689 | 51.4 | 0.016442
700 | 27.905 | 50.616 | 0.016191
700.5 | 27.038 | 49.749 | 0.015914
701 | 26.253 | 48.964 | 0.015662
701.5 | 25.416 | 48.127 | 0.015395
702 | 24.67 | 47.381 | 0.015156
702.5 | 23.535 | 46.246 | 0.014793
703 | 22.403 | 45.114 | 0.014431
703.5 | 21.603 | 44.314 | 0.014175
704 | 20.825 | 43.536 | 0.013926
704.5 | 20.089 | 42.8 | 0.013691
705 | 19.501 | 42.212 | 0.013503
705.5 | 18.927 | 41.638 | 0.013319
706 | 18.175 | 40.886 | 0.013078
706.5 | 17.295 | 40.006 | 0.012797
707 | 16.496 | 39.207 | 0.012541
707.5 | 15.831 | 38.542 | 0.012329
708 | 15.174 | 37.885 | 0.012119
708.5 | 14.275 | 36.986 | 0.011831
709 | 13.705 | 36.416 | 0.011649
709.5 | 13.044 | 35.755 | 0.011437
710 | 12.254 | 34.965 | 0.011184
710.5 | 11.652 | 34.363 | 0.010992
711 | 10.914 | 33.625 | 0.010756
711.5 | 10.276 | 32.987 | 0.010552
712 | 9.7046 | 32.4156 | 0.010369
712.5 | 9.3187 | 32.0297 | 0.010246
713 | 8.9712 | 31.6822 | 0.010134
713.5 | 8.9611 | 31.6721 | 0.010131
714 | 8.6233 | 31.3343 | 0.010023
714.5 | 8.312 | 31.023 | 0.0099235
715 | 7.881 | 30.592 | 0.0097856
715.5 | 7.6483 | 30.3593 | 0.0097112
716 | 7.4643 | 30.1753 | 0.0096524
716.5 | 7.3998 | 30.1108 | 0.0096317
717 | 7.0892 | 29.8002 | 0.0095324
717.5 | 6.9955 | 29.7065 | 0.0095024
718 | 6.6581 | 29.3691 | 0.0093945
718.5 | 5.9583 | 28.6693 | 0.0091706
719 | 5.2386 | 27.9496 | 0.0089404
719.5 | 4.951 | 27.662 | 0.0088484
720 | 4.9555 | 27.6665 | 0.0088499
720.5 | 4.9562 | 27.6672 | 0.0088501
721 | 4.6353 | 27.3463 | 0.0087474
721.5 | 4.2923 | 27.0033 | 0.0086377
722 | 3.9029 | 26.6139 | 0.0085131
722.5 | 3.5184 | 26.2294 | 0.0083902
723 | 3.1393 | 25.8503 | 0.0082689
723.5 | 2.8716 | 25.5826 | 0.0081833
724 | 2.2958 | 25.0068 | 0.0079991
724.5 | 1.6168 | 24.3278 | 0.0077819
725 | 0.80066 | 23.5117 | 0.0075208
725.5 | 0.13376 | 22.8448 | 0.0073075
726 | -0.45241 | 22.2586 | 0.00712
726.5 | -0.99069 | 21.7203 | 0.0069478
727 | -1.626 | 21.085 | 0.0067446
727.5 | -2.3918 | 20.3192 | 0.0064996
728 | -3.0168 | 19.6942 | 0.0062997
728.5 | -3.595 | 19.116 | 0.0061148
729 | -4.0066 | 18.7044 | 0.0059831
729.5 | -4.4674 | 18.2436 | 0.0058357
730 | -5.1407 | 17.5703 | 0.0056203
730.5 | -5.5759 | 17.1351 | 0.0054811
731 | -5.7284 | 16.9826 | 0.0054323
731.5 | -6.2481 | 16.4629 | 0.0052661
732 | -6.628 | 16.083 | 0.0051446
732.5 | -7.2082 | 15.5028 | 0.004959
733 | -7.4095 | 15.3015 | 0.0048946
733.5 | -7.5462 | 15.1648 | 0.0048509
734 | -7.4186 | 15.2924 | 0.0048917
734.5 | -7.3366 | 15.3744 | 0.0049179
735 | -7.2889 | 15.4221 | 0.0049332
735.5 | -7.547 | 15.164 | 0.0048506
736 | -7.6744 | 15.0366 | 0.0048098
736.5 | -7.7458 | 14.9652 | 0.004787
737 | -7.645 | 15.066 | 0.0048193
737.5 | -7.7449 | 14.9661 | 0.0047873
738 | -7.9024 | 14.8086 | 0.0047369
738.5 | -8.3715 | 14.3395 | 0.0045869
739 | -8.8981 | 13.8129 | 0.0044184
739.5 | -9.2426 | 13.4684 | 0.0043082
740 | -9.3709 | 13.3401 | 0.0042672
740.5 | -9.3657 | 13.3453 | 0.0042688
741 | -9.4778 | 13.2332 | 0.004233
741.5 | -9.6082 | 13.1028 | 0.0041913
742 | -9.7012 | 13.0098 | 0.0041615
742.5 | -9.6494 | 13.0616 | 0.0041781
743 | -9.5554 | 13.1556 | 0.0042082
743.5 | -9.2461 | 13.4649 | 0.0043071
744 | -9.1817 | 13.5293 | 0.0043277
744.5 | -9.2869 | 13.4241 | 0.004294
745 | -9.5945 | 13.1165 | 0.0041957
745.5 | -10.212 | 12.499 | 0.0039981
746 | -10.673 | 12.038 | 0.0038507
746.5 | -10.897 | 11.814 | 0.003779
747 | -10.984 | 11.727 | 0.0037512
747.5 | -11.188 | 11.523 | 0.0036859
748 | -11.72 | 10.991 | 0.0035158
748.5 | -12.337 | 10.374 | 0.0033184
749 | -12.511 | 10.2 | 0.0032627
749.5 | -12.476 | 10.235 | 0.0032739
750 | -12.277 | 10.434 | 0.0033376
750.5 | -12.436 | 10.275 | 0.0032867
751 | -12.865 | 9.846 | 0.0031495
751.5 | -13.259 | 9.452 | 0.0030235
752 | -13.783 | 8.928 | 0.0028559
752.5 | -14.088 | 8.623 | 0.0027583
753 | -14.502 | 8.209 | 0.0026259
753.5 | -14.729 | 7.982 | 0.0025533
754 | -15.078 | 7.633 | 0.0024416
754.5 | -15.492 | 7.219 | 0.0023092
755 | -15.52 | 7.191 | 0.0023002
755.5 | -15.175 | 7.536 | 0.0024106
756 | -15.262 | 7.449 | 0.0023828
756.5 | -15.257 | 7.454 | 0.0023844
757 | -15.17 | 7.541 | 0.0024122
757.5 | -14.752 | 7.959 | 0.0025459
758 | -14.541 | 8.17 | 0.0026134
758.5 | -14.527 | 8.184 | 0.0026179
759 | -14.626 | 8.085 | 0.0025862
759.5 | -15.072 | 7.639 | 0.0024435
760 | -15.352 | 7.359 | 0.002354
760.5 | -15.178 | 7.533 | 0.0024096
761 | -15.237 | 7.474 | 0.0023908
761.5 | -15.367 | 7.344 | 0.0023492
762 | -15.435 | 7.276 | 0.0023274
762.5 | -15.647 | 7.064 | 0.0022596
763 | -15.626 | 7.085 | 0.0022663
763.5 | -15.548 | 7.163 | 0.0022913
764 | -15.335 | 7.376 | 0.0023594
764.5 | -15.435 | 7.276 | 0.0023274
765 | -15.821 | 6.89 | 0.0022039
765.5 | -16.121 | 6.59 | 0.002108
766 | -16.14 | 6.571 | 0.0021019
766.5 | -16.367 | 6.344 | 0.0020293
767 | -16.36 | 6.351 | 0.0020315
767.5 | -16.567 | 6.144 | 0.0019653
768 | -17.103 | 5.608 | 0.0017939
768.5 | -17.448 | 5.263 | 0.0016835
769 | -17.396 | 5.315 | 0.0017001
769.5 | -17.374 | 5.337 | 0.0017072
770 | -17.287 | 5.424 | 0.001735
770.5 | -17.052 | 5.659 | 0.0018102
771 | -17.184 | 5.527 | 0.001768
771.5 | -17.52 | 5.191 | 0.0016605
772 | -17.885 | 4.826 | 0.0015437
772.5 | -17.593 | 5.118 | 0.0016371
773 | -17.293 | 5.418 | 0.0017331
773.5 | -17.069 | 5.642 | 0.0018047
774 | -17.049 | 5.662 | 0.0018111
774.5 | -17.002 | 5.709 | 0.0018262
775 | -17.012 | 5.699 | 0.001823
775.5 | -16.68 | 6.031 | 0.0019292
776 | -16.177 | 6.534 | 0.0020901
776.5 | -15.597 | 7.114 | 0.0022756
777 | -15.759 | 6.952 | 0.0022238
777.5 | -16.047 | 6.664 | 0.0021317
778 | -16.297 | 6.414 | 0.0020517
778.5 | -16.485 | 6.226 | 0.0019915
779 | -16.275 | 6.436 | 0.0020587
779.5 | -16.504 | 6.207 | 0.0019855
780 | -17.219 | 5.492 | 0.0017568
780.5 | -17.847 | 4.864 | 0.0015559
781 | -18.467 | 4.244 | 0.0013576
781.5 | -18.289 | 4.422 | 0.0014145
782 | -17.973 | 4.738 | 0.0015156
782.5 | -17.873 | 4.838 | 0.0015476
783 | -17.658 | 5.053 | 0.0016163
783.5 | -17.853 | 4.858 | 0.001554
784 | -17.839 | 4.872 | 0.0015584
784.5 | -17.952 | 4.759 | 0.0015223
785 | -18.194 | 4.517 | 0.0014449
785.5 | -18.133 | 4.578 | 0.0014644
786 | -18.011 | 4.7 | 0.0015034
786.5 | -17.945 | 4.766 | 0.0015245
787 | -18.253 | 4.458 | 0.001426
787.5 | -18.526 | 4.185 | 0.0013387
788 | -18.62 | 4.091 | 0.0013086
788.5 | -18.843 | 3.868 | 0.0012373
789 | -18.836 | 3.875 | 0.0012395
789.5 | -18.511 | 4.2 | 0.0013435
790 | -18.408 | 4.303 | 0.0013764
790.5 | -18.792 | 3.919 | 0.0012536
791 | -19.319 | 3.392 | 0.001085
791.5 | -19.132 | 3.579 | 0.0011448
792 | -19.028 | 3.683 | 0.0011781
792.5 | -19.423 | 3.288 | 0.0010518
793 | -19.501 | 3.21 | 0.0010268
793.5 | -19.147 | 3.564 | 0.00114
794 | -19.01 | 3.701 | 0.0011839
794.5 | -18.796 | 3.915 | 0.0012523
795 | -18.609 | 4.102 | 0.0013121
795.5 | -18.43 | 4.281 | 0.0013694
796 | -18.413 | 4.298 | 0.0013748
796.5 | -18.329 | 4.382 | 0.0014017
797 | -17.993 | 4.718 | 0.0015092
797.5 | -17.85 | 4.861 | 0.0015549
798 | -18.124 | 4.587 | 0.0014673
798.5 | -18.024 | 4.687 | 0.0014993
799 | -18.158 | 4.553 | 0.0014564
799.5 | -18.088 | 4.623 | 0.0014788
800 | -18.16 | 4.551 | 0.0014558
800.5 | -18.325 | 4.386 | 0.001403
801 | -18.224 | 4.487 | 0.0014353
801.5 | -18.033 | 4.678 | 0.0014964
802 | -18.103 | 4.608 | 0.001474
802.5 | -18.124 | 4.587 | 0.0014673
803 | -18.49 | 4.221 | 0.0013502
803.5 | -18.42 | 4.291 | 0.0013726
804 | -18.446 | 4.265 | 0.0013643
804.5 | -18.244 | 4.467 | 0.0014289
805 | -18.204 | 4.507 | 0.0014417
805.5 | -18.5 | 4.211 | 0.001347
806 | -18.863 | 3.848 | 0.0012309
806.5 | -18.939 | 3.772 | 0.0012066
807 | -19.111 | 3.6 | 0.0011516
807.5 | -19.448 | 3.263 | 0.0010438
808 | -19.703 | 3.008 | 0.00096219
808.5 | -19.99 | 2.721 | 0.00087038
809 | -20.14 | 2.571 | 0.0008224
809.5 | -20.091 | 2.62 | 0.00083808
810 | -19.743 | 2.968 | 0.00094939
810.5 | -19.695 | 3.016 | 0.00096475
811 | -19.457 | 3.254 | 0.0010409
811.5 | -19.158 | 3.553 | 0.0011365
812 | -19.1 | 3.611 | 0.0011551
812.5 | -19.36 | 3.351 | 0.0010719
813 | -19.398 | 3.313 | 0.0010597
813.5 | -19.47 | 3.241 | 0.0010367
814 | -19.806 | 2.905 | 0.00092924
814.5 | -20.038 | 2.673 | 0.00085503
815 | -19.824 | 2.887 | 0.00092348
815.5 | -20.058 | 2.653 | 0.00084863
816 | -19.877 | 2.834 | 0.00090653
816.5 | -19.584 | 3.127 | 0.0010003
817 | -19.142 | 3.569 | 0.0011416
817.5 | -19.053 | 3.658 | 0.0011701
818 | -18.97 | 3.741 | 0.0011967
818.5 | -19.095 | 3.616 | 0.0011567
819 | -19.498 | 3.213 | 0.0010278
819.5 | -19.747 | 2.964 | 0.00094811
820 | -19.651 | 3.06 | 0.00097882
820.5 | -19.811 | 2.9 | 0.00092764
821 | -20.198 | 2.513 | 0.00080385
821.5 | -20.491 | 2.22 | 0.00071012
822 | -20.769 | 1.942 | 0.0006212
822.5 | -20.445 | 2.266 | 0.00072484
823 | -19.927 | 2.784 | 0.00089053
823.5 | -19.234 | 3.477 | 0.0011122
824 | -18.823 | 3.888 | 0.0012437
824.5 | -18.568 | 4.143 | 0.0013252
825 | -18.281 | 4.43 | 0.0014171
825.5 | -18.066 | 4.645 | 0.0014858
826 | -17.985 | 4.726 | 0.0015117
826.5 | -18.005 | 4.706 | 0.0015053
827 | -18.186 | 4.525 | 0.0014474
827.5 | -18.277 | 4.434 | 0.0014183
828 | -18.641 | 4.07 | 0.0013019
828.5 | -19.041 | 3.67 | 0.0011739
829 | -19.572 | 3.139 | 0.0010041
829.5 | -19.673 | 3.038 | 0.00097178
830 | -19.672 | 3.039 | 0.0009721
830.5 | -19.496 | 3.215 | 0.0010284
831 | -19.788 | 2.923 | 0.000935
831.5 | -20.208 | 2.503 | 0.00080065
832 | -20.341 | 2.37 | 0.00075811
832.5 | -20.229 | 2.482 | 0.00079393
833 | -20.303 | 2.408 | 0.00077026
833.5 | -20.585 | 2.126 | 0.00068006
834 | -20.582 | 2.129 | 0.00068102
834.5 | -20.392 | 2.319 | 0.00074179
835 | -19.766 | 2.945 | 0.00094203
835.5 | -19.024 | 3.687 | 0.0011794
836 | -18.747 | 3.964 | 0.001268
836.5 | -18.986 | 3.725 | 0.0011915
837 | -18.992 | 3.719 | 0.0011896
837.5 | -18.425 | 4.286 | 0.001371
838 | -18.157 | 4.554 | 0.0014567
838.5 | -18.108 | 4.603 | 0.0014724
839 | -18.408 | 4.303 | 0.0013764
839.5 | -18.611 | 4.1 | 0.0013115
840 | -19.033 | 3.678 | 0.0011765
840.5 | -18.984 | 3.727 | 0.0011922
841 | -18.78 | 3.931 | 0.0012574
841.5 | -18.715 | 3.996 | 0.0012782
842 | -18.536 | 4.175 | 0.0013355
842.5 | -18.321 | 4.39 | 0.0014043
843 | -18.343 | 4.368 | 0.0013972
843.5 | -18.705 | 4.006 | 0.0012814
844 | -18.629 | 4.082 | 0.0013057
844.5 | -18.389 | 4.322 | 0.0013825
845 | -18.214 | 4.497 | 0.0014385
845.5 | -18.161 | 4.55 | 0.0014554
846 | -18.447 | 4.264 | 0.001364
846.5 | -18.92 | 3.791 | 0.0012127
847 | -19.306 | 3.405 | 0.0010892
847.5 | -19.174 | 3.537 | 0.0011314
848 | -18.795 | 3.916 | 0.0012526
848.5 | -18.712 | 3.999 | 0.0012792
849 | -18.413 | 4.298 | 0.0013748
849.5 | -18.276 | 4.435 | 0.0014187
850 | -18.2 | 4.511 | 0.001443
850.5 | -17.744 | 4.967 | 0.0015888
851 | -17.648 | 5.063 | 0.0016195
851.5 | -17.5 | 5.211 | 0.0016669
852 | -17.373 | 5.338 | 0.0017075
852.5 | -17.449 | 5.262 | 0.0016832
853 | -17.416 | 5.295 | 0.0016937
853.5 | -17.494 | 5.217 | 0.0016688
854 | -17.386 | 5.325 | 0.0017033
854.5 | -17.384 | 5.327 | 0.001704
855 | -17.028 | 5.683 | 0.0018179
855.5 | -17.013 | 5.698 | 0.0018227
856 | -17.21 | 5.501 | 0.0017596
856.5 | -17.142 | 5.569 | 0.0017814
857 | -17.276 | 5.435 | 0.0017385
857.5 | -17.034 | 5.677 | 0.0018159
858 | -16.496 | 6.215 | 0.001988
858.5 | -15.9 | 6.811 | 0.0021787
859 | -15.507 | 7.204 | 0.0023044
859.5 | -14.956 | 7.755 | 0.0024806
860 | -14.805 | 7.906 | 0.0025289
860.5 | -14.858 | 7.853 | 0.002512
861 | -14.268 | 8.443 | 0.0027007
861.5 | -14.028 | 8.683 | 0.0027775
862 | -14.195 | 8.516 | 0.0027241
862.5 | -14.572 | 8.139 | 0.0026035
863 | -15.046 | 7.665 | 0.0024518
863.5 | -15.311 | 7.4 | 0.0023671
864 | -15.352 | 7.359 | 0.002354
864.5 | -15.166 | 7.545 | 0.0024135
865 | -15.415 | 7.296 | 0.0023338
865.5 | -15.909 | 6.802 | 0.0021758
866 | -16.16 | 6.551 | 0.0020955
866.5 | -15.742 | 6.969 | 0.0022292
867 | -15.188 | 7.523 | 0.0024064
867.5 | -14.994 | 7.717 | 0.0024685
868 | -14.713 | 7.998 | 0.0025584
868.5 | -14.561 | 8.15 | 0.002607
869 | -14.564 | 8.147 | 0.002606
869.5 | -14.516 | 8.195 | 0.0026214
870 | -14.587 | 8.124 | 0.0025987
870.5 | -15.143 | 7.568 | 0.0024208
871 | -15.113 | 7.598 | 0.0024304
871.5 | -14.757 | 7.954 | 0.0025443
872 | -14.394 | 8.317 | 0.0026604
872.5 | -14.101 | 8.61 | 0.0027541
873 | -13.961 | 8.75 | 0.0027989
873.5 | -13.802 | 8.909 | 0.0028498
874 | -13.711 | 9 | 0.0028789
874.5 | -13.196 | 9.515 | 0.0030436
875 | -13.279 | 9.432 | 0.0030171
875.5 | -13.528 | 9.183 | 0.0029374
876 | -13.598 | 9.113 | 0.002915
876.5 | -13.75 | 8.961 | 0.0028664
877 | -13.594 | 9.117 | 0.0029163
877.5 | -13.353 | 9.358 | 0.0029934
878 | -12.891 | 9.82 | 0.0031412
878.5 | -13.169 | 9.542 | 0.0030523
879 | -13.329 | 9.382 | 0.0030011
879.5 | -13.06 | 9.651 | 0.0030871
880 | -12.522 | 10.189 | 0.0032592
880.5 | -11.851 | 10.86 | 0.0034739
881 | -11.463 | 11.248 | 0.003598
881.5 | -11.294 | 11.417 | 0.003652
882 | -11.314 | 11.397 | 0.0036456
882.5 | -11.045 | 11.666 | 0.0037317
883 | -10.717 | 11.994 | 0.0038366
883.5 | -9.2591 | 13.4519 | 0.0043029
884 | -13.162 | 9.549 | 0.0030545
884.5 | -13.081 | 9.63 | 0.0030804
885 | 3.0152 | 25.7262 | 0.0082292
885.5 | -4.5418 | 18.1692 | 0.0058119
886 | -36.565 | 0 | 0
886.5 | 0.69158 | 23.4026 | 0.0074859