## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 25.426 | 0 | 0
246.5 | 24.235 | 0 | 0
247 | 19.577 | 0 | 0
247.5 | 28.396 | 0 | 0
248 | 23.279 | 0 | 0
248.5 | 21.414 | 0 | 0
249 | 21.996 | 0 | 0
249.5 | 22.074 | 0 | 0
250 | 25.657 | 0 | 0
250.5 | 25.805 | 0 | 0
251 | 24.074 | 0 | 0
251.5 | 26.313 | 0 | 0
252 | 23.548 | 0 | 0
252.5 | 23.147 | 0 | 0
253 | 21.141 | 0 | 0
253.5 | 22.775 | 0 | 0
254 | 30.543 | 0 | 0
254.5 | 30.262 | 0 | 0
255 | 28.621 | 0 | 0
255.5 | 26.274 | 0 | 0
256 | 24.76 | 0 | 0
256.5 | 23.694 | 0 | 0
257 | 23.54 | 0 | 0
257.5 | 24.047 | 0 | 0
258 | 25.538 | 0 | 0
258.5 | 26.656 | 0 | 0
259 | 27.978 | 0 | 0
259.5 | 27.368 | 0 | 0
260 | 27.385 | 0 | 0
260.5 | 28.064 | 0 | 0
261 | 28.129 | 0 | 0
261.5 | 28.674 | 0 | 0
262 | 27.813 | 0 | 0
262.5 | 27.194 | 0 | 0
263 | 26.27 | 0 | 0
263.5 | 24.998 | 0 | 0
264 | 24.294 | 0 | 0
264.5 | 24.559 | 0 | 0
265 | 26.175 | 0 | 0
265.5 | 27.454 | 0 | 0
266 | 29.282 | 0 | 0
266.5 | 29.348 | 0 | 0
267 | 29.074 | 0 | 0
267.5 | 28.901 | 0 | 0
268 | 28.246 | 0 | 0
268.5 | 27.66 | 0 | 0
269 | 27.349 | 0 | 0
269.5 | 27.86 | 0 | 0
270 | 27.564 | 0 | 0
270.5 | 28.059 | 0 | 0
271 | 27.674 | 0 | 0
271.5 | 26.317 | 0 | 0
272 | 25.823 | 0 | 0
272.5 | 23.748 | 0 | 0
273 | 25.487 | 0 | 0
273.5 | 25.622 | 0 | 0
274 | 27.109 | 0 | 0
274.5 | 28.817 | 0 | 0
275 | 28.511 | 0 | 0
275.5 | 29.77 | 0 | 0
276 | 28.957 | 0 | 0
276.5 | 29.911 | 0 | 0
277 | 30.728 | 0.185 | 0
277.5 | 29.874 | 0 | 0
278 | 29.59 | 0 | 0
278.5 | 28.285 | 0 | 0
279 | 27.819 | 0 | 0
279.5 | 30.051 | 0 | 0
280 | 31.344 | 0.801 | 0.00024311
280.5 | 31.474 | 0.931 | 0.00028256
281 | 30.744 | 0.201 | 6.1004e-05
281.5 | 29.26 | 0 | 0
282 | 28.684 | 0 | 0
282.5 | 29.525 | 0 | 0
283 | 30.218 | 0 | 0
283.5 | 30.508 | 0 | 0
284 | 30.251 | 0 | 0
284.5 | 30.314 | 0 | 0
285 | 31.086 | 0.543 | 0.0001648
285.5 | 32.638 | 2.095 | 0.00063584
286 | 34.778 | 4.235 | 0.0012853
286.5 | 35.952 | 5.409 | 0.0016416
287 | 36.339 | 5.796 | 0.0017591
287.5 | 36.874 | 6.331 | 0.0019215
288 | 37.536 | 6.993 | 0.0021224
288.5 | 38.614 | 8.071 | 0.0024496
289 | 41.451 | 10.908 | 0.0033106
289.5 | 40.155 | 9.612 | 0.0029173
290 | 41.788 | 11.245 | 0.0034129
290.5 | 44.541 | 13.998 | 0.0042484
291 | 47.343 | 16.8 | 0.0050989
291.5 | 52.58 | 22.037 | 0.0066883
292 | 56.53 | 25.987 | 0.0078871
292.5 | 61.598 | 31.055 | 0.0094253
293 | 69.262 | 38.719 | 0.011751
293.5 | 79.823 | 49.28 | 0.014957
294 | 89.697 | 59.154 | 0.017953
294.5 | 99.916 | 69.373 | 0.021055
295 | 111.29 | 80.747 | 0.024507
295.5 | 125.3 | 94.757 | 0.028759
296 | 145.83 | 115.287 | 0.03499
296.5 | 169.8 | 139.257 | 0.042265
297 | 198.87 | 168.327 | 0.051088
297.5 | 232.83 | 202.287 | 0.061395
298 | 272.07 | 241.527 | 0.073304
298.5 | 320.85 | 290.307 | 0.088109
299 | 379.17 | 348.627 | 0.10581
299.5 | 447.72 | 417.177 | 0.12661
300 | 528.34 | 497.797 | 0.15108
300.5 | 618.46 | 587.917 | 0.17843
301 | 719.89 | 689.347 | 0.20922
301.5 | 839.57 | 809.027 | 0.24554
302 | 966.63 | 936.087 | 0.28411
302.5 | 1108.1 | 1077.557 | 0.32704
303 | 1265 | 1234.457 | 0.37466
303.5 | 1427.7 | 1397.157 | 0.42404
304 | 1610.2 | 1579.657 | 0.47943
304.5 | 1801.8 | 1771.257 | 0.53758
305 | 2000 | 1969.457 | 0.59774
305.5 | 2204.6 | 2174.057 | 0.65983
306 | 2402.3 | 2371.757 | 0.71984
306.5 | 2585.1 | 2554.557 | 0.77532
307 | 2759.9 | 2729.357 | 0.82837
307.5 | 2908.6 | 2878.057 | 0.8735
308 | 3040.6 | 3010.057 | 0.91356
308.5 | 3139.9 | 3109.357 | 0.9437
309 | 3217.1 | 3186.557 | 0.96713
309.5 | 3280 | 3249.457 | 0.98622
310 | 3314.3 | 3283.757 | 0.99663
310.5 | 3325.4 | 3294.857 | 1
311 | 3306.7 | 3276.157 | 0.99432
311.5 | 3266.8 | 3236.257 | 0.98221
312 | 3212.8 | 3182.257 | 0.96583
312.5 | 3147.6 | 3117.057 | 0.94604
313 | 3061.2 | 3030.657 | 0.91981
313.5 | 2962.9 | 2932.357 | 0.88998
314 | 2865.7 | 2835.157 | 0.86048
314.5 | 2782.3 | 2751.757 | 0.83517
315 | 2695.2 | 2664.657 | 0.80873
315.5 | 2599.2 | 2568.657 | 0.7796
316 | 2487.5 | 2456.957 | 0.74569
316.5 | 2365.3 | 2334.757 | 0.70861
317 | 2248 | 2217.457 | 0.67301
317.5 | 2139.4 | 2108.857 | 0.64005
318 | 2041.8 | 2011.257 | 0.61042
318.5 | 1948.2 | 1917.657 | 0.58202
319 | 1852.5 | 1821.957 | 0.55297
319.5 | 1761.6 | 1731.057 | 0.52538
320 | 1672.5 | 1641.957 | 0.49834
320.5 | 1588.8 | 1558.257 | 0.47294
321 | 1514.4 | 1483.857 | 0.45036
321.5 | 1440.3 | 1409.757 | 0.42787
322 | 1366.8 | 1336.257 | 0.40556
322.5 | 1298.7 | 1268.157 | 0.38489
323 | 1228.6 | 1198.057 | 0.36361
323.5 | 1161.3 | 1130.757 | 0.34319
324 | 1097.6 | 1067.057 | 0.32386
324.5 | 1037.6 | 1007.057 | 0.30565
325 | 983.92 | 953.377 | 0.28935
325.5 | 933.12 | 902.577 | 0.27394
326 | 882.49 | 851.947 | 0.25857
326.5 | 836.42 | 805.877 | 0.24459
327 | 794.19 | 763.647 | 0.23177
327.5 | 755.09 | 724.547 | 0.2199
328 | 717.74 | 687.197 | 0.20857
328.5 | 680.22 | 649.677 | 0.19718
329 | 641.15 | 610.607 | 0.18532
329.5 | 603.18 | 572.637 | 0.1738
330 | 568.88 | 538.337 | 0.16339
330.5 | 540.88 | 510.337 | 0.15489
331 | 513.5 | 482.957 | 0.14658
331.5 | 486.69 | 456.147 | 0.13844
332 | 461.66 | 431.117 | 0.13085
332.5 | 436.69 | 406.147 | 0.12327
333 | 415.25 | 384.707 | 0.11676
333.5 | 397.06 | 366.517 | 0.11124
334 | 379.37 | 348.827 | 0.10587
334.5 | 359.18 | 328.637 | 0.099742
335 | 339.36 | 308.817 | 0.093727
335.5 | 321.63 | 291.087 | 0.088346
336 | 304.21 | 273.667 | 0.083059
336.5 | 289.07 | 258.527 | 0.078464
337 | 278.87 | 248.327 | 0.075368
337.5 | 267.16 | 236.617 | 0.071814
338 | 256.01 | 225.467 | 0.06843
338.5 | 244.01 | 213.467 | 0.064788
339 | 230.91 | 200.367 | 0.060812
339.5 | 217.45 | 186.907 | 0.056727
340 | 207.57 | 177.027 | 0.053728
340.5 | 199.13 | 168.587 | 0.051167
341 | 190.23 | 159.687 | 0.048466
341.5 | 183.39 | 152.847 | 0.04639
342 | 175.03 | 144.487 | 0.043852
342.5 | 166.34 | 135.797 | 0.041215
343 | 158.49 | 127.947 | 0.038832
343.5 | 150.01 | 119.467 | 0.036259
344 | 143.96 | 113.417 | 0.034422
344.5 | 139.5 | 108.957 | 0.033069
345 | 134.22 | 103.677 | 0.031466
345.5 | 129 | 98.457 | 0.029882
346 | 121.82 | 91.277 | 0.027703
346.5 | 115.99 | 85.447 | 0.025933
347 | 112.19 | 81.647 | 0.02478
347.5 | 107.63 | 77.087 | 0.023396
348 | 103.71 | 73.167 | 0.022206
348.5 | 99.822 | 69.279 | 0.021026
349 | 95.301 | 64.758 | 0.019654
349.5 | 92.635 | 62.092 | 0.018845
350 | 88.061 | 57.518 | 0.017457
350.5 | 83.155 | 52.612 | 0.015968
351 | 79.507 | 48.964 | 0.014861
351.5 | 76.189 | 45.646 | 0.013854
352 | 74.55 | 44.007 | 0.013356
352.5 | 72.021 | 41.478 | 0.012589
353 | 68.772 | 38.229 | 0.011603
353.5 | 67.975 | 37.432 | 0.011361
354 | 67.147 | 36.604 | 0.011109
354.5 | 64.742 | 34.199 | 0.01038
355 | 62.918 | 32.375 | 0.0098259
355.5 | 60.51 | 29.967 | 0.0090951
356 | 55.935 | 25.392 | 0.0077066
356.5 | 57.092 | 26.549 | 0.0080577
357 | 54.417 | 23.874 | 0.0072458
357.5 | 52.675 | 22.132 | 0.0067171
358 | 53.533 | 22.99 | 0.0069775
358.5 | 52.329 | 21.786 | 0.0066121
359 | 52.431 | 21.888 | 0.0066431
359.5 | 49.315 | 18.772 | 0.0056974
360 | 45.726 | 15.183 | 0.0046081
360.5 | 43.548 | 13.005 | 0.0039471
361 | 40.332 | 9.789 | 0.002971
361.5 | 40.64 | 10.097 | 0.0030645
362 | 41.674 | 11.131 | 0.0033783
362.5 | 41.757 | 11.214 | 0.0034035
363 | 42.936 | 12.393 | 0.0037613
363.5 | 40.827 | 10.284 | 0.0031212
364 | 38.763 | 8.22 | 0.0024948
364.5 | 39.507 | 8.964 | 0.0027206
365 | 39.629 | 9.086 | 0.0027576
365.5 | 41.874 | 11.331 | 0.003439
366 | 41.211 | 10.668 | 0.0032378
366.5 | 39.36 | 8.817 | 0.002676
367 | 36.623 | 6.08 | 0.0018453
367.5 | 35.3 | 4.757 | 0.0014438
368 | 34.96 | 4.417 | 0.0013406
368.5 | 35.612 | 5.069 | 0.0015385
369 | 36.056 | 5.513 | 0.0016732
369.5 | 35.414 | 4.871 | 0.0014784
370 | 33.943 | 3.4 | 0.0010319
370.5 | 33.857 | 3.314 | 0.0010058
371 | 32.195 | 1.652 | 0.00050139
371.5 | 30.937 | 0.394 | 0.00011958
372 | 30.874 | 0.331 | 0.00010046
372.5 | 30.658 | 0.115 | 3.4903e-05
373 | 31.839 | 1.296 | 0.00039334
373.5 | 31.988 | 1.445 | 0.00043856
374 | 33.092 | 2.549 | 0.00077363
374.5 | 31.352 | 0.809 | 0.00024553
375 | 31.146 | 0.603 | 0.00018301
375.5 | 31.389 | 0.846 | 0.00025676
376 | 29.748 | 0 | 0
376.5 | 31.474 | 0.931 | 0.00028256
377 | 31.474 | 0.931 | 0.00028256
377.5 | 28.976 | 0 | 0
378 | 29.622 | 0 | 0
378.5 | 29.832 | 0 | 0
379 | 27.755 | 0 | 0
379.5 | 29.094 | 0 | 0
380 | 26.12 | 0 | 0
380.5 | 26.129 | 0 | 0
381 | 27.408 | 0 | 0
381.5 | 27.42 | 0 | 0
382 | 28.969 | 0 | 0
382.5 | 27.888 | 0 | 0
383 | 28.333 | 0 | 0
383.5 | 27.09 | 0 | 0
384 | 26.382 | 0 | 0
384.5 | 25.75 | 0 | 0
385 | 25.51 | 0 | 0
385.5 | 28.652 | 0 | 0
386 | 27.496 | 0 | 0
386.5 | 27.803 | 0 | 0
387 | 26.247 | 0 | 0
387.5 | 25.504 | 0 | 0
388 | 25.874 | 0 | 0
388.5 | 25.713 | 0 | 0
389 | 25.305 | 0 | 0
389.5 | 24.687 | 0 | 0
390 | 25.772 | 0 | 0
390.5 | 26.452 | 0 | 0
391 | 24.644 | 0 | 0
391.5 | 24.672 | 0 | 0
392 | 23.074 | 0 | 0
392.5 | 23.949 | 0 | 0
393 | 25.318 | 0 | 0
393.5 | 23.222 | 0 | 0
394 | 22.307 | 0 | 0
394.5 | 22.631 | 0 | 0
395 | 22.817 | 0 | 0
395.5 | 25.368 | 0 | 0
396 | 24.585 | 0 | 0
396.5 | 25.001 | 0 | 0
397 | 24.495 | 0 | 0
397.5 | 25.807 | 0 | 0
398 | 26.914 | 0 | 0
398.5 | 29.074 | 0 | 0
399 | 28.641 | 0 | 0
399.5 | 27.177 | 0 | 0
400 | 26.844 | 0 | 0
400.5 | 26.802 | 0 | 0
401 | 27.53 | 0 | 0
401.5 | 29.565 | 0 | 0
402 | 29.646 | 0 | 0
402.5 | 28.474 | 0 | 0
403 | 28.366 | 0 | 0
403.5 | 25.902 | 0 | 0
404 | 26.531 | 0 | 0
404.5 | 26.807 | 0 | 0
405 | 26.735 | 0 | 0
405.5 | 27.314 | 0 | 0
406 | 25.473 | 0 | 0
406.5 | 26.695 | 0 | 0
407 | 26.209 | 0 | 0
407.5 | 27.412 | 0 | 0
408 | 27.91 | 0 | 0
408.5 | 25.715 | 0 | 0
409 | 23.426 | 0 | 0
409.5 | 22.689 | 0 | 0
410 | 23.822 | 0 | 0
410.5 | 24.924 | 0 | 0
411 | 27.567 | 0 | 0
411.5 | 27.877 | 0 | 0
412 | 26.472 | 0 | 0
412.5 | 26.109 | 0 | 0
413 | 24.302 | 0 | 0
413.5 | 24.685 | 0 | 0
414 | 24.691 | 0 | 0
414.5 | 25.512 | 0 | 0
415 | 25.937 | 0 | 0
415.5 | 26.775 | 0 | 0
416 | 25.748 | 0 | 0
416.5 | 26.074 | 0 | 0
417 | 25.753 | 0 | 0
417.5 | 26.922 | 0 | 0
418 | 26.687 | 0 | 0
418.5 | 29.349 | 0 | 0
419 | 30.013 | 0 | 0
419.5 | 30.909 | 0.366 | 0.00011108
420 | 30.391 | 0 | 0
420.5 | 28.147 | 0 | 0
421 | 28.804 | 0 | 0
421.5 | 28.228 | 0 | 0
422 | 27.193 | 0 | 0
422.5 | 26.99 | 0 | 0
423 | 27.458 | 0 | 0
423.5 | 27.45 | 0 | 0
424 | 28.415 | 0 | 0
424.5 | 26.253 | 0 | 0
425 | 26.768 | 0 | 0
425.5 | 28.187 | 0 | 0
426 | 29.874 | 0 | 0
426.5 | 29.737 | 0 | 0
427 | 30.642 | 0.099 | 3.0047e-05
427.5 | 30.178 | 0 | 0
428 | 31.122 | 0.579 | 0.00017573
428.5 | 29.585 | 0 | 0
429 | 28.408 | 0 | 0
429.5 | 27.405 | 0 | 0
430 | 26.661 | 0 | 0
430.5 | 27.047 | 0 | 0
431 | 25.98 | 0 | 0
431.5 | 26.541 | 0 | 0
432 | 27.287 | 0 | 0
432.5 | 27.849 | 0 | 0
433 | 28.797 | 0 | 0
433.5 | 29.036 | 0 | 0
434 | 28.144 | 0 | 0
434.5 | 27.747 | 0 | 0
435 | 26.563 | 0 | 0
435.5 | 28.647 | 0 | 0
436 | 28.241 | 0 | 0
436.5 | 29.066 | 0 | 0
437 | 28.152 | 0 | 0
437.5 | 27.682 | 0 | 0
438 | 27.726 | 0 | 0
438.5 | 25.146 | 0 | 0
439 | 24.583 | 0 | 0
439.5 | 24.57 | 0 | 0
440 | 27.125 | 0 | 0
440.5 | 29.767 | 0 | 0
441 | 29.753 | 0 | 0
441.5 | 27.242 | 0 | 0
442 | 28.038 | 0 | 0
442.5 | 28.345 | 0 | 0
443 | 29.674 | 0 | 0
443.5 | 30.191 | 0 | 0
444 | 30.732 | 0.189 | 5.7362e-05
444.5 | 31.827 | 1.284 | 0.0003897
445 | 31.415 | 0.872 | 0.00026465
445.5 | 29.152 | 0 | 0
446 | 26.894 | 0 | 0
446.5 | 25.763 | 0 | 0
447 | 26.632 | 0 | 0
447.5 | 26.217 | 0 | 0
448 | 25.647 | 0 | 0
448.5 | 24.925 | 0 | 0
449 | 24.859 | 0 | 0
449.5 | 24.607 | 0 | 0
450 | 26.751 | 0 | 0
450.5 | 27.246 | 0 | 0
451 | 28.888 | 0 | 0
451.5 | 29.211 | 0 | 0
452 | 28.545 | 0 | 0
452.5 | 29.074 | 0 | 0
453 | 27.529 | 0 | 0
453.5 | 25.874 | 0 | 0
454 | 23.843 | 0 | 0
454.5 | 23.215 | 0 | 0
455 | 24.266 | 0 | 0
455.5 | 25.84 | 0 | 0
456 | 26.913 | 0 | 0
456.5 | 28.716 | 0 | 0
457 | 28.274 | 0 | 0
457.5 | 28.361 | 0 | 0
458 | 28.433 | 0 | 0
458.5 | 27.49 | 0 | 0
459 | 26.428 | 0 | 0
459.5 | 24.891 | 0 | 0
460 | 24.437 | 0 | 0
460.5 | 24.072 | 0 | 0
461 | 23.601 | 0 | 0
461.5 | 24.459 | 0 | 0
462 | 26.914 | 0 | 0
462.5 | 28.199 | 0 | 0
463 | 27.752 | 0 | 0
463.5 | 28.452 | 0 | 0
464 | 26.143 | 0 | 0
464.5 | 26.998 | 0 | 0
465 | 25.642 | 0 | 0
465.5 | 26.414 | 0 | 0
466 | 26.884 | 0 | 0
466.5 | 26.438 | 0 | 0
467 | 26.164 | 0 | 0
467.5 | 24.536 | 0 | 0
468 | 23.523 | 0 | 0
468.5 | 23.874 | 0 | 0
469 | 25.063 | 0 | 0
469.5 | 25.127 | 0 | 0
470 | 27.481 | 0 | 0
470.5 | 28.554 | 0 | 0
471 | 27.832 | 0 | 0
471.5 | 27.936 | 0 | 0
472 | 27.152 | 0 | 0
472.5 | 27.932 | 0 | 0
473 | 29.366 | 0 | 0
473.5 | 28.933 | 0 | 0
474 | 26.942 | 0 | 0
474.5 | 26.318 | 0 | 0
475 | 25.427 | 0 | 0
475.5 | 25.499 | 0 | 0
476 | 27.719 | 0 | 0
476.5 | 26.331 | 0 | 0
477 | 26.071 | 0 | 0
477.5 | 25.234 | 0 | 0
478 | 25.194 | 0 | 0
478.5 | 27.624 | 0 | 0
479 | 27.412 | 0 | 0
479.5 | 28.767 | 0 | 0
480 | 26.766 | 0 | 0
480.5 | 24.998 | 0 | 0
481 | 24.846 | 0 | 0
481.5 | 21.51 | 0 | 0
482 | 23.939 | 0 | 0
482.5 | 24.474 | 0 | 0
483 | 26.397 | 0 | 0
483.5 | 28.16 | 0 | 0
484 | 27.733 | 0 | 0
484.5 | 27.197 | 0 | 0
485 | 26.778 | 0 | 0
485.5 | 26.274 | 0 | 0
486 | 24.797 | 0 | 0
486.5 | 25.544 | 0 | 0
487 | 25.246 | 0 | 0
487.5 | 25.795 | 0 | 0
488 | 26.027 | 0 | 0
488.5 | 26.348 | 0 | 0
489 | 25.206 | 0 | 0
489.5 | 24.861 | 0 | 0
490 | 25.474 | 0 | 0
490.5 | 26.336 | 0 | 0
491 | 27.753 | 0 | 0
491.5 | 26.355 | 0 | 0
492 | 27.88 | 0 | 0
492.5 | 26.322 | 0 | 0
493 | 26.337 | 0 | 0
493.5 | 26.583 | 0 | 0
494 | 25.963 | 0 | 0
494.5 | 27.359 | 0 | 0
495 | 26.658 | 0 | 0
495.5 | 25.49 | 0 | 0
496 | 25.168 | 0 | 0
496.5 | 23.221 | 0 | 0
497 | 23.251 | 0 | 0
497.5 | 23.074 | 0 | 0
498 | 24.457 | 0 | 0
498.5 | 24.882 | 0 | 0
499 | 27.224 | 0 | 0
499.5 | 24.674 | 0 | 0
500 | 25.573 | 0 | 0
500.5 | 23.855 | 0 | 0
501 | 25.303 | 0 | 0
501.5 | 25.533 | 0 | 0
502 | 25.827 | 0 | 0
502.5 | 26.027 | 0 | 0
503 | 25.874 | 0 | 0
503.5 | 26.048 | 0 | 0
504 | 27.874 | 0 | 0
504.5 | 27.739 | 0 | 0
505 | 28.622 | 0 | 0
505.5 | 27.084 | 0 | 0
506 | 27.691 | 0 | 0
506.5 | 28.272 | 0 | 0
507 | 27.874 | 0 | 0
507.5 | 27.31 | 0 | 0
508 | 26.261 | 0 | 0
508.5 | 27.447 | 0 | 0
509 | 27.69 | 0 | 0
509.5 | 27.739 | 0 | 0
510 | 26.388 | 0 | 0
510.5 | 24.401 | 0 | 0
511 | 22.832 | 0 | 0
511.5 | 24.459 | 0 | 0
512 | 25.317 | 0 | 0
512.5 | 25.752 | 0 | 0
513 | 26.568 | 0 | 0
513.5 | 26.728 | 0 | 0
514 | 27.715 | 0 | 0
514.5 | 28.905 | 0 | 0
515 | 28.684 | 0 | 0
515.5 | 27.219 | 0 | 0
516 | 26.862 | 0 | 0
516.5 | 25.917 | 0 | 0
517 | 27.242 | 0 | 0
517.5 | 24.76 | 0 | 0
518 | 23.278 | 0 | 0
518.5 | 23.609 | 0 | 0
519 | 25.752 | 0 | 0
519.5 | 27.941 | 0 | 0
520 | 28.646 | 0 | 0
520.5 | 29.34 | 0 | 0
521 | 29.416 | 0 | 0
521.5 | 29.552 | 0 | 0
522 | 28.794 | 0 | 0
522.5 | 28.2 | 0 | 0
523 | 27.731 | 0 | 0
523.5 | 28.674 | 0 | 0
524 | 28.506 | 0 | 0
524.5 | 29.474 | 0 | 0
525 | 28.982 | 0 | 0
525.5 | 29.3 | 0 | 0
526 | 27.992 | 0 | 0
526.5 | 27.563 | 0 | 0
527 | 25.874 | 0 | 0
527.5 | 25.617 | 0 | 0
528 | 24.54 | 0 | 0
528.5 | 25.419 | 0 | 0
529 | 26.196 | 0 | 0
529.5 | 27.327 | 0 | 0
530 | 27.93 | 0 | 0
530.5 | 27.022 | 0 | 0
531 | 26.874 | 0 | 0
531.5 | 27.521 | 0 | 0
532 | 27.827 | 0 | 0
532.5 | 27.171 | 0 | 0
533 | 26.575 | 0 | 0
533.5 | 28.428 | 0 | 0
534 | 30.077 | 0 | 0
534.5 | 31.223 | 0.68 | 0.00020638
535 | 30.316 | 0 | 0
535.5 | 29.022 | 0 | 0
536 | 27.5 | 0 | 0
536.5 | 27.687 | 0 | 0
537 | 27.657 | 0 | 0
537.5 | 27.494 | 0 | 0
538 | 28.542 | 0 | 0
538.5 | 27.501 | 0 | 0
539 | 27.391 | 0 | 0
539.5 | 25.792 | 0 | 0
540 | 22.789 | 0 | 0
540.5 | 22.421 | 0 | 0
541 | 21.709 | 0 | 0
541.5 | 24.741 | 0 | 0
542 | 25.167 | 0 | 0
542.5 | 25.886 | 0 | 0
543 | 25.409 | 0 | 0
543.5 | 24.125 | 0 | 0
544 | 24.341 | 0 | 0
544.5 | 24.394 | 0 | 0
545 | 25.605 | 0 | 0
545.5 | 27.758 | 0 | 0
546 | 28.297 | 0 | 0
546.5 | 27.891 | 0 | 0
547 | 26.896 | 0 | 0
547.5 | 27.259 | 0 | 0
548 | 28.878 | 0 | 0
548.5 | 30.395 | 0 | 0
549 | 28.681 | 0 | 0
549.5 | 28.428 | 0 | 0
550 | 27.583 | 0 | 0
550.5 | 27.663 | 0 | 0
551 | 28.542 | 0 | 0
551.5 | 28.185 | 0 | 0
552 | 27.518 | 0 | 0
552.5 | 25.184 | 0 | 0
553 | 24.074 | 0 | 0
553.5 | 23.929 | 0 | 0
554 | 26.466 | 0 | 0
554.5 | 27.212 | 0 | 0
555 | 28.332 | 0 | 0
555.5 | 26.182 | 0 | 0
556 | 26.005 | 0 | 0
556.5 | 25.352 | 0 | 0
557 | 25.35 | 0 | 0
557.5 | 25.704 | 0 | 0
558 | 28.648 | 0 | 0
558.5 | 29.682 | 0 | 0
559 | 28.681 | 0 | 0
559.5 | 27.243 | 0 | 0
560 | 26.246 | 0 | 0
560.5 | 28.373 | 0 | 0
561 | 29.652 | 0 | 0
561.5 | 28.674 | 0 | 0
562 | 28.535 | 0 | 0
562.5 | 26.183 | 0 | 0
563 | 25.569 | 0 | 0
563.5 | 26.037 | 0 | 0
564 | 25.64 | 0 | 0
564.5 | 24.981 | 0 | 0
565 | 24.654 | 0 | 0
565.5 | 26.049 | 0 | 0
566 | 26.859 | 0 | 0
566.5 | 29.376 | 0 | 0
567 | 27.863 | 0 | 0
567.5 | 27.674 | 0 | 0
568 | 27.596 | 0 | 0
568.5 | 28.144 | 0 | 0
569 | 27.79 | 0 | 0
569.5 | 26.873 | 0 | 0
570 | 26.406 | 0 | 0
570.5 | 25.274 | 0 | 0
571 | 25.176 | 0 | 0
571.5 | 26.779 | 0 | 0
572 | 26.487 | 0 | 0
572.5 | 27.27 | 0 | 0
573 | 26.096 | 0 | 0
573.5 | 27.595 | 0 | 0
574 | 28.414 | 0 | 0
574.5 | 28.113 | 0 | 0
575 | 27.531 | 0 | 0
575.5 | 26.415 | 0 | 0
576 | 24.93 | 0 | 0
576.5 | 24.474 | 0 | 0
577 | 24.098 | 0 | 0
577.5 | 25.164 | 0 | 0
578 | 26.465 | 0 | 0
578.5 | 27.104 | 0 | 0
579 | 27.386 | 0 | 0
579.5 | 26.734 | 0 | 0
580 | 26.021 | 0 | 0
580.5 | 25.919 | 0 | 0
581 | 26.746 | 0 | 0
581.5 | 27.791 | 0 | 0
582 | 26.043 | 0 | 0
582.5 | 25.262 | 0 | 0
583 | 24.286 | 0 | 0
583.5 | 24.165 | 0 | 0
584 | 24.888 | 0 | 0
584.5 | 24.526 | 0 | 0
585 | 24.509 | 0 | 0
585.5 | 24.61 | 0 | 0
586 | 23.585 | 0 | 0
586.5 | 24.283 | 0 | 0
587 | 25.074 | 0 | 0
587.5 | 26.21 | 0 | 0
588 | 27.362 | 0 | 0
588.5 | 26.074 | 0 | 0
589 | 25.409 | 0 | 0
589.5 | 25.451 | 0 | 0
590 | 25.474 | 0 | 0
590.5 | 25.657 | 0 | 0
591 | 24.168 | 0 | 0
591.5 | 25.367 | 0 | 0
592 | 25.729 | 0 | 0
592.5 | 27.463 | 0 | 0
593 | 25.956 | 0 | 0
593.5 | 27.02 | 0 | 0
594 | 25.68 | 0 | 0
594.5 | 27.88 | 0 | 0
595 | 26.014 | 0 | 0
595.5 | 26.394 | 0 | 0
596 | 26.25 | 0 | 0
596.5 | 24.447 | 0 | 0
597 | 24.297 | 0 | 0
597.5 | 21.717 | 0 | 0
598 | 25.261 | 0 | 0
598.5 | 25.342 | 0 | 0
599 | 26.571 | 0 | 0
599.5 | 25.018 | 0 | 0
600 | 25.339 | 0 | 0
600.5 | 26.322 | 0 | 0
601 | 27.661 | 0 | 0
601.5 | 26.445 | 0 | 0
602 | 25.312 | 0 | 0
602.5 | 23.157 | 0 | 0
603 | 24.539 | 0 | 0
603.5 | 25.468 | 0 | 0
604 | 27.606 | 0 | 0
604.5 | 27.418 | 0 | 0
605 | 27.797 | 0 | 0
605.5 | 27.335 | 0 | 0
606 | 27.653 | 0 | 0
606.5 | 26.303 | 0 | 0
607 | 26.474 | 0 | 0
607.5 | 26.211 | 0 | 0
608 | 25.375 | 0 | 0
608.5 | 24.406 | 0 | 0
609 | 24.704 | 0 | 0
609.5 | 26.307 | 0 | 0
610 | 28.352 | 0 | 0
610.5 | 28.153 | 0 | 0
611 | 27.05 | 0 | 0
611.5 | 25.443 | 0 | 0
612 | 23.509 | 0 | 0
612.5 | 24.275 | 0 | 0
613 | 25.043 | 0 | 0
613.5 | 28.706 | 0 | 0
614 | 29.386 | 0 | 0
614.5 | 27.917 | 0 | 0
615 | 24.342 | 0 | 0
615.5 | 23.335 | 0 | 0
616 | 24.276 | 0 | 0
616.5 | 24.721 | 0 | 0
617 | 22.93 | 0 | 0
617.5 | 23.474 | 0 | 0
618 | 23.94 | 0 | 0
618.5 | 27.686 | 0 | 0
619 | 28.146 | 0 | 0
619.5 | 28.081 | 0 | 0
620 | 27.332 | 0 | 0
620.5 | 25.439 | 0 | 0
621 | 25.118 | 0 | 0
621.5 | 22.719 | 0 | 0
622 | 23.268 | 0 | 0
622.5 | 22.274 | 0 | 0
623 | 23.632 | 0 | 0
623.5 | 21.837 | 0 | 0
624 | 22.217 | 0 | 0
624.5 | 21.527 | 0 | 0
625 | 24.303 | 0 | 0
625.5 | 25.63 | 0 | 0
626 | 26.248 | 0 | 0
626.5 | 26.268 | 0 | 0
627 | 26.353 | 0 | 0
627.5 | 24.702 | 0 | 0
628 | 22.742 | 0 | 0
628.5 | 23.23 | 0 | 0
629 | 27.261 | 0 | 0
629.5 | 28.546 | 0 | 0
630 | 29.033 | 0 | 0
630.5 | 28.206 | 0 | 0
631 | 29.323 | 0 | 0
631.5 | 30.018 | 0 | 0
632 | 29.377 | 0 | 0
632.5 | 28.791 | 0 | 0
633 | 25.866 | 0 | 0
633.5 | 25.9 | 0 | 0
634 | 28.039 | 0 | 0
634.5 | 29.507 | 0 | 0
635 | 29.46 | 0 | 0
635.5 | 27.323 | 0 | 0
636 | 27.968 | 0 | 0
636.5 | 28.387 | 0 | 0
637 | 29.258 | 0 | 0
637.5 | 27.133 | 0 | 0
638 | 27.629 | 0 | 0
638.5 | 28.735 | 0 | 0
639 | 31.874 | 1.331 | 0.00040396
639.5 | 32.407 | 1.864 | 0.00056573
640 | 32.336 | 1.793 | 0.00054418
640.5 | 30.887 | 0.344 | 0.00010441
641 | 29.484 | 0 | 0
641.5 | 28.555 | 0 | 0
642 | 27.408 | 0 | 0
642.5 | 28.354 | 0 | 0
643 | 27.432 | 0 | 0
643.5 | 27.814 | 0 | 0
644 | 28.198 | 0 | 0
644.5 | 28.877 | 0 | 0
645 | 28.158 | 0 | 0
645.5 | 27.956 | 0 | 0
646 | 27.86 | 0 | 0