## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 16.822 | 0 | 0
246.5 | 15.859 | 0 | 0
247 | 22.839 | 2.932 | 0.00076826
247.5 | 17.427 | 0 | 0
248 | 22.753 | 2.846 | 0.00074573
248.5 | 18.364 | 0 | 0
249 | 27.485 | 7.578 | 0.0019856
249.5 | 19.897 | 0 | 0
250 | 20.103 | 0.196 | 5.1357e-05
250.5 | 19.477 | 0 | 0
251 | 20.343 | 0.436 | 0.00011424
251.5 | 26.343 | 6.436 | 0.0016864
252 | 24.328 | 4.421 | 0.0011584
252.5 | 24.648 | 4.741 | 0.0012423
253 | 27.209 | 7.302 | 0.0019133
253.5 | 22.147 | 2.24 | 0.00058694
254 | 19.907 | 0 | 0
254.5 | 21.838 | 1.931 | 0.00050598
255 | 23.723 | 3.816 | 0.0009999
255.5 | 23.543 | 3.636 | 0.00095273
256 | 23.795 | 3.888 | 0.0010188
256.5 | 23.763 | 3.856 | 0.0010104
257 | 24.208 | 4.301 | 0.001127
257.5 | 26.15 | 6.243 | 0.0016358
258 | 27.083 | 7.176 | 0.0018803
258.5 | 27.531 | 7.624 | 0.0019977
259 | 29.591 | 9.684 | 0.0025375
259.5 | 29.641 | 9.734 | 0.0025506
260 | 30.01 | 10.103 | 0.0026473
260.5 | 30.865 | 10.958 | 0.0028713
261 | 29.598 | 9.691 | 0.0025393
261.5 | 29.907 | 10 | 0.0026203
262 | 29.054 | 9.147 | 0.0023968
262.5 | 27.89 | 7.983 | 0.0020918
263 | 26.897 | 6.99 | 0.0018316
263.5 | 26.078 | 6.171 | 0.001617
264 | 26.332 | 6.425 | 0.0016835
264.5 | 26.322 | 6.415 | 0.0016809
265 | 25.839 | 5.932 | 0.0015543
265.5 | 24.762 | 4.855 | 0.0012721
266 | 23.31 | 3.403 | 0.00089168
266.5 | 22.732 | 2.825 | 0.00074023
267 | 23.614 | 3.707 | 0.00097134
267.5 | 26.188 | 6.281 | 0.0016458
268 | 27.426 | 7.519 | 0.0019702
268.5 | 28.357 | 8.45 | 0.0022141
269 | 27.84 | 7.933 | 0.0020787
269.5 | 25.412 | 5.505 | 0.0014425
270 | 24.743 | 4.836 | 0.0012672
270.5 | 24.328 | 4.421 | 0.0011584
271 | 24.579 | 4.672 | 0.0012242
271.5 | 25.986 | 6.079 | 0.0015929
272 | 26.963 | 7.056 | 0.0018489
272.5 | 27.492 | 7.585 | 0.0019875
273 | 26.799 | 6.892 | 0.0018059
273.5 | 25.706 | 5.799 | 0.0015195
274 | 25.636 | 5.729 | 0.0015012
274.5 | 26.338 | 6.431 | 0.0016851
275 | 26.747 | 6.84 | 0.0017923
275.5 | 27.307 | 7.4 | 0.001939
276 | 27.093 | 7.186 | 0.0018829
276.5 | 25.306 | 5.399 | 0.0014147
277 | 24.201 | 4.294 | 0
277.5 | 24.543 | 4.636 | 0.0012148
278 | 25.393 | 5.486 | 0.0014375
278.5 | 27.129 | 7.222 | 0.0018924
279 | 28.434 | 8.527 | 0.0022343
279.5 | 27.254 | 7.347 | 0.0019251
280 | 25.537 | 5.63 | 0.0014752
280.5 | 24.865 | 4.958 | 0.0012991
281 | 25.905 | 5.998 | 0.0015716
281.5 | 26.97 | 7.063 | 0.0018507
282 | 28.317 | 8.41 | 0.0022037
282.5 | 27.395 | 7.488 | 0.0019621
283 | 27.869 | 7.962 | 0.0020863
283.5 | 27.148 | 7.241 | 0.0018973
284 | 26.527 | 6.62 | 0.0017346
284.5 | 27.622 | 7.715 | 0.0020215
285 | 26.455 | 6.548 | 0.0017158
285.5 | 28.482 | 8.575 | 0.0022469
286 | 29.186 | 9.279 | 0.0024314
286.5 | 29.072 | 9.165 | 0.0024015
287 | 30.012 | 10.105 | 0.0026478
287.5 | 28.593 | 8.686 | 0.002276
288 | 29.026 | 9.119 | 0.0023894
288.5 | 27.738 | 7.831 | 0.0020519
289 | 26.349 | 6.442 | 0.001688
289.5 | 25.518 | 5.611 | 0.0014702
290 | 25.057 | 5.15 | 0.0013494
290.5 | 26.521 | 6.614 | 0.0017331
291 | 28.077 | 8.17 | 0.0021408
291.5 | 30.209 | 10.302 | 0.0026994
292 | 29.368 | 9.461 | 0.002479
292.5 | 28.543 | 8.636 | 0.0022629
293 | 27.525 | 7.618 | 0.0019961
293.5 | 25.709 | 5.802 | 0.0015203
294 | 27.749 | 7.842 | 0.0020548
294.5 | 29.139 | 9.232 | 0.002419
295 | 31.019 | 11.112 | 0.0029116
295.5 | 31.673 | 11.766 | 0.003083
296 | 31.25 | 11.343 | 0.0029722
296.5 | 29.846 | 9.939 | 0.0026043
297 | 29.609 | 9.702 | 0.0025422
297.5 | 29.743 | 9.836 | 0.0025773
298 | 30.657 | 10.75 | 0.0028168
298.5 | 31.922 | 12.015 | 0.0031483
299 | 31.573 | 11.666 | 0.0030568
299.5 | 32.456 | 12.549 | 0.0032882
300 | 32.12 | 12.213 | 0.0032001
300.5 | 32.639 | 12.732 | 0.0033361
301 | 33.928 | 14.021 | 0.0036739
301.5 | 33.811 | 13.904 | 0.0036432
302 | 33.076 | 13.169 | 0.0034506
302.5 | 32.902 | 12.995 | 0.003405
303 | 32.974 | 13.067 | 0.0034239
303.5 | 33.637 | 13.73 | 0.0035976
304 | 35.037 | 15.13 | 0.0039645
304.5 | 37.039 | 17.132 | 0.0044891
305 | 36.601 | 16.694 | 0.0043743
305.5 | 37.382 | 17.475 | 0.0045789
306 | 38.291 | 18.384 | 0.0048171
306.5 | 37.21 | 17.303 | 0.0045339
307 | 37.38 | 17.473 | 0.0045784
307.5 | 37.13 | 17.223 | 0.0045129
308 | 36.76 | 16.853 | 0.0044159
308.5 | 40.538 | 20.631 | 0.0054059
309 | 43.913 | 24.006 | 0.0062902
309.5 | 50.043 | 30.136 | 0.0078965
310 | 57.049 | 37.142 | 0.0097322
310.5 | 66.622 | 46.715 | 0.012241
311 | 79.948 | 60.041 | 0.015732
311.5 | 97.904 | 77.997 | 0.020437
312 | 120.4 | 100.493 | 0.026332
312.5 | 144.95 | 125.043 | 0.032765
313 | 176.39 | 156.483 | 0.041003
313.5 | 211.11 | 191.203 | 0.0501
314 | 251.65 | 231.743 | 0.060723
314.5 | 297.81 | 277.903 | 0.072818
315 | 351.09 | 331.183 | 0.086779
315.5 | 405.34 | 385.433 | 0.10099
316 | 460.97 | 441.063 | 0.11557
316.5 | 522.56 | 502.653 | 0.13171
317 | 591.07 | 571.163 | 0.14966
317.5 | 675.75 | 655.843 | 0.17185
318 | 787.13 | 767.223 | 0.20103
318.5 | 918.55 | 898.643 | 0.23547
319 | 1072.7 | 1052.793 | 0.27586
319.5 | 1257.6 | 1237.693 | 0.32431
320 | 1457.6 | 1437.693 | 0.37672
320.5 | 1674.1 | 1654.193 | 0.43344
321 | 1905.7 | 1885.793 | 0.49413
321.5 | 2144.8 | 2124.893 | 0.55678
322 | 2388.9 | 2368.993 | 0.62074
322.5 | 2620.2 | 2600.293 | 0.68135
323 | 2834.6 | 2814.693 | 0.73753
323.5 | 3037.5 | 3017.593 | 0.79069
324 | 3223.9 | 3203.993 | 0.83953
324.5 | 3397.6 | 3377.693 | 0.88505
325 | 3553.2 | 3533.293 | 0.92582
325.5 | 3676.3 | 3656.393 | 0.95808
326 | 3765.8 | 3745.893 | 0.98153
326.5 | 3822 | 3802.093 | 0.99625
327 | 3836.3 | 3816.393 | 1
327.5 | 3806.2 | 3786.293 | 0.99211
328 | 3727.3 | 3707.393 | 0.97144
328.5 | 3607.9 | 3587.993 | 0.94015
329 | 3460.3 | 3440.393 | 0.90148
329.5 | 3287.8 | 3267.893 | 0.85628
330 | 3117.4 | 3097.493 | 0.81163
330.5 | 2928.9 | 2908.993 | 0.76224
331 | 2723.5 | 2703.593 | 0.70842
331.5 | 2510.1 | 2490.193 | 0.6525
332 | 2287.5 | 2267.593 | 0.59417
332.5 | 2074.7 | 2054.793 | 0.53841
333 | 1869.8 | 1849.893 | 0.48472
333.5 | 1684.6 | 1664.693 | 0.4362
334 | 1531.7 | 1511.793 | 0.39613
334.5 | 1388.8 | 1368.893 | 0.35869
335 | 1265.7 | 1245.793 | 0.32643
335.5 | 1152.8 | 1132.893 | 0.29685
336 | 1046.5 | 1026.593 | 0.269
336.5 | 955.62 | 935.713 | 0.24518
337 | 866.81 | 846.903 | 0.22191
337.5 | 778.89 | 758.983 | 0.19887
338 | 696.01 | 676.103 | 0.17716
338.5 | 627.54 | 607.633 | 0.15922
339 | 573.01 | 553.103 | 0.14493
339.5 | 527.46 | 507.553 | 0.13299
340 | 488.23 | 468.323 | 0.12271
340.5 | 450.59 | 430.683 | 0.11285
341 | 414.54 | 394.633 | 0.1034
341.5 | 382.69 | 362.783 | 0.095059
342 | 351.5 | 331.593 | 0.086886
342.5 | 321.16 | 301.253 | 0.078937
343 | 294.08 | 274.173 | 0.071841
343.5 | 270.92 | 251.013 | 0.065772
344 | 250.3 | 230.393 | 0.060369
344.5 | 231.29 | 211.383 | 0.055388
345 | 213.9 | 193.993 | 0.050832
345.5 | 197.17 | 177.263 | 0.046448
346 | 181.44 | 161.533 | 0.042326
346.5 | 168.28 | 148.373 | 0.038878
347 | 157.65 | 137.743 | 0.036092
347.5 | 147.69 | 127.783 | 0.033483
348 | 138.17 | 118.263 | 0.030988
348.5 | 130.37 | 110.463 | 0.028944
349 | 122.6 | 102.693 | 0.026908
349.5 | 116.02 | 96.113 | 0.025184
350 | 109.96 | 90.053 | 0.023596
350.5 | 103.08 | 83.173 | 0.021794
351 | 97.21 | 77.303 | 0.020256
351.5 | 90.573 | 70.666 | 0.018516
352 | 88.529 | 68.622 | 0.017981
352.5 | 83.537 | 63.63 | 0.016673
353 | 78.087 | 58.18 | 0.015245
353.5 | 74.789 | 54.882 | 0.014381
354 | 71.527 | 51.62 | 0.013526
354.5 | 69.777 | 49.87 | 0.013067
355 | 68.696 | 48.789 | 0.012784
355.5 | 66.979 | 47.072 | 0.012334
356 | 63.586 | 43.679 | 0.011445
356.5 | 63.278 | 43.371 | 0.011364
357 | 61.819 | 41.912 | 0.010982
357.5 | 60.143 | 40.236 | 0.010543
358 | 59.461 | 39.554 | 0.010364
358.5 | 56.645 | 36.738 | 0.0096264
359 | 54.896 | 34.989 | 0.0091681
359.5 | 52.308 | 32.401 | 0.00849
360 | 50.839 | 30.932 | 0.008105
360.5 | 49.17 | 29.263 | 0.0076677
361 | 49.975 | 30.068 | 0.0078786
361.5 | 49.176 | 29.269 | 0.0076693
362 | 49.7 | 29.793 | 0.0078066
362.5 | 47.897 | 27.99 | 0.0073342
363 | 45.232 | 25.325 | 0.0066358
363.5 | 44.579 | 24.672 | 0.0064647
364 | 43.322 | 23.415 | 0.0061354
364.5 | 44.018 | 24.111 | 0.0063177
365 | 43.052 | 23.145 | 0.0060646
365.5 | 43.936 | 24.029 | 0.0062963
366 | 43.315 | 23.408 | 0.0061335
366.5 | 44.057 | 24.15 | 0.006328
367 | 45.022 | 25.115 | 0.0065808
367.5 | 42.46 | 22.553 | 0.0059095
368 | 39.94 | 20.033 | 0.0052492
368.5 | 35.828 | 15.921 | 0.0041717
369 | 33.431 | 13.524 | 0.0035437
369.5 | 33.551 | 13.644 | 0.0035751
370 | 35.117 | 15.21 | 0.0039854
370.5 | 37.277 | 17.37 | 0.0045514
371 | 37.436 | 17.529 | 0.0045931
371.5 | 38.411 | 18.504 | 0.0048486
372 | 37.748 | 17.841 | 0.0046748
372.5 | 38.415 | 18.508 | 0.0048496
373 | 37.12 | 17.213 | 0.0045103
373.5 | 36.292 | 16.385 | 0.0042933
374 | 34.961 | 15.054 | 0.0039446
374.5 | 33.682 | 13.775 | 0.0036094
375 | 34.519 | 14.612 | 0.0038287
375.5 | 34.628 | 14.721 | 0.0038573
376 | 35.108 | 15.201 | 0.0039831
376.5 | 35.124 | 15.217 | 0.0039873
377 | 34.25 | 14.343 | 0.0037583
377.5 | 35.057 | 15.15 | 0.0039697
378 | 35.091 | 15.184 | 0.0039786
378.5 | 35.905 | 15.998 | 0.0041919
379 | 36.527 | 16.62 | 0.0043549
379.5 | 33.659 | 13.752 | 0.0036034
380 | 33.266 | 13.359 | 0.0035004
380.5 | 31.724 | 11.817 | 0.0030964
381 | 31.764 | 11.857 | 0.0031069
381.5 | 31.847 | 11.94 | 0.0031286
382 | 31.764 | 11.857 | 0.0031069
382.5 | 31.664 | 11.757 | 0.0030807
383 | 30.519 | 10.612 | 0.0027806
383.5 | 29.106 | 9.199 | 0.0024104
384 | 28.182 | 8.275 | 0.0021683
384.5 | 27.362 | 7.455 | 0.0019534
385 | 28.42 | 8.513 | 0.0022306
385.5 | 29.617 | 9.71 | 0.0025443
386 | 31.915 | 12.008 | 0.0031464
386.5 | 31.673 | 11.766 | 0.003083
387 | 29.83 | 9.923 | 0.0026001
387.5 | 30.22 | 10.313 | 0.0027023
388 | 28.391 | 8.484 | 0.002223
388.5 | 27.943 | 8.036 | 0.0021057
389 | 27.941 | 8.034 | 0.0021051
389.5 | 28.222 | 8.315 | 0.0021788
390 | 29.163 | 9.256 | 0.0024253
390.5 | 28.796 | 8.889 | 0.0023292
391 | 29.446 | 9.539 | 0.0024995
391.5 | 27.95 | 8.043 | 0.0021075
392 | 27.705 | 7.798 | 0.0020433
392.5 | 29.219 | 9.312 | 0.00244
393 | 28.445 | 8.538 | 0.0022372
393.5 | 28.287 | 8.38 | 0.0021958
394 | 28.976 | 9.069 | 0.0023763
394.5 | 28.143 | 8.236 | 0.0021581
395 | 28.486 | 8.579 | 0.0022479
395.5 | 29.496 | 9.589 | 0.0025126
396 | 27.818 | 7.911 | 0.0020729
396.5 | 26.724 | 6.817 | 0.0017862
397 | 26.637 | 6.73 | 0.0017634
397.5 | 24.912 | 5.005 | 0.0013114
398 | 24.506 | 4.599 | 0.0012051
398.5 | 25.341 | 5.434 | 0.0014239
399 | 24.667 | 4.76 | 0.0012473
399.5 | 25.126 | 5.219 | 0.0013675
400 | 26.23 | 6.323 | 0.0016568
400.5 | 27.471 | 7.564 | 0.001982
401 | 27.55 | 7.643 | 0.0020027
401.5 | 27.333 | 7.426 | 0.0019458
402 | 25.644 | 5.737 | 0.0015033
402.5 | 24.127 | 4.22 | 0.0011058
403 | 26.25 | 6.343 | 0.001662
403.5 | 28.532 | 8.625 | 0.00226
404 | 30.463 | 10.556 | 0.002766
404.5 | 30.277 | 10.37 | 0.0027172
405 | 29.299 | 9.392 | 0.002461
405.5 | 27.499 | 7.592 | 0.0019893
406 | 24.902 | 4.995 | 0.0013088
406.5 | 22.821 | 2.914 | 0.00076355
407 | 21.119 | 1.212 | 0.00031758
407.5 | 22.256 | 2.349 | 0.0006155
408 | 22.652 | 2.745 | 0.00071927
408.5 | 24.441 | 4.534 | 0.001188
409 | 25.2 | 5.293 | 0.0013869
409.5 | 24.096 | 4.189 | 0.0010976
410 | 25.417 | 5.51 | 0.0014438
410.5 | 23.738 | 3.831 | 0.0010038
411 | 22.221 | 2.314 | 0.00060633
411.5 | 21.548 | 1.641 | 0.00042999
412 | 20.091 | 0.184 | 4.8213e-05
412.5 | 21.494 | 1.587 | 0.00041584
413 | 22.028 | 2.121 | 0.00055576
413.5 | 22.648 | 2.741 | 0.00071822
414 | 21.283 | 1.376 | 0.00036055
414.5 | 22.883 | 2.976 | 0.00077979
415 | 22.195 | 2.288 | 0.00059952
415.5 | 21.585 | 1.678 | 0.00043968
416 | 21.502 | 1.595 | 0.00041793
416.5 | 20.405 | 0.498 | 0.00013049
417 | 19.776 | 0 | 0
417.5 | 20.419 | 0.512 | 0.00013416
418 | 20.345 | 0.438 | 0.00011477
418.5 | 21.579 | 1.672 | 0.00043811
419 | 23.143 | 3.236 | 0.00084792
419.5 | 23.329 | 3.422 | 0.00089666
420 | 23.252 | 3.345 | 0.00087648
420.5 | 22.216 | 2.309 | 0.00060502
421 | 21.714 | 1.807 | 0.00047348
421.5 | 23.737 | 3.83 | 0.0010036
422 | 22.25 | 2.343 | 0.00061393
422.5 | 24.418 | 4.511 | 0.001182
423 | 24.639 | 4.732 | 0.0012399
423.5 | 24.092 | 4.185 | 0.0010966
424 | 23.119 | 3.212 | 0.00084163
424.5 | 23.021 | 3.114 | 0.00081595
425 | 22.042 | 2.135 | 0.00055943
425.5 | 24.638 | 4.731 | 0.0012397
426 | 26.169 | 6.262 | 0.0016408
426.5 | 24.47 | 4.563 | 0.0011956
427 | 23.8 | 3.893 | 0.0010201
427.5 | 21.666 | 1.759 | 0.00046091
428 | 19.92 | 0.013 | 3.4064e-06
428.5 | 20.96 | 1.053 | 0.00027591
429 | 21.677 | 1.77 | 0.00046379
429.5 | 21.839 | 1.932 | 0.00050624
430 | 23.236 | 3.329 | 0.00087229
430.5 | 24.383 | 4.476 | 0.0011728
431 | 25.85 | 5.943 | 0.0015572
431.5 | 26.677 | 6.77 | 0.0017739
432 | 26.888 | 6.981 | 0.0018292
432.5 | 26.331 | 6.424 | 0.0016833
433 | 26.717 | 6.81 | 0.0017844
433.5 | 26.362 | 6.455 | 0.0016914
434 | 26.808 | 6.901 | 0.0018083
434.5 | 25.6 | 5.693 | 0.0014917
435 | 23.556 | 3.649 | 0.00095614
435.5 | 21.546 | 1.639 | 0.00042946
436 | 21.768 | 1.861 | 0.00048763
436.5 | 22.596 | 2.689 | 0.00070459
437 | 23.943 | 4.036 | 0.0010575
437.5 | 23.74 | 3.833 | 0.0010044
438 | 25.37 | 5.463 | 0.0014315
438.5 | 24.487 | 4.58 | 0.0012001
439 | 23.797 | 3.89 | 0.0010193
439.5 | 23.224 | 3.317 | 0.00086915
440 | 23.743 | 3.836 | 0.0010051
440.5 | 24.504 | 4.597 | 0.0012045
441 | 24.727 | 4.82 | 0.001263
441.5 | 20.956 | 1.049 | 0.00027487
442 | 19.722 | 0 | 0
442.5 | 20.661 | 0.754 | 0.00019757
443 | 22.344 | 2.437 | 0.00063856
443.5 | 25.814 | 5.907 | 0.0015478
444 | 25.837 | 5.93 | 0.0015538
444.5 | 25.696 | 5.789 | 0.0015169
445 | 24.765 | 4.858 | 0.0012729
445.5 | 24.894 | 4.987 | 0.0013067
446 | 24.522 | 4.615 | 0.0012093
446.5 | 23.344 | 3.437 | 0.00090059
447 | 22.766 | 2.859 | 0.00074914
447.5 | 24.03 | 4.123 | 0.0010803
448 | 23.275 | 3.368 | 0.00088251
448.5 | 24.362 | 4.455 | 0.0011673
449 | 23.385 | 3.478 | 0.00091133
449.5 | 23.267 | 3.36 | 0.00088041
450 | 23.143 | 3.236 | 0.00084792
450.5 | 24.257 | 4.35 | 0.0011398
451 | 22.675 | 2.768 | 0.00072529
451.5 | 23.364 | 3.457 | 0.00090583
452 | 24.214 | 4.307 | 0.0011286
452.5 | 24.921 | 5.014 | 0.0013138
453 | 25.57 | 5.663 | 0.0014839
453.5 | 23.428 | 3.521 | 0.0009226
454 | 20.985 | 1.078 | 0.00028247
454.5 | 21.885 | 1.978 | 0.00051829
455 | 21.941 | 2.034 | 0.00053296
455.5 | 22.143 | 2.236 | 0.00058589
456 | 20.297 | 0.39 | 0.00010219
456.5 | 19.595 | 0 | 0
457 | 19.88 | 0 | 0
457.5 | 20.543 | 0.636 | 0.00016665
458 | 20.436 | 0.529 | 0.00013861
458.5 | 22.261 | 2.354 | 0.00061681
459 | 23.081 | 3.174 | 0.00083168
459.5 | 23.153 | 3.246 | 0.00085054
460 | 24.422 | 4.515 | 0.0011831
460.5 | 23.274 | 3.367 | 0.00088225
461 | 24.67 | 4.763 | 0.001248
461.5 | 23.113 | 3.206 | 0.00084006
462 | 22.722 | 2.815 | 0.00073761
462.5 | 22.543 | 2.636 | 0.0006907
463 | 23.187 | 3.28 | 0.00085945
463.5 | 24.99 | 5.083 | 0.0013319
464 | 24.611 | 4.704 | 0.0012326
464.5 | 24.324 | 4.417 | 0.0011574
465 | 23.406 | 3.499 | 0.00091683
465.5 | 23.126 | 3.219 | 0.00084347
466 | 26.122 | 6.215 | 0.0016285
466.5 | 27.014 | 7.107 | 0.0018622
467 | 29.343 | 9.436 | 0.0024725
467.5 | 28.792 | 8.885 | 0.0023281
468 | 26.587 | 6.68 | 0.0017503
468.5 | 28.231 | 8.324 | 0.0021811
469 | 27.746 | 7.839 | 0.002054
469.5 | 27.913 | 8.006 | 0.0020978
470 | 26.763 | 6.856 | 0.0017965
470.5 | 24.883 | 4.976 | 0.0013038
471 | 24.302 | 4.395 | 0.0011516
471.5 | 22.874 | 2.967 | 0.00077744
472 | 23.153 | 3.246 | 0.00085054
472.5 | 23.714 | 3.807 | 0.00099754
473 | 23.63 | 3.723 | 0.00097553
473.5 | 25.995 | 6.088 | 0.0015952
474 | 27.216 | 7.309 | 0.0019152
474.5 | 27.665 | 7.758 | 0.0020328
475 | 28.647 | 8.74 | 0.0022901
475.5 | 27.055 | 7.148 | 0.001873
476 | 26.988 | 7.081 | 0.0018554
476.5 | 26.171 | 6.264 | 0.0016413
477 | 26.543 | 6.636 | 0.0017388
477.5 | 26.634 | 6.727 | 0.0017627
478 | 27.463 | 7.556 | 0.0019799
478.5 | 26.218 | 6.311 | 0.0016537
479 | 27.689 | 7.782 | 0.0020391
479.5 | 26.496 | 6.589 | 0.0017265
480 | 26.343 | 6.436 | 0.0016864
480.5 | 24.918 | 5.011 | 0.001313
481 | 24.371 | 4.464 | 0.0011697
481.5 | 26.189 | 6.282 | 0.0016461
482 | 29.301 | 9.394 | 0.0024615
482.5 | 30.673 | 10.766 | 0.002821
483 | 31.777 | 11.87 | 0.0031103
483.5 | 31.57 | 11.663 | 0.003056
484 | 29.751 | 9.844 | 0.0025794
484.5 | 29.917 | 10.01 | 0.0026229
485 | 28.775 | 8.868 | 0.0023237
485.5 | 29.675 | 9.768 | 0.0025595
486 | 30.881 | 10.974 | 0.0028755
486.5 | 29.943 | 10.036 | 0.0026297
487 | 29.363 | 9.456 | 0.0024777
487.5 | 29.441 | 9.534 | 0.0024982
488 | 28.045 | 8.138 | 0.0021324
488.5 | 27.952 | 8.045 | 0.002108
489 | 26.519 | 6.612 | 0.0017325
489.5 | 26.424 | 6.517 | 0.0017076
490 | 27.619 | 7.712 | 0.0020208
490.5 | 29.43 | 9.523 | 0.0024953
491 | 29.221 | 9.314 | 0.0024405
491.5 | 29.484 | 9.577 | 0.0025094
492 | 28.13 | 8.223 | 0.0021547
492.5 | 27.353 | 7.446 | 0.0019511
493 | 29.861 | 9.954 | 0.0026082
493.5 | 31.077 | 11.17 | 0.0029268
494 | 31.622 | 11.715 | 0.0030697
494.5 | 31.981 | 12.074 | 0.0031637
495 | 30.035 | 10.128 | 0.0026538
495.5 | 30.035 | 10.128 | 0.0026538
496 | 29.943 | 10.036 | 0.0026297
496.5 | 30.204 | 10.297 | 0.0026981
497 | 31.189 | 11.282 | 0.0029562
497.5 | 31.08 | 11.173 | 0.0029276
498 | 30.126 | 10.219 | 0.0026777
498.5 | 28.632 | 8.725 | 0.0022862
499 | 25.41 | 5.503 | 0.0014419
499.5 | 24.23 | 4.323 | 0.0011327
500 | 23.803 | 3.896 | 0.0010209
500.5 | 25.127 | 5.22 | 0.0013678
501 | 29.302 | 9.395 | 0.0024617
501.5 | 29.683 | 9.776 | 0.0025616
502 | 28.931 | 9.024 | 0.0023645
502.5 | 28.77 | 8.863 | 0.0023223
503 | 27.964 | 8.057 | 0.0021112
503.5 | 29.849 | 9.942 | 0.0026051
504 | 31.599 | 11.692 | 0.0030636
504.5 | 32.011 | 12.104 | 0.0031716
505 | 30.363 | 10.456 | 0.0027398
505.5 | 29.343 | 9.436 | 0.0024725
506 | 28.194 | 8.287 | 0.0021714
506.5 | 26.944 | 7.037 | 0.0018439
507 | 27.329 | 7.422 | 0.0019448
507.5 | 26.04 | 6.133 | 0.001607
508 | 26.355 | 6.448 | 0.0016896
508.5 | 26.765 | 6.858 | 0.001797
509 | 25.559 | 5.652 | 0.001481
509.5 | 26.779 | 6.872 | 0.0018007
510 | 27.418 | 7.511 | 0.0019681
510.5 | 28.875 | 8.968 | 0.0023499
511 | 32.007 | 12.1 | 0.0031705
511.5 | 32.298 | 12.391 | 0.0032468
512 | 32.924 | 13.017 | 0.0034108
512.5 | 31.028 | 11.121 | 0.002914
513 | 29.403 | 9.496 | 0.0024882
513.5 | 28.874 | 8.967 | 0.0023496
514 | 30.436 | 10.529 | 0.0027589
514.5 | 29.251 | 9.344 | 0.0024484
515 | 30.524 | 10.617 | 0.0027819
515.5 | 29.306 | 9.399 | 0.0024628
516 | 28.589 | 8.682 | 0.0022749
516.5 | 29.775 | 9.868 | 0.0025857
517 | 29.161 | 9.254 | 0.0024248
517.5 | 30.044 | 10.137 | 0.0026562
518 | 30.539 | 10.632 | 0.0027859
518.5 | 27.438 | 7.531 | 0.0019733
519 | 27.159 | 7.252 | 0.0019002
519.5 | 26.254 | 6.347 | 0.0016631
520 | 25.957 | 6.05 | 0.0015853
520.5 | 25.91 | 6.003 | 0.001573
521 | 26.504 | 6.597 | 0.0017286
521.5 | 25.899 | 5.992 | 0.0015701
522 | 25.263 | 5.356 | 0.0014034
522.5 | 25.795 | 5.888 | 0.0015428
523 | 25.886 | 5.979 | 0.0015667
523.5 | 28.359 | 8.452 | 0.0022147
524 | 26.631 | 6.724 | 0.0017619
524.5 | 26.005 | 6.098 | 0.0015978
525 | 25.887 | 5.98 | 0.0015669
525.5 | 26.227 | 6.32 | 0.001656
526 | 28.707 | 8.8 | 0.0023058
526.5 | 27.691 | 7.784 | 0.0020396
527 | 27.248 | 7.341 | 0.0019235
527.5 | 26.173 | 6.266 | 0.0016419
528 | 25.432 | 5.525 | 0.0014477
528.5 | 27.888 | 7.981 | 0.0020912
529 | 27.897 | 7.99 | 0.0020936
529.5 | 28.966 | 9.059 | 0.0023737
530 | 29.838 | 9.931 | 0.0026022
530.5 | 28.743 | 8.836 | 0.0023153
531 | 28.138 | 8.231 | 0.0021567
531.5 | 26.695 | 6.788 | 0.0017786
532 | 27.293 | 7.386 | 0.0019353
532.5 | 27.442 | 7.535 | 0.0019744
533 | 26.842 | 6.935 | 0.0018172
533.5 | 22.89 | 2.983 | 0.00078163
534 | 22.595 | 2.688 | 0.00070433
534.5 | 23.453 | 3.546 | 0.00092915
535 | 27.366 | 7.459 | 0.0019545
535.5 | 28.631 | 8.724 | 0.0022859
536 | 28.811 | 8.904 | 0.0023331
536.5 | 26.823 | 6.916 | 0.0018122
537 | 25.789 | 5.882 | 0.0015412
537.5 | 24.881 | 4.974 | 0.0013033
538 | 23.924 | 4.017 | 0.0010526
538.5 | 25.287 | 5.38 | 0.0014097
539 | 25.667 | 5.76 | 0.0015093
539.5 | 26.382 | 6.475 | 0.0016966
540 | 24.735 | 4.828 | 0.0012651
540.5 | 26.101 | 6.194 | 0.001623
541 | 27.578 | 7.671 | 0.00201
541.5 | 28.61 | 8.703 | 0.0022804
542 | 26.718 | 6.811 | 0.0017847
542.5 | 24.426 | 4.519 | 0.0011841
543 | 23.732 | 3.825 | 0.0010023
543.5 | 24.668 | 4.761 | 0.0012475
544 | 25.253 | 5.346 | 0.0014008
544.5 | 24.702 | 4.795 | 0.0012564
545 | 22.515 | 2.608 | 0.00068337
545.5 | 23.657 | 3.75 | 0.0009826
546 | 22.225 | 2.318 | 0.00060738
546.5 | 22.869 | 2.962 | 0.00077613
547 | 21.571 | 1.664 | 0.00043601
547.5 | 22.138 | 2.231 | 0.00058458
548 | 23.354 | 3.447 | 0.00090321
548.5 | 26.351 | 6.444 | 0.0016885
549 | 27.189 | 7.282 | 0.0019081
549.5 | 28.12 | 8.213 | 0.002152
550 | 27.758 | 7.851 | 0.0020572
550.5 | 27.348 | 7.441 | 0.0019497
551 | 26.297 | 6.39 | 0.0016744
551.5 | 25.181 | 5.274 | 0.0013819
552 | 24.849 | 4.942 | 0.0012949
552.5 | 24.478 | 4.571 | 0.0011977
553 | 24.743 | 4.836 | 0.0012672
553.5 | 22.932 | 3.025 | 0.00079263
554 | 23.143 | 3.236 | 0.00084792
554.5 | 24.066 | 4.159 | 0.0010898
555 | 26.919 | 7.012 | 0.0018373
555.5 | 27.343 | 7.436 | 0.0019484
556 | 25.98 | 6.073 | 0.0015913
556.5 | 22.403 | 2.496 | 0.00065402
557 | 20.584 | 0.677 | 0.00017739
557.5 | 19.604 | 0 | 0
558 | 20.652 | 0.745 | 0.00019521
558.5 | 22.307 | 2.4 | 0.00062887
559 | 21.445 | 1.538 | 0.000403
559.5 | 20.366 | 0.459 | 0.00012027
560 | 19.806 | 0 | 0
560.5 | 21.202 | 1.295 | 0.00033933
561 | 22.499 | 2.592 | 0.00067918
561.5 | 23.17 | 3.263 | 0.000855
562 | 23.231 | 3.324 | 0.00087098
562.5 | 21.606 | 1.699 | 0.00044518
563 | 20.991 | 1.084 | 0.00028404
563.5 | 21.038 | 1.131 | 0.00029635
564 | 20.581 | 0.674 | 0.00017661
564.5 | 20.904 | 0.997 | 0.00026124
565 | 19.782 | 0 | 0
565.5 | 20.643 | 0.736 | 0.00019285
566 | 20.763 | 0.856 | 0.0002243
566.5 | 22.24 | 2.333 | 0.00061131
567 | 19.953 | 0.046 | 1.2053e-05
567.5 | 19.907 | 0 | 0
568 | 18.169 | 0 | 0
568.5 | 18.61 | 0 | 0
569 | 18.627 | 0 | 0
569.5 | 19.844 | 0 | 0
570 | 19.977 | 0.07 | 1.8342e-05
570.5 | 20.376 | 0.469 | 0.00012289
571 | 18.716 | 0 | 0
571.5 | 19.08 | 0 | 0
572 | 18.729 | 0 | 0
572.5 | 20.141 | 0.234 | 6.1314e-05
573 | 19.165 | 0 | 0
573.5 | 19.123 | 0 | 0
574 | 18.813 | 0 | 0
574.5 | 19.377 | 0 | 0
575 | 19.6 | 0 | 0
575.5 | 20.085 | 0.178 | 4.6641e-05
576 | 20.447 | 0.54 | 0.00014149
576.5 | 20.621 | 0.714 | 0.00018709
577 | 20.179 | 0.272 | 7.1271e-05
577.5 | 19.853 | 0 | 0
578 | 19.593 | 0 | 0
578.5 | 20.268 | 0.361 | 9.4592e-05
579 | 20.114 | 0.207 | 5.424e-05
579.5 | 19.803 | 0 | 0
580 | 18.147 | 0 | 0
580.5 | 17.567 | 0 | 0
581 | 16.636 | 0 | 0
581.5 | 15.743 | 0 | 0
582 | 14.879 | 0 | 0
582.5 | 16.749 | 0 | 0
583 | 18.588 | 0 | 0
583.5 | 21.539 | 1.632 | 0.00042763
584 | 20.765 | 0.858 | 0.00022482
584.5 | 21.627 | 1.72 | 0.00045069
585 | 19.591 | 0 | 0
585.5 | 19.576 | 0 | 0
586 | 16.832 | 0 | 0
586.5 | 15.639 | 0 | 0
587 | 15.597 | 0 | 0
587.5 | 18.11 | 0 | 0
588 | 19.654 | 0 | 0
588.5 | 19.729 | 0 | 0
589 | 19.038 | 0 | 0
589.5 | 17.676 | 0 | 0
590 | 18.488 | 0 | 0
590.5 | 19.347 | 0 | 0
591 | 18.249 | 0 | 0
591.5 | 16.449 | 0 | 0
592 | 15.073 | 0 | 0
592.5 | 15.378 | 0 | 0
593 | 15.77 | 0 | 0
593.5 | 15.576 | 0 | 0
594 | 14.946 | 0 | 0
594.5 | 15.513 | 0 | 0
595 | 15.395 | 0 | 0
595.5 | 15.84 | 0 | 0
596 | 17.025 | 0 | 0
596.5 | 17.611 | 0 | 0
597 | 19.563 | 0 | 0
597.5 | 19.768 | 0 | 0
598 | 20.668 | 0.761 | 0.0001994
598.5 | 19.538 | 0 | 0
599 | 18.244 | 0 | 0
599.5 | 18.003 | 0 | 0
600 | 18.181 | 0 | 0
600.5 | 18.336 | 0 | 0
601 | 18.543 | 0 | 0
601.5 | 18.929 | 0 | 0
602 | 18.898 | 0 | 0
602.5 | 18.743 | 0 | 0
603 | 18.433 | 0 | 0
603.5 | 18.913 | 0 | 0
604 | 17.81 | 0 | 0
604.5 | 17.909 | 0 | 0
605 | 19.087 | 0 | 0
605.5 | 19.743 | 0 | 0
606 | 19.564 | 0 | 0
606.5 | 17.18 | 0 | 0
607 | 16.26 | 0 | 0
607.5 | 13.961 | 0 | 0
608 | 14.143 | 0 | 0
608.5 | 13.976 | 0 | 0
609 | 15.422 | 0 | 0
609.5 | 17.77 | 0 | 0
610 | 19.179 | 0 | 0
610.5 | 19.302 | 0 | 0
611 | 19.626 | 0 | 0
611.5 | 19.281 | 0 | 0
612 | 19.556 | 0 | 0
612.5 | 17.34 | 0 | 0
613 | 14.942 | 0 | 0
613.5 | 15.47 | 0 | 0
614 | 17.335 | 0 | 0
614.5 | 18.551 | 0 | 0
615 | 18.188 | 0 | 0
615.5 | 16.528 | 0 | 0
616 | 15.343 | 0 | 0
616.5 | 15.825 | 0 | 0
617 | 17.105 | 0 | 0
617.5 | 19.007 | 0 | 0
618 | 19.65 | 0 | 0
618.5 | 19.143 | 0 | 0
619 | 19.198 | 0 | 0
619.5 | 18.171 | 0 | 0
620 | 18.884 | 0 | 0
620.5 | 19.308 | 0 | 0
621 | 20.39 | 0.483 | 0.00012656
621.5 | 19.557 | 0 | 0
622 | 18.943 | 0 | 0
622.5 | 18.341 | 0 | 0
623 | 17.459 | 0 | 0
623.5 | 15.997 | 0 | 0
624 | 17.028 | 0 | 0
624.5 | 18.174 | 0 | 0
625 | 18.943 | 0 | 0
625.5 | 18.743 | 0 | 0
626 | 18.918 | 0 | 0
626.5 | 19.532 | 0 | 0
627 | 18.743 | 0 | 0
627.5 | 19.315 | 0 | 0
628 | 20.275 | 0.368 | 9.6426e-05
628.5 | 20.164 | 0.257 | 6.7341e-05
629 | 17.468 | 0 | 0
629.5 | 15.707 | 0 | 0
630 | 17.776 | 0 | 0
630.5 | 19.426 | 0 | 0
631 | 20.143 | 0.236 | 6.1838e-05
631.5 | 19.095 | 0 | 0
632 | 18.363 | 0 | 0
632.5 | 18.225 | 0 | 0
633 | 18.143 | 0 | 0
633.5 | 20.058 | 0.151 | 3.9566e-05
634 | 20.155 | 0.248 | 6.4983e-05
634.5 | 19.654 | 0 | 0
635 | 19.137 | 0 | 0
635.5 | 18.487 | 0 | 0
636 | 20.372 | 0.465 | 0.00012184
636.5 | 20.056 | 0.149 | 3.9042e-05
637 | 20.143 | 0.236 | 6.1838e-05
637.5 | 19.008 | 0 | 0
638 | 19.922 | 0.015 | 3.9304e-06
638.5 | 21.018 | 1.111 | 0.00029111
639 | 20.386 | 0.479 | 0.00012551
639.5 | 21.009 | 1.102 | 0.00028875
640 | 20.522 | 0.615 | 0.00016115
640.5 | 20.943 | 1.036 | 0.00027146
641 | 20.636 | 0.729 | 0.00019102
641.5 | 22.741 | 2.834 | 0.00074259
642 | 24.375 | 4.468 | 0.0011707
642.5 | 23.662 | 3.755 | 0.00098391
643 | 21.543 | 1.636 | 0.00042868
643.5 | 23.319 | 3.412 | 0.00089404
644 | 25.067 | 5.16 | 0.0013521
644.5 | 27.565 | 7.658 | 0.0020066
645 | 28.419 | 8.512 | 0.0022304
645.5 | 28.284 | 8.377 | 0.002195
646 | 27.956 | 8.049 | 0.0021091