## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 11.78 | 0 | 0
246.5 | 11.85 | 0 | 0
247 | 11.52 | 0 | 0
247.5 | 10.58 | 0 | 0
248 | 10.98 | 0 | 0
248.5 | 10.59 | 0 | 0
249 | 11.46 | 0 | 0
249.5 | 14.49 | 2.64 | 0.00071118
250 | 13.18 | 1.33 | 0.00035828
250.5 | 10.66 | 0 | 0
251 | 7.154 | 0 | 0
251.5 | 9.059 | 0 | 0
252 | 8.817 | 0 | 0
252.5 | 9.385 | 0 | 0
253 | 14.55 | 2.7 | 0.00072734
253.5 | 13.73 | 1.88 | 0.00050645
254 | 12.95 | 1.1 | 0.00029632
254.5 | 11.25 | 0 | 0
255 | 11.89 | 0.04 | 1.0775e-05
255.5 | 9.716 | 0 | 0
256 | 9.08 | 0 | 0
256.5 | 9.08 | 0 | 0
257 | 8.995 | 0 | 0
257.5 | 11.08 | 0 | 0
258 | 11.43 | 0 | 0
258.5 | 11.58 | 0 | 0
259 | 10.46 | 0 | 0
259.5 | 12.12 | 0.27 | 7.2734e-05
260 | 14.47 | 2.62 | 0.00070579
260.5 | 13.38 | 1.53 | 0.00041216
261 | 9.58 | 0 | 0
261.5 | 8.99 | 0 | 0
262 | 11.16 | 0 | 0
262.5 | 12.25 | 0.4 | 0.00010775
263 | 11.29 | 0 | 0
263.5 | 13.42 | 1.57 | 0.00042294
264 | 13.58 | 1.73 | 0.00046604
264.5 | 10.36 | 0 | 0
265 | 9.827 | 0 | 0
265.5 | 10.08 | 0 | 0
266 | 11.06 | 0 | 0
266.5 | 11.68 | 0 | 0
267 | 13.49 | 1.64 | 0.00044179
267.5 | 12.22 | 0.37 | 9.9673e-05
268 | 13.01 | 1.16 | 0.00031249
268.5 | 11.75 | 0 | 0
269 | 8.51 | 0 | 0
269.5 | 8.063 | 0 | 0
270 | 12.44 | 0.59 | 0.00015894
270.5 | 11.76 | 0 | 0
271 | 9.284 | 0 | 0
271.5 | 12.51 | 0.66 | 0.00017779
272 | 11.76 | 0 | 0
272.5 | 11.77 | 0 | 0
273 | 12.03 | 0.18 | 4.8489e-05
273.5 | 14.99 | 3.14 | 0.00084587
274 | 14.11 | 2.26 | 0.00060881
274.5 | 16.19 | 4.34 | 0.0011691
275 | 14.48 | 2.63 | 0.00070848
275.5 | 10.43 | 0 | 0
276 | 11.83 | 0 | 0
276.5 | 14.38 | 2.53 | 0.00068155
277 | 12.01 | 0.16 | 4.3102e-05
277.5 | 12.22 | 0.37 | 9.9673e-05
278 | 12.37 | 0.52 | 0.00014008
278.5 | 11.09 | 0 | 0
279 | 10.35 | 0 | 0
279.5 | 9.967 | 0 | 0
280 | 9.92 | 0 | 0
280.5 | 13.39 | 1.54 | 0.00041485
281 | 14.77 | 2.92 | 0.00078661
281.5 | 13.93 | 2.08 | 0.00056032
282 | 13.1 | 1.25 | 0.00033673
282.5 | 12.06 | 0.21 | 5.6571e-05
283 | 11.4 | 0 | 0
283.5 | 10.83 | 0 | 0
284 | 9.196 | 0 | 0
284.5 | 10.28 | 0 | 0
285 | 12.99 | 1.14 | 0.0003071
285.5 | 14.08 | 2.23 | 0.00060073
286 | 13.55 | 1.7 | 0.00045796
286.5 | 12.08 | 0.23 | 6.1959e-05
287 | 12.08 | 0.23 | 6.1959e-05
287.5 | 7.89 | 0 | 0
288 | 6.58 | 0 | 0
288.5 | 7.989 | 0 | 0
289 | 12.06 | 0.21 | 5.6571e-05
289.5 | 10.36 | 0 | 0
290 | 10.22 | 0 | 0
290.5 | 10.88 | 0 | 0
291 | 13.73 | 1.88 | 0.00050645
291.5 | 13.69 | 1.84 | 0.00049567
292 | 10.74 | 0 | 0
292.5 | 9.692 | 0 | 0
293 | 12.62 | 0.77 | 0.00020743
293.5 | 12.11 | 0.26 | 7.004e-05
294 | 12.17 | 0.32 | 8.6203e-05
294.5 | 10.17 | 0 | 0
295 | 11.84 | 0 | 0
295.5 | 10.69 | 0 | 0
296 | 11.42 | 0 | 0
296.5 | 9.206 | 0 | 0
297 | 10.59 | 0 | 0
297.5 | 12.54 | 0.69 | 0.00018588
298 | 12.34 | 0.49 | 0.000132
298.5 | 12.25 | 0.4 | 0.00010775
299 | 12.01 | 0.16 | 4.3102e-05
299.5 | 12.23 | 0.38 | 0.00010237
300 | 12.19 | 0.34 | 9.1591e-05
300.5 | 11.45 | 0 | 0
301 | 13.08 | 1.23 | 0.00033134
301.5 | 14.09 | 2.24 | 0.00060342
302 | 14.49 | 2.64 | 0.00071118
302.5 | 12.64 | 0.79 | 0.00021281
303 | 11.81 | 0 | 0
303.5 | 13.11 | 1.26 | 0.00033943
304 | 11.08 | 0 | 0
304.5 | 12.35 | 0.5 | 0.00013469
305 | 13.65 | 1.8 | 0.00048489
305.5 | 13.45 | 1.6 | 0.00043102
306 | 14.51 | 2.66 | 0.00071657
306.5 | 13.25 | 1.4 | 0.00037714
307 | 14.9 | 3.05 | 0.00082163
307.5 | 13.67 | 1.82 | 0.00049028
308 | 15.84 | 3.99 | 0.0010748
308.5 | 13.71 | 1.86 | 0.00050106
309 | 13.43 | 1.58 | 0.00042563
309.5 | 12.85 | 1 | 0.00026939
310 | 11.35 | 0 | 0
310.5 | 10.32 | 0 | 0
311 | 11.21 | 0 | 0
311.5 | 14.2 | 2.35 | 0.00063306
312 | 13.37 | 1.52 | 0.00040947
312.5 | 11.59 | 0 | 0
313 | 13.59 | 1.74 | 0.00046873
313.5 | 16.38 | 4.53 | 0.0012203
314 | 12.52 | 0.67 | 0.00018049
314.5 | 9.87 | 0 | 0
315 | 11.67 | 0 | 0
315.5 | 13.67 | 1.82 | 0.00049028
316 | 15.45 | 3.6 | 0.00096979
316.5 | 16.35 | 4.5 | 0.0012122
317 | 15.95 | 4.1 | 0.0011045
317.5 | 15.52 | 3.67 | 0.00098865
318 | 14.95 | 3.1 | 0.0008351
318.5 | 14.9 | 3.05 | 0.00082163
319 | 14.08 | 2.23 | 0.00060073
319.5 | 14.63 | 2.78 | 0.00074889
320 | 13.89 | 2.04 | 0.00054955
320.5 | 12.23 | 0.38 | 0.00010237
321 | 13.87 | 2.02 | 0.00054416
321.5 | 15.15 | 3.3 | 0.00088897
322 | 14.63 | 2.78 | 0.00074889
322.5 | 12.23 | 0.38 | 0.00010237
323 | 11.07 | 0 | 0
323.5 | 9.975 | 0 | 0
324 | 13.2 | 1.35 | 0.00036367
324.5 | 13.22 | 1.37 | 0.00036906
325 | 13.2 | 1.35 | 0.00036367
325.5 | 15.05 | 3.2 | 0.00086203
326 | 15.15 | 3.3 | 0.00088897
326.5 | 15.04 | 3.19 | 0.00085934
327 | 11.07 | 0 | 0
327.5 | 11.06 | 0 | 0
328 | 13.4 | 1.55 | 0.00041755
328.5 | 14.06 | 2.21 | 0.00059534
329 | 13.72 | 1.87 | 0.00050375
329.5 | 14.68 | 2.83 | 0.00076236
330 | 14.62 | 2.77 | 0.0007462
330.5 | 13.81 | 1.96 | 0.000528
331 | 14.3 | 2.45 | 0.00065999
331.5 | 17.13 | 5.28 | 0.0014224
332 | 17.97 | 6.12 | 0.0016486
332.5 | 20.09 | 8.24 | 0.0022197
333 | 18.08 | 6.23 | 0.0016783
333.5 | 16.61 | 4.76 | 0.0012823
334 | 13.13 | 1.28 | 0.00034481
334.5 | 10.88 | 0 | 0
335 | 11.56 | 0 | 0
335.5 | 16.19 | 4.34 | 0.0011691
336 | 18.35 | 6.5 | 0.001751
336.5 | 19.4 | 7.55 | 0.0020339
337 | 16.96 | 5.11 | 0.0013766
337.5 | 15.34 | 3.49 | 0.00094016
338 | 19.52 | 7.67 | 0.0020662
338.5 | 17.03 | 5.18 | 0.0013954
339 | 13.87 | 2.02 | 0.00054416
339.5 | 18.16 | 6.31 | 0.0016998
340 | 20.26 | 8.41 | 0.0022655
340.5 | 21.27 | 9.42 | 0.0025376
341 | 20.06 | 8.21 | 0.0022117
341.5 | 19.94 | 8.09 | 0.0021793
342 | 23.26 | 11.41 | 0.0030737
342.5 | 21.58 | 9.73 | 0.0026211
343 | 19.4 | 7.55 | 0.0020339
343.5 | 20.75 | 8.9 | 0.0023975
344 | 18.12 | 6.27 | 0.001689
344.5 | 18.39 | 6.54 | 0.0017618
345 | 20.05 | 8.2 | 0.002209
345.5 | 21.55 | 9.7 | 0.002613
346 | 22.77 | 10.92 | 0.0029417
346.5 | 21.76 | 9.91 | 0.0026696
347 | 23.03 | 11.18 | 0.0030117
347.5 | 23.73 | 11.88 | 0.0032003
348 | 23.13 | 11.28 | 0.0030387
348.5 | 23.06 | 11.21 | 0.0030198
349 | 23.92 | 12.07 | 0.0032515
349.5 | 28.97 | 17.12 | 0.0046119
350 | 32.49 | 20.64 | 0.0055601
350.5 | 33.73 | 21.88 | 0.0058942
351 | 35.66 | 23.81 | 0.0064141
351.5 | 40.45 | 28.6 | 0.0077044
352 | 44.33 | 32.48 | 0.0087496
352.5 | 50.54 | 38.69 | 0.010423
353 | 62.81 | 50.96 | 0.013728
353.5 | 81.1 | 69.25 | 0.018655
354 | 104 | 92.15 | 0.024824
354.5 | 123.4 | 111.55 | 0.03005
355 | 151.4 | 139.55 | 0.037593
355.5 | 185.9 | 174.05 | 0.046887
356 | 219.5 | 207.65 | 0.055938
356.5 | 266 | 254.15 | 0.068464
357 | 322.6 | 310.75 | 0.083712
357.5 | 386.8 | 374.95 | 0.10101
358 | 459.2 | 447.35 | 0.12051
358.5 | 542.9 | 531.05 | 0.14306
359 | 649.6 | 637.75 | 0.1718
359.5 | 772.6 | 760.75 | 0.20494
360 | 913.5 | 901.65 | 0.24289
360.5 | 1075 | 1063.15 | 0.2864
361 | 1240 | 1228.15 | 0.33085
361.5 | 1430 | 1418.15 | 0.38203
362 | 1671 | 1659.15 | 0.44695
362.5 | 1948 | 1936.15 | 0.52157
363 | 2234 | 2222.15 | 0.59862
363.5 | 2526 | 2514.15 | 0.67728
364 | 2785 | 2773.15 | 0.74705
364.5 | 3018 | 3006.15 | 0.80981
365 | 3227 | 3215.15 | 0.86612
365.5 | 3455 | 3443.15 | 0.92754
366 | 3618 | 3606.15 | 0.97145
366.5 | 3723 | 3711.15 | 0.99973
367 | 3724 | 3712.15 | 1
367.5 | 3692 | 3680.15 | 0.99138
368 | 3610 | 3598.15 | 0.96929
368.5 | 3470 | 3458.15 | 0.93158
369 | 3286 | 3274.15 | 0.88201
369.5 | 3112 | 3100.15 | 0.83514
370 | 2930 | 2918.15 | 0.78611
370.5 | 2747 | 2735.15 | 0.73681
371 | 2579 | 2567.15 | 0.69155
371.5 | 2409 | 2397.15 | 0.64576
372 | 2251 | 2239.15 | 0.60319
372.5 | 2086 | 2074.15 | 0.55875
373 | 1910 | 1898.15 | 0.51133
373.5 | 1746 | 1734.15 | 0.46716
374 | 1621 | 1609.15 | 0.43348
374.5 | 1502 | 1490.15 | 0.40143
375 | 1383 | 1371.15 | 0.36937
375.5 | 1271 | 1259.15 | 0.3392
376 | 1159 | 1147.15 | 0.30903
376.5 | 1045 | 1033.15 | 0.27832
377 | 947.3 | 935.45 | 0.252
377.5 | 883 | 871.15 | 0.23468
378 | 822.1 | 810.25 | 0.21827
378.5 | 759.7 | 747.85 | 0.20146
379 | 701.1 | 689.25 | 0.18567
379.5 | 663.1 | 651.25 | 0.17544
380 | 628.5 | 616.65 | 0.16612
380.5 | 585.5 | 573.65 | 0.15453
381 | 544.7 | 532.85 | 0.14354
381.5 | 508.1 | 496.25 | 0.13368
382 | 475.1 | 463.25 | 0.12479
382.5 | 448.4 | 436.55 | 0.1176
383 | 427.3 | 415.45 | 0.11192
383.5 | 405.4 | 393.55 | 0.10602
384 | 383 | 371.15 | 0.099982
384.5 | 358.5 | 346.65 | 0.093383
385 | 333.2 | 321.35 | 0.086567
385.5 | 313 | 301.15 | 0.081125
386 | 289 | 277.15 | 0.07466
386.5 | 272.1 | 260.25 | 0.070108
387 | 251.1 | 239.25 | 0.064451
387.5 | 235.1 | 223.25 | 0.06014
388 | 221 | 209.15 | 0.056342
388.5 | 205.6 | 193.75 | 0.052193
389 | 199 | 187.15 | 0.050416
389.5 | 192.1 | 180.25 | 0.048557
390 | 180.4 | 168.55 | 0.045405
390.5 | 170.4 | 158.55 | 0.042711
391 | 166.4 | 154.55 | 0.041634
391.5 | 160.5 | 148.65 | 0.040044
392 | 149.6 | 137.75 | 0.037108
392.5 | 140.3 | 128.45 | 0.034603
393 | 133.2 | 121.35 | 0.03269
393.5 | 125.6 | 113.75 | 0.030643
394 | 122.4 | 110.55 | 0.029781
394.5 | 121.4 | 109.55 | 0.029511
395 | 115.5 | 103.65 | 0.027922
395.5 | 111.2 | 99.35 | 0.026763
396 | 104.2 | 92.35 | 0.024878
396.5 | 101.5 | 89.65 | 0.02415
397 | 97.89 | 86.04 | 0.023178
397.5 | 94.69 | 82.84 | 0.022316
398 | 93.58 | 81.73 | 0.022017
398.5 | 94.31 | 82.46 | 0.022214
399 | 87.41 | 75.56 | 0.020355
399.5 | 82.24 | 70.39 | 0.018962
400 | 79.61 | 67.76 | 0.018254
400.5 | 78.92 | 67.07 | 0.018068
401 | 77.49 | 65.64 | 0.017682
401.5 | 73.91 | 62.06 | 0.016718
402 | 70.27 | 58.42 | 0.015738
402.5 | 66.08 | 54.23 | 0.014609
403 | 63.56 | 51.71 | 0.01393
403.5 | 62.52 | 50.67 | 0.01365
404 | 59.45 | 47.6 | 0.012823
404.5 | 57.73 | 45.88 | 0.012359
405 | 57.98 | 46.13 | 0.012427
405.5 | 55.91 | 44.06 | 0.011869
406 | 53.43 | 41.58 | 0.011201
406.5 | 54.36 | 42.51 | 0.011452
407 | 54.21 | 42.36 | 0.011411
407.5 | 51.74 | 39.89 | 0.010746
408 | 48.91 | 37.06 | 0.0099834
408.5 | 48.94 | 37.09 | 0.0099915
409 | 48.53 | 36.68 | 0.0098811
409.5 | 47.35 | 35.5 | 0.0095632
410 | 44.41 | 32.56 | 0.0087712
410.5 | 43.95 | 32.1 | 0.0086473
411 | 42.31 | 30.46 | 0.0082055
411.5 | 42.04 | 30.19 | 0.0081328
412 | 40.48 | 28.63 | 0.0077125
412.5 | 41.87 | 30.02 | 0.008087
413 | 39.42 | 27.57 | 0.007427
413.5 | 40.8 | 28.95 | 0.0077987
414 | 37.29 | 25.44 | 0.0068532
414.5 | 37.26 | 25.41 | 0.0068451
415 | 38.08 | 26.23 | 0.007066
415.5 | 36.98 | 25.13 | 0.0067697
416 | 36.08 | 24.23 | 0.0065272
416.5 | 34.33 | 22.48 | 0.0060558
417 | 33.34 | 21.49 | 0.0057891
417.5 | 35.38 | 23.53 | 0.0063386
418 | 35.02 | 23.17 | 0.0062417
418.5 | 33.58 | 21.73 | 0.0058538
419 | 31.94 | 20.09 | 0.005412
419.5 | 27.79 | 15.94 | 0.004294
420 | 28.88 | 17.03 | 0.0045876
420.5 | 29.58 | 17.73 | 0.0047762
421 | 29.58 | 17.73 | 0.0047762
421.5 | 28.42 | 16.57 | 0.0044637
422 | 28.08 | 16.23 | 0.0043721
422.5 | 27.52 | 15.67 | 0.0042213
423 | 24.7 | 12.85 | 0.0034616
423.5 | 24.12 | 12.27 | 0.0033054
424 | 24.97 | 13.12 | 0.0035343
424.5 | 25.78 | 13.93 | 0.0037525
425 | 26.55 | 14.7 | 0.00396
425.5 | 24.23 | 12.38 | 0.003335
426 | 21.76 | 9.91 | 0.0026696
426.5 | 20.36 | 8.51 | 0.0022925
427 | 22.47 | 10.62 | 0.0028609
427.5 | 21.07 | 9.22 | 0.0024837
428 | 23.3 | 11.45 | 0.0030845
428.5 | 21.93 | 10.08 | 0.0027154
429 | 21.23 | 9.38 | 0.0025268
429.5 | 21.23 | 9.38 | 0.0025268
430 | 21.07 | 9.22 | 0.0024837
430.5 | 19.58 | 7.73 | 0.0020824
431 | 21.49 | 9.64 | 0.0025969
431.5 | 21.12 | 9.27 | 0.0024972
432 | 18.92 | 7.07 | 0.0019046
432.5 | 16.82 | 4.97 | 0.0013388
433 | 17.44 | 5.59 | 0.0015059
433.5 | 18.35 | 6.5 | 0.001751
434 | 18.3 | 6.45 | 0.0017375
434.5 | 16.52 | 4.67 | 0.001258
435 | 16.86 | 5.01 | 0.0013496
435.5 | 17.58 | 5.73 | 0.0015436
436 | 15.76 | 3.91 | 0.0010533
436.5 | 15.18 | 3.33 | 0.00089705
437 | 17.08 | 5.23 | 0.0014089
437.5 | 18.17 | 6.32 | 0.0017025
438 | 15.27 | 3.42 | 0.0009213
438.5 | 14.26 | 2.41 | 0.00064922
439 | 14.96 | 3.11 | 0.00083779
439.5 | 16.34 | 4.49 | 0.0012095
440 | 17 | 5.15 | 0.0013873
440.5 | 15.09 | 3.24 | 0.00087281
441 | 14.38 | 2.53 | 0.00068155
441.5 | 16.51 | 4.66 | 0.0012553
442 | 16.53 | 4.68 | 0.0012607
442.5 | 15.84 | 3.99 | 0.0010748
443 | 16.1 | 4.25 | 0.0011449
443.5 | 15.9 | 4.05 | 0.001091
444 | 13.78 | 1.93 | 0.00051991
444.5 | 13.22 | 1.37 | 0.00036906
445 | 15.65 | 3.8 | 0.0010237
445.5 | 16.98 | 5.13 | 0.0013819
446 | 14.79 | 2.94 | 0.00079199
446.5 | 13.11 | 1.26 | 0.00033943
447 | 14.75 | 2.9 | 0.00078122
447.5 | 14.32 | 2.47 | 0.00066538
448 | 14.34 | 2.49 | 0.00067077
448.5 | 16.17 | 4.32 | 0.0011637
449 | 13.56 | 1.71 | 0.00046065
449.5 | 11.29 | 0 | 0
450 | 12.84 | 0.99 | 0.00026669
450.5 | 11.73 | 0 | 0
451 | 13.24 | 1.39 | 0.00037445
451.5 | 15.68 | 3.83 | 0.0010317
452 | 15.03 | 3.18 | 0.00085665
452.5 | 14.52 | 2.67 | 0.00071926
453 | 11.08 | 0 | 0
453.5 | 9.14 | 0 | 0
454 | 9.671 | 0 | 0
454.5 | 12.39 | 0.54 | 0.00014547
455 | 11.56 | 0 | 0
455.5 | 11.31 | 0 | 0
456 | 12.02 | 0.17 | 4.5796e-05
456.5 | 12.39 | 0.54 | 0.00014547
457 | 13.08 | 1.23 | 0.00033134
457.5 | 12.92 | 1.07 | 0.00028824
458 | 13.24 | 1.39 | 0.00037445
458.5 | 14.58 | 2.73 | 0.00073542
459 | 14.3 | 2.45 | 0.00065999
459.5 | 14.15 | 2.3 | 0.00061959
460 | 11.72 | 0 | 0
460.5 | 11.01 | 0 | 0
461 | 10.72 | 0 | 0
461.5 | 11.58 | 0 | 0
462 | 10.09 | 0 | 0
462.5 | 7.505 | 0 | 0
463 | 11.07 | 0 | 0
463.5 | 11.51 | 0 | 0
464 | 10.44 | 0 | 0
464.5 | 10.86 | 0 | 0
465 | 9.869 | 0 | 0
465.5 | 10.09 | 0 | 0
466 | 11.58 | 0 | 0
466.5 | 10.27 | 0 | 0
467 | 8.734 | 0 | 0
467.5 | 9.08 | 0 | 0
468 | 10.1 | 0 | 0
468.5 | 11.67 | 0 | 0
469 | 12.04 | 0.19 | 5.1183e-05
469.5 | 10.6 | 0 | 0
470 | 11.91 | 0.06 | 1.6163e-05
470.5 | 11.73 | 0 | 0
471 | 11.08 | 0 | 0
471.5 | 8.739 | 0 | 0
472 | 8.578 | 0 | 0
472.5 | 11.53 | 0 | 0
473 | 12.17 | 0.32 | 8.6203e-05
473.5 | 12.59 | 0.74 | 0.00019935
474 | 11.66 | 0 | 0
474.5 | 11.51 | 0 | 0
475 | 11.28 | 0 | 0
475.5 | 9.091 | 0 | 0
476 | 8.301 | 0 | 0
476.5 | 9.28 | 0 | 0
477 | 11.69 | 0 | 0
477.5 | 12.31 | 0.46 | 0.00012392
478 | 11.58 | 0 | 0
478.5 | 11.08 | 0 | 0
479 | 12.35 | 0.5 | 0.00013469
479.5 | 10.52 | 0 | 0
480 | 12.32 | 0.47 | 0.00012661
480.5 | 10.67 | 0 | 0
481 | 11.4 | 0 | 0
481.5 | 8.736 | 0 | 0
482 | 11.11 | 0 | 0
482.5 | 12.07 | 0.22 | 5.9265e-05
483 | 11.87 | 0.02 | 5.3877e-06
483.5 | 9.837 | 0 | 0
484 | 8.901 | 0 | 0
484.5 | 10.74 | 0 | 0
485 | 9.691 | 0 | 0
485.5 | 10.42 | 0 | 0
486 | 12.08 | 0.23 | 6.1959e-05
486.5 | 12.08 | 0.23 | 6.1959e-05
487 | 10.14 | 0 | 0
487.5 | 12.8 | 0.95 | 0.00025592
488 | 14.05 | 2.2 | 0.00059265
488.5 | 14.08 | 2.23 | 0.00060073
489 | 12.39 | 0.54 | 0.00014547
489.5 | 13.13 | 1.28 | 0.00034481
490 | 14.72 | 2.87 | 0.00077314
490.5 | 11.5 | 0 | 0
491 | 12.41 | 0.56 | 0.00015086
491.5 | 11.58 | 0 | 0
492 | 11.87 | 0.02 | 5.3877e-06
492.5 | 13.96 | 2.11 | 0.0005684
493 | 11.08 | 0 | 0
493.5 | 10.12 | 0 | 0
494 | 9.08 | 0 | 0
494.5 | 9.957 | 0 | 0
495 | 9.918 | 0 | 0
495.5 | 12.18 | 0.33 | 8.8897e-05
496 | 10.06 | 0 | 0
496.5 | 9.664 | 0 | 0
497 | 11.17 | 0 | 0
497.5 | 10.93 | 0 | 0
498 | 10.64 | 0 | 0
498.5 | 10.79 | 0 | 0
499 | 11.04 | 0 | 0
499.5 | 10.33 | 0 | 0
500 | 9.609 | 0 | 0
500.5 | 10.42 | 0 | 0
501 | 10.48 | 0 | 0
501.5 | 10.21 | 0 | 0
502 | 11.68 | 0 | 0
502.5 | 12.35 | 0.5 | 0.00013469
503 | 11.75 | 0 | 0
503.5 | 11.46 | 0 | 0
504 | 10.01 | 0 | 0
504.5 | 10.17 | 0 | 0
505 | 10.25 | 0 | 0
505.5 | 11.45 | 0 | 0
506 | 10.58 | 0 | 0
506.5 | 11.65 | 0 | 0
507 | 11.22 | 0 | 0
507.5 | 11.07 | 0 | 0
508 | 11.31 | 0 | 0
508.5 | 14.49 | 2.64 | 0.00071118
509 | 12.7 | 0.85 | 0.00022898
509.5 | 12.95 | 1.1 | 0.00029632
510 | 12 | 0.15 | 4.0408e-05
510.5 | 9.781 | 0 | 0
511 | 10.27 | 0 | 0
511.5 | 7.888 | 0 | 0
512 | 10.47 | 0 | 0
512.5 | 11.8 | 0 | 0
513 | 10.71 | 0 | 0
513.5 | 8.874 | 0 | 0
514 | 8.15 | 0 | 0
514.5 | 9.711 | 0 | 0
515 | 11.17 | 0 | 0
515.5 | 9.934 | 0 | 0
516 | 11.08 | 0 | 0
516.5 | 13.57 | 1.72 | 0.00046334
517 | 12.42 | 0.57 | 0.00015355
517.5 | 11.08 | 0 | 0
518 | 11.15 | 0 | 0
518.5 | 13.48 | 1.63 | 0.0004391
519 | 12.6 | 0.75 | 0.00020204
519.5 | 13.87 | 2.02 | 0.00054416
520 | 13.58 | 1.73 | 0.00046604
520.5 | 13.58 | 1.73 | 0.00046604
521 | 12.09 | 0.24 | 6.4653e-05
521.5 | 10.6 | 0 | 0
522 | 11.53 | 0 | 0
522.5 | 11.49 | 0 | 0
523 | 10.22 | 0 | 0
523.5 | 9.21 | 0 | 0
524 | 8.543 | 0 | 0
524.5 | 9.288 | 0 | 0
525 | 10.94 | 0 | 0
525.5 | 10.98 | 0 | 0
526 | 10.69 | 0 | 0
526.5 | 10.31 | 0 | 0
527 | 6.879 | 0 | 0
527.5 | 6.766 | 0 | 0
528 | 11.32 | 0 | 0
528.5 | 10.53 | 0 | 0
529 | 9.58 | 0 | 0
529.5 | 10.72 | 0 | 0
530 | 9.653 | 0 | 0
530.5 | 9.052 | 0 | 0
531 | 11.48 | 0 | 0
531.5 | 10.25 | 0 | 0
532 | 11.43 | 0 | 0
532.5 | 12.58 | 0.73 | 0.00019665
533 | 10.88 | 0 | 0
533.5 | 9.754 | 0 | 0
534 | 10.08 | 0 | 0
534.5 | 9.58 | 0 | 0
535 | 10.01 | 0 | 0
535.5 | 9.865 | 0 | 0
536 | 8.58 | 0 | 0
536.5 | 11.26 | 0 | 0
537 | 12.01 | 0.16 | 4.3102e-05
537.5 | 12.89 | 1.04 | 0.00028016
538 | 10.82 | 0 | 0
538.5 | 9.66 | 0 | 0
539 | 10.58 | 0 | 0
539.5 | 10.08 | 0 | 0
540 | 10.53 | 0 | 0
540.5 | 12.16 | 0.31 | 8.351e-05
541 | 12.04 | 0.19 | 5.1183e-05
541.5 | 11.43 | 0 | 0
542 | 10.11 | 0 | 0
542.5 | 10.27 | 0 | 0
543 | 11.56 | 0 | 0
543.5 | 10.1 | 0 | 0
544 | 9.58 | 0 | 0
544.5 | 11.1 | 0 | 0
545 | 10.59 | 0 | 0
545.5 | 11.35 | 0 | 0
546 | 14.91 | 3.06 | 0.00082432
546.5 | 11.3 | 0 | 0
547 | 12.12 | 0.27 | 7.2734e-05
547.5 | 12.88 | 1.03 | 0.00027747
548 | 12.47 | 0.62 | 0.00016702
548.5 | 10.64 | 0 | 0
549 | 9.3 | 0 | 0
549.5 | 11.25 | 0 | 0
550 | 11.67 | 0 | 0
550.5 | 12.78 | 0.93 | 0.00025053
551 | 11.24 | 0 | 0
551.5 | 11.94 | 0.09 | 2.4245e-05
552 | 9.48 | 0 | 0
552.5 | 9.791 | 0 | 0
553 | 10.36 | 0 | 0
553.5 | 13.33 | 1.48 | 0.00039869
554 | 12.58 | 0.73 | 0.00019665
554.5 | 10.82 | 0 | 0
555 | 8.469 | 0 | 0
555.5 | 8.979 | 0 | 0
556 | 10.35 | 0 | 0
556.5 | 11.56 | 0 | 0
557 | 9.068 | 0 | 0
557.5 | 9.56 | 0 | 0
558 | 9.648 | 0 | 0
558.5 | 7.822 | 0 | 0
559 | 9.454 | 0 | 0
559.5 | 10.16 | 0 | 0
560 | 10.58 | 0 | 0
560.5 | 9.016 | 0 | 0
561 | 7.582 | 0 | 0
561.5 | 6.08 | 0 | 0
562 | 8.524 | 0 | 0
562.5 | 7.558 | 0 | 0
563 | 7.903 | 0 | 0
563.5 | 9.497 | 0 | 0
564 | 7.7 | 0 | 0
564.5 | 7.848 | 0 | 0
565 | 9.592 | 0 | 0
565.5 | 10.92 | 0 | 0
566 | 9.784 | 0 | 0
566.5 | 6.443 | 0 | 0
567 | 7.904 | 0 | 0
567.5 | 8.51 | 0 | 0
568 | 9.335 | 0 | 0
568.5 | 11.27 | 0 | 0
569 | 11.24 | 0 | 0
569.5 | 10.02 | 0 | 0
570 | 9.71 | 0 | 0
570.5 | 7.21 | 0 | 0
571 | 9.352 | 0 | 0
571.5 | 10.58 | 0 | 0
572 | 11.47 | 0 | 0
572.5 | 13.65 | 1.8 | 0.00048489
573 | 12.71 | 0.86 | 0.00023167
573.5 | 11.85 | 0 | 0
574 | 11.86 | 0.01 | 2.6939e-06
574.5 | 12.42 | 0.57 | 0.00015355
575 | 13.39 | 1.54 | 0.00041485
575.5 | 11.81 | 0 | 0
576 | 9.593 | 0 | 0
576.5 | 10.87 | 0 | 0
577 | 11.69 | 0 | 0
577.5 | 12.45 | 0.6 | 0.00016163
578 | 11.4 | 0 | 0
578.5 | 10.58 | 0 | 0
579 | 8.951 | 0 | 0
579.5 | 6.916 | 0 | 0
580 | 8.36 | 0 | 0
580.5 | 14.3 | 2.45 | 0.00065999
581 | 11.83 | 0 | 0
581.5 | 12.44 | 0.59 | 0.00015894
582 | 10.08 | 0 | 0
582.5 | 9.91 | 0 | 0
583 | 9.808 | 0 | 0
583.5 | 12.65 | 0.8 | 0.00021551
584 | 13.23 | 1.38 | 0.00037175
584.5 | 13.19 | 1.34 | 0.00036098
585 | 13.6 | 1.75 | 0.00047142
585.5 | 9.237 | 0 | 0
586 | 6.624 | 0 | 0
586.5 | 8.705 | 0 | 0
587 | 10.97 | 0 | 0
587.5 | 9.415 | 0 | 0
588 | 9.91 | 0 | 0
588.5 | 6.865 | 0 | 0
589 | 7.434 | 0 | 0
589.5 | 9.562 | 0 | 0
590 | 9.08 | 0 | 0
590.5 | 9.995 | 0 | 0
591 | 9.58 | 0 | 0
591.5 | 11.12 | 0 | 0
592 | 10.08 | 0 | 0
592.5 | 9.08 | 0 | 0
593 | 8.115 | 0 | 0
593.5 | 11.16 | 0 | 0
594 | 10.58 | 0 | 0
594.5 | 9.851 | 0 | 0
595 | 10.88 | 0 | 0
595.5 | 11.14 | 0 | 0
596 | 11.8 | 0 | 0
596.5 | 11.99 | 0.14 | 3.7714e-05
597 | 8.977 | 0 | 0
597.5 | 11.14 | 0 | 0
598 | 8.329 | 0 | 0
598.5 | 9.89 | 0 | 0
599 | 11.67 | 0 | 0
599.5 | 12.53 | 0.68 | 0.00018318
600 | 13.3 | 1.45 | 0.00039061
600.5 | 10.69 | 0 | 0
601 | 11.75 | 0 | 0
601.5 | 8.571 | 0 | 0
602 | 9.772 | 0 | 0
602.5 | 11.53 | 0 | 0
603 | 10.63 | 0 | 0
603.5 | 9.914 | 0 | 0
604 | 11.36 | 0 | 0
604.5 | 10.93 | 0 | 0
605 | 8.804 | 0 | 0
605.5 | 10.84 | 0 | 0
606 | 7.14 | 0 | 0
606.5 | 10.02 | 0 | 0
607 | 13.43 | 1.58 | 0.00042563
607.5 | 10.46 | 0 | 0
608 | 7.787 | 0 | 0
608.5 | 7.58 | 0 | 0
609 | 8.174 | 0 | 0
609.5 | 11.71 | 0 | 0
610 | 10.86 | 0 | 0
610.5 | 11.26 | 0 | 0
611 | 11.58 | 0 | 0
611.5 | 10.3 | 0 | 0
612 | 9.354 | 0 | 0
612.5 | 9.572 | 0 | 0
613 | 10.24 | 0 | 0
613.5 | 11.46 | 0 | 0
614 | 11.58 | 0 | 0
614.5 | 11.95 | 0.1 | 2.6939e-05
615 | 8.886 | 0 | 0
615.5 | 6.41 | 0 | 0
616 | 7.545 | 0 | 0
616.5 | 9.671 | 0 | 0
617 | 6.843 | 0 | 0
617.5 | 9.313 | 0 | 0
618 | 9.083 | 0 | 0
618.5 | 9.141 | 0 | 0
619 | 10.54 | 0 | 0
619.5 | 9.36 | 0 | 0
620 | 8.832 | 0 | 0
620.5 | 8.58 | 0 | 0
621 | 8.098 | 0 | 0
621.5 | 7.865 | 0 | 0
622 | 9.491 | 0 | 0
622.5 | 9.473 | 0 | 0
623 | 10.58 | 0 | 0
623.5 | 11.08 | 0 | 0
624 | 9.848 | 0 | 0
624.5 | 7.693 | 0 | 0
625 | 7.661 | 0 | 0
625.5 | 11.26 | 0 | 0
626 | 12.32 | 0.47 | 0.00012661
626.5 | 7.563 | 0 | 0
627 | 7.911 | 0 | 0
627.5 | 8.255 | 0 | 0
628 | 9.58 | 0 | 0
628.5 | 11.5 | 0 | 0
629 | 12.94 | 1.09 | 0.00029363
629.5 | 10.39 | 0 | 0
630 | 11.07 | 0 | 0
630.5 | 10.55 | 0 | 0
631 | 9.464 | 0 | 0
631.5 | 10.36 | 0 | 0
632 | 11.32 | 0 | 0
632.5 | 10.29 | 0 | 0
633 | 9.735 | 0 | 0
633.5 | 10.42 | 0 | 0
634 | 12.05 | 0.2 | 5.3877e-05
634.5 | 11.06 | 0 | 0
635 | 10.36 | 0 | 0
635.5 | 12.11 | 0.26 | 7.004e-05
636 | 10.58 | 0 | 0
636.5 | 8.676 | 0 | 0
637 | 10.3 | 0 | 0
637.5 | 10.4 | 0 | 0
638 | 11.55 | 0 | 0
638.5 | 11.13 | 0 | 0
639 | 7.19 | 0 | 0
639.5 | 11.27 | 0 | 0
640 | 12.84 | 0.99 | 0.00026669
640.5 | 16.73 | 4.88 | 0.0013146
641 | 12.26 | 0.41 | 0.00011045
641.5 | 11.6 | 0 | 0
642 | 14.54 | 2.69 | 0.00072465
642.5 | 13.24 | 1.39 | 0.00037445
643 | 12.97 | 1.12 | 0.00030171
643.5 | 10.58 | 0 | 0
644 | 9.968 | 0 | 0
644.5 | 11.04 | 0 | 0
645 | 10.4 | 0 | 0
645.5 | 11.13 | 0 | 0
646 | 11.98 | 0.13 | 3.502e-05