## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 11.218 | 0 | 0
246.5 | 15.613 | 0 | 0
247 | 20.658 | 0 | 0
247.5 | 21.297 | 0 | 0
248 | 23.354 | 0 | 0
248.5 | 25.162 | 0 | 0
249 | 19.63 | 0 | 0
249.5 | 22.977 | 0 | 0
250 | 23.506 | 0 | 0
250.5 | 20.893 | 0 | 0
251 | 22.087 | 0 | 0
251.5 | 20.444 | 0 | 0
252 | 22.695 | 0 | 0
252.5 | 22.551 | 0 | 0
253 | 22.961 | 0 | 0
253.5 | 18.058 | 0 | 0
254 | 17.339 | 0 | 0
254.5 | 19.481 | 0 | 0
255 | 20.839 | 0 | 0
255.5 | 21.271 | 0 | 0
256 | 20.257 | 0 | 0
256.5 | 19.962 | 0 | 0
257 | 21.629 | 0 | 0
257.5 | 20.962 | 0 | 0
258 | 20.962 | 0 | 0
258.5 | 21.35 | 0 | 0
259 | 19.954 | 0 | 0
259.5 | 20.053 | 0 | 0
260 | 19.718 | 0 | 0
260.5 | 20.211 | 0 | 0
261 | 21.034 | 0 | 0
261.5 | 20.762 | 0 | 0
262 | 20.59 | 0 | 0
262.5 | 19.271 | 0 | 0
263 | 18.008 | 0 | 0
263.5 | 18.827 | 0 | 0
264 | 19.71 | 0 | 0
264.5 | 19.982 | 0 | 0
265 | 20.564 | 0 | 0
265.5 | 21.435 | 0 | 0
266 | 20.929 | 0 | 0
266.5 | 19.784 | 0 | 0
267 | 18.844 | 0 | 0
267.5 | 18.071 | 0 | 0
268 | 18.239 | 0 | 0
268.5 | 20.376 | 0 | 0
269 | 21.789 | 0 | 0
269.5 | 23.899 | 0 | 0
270 | 24.217 | 0 | 0
270.5 | 22.829 | 0 | 0
271 | 21.007 | 0 | 0
271.5 | 18.634 | 0 | 0
272 | 19.282 | 0 | 0
272.5 | 19.641 | 0 | 0
273 | 20.162 | 0 | 0
273.5 | 20.428 | 0 | 0
274 | 18.776 | 0 | 0
274.5 | 18.413 | 0 | 0
275 | 16.603 | 0 | 0
275.5 | 18.726 | 0 | 0
276 | 20.379 | 0 | 0
276.5 | 21.826 | 0 | 0
277 | 24.188 | 0 | 0
277.5 | 22.991 | 0 | 0
278 | 22.054 | 0 | 0
278.5 | 20.573 | 0 | 0
279 | 19.38 | 0 | 0
279.5 | 18.695 | 0 | 0
280 | 19.129 | 0 | 0
280.5 | 20.035 | 0 | 0
281 | 20.805 | 0 | 0
281.5 | 20.196 | 0 | 0
282 | 21.125 | 0 | 0
282.5 | 21.703 | 0 | 0
283 | 21.506 | 0 | 0
283.5 | 23.123 | 0 | 0
284 | 21.578 | 0 | 0
284.5 | 20.402 | 0 | 0
285 | 19.937 | 0 | 0
285.5 | 17.808 | 0 | 0
286 | 16.796 | 0 | 0
286.5 | 15.432 | 0 | 0
287 | 15.999 | 0 | 0
287.5 | 18.962 | 0 | 0
288 | 21.024 | 0 | 0
288.5 | 21.681 | 0 | 0
289 | 20.768 | 0 | 0
289.5 | 18.737 | 0 | 0
290 | 17.933 | 0 | 0
290.5 | 18.451 | 0 | 0
291 | 18.805 | 0 | 0
291.5 | 19.896 | 0 | 0
292 | 21.177 | 0 | 0
292.5 | 21.193 | 0 | 0
293 | 21.662 | 0 | 0
293.5 | 20.284 | 0 | 0
294 | 18.917 | 0 | 0
294.5 | 19.17 | 0 | 0
295 | 18.443 | 0 | 0
295.5 | 19.832 | 0 | 0
296 | 19.915 | 0 | 0
296.5 | 19.733 | 0 | 0
297 | 19.562 | 0 | 0
297.5 | 19.162 | 0 | 0
298 | 19.87 | 0 | 0
298.5 | 20.872 | 0 | 0
299 | 21.98 | 0 | 0
299.5 | 23.078 | 0 | 0
300 | 23.585 | 0 | 0
300.5 | 23.362 | 0 | 0
301 | 24.302 | 0 | 0
301.5 | 22.092 | 0 | 0
302 | 19.622 | 0 | 0
302.5 | 18.962 | 0 | 0
303 | 17.9 | 0 | 0
303.5 | 18.68 | 0 | 0
304 | 19.46 | 0 | 0
304.5 | 19.814 | 0 | 0
305 | 19.645 | 0 | 0
305.5 | 19.985 | 0 | 0
306 | 21.594 | 0 | 0
306.5 | 22.295 | 0 | 0
307 | 23.16 | 0 | 0
307.5 | 21.899 | 0 | 0
308 | 20.329 | 0 | 0
308.5 | 19.505 | 0 | 0
309 | 19.454 | 0 | 0
309.5 | 20.512 | 0 | 0
310 | 21.725 | 0 | 0
310.5 | 21.858 | 0 | 0
311 | 21.587 | 0 | 0
311.5 | 21.447 | 0 | 0
312 | 20.427 | 0 | 0
312.5 | 20.166 | 0 | 0
313 | 20.22 | 0 | 0
313.5 | 20.19 | 0 | 0
314 | 20.582 | 0 | 0
314.5 | 20.038 | 0 | 0
315 | 20.486 | 0 | 0
315.5 | 20.869 | 0 | 0
316 | 21.355 | 0 | 0
316.5 | 20.75 | 0 | 0
317 | 21.164 | 0 | 0
317.5 | 20.528 | 0 | 0
318 | 20.621 | 0 | 0
318.5 | 20.815 | 0 | 0
319 | 18.981 | 0 | 0
319.5 | 19.459 | 0 | 0
320 | 19.432 | 0 | 0
320.5 | 19.514 | 0 | 0
321 | 20.962 | 0 | 0
321.5 | 20.744 | 0 | 0
322 | 20.562 | 0 | 0
322.5 | 20.094 | 0 | 0
323 | 19.375 | 0 | 0
323.5 | 19.121 | 0 | 0
324 | 20.651 | 0 | 0
324.5 | 19.592 | 0 | 0
325 | 19.954 | 0 | 0
325.5 | 18.151 | 0 | 0
326 | 18.332 | 0 | 0
326.5 | 19.099 | 0 | 0
327 | 18.766 | 0 | 0
327.5 | 19.715 | 0 | 0
328 | 18.125 | 0 | 0
328.5 | 16.617 | 0 | 0
329 | 15.853 | 0 | 0
329.5 | 16.033 | 0 | 0
330 | 17.452 | 0 | 0
330.5 | 20.288 | 0 | 0
331 | 22.98 | 0 | 0
331.5 | 23.335 | 0 | 0
332 | 21.687 | 0 | 0
332.5 | 19.945 | 0 | 0
333 | 18.727 | 0 | 0
333.5 | 19.162 | 0 | 0
334 | 19.537 | 0 | 0
334.5 | 20.911 | 0 | 0
335 | 22.807 | 0 | 0
335.5 | 23.772 | 0 | 0
336 | 25.169 | 0.007 | 4.2089e-06
336.5 | 25.913 | 0.751 | 0.00045156
337 | 25.118 | 0 | 0
337.5 | 24.616 | 0 | 0
338 | 23.773 | 0 | 0
338.5 | 23.81 | 0 | 0
339 | 23.28 | 0 | 0
339.5 | 22.962 | 0 | 0
340 | 22.748 | 0 | 0
340.5 | 22.498 | 0 | 0
341 | 23.769 | 0 | 0
341.5 | 24.36 | 0 | 0
342 | 24.094 | 0 | 0
342.5 | 25.351 | 0.189 | 0.00011364
343 | 25.043 | 0 | 0
343.5 | 25.009 | 0 | 0
344 | 25.362 | 0.2 | 0.00012025
344.5 | 24.656 | 0 | 0
345 | 24.343 | 0 | 0
345.5 | 23.983 | 0 | 0
346 | 23.325 | 0 | 0
346.5 | 24.015 | 0 | 0
347 | 25.145 | 0 | 0
347.5 | 26.799 | 1.637 | 0.00098428
348 | 28.983 | 3.821 | 0.0022975
348.5 | 27.645 | 2.483 | 0.001493
349 | 28.104 | 2.942 | 0.0017689
349.5 | 27.59 | 2.428 | 0.0014599
350 | 27.362 | 2.2 | 0.0013228
350.5 | 28.077 | 2.915 | 0.0017527
351 | 28.238 | 3.076 | 0.0018495
351.5 | 28.162 | 3 | 0.0018038
352 | 27.42 | 2.258 | 0.0013577
352.5 | 26.936 | 1.774 | 0.0010667
353 | 27.716 | 2.554 | 0.0015357
353.5 | 26.681 | 1.519 | 0.00091333
354 | 27.089 | 1.927 | 0.0011587
354.5 | 28.716 | 3.554 | 0.0021369
355 | 29.612 | 4.45 | 0.0026757
355.5 | 33.514 | 8.352 | 0.0050218
356 | 38.104 | 12.942 | 0.0077817
356.5 | 42.237 | 17.075 | 0.010267
357 | 50.267 | 25.105 | 0.015095
357.5 | 61.977 | 36.815 | 0.022136
358 | 78.481 | 53.319 | 0.032059
358.5 | 100.34 | 75.178 | 0.045203
359 | 124.83 | 99.668 | 0.059928
359.5 | 154.4 | 129.238 | 0.077707
360 | 186.01 | 160.848 | 0.096714
360.5 | 222.74 | 197.578 | 0.1188
361 | 270.48 | 245.318 | 0.1475
361.5 | 324.96 | 299.798 | 0.18026
362 | 387.49 | 362.328 | 0.21786
362.5 | 462.99 | 437.828 | 0.26325
363 | 545.15 | 519.988 | 0.31265
363.5 | 638.32 | 613.158 | 0.36868
364 | 737.18 | 712.018 | 0.42812
364.5 | 834.93 | 809.768 | 0.48689
365 | 941.05 | 915.888 | 0.5507
365.5 | 1042.2 | 1017.038 | 0.61152
366 | 1152.6 | 1127.438 | 0.6779
366.5 | 1255.4 | 1230.238 | 0.73971
367 | 1351.5 | 1326.338 | 0.79749
367.5 | 1440 | 1414.838 | 0.8507
368 | 1515.9 | 1490.738 | 0.89634
368.5 | 1577.1 | 1551.938 | 0.93314
369 | 1627.1 | 1601.938 | 0.9632
369.5 | 1663.7 | 1638.538 | 0.98521
370 | 1682 | 1656.838 | 0.99621
370.5 | 1688.3 | 1663.138 | 1
371 | 1683.4 | 1658.238 | 0.99705
371.5 | 1662 | 1636.838 | 0.98419
372 | 1621 | 1595.838 | 0.95953
372.5 | 1567 | 1541.838 | 0.92707
373 | 1500.6 | 1475.438 | 0.88714
373.5 | 1436.8 | 1411.638 | 0.84878
374 | 1363.8 | 1338.638 | 0.80489
374.5 | 1294.5 | 1269.338 | 0.76322
375 | 1216.9 | 1191.738 | 0.71656
375.5 | 1138.7 | 1113.538 | 0.66954
376 | 1069.2 | 1044.038 | 0.62775
376.5 | 999.8 | 974.638 | 0.58602
377 | 936.31 | 911.148 | 0.54785
377.5 | 874.5 | 849.338 | 0.51068
378 | 815.62 | 790.458 | 0.47528
378.5 | 756.06 | 730.898 | 0.43947
379 | 696.17 | 671.008 | 0.40346
379.5 | 646.24 | 621.078 | 0.37344
380 | 595.06 | 569.898 | 0.34266
380.5 | 553.44 | 528.278 | 0.31764
381 | 512.2 | 487.038 | 0.29284
381.5 | 471.41 | 446.248 | 0.26832
382 | 435.87 | 410.708 | 0.24695
382.5 | 401.54 | 376.378 | 0.22631
383 | 368.93 | 343.768 | 0.2067
383.5 | 342.4 | 317.238 | 0.19075
384 | 316.67 | 291.508 | 0.17528
384.5 | 294.44 | 269.278 | 0.16191
385 | 274.98 | 249.818 | 0.15021
385.5 | 255.19 | 230.028 | 0.13831
386 | 235.73 | 210.568 | 0.12661
386.5 | 221.03 | 195.868 | 0.11777
387 | 205.63 | 180.468 | 0.10851
387.5 | 191.27 | 166.108 | 0.099876
388 | 178.91 | 153.748 | 0.092445
388.5 | 167.49 | 142.328 | 0.085578
389 | 157.45 | 132.288 | 0.079541
389.5 | 147.91 | 122.748 | 0.073805
390 | 138.61 | 113.448 | 0.068213
390.5 | 131.1 | 105.938 | 0.063698
391 | 124.16 | 98.998 | 0.059525
391.5 | 117.98 | 92.818 | 0.055809
392 | 109.33 | 84.168 | 0.050608
392.5 | 102.11 | 76.948 | 0.046267
393 | 95.992 | 70.83 | 0.042588
393.5 | 91.538 | 66.376 | 0.03991
394 | 87.527 | 62.365 | 0.037498
394.5 | 81.835 | 56.673 | 0.034076
395 | 77.36 | 52.198 | 0.031385
395.5 | 72.172 | 47.01 | 0.028266
396 | 68.037 | 42.875 | 0.02578
396.5 | 66.671 | 41.509 | 0.024958
397 | 65.509 | 40.347 | 0.02426
397.5 | 64.731 | 39.569 | 0.023792
398 | 63.847 | 38.685 | 0.02326
398.5 | 59.458 | 34.296 | 0.020621
399 | 55.664 | 30.502 | 0.01834
399.5 | 50.725 | 25.563 | 0.01537
400 | 47.19 | 22.028 | 0.013245
400.5 | 46.233 | 21.071 | 0.012669
401 | 43.983 | 18.821 | 0.011317
401.5 | 43.824 | 18.662 | 0.011221
402 | 41.349 | 16.187 | 0.0097328
402.5 | 38.97 | 13.808 | 0.0083024
403 | 36.675 | 11.513 | 0.0069225
403.5 | 33.737 | 8.575 | 0.0051559
404 | 32.646 | 7.484 | 0.0044999
404.5 | 31.962 | 6.8 | 0.0040887
405 | 30.006 | 4.844 | 0.0029126
405.5 | 30.709 | 5.547 | 0.0033353
406 | 30.042 | 4.88 | 0.0029342
406.5 | 30.562 | 5.4 | 0.0032469
407 | 30.115 | 4.953 | 0.0029781
407.5 | 30.887 | 5.725 | 0.0034423
408 | 30.698 | 5.536 | 0.0033286
408.5 | 30.562 | 5.4 | 0.0032469
409 | 29.93 | 4.768 | 0.0028669
409.5 | 28.824 | 3.662 | 0.0022019
410 | 27.288 | 2.126 | 0.0012783
410.5 | 28.007 | 2.845 | 0.0017106
411 | 27.676 | 2.514 | 0.0015116
411.5 | 26.965 | 1.803 | 0.0010841
412 | 27.762 | 2.6 | 0.0015633
412.5 | 27.459 | 2.297 | 0.0013811
413 | 27.933 | 2.771 | 0.0016661
413.5 | 28.54 | 3.378 | 0.0020311
414 | 28.709 | 3.547 | 0.0021327
414.5 | 26.566 | 1.404 | 0.00084419
415 | 25.572 | 0.41 | 0.00024652
415.5 | 23.333 | 0 | 0
416 | 24.151 | 0 | 0
416.5 | 26.238 | 1.076 | 0.00064697
417 | 25.167 | 0.005 | 3.0064e-06
417.5 | 26.292 | 1.13 | 0.00067944
418 | 25.373 | 0.211 | 0.00012687
418.5 | 26.881 | 1.719 | 0.0010336
419 | 27.204 | 2.042 | 0.0012278
419.5 | 27.397 | 2.235 | 0.0013438
420 | 27.448 | 2.286 | 0.0013745
420.5 | 27.554 | 2.392 | 0.0014382
421 | 27.162 | 2 | 0.0012025
421.5 | 27.013 | 1.851 | 0.001113
422 | 25.896 | 0.734 | 0.00044133
422.5 | 27.078 | 1.916 | 0.001152
423 | 27.178 | 2.016 | 0.0012122
423.5 | 26.249 | 1.087 | 0.00065358
424 | 25.279 | 0.117 | 7.0349e-05
424.5 | 24.843 | 0 | 0
425 | 25.264 | 0.102 | 6.133e-05
425.5 | 25.14 | 0 | 0
426 | 24.704 | 0 | 0
426.5 | 22.923 | 0 | 0
427 | 23.721 | 0 | 0
427.5 | 24.99 | 0 | 0
428 | 24.711 | 0 | 0
428.5 | 21.636 | 0 | 0
429 | 24.36 | 0 | 0
429.5 | 24.68 | 0 | 0
430 | 23.655 | 0 | 0
430.5 | 24.282 | 0 | 0
431 | 23.575 | 0 | 0
431.5 | 22.829 | 0 | 0
432 | 22.044 | 0 | 0
432.5 | 21.444 | 0 | 0
433 | 21.193 | 0 | 0
433.5 | 21.852 | 0 | 0
434 | 21.803 | 0 | 0
434.5 | 16.124 | 0 | 0
435 | 13.265 | 0 | 0
435.5 | 12.097 | 0 | 0
436 | 14.244 | 0 | 0
436.5 | 20.286 | 0 | 0
437 | 23.063 | 0 | 0
437.5 | 23.962 | 0 | 0
438 | 22.866 | 0 | 0
438.5 | 22.29 | 0 | 0
439 | 21.107 | 0 | 0
439.5 | 19.616 | 0 | 0
440 | 20.07 | 0 | 0
440.5 | 20.352 | 0 | 0
441 | 21.634 | 0 | 0
441.5 | 22.839 | 0 | 0
442 | 22.526 | 0 | 0
442.5 | 22.598 | 0 | 0
443 | 23.761 | 0 | 0
443.5 | 22.62 | 0 | 0
444 | 24.056 | 0 | 0
444.5 | 24.162 | 0 | 0
445 | 25.069 | 0 | 0
445.5 | 24.15 | 0 | 0
446 | 24.151 | 0 | 0
446.5 | 22.941 | 0 | 0
447 | 23.078 | 0 | 0
447.5 | 22.105 | 0 | 0
448 | 21.041 | 0 | 0
448.5 | 20.685 | 0 | 0
449 | 23.048 | 0 | 0
449.5 | 23.686 | 0 | 0
450 | 24.52 | 0 | 0
450.5 | 24.746 | 0 | 0
451 | 22.314 | 0 | 0
451.5 | 21.868 | 0 | 0
452 | 20.068 | 0 | 0
452.5 | 20.496 | 0 | 0
453 | 20.024 | 0 | 0
453.5 | 19.577 | 0 | 0
454 | 19.441 | 0 | 0
454.5 | 19.793 | 0 | 0
455 | 20.562 | 0 | 0
455.5 | 22.595 | 0 | 0
456 | 22.194 | 0 | 0
456.5 | 21.214 | 0 | 0
457 | 19.853 | 0 | 0
457.5 | 19.54 | 0 | 0
458 | 19.362 | 0 | 0
458.5 | 18.978 | 0 | 0
459 | 20.577 | 0 | 0
459.5 | 22.859 | 0 | 0
460 | 22.704 | 0 | 0
460.5 | 23.825 | 0 | 0
461 | 21.289 | 0 | 0
461.5 | 20.977 | 0 | 0
462 | 20.794 | 0 | 0
462.5 | 21.212 | 0 | 0
463 | 20.835 | 0 | 0
463.5 | 20.856 | 0 | 0
464 | 20.896 | 0 | 0
464.5 | 20.057 | 0 | 0
465 | 21.277 | 0 | 0
465.5 | 20.796 | 0 | 0
466 | 20.419 | 0 | 0
466.5 | 20.775 | 0 | 0
467 | 21.86 | 0 | 0
467.5 | 23.351 | 0 | 0
468 | 22.933 | 0 | 0
468.5 | 23.383 | 0 | 0
469 | 24.348 | 0 | 0
469.5 | 21.506 | 0 | 0
470 | 20.989 | 0 | 0
470.5 | 19.962 | 0 | 0
471 | 20.256 | 0 | 0
471.5 | 20.293 | 0 | 0
472 | 20.206 | 0 | 0
472.5 | 19.21 | 0 | 0
473 | 20.552 | 0 | 0
473.5 | 21.332 | 0 | 0
474 | 21.689 | 0 | 0
474.5 | 21.562 | 0 | 0
475 | 20.819 | 0 | 0
475.5 | 18.474 | 0 | 0
476 | 19.362 | 0 | 0
476.5 | 18.791 | 0 | 0
477 | 21.967 | 0 | 0
477.5 | 22.727 | 0 | 0
478 | 22.622 | 0 | 0
478.5 | 22.392 | 0 | 0
479 | 21.108 | 0 | 0
479.5 | 20.022 | 0 | 0
480 | 18.883 | 0 | 0
480.5 | 20.862 | 0 | 0
481 | 20.048 | 0 | 0
481.5 | 20.176 | 0 | 0
482 | 20.403 | 0 | 0
482.5 | 18.849 | 0 | 0
483 | 19.706 | 0 | 0
483.5 | 19.962 | 0 | 0
484 | 21.414 | 0 | 0
484.5 | 20.852 | 0 | 0
485 | 21.921 | 0 | 0
485.5 | 22.151 | 0 | 0
486 | 22.473 | 0 | 0
486.5 | 23.648 | 0 | 0
487 | 22.196 | 0 | 0
487.5 | 21.678 | 0 | 0
488 | 20.864 | 0 | 0
488.5 | 20.111 | 0 | 0
489 | 19.386 | 0 | 0
489.5 | 18.364 | 0 | 0
490 | 15.486 | 0 | 0
490.5 | 16.529 | 0 | 0
491 | 15.643 | 0 | 0
491.5 | 18.185 | 0 | 0
492 | 18.562 | 0 | 0
492.5 | 19.146 | 0 | 0
493 | 19.452 | 0 | 0
493.5 | 20.718 | 0 | 0
494 | 20.492 | 0 | 0
494.5 | 20.2 | 0 | 0
495 | 18.723 | 0 | 0
495.5 | 19.308 | 0 | 0
496 | 22.038 | 0 | 0
496.5 | 22.754 | 0 | 0
497 | 21.562 | 0 | 0
497.5 | 20.29 | 0 | 0
498 | 19.17 | 0 | 0
498.5 | 19.766 | 0 | 0
499 | 20.162 | 0 | 0
499.5 | 19.675 | 0 | 0
500 | 19.202 | 0 | 0
500.5 | 19.235 | 0 | 0
501 | 19.694 | 0 | 0
501.5 | 20.881 | 0 | 0
502 | 21.315 | 0 | 0
502.5 | 21.362 | 0 | 0
503 | 21.923 | 0 | 0
503.5 | 22.294 | 0 | 0
504 | 21.834 | 0 | 0
504.5 | 20.452 | 0 | 0
505 | 19.794 | 0 | 0
505.5 | 20.802 | 0 | 0
506 | 23.232 | 0 | 0
506.5 | 23.768 | 0 | 0
507 | 22.816 | 0 | 0
507.5 | 21.774 | 0 | 0
508 | 19.927 | 0 | 0
508.5 | 19.807 | 0 | 0
509 | 21.795 | 0 | 0
509.5 | 23.398 | 0 | 0
510 | 25.149 | 0 | 0
510.5 | 21.822 | 0 | 0
511 | 20.456 | 0 | 0
511.5 | 21.458 | 0 | 0
512 | 21.168 | 0 | 0
512.5 | 23.344 | 0 | 0
513 | 23.351 | 0 | 0
513.5 | 23.016 | 0 | 0
514 | 24.215 | 0 | 0
514.5 | 24.562 | 0 | 0
515 | 23.648 | 0 | 0
515.5 | 22.101 | 0 | 0
516 | 21.127 | 0 | 0
516.5 | 21.102 | 0 | 0
517 | 23.762 | 0 | 0
517.5 | 24.47 | 0 | 0
518 | 24.568 | 0 | 0
518.5 | 24.382 | 0 | 0
519 | 23.77 | 0 | 0
519.5 | 23.851 | 0 | 0
520 | 24.031 | 0 | 0
520.5 | 22.929 | 0 | 0
521 | 22.8 | 0 | 0
521.5 | 22.075 | 0 | 0
522 | 23.617 | 0 | 0
522.5 | 22.404 | 0 | 0
523 | 23.333 | 0 | 0
523.5 | 23.684 | 0 | 0
524 | 24.502 | 0 | 0
524.5 | 23.352 | 0 | 0
525 | 24.726 | 0 | 0
525.5 | 23.962 | 0 | 0
526 | 24.122 | 0 | 0
526.5 | 21.584 | 0 | 0
527 | 21.478 | 0 | 0
527.5 | 22.302 | 0 | 0
528 | 23.94 | 0 | 0
528.5 | 23.107 | 0 | 0
529 | 23.115 | 0 | 0
529.5 | 21.803 | 0 | 0
530 | 22.428 | 0 | 0
530.5 | 24.562 | 0 | 0
531 | 25.318 | 0.156 | 9.3799e-05
531.5 | 24.66 | 0 | 0
532 | 24.06 | 0 | 0
532.5 | 22.863 | 0 | 0
533 | 24.065 | 0 | 0
533.5 | 25.107 | 0 | 0
534 | 20.269 | 0 | 0
534.5 | 25.06 | 0 | 0
535 | 23.702 | 0 | 0
535.5 | 24.694 | 0 | 0
536 | 22.751 | 0 | 0
536.5 | 21.868 | 0 | 0
537 | 21.391 | 0 | 0
537.5 | 20.872 | 0 | 0
538 | 22.412 | 0 | 0
538.5 | 22.504 | 0 | 0
539 | 21.886 | 0 | 0
539.5 | 20.301 | 0 | 0
540 | 17.469 | 0 | 0
540.5 | 15.909 | 0 | 0
541 | 14.537 | 0 | 0
541.5 | 13.762 | 0 | 0
542 | 14.268 | 0 | 0
542.5 | 16.786 | 0 | 0
543 | 18.427 | 0 | 0
543.5 | 19.461 | 0 | 0
544 | 17.718 | 0 | 0
544.5 | 15.72 | 0 | 0
545 | 11.055 | 0 | 0
545.5 | 10.189 | 0 | 0
546 | 10.385 | 0 | 0
546.5 | 15.331 | 0 | 0
547 | 18.322 | 0 | 0
547.5 | 18.342 | 0 | 0
548 | 18.559 | 0 | 0
548.5 | 17.97 | 0 | 0
549 | 18.508 | 0 | 0
549.5 | 17.05 | 0 | 0
550 | 17.188 | 0 | 0
550.5 | 20.081 | 0 | 0
551 | 21.676 | 0 | 0
551.5 | 22.435 | 0 | 0
552 | 20.073 | 0 | 0
552.5 | 22.981 | 0 | 0
553 | 23.401 | 0 | 0
553.5 | 22.517 | 0 | 0
554 | 24.362 | 0 | 0
554.5 | 24.362 | 0 | 0
555 | 23.986 | 0 | 0
555.5 | 24.544 | 0 | 0
556 | 24.174 | 0 | 0
556.5 | 22.981 | 0 | 0
557 | 23.401 | 0 | 0
557.5 | 22.517 | 0 | 0
558 | 24.362 | 0 | 0
558.5 | 24.362 | 0 | 0
559 | 23.986 | 0 | 0
559.5 | 21.544 | 0 | 0
560 | 24.174 | 0 | 0
560.5 | 22.623 | 0 | 0
561 | 23.488 | 0 | 0
561.5 | 23.399 | 0 | 0
562 | 22.979 | 0 | 0
562.5 | 23.253 | 0 | 0
563 | 24.171 | 0 | 0
563.5 | 24.044 | 0 | 0
564 | 25.256 | 0 | 0
564.5 | 25.254 | 0 | 0
565 | 27.204 | 0 | 0
565.5 | 27.787 | 0 | 0
566 | 29.122 | 0 | 0
566.5 | 26.737 | 0 | 0
567 | 26.562 | 0 | 0
567.5 | 25.736 | 0 | 0
568 | 25.788 | 0 | 0
568.5 | 25.293 | 0 | 0
569 | 25.446 | 0 | 0
569.5 | 25.161 | 0 | 0
570 | 24.211 | 0 | 0
570.5 | 23.362 | 0 | 0
571 | 23.562 | 0 | 0
571.5 | 23.562 | 0 | 0
572 | 22.496 | 0 | 0
572.5 | 21.768 | 0 | 0
573 | 22.362 | 0 | 0
573.5 | 24.243 | 0 | 0
574 | 24.443 | 0 | 0
574.5 | 23.401 | 0 | 0
575 | 23.413 | 0 | 0
575.5 | 21.529 | 0 | 0
576 | 21.634 | 0 | 0
576.5 | 22.45 | 0 | 0
577 | 23.089 | 0 | 0
577.5 | 23.974 | 0 | 0
578 | 22.02 | 0 | 0
578.5 | 22.768 | 0 | 0
579 | 21.337 | 0 | 0
579.5 | 22.781 | 0 | 0
580 | 23.168 | 0 | 0
580.5 | 25.607 | 0 | 0
581 | 24.745 | 0 | 0
581.5 | 23.077 | 0 | 0
582 | 21.099 | 0 | 0
582.5 | 19.325 | 0 | 0
583 | 18.749 | 0 | 0
583.5 | 18.082 | 0 | 0
584 | 21.511 | 0 | 0
584.5 | 24.256 | 0 | 0
585 | 25.443 | 0 | 0
585.5 | 23.195 | 0 | 0
586 | 21.584 | 0 | 0
586.5 | 20.95 | 0 | 0
587 | 21.603 | 0 | 0
587.5 | 22.288 | 0 | 0
588 | 22.951 | 0 | 0
588.5 | 23.196 | 0 | 0
589 | 23.762 | 0 | 0
589.5 | 22.518 | 0 | 0
590 | 22.234 | 0 | 0
590.5 | 22.128 | 0 | 0
591 | 20.915 | 0 | 0
591.5 | 20.255 | 0 | 0
592 | 20.327 | 0 | 0
592.5 | 21.02 | 0 | 0
593 | 21.852 | 0 | 0
593.5 | 21.395 | 0 | 0
594 | 23.365 | 0 | 0
594.5 | 24.047 | 0 | 0
595 | 24.421 | 0 | 0
595.5 | 25.05 | 0 | 0
596 | 23.456 | 0 | 0
596.5 | 25.377 | 0 | 0
597 | 23.453 | 0 | 0
597.5 | 25.351 | 0 | 0
598 | 24.524 | 0 | 0
598.5 | 25.43 | 0 | 0
599 | 25.014 | 0 | 0
599.5 | 26.167 | 0 | 0
600 | 24.858 | 0 | 0
600.5 | 24.699 | 0 | 0
601 | 21.587 | 0 | 0
601.5 | 22.476 | 0 | 0
602 | 22.789 | 0 | 0
602.5 | 26.251 | 0 | 0
603 | 26.917 | 0 | 0
603.5 | 26.774 | 0 | 0
604 | 24.808 | 0 | 0
604.5 | 23.079 | 0 | 0
605 | 22.706 | 0 | 0
605.5 | 22.545 | 0 | 0
606 | 21.699 | 0 | 0
606.5 | 20.184 | 0 | 0
607 | 21.368 | 0 | 0
607.5 | 24.424 | 0 | 0
608 | 24.113 | 0 | 0
608.5 | 21.625 | 0 | 0
609 | 20.962 | 0 | 0
609.5 | 21.559 | 0 | 0
610 | 19.785 | 0 | 0
610.5 | 12.844 | 0 | 0
611 | 11.245 | 0 | 0
611.5 | 13.407 | 0 | 0
612 | 17.696 | 0 | 0
612.5 | 17.162 | 0 | 0
613 | 16.462 | 0 | 0
613.5 | 17.267 | 0 | 0
614 | 20.154 | 0 | 0
614.5 | 21.37 | 0 | 0
615 | 21.806 | 0 | 0
615.5 | 20.607 | 0 | 0
616 | 22.112 | 0 | 0
616.5 | 22.573 | 0 | 0
617 | 23.914 | 0 | 0
617.5 | 21.915 | 0 | 0
618 | 22.531 | 0 | 0
618.5 | 21.907 | 0 | 0
619 | 22.017 | 0 | 0
619.5 | 21.376 | 0 | 0
620 | 19.876 | 0 | 0
620.5 | 21.092 | 0 | 0
621 | 20.762 | 0 | 0
621.5 | 23.302 | 0 | 0
622 | 23.367 | 0 | 0
622.5 | 24.363 | 0 | 0
623 | 22.645 | 0 | 0
623.5 | 22.143 | 0 | 0
624 | 22.362 | 0 | 0
624.5 | 23.469 | 0 | 0
625 | 20.902 | 0 | 0
625.5 | 20.796 | 0 | 0
626 | 19.063 | 0 | 0
626.5 | 19.757 | 0 | 0
627 | 18.763 | 0 | 0
627.5 | 21.277 | 0 | 0
628 | 22.098 | 0 | 0
628.5 | 21.94 | 0 | 0
629 | 20.762 | 0 | 0
629.5 | 20.777 | 0 | 0
630 | 21.124 | 0 | 0
630.5 | 20.096 | 0 | 0
631 | 18.355 | 0 | 0
631.5 | 18.555 | 0 | 0
632 | 19.748 | 0 | 0
632.5 | 22.915 | 0 | 0
633 | 23.05 | 0 | 0
633.5 | 22.305 | 0 | 0
634 | 21.044 | 0 | 0
634.5 | 20.673 | 0 | 0
635 | 21.964 | 0 | 0
635.5 | 21.651 | 0 | 0
636 | 19.815 | 0 | 0
636.5 | 19.605 | 0 | 0
637 | 19.17 | 0 | 0
637.5 | 21.044 | 0 | 0
638 | 20.206 | 0 | 0
638.5 | 21.124 | 0 | 0
639 | 19.754 | 0 | 0
639.5 | 18.628 | 0 | 0
640 | 17.523 | 0 | 0
640.5 | 17.893 | 0 | 0
641 | 20.465 | 0 | 0
641.5 | 21.362 | 0 | 0
642 | 21.695 | 0 | 0
642.5 | 19.826 | 0 | 0
643 | 18.762 | 0 | 0
643.5 | 19.798 | 0 | 0
644 | 19.264 | 0 | 0
644.5 | 19.949 | 0 | 0
645 | 18.246 | 0 | 0
645.5 | 18.197 | 0 | 0
646 | 18.388 | 0 | 0
646.5 | 18.562 | 0 | 0
647 | 20.491 | 0 | 0
647.5 | 21.648 | 0 | 0
648 | 24.463 | 0 | 0
648.5 | 25.533 | 0 | 0
649 | 24.73 | 0 | 0
649.5 | 22.962 | 0 | 0
650 | 21.714 | 0 | 0
650.5 | 22.179 | 0 | 0
651 | 21.514 | 0 | 0
651.5 | 19.584 | 0 | 0
652 | 19.354 | 0 | 0
652.5 | 21.21 | 0 | 0
653 | 22.162 | 0 | 0
653.5 | 21.707 | 0 | 0
654 | 20.98 | 0 | 0
654.5 | 22.487 | 0 | 0
655 | 21.446 | 0 | 0
655.5 | 19.869 | 0 | 0
656 | 17.789 | 0 | 0
656.5 | 19.745 | 0 | 0
657 | 19.643 | 0 | 0
657.5 | 19.504 | 0 | 0
658 | 17.957 | 0 | 0
658.5 | 18.698 | 0 | 0
659 | 18.533 | 0 | 0
659.5 | 19.041 | 0 | 0
660 | 20.102 | 0 | 0
660.5 | 20.572 | 0 | 0
661 | 21.679 | 0 | 0
661.5 | 20.923 | 0 | 0
662 | 21.802 | 0 | 0
662.5 | 21.085 | 0 | 0
663 | 21.359 | 0 | 0
663.5 | 19.328 | 0 | 0
664 | 17.47 | 0 | 0
664.5 | 17.637 | 0 | 0
665 | 18.162 | 0 | 0
665.5 | 19.439 | 0 | 0
666 | 19.614 | 0 | 0
666.5 | 21.244 | 0 | 0
667 | 20.889 | 0 | 0
667.5 | 18.733 | 0 | 0
668 | 19.051 | 0 | 0
668.5 | 20.047 | 0 | 0
669 | 20.831 | 0 | 0
669.5 | 20.162 | 0 | 0
670 | 19.654 | 0 | 0
670.5 | 20.151 | 0 | 0
671 | 19.923 | 0 | 0
671.5 | 18.544 | 0 | 0
672 | 18.65 | 0 | 0
672.5 | 17.881 | 0 | 0
673 | 19.794 | 0 | 0
673.5 | 20.109 | 0 | 0
674 | 23.167 | 0 | 0
674.5 | 22.637 | 0 | 0
675 | 20.915 | 0 | 0
675.5 | 18.775 | 0 | 0
676 | 18.367 | 0 | 0
676.5 | 18.723 | 0 | 0
677 | 18.743 | 0 | 0
677.5 | 18.509 | 0 | 0
678 | 19.087 | 0 | 0
678.5 | 19.784 | 0 | 0
679 | 19.642 | 0 | 0
679.5 | 20.446 | 0 | 0
680 | 19.362 | 0 | 0
680.5 | 20.407 | 0 | 0
681 | 20.461 | 0 | 0
681.5 | 19.628 | 0 | 0
682 | 21.752 | 0 | 0
682.5 | 20.606 | 0 | 0
683 | 19.474 | 0 | 0
683.5 | 15.576 | 0 | 0
684 | 16.402 | 0 | 0
684.5 | 19.996 | 0 | 0
685 | 22.839 | 0 | 0
685.5 | 23.03 | 0 | 0
686 | 21.727 | 0 | 0
686.5 | 22.178 | 0 | 0
687 | 21.003 | 0 | 0
687.5 | 21.108 | 0 | 0
688 | 21.099 | 0 | 0
688.5 | 23.362 | 0 | 0
689 | 23.66 | 0 | 0
689.5 | 21.181 | 0 | 0
690 | 19.193 | 0 | 0
690.5 | 19.016 | 0 | 0
691 | 19.818 | 0 | 0
691.5 | 21.275 | 0 | 0
692 | 22.553 | 0 | 0
692.5 | 22.923 | 0 | 0
693 | 22.231 | 0 | 0
693.5 | 20.912 | 0 | 0
694 | 21.626 | 0 | 0
694.5 | 20.251 | 0 | 0
695 | 20.002 | 0 | 0
695.5 | 20.347 | 0 | 0
696 | 21.822 | 0 | 0
696.5 | 20.996 | 0 | 0
697 | 20.709 | 0 | 0
697.5 | 20.872 | 0 | 0
698 | 21.39 | 0 | 0
698.5 | 22.162 | 0 | 0
699 | 22.783 | 0 | 0
699.5 | 24.415 | 0 | 0
700 | 23.909 | 0 | 0
700.5 | 23.926 | 0 | 0
701 | 24.485 | 0 | 0
701.5 | 24.058 | 0 | 0
702 | 23.935 | 0 | 0
702.5 | 21.411 | 0 | 0
703 | 21.476 | 0 | 0
703.5 | 21.408 | 0 | 0
704 | 23.08 | 0 | 0
704.5 | 22.36 | 0 | 0
705 | 22.342 | 0 | 0
705.5 | 21.87 | 0 | 0
706 | 21.169 | 0 | 0
706.5 | 20.176 | 0 | 0
707 | 20.487 | 0 | 0
707.5 | 20.441 | 0 | 0
708 | 21.441 | 0 | 0
708.5 | 20.572 | 0 | 0
709 | 21.84 | 0 | 0
709.5 | 22.093 | 0 | 0
710 | 23.145 | 0 | 0
710.5 | 23.457 | 0 | 0
711 | 23.483 | 0 | 0
711.5 | 22.393 | 0 | 0
712 | 21.962 | 0 | 0
712.5 | 22.597 | 0 | 0
713 | 23.316 | 0 | 0
713.5 | 22.621 | 0 | 0
714 | 21.822 | 0 | 0
714.5 | 22.363 | 0 | 0
715 | 21.762 | 0 | 0
715.5 | 22.233 | 0 | 0
716 | 22.357 | 0 | 0
716.5 | 22.626 | 0 | 0
717 | 21.857 | 0 | 0
717.5 | 21.74 | 0 | 0
718 | 21.362 | 0 | 0
718.5 | 21.205 | 0 | 0
719 | 21.562 | 0 | 0
719.5 | 20.657 | 0 | 0
720 | 22.131 | 0 | 0
720.5 | 23.018 | 0 | 0
721 | 22.794 | 0 | 0
721.5 | 21.692 | 0 | 0
722 | 21.179 | 0 | 0
722.5 | 21.87 | 0 | 0
723 | 22.171 | 0 | 0
723.5 | 22.883 | 0 | 0
724 | 22.907 | 0 | 0
724.5 | 21.122 | 0 | 0
725 | 20.896 | 0 | 0
725.5 | 20.594 | 0 | 0
726 | 21.763 | 0 | 0
726.5 | 20.768 | 0 | 0
727 | 22.35 | 0 | 0
727.5 | 22.766 | 0 | 0
728 | 23.162 | 0 | 0
728.5 | 23.8 | 0 | 0
729 | 24.069 | 0 | 0
729.5 | 24.799 | 0 | 0
730 | 22.846 | 0 | 0
730.5 | 23.762 | 0 | 0
731 | 24.497 | 0 | 0
731.5 | 26.519 | 0 | 0
732 | 26.057 | 0 | 0
732.5 | 25.607 | 0 | 0
733 | 26.195 | 0 | 0
733.5 | 28.138 | 0 | 0
734 | 28.114 | 0 | 0
734.5 | 27.686 | 0 | 0
735 | 26.98 | 0 | 0
735.5 | 27.65 | 0 | 0
736 | 27.546 | 0 | 0
736.5 | 27.839 | 0 | 0
737 | 28.604 | 0 | 0
737.5 | 28.925 | 0 | 0
738 | 29.442 | 0 | 0
738.5 | 29.36 | 0 | 0
739 | 29.885 | 0 | 0
739.5 | 30.964 | 0 | 0
740 | 31.072 | 0 | 0
740.5 | 28.491 | 0 | 0
741 | 25.003 | 0 | 0
741.5 | 25.219 | 0 | 0
742 | 27.251 | 0 | 0
742.5 | 28.353 | 0 | 0
743 | 28.781 | 0 | 0
743.5 | 28.485 | 0 | 0
744 | 28.98 | 0 | 0
744.5 | 30.342 | 0 | 0
745 | 28.749 | 0 | 0
745.5 | 26.678 | 0 | 0
746 | 26.464 | 0 | 0
746.5 | 26.821 | 0 | 0
747 | 26.58 | 0 | 0
747.5 | 25.144 | 0 | 0
748 | 24.421 | 0 | 0
748.5 | 25.426 | 0 | 0
749 | 26.056 | 0 | 0
749.5 | 24.531 | 0 | 0
750 | 24.832 | 0 | 0
750.5 | 25.553 | 0 | 0
751 | 24.956 | 0 | 0
751.5 | 25.694 | 0 | 0
752 | 24.701 | 0 | 0
752.5 | 26.831 | 0 | 0
753 | 26.358 | 0 | 0
753.5 | 27.201 | 0 | 0
754 | 25.209 | 0 | 0
754.5 | 23.811 | 0 | 0
755 | 22.769 | 0 | 0
755.5 | 23.962 | 0 | 0
756 | 24.866 | 0 | 0
756.5 | 25.399 | 0 | 0
757 | 23.851 | 0 | 0
757.5 | 24.038 | 0 | 0
758 | 23.562 | 0 | 0
758.5 | 22.714 | 0 | 0
759 | 21.88 | 0 | 0
759.5 | 23.809 | 0 | 0
760 | 26.399 | 0 | 0
760.5 | 26.864 | 0 | 0
761 | 25.286 | 0 | 0
761.5 | 23.588 | 0 | 0
762 | 25.276 | 0 | 0
762.5 | 26.1 | 0 | 0
763 | 26.609 | 0 | 0
763.5 | 24.974 | 0 | 0
764 | 23.403 | 0 | 0
764.5 | 23.943 | 0 | 0
765 | 24.094 | 0 | 0
765.5 | 22.214 | 0 | 0
766 | 21.39 | 0 | 0
766.5 | 21.562 | 0 | 0
767 | 21.97 | 0 | 0
767.5 | 20.762 | 0 | 0
768 | 21.905 | 0 | 0
768.5 | 23.162 | 0 | 0
769 | 23.151 | 0 | 0
769.5 | 22.463 | 0 | 0
770 | 21.972 | 0 | 0
770.5 | 21.998 | 0 | 0
771 | 21.718 | 0 | 0
771.5 | 21.871 | 0 | 0
772 | 22.256 | 0 | 0
772.5 | 21.314 | 0 | 0
773 | 19.18 | 0 | 0
773.5 | 20.564 | 0 | 0
774 | 21.034 | 0 | 0
774.5 | 22.627 | 0 | 0
775 | 23.212 | 0 | 0
775.5 | 22.961 | 0 | 0
776 | 21.52 | 0 | 0
776.5 | 20.157 | 0 | 0
777 | 20.568 | 0 | 0
777.5 | 19.999 | 0 | 0
778 | 21.867 | 0 | 0
778.5 | 24.125 | 0 | 0
779 | 22.919 | 0 | 0
779.5 | 22.134 | 0 | 0
780 | 20.479 | 0 | 0
780.5 | 21.545 | 0 | 0
781 | 19.094 | 0 | 0
781.5 | 19.755 | 0 | 0
782 | 19.494 | 0 | 0
782.5 | 21.73 | 0 | 0
783 | 20.562 | 0 | 0
783.5 | 21.509 | 0 | 0
784 | 19.923 | 0 | 0
784.5 | 19.883 | 0 | 0
785 | 19.05 | 0 | 0
785.5 | 19.264 | 0 | 0
786 | 18.582 | 0 | 0
786.5 | 17.162 | 0 | 0
787 | 16.982 | 0 | 0
787.5 | 16.919 | 0 | 0
788 | 18.652 | 0 | 0
788.5 | 20.016 | 0 | 0
789 | 23.37 | 0 | 0
789.5 | 23.172 | 0 | 0
790 | 23.616 | 0 | 0
790.5 | 21.382 | 0 | 0
791 | 22.582 | 0 | 0
791.5 | 21.303 | 0 | 0
792 | 20.3 | 0 | 0
792.5 | 19.636 | 0 | 0
793 | 20.612 | 0 | 0
793.5 | 20.762 | 0 | 0
794 | 20.162 | 0 | 0
794.5 | 19.495 | 0 | 0
795 | 19.844 | 0 | 0
795.5 | 21.446 | 0 | 0
796 | 21.971 | 0 | 0
796.5 | 21.398 | 0 | 0
797 | 19.389 | 0 | 0
797.5 | 18.37 | 0 | 0
798 | 18.109 | 0 | 0
798.5 | 18.519 | 0 | 0
799 | 19.358 | 0 | 0
799.5 | 19.955 | 0 | 0
800 | 19.762 | 0 | 0
800.5 | 19.817 | 0 | 0
801 | 19.7 | 0 | 0
801.5 | 19.835 | 0 | 0
802 | 19.359 | 0 | 0
802.5 | 19.908 | 0 | 0
803 | 20.02 | 0 | 0
803.5 | 21.006 | 0 | 0
804 | 20.043 | 0 | 0
804.5 | 20.407 | 0 | 0
805 | 20.517 | 0 | 0
805.5 | 19.091 | 0 | 0
806 | 19.444 | 0 | 0
806.5 | 19.693 | 0 | 0
807 | 20.197 | 0 | 0
807.5 | 19.272 | 0 | 0
808 | 17.649 | 0 | 0
808.5 | 16.241 | 0 | 0
809 | 13.759 | 0 | 0
809.5 | 14.321 | 0 | 0
810 | 14.517 | 0 | 0
810.5 | 15.796 | 0 | 0
811 | 16.069 | 0 | 0
811.5 | 16.297 | 0 | 0
812 | 15.509 | 0 | 0
812.5 | 17.676 | 0 | 0
813 | 18.996 | 0 | 0
813.5 | 20.881 | 0 | 0
814 | 19.812 | 0 | 0
814.5 | 20.362 | 0 | 0
815 | 20.356 | 0 | 0
815.5 | 19.762 | 0 | 0
816 | 18.065 | 0 | 0
816.5 | 17.928 | 0 | 0
817 | 17.052 | 0 | 0
817.5 | 18.119 | 0 | 0
818 | 19.162 | 0 | 0
818.5 | 18.526 | 0 | 0
819 | 17.158 | 0 | 0
819.5 | 14.385 | 0 | 0
820 | 13.467 | 0 | 0
820.5 | 14.952 | 0 | 0
821 | 17.396 | 0 | 0
821.5 | 18.882 | 0 | 0
822 | 18.855 | 0 | 0
822.5 | 17.962 | 0 | 0
823 | 17.398 | 0 | 0
823.5 | 16.491 | 0 | 0
824 | 16.432 | 0 | 0
824.5 | 17.183 | 0 | 0
825 | 19.839 | 0 | 0
825.5 | 21.562 | 0 | 0
826 | 20.503 | 0 | 0
826.5 | 17.318 | 0 | 0
827 | 15.762 | 0 | 0
827.5 | 16.869 | 0 | 0
828 | 17.386 | 0 | 0
828.5 | 18.346 | 0 | 0
829 | 19.112 | 0 | 0
829.5 | 20.192 | 0 | 0
830 | 22.198 | 0 | 0
830.5 | 20.002 | 0 | 0
831 | 17.74 | 0 | 0
831.5 | 17.817 | 0 | 0
832 | 18.887 | 0 | 0
832.5 | 19.177 | 0 | 0
833 | 18.562 | 0 | 0
833.5 | 19.748 | 0 | 0
834 | 22.103 | 0 | 0
834.5 | 22.199 | 0 | 0
835 | 19.599 | 0 | 0
835.5 | 16.632 | 0 | 0
836 | 17.504 | 0 | 0
836.5 | 18.505 | 0 | 0
837 | 16.27 | 0 | 0
837.5 | 16.562 | 0 | 0
838 | 17.313 | 0 | 0
838.5 | 18.175 | 0 | 0
839 | 17.6 | 0 | 0
839.5 | 20.362 | 0 | 0
840 | 21.74 | 0 | 0
840.5 | 19.551 | 0 | 0
841 | 18.291 | 0 | 0
841.5 | 18.043 | 0 | 0
842 | 19.448 | 0 | 0
842.5 | 20.87 | 0 | 0
843 | 22.467 | 0 | 0
843.5 | 20.013 | 0 | 0
844 | 20.104 | 0 | 0
844.5 | 20.598 | 0 | 0
845 | 21.138 | 0 | 0
845.5 | 22.032 | 0 | 0
846 | 22.418 | 0 | 0
846.5 | 21.678 | 0 | 0
847 | 19.228 | 0 | 0
847.5 | 19.807 | 0 | 0
848 | 21.97 | 0 | 0
848.5 | 22.931 | 0 | 0
849 | 22.024 | 0 | 0
849.5 | 22.329 | 0 | 0
850 | 19.811 | 0 | 0
850.5 | 16.962 | 0 | 0
851 | 17.562 | 0 | 0
851.5 | 17.454 | 0 | 0
852 | 20.414 | 0 | 0
852.5 | 21.126 | 0 | 0
853 | 21.342 | 0 | 0
853.5 | 20.507 | 0 | 0
854 | 20.836 | 0 | 0
854.5 | 20.264 | 0 | 0
855 | 21.617 | 0 | 0
855.5 | 20.162 | 0 | 0
856 | 19.603 | 0 | 0
856.5 | 19.122 | 0 | 0
857 | 18.162 | 0 | 0
857.5 | 19.681 | 0 | 0
858 | 21.718 | 0 | 0
858.5 | 20.855 | 0 | 0
859 | 19.053 | 0 | 0
859.5 | 19.942 | 0 | 0
860 | 20.579 | 0 | 0
860.5 | 20.45 | 0 | 0
861 | 20.943 | 0 | 0
861.5 | 18.419 | 0 | 0
862 | 20.365 | 0 | 0
862.5 | 21.688 | 0 | 0
863 | 22.362 | 0 | 0
863.5 | 22.806 | 0 | 0
864 | 20.654 | 0 | 0
864.5 | 19.504 | 0 | 0
865 | 17.281 | 0 | 0
865.5 | 18.49 | 0 | 0
866 | 20.692 | 0 | 0
866.5 | 20.551 | 0 | 0
867 | 21.278 | 0 | 0
867.5 | 20.933 | 0 | 0
868 | 20.059 | 0 | 0
868.5 | 17.597 | 0 | 0
869 | 17.459 | 0 | 0
869.5 | 19.922 | 0 | 0
870 | 20.362 | 0 | 0
870.5 | 18.931 | 0 | 0
871 | 19.298 | 0 | 0
871.5 | 16.768 | 0 | 0
872 | 16.503 | 0 | 0
872.5 | 18.043 | 0 | 0
873 | 19.623 | 0 | 0
873.5 | 18.464 | 0 | 0
874 | 19.085 | 0 | 0
874.5 | 21.029 | 0 | 0
875 | 21.915 | 0 | 0
875.5 | 19.733 | 0 | 0
876 | 19.562 | 0 | 0
876.5 | 20.162 | 0 | 0
877 | 19.003 | 0 | 0
877.5 | 18.64 | 0 | 0
878 | 16.34 | 0 | 0
878.5 | 16.876 | 0 | 0
879 | 19.732 | 0 | 0
879.5 | 22.289 | 0 | 0
880 | 22.318 | 0 | 0
880.5 | 20.347 | 0 | 0
881 | 20.758 | 0 | 0
881.5 | 20.161 | 0 | 0
882 | 19.149 | 0 | 0
882.5 | 20.521 | 0 | 0
883 | 20.275 | 0 | 0
883.5 | 19.46 | 0 | 0
884 | 20.978 | 0 | 0
884.5 | 21.193 | 0 | 0
885 | 21.382 | 0 | 0
885.5 | 22.406 | 0 | 0
886 | 22.372 | 0 | 0
886.5 | 17.897 | 0 | 0