## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 0.005047 | 0 | 0
246.5 | 0.0043887 | 0 | 0
247 | 0.00721 | 0.00047022 | 0.00047341
247.5 | 0.0055486 | 0 | 0
248 | 0.0078997 | 0.0011599 | 0.0011677
248.5 | 0.0067398 | 0 | 0
249 | 0.0078056 | 0.0010658 | 0.0010731
249.5 | 0.0069906 | 0.00025078 | 0.00025249
250 | 0.0072727 | 0.00053291 | 0.00053653
250.5 | 0.0057053 | 0 | 0
251 | 0.0068966 | 0.00015674 | 0.0001578
251.5 | 0.0060815 | 0 | 0
252 | 0.0066144 | 0 | 0
252.5 | 0.004326 | 0 | 0
253 | 0.0063323 | 0 | 0
253.5 | 0.0067085 | 0 | 0
254 | 0.0061442 | 0 | 0
254.5 | 0.0062696 | 0 | 0
255 | 0.0062069 | 0 | 0
255.5 | 0.0060815 | 0 | 0
256 | 0.0054859 | 0 | 0
256.5 | 0.0052038 | 0 | 0
257 | 0.0051724 | 0 | 0
257.5 | 0.0053292 | 0 | 0
258 | 0.0056113 | 0 | 0
258.5 | 0.0059248 | 0 | 0
259 | 0.0060502 | 0 | 0
259.5 | 0.0062069 | 0 | 0
260 | 0.0059875 | 0 | 0
260.5 | 0.0059875 | 0 | 0
261 | 0.0064263 | 0 | 0
261.5 | 0.0061129 | 0 | 0
262 | 0.0061129 | 0 | 0
262.5 | 0.0057367 | 0 | 0
263 | 0.0052665 | 0 | 0
263.5 | 0.0052665 | 0 | 0
264 | 0.0053605 | 0 | 0
264.5 | 0.0058934 | 0 | 0
265 | 0.0060502 | 0 | 0
265.5 | 0.0064577 | 0 | 0
266 | 0.0067398 | 0 | 0
266.5 | 0.006395 | 0 | 0
267 | 0.0062069 | 0 | 0
267.5 | 0.0061442 | 0 | 0
268 | 0.0063009 | 0 | 0
268.5 | 0.0067085 | 0 | 0
269 | 0.0068339 | 9.4044e-05 | 9.4682e-05
269.5 | 0.0069906 | 0.00025078 | 0.00025249
270 | 0.0068025 | 6.2696e-05 | 6.3121e-05
270.5 | 0.0062696 | 0 | 0
271 | 0.0064263 | 0 | 0
271.5 | 0.0063636 | 0 | 0
272 | 0.0062696 | 0 | 0
272.5 | 0.006395 | 0 | 0
273 | 0.006395 | 0 | 0
273.5 | 0.0059875 | 0 | 0
274 | 0.0059561 | 0 | 0
274.5 | 0.0061755 | 0 | 0
275 | 0.005768 | 0 | 0
275.5 | 0.0061442 | 0 | 0
276 | 0.0062382 | 0 | 0
276.5 | 0.0056426 | 0 | 0
277 | 0.005674 | 0 | 0
277.5 | 0.0053292 | 0 | 0
278 | 0.0052038 | 0 | 0
278.5 | 0.0052665 | 0 | 0
279 | 0.0054232 | 0 | 0
279.5 | 0.0060188 | 0 | 0
280 | 0.0061755 | 0 | 0
280.5 | 0.0065517 | 0 | 0
281 | 0.0066458 | 0 | 0
281.5 | 0.0065204 | 0 | 0
282 | 0.0068025 | 6.2696e-05 | 6.3121e-05
282.5 | 0.0069592 | 0.00021944 | 0.00022092
283 | 0.0068652 | 0.00012539 | 0.00012624
283.5 | 0.0070533 | 0.00031348 | 0.00031561
284 | 0.0065831 | 0 | 0
284.5 | 0.0063323 | 0 | 0
285 | 0.006489 | 0 | 0
285.5 | 0.0060815 | 0 | 0
286 | 0.0060502 | 0 | 0
286.5 | 0.0054859 | 0 | 0
287 | 0.0054859 | 0 | 0
287.5 | 0.0056426 | 0 | 0
288 | 0.0059561 | 0 | 0
288.5 | 0.006489 | 0 | 0
289 | 0.0063323 | 0 | 0
289.5 | 0.0063009 | 0 | 0
290 | 0.0061755 | 0 | 0
290.5 | 0.0057053 | 0 | 0
291 | 0.0055486 | 0 | 0
291.5 | 0.0055799 | 0 | 0
292 | 0.0062069 | 0 | 0
292.5 | 0.0058934 | 0 | 0
293 | 0.006489 | 0 | 0
293.5 | 0.0058621 | 0 | 0
294 | 0.0054545 | 0 | 0
294.5 | 0.0055486 | 0 | 0
295 | 0.0053292 | 0 | 0
295.5 | 0.0061442 | 0 | 0
296 | 0.005768 | 0 | 0
296.5 | 0.0061755 | 0 | 0
297 | 0.0065204 | 0 | 0
297.5 | 0.0067398 | 0 | 0
298 | 0.0068966 | 0.00015674 | 0.0001578
298.5 | 0.0067712 | 3.1348e-05 | 3.1561e-05
299 | 0.0067398 | 0 | 0
299.5 | 0.0061129 | 0 | 0
300 | 0.0064577 | 0 | 0
300.5 | 0.006395 | 0 | 0
301 | 0.0062696 | 0 | 0
301.5 | 0.0060188 | 0 | 0
302 | 0.0057053 | 0 | 0
302.5 | 0.0056426 | 0 | 0
303 | 0.0054232 | 0 | 0
303.5 | 0.0060188 | 0 | 0
304 | 0.0060502 | 0 | 0
304.5 | 0.006395 | 0 | 0
305 | 0.0062696 | 0 | 0
305.5 | 0.0061442 | 0 | 0
306 | 0.0064577 | 0 | 0
306.5 | 0.0068339 | 9.4044e-05 | 9.4682e-05
307 | 0.0072727 | 0.00053291 | 0.00053653
307.5 | 0.0074922 | 0.00075235 | 0.00075746
308 | 0.0075235 | 0.0007837 | 0.00078902
308.5 | 0.0069906 | 0.00025078 | 0.00025249
309 | 0.0067712 | 3.1348e-05 | 3.1561e-05
309.5 | 0.006395 | 0 | 0
310 | 0.0063636 | 0 | 0
310.5 | 0.0068652 | 0.00012539 | 0.00012624
311 | 0.0068652 | 0.00012539 | 0.00012624
311.5 | 0.0068966 | 0.00015674 | 0.0001578
312 | 0.0068339 | 9.4044e-05 | 9.4682e-05
312.5 | 0.0065204 | 0 | 0
313 | 0.0065204 | 0 | 0
313.5 | 0.0066458 | 0 | 0
314 | 0.0065831 | 0 | 0
314.5 | 0.0064577 | 0 | 0
315 | 0.006489 | 0 | 0
315.5 | 0.0066144 | 0 | 0
316 | 0.0066458 | 0 | 0
316.5 | 0.006489 | 0 | 0
317 | 0.006395 | 0 | 0
317.5 | 0.0062382 | 0 | 0
318 | 0.0060188 | 0 | 0
318.5 | 0.0059248 | 0 | 0
319 | 0.0057053 | 0 | 0
319.5 | 0.0057053 | 0 | 0
320 | 0.0058934 | 0 | 0
320.5 | 0.0060188 | 0 | 0
321 | 0.0065517 | 0 | 0
321.5 | 0.0066458 | 0 | 0
322 | 0.0069279 | 0.00018809 | 0.00018936
322.5 | 0.00721 | 0.00047022 | 0.00047341
323 | 0.0073668 | 0.00062696 | 0.00063121
323.5 | 0.0077116 | 0.00097179 | 0.00097838
324 | 0.0075549 | 0.00081505 | 0.00082058
324.5 | 0.0070219 | 0.00028213 | 0.00028405
325 | 0.0066144 | 0 | 0
325.5 | 0.0058934 | 0 | 0
326 | 0.0060188 | 0 | 0
326.5 | 0.0063323 | 0 | 0
327 | 0.0068966 | 0.00015674 | 0.0001578
327.5 | 0.0069279 | 0.00018809 | 0.00018936
328 | 0.0066144 | 0 | 0
328.5 | 0.0062069 | 0 | 0
329 | 0.005674 | 0 | 0
329.5 | 0.0053292 | 0 | 0
330 | 0.0056426 | 0 | 0
330.5 | 0.0060502 | 0 | 0
331 | 0.0063323 | 0 | 0
331.5 | 0.0069279 | 0.00018809 | 0.00018936
332 | 0.0065831 | 0 | 0
332.5 | 0.0067085 | 0 | 0
333 | 0.0069592 | 0.00021944 | 0.00022092
333.5 | 0.0068966 | 0.00015674 | 0.0001578
334 | 0.0068339 | 9.4044e-05 | 9.4682e-05
334.5 | 0.0068966 | 0.00015674 | 0.0001578
335 | 0.0072727 | 0.00053291 | 0.00053653
335.5 | 0.0075862 | 0.00084639 | 0.00085214
336 | 0.0078056 | 0.0010658 | 0.0010731
336.5 | 0.0073981 | 0.00065831 | 0.00066277
337 | 0.0065204 | 0 | 0
337.5 | 0.0057994 | 0 | 0
338 | 0.0058621 | 0 | 0
338.5 | 0.0058307 | 0 | 0
339 | 0.0062069 | 0 | 0
339.5 | 0.0065517 | 0 | 0
340 | 0.0064577 | 0 | 0
340.5 | 0.0068652 | 0.00012539 | 0.00012624
341 | 0.00721 | 0.00047022 | 0.00047341
341.5 | 0.00721 | 0.00047022 | 0.00047341
342 | 0.0071787 | 0.00043887 | 0.00044185
342.5 | 0.00721 | 0.00047022 | 0.00047341
343 | 0.0074922 | 0.00075235 | 0.00075746
343.5 | 0.0072727 | 0.00053291 | 0.00053653
344 | 0.0074608 | 0.000721 | 0.0007259
344.5 | 0.0073354 | 0.00059561 | 0.00059965
345 | 0.0071787 | 0.00043887 | 0.00044185
345.5 | 0.0074608 | 0.000721 | 0.0007259
346 | 0.007116 | 0.00037617 | 0.00037873
346.5 | 0.0074608 | 0.000721 | 0.0007259
347 | 0.0077743 | 0.0010345 | 0.0010415
347.5 | 0.0081505 | 0.0014107 | 0.0014202
348 | 0.0083699 | 0.0016301 | 0.0016412
348.5 | 0.0080878 | 0.001348 | 0.0013571
349 | 0.0078683 | 0.0011285 | 0.0011362
349.5 | 0.0078056 | 0.0010658 | 0.0010731
350 | 0.0073041 | 0.00056426 | 0.00056809
350.5 | 0.0074295 | 0.00068965 | 0.00069433
351 | 0.0077743 | 0.0010345 | 0.0010415
351.5 | 0.0078997 | 0.0011599 | 0.0011677
352 | 0.0084326 | 0.0016928 | 0.0017043
352.5 | 0.0084013 | 0.0016614 | 0.0016727
353 | 0.0083386 | 0.0015987 | 0.0016096
353.5 | 0.0076803 | 0.00094044 | 0.00094682
354 | 0.007116 | 0.00037617 | 0.00037873
354.5 | 0.0071787 | 0.00043887 | 0.00044185
355 | 0.0068966 | 0.00015674 | 0.0001578
355.5 | 0.0072414 | 0.00050157 | 0.00050497
356 | 0.0073354 | 0.00059561 | 0.00059965
356.5 | 0.0072414 | 0.00050157 | 0.00050497
357 | 0.0075862 | 0.00084639 | 0.00085214
357.5 | 0.0079624 | 0.0012226 | 0.0012309
358 | 0.0084013 | 0.0016614 | 0.0016727
358.5 | 0.0089655 | 0.0022257 | 0.0022408
359 | 0.008652 | 0.0019122 | 0.0019252
359.5 | 0.0086207 | 0.0018809 | 0.0018936
360 | 0.0084953 | 0.0017555 | 0.0017674
360.5 | 0.008558 | 0.0018182 | 0.0018305
361 | 0.0094044 | 0.0026646 | 0.0026827
361.5 | 0.0096552 | 0.0029154 | 0.0029351
362 | 0.0097492 | 0.0030094 | 0.0030298
362.5 | 0.0096865 | 0.0029467 | 0.0029667
363 | 0.0096865 | 0.0029467 | 0.0029667
363.5 | 0.0097806 | 0.0030408 | 0.0030614
364 | 0.0097179 | 0.0029781 | 0.0029983
364.5 | 0.009279 | 0.0025392 | 0.0025564
365 | 0.010251 | 0.003511 | 0.0035348
365.5 | 0.011724 | 0.0049843 | 0.0050181
366 | 0.014138 | 0.0073981 | 0.0074483
366.5 | 0.017398 | 0.010658 | 0.010731
367 | 0.02069 | 0.01395 | 0.014045
367.5 | 0.024608 | 0.017868 | 0.01799
368 | 0.029906 | 0.023166 | 0.023323
368.5 | 0.03605 | 0.02931 | 0.029509
369 | 0.043887 | 0.037147 | 0.037399
369.5 | 0.053605 | 0.046865 | 0.047183
370 | 0.06489 | 0.05815 | 0.058545
370.5 | 0.077743 | 0.071003 | 0.071485
371 | 0.092163 | 0.085423 | 0.086003
371.5 | 0.10878 | 0.10204 | 0.10273
372 | 0.12759 | 0.12085 | 0.12167
372.5 | 0.14953 | 0.14279 | 0.14376
373 | 0.17398 | 0.16724 | 0.16838
373.5 | 0.20031 | 0.19357 | 0.19489
374 | 0.22947 | 0.22273 | 0.22424
374.5 | 0.26238 | 0.25564 | 0.25738
375 | 0.29687 | 0.29013 | 0.29209
375.5 | 0.33542 | 0.32868 | 0.33091
376 | 0.37618 | 0.36944 | 0.37194
376.5 | 0.41693 | 0.41019 | 0.41297
377 | 0.46708 | 0.46034 | 0.46347
377.5 | 0.52038 | 0.51364 | 0.51712
378 | 0.5768 | 0.57006 | 0.57393
378.5 | 0.63323 | 0.62649 | 0.63074
379 | 0.68966 | 0.68292 | 0.68755
379.5 | 0.74922 | 0.74248 | 0.74751
380 | 0.80564 | 0.7989 | 0.80432
380.5 | 0.8652 | 0.85846 | 0.86429
381 | 0.91536 | 0.90862 | 0.91479
381.5 | 0.95611 | 0.94937 | 0.95582
382 | 0.9906 | 0.98386 | 0.99053
382.5 | 1 | 0.99326 | 1
383 | 0.99687 | 0.99013 | 0.99684
383.5 | 0.97806 | 0.97132 | 0.97791
384 | 0.94044 | 0.9337 | 0.94003
384.5 | 0.89028 | 0.88354 | 0.88954
385 | 0.83072 | 0.82398 | 0.82957
385.5 | 0.76176 | 0.75502 | 0.76014
386 | 0.69279 | 0.68605 | 0.69071
386.5 | 0.62382 | 0.61708 | 0.62127
387 | 0.56113 | 0.55439 | 0.55815
387.5 | 0.50784 | 0.5011 | 0.5045
388 | 0.46082 | 0.45408 | 0.45716
388.5 | 0.42006 | 0.41332 | 0.41613
389 | 0.38558 | 0.37884 | 0.38141
389.5 | 0.3605 | 0.35376 | 0.35616
390 | 0.33542 | 0.32868 | 0.33091
390.5 | 0.31661 | 0.30987 | 0.31198
391 | 0.29906 | 0.29232 | 0.2943
391.5 | 0.28339 | 0.27665 | 0.27852
392 | 0.26771 | 0.26097 | 0.26274
392.5 | 0.25266 | 0.24592 | 0.24759
393 | 0.23824 | 0.2315 | 0.23308
393.5 | 0.22571 | 0.21897 | 0.22045
394 | 0.21223 | 0.20549 | 0.20688
394.5 | 0.19781 | 0.19107 | 0.19236
395 | 0.1837 | 0.17696 | 0.17816
395.5 | 0.1674 | 0.16066 | 0.16175
396 | 0.15329 | 0.14655 | 0.14755
396.5 | 0.14013 | 0.13339 | 0.13429
397 | 0.12884 | 0.1221 | 0.12293
397.5 | 0.11944 | 0.1127 | 0.11346
398 | 0.11034 | 0.10361 | 0.10431
398.5 | 0.10094 | 0.094201 | 0.09484
399 | 0.092476 | 0.085737 | 0.086318
399.5 | 0.083699 | 0.076959 | 0.077481
400 | 0.075549 | 0.068809 | 0.069276
400.5 | 0.069592 | 0.062853 | 0.063279
401 | 0.06395 | 0.05721 | 0.057598
401.5 | 0.061442 | 0.054702 | 0.055073
402 | 0.058621 | 0.051881 | 0.052233
402.5 | 0.054859 | 0.048119 | 0.048446
403 | 0.051097 | 0.044357 | 0.044658
403.5 | 0.047022 | 0.040282 | 0.040555
404 | 0.044201 | 0.037461 | 0.037715
404.5 | 0.041693 | 0.034953 | 0.03519
405 | 0.039185 | 0.032445 | 0.032665
405.5 | 0.037304 | 0.030564 | 0.030772
406 | 0.035737 | 0.028997 | 0.029194
406.5 | 0.033856 | 0.027116 | 0.0273
407 | 0.032602 | 0.025862 | 0.026038
407.5 | 0.030972 | 0.024232 | 0.024396
408 | 0.029624 | 0.022884 | 0.023039
408.5 | 0.02815 | 0.021411 | 0.021556
409 | 0.026489 | 0.019749 | 0.019883
409.5 | 0.024232 | 0.017492 | 0.017611
410 | 0.022226 | 0.015486 | 0.015591
410.5 | 0.020972 | 0.014232 | 0.014329
411 | 0.019436 | 0.012696 | 0.012782
411.5 | 0.018621 | 0.011881 | 0.011961
412 | 0.018025 | 0.011285 | 0.011362
412.5 | 0.017743 | 0.011003 | 0.011078
413 | 0.017116 | 0.010376 | 0.010447
413.5 | 0.016614 | 0.0098746 | 0.0099416
414 | 0.015831 | 0.0090909 | 0.0091526
414.5 | 0.014953 | 0.0082132 | 0.0082689
415 | 0.014734 | 0.0079937 | 0.008048
415.5 | 0.014451 | 0.0077116 | 0.0077639
416 | 0.014483 | 0.0077429 | 0.0077955
416.5 | 0.014326 | 0.0075862 | 0.0076377
417 | 0.013009 | 0.0062696 | 0.0063121
417.5 | 0.012006 | 0.0052665 | 0.0053022
418 | 0.011003 | 0.0042633 | 0.0042923
418.5 | 0.010752 | 0.0040125 | 0.0040398
419 | 0.011191 | 0.0044514 | 0.0044816
419.5 | 0.011066 | 0.004326 | 0.0043554
420 | 0.011097 | 0.0043574 | 0.0043869
420.5 | 0.010376 | 0.0036364 | 0.003661
421 | 0.0098433 | 0.0031034 | 0.0031245
421.5 | 0.0096865 | 0.0029467 | 0.0029667
422 | 0.0087461 | 0.0020063 | 0.0020199
422.5 | 0.008652 | 0.0019122 | 0.0019252
423 | 0.0086834 | 0.0019436 | 0.0019568
423.5 | 0.0084013 | 0.0016614 | 0.0016727
424 | 0.0082132 | 0.0014734 | 0.0014834
424.5 | 0.0083072 | 0.0015674 | 0.001578
425 | 0.0080251 | 0.0012853 | 0.001294
425.5 | 0.0080251 | 0.0012853 | 0.001294
426 | 0.0084013 | 0.0016614 | 0.0016727
426.5 | 0.0083699 | 0.0016301 | 0.0016412
427 | 0.0086207 | 0.0018809 | 0.0018936
427.5 | 0.0089655 | 0.0022257 | 0.0022408
428 | 0.008652 | 0.0019122 | 0.0019252
428.5 | 0.008558 | 0.0018182 | 0.0018305
429 | 0.0083699 | 0.0016301 | 0.0016412
429.5 | 0.0076176 | 0.00087774 | 0.0008837
430 | 0.0073668 | 0.00062696 | 0.00063121
430.5 | 0.0075235 | 0.0007837 | 0.00078902
431 | 0.0076489 | 0.00090909 | 0.00091526
431.5 | 0.0080878 | 0.001348 | 0.0013571
432 | 0.007931 | 0.0011912 | 0.0011993
432.5 | 0.0075235 | 0.0007837 | 0.00078902
433 | 0.0069906 | 0.00025078 | 0.00025249
433.5 | 0.0066144 | 0 | 0
434 | 0.0061755 | 0 | 0
434.5 | 0.0046708 | 0 | 0
435 | 0.0039185 | 0 | 0
435.5 | 0.0038245 | 0 | 0
436 | 0.0049843 | 0 | 0
436.5 | 0.0070533 | 0.00031348 | 0.00031561
437 | 0.0076176 | 0.00087774 | 0.0008837
437.5 | 0.0074295 | 0.00068965 | 0.00069433
438 | 0.0069906 | 0.00025078 | 0.00025249
438.5 | 0.0063636 | 0 | 0
439 | 0.0062382 | 0 | 0
439.5 | 0.0055799 | 0 | 0
440 | 0.0056426 | 0 | 0
440.5 | 0.0058621 | 0 | 0
441 | 0.0063323 | 0 | 0
441.5 | 0.0066144 | 0 | 0
442 | 0.0069906 | 0.00025078 | 0.00025249
442.5 | 0.0068966 | 0.00015674 | 0.0001578
443 | 0.0075862 | 0.00084639 | 0.00085214
443.5 | 0.0069279 | 0.00018809 | 0.00018936
444 | 0.0065831 | 0 | 0
444.5 | 0.0061755 | 0 | 0
445 | 0.0062382 | 0 | 0
445.5 | 0.0060188 | 0 | 0
446 | 0.0064577 | 0 | 0
446.5 | 0.0062069 | 0 | 0
447 | 0.0064263 | 0 | 0
447.5 | 0.0063323 | 0 | 0
448 | 0.0058307 | 0 | 0
448.5 | 0.0058934 | 0 | 0
449 | 0.0061129 | 0 | 0
449.5 | 0.0065517 | 0 | 0
450 | 0.0019419 | 0 | 0
450.5 | 0.0039845 | 0 | 0
451 | 0.0034999 | 0 | 0
451.5 | 0.00073131 | 0 | 0
452 | 0.0017487 | 0 | 0
452.5 | 0.0036556 | 0 | 0
453 | 0.0043624 | 0 | 0
453.5 | 0.0046157 | 0 | 0
454 | 0.0034182 | 0 | 0
454.5 | 0.0039485 | 0 | 0
455 | 0.0015551 | 0 | 0
455.5 | 0.0019288 | 0 | 0
456 | 0.00066076 | 0 | 0
456.5 | 0.0040843 | 0 | 0
457 | 0.0044169 | 0 | 0
457.5 | 0.0027267 | 0 | 0
458 | 0.0014379 | 0 | 0
458.5 | 0.00339 | 0 | 0
459 | 0.0024133 | 0 | 0
459.5 | 0.0031444 | 0 | 0
460 | 0.004474 | 0 | 0
460.5 | 0.00036217 | 0 | 0
461 | 0.0046779 | 0 | 0
461.5 | 0.0007875 | 0 | 0
462 | 0.0027273 | 0 | 0
462.5 | 0.0013742 | 0 | 0
463 | 0.0039109 | 0 | 0
463.5 | 0.0044966 | 0 | 0
464 | 0.0020217 | 0 | 0
464.5 | 0.001388 | 0 | 0
465 | 0.0016909 | 0 | 0
465.5 | 0.00032828 | 0 | 0
466 | 0.0023271 | 0 | 0
466.5 | 0.0031568 | 0 | 0
467 | 0.00095337 | 0 | 0
467.5 | 0.0021437 | 0 | 0
468 | 0.0036802 | 0 | 0
468.5 | 0.0018424 | 0 | 0
469 | 0.00094019 | 0 | 0
469.5 | 0.0024509 | 0 | 0
470 | 0.0031852 | 0 | 0
470.5 | 0.00063212 | 0 | 0
471 | 0.0018228 | 0 | 0
471.5 | 0.0012457 | 0 | 0
472 | 0.0049352 | 0 | 0
472.5 | 0.0034912 | 0 | 0
473 | 0.0011144 | 0 | 0
473.5 | 0.0010066 | 0 | 0
474 | 0.0022256 | 0 | 0
474.5 | 0.0041918 | 0 | 0
475 | 0.0048419 | 0 | 0
475.5 | 0.00096655 | 0 | 0
476 | 0.00092868 | 0 | 0
476.5 | 0.0043567 | 0 | 0
477 | 7.104e-05 | 0 | 0
477.5 | 0.0039584 | 0 | 0
478 | 0.00090712 | 0 | 0
478.5 | 0.0024181 | 0 | 0
479 | 0.00086772 | 0 | 0
479.5 | 0.0018838 | 0 | 0
480 | 0.00027761 | 0 | 0
480.5 | 0.0028156 | 0 | 0
481 | 0.0047104 | 0 | 0
481.5 | 0.0032519 | 0 | 0
482 | 0.0042154 | 0 | 0
482.5 | 0.0021775 | 0 | 0
483 | 0.0028384 | 0 | 0
483.5 | 0.00063598 | 0 | 0
484 | 0.00068491 | 0 | 0
484.5 | 3.1291e-05 | 0 | 0
485 | 0.0010902 | 0 | 0
485.5 | 0.0049959 | 0 | 0
486 | 0.0012423 | 0 | 0
486.5 | 0.00012744 | 0 | 0
487 | 0.0036716 | 0 | 0
487.5 | 0.0020727 | 0 | 0
488 | 0.0029323 | 0 | 0
488.5 | 0.00034222 | 0 | 0
489 | 6.2738e-06 | 0 | 0
489.5 | 0.0021413 | 0 | 0
490 | 0.0026075 | 0 | 0
490.5 | 0.0041381 | 0 | 0
491 | 0.004847 | 0 | 0
491.5 | 0.00042401 | 0 | 0
492 | 0.00099626 | 0 | 0
492.5 | 0.0014831 | 0 | 0
493 | 0.0037178 | 0 | 0
493.5 | 0.001985 | 0 | 0
494 | 0.0012547 | 0 | 0
494.5 | 0.00077547 | 0 | 0
495 | 0.00063473 | 0 | 0
495.5 | 0.0031172 | 0 | 0
496 | 0.0045819 | 0 | 0
496.5 | 0.0031723 | 0 | 0
497 | 0.00068811 | 0 | 0
497.5 | 0.0031974 | 0 | 0
498 | 0.0038908 | 0 | 0
498.5 | 0.003935 | 0 | 0
499 | 0.00058742 | 0 | 0
499.5 | 0.0037783 | 0 | 0
500 | 0.0034664 | 0 | 0
500.5 | 0.0021311 | 0 | 0
501 | 0.0044929 | 0 | 0
501.5 | 0.0019465 | 0 | 0
502 | 0.0030784 | 0 | 0
502.5 | 0.0016122 | 0 | 0
503 | 0.0026911 | 0 | 0
503.5 | 0.0015918 | 0 | 0
504 | 0.0033423 | 0 | 0
504.5 | 0.0037408 | 0 | 0
505 | 0.0039805 | 0 | 0
505.5 | 0.0039793 | 0 | 0
506 | 0.0017134 | 0 | 0
506.5 | 0.0036953 | 0 | 0
507 | 0.0032947 | 0 | 0
507.5 | 0.0048638 | 0 | 0
508 | 0.0032552 | 0 | 0
508.5 | 0.004774 | 0 | 0
509 | 0.00094145 | 0 | 0
509.5 | 0.0028064 | 0 | 0
510 | 0.0010481 | 0 | 0
510.5 | 0.002872 | 0 | 0
511 | 0.0031934 | 0 | 0
511.5 | 0.0033904 | 0 | 0
512 | 0.0024646 | 0 | 0
512.5 | 0.0048691 | 0 | 0
513 | 0.0020416 | 0 | 0
513.5 | 0.0026109 | 0 | 0
514 | 0.0037031 | 0 | 0
514.5 | 0.00081071 | 0 | 0
515 | 0.0033266 | 0 | 0
515.5 | 0.001798 | 0 | 0
516 | 0.0035764 | 0 | 0
516.5 | 0.0025119 | 0 | 0
517 | 0.0014683 | 0 | 0
517.5 | 0.0038085 | 0 | 0
518 | 0.0047927 | 0 | 0
518.5 | 0.0046793 | 0 | 0
519 | 4.4835e-05 | 0 | 0
519.5 | 0.0038276 | 0 | 0
520 | 0.0037009 | 0 | 0
520.5 | 0.0047128 | 0 | 0
521 | 0.0018928 | 0 | 0
521.5 | 0.0043705 | 0 | 0
522 | 0.00099929 | 0 | 0
522.5 | 0.00056355 | 0 | 0
523 | 0.00011281 | 0 | 0
523.5 | 0.00061015 | 0 | 0
524 | 0.00090204 | 0 | 0
524.5 | 0.00241 | 0 | 0
525 | 0.0034136 | 0 | 0
525.5 | 0.0046743 | 0 | 0
526 | 0.0034286 | 0 | 0
526.5 | 0.0018847 | 0 | 0
527 | 0.0033308 | 0 | 0
527.5 | 0.0042453 | 0 | 0
528 | 0.0039202 | 0 | 0
528.5 | 0.00063116 | 0 | 0
529 | 0.0023783 | 0 | 0
529.5 | 0.0021021 | 0 | 0
530 | 0.0024775 | 0 | 0
530.5 | 0.0028957 | 0 | 0
531 | 0.0031191 | 0 | 0
531.5 | 0.0022729 | 0 | 0
532 | 0.0041268 | 0 | 0
532.5 | 0.0036203 | 0 | 0
533 | 0.0022936 | 0 | 0
533.5 | 0.0039423 | 0 | 0
534 | 0.0032598 | 0 | 0
534.5 | 0.0013411 | 0 | 0
535 | 0.0013402 | 0 | 0
535.5 | 0.0035655 | 0 | 0
536 | 0.0023382 | 0 | 0
536.5 | 0.0016576 | 0 | 0
537 | 0.00073801 | 0 | 0
537.5 | 0.0036351 | 0 | 0
538 | 0.0015524 | 0 | 0
538.5 | 0.0042568 | 0 | 0
539 | 0.0025557 | 0 | 0
539.5 | 0.001633 | 0 | 0
540 | 0.00049792 | 0 | 0
540.5 | 0.004608 | 0 | 0
541 | 0.0012883 | 0 | 0
541.5 | 0.0021331 | 0 | 0
542 | 0.0017619 | 0 | 0
542.5 | 0.0032181 | 0 | 0
543 | 0.0031319 | 0 | 0
543.5 | 0.0039459 | 0 | 0
544 | 0.0011231 | 0 | 0
544.5 | 0.0022557 | 0 | 0
545 | 0.0016219 | 0 | 0
545.5 | 0.0018369 | 0 | 0
546 | 0.00072464 | 0 | 0
546.5 | 0.0028217 | 0 | 0
547 | 0.0032345 | 0 | 0
547.5 | 0.00058163 | 0 | 0
548 | 0.0024547 | 0 | 0
548.5 | 0.0034942 | 0 | 0
549 | 0.0033434 | 0 | 0
549.5 | 0.00072229 | 0 | 0
550 | 0.0022506 | 0 | 0
550.5 | 0.00012279 | 0 | 0
551 | 0.0031177 | 0 | 0
551.5 | 0.0048054 | 0 | 0
552 | 0.0026965 | 0 | 0
552.5 | 0.00011156 | 0 | 0
553 | 0.0013644 | 0 | 0
553.5 | 0.0024981 | 0 | 0
554 | 0.00016499 | 0 | 0
554.5 | 0.0014546 | 0 | 0
555 | 0.0046257 | 0 | 0
555.5 | 0.0024858 | 0 | 0
556 | 0.0040068 | 0 | 0
556.5 | 0.0041999 | 0 | 0
557 | 0.0041171 | 0 | 0
557.5 | 0.0013407 | 0 | 0
558 | 0.00046731 | 0 | 0
558.5 | 0.0022865 | 0 | 0
559 | 0.0021742 | 0 | 0
559.5 | 0.0016282 | 0 | 0
560 | 0.0040292 | 0 | 0
560.5 | 0.0012697 | 0 | 0
561 | 0.0030093 | 0 | 0
561.5 | 0.0022259 | 0 | 0
562 | 0.004266 | 0 | 0
562.5 | 0.0039259 | 0 | 0
563 | 0.0018495 | 0 | 0
563.5 | 0.0018638 | 0 | 0
564 | 0.0012777 | 0 | 0
564.5 | 0.00092482 | 0 | 0
565 | 0.0032411 | 0 | 0
565.5 | 0.004272 | 0 | 0
566 | 0.0045028 | 0 | 0
566.5 | 0.001929 | 0 | 0
567 | 0.002274 | 0 | 0
567.5 | 0.0045663 | 0 | 0
568 | 0.0026825 | 0 | 0
568.5 | 0.0016043 | 0 | 0
569 | 0.0026102 | 0 | 0
569.5 | 0.004468 | 0 | 0
570 | 0.00086562 | 0 | 0
570.5 | 0.0033894 | 0 | 0
571 | 0.0038741 | 0 | 0
571.5 | 0.0020946 | 0 | 0
572 | 0.00052822 | 0 | 0
572.5 | 0.002517 | 0 | 0
573 | 0.0042737 | 0 | 0
573.5 | 0.0012334 | 0 | 0
574 | 0.00070945 | 0 | 0
574.5 | 0.0043971 | 0 | 0
575 | 0.0039469 | 0 | 0
575.5 | 0.0041194 | 0 | 0
576 | 0.003317 | 0 | 0
576.5 | 0.0039368 | 0 | 0
577 | 2.7386e-06 | 0 | 0
577.5 | 0.0028477 | 0 | 0
578 | 0.002159 | 0 | 0
578.5 | 0.0040856 | 0 | 0
579 | 0.001228 | 0 | 0
579.5 | 0.0037932 | 0 | 0
580 | 0.002955 | 0 | 0
580.5 | 0.00069636 | 0 | 0
581 | 0.0014638 | 0 | 0
581.5 | 0.001486 | 0 | 0
582 | 0.00027848 | 0 | 0
582.5 | 0.00037187 | 0 | 0
583 | 0.0012652 | 0 | 0
583.5 | 0.00476 | 0 | 0
584 | 0.0033494 | 0 | 0
584.5 | 1.2487e-05 | 0 | 0
585 | 0.0045407 | 0 | 0
585.5 | 0.0014119 | 0 | 0
586 | 0.0007793 | 0 | 0
586.5 | 0.0045222 | 0 | 0
587 | 0.0034431 | 0 | 0
587.5 | 0.004983 | 0 | 0
588 | 0.001085 | 0 | 0
588.5 | 0.0049121 | 0 | 0
589 | 0.0040467 | 0 | 0
589.5 | 0.001224 | 0 | 0
590 | 0.0018473 | 0 | 0
590.5 | 0.00064985 | 0 | 0
591 | 0.0014174 | 0 | 0
591.5 | 0.0016243 | 0 | 0
592 | 0.0046721 | 0 | 0
592.5 | 0.001829 | 0 | 0
593 | 0.0013729 | 0 | 0
593.5 | 0.0038609 | 0 | 0
594 | 0.003951 | 0 | 0
594.5 | 0.0016867 | 0 | 0
595 | 0.0049408 | 0 | 0
595.5 | 0.0021849 | 0 | 0
596 | 0.0013822 | 0 | 0
596.5 | 0.0024264 | 0 | 0
597 | 0.0020744 | 0 | 0
597.5 | 0.0021143 | 0 | 0
598 | 0.00080355 | 0 | 0
598.5 | 0.00016543 | 0 | 0
599 | 9.9517e-05 | 0 | 0
599.5 | 0.0037599 | 0 | 0
600 | 0.00082675 | 0 | 0
600.5 | 0.0018672 | 0 | 0
601 | 0.0013086 | 0 | 0
601.5 | 0.0012968 | 0 | 0
602 | 0.0043001 | 0 | 0
602.5 | 0.0036586 | 0 | 0
603 | 0.0030892 | 0 | 0
603.5 | 0.0040552 | 0 | 0
604 | 0.004076 | 0 | 0
604.5 | 0.0023178 | 0 | 0
605 | 0.0049265 | 0 | 0
605.5 | 0.00040423 | 0 | 0
606 | 0.0042115 | 0 | 0
606.5 | 0.0011439 | 0 | 0
607 | 0.0025904 | 0 | 0
607.5 | 0.004913 | 0 | 0
608 | 0.0041938 | 0 | 0
608.5 | 0.0047884 | 0 | 0
609 | 0.0016201 | 0 | 0
609.5 | 0.0043424 | 0 | 0
610 | 0.0018041 | 0 | 0
610.5 | 0.0033594 | 0 | 0
611 | 0.00042266 | 0 | 0
611.5 | 0.0038053 | 0 | 0
612 | 0.0029888 | 0 | 0
612.5 | 0.00099435 | 0 | 0
613 | 0.0041326 | 0 | 0
613.5 | 0.0022843 | 0 | 0
614 | 0.0039978 | 0 | 0
614.5 | 0.0010288 | 0 | 0
615 | 0.00033061 | 0 | 0
615.5 | 0.00050333 | 0 | 0
616 | 0.0029803 | 0 | 0
616.5 | 0.0046963 | 0 | 0
617 | 0.0043352 | 0 | 0
617.5 | 0.0041463 | 0 | 0
618 | 0.0027825 | 0 | 0
618.5 | 0.0048106 | 0 | 0
619 | 0.0028302 | 0 | 0
619.5 | 0.0027787 | 0 | 0
620 | 0.0046033 | 0 | 0
620.5 | 0.0013068 | 0 | 0
621 | 0.0018099 | 0 | 0
621.5 | 0.0042215 | 0 | 0
622 | 0.0010514 | 0 | 0
622.5 | 0.0020275 | 0 | 0
623 | 0.004289 | 0 | 0
623.5 | 0.0040213 | 0 | 0
624 | 0.0011067 | 0 | 0
624.5 | 0.0029965 | 0 | 0
625 | 0.002817 | 0 | 0
625.5 | 0.0010534 | 0 | 0
626 | 0.001581 | 0 | 0
626.5 | 0.00018876 | 0 | 0
627 | 0.0041519 | 0 | 0
627.5 | 0.0035549 | 0 | 0
628 | 0.00043095 | 0 | 0
628.5 | 0.00097575 | 0 | 0
629 | 0.0040383 | 0 | 0
629.5 | 0.0020504 | 0 | 0
630 | 0.00078825 | 0 | 0
630.5 | 0.003159 | 0 | 0
631 | 0.0019154 | 0 | 0
631.5 | 0.00016923 | 0 | 0
632 | 0.0043368 | 0 | 0
632.5 | 0.0022714 | 0 | 0
633 | 0.00076081 | 0 | 0
633.5 | 0.0024407 | 0 | 0
634 | 0.001623 | 0 | 0
634.5 | 0.0013787 | 0 | 0
635 | 0.00043324 | 0 | 0
635.5 | 0.0048236 | 0 | 0
636 | 0.0037853 | 0 | 0
636.5 | 0.0047247 | 0 | 0
637 | 0.0043564 | 0 | 0
637.5 | 0.0012857 | 0 | 0
638 | 0.0011584 | 0 | 0
638.5 | 0.0015626 | 0 | 0
639 | 0.0035303 | 0 | 0
639.5 | 0.0022841 | 0 | 0
640 | 0.0018781 | 0 | 0
640.5 | 5.3816e-05 | 0 | 0
641 | 0.0042316 | 0 | 0
641.5 | 0.001125 | 0 | 0
642 | 0.0019962 | 0 | 0
642.5 | 0.0041543 | 0 | 0
643 | 0.0012518 | 0 | 0
643.5 | 0.00082819 | 0 | 0
644 | 0.0026533 | 0 | 0
644.5 | 0.0037601 | 0 | 0
645 | 0.0010311 | 0 | 0
645.5 | 0.002563 | 0 | 0
646 | 0.0045544 | 0 | 0
646.5 | 0.0022837 | 0 | 0
647 | 0.00053541 | 0 | 0
647.5 | 0.00040228 | 0 | 0
648 | 0.0035822 | 0 | 0
648.5 | 0.0014094 | 0 | 0
649 | 0.0022652 | 0 | 0
649.5 | 0.0022147 | 0 | 0
650 | 0.0027066 | 0 | 0
650.5 | 0.0039163 | 0 | 0
651 | 0.0012367 | 0 | 0
651.5 | 0.0040803 | 0 | 0
652 | 0.0045891 | 0 | 0
652.5 | 0.0045789 | 0 | 0
653 | 0.0034295 | 0 | 0
653.5 | 0.0039487 | 0 | 0
654 | 0.0014302 | 0 | 0
654.5 | 0.0026724 | 0 | 0
655 | 0.00036186 | 0 | 0
655.5 | 0.0044447 | 0 | 0
656 | 0.0043051 | 0 | 0
656.5 | 0.0040941 | 0 | 0
657 | 0.0017016 | 0 | 0
657.5 | 0.0014491 | 0 | 0
658 | 0.0039906 | 0 | 0
658.5 | 0.0045319 | 0 | 0
659 | 0.0042116 | 0 | 0
659.5 | 0.0030545 | 0 | 0
660 | 0.0019263 | 0 | 0
660.5 | 0.0011856 | 0 | 0
661 | 0.0049167 | 0 | 0
661.5 | 0.00017921 | 0 | 0
662 | 0.0017097 | 0 | 0
662.5 | 0.0011501 | 0 | 0
663 | 0.0036097 | 0 | 0
663.5 | 0.0033796 | 0 | 0
664 | 0.0023089 | 0 | 0
664.5 | 9.6937e-05 | 0 | 0
665 | 0.0010204 | 0 | 0
665.5 | 0.0044611 | 0 | 0
666 | 0.001084 | 0 | 0
666.5 | 0.0010478 | 0 | 0
667 | 0.002182 | 0 | 0
667.5 | 0.0027964 | 0 | 0
668 | 0.0040371 | 0 | 0
668.5 | 0.0022938 | 0 | 0
669 | 0.0014586 | 0 | 0
669.5 | 0.0020225 | 0 | 0
670 | 0.0030462 | 0 | 0
670.5 | 0.0046818 | 0 | 0
671 | 0.0049348 | 0 | 0
671.5 | 0.0017878 | 0 | 0
672 | 0.0036558 | 0 | 0
672.5 | 0.0023455 | 0 | 0
673 | 0.0043017 | 0 | 0
673.5 | 0.0021137 | 0 | 0
674 | 0.0018721 | 0 | 0
674.5 | 0.00032773 | 0 | 0
675 | 0.00097382 | 0 | 0
675.5 | 0.0029435 | 0 | 0
676 | 0.0018596 | 0 | 0
676.5 | 0.0018788 | 0 | 0
677 | 0.0028593 | 0 | 0
677.5 | 0.0036095 | 0 | 0
678 | 0.0021519 | 0 | 0
678.5 | 0.00173 | 0 | 0
679 | 0.004781 | 0 | 0
679.5 | 0.0046061 | 0 | 0
680 | 0.0037058 | 0 | 0
680.5 | 0.0027669 | 0 | 0
681 | 0.0045596 | 0 | 0
681.5 | 0.0010677 | 0 | 0
682 | 0.0022883 | 0 | 0
682.5 | 0.0047275 | 0 | 0
683 | 0.0038232 | 0 | 0
683.5 | 0.0040289 | 0 | 0
684 | 0.0025829 | 0 | 0
684.5 | 0.0028004 | 0 | 0
685 | 0.0007757 | 0 | 0
685.5 | 0.0014327 | 0 | 0
686 | 0.00026024 | 0 | 0
686.5 | 0.0047187 | 0 | 0
687 | 0.0032543 | 0 | 0
687.5 | 0.0047797 | 0 | 0
688 | 0.0012731 | 0 | 0
688.5 | 0.00066218 | 0 | 0
689 | 0.00033998 | 0 | 0
689.5 | 0.0033477 | 0 | 0
690 | 0.0044617 | 0 | 0
690.5 | 0.0021172 | 0 | 0
691 | 4.5944e-05 | 0 | 0
691.5 | 0.0034792 | 0 | 0
692 | 0.0049974 | 0 | 0
692.5 | 0.0031426 | 0 | 0
693 | 0.0015285 | 0 | 0
693.5 | 0.0048435 | 0 | 0
694 | 0.0011156 | 0 | 0
694.5 | 0.00087997 | 0 | 0
695 | 0.0011635 | 0 | 0
695.5 | 0.0011431 | 0 | 0
696 | 0.0029793 | 0 | 0
696.5 | 0.0047952 | 0 | 0
697 | 0.0021149 | 0 | 0
697.5 | 0.0010189 | 0 | 0
698 | 0.0034172 | 0 | 0
698.5 | 0.0027791 | 0 | 0
699 | 0.002826 | 0 | 0
699.5 | 0.00077709 | 0 | 0
700 | 0.00044613 | 0 | 0
700.5 | 0.0021046 | 0 | 0
701 | 0.0028797 | 0 | 0
701.5 | 0.0049142 | 0 | 0
702 | 0.0044528 | 0 | 0
702.5 | 0.0023032 | 0 | 0
703 | 0.00060682 | 0 | 0
703.5 | 0.0037233 | 0 | 0
704 | 0.0049904 | 0 | 0
704.5 | 0.0049916 | 0 | 0
705 | 0.0047148 | 0 | 0
705.5 | 0.0046324 | 0 | 0
706 | 0.0012995 | 0 | 0
706.5 | 0.0049857 | 0 | 0
707 | 0.0025388 | 0 | 0
707.5 | 0.004965 | 0 | 0
708 | 0.0017331 | 0 | 0
708.5 | 0.00088854 | 0 | 0
709 | 0.00050101 | 0 | 0
709.5 | 0.0027535 | 0 | 0
710 | 0.00096848 | 0 | 0
710.5 | 0.003383 | 0 | 0
711 | 0.0032038 | 0 | 0
711.5 | 0.0018358 | 0 | 0
712 | 0.0019175 | 0 | 0
712.5 | 0.00019617 | 0 | 0
713 | 0.0027837 | 0 | 0
713.5 | 0.002722 | 0 | 0
714 | 0.0013736 | 0 | 0
714.5 | 0.0036072 | 0 | 0
715 | 0.0010597 | 0 | 0
715.5 | 0.00040507 | 0 | 0
716 | 0.0020025 | 0 | 0
716.5 | 0.0022423 | 0 | 0
717 | 0.0011949 | 0 | 0
717.5 | 0.0001053 | 0 | 0
718 | 0.0042242 | 0 | 0
718.5 | 0.0015191 | 0 | 0
719 | 0.0036988 | 0 | 0
719.5 | 0.0039733 | 0 | 0
720 | 0.0029909 | 0 | 0
720.5 | 0.0029212 | 0 | 0
721 | 0.0018682 | 0 | 0
721.5 | 0.0048219 | 0 | 0
722 | 0.00052499 | 0 | 0
722.5 | 0.0049645 | 0 | 0
723 | 0.0012435 | 0 | 0
723.5 | 0.0033736 | 0 | 0
724 | 0.001569 | 0 | 0
724.5 | 0.0044715 | 0 | 0
725 | 0.0043136 | 0 | 0
725.5 | 0.0013984 | 0 | 0
726 | 0.0038864 | 0 | 0
726.5 | 0.0016528 | 0 | 0
727 | 0.00034117 | 0 | 0
727.5 | 0.0015636 | 0 | 0
728 | 0.0037945 | 0 | 0
728.5 | 0.0019052 | 0 | 0
729 | 0.0013721 | 0 | 0
729.5 | 0.0033482 | 0 | 0
730 | 0.0036237 | 0 | 0
730.5 | 0.0035557 | 0 | 0
731 | 0.00055315 | 0 | 0
731.5 | 0.0046069 | 0 | 0
732 | 0.0029855 | 0 | 0
732.5 | 0.0043747 | 0 | 0
733 | 0.0039642 | 0 | 0
733.5 | 0.0032094 | 0 | 0
734 | 0.0035552 | 0 | 0
734.5 | 0.0013969 | 0 | 0
735 | 0.0024094 | 0 | 0
735.5 | 0.0036077 | 0 | 0
736 | 0.0030552 | 0 | 0
736.5 | 0.0017384 | 0 | 0
737 | 0.0016092 | 0 | 0
737.5 | 0.0008108 | 0 | 0
738 | 0.0049046 | 0 | 0
738.5 | 0.0022511 | 0 | 0
739 | 0.0019815 | 0 | 0
739.5 | 0.0016802 | 0 | 0
740 | 0.0019023 | 0 | 0
740.5 | 0.0049963 | 0 | 0
741 | 0.0025584 | 0 | 0
741.5 | 0.0037065 | 0 | 0
742 | 0.0031357 | 0 | 0
742.5 | 0.0034651 | 0 | 0
743 | 0.003734 | 0 | 0
743.5 | 0.0043434 | 0 | 0
744 | 0.001973 | 0 | 0
744.5 | 0.00012284 | 0 | 0
745 | 0.001349 | 0 | 0
745.5 | 0.0049925 | 0 | 0
746 | 0.00023017 | 0 | 0
746.5 | 0.0018697 | 0 | 0
747 | 0.0035471 | 0 | 0
747.5 | 0.0024852 | 0 | 0
748 | 0.0024731 | 0 | 0
748.5 | 0.0004929 | 0 | 0
749 | 0.0018277 | 0 | 0
749.5 | 0.0032781 | 0 | 0
750 | 6.2353e-06 | 0 | 0
750.5 | 0.00065867 | 0 | 0
751 | 0.0040555 | 0 | 0
751.5 | 0.00041267 | 0 | 0
752 | 0.00019097 | 0 | 0
752.5 | 0.0040763 | 0 | 0
753 | 0.0012727 | 0 | 0
753.5 | 0.0043774 | 0 | 0
754 | 0.0025079 | 0 | 0
754.5 | 0.0030395 | 0 | 0
755 | 0.002453 | 0 | 0
755.5 | 0.0013411 | 0 | 0
756 | 0.0037428 | 0 | 0
756.5 | 0.0013233 | 0 | 0
757 | 0.0029773 | 0 | 0
757.5 | 8.703e-05 | 0 | 0
758 | 0.002314 | 0 | 0
758.5 | 0.0037594 | 0 | 0
759 | 0.00063697 | 0 | 0
759.5 | 0.003524 | 0 | 0
760 | 0.0026296 | 0 | 0
760.5 | 0.00090921 | 0 | 0
761 | 0.0023218 | 0 | 0
761.5 | 0.0044791 | 0 | 0
762 | 0.0025488 | 0 | 0
762.5 | 0.0026775 | 0 | 0
763 | 0.00077152 | 0 | 0
763.5 | 0.0041024 | 0 | 0
764 | 0.0031998 | 0 | 0
764.5 | 0.0024478 | 0 | 0
765 | 0.00015552 | 0 | 0
765.5 | 0.0048267 | 0 | 0
766 | 0.0037417 | 0 | 0
766.5 | 0.0046448 | 0 | 0
767 | 0.0003137 | 0 | 0
767.5 | 0.0011424 | 0 | 0
768 | 0.0016844 | 0 | 0
768.5 | 0.0032176 | 0 | 0
769 | 0.0038651 | 0 | 0
769.5 | 0.0049022 | 0 | 0
770 | 0.00085437 | 0 | 0
770.5 | 0.0048934 | 0 | 0
771 | 0.00089508 | 0 | 0
771.5 | 0.0048736 | 0 | 0
772 | 0.0012482 | 0 | 0
772.5 | 0.00060901 | 0 | 0
773 | 0.0024271 | 0 | 0
773.5 | 0.0025963 | 0 | 0
774 | 0.0022343 | 0 | 0
774.5 | 0.0006983 | 0 | 0
775 | 0.003122 | 0 | 0
775.5 | 0.00064475 | 0 | 0
776 | 0.0010674 | 0 | 0
776.5 | 0.0025956 | 0 | 0
777 | 0.0026281 | 0 | 0
777.5 | 0.0029323 | 0 | 0
778 | 0.0039117 | 0 | 0
778.5 | 0.0032149 | 0 | 0
779 | 0.0011425 | 0 | 0
779.5 | 0.0040056 | 0 | 0
780 | 0.0039896 | 0 | 0
780.5 | 0.0020006 | 0 | 0
781 | 0.0047838 | 0 | 0
781.5 | 0.0023193 | 0 | 0
782 | 0.0041074 | 0 | 0
782.5 | 0.0039016 | 0 | 0
783 | 0.0012169 | 0 | 0
783.5 | 0.0027627 | 0 | 0
784 | 0.00077582 | 0 | 0
784.5 | 0.0032442 | 0 | 0
785 | 0.0030651 | 0 | 0
785.5 | 0.0011627 | 0 | 0
786 | 0.0026675 | 0 | 0
786.5 | 0.0024264 | 0 | 0
787 | 0.0044248 | 0 | 0
787.5 | 0.0012797 | 0 | 0
788 | 0.0011059 | 0 | 0
788.5 | 0.0048454 | 0 | 0
789 | 0.0038111 | 0 | 0
789.5 | 0.0045973 | 0 | 0
790 | 0.0034555 | 0 | 0
790.5 | 0.00036065 | 0 | 0
791 | 0.0041745 | 0 | 0
791.5 | 0.0035615 | 0 | 0
792 | 0.00055251 | 0 | 0
792.5 | 0.0037266 | 0 | 0
793 | 0.0029705 | 0 | 0
793.5 | 0.0012293 | 0 | 0
794 | 0.0023064 | 0 | 0
794.5 | 0.0049795 | 0 | 0
795 | 0.0013206 | 0 | 0
795.5 | 0.0042637 | 0 | 0
796 | 0.0003357 | 0 | 0
796.5 | 0.0048786 | 0 | 0
797 | 0.0017139 | 0 | 0
797.5 | 0.00076241 | 0 | 0
798 | 4.2534e-05 | 0 | 0
798.5 | 0.0026496 | 0 | 0
799 | 0.0043777 | 0 | 0
799.5 | 0.003306 | 0 | 0
800 | 0.0040848 | 0 | 0
800.5 | 0.0020324 | 0 | 0
801 | 0.0047567 | 0 | 0
801.5 | 0.0027824 | 0 | 0
802 | 0.0018492 | 0 | 0
802.5 | 0.0024826 | 0 | 0
803 | 0.0041568 | 0 | 0
803.5 | 0.00045234 | 0 | 0
804 | 0.0018282 | 0 | 0
804.5 | 0.0037503 | 0 | 0
805 | 0.00069616 | 0 | 0
805.5 | 0.0042771 | 0 | 0
806 | 0.0024617 | 0 | 0
806.5 | 0.001493 | 0 | 0
807 | 0.001328 | 0 | 0
807.5 | 0.00017283 | 0 | 0
808 | 0.0043896 | 0 | 0
808.5 | 0.0024439 | 0 | 0
809 | 0.0032737 | 0 | 0
809.5 | 0.00039006 | 0 | 0
810 | 0.0011056 | 0 | 0
810.5 | 0.0032942 | 0 | 0
811 | 0.0032634 | 0 | 0
811.5 | 0.0045237 | 0 | 0
812 | 0.0031055 | 0 | 0
812.5 | 0.00072581 | 0 | 0
813 | 0.0033938 | 0 | 0
813.5 | 0.00023235 | 0 | 0
814 | 0.00059746 | 0 | 0
814.5 | 0.003486 | 0 | 0
815 | 0.0039115 | 0 | 0
815.5 | 0.0024746 | 0 | 0
816 | 0.00065838 | 0 | 0
816.5 | 0.0026878 | 0 | 0
817 | 0.0030553 | 0 | 0
817.5 | 0.0013289 | 0 | 0
818 | 0.0022463 | 0 | 0
818.5 | 0.0033092 | 0 | 0
819 | 0.003674 | 0 | 0
819.5 | 0.0043776 | 0 | 0
820 | 0.0033924 | 0 | 0
820.5 | 0.0013686 | 0 | 0
821 | 0.00071643 | 0 | 0
821.5 | 0.0035896 | 0 | 0
822 | 0.0025098 | 0 | 0
822.5 | 0.0015843 | 0 | 0
823 | 0.0015265 | 0 | 0
823.5 | 0.0013782 | 0 | 0
824 | 0.00064038 | 0 | 0
824.5 | 0.0015718 | 0 | 0
825 | 0.0019028 | 0 | 0
825.5 | 0.0045221 | 0 | 0
826 | 0.0044957 | 0 | 0
826.5 | 0.002412 | 0 | 0
827 | 0.0018 | 0 | 0
827.5 | 0.0029873 | 0 | 0
828 | 5.7441e-05 | 0 | 0
828.5 | 0.0049386 | 0 | 0
829 | 0.0031716 | 0 | 0
829.5 | 0.0038115 | 0 | 0
830 | 0.0043512 | 0 | 0
830.5 | 0.0048124 | 0 | 0
831 | 0.0039782 | 0 | 0
831.5 | 0.0046754 | 0 | 0
832 | 0.0035801 | 0 | 0
832.5 | 0.0020149 | 0 | 0
833 | 7.6328e-05 | 0 | 0
833.5 | 0.00052981 | 0 | 0
834 | 0.00028183 | 0 | 0
834.5 | 0.0047819 | 0 | 0
835 | 0.0045688 | 0 | 0
835.5 | 0.0027644 | 0 | 0
836 | 0.00063946 | 0 | 0
836.5 | 0.0031194 | 0 | 0
837 | 0.0015228 | 0 | 0
837.5 | 0.0023752 | 0 | 0
838 | 0.0044008 | 0 | 0
838.5 | 0.0035168 | 0 | 0
839 | 0.00091019 | 0 | 0
839.5 | 0.00094426 | 0 | 0
840 | 0.0028353 | 0 | 0
840.5 | 0.0039015 | 0 | 0
841 | 0.001307 | 0 | 0
841.5 | 0.0016423 | 0 | 0
842 | 0.0022727 | 0 | 0
842.5 | 0.0017967 | 0 | 0
843 | 0.0032841 | 0 | 0
843.5 | 6.2012e-05 | 0 | 0
844 | 0.003718 | 0 | 0
844.5 | 0.0041406 | 0 | 0
845 | 0.004829 | 0 | 0
845.5 | 0.00242 | 0 | 0
846 | 0.0037228 | 0 | 0
846.5 | 0.0013784 | 0 | 0
847 | 0.0034918 | 0 | 0
847.5 | 0.0028947 | 0 | 0
848 | 0.00031933 | 0 | 0
848.5 | 0.00055869 | 0 | 0
849 | 0.0034256 | 0 | 0
849.5 | 0.0030562 | 0 | 0
850 | 0.001538 | 0 | 0
850.5 | 0.0043276 | 0 | 0
851 | 0.0025058 | 0 | 0
851.5 | 0.0014398 | 0 | 0
852 | 0.0017387 | 0 | 0
852.5 | 0.0033351 | 0 | 0
853 | 0.004545 | 0 | 0
853.5 | 0.00095359 | 0 | 0
854 | 0.00036661 | 0 | 0
854.5 | 0.0040628 | 0 | 0
855 | 0.004926 | 0 | 0
855.5 | 0.0030892 | 0 | 0
856 | 0.00068634 | 0 | 0
856.5 | 0.0038281 | 0 | 0
857 | 0.0032156 | 0 | 0
857.5 | 0.00049473 | 0 | 0
858 | 0.004741 | 0 | 0
858.5 | 0.0015441 | 0 | 0
859 | 0.0034493 | 0 | 0
859.5 | 0.00014031 | 0 | 0
860 | 0.0005705 | 0 | 0
860.5 | 0.0028177 | 0 | 0
861 | 0.0020406 | 0 | 0
861.5 | 0.0037577 | 0 | 0
862 | 0.0017512 | 0 | 0
862.5 | 0.0001096 | 0 | 0
863 | 0.0039269 | 0 | 0
863.5 | 0.0017728 | 0 | 0
864 | 0.0012775 | 0 | 0
864.5 | 0.0042404 | 0 | 0
865 | 0.0028857 | 0 | 0
865.5 | 8.8481e-05 | 0 | 0
866 | 0.0048336 | 0 | 0
866.5 | 0.0045769 | 0 | 0
867 | 0.0039873 | 0 | 0
867.5 | 0.0037173 | 0 | 0
868 | 0.0048525 | 0 | 0
868.5 | 0.004095 | 0 | 0
869 | 0.0028897 | 0 | 0
869.5 | 0.0040591 | 0 | 0
870 | 0.0030536 | 0 | 0
870.5 | 0.0020886 | 0 | 0
871 | 0.0045647 | 0 | 0
871.5 | 0.0025482 | 0 | 0
872 | 0.0037865 | 0 | 0
872.5 | 0.00024947 | 0 | 0
873 | 0.001757 | 0 | 0
873.5 | 0.0040732 | 0 | 0
874 | 0.00090805 | 0 | 0
874.5 | 0.0011893 | 0 | 0
875 | 0.0029952 | 0 | 0
875.5 | 0.00018161 | 0 | 0
876 | 0.004338 | 0 | 0
876.5 | 0.00093869 | 0 | 0
877 | 0.0033004 | 0 | 0
877.5 | 0.00082346 | 0 | 0
878 | 0.0028731 | 0 | 0
878.5 | 0.0016191 | 0 | 0
879 | 0.00039932 | 0 | 0
879.5 | 0.0040253 | 0 | 0
880 | 0.0046938 | 0 | 0
880.5 | 0.00030375 | 0 | 0
881 | 0.0040032 | 0 | 0
881.5 | 0.0047162 | 0 | 0
882 | 0.0037868 | 0 | 0
882.5 | 0.0010641 | 0 | 0
883 | 0.0017005 | 0 | 0
883.5 | 0.0008076 | 0 | 0
884 | 0.0018619 | 0 | 0
884.5 | 0.0012673 | 0 | 0
885 | 0.0042149 | 0 | 0
885.5 | 0.0033566 | 0 | 0
886 | 0.00077404 | 0 | 0
886.5 | 0.0047972 | 0 | 0