## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -13.598 | 3.736 | 0.0011198
246.5 | -17.334 | 0 | 0
247 | -17.118 | 0.216 | 6.4742e-05
247.5 | -17.165 | 0.169 | 5.0654e-05
248 | -15.861 | 1.473 | 0.0004415
248.5 | -15.915 | 1.419 | 0.00042532
249 | -15.283 | 2.051 | 0.00061475
249.5 | -15.591 | 1.743 | 0.00052243
250 | -15.457 | 1.877 | 0.00056259
250.5 | -14.438 | 2.896 | 0.00086802
251 | -15.298 | 2.036 | 0.00061025
251.5 | -15.733 | 1.601 | 0.00047987
252 | -16.51 | 0.824 | 0.00024698
252.5 | -15.716 | 1.618 | 0.00048496
253 | -16.284 | 1.05 | 0.00031472
253.5 | -16.095 | 1.239 | 0.00037137
254 | -15.699 | 1.635 | 0.00049006
254.5 | -12.949 | 4.385 | 0.0013143
255 | -11.362 | 5.972 | 0.00179
255.5 | -12.525 | 4.809 | 0.0014414
256 | -12.366 | 4.968 | 0.0014891
256.5 | -11.958 | 5.376 | 0.0016113
257 | -12.45 | 4.884 | 0.0014639
257.5 | -12.562 | 4.772 | 0.0014303
258 | -12.631 | 4.703 | 0.0014096
258.5 | -12.898 | 4.436 | 0.0013296
259 | -13.003 | 4.331 | 0.0012981
259.5 | -12.886 | 4.448 | 0.0013332
260 | -12.985 | 4.349 | 0.0013035
260.5 | -12.857 | 4.477 | 0.0013419
261 | -12.857 | 4.477 | 0.0013419
261.5 | -12.858 | 4.476 | 0.0013416
262 | -12.632 | 4.702 | 0.0014093
262.5 | -12.492 | 4.842 | 0.0014513
263 | -12.578 | 4.756 | 0.0014255
263.5 | -12.68 | 4.654 | 0.0013949
264 | -12.61 | 4.724 | 0.0014159
264.5 | -12.407 | 4.927 | 0.0014768
265 | -12.503 | 4.831 | 0.001448
265.5 | -12.619 | 4.715 | 0.0014132
266 | -12.729 | 4.605 | 0.0013803
266.5 | -12.727 | 4.607 | 0.0013809
267 | -12.831 | 4.503 | 0.0013497
267.5 | -12.961 | 4.373 | 0.0013107
268 | -13.109 | 4.225 | 0.0012664
268.5 | -13.423 | 3.911 | 0.0011722
269 | -13.654 | 3.68 | 0.001103
269.5 | -13.577 | 3.757 | 0.0011261
270 | -13.363 | 3.971 | 0.0011902
270.5 | -13.205 | 4.129 | 0.0012376
271 | -13.278 | 4.056 | 0.0012157
271.5 | -13.465 | 3.869 | 0.0011597
272 | -13.591 | 3.743 | 0.0011219
272.5 | -13.915 | 3.419 | 0.0010248
273 | -14.101 | 3.233 | 0.00096903
273.5 | -13.962 | 3.372 | 0.0010107
274 | -13.85 | 3.484 | 0.0010443
274.5 | -13.798 | 3.536 | 0.0010598
275 | -13.902 | 3.432 | 0.0010287
275.5 | -14.167 | 3.167 | 0.00094925
276 | -14.462 | 2.872 | 0.00086083
276.5 | -14.793 | 2.541 | 0.00076161
277 | -15.011 | 2.323 | 0.00069627
277.5 | -15.072 | 2.262 | 0.00067799
278 | -14.981 | 2.353 | 0.00070527
278.5 | -14.716 | 2.618 | 0.00078469
279 | -14.422 | 2.912 | 0.00087281
279.5 | -14.108 | 3.226 | 0.00096693
280 | -14.251 | 3.083 | 0.00092407
280.5 | -14.419 | 2.915 | 0.00087371
281 | -14.593 | 2.741 | 0.00082156
281.5 | -14.532 | 2.802 | 0.00083984
282 | -14.356 | 2.978 | 0.0008926
282.5 | -14.406 | 2.928 | 0.00087761
283 | -14.254 | 3.08 | 0.00092317
283.5 | -14.175 | 3.159 | 0.00094685
284 | -13.919 | 3.415 | 0.0010236
284.5 | -13.749 | 3.585 | 0.0010745
285 | -13.772 | 3.562 | 0.0010676
285.5 | -13.931 | 3.403 | 0.00102
286 | -13.982 | 3.352 | 0.0010047
286.5 | -13.871 | 3.463 | 0.001038
287 | -13.693 | 3.641 | 0.0010913
287.5 | -13.522 | 3.812 | 0.0011426
288 | -13.657 | 3.677 | 0.0011021
288.5 | -13.898 | 3.436 | 0.0010299
289 | -13.976 | 3.358 | 0.0010065
289.5 | -14.51 | 2.824 | 0.00084644
290 | -14.932 | 2.402 | 0.00071995
290.5 | -15.512 | 1.822 | 0.00054611
291 | -15.97 | 1.364 | 0.00040883
291.5 | -16.337 | 0.997 | 0.00029883
292 | -16.459 | 0.875 | 0.00026226
292.5 | -16.634 | 0.7 | 0.00020981
293 | -16.951 | 0.383 | 0.0001148
293.5 | -17.283 | 0.051 | 1.5286e-05
294 | -17.578 | 0 | 0
294.5 | -17.618 | 0 | 0
295 | -17.368 | 0 | 0
295.5 | -16.92 | 0.414 | 0.00012409
296 | -16.274 | 1.06 | 0.00031771
296.5 | -15.697 | 1.637 | 0.00049066
297 | -15.235 | 2.099 | 0.00062913
297.5 | -14.889 | 2.445 | 0.00073284
298 | -14.641 | 2.693 | 0.00080717
298.5 | -14.295 | 3.039 | 0.00091088
299 | -13.836 | 3.498 | 0.0010485
299.5 | -13.521 | 3.813 | 0.0011429
300 | -13.151 | 4.183 | 0.0012538
300.5 | -12.836 | 4.498 | 0.0013482
301 | -12.612 | 4.722 | 0.0014153
301.5 | -12.642 | 4.692 | 0.0014063
302 | -12.92 | 4.414 | 0.001323
302.5 | -13.222 | 4.112 | 0.0012325
303 | -13.503 | 3.831 | 0.0011483
303.5 | -13.589 | 3.745 | 0.0011225
304 | -13.658 | 3.676 | 0.0011018
304.5 | -13.628 | 3.706 | 0.0011108
305 | -13.662 | 3.672 | 0.0011006
305.5 | -13.906 | 3.428 | 0.0010275
306 | -14.047 | 3.287 | 0.00098521
306.5 | -14.331 | 3.003 | 0.00090009
307 | -14.632 | 2.702 | 0.00080987
307.5 | -14.662 | 2.672 | 0.00080088
308 | -14.629 | 2.705 | 0.00081077
308.5 | -14.528 | 2.806 | 0.00084104
309 | -14.442 | 2.892 | 0.00086682
309.5 | -14.365 | 2.969 | 0.0008899
310 | -14.344 | 2.99 | 0.00089619
310.5 | -14.458 | 2.876 | 0.00086202
311 | -14.639 | 2.695 | 0.00080777
311.5 | -14.745 | 2.589 | 0.000776
312 | -14.889 | 2.445 | 0.00073284
312.5 | -15.013 | 2.321 | 0.00069567
313 | -15.159 | 2.175 | 0.00065191
313.5 | -15.115 | 2.219 | 0.0006651
314 | -15.172 | 2.162 | 0.00064802
314.5 | -15.362 | 1.972 | 0.00059107
315 | -15.482 | 1.852 | 0.0005551
315.5 | -15.511 | 1.823 | 0.00054641
316 | -15.217 | 2.117 | 0.00063453
316.5 | -14.892 | 2.442 | 0.00073194
317 | -14.59 | 2.744 | 0.00082246
317.5 | -14.253 | 3.081 | 0.00092347
318 | -14.149 | 3.185 | 0.00095464
318.5 | -14.008 | 3.326 | 0.0009969
319 | -13.89 | 3.444 | 0.0010323
319.5 | -13.56 | 3.774 | 0.0011312
320 | -13.246 | 4.088 | 0.0012253
320.5 | -13.108 | 4.226 | 0.0012667
321 | -13.088 | 4.246 | 0.0012727
321.5 | -13.108 | 4.226 | 0.0012667
322 | -13.166 | 4.168 | 0.0012493
322.5 | -13.558 | 3.776 | 0.0011318
323 | -13.877 | 3.457 | 0.0010362
323.5 | -13.99 | 3.344 | 0.0010023
324 | -14.173 | 3.161 | 0.00094745
324.5 | -14.235 | 3.099 | 0.00092886
325 | -14.329 | 3.005 | 0.00090069
325.5 | -14.399 | 2.935 | 0.00087971
326 | -14.547 | 2.787 | 0.00083535
326.5 | -14.882 | 2.452 | 0.00073494
327 | -14.868 | 2.466 | 0.00073913
327.5 | -14.548 | 2.786 | 0.00083505
328 | -14.174 | 3.16 | 0.00094715
328.5 | -13.798 | 3.536 | 0.0010598
329 | -13.367 | 3.967 | 0.001189
329.5 | -13.209 | 4.125 | 0.0012364
330 | -13.138 | 4.196 | 0.0012577
330.5 | -13.007 | 4.327 | 0.0012969
331 | -12.853 | 4.481 | 0.0013431
331.5 | -12.738 | 4.596 | 0.0013776
332 | -12.658 | 4.676 | 0.0014015
332.5 | -12.51 | 4.824 | 0.0014459
333 | -12.211 | 5.123 | 0.0015355
333.5 | -12.217 | 5.117 | 0.0015337
334 | -12.334 | 5 | 0.0014987
334.5 | -12.523 | 4.811 | 0.001442
335 | -12.877 | 4.457 | 0.0013359
335.5 | -13.3 | 4.034 | 0.0012091
336 | -13.482 | 3.852 | 0.0011546
336.5 | -13.658 | 3.676 | 0.0011018
337 | -13.917 | 3.417 | 0.0010242
337.5 | -14.082 | 3.252 | 0.00097472
338 | -14.02 | 3.314 | 0.00099331
338.5 | -13.875 | 3.459 | 0.0010368
339 | -13.977 | 3.357 | 0.0010062
339.5 | -14.172 | 3.162 | 0.00094775
340 | -14.329 | 3.005 | 0.00090069
340.5 | -14.455 | 2.879 | 0.00086292
341 | -14.533 | 2.801 | 0.00083954
341.5 | -14.413 | 2.921 | 0.00087551
342 | -14.183 | 3.151 | 0.00094445
342.5 | -13.983 | 3.351 | 0.0010044
343 | -13.691 | 3.643 | 0.0010919
343.5 | -13.445 | 3.889 | 0.0011657
344 | -13.421 | 3.913 | 0.0011728
344.5 | -13.514 | 3.82 | 0.001145
345 | -13.576 | 3.758 | 0.0011264
345.5 | -13.459 | 3.875 | 0.0011615
346 | -13.167 | 4.167 | 0.001249
346.5 | -13.156 | 4.178 | 0.0012523
347 | -12.87 | 4.464 | 0.001338
347.5 | -12.76 | 4.574 | 0.001371
348 | -12.732 | 4.602 | 0.0013794
348.5 | -12.676 | 4.658 | 0.0013961
349 | -12.693 | 4.641 | 0.001391
349.5 | -12.709 | 4.625 | 0.0013863
350 | -12.618 | 4.716 | 0.0014135
350.5 | -12.36 | 4.974 | 0.0014909
351 | -12.038 | 5.296 | 0.0015874
351.5 | -11.793 | 5.541 | 0.0016608
352 | -11.762 | 5.572 | 0.0016701
352.5 | -11.622 | 5.712 | 0.0017121
353 | -11.36 | 5.974 | 0.0017906
353.5 | -11.447 | 5.887 | 0.0017645
354 | -11.489 | 5.845 | 0.0017519
354.5 | -11.659 | 5.675 | 0.001701
355 | -11.832 | 5.502 | 0.0016491
355.5 | -11.929 | 5.405 | 0.00162
356 | -11.839 | 5.495 | 0.001647
356.5 | -11.665 | 5.669 | 0.0016992
357 | -11.489 | 5.845 | 0.0017519
357.5 | -11.44 | 5.894 | 0.0017666
358 | -11.273 | 6.061 | 0.0018167
358.5 | -10.96 | 6.374 | 0.0019105
359 | -11.1 | 6.234 | 0.0018685
359.5 | -10.919 | 6.415 | 0.0019228
360 | -10.704 | 6.63 | 0.0019872
360.5 | -10.305 | 7.029 | 0.0021068
361 | -9.8448 | 7.4892 | 0.0022447
361.5 | -9.3686 | 7.9654 | 0.0023875
362 | -9.2885 | 8.0455 | 0.0024115
362.5 | -9.2019 | 8.1321 | 0.0024374
363 | -9.0929 | 8.2411 | 0.0024701
363.5 | -9.2077 | 8.1263 | 0.0024357
364 | -9.2301 | 8.1039 | 0.002429
364.5 | -9.426 | 7.908 | 0.0023703
365 | -9.4407 | 7.8933 | 0.0023659
365.5 | -9.1091 | 8.2249 | 0.0024653
366 | -8.745 | 8.589 | 0.0025744
366.5 | -8.5264 | 8.8076 | 0.0026399
367 | -8.0717 | 9.2623 | 0.0027762
367.5 | -7.6968 | 9.6372 | 0.0028886
368 | -7.2913 | 10.0427 | 0.0030101
368.5 | -6.5917 | 10.7423 | 0.0032198
369 | -6.1132 | 11.2208 | 0.0033632
369.5 | -5.509 | 11.825 | 0.0035443
370 | -4.501 | 12.833 | 0.0038464
370.5 | -3.0699 | 14.2641 | 0.0042754
371 | -1.6622 | 15.6718 | 0.0046973
371.5 | -0.16914 | 17.1649 | 0.0051448
372 | 1.3937 | 18.7277 | 0.0056133
372.5 | 3.3621 | 20.6961 | 0.0062032
373 | 5.7298 | 23.0638 | 0.0069129
373.5 | 8.1598 | 25.4938 | 0.0076413
374 | 11.194 | 28.528 | 0.0085507
374.5 | 14.588 | 31.922 | 0.009568
375 | 18.557 | 35.891 | 0.010758
375.5 | 23.468 | 40.802 | 0.01223
376 | 28.794 | 46.128 | 0.013826
376.5 | 35.007 | 52.341 | 0.015688
377 | 42.002 | 59.336 | 0.017785
377.5 | 49.969 | 67.303 | 0.020173
378 | 59.165 | 76.499 | 0.022929
378.5 | 69.384 | 86.718 | 0.025992
379 | 80.591 | 97.925 | 0.029351
379.5 | 93.468 | 110.802 | 0.033211
380 | 108.14 | 125.474 | 0.037608
380.5 | 124.99 | 142.324 | 0.042659
381 | 144 | 161.334 | 0.048357
381.5 | 164.76 | 182.094 | 0.054579
382 | 187.72 | 205.054 | 0.061461
382.5 | 213.38 | 230.714 | 0.069152
383 | 241.48 | 258.814 | 0.077574
383.5 | 272.98 | 290.314 | 0.087016
384 | 308.24 | 325.574 | 0.097584
384.5 | 347.28 | 364.614 | 0.10929
385 | 390.81 | 408.144 | 0.12233
385.5 | 438.86 | 456.194 | 0.13674
386 | 491.44 | 508.774 | 0.15249
386.5 | 550 | 567.334 | 0.17005
387 | 613.88 | 631.214 | 0.18919
387.5 | 684 | 701.334 | 0.21021
388 | 761.09 | 778.424 | 0.23332
388.5 | 844.22 | 861.554 | 0.25823
389 | 934.27 | 951.604 | 0.28522
389.5 | 1031.5 | 1048.834 | 0.31437
390 | 1135.2 | 1152.534 | 0.34545
390.5 | 1246.4 | 1263.734 | 0.37878
391 | 1364.3 | 1381.634 | 0.41412
391.5 | 1488 | 1505.334 | 0.45119
392 | 1617.9 | 1635.234 | 0.49013
392.5 | 1751.8 | 1769.134 | 0.53026
393 | 1888.7 | 1906.034 | 0.5713
393.5 | 2028 | 2045.334 | 0.61305
394 | 2168.1 | 2185.434 | 0.65504
394.5 | 2307.8 | 2325.134 | 0.69691
395 | 2445.2 | 2462.534 | 0.7381
395.5 | 2578.2 | 2595.534 | 0.77796
396 | 2703.7 | 2721.034 | 0.81558
396.5 | 2820.9 | 2838.234 | 0.8507
397 | 2928.7 | 2946.034 | 0.88302
397.5 | 3024.7 | 3042.034 | 0.91179
398 | 3109.4 | 3126.734 | 0.93718
398.5 | 3180.7 | 3198.034 | 0.95855
399 | 3237.7 | 3255.034 | 0.97563
399.5 | 3280.8 | 3298.134 | 0.98855
400 | 3307.4 | 3324.734 | 0.99652
400.5 | 3319 | 3336.334 | 1
401 | 3316.6 | 3333.934 | 0.99928
401.5 | 3298.9 | 3316.234 | 0.99398
402 | 3269.4 | 3286.734 | 0.98513
402.5 | 3228 | 3245.334 | 0.97272
403 | 3175.1 | 3192.434 | 0.95687
403.5 | 3112 | 3129.334 | 0.93796
404 | 3038.7 | 3056.034 | 0.91599
404.5 | 2957.5 | 2974.834 | 0.89165
405 | 2869.3 | 2886.634 | 0.86521
405.5 | 2774.1 | 2791.434 | 0.83668
406 | 2674.5 | 2691.834 | 0.80682
406.5 | 2571.1 | 2588.434 | 0.77583
407 | 2465.3 | 2482.634 | 0.74412
407.5 | 2358.7 | 2376.034 | 0.71217
408 | 2251.5 | 2268.834 | 0.68004
408.5 | 2145 | 2162.334 | 0.64812
409 | 2039.5 | 2056.834 | 0.6165
409.5 | 1936.4 | 1953.734 | 0.58559
410 | 1835.8 | 1853.134 | 0.55544
410.5 | 1738.4 | 1755.734 | 0.52625
411 | 1645.3 | 1662.634 | 0.49834
411.5 | 1556.5 | 1573.834 | 0.47173
412 | 1472.9 | 1490.234 | 0.44667
412.5 | 1393.4 | 1410.734 | 0.42284
413 | 1317.7 | 1335.034 | 0.40015
413.5 | 1245.7 | 1263.034 | 0.37857
414 | 1177.2 | 1194.534 | 0.35804
414.5 | 1112.6 | 1129.934 | 0.33868
415 | 1051.3 | 1068.634 | 0.3203
415.5 | 993.05 | 1010.384 | 0.30284
416 | 937.34 | 954.674 | 0.28614
416.5 | 883.78 | 901.114 | 0.27009
417 | 832.03 | 849.364 | 0.25458
417.5 | 781.73 | 799.064 | 0.2395
418 | 733.2 | 750.534 | 0.22496
418.5 | 686.93 | 704.264 | 0.21109
419 | 642.95 | 660.284 | 0.19791
419.5 | 601.15 | 618.484 | 0.18538
420 | 561.32 | 578.654 | 0.17344
420.5 | 523.24 | 540.574 | 0.16203
421 | 487 | 504.334 | 0.15116
421.5 | 452.43 | 469.764 | 0.1408
422 | 420 | 437.334 | 0.13108
422.5 | 389.95 | 407.284 | 0.12208
423 | 362.02 | 379.354 | 0.1137
423.5 | 336.27 | 353.604 | 0.10599
424 | 312.56 | 329.894 | 0.098879
424.5 | 290.63 | 307.964 | 0.092306
425 | 270.21 | 287.544 | 0.086186
425.5 | 250.92 | 268.254 | 0.080404
426 | 233.06 | 250.394 | 0.075051
426.5 | 216.53 | 233.864 | 0.070096
427 | 201.44 | 218.774 | 0.065573
427.5 | 187.86 | 205.194 | 0.061503
428 | 175.45 | 192.784 | 0.057783
428.5 | 164.09 | 181.424 | 0.054378
429 | 153.39 | 170.724 | 0.051171
429.5 | 143.52 | 160.854 | 0.048213
430 | 134.29 | 151.624 | 0.045446
430.5 | 125.64 | 142.974 | 0.042854
431 | 117.73 | 135.064 | 0.040483
431.5 | 110.7 | 128.034 | 0.038376
432 | 104.26 | 121.594 | 0.036445
432.5 | 98.01 | 115.344 | 0.034572
433 | 92.129 | 109.463 | 0.032809
433.5 | 86.32 | 103.654 | 0.031068
434 | 80.645 | 97.979 | 0.029367
434.5 | 75.15 | 92.484 | 0.02772
435 | 69.948 | 87.282 | 0.026161
435.5 | 65.204 | 82.538 | 0.024739
436 | 60.674 | 78.008 | 0.023381
436.5 | 56.285 | 73.619 | 0.022066
437 | 52.182 | 69.516 | 0.020836
437.5 | 48.224 | 65.558 | 0.01965
438 | 44.366 | 61.7 | 0.018493
438.5 | 41.112 | 58.446 | 0.017518
439 | 38.102 | 55.436 | 0.016616
439.5 | 35.511 | 52.845 | 0.015839
440 | 32.784 | 50.118 | 0.015022
440.5 | 30.29 | 47.624 | 0.014274
441 | 27.851 | 45.185 | 0.013543
441.5 | 25.316 | 42.65 | 0.012783
442 | 22.963 | 40.297 | 0.012078
442.5 | 20.772 | 38.106 | 0.011422
443 | 18.427 | 35.761 | 0.010719
443.5 | 16.045 | 33.379 | 0.010005
444 | 13.817 | 31.151 | 0.0093369
444.5 | 11.674 | 29.008 | 0.0086946
445 | 9.6175 | 26.9515 | 0.0080782
445.5 | 7.5736 | 24.9076 | 0.0074656
446 | 6.0791 | 23.4131 | 0.0070176
446.5 | 4.2906 | 21.6246 | 0.0064815
447 | 2.6066 | 19.9406 | 0.0059768
447.5 | 1.2472 | 18.5812 | 0.0055693
448 | 0.075358 | 17.4094 | 0.0052181
448.5 | -0.92483 | 16.4092 | 0.0049183
449 | -1.5608 | 15.7732 | 0.0047277
449.5 | -2.0891 | 15.2449 | 0.0045694
450 | -2.5635 | 14.7705 | 0.0044272
450.5 | -3.1339 | 14.2001 | 0.0042562
451 | -3.9161 | 13.4179 | 0.0040217
451.5 | -4.4506 | 12.8834 | 0.0038615
452 | -5.0987 | 12.2353 | 0.0036673
452.5 | -5.5719 | 11.7621 | 0.0035255
453 | -5.8241 | 11.5099 | 0.0034499
453.5 | -6.3168 | 11.0172 | 0.0033022
454 | -6.8154 | 10.5186 | 0.0031527
454.5 | -7.4482 | 9.8858 | 0.0029631
455 | -8.1597 | 9.1743 | 0.0027498
455.5 | -8.4548 | 8.8792 | 0.0026614
456 | -8.6464 | 8.6876 | 0.0026039
456.5 | -8.9547 | 8.3793 | 0.0025115
457 | -9.0459 | 8.2881 | 0.0024842
457.5 | -9.4626 | 7.8714 | 0.0023593
458 | -9.7119 | 7.6221 | 0.0022846
458.5 | -10.023 | 7.311 | 0.0021913
459 | -10.523 | 6.811 | 0.0020415
459.5 | -10.69 | 6.644 | 0.0019914
460 | -10.842 | 6.492 | 0.0019458
460.5 | -10.669 | 6.665 | 0.0019977
461 | -10.555 | 6.779 | 0.0020319
461.5 | -10.875 | 6.459 | 0.001936
462 | -11.139 | 6.195 | 0.0018568
462.5 | -11.288 | 6.046 | 0.0018122
463 | -11.502 | 5.832 | 0.001748
463.5 | -11.418 | 5.916 | 0.0017732
464 | -11.481 | 5.853 | 0.0017543
464.5 | -11.545 | 5.789 | 0.0017351
465 | -11.567 | 5.767 | 0.0017285
465.5 | -11.883 | 5.451 | 0.0016338
466 | -12.236 | 5.098 | 0.001528
466.5 | -12.979 | 4.355 | 0.0013053
467 | -13.612 | 3.722 | 0.0011156
467.5 | -13.977 | 3.357 | 0.0010062
468 | -14.285 | 3.049 | 0.00091388
468.5 | -14.737 | 2.597 | 0.0007784
469 | -14.856 | 2.478 | 0.00074273
469.5 | -15.167 | 2.167 | 0.00064952
470 | -15.12 | 2.214 | 0.0006636
470.5 | -14.988 | 2.346 | 0.00070317
471 | -14.991 | 2.343 | 0.00070227
471.5 | -15.088 | 2.246 | 0.00067319
472 | -15.153 | 2.181 | 0.00065371
472.5 | -15.044 | 2.29 | 0.00068638
473 | -15.145 | 2.189 | 0.00065611
473.5 | -15.35 | 1.984 | 0.00059466
474 | -15.158 | 2.176 | 0.00065221
474.5 | -14.792 | 2.542 | 0.00076191
475 | -14.811 | 2.523 | 0.00075622
475.5 | -15.001 | 2.333 | 0.00069927
476 | -15.346 | 1.988 | 0.00059586
476.5 | -15.702 | 1.632 | 0.00048916
477 | -15.835 | 1.499 | 0.0004493
477.5 | -15.875 | 1.459 | 0.00043731
478 | -15.675 | 1.659 | 0.00049725
478.5 | -15.386 | 1.948 | 0.00058387
479 | -14.875 | 2.459 | 0.00073704
479.5 | -14.685 | 2.649 | 0.00079399
480 | -14.959 | 2.375 | 0.00071186
480.5 | -15.144 | 2.19 | 0.00065641
481 | -15.269 | 2.065 | 0.00061894
481.5 | -15.304 | 2.03 | 0.00060845
482 | -15.249 | 2.085 | 0.00062494
482.5 | -15.015 | 2.319 | 0.00069507
483 | -14.656 | 2.678 | 0.00080268
483.5 | -14.543 | 2.791 | 0.00083655
484 | -15.074 | 2.26 | 0.00067739
484.5 | -15.518 | 1.816 | 0.00054431
485 | -15.809 | 1.525 | 0.00045709
485.5 | -15.679 | 1.655 | 0.00049605
486 | -15.591 | 1.743 | 0.00052243
486.5 | -15.649 | 1.685 | 0.00050505
487 | -15.727 | 1.607 | 0.00048167
487.5 | -15.711 | 1.623 | 0.00048646
488 | -15.616 | 1.718 | 0.00051494
488.5 | -15.402 | 1.932 | 0.00057908
489 | -15.408 | 1.926 | 0.00057728
489.5 | -15.13 | 2.204 | 0.00066061
490 | -14.809 | 2.525 | 0.00075682
490.5 | -14.737 | 2.597 | 0.0007784
491 | -14.712 | 2.622 | 0.00078589
491.5 | -14.551 | 2.783 | 0.00083415
492 | -14.121 | 3.213 | 0.00096303
492.5 | -13.559 | 3.775 | 0.0011315
493 | -13.346 | 3.988 | 0.0011953
493.5 | -13.086 | 4.248 | 0.0012733
494 | -13.403 | 3.931 | 0.0011782
494.5 | -13.825 | 3.509 | 0.0010518
495 | -14.007 | 3.327 | 0.0009972
495.5 | -14.094 | 3.24 | 0.00097113
496 | -13.868 | 3.466 | 0.0010389
496.5 | -13.769 | 3.565 | 0.0010685
497 | -13.987 | 3.347 | 0.0010032
497.5 | -14.448 | 2.886 | 0.00086502
498 | -15.026 | 2.308 | 0.00069178
498.5 | -15.267 | 2.067 | 0.00061954
499 | -15.399 | 1.935 | 0.00057998
499.5 | -15.512 | 1.822 | 0.00054611
500 | -15.489 | 1.845 | 0.000553
500.5 | -15.397 | 1.937 | 0.00058058
501 | -15.548 | 1.786 | 0.00053532
501.5 | -15.93 | 1.404 | 0.00042082
502 | -16.091 | 1.243 | 0.00037256
502.5 | -16.358 | 0.976 | 0.00029254
503 | -16.28 | 1.054 | 0.00031592
503.5 | -16.283 | 1.051 | 0.00031502
504 | -16.039 | 1.295 | 0.00038815
504.5 | -16.025 | 1.309 | 0.00039235
505 | -16.045 | 1.289 | 0.00038635
505.5 | -16.079 | 1.255 | 0.00037616
506 | -15.975 | 1.359 | 0.00040733
506.5 | -15.839 | 1.495 | 0.0004481
507 | -15.496 | 1.838 | 0.0005509
507.5 | -15.281 | 2.053 | 0.00061535
508 | -15.194 | 2.14 | 0.00064142
508.5 | -15.188 | 2.146 | 0.00064322
509 | -15.46 | 1.874 | 0.00056169
509.5 | -15.994 | 1.34 | 0.00040164
510 | -16.358 | 0.976 | 0.00029254
510.5 | -16.533 | 0.801 | 0.00024008
511 | -16.61 | 0.724 | 0.000217
511.5 | -16.706 | 0.628 | 0.00018823
512 | -16.865 | 0.469 | 0.00014057
512.5 | -17.132 | 0.202 | 6.0545e-05
513 | -17.26 | 0.074 | 2.218e-05
513.5 | -17.257 | 0.077 | 2.3079e-05
514 | -16.88 | 0.454 | 0.00013608
514.5 | -16.595 | 0.739 | 0.0002215
515 | -15.979 | 1.355 | 0.00040613
515.5 | -15.486 | 1.848 | 0.0005539
516 | -15.285 | 2.049 | 0.00061415
516.5 | -15.435 | 1.899 | 0.00056919
517 | -15.348 | 1.986 | 0.00059526
517.5 | -15.359 | 1.975 | 0.00059197
518 | -14.957 | 2.377 | 0.00071246
518.5 | -14.714 | 2.62 | 0.00078529
519 | -14.371 | 2.963 | 0.0008881
519.5 | -14.175 | 3.159 | 0.00094685
520 | -14.124 | 3.21 | 0.00096213
520.5 | -14.148 | 3.186 | 0.00095494
521 | -14.473 | 2.861 | 0.00085753
521.5 | -14.505 | 2.829 | 0.00084794
522 | -14.522 | 2.812 | 0.00084284
522.5 | -14.4 | 2.934 | 0.00087941
523 | -14.45 | 2.884 | 0.00086442
523.5 | -14.591 | 2.743 | 0.00082216
524 | -14.851 | 2.483 | 0.00074423
524.5 | -15.175 | 2.159 | 0.00064712
525 | -15.467 | 1.867 | 0.0005596
525.5 | -15.926 | 1.408 | 0.00042202
526 | -16.14 | 1.194 | 0.00035788
526.5 | -16.247 | 1.087 | 0.00032581
527 | -16.412 | 0.922 | 0.00027635
527.5 | -16.374 | 0.96 | 0.00028774
528 | -16.352 | 0.982 | 0.00029434
528.5 | -16.633 | 0.701 | 0.00021011
529 | -16.747 | 0.587 | 0.00017594
529.5 | -16.904 | 0.43 | 0.00012888
530 | -16.822 | 0.512 | 0.00015346
530.5 | -16.568 | 0.766 | 0.00022959
531 | -16.183 | 1.151 | 0.00034499
531.5 | -15.828 | 1.506 | 0.00045139
532 | -15.867 | 1.467 | 0.0004397
532.5 | -15.874 | 1.46 | 0.00043761
533 | -15.888 | 1.446 | 0.00043341
533.5 | -15.949 | 1.385 | 0.00041513
534 | -15.571 | 1.763 | 0.00052842
534.5 | -15.195 | 2.139 | 0.00064112
535 | -14.944 | 2.39 | 0.00071636
535.5 | -14.938 | 2.396 | 0.00071815
536 | -15.233 | 2.101 | 0.00062973
536.5 | -15.653 | 1.681 | 0.00050385
537 | -16.115 | 1.219 | 0.00036537
537.5 | -16.135 | 1.199 | 0.00035938
538 | -15.906 | 1.428 | 0.00042801
538.5 | -15.701 | 1.633 | 0.00048946
539 | -15.609 | 1.725 | 0.00051703
539.5 | -15.94 | 1.394 | 0.00041782
540 | -16.274 | 1.06 | 0.00031771
540.5 | -16.333 | 1.001 | 0.00030003
541 | -16.485 | 0.849 | 0.00025447
541.5 | -16.865 | 0.469 | 0.00014057
542 | -17.189 | 0.145 | 4.3461e-05
542.5 | -17.265 | 0.069 | 2.0681e-05
543 | -17.161 | 0.173 | 5.1853e-05
543.5 | -17.285 | 0.049 | 1.4687e-05
544 | -17.628 | 0 | 0
544.5 | -17.926 | 0 | 0
545 | -18.019 | 0 | 0
545.5 | -18.08 | 0 | 0
546 | -18.131 | 0 | 0
546.5 | -17.939 | 0 | 0
547 | -17.516 | 0 | 0
547.5 | -16.926 | 0.408 | 0.00012229
548 | -16.435 | 0.899 | 0.00026946
548.5 | -16.418 | 0.916 | 0.00027455
549 | -16.476 | 0.858 | 0.00025717
549.5 | -16.342 | 0.992 | 0.00029733
550 | -15.974 | 1.36 | 0.00040763
550.5 | -15.802 | 1.532 | 0.00045919
551 | -15.582 | 1.752 | 0.00052513
551.5 | -15.262 | 2.072 | 0.00062104
552 | -14.999 | 2.335 | 0.00069987
552.5 | -14.805 | 2.529 | 0.00075802
553 | -14.979 | 2.355 | 0.00070586
553.5 | -15.122 | 2.212 | 0.000663
554 | -15.095 | 2.239 | 0.0006711
554.5 | -14.737 | 2.597 | 0.0007784
555 | -14.381 | 2.953 | 0.0008851
555.5 | -14.393 | 2.941 | 0.00088151
556 | -14.535 | 2.799 | 0.00083894
556.5 | -14.609 | 2.725 | 0.00081676
557 | -14.866 | 2.468 | 0.00073973
557.5 | -15.251 | 2.083 | 0.00062434
558 | -15.754 | 1.58 | 0.00047357
558.5 | -15.823 | 1.511 | 0.00045289
559 | -15.756 | 1.578 | 0.00047297
559.5 | -15.925 | 1.409 | 0.00042232
560 | -16.255 | 1.079 | 0.00032341
560.5 | -16.441 | 0.893 | 0.00026766
561 | -16.365 | 0.969 | 0.00029044
561.5 | -16.099 | 1.235 | 0.00037017
562 | -15.813 | 1.521 | 0.00045589
562.5 | -15.469 | 1.865 | 0.000559
563 | -15.071 | 2.263 | 0.00067829
563.5 | -14.631 | 2.703 | 0.00081017
564 | -14.242 | 3.092 | 0.00092677
564.5 | -14.062 | 3.272 | 0.00098072
565 | -13.995 | 3.339 | 0.0010008
565.5 | -14.013 | 3.321 | 0.0009954
566 | -14.223 | 3.111 | 0.00093246
566.5 | -14.564 | 2.77 | 0.00083025
567 | -14.832 | 2.502 | 0.00074992
567.5 | -15.249 | 2.085 | 0.00062494
568 | -15.61 | 1.724 | 0.00051673
568.5 | -15.81 | 1.524 | 0.00045679
569 | -16.163 | 1.171 | 0.00035098
569.5 | -16.657 | 0.677 | 0.00020292
570 | -17.051 | 0.283 | 8.4824e-05
570.5 | -17.082 | 0.252 | 7.5532e-05
571 | -17.02 | 0.314 | 9.4115e-05
571.5 | -16.961 | 0.373 | 0.0001118
572 | -16.747 | 0.587 | 0.00017594
572.5 | -16.565 | 0.769 | 0.00023049
573 | -16.568 | 0.766 | 0.00022959
573.5 | -16.587 | 0.747 | 0.0002239
574 | -16.643 | 0.691 | 0.00020711
574.5 | -16.633 | 0.701 | 0.00021011
575 | -16.624 | 0.71 | 0.00021281
575.5 | -16.748 | 0.586 | 0.00017564
576 | -17.079 | 0.255 | 7.6431e-05
576.5 | -17.499 | 0 | 0
577 | -17.513 | 0 | 0
577.5 | -17.513 | 0 | 0
578 | -17.344 | 0 | 0
578.5 | -16.983 | 0.351 | 0.00010521
579 | -16.73 | 0.604 | 0.00018104
579.5 | -16.648 | 0.686 | 0.00020561
580 | -16.619 | 0.715 | 0.00021431
580.5 | -16.541 | 0.793 | 0.00023769
581 | -16.44 | 0.894 | 0.00026796
581.5 | -16.213 | 1.121 | 0.000336
582 | -15.96 | 1.374 | 0.00041183
582.5 | -15.805 | 1.529 | 0.00045829
583 | -15.749 | 1.585 | 0.00047507
583.5 | -15.832 | 1.502 | 0.00045019
584 | -15.934 | 1.4 | 0.00041962
584.5 | -15.686 | 1.648 | 0.00049396
585 | -15.607 | 1.727 | 0.00051763
585.5 | -15.178 | 2.156 | 0.00064622
586 | -14.901 | 2.433 | 0.00072924
586.5 | -14.423 | 2.911 | 0.00087251
587 | -14.057 | 3.277 | 0.00098222
587.5 | -13.762 | 3.572 | 0.0010706
588 | -13.541 | 3.793 | 0.0011369
588.5 | -13.445 | 3.889 | 0.0011657
589 | -13.335 | 3.999 | 0.0011986
589.5 | -13.293 | 4.041 | 0.0012112
590 | -13.684 | 3.65 | 0.001094
590.5 | -13.943 | 3.391 | 0.0010164
591 | -14.44 | 2.894 | 0.00086742
591.5 | -14.657 | 2.677 | 0.00080238
592 | -14.738 | 2.596 | 0.0007781
592.5 | -14.771 | 2.563 | 0.00076821
593 | -14.804 | 2.53 | 0.00075832
593.5 | -15.039 | 2.295 | 0.00068788
594 | -15.116 | 2.218 | 0.0006648
594.5 | -15.024 | 2.31 | 0.00069238
595 | -14.945 | 2.389 | 0.00071606
595.5 | -14.981 | 2.353 | 0.00070527
596 | -14.808 | 2.526 | 0.00075712
596.5 | -14.599 | 2.735 | 0.00081976
597 | -14.648 | 2.686 | 0.00080508
597.5 | -14.709 | 2.625 | 0.00078679
598 | -15.007 | 2.327 | 0.00069747
598.5 | -15.259 | 2.075 | 0.00062194
599 | -15.377 | 1.957 | 0.00058657
599.5 | -15.776 | 1.558 | 0.00046698
600 | -16.186 | 1.148 | 0.00034409
600.5 | -16.389 | 0.945 | 0.00028325
601 | -16.488 | 0.846 | 0.00025357
601.5 | -16.724 | 0.61 | 0.00018284
602 | -16.678 | 0.656 | 0.00019662
602.5 | -16.735 | 0.599 | 0.00017954
603 | -16.897 | 0.437 | 0.00013098
603.5 | -16.889 | 0.445 | 0.00013338
604 | -16.716 | 0.618 | 0.00018523
604.5 | -16.468 | 0.866 | 0.00025957
605 | -15.936 | 1.398 | 0.00041902
605.5 | -15.81 | 1.524 | 0.00045679
606 | -15.72 | 1.614 | 0.00048376
606.5 | -15.439 | 1.895 | 0.00056799
607 | -15.011 | 2.323 | 0.00069627
607.5 | -14.782 | 2.552 | 0.00076491
608 | -14.897 | 2.437 | 0.00073044
608.5 | -15.116 | 2.218 | 0.0006648
609 | -15.528 | 1.806 | 0.00054131
609.5 | -16.103 | 1.231 | 0.00036897
610 | -16.659 | 0.675 | 0.00020232
610.5 | -17.322 | 0.012 | 3.5968e-06
611 | -17.444 | 0 | 0
611.5 | -17.666 | 0 | 0
612 | -17.818 | 0 | 0
612.5 | -18.028 | 0 | 0
613 | -17.786 | 0 | 0
613.5 | -17.299 | 0.035 | 1.0491e-05
614 | -16.628 | 0.706 | 0.00021161
614.5 | -16.098 | 1.236 | 0.00037047
615 | -15.603 | 1.731 | 0.00051883
615.5 | -15.09 | 2.244 | 0.00067259
616 | -14.853 | 2.481 | 0.00074363
616.5 | -14.618 | 2.716 | 0.00081407
617 | -14.438 | 2.896 | 0.00086802
617.5 | -14.966 | 2.368 | 0.00070976
618 | -15.555 | 1.779 | 0.00053322
618.5 | -15.674 | 1.66 | 0.00049755
619 | -15.673 | 1.661 | 0.00049785
619.5 | -15.687 | 1.647 | 0.00049366
620 | -15.496 | 1.838 | 0.0005509
620.5 | -15.304 | 2.03 | 0.00060845
621 | -14.972 | 2.362 | 0.00070796
621.5 | -14.675 | 2.659 | 0.00079698
622 | -14.665 | 2.669 | 0.00079998
622.5 | -14.374 | 2.96 | 0.0008872
623 | -13.971 | 3.363 | 0.001008
623.5 | -13.84 | 3.494 | 0.0010473
624 | -14.215 | 3.119 | 0.00093486
624.5 | -14.521 | 2.813 | 0.00084314
625 | -14.892 | 2.442 | 0.00073194
625.5 | -15.366 | 1.968 | 0.00058987
626 | -15.875 | 1.459 | 0.00043731
626.5 | -16.018 | 1.316 | 0.00039444
627 | -16.049 | 1.285 | 0.00038515
627.5 | -15.914 | 1.42 | 0.00042562
628 | -15.785 | 1.549 | 0.00046428
628.5 | -15.791 | 1.543 | 0.00046248
629 | -15.938 | 1.396 | 0.00041842
629.5 | -15.632 | 1.702 | 0.00051014
630 | -15.292 | 2.042 | 0.00061205
630.5 | -14.844 | 2.49 | 0.00074633
631 | -14.278 | 3.056 | 0.00091598
631.5 | -14.18 | 3.154 | 0.00094535
632 | -14.216 | 3.118 | 0.00093456
632.5 | -14.306 | 3.028 | 0.00090758
633 | -14.4 | 2.934 | 0.00087941
633.5 | -14.528 | 2.806 | 0.00084104
634 | -14.653 | 2.681 | 0.00080358
634.5 | -14.516 | 2.818 | 0.00084464
635 | -14.719 | 2.615 | 0.00078379
635.5 | -15.231 | 2.103 | 0.00063033
636 | -15.791 | 1.543 | 0.00046248
636.5 | -16.434 | 0.9 | 0.00026976
637 | -16.965 | 0.369 | 0.0001106
637.5 | -17.216 | 0.118 | 3.5368e-05
638 | -17.487 | 0 | 0
638.5 | -17.512 | 0 | 0
639 | -17.162 | 0.172 | 5.1554e-05
639.5 | -17.136 | 0.198 | 5.9347e-05
640 | -17.553 | 0 | 0
640.5 | -17.666 | 0 | 0
641 | -17.551 | 0 | 0
641.5 | -17.333 | 0.001 | 2.9973e-07
642 | -17.187 | 0.147 | 4.406e-05
642.5 | -17.197 | 0.137 | 4.1063e-05
643 | -16.946 | 0.388 | 0.0001163
643.5 | -16.58 | 0.754 | 0.000226
644 | -16.583 | 0.751 | 0.0002251
644.5 | -16.931 | 0.403 | 0.00012079
645 | -16.769 | 0.565 | 0.00016935
645.5 | -16.45 | 0.884 | 0.00026496
646 | -16.006 | 1.328 | 0.00039804
646.5 | -15.248 | 2.086 | 0.00062524
647 | -14.933 | 2.401 | 0.00071965
647.5 | -14.678 | 2.656 | 0.00079608
648 | -14.613 | 2.721 | 0.00081557
648.5 | -14.754 | 2.58 | 0.0007733
649 | -14.778 | 2.556 | 0.00076611
649.5 | -14.738 | 2.596 | 0.0007781
650 | -14.558 | 2.776 | 0.00083205
650.5 | -14.472 | 2.862 | 0.00085783
651 | -14.628 | 2.706 | 0.00081107
651.5 | -14.897 | 2.437 | 0.00073044
652 | -15.058 | 2.276 | 0.00068219
652.5 | -14.954 | 2.38 | 0.00071336
653 | -14.626 | 2.708 | 0.00081167
653.5 | -14.718 | 2.616 | 0.00078409
654 | -15.029 | 2.305 | 0.00069088
654.5 | -14.895 | 2.439 | 0.00073104
655 | -14.919 | 2.415 | 0.00072385
655.5 | -14.954 | 2.38 | 0.00071336
656 | -14.996 | 2.338 | 0.00070077
656.5 | -15.15 | 2.184 | 0.00065461
657 | -15.271 | 2.063 | 0.00061834
657.5 | -15.226 | 2.108 | 0.00063183
658 | -15.523 | 1.811 | 0.00054281
658.5 | -15.627 | 1.707 | 0.00051164
659 | -15.361 | 1.973 | 0.00059137
659.5 | -15.213 | 2.121 | 0.00063573
660 | -15.315 | 2.019 | 0.00060516
660.5 | -15.534 | 1.8 | 0.00053951
661 | -15.834 | 1.5 | 0.0004496
661.5 | -16.06 | 1.274 | 0.00038186
662 | -16.289 | 1.045 | 0.00031322
662.5 | -16.407 | 0.927 | 0.00027785
663 | -16.56 | 0.774 | 0.00023199
663.5 | -16.55 | 0.784 | 0.00023499
664 | -16.393 | 0.941 | 0.00028205
664.5 | -16.393 | 0.941 | 0.00028205
665 | -16.227 | 1.107 | 0.0003318
665.5 | -16.463 | 0.871 | 0.00026106
666 | -16.321 | 1.013 | 0.00030363
666.5 | -16.449 | 0.885 | 0.00026526
667 | -16.44 | 0.894 | 0.00026796
667.5 | -16.493 | 0.841 | 0.00025207
668 | -16.737 | 0.597 | 0.00017894
668.5 | -16.814 | 0.52 | 0.00015586
669 | -17.317 | 0.017 | 5.0954e-06
669.5 | -18.052 | 0 | 0
670 | -18.605 | 0 | 0
670.5 | -18.502 | 0 | 0
671 | -18.346 | 0 | 0
671.5 | -18.084 | 0 | 0
672 | -17.741 | 0 | 0
672.5 | -17.47 | 0 | 0
673 | -16.982 | 0.352 | 0.00010551
673.5 | -16.718 | 0.616 | 0.00018463
674 | -16.311 | 1.023 | 0.00030662
674.5 | -15.587 | 1.747 | 0.00052363
675 | -14.818 | 2.516 | 0.00075412
675.5 | -14.417 | 2.917 | 0.00087431
676 | -14.436 | 2.898 | 0.00086862
676.5 | -14.676 | 2.658 | 0.00079668
677 | -14.953 | 2.381 | 0.00071366
677.5 | -15.365 | 1.969 | 0.00059017
678 | -15.658 | 1.676 | 0.00050235
678.5 | -15.77 | 1.564 | 0.00046878
679 | -16.07 | 1.264 | 0.00037886
679.5 | -16.429 | 0.905 | 0.00027126
680 | -16.697 | 0.637 | 0.00019093
680.5 | -16.628 | 0.706 | 0.00021161
681 | -16.722 | 0.612 | 0.00018343
681.5 | -16.505 | 0.829 | 0.00024848
682 | -16.267 | 1.067 | 0.00031981
682.5 | -15.871 | 1.463 | 0.00043851
683 | -15.839 | 1.495 | 0.0004481
683.5 | -15.961 | 1.373 | 0.00041153
684 | -16.057 | 1.277 | 0.00038276
684.5 | -16.025 | 1.309 | 0.00039235
685 | -16.413 | 0.921 | 0.00027605
685.5 | -16.923 | 0.411 | 0.00012319
686 | -17.038 | 0.296 | 8.872e-05
686.5 | -16.998 | 0.336 | 0.00010071
687 | -17.044 | 0.29 | 8.6922e-05
687.5 | -17.134 | 0.2 | 5.9946e-05
688 | -17.35 | 0 | 0
688.5 | -17.655 | 0 | 0
689 | -17.712 | 0 | 0
689.5 | -17.745 | 0 | 0
690 | -17.709 | 0 | 0
690.5 | -17.715 | 0 | 0
691 | -17.472 | 0 | 0
691.5 | -17.558 | 0 | 0
692 | -17.752 | 0 | 0
692.5 | -17.453 | 0 | 0
693 | -16.941 | 0.393 | 0.00011779
693.5 | -16.42 | 0.914 | 0.00027395
694 | -16.472 | 0.862 | 0.00025837
694.5 | -16.473 | 0.861 | 0.00025807
695 | -16.255 | 1.079 | 0.00032341
695.5 | -16.191 | 1.143 | 0.00034259
696 | -16.302 | 1.032 | 0.00030932
696.5 | -16.251 | 1.083 | 0.00032461
697 | -16.025 | 1.309 | 0.00039235
697.5 | -16.39 | 0.944 | 0.00028295
698 | -16.723 | 0.611 | 0.00018314
698.5 | -16.633 | 0.701 | 0.00021011
699 | -16.075 | 1.259 | 0.00037736
699.5 | -15.87 | 1.464 | 0.0004388
700 | -15.631 | 1.703 | 0.00051044
700.5 | -15.12 | 2.214 | 0.0006636
701 | -14.635 | 2.699 | 0.00080897
701.5 | -14.415 | 2.919 | 0.00087491
702 | -14.275 | 3.059 | 0.00091687
702.5 | -14.057 | 3.277 | 0.00098222
703 | -13.896 | 3.438 | 0.0010305
703.5 | -14.104 | 3.23 | 0.00096813
704 | -14.399 | 2.935 | 0.00087971
704.5 | -14.821 | 2.513 | 0.00075322
705 | -15.426 | 1.908 | 0.00057189
705.5 | -15.628 | 1.706 | 0.00051134
706 | -15.918 | 1.416 | 0.00042442
706.5 | -15.747 | 1.587 | 0.00047567
707 | -15.792 | 1.542 | 0.00046218
707.5 | -15.653 | 1.681 | 0.00050385
708 | -15.605 | 1.729 | 0.00051823
708.5 | -15.5 | 1.834 | 0.00054971
709 | -14.982 | 2.352 | 0.00070497
709.5 | -14.302 | 3.032 | 0.00090878
710 | -14.197 | 3.137 | 0.00094025
710.5 | -14.583 | 2.751 | 0.00082456
711 | -14.809 | 2.525 | 0.00075682
711.5 | -15.17 | 2.164 | 0.00064862
712 | -15.336 | 1.998 | 0.00059886
712.5 | -15.479 | 1.855 | 0.000556
713 | -15.441 | 1.893 | 0.00056739
713.5 | -15.299 | 2.035 | 0.00060995
714 | -15.671 | 1.663 | 0.00049845
714.5 | -15.701 | 1.633 | 0.00048946
715 | -15.635 | 1.699 | 0.00050924
715.5 | -15.454 | 1.88 | 0.00056349
716 | -15.224 | 2.11 | 0.00063243
716.5 | -15.144 | 2.19 | 0.00065641
717 | -15.365 | 1.969 | 0.00059017
717.5 | -15.705 | 1.629 | 0.00048826
718 | -16.053 | 1.281 | 0.00038395
718.5 | -16.317 | 1.017 | 0.00030483
719 | -16.536 | 0.798 | 0.00023918
719.5 | -16.644 | 0.69 | 0.00020681
720 | -16.505 | 0.829 | 0.00024848
720.5 | -16.276 | 1.058 | 0.00031711
721 | -16.096 | 1.238 | 0.00037107
721.5 | -16.081 | 1.253 | 0.00037556
722 | -15.974 | 1.36 | 0.00040763
722.5 | -16.131 | 1.203 | 0.00036058
723 | -16.069 | 1.265 | 0.00037916
723.5 | -15.641 | 1.693 | 0.00050744
724 | -15.452 | 1.882 | 0.00056409
724.5 | -15.432 | 1.902 | 0.00057009
725 | -15.921 | 1.413 | 0.00042352
725.5 | -16.485 | 0.849 | 0.00025447
726 | -16.903 | 0.431 | 0.00012918
726.5 | -16.973 | 0.361 | 0.0001082
727 | -16.803 | 0.531 | 0.00015916
727.5 | -16.505 | 0.829 | 0.00024848
728 | -16.758 | 0.576 | 0.00017264
728.5 | -17.095 | 0.239 | 7.1636e-05
729 | -17.305 | 0.029 | 8.6922e-06
729.5 | -17.159 | 0.175 | 5.2453e-05
730 | -16.658 | 0.676 | 0.00020262
730.5 | -16.212 | 1.122 | 0.0003363
731 | -15.842 | 1.492 | 0.0004472
731.5 | -15.659 | 1.675 | 0.00050205
732 | -15.484 | 1.85 | 0.0005545
732.5 | -15.41 | 1.924 | 0.00057668
733 | -15.19 | 2.144 | 0.00064262
733.5 | -14.765 | 2.569 | 0.00077001
734 | -14.703 | 2.631 | 0.00078859
734.5 | -14.96 | 2.374 | 0.00071156
735 | -15.373 | 1.961 | 0.00058777
735.5 | -15.55 | 1.784 | 0.00053472
736 | -15.785 | 1.549 | 0.00046428
736.5 | -15.969 | 1.365 | 0.00040913
737 | -15.956 | 1.378 | 0.00041303
737.5 | -16.068 | 1.266 | 0.00037946
738 | -16.562 | 0.772 | 0.00023139
738.5 | -16.945 | 0.389 | 0.0001166
739 | -17.09 | 0.244 | 7.3134e-05
739.5 | -16.875 | 0.459 | 0.00013758
740 | -17.006 | 0.328 | 9.8311e-05
740.5 | -17.188 | 0.146 | 4.3761e-05
741 | -16.913 | 0.421 | 0.00012619
741.5 | -16.538 | 0.796 | 0.00023859
742 | -16.333 | 1.001 | 0.00030003
742.5 | -16.015 | 1.319 | 0.00039534
743 | -15.741 | 1.593 | 0.00047747
743.5 | -15.416 | 1.918 | 0.00057488
744 | -15.355 | 1.979 | 0.00059317
744.5 | -15.443 | 1.891 | 0.00056679
745 | -15.403 | 1.931 | 0.00057878
745.5 | -15.119 | 2.215 | 0.0006639
746 | -15.468 | 1.866 | 0.0005593
746.5 | -16.055 | 1.279 | 0.00038335
747 | -16.719 | 0.615 | 0.00018433
747.5 | -17.335 | 0 | 0
748 | -17.538 | 0 | 0
748.5 | -17.262 | 0.072 | 2.1581e-05
749 | -17.149 | 0.185 | 5.545e-05
749.5 | -17.258 | 0.076 | 2.2779e-05
750 | -17.407 | 0 | 0
750.5 | -17.437 | 0 | 0
751 | -17.348 | 0 | 0
751.5 | -17.215 | 0.119 | 3.5668e-05
752 | -17.062 | 0.272 | 8.1527e-05
752.5 | -16.887 | 0.447 | 0.00013398
753 | -16.981 | 0.353 | 0.0001058
753.5 | -16.991 | 0.343 | 0.00010281
754 | -16.302 | 1.032 | 0.00030932
754.5 | -15.563 | 1.771 | 0.00053082
755 | -15.305 | 2.029 | 0.00060815
755.5 | -15.249 | 2.085 | 0.00062494
756 | -14.729 | 2.605 | 0.0007808
756.5 | -14.309 | 3.025 | 0.00090668
757 | -14.105 | 3.229 | 0.00096783
757.5 | -14.241 | 3.093 | 0.00092707
758 | -14.314 | 3.02 | 0.00090519
758.5 | -14.654 | 2.68 | 0.00080328
759 | -15.031 | 2.303 | 0.00069028
759.5 | -15.334 | 2 | 0.00059946
760 | -15.29 | 2.044 | 0.00061265
760.5 | -15.443 | 1.891 | 0.00056679
761 | -15.588 | 1.746 | 0.00052333
761.5 | -15.751 | 1.583 | 0.00047447
762 | -15.674 | 1.66 | 0.00049755
762.5 | -15.593 | 1.741 | 0.00052183
763 | -15.373 | 1.961 | 0.00058777
763.5 | -15.162 | 2.172 | 0.00065101
764 | -15.114 | 2.22 | 0.0006654
764.5 | -15.472 | 1.862 | 0.0005581
765 | -15.357 | 1.977 | 0.00059257
765.5 | -15.261 | 2.073 | 0.00062134
766 | -15.027 | 2.307 | 0.00069148
766.5 | -14.657 | 2.677 | 0.00080238
767 | -14.606 | 2.728 | 0.00081766
767.5 | -14.826 | 2.508 | 0.00075172
768 | -15.012 | 2.322 | 0.00069597
768.5 | -15.167 | 2.167 | 0.00064952
769 | -14.909 | 2.425 | 0.00072685
769.5 | -14.461 | 2.873 | 0.00086112
770 | -14.025 | 3.309 | 0.00099181
770.5 | -13.716 | 3.618 | 0.0010844
771 | -13.413 | 3.921 | 0.0011752
771.5 | -13.358 | 3.976 | 0.0011917
772 | -13.07 | 4.264 | 0.001278
772.5 | -12.713 | 4.621 | 0.0013851
773 | -12.474 | 4.86 | 0.0014567
773.5 | -12.506 | 4.828 | 0.0014471
774 | -12.919 | 4.415 | 0.0013233
774.5 | -12.907 | 4.427 | 0.0013269
775 | -13.013 | 4.321 | 0.0012951
775.5 | -13.101 | 4.233 | 0.0012688
776 | -13.178 | 4.156 | 0.0012457
776.5 | -13.336 | 3.998 | 0.0011983
777 | -13.439 | 3.895 | 0.0011674
777.5 | -13.679 | 3.655 | 0.0010955
778 | -13.669 | 3.665 | 0.0010985
778.5 | -13.327 | 4.007 | 0.001201
779 | -13.681 | 3.653 | 0.0010949
779.5 | -13.782 | 3.552 | 0.0010646
780 | -13.876 | 3.458 | 0.0010365
780.5 | -13.941 | 3.393 | 0.001017
781 | -13.44 | 3.894 | 0.0011671
781.5 | -12.651 | 4.683 | 0.0014036
782 | -11.809 | 5.525 | 0.001656
782.5 | -11.443 | 5.891 | 0.0017657
783 | -10.948 | 6.386 | 0.0019141
783.5 | -10.662 | 6.672 | 0.0019998
784 | -10.337 | 6.997 | 0.0020972
784.5 | -9.786 | 7.548 | 0.0022624
785 | -8.8137 | 8.5203 | 0.0025538
785.5 | -8.2902 | 9.0438 | 0.0027107
786 | -8.4442 | 8.8898 | 0.0026645
786.5 | -8.6523 | 8.6817 | 0.0026022
787 | -8.3023 | 9.0317 | 0.0027071
787.5 | -8.2469 | 9.0871 | 0.0027237
788 | -7.914 | 9.42 | 0.0028235
788.5 | -7.5695 | 9.7645 | 0.0029267
789 | -7.479 | 9.855 | 0.0029538
789.5 | -7.5899 | 9.7441 | 0.0029206
790 | -7.3592 | 9.9748 | 0.0029897
790.5 | -6.9248 | 10.4092 | 0.00312
791 | -6.6625 | 10.6715 | 0.0031986
791.5 | -6.1506 | 11.1834 | 0.003352
792 | -5.5798 | 11.7542 | 0.0035231
792.5 | -5.4492 | 11.8848 | 0.0035622
793 | -5.3361 | 11.9979 | 0.0035961
793.5 | -4.8694 | 12.4646 | 0.003736
794 | -4.3834 | 12.9506 | 0.0038817
794.5 | -4.3959 | 12.9381 | 0.0038779
795 | -4.5895 | 12.7445 | 0.0038199
795.5 | -4.6729 | 12.6611 | 0.0037949
796 | -4.995 | 12.339 | 0.0036984
796.5 | -4.824 | 12.51 | 0.0037496
797 | -3.992 | 13.342 | 0.003999
797.5 | -3.4137 | 13.9203 | 0.0041723
798 | -3.0701 | 14.2639 | 0.0042753
798.5 | -3.055 | 14.279 | 0.0042798
799 | -3.1273 | 14.2067 | 0.0042582
799.5 | -2.8964 | 14.4376 | 0.0043274
800 | -2.5664 | 14.7676 | 0.0044263
800.5 | -1.9285 | 15.4055 | 0.0046175
801 | -1.4653 | 15.8687 | 0.0047563
801.5 | -1.2599 | 16.0741 | 0.0048179
802 | -1.5728 | 15.7612 | 0.0047241
802.5 | -1.82 | 15.514 | 0.00465
803 | -1.9868 | 15.3472 | 0.0046
803.5 | -1.4337 | 15.9003 | 0.0047658
804 | -1.0192 | 16.3148 | 0.00489
804.5 | -0.50862 | 16.8254 | 0.0050431
805 | -0.3921 | 16.9419 | 0.005078
805.5 | -0.56481 | 16.7692 | 0.0050262
806 | -0.78871 | 16.5453 | 0.0049591
806.5 | -0.52209 | 16.8119 | 0.005039
807 | -0.36979 | 16.9642 | 0.0050847
807.5 | 0.26915 | 17.6031 | 0.0052762
808 | 0.23502 | 17.569 | 0.005266
808.5 | 0.092227 | 17.4262 | 0.0052232
809 | -0.17521 | 17.1588 | 0.005143
809.5 | -0.70779 | 16.6262 | 0.0049834
810 | -1.3731 | 15.9609 | 0.004784
810.5 | -1.8551 | 15.4789 | 0.0046395
811 | -2.3343 | 14.9997 | 0.0044959
811.5 | -2.5143 | 14.8197 | 0.0044419
812 | -2.9393 | 14.3947 | 0.0043145
812.5 | -3.4718 | 13.8622 | 0.0041549
813 | -4.209 | 13.125 | 0.003934
813.5 | -4.6594 | 12.6746 | 0.003799
814 | -4.9404 | 12.3936 | 0.0037147
814.5 | -4.9009 | 12.4331 | 0.0037266
815 | -4.899 | 12.435 | 0.0037271
815.5 | -4.8548 | 12.4792 | 0.0037404
816 | -5.1022 | 12.2318 | 0.0036662
816.5 | -5.3691 | 11.9649 | 0.0035862
817 | -5.4279 | 11.9061 | 0.0035686
817.5 | -5.3474 | 11.9866 | 0.0035927
818 | -5.5519 | 11.7821 | 0.0035315
818.5 | -5.8766 | 11.4574 | 0.0034341
819 | -5.766 | 11.568 | 0.0034673
819.5 | -5.7755 | 11.5585 | 0.0034644
820 | -5.9577 | 11.3763 | 0.0034098
820.5 | -6.0517 | 11.2823 | 0.0033816
821 | -6.268 | 11.066 | 0.0033168
821.5 | -6.2043 | 11.1297 | 0.0033359
822 | -6.3164 | 11.0176 | 0.0033023
822.5 | -6.3445 | 10.9895 | 0.0032939
823 | -6.2398 | 11.0942 | 0.0033253
823.5 | -6.6047 | 10.7293 | 0.0032159
824 | -6.6282 | 10.7058 | 0.0032089
824.5 | -7.0794 | 10.2546 | 0.0030736
825 | -7.324 | 10.01 | 0.0030003
825.5 | -7.6814 | 9.6526 | 0.0028932
826 | -8.0204 | 9.3136 | 0.0027916
826.5 | -8.3032 | 9.0308 | 0.0027068
827 | -8.693 | 8.641 | 0.00259
827.5 | -9.026 | 8.308 | 0.0024902
828 | -9.4578 | 7.8762 | 0.0023607
828.5 | -9.9537 | 7.3803 | 0.0022121
829 | -10.063 | 7.271 | 0.0021793
829.5 | -10.009 | 7.325 | 0.0021955
830 | -9.9961 | 7.3379 | 0.0021994
830.5 | -10.014 | 7.32 | 0.002194
831 | -9.928 | 7.406 | 0.0022198
831.5 | -10.065 | 7.269 | 0.0021787
832 | -10.075 | 7.259 | 0.0021757
832.5 | -10.118 | 7.216 | 0.0021629
833 | -10.178 | 7.156 | 0.0021449
833.5 | -10.399 | 6.935 | 0.0020786
834 | -10.618 | 6.716 | 0.002013
834.5 | -10.667 | 6.667 | 0.0019983
835 | -10.668 | 6.666 | 0.001998
835.5 | -10.625 | 6.709 | 0.0020109
836 | -10.899 | 6.435 | 0.0019288
836.5 | -11.322 | 6.012 | 0.001802
837 | -11.159 | 6.175 | 0.0018508
837.5 | -11.065 | 6.269 | 0.001879
838 | -11.406 | 5.928 | 0.0017768
838.5 | -11.736 | 5.598 | 0.0016779
839 | -12.12 | 5.214 | 0.0015628
839.5 | -12.42 | 4.914 | 0.0014729
840 | -12.613 | 4.721 | 0.001415
840.5 | -12.323 | 5.011 | 0.0015019
841 | -12.4 | 4.934 | 0.0014789
841.5 | -12.421 | 4.913 | 0.0014726
842 | -12.459 | 4.875 | 0.0014612
842.5 | -12.005 | 5.329 | 0.0015973
843 | -11.643 | 5.691 | 0.0017058
843.5 | -11.063 | 6.271 | 0.0018796
844 | -10.763 | 6.571 | 0.0019695
844.5 | -10.862 | 6.472 | 0.0019399
845 | -10.879 | 6.455 | 0.0019348
845.5 | -11.332 | 6.002 | 0.001799
846 | -11.572 | 5.762 | 0.001727
846.5 | -11.621 | 5.713 | 0.0017124
847 | -11.749 | 5.585 | 0.001674
847.5 | -12.245 | 5.089 | 0.0015253
848 | -12.772 | 4.562 | 0.0013674
848.5 | -12.807 | 4.527 | 0.0013569
849 | -12.62 | 4.714 | 0.0014129
849.5 | -12.342 | 4.992 | 0.0014963
850 | -11.814 | 5.52 | 0.0016545
850.5 | -11.61 | 5.724 | 0.0017157
851 | -12.004 | 5.33 | 0.0015976
851.5 | -12.332 | 5.002 | 0.0014993
852 | -11.373 | 5.961 | 0.0017867
852.5 | -10.878 | 6.456 | 0.0019351
853 | -11.218 | 6.116 | 0.0018331
853.5 | -11.564 | 5.77 | 0.0017294
854 | -11.826 | 5.508 | 0.0016509
854.5 | -12.29 | 5.044 | 0.0015118
855 | -12.022 | 5.312 | 0.0015922
855.5 | -11.9 | 5.434 | 0.0016287
856 | -12.834 | 4.5 | 0.0013488
856.5 | -13.782 | 3.552 | 0.0010646
857 | -14.112 | 3.222 | 0.00096573
857.5 | -13.952 | 3.382 | 0.0010137
858 | -13.969 | 3.365 | 0.0010086
858.5 | -13.781 | 3.553 | 0.0010649
859 | -13.794 | 3.54 | 0.001061
859.5 | -13.813 | 3.521 | 0.0010553
860 | -13.356 | 3.978 | 0.0011923
860.5 | -13.077 | 4.257 | 0.001276
861 | -13.044 | 4.29 | 0.0012858
861.5 | -13.439 | 3.895 | 0.0011674
862 | -13.748 | 3.586 | 0.0010748
862.5 | -13.662 | 3.672 | 0.0011006
863 | -14.13 | 3.204 | 0.00096034
863.5 | -14.434 | 2.9 | 0.00086922
864 | -14.613 | 2.721 | 0.00081557
864.5 | -14.865 | 2.469 | 0.00074003
865 | -14.873 | 2.461 | 0.00073764
865.5 | -14.391 | 2.943 | 0.00088211
866 | -13.902 | 3.432 | 0.0010287
866.5 | -14.037 | 3.297 | 0.00098821
867 | -13.77 | 3.564 | 0.0010682
867.5 | -13.563 | 3.771 | 0.0011303
868 | -13.495 | 3.839 | 0.0011507
868.5 | -13.336 | 3.998 | 0.0011983
869 | -13.358 | 3.976 | 0.0011917
869.5 | -13.115 | 4.219 | 0.0012646
870 | -12.682 | 4.652 | 0.0013943
870.5 | -12.285 | 5.049 | 0.0015133
871 | -11.863 | 5.471 | 0.0016398
871.5 | -11.425 | 5.909 | 0.0017711
872 | -10.918 | 6.416 | 0.0019231
872.5 | -10.64 | 6.694 | 0.0020064
873 | -10.046 | 7.288 | 0.0021844
873.5 | -9.8787 | 7.4553 | 0.0022346
874 | -10.598 | 6.736 | 0.002019
874.5 | -11.376 | 5.958 | 0.0017858
875 | -11.918 | 5.416 | 0.0016233
875.5 | -11.745 | 5.589 | 0.0016752
876 | -11.968 | 5.366 | 0.0016084
876.5 | -12.341 | 4.993 | 0.0014966
877 | -12.859 | 4.475 | 0.0013413
877.5 | -13.493 | 3.841 | 0.0011513
878 | -13.913 | 3.421 | 0.0010254
878.5 | -14.092 | 3.242 | 0.00097173
879 | -14.149 | 3.185 | 0.00095464
879.5 | -14.731 | 2.603 | 0.0007802
880 | -15.057 | 2.277 | 0.00068249
880.5 | -15.071 | 2.263 | 0.00067829
881 | -15.518 | 1.816 | 0.00054431
881.5 | -15.59 | 1.744 | 0.00052273
882 | -15.178 | 2.156 | 0.00064622
882.5 | -14.681 | 2.653 | 0.00079518
883 | -14.462 | 2.872 | 0.00086083
883.5 | -13.118 | 4.216 | 0.0012637
884 | -16.341 | 0.993 | 0.00029763
884.5 | -16.991 | 0.343 | 0.00010281
885 | -1.9203 | 15.4137 | 0.00462
885.5 | -8.1417 | 9.1923 | 0.0027552
886 | -41.672 | 0 | 0
886.5 | 0.052176 | 17.3862 | 0.0052112