## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 2.6803 | 0 | 0
246.5 | 3.0115 | 0 | 0
247 | 3.5016 | 0.4901 | 0.00015331
247.5 | 2.64 | 0 | 0
248 | 3.2108 | 0.1993 | 6.2344e-05
248.5 | 3.4173 | 0.4058 | 0.00012694
249 | 3.251 | 0.2395 | 7.4919e-05
249.5 | 3.5051 | 0.4936 | 0.0001544
250 | 2.5904 | 0 | 0
250.5 | 2.5076 | 0 | 0
251 | 3.1649 | 0.1534 | 4.7986e-05
251.5 | 2.8486 | 0 | 0
252 | 2.2503 | 0 | 0
252.5 | 3.0344 | 0.0229 | 7.1634e-06
253 | 4.0987 | 1.0872 | 0.00034009
253.5 | 4.874 | 1.8625 | 0.00058262
254 | 4.0456 | 1.0341 | 0.00032348
254.5 | 3.7888 | 0.7773 | 0.00024315
255 | 4.1404 | 1.1289 | 0.00035314
255.5 | 3.6588 | 0.6473 | 0.00020248
256 | 3.9997 | 0.9882 | 0.00030912
256.5 | 4.0981 | 1.0866 | 0.0003399
257 | 3.9029 | 0.8914 | 0.00027884
257.5 | 4.2039 | 1.1924 | 0.000373
258 | 4.392 | 1.3805 | 0.00043184
258.5 | 4.3886 | 1.3771 | 0.00043078
259 | 4.2649 | 1.2534 | 0.00039208
259.5 | 4.2436 | 1.2321 | 0.00038542
260 | 4.1812 | 1.1697 | 0.0003659
260.5 | 4.1186 | 1.1071 | 0.00034632
261 | 4.0953 | 1.0838 | 0.00033903
261.5 | 4.0405 | 1.029 | 0.00032189
262 | 4.0203 | 1.0088 | 0.00031557
262.5 | 3.9554 | 0.9439 | 0.00029527
263 | 3.8568 | 0.8453 | 0.00026442
263.5 | 3.7703 | 0.7588 | 0.00023736
264 | 3.6779 | 0.6664 | 0.00020846
264.5 | 3.6397 | 0.6282 | 0.00019651
265 | 3.6603 | 0.6488 | 0.00020295
265.5 | 3.727 | 0.7155 | 0.00022382
266 | 3.7997 | 0.7882 | 0.00024656
266.5 | 3.8097 | 0.7982 | 0.00024969
267 | 3.8554 | 0.8439 | 0.00026398
267.5 | 3.9234 | 0.9119 | 0.00028526
268 | 3.912 | 0.9005 | 0.00028169
268.5 | 3.8643 | 0.8528 | 0.00026677
269 | 3.796 | 0.7845 | 0.0002454
269.5 | 3.8437 | 0.8322 | 0.00026032
270 | 3.8641 | 0.8526 | 0.00026671
270.5 | 3.8766 | 0.8651 | 0.00027062
271 | 3.7816 | 0.7701 | 0.0002409
271.5 | 3.6859 | 0.6744 | 0.00021096
272 | 3.5879 | 0.5764 | 0.00018031
272.5 | 3.4058 | 0.3943 | 0.00012334
273 | 3.24 | 0.2285 | 7.1478e-05
273.5 | 3.1888 | 0.1773 | 5.5462e-05
274 | 3.0592 | 0.0477 | 1.4921e-05
274.5 | 3.0286 | 0.0171 | 5.3491e-06
275 | 3.1225 | 0.111 | 3.4722e-05
275.5 | 3.1874 | 0.1759 | 5.5024e-05
276 | 3.1565 | 0.145 | 4.5358e-05
276.5 | 3.1273 | 0.1158 | 3.6224e-05
277 | 3.1471 | 0.1356 | 4.2418e-05
277.5 | 3.1956 | 0.1841 | 5.7589e-05
278 | 3.2164 | 0.2049 | 6.4096e-05
278.5 | 3.2539 | 0.2424 | 7.5826e-05
279 | 3.4004 | 0.3889 | 0.00012165
279.5 | 3.5277 | 0.5162 | 0.00016147
280 | 3.5124 | 0.5009 | 0.00015669
280.5 | 3.4672 | 0.4557 | 0.00014255
281 | 3.4186 | 0.4071 | 0.00012735
281.5 | 3.3976 | 0.3861 | 0.00012078
282 | 3.4045 | 0.393 | 0.00012294
282.5 | 3.4161 | 0.4046 | 0.00012656
283 | 3.4563 | 0.4448 | 0.00013914
283.5 | 3.4869 | 0.4754 | 0.00014871
284 | 3.442 | 0.4305 | 0.00013467
284.5 | 3.4015 | 0.39 | 0.000122
285 | 3.3922 | 0.3807 | 0.00011909
285.5 | 3.2813 | 0.2698 | 8.4397e-05
286 | 3.2809 | 0.2694 | 8.4272e-05
286.5 | 3.3711 | 0.3596 | 0.00011249
287 | 3.5193 | 0.5078 | 0.00015885
287.5 | 3.6405 | 0.629 | 0.00019676
288 | 3.5677 | 0.5562 | 0.00017399
288.5 | 3.4328 | 0.4213 | 0.00013179
289 | 3.3487 | 0.3372 | 0.00010548
289.5 | 3.2281 | 0.2166 | 6.7755e-05
290 | 3.0549 | 0.0434 | 1.3576e-05
290.5 | 3.0184 | 0.0069 | 2.1584e-06
291 | 3.0548 | 0.0433 | 1.3545e-05
291.5 | 3.074 | 0.0625 | 1.9551e-05
292 | 3.1159 | 0.1044 | 3.2658e-05
292.5 | 3.1019 | 0.0904 | 2.8278e-05
293 | 3.018 | 0.0065 | 2.0333e-06
293.5 | 2.9513 | 0 | 0
294 | 2.9074 | 0 | 0
294.5 | 3.009 | 0 | 0
295 | 3.1 | 0.0885 | 2.7684e-05
295.5 | 3.2656 | 0.2541 | 7.9486e-05
296 | 3.468 | 0.4565 | 0.0001428
296.5 | 3.6611 | 0.6496 | 0.0002032
297 | 3.7774 | 0.7659 | 0.00023958
297.5 | 3.8574 | 0.8459 | 0.00026461
298 | 4.0179 | 1.0064 | 0.00031482
298.5 | 4.1164 | 1.1049 | 0.00034563
299 | 4.2149 | 1.2034 | 0.00037644
299.5 | 4.2459 | 1.2344 | 0.00038614
300 | 4.3447 | 1.3332 | 0.00041704
300.5 | 4.4707 | 1.4592 | 0.00045646
301 | 4.5403 | 1.5288 | 0.00047823
301.5 | 4.7637 | 1.7522 | 0.00054811
302 | 4.8153 | 1.8038 | 0.00056425
302.5 | 4.8212 | 1.8097 | 0.0005661
303 | 4.9041 | 1.8926 | 0.00059203
303.5 | 4.9744 | 1.9629 | 0.00061402
304 | 4.9867 | 1.9752 | 0.00061787
304.5 | 4.8946 | 1.8831 | 0.00058906
305 | 4.8004 | 1.7889 | 0.00055959
305.5 | 4.7217 | 1.7102 | 0.00053497
306 | 4.7208 | 1.7093 | 0.00053469
306.5 | 4.6172 | 1.6057 | 0.00050229
307 | 4.4733 | 1.4618 | 0.00045727
307.5 | 4.3727 | 1.3612 | 0.0004258
308 | 4.0847 | 1.0732 | 0.00033571
308.5 | 3.8224 | 0.8109 | 0.00025366
309 | 3.6492 | 0.6377 | 0.00019948
309.5 | 3.5225 | 0.511 | 0.00015985
310 | 3.4446 | 0.4331 | 0.00013548
310.5 | 3.4764 | 0.4649 | 0.00014543
311 | 3.3918 | 0.3803 | 0.00011896
311.5 | 3.3568 | 0.3453 | 0.00010801
312 | 3.3422 | 0.3307 | 0.00010345
312.5 | 3.3676 | 0.3561 | 0.00011139
313 | 3.4701 | 0.4586 | 0.00014346
313.5 | 3.5902 | 0.5787 | 0.00018103
314 | 3.5939 | 0.5824 | 0.00018218
314.5 | 3.6972 | 0.6857 | 0.0002145
315 | 3.8629 | 0.8514 | 0.00026633
315.5 | 3.9555 | 0.944 | 0.0002953
316 | 4.0011 | 0.9896 | 0.00030956
316.5 | 4.0038 | 0.9923 | 0.00031041
317 | 3.9454 | 0.9339 | 0.00029214
317.5 | 3.9567 | 0.9452 | 0.00029567
318 | 3.9944 | 0.9829 | 0.00030746
318.5 | 4.0555 | 1.044 | 0.00032658
319 | 4.0448 | 1.0333 | 0.00032323
319.5 | 3.9348 | 0.9233 | 0.00028882
320 | 3.8166 | 0.8051 | 0.00025185
320.5 | 3.8081 | 0.7966 | 0.00024919
321 | 3.7459 | 0.7344 | 0.00022973
321.5 | 3.7575 | 0.746 | 0.00023336
322 | 3.8092 | 0.7977 | 0.00024953
322.5 | 3.8298 | 0.8183 | 0.00025598
323 | 3.8882 | 0.8767 | 0.00027424
323.5 | 3.9554 | 0.9439 | 0.00029527
324 | 4.0822 | 1.0707 | 0.00033493
324.5 | 4.0995 | 1.088 | 0.00034034
325 | 4.096 | 1.0845 | 0.00033925
325.5 | 4.1511 | 1.1396 | 0.00035648
326 | 4.2137 | 1.2022 | 0.00037606
326.5 | 4.3127 | 1.3012 | 0.00040703
327 | 4.4298 | 1.4183 | 0.00044366
327.5 | 4.6147 | 1.6032 | 0.0005015
328 | 4.7271 | 1.7156 | 0.00053666
328.5 | 4.7836 | 1.7721 | 0.00055434
329 | 4.7584 | 1.7469 | 0.00054645
329.5 | 4.7616 | 1.7501 | 0.00054746
330 | 4.7632 | 1.7517 | 0.00054796
330.5 | 4.8002 | 1.7887 | 0.00055953
331 | 4.9867 | 1.9752 | 0.00061787
331.5 | 5.1832 | 2.1717 | 0.00067934
332 | 5.3764 | 2.3649 | 0.00073977
332.5 | 5.513 | 2.5015 | 0.0007825
333 | 5.6816 | 2.6701 | 0.00083524
333.5 | 5.8521 | 2.8406 | 0.00088858
334 | 5.8843 | 2.8728 | 0.00089865
334.5 | 5.9422 | 2.9307 | 0.00091676
335 | 6.0565 | 3.045 | 0.00095252
335.5 | 6.1536 | 3.1421 | 0.00098289
336 | 6.213 | 3.2015 | 0.0010015
336.5 | 6.277 | 3.2655 | 0.0010215
337 | 6.2507 | 3.2392 | 0.0010133
337.5 | 6.126 | 3.1145 | 0.00097426
338 | 6.023 | 3.0115 | 0.00094204
338.5 | 5.9904 | 2.9789 | 0.00093184
339 | 5.989 | 2.9775 | 0.0009314
339.5 | 5.9636 | 2.9521 | 0.00092346
340 | 5.9096 | 2.8981 | 0.00090657
340.5 | 5.9172 | 2.9057 | 0.00090894
341 | 5.8575 | 2.846 | 0.00089027
341.5 | 5.7668 | 2.7553 | 0.0008619
342 | 5.6873 | 2.6758 | 0.00083703
342.5 | 5.5884 | 2.5769 | 0.00080609
343 | 5.4933 | 2.4818 | 0.00077634
343.5 | 5.4027 | 2.3912 | 0.000748
344 | 5.2997 | 2.2882 | 0.00071578
344.5 | 5.087 | 2.0755 | 0.00064925
345 | 4.9725 | 1.961 | 0.00061343
345.5 | 4.8282 | 1.8167 | 0.00056829
346 | 4.754 | 1.7425 | 0.00054508
346.5 | 4.703 | 1.6915 | 0.00052912
347 | 4.6772 | 1.6657 | 0.00052105
347.5 | 4.6861 | 1.6746 | 0.00052384
348 | 4.6428 | 1.6313 | 0.00051029
348.5 | 4.6301 | 1.6186 | 0.00050632
349 | 4.6613 | 1.6498 | 0.00051608
349.5 | 4.6732 | 1.6617 | 0.0005198
350 | 4.7368 | 1.7253 | 0.0005397
350.5 | 4.9341 | 1.9226 | 0.00060142
351 | 5.0779 | 2.0664 | 0.0006464
351.5 | 5.0996 | 2.0881 | 0.00065319
352 | 5.2378 | 2.2263 | 0.00069642
352.5 | 5.2382 | 2.2267 | 0.00069654
353 | 5.3053 | 2.2938 | 0.00071753
353.5 | 5.4272 | 2.4157 | 0.00075566
354 | 5.5702 | 2.5587 | 0.0008004
354.5 | 5.7742 | 2.7627 | 0.00086421
355 | 5.8713 | 2.8598 | 0.00089459
355.5 | 5.9291 | 2.9176 | 0.00091267
356 | 6.0691 | 3.0576 | 0.00095646
356.5 | 6.1457 | 3.1342 | 0.00098042
357 | 6.1246 | 3.1131 | 0.00097382
357.5 | 6.2117 | 3.2002 | 0.0010011
358 | 6.3007 | 3.2892 | 0.0010289
358.5 | 6.2625 | 3.251 | 0.001017
359 | 6.2339 | 3.2224 | 0.001008
359.5 | 6.0952 | 3.0837 | 0.00096462
360 | 6.0248 | 3.0133 | 0.0009426
360.5 | 6.0025 | 2.991 | 0.00093563
361 | 6.0938 | 3.0823 | 0.00096419
361.5 | 6.3195 | 3.308 | 0.0010348
362 | 6.6359 | 3.6244 | 0.0011338
362.5 | 6.9319 | 3.9204 | 0.0012264
363 | 7.2577 | 4.2462 | 0.0013283
363.5 | 7.588 | 4.5765 | 0.0014316
364 | 7.7835 | 4.772 | 0.0014927
364.5 | 7.9383 | 4.9268 | 0.0015412
365 | 8.1596 | 5.1481 | 0.0016104
365.5 | 8.3796 | 5.3681 | 0.0016792
366 | 8.5835 | 5.572 | 0.001743
366.5 | 8.779 | 5.7675 | 0.0018042
367 | 8.9767 | 5.9652 | 0.001866
367.5 | 9.0599 | 6.0484 | 0.001892
368 | 8.9946 | 5.9831 | 0.0018716
368.5 | 8.8155 | 5.804 | 0.0018156
369 | 8.6933 | 5.6818 | 0.0017773
369.5 | 8.5161 | 5.5046 | 0.0017219
370 | 8.4638 | 5.4523 | 0.0017056
370.5 | 8.479 | 5.4675 | 0.0017103
371 | 8.5819 | 5.5704 | 0.0017425
371.5 | 8.6735 | 5.662 | 0.0017712
372 | 8.7653 | 5.7538 | 0.0017999
372.5 | 8.9444 | 5.9329 | 0.0018559
373 | 9.0018 | 5.9903 | 0.0018738
373.5 | 9.0157 | 6.0042 | 0.0018782
374 | 9.1913 | 6.1798 | 0.0019331
374.5 | 9.4733 | 6.4618 | 0.0020213
375 | 9.7234 | 6.7119 | 0.0020996
375.5 | 9.9978 | 6.9863 | 0.0021854
376 | 10.282 | 7.2705 | 0.0022743
376.5 | 10.522 | 7.5105 | 0.0023494
377 | 10.735 | 7.7235 | 0.002416
377.5 | 10.812 | 7.8005 | 0.0024401
378 | 10.835 | 7.8235 | 0.0024473
378.5 | 10.784 | 7.7725 | 0.0024313
379 | 10.854 | 7.8425 | 0.0024532
379.5 | 10.889 | 7.8775 | 0.0024642
380 | 10.951 | 7.9395 | 0.0024836
380.5 | 11.014 | 8.0025 | 0.0025033
381 | 11.148 | 8.1365 | 0.0025452
381.5 | 11.368 | 8.3565 | 0.002614
382 | 11.63 | 8.6185 | 0.002696
382.5 | 11.736 | 8.7245 | 0.0027291
383 | 11.919 | 8.9075 | 0.0027864
383.5 | 12.183 | 9.1715 | 0.002869
384 | 12.511 | 9.4995 | 0.0029716
384.5 | 12.899 | 9.8875 | 0.0030929
385 | 13.327 | 10.3155 | 0.0032268
385.5 | 13.796 | 10.7845 | 0.0033735
386 | 14.333 | 11.3215 | 0.0035415
386.5 | 14.86 | 11.8485 | 0.0037064
387 | 15.394 | 12.3825 | 0.0038734
387.5 | 15.907 | 12.8955 | 0.0040339
388 | 16.463 | 13.4515 | 0.0042078
388.5 | 17.165 | 14.1535 | 0.0044274
389 | 17.92 | 14.9085 | 0.0046636
389.5 | 18.84 | 15.8285 | 0.0049514
390 | 19.956 | 16.9445 | 0.0053005
390.5 | 21.221 | 18.2095 | 0.0056962
391 | 22.555 | 19.5435 | 0.0061135
391.5 | 24.08 | 21.0685 | 0.0065905
392 | 25.8 | 22.7885 | 0.0071286
392.5 | 27.696 | 24.6845 | 0.0077217
393 | 29.656 | 26.6445 | 0.0083348
393.5 | 31.929 | 28.9175 | 0.0090458
394 | 34.327 | 31.3155 | 0.0097959
394.5 | 36.993 | 33.9815 | 0.01063
395 | 40.029 | 37.0175 | 0.01158
395.5 | 43.391 | 40.3795 | 0.012631
396 | 46.946 | 43.9345 | 0.013743
396.5 | 50.891 | 47.8795 | 0.014977
397 | 55.166 | 52.1545 | 0.016315
397.5 | 59.921 | 56.9095 | 0.017802
398 | 64.98 | 61.9685 | 0.019385
398.5 | 70.536 | 67.5245 | 0.021123
399 | 76.863 | 73.8515 | 0.023102
399.5 | 83.728 | 80.7165 | 0.025249
400 | 91.42 | 88.4085 | 0.027655
400.5 | 99.858 | 96.8465 | 0.030295
401 | 108.93 | 105.9185 | 0.033133
401.5 | 119.11 | 116.0985 | 0.036317
402 | 130.34 | 127.3285 | 0.03983
402.5 | 142.8 | 139.7885 | 0.043728
403 | 156.77 | 153.7585 | 0.048098
403.5 | 172.21 | 169.1985 | 0.052928
404 | 189.52 | 186.5085 | 0.058342
404.5 | 208.68 | 205.6685 | 0.064336
405 | 229.64 | 226.6285 | 0.070893
405.5 | 253.18 | 250.1685 | 0.078256
406 | 279.01 | 275.9985 | 0.086336
406.5 | 307.77 | 304.7585 | 0.095333
407 | 340.12 | 337.1085 | 0.10545
407.5 | 375.87 | 372.8585 | 0.11664
408 | 415.91 | 412.8985 | 0.12916
408.5 | 460.05 | 457.0385 | 0.14297
409 | 508.62 | 505.6085 | 0.15816
409.5 | 562.34 | 559.3285 | 0.17497
410 | 620.62 | 617.6085 | 0.1932
410.5 | 684.32 | 681.3085 | 0.21312
411 | 753.76 | 750.7485 | 0.23484
411.5 | 828.51 | 825.4985 | 0.25823
412 | 909.69 | 906.6785 | 0.28362
412.5 | 996.3 | 993.2885 | 0.31071
413 | 1088.9 | 1085.8885 | 0.33968
413.5 | 1188 | 1184.9885 | 0.37068
414 | 1292.8 | 1289.7885 | 0.40346
414.5 | 1403.8 | 1400.7885 | 0.43819
415 | 1520.2 | 1517.1885 | 0.4746
415.5 | 1641.7 | 1638.6885 | 0.5126
416 | 1767.8 | 1764.7885 | 0.55205
416.5 | 1896.9 | 1893.8885 | 0.59243
417 | 2028 | 2024.9885 | 0.63344
417.5 | 2160.1 | 2157.0885 | 0.67477
418 | 2291.9 | 2288.8885 | 0.716
418.5 | 2421.5 | 2418.4885 | 0.75654
419 | 2547.1 | 2544.0885 | 0.79583
419.5 | 2666.8 | 2663.7885 | 0.83327
420 | 2779.1 | 2776.0885 | 0.8684
420.5 | 2883.2 | 2880.1885 | 0.90096
421 | 2974.5 | 2971.4885 | 0.92952
421.5 | 3052.8 | 3049.7885 | 0.95402
422 | 3116 | 3112.9885 | 0.97379
422.5 | 3161.7 | 3158.6885 | 0.98808
423 | 3190.8 | 3187.7885 | 0.99718
423.5 | 3199.8 | 3196.7885 | 1
424 | 3190.8 | 3187.7885 | 0.99718
424.5 | 3164.5 | 3161.4885 | 0.98896
425 | 3119.7 | 3116.6885 | 0.97494
425.5 | 3059.1 | 3056.0885 | 0.95599
426 | 2981 | 2977.9885 | 0.93156
426.5 | 2888.2 | 2885.1885 | 0.90253
427 | 2783.6 | 2780.5885 | 0.86981
427.5 | 2668.6 | 2665.5885 | 0.83383
428 | 2547.1 | 2544.0885 | 0.79583
428.5 | 2421.6 | 2418.5885 | 0.75657
429 | 2295.2 | 2292.1885 | 0.71703
429.5 | 2169.8 | 2166.7885 | 0.6778
430 | 2046.9 | 2043.8885 | 0.63936
430.5 | 1927 | 1923.9885 | 0.60185
431 | 1811.9 | 1808.8885 | 0.56585
431.5 | 1702.4 | 1699.3885 | 0.53159
432 | 1599.2 | 1596.1885 | 0.49931
432.5 | 1503.7 | 1500.6885 | 0.46944
433 | 1414.6 | 1411.5885 | 0.44156
433.5 | 1332.7 | 1329.6885 | 0.41595
434 | 1257.2 | 1254.1885 | 0.39233
434.5 | 1187.1 | 1184.0885 | 0.3704
435 | 1121.9 | 1118.8885 | 0.35
435.5 | 1060.3 | 1057.2885 | 0.33073
436 | 1002.2 | 999.1885 | 0.31256
436.5 | 946.85 | 943.8385 | 0.29525
437 | 893.99 | 890.9785 | 0.27871
437.5 | 843.67 | 840.6585 | 0.26297
438 | 795.24 | 792.2285 | 0.24782
438.5 | 748.52 | 745.5085 | 0.23321
439 | 703.3 | 700.2885 | 0.21906
439.5 | 659.42 | 656.4085 | 0.20533
440 | 616.95 | 613.9385 | 0.19205
440.5 | 575.6 | 572.5885 | 0.17911
441 | 535.91 | 532.8985 | 0.1667
441.5 | 497.81 | 494.7985 | 0.15478
442 | 461.48 | 458.4685 | 0.14342
442.5 | 427.37 | 424.3585 | 0.13275
443 | 395.16 | 392.1485 | 0.12267
443.5 | 365.31 | 362.2985 | 0.11333
444 | 337.36 | 334.3485 | 0.10459
444.5 | 311.72 | 308.7085 | 0.096568
445 | 288.2 | 285.1885 | 0.089211
445.5 | 266.57 | 263.5585 | 0.082445
446 | 246.76 | 243.7485 | 0.076248
446.5 | 228.47 | 225.4585 | 0.070527
447 | 211.74 | 208.7285 | 0.065293
447.5 | 196.33 | 193.3185 | 0.060473
448 | 182.37 | 179.3585 | 0.056106
448.5 | 169.78 | 166.7685 | 0.052168
449 | 158.32 | 155.3085 | 0.048583
449.5 | 147.97 | 144.9585 | 0.045345
450 | 138.47 | 135.4585 | 0.042373
450.5 | 129.59 | 126.5785 | 0.039596
451 | 121.32 | 118.3085 | 0.037009
451.5 | 113.65 | 110.6385 | 0.034609
452 | 106.84 | 103.8285 | 0.032479
452.5 | 100.38 | 97.3685 | 0.030458
453 | 94.472 | 91.4605 | 0.02861
453.5 | 88.931 | 85.9195 | 0.026877
454 | 83.843 | 80.8315 | 0.025285
454.5 | 79.032 | 76.0205 | 0.02378
455 | 74.463 | 71.4515 | 0.022351
455.5 | 70.295 | 67.2835 | 0.021047
456 | 66.4 | 63.3885 | 0.019829
456.5 | 62.767 | 59.7555 | 0.018692
457 | 59.382 | 56.3705 | 0.017633
457.5 | 56.18 | 53.1685 | 0.016632
458 | 53.069 | 50.0575 | 0.015659
458.5 | 50.334 | 47.3225 | 0.014803
459 | 47.724 | 44.7125 | 0.013987
459.5 | 45.259 | 42.2475 | 0.013216
460 | 42.9 | 39.8885 | 0.012478
460.5 | 40.839 | 37.8275 | 0.011833
461 | 38.856 | 35.8445 | 0.011213
461.5 | 36.999 | 33.9875 | 0.010632
462 | 35.342 | 32.3305 | 0.010113
462.5 | 33.889 | 30.8775 | 0.0096589
463 | 32.639 | 29.6275 | 0.0092679
463.5 | 31.501 | 28.4895 | 0.0089119
464 | 30.395 | 27.3835 | 0.0085659
464.5 | 29.254 | 26.2425 | 0.008209
465 | 28.294 | 25.2825 | 0.0079087
465.5 | 27.473 | 24.4615 | 0.0076519
466 | 26.703 | 23.6915 | 0.007411
466.5 | 25.902 | 22.8905 | 0.0071605
467 | 25.144 | 22.1325 | 0.0069234
467.5 | 24.368 | 21.3565 | 0.0066806
468 | 23.586 | 20.5745 | 0.006436
468.5 | 22.875 | 19.8635 | 0.0062136
469 | 22 | 18.9885 | 0.0059399
469.5 | 21.243 | 18.2315 | 0.0057031
470 | 20.526 | 17.5145 | 0.0054788
470.5 | 19.861 | 16.8495 | 0.0052708
471 | 19.216 | 16.2045 | 0.005069
471.5 | 18.611 | 15.5995 | 0.0048797
472 | 18.084 | 15.0725 | 0.0047149
472.5 | 17.52 | 14.5085 | 0.0045385
473 | 17.06 | 14.0485 | 0.0043946
473.5 | 16.467 | 13.4555 | 0.0042091
474 | 15.982 | 12.9705 | 0.0040574
474.5 | 15.608 | 12.5965 | 0.0039404
475 | 15.288 | 12.2765 | 0.0038403
475.5 | 14.813 | 11.8015 | 0.0036917
476 | 14.319 | 11.3075 | 0.0035371
476.5 | 13.903 | 10.8915 | 0.003407
477 | 13.479 | 10.4675 | 0.0032744
477.5 | 12.987 | 9.9755 | 0.0031205
478 | 12.47 | 9.4585 | 0.0029588
478.5 | 12.037 | 9.0255 | 0.0028233
479 | 11.76 | 8.7485 | 0.0027367
479.5 | 11.592 | 8.5805 | 0.0026841
480 | 11.267 | 8.2555 | 0.0025824
480.5 | 10.869 | 7.8575 | 0.0024579
481 | 10.547 | 7.5355 | 0.0023572
481.5 | 10.271 | 7.2595 | 0.0022709
482 | 9.9792 | 6.9677 | 0.0021796
482.5 | 9.643 | 6.6315 | 0.0020744
483 | 9.4282 | 6.4167 | 0.0020072
483.5 | 9.2146 | 6.2031 | 0.0019404
484 | 9.012 | 6.0005 | 0.001877
484.5 | 8.8181 | 5.8066 | 0.0018164
485 | 8.5175 | 5.506 | 0.0017224
485.5 | 8.3343 | 5.3228 | 0.001665
486 | 8.0706 | 5.0591 | 0.0015826
486.5 | 7.8015 | 4.79 | 0.0014984
487 | 7.677 | 4.6655 | 0.0014594
487.5 | 7.6221 | 4.6106 | 0.0014423
488 | 7.4909 | 4.4794 | 0.0014012
488.5 | 7.3474 | 4.3359 | 0.0013563
489 | 7.1629 | 4.1514 | 0.0012986
489.5 | 6.9506 | 3.9391 | 0.0012322
490 | 6.7813 | 3.7698 | 0.0011792
490.5 | 6.712 | 3.7005 | 0.0011576
491 | 6.7937 | 3.7822 | 0.0011831
491.5 | 6.7539 | 3.7424 | 0.0011707
492 | 6.7487 | 3.7372 | 0.001169
492.5 | 6.5827 | 3.5712 | 0.0011171
493 | 6.4119 | 3.4004 | 0.0010637
493.5 | 6.2244 | 3.2129 | 0.001005
494 | 5.983 | 2.9715 | 0.00092953
494.5 | 5.8844 | 2.8729 | 0.00089868
495 | 5.681 | 2.6695 | 0.00083506
495.5 | 5.5554 | 2.5439 | 0.00079577
496 | 5.3912 | 2.3797 | 0.0007444
496.5 | 5.1433 | 2.1318 | 0.00066686
497 | 4.9272 | 1.9157 | 0.00059926
497.5 | 4.9222 | 1.9107 | 0.00059769
498 | 5.0127 | 2.0012 | 0.000626
498.5 | 4.9795 | 1.968 | 0.00061562
499 | 4.9977 | 1.9862 | 0.00062131
499.5 | 5.1351 | 2.1236 | 0.00066429
500 | 5.0864 | 2.0749 | 0.00064906
500.5 | 5.081 | 2.0695 | 0.00064737
501 | 5.246 | 2.2345 | 0.00069898
501.5 | 5.4342 | 2.4227 | 0.00075785
502 | 5.4819 | 2.4704 | 0.00077278
502.5 | 5.4302 | 2.4187 | 0.0007566
503 | 5.3381 | 2.3266 | 0.00072779
503.5 | 5.2406 | 2.2291 | 0.00069729
504 | 5.2466 | 2.2351 | 0.00069917
504.5 | 5.2454 | 2.2339 | 0.0006988
505 | 5.1746 | 2.1631 | 0.00067665
505.5 | 5.12 | 2.1085 | 0.00065957
506 | 5.1116 | 2.1001 | 0.00065694
506.5 | 5.1234 | 2.1119 | 0.00066063
507 | 4.9518 | 1.9403 | 0.00060695
507.5 | 4.8692 | 1.8577 | 0.00058111
508 | 4.9202 | 1.9087 | 0.00059707
508.5 | 5.0718 | 2.0603 | 0.00064449
509 | 5.1068 | 2.0953 | 0.00065544
509.5 | 5.0168 | 2.0053 | 0.00062729
510 | 4.8887 | 1.8772 | 0.00058721
510.5 | 4.8258 | 1.8143 | 0.00056754
511 | 4.7084 | 1.6969 | 0.00053081
511.5 | 4.7587 | 1.7472 | 0.00054655
512 | 4.7413 | 1.7298 | 0.00054111
512.5 | 4.7854 | 1.7739 | 0.0005549
513 | 4.9397 | 1.9282 | 0.00060317
513.5 | 4.8509 | 1.8394 | 0.00057539
514 | 4.6585 | 1.647 | 0.0005152
514.5 | 4.5413 | 1.5298 | 0.00047854
515 | 4.5334 | 1.5219 | 0.00047607
515.5 | 4.6152 | 1.6037 | 0.00050166
516 | 4.7216 | 1.7101 | 0.00053494
516.5 | 4.6727 | 1.6612 | 0.00051965
517 | 4.459 | 1.4475 | 0.0004528
517.5 | 4.2665 | 1.255 | 0.00039258
518 | 4.0725 | 1.061 | 0.0003319
518.5 | 3.8955 | 0.884 | 0.00027653
519 | 3.8007 | 0.7892 | 0.00024687
519.5 | 3.7718 | 0.7603 | 0.00023783
520 | 3.6689 | 0.6574 | 0.00020564
520.5 | 3.4565 | 0.445 | 0.0001392
521 | 3.2224 | 0.2109 | 6.5972e-05
521.5 | 3.0847 | 0.0732 | 2.2898e-05
522 | 3.0317 | 0.0202 | 6.3188e-06
522.5 | 3.1536 | 0.1421 | 4.4451e-05
523 | 3.5116 | 0.5001 | 0.00015644
523.5 | 3.7434 | 0.7319 | 0.00022895
524 | 3.7618 | 0.7503 | 0.0002347
524.5 | 3.6978 | 0.6863 | 0.00021468
525 | 3.5184 | 0.5069 | 0.00015857
525.5 | 3.419 | 0.4075 | 0.00012747
526 | 3.3336 | 0.3221 | 0.00010076
526.5 | 3.3318 | 0.3203 | 0.00010019
527 | 3.2975 | 0.286 | 8.9465e-05
527.5 | 3.2439 | 0.2324 | 7.2698e-05
528 | 3.1957 | 0.1842 | 5.762e-05
528.5 | 3.0777 | 0.0662 | 2.0708e-05
529 | 3.0088 | 0 | 0
529.5 | 2.969 | 0 | 0
530 | 2.9322 | 0 | 0
530.5 | 2.9668 | 0 | 0
531 | 3.0747 | 0.0632 | 1.977e-05
531.5 | 3.2671 | 0.2556 | 7.9955e-05
532 | 3.4735 | 0.462 | 0.00014452
532.5 | 3.609 | 0.5975 | 0.00018691
533 | 3.8102 | 0.7987 | 0.00024984
533.5 | 3.975 | 0.9635 | 0.0003014
534 | 4.036 | 1.0245 | 0.00032048
534.5 | 4.0244 | 1.0129 | 0.00031685
535 | 4.0446 | 1.0331 | 0.00032317
535.5 | 4.2162 | 1.2047 | 0.00037685
536 | 4.4445 | 1.433 | 0.00044826
536.5 | 4.4989 | 1.4874 | 0.00046528
537 | 4.4632 | 1.4517 | 0.00045411
537.5 | 4.357 | 1.3455 | 0.00042089
538 | 4.2683 | 1.2568 | 0.00039314
538.5 | 4.1671 | 1.1556 | 0.00036149
539 | 4.1165 | 1.105 | 0.00034566
539.5 | 4.2164 | 1.2049 | 0.00037691
540 | 4.292 | 1.2805 | 0.00040056
540.5 | 4.2868 | 1.2753 | 0.00039893
541 | 4.1485 | 1.137 | 0.00035567
541.5 | 4.0257 | 1.0142 | 0.00031726
542 | 4.0277 | 1.0162 | 0.00031788
542.5 | 4.0501 | 1.0386 | 0.00032489
543 | 4.0521 | 1.0406 | 0.00032551
543.5 | 3.9803 | 0.9688 | 0.00030305
544 | 4.011 | 0.9995 | 0.00031266
544.5 | 4.0816 | 1.0701 | 0.00033474
545 | 3.9257 | 0.9142 | 0.00028597
545.5 | 3.608 | 0.5965 | 0.00018659
546 | 3.4247 | 0.4132 | 0.00012925
546.5 | 3.4983 | 0.4868 | 0.00015228
547 | 3.4726 | 0.4611 | 0.00014424
547.5 | 3.5055 | 0.494 | 0.00015453
548 | 3.4899 | 0.4784 | 0.00014965
548.5 | 3.3384 | 0.3269 | 0.00010226
549 | 3.2386 | 0.2271 | 7.104e-05
549.5 | 3.0953 | 0.0838 | 2.6214e-05
550 | 2.7795 | 0 | 0
550.5 | 2.5918 | 0 | 0
551 | 2.6008 | 0 | 0
551.5 | 2.664 | 0 | 0
552 | 2.5131 | 0 | 0
552.5 | 2.4411 | 0 | 0
553 | 2.3221 | 0 | 0
553.5 | 2.2954 | 0 | 0
554 | 2.4259 | 0 | 0
554.5 | 2.6454 | 0 | 0
555 | 2.837 | 0 | 0
555.5 | 3.0041 | 0 | 0
556 | 2.9913 | 0 | 0
556.5 | 3.0583 | 0.0468 | 1.464e-05
557 | 3.0706 | 0.0591 | 1.8487e-05
557.5 | 3.0769 | 0.0654 | 2.0458e-05
558 | 3.0361 | 0.0246 | 7.6952e-06
558.5 | 3.061 | 0.0495 | 1.5484e-05
559 | 2.9565 | 0 | 0
559.5 | 2.8513 | 0 | 0
560 | 2.8003 | 0 | 0
560.5 | 2.7626 | 0 | 0
561 | 2.686 | 0 | 0
561.5 | 2.7402 | 0 | 0
562 | 2.821 | 0 | 0
562.5 | 2.8643 | 0 | 0
563 | 2.8934 | 0 | 0
563.5 | 3.0195 | 0.008 | 2.5025e-06
564 | 3.0516 | 0.0401 | 1.2544e-05
564.5 | 3.1209 | 0.1094 | 3.4222e-05
565 | 3.2185 | 0.207 | 6.4752e-05
565.5 | 3.228 | 0.2165 | 6.7724e-05
566 | 3.1193 | 0.1078 | 3.3721e-05
566.5 | 3.1844 | 0.1729 | 5.4086e-05
567 | 3.2118 | 0.2003 | 6.2657e-05
567.5 | 3.2566 | 0.2451 | 7.6671e-05
568 | 3.2554 | 0.2439 | 7.6295e-05
568.5 | 3.2662 | 0.2547 | 7.9674e-05
569 | 3.1396 | 0.1281 | 4.0071e-05
569.5 | 3.0326 | 0.0211 | 6.6004e-06
570 | 3.0474 | 0.0359 | 1.123e-05
570.5 | 3.0701 | 0.0586 | 1.8331e-05
571 | 3.0555 | 0.044 | 1.3764e-05
571.5 | 3.0505 | 0.039 | 1.22e-05
572 | 3.1992 | 0.1877 | 5.8715e-05
572.5 | 3.3879 | 0.3764 | 0.00011774
573 | 3.3864 | 0.3749 | 0.00011727
573.5 | 3.4782 | 0.4667 | 0.00014599
574 | 3.487 | 0.4755 | 0.00014874
574.5 | 3.4068 | 0.3953 | 0.00012366
575 | 3.3412 | 0.3297 | 0.00010313
575.5 | 3.241 | 0.2295 | 7.1791e-05
576 | 3.1382 | 0.1267 | 3.9634e-05
576.5 | 3.1622 | 0.1507 | 4.7141e-05
577 | 3.1691 | 0.1576 | 4.9299e-05
577.5 | 2.8951 | 0 | 0
578 | 2.7279 | 0 | 0
578.5 | 2.6215 | 0 | 0
579 | 2.5143 | 0 | 0
579.5 | 2.5457 | 0 | 0
580 | 2.7009 | 0 | 0
580.5 | 2.7758 | 0 | 0
581 | 2.8151 | 0 | 0
581.5 | 2.8966 | 0 | 0
582 | 2.9452 | 0 | 0
582.5 | 3.0654 | 0.0539 | 1.6861e-05
583 | 3.22 | 0.2085 | 6.5222e-05
583.5 | 3.1485 | 0.137 | 4.2856e-05
584 | 3.2342 | 0.2227 | 6.9664e-05
584.5 | 3.2664 | 0.2549 | 7.9736e-05
585 | 3.3442 | 0.3327 | 0.00010407
585.5 | 3.4519 | 0.4404 | 0.00013776
586 | 3.6364 | 0.6249 | 0.00019548
586.5 | 3.6952 | 0.6837 | 0.00021387
587 | 3.6056 | 0.5941 | 0.00018584
587.5 | 3.4684 | 0.4569 | 0.00014292
588 | 3.2616 | 0.2501 | 7.8235e-05
588.5 | 3.0827 | 0.0712 | 2.2272e-05
589 | 3.0509 | 0.0394 | 1.2325e-05
589.5 | 2.9056 | 0 | 0
590 | 2.6854 | 0 | 0
590.5 | 2.4295 | 0 | 0
591 | 2.2105 | 0 | 0
591.5 | 2.1334 | 0 | 0
592 | 2.151 | 0 | 0
592.5 | 2.2658 | 0 | 0
593 | 2.2906 | 0 | 0
593.5 | 2.3957 | 0 | 0
594 | 2.5766 | 0 | 0
594.5 | 2.856 | 0 | 0
595 | 3.058 | 0.0465 | 1.4546e-05
595.5 | 3.382 | 0.3705 | 0.0001159
596 | 3.7599 | 0.7484 | 0.00023411
596.5 | 4.039 | 1.0275 | 0.00032142
597 | 4.0375 | 1.026 | 0.00032095
597.5 | 4.0086 | 0.9971 | 0.00031191
598 | 4.0076 | 0.9961 | 0.00031159
598.5 | 4.2026 | 1.1911 | 0.00037259
599 | 4.4157 | 1.4042 | 0.00043925
599.5 | 4.3985 | 1.387 | 0.00043387
600 | 4.3629 | 1.3514 | 0.00042274
600.5 | 4.3465 | 1.335 | 0.00041761
601 | 4.2236 | 1.2121 | 0.00037916
601.5 | 3.9517 | 0.9402 | 0.00029411
602 | 3.7259 | 0.7144 | 0.00022347
602.5 | 3.6715 | 0.66 | 0.00020646
603 | 3.5577 | 0.5462 | 0.00017086
603.5 | 3.4126 | 0.4011 | 0.00012547
604 | 3.1756 | 0.1641 | 5.1333e-05
604.5 | 3.0577 | 0.0462 | 1.4452e-05
605 | 3.1451 | 0.1336 | 4.1792e-05
605.5 | 3.1417 | 0.1302 | 4.0728e-05
606 | 3.067 | 0.0555 | 1.7361e-05
606.5 | 3.0776 | 0.0661 | 2.0677e-05
607 | 3.1166 | 0.1051 | 3.2877e-05
607.5 | 3.2297 | 0.2182 | 6.8256e-05
608 | 3.3231 | 0.3116 | 9.7473e-05
608.5 | 3.4485 | 0.437 | 0.0001367
609 | 3.5872 | 0.5757 | 0.00018009
609.5 | 3.5304 | 0.5189 | 0.00016232
610 | 3.3278 | 0.3163 | 9.8943e-05
610.5 | 3.0426 | 0.0311 | 9.7285e-06
611 | 2.8361 | 0 | 0
611.5 | 2.6686 | 0 | 0
612 | 2.5023 | 0 | 0
612.5 | 2.5148 | 0 | 0
613 | 2.481 | 0 | 0
613.5 | 2.4383 | 0 | 0
614 | 2.2972 | 0 | 0
614.5 | 2.1877 | 0 | 0
615 | 2.1699 | 0 | 0
615.5 | 2.1128 | 0 | 0
616 | 2.183 | 0 | 0
616.5 | 2.1634 | 0 | 0
617 | 2.3069 | 0 | 0
617.5 | 2.3069 | 0 | 0
618 | 2.2638 | 0 | 0
618.5 | 2.1628 | 0 | 0
619 | 2.1462 | 0 | 0
619.5 | 2.2832 | 0 | 0
620 | 2.6195 | 0 | 0
620.5 | 2.9175 | 0 | 0
621 | 3.1403 | 0.1288 | 4.029e-05
621.5 | 3.2278 | 0.2163 | 6.7662e-05
622 | 3.3321 | 0.3206 | 0.00010029
622.5 | 3.35 | 0.3385 | 0.00010589
623 | 3.2834 | 0.2719 | 8.5054e-05
623.5 | 3.2667 | 0.2552 | 7.983e-05
624 | 3.2557 | 0.2442 | 7.6389e-05
624.5 | 3.3333 | 0.3218 | 0.00010066
625 | 3.1673 | 0.1558 | 4.8736e-05
625.5 | 3.0085 | 0 | 0
626 | 2.8847 | 0 | 0
626.5 | 2.8758 | 0 | 0
627 | 3.044 | 0.0325 | 1.0166e-05
627.5 | 3.1832 | 0.1717 | 5.371e-05
628 | 3.2837 | 0.2722 | 8.5148e-05
628.5 | 3.4638 | 0.4523 | 0.00014149
629 | 3.6144 | 0.6029 | 0.0001886
629.5 | 3.7462 | 0.7347 | 0.00022982
630 | 3.7413 | 0.7298 | 0.00022829
630.5 | 3.6038 | 0.5923 | 0.00018528
631 | 3.5517 | 0.5402 | 0.00016898
631.5 | 3.5776 | 0.5661 | 0.00017708
632 | 3.6237 | 0.6122 | 0.0001915
632.5 | 3.5662 | 0.5547 | 0.00017352
633 | 3.5783 | 0.5668 | 0.0001773
633.5 | 3.6474 | 0.6359 | 0.00019892
634 | 3.7282 | 0.7167 | 0.00022419
634.5 | 3.591 | 0.5795 | 0.00018128
635 | 3.4148 | 0.4033 | 0.00012616
635.5 | 3.4006 | 0.3891 | 0.00012172
636 | 3.4576 | 0.4461 | 0.00013955
636.5 | 3.4769 | 0.4654 | 0.00014558
637 | 3.4526 | 0.4411 | 0.00013798
637.5 | 3.3945 | 0.383 | 0.00011981
638 | 3.323 | 0.3115 | 9.7442e-05
638.5 | 3.25 | 0.2385 | 7.4606e-05
639 | 3.1103 | 0.0988 | 3.0906e-05
639.5 | 3.1717 | 0.1602 | 5.0113e-05
640 | 3.3852 | 0.3737 | 0.0001169
640.5 | 3.5771 | 0.5656 | 0.00017693
641 | 3.5574 | 0.5459 | 0.00017077
641.5 | 3.521 | 0.5095 | 0.00015938
642 | 3.4184 | 0.4069 | 0.00012728
642.5 | 3.2619 | 0.2504 | 7.8329e-05
643 | 3.099 | 0.0875 | 2.7371e-05
643.5 | 2.9662 | 0 | 0
644 | 2.8501 | 0 | 0
644.5 | 2.6398 | 0 | 0
645 | 2.4702 | 0 | 0
645.5 | 2.427 | 0 | 0
646 | 2.4522 | 0 | 0