## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -6.3886 | 0 | 0
246.5 | -6.3669 | 0 | 0
247 | -6.466 | 0 | 0
247.5 | -7.6502 | 0 | 0
248 | -6.5994 | 0 | 0
248.5 | -6.6071 | 0 | 0
249 | -7.1346 | 0 | 0
249.5 | -6.6645 | 0 | 0
250 | -6.9206 | 0 | 0
250.5 | -6.3441 | 0.0228 | 6.5718e-06
251 | -5.5481 | 0.8188 | 0.00023601
251.5 | -6.3315 | 0.0354 | 1.0204e-05
252 | -7.1412 | 0 | 0
252.5 | -6.3557 | 0.0112 | 3.2283e-06
253 | -5.0755 | 1.2914 | 0.00037223
253.5 | -3.8034 | 2.5635 | 0.0007389
254 | -4.0312 | 2.3357 | 0.00067324
254.5 | -3.6767 | 2.6902 | 0.00077542
255 | -3.3754 | 2.9915 | 0.00086226
255.5 | -4.2534 | 2.1135 | 0.00060919
256 | -4.4589 | 1.908 | 0.00054996
256.5 | -4.8408 | 1.5261 | 0.00043988
257 | -5.4915 | 0.8754 | 0.00025232
257.5 | -4.9784 | 1.3885 | 0.00040022
258 | -4.4942 | 1.8727 | 0.00053978
258.5 | -4.3287 | 2.0382 | 0.00058748
259 | -4.4128 | 1.9541 | 0.00056324
259.5 | -4.5911 | 1.7758 | 0.00051185
260 | -4.6383 | 1.7286 | 0.00049825
260.5 | -4.6427 | 1.7242 | 0.00049698
261 | -4.6015 | 1.7654 | 0.00050885
261.5 | -4.6433 | 1.7236 | 0.00049681
262 | -4.688 | 1.6789 | 0.00048392
262.5 | -4.7486 | 1.6183 | 0.00046645
263 | -4.8433 | 1.5236 | 0.00043916
263.5 | -4.9146 | 1.4523 | 0.00041861
264 | -4.9634 | 1.4035 | 0.00040454
264.5 | -4.9607 | 1.4062 | 0.00040532
265 | -4.9438 | 1.4231 | 0.00041019
265.5 | -4.8946 | 1.4723 | 0.00042437
266 | -4.8281 | 1.5388 | 0.00044354
266.5 | -4.861 | 1.5059 | 0.00043406
267 | -4.8543 | 1.5126 | 0.00043599
267.5 | -4.8401 | 1.5268 | 0.00044008
268 | -4.9176 | 1.4493 | 0.00041774
268.5 | -5.0041 | 1.3628 | 0.00039281
269 | -5.1149 | 1.252 | 0.00036087
269.5 | -5.1129 | 1.254 | 0.00036145
270 | -5.0937 | 1.2732 | 0.00036698
270.5 | -5.0655 | 1.3014 | 0.00037511
271 | -5.1259 | 1.241 | 0.0003577
271.5 | -5.1569 | 1.21 | 0.00034877
272 | -5.1439 | 1.223 | 0.00035251
272.5 | -5.2389 | 1.128 | 0.00032513
273 | -5.3266 | 1.0403 | 0.00029985
273.5 | -5.2982 | 1.0687 | 0.00030804
274 | -5.3701 | 0.9968 | 0.00028731
274.5 | -5.3236 | 1.0433 | 0.00030072
275 | -5.1844 | 1.1825 | 0.00034084
275.5 | -5.1595 | 1.2074 | 0.00034802
276 | -5.2456 | 1.1213 | 0.0003232
276.5 | -5.345 | 1.0219 | 0.00029455
277 | -5.3972 | 0.9697 | 0.0002795
277.5 | -5.3896 | 0.9773 | 0.00028169
278 | -5.3781 | 0.9888 | 0.00028501
278.5 | -5.3366 | 1.0303 | 0.00029697
279 | -5.1248 | 1.2421 | 0.00035802
279.5 | -4.9039 | 1.463 | 0.00042169
280 | -4.843 | 1.5239 | 0.00043924
280.5 | -4.8724 | 1.4945 | 0.00043077
281 | -4.9691 | 1.3978 | 0.0004029
281.5 | -5.0295 | 1.3374 | 0.00038549
282 | -5.0154 | 1.3515 | 0.00038955
282.5 | -4.9644 | 1.4025 | 0.00040425
283 | -4.9337 | 1.4332 | 0.0004131
283.5 | -4.9684 | 1.3985 | 0.0004031
284 | -5.1395 | 1.2274 | 0.00035378
284.5 | -5.3472 | 1.0197 | 0.00029392
285 | -5.5788 | 0.7881 | 0.00022716
285.5 | -5.9227 | 0.4442 | 0.00012803
286 | -6.102 | 0.2649 | 7.6354e-05
286.5 | -6.0701 | 0.2968 | 8.5549e-05
287 | -5.862 | 0.5049 | 0.00014553
287.5 | -5.5852 | 0.7817 | 0.00022531
288 | -5.4093 | 0.9576 | 0.00027602
288.5 | -5.2898 | 1.0771 | 0.00031046
289 | -5.1122 | 1.2547 | 0.00036165
289.5 | -4.9714 | 1.3955 | 0.00040223
290 | -4.9086 | 1.4583 | 0.00042034
290.5 | -4.7421 | 1.6248 | 0.00046833
291 | -4.5525 | 1.8144 | 0.00052298
291.5 | -4.4311 | 1.9358 | 0.00055797
292 | -4.2984 | 2.0685 | 0.00059622
292.5 | -4.2144 | 2.1525 | 0.00062043
293 | -4.2206 | 2.1463 | 0.00061864
293.5 | -4.2277 | 2.1392 | 0.0006166
294 | -4.259 | 2.1079 | 0.00060757
294.5 | -4.2276 | 2.1393 | 0.00061663
295 | -4.2497 | 2.1172 | 0.00061026
295.5 | -4.2697 | 2.0972 | 0.00060449
296 | -4.3506 | 2.0163 | 0.00058117
296.5 | -4.4478 | 1.9191 | 0.00055316
297 | -4.5764 | 1.7905 | 0.00051609
297.5 | -4.6777 | 1.6892 | 0.00048689
298 | -4.6489 | 1.718 | 0.00049519
298.5 | -4.6762 | 1.6907 | 0.00048732
299 | -4.7236 | 1.6433 | 0.00047366
299.5 | -4.869 | 1.4979 | 0.00043175
300 | -4.9771 | 1.3898 | 0.00040059
300.5 | -5.0801 | 1.2868 | 0.0003709
301 | -5.1998 | 1.1671 | 0.0003364
301.5 | -5.0739 | 1.293 | 0.00037269
302 | -5.08 | 1.2869 | 0.00037093
302.5 | -5.0493 | 1.3176 | 0.00037978
303 | -4.9142 | 1.4527 | 0.00041872
303.5 | -4.8012 | 1.5657 | 0.00045129
304 | -4.7429 | 1.624 | 0.0004681
304.5 | -4.7685 | 1.5984 | 0.00046072
305 | -4.7635 | 1.6034 | 0.00046216
305.5 | -4.7019 | 1.665 | 0.00047991
306 | -4.5958 | 1.7711 | 0.0005105
306.5 | -4.6568 | 1.7101 | 0.00049291
307 | -4.7168 | 1.6501 | 0.00047562
307.5 | -4.7317 | 1.6352 | 0.00047133
308 | -4.9613 | 1.4056 | 0.00040515
308.5 | -5.1399 | 1.227 | 0.00035367
309 | -5.2056 | 1.1613 | 0.00033473
309.5 | -5.2118 | 1.1551 | 0.00033294
310 | -5.1493 | 1.2176 | 0.00035096
310.5 | -4.9868 | 1.3801 | 0.0003978
311 | -4.9592 | 1.4077 | 0.00040575
311.5 | -4.8567 | 1.5102 | 0.0004353
312 | -4.7632 | 1.6037 | 0.00046225
312.5 | -4.6709 | 1.696 | 0.00048885
313 | -4.5031 | 1.8638 | 0.00053722
313.5 | -4.3877 | 1.9792 | 0.00057048
314 | -4.4793 | 1.8876 | 0.00054408
314.5 | -4.4773 | 1.8896 | 0.00054465
315 | -4.4024 | 1.9645 | 0.00056624
315.5 | -4.4238 | 1.9431 | 0.00056007
316 | -4.4537 | 1.9132 | 0.00055146
316.5 | -4.5572 | 1.8097 | 0.00052162
317 | -4.7475 | 1.6194 | 0.00046677
317.5 | -4.8786 | 1.4883 | 0.00042898
318 | -5.0271 | 1.3398 | 0.00038618
318.5 | -5.1534 | 1.2135 | 0.00034978
319 | -5.2598 | 1.1071 | 0.00031911
319.5 | -5.3811 | 0.9858 | 0.00028414
320 | -5.3996 | 0.9673 | 0.00027881
320.5 | -5.2374 | 1.1295 | 0.00032556
321 | -5.1739 | 1.193 | 0.00034387
321.5 | -5.1059 | 1.261 | 0.00036347
322 | -5.0276 | 1.3393 | 0.00038604
322.5 | -4.9617 | 1.4052 | 0.00040503
323 | -4.7822 | 1.5847 | 0.00045677
323.5 | -4.5036 | 1.8633 | 0.00053707
324 | -4.113 | 2.2539 | 0.00064966
324.5 | -3.7908 | 2.5761 | 0.00074253
325 | -3.527 | 2.8399 | 0.00081856
325.5 | -3.3237 | 3.0432 | 0.00087716
326 | -3.2788 | 3.0881 | 0.0008901
326.5 | -3.3195 | 3.0474 | 0.00087837
327 | -3.3852 | 2.9817 | 0.00085944
327.5 | -3.2995 | 3.0674 | 0.00088414
328 | -3.1923 | 3.1746 | 0.00091504
328.5 | -3.0845 | 3.2824 | 0.00094611
329 | -3.1036 | 3.2633 | 0.0009406
329.5 | -3.1561 | 3.2108 | 0.00092547
330 | -3.342 | 3.0249 | 0.00087189
330.5 | -3.6136 | 2.7533 | 0.0007936
331 | -3.8002 | 2.5667 | 0.00073982
331.5 | -3.9634 | 2.4035 | 0.00069278
332 | -4.0135 | 2.3534 | 0.00067834
332.5 | -3.983 | 2.3839 | 0.00068713
333 | -3.8014 | 2.5655 | 0.00073947
333.5 | -3.5931 | 2.7738 | 0.00079951
334 | -3.5505 | 2.8164 | 0.00081179
334.5 | -3.5569 | 2.81 | 0.00080995
335 | -3.5029 | 2.864 | 0.00082551
335.5 | -3.4074 | 2.9595 | 0.00085304
336 | -3.3291 | 3.0378 | 0.00087561
336.5 | -3.2037 | 3.1632 | 0.00091175
337 | -3.1746 | 3.1923 | 0.00092014
337.5 | -3.2238 | 3.1431 | 0.00090596
338 | -3.2812 | 3.0857 | 0.00088941
338.5 | -3.3587 | 3.0082 | 0.00086707
339 | -3.4234 | 2.9435 | 0.00084843
339.5 | -3.5028 | 2.8641 | 0.00082554
340 | -3.6092 | 2.7577 | 0.00079487
340.5 | -3.6069 | 2.76 | 0.00079553
341 | -3.6137 | 2.7532 | 0.00079357
341.5 | -3.6459 | 2.721 | 0.00078429
342 | -3.7003 | 2.6666 | 0.00076861
342.5 | -3.7478 | 2.6191 | 0.00075492
343 | -3.7253 | 2.6416 | 0.00076141
343.5 | -3.6737 | 2.6932 | 0.00077628
344 | -3.6583 | 2.7086 | 0.00078072
344.5 | -3.8056 | 2.5613 | 0.00073826
345 | -3.856 | 2.5109 | 0.00072373
345.5 | -3.9888 | 2.3781 | 0.00068546
346 | -4.1006 | 2.2663 | 0.00065323
346.5 | -4.1888 | 2.1781 | 0.00062781
347 | -4.2485 | 2.1184 | 0.0006106
347.5 | -4.3163 | 2.0506 | 0.00059106
348 | -4.4369 | 1.93 | 0.0005563
348.5 | -4.5699 | 1.797 | 0.00051796
349 | -4.772 | 1.5949 | 0.00045971
349.5 | -5.0399 | 1.327 | 0.00038249
350 | -5.2626 | 1.1043 | 0.0003183
350.5 | -5.2471 | 1.1198 | 0.00032277
351 | -5.1995 | 1.1674 | 0.00033649
351.5 | -5.1938 | 1.1731 | 0.00033813
352 | -5.0261 | 1.3408 | 0.00038647
352.5 | -4.9586 | 1.4083 | 0.00040592
353 | -4.89 | 1.4769 | 0.0004257
353.5 | -4.8076 | 1.5593 | 0.00044945
354 | -4.6816 | 1.6853 | 0.00048577
354.5 | -4.4444 | 1.9225 | 0.00055414
355 | -4.2137 | 2.1532 | 0.00062063
355.5 | -3.9838 | 2.3831 | 0.0006869
356 | -3.6421 | 2.7248 | 0.00078539
356.5 | -3.3626 | 3.0043 | 0.00086595
357 | -3.1877 | 3.1792 | 0.00091636
357.5 | -2.8827 | 3.4842 | 0.0010043
358 | -2.542 | 3.8249 | 0.0011025
358.5 | -2.3341 | 4.0328 | 0.0011624
359 | -2.1395 | 4.2274 | 0.0012185
359.5 | -2.0636 | 4.3033 | 0.0012404
360 | -2.0332 | 4.3337 | 0.0012491
360.5 | -2.0696 | 4.2973 | 0.0012386
361 | -2.1334 | 4.2335 | 0.0012203
361.5 | -2.0728 | 4.2941 | 0.0012377
362 | -1.8637 | 4.5032 | 0.001298
362.5 | -1.596 | 4.7709 | 0.0013752
363 | -1.2669 | 5.1 | 0.00147
363.5 | -0.9335 | 5.4334 | 0.0015661
364 | -0.71948 | 5.6474 | 0.0016278
364.5 | -0.60212 | 5.7648 | 0.0016616
365 | -0.46671 | 5.9002 | 0.0017007
365.5 | -0.4043 | 5.9626 | 0.0017186
366 | -0.36387 | 6.003 | 0.0017303
366.5 | -0.30997 | 6.0569 | 0.0017458
367 | -0.21904 | 6.1479 | 0.001772
367.5 | -0.2082 | 6.1587 | 0.0017752
368 | -0.31127 | 6.0556 | 0.0017455
368.5 | -0.50409 | 5.8628 | 0.0016899
369 | -0.66826 | 5.6986 | 0.0016426
369.5 | -0.91685 | 5.4501 | 0.0015709
370 | -1.12 | 5.2469 | 0.0015124
370.5 | -1.3061 | 5.0608 | 0.0014587
371 | -1.4361 | 4.9308 | 0.0014212
371.5 | -1.558 | 4.8089 | 0.0013861
372 | -1.5974 | 4.7695 | 0.0013747
372.5 | -1.462 | 4.9049 | 0.0014138
373 | -1.4127 | 4.9542 | 0.001428
373.5 | -1.3715 | 4.9954 | 0.0014399
374 | -1.194 | 5.1729 | 0.001491
374.5 | -0.90915 | 5.4577 | 0.0015731
375 | -0.65408 | 5.7128 | 0.0016466
375.5 | -0.36252 | 6.0044 | 0.0017307
376 | -0.038145 | 6.3288 | 0.0018242
376.5 | 0.2389 | 6.6058 | 0.001904
377 | 0.49518 | 6.8621 | 0.0019779
377.5 | 0.627 | 6.9939 | 0.0020159
378 | 0.73635 | 7.1033 | 0.0020474
378.5 | 0.80529 | 7.1722 | 0.0020673
379 | 1.0517 | 7.4186 | 0.0021383
379.5 | 1.3016 | 7.6685 | 0.0022103
380 | 1.5499 | 7.9168 | 0.0022819
380.5 | 1.7806 | 8.1475 | 0.0023484
381 | 1.9432 | 8.3101 | 0.0023953
381.5 | 2.0477 | 8.4146 | 0.0024254
382 | 2.0862 | 8.4531 | 0.0024365
382.5 | 1.959 | 8.3259 | 0.0023998
383 | 1.9475 | 8.3144 | 0.0023965
383.5 | 2.0575 | 8.4244 | 0.0024282
384 | 2.287 | 8.6539 | 0.0024944
384.5 | 2.5825 | 8.9494 | 0.0025795
385 | 2.902 | 9.2689 | 0.0026716
385.5 | 3.178 | 9.5449 | 0.0027512
386 | 3.5246 | 9.8915 | 0.0028511
386.5 | 3.8929 | 10.2598 | 0.0029573
387 | 4.3161 | 10.683 | 0.0030792
387.5 | 4.8035 | 11.1704 | 0.0032197
388 | 5.4486 | 11.8155 | 0.0034057
388.5 | 6.2754 | 12.6423 | 0.003644
389 | 7.121 | 13.4879 | 0.0038877
389.5 | 8.0948 | 14.4617 | 0.0041684
390 | 9.2201 | 15.587 | 0.0044928
390.5 | 10.43 | 16.7969 | 0.0048415
391 | 11.597 | 17.9639 | 0.0051779
391.5 | 12.902 | 19.2689 | 0.005554
392 | 14.433 | 20.7999 | 0.0059953
392.5 | 16.155 | 22.5219 | 0.0064916
393 | 17.956 | 24.3229 | 0.0070108
393.5 | 20.146 | 26.5129 | 0.007642
394 | 22.431 | 28.7979 | 0.0083006
394.5 | 24.878 | 31.2449 | 0.0090059
395 | 27.555 | 33.9219 | 0.0097775
395.5 | 30.429 | 36.7959 | 0.010606
396 | 33.453 | 39.8199 | 0.011478
396.5 | 36.839 | 43.2059 | 0.012454
397 | 40.591 | 46.9579 | 0.013535
397.5 | 44.792 | 51.1589 | 0.014746
398 | 49.199 | 55.5659 | 0.016016
398.5 | 53.837 | 60.2039 | 0.017353
399 | 58.828 | 65.1949 | 0.018792
399.5 | 63.968 | 70.3349 | 0.020273
400 | 69.617 | 75.9839 | 0.021901
400.5 | 75.819 | 82.1859 | 0.023689
401 | 82.558 | 88.9249 | 0.025631
401.5 | 90.199 | 96.5659 | 0.027834
402 | 98.524 | 104.8909 | 0.030233
402.5 | 107.54 | 113.9069 | 0.032832
403 | 117.31 | 123.6769 | 0.035648
403.5 | 127.75 | 134.1169 | 0.038657
404 | 139.12 | 145.4869 | 0.041935
404.5 | 151.49 | 157.8569 | 0.0455
405 | 164.96 | 171.3269 | 0.049383
405.5 | 180.24 | 186.6069 | 0.053787
406 | 196.94 | 203.3069 | 0.058601
406.5 | 215.31 | 221.6769 | 0.063895
407 | 235.72 | 242.0869 | 0.069778
407.5 | 257.92 | 264.2869 | 0.076177
408 | 282.38 | 288.7469 | 0.083228
408.5 | 309.03 | 315.3969 | 0.090909
409 | 338.19 | 344.5569 | 0.099314
409.5 | 370.48 | 376.8469 | 0.10862
410 | 405.7 | 412.0669 | 0.11877
410.5 | 444.39 | 450.7569 | 0.12992
411 | 486.68 | 493.0469 | 0.14211
411.5 | 532.19 | 538.5569 | 0.15523
412 | 581.56 | 587.9269 | 0.16946
412.5 | 634.27 | 640.6369 | 0.18466
413 | 690.85 | 697.2169 | 0.20096
413.5 | 751.74 | 758.1069 | 0.21851
414 | 816.39 | 822.7569 | 0.23715
414.5 | 885.52 | 891.8869 | 0.25707
415 | 958.65 | 965.0169 | 0.27815
415.5 | 1035.6 | 1041.9669 | 0.30033
416 | 1116.1 | 1122.4669 | 0.32354
416.5 | 1199.5 | 1205.8669 | 0.34758
417 | 1286.2 | 1292.5669 | 0.37257
417.5 | 1376.3 | 1382.6669 | 0.39854
418 | 1469.5 | 1475.8669 | 0.4254
418.5 | 1566.5 | 1572.8669 | 0.45336
419 | 1665.9 | 1672.2669 | 0.48201
419.5 | 1767.6 | 1773.9669 | 0.51132
420 | 1871.3 | 1877.6669 | 0.54121
420.5 | 1976.5 | 1982.8669 | 0.57154
421 | 2082.7 | 2089.0669 | 0.60215
421.5 | 2189.8 | 2196.1669 | 0.63302
422 | 2298.4 | 2304.7669 | 0.66432
422.5 | 2408.4 | 2414.7669 | 0.69603
423 | 2518.6 | 2524.9669 | 0.72779
423.5 | 2627.5 | 2633.8669 | 0.75918
424 | 2733.4 | 2739.7669 | 0.7897
424.5 | 2835.4 | 2841.7669 | 0.8191
425 | 2932 | 2938.3669 | 0.84695
425.5 | 3023.6 | 3029.9669 | 0.87335
426 | 3108.9 | 3115.2669 | 0.89794
426.5 | 3187.8 | 3194.1669 | 0.92068
427 | 3260.3 | 3266.6669 | 0.94157
427.5 | 3323.5 | 3329.8669 | 0.95979
428 | 3376.9 | 3383.2669 | 0.97518
428.5 | 3417.7 | 3424.0669 | 0.98694
429 | 3446 | 3452.3669 | 0.9951
429.5 | 3461.8 | 3468.1669 | 0.99965
430 | 3463 | 3469.3669 | 1
430.5 | 3452 | 3458.3669 | 0.99683
431 | 3427.5 | 3433.8669 | 0.98977
431.5 | 3390.1 | 3396.4669 | 0.97899
432 | 3340.6 | 3346.9669 | 0.96472
432.5 | 3278.4 | 3284.7669 | 0.94679
433 | 3206 | 3212.3669 | 0.92592
433.5 | 3122.9 | 3129.2669 | 0.90197
434 | 3031.3 | 3037.6669 | 0.87557
434.5 | 2932.5 | 2938.8669 | 0.84709
435 | 2826.7 | 2833.0669 | 0.81659
435.5 | 2716.2 | 2722.5669 | 0.78474
436 | 2602 | 2608.3669 | 0.75183
436.5 | 2485.7 | 2492.0669 | 0.71831
437 | 2368.9 | 2375.2669 | 0.68464
437.5 | 2252.6 | 2258.9669 | 0.65112
438 | 2137.1 | 2143.4669 | 0.61783
438.5 | 2022.7 | 2029.0669 | 0.58485
439 | 1909.7 | 1916.0669 | 0.55228
439.5 | 1798.9 | 1805.2669 | 0.52034
440 | 1691.7 | 1698.0669 | 0.48945
440.5 | 1588.2 | 1594.5669 | 0.45961
441 | 1489.6 | 1495.9669 | 0.43119
441.5 | 1395.7 | 1402.0669 | 0.40413
442 | 1306.8 | 1313.1669 | 0.3785
442.5 | 1222.7 | 1229.0669 | 0.35426
443 | 1142.4 | 1148.7669 | 0.33112
443.5 | 1066.6 | 1072.9669 | 0.30927
444 | 994.6 | 1000.9669 | 0.28852
444.5 | 926.93 | 933.2969 | 0.26901
445 | 863.24 | 869.6069 | 0.25065
445.5 | 803.19 | 809.5569 | 0.23334
446 | 746.62 | 752.9869 | 0.21704
446.5 | 692.84 | 699.2069 | 0.20154
447 | 642.31 | 648.6769 | 0.18697
447.5 | 594.63 | 600.9969 | 0.17323
448 | 550.09 | 556.4569 | 0.16039
448.5 | 509.01 | 515.3769 | 0.14855
449 | 470.9 | 477.2669 | 0.13757
449.5 | 436 | 442.3669 | 0.12751
450 | 403.7 | 410.0669 | 0.1182
450.5 | 373.81 | 380.1769 | 0.10958
451 | 346.15 | 352.5169 | 0.10161
451.5 | 320.46 | 326.8269 | 0.094204
452 | 297.09 | 303.4569 | 0.087468
452.5 | 275.33 | 281.6969 | 0.081195
453 | 255.56 | 261.9269 | 0.075497
453.5 | 237.43 | 243.7969 | 0.070271
454 | 221.02 | 227.3869 | 0.065541
454.5 | 206.06 | 212.4269 | 0.061229
455 | 192.22 | 198.5869 | 0.05724
455.5 | 179.72 | 186.0869 | 0.053637
456 | 168.21 | 174.5769 | 0.05032
456.5 | 157.67 | 164.0369 | 0.047282
457 | 148.04 | 154.4069 | 0.044506
457.5 | 139.28 | 145.6469 | 0.041981
458 | 131.26 | 137.6269 | 0.039669
458.5 | 124.08 | 130.4469 | 0.0376
459 | 117.41 | 123.7769 | 0.035677
459.5 | 111.1 | 117.4669 | 0.033858
460 | 105.12 | 111.4869 | 0.032135
460.5 | 99.622 | 105.9889 | 0.03055
461 | 94.394 | 100.7609 | 0.029043
461.5 | 89.49 | 95.8569 | 0.02763
462 | 84.824 | 91.1909 | 0.026285
462.5 | 80.43 | 86.7969 | 0.025018
463 | 76.293 | 82.6599 | 0.023826
463.5 | 72.33 | 78.6969 | 0.022683
464 | 68.59 | 74.9569 | 0.021605
464.5 | 64.976 | 71.3429 | 0.020564
465 | 61.758 | 68.1249 | 0.019636
465.5 | 58.88 | 65.2469 | 0.018807
466 | 56.097 | 62.4639 | 0.018004
466.5 | 53.254 | 59.6209 | 0.017185
467 | 50.446 | 56.8129 | 0.016376
467.5 | 47.744 | 54.1109 | 0.015597
468 | 45.282 | 51.6489 | 0.014887
468.5 | 43.069 | 49.4359 | 0.014249
469 | 40.826 | 47.1929 | 0.013603
469.5 | 38.827 | 45.1939 | 0.013027
470 | 36.841 | 43.2079 | 0.012454
470.5 | 34.757 | 41.1239 | 0.011853
471 | 32.589 | 38.9559 | 0.011229
471.5 | 30.501 | 36.8679 | 0.010627
472 | 28.673 | 35.0399 | 0.0101
472.5 | 26.965 | 33.3319 | 0.0096075
473 | 25.578 | 31.9449 | 0.0092077
473.5 | 24.145 | 30.5119 | 0.0087947
474 | 22.889 | 29.2559 | 0.0084326
474.5 | 21.745 | 28.1119 | 0.0081029
475 | 20.687 | 27.0539 | 0.0077979
475.5 | 19.554 | 25.9209 | 0.0074714
476 | 18.569 | 24.9359 | 0.0071874
476.5 | 17.837 | 24.2039 | 0.0069765
477 | 17.177 | 23.5439 | 0.0067862
477.5 | 16.456 | 22.8229 | 0.0065784
478 | 15.699 | 22.0659 | 0.0063602
478.5 | 14.932 | 21.2989 | 0.0061391
479 | 14.215 | 20.5819 | 0.0059325
479.5 | 13.553 | 19.9199 | 0.0057417
480 | 12.708 | 19.0749 | 0.0054981
480.5 | 11.807 | 18.1739 | 0.0052384
481 | 10.984 | 17.3509 | 0.0050012
481.5 | 10.19 | 16.5569 | 0.0047723
482 | 9.3389 | 15.7058 | 0.004527
482.5 | 8.415 | 14.7819 | 0.0042607
483 | 7.6525 | 14.0194 | 0.0040409
483.5 | 6.931 | 13.2979 | 0.0038329
484 | 6.2802 | 12.6471 | 0.0036454
484.5 | 5.7923 | 12.1592 | 0.0035047
485 | 5.279 | 11.6459 | 0.0033568
485.5 | 4.847 | 11.2139 | 0.0032323
486 | 4.3406 | 10.7075 | 0.0030863
486.5 | 3.8172 | 10.1841 | 0.0029354
487 | 3.4034 | 9.7703 | 0.0028162
487.5 | 3.0786 | 9.4455 | 0.0027225
488 | 2.7563 | 9.1232 | 0.0026296
488.5 | 2.5129 | 8.8798 | 0.0025595
489 | 2.2239 | 8.5908 | 0.0024762
489.5 | 1.8672 | 8.2341 | 0.0023734
490 | 1.5365 | 7.9034 | 0.0022781
490.5 | 1.2184 | 7.5853 | 0.0021864
491 | 0.99976 | 7.3667 | 0.0021233
491.5 | 0.70706 | 7.074 | 0.002039
492 | 0.46286 | 6.8298 | 0.0019686
492.5 | 0.11841 | 6.4853 | 0.0018693
493 | -0.13716 | 6.2297 | 0.0017956
493.5 | -0.36984 | 5.9971 | 0.0017286
494 | -0.57761 | 5.7893 | 0.0016687
494.5 | -0.62251 | 5.7444 | 0.0016557
495 | -0.76072 | 5.6062 | 0.0016159
495.5 | -0.83424 | 5.5327 | 0.0015947
496 | -1.062 | 5.3049 | 0.0015291
496.5 | -1.4228 | 4.9441 | 0.0014251
497 | -1.7764 | 4.5905 | 0.0013232
497.5 | -1.9216 | 4.4453 | 0.0012813
498 | -1.8806 | 4.4863 | 0.0012931
498.5 | -1.8834 | 4.4835 | 0.0012923
499 | -1.7898 | 4.5771 | 0.0013193
499.5 | -1.632 | 4.7349 | 0.0013648
500 | -1.7553 | 4.6116 | 0.0013292
500.5 | -1.8712 | 4.4957 | 0.0012958
501 | -1.8577 | 4.5092 | 0.0012997
501.5 | -1.8218 | 4.5451 | 0.0013101
502 | -1.8124 | 4.5545 | 0.0013128
502.5 | -1.7754 | 4.5915 | 0.0013234
503 | -1.6754 | 4.6915 | 0.0013523
503.5 | -1.6368 | 4.7301 | 0.0013634
504 | -1.5419 | 4.825 | 0.0013907
504.5 | -1.483 | 4.8839 | 0.0014077
505 | -1.5056 | 4.8613 | 0.0014012
505.5 | -1.5064 | 4.8605 | 0.001401
506 | -1.4373 | 4.9296 | 0.0014209
506.5 | -1.3932 | 4.9737 | 0.0014336
507 | -1.4791 | 4.8878 | 0.0014088
507.5 | -1.5208 | 4.8461 | 0.0013968
508 | -1.5202 | 4.8467 | 0.001397
508.5 | -1.5028 | 4.8641 | 0.001402
509 | -1.5808 | 4.7861 | 0.0013795
509.5 | -1.7681 | 4.5988 | 0.0013255
510 | -2.041 | 4.3259 | 0.0012469
510.5 | -2.3391 | 4.0278 | 0.001161
511 | -2.6917 | 3.6752 | 0.0010593
511.5 | -2.9254 | 3.4415 | 0.00099197
512 | -3.2473 | 3.1196 | 0.00089918
512.5 | -3.5116 | 2.8553 | 0.000823
513 | -3.6111 | 2.7558 | 0.00079432
513.5 | -3.8462 | 2.5207 | 0.00072656
514 | -4.1036 | 2.2633 | 0.00065237
514.5 | -4.3015 | 2.0654 | 0.00059532
515 | -4.4085 | 1.9584 | 0.00056448
515.5 | -4.4081 | 1.9588 | 0.0005646
516 | -4.3024 | 2.0645 | 0.00059507
516.5 | -4.2988 | 2.0681 | 0.0005961
517 | -4.3926 | 1.9743 | 0.00056907
517.5 | -4.4196 | 1.9473 | 0.00056128
518 | -4.4151 | 1.9518 | 0.00056258
518.5 | -4.3949 | 1.972 | 0.0005684
519 | -4.3212 | 2.0457 | 0.00058965
519.5 | -4.2146 | 2.1523 | 0.00062037
520 | -4.1934 | 2.1735 | 0.00062648
520.5 | -4.3022 | 2.0647 | 0.00059512
521 | -4.5209 | 1.846 | 0.00053209
521.5 | -4.8446 | 1.5223 | 0.00043878
522 | -5.2159 | 1.151 | 0.00033176
522.5 | -5.4654 | 0.9015 | 0.00025985
523 | -5.5106 | 0.8563 | 0.00024682
523.5 | -5.6311 | 0.7358 | 0.00021208
524 | -5.8782 | 0.4887 | 0.00014086
524.5 | -6.061 | 0.3059 | 8.8172e-05
525 | -6.2143 | 0.1526 | 4.3985e-05
525.5 | -6.1992 | 0.1677 | 4.8337e-05
526 | -6.1177 | 0.2492 | 7.1829e-05
526.5 | -5.8435 | 0.5234 | 0.00015086
527 | -5.4946 | 0.8723 | 0.00025143
527.5 | -5.1234 | 1.2435 | 0.00035842
528 | -4.8257 | 1.5412 | 0.00044423
528.5 | -4.6942 | 1.6727 | 0.00048213
529 | -4.6204 | 1.7465 | 0.00050341
529.5 | -4.5964 | 1.7705 | 0.00051032
530 | -4.6608 | 1.7061 | 0.00049176
530.5 | -4.6732 | 1.6937 | 0.00048819
531 | -4.594 | 1.7729 | 0.00051102
531.5 | -4.4595 | 1.9074 | 0.00054978
532 | -4.4057 | 1.9612 | 0.00056529
532.5 | -4.5197 | 1.8472 | 0.00053243
533 | -4.569 | 1.7979 | 0.00051822
533.5 | -4.5214 | 1.8455 | 0.00053194
534 | -4.4351 | 1.9318 | 0.00055682
534.5 | -4.2954 | 2.0715 | 0.00059708
535 | -4.0629 | 2.304 | 0.0006641
535.5 | -3.7145 | 2.6524 | 0.00076452
536 | -3.3901 | 2.9768 | 0.00085802
536.5 | -3.4088 | 2.9581 | 0.00085263
537 | -3.5625 | 2.8044 | 0.00080833
537.5 | -3.7565 | 2.6104 | 0.00075241
538 | -3.9047 | 2.4622 | 0.0007097
538.5 | -4.0406 | 2.3263 | 0.00067053
539 | -4.1623 | 2.2046 | 0.00063545
539.5 | -4.1234 | 2.2435 | 0.00064666
540 | -4.0412 | 2.3257 | 0.00067035
540.5 | -4.0538 | 2.3131 | 0.00066672
541 | -4.1756 | 2.1913 | 0.00063161
541.5 | -4.286 | 2.0809 | 0.00059979
542 | -4.2632 | 2.1037 | 0.00060636
542.5 | -4.2362 | 2.1307 | 0.00061415
543 | -4.2316 | 2.1353 | 0.00061547
543.5 | -4.2663 | 2.1006 | 0.00060547
544 | -4.1545 | 2.2124 | 0.0006377
544.5 | -4.0023 | 2.3646 | 0.00068157
545 | -4.089 | 2.2779 | 0.00065658
545.5 | -4.4174 | 1.9495 | 0.00056192
546 | -4.6039 | 1.763 | 0.00050816
546.5 | -4.5234 | 1.8435 | 0.00053136
547 | -4.5461 | 1.8208 | 0.00052482
547.5 | -4.4814 | 1.8855 | 0.00054347
548 | -4.4814 | 1.8855 | 0.00054347
548.5 | -4.6296 | 1.7373 | 0.00050075
549 | -4.6824 | 1.6845 | 0.00048554
549.5 | -4.8039 | 1.563 | 0.00045051
550 | -5.0541 | 1.3128 | 0.0003784
550.5 | -5.1816 | 1.1853 | 0.00034165
551 | -5.1655 | 1.2014 | 0.00034629
551.5 | -5.1669 | 1.2 | 0.00034588
552 | -5.4695 | 0.8974 | 0.00025866
552.5 | -5.6988 | 0.6681 | 0.00019257
553 | -5.9721 | 0.3948 | 0.0001138
553.5 | -6.1294 | 0.2375 | 6.8456e-05
554 | -6.0175 | 0.3494 | 0.00010071
554.5 | -5.905 | 0.4619 | 0.00013314
555 | -5.8642 | 0.5027 | 0.0001449
555.5 | -5.858 | 0.5089 | 0.00014668
556 | -5.9682 | 0.3987 | 0.00011492
556.5 | -5.9031 | 0.4638 | 0.00013368
557 | -5.8043 | 0.5626 | 0.00016216
557.5 | -5.6576 | 0.7093 | 0.00020445
558 | -5.5803 | 0.7866 | 0.00022673
558.5 | -5.5639 | 0.803 | 0.00023145
559 | -5.7614 | 0.6055 | 0.00017453
559.5 | -5.9927 | 0.3742 | 0.00010786
560 | -6.0823 | 0.2846 | 8.2032e-05
560.5 | -6.1394 | 0.2275 | 6.5574e-05
561 | -6.2726 | 0.0943 | 2.7181e-05
561.5 | -6.3519 | 0.015 | 4.3236e-06
562 | -6.484 | 0 | 0
562.5 | -6.6461 | 0 | 0
563 | -6.7044 | 0 | 0
563.5 | -6.518 | 0 | 0
564 | -6.3103 | 0.0566 | 1.6314e-05
564.5 | -6.0492 | 0.3177 | 9.1573e-05
565 | -5.7835 | 0.5834 | 0.00016816
565.5 | -5.642 | 0.7249 | 0.00020894
566 | -5.5657 | 0.8012 | 0.00023094
566.5 | -5.2699 | 1.097 | 0.0003162
567 | -4.9469 | 1.42 | 0.0004093
567.5 | -4.6494 | 1.7175 | 0.00049505
568 | -4.5108 | 1.8561 | 0.000535
568.5 | -4.4792 | 1.8877 | 0.00054411
569 | -4.595 | 1.7719 | 0.00051073
569.5 | -4.6053 | 1.7616 | 0.00050776
570 | -4.4158 | 1.9511 | 0.00056238
570.5 | -4.2137 | 2.1532 | 0.00062063
571 | -4.063 | 2.3039 | 0.00066407
571.5 | -3.9991 | 2.3678 | 0.00068249
572 | -3.9566 | 2.4103 | 0.00069474
572.5 | -3.9877 | 2.3792 | 0.00068577
573 | -4.2511 | 2.1158 | 0.00060985
573.5 | -4.3596 | 2.0073 | 0.00057858
574 | -4.4808 | 1.8861 | 0.00054364
574.5 | -4.7243 | 1.6426 | 0.00047346
575 | -4.9427 | 1.4242 | 0.00041051
575.5 | -5.1702 | 1.1967 | 0.00034493
576 | -5.3801 | 0.9868 | 0.00028443
576.5 | -5.48 | 0.8869 | 0.00025564
577 | -5.5215 | 0.8454 | 0.00024368
577.5 | -5.6789 | 0.688 | 0.00019831
578 | -5.6733 | 0.6936 | 0.00019992
578.5 | -5.5932 | 0.7737 | 0.00022301
579 | -5.502 | 0.8649 | 0.0002493
579.5 | -5.3251 | 1.0418 | 0.00030029
580 | -5.1223 | 1.2446 | 0.00035874
580.5 | -5.1157 | 1.2512 | 0.00036064
581 | -5.2143 | 1.1526 | 0.00033222
581.5 | -5.3008 | 1.0661 | 0.00030729
582 | -5.3997 | 0.9672 | 0.00027878
582.5 | -5.358 | 1.0089 | 0.0002908
583 | -5.232 | 1.1349 | 0.00032712
583.5 | -5.3642 | 1.0027 | 0.00028902
584 | -5.362 | 1.0049 | 0.00028965
584.5 | -5.4634 | 0.9035 | 0.00026042
585 | -5.5244 | 0.8425 | 0.00024284
585.5 | -5.4968 | 0.8701 | 0.0002508
586 | -5.3105 | 1.0564 | 0.00030449
586.5 | -5.1837 | 1.1832 | 0.00034104
587 | -5.2314 | 1.1355 | 0.00032729
587.5 | -5.3862 | 0.9807 | 0.00028267
588 | -5.6105 | 0.7564 | 0.00021802
588.5 | -5.7916 | 0.5753 | 0.00016582
589 | -5.6757 | 0.6912 | 0.00019923
589.5 | -5.5332 | 0.8337 | 0.0002403
590 | -5.4654 | 0.9015 | 0.00025985
590.5 | -5.4824 | 0.8845 | 0.00025495
591 | -5.6031 | 0.7638 | 0.00022016
591.5 | -5.7156 | 0.6513 | 0.00018773
592 | -5.857 | 0.5099 | 0.00014697
592.5 | -5.9456 | 0.4213 | 0.00012143
593 | -6.0946 | 0.2723 | 7.8487e-05
593.5 | -6.1816 | 0.1853 | 5.341e-05
594 | -6.1524 | 0.2145 | 6.1827e-05
594.5 | -5.9949 | 0.372 | 0.00010722
595 | -5.9372 | 0.4297 | 0.00012386
595.5 | -5.7916 | 0.5753 | 0.00016582
596 | -5.5796 | 0.7873 | 0.00022693
596.5 | -5.4019 | 0.965 | 0.00027815
597 | -5.3857 | 0.9812 | 0.00028282
597.5 | -5.3326 | 1.0343 | 0.00029812
598 | -5.1906 | 1.1763 | 0.00033905
598.5 | -4.9105 | 1.4564 | 0.00041979
599 | -4.7586 | 1.6083 | 0.00046357
599.5 | -4.8553 | 1.5116 | 0.0004357
600 | -4.9494 | 1.4175 | 0.00040858
600.5 | -4.906 | 1.4609 | 0.00042109
601 | -4.9107 | 1.4562 | 0.00041973
601.5 | -5.0715 | 1.2954 | 0.00037338
602 | -5.2516 | 1.1153 | 0.00032147
602.5 | -5.343 | 1.0239 | 0.00029513
603 | -5.4578 | 0.9091 | 0.00026204
603.5 | -5.5095 | 0.8574 | 0.00024713
604 | -5.5097 | 0.8572 | 0.00024708
604.5 | -5.3505 | 1.0164 | 0.00029296
605 | -5.1159 | 1.251 | 0.00036058
605.5 | -5.1668 | 1.2001 | 0.00034591
606 | -5.3812 | 0.9857 | 0.00028412
606.5 | -5.4498 | 0.9171 | 0.00026434
607 | -5.3764 | 0.9905 | 0.0002855
607.5 | -5.1065 | 1.2604 | 0.00036329
608 | -4.8416 | 1.5253 | 0.00043965
608.5 | -4.6462 | 1.7207 | 0.00049597
609 | -4.5685 | 1.7984 | 0.00051837
609.5 | -4.7405 | 1.6264 | 0.00046879
610 | -4.9886 | 1.3783 | 0.00039728
610.5 | -5.227 | 1.1399 | 0.00032856
611 | -5.3328 | 1.0341 | 0.00029807
611.5 | -5.4477 | 0.9192 | 0.00026495
612 | -5.5945 | 0.7724 | 0.00022263
612.5 | -5.5622 | 0.8047 | 0.00023194
613 | -5.6004 | 0.7665 | 0.00022093
613.5 | -5.5855 | 0.7814 | 0.00022523
614 | -5.6107 | 0.7562 | 0.00021796
614.5 | -5.5759 | 0.791 | 0.000228
615 | -5.5516 | 0.8153 | 0.000235
615.5 | -5.5788 | 0.7881 | 0.00022716
616 | -5.5185 | 0.8484 | 0.00024454
616.5 | -5.6348 | 0.7321 | 0.00021102
617 | -5.5976 | 0.7693 | 0.00022174
617.5 | -5.7192 | 0.6477 | 0.00018669
618 | -5.9043 | 0.4626 | 0.00013334
618.5 | -6.1753 | 0.1916 | 5.5226e-05
619 | -6.4131 | 0 | 0
619.5 | -6.5612 | 0 | 0
620 | -6.5761 | 0 | 0
620.5 | -6.562 | 0 | 0
621 | -6.5068 | 0 | 0
621.5 | -6.4483 | 0 | 0
622 | -6.2505 | 0.1164 | 3.3551e-05
622.5 | -6.1632 | 0.2037 | 5.8714e-05
623 | -6.2428 | 0.1241 | 3.577e-05
623.5 | -6.2881 | 0.0788 | 2.2713e-05
624 | -6.2277 | 0.1392 | 4.0123e-05
624.5 | -5.9117 | 0.4552 | 0.00013121
625 | -5.6881 | 0.6788 | 0.00019566
625.5 | -5.4423 | 0.9246 | 0.0002665
626 | -5.3844 | 0.9825 | 0.00028319
626.5 | -5.4473 | 0.9196 | 0.00026506
627 | -5.4409 | 0.926 | 0.00026691
627.5 | -5.4347 | 0.9322 | 0.00026869
628 | -5.405 | 0.9619 | 0.00027726
628.5 | -5.2072 | 1.1597 | 0.00033427
629 | -4.992 | 1.3749 | 0.0003963
629.5 | -4.8399 | 1.527 | 0.00044014
630 | -4.868 | 1.4989 | 0.00043204
630.5 | -4.9474 | 1.4195 | 0.00040915
631 | -4.775 | 1.5919 | 0.00045884
631.5 | -4.462 | 1.9049 | 0.00054906
632 | -4.1487 | 2.2182 | 0.00063937
632.5 | -3.9716 | 2.3953 | 0.00069041
633 | -3.7402 | 2.6267 | 0.00075711
633.5 | -3.5215 | 2.8454 | 0.00082015
634 | -3.3344 | 3.0325 | 0.00087408
634.5 | -3.4317 | 2.9352 | 0.00084603
635 | -3.6722 | 2.6947 | 0.00077671
635.5 | -3.962 | 2.4049 | 0.00069318
636 | -4.2753 | 2.0916 | 0.00060288
636.5 | -4.6251 | 1.7418 | 0.00050205
637 | -4.9888 | 1.3781 | 0.00039722
637.5 | -5.3259 | 1.041 | 0.00030005
638 | -5.6153 | 0.7516 | 0.00021664
638.5 | -5.747 | 0.6199 | 0.00017868
639 | -5.8641 | 0.5028 | 0.00014493
639.5 | -5.7219 | 0.645 | 0.00018591
640 | -5.4153 | 0.9516 | 0.00027429
640.5 | -5.1355 | 1.2314 | 0.00035494
641 | -5.1054 | 1.2615 | 0.00036361
641.5 | -5.1513 | 1.2156 | 0.00035038
642 | -5.23 | 1.1369 | 0.0003277
642.5 | -5.3521 | 1.0148 | 0.0002925
643 | -5.4946 | 0.8723 | 0.00025143
643.5 | -5.6808 | 0.6861 | 0.00019776
644 | -5.9175 | 0.4494 | 0.00012953
644.5 | -6.2417 | 0.1252 | 3.6087e-05
645 | -6.509 | 0 | 0
645.5 | -6.6145 | 0 | 0
646 | -6.6308 | 0 | 0