## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -16.032 | 1.343 | 0.00038822
246.5 | -17.375 | 0 | 0
247 | -19.766 | 0 | 0
247.5 | -23.648 | 0 | 0
248 | -21.794 | 0 | 0
248.5 | -18.457 | 0 | 0
249 | -20.22 | 0 | 0
249.5 | -22.213 | 0 | 0
250 | -20.41 | 0 | 0
250.5 | -19.707 | 0 | 0
251 | -18.634 | 0 | 0
251.5 | -18.159 | 0 | 0
252 | -20.128 | 0 | 0
252.5 | -21.989 | 0 | 0
253 | -19.745 | 0 | 0
253.5 | -19.793 | 0 | 0
254 | -20.872 | 0 | 0
254.5 | -20.908 | 0 | 0
255 | -17.131 | 0.244 | 7.0533e-05
255.5 | -16.321 | 1.054 | 0.00030468
256 | -15.154 | 2.221 | 0.00064202
256.5 | -16.43 | 0.945 | 0.00027317
257 | -15.997 | 1.378 | 0.00039834
257.5 | -16.583 | 0.792 | 0.00022894
258 | -17.004 | 0.371 | 0.00010724
258.5 | -17.568 | 0 | 0
259 | -17.81 | 0 | 0
259.5 | -17.979 | 0 | 0
260 | -18.15 | 0 | 0
260.5 | -18.338 | 0 | 0
261 | -18.512 | 0 | 0
261.5 | -18.667 | 0 | 0
262 | -18.476 | 0 | 0
262.5 | -18.259 | 0 | 0
263 | -18.233 | 0 | 0
263.5 | -17.999 | 0 | 0
264 | -17.518 | 0 | 0
264.5 | -17.079 | 0.296 | 8.5565e-05
265 | -16.781 | 0.594 | 0.00017171
265.5 | -16.504 | 0.871 | 0.00025178
266 | -16.281 | 1.094 | 0.00031624
266.5 | -16.242 | 1.133 | 0.00032752
267 | -16.315 | 1.06 | 0.00030641
267.5 | -16.19 | 1.185 | 0.00034255
268 | -16.113 | 1.262 | 0.00036481
268.5 | -16.105 | 1.27 | 0.00036712
269 | -16.253 | 1.122 | 0.00032434
269.5 | -16.221 | 1.154 | 0.00033359
270 | -16.274 | 1.101 | 0.00031827
270.5 | -16.404 | 0.971 | 0.00028069
271 | -16.571 | 0.804 | 0.00023241
271.5 | -16.437 | 0.938 | 0.00027115
272 | -16.323 | 1.052 | 0.0003041
272.5 | -16.03 | 1.345 | 0.0003888
273 | -15.624 | 1.751 | 0.00050616
273.5 | -15.234 | 2.141 | 0.0006189
274 | -15.02 | 2.355 | 0.00068076
274.5 | -14.913 | 2.462 | 0.00071169
275 | -14.911 | 2.464 | 0.00071227
275.5 | -14.77 | 2.605 | 0.00075303
276 | -14.733 | 2.642 | 0.00076372
276.5 | -14.694 | 2.681 | 0.000775
277 | -14.688 | 2.687 | 0.00077673
277.5 | -14.597 | 2.778 | 0.00080304
278 | -14.72 | 2.655 | 0.00076748
278.5 | -14.835 | 2.54 | 0.00073424
279 | -15.255 | 2.12 | 0.00061283
279.5 | -15.588 | 1.787 | 0.00051657
280 | -15.669 | 1.706 | 0.00049315
280.5 | -15.614 | 1.761 | 0.00050905
281 | -15.698 | 1.677 | 0.00048477
281.5 | -16.016 | 1.359 | 0.00039285
282 | -16.363 | 1.012 | 0.00029254
282.5 | -16.645 | 0.73 | 0.00021102
283 | -16.766 | 0.609 | 0.00017604
283.5 | -16.875 | 0.5 | 0.00014453
284 | -17.02 | 0.355 | 0.00010262
284.5 | -16.812 | 0.563 | 0.00016275
285 | -16.622 | 0.753 | 0.00021767
285.5 | -16.41 | 0.965 | 0.00027895
286 | -16.018 | 1.357 | 0.00039227
286.5 | -15.908 | 1.467 | 0.00042407
287 | -15.942 | 1.433 | 0.00041424
287.5 | -15.964 | 1.411 | 0.00040788
288 | -15.721 | 1.654 | 0.00047812
288.5 | -15.487 | 1.888 | 0.00054576
289 | -15.36 | 2.015 | 0.00058248
289.5 | -15.358 | 2.017 | 0.00058305
290 | -15.435 | 1.94 | 0.00056079
290.5 | -15.587 | 1.788 | 0.00051686
291 | -15.754 | 1.621 | 0.00046858
291.5 | -15.868 | 1.507 | 0.00043563
292 | -15.992 | 1.383 | 0.00039978
292.5 | -16.384 | 0.991 | 0.00028647
293 | -16.63 | 0.745 | 0.00021536
293.5 | -16.692 | 0.683 | 0.00019743
294 | -16.657 | 0.718 | 0.00020755
294.5 | -16.727 | 0.648 | 0.00018732
295 | -16.855 | 0.52 | 0.00015032
295.5 | -16.936 | 0.439 | 0.0001269
296 | -17.045 | 0.33 | 9.5393e-05
296.5 | -17.101 | 0.274 | 7.9205e-05
297 | -16.945 | 0.43 | 0.0001243
297.5 | -16.939 | 0.436 | 0.00012603
298 | -16.974 | 0.401 | 0.00011592
298.5 | -16.705 | 0.67 | 0.00019368
299 | -16.242 | 1.133 | 0.00032752
299.5 | -15.956 | 1.419 | 0.00041019
300 | -15.865 | 1.51 | 0.0004365
300.5 | -15.776 | 1.599 | 0.00046222
301 | -15.673 | 1.702 | 0.000492
301.5 | -15.272 | 2.103 | 0.00060791
302 | -14.801 | 2.574 | 0.00074407
302.5 | -14.316 | 3.059 | 0.00088426
303 | -13.831 | 3.544 | 0.0010245
303.5 | -13.73 | 3.645 | 0.0010537
304 | -13.766 | 3.609 | 0.0010433
304.5 | -13.741 | 3.634 | 0.0010505
305 | -13.93 | 3.445 | 0.00099584
305.5 | -14.302 | 3.073 | 0.00088831
306 | -14.504 | 2.871 | 0.00082992
306.5 | -14.58 | 2.795 | 0.00080795
307 | -14.736 | 2.639 | 0.00076285
307.5 | -14.783 | 2.592 | 0.00074927
308 | -15.057 | 2.318 | 0.00067006
308.5 | -15.425 | 1.95 | 0.00056369
309 | -15.881 | 1.494 | 0.00043187
309.5 | -16.122 | 1.253 | 0.0003622
310 | -16.239 | 1.136 | 0.00032838
310.5 | -16.074 | 1.301 | 0.00037608
311 | -15.809 | 1.566 | 0.00045268
311.5 | -15.684 | 1.691 | 0.00048882
312 | -15.307 | 2.068 | 0.0005978
312.5 | -14.914 | 2.461 | 0.0007114
313 | -14.879 | 2.496 | 0.00072152
313.5 | -14.758 | 2.617 | 0.0007565
314 | -14.593 | 2.782 | 0.00080419
314.5 | -14.544 | 2.831 | 0.00081836
315 | -14.458 | 2.917 | 0.00084322
315.5 | -14.296 | 3.079 | 0.00089005
316 | -14.445 | 2.93 | 0.00084697
316.5 | -14.243 | 3.132 | 0.00090537
317 | -14.113 | 3.262 | 0.00094294
317.5 | -14.151 | 3.224 | 0.00093196
318 | -14.267 | 3.108 | 0.00089843
318.5 | -14.59 | 2.785 | 0.00080506
319 | -15.219 | 2.156 | 0.00062323
319.5 | -15.446 | 1.929 | 0.00055762
320 | -15.528 | 1.847 | 0.00053391
320.5 | -15.667 | 1.708 | 0.00049373
321 | -15.667 | 1.708 | 0.00049373
321.5 | -15.656 | 1.719 | 0.00049691
322 | -15.705 | 1.67 | 0.00048275
322.5 | -15.605 | 1.77 | 0.00051165
323 | -15.778 | 1.597 | 0.00046164
323.5 | -16.032 | 1.343 | 0.00038822
324 | -16.281 | 1.094 | 0.00031624
324.5 | -16.481 | 0.894 | 0.00025843
325 | -16.586 | 0.789 | 0.00022808
325.5 | -16.552 | 0.823 | 0.0002379
326 | -16.531 | 0.844 | 0.00024397
326.5 | -16.65 | 0.725 | 0.00020958
327 | -16.893 | 0.482 | 0.00013933
327.5 | -17.046 | 0.329 | 9.5104e-05
328 | -17.134 | 0.241 | 6.9666e-05
328.5 | -17.152 | 0.223 | 6.4463e-05
329 | -17.197 | 0.178 | 5.1454e-05
329.5 | -17.167 | 0.208 | 6.0126e-05
330 | -17.122 | 0.253 | 7.3135e-05
330.5 | -17.098 | 0.277 | 8.0072e-05
331 | -17.082 | 0.293 | 8.4697e-05
331.5 | -17.009 | 0.366 | 0.0001058
332 | -16.527 | 0.848 | 0.00024513
332.5 | -16.186 | 1.189 | 0.0003437
333 | -15.805 | 1.57 | 0.00045384
333.5 | -15.34 | 2.035 | 0.00058826
334 | -15.077 | 2.298 | 0.00066428
334.5 | -14.968 | 2.407 | 0.00069579
335 | -14.993 | 2.382 | 0.00068856
335.5 | -15.054 | 2.321 | 0.00067093
336 | -15.095 | 2.28 | 0.00065908
336.5 | -15.094 | 2.281 | 0.00065937
337 | -15.097 | 2.278 | 0.0006585
337.5 | -14.927 | 2.448 | 0.00070764
338 | -14.713 | 2.662 | 0.0007695
338.5 | -14.807 | 2.568 | 0.00074233
339 | -15.027 | 2.348 | 0.00067874
339.5 | -15.462 | 1.913 | 0.00055299
340 | -15.604 | 1.771 | 0.00051194
340.5 | -15.601 | 1.774 | 0.00051281
341 | -15.44 | 1.935 | 0.00055935
341.5 | -15.298 | 2.077 | 0.0006004
342 | -15.248 | 2.127 | 0.00061485
342.5 | -15.221 | 2.154 | 0.00062266
343 | -15.043 | 2.332 | 0.00067411
343.5 | -14.769 | 2.606 | 0.00075332
344 | -14.563 | 2.812 | 0.00081286
344.5 | -14.565 | 2.81 | 0.00081229
345 | -14.486 | 2.889 | 0.00083512
345.5 | -14.325 | 3.05 | 0.00088166
346 | -14.077 | 3.298 | 0.00095335
346.5 | -13.965 | 3.41 | 0.00098573
347 | -13.913 | 3.462 | 0.0010008
347.5 | -13.896 | 3.479 | 0.0010057
348 | -13.829 | 3.546 | 0.001025
348.5 | -13.679 | 3.696 | 0.0010684
349 | -13.47 | 3.905 | 0.0011288
349.5 | -13.496 | 3.879 | 0.0011213
350 | -13.626 | 3.749 | 0.0010837
350.5 | -13.865 | 3.51 | 0.0010146
351 | -14.098 | 3.277 | 0.00094728
351.5 | -14.153 | 3.222 | 0.00093138
352 | -14.318 | 3.057 | 0.00088369
352.5 | -14.357 | 3.018 | 0.00087241
353 | -14.384 | 2.991 | 0.00086461
353.5 | -14.218 | 3.157 | 0.00091259
354 | -14.223 | 3.152 | 0.00091115
354.5 | -14.463 | 2.912 | 0.00084177
355 | -14.79 | 2.585 | 0.00074724
355.5 | -15.246 | 2.129 | 0.00061543
356 | -15.652 | 1.723 | 0.00049807
356.5 | -15.763 | 1.612 | 0.00046598
357 | -15.617 | 1.758 | 0.00050818
357.5 | -15.64 | 1.735 | 0.00050154
358 | -15.641 | 1.734 | 0.00050125
358.5 | -15.516 | 1.859 | 0.00053738
359 | -15.493 | 1.882 | 0.00054403
359.5 | -15.619 | 1.756 | 0.00050761
360 | -15.807 | 1.568 | 0.00045326
360.5 | -15.743 | 1.632 | 0.00047176
361 | -15.349 | 2.026 | 0.00058565
361.5 | -15.265 | 2.11 | 0.00060994
362 | -15.216 | 2.159 | 0.0006241
362.5 | -15.115 | 2.26 | 0.0006533
363 | -15.028 | 2.347 | 0.00067845
363.5 | -14.864 | 2.511 | 0.00072585
364 | -14.552 | 2.823 | 0.00081604
364.5 | -14.3 | 3.075 | 0.00088889
365 | -14.059 | 3.316 | 0.00095855
365.5 | -13.986 | 3.389 | 0.00097966
366 | -13.843 | 3.532 | 0.001021
366.5 | -13.661 | 3.714 | 0.0010736
367 | -13.501 | 3.874 | 0.0011199
367.5 | -13.304 | 4.071 | 0.0011768
368 | -12.704 | 4.671 | 0.0013502
368.5 | -12.32 | 5.055 | 0.0014612
369 | -12.086 | 5.289 | 0.0015289
369.5 | -12.098 | 5.277 | 0.0015254
370 | -12.19 | 5.185 | 0.0014988
370.5 | -12.206 | 5.169 | 0.0014942
371 | -12.097 | 5.278 | 0.0015257
371.5 | -12.112 | 5.263 | 0.0015214
372 | -11.914 | 5.461 | 0.0015786
372.5 | -11.602 | 5.773 | 0.0016688
373 | -11.427 | 5.948 | 0.0017194
373.5 | -11.238 | 6.137 | 0.001774
374 | -11.218 | 6.157 | 0.0017798
374.5 | -11.28 | 6.095 | 0.0017619
375 | -11.115 | 6.26 | 0.0018096
375.5 | -10.751 | 6.624 | 0.0019148
376 | -10.288 | 7.087 | 0.0020486
376.5 | -9.8899 | 7.4851 | 0.0021637
377 | -9.6985 | 7.6765 | 0.002219
377.5 | -9.2423 | 8.1327 | 0.0023509
378 | -8.8788 | 8.4962 | 0.002456
378.5 | -8.8403 | 8.5347 | 0.0024671
379 | -8.6592 | 8.7158 | 0.0025195
379.5 | -8.3856 | 8.9894 | 0.0025986
380 | -8.0628 | 9.3122 | 0.0026919
380.5 | -7.8132 | 9.5618 | 0.002764
381 | -7.505 | 9.87 | 0.0028531
381.5 | -7.4237 | 9.9513 | 0.0028766
382 | -7.7063 | 9.6687 | 0.0027949
382.5 | -7.8824 | 9.4926 | 0.002744
383 | -7.8238 | 9.5512 | 0.002761
383.5 | -7.7779 | 9.5971 | 0.0027742
384 | -7.8578 | 9.5172 | 0.0027511
384.5 | -7.6784 | 9.6966 | 0.002803
385 | -7.5143 | 9.8607 | 0.0028504
385.5 | -7.4415 | 9.9335 | 0.0028715
386 | -7.4309 | 9.9441 | 0.0028745
386.5 | -7.5037 | 9.8713 | 0.0028535
387 | -7.5406 | 9.8344 | 0.0028428
387.5 | -7.8952 | 9.4798 | 0.0027403
388 | -8.0081 | 9.3669 | 0.0027077
388.5 | -7.8238 | 9.5512 | 0.002761
389 | -7.5067 | 9.8683 | 0.0028526
389.5 | -7.3327 | 10.0423 | 0.0029029
390 | -7.1867 | 10.1883 | 0.0029451
390.5 | -7.211 | 10.164 | 0.0029381
391 | -7.2941 | 10.0809 | 0.0029141
391.5 | -7.2957 | 10.0793 | 0.0029136
392 | -7.2616 | 10.1134 | 0.0029235
392.5 | -7.1007 | 10.2743 | 0.00297
393 | -6.6923 | 10.6827 | 0.003088
393.5 | -6.273 | 11.102 | 0.0032093
394 | -5.8333 | 11.5417 | 0.0033364
394.5 | -5.5763 | 11.7987 | 0.0034106
395 | -5.6717 | 11.7033 | 0.0033831
395.5 | -5.8969 | 11.4781 | 0.003318
396 | -5.8514 | 11.5236 | 0.0033311
396.5 | -5.601 | 11.774 | 0.0034035
397 | -5.2904 | 12.0846 | 0.0034933
397.5 | -5.1057 | 12.2693 | 0.0035467
398 | -4.9476 | 12.4274 | 0.0035924
398.5 | -4.5382 | 12.8368 | 0.0037107
399 | -4.0867 | 13.2883 | 0.0038412
399.5 | -3.6108 | 13.7642 | 0.0039788
400 | -3.0196 | 14.3554 | 0.0041497
400.5 | -2.5942 | 14.7808 | 0.0042727
401 | -2.271 | 15.104 | 0.0043661
401.5 | -1.7914 | 15.5836 | 0.0045047
402 | -1.3159 | 16.0591 | 0.0046422
402.5 | -0.8611 | 16.5139 | 0.0047737
403 | -0.24226 | 17.1327 | 0.0049526
403.5 | 0.70181 | 18.0768 | 0.0052255
404 | 1.5241 | 18.8991 | 0.0054632
404.5 | 2.0303 | 19.4053 | 0.0056095
405 | 2.3816 | 19.7566 | 0.005711
405.5 | 2.6927 | 20.0677 | 0.005801
406 | 3.2515 | 20.6265 | 0.0059625
406.5 | 4.0181 | 21.3931 | 0.0061841
407 | 5.0352 | 22.4102 | 0.0064781
407.5 | 6.1261 | 23.5011 | 0.0067935
408 | 7.1948 | 24.5698 | 0.0071024
408.5 | 8.1151 | 25.4901 | 0.0073684
409 | 9.0627 | 26.4377 | 0.0076423
409.5 | 9.9327 | 27.3077 | 0.0078938
410 | 11.085 | 28.46 | 0.0082269
410.5 | 12.62 | 29.995 | 0.0086706
411 | 14.511 | 31.886 | 0.0092173
411.5 | 16.615 | 33.99 | 0.0098255
412 | 18.801 | 36.176 | 0.010457
412.5 | 21.249 | 38.624 | 0.011165
413 | 23.9 | 41.275 | 0.011931
413.5 | 26.567 | 43.942 | 0.012702
414 | 29.295 | 46.67 | 0.013491
414.5 | 32.106 | 49.481 | 0.014303
415 | 35.242 | 52.617 | 0.01521
415.5 | 38.776 | 56.151 | 0.016232
416 | 42.698 | 60.073 | 0.017365
416.5 | 47.376 | 64.751 | 0.018718
417 | 52.495 | 69.87 | 0.020197
417.5 | 57.893 | 75.268 | 0.021758
418 | 63.687 | 81.062 | 0.023433
418.5 | 69.849 | 87.224 | 0.025214
419 | 76.489 | 93.864 | 0.027133
419.5 | 83.784 | 101.159 | 0.029242
420 | 91.849 | 109.224 | 0.031573
420.5 | 100.93 | 118.305 | 0.034198
421 | 110.94 | 128.315 | 0.037092
421.5 | 121.78 | 139.155 | 0.040225
422 | 133.63 | 151.005 | 0.043651
422.5 | 145.83 | 163.205 | 0.047178
423 | 158.98 | 176.355 | 0.050979
423.5 | 173.29 | 190.665 | 0.055115
424 | 188.66 | 206.035 | 0.059558
424.5 | 205.38 | 222.755 | 0.064392
425 | 223.57 | 240.945 | 0.06965
425.5 | 242.98 | 260.355 | 0.075261
426 | 263.95 | 281.325 | 0.081322
426.5 | 286.3 | 303.675 | 0.087783
427 | 310.34 | 327.715 | 0.094732
427.5 | 336.72 | 354.095 | 0.10236
428 | 365.41 | 382.785 | 0.11065
428.5 | 397.43 | 414.805 | 0.11991
429 | 432.43 | 449.805 | 0.13002
429.5 | 470.18 | 487.555 | 0.14094
430 | 510.89 | 528.265 | 0.15271
430.5 | 554.15 | 571.525 | 0.16521
431 | 600.15 | 617.525 | 0.17851
431.5 | 648.97 | 666.345 | 0.19262
432 | 700.87 | 718.245 | 0.20762
432.5 | 757.08 | 774.455 | 0.22387
433 | 817.51 | 834.885 | 0.24134
433.5 | 882.84 | 900.215 | 0.26022
434 | 952.6 | 969.975 | 0.28039
434.5 | 1026.6 | 1043.975 | 0.30178
435 | 1105 | 1122.375 | 0.32444
435.5 | 1187 | 1204.375 | 0.34815
436 | 1273.2 | 1290.575 | 0.37307
436.5 | 1362.6 | 1379.975 | 0.39891
437 | 1455.9 | 1473.275 | 0.42588
437.5 | 1552.5 | 1569.875 | 0.4538
438 | 1650.8 | 1668.175 | 0.48222
438.5 | 1750.3 | 1767.675 | 0.51098
439 | 1849.8 | 1867.175 | 0.53974
439.5 | 1948.9 | 1966.275 | 0.56839
440 | 2048.3 | 2065.675 | 0.59712
440.5 | 2147.8 | 2165.175 | 0.62589
441 | 2248.2 | 2265.575 | 0.65491
441.5 | 2349.2 | 2366.575 | 0.6841
442 | 2450.3 | 2467.675 | 0.71333
442.5 | 2550.6 | 2567.975 | 0.74232
443 | 2648.3 | 2665.675 | 0.77057
443.5 | 2742 | 2759.375 | 0.79765
444 | 2832.2 | 2849.575 | 0.82373
444.5 | 2918.2 | 2935.575 | 0.84859
445 | 2999 | 3016.375 | 0.87194
445.5 | 3074.5 | 3091.875 | 0.89377
446 | 3143.4 | 3160.775 | 0.91368
446.5 | 3206 | 3223.375 | 0.93178
447 | 3260.5 | 3277.875 | 0.94753
447.5 | 3307.9 | 3325.275 | 0.96124
448 | 3348.5 | 3365.875 | 0.97297
448.5 | 3382.2 | 3399.575 | 0.98271
449 | 3409.2 | 3426.575 | 0.99052
449.5 | 3428.1 | 3445.475 | 0.99598
450 | 3439.6 | 3456.975 | 0.99931
450.5 | 3442 | 3459.375 | 1
451 | 3435.6 | 3452.975 | 0.99815
451.5 | 3420.4 | 3437.775 | 0.99376
452 | 3394.1 | 3411.475 | 0.98615
452.5 | 3357.2 | 3374.575 | 0.97549
453 | 3308.1 | 3325.475 | 0.96129
453.5 | 3248 | 3265.375 | 0.94392
454 | 3178.1 | 3195.475 | 0.92371
454.5 | 3099.3 | 3116.675 | 0.90094
455 | 3014.8 | 3032.175 | 0.87651
455.5 | 2925.8 | 2943.175 | 0.85078
456 | 2834.6 | 2851.975 | 0.82442
456.5 | 2742.1 | 2759.475 | 0.79768
457 | 2649.2 | 2666.575 | 0.77083
457.5 | 2557 | 2574.375 | 0.74417
458 | 2467 | 2484.375 | 0.71816
458.5 | 2380 | 2397.375 | 0.69301
459 | 2296.6 | 2313.975 | 0.6689
459.5 | 2215.9 | 2233.275 | 0.64557
460 | 2137.1 | 2154.475 | 0.62279
460.5 | 2060.3 | 2077.675 | 0.60059
461 | 1985 | 2002.375 | 0.57883
461.5 | 1911.4 | 1928.775 | 0.55755
462 | 1839.8 | 1857.175 | 0.53685
462.5 | 1771.1 | 1788.475 | 0.51699
463 | 1705.5 | 1722.875 | 0.49803
463.5 | 1643.1 | 1660.475 | 0.47999
464 | 1583.4 | 1600.775 | 0.46274
464.5 | 1526.6 | 1543.975 | 0.44632
465 | 1472.8 | 1490.175 | 0.43076
465.5 | 1422 | 1439.375 | 0.41608
466 | 1373.7 | 1391.075 | 0.40212
466.5 | 1327.2 | 1344.575 | 0.38868
467 | 1282.8 | 1300.175 | 0.37584
467.5 | 1239.9 | 1257.275 | 0.36344
468 | 1197.9 | 1215.275 | 0.3513
468.5 | 1156.6 | 1173.975 | 0.33936
469 | 1115.2 | 1132.575 | 0.32739
469.5 | 1073.3 | 1090.675 | 0.31528
470 | 1031.2 | 1048.575 | 0.30311
470.5 | 988.84 | 1006.215 | 0.29087
471 | 946.96 | 964.335 | 0.27876
471.5 | 905.98 | 923.355 | 0.26691
472 | 866.42 | 883.795 | 0.25548
472.5 | 828.1 | 845.475 | 0.2444
473 | 791 | 808.375 | 0.23368
473.5 | 754.84 | 772.215 | 0.22322
474 | 719.7 | 737.075 | 0.21307
474.5 | 685.72 | 703.095 | 0.20324
475 | 653.19 | 670.565 | 0.19384
475.5 | 621.66 | 639.035 | 0.18473
476 | 591.35 | 608.725 | 0.17596
476.5 | 562.47 | 579.845 | 0.16762
477 | 534.36 | 551.735 | 0.15949
477.5 | 507.35 | 524.725 | 0.15168
478 | 481.26 | 498.635 | 0.14414
478.5 | 456.53 | 473.905 | 0.13699
479 | 432.82 | 450.195 | 0.13014
479.5 | 410.12 | 427.495 | 0.12358
480 | 388.97 | 406.345 | 0.11746
480.5 | 369.27 | 386.645 | 0.11177
481 | 351.11 | 368.485 | 0.10652
481.5 | 334.29 | 351.665 | 0.10166
482 | 318.61 | 335.985 | 0.097123
482.5 | 303.79 | 321.165 | 0.092839
483 | 289.8 | 307.175 | 0.088795
483.5 | 276.48 | 293.855 | 0.084945
484 | 263.67 | 281.045 | 0.081242
484.5 | 251.8 | 269.175 | 0.07781
485 | 240.68 | 258.055 | 0.074596
485.5 | 230.46 | 247.835 | 0.071642
486 | 220.54 | 237.915 | 0.068774
486.5 | 210.48 | 227.855 | 0.065866
487 | 200.8 | 218.175 | 0.063068
487.5 | 191.56 | 208.935 | 0.060397
488 | 182.6 | 199.975 | 0.057807
488.5 | 173.88 | 191.255 | 0.055286
489 | 165.51 | 182.885 | 0.052866
489.5 | 157.6 | 174.975 | 0.05058
490 | 149.98 | 167.355 | 0.048377
490.5 | 142.61 | 159.985 | 0.046247
491 | 135.66 | 153.035 | 0.044238
491.5 | 129.03 | 146.405 | 0.042321
492 | 122.69 | 140.065 | 0.040489
492.5 | 116.72 | 134.095 | 0.038763
493 | 110.72 | 128.095 | 0.037028
493.5 | 104.78 | 122.155 | 0.035311
494 | 99.429 | 116.804 | 0.033764
494.5 | 94.554 | 111.929 | 0.032355
495 | 89.986 | 107.361 | 0.031035
495.5 | 85.731 | 103.106 | 0.029805
496 | 81.529 | 98.904 | 0.02859
496.5 | 77.089 | 94.464 | 0.027307
497 | 72.711 | 90.086 | 0.026041
497.5 | 68.514 | 85.889 | 0.024828
498 | 64.52 | 81.895 | 0.023673
498.5 | 60.986 | 78.361 | 0.022652
499 | 57.399 | 74.774 | 0.021615
499.5 | 54.015 | 71.39 | 0.020637
500 | 50.909 | 68.284 | 0.019739
500.5 | 47.865 | 65.24 | 0.018859
501 | 44.817 | 62.192 | 0.017978
501.5 | 42.151 | 59.526 | 0.017207
502 | 39.805 | 57.18 | 0.016529
502.5 | 37.593 | 54.968 | 0.01589
503 | 35.573 | 52.948 | 0.015306
503.5 | 33.722 | 51.097 | 0.014771
504 | 31.804 | 49.179 | 0.014216
504.5 | 29.949 | 47.324 | 0.01368
505 | 28.353 | 45.728 | 0.013219
505.5 | 26.519 | 43.894 | 0.012688
506 | 24.332 | 41.707 | 0.012056
506.5 | 22.274 | 39.649 | 0.011461
507 | 20.512 | 37.887 | 0.010952
507.5 | 18.724 | 36.099 | 0.010435
508 | 17.19 | 34.565 | 0.0099917
508.5 | 15.9 | 33.275 | 0.0096188
509 | 14.427 | 31.802 | 0.009193
509.5 | 13.066 | 30.441 | 0.0087996
510 | 11.786 | 29.161 | 0.0084296
510.5 | 10.56 | 27.935 | 0.0080752
511 | 9.6789 | 27.0539 | 0.0078205
511.5 | 8.8895 | 26.2645 | 0.0075923
512 | 8.0744 | 25.4494 | 0.0073566
512.5 | 7.1712 | 24.5462 | 0.0070956
513 | 6.1699 | 23.5449 | 0.0068061
513.5 | 5.3233 | 22.6983 | 0.0065614
514 | 4.3661 | 21.7411 | 0.0062847
514.5 | 3.3692 | 20.7442 | 0.0059965
515 | 2.3531 | 19.7281 | 0.0057028
515.5 | 1.6895 | 19.0645 | 0.005511
516 | 1.1401 | 18.5151 | 0.0053522
516.5 | 0.18664 | 17.5616 | 0.0050765
517 | -0.56476 | 16.8102 | 0.0048593
517.5 | -0.99539 | 16.3796 | 0.0047348
518 | -1.1995 | 16.1755 | 0.0046758
518.5 | -1.6373 | 15.7377 | 0.0045493
519 | -2.1622 | 15.2128 | 0.0043976
519.5 | -2.6482 | 14.7268 | 0.0042571
520 | -3.078 | 14.297 | 0.0041328
520.5 | -3.5258 | 13.8492 | 0.0040034
521 | -4.1904 | 13.1846 | 0.0038113
521.5 | -5.1499 | 12.2251 | 0.0035339
522 | -5.8753 | 11.4997 | 0.0033242
522.5 | -6.3074 | 11.0676 | 0.0031993
523 | -6.8711 | 10.5039 | 0.0030364
523.5 | -7.5132 | 9.8618 | 0.0028507
524 | -7.967 | 9.408 | 0.0027196
524.5 | -8.2264 | 9.1486 | 0.0026446
525 | -8.541 | 8.834 | 0.0025536
525.5 | -8.8796 | 8.4954 | 0.0024558
526 | -9.2274 | 8.1476 | 0.0023552
526.5 | -9.6324 | 7.7426 | 0.0022381
527 | -9.9769 | 7.3981 | 0.0021386
527.5 | -10.12 | 7.255 | 0.0020972
528 | -10.536 | 6.839 | 0.0019769
528.5 | -10.881 | 6.494 | 0.0018772
529 | -11.34 | 6.035 | 0.0017445
529.5 | -11.996 | 5.379 | 0.0015549
530 | -12.618 | 4.757 | 0.0013751
530.5 | -13.317 | 4.058 | 0.001173
531 | -13.846 | 3.529 | 0.0010201
531.5 | -14.28 | 3.095 | 0.00089467
532 | -14.395 | 2.98 | 0.00086143
532.5 | -14.55 | 2.825 | 0.00081662
533 | -14.681 | 2.694 | 0.00077875
533.5 | -14.901 | 2.474 | 0.00071516
534 | -15.377 | 1.998 | 0.00057756
534.5 | -15.692 | 1.683 | 0.0004865
535 | -15.83 | 1.545 | 0.00044661
535.5 | -15.917 | 1.458 | 0.00042146
536 | -15.926 | 1.449 | 0.00041886
536.5 | -15.985 | 1.39 | 0.00040181
537 | -16.289 | 1.086 | 0.00031393
537.5 | -16.545 | 0.83 | 0.00023993
538 | -16.6 | 0.775 | 0.00022403
538.5 | -16.469 | 0.906 | 0.0002619
539 | -16.222 | 1.153 | 0.0003333
539.5 | -15.995 | 1.38 | 0.00039892
540 | -15.942 | 1.433 | 0.00041424
540.5 | -15.906 | 1.469 | 0.00042464
541 | -15.847 | 1.528 | 0.0004417
541.5 | -15.834 | 1.541 | 0.00044546
542 | -15.886 | 1.489 | 0.00043042
542.5 | -15.733 | 1.642 | 0.00047465
543 | -15.401 | 1.974 | 0.00057062
543.5 | -15.102 | 2.273 | 0.00065706
544 | -15.228 | 2.147 | 0.00062063
544.5 | -15.272 | 2.103 | 0.00060791
545 | -15.35 | 2.025 | 0.00058537
545.5 | -15.258 | 2.117 | 0.00061196
546 | -15.008 | 2.367 | 0.00068423
546.5 | -14.881 | 2.494 | 0.00072094
547 | -15.036 | 2.339 | 0.00067613
547.5 | -15.088 | 2.287 | 0.0006611
548 | -14.932 | 2.443 | 0.0007062
548.5 | -15.266 | 2.109 | 0.00060965
549 | -15.703 | 1.672 | 0.00048332
549.5 | -16.039 | 1.336 | 0.0003862
550 | -16.298 | 1.077 | 0.00031133
550.5 | -16.643 | 0.732 | 0.0002116
551 | -16.757 | 0.618 | 0.00017864
551.5 | -17.035 | 0.34 | 9.8284e-05
552 | -17.594 | 0 | 0
552.5 | -17.934 | 0 | 0
553 | -18.108 | 0 | 0
553.5 | -18.596 | 0 | 0
554 | -18.932 | 0 | 0
554.5 | -19.16 | 0 | 0
555 | -19.157 | 0 | 0
555.5 | -19.261 | 0 | 0
556 | -19.133 | 0 | 0
556.5 | -18.909 | 0 | 0
557 | -18.948 | 0 | 0
557.5 | -18.545 | 0 | 0
558 | -18.288 | 0 | 0
558.5 | -17.982 | 0 | 0
559 | -17.77 | 0 | 0
559.5 | -17.541 | 0 | 0
560 | -17.424 | 0 | 0
560.5 | -17.48 | 0 | 0
561 | -17.357 | 0.018 | 5.2033e-06
561.5 | -17.149 | 0.226 | 6.533e-05
562 | -16.925 | 0.45 | 0.00013008
562.5 | -17.019 | 0.356 | 0.00010291
563 | -17.412 | 0 | 0
563.5 | -17.667 | 0 | 0
564 | -18.027 | 0 | 0
564.5 | -18.253 | 0 | 0
565 | -18.445 | 0 | 0
565.5 | -18.706 | 0 | 0
566 | -19.023 | 0 | 0
566.5 | -19.144 | 0 | 0
567 | -19.493 | 0 | 0
567.5 | -20.04 | 0 | 0
568 | -20.165 | 0 | 0
568.5 | -20.362 | 0 | 0
569 | -20.325 | 0 | 0
569.5 | -20.237 | 0 | 0
570 | -20.152 | 0 | 0
570.5 | -19.896 | 0 | 0
571 | -19.448 | 0 | 0
571.5 | -19.03 | 0 | 0
572 | -19.089 | 0 | 0
572.5 | -19.209 | 0 | 0
573 | -19.126 | 0 | 0
573.5 | -18.991 | 0 | 0
574 | -18.549 | 0 | 0
574.5 | -18.343 | 0 | 0
575 | -18.186 | 0 | 0
575.5 | -17.987 | 0 | 0
576 | -17.923 | 0 | 0
576.5 | -18.188 | 0 | 0
577 | -18.329 | 0 | 0
577.5 | -18.115 | 0 | 0
578 | -17.998 | 0 | 0
578.5 | -17.95 | 0 | 0
579 | -17.753 | 0 | 0
579.5 | -17.797 | 0 | 0
580 | -18.108 | 0 | 0
580.5 | -18.342 | 0 | 0
581 | -18.689 | 0 | 0
581.5 | -18.884 | 0 | 0
582 | -18.763 | 0 | 0
582.5 | -18.824 | 0 | 0
583 | -18.955 | 0 | 0
583.5 | -18.884 | 0 | 0
584 | -18.791 | 0 | 0
584.5 | -19.025 | 0 | 0
585 | -19.037 | 0 | 0
585.5 | -18.93 | 0 | 0
586 | -19.081 | 0 | 0
586.5 | -19.214 | 0 | 0
587 | -19.369 | 0 | 0
587.5 | -19.737 | 0 | 0
588 | -19.784 | 0 | 0
588.5 | -19.653 | 0 | 0
589 | -19.449 | 0 | 0
589.5 | -19.473 | 0 | 0
590 | -19.238 | 0 | 0
590.5 | -19.091 | 0 | 0
591 | -18.768 | 0 | 0
591.5 | -18.56 | 0 | 0
592 | -18.419 | 0 | 0
592.5 | -18.29 | 0 | 0
593 | -17.774 | 0 | 0
593.5 | -17.278 | 0.097 | 2.804e-05
594 | -17.149 | 0.226 | 6.533e-05
594.5 | -17.444 | 0 | 0
595 | -17.635 | 0 | 0
595.5 | -18.034 | 0 | 0
596 | -18.414 | 0 | 0
596.5 | -18.751 | 0 | 0
597 | -18.57 | 0 | 0
597.5 | -18.24 | 0 | 0
598 | -18.181 | 0 | 0
598.5 | -18.658 | 0 | 0
599 | -19.429 | 0 | 0
599.5 | -19.782 | 0 | 0
600 | -19.754 | 0 | 0
600.5 | -19.767 | 0 | 0
601 | -19.502 | 0 | 0
601.5 | -19.062 | 0 | 0
602 | -18.873 | 0 | 0
602.5 | -18.975 | 0 | 0
603 | -19.138 | 0 | 0
603.5 | -19.396 | 0 | 0
604 | -19.048 | 0 | 0
604.5 | -18.316 | 0 | 0
605 | -18.067 | 0 | 0
605.5 | -17.92 | 0 | 0
606 | -17.842 | 0 | 0
606.5 | -18.065 | 0 | 0
607 | -18.291 | 0 | 0
607.5 | -18.291 | 0 | 0
608 | -18.051 | 0 | 0
608.5 | -17.829 | 0 | 0
609 | -17.533 | 0 | 0
609.5 | -17.621 | 0 | 0
610 | -17.835 | 0 | 0
610.5 | -17.596 | 0 | 0
611 | -17.424 | 0 | 0
611.5 | -17.37 | 0.005 | 1.4453e-06
612 | -17.261 | 0.114 | 3.2954e-05
612.5 | -17.016 | 0.359 | 0.00010378
613 | -16.973 | 0.402 | 0.00011621
613.5 | -17.155 | 0.22 | 6.3595e-05
614 | -17.344 | 0.031 | 8.9612e-06
614.5 | -17.37 | 0.005 | 1.4453e-06
615 | -17.314 | 0.061 | 1.7633e-05
615.5 | -17.353 | 0.022 | 6.3595e-06
616 | -17.68 | 0 | 0
616.5 | -17.651 | 0 | 0
617 | -17.297 | 0.078 | 2.2547e-05
617.5 | -17.112 | 0.263 | 7.6025e-05
618 | -17.156 | 0.219 | 6.3306e-05
618.5 | -17.111 | 0.264 | 7.6314e-05
619 | -17.228 | 0.147 | 4.2493e-05
619.5 | -17.264 | 0.111 | 3.2087e-05
620 | -17.346 | 0.029 | 8.383e-06
620.5 | -17.554 | 0 | 0
621 | -17.63 | 0 | 0
621.5 | -17.492 | 0 | 0
622 | -17.571 | 0 | 0
622.5 | -17.882 | 0 | 0
623 | -18.148 | 0 | 0
623.5 | -18.689 | 0 | 0
624 | -18.946 | 0 | 0
624.5 | -18.969 | 0 | 0
625 | -18.847 | 0 | 0
625.5 | -18.962 | 0 | 0
626 | -18.878 | 0 | 0
626.5 | -19.24 | 0 | 0
627 | -19.937 | 0 | 0
627.5 | -20.464 | 0 | 0
628 | -20.841 | 0 | 0
628.5 | -20.907 | 0 | 0
629 | -20.708 | 0 | 0
629.5 | -20.544 | 0 | 0
630 | -20.709 | 0 | 0
630.5 | -20.745 | 0 | 0
631 | -20.777 | 0 | 0
631.5 | -20.954 | 0 | 0
632 | -20.792 | 0 | 0
632.5 | -20.322 | 0 | 0
633 | -19.83 | 0 | 0
633.5 | -19.345 | 0 | 0
634 | -18.887 | 0 | 0
634.5 | -18.477 | 0 | 0
635 | -18.182 | 0 | 0
635.5 | -18.275 | 0 | 0
636 | -18.085 | 0 | 0
636.5 | -17.866 | 0 | 0
637 | -17.561 | 0 | 0
637.5 | -17.238 | 0.137 | 3.9603e-05
638 | -17.052 | 0.323 | 9.3369e-05
638.5 | -17.197 | 0.178 | 5.1454e-05
639 | -17.385 | 0 | 0
639.5 | -17.521 | 0 | 0
640 | -17.485 | 0 | 0
640.5 | -17.374 | 0.001 | 2.8907e-07
641 | -17.423 | 0 | 0
641.5 | -17.612 | 0 | 0
642 | -17.623 | 0 | 0
642.5 | -17.714 | 0 | 0
643 | -17.973 | 0 | 0
643.5 | -18.112 | 0 | 0
644 | -18.167 | 0 | 0
644.5 | -18.346 | 0 | 0
645 | -18.601 | 0 | 0
645.5 | -18.594 | 0 | 0
646 | -18.496 | 0 | 0
646.5 | -18.246 | 0 | 0
647 | -18.097 | 0 | 0
647.5 | -18.004 | 0 | 0
648 | -17.836 | 0 | 0
648.5 | -17.92 | 0 | 0
649 | -18.337 | 0 | 0
649.5 | -18.385 | 0 | 0
650 | -18.176 | 0 | 0
650.5 | -18.049 | 0 | 0
651 | -18.238 | 0 | 0
651.5 | -18.428 | 0 | 0
652 | -18.453 | 0 | 0
652.5 | -18.55 | 0 | 0
653 | -19.019 | 0 | 0
653.5 | -19.07 | 0 | 0
654 | -18.897 | 0 | 0
654.5 | -19.083 | 0 | 0
655 | -19.371 | 0 | 0
655.5 | -19.546 | 0 | 0
656 | -19.457 | 0 | 0
656.5 | -19.416 | 0 | 0
657 | -19.458 | 0 | 0
657.5 | -19.513 | 0 | 0
658 | -19.126 | 0 | 0
658.5 | -18.599 | 0 | 0
659 | -18.026 | 0 | 0
659.5 | -17.423 | 0 | 0
660 | -17.089 | 0.286 | 8.2674e-05
660.5 | -17.097 | 0.278 | 8.0361e-05
661 | -17.108 | 0.267 | 7.7182e-05
661.5 | -17.137 | 0.238 | 6.8799e-05
662 | -16.75 | 0.625 | 0.00018067
662.5 | -16.351 | 1.024 | 0.00029601
663 | -16.552 | 0.823 | 0.0002379
663.5 | -16.957 | 0.418 | 0.00012083
664 | -17.566 | 0 | 0
664.5 | -17.957 | 0 | 0
665 | -18.177 | 0 | 0
665.5 | -17.971 | 0 | 0
666 | -17.744 | 0 | 0
666.5 | -17.568 | 0 | 0
667 | -17.888 | 0 | 0
667.5 | -18.48 | 0 | 0
668 | -18.367 | 0 | 0
668.5 | -18.173 | 0 | 0
669 | -18.004 | 0 | 0
669.5 | -17.814 | 0 | 0
670 | -17.586 | 0 | 0
670.5 | -17.504 | 0 | 0
671 | -17.677 | 0 | 0
671.5 | -17.747 | 0 | 0
672 | -17.691 | 0 | 0
672.5 | -17.518 | 0 | 0
673 | -17.219 | 0.156 | 4.5095e-05
673.5 | -17.003 | 0.372 | 0.00010753
674 | -16.725 | 0.65 | 0.0001879
674.5 | -16.27 | 1.105 | 0.00031942
675 | -16.039 | 1.336 | 0.0003862
675.5 | -16.154 | 1.221 | 0.00035295
676 | -16.123 | 1.252 | 0.00036192
676.5 | -16.254 | 1.121 | 0.00032405
677 | -16.437 | 0.938 | 0.00027115
677.5 | -16.622 | 0.753 | 0.00021767
678 | -16.798 | 0.577 | 0.00016679
678.5 | -17.017 | 0.358 | 0.00010349
679 | -17.34 | 0.035 | 1.0117e-05
679.5 | -17.957 | 0 | 0
680 | -18.246 | 0 | 0
680.5 | -18.089 | 0 | 0
681 | -18.132 | 0 | 0
681.5 | -18.119 | 0 | 0
682 | -17.955 | 0 | 0
682.5 | -17.63 | 0 | 0
683 | -17.496 | 0 | 0
683.5 | -17.539 | 0 | 0
684 | -17.519 | 0 | 0
684.5 | -17.439 | 0 | 0
685 | -17.514 | 0 | 0
685.5 | -17.704 | 0 | 0
686 | -17.483 | 0 | 0
686.5 | -17.523 | 0 | 0
687 | -17.862 | 0 | 0
687.5 | -18.156 | 0 | 0
688 | -18.515 | 0 | 0
688.5 | -18.479 | 0 | 0
689 | -18.43 | 0 | 0
689.5 | -18.564 | 0 | 0
690 | -18.547 | 0 | 0
690.5 | -18.687 | 0 | 0
691 | -18.851 | 0 | 0
691.5 | -18.682 | 0 | 0
692 | -18.06 | 0 | 0
692.5 | -17.726 | 0 | 0
693 | -17.57 | 0 | 0
693.5 | -17.854 | 0 | 0
694 | -18.014 | 0 | 0
694.5 | -17.944 | 0 | 0
695 | -18.055 | 0 | 0
695.5 | -18.117 | 0 | 0
696 | -18.369 | 0 | 0
696.5 | -18.488 | 0 | 0
697 | -18.791 | 0 | 0
697.5 | -19.128 | 0 | 0
698 | -19.085 | 0 | 0
698.5 | -18.729 | 0 | 0
699 | -18.417 | 0 | 0
699.5 | -18.163 | 0 | 0
700 | -17.974 | 0 | 0
700.5 | -17.72 | 0 | 0
701 | -17.506 | 0 | 0
701.5 | -17.754 | 0 | 0
702 | -17.952 | 0 | 0
702.5 | -17.731 | 0 | 0
703 | -17.771 | 0 | 0
703.5 | -17.932 | 0 | 0
704 | -17.983 | 0 | 0
704.5 | -18.438 | 0 | 0
705 | -18.559 | 0 | 0
705.5 | -18.599 | 0 | 0
706 | -18.756 | 0 | 0
706.5 | -18.38 | 0 | 0
707 | -18.205 | 0 | 0
707.5 | -18.382 | 0 | 0
708 | -18.267 | 0 | 0
708.5 | -18.317 | 0 | 0
709 | -18.502 | 0 | 0
709.5 | -18.342 | 0 | 0
710 | -18.639 | 0 | 0
710.5 | -18.99 | 0 | 0
711 | -19.15 | 0 | 0
711.5 | -19.559 | 0 | 0
712 | -19.667 | 0 | 0
712.5 | -19.614 | 0 | 0
713 | -19.804 | 0 | 0
713.5 | -19.75 | 0 | 0
714 | -19.229 | 0 | 0
714.5 | -18.661 | 0 | 0
715 | -18.08 | 0 | 0
715.5 | -17.759 | 0 | 0
716 | -17.653 | 0 | 0
716.5 | -17.472 | 0 | 0
717 | -17.437 | 0 | 0
717.5 | -17.588 | 0 | 0
718 | -17.504 | 0 | 0
718.5 | -17.588 | 0 | 0
719 | -18.024 | 0 | 0
719.5 | -18.507 | 0 | 0
720 | -18.61 | 0 | 0
720.5 | -18.376 | 0 | 0
721 | -18.448 | 0 | 0
721.5 | -18.785 | 0 | 0
722 | -18.959 | 0 | 0
722.5 | -19.191 | 0 | 0
723 | -19.469 | 0 | 0
723.5 | -19.532 | 0 | 0
724 | -19.239 | 0 | 0
724.5 | -19.19 | 0 | 0
725 | -19.326 | 0 | 0
725.5 | -19.429 | 0 | 0
726 | -19.01 | 0 | 0
726.5 | -18.47 | 0 | 0
727 | -18.321 | 0 | 0
727.5 | -18.281 | 0 | 0
728 | -18.483 | 0 | 0
728.5 | -18.798 | 0 | 0
729 | -19.037 | 0 | 0
729.5 | -18.992 | 0 | 0
730 | -18.838 | 0 | 0
730.5 | -18.848 | 0 | 0
731 | -18.719 | 0 | 0
731.5 | -18.878 | 0 | 0
732 | -18.901 | 0 | 0
732.5 | -18.654 | 0 | 0
733 | -18.414 | 0 | 0
733.5 | -18.191 | 0 | 0
734 | -17.883 | 0 | 0
734.5 | -17.996 | 0 | 0
735 | -18.074 | 0 | 0
735.5 | -18.467 | 0 | 0
736 | -18.886 | 0 | 0
736.5 | -19 | 0 | 0
737 | -19.262 | 0 | 0
737.5 | -19.308 | 0 | 0
738 | -19.402 | 0 | 0
738.5 | -19.698 | 0 | 0
739 | -19.775 | 0 | 0
739.5 | -19.517 | 0 | 0
740 | -19.117 | 0 | 0
740.5 | -18.415 | 0 | 0
741 | -17.985 | 0 | 0
741.5 | -17.434 | 0 | 0
742 | -17.016 | 0.359 | 0.00010378
742.5 | -16.471 | 0.904 | 0.00026132
743 | -16.203 | 1.172 | 0.00033879
743.5 | -16.313 | 1.062 | 0.00030699
744 | -16.719 | 0.656 | 0.00018963
744.5 | -16.998 | 0.377 | 0.00010898
745 | -17.344 | 0.031 | 8.9612e-06
745.5 | -17.372 | 0.003 | 8.6721e-07
746 | -17.404 | 0 | 0
746.5 | -17.464 | 0 | 0
747 | -17.817 | 0 | 0
747.5 | -18.151 | 0 | 0
748 | -17.85 | 0 | 0
748.5 | -17.147 | 0.228 | 6.5908e-05
749 | -16.963 | 0.412 | 0.0001191
749.5 | -16.76 | 0.615 | 0.00017778
750 | -16.683 | 0.692 | 0.00020004
750.5 | -16.744 | 0.631 | 0.0001824
751 | -16.462 | 0.913 | 0.00026392
751.5 | -15.993 | 1.382 | 0.00039949
752 | -15.81 | 1.565 | 0.00045239
752.5 | -15.929 | 1.446 | 0.00041799
753 | -16.328 | 1.047 | 0.00030266
753.5 | -16.678 | 0.697 | 0.00020148
754 | -17.365 | 0.01 | 2.8907e-06
754.5 | -17.93 | 0 | 0
755 | -18.253 | 0 | 0
755.5 | -18.484 | 0 | 0
756 | -19.031 | 0 | 0
756.5 | -19.247 | 0 | 0
757 | -19.631 | 0 | 0
757.5 | -19.966 | 0 | 0
758 | -20.249 | 0 | 0
758.5 | -19.969 | 0 | 0
759 | -19.635 | 0 | 0
759.5 | -19.664 | 0 | 0
760 | -19.517 | 0 | 0
760.5 | -19.422 | 0 | 0
761 | -19.459 | 0 | 0
761.5 | -19.413 | 0 | 0
762 | -19.357 | 0 | 0
762.5 | -19.229 | 0 | 0
763 | -19.093 | 0 | 0
763.5 | -19.011 | 0 | 0
764 | -18.744 | 0 | 0
764.5 | -18.697 | 0 | 0
765 | -18.457 | 0 | 0
765.5 | -18.239 | 0 | 0
766 | -17.616 | 0 | 0
766.5 | -16.86 | 0.515 | 0.00014887
767 | -16.238 | 1.137 | 0.00032867
767.5 | -16.169 | 1.206 | 0.00034862
768 | -16.182 | 1.193 | 0.00034486
768.5 | -16.338 | 1.037 | 0.00029977
769 | -16.338 | 1.037 | 0.00029977
769.5 | -16.348 | 1.027 | 0.00029687
770 | -16.275 | 1.1 | 0.00031798
770.5 | -16.369 | 1.006 | 0.0002908
771 | -17.176 | 0.199 | 5.7525e-05
771.5 | -18.036 | 0 | 0
772 | -18.246 | 0 | 0
772.5 | -18.401 | 0 | 0
773 | -18.598 | 0 | 0
773.5 | -18.887 | 0 | 0
774 | -19.306 | 0 | 0
774.5 | -19.841 | 0 | 0
775 | -20.086 | 0 | 0
775.5 | -19.668 | 0 | 0
776 | -19.211 | 0 | 0
776.5 | -19.132 | 0 | 0
777 | -19.14 | 0 | 0
777.5 | -18.886 | 0 | 0
778 | -18.288 | 0 | 0
778.5 | -17.86 | 0 | 0
779 | -17.709 | 0 | 0
779.5 | -17.919 | 0 | 0
780 | -18.193 | 0 | 0
780.5 | -17.935 | 0 | 0
781 | -17.52 | 0 | 0
781.5 | -17.129 | 0.246 | 7.1111e-05
782 | -17.202 | 0.173 | 5.0009e-05
782.5 | -17.64 | 0 | 0
783 | -18.131 | 0 | 0
783.5 | -18.178 | 0 | 0
784 | -18.371 | 0 | 0
784.5 | -18.498 | 0 | 0
785 | -19.094 | 0 | 0
785.5 | -19.626 | 0 | 0
786 | -19.982 | 0 | 0
786.5 | -20.011 | 0 | 0
787 | -19.873 | 0 | 0
787.5 | -19.763 | 0 | 0
788 | -19.746 | 0 | 0
788.5 | -19.576 | 0 | 0
789 | -19.104 | 0 | 0
789.5 | -18.604 | 0 | 0
790 | -18.515 | 0 | 0
790.5 | -18.533 | 0 | 0
791 | -18.47 | 0 | 0
791.5 | -18.348 | 0 | 0
792 | -18.508 | 0 | 0
792.5 | -18.426 | 0 | 0
793 | -18.187 | 0 | 0
793.5 | -18.647 | 0 | 0
794 | -18.775 | 0 | 0
794.5 | -18.555 | 0 | 0
795 | -18.577 | 0 | 0
795.5 | -18.774 | 0 | 0
796 | -18.948 | 0 | 0
796.5 | -18.569 | 0 | 0
797 | -18.508 | 0 | 0
797.5 | -19.068 | 0 | 0
798 | -19.032 | 0 | 0
798.5 | -19.284 | 0 | 0
799 | -19.193 | 0 | 0
799.5 | -18.989 | 0 | 0
800 | -18.719 | 0 | 0
800.5 | -18.914 | 0 | 0
801 | -19.137 | 0 | 0
801.5 | -19.09 | 0 | 0
802 | -18.795 | 0 | 0
802.5 | -18.665 | 0 | 0
803 | -18.723 | 0 | 0
803.5 | -18.9 | 0 | 0
804 | -18.556 | 0 | 0
804.5 | -18.3 | 0 | 0
805 | -18.133 | 0 | 0
805.5 | -18.252 | 0 | 0
806 | -18.327 | 0 | 0
806.5 | -18.233 | 0 | 0
807 | -18.439 | 0 | 0
807.5 | -18.202 | 0 | 0
808 | -18.195 | 0 | 0
808.5 | -18.228 | 0 | 0
809 | -18.331 | 0 | 0
809.5 | -18.083 | 0 | 0
810 | -17.994 | 0 | 0
810.5 | -17.86 | 0 | 0
811 | -17.598 | 0 | 0
811.5 | -17.256 | 0.119 | 3.4399e-05
812 | -17.361 | 0.014 | 4.047e-06
812.5 | -17.564 | 0 | 0
813 | -17.822 | 0 | 0
813.5 | -17.861 | 0 | 0
814 | -17.82 | 0 | 0
814.5 | -17.973 | 0 | 0
815 | -18.39 | 0 | 0
815.5 | -18.446 | 0 | 0
816 | -18.622 | 0 | 0
816.5 | -18.234 | 0 | 0
817 | -17.997 | 0 | 0
817.5 | -17.763 | 0 | 0
818 | -17.576 | 0 | 0
818.5 | -17.545 | 0 | 0
819 | -17.088 | 0.287 | 8.2963e-05
819.5 | -16.893 | 0.482 | 0.00013933
820 | -17.218 | 0.157 | 4.5384e-05
820.5 | -17.747 | 0 | 0
821 | -18.377 | 0 | 0
821.5 | -18.891 | 0 | 0
822 | -18.954 | 0 | 0
822.5 | -19.365 | 0 | 0
823 | -20.112 | 0 | 0
823.5 | -20.648 | 0 | 0
824 | -20.93 | 0 | 0
824.5 | -20.565 | 0 | 0
825 | -20.204 | 0 | 0
825.5 | -20.231 | 0 | 0
826 | -20.5 | 0 | 0
826.5 | -20.883 | 0 | 0
827 | -20.858 | 0 | 0
827.5 | -20.543 | 0 | 0
828 | -20.305 | 0 | 0
828.5 | -20.237 | 0 | 0
829 | -20.554 | 0 | 0
829.5 | -20.484 | 0 | 0
830 | -20.375 | 0 | 0
830.5 | -19.969 | 0 | 0
831 | -19.639 | 0 | 0
831.5 | -19.22 | 0 | 0
832 | -18.939 | 0 | 0
832.5 | -18.807 | 0 | 0
833 | -18.737 | 0 | 0
833.5 | -18.663 | 0 | 0
834 | -18.58 | 0 | 0
834.5 | -18.463 | 0 | 0
835 | -18.307 | 0 | 0
835.5 | -18.434 | 0 | 0
836 | -18.482 | 0 | 0
836.5 | -18.44 | 0 | 0
837 | -18.498 | 0 | 0
837.5 | -18.841 | 0 | 0
838 | -19.389 | 0 | 0
838.5 | -19.395 | 0 | 0
839 | -19.612 | 0 | 0
839.5 | -19.629 | 0 | 0
840 | -19.189 | 0 | 0
840.5 | -18.731 | 0 | 0
841 | -18.24 | 0 | 0
841.5 | -17.777 | 0 | 0
842 | -17.337 | 0.038 | 1.0985e-05
842.5 | -16.696 | 0.679 | 0.00019628
843 | -16.33 | 1.045 | 0.00030208
843.5 | -16.127 | 1.248 | 0.00036076
844 | -16.32 | 1.055 | 0.00030497
844.5 | -16.752 | 0.623 | 0.00018009
845 | -17.195 | 0.18 | 5.2033e-05
845.5 | -17.439 | 0 | 0
846 | -17.221 | 0.154 | 4.4517e-05
846.5 | -16.867 | 0.508 | 0.00014685
847 | -16.775 | 0.6 | 0.00017344
847.5 | -16.719 | 0.656 | 0.00018963
848 | -17.056 | 0.319 | 9.2213e-05
848.5 | -17.111 | 0.264 | 7.6314e-05
849 | -16.744 | 0.631 | 0.0001824
849.5 | -16.598 | 0.777 | 0.00022461
850 | -16.334 | 1.041 | 0.00030092
850.5 | -16.7 | 0.675 | 0.00019512
851 | -17.038 | 0.337 | 9.7416e-05
851.5 | -16.65 | 0.725 | 0.00020958
852 | -16.537 | 0.838 | 0.00024224
852.5 | -16.528 | 0.847 | 0.00024484
853 | -16.973 | 0.402 | 0.00011621
853.5 | -17.374 | 0.001 | 2.8907e-07
854 | -17.559 | 0 | 0
854.5 | -17.535 | 0 | 0
855 | -17.478 | 0 | 0
855.5 | -18.026 | 0 | 0
856 | -18.468 | 0 | 0
856.5 | -18.281 | 0 | 0
857 | -17.944 | 0 | 0
857.5 | -17.594 | 0 | 0
858 | -17.179 | 0.196 | 5.6658e-05
858.5 | -17.334 | 0.041 | 1.1852e-05
859 | -17.553 | 0 | 0
859.5 | -17.354 | 0.021 | 6.0705e-06
860 | -17.08 | 0.295 | 8.5276e-05
860.5 | -16.988 | 0.387 | 0.00011187
861 | -16.935 | 0.44 | 0.00012719
861.5 | -16.875 | 0.5 | 0.00014453
862 | -16.69 | 0.685 | 0.00019801
862.5 | -16.065 | 1.31 | 0.00037868
863 | -15.416 | 1.959 | 0.00056629
863.5 | -15.056 | 2.319 | 0.00067035
864 | -14.389 | 2.986 | 0.00086316
864.5 | -13.709 | 3.666 | 0.0010597
865 | -13.135 | 4.24 | 0.0012257
865.5 | -13.045 | 4.33 | 0.0012517
866 | -13.051 | 4.324 | 0.0012499
866.5 | -13.917 | 3.458 | 0.0009996
867 | -14.47 | 2.905 | 0.00083975
867.5 | -14.865 | 2.51 | 0.00072556
868 | -15.436 | 1.939 | 0.00056051
868.5 | -15.701 | 1.674 | 0.0004839
869 | -15.696 | 1.679 | 0.00048535
869.5 | -15.674 | 1.701 | 0.00049171
870 | -15.826 | 1.549 | 0.00044777
870.5 | -15.324 | 2.051 | 0.00059288
871 | -14.171 | 3.204 | 0.00092618
871.5 | -13.443 | 3.932 | 0.0011366
872 | -13.305 | 4.07 | 0.0011765
872.5 | -13.602 | 3.773 | 0.0010907
873 | -14.195 | 3.18 | 0.00091924
873.5 | -14.117 | 3.258 | 0.00094179
874 | -13.373 | 4.002 | 0.0011569
874.5 | -12.949 | 4.426 | 0.0012794
875 | -13.128 | 4.247 | 0.0012277
875.5 | -13.05 | 4.325 | 0.0012502
876 | -12.432 | 4.943 | 0.0014289
876.5 | -11.956 | 5.419 | 0.0015665
877 | -11.526 | 5.849 | 0.0016908
877.5 | -11.492 | 5.883 | 0.0017006
878 | -11.884 | 5.491 | 0.0015873
878.5 | -12.142 | 5.233 | 0.0015127
879 | -12.289 | 5.086 | 0.0014702
879.5 | -12.156 | 5.219 | 0.0015087
880 | -12.21 | 5.165 | 0.001493
880.5 | -12.017 | 5.358 | 0.0015488
881 | -11.577 | 5.798 | 0.001676
881.5 | -11.005 | 6.37 | 0.0018414
882 | -10.459 | 6.916 | 0.0019992
882.5 | -9.9993 | 7.3757 | 0.0021321
883 | -9.4153 | 7.9597 | 0.0023009
883.5 | -7.9498 | 9.4252 | 0.0027245
884 | -11.039 | 6.336 | 0.0018315
884.5 | -11.809 | 5.566 | 0.001609
885 | 3.4848 | 20.8598 | 0.0060299
885.5 | -4.177 | 13.198 | 0.0038151
886 | -37.465 | 0 | 0
886.5 | 2.9119 | 20.2869 | 0.0058643