## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 0.26859 | 0.21617 | 6.5516e-05
246.5 | 1.3082 | 1.2558 | 0.0003806
247 | 0.52108 | 0.46866 | 0.00014204
247.5 | -1.103 | 0 | 0
248 | -1.5128 | 0 | 0
248.5 | 1.2474 | 1.195 | 0.00036217
249 | 0.42788 | 0.37546 | 0.00011379
249.5 | -0.85273 | 0 | 0
250 | -1.388 | 0 | 0
250.5 | 0.052424 | 0 | 0
251 | -1.078 | 0 | 0
251.5 | 0.039331 | 0 | 0
252 | -0.86487 | 0 | 0
252.5 | 0.44805 | 0.39563 | 0.00011991
253 | -0.24468 | 0 | 0
253.5 | 0.61565 | 0.56323 | 0.0001707
254 | 1.9923 | 1.9399 | 0.00058794
254.5 | 3.5503 | 3.4979 | 0.0010601
255 | 2.6431 | 2.5907 | 0.00078518
255.5 | 2.4553 | 2.4029 | 0.00072827
256 | 0.027663 | 0 | 0
256.5 | 2.3603 | 2.3079 | 0.00069947
257 | 1.0608 | 1.0084 | 0.00030562
257.5 | 0.65918 | 0.60676 | 0.0001839
258 | 0.40107 | 0.34865 | 0.00010567
258.5 | 0.71691 | 0.66449 | 0.00020139
259 | 0.83111 | 0.77869 | 0.000236
259.5 | 0.92621 | 0.87379 | 0.00026483
260 | 0.91423 | 0.86181 | 0.0002612
260.5 | 1.0544 | 1.002 | 0.00030368
261 | 1.2582 | 1.2058 | 0.00036545
261.5 | 1.5915 | 1.5391 | 0.00046646
262 | 1.7886 | 1.7362 | 0.0005262
262.5 | 1.7172 | 1.6648 | 0.00050456
263 | 1.9222 | 1.8698 | 0.00056669
263.5 | 1.8967 | 1.8443 | 0.00055897
264 | 1.6464 | 1.594 | 0.0004831
264.5 | 1.4047 | 1.3523 | 0.00040985
265 | 1.1499 | 1.0975 | 0.00033262
265.5 | 0.83487 | 0.78245 | 0.00023714
266 | 0.82601 | 0.77359 | 0.00023446
266.5 | 0.7427 | 0.69028 | 0.00020921
267 | 0.47749 | 0.42507 | 0.00012883
267.5 | 0.15795 | 0.10553 | 3.1983e-05
268 | -0.056335 | 0 | 0
268.5 | -0.13849 | 0 | 0
269 | -0.023607 | 0 | 0
269.5 | -0.083472 | 0 | 0
270 | 0.046689 | 0 | 0
270.5 | 0.37098 | 0.31856 | 9.6548e-05
271 | 0.65532 | 0.6029 | 0.00018273
271.5 | 0.8057 | 0.75328 | 0.0002283
272 | 1.0555 | 1.0031 | 0.00030401
272.5 | 1.297 | 1.2446 | 0.00037721
273 | 1.5003 | 1.4479 | 0.00043882
273.5 | 1.8471 | 1.7947 | 0.00054393
274 | 2.1627 | 2.1103 | 0.00063958
274.5 | 2.2121 | 2.1597 | 0.00065456
275 | 2.4958 | 2.4434 | 0.00074054
275.5 | 2.6631 | 2.6107 | 0.00079125
276 | 2.9012 | 2.8488 | 0.00086341
276.5 | 3.2285 | 3.1761 | 0.00096261
277 | 3.4586 | 3.4062 | 0.0010323
277.5 | 3.76 | 3.7076 | 0.0011237
278 | 3.9369 | 3.8845 | 0.0011773
278.5 | 4.2037 | 4.1513 | 0.0012582
279 | 4.265 | 4.2126 | 0.0012768
279.5 | 4.1248 | 4.0724 | 0.0012343
280 | 3.9219 | 3.8695 | 0.0011728
280.5 | 3.8871 | 3.8347 | 0.0011622
281 | 4.0459 | 3.9935 | 0.0012103
281.5 | 4.0627 | 4.0103 | 0.0012154
282 | 3.9485 | 3.8961 | 0.0011808
282.5 | 3.8875 | 3.8351 | 0.0011623
283 | 3.8194 | 3.767 | 0.0011417
283.5 | 3.7344 | 3.682 | 0.0011159
284 | 3.716 | 3.6636 | 0.0011104
284.5 | 3.6603 | 3.6079 | 0.0010935
285 | 3.5927 | 3.5403 | 0.001073
285.5 | 3.2996 | 3.2472 | 0.00098416
286 | 3.1602 | 3.1078 | 0.00094191
286.5 | 3.1443 | 3.0919 | 0.00093709
287 | 3.3575 | 3.3051 | 0.0010017
287.5 | 3.6221 | 3.5697 | 0.0010819
288 | 3.8369 | 3.7845 | 0.001147
288.5 | 4.0125 | 3.9601 | 0.0012002
289 | 4.0165 | 3.9641 | 0.0012014
289.5 | 3.8472 | 3.7948 | 0.0011501
290 | 3.5318 | 3.4794 | 0.0010545
290.5 | 3.074 | 3.0216 | 0.00091578
291 | 2.8091 | 2.7567 | 0.0008355
291.5 | 2.6904 | 2.638 | 0.00079952
292 | 2.9889 | 2.9365 | 0.00088999
292.5 | 3.2046 | 3.1522 | 0.00095536
293 | 3.076 | 3.0236 | 0.00091639
293.5 | 2.6657 | 2.6133 | 0.00079203
294 | 2.1122 | 2.0598 | 0.00062428
294.5 | 1.5788 | 1.5264 | 0.00046262
295 | 1.1747 | 1.1223 | 0.00034014
295.5 | 1.0168 | 0.96438 | 0.00029228
296 | 1.1045 | 1.0521 | 0.00031886
296.5 | 1.2439 | 1.1915 | 0.00036111
297 | 1.5412 | 1.4888 | 0.00045122
297.5 | 1.6129 | 1.5605 | 0.00047295
298 | 1.6581 | 1.6057 | 0.00048665
298.5 | 1.2352 | 1.1828 | 0.00035848
299 | 1.2009 | 1.1485 | 0.00034808
299.5 | 1.6132 | 1.5608 | 0.00047304
300 | 1.9016 | 1.8492 | 0.00056045
300.5 | 2.1195 | 2.0671 | 0.00062649
301 | 2.4113 | 2.3589 | 0.00071493
301.5 | 2.833 | 2.7806 | 0.00084274
302 | 3.0016 | 2.9492 | 0.00089384
302.5 | 2.8939 | 2.8415 | 0.0008612
303 | 2.8197 | 2.7673 | 0.00083871
303.5 | 2.7378 | 2.6854 | 0.00081389
304 | 3.035 | 2.9826 | 0.00090396
304.5 | 3.351 | 3.2986 | 0.00099974
305 | 3.6019 | 3.5495 | 0.0010758
305.5 | 3.5974 | 3.545 | 0.0010744
306 | 3.5006 | 3.4482 | 0.0010451
306.5 | 3.4692 | 3.4168 | 0.0010356
307 | 3.519 | 3.4666 | 0.0010507
307.5 | 3.4513 | 3.3989 | 0.0010301
308 | 3.3499 | 3.2975 | 0.0009994
308.5 | 3.4852 | 3.4328 | 0.0010404
309 | 3.8538 | 3.8014 | 0.0011521
309.5 | 4.1927 | 4.1403 | 0.0012548
310 | 4.4477 | 4.3953 | 0.0013321
310.5 | 4.4519 | 4.3995 | 0.0013334
311 | 4.506 | 4.4536 | 0.0013498
311.5 | 4.671 | 4.6186 | 0.0013998
312 | 4.8143 | 4.7619 | 0.0014432
312.5 | 4.8672 | 4.8148 | 0.0014593
313 | 4.8049 | 4.7525 | 0.0014404
313.5 | 4.5994 | 4.547 | 0.0013781
314 | 4.6616 | 4.6092 | 0.001397
314.5 | 4.5699 | 4.5175 | 0.0013692
315 | 4.474 | 4.4216 | 0.0013401
315.5 | 4.3097 | 4.2573 | 0.0012903
316 | 4.2406 | 4.1882 | 0.0012694
316.5 | 4.1559 | 4.1035 | 0.0012437
317 | 4.3127 | 4.2603 | 0.0012912
317.5 | 4.2677 | 4.2153 | 0.0012776
318 | 4.023 | 3.9706 | 0.0012034
318.5 | 3.7307 | 3.6783 | 0.0011148
319 | 3.5802 | 3.5278 | 0.0010692
319.5 | 3.6292 | 3.5768 | 0.0010841
320 | 3.8431 | 3.7907 | 0.0011489
320.5 | 3.9741 | 3.9217 | 0.0011886
321 | 4.2567 | 4.2043 | 0.0012742
321.5 | 4.4229 | 4.3705 | 0.0013246
322 | 4.284 | 4.2316 | 0.0012825
322.5 | 4.1054 | 4.053 | 0.0012284
323 | 3.8338 | 3.7814 | 0.0011461
323.5 | 3.4553 | 3.4029 | 0.0010313
324 | 3.298 | 3.2456 | 0.00098367
324.5 | 3.5554 | 3.503 | 0.0010617
325 | 3.9568 | 3.9044 | 0.0011833
325.5 | 4.0813 | 4.0289 | 0.0012211
326 | 4.0578 | 4.0054 | 0.001214
326.5 | 3.9179 | 3.8655 | 0.0011716
327 | 3.5048 | 3.4524 | 0.0010463
327.5 | 3.0595 | 3.0071 | 0.00091139
328 | 2.5948 | 2.5424 | 0.00077055
328.5 | 2.4209 | 2.3685 | 0.00071784
329 | 2.4231 | 2.3707 | 0.00071851
329.5 | 2.4892 | 2.4368 | 0.00073854
330 | 2.5481 | 2.4957 | 0.00075639
330.5 | 2.4287 | 2.3763 | 0.0007202
331 | 2.1564 | 2.104 | 0.00063768
331.5 | 1.8625 | 1.8101 | 0.0005486
332 | 1.855 | 1.8026 | 0.00054633
332.5 | 1.9653 | 1.9129 | 0.00057976
333 | 2.2442 | 2.1918 | 0.00066429
333.5 | 2.5285 | 2.4761 | 0.00075045
334 | 2.5906 | 2.5382 | 0.00076927
334.5 | 2.7584 | 2.706 | 0.00082013
335 | 2.9784 | 2.926 | 0.00088681
335.5 | 2.8487 | 2.7963 | 0.0008475
336 | 2.739 | 2.6866 | 0.00081425
336.5 | 2.7736 | 2.7212 | 0.00082474
337 | 2.9208 | 2.8684 | 0.00086935
337.5 | 2.9775 | 2.9251 | 0.00088654
338 | 2.7948 | 2.7424 | 0.00083116
338.5 | 2.6599 | 2.6075 | 0.00079028
339 | 2.4246 | 2.3722 | 0.00071896
339.5 | 2.1946 | 2.1422 | 0.00064925
340 | 2.0329 | 1.9805 | 0.00060024
340.5 | 2.0744 | 2.022 | 0.00061282
341 | 2.1742 | 2.1218 | 0.00064307
341.5 | 2.2191 | 2.1667 | 0.00065668
342 | 2.2955 | 2.2431 | 0.00067983
342.5 | 2.2722 | 2.2198 | 0.00067277
343 | 2.2066 | 2.1542 | 0.00065289
343.5 | 2.1975 | 2.1451 | 0.00065013
344 | 2.4083 | 2.3559 | 0.00071402
344.5 | 2.6365 | 2.5841 | 0.00078318
345 | 2.7436 | 2.6912 | 0.00081564
345.5 | 2.9671 | 2.9147 | 0.00088338
346 | 3.1575 | 3.1051 | 0.00094109
346.5 | 3.3461 | 3.2937 | 0.00099825
347 | 3.48 | 3.4276 | 0.0010388
347.5 | 3.5658 | 3.5134 | 0.0010648
348 | 3.7022 | 3.6498 | 0.0011062
348.5 | 3.8719 | 3.8195 | 0.0011576
349 | 4.3501 | 4.2977 | 0.0013025
349.5 | 4.5879 | 4.5355 | 0.0013746
350 | 4.7784 | 4.726 | 0.0014324
350.5 | 4.6751 | 4.6227 | 0.001401
351 | 4.7115 | 4.6591 | 0.0014121
351.5 | 4.6375 | 4.5851 | 0.0013896
352 | 4.6336 | 4.5812 | 0.0013885
352.5 | 4.7572 | 4.7048 | 0.0014259
353 | 4.8606 | 4.8082 | 0.0014573
353.5 | 4.7602 | 4.7078 | 0.0014268
354 | 4.6319 | 4.5795 | 0.001388
354.5 | 4.3834 | 4.331 | 0.0013126
355 | 4.0398 | 3.9874 | 0.0012085
355.5 | 3.5612 | 3.5088 | 0.0010634
356 | 3.3119 | 3.2595 | 0.00098789
356.5 | 3.0553 | 3.0029 | 0.00091011
357 | 3.0877 | 3.0353 | 0.00091993
357.5 | 3.0919 | 3.0395 | 0.00092121
358 | 3.2151 | 3.1627 | 0.00095855
358.5 | 3.2 | 3.1476 | 0.00095397
359 | 3.2129 | 3.1605 | 0.00095788
359.5 | 3.1778 | 3.1254 | 0.00094724
360 | 3.3738 | 3.3214 | 0.0010066
360.5 | 3.7765 | 3.7241 | 0.0011287
361 | 4.5266 | 4.4742 | 0.001356
361.5 | 5.1168 | 5.0644 | 0.0015349
362 | 5.4622 | 5.4098 | 0.0016396
362.5 | 5.6362 | 5.5838 | 0.0016923
363 | 5.63 | 5.5776 | 0.0016905
363.5 | 5.4058 | 5.3534 | 0.0016225
364 | 5.1882 | 5.1358 | 0.0015566
364.5 | 5.0947 | 5.0423 | 0.0015282
365 | 5.1382 | 5.0858 | 0.0015414
365.5 | 5.1792 | 5.1268 | 0.0015538
366 | 5.0893 | 5.0369 | 0.0015266
366.5 | 4.7349 | 4.6825 | 0.0014192
367 | 4.1728 | 4.1204 | 0.0012488
367.5 | 3.6814 | 3.629 | 0.0010999
368 | 3.5202 | 3.4678 | 0.001051
368.5 | 3.4148 | 3.3624 | 0.0010191
369 | 3.3884 | 3.336 | 0.0010111
369.5 | 3.8273 | 3.7749 | 0.0011441
370 | 4.3343 | 4.2819 | 0.0012978
370.5 | 4.832 | 4.7796 | 0.0014486
371 | 5.2598 | 5.2074 | 0.0015783
371.5 | 5.3737 | 5.3213 | 0.0016128
372 | 5.7934 | 5.741 | 0.00174
372.5 | 6.3421 | 6.2897 | 0.0019063
373 | 6.9345 | 6.8821 | 0.0020858
373.5 | 7.2265 | 7.1741 | 0.0021743
374 | 7.4168 | 7.3644 | 0.002232
374.5 | 7.7099 | 7.6575 | 0.0023208
375 | 7.9549 | 7.9025 | 0.0023951
375.5 | 8.1154 | 8.063 | 0.0024437
376 | 8.0339 | 7.9815 | 0.002419
376.5 | 7.8156 | 7.7632 | 0.0023529
377 | 7.4106 | 7.3582 | 0.0022301
377.5 | 7.1455 | 7.0931 | 0.0021498
378 | 6.8248 | 6.7724 | 0.0020526
378.5 | 6.5419 | 6.4895 | 0.0019668
379 | 6.4793 | 6.4269 | 0.0019479
379.5 | 6.6477 | 6.5953 | 0.0019989
380 | 6.9141 | 6.8617 | 0.0020796
380.5 | 7.1449 | 7.0925 | 0.0021496
381 | 7.1859 | 7.1335 | 0.002162
381.5 | 6.967 | 6.9146 | 0.0020957
382 | 6.7502 | 6.6978 | 0.00203
382.5 | 6.8528 | 6.8004 | 0.0020611
383 | 7.2587 | 7.2063 | 0.0021841
383.5 | 7.832 | 7.7796 | 0.0023578
384 | 8.4756 | 8.4232 | 0.0025529
384.5 | 9.2423 | 9.1899 | 0.0027853
385 | 9.789 | 9.7366 | 0.002951
385.5 | 9.8965 | 9.8441 | 0.0029836
386 | 9.9444 | 9.892 | 0.0029981
386.5 | 9.931 | 9.8786 | 0.002994
387 | 10.051 | 9.9986 | 0.0030304
387.5 | 10.362 | 10.3096 | 0.0031246
388 | 11.007 | 10.9546 | 0.0033201
388.5 | 11.386 | 11.3336 | 0.003435
389 | 11.425 | 11.3726 | 0.0034468
389.5 | 11.351 | 11.2986 | 0.0034244
390 | 11.197 | 11.1446 | 0.0033777
390.5 | 10.68 | 10.6276 | 0.003221
391 | 10.302 | 10.2496 | 0.0031065
391.5 | 9.9461 | 9.8937 | 0.0029986
392 | 9.7534 | 9.701 | 0.0029402
392.5 | 10.063 | 10.0106 | 0.003034
393 | 10.23 | 10.1776 | 0.0030846
393.5 | 10.263 | 10.2106 | 0.0030946
394 | 10.181 | 10.1286 | 0.0030698
394.5 | 10.272 | 10.2196 | 0.0030974
395 | 10.55 | 10.4976 | 0.0031816
395.5 | 11.085 | 11.0326 | 0.0033438
396 | 11.727 | 11.6746 | 0.0035383
396.5 | 12.284 | 12.2316 | 0.0037072
397 | 12.747 | 12.6946 | 0.0038475
397.5 | 12.994 | 12.9416 | 0.0039223
398 | 13.429 | 13.3766 | 0.0040542
398.5 | 13.604 | 13.5516 | 0.0041072
399 | 13.611 | 13.5586 | 0.0041093
399.5 | 13.82 | 13.7676 | 0.0041727
400 | 14.291 | 14.2386 | 0.0043154
400.5 | 14.453 | 14.4006 | 0.0043645
401 | 14.551 | 14.4986 | 0.0043942
401.5 | 14.475 | 14.4226 | 0.0043712
402 | 14.418 | 14.3656 | 0.0043539
402.5 | 14.504 | 14.4516 | 0.00438
403 | 14.729 | 14.6766 | 0.0044482
403.5 | 14.912 | 14.8596 | 0.0045037
404 | 15.111 | 15.0586 | 0.004564
404.5 | 15.312 | 15.2596 | 0.0046249
405 | 15.37 | 15.3176 | 0.0046425
405.5 | 15.657 | 15.6046 | 0.0047295
406 | 15.813 | 15.7606 | 0.0047767
406.5 | 16.232 | 16.1796 | 0.0049037
407 | 16.684 | 16.6316 | 0.0050407
407.5 | 16.99 | 16.9376 | 0.0051335
408 | 17.128 | 17.0756 | 0.0051753
408.5 | 17.398 | 17.3456 | 0.0052571
409 | 17.513 | 17.4606 | 0.005292
409.5 | 17.894 | 17.8416 | 0.0054074
410 | 18.503 | 18.4506 | 0.005592
410.5 | 18.942 | 18.8896 | 0.0057251
411 | 19.603 | 19.5506 | 0.0059254
411.5 | 20.313 | 20.2606 | 0.0061406
412 | 20.845 | 20.7926 | 0.0063018
412.5 | 21.373 | 21.3206 | 0.0064619
413 | 22.11 | 22.0576 | 0.0066852
413.5 | 23.123 | 23.0706 | 0.0069923
414 | 24.428 | 24.3756 | 0.0073878
414.5 | 25.532 | 25.4796 | 0.0077224
415 | 26.925 | 26.8726 | 0.0081446
415.5 | 28.1 | 28.0476 | 0.0085007
416 | 29.325 | 29.2726 | 0.008872
416.5 | 30.648 | 30.5956 | 0.0092729
417 | 31.851 | 31.7986 | 0.0096375
417.5 | 33.124 | 33.0716 | 0.010023
418 | 34.562 | 34.5096 | 0.010459
418.5 | 36.3 | 36.2476 | 0.010986
419 | 38.233 | 38.1806 | 0.011572
419.5 | 40.048 | 39.9956 | 0.012122
420 | 41.873 | 41.8206 | 0.012675
420.5 | 44.02 | 43.9676 | 0.013326
421 | 46.17 | 46.1176 | 0.013977
421.5 | 48.799 | 48.7466 | 0.014774
422 | 51.746 | 51.6936 | 0.015667
422.5 | 54.787 | 54.7346 | 0.016589
423 | 58.017 | 57.9646 | 0.017568
423.5 | 61.655 | 61.6026 | 0.018671
424 | 65.611 | 65.5586 | 0.01987
424.5 | 69.745 | 69.6926 | 0.021122
425 | 73.987 | 73.9346 | 0.022408
425.5 | 78.503 | 78.4506 | 0.023777
426 | 83.56 | 83.5076 | 0.02531
426.5 | 88.705 | 88.6526 | 0.026869
427 | 94.12 | 94.0676 | 0.02851
427.5 | 99.921 | 99.8686 | 0.030268
428 | 106.06 | 106.0076 | 0.032129
428.5 | 112.75 | 112.6976 | 0.034156
429 | 120.15 | 120.0976 | 0.036399
429.5 | 128.21 | 128.1576 | 0.038842
430 | 136.88 | 136.8276 | 0.04147
430.5 | 146.1 | 146.0476 | 0.044264
431 | 155.63 | 155.5776 | 0.047153
431.5 | 165.83 | 165.7776 | 0.050244
432 | 176.42 | 176.3676 | 0.053454
432.5 | 188.04 | 187.9876 | 0.056975
433 | 200.69 | 200.6376 | 0.060809
433.5 | 214.71 | 214.6576 | 0.065059
434 | 229.78 | 229.7276 | 0.069626
434.5 | 245.92 | 245.8676 | 0.074518
435 | 262.84 | 262.7876 | 0.079646
435.5 | 280.36 | 280.3076 | 0.084956
436 | 298.77 | 298.7176 | 0.090536
436.5 | 318.1 | 318.0476 | 0.096394
437 | 339.07 | 339.0176 | 0.10275
437.5 | 361.39 | 361.3376 | 0.10951
438 | 384.36 | 384.3076 | 0.11648
438.5 | 408.26 | 408.2076 | 0.12372
439 | 433.04 | 432.9876 | 0.13123
439.5 | 458.54 | 458.4876 | 0.13896
440 | 484.76 | 484.7076 | 0.14691
440.5 | 511.62 | 511.5676 | 0.15505
441 | 539.1 | 539.0476 | 0.16338
441.5 | 567.24 | 567.1876 | 0.1719
442 | 596.32 | 596.2676 | 0.18072
442.5 | 626.11 | 626.0576 | 0.18975
443 | 656.77 | 656.7176 | 0.19904
443.5 | 688.66 | 688.6076 | 0.2087
444 | 722.05 | 721.9976 | 0.21882
444.5 | 755.93 | 755.8776 | 0.22909
445 | 789.85 | 789.7976 | 0.23937
445.5 | 823.69 | 823.6376 | 0.24963
446 | 857.99 | 857.9376 | 0.26002
446.5 | 892.91 | 892.8576 | 0.27061
447 | 929.55 | 929.4976 | 0.28171
447.5 | 967.63 | 967.5776 | 0.29325
448 | 1007.3 | 1007.2476 | 0.30528
448.5 | 1049 | 1048.9476 | 0.31792
449 | 1092 | 1091.9476 | 0.33095
449.5 | 1137.4 | 1137.3476 | 0.34471
450 | 1184.6 | 1184.5476 | 0.35901
450.5 | 1234.5 | 1234.4476 | 0.37414
451 | 1287 | 1286.9476 | 0.39005
451.5 | 1342 | 1341.9476 | 0.40672
452 | 1400.4 | 1400.3476 | 0.42442
452.5 | 1462.2 | 1462.1476 | 0.44315
453 | 1528.9 | 1528.8476 | 0.46336
453.5 | 1600.9 | 1600.8476 | 0.48519
454 | 1677.5 | 1677.4476 | 0.5084
454.5 | 1757.4 | 1757.3476 | 0.53262
455 | 1838.4 | 1838.3476 | 0.55717
455.5 | 1919.9 | 1919.8476 | 0.58187
456 | 2004 | 2003.9476 | 0.60736
456.5 | 2092.5 | 2092.4476 | 0.63418
457 | 2185.7 | 2185.6476 | 0.66243
457.5 | 2282.8 | 2282.7476 | 0.69186
458 | 2382.3 | 2382.2476 | 0.72201
458.5 | 2481.3 | 2481.2476 | 0.75202
459 | 2575.4 | 2575.3476 | 0.78054
459.5 | 2663.5 | 2663.4476 | 0.80724
460 | 2745.6 | 2745.5476 | 0.83212
460.5 | 2823.4 | 2823.3476 | 0.8557
461 | 2898 | 2897.9476 | 0.87831
461.5 | 2967.8 | 2967.7476 | 0.89947
462 | 3031.6 | 3031.5476 | 0.9188
462.5 | 3087.6 | 3087.5476 | 0.93578
463 | 3138.1 | 3138.0476 | 0.95108
463.5 | 3183.1 | 3183.0476 | 0.96472
464 | 3222.6 | 3222.5476 | 0.97669
464.5 | 3255.8 | 3255.7476 | 0.98676
465 | 3280.5 | 3280.4476 | 0.99424
465.5 | 3296.2 | 3296.1476 | 0.999
466 | 3299.5 | 3299.4476 | 1
466.5 | 3292.7 | 3292.6476 | 0.99794
467 | 3276.6 | 3276.5476 | 0.99306
467.5 | 3252.6 | 3252.5476 | 0.98579
468 | 3219.8 | 3219.7476 | 0.97584
468.5 | 3175.1 | 3175.0476 | 0.9623
469 | 3117.6 | 3117.5476 | 0.94487
469.5 | 3046.1 | 3046.0476 | 0.9232
470 | 2967.1 | 2967.0476 | 0.89926
470.5 | 2883 | 2882.9476 | 0.87377
471 | 2798.3 | 2798.2476 | 0.8481
471.5 | 2715.8 | 2715.7476 | 0.82309
472 | 2636.7 | 2636.6476 | 0.79912
472.5 | 2558.6 | 2558.5476 | 0.77545
473 | 2479 | 2478.9476 | 0.75132
473.5 | 2399.4 | 2399.3476 | 0.7272
474 | 2320.9 | 2320.8476 | 0.7034
474.5 | 2244.2 | 2244.1476 | 0.68016
475 | 2171.2 | 2171.1476 | 0.65803
475.5 | 2101.5 | 2101.4476 | 0.63691
476 | 2032.9 | 2032.8476 | 0.61612
476.5 | 1964.2 | 1964.1476 | 0.5953
477 | 1894.1 | 1894.0476 | 0.57405
477.5 | 1823 | 1822.9476 | 0.5525
478 | 1751.7 | 1751.6476 | 0.53089
478.5 | 1682.7 | 1682.6476 | 0.50998
479 | 1617.2 | 1617.1476 | 0.49013
479.5 | 1555.2 | 1555.1476 | 0.47134
480 | 1496.2 | 1496.1476 | 0.45345
480.5 | 1440.7 | 1440.6476 | 0.43663
481 | 1388.2 | 1388.1476 | 0.42072
481.5 | 1336.9 | 1336.8476 | 0.40517
482 | 1286.9 | 1286.8476 | 0.39002
482.5 | 1239.7 | 1239.6476 | 0.37571
483 | 1196.2 | 1196.1476 | 0.36253
483.5 | 1155 | 1154.9476 | 0.35004
484 | 1116.3 | 1116.2476 | 0.33831
484.5 | 1078.9 | 1078.8476 | 0.32698
485 | 1042.1 | 1042.0476 | 0.31582
485.5 | 1005 | 1004.9476 | 0.30458
486 | 968.05 | 967.9976 | 0.29338
486.5 | 931.81 | 931.7576 | 0.2824
487 | 896.12 | 896.0676 | 0.27158
487.5 | 861.42 | 861.3676 | 0.26106
488 | 827.86 | 827.8076 | 0.25089
488.5 | 795.07 | 795.0176 | 0.24095
489 | 762.78 | 762.7276 | 0.23117
489.5 | 731.12 | 731.0676 | 0.22157
490 | 700.36 | 700.3076 | 0.21225
490.5 | 671.03 | 670.9776 | 0.20336
491 | 643.42 | 643.3676 | 0.19499
491.5 | 617.59 | 617.5376 | 0.18716
492 | 593.61 | 593.5576 | 0.1799
492.5 | 570.79 | 570.7376 | 0.17298
493 | 548.87 | 548.8176 | 0.16634
493.5 | 527.99 | 527.9376 | 0.16001
494 | 508.24 | 508.1876 | 0.15402
494.5 | 489.5 | 489.4476 | 0.14834
495 | 471.96 | 471.9076 | 0.14303
495.5 | 455.04 | 454.9876 | 0.1379
496 | 438.21 | 438.1576 | 0.1328
496.5 | 421.75 | 421.6976 | 0.12781
497 | 406.02 | 405.9676 | 0.12304
497.5 | 391.22 | 391.1676 | 0.11856
498 | 377.44 | 377.3876 | 0.11438
498.5 | 364.09 | 364.0376 | 0.11033
499 | 350.93 | 350.8776 | 0.10634
499.5 | 337.9 | 337.8476 | 0.1024
500 | 325.17 | 325.1176 | 0.098537
500.5 | 313.09 | 313.0376 | 0.094876
501 | 301.62 | 301.5676 | 0.091399
501.5 | 291.22 | 291.1676 | 0.088247
502 | 281.38 | 281.3276 | 0.085265
502.5 | 271.68 | 271.6276 | 0.082325
503 | 261.86 | 261.8076 | 0.079349
503.5 | 251.7 | 251.6476 | 0.07627
504 | 241.38 | 241.3276 | 0.073142
504.5 | 231.65 | 231.5976 | 0.070193
505 | 222.48 | 222.4276 | 0.067414
505.5 | 213.54 | 213.4876 | 0.064704
506 | 204.6 | 204.5476 | 0.061994
506.5 | 195.55 | 195.4976 | 0.059252
507 | 186.52 | 186.4676 | 0.056515
507.5 | 177.77 | 177.7176 | 0.053863
508 | 169.52 | 169.4676 | 0.051362
508.5 | 161.71 | 161.6576 | 0.048995
509 | 154.47 | 154.4176 | 0.046801
509.5 | 147.35 | 147.2976 | 0.044643
510 | 140.5 | 140.4476 | 0.042567
510.5 | 133.87 | 133.8176 | 0.040558
511 | 127.51 | 127.4576 | 0.03863
511.5 | 121.56 | 121.5076 | 0.036827
512 | 116.35 | 116.2976 | 0.035248
512.5 | 111.37 | 111.3176 | 0.033738
513 | 106.4 | 106.3476 | 0.032232
513.5 | 101.71 | 101.6576 | 0.03081
514 | 97.403 | 97.3506 | 0.029505
514.5 | 93.135 | 93.0826 | 0.028212
515 | 89.075 | 89.0226 | 0.026981
515.5 | 85.258 | 85.2056 | 0.025824
516 | 81.773 | 81.7206 | 0.024768
516.5 | 78.748 | 78.6956 | 0.023851
517 | 75.865 | 75.8126 | 0.022977
517.5 | 73.018 | 72.9656 | 0.022114
518 | 70.135 | 70.0826 | 0.021241
518.5 | 67.331 | 67.2786 | 0.020391
519 | 64.88 | 64.8276 | 0.019648
519.5 | 62.436 | 62.3836 | 0.018907
520 | 59.925 | 59.8726 | 0.018146
520.5 | 57.827 | 57.7746 | 0.01751
521 | 56.034 | 55.9816 | 0.016967
521.5 | 54.157 | 54.1046 | 0.016398
522 | 52.003 | 51.9506 | 0.015745
522.5 | 49.827 | 49.7746 | 0.015086
523 | 47.798 | 47.7456 | 0.014471
523.5 | 45.959 | 45.9066 | 0.013913
524 | 44.605 | 44.5526 | 0.013503
524.5 | 43.36 | 43.3076 | 0.013126
525 | 42.041 | 41.9886 | 0.012726
525.5 | 40.672 | 40.6196 | 0.012311
526 | 39.408 | 39.3556 | 0.011928
526.5 | 38.106 | 38.0536 | 0.011533
527 | 36.997 | 36.9446 | 0.011197
527.5 | 35.898 | 35.8456 | 0.010864
528 | 34.99 | 34.9376 | 0.010589
528.5 | 34.066 | 34.0136 | 0.010309
529 | 32.965 | 32.9126 | 0.0099752
529.5 | 31.882 | 31.8296 | 0.0096469
530 | 30.817 | 30.7646 | 0.0093242
530.5 | 29.683 | 29.6306 | 0.0089805
531 | 28.903 | 28.8506 | 0.0087441
531.5 | 28.068 | 28.0156 | 0.008491
532 | 26.882 | 26.8296 | 0.0081315
532.5 | 25.209 | 25.1566 | 0.0076245
533 | 23.498 | 23.4456 | 0.0071059
533.5 | 21.992 | 21.9396 | 0.0066495
534 | 20.962 | 20.9096 | 0.0063373
534.5 | 20.324 | 20.2716 | 0.0061439
535 | 19.501 | 19.4486 | 0.0058945
535.5 | 18.598 | 18.5456 | 0.0056208
536 | 17.963 | 17.9106 | 0.0054284
536.5 | 16.932 | 16.8796 | 0.0051159
537 | 15.872 | 15.8196 | 0.0047946
537.5 | 14.97 | 14.9176 | 0.0045212
538 | 14.321 | 14.2686 | 0.0043245
538.5 | 13.985 | 13.9326 | 0.0042227
539 | 13.87 | 13.8176 | 0.0041878
539.5 | 13.536 | 13.4836 | 0.0040866
540 | 13.119 | 13.0666 | 0.0039602
540.5 | 12.489 | 12.4366 | 0.0037693
541 | 11.945 | 11.8926 | 0.0036044
541.5 | 11.129 | 11.0766 | 0.0033571
542 | 10.544 | 10.4916 | 0.0031798
542.5 | 10.17 | 10.1176 | 0.0030664
543 | 9.879 | 9.8266 | 0.0029782
543.5 | 9.6803 | 9.6279 | 0.002918
544 | 9.5148 | 9.4624 | 0.0028679
544.5 | 9.0247 | 8.9723 | 0.0027193
545 | 8.6072 | 8.5548 | 0.0025928
545.5 | 8.0892 | 8.0368 | 0.0024358
546 | 7.752 | 7.6996 | 0.0023336
546.5 | 7.8275 | 7.7751 | 0.0023565
547 | 8.0608 | 8.0084 | 0.0024272
547.5 | 8.1531 | 8.1007 | 0.0024552
548 | 8.1196 | 8.0672 | 0.002445
548.5 | 7.8957 | 7.8433 | 0.0023771
549 | 7.9337 | 7.8813 | 0.0023887
549.5 | 7.9374 | 7.885 | 0.0023898
550 | 8.0837 | 8.0313 | 0.0024341
550.5 | 7.8925 | 7.8401 | 0.0023762
551 | 7.5508 | 7.4984 | 0.0022726
551.5 | 7.2369 | 7.1845 | 0.0021775
552 | 6.8318 | 6.7794 | 0.0020547
552.5 | 6.3733 | 6.3209 | 0.0019157
553 | 5.9037 | 5.8513 | 0.0017734
553.5 | 5.6155 | 5.5631 | 0.0016861
554 | 5.634 | 5.5816 | 0.0016917
554.5 | 5.2689 | 5.2165 | 0.001581
555 | 4.8166 | 4.7642 | 0.0014439
555.5 | 4.5729 | 4.5205 | 0.0013701
556 | 4.6093 | 4.5569 | 0.0013811
556.5 | 4.9383 | 4.8859 | 0.0014808
557 | 5.3014 | 5.249 | 0.0015909
557.5 | 5.3971 | 5.3447 | 0.0016199
558 | 5.3012 | 5.2488 | 0.0015908
558.5 | 5.4361 | 5.3837 | 0.0016317
559 | 5.5718 | 5.5194 | 0.0016728
559.5 | 5.3329 | 5.2805 | 0.0016004
560 | 5.216 | 5.1636 | 0.001565
560.5 | 5.0302 | 4.9778 | 0.0015087
561 | 4.8473 | 4.7949 | 0.0014532
561.5 | 4.8885 | 4.8361 | 0.0014657
562 | 4.7699 | 4.7175 | 0.0014298
562.5 | 4.78 | 4.7276 | 0.0014328
563 | 4.8988 | 4.8464 | 0.0014688
563.5 | 4.9261 | 4.8737 | 0.0014771
564 | 4.7161 | 4.6637 | 0.0014135
564.5 | 4.236 | 4.1836 | 0.001268
565 | 4.0602 | 4.0078 | 0.0012147
565.5 | 4.1038 | 4.0514 | 0.0012279
566 | 4.1531 | 4.1007 | 0.0012428
566.5 | 3.9967 | 3.9443 | 0.0011954
567 | 3.4566 | 3.4042 | 0.0010317
567.5 | 2.7984 | 2.746 | 0.00083225
568 | 1.9594 | 1.907 | 0.00057797
568.5 | 1.2926 | 1.2402 | 0.00037587
569 | 1.0714 | 1.019 | 0.00030883
569.5 | 0.95336 | 0.90094 | 0.00027306
570 | 1.0913 | 1.0389 | 0.00031486
570.5 | 1.142 | 1.0896 | 0.00033023
571 | 1.1018 | 1.0494 | 0.00031805
571.5 | 0.9002 | 0.84778 | 0.00025694
572 | 1.0092 | 0.95678 | 0.00028998
572.5 | 1.2602 | 1.2078 | 0.00036605
573 | 1.3689 | 1.3165 | 0.000399
573.5 | 1.4855 | 1.4331 | 0.00043434
574 | 1.8686 | 1.8162 | 0.00055045
574.5 | 2.0096 | 1.9572 | 0.00059318
575 | 2.0615 | 2.0091 | 0.00060891
575.5 | 1.9733 | 1.9209 | 0.00058218
576 | 1.9109 | 1.8585 | 0.00056327
576.5 | 1.8714 | 1.819 | 0.0005513
577 | 1.935 | 1.8826 | 0.00057057
577.5 | 2.0173 | 1.9649 | 0.00059552
578 | 1.8674 | 1.815 | 0.00055008
578.5 | 1.9135 | 1.8611 | 0.00056406
579 | 1.8166 | 1.7642 | 0.00053469
579.5 | 1.5877 | 1.5353 | 0.00046531
580 | 1.4515 | 1.3991 | 0.00042403
580.5 | 1.6392 | 1.5868 | 0.00048092
581 | 1.9419 | 1.8895 | 0.00057266
581.5 | 2.0272 | 1.9748 | 0.00059852
582 | 2.2313 | 2.1789 | 0.00066038
582.5 | 2.4403 | 2.3879 | 0.00072372
583 | 2.0655 | 2.0131 | 0.00061013
583.5 | 1.5437 | 1.4913 | 0.00045198
584 | 1.4634 | 1.411 | 0.00042764
584.5 | 1.821 | 1.7686 | 0.00053602
585 | 1.8533 | 1.8009 | 0.00054581
585.5 | 1.7605 | 1.7081 | 0.00051769
586 | 1.5696 | 1.5172 | 0.00045983
586.5 | 1.4218 | 1.3694 | 0.00041503
587 | 1.3143 | 1.2619 | 0.00038245
587.5 | 1.0431 | 0.99068 | 0.00030026
588 | 0.99638 | 0.94396 | 0.0002861
588.5 | 1.2115 | 1.1591 | 0.00035129
589 | 1.836 | 1.7836 | 0.00054057
589.5 | 1.9729 | 1.9205 | 0.00058206
590 | 1.8185 | 1.7661 | 0.00053526
590.5 | 1.9577 | 1.9053 | 0.00057745
591 | 2.0308 | 1.9784 | 0.00059961
591.5 | 1.8554 | 1.803 | 0.00054645
592 | 1.687 | 1.6346 | 0.00049541
592.5 | 1.5949 | 1.5425 | 0.0004675
593 | 1.0886 | 1.0362 | 0.00031405
593.5 | 0.56681 | 0.51439 | 0.0001559
594 | 0.45871 | 0.40629 | 0.00012314
594.5 | 0.33029 | 0.27787 | 8.4216e-05
595 | 0.3176 | 0.26518 | 8.037e-05
595.5 | -0.10952 | 0 | 0
596 | -0.52389 | 0 | 0
596.5 | -0.67089 | 0 | 0
597 | -0.54853 | 0 | 0
597.5 | -0.38334 | 0 | 0
598 | 0.0052266 | 0 | 0
598.5 | 0.52378 | 0.47136 | 0.00014286
599 | 0.64735 | 0.59493 | 0.00018031
599.5 | 0.59163 | 0.53921 | 0.00016342
600 | 0.27418 | 0.22176 | 6.721e-05
600.5 | 0.23539 | 0.18297 | 5.5454e-05
601 | 0.51292 | 0.4605 | 0.00013957
601.5 | 0.81772 | 0.7653 | 0.00023195
602 | 1.0788 | 1.0264 | 0.00031108
602.5 | 0.85249 | 0.80007 | 0.00024248
603 | 0.30979 | 0.25737 | 7.8003e-05
603.5 | -0.11883 | 0 | 0
604 | -0.11206 | 0 | 0
604.5 | -0.14576 | 0 | 0
605 | -0.34184 | 0 | 0
605.5 | -0.5793 | 0 | 0
606 | -0.86445 | 0 | 0
606.5 | -1.1356 | 0 | 0
607 | -1.2203 | 0 | 0
607.5 | -1.1454 | 0 | 0
608 | -0.8734 | 0 | 0
608.5 | -0.33803 | 0 | 0
609 | 0.021662 | 0 | 0
609.5 | 0.043545 | 0 | 0
610 | 0.15456 | 0.10214 | 3.0955e-05
610.5 | 0.38952 | 0.3371 | 0.00010217
611 | 0.75716 | 0.70474 | 0.00021359
611.5 | 1.1079 | 1.0555 | 0.00031989
612 | 1.0279 | 0.97548 | 0.00029565
612.5 | 0.878 | 0.82558 | 0.00025022
613 | 0.79474 | 0.74232 | 0.00022498
613.5 | 0.55946 | 0.50704 | 0.00015367
614 | 0.18606 | 0.13364 | 4.0503e-05
614.5 | -0.090779 | 0 | 0
615 | -0.27313 | 0 | 0
615.5 | -0.35386 | 0 | 0
616 | -0.57105 | 0 | 0
616.5 | -0.76068 | 0 | 0
617 | -0.8454 | 0 | 0
617.5 | -0.78336 | 0 | 0
618 | -0.91991 | 0 | 0
618.5 | -0.74021 | 0 | 0
619 | -0.64376 | 0 | 0
619.5 | -0.80893 | 0 | 0
620 | -0.59465 | 0 | 0
620.5 | -0.3627 | 0 | 0
621 | -0.13842 | 0 | 0
621.5 | 0.10524 | 0.052816 | 1.6008e-05
622 | 0.31325 | 0.26083 | 7.9051e-05
622.5 | 0.64496 | 0.59254 | 0.00017959
623 | 0.93101 | 0.87859 | 0.00026628
623.5 | 0.86554 | 0.81312 | 0.00024644
624 | 0.65203 | 0.59961 | 0.00018173
624.5 | 1.0567 | 1.0043 | 0.00030438
625 | 1.3835 | 1.3311 | 0.00040342
625.5 | 1.4716 | 1.4192 | 0.00043013
626 | 1.3318 | 1.2794 | 0.00038775
626.5 | 1.0047 | 0.95228 | 0.00028862
627 | 0.57229 | 0.51987 | 0.00015756
627.5 | -0.13721 | 0 | 0
628 | -0.59969 | 0 | 0
628.5 | -0.7623 | 0 | 0
629 | -0.73728 | 0 | 0
629.5 | -1.0921 | 0 | 0
630 | -1.5349 | 0 | 0
630.5 | -1.7074 | 0 | 0
631 | -1.9474 | 0 | 0
631.5 | -2.1165 | 0 | 0
632 | -1.8586 | 0 | 0
632.5 | -1.5814 | 0 | 0
633 | -1.2231 | 0 | 0
633.5 | -0.80181 | 0 | 0
634 | -0.57387 | 0 | 0
634.5 | -0.34274 | 0 | 0
635 | -0.23957 | 0 | 0
635.5 | 0.0021244 | 0 | 0
636 | 0.20424 | 0.15182 | 4.6013e-05
636.5 | 0.50758 | 0.45516 | 0.00013795
637 | 0.60741 | 0.55499 | 0.00016821
637.5 | 0.94643 | 0.89401 | 0.00027096
638 | 1.0913 | 1.0389 | 0.00031486
638.5 | 0.83456 | 0.78214 | 0.00023705
639 | 0.57961 | 0.52719 | 0.00015978
639.5 | 0.63067 | 0.57825 | 0.00017526
640 | 0.55411 | 0.50169 | 0.00015205
640.5 | 0.082494 | 0.03007 | 9.1136e-06
641 | -0.3988 | 0 | 0
641.5 | -0.33702 | 0 | 0
642 | -0.16919 | 0 | 0
642.5 | -0.42736 | 0 | 0
643 | -0.5913 | 0 | 0
643.5 | -0.75303 | 0 | 0
644 | -0.7735 | 0 | 0
644.5 | -0.87217 | 0 | 0
645 | -0.95728 | 0 | 0
645.5 | -0.48235 | 0 | 0
646 | -0.092092 | 0 | 0
646.5 | 0.12037 | 0.067946 | 2.0593e-05
647 | 0.52013 | 0.46771 | 0.00014175
647.5 | 0.89989 | 0.84747 | 0.00025685
648 | 0.97027 | 0.91785 | 0.00027818
648.5 | 1.2326 | 1.1802 | 0.00035769
649 | 1.2516 | 1.1992 | 0.00036345
649.5 | 1.1015 | 1.0491 | 0.00031796
650 | 0.92309 | 0.87067 | 0.00026388
650.5 | 0.71325 | 0.66083 | 0.00020028
651 | 0.61383 | 0.56141 | 0.00017015
651.5 | 0.641 | 0.58858 | 0.00017839
652 | 0.29007 | 0.23765 | 7.2026e-05
652.5 | 0.069381 | 0.016957 | 5.1393e-06
653 | 0.29868 | 0.24626 | 7.4636e-05
653.5 | 0.54865 | 0.49623 | 0.0001504
654 | 0.88915 | 0.83673 | 0.0002536
654.5 | 1.0924 | 1.04 | 0.0003152
655 | 1.6161 | 1.5637 | 0.00047392
655.5 | 1.7996 | 1.7472 | 0.00052954
656 | 1.7037 | 1.6513 | 0.00050047
656.5 | 1.3506 | 1.2982 | 0.00039345
657 | 1.1068 | 1.0544 | 0.00031956
657.5 | 0.88324 | 0.83082 | 0.0002518
658 | 0.63442 | 0.582 | 0.00017639
658.5 | 0.17164 | 0.11922 | 3.6132e-05
659 | -0.4332 | 0 | 0
659.5 | -0.26685 | 0 | 0
660 | -0.35662 | 0 | 0
660.5 | -0.54192 | 0 | 0
661 | -0.46495 | 0 | 0
661.5 | -0.17338 | 0 | 0
662 | -0.053623 | 0 | 0
662.5 | -0.44173 | 0 | 0
663 | -1.0526 | 0 | 0
663.5 | -1.3678 | 0 | 0
664 | -1.5875 | 0 | 0
664.5 | -2.1016 | 0 | 0
665 | -2.7262 | 0 | 0
665.5 | -3.077 | 0 | 0
666 | -3.2807 | 0 | 0
666.5 | -3.1939 | 0 | 0
667 | -2.9846 | 0 | 0
667.5 | -2.5846 | 0 | 0
668 | -1.7474 | 0 | 0
668.5 | -1.2389 | 0 | 0
669 | -0.7811 | 0 | 0
669.5 | -0.3935 | 0 | 0
670 | 0.13317 | 0.080746 | 2.4473e-05
670.5 | 0.60971 | 0.55729 | 0.0001689
671 | 1.0829 | 1.0305 | 0.00031232
671.5 | 1.2027 | 1.1503 | 0.00034863
672 | 1.1961 | 1.1437 | 0.00034663
672.5 | 1.3633 | 1.3109 | 0.0003973
673 | 1.463 | 1.4106 | 0.00042752
673.5 | 1.6256 | 1.5732 | 0.0004768
674 | 1.5905 | 1.5381 | 0.00046616
674.5 | 1.4397 | 1.3873 | 0.00042046
675 | 1.3561 | 1.3037 | 0.00039512
675.5 | 1.3203 | 1.2679 | 0.00038427
676 | 1.0402 | 0.98778 | 0.00029938
676.5 | 0.80941 | 0.75699 | 0.00022943
677 | 0.73291 | 0.68049 | 0.00020624
677.5 | 0.61964 | 0.56722 | 0.00017191
678 | 0.45451 | 0.40209 | 0.00012186
678.5 | 0.41036 | 0.35794 | 0.00010848
679 | 0.45473 | 0.40231 | 0.00012193
679.5 | 0.54842 | 0.496 | 0.00015033
680 | 0.79256 | 0.74014 | 0.00022432
680.5 | 0.96101 | 0.90859 | 0.00027538
681 | 1.5263 | 1.4739 | 0.0004467
681.5 | 1.9568 | 1.9044 | 0.00057718
682 | 2.0264 | 1.974 | 0.00059827
682.5 | 2.1198 | 2.0674 | 0.00062658
683 | 2.2158 | 2.1634 | 0.00065568
683.5 | 1.9405 | 1.8881 | 0.00057224
684 | 1.7414 | 1.689 | 0.0005119
684.5 | 1.862 | 1.8096 | 0.00054845
685 | 1.68 | 1.6276 | 0.00049329
685.5 | 1.3676 | 1.3152 | 0.0003986
686 | 0.41621 | 0.36379 | 0.00011026
686.5 | -0.26648 | 0 | 0
687 | -0.45101 | 0 | 0
687.5 | -0.59891 | 0 | 0
688 | -0.62619 | 0 | 0
688.5 | -0.75232 | 0 | 0
689 | -0.80929 | 0 | 0
689.5 | -1.0565 | 0 | 0
690 | -1.1474 | 0 | 0
690.5 | -1.1256 | 0 | 0
691 | -0.8276 | 0 | 0
691.5 | -0.43986 | 0 | 0
692 | -0.33001 | 0 | 0
692.5 | -0.22799 | 0 | 0
693 | -0.63021 | 0 | 0
693.5 | -0.69151 | 0 | 0
694 | -0.42176 | 0 | 0
694.5 | -0.44256 | 0 | 0
695 | -0.54815 | 0 | 0
695.5 | -0.23887 | 0 | 0
696 | 0.27003 | 0.21761 | 6.5952e-05
696.5 | 0.46144 | 0.40902 | 0.00012396
697 | 0.58262 | 0.5302 | 0.00016069
697.5 | 0.56046 | 0.50804 | 0.00015398
698 | 0.65862 | 0.6062 | 0.00018373
698.5 | 0.67867 | 0.62625 | 0.0001898
699 | 0.40886 | 0.35644 | 0.00010803
699.5 | 0.59783 | 0.54541 | 0.0001653
700 | 0.60781 | 0.55539 | 0.00016833
700.5 | 0.34028 | 0.28786 | 8.7244e-05
701 | -0.16038 | 0 | 0
701.5 | -0.50997 | 0 | 0
702 | -0.77437 | 0 | 0
702.5 | -0.85662 | 0 | 0
703 | -0.8664 | 0 | 0
703.5 | -0.80676 | 0 | 0
704 | -0.54731 | 0 | 0
704.5 | -0.53908 | 0 | 0
705 | -0.54769 | 0 | 0
705.5 | -0.46118 | 0 | 0
706 | -0.46508 | 0 | 0
706.5 | -0.44496 | 0 | 0
707 | -0.63566 | 0 | 0
707.5 | -0.5724 | 0 | 0
708 | -0.59652 | 0 | 0
708.5 | -0.7535 | 0 | 0
709 | -1.0256 | 0 | 0
709.5 | -1.228 | 0 | 0
710 | -1.1002 | 0 | 0
710.5 | -1.2723 | 0 | 0
711 | -0.95897 | 0 | 0
711.5 | -0.70729 | 0 | 0
712 | -0.33721 | 0 | 0
712.5 | -0.32861 | 0 | 0
713 | -0.074909 | 0 | 0
713.5 | 0.050996 | 0 | 0
714 | -0.034325 | 0 | 0
714.5 | -0.11141 | 0 | 0
715 | -0.47183 | 0 | 0
715.5 | -0.49271 | 0 | 0
716 | -0.50854 | 0 | 0
716.5 | -0.6764 | 0 | 0
717 | -0.73331 | 0 | 0
717.5 | -0.65756 | 0 | 0
718 | -0.49295 | 0 | 0
718.5 | -0.30949 | 0 | 0
719 | 0.098344 | 0.04592 | 1.3917e-05
719.5 | 0.57349 | 0.52107 | 0.00015793
720 | 0.98923 | 0.93681 | 0.00028393
720.5 | 0.94378 | 0.89136 | 0.00027015
721 | 0.74386 | 0.69144 | 0.00020956
721.5 | 0.82135 | 0.76893 | 0.00023305
722 | 0.48843 | 0.43601 | 0.00013215
722.5 | 0.38252 | 0.3301 | 0.00010005
723 | -0.0096087 | 0 | 0
723.5 | -0.18193 | 0 | 0
724 | -0.69822 | 0 | 0
724.5 | -1.216 | 0 | 0
725 | -1.8883 | 0 | 0
725.5 | -2.1293 | 0 | 0
726 | -2.073 | 0 | 0
726.5 | -1.7503 | 0 | 0
727 | -1.5561 | 0 | 0
727.5 | -1.0909 | 0 | 0
728 | -0.64133 | 0 | 0
728.5 | -0.60126 | 0 | 0
729 | -0.44324 | 0 | 0
729.5 | -0.0091827 | 0 | 0
730 | 0.42911 | 0.37669 | 0.00011417
730.5 | 0.61944 | 0.56702 | 0.00017185
731 | 0.15787 | 0.10545 | 3.1959e-05
731.5 | -0.040867 | 0 | 0
732 | -0.2305 | 0 | 0
732.5 | -0.53339 | 0 | 0
733 | -0.1813 | 0 | 0
733.5 | 0.30961 | 0.25719 | 7.7948e-05
734 | 0.70526 | 0.65284 | 0.00019786
734.5 | 1.0888 | 1.0364 | 0.00031411
735 | 1.3856 | 1.3332 | 0.00040406
735.5 | 1.6464 | 1.594 | 0.0004831
736 | 1.9817 | 1.9293 | 0.00058473
736.5 | 2.0401 | 1.9877 | 0.00060243
737 | 2.1035 | 2.0511 | 0.00062164
737.5 | 1.766 | 1.7136 | 0.00051935
738 | 1.457 | 1.4046 | 0.0004257
738.5 | 1.0019 | 0.94948 | 0.00028777
739 | 0.55094 | 0.49852 | 0.00015109
739.5 | 0.45468 | 0.40226 | 0.00012192
740 | 0.49267 | 0.44025 | 0.00013343
740.5 | 0.80894 | 0.75652 | 0.00022929
741 | 0.65323 | 0.60081 | 0.00018209
741.5 | 0.61667 | 0.56425 | 0.00017101
742 | 0.39616 | 0.34374 | 0.00010418
742.5 | 0.049209 | 0 | 0
743 | 0.0095693 | 0 | 0
743.5 | -0.34134 | 0 | 0
744 | -0.85637 | 0 | 0
744.5 | -1.8489 | 0 | 0
745 | -2.2849 | 0 | 0
745.5 | -2.5879 | 0 | 0
746 | -2.3981 | 0 | 0
746.5 | -2.343 | 0 | 0
747 | -2.1351 | 0 | 0
747.5 | -2.2915 | 0 | 0
748 | -2.6291 | 0 | 0
748.5 | -2.5818 | 0 | 0
749 | -2.1724 | 0 | 0
749.5 | -2.1787 | 0 | 0
750 | -2.409 | 0 | 0
750.5 | -2.2874 | 0 | 0
751 | -2.2643 | 0 | 0
751.5 | -2.2382 | 0 | 0
752 | -2.0883 | 0 | 0
752.5 | -1.5288 | 0 | 0
753 | -0.53329 | 0 | 0
753.5 | 0.26176 | 0.20934 | 6.3446e-05
754 | 0.91858 | 0.86616 | 0.00026252
754.5 | 1.3303 | 1.2779 | 0.0003873
755 | 1.2167 | 1.1643 | 0.00035287
755.5 | 1.2484 | 1.196 | 0.00036248
756 | 1.6447 | 1.5923 | 0.00048259
756.5 | 1.8032 | 1.7508 | 0.00053063
757 | 1.6332 | 1.5808 | 0.0004791
757.5 | 1.4561 | 1.4037 | 0.00042543
758 | 0.87787 | 0.82545 | 0.00025018
758.5 | 0.52083 | 0.46841 | 0.00014196
759 | 0.24865 | 0.19623 | 5.9472e-05
759.5 | 0.026971 | 0 | 0
760 | 0.14761 | 0.095186 | 2.8849e-05
760.5 | 0.21858 | 0.16616 | 5.0359e-05
761 | 0.28484 | 0.23242 | 7.0441e-05
761.5 | 0.63235 | 0.57993 | 0.00017576
762 | 0.66042 | 0.608 | 0.00018427
762.5 | 1.0913 | 1.0389 | 0.00031486
763 | 1.6745 | 1.6221 | 0.00049162
763.5 | 2.0853 | 2.0329 | 0.00061613
764 | 2.6111 | 2.5587 | 0.00077549
764.5 | 2.7247 | 2.6723 | 0.00080992
765 | 2.4547 | 2.4023 | 0.00072808
765.5 | 1.9478 | 1.8954 | 0.00057445
766 | 1.5529 | 1.5005 | 0.00045477
766.5 | 1.694 | 1.6416 | 0.00049753
767 | 1.4743 | 1.4219 | 0.00043094
767.5 | 0.70571 | 0.65329 | 0.000198
768 | 0.063576 | 0.011152 | 3.38e-06
768.5 | -0.16035 | 0 | 0
769 | -0.19957 | 0 | 0
769.5 | -0.10146 | 0 | 0
770 | 0.25161 | 0.19919 | 6.0369e-05
770.5 | 0.47597 | 0.42355 | 0.00012837
771 | 0.38551 | 0.33309 | 0.00010095
771.5 | 0.17043 | 0.11801 | 3.5765e-05
772 | 0.3442 | 0.29178 | 8.8432e-05
772.5 | 0.23805 | 0.18563 | 5.626e-05
773 | -0.068107 | 0 | 0
773.5 | -0.50521 | 0 | 0
774 | -1.0325 | 0 | 0
774.5 | -1.513 | 0 | 0
775 | -1.9875 | 0 | 0
775.5 | -2.5517 | 0 | 0
776 | -2.8667 | 0 | 0
776.5 | -3.0614 | 0 | 0
777 | -3.1772 | 0 | 0
777.5 | -2.8004 | 0 | 0
778 | -2.6241 | 0 | 0
778.5 | -2.4732 | 0 | 0
779 | -2.1066 | 0 | 0
779.5 | -1.6 | 0 | 0
780 | -0.83199 | 0 | 0
780.5 | -0.18118 | 0 | 0
781 | 0.38618 | 0.33376 | 0.00010116
781.5 | 0.78061 | 0.72819 | 0.0002207
782 | 0.54386 | 0.49144 | 0.00014894
782.5 | 0.4094 | 0.35698 | 0.00010819
783 | 0.69777 | 0.64535 | 0.00019559
783.5 | 0.57227 | 0.51985 | 0.00015756
784 | 0.46668 | 0.41426 | 0.00012555
784.5 | 0.38513 | 0.33271 | 0.00010084
785 | 0.22298 | 0.17056 | 5.1692e-05
785.5 | -0.09431 | 0 | 0
786 | 0.02583 | 0 | 0
786.5 | 0.25232 | 0.1999 | 6.0585e-05
787 | 0.80452 | 0.7521 | 0.00022795
787.5 | 1.0476 | 0.99518 | 0.00030162
788 | 1.2795 | 1.2271 | 0.0003719
788.5 | 1.233 | 1.1806 | 0.00035781
789 | 0.96444 | 0.91202 | 0.00027641
789.5 | 1.0649 | 1.0125 | 0.00030686
790 | 1.0641 | 1.0117 | 0.00030662
790.5 | 0.85512 | 0.8027 | 0.00024328
791 | 0.66339 | 0.61097 | 0.00018517
791.5 | 0.53545 | 0.48303 | 0.0001464
792 | 0.59914 | 0.54672 | 0.0001657
792.5 | 0.69103 | 0.63861 | 0.00019355
793 | 0.57518 | 0.52276 | 0.00015844
793.5 | 0.39993 | 0.34751 | 0.00010532
794 | -0.035028 | 0 | 0
794.5 | -0.47459 | 0 | 0
795 | -0.78887 | 0 | 0
795.5 | -0.98518 | 0 | 0
796 | -1.8907 | 0 | 0
796.5 | -2.9376 | 0 | 0
797 | -3.4107 | 0 | 0
797.5 | -3.5699 | 0 | 0
798 | -3.602 | 0 | 0
798.5 | -3.658 | 0 | 0
799 | -3.6437 | 0 | 0
799.5 | -3.505 | 0 | 0
800 | -3.3245 | 0 | 0
800.5 | -2.3413 | 0 | 0
801 | -1.3603 | 0 | 0
801.5 | -0.94903 | 0 | 0
802 | -0.71702 | 0 | 0
802.5 | -0.21352 | 0 | 0
803 | 0.1369 | 0.084476 | 2.5603e-05
803.5 | 0.27106 | 0.21864 | 6.6264e-05
804 | 0.19711 | 0.14469 | 4.3852e-05
804.5 | 0.0081756 | 0 | 0
805 | -0.53024 | 0 | 0
805.5 | -0.67599 | 0 | 0
806 | -0.33517 | 0 | 0
806.5 | -0.22649 | 0 | 0
807 | -0.62951 | 0 | 0
807.5 | -0.63198 | 0 | 0
808 | -0.4811 | 0 | 0
808.5 | -0.24351 | 0 | 0
809 | 0.11435 | 0.061926 | 1.8769e-05
809.5 | 0.35116 | 0.29874 | 9.0541e-05
810 | 0.26917 | 0.21675 | 6.5692e-05
810.5 | 0.12621 | 0.073786 | 2.2363e-05
811 | 0.55626 | 0.50384 | 0.0001527
811.5 | 0.99911 | 0.94669 | 0.00028692
812 | 1.0649 | 1.0125 | 0.00030686
812.5 | 1.1209 | 1.0685 | 0.00032383
813 | 0.88226 | 0.82984 | 0.00025151
813.5 | 0.6106 | 0.55818 | 0.00016917
814 | 0.37906 | 0.32664 | 9.8997e-05
814.5 | 0.07822 | 0.025796 | 7.8183e-06
815 | -0.31036 | 0 | 0
815.5 | -0.6806 | 0 | 0
816 | -0.89106 | 0 | 0
816.5 | -0.9391 | 0 | 0
817 | -0.98036 | 0 | 0
817.5 | -0.82068 | 0 | 0
818 | -0.76245 | 0 | 0
818.5 | -0.73946 | 0 | 0
819 | -1.0905 | 0 | 0
819.5 | -1.4806 | 0 | 0
820 | -1.6102 | 0 | 0
820.5 | -1.5308 | 0 | 0
821 | -1.3144 | 0 | 0
821.5 | -1.2119 | 0 | 0
822 | -1.0935 | 0 | 0
822.5 | -1.2891 | 0 | 0
823 | -1.3779 | 0 | 0
823.5 | -1.458 | 0 | 0
824 | -1.4128 | 0 | 0
824.5 | -1.7541 | 0 | 0
825 | -2.3114 | 0 | 0
825.5 | -2.9305 | 0 | 0
826 | -3.1259 | 0 | 0
826.5 | -3.5167 | 0 | 0
827 | -3.4374 | 0 | 0
827.5 | -3.3184 | 0 | 0
828 | -3.1307 | 0 | 0
828.5 | -3.1117 | 0 | 0
829 | -2.8644 | 0 | 0
829.5 | -2.1916 | 0 | 0
830 | -1.326 | 0 | 0
830.5 | -0.70272 | 0 | 0
831 | -0.2515 | 0 | 0
831.5 | -0.26678 | 0 | 0
832 | -0.28103 | 0 | 0
832.5 | 0.10524 | 0.052816 | 1.6008e-05
833 | 0.56049 | 0.50807 | 0.00015399
833.5 | 0.86867 | 0.81625 | 0.00024739
834 | 0.86264 | 0.81022 | 0.00024556
834.5 | 0.7289 | 0.67648 | 0.00020503
835 | 0.80101 | 0.74859 | 0.00022688
835.5 | 0.95183 | 0.89941 | 0.00027259
836 | 1.4382 | 1.3858 | 0.00042
836.5 | 1.5646 | 1.5122 | 0.00045831
837 | 1.0713 | 1.0189 | 0.0003088
837.5 | 0.63581 | 0.58339 | 0.00017681
838 | 0.044753 | 0 | 0
838.5 | -0.20927 | 0 | 0
839 | -0.26696 | 0 | 0
839.5 | -0.30193 | 0 | 0
840 | -0.54949 | 0 | 0
840.5 | -0.87316 | 0 | 0
841 | -0.94166 | 0 | 0
841.5 | -0.97301 | 0 | 0
842 | -0.65654 | 0 | 0
842.5 | -0.27744 | 0 | 0
843 | -0.52386 | 0 | 0
843.5 | -1.0943 | 0 | 0
844 | -1.4687 | 0 | 0
844.5 | -1.3215 | 0 | 0
845 | -1.2653 | 0 | 0
845.5 | -1.1483 | 0 | 0
846 | -1.1984 | 0 | 0
846.5 | -1.7702 | 0 | 0
847 | -2.1495 | 0 | 0
847.5 | -2.0015 | 0 | 0
848 | -1.6129 | 0 | 0
848.5 | -1.7993 | 0 | 0
849 | -2.2 | 0 | 0
849.5 | -2.295 | 0 | 0
850 | -2.5954 | 0 | 0
850.5 | -2.8494 | 0 | 0
851 | -2.9642 | 0 | 0
851.5 | -3.186 | 0 | 0
852 | -3.1212 | 0 | 0
852.5 | -3.2166 | 0 | 0
853 | -2.9703 | 0 | 0
853.5 | -3.1442 | 0 | 0
854 | -2.9818 | 0 | 0
854.5 | -2.4757 | 0 | 0
855 | -1.6621 | 0 | 0
855.5 | -0.90808 | 0 | 0
856 | -0.35982 | 0 | 0
856.5 | 0.37592 | 0.3235 | 9.8046e-05
857 | 1.1268 | 1.0744 | 0.00032562
857.5 | 1.9304 | 1.878 | 0.00056918
858 | 2.6921 | 2.6397 | 0.00080004
858.5 | 2.9499 | 2.8975 | 0.00087817
859 | 3.041 | 2.9886 | 0.00090578
859.5 | 2.7888 | 2.7364 | 0.00082934
860 | 2.5375 | 2.4851 | 0.00075318
860.5 | 2.2834 | 2.231 | 0.00067617
861 | 1.9255 | 1.8731 | 0.00056769
861.5 | 1.5647 | 1.5123 | 0.00045834
862 | 1.5383 | 1.4859 | 0.00045034
862.5 | 1.497 | 1.4446 | 0.00043782
863 | 1.2049 | 1.1525 | 0.00034929
863.5 | 1.226 | 1.1736 | 0.00035569
864 | 1.2321 | 1.1797 | 0.00035754
864.5 | 1.3054 | 1.253 | 0.00037975
865 | 1.3513 | 1.2989 | 0.00039366
865.5 | 1.0635 | 1.0111 | 0.00030644
866 | 1.0284 | 0.97598 | 0.0002958
866.5 | 1.0785 | 1.0261 | 0.00031098
867 | 0.92571 | 0.87329 | 0.00026468
867.5 | 0.61899 | 0.56657 | 0.00017172
868 | -0.011477 | 0 | 0
868.5 | -0.66339 | 0 | 0
869 | -1.0523 | 0 | 0
869.5 | -1.0878 | 0 | 0
870 | -1.1505 | 0 | 0
870.5 | -1.7282 | 0 | 0
871 | -1.9927 | 0 | 0
871.5 | -2.1677 | 0 | 0
872 | -2.1661 | 0 | 0
872.5 | -2.0437 | 0 | 0
873 | -1.8758 | 0 | 0
873.5 | -1.8478 | 0 | 0
874 | -1.9038 | 0 | 0
874.5 | -1.9822 | 0 | 0
875 | -1.83 | 0 | 0
875.5 | -1.5469 | 0 | 0
876 | -1.1264 | 0 | 0
876.5 | -0.76185 | 0 | 0
877 | -0.80954 | 0 | 0
877.5 | -0.56693 | 0 | 0
878 | -0.055825 | 0 | 0
878.5 | 0.61197 | 0.55955 | 0.00016959
879 | 1.2431 | 1.1907 | 0.00036087
879.5 | 1.7587 | 1.7063 | 0.00051714
880 | 2.3681 | 2.3157 | 0.00070184
880.5 | 2.7282 | 2.6758 | 0.00081098
881 | 2.8292 | 2.7768 | 0.00084159
881.5 | 2.7422 | 2.6898 | 0.00081522
882 | 2.3433 | 2.2909 | 0.00069432
882.5 | 1.967 | 1.9146 | 0.00058027
883 | 1.5873 | 1.5349 | 0.00046519
883.5 | 2.5603 | 2.5079 | 0.00076009
884 | -1.1587 | 0 | 0
884.5 | -2.2086 | 0 | 0
885 | 12.094 | 12.0416 | 0.0036496
885.5 | 5.4654 | 5.413 | 0.0016406
886 | -26.618 | 0 | 0
886.5 | 4.4621 | 4.4097 | 0.0013365