## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 7.1559 | 0 | 0
246.5 | 13.6 | 0 | 0
247 | 13.114 | 0 | 0
247.5 | 8.0722 | 0 | 0
248 | 13.795 | 0 | 0
248.5 | 13.307 | 0 | 0
249 | 14.91 | 0 | 0
249.5 | 13.172 | 0 | 0
250 | 12.196 | 0 | 0
250.5 | 18.524 | 0 | 0
251 | 13.211 | 0 | 0
251.5 | 14.748 | 0 | 0
252 | 16.002 | 0 | 0
252.5 | 14.145 | 0 | 0
253 | 11.155 | 0 | 0
253.5 | 15.689 | 0 | 0
254 | 14.423 | 0 | 0
254.5 | 15.649 | 0 | 0
255 | 17.426 | 0 | 0
255.5 | 17.351 | 0 | 0
256 | 16.966 | 0 | 0
256.5 | 15.751 | 0 | 0
257 | 16.654 | 0 | 0
257.5 | 17.508 | 0 | 0
258 | 18.609 | 0 | 0
258.5 | 19.758 | 0.226 | 6.634e-05
259 | 18.075 | 0 | 0
259.5 | 18.988 | 0 | 0
260 | 18.52 | 0 | 0
260.5 | 19.597 | 0.065 | 1.908e-05
261 | 19.532 | 0 | 0
261.5 | 18.28 | 0 | 0
262 | 17.443 | 0 | 0
262.5 | 15.082 | 0 | 0
263 | 13.822 | 0 | 0
263.5 | 13.123 | 0 | 0
264 | 14.325 | 0 | 0
264.5 | 16.076 | 0 | 0
265 | 17.276 | 0 | 0
265.5 | 19.108 | 0 | 0
266 | 18.747 | 0 | 0
266.5 | 17.913 | 0 | 0
267 | 17.245 | 0 | 0
267.5 | 16.76 | 0 | 0
268 | 15.988 | 0 | 0
268.5 | 16.153 | 0 | 0
269 | 16.939 | 0 | 0
269.5 | 16.222 | 0 | 0
270 | 16.339 | 0 | 0
270.5 | 15.358 | 0 | 0
271 | 14.11 | 0 | 0
271.5 | 15.144 | 0 | 0
272 | 14.798 | 0 | 0
272.5 | 15.941 | 0 | 0
273 | 16.206 | 0 | 0
273.5 | 14.788 | 0 | 0
274 | 15.437 | 0 | 0
274.5 | 15.444 | 0 | 0
275 | 15.601 | 0 | 0
275.5 | 16.733 | 0 | 0
276 | 17.871 | 0 | 0
276.5 | 17.788 | 0 | 0
277 | 17.013 | 0 | 0
277.5 | 15.732 | 0 | 0
278 | 14.963 | 0 | 0
278.5 | 16.174 | 0 | 0
279 | 16.569 | 0 | 0
279.5 | 17.81 | 0 | 0
280 | 17.149 | 0 | 0
280.5 | 16.012 | 0 | 0
281 | 15.863 | 0 | 0
281.5 | 15.25 | 0 | 0
282 | 16.551 | 0 | 0
282.5 | 16.795 | 0 | 0
283 | 18.04 | 0 | 0
283.5 | 19.085 | 0 | 0
284 | 18.434 | 0 | 0
284.5 | 18.788 | 0 | 0
285 | 17.825 | 0 | 0
285.5 | 15.828 | 0 | 0
286 | 15.188 | 0 | 0
286.5 | 14.858 | 0 | 0
287 | 13.751 | 0 | 0
287.5 | 13.263 | 0 | 0
288 | 13.705 | 0 | 0
288.5 | 14.431 | 0 | 0
289 | 16.771 | 0 | 0
289.5 | 18.069 | 0 | 0
290 | 19.359 | 0 | 0
290.5 | 20.304 | 0.772 | 0.00022661
291 | 21.788 | 2.256 | 0.00066223
291.5 | 21.61 | 2.078 | 0.00060998
292 | 21.094 | 1.562 | 0.00045851
292.5 | 19.12 | 0 | 0
293 | 16.524 | 0 | 0
293.5 | 16.021 | 0 | 0
294 | 16.149 | 0 | 0
294.5 | 16.944 | 0 | 0
295 | 16.707 | 0 | 0
295.5 | 16.571 | 0 | 0
296 | 16.049 | 0 | 0
296.5 | 16.713 | 0 | 0
297 | 17.254 | 0 | 0
297.5 | 17.203 | 0 | 0
298 | 17.833 | 0 | 0
298.5 | 18.161 | 0 | 0
299 | 19.806 | 0.274 | 8.043e-05
299.5 | 20.046 | 0.514 | 0.00015088
300 | 20.918 | 1.386 | 0.00040685
300.5 | 21.883 | 2.351 | 0.00069012
301 | 21.536 | 2.004 | 0.00058826
301.5 | 19.585 | 0.053 | 1.5558e-05
302 | 17.501 | 0 | 0
302.5 | 14.751 | 0 | 0
303 | 15.111 | 0 | 0
303.5 | 16.824 | 0 | 0
304 | 17.72 | 0 | 0
304.5 | 19.814 | 0.282 | 8.2779e-05
305 | 19.385 | 0 | 0
305.5 | 18.88 | 0 | 0
306 | 18.562 | 0 | 0
306.5 | 17.387 | 0 | 0
307 | 17.859 | 0 | 0
307.5 | 18.588 | 0 | 0
308 | 19.084 | 0 | 0
308.5 | 19.931 | 0.399 | 0.00011712
309 | 18.695 | 0 | 0
309.5 | 18.758 | 0 | 0
310 | 18.588 | 0 | 0
310.5 | 19.194 | 0 | 0
311 | 20.325 | 0.793 | 0.00023278
311.5 | 19.388 | 0 | 0
312 | 19.388 | 0 | 0
312.5 | 18.017 | 0 | 0
313 | 18.788 | 0 | 0
313.5 | 19.143 | 0 | 0
314 | 19.388 | 0 | 0
314.5 | 20.223 | 0.691 | 0.00020284
315 | 19.588 | 0.056 | 1.6438e-05
315.5 | 18.602 | 0 | 0
316 | 17.136 | 0 | 0
316.5 | 16.7 | 0 | 0
317 | 15.99 | 0 | 0
317.5 | 17.633 | 0 | 0
318 | 18.095 | 0 | 0
318.5 | 18.264 | 0 | 0
319 | 18.982 | 0 | 0
319.5 | 18.442 | 0 | 0
320 | 20.839 | 1.307 | 0.00038366
320.5 | 21.572 | 2.04 | 0.00059883
321 | 22.202 | 2.67 | 0.00078376
321.5 | 20.064 | 0.532 | 0.00015616
322 | 18.616 | 0 | 0
322.5 | 17.591 | 0 | 0
323 | 18.298 | 0 | 0
323.5 | 18.784 | 0 | 0
324 | 19.588 | 0.056 | 1.6438e-05
324.5 | 18.822 | 0 | 0
325 | 18.676 | 0 | 0
325.5 | 18.388 | 0 | 0
326 | 18.684 | 0 | 0
326.5 | 19.6 | 0.068 | 1.9961e-05
327 | 19.192 | 0 | 0
327.5 | 20.085 | 0.553 | 0.00016233
328 | 18.333 | 0 | 0
328.5 | 17.615 | 0 | 0
329 | 17.733 | 0 | 0
329.5 | 18.649 | 0 | 0
330 | 19.932 | 0.4 | 0.00011742
330.5 | 20.769 | 1.237 | 0.00036311
331 | 20.951 | 1.419 | 0.00041654
331.5 | 20.934 | 1.402 | 0.00041155
332 | 20.402 | 0.87 | 0.00025538
332.5 | 19.891 | 0.359 | 0.00010538
333 | 20.022 | 0.49 | 0.00014384
333.5 | 18.928 | 0 | 0
334 | 18.212 | 0 | 0
334.5 | 16.838 | 0 | 0
335 | 17.056 | 0 | 0
335.5 | 17.588 | 0 | 0
336 | 18.498 | 0 | 0
336.5 | 19.102 | 0 | 0
337 | 20.55 | 1.018 | 0.00029883
337.5 | 21.663 | 2.131 | 0.00062554
338 | 23.409 | 3.877 | 0.0011381
338.5 | 23.181 | 3.649 | 0.0010711
339 | 21.624 | 2.092 | 0.00061409
339.5 | 20.764 | 1.232 | 0.00036164
340 | 20.272 | 0.74 | 0.00021722
340.5 | 19.969 | 0.437 | 0.00012828
341 | 19.572 | 0.04 | 1.1742e-05
341.5 | 17.385 | 0 | 0
342 | 16.057 | 0 | 0
342.5 | 15.986 | 0 | 0
343 | 16.698 | 0 | 0
343.5 | 17.529 | 0 | 0
344 | 17.192 | 0 | 0
344.5 | 17.91 | 0 | 0
345 | 17.933 | 0 | 0
345.5 | 19.332 | 0 | 0
346 | 19.528 | 0 | 0
346.5 | 19.889 | 0.357 | 0.00010479
347 | 19.996 | 0.464 | 0.0001362
347.5 | 19.588 | 0.056 | 1.6438e-05
348 | 19.836 | 0.304 | 8.9237e-05
348.5 | 18.843 | 0 | 0
349 | 19.93 | 0.398 | 0.00011683
349.5 | 19.044 | 0 | 0
350 | 18.397 | 0 | 0
350.5 | 17.786 | 0 | 0
351 | 16.912 | 0 | 0
351.5 | 18.326 | 0 | 0
352 | 17.929 | 0 | 0
352.5 | 18.163 | 0 | 0
353 | 18.195 | 0 | 0
353.5 | 16.068 | 0 | 0
354 | 16.676 | 0 | 0
354.5 | 16.993 | 0 | 0
355 | 15.897 | 0 | 0
355.5 | 16.846 | 0 | 0
356 | 15.412 | 0 | 0
356.5 | 15.04 | 0 | 0
357 | 16.782 | 0 | 0
357.5 | 17.989 | 0 | 0
358 | 18.919 | 0 | 0
358.5 | 18.243 | 0 | 0
359 | 18.813 | 0 | 0
359.5 | 20.132 | 0.6 | 0.00017613
360 | 21.513 | 1.981 | 0.00058151
360.5 | 23.943 | 4.411 | 0.0012948
361 | 22.446 | 2.914 | 0.00085538
361.5 | 20.421 | 0.889 | 0.00026096
362 | 18.701 | 0 | 0
362.5 | 17.422 | 0 | 0
363 | 17.946 | 0 | 0
363.5 | 18.511 | 0 | 0
364 | 19.498 | 0 | 0
364.5 | 19.863 | 0.331 | 9.7162e-05
365 | 19.16 | 0 | 0
365.5 | 19.084 | 0 | 0
366 | 19.353 | 0 | 0
366.5 | 19.397 | 0 | 0
367 | 21.221 | 1.689 | 0.00049579
367.5 | 21.12 | 1.588 | 0.00046614
368 | 21.486 | 1.954 | 0.00057358
368.5 | 19.937 | 0.405 | 0.00011888
369 | 20.681 | 1.149 | 0.00033728
369.5 | 23.432 | 3.9 | 0.0011448
370 | 24.45 | 4.918 | 0.0014436
370.5 | 25.004 | 5.472 | 0.0016063
371 | 21.001 | 1.469 | 0.00043121
371.5 | 18.788 | 0 | 0
372 | 17.582 | 0 | 0
372.5 | 16.988 | 0 | 0
373 | 17.699 | 0 | 0
373.5 | 18.588 | 0 | 0
374 | 18.754 | 0 | 0
374.5 | 21.139 | 1.607 | 0.00047172
375 | 21.563 | 2.031 | 0.00059618
375.5 | 21.957 | 2.425 | 0.00071184
376 | 21.925 | 2.393 | 0.00070245
376.5 | 21.407 | 1.875 | 0.00055039
377 | 22.925 | 3.393 | 0.00099599
377.5 | 22.495 | 2.963 | 0.00086976
378 | 22.241 | 2.709 | 0.00079521
378.5 | 19.981 | 0.449 | 0.0001318
379 | 18.42 | 0 | 0
379.5 | 17.64 | 0 | 0
380 | 18.053 | 0 | 0
380.5 | 19.781 | 0.249 | 7.3092e-05
381 | 20.287 | 0.755 | 0.00022162
381.5 | 20.79 | 1.258 | 0.00036928
382 | 19.967 | 0.435 | 0.00012769
382.5 | 20.623 | 1.091 | 0.00032025
383 | 21.423 | 1.891 | 0.00055509
383.5 | 21.971 | 2.439 | 0.00071595
384 | 23.114 | 3.582 | 0.0010515
384.5 | 22.664 | 3.132 | 0.00091937
385 | 22.547 | 3.015 | 0.00088503
385.5 | 23.364 | 3.832 | 0.0011249
386 | 22.401 | 2.869 | 0.00084217
386.5 | 19.826 | 0.294 | 8.6301e-05
387 | 18.645 | 0 | 0
387.5 | 16.803 | 0 | 0
388 | 17.34 | 0 | 0
388.5 | 19.396 | 0 | 0
389 | 19.522 | 0 | 0
389.5 | 20.401 | 0.869 | 0.00025509
390 | 21.845 | 2.313 | 0.00067896
390.5 | 23.126 | 3.594 | 0.001055
391 | 26.447 | 6.915 | 0.0020298
391.5 | 27.785 | 8.253 | 0.0024226
392 | 26.77 | 7.238 | 0.0021247
392.5 | 25.512 | 5.98 | 0.0017554
393 | 22.929 | 3.397 | 0.00099716
393.5 | 22.853 | 3.321 | 0.00097485
394 | 23.388 | 3.856 | 0.0011319
394.5 | 22.309 | 2.777 | 0.00081517
395 | 23.016 | 3.484 | 0.0010227
395.5 | 21.116 | 1.584 | 0.00046497
396 | 20.299 | 0.767 | 0.00022515
396.5 | 20.851 | 1.319 | 0.00038718
397 | 21.315 | 1.783 | 0.00052339
397.5 | 24.181 | 4.649 | 0.0013647
398 | 24.669 | 5.137 | 0.0015079
398.5 | 24.588 | 5.056 | 0.0014841
399 | 24.479 | 4.947 | 0.0014522
399.5 | 25.484 | 5.952 | 0.0017472
400 | 25.732 | 6.2 | 0.00182
400.5 | 26.191 | 6.659 | 0.0019547
401 | 26.188 | 6.656 | 0.0019538
401.5 | 26.843 | 7.311 | 0.0021461
402 | 27.945 | 8.413 | 0.0024696
402.5 | 28.284 | 8.752 | 0.0025691
403 | 28.359 | 8.827 | 0.0025911
403.5 | 27.44 | 7.908 | 0.0023213
404 | 27.499 | 7.967 | 0.0023386
404.5 | 25.722 | 6.19 | 0.001817
405 | 25.561 | 6.029 | 0.0017698
405.5 | 25.241 | 5.709 | 0.0016758
406 | 25.908 | 6.376 | 0.0018716
406.5 | 25.609 | 6.077 | 0.0017839
407 | 25.123 | 5.591 | 0.0016412
407.5 | 23.699 | 4.167 | 0.0012232
408 | 25.233 | 5.701 | 0.0016735
408.5 | 27.305 | 7.773 | 0.0022817
409 | 27.915 | 8.383 | 0.0024608
409.5 | 29.849 | 10.317 | 0.0030285
410 | 30.556 | 11.024 | 0.003236
410.5 | 29.813 | 10.281 | 0.0030179
411 | 30.831 | 11.299 | 0.0033167
411.5 | 30.393 | 10.861 | 0.0031882
412 | 30.062 | 10.53 | 0.003091
412.5 | 30.339 | 10.807 | 0.0031723
413 | 31.102 | 11.57 | 0.0033963
413.5 | 31.682 | 12.15 | 0.0035665
414 | 32.865 | 13.333 | 0.0039138
414.5 | 33.584 | 14.052 | 0.0041249
415 | 34.303 | 14.771 | 0.0043359
415.5 | 35.216 | 15.684 | 0.0046039
416 | 35.862 | 16.33 | 0.0047935
416.5 | 33.822 | 14.29 | 0.0041947
417 | 34.081 | 14.549 | 0.0042707
417.5 | 33.642 | 14.11 | 0.0041419
418 | 32.799 | 13.267 | 0.0038944
418.5 | 34.307 | 14.775 | 0.0043371
419 | 35.103 | 15.571 | 0.0045707
419.5 | 37.566 | 18.034 | 0.0052937
420 | 39.638 | 20.106 | 0.005902
420.5 | 41.355 | 21.823 | 0.006406
421 | 41.858 | 22.326 | 0.0065536
421.5 | 42.73 | 23.198 | 0.0068096
422 | 42.868 | 23.336 | 0.0068501
422.5 | 44.125 | 24.593 | 0.0072191
423 | 44.604 | 25.072 | 0.0073597
423.5 | 44.388 | 24.856 | 0.0072963
424 | 44.529 | 24.997 | 0.0073377
424.5 | 45.269 | 25.737 | 0.0075549
425 | 46.781 | 27.249 | 0.0079987
425.5 | 48.835 | 29.303 | 0.0086017
426 | 51.645 | 32.113 | 0.0094265
426.5 | 52.744 | 33.212 | 0.0097491
427 | 54.467 | 34.935 | 0.010255
427.5 | 56.054 | 36.522 | 0.010721
428 | 58.011 | 38.479 | 0.011295
428.5 | 61.622 | 42.09 | 0.012355
429 | 64.127 | 44.595 | 0.013091
429.5 | 66.847 | 47.315 | 0.013889
430 | 70.014 | 50.482 | 0.014819
430.5 | 71.148 | 51.616 | 0.015151
431 | 74.575 | 55.043 | 0.016157
431.5 | 77.256 | 57.724 | 0.016944
432 | 82.379 | 62.847 | 0.018448
432.5 | 86.584 | 67.052 | 0.019683
433 | 92.396 | 72.864 | 0.021389
433.5 | 98.975 | 79.443 | 0.02332
434 | 106.43 | 86.898 | 0.025508
434.5 | 111.51 | 91.978 | 0.026999
435 | 117.41 | 97.878 | 0.028731
435.5 | 122.45 | 102.918 | 0.030211
436 | 131.72 | 112.188 | 0.032932
436.5 | 142.4 | 122.868 | 0.036067
437 | 151.66 | 132.128 | 0.038785
437.5 | 162.33 | 142.798 | 0.041917
438 | 170.85 | 151.318 | 0.044418
438.5 | 180.01 | 160.478 | 0.047107
439 | 190.39 | 170.858 | 0.050154
439.5 | 204.16 | 184.628 | 0.054196
440 | 217.98 | 198.448 | 0.058253
440.5 | 230.18 | 210.648 | 0.061834
441 | 242.57 | 223.038 | 0.065471
441.5 | 252.9 | 233.368 | 0.068503
442 | 263.15 | 243.618 | 0.071512
442.5 | 278.62 | 259.088 | 0.076053
443 | 291.59 | 272.058 | 0.07986
443.5 | 311.46 | 291.928 | 0.085693
444 | 329.69 | 310.158 | 0.091044
444.5 | 348.03 | 328.498 | 0.096428
445 | 365.07 | 345.538 | 0.10143
445.5 | 386.23 | 366.698 | 0.10764
446 | 408.46 | 388.928 | 0.11417
446.5 | 427.62 | 408.088 | 0.11979
447 | 452.16 | 432.628 | 0.12699
447.5 | 469.53 | 449.998 | 0.13209
448 | 490.36 | 470.828 | 0.13821
448.5 | 515.08 | 495.548 | 0.14546
449 | 537.41 | 517.878 | 0.15202
449.5 | 565.44 | 545.908 | 0.16025
450 | 591.28 | 571.748 | 0.16783
450.5 | 616.12 | 596.588 | 0.17512
451 | 646.66 | 627.128 | 0.18409
451.5 | 676.8 | 657.268 | 0.19294
452 | 713.3 | 693.768 | 0.20365
452.5 | 752.74 | 733.208 | 0.21523
453 | 787.31 | 767.778 | 0.22538
453.5 | 823.46 | 803.928 | 0.23599
454 | 856.69 | 837.158 | 0.24574
454.5 | 890.65 | 871.118 | 0.25571
455 | 935.4 | 915.868 | 0.26885
455.5 | 975.02 | 955.488 | 0.28048
456 | 1023.1 | 1003.568 | 0.29459
456.5 | 1073.1 | 1053.568 | 0.30927
457 | 1128.4 | 1108.868 | 0.3255
457.5 | 1187.1 | 1167.568 | 0.34273
458 | 1252.2 | 1232.668 | 0.36184
458.5 | 1316.9 | 1297.368 | 0.38083
459 | 1376.1 | 1356.568 | 0.39821
459.5 | 1442.9 | 1423.368 | 0.41782
460 | 1508.7 | 1489.168 | 0.43713
460.5 | 1585.6 | 1566.068 | 0.45971
461 | 1654.5 | 1634.968 | 0.47993
461.5 | 1737.2 | 1717.668 | 0.50421
462 | 1823.2 | 1803.668 | 0.52945
462.5 | 1915.6 | 1896.068 | 0.55658
463 | 2007.8 | 1988.268 | 0.58364
463.5 | 2090.9 | 2071.368 | 0.60803
464 | 2175 | 2155.468 | 0.63272
464.5 | 2276.8 | 2257.268 | 0.6626
465 | 2370.9 | 2351.368 | 0.69023
465.5 | 2481.9 | 2462.368 | 0.72281
466 | 2576.1 | 2556.568 | 0.75046
466.5 | 2680.1 | 2660.568 | 0.78099
467 | 2776.3 | 2756.768 | 0.80923
467.5 | 2867.3 | 2847.768 | 0.83594
468 | 2937.7 | 2918.168 | 0.8566
468.5 | 3021.4 | 3001.868 | 0.88117
469 | 3089 | 3069.468 | 0.90102
469.5 | 3155 | 3135.468 | 0.92039
470 | 3223.9 | 3204.368 | 0.94062
470.5 | 3275.3 | 3255.768 | 0.9557
471 | 3324.3 | 3304.768 | 0.97009
471.5 | 3372 | 3352.468 | 0.98409
472 | 3395.2 | 3375.668 | 0.9909
472.5 | 3413.1 | 3393.568 | 0.99615
473 | 3426.2 | 3406.668 | 1
473.5 | 3426.2 | 3406.668 | 1
474 | 3422.8 | 3403.268 | 0.999
474.5 | 3414.7 | 3395.168 | 0.99662
475 | 3397.1 | 3377.568 | 0.99146
475.5 | 3372.8 | 3353.268 | 0.98432
476 | 3327.3 | 3307.768 | 0.97097
476.5 | 3275.4 | 3255.868 | 0.95573
477 | 3212.3 | 3192.768 | 0.93721
477.5 | 3161.6 | 3142.068 | 0.92233
478 | 3110.3 | 3090.768 | 0.90727
478.5 | 3041.4 | 3021.868 | 0.88705
479 | 2975 | 2955.468 | 0.86755
479.5 | 2892.3 | 2872.768 | 0.84328
480 | 2818.9 | 2799.368 | 0.82173
480.5 | 2749.8 | 2730.268 | 0.80145
481 | 2671.6 | 2652.068 | 0.77849
481.5 | 2600.5 | 2580.968 | 0.75762
482 | 2519.8 | 2500.268 | 0.73393
482.5 | 2443.7 | 2424.168 | 0.7116
483 | 2376.8 | 2357.268 | 0.69196
483.5 | 2311.7 | 2292.168 | 0.67285
484 | 2247.9 | 2228.368 | 0.65412
484.5 | 2176.6 | 2157.068 | 0.63319
485 | 2119.5 | 2099.968 | 0.61643
485.5 | 2055.9 | 2036.368 | 0.59776
486 | 1998.5 | 1978.968 | 0.58091
486.5 | 1938.1 | 1918.568 | 0.56318
487 | 1877.9 | 1858.368 | 0.54551
487.5 | 1822 | 1802.468 | 0.5291
488 | 1770 | 1750.468 | 0.51384
488.5 | 1714.6 | 1695.068 | 0.49757
489 | 1668.4 | 1648.868 | 0.48401
489.5 | 1624 | 1604.468 | 0.47098
490 | 1580.5 | 1560.968 | 0.45821
490.5 | 1538.6 | 1519.068 | 0.44591
491 | 1497.4 | 1477.868 | 0.43382
491.5 | 1454.8 | 1435.268 | 0.42131
492 | 1401.5 | 1381.968 | 0.40567
492.5 | 1349 | 1329.468 | 0.39025
493 | 1305.4 | 1285.868 | 0.37746
493.5 | 1265.2 | 1245.668 | 0.36566
494 | 1230.5 | 1210.968 | 0.35547
494.5 | 1192.5 | 1172.968 | 0.34432
495 | 1153.4 | 1133.868 | 0.33284
495.5 | 1115.2 | 1095.668 | 0.32162
496 | 1076.2 | 1056.668 | 0.31018
496.5 | 1039.9 | 1020.368 | 0.29952
497 | 1001.6 | 982.068 | 0.28828
497.5 | 959.7 | 940.168 | 0.27598
498 | 920.55 | 901.018 | 0.26449
498.5 | 890.18 | 870.648 | 0.25557
499 | 857.88 | 838.348 | 0.24609
499.5 | 833.73 | 814.198 | 0.239
500 | 799.35 | 779.818 | 0.22891
500.5 | 769.4 | 749.868 | 0.22012
501 | 742.2 | 722.668 | 0.21213
501.5 | 714.36 | 694.828 | 0.20396
502 | 689.06 | 669.528 | 0.19653
502.5 | 663.92 | 644.388 | 0.18915
503 | 639.82 | 620.288 | 0.18208
503.5 | 615.35 | 595.818 | 0.1749
504 | 588.59 | 569.058 | 0.16704
504.5 | 563.77 | 544.238 | 0.15976
505 | 537.86 | 518.328 | 0.15215
505.5 | 518.3 | 498.768 | 0.14641
506 | 497.87 | 478.338 | 0.14041
506.5 | 479.46 | 459.928 | 0.13501
507 | 464.65 | 445.118 | 0.13066
507.5 | 444.8 | 425.268 | 0.12483
508 | 427.61 | 408.078 | 0.11979
508.5 | 409.46 | 389.928 | 0.11446
509 | 392.95 | 373.418 | 0.10961
509.5 | 373.35 | 353.818 | 0.10386
510 | 358.29 | 338.758 | 0.09944
510.5 | 342.48 | 322.948 | 0.094799
511 | 328.88 | 309.348 | 0.090807
511.5 | 316.61 | 297.078 | 0.087205
512 | 300.82 | 281.288 | 0.08257
512.5 | 289.61 | 270.078 | 0.079279
513 | 281.06 | 261.528 | 0.076769
513.5 | 271.12 | 251.588 | 0.073852
514 | 261.97 | 242.438 | 0.071166
514.5 | 249.74 | 230.208 | 0.067576
515 | 238.78 | 219.248 | 0.064358
515.5 | 229.42 | 209.888 | 0.061611
516 | 219.96 | 200.428 | 0.058834
516.5 | 208.56 | 189.028 | 0.055488
517 | 196.85 | 177.318 | 0.05205
517.5 | 188.15 | 168.618 | 0.049496
518 | 180.63 | 161.098 | 0.047289
518.5 | 175.66 | 156.128 | 0.04583
519 | 169.2 | 149.668 | 0.043934
519.5 | 162.54 | 143.008 | 0.041979
520 | 157.01 | 137.478 | 0.040356
520.5 | 150.3 | 130.768 | 0.038386
521 | 145.35 | 125.818 | 0.036933
521.5 | 139.34 | 119.808 | 0.035169
522 | 132.92 | 113.388 | 0.033284
522.5 | 127.46 | 107.928 | 0.031681
523 | 123.47 | 103.938 | 0.03051
523.5 | 120.58 | 101.048 | 0.029662
524 | 116.84 | 97.308 | 0.028564
524.5 | 114.93 | 95.398 | 0.028003
525 | 110.4 | 90.868 | 0.026674
525.5 | 105.25 | 85.718 | 0.025162
526 | 99.653 | 80.121 | 0.023519
526.5 | 93.595 | 74.063 | 0.021741
527 | 89.977 | 70.445 | 0.020679
527.5 | 89.531 | 69.999 | 0.020548
528 | 89.543 | 70.011 | 0.020551
528.5 | 85.715 | 66.183 | 0.019427
529 | 83.143 | 63.611 | 0.018672
529.5 | 78.829 | 59.297 | 0.017406
530 | 78.54 | 59.008 | 0.017321
530.5 | 75.322 | 55.79 | 0.016377
531 | 75.046 | 55.514 | 0.016296
531.5 | 71.38 | 51.848 | 0.01522
532 | 71.242 | 51.71 | 0.015179
532.5 | 70.177 | 50.645 | 0.014866
533 | 67.489 | 47.957 | 0.014077
533.5 | 66.135 | 46.603 | 0.01368
534 | 64.483 | 44.951 | 0.013195
534.5 | 64.128 | 44.596 | 0.013091
535 | 62.485 | 42.953 | 0.012609
535.5 | 61.336 | 41.804 | 0.012271
536 | 60.577 | 41.045 | 0.012048
536.5 | 59.481 | 39.949 | 0.011727
537 | 57.491 | 37.959 | 0.011143
537.5 | 55.063 | 35.531 | 0.01043
538 | 55.006 | 35.474 | 0.010413
538.5 | 52.16 | 32.628 | 0.0095777
539 | 52.112 | 32.58 | 0.0095636
539.5 | 48.828 | 29.296 | 0.0085996
540 | 49.711 | 30.179 | 0.0088588
540.5 | 48.977 | 29.445 | 0.0086433
541 | 49.717 | 30.185 | 0.0088606
541.5 | 48.054 | 28.522 | 0.0083724
542 | 47.85 | 28.318 | 0.0083125
542.5 | 44.834 | 25.302 | 0.0074272
543 | 43.842 | 24.31 | 0.007136
543.5 | 43.162 | 23.63 | 0.0069364
544 | 43.676 | 24.144 | 0.0070873
544.5 | 44.949 | 25.417 | 0.007461
545 | 44.874 | 25.342 | 0.0074389
545.5 | 44.388 | 24.856 | 0.0072963
546 | 43.634 | 24.102 | 0.0070749
546.5 | 40.296 | 20.764 | 0.0060951
547 | 39.41 | 19.878 | 0.005835
547.5 | 36.412 | 16.88 | 0.004955
548 | 33.58 | 14.048 | 0.0041237
548.5 | 30.85 | 11.318 | 0.0033223
549 | 29.211 | 9.679 | 0.0028412
549.5 | 31.346 | 11.814 | 0.0034679
550 | 34.342 | 14.81 | 0.0043474
550.5 | 33.55 | 14.018 | 0.0041149
551 | 32.404 | 12.872 | 0.0037785
551.5 | 29.464 | 9.932 | 0.0029155
552 | 29.525 | 9.993 | 0.0029334
552.5 | 29.188 | 9.656 | 0.0028344
553 | 31.147 | 11.615 | 0.0034095
553.5 | 31.499 | 11.967 | 0.0035128
554 | 31.591 | 12.059 | 0.0035398
554.5 | 28.68 | 9.148 | 0.0026853
555 | 27.729 | 8.197 | 0.0024062
555.5 | 27.751 | 8.219 | 0.0024126
556 | 28.188 | 8.656 | 0.0025409
556.5 | 29.232 | 9.7 | 0.0028474
557 | 28.391 | 8.859 | 0.0026005
557.5 | 28.157 | 8.625 | 0.0025318
558 | 27.104 | 7.572 | 0.0022227
558.5 | 26.18 | 6.648 | 0.0019515
559 | 24.588 | 5.056 | 0.0014841
559.5 | 24.795 | 5.263 | 0.0015449
560 | 25.101 | 5.569 | 0.0016347
560.5 | 26.669 | 7.137 | 0.002095
561 | 25.209 | 5.677 | 0.0016664
561.5 | 24.453 | 4.921 | 0.0014445
562 | 23.954 | 4.422 | 0.001298
562.5 | 24.205 | 4.673 | 0.0013717
563 | 24.501 | 4.969 | 0.0014586
563.5 | 25.097 | 5.565 | 0.0016336
564 | 25.957 | 6.425 | 0.001886
564.5 | 26.68 | 7.148 | 0.0020982
565 | 26.647 | 7.115 | 0.0020886
565.5 | 25.675 | 6.143 | 0.0018032
566 | 26.568 | 7.036 | 0.0020654
566.5 | 23.968 | 4.436 | 0.0013022
567 | 23.157 | 3.625 | 0.0010641
567.5 | 21.644 | 2.112 | 0.00061996
568 | 21.091 | 1.559 | 0.00045763
568.5 | 21.788 | 2.256 | 0.00066223
569 | 20.871 | 1.339 | 0.00039305
569.5 | 19.986 | 0.454 | 0.00013327
570 | 20.588 | 1.056 | 0.00030998
570.5 | 21.923 | 2.391 | 0.00070186
571 | 22.641 | 3.109 | 0.00091262
571.5 | 22.466 | 2.934 | 0.00086125
572 | 20.067 | 0.535 | 0.00015704
572.5 | 19.775 | 0.243 | 7.1331e-05
573 | 18.921 | 0 | 0
573.5 | 19.846 | 0.314 | 9.2172e-05
574 | 19.754 | 0.222 | 6.5166e-05
574.5 | 21.076 | 1.544 | 0.00045323
575 | 20.53 | 0.998 | 0.00029295
575.5 | 21.904 | 2.372 | 0.00069628
576 | 22.356 | 2.824 | 0.00082896
576.5 | 23.232 | 3.7 | 0.0010861
577 | 22.048 | 2.516 | 0.00073855
577.5 | 21.862 | 2.33 | 0.00068395
578 | 24.679 | 5.147 | 0.0015109
578.5 | 27.5 | 7.968 | 0.0023389
579 | 28.208 | 8.676 | 0.0025468
579.5 | 25.568 | 6.036 | 0.0017718
580 | 24.133 | 4.601 | 0.0013506
580.5 | 22.142 | 2.61 | 0.00076614
581 | 20.609 | 1.077 | 0.00031614
581.5 | 17.753 | 0 | 0
582 | 16.693 | 0 | 0
582.5 | 18.006 | 0 | 0
583 | 19.41 | 0 | 0
583.5 | 20.758 | 1.226 | 0.00035988
584 | 20.588 | 1.056 | 0.00030998
584.5 | 20.388 | 0.856 | 0.00025127
585 | 20.881 | 1.349 | 0.00039599
585.5 | 22.324 | 2.792 | 0.00081957
586 | 22.621 | 3.089 | 0.00090675
586.5 | 22.086 | 2.554 | 0.00074971
587 | 21.183 | 1.651 | 0.00048464
587.5 | 18.009 | 0 | 0
588 | 16.393 | 0 | 0
588.5 | 15.891 | 0 | 0
589 | 16.188 | 0 | 0
589.5 | 16.898 | 0 | 0
590 | 17.824 | 0 | 0
590.5 | 18.009 | 0 | 0
591 | 19.223 | 0 | 0
591.5 | 20.188 | 0.656 | 0.00019256
592 | 20.477 | 0.945 | 0.0002774
592.5 | 19.001 | 0 | 0
593 | 16.207 | 0 | 0
593.5 | 13.894 | 0 | 0
594 | 12.792 | 0 | 0
594.5 | 14.363 | 0 | 0
595 | 17.424 | 0 | 0
595.5 | 19.797 | 0.265 | 7.7789e-05
596 | 20.552 | 1.02 | 0.00029941
596.5 | 18.946 | 0 | 0
597 | 17.922 | 0 | 0
597.5 | 17.377 | 0 | 0
598 | 17.263 | 0 | 0
598.5 | 17.622 | 0 | 0
599 | 16.741 | 0 | 0
599.5 | 16.518 | 0 | 0
600 | 16.065 | 0 | 0
600.5 | 17.147 | 0 | 0
601 | 18.8 | 0 | 0
601.5 | 19.116 | 0 | 0
602 | 17.961 | 0 | 0
602.5 | 15.465 | 0 | 0
603 | 15.575 | 0 | 0
603.5 | 17.741 | 0 | 0
604 | 20.031 | 0.499 | 0.00014648
604.5 | 19.449 | 0 | 0
605 | 17.431 | 0 | 0
605.5 | 16.911 | 0 | 0
606 | 18.44 | 0 | 0
606.5 | 20.188 | 0.656 | 0.00019256
607 | 18.574 | 0 | 0
607.5 | 18.125 | 0 | 0
608 | 17.588 | 0 | 0
608.5 | 18.756 | 0 | 0
609 | 16.993 | 0 | 0
609.5 | 15.197 | 0 | 0
610 | 15.788 | 0 | 0
610.5 | 18.265 | 0 | 0
611 | 20.02 | 0.488 | 0.00014325
611.5 | 19.818 | 0.286 | 8.3953e-05
612 | 19.21 | 0 | 0
612.5 | 17.843 | 0 | 0
613 | 16.653 | 0 | 0
613.5 | 15.682 | 0 | 0
614 | 14.46 | 0 | 0
614.5 | 14.97 | 0 | 0
615 | 15.077 | 0 | 0
615.5 | 16.325 | 0 | 0
616 | 18.639 | 0 | 0
616.5 | 18.151 | 0 | 0
617 | 18.235 | 0 | 0
617.5 | 16.588 | 0 | 0
618 | 18.019 | 0 | 0
618.5 | 17.733 | 0 | 0
619 | 18.227 | 0 | 0
619.5 | 17.202 | 0 | 0
620 | 16.501 | 0 | 0
620.5 | 16.753 | 0 | 0
621 | 16.12 | 0 | 0
621.5 | 16.174 | 0 | 0
622 | 15.993 | 0 | 0
622.5 | 15.867 | 0 | 0
623 | 16.22 | 0 | 0
623.5 | 15.26 | 0 | 0
624 | 16.13 | 0 | 0
624.5 | 15.357 | 0 | 0
625 | 15.497 | 0 | 0
625.5 | 17.744 | 0 | 0
626 | 19.236 | 0 | 0
626.5 | 20.603 | 1.071 | 0.00031438
627 | 18.947 | 0 | 0
627.5 | 17.443 | 0 | 0
628 | 17.657 | 0 | 0
628.5 | 15.852 | 0 | 0
629 | 15.313 | 0 | 0
629.5 | 14.275 | 0 | 0
630 | 16.385 | 0 | 0
630.5 | 17.719 | 0 | 0
631 | 18.202 | 0 | 0
631.5 | 18.457 | 0 | 0
632 | 18.367 | 0 | 0
632.5 | 18.326 | 0 | 0
633 | 17.38 | 0 | 0
633.5 | 17.161 | 0 | 0
634 | 16.094 | 0 | 0
634.5 | 15.432 | 0 | 0
635 | 15.401 | 0 | 0
635.5 | 16.132 | 0 | 0
636 | 17.441 | 0 | 0
636.5 | 17.231 | 0 | 0
637 | 17.58 | 0 | 0
637.5 | 16.299 | 0 | 0
638 | 15.477 | 0 | 0
638.5 | 15.906 | 0 | 0
639 | 14.617 | 0 | 0
639.5 | 15.121 | 0 | 0
640 | 13.627 | 0 | 0
640.5 | 16.05 | 0 | 0
641 | 16.588 | 0 | 0
641.5 | 17.348 | 0 | 0
642 | 16.855 | 0 | 0
642.5 | 16.362 | 0 | 0
643 | 17.918 | 0 | 0
643.5 | 15.884 | 0 | 0
644 | 16.961 | 0 | 0
644.5 | 13.422 | 0 | 0
645 | 14.41 | 0 | 0
645.5 | 13.505 | 0 | 0
646 | 14.535 | 0 | 0
646.5 | 15.473 | 0 | 0
647 | 15.015 | 0 | 0
647.5 | 14.559 | 0 | 0
648 | 15.689 | 0 | 0
648.5 | 15.791 | 0 | 0
649 | 17.461 | 0 | 0
649.5 | 16.188 | 0 | 0
650 | 17.091 | 0 | 0
650.5 | 16.278 | 0 | 0
651 | 16.887 | 0 | 0
651.5 | 16.014 | 0 | 0
652 | 16.114 | 0 | 0
652.5 | 14.531 | 0 | 0
653 | 15.152 | 0 | 0
653.5 | 15.188 | 0 | 0
654 | 16.169 | 0 | 0
654.5 | 15.032 | 0 | 0
655 | 16.176 | 0 | 0
655.5 | 17.959 | 0 | 0
656 | 19.188 | 0 | 0
656.5 | 17.47 | 0 | 0
657 | 15.348 | 0 | 0
657.5 | 14.675 | 0 | 0
658 | 13.9 | 0 | 0
658.5 | 14.017 | 0 | 0
659 | 14.348 | 0 | 0
659.5 | 15.592 | 0 | 0
660 | 15.417 | 0 | 0
660.5 | 14.939 | 0 | 0
661 | 14.071 | 0 | 0
661.5 | 14.868 | 0 | 0
662 | 15.388 | 0 | 0
662.5 | 16.496 | 0 | 0
663 | 17.388 | 0 | 0
663.5 | 16.12 | 0 | 0
664 | 13.978 | 0 | 0
664.5 | 12.613 | 0 | 0
665 | 13.899 | 0 | 0
665.5 | 14.618 | 0 | 0
666 | 13.961 | 0 | 0
666.5 | 15.39 | 0 | 0
667 | 17.06 | 0 | 0
667.5 | 18.759 | 0 | 0
668 | 17.445 | 0 | 0
668.5 | 17.179 | 0 | 0
669 | 15.918 | 0 | 0
669.5 | 16.42 | 0 | 0
670 | 16.172 | 0 | 0
670.5 | 17.199 | 0 | 0
671 | 16.388 | 0 | 0
671.5 | 16.553 | 0 | 0
672 | 15.521 | 0 | 0
672.5 | 16.528 | 0 | 0
673 | 16.452 | 0 | 0
673.5 | 17.779 | 0 | 0
674 | 16.81 | 0 | 0
674.5 | 15.988 | 0 | 0
675 | 17.419 | 0 | 0
675.5 | 17.396 | 0 | 0
676 | 18.128 | 0 | 0
676.5 | 15.754 | 0 | 0
677 | 15.197 | 0 | 0
677.5 | 14.36 | 0 | 0
678 | 13.45 | 0 | 0
678.5 | 15.476 | 0 | 0
679 | 15.548 | 0 | 0
679.5 | 15.672 | 0 | 0
680 | 14.572 | 0 | 0
680.5 | 14.807 | 0 | 0
681 | 15.424 | 0 | 0
681.5 | 14.844 | 0 | 0
682 | 15.968 | 0 | 0
682.5 | 16.374 | 0 | 0
683 | 15.852 | 0 | 0
683.5 | 14.58 | 0 | 0
684 | 12.922 | 0 | 0
684.5 | 12.474 | 0 | 0
685 | 13.091 | 0 | 0
685.5 | 16.439 | 0 | 0
686 | 18.376 | 0 | 0
686.5 | 19.05 | 0 | 0
687 | 17.843 | 0 | 0
687.5 | 17.495 | 0 | 0
688 | 18.455 | 0 | 0
688.5 | 18.012 | 0 | 0
689 | 18.14 | 0 | 0
689.5 | 16.788 | 0 | 0
690 | 15.356 | 0 | 0
690.5 | 16.572 | 0 | 0
691 | 16.502 | 0 | 0
691.5 | 19.024 | 0 | 0
692 | 14.811 | 0 | 0
692.5 | 14.447 | 0 | 0
693 | 13.401 | 0 | 0
693.5 | 15.863 | 0 | 0
694 | 15.214 | 0 | 0
694.5 | 13.188 | 0 | 0
695 | 11.481 | 0 | 0
695.5 | 12.366 | 0 | 0
696 | 14.686 | 0 | 0
696.5 | 16.368 | 0 | 0
697 | 17.573 | 0 | 0
697.5 | 19.469 | 0 | 0
698 | 20.302 | 0.77 | 0.00022603
698.5 | 18.839 | 0 | 0
699 | 16.995 | 0 | 0
699.5 | 16.414 | 0 | 0
700 | 15.622 | 0 | 0
700.5 | 13.3 | 0 | 0
701 | 11.445 | 0 | 0
701.5 | 12.217 | 0 | 0
702 | 14.556 | 0 | 0
702.5 | 16.355 | 0 | 0
703 | 15.664 | 0 | 0
703.5 | 15.08 | 0 | 0
704 | 15.429 | 0 | 0
704.5 | 17.387 | 0 | 0
705 | 16.222 | 0 | 0
705.5 | 15.911 | 0 | 0
706 | 15.265 | 0 | 0
706.5 | 17.07 | 0 | 0
707 | 16.195 | 0 | 0
707.5 | 16.475 | 0 | 0
708 | 15.335 | 0 | 0
708.5 | 15.161 | 0 | 0
709 | 17.328 | 0 | 0
709.5 | 18.071 | 0 | 0
710 | 19.289 | 0 | 0
710.5 | 19.728 | 0.196 | 5.7534e-05
711 | 19.509 | 0 | 0
711.5 | 19.034 | 0 | 0
712 | 18.378 | 0 | 0
712.5 | 17.552 | 0 | 0
713 | 17.111 | 0 | 0
713.5 | 17.415 | 0 | 0
714 | 19.982 | 0.45 | 0.00013209
714.5 | 19.632 | 0.1 | 2.9354e-05
715 | 17.823 | 0 | 0
715.5 | 15.933 | 0 | 0
716 | 14.174 | 0 | 0
716.5 | 14.98 | 0 | 0
717 | 16.113 | 0 | 0
717.5 | 17.71 | 0 | 0
718 | 16.363 | 0 | 0
718.5 | 15.274 | 0 | 0
719 | 14.635 | 0 | 0
719.5 | 15.847 | 0 | 0
720 | 15.47 | 0 | 0
720.5 | 17.635 | 0 | 0
721 | 15.961 | 0 | 0
721.5 | 14.465 | 0 | 0
722 | 12.892 | 0 | 0
722.5 | 14.496 | 0 | 0
723 | 17.075 | 0 | 0
723.5 | 16.764 | 0 | 0
724 | 15.106 | 0 | 0
724.5 | 14.588 | 0 | 0
725 | 14.721 | 0 | 0
725.5 | 16.988 | 0 | 0
726 | 16.467 | 0 | 0
726.5 | 16.014 | 0 | 0
727 | 15.693 | 0 | 0
727.5 | 17.495 | 0 | 0
728 | 19.456 | 0 | 0
728.5 | 18.807 | 0 | 0
729 | 18.039 | 0 | 0
729.5 | 17.744 | 0 | 0
730 | 17.072 | 0 | 0
730.5 | 15.959 | 0 | 0
731 | 15.604 | 0 | 0
731.5 | 15.527 | 0 | 0
732 | 16.293 | 0 | 0
732.5 | 17.542 | 0 | 0
733 | 17.355 | 0 | 0
733.5 | 17.038 | 0 | 0
734 | 15.269 | 0 | 0
734.5 | 17.312 | 0 | 0
735 | 16.716 | 0 | 0
735.5 | 17.388 | 0 | 0
736 | 16.518 | 0 | 0
736.5 | 16.665 | 0 | 0
737 | 16.448 | 0 | 0
737.5 | 16.661 | 0 | 0
738 | 18.268 | 0 | 0
738.5 | 16.122 | 0 | 0
739 | 14.682 | 0 | 0
739.5 | 13.589 | 0 | 0
740 | 14.988 | 0 | 0
740.5 | 17.502 | 0 | 0
741 | 17.42 | 0 | 0
741.5 | 17.416 | 0 | 0
742 | 15.657 | 0 | 0
742.5 | 16.8 | 0 | 0
743 | 17.224 | 0 | 0
743.5 | 18.559 | 0 | 0
744 | 17.606 | 0 | 0
744.5 | 17.5 | 0 | 0
745 | 15.213 | 0 | 0
745.5 | 15.563 | 0 | 0
746 | 15.634 | 0 | 0
746.5 | 16.734 | 0 | 0
747 | 16.483 | 0 | 0
747.5 | 18.988 | 0 | 0
748 | 18.476 | 0 | 0
748.5 | 17.32 | 0 | 0
749 | 16.176 | 0 | 0
749.5 | 16.213 | 0 | 0
750 | 16.08 | 0 | 0
750.5 | 16.445 | 0 | 0
751 | 15.582 | 0 | 0
751.5 | 12.497 | 0 | 0
752 | 11.257 | 0 | 0
752.5 | 12.22 | 0 | 0
753 | 15.135 | 0 | 0
753.5 | 15.628 | 0 | 0
754 | 17.806 | 0 | 0
754.5 | 15.412 | 0 | 0
755 | 15.18 | 0 | 0
755.5 | 13.902 | 0 | 0
756 | 15.368 | 0 | 0
756.5 | 14.696 | 0 | 0
757 | 15.677 | 0 | 0
757.5 | 16.215 | 0 | 0
758 | 16.858 | 0 | 0
758.5 | 15.774 | 0 | 0
759 | 14.525 | 0 | 0
759.5 | 13.003 | 0 | 0
760 | 12.369 | 0 | 0
760.5 | 13.04 | 0 | 0
761 | 15.402 | 0 | 0
761.5 | 18.979 | 0 | 0
762 | 18.074 | 0 | 0
762.5 | 16.525 | 0 | 0
763 | 14.788 | 0 | 0
763.5 | 15.474 | 0 | 0
764 | 13.658 | 0 | 0
764.5 | 11.478 | 0 | 0
765 | 9.5422 | 0 | 0
765.5 | 9.6617 | 0 | 0
766 | 11.301 | 0 | 0
766.5 | 14.052 | 0 | 0
767 | 15.507 | 0 | 0
767.5 | 15.703 | 0 | 0
768 | 15.94 | 0 | 0
768.5 | 17.507 | 0 | 0
769 | 18.707 | 0 | 0
769.5 | 16.589 | 0 | 0
770 | 13.637 | 0 | 0
770.5 | 12.709 | 0 | 0
771 | 12.065 | 0 | 0
771.5 | 13.024 | 0 | 0
772 | 14.152 | 0 | 0
772.5 | 15.588 | 0 | 0
773 | 16.283 | 0 | 0
773.5 | 16.855 | 0 | 0
774 | 17.665 | 0 | 0
774.5 | 16.511 | 0 | 0
775 | 13.905 | 0 | 0
775.5 | 13.054 | 0 | 0
776 | 14.901 | 0 | 0
776.5 | 15.992 | 0 | 0
777 | 14.617 | 0 | 0
777.5 | 13.873 | 0 | 0
778 | 15.093 | 0 | 0
778.5 | 16.377 | 0 | 0
779 | 17.313 | 0 | 0
779.5 | 16.016 | 0 | 0
780 | 15.217 | 0 | 0
780.5 | 13.663 | 0 | 0
781 | 12.188 | 0 | 0
781.5 | 13.27 | 0 | 0
782 | 12.903 | 0 | 0
782.5 | 13.612 | 0 | 0
783 | 16.528 | 0 | 0
783.5 | 19.961 | 0.429 | 0.00012593
784 | 19.152 | 0 | 0
784.5 | 16.648 | 0 | 0
785 | 15.26 | 0 | 0
785.5 | 14.583 | 0 | 0
786 | 15.659 | 0 | 0
786.5 | 14.582 | 0 | 0
787 | 12.746 | 0 | 0
787.5 | 12.514 | 0 | 0
788 | 12.994 | 0 | 0
788.5 | 14.501 | 0 | 0
789 | 14.804 | 0 | 0
789.5 | 15.188 | 0 | 0
790 | 15.939 | 0 | 0
790.5 | 16.25 | 0 | 0
791 | 14.994 | 0 | 0
791.5 | 15.559 | 0 | 0
792 | 14.595 | 0 | 0
792.5 | 12.991 | 0 | 0
793 | 11.188 | 0 | 0
793.5 | 13.093 | 0 | 0
794 | 14.588 | 0 | 0
794.5 | 15.189 | 0 | 0
795 | 13.846 | 0 | 0
795.5 | 14.275 | 0 | 0
796 | 13.369 | 0 | 0
796.5 | 13.56 | 0 | 0
797 | 11.379 | 0 | 0
797.5 | 12.742 | 0 | 0
798 | 12.061 | 0 | 0
798.5 | 13.634 | 0 | 0
799 | 12.689 | 0 | 0
799.5 | 13.557 | 0 | 0
800 | 14.73 | 0 | 0
800.5 | 18.392 | 0 | 0
801 | 18.891 | 0 | 0
801.5 | 17.296 | 0 | 0
802 | 16.98 | 0 | 0
802.5 | 15.081 | 0 | 0
803 | 15.39 | 0 | 0
803.5 | 13.899 | 0 | 0
804 | 13.485 | 0 | 0
804.5 | 14.262 | 0 | 0
805 | 14.676 | 0 | 0
805.5 | 16.801 | 0 | 0
806 | 16.292 | 0 | 0
806.5 | 14.988 | 0 | 0
807 | 14.078 | 0 | 0
807.5 | 14.463 | 0 | 0
808 | 12.7 | 0 | 0
808.5 | 13.403 | 0 | 0
809 | 14.197 | 0 | 0
809.5 | 14.608 | 0 | 0
810 | 14.878 | 0 | 0
810.5 | 15.657 | 0 | 0
811 | 17.388 | 0 | 0
811.5 | 18.762 | 0 | 0
812 | 18.057 | 0 | 0
812.5 | 16.074 | 0 | 0
813 | 14.205 | 0 | 0
813.5 | 14.081 | 0 | 0
814 | 15.163 | 0 | 0
814.5 | 15.233 | 0 | 0
815 | 14.857 | 0 | 0
815.5 | 15.964 | 0 | 0
816 | 18.05 | 0 | 0
816.5 | 16.827 | 0 | 0
817 | 14.408 | 0 | 0
817.5 | 13.945 | 0 | 0
818 | 14.2 | 0 | 0
818.5 | 15.001 | 0 | 0
819 | 14.998 | 0 | 0
819.5 | 14.353 | 0 | 0
820 | 13.644 | 0 | 0
820.5 | 13.814 | 0 | 0
821 | 15.354 | 0 | 0
821.5 | 16.188 | 0 | 0
822 | 15.947 | 0 | 0
822.5 | 15.482 | 0 | 0
823 | 15.283 | 0 | 0
823.5 | 15.582 | 0 | 0
824 | 15.928 | 0 | 0
824.5 | 14.739 | 0 | 0
825 | 15.268 | 0 | 0
825.5 | 17.446 | 0 | 0
826 | 17.678 | 0 | 0
826.5 | 15.344 | 0 | 0
827 | 14.078 | 0 | 0
827.5 | 13.583 | 0 | 0
828 | 13.766 | 0 | 0
828.5 | 14.372 | 0 | 0
829 | 12.738 | 0 | 0
829.5 | 13.218 | 0 | 0
830 | 15.623 | 0 | 0
830.5 | 15.346 | 0 | 0
831 | 15.721 | 0 | 0
831.5 | 15.664 | 0 | 0
832 | 16.69 | 0 | 0
832.5 | 17.099 | 0 | 0
833 | 16.956 | 0 | 0
833.5 | 15.845 | 0 | 0
834 | 13.446 | 0 | 0
834.5 | 12.221 | 0 | 0
835 | 13.55 | 0 | 0
835.5 | 15.082 | 0 | 0
836 | 14.859 | 0 | 0
836.5 | 13.003 | 0 | 0
837 | 12.715 | 0 | 0
837.5 | 14.929 | 0 | 0
838 | 16.241 | 0 | 0
838.5 | 16.523 | 0 | 0
839 | 14.47 | 0 | 0
839.5 | 10.742 | 0 | 0
840 | 10.841 | 0 | 0
840.5 | 14.87 | 0 | 0
841 | 16.788 | 0 | 0
841.5 | 15.838 | 0 | 0
842 | 14.274 | 0 | 0
842.5 | 13.884 | 0 | 0
843 | 13.882 | 0 | 0
843.5 | 15.137 | 0 | 0
844 | 16.386 | 0 | 0
844.5 | 15.671 | 0 | 0
845 | 15.512 | 0 | 0
845.5 | 15.807 | 0 | 0
846 | 14.572 | 0 | 0
846.5 | 14.355 | 0 | 0
847 | 15.336 | 0 | 0
847.5 | 14.459 | 0 | 0
848 | 15.196 | 0 | 0
848.5 | 14.619 | 0 | 0
849 | 14.378 | 0 | 0
849.5 | 14.171 | 0 | 0
850 | 13.829 | 0 | 0
850.5 | 14.388 | 0 | 0
851 | 12.179 | 0 | 0
851.5 | 12.388 | 0 | 0
852 | 14.535 | 0 | 0
852.5 | 15.93 | 0 | 0
853 | 16.097 | 0 | 0
853.5 | 16.443 | 0 | 0
854 | 15.978 | 0 | 0
854.5 | 17.29 | 0 | 0
855 | 18.332 | 0 | 0
855.5 | 17.771 | 0 | 0
856 | 19.13 | 0 | 0
856.5 | 21.787 | 2.255 | 0.00066194
857 | 22.315 | 2.783 | 0.00081693
857.5 | 19.293 | 0 | 0
858 | 16.963 | 0 | 0
858.5 | 17.125 | 0 | 0
859 | 18.533 | 0 | 0
859.5 | 17.602 | 0 | 0
860 | 16.805 | 0 | 0
860.5 | 17.965 | 0 | 0
861 | 17.478 | 0 | 0
861.5 | 15.089 | 0 | 0
862 | 15.057 | 0 | 0
862.5 | 15.709 | 0 | 0
863 | 14.457 | 0 | 0
863.5 | 15.499 | 0 | 0
864 | 16.495 | 0 | 0
864.5 | 15.703 | 0 | 0
865 | 14.747 | 0 | 0
865.5 | 17.572 | 0 | 0
866 | 18.746 | 0 | 0
866.5 | 16.726 | 0 | 0
867 | 15.476 | 0 | 0
867.5 | 15.216 | 0 | 0
868 | 14.868 | 0 | 0
868.5 | 15.446 | 0 | 0
869 | 17.091 | 0 | 0
869.5 | 16.708 | 0 | 0
870 | 14.266 | 0 | 0
870.5 | 15.588 | 0 | 0
871 | 16.282 | 0 | 0
871.5 | 15.591 | 0 | 0
872 | 16.407 | 0 | 0
872.5 | 14.907 | 0 | 0
873 | 13.233 | 0 | 0
873.5 | 11.554 | 0 | 0
874 | 12.806 | 0 | 0
874.5 | 11.734 | 0 | 0
875 | 11.541 | 0 | 0
875.5 | 14.904 | 0 | 0
876 | 17.977 | 0 | 0
876.5 | 15.863 | 0 | 0
877 | 12.015 | 0 | 0
877.5 | 10.174 | 0 | 0
878 | 12.877 | 0 | 0
878.5 | 14.44 | 0 | 0
879 | 13.388 | 0 | 0
879.5 | 15.206 | 0 | 0
880 | 15.01 | 0 | 0
880.5 | 15.729 | 0 | 0
881 | 14.591 | 0 | 0
881.5 | 14.056 | 0 | 0
882 | 15.613 | 0 | 0
882.5 | 16.667 | 0 | 0
883 | 16.3 | 0 | 0
883.5 | 16.637 | 0 | 0
884 | 14.981 | 0 | 0
884.5 | 14.693 | 0 | 0
885 | 15.807 | 0 | 0
885.5 | 17.61 | 0 | 0
886 | 17.47 | 0 | 0
886.5 | 17.83 | 0 | 0