## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 13.305 | 1.089 | 0.00030335
246.5 | 12.216 | 0 | 0
247 | 12.952 | 0.736 | 0.00020502
247.5 | 13.525 | 1.309 | 0.00036464
248 | 11.583 | 0 | 0
248.5 | 10.386 | 0 | 0
249 | 10.307 | 0 | 0
249.5 | 12.933 | 0.717 | 0.00019973
250 | 12.95 | 0.734 | 0.00020446
250.5 | 13.985 | 1.769 | 0.00049277
251 | 12.488 | 0.272 | 7.5768e-05
251.5 | 14.137 | 1.921 | 0.00053511
252 | 15.323 | 3.107 | 0.00086549
252.5 | 15.114 | 2.898 | 0.00080727
253 | 14.513 | 2.297 | 0.00063985
253.5 | 15.524 | 3.308 | 0.00092148
254 | 15.165 | 2.949 | 0.00082148
254.5 | 12.028 | 0 | 0
255 | 14.36 | 2.144 | 0.00059723
255.5 | 13.429 | 1.213 | 0.00033789
256 | 12.825 | 0.609 | 0.00016964
256.5 | 12.273 | 0.057 | 1.5878e-05
257 | 13.546 | 1.33 | 0.00037049
257.5 | 13.278 | 1.062 | 0.00029583
258 | 12.982 | 0.766 | 0.00021338
258.5 | 12.882 | 0.666 | 0.00018552
259 | 12.83 | 0.614 | 0.00017104
259.5 | 12.748 | 0.532 | 0.00014819
260 | 12.726 | 0.51 | 0.00014207
260.5 | 12.649 | 0.433 | 0.00012062
261 | 12.671 | 0.455 | 0.00012675
261.5 | 12.821 | 0.605 | 0.00016853
262 | 12.941 | 0.725 | 0.00020196
262.5 | 13.101 | 0.885 | 0.00024653
263 | 12.72 | 0.504 | 0.00014039
263.5 | 12.293 | 0.077 | 2.1449e-05
264 | 11.802 | 0 | 0
264.5 | 11.631 | 0 | 0
265 | 11.892 | 0 | 0
265.5 | 12.325 | 0.109 | 3.0363e-05
266 | 12.434 | 0.218 | 6.0726e-05
266.5 | 12.474 | 0.258 | 7.1869e-05
267 | 12.403 | 0.187 | 5.2091e-05
267.5 | 12.538 | 0.322 | 8.9696e-05
268 | 12.603 | 0.387 | 0.0001078
268.5 | 12.574 | 0.358 | 9.9725e-05
269 | 12.48 | 0.264 | 7.354e-05
269.5 | 12.561 | 0.345 | 9.6103e-05
270 | 12.947 | 0.731 | 0.00020363
270.5 | 13.276 | 1.06 | 0.00029527
271 | 13.502 | 1.286 | 0.00035823
271.5 | 13.154 | 0.938 | 0.00026129
272 | 12.695 | 0.479 | 0.00013343
272.5 | 12.574 | 0.358 | 9.9725e-05
273 | 12.44 | 0.224 | 6.2398e-05
273.5 | 12.538 | 0.322 | 8.9696e-05
274 | 12.351 | 0.135 | 3.7606e-05
274.5 | 12.288 | 0.072 | 2.0056e-05
275 | 12.211 | 0 | 0
275.5 | 12.128 | 0 | 0
276 | 12.208 | 0 | 0
276.5 | 12.258 | 0.042 | 1.17e-05
277 | 11.935 | 0 | 0
277.5 | 11.838 | 0 | 0
278 | 11.753 | 0 | 0
278.5 | 11.554 | 0 | 0
279 | 11.371 | 0 | 0
279.5 | 11.404 | 0 | 0
280 | 11.429 | 0 | 0
280.5 | 11.478 | 0 | 0
281 | 11.364 | 0 | 0
281.5 | 11.114 | 0 | 0
282 | 10.947 | 0 | 0
282.5 | 10.778 | 0 | 0
283 | 10.636 | 0 | 0
283.5 | 10.914 | 0 | 0
284 | 11.33 | 0 | 0
284.5 | 11.926 | 0 | 0
285 | 12.58 | 0.364 | 0.0001014
285.5 | 13.048 | 0.832 | 0.00023176
286 | 13.301 | 1.085 | 0.00030224
286.5 | 13.396 | 1.18 | 0.0003287
287 | 13.511 | 1.295 | 0.00036074
287.5 | 13.609 | 1.393 | 0.00038803
288 | 13.883 | 1.667 | 0.00046436
288.5 | 14.464 | 2.248 | 0.0006262
289 | 15.08 | 2.864 | 0.0007978
289.5 | 15.478 | 3.262 | 0.00090866
290 | 15.6 | 3.384 | 0.00094265
290.5 | 15.499 | 3.283 | 0.00091451
291 | 15.243 | 3.027 | 0.0008432
291.5 | 15.001 | 2.785 | 0.00077579
292 | 14.792 | 2.576 | 0.00071757
292.5 | 14.534 | 2.318 | 0.0006457
293 | 14.463 | 2.247 | 0.00062593
293.5 | 14.392 | 2.176 | 0.00060615
294 | 14.173 | 1.957 | 0.00054514
294.5 | 14.004 | 1.788 | 0.00049807
295 | 13.589 | 1.373 | 0.00038246
295.5 | 13.064 | 0.848 | 0.00023622
296 | 12.64 | 0.424 | 0.00011811
296.5 | 12.383 | 0.167 | 4.652e-05
297 | 12.435 | 0.219 | 6.1005e-05
297.5 | 12.542 | 0.326 | 9.0811e-05
298 | 12.633 | 0.417 | 0.00011616
298.5 | 12.708 | 0.492 | 0.00013705
299 | 12.767 | 0.551 | 0.00015349
299.5 | 12.807 | 0.591 | 0.00016463
300 | 12.875 | 0.659 | 0.00018357
300.5 | 13.277 | 1.061 | 0.00029555
301 | 13.794 | 1.578 | 0.00043957
301.5 | 14.171 | 1.955 | 0.00054459
302 | 14.359 | 2.143 | 0.00059696
302.5 | 14.446 | 2.23 | 0.00062119
303 | 14.392 | 2.176 | 0.00060615
303.5 | 13.917 | 1.701 | 0.00047383
304 | 13.379 | 1.163 | 0.00032397
304.5 | 12.962 | 0.746 | 0.00020781
305 | 12.788 | 0.572 | 0.00015934
305.5 | 12.661 | 0.445 | 0.00012396
306 | 12.687 | 0.471 | 0.0001312
306.5 | 12.682 | 0.466 | 0.00012981
307 | 12.466 | 0.25 | 6.964e-05
307.5 | 12.035 | 0 | 0
308 | 11.742 | 0 | 0
308.5 | 11.542 | 0 | 0
309 | 11.336 | 0 | 0
309.5 | 11.383 | 0 | 0
310 | 11.611 | 0 | 0
310.5 | 11.955 | 0 | 0
311 | 12.253 | 0.037 | 1.0307e-05
311.5 | 12.302 | 0.086 | 2.3956e-05
312 | 12.352 | 0.136 | 3.7884e-05
312.5 | 12.273 | 0.057 | 1.5878e-05
313 | 12.066 | 0 | 0
313.5 | 11.922 | 0 | 0
314 | 11.757 | 0 | 0
314.5 | 11.619 | 0 | 0
315 | 11.599 | 0 | 0
315.5 | 11.67 | 0 | 0
316 | 11.697 | 0 | 0
316.5 | 11.813 | 0 | 0
317 | 11.781 | 0 | 0
317.5 | 11.769 | 0 | 0
318 | 11.881 | 0 | 0
318.5 | 11.808 | 0 | 0
319 | 11.78 | 0 | 0
319.5 | 11.846 | 0 | 0
320 | 11.969 | 0 | 0
320.5 | 12.139 | 0 | 0
321 | 12.284 | 0.068 | 1.8942e-05
321.5 | 12.601 | 0.385 | 0.00010725
322 | 12.659 | 0.443 | 0.0001234
322.5 | 12.919 | 0.703 | 0.00019583
323 | 13.202 | 0.986 | 0.00027466
323.5 | 13.537 | 1.321 | 0.00036798
324 | 13.729 | 1.513 | 0.00042146
324.5 | 13.711 | 1.495 | 0.00041645
325 | 13.877 | 1.661 | 0.00046269
325.5 | 13.89 | 1.674 | 0.00046631
326 | 13.989 | 1.773 | 0.00049389
326.5 | 13.91 | 1.694 | 0.00047188
327 | 13.998 | 1.782 | 0.00049639
327.5 | 13.927 | 1.711 | 0.00047662
328 | 13.717 | 1.501 | 0.00041812
328.5 | 13.738 | 1.522 | 0.00042397
329 | 13.476 | 1.26 | 0.00035099
329.5 | 13.122 | 0.906 | 0.00025238
330 | 12.777 | 0.561 | 0.00015627
330.5 | 12.557 | 0.341 | 9.4989e-05
331 | 12.553 | 0.337 | 9.3875e-05
331.5 | 12.706 | 0.49 | 0.00013649
332 | 12.972 | 0.756 | 0.00021059
332.5 | 13.086 | 0.87 | 0.00024235
333 | 13.291 | 1.075 | 0.00029945
333.5 | 13.256 | 1.04 | 0.0002897
334 | 13.228 | 1.012 | 0.0002819
334.5 | 13.042 | 0.826 | 0.00023009
335 | 12.8 | 0.584 | 0.00016268
335.5 | 12.775 | 0.559 | 0.00015572
336 | 12.685 | 0.469 | 0.00013064
336.5 | 12.609 | 0.393 | 0.00010947
337 | 12.63 | 0.414 | 0.00011532
337.5 | 12.679 | 0.463 | 0.00012897
338 | 12.624 | 0.408 | 0.00011365
338.5 | 12.598 | 0.382 | 0.00010641
339 | 12.509 | 0.293 | 8.1618e-05
339.5 | 12.228 | 0.012 | 3.3427e-06
340 | 11.885 | 0 | 0
340.5 | 11.524 | 0 | 0
341 | 11.512 | 0 | 0
341.5 | 11.722 | 0 | 0
342 | 11.881 | 0 | 0
342.5 | 12.028 | 0 | 0
343 | 12.059 | 0 | 0
343.5 | 12.031 | 0 | 0
344 | 11.986 | 0 | 0
344.5 | 12.068 | 0 | 0
345 | 12.109 | 0 | 0
345.5 | 12.188 | 0 | 0
346 | 12.532 | 0.316 | 8.8025e-05
346.5 | 12.95 | 0.734 | 0.00020446
347 | 13.356 | 1.14 | 0.00031756
347.5 | 13.488 | 1.272 | 0.00035433
348 | 13.655 | 1.439 | 0.00040085
348.5 | 13.852 | 1.636 | 0.00045573
349 | 13.93 | 1.714 | 0.00047745
349.5 | 14.086 | 1.87 | 0.00052091
350 | 14.215 | 1.999 | 0.00055684
350.5 | 14.142 | 1.926 | 0.00053651
351 | 14.022 | 1.806 | 0.00050308
351.5 | 14.07 | 1.854 | 0.00051645
352 | 14.377 | 2.161 | 0.00060197
352.5 | 14.449 | 2.233 | 0.00062203
353 | 14.587 | 2.371 | 0.00066047
353.5 | 14.629 | 2.413 | 0.00067217
354 | 14.766 | 2.55 | 0.00071033
354.5 | 14.806 | 2.59 | 0.00072147
355 | 14.682 | 2.466 | 0.00068693
355.5 | 14.645 | 2.429 | 0.00067662
356 | 14.541 | 2.325 | 0.00064765
356.5 | 14.483 | 2.267 | 0.0006315
357 | 14.494 | 2.278 | 0.00063456
357.5 | 14.61 | 2.394 | 0.00066687
358 | 14.435 | 2.219 | 0.00061813
358.5 | 14.295 | 2.079 | 0.00057913
359 | 14.378 | 2.162 | 0.00060225
359.5 | 14.319 | 2.103 | 0.00058581
360 | 14.087 | 1.871 | 0.00052119
360.5 | 13.712 | 1.496 | 0.00041673
361 | 13.43 | 1.214 | 0.00033817
361.5 | 13.436 | 1.22 | 0.00033984
362 | 13.419 | 1.203 | 0.00033511
362.5 | 13.61 | 1.394 | 0.00038831
363 | 13.837 | 1.621 | 0.00045155
363.5 | 13.961 | 1.745 | 0.00048609
364 | 13.807 | 1.591 | 0.00044319
364.5 | 13.677 | 1.461 | 0.00040698
365 | 13.568 | 1.352 | 0.00037661
365.5 | 13.362 | 1.146 | 0.00031923
366 | 13.398 | 1.182 | 0.00032926
366.5 | 13.63 | 1.414 | 0.00039388
367 | 13.92 | 1.704 | 0.00047467
367.5 | 14.067 | 1.851 | 0.00051562
368 | 13.957 | 1.741 | 0.00048497
368.5 | 13.966 | 1.75 | 0.00048748
369 | 13.788 | 1.572 | 0.0004379
369.5 | 13.412 | 1.196 | 0.00033316
370 | 13.284 | 1.068 | 0.0002975
370.5 | 13.35 | 1.134 | 0.00031589
371 | 13.597 | 1.381 | 0.00038469
371.5 | 13.86 | 1.644 | 0.00045795
372 | 13.851 | 1.635 | 0.00045545
372.5 | 13.63 | 1.414 | 0.00039388
373 | 13.713 | 1.497 | 0.00041701
373.5 | 13.755 | 1.539 | 0.0004287
374 | 14.021 | 1.805 | 0.0005028
374.5 | 13.925 | 1.709 | 0.00047606
375 | 13.537 | 1.321 | 0.00036798
375.5 | 13.321 | 1.105 | 0.00030781
376 | 13.194 | 0.978 | 0.00027243
376.5 | 13.117 | 0.901 | 0.00025098
377 | 13.067 | 0.851 | 0.00023706
377.5 | 12.561 | 0.345 | 9.6103e-05
378 | 12.409 | 0.193 | 5.3762e-05
378.5 | 12.502 | 0.286 | 7.9668e-05
379 | 12.519 | 0.303 | 8.4404e-05
379.5 | 11.914 | 0 | 0
380 | 11.405 | 0 | 0
380.5 | 11.081 | 0 | 0
381 | 11.081 | 0 | 0
381.5 | 11.251 | 0 | 0
382 | 11.424 | 0 | 0
382.5 | 11.535 | 0 | 0
383 | 11.343 | 0 | 0
383.5 | 11.233 | 0 | 0
384 | 11.233 | 0 | 0
384.5 | 11.23 | 0 | 0
385 | 11.167 | 0 | 0
385.5 | 11.297 | 0 | 0
386 | 11.717 | 0 | 0
386.5 | 12.321 | 0.105 | 2.9249e-05
387 | 13.113 | 0.897 | 0.00024987
387.5 | 13.85 | 1.634 | 0.00045517
388 | 14.382 | 2.166 | 0.00060336
388.5 | 14.834 | 2.618 | 0.00072927
389 | 15.327 | 3.111 | 0.0008666
389.5 | 15.717 | 3.501 | 0.00097524
390 | 15.877 | 3.661 | 0.0010198
390.5 | 15.959 | 3.743 | 0.0010427
391 | 16.047 | 3.831 | 0.0010672
391.5 | 16.182 | 3.966 | 0.0011048
392 | 16.249 | 4.033 | 0.0011234
392.5 | 16.153 | 3.937 | 0.0010967
393 | 15.711 | 3.495 | 0.00097357
393.5 | 15.372 | 3.156 | 0.00087914
394 | 15.172 | 2.956 | 0.00082342
394.5 | 14.987 | 2.771 | 0.00077189
395 | 14.838 | 2.622 | 0.00073039
395.5 | 14.851 | 2.635 | 0.00073401
396 | 14.971 | 2.755 | 0.00076743
396.5 | 15.24 | 3.024 | 0.00084237
397 | 15.292 | 3.076 | 0.00085685
397.5 | 15.37 | 3.154 | 0.00087858
398 | 15.488 | 3.272 | 0.00091145
398.5 | 15.442 | 3.226 | 0.00089864
399 | 15.531 | 3.315 | 0.00092343
399.5 | 15.729 | 3.513 | 0.00097858
400 | 15.65 | 3.434 | 0.00095658
400.5 | 15.878 | 3.662 | 0.0010201
401 | 16.137 | 3.921 | 0.0010922
401.5 | 16.207 | 3.991 | 0.0011117
402 | 16.45 | 4.234 | 0.0011794
402.5 | 16.417 | 4.201 | 0.0011702
403 | 16.516 | 4.3 | 0.0011978
403.5 | 16.578 | 4.362 | 0.0012151
404 | 16.409 | 4.193 | 0.001168
404.5 | 16.374 | 4.158 | 0.0011583
405 | 16.332 | 4.116 | 0.0011466
405.5 | 16.284 | 4.068 | 0.0011332
406 | 16.149 | 3.933 | 0.0010956
406.5 | 15.826 | 3.61 | 0.0010056
407 | 15.49 | 3.274 | 0.00091201
407.5 | 15.235 | 3.019 | 0.00084097
408 | 15.145 | 2.929 | 0.0008159
408.5 | 15.217 | 3.001 | 0.00083596
409 | 15.436 | 3.22 | 0.00089696
409.5 | 15.756 | 3.54 | 0.0009861
410 | 16.202 | 3.986 | 0.0011103
410.5 | 16.41 | 4.194 | 0.0011683
411 | 16.442 | 4.226 | 0.0011772
411.5 | 16.376 | 4.16 | 0.0011588
412 | 16.249 | 4.033 | 0.0011234
412.5 | 16.153 | 3.937 | 0.0010967
413 | 16.034 | 3.818 | 0.0010635
413.5 | 16.051 | 3.835 | 0.0010683
414 | 16.065 | 3.849 | 0.0010722
414.5 | 15.82 | 3.604 | 0.0010039
415 | 15.654 | 3.438 | 0.00095769
415.5 | 15.552 | 3.336 | 0.00092928
416 | 15.401 | 3.185 | 0.00088722
416.5 | 15.213 | 2.997 | 0.00083485
417 | 15.24 | 3.024 | 0.00084237
417.5 | 15.451 | 3.235 | 0.00090114
418 | 15.685 | 3.469 | 0.00096633
418.5 | 15.883 | 3.667 | 0.0010215
419 | 16.062 | 3.846 | 0.0010713
419.5 | 16.163 | 3.947 | 0.0010995
420 | 16.213 | 3.997 | 0.0011134
420.5 | 16.504 | 4.288 | 0.0011945
421 | 16.83 | 4.614 | 0.0012853
421.5 | 17.004 | 4.788 | 0.0013337
422 | 17.093 | 4.877 | 0.0013585
422.5 | 17.208 | 4.992 | 0.0013906
423 | 17.1 | 4.884 | 0.0013605
423.5 | 16.798 | 4.582 | 0.0012764
424 | 16.597 | 4.381 | 0.0012204
424.5 | 16.54 | 4.324 | 0.0012045
425 | 16.679 | 4.463 | 0.0012432
425.5 | 16.892 | 4.676 | 0.0013025
426 | 16.987 | 4.771 | 0.001329
426.5 | 16.99 | 4.774 | 0.0013298
427 | 16.959 | 4.743 | 0.0013212
427.5 | 16.843 | 4.627 | 0.0012889
428 | 16.561 | 4.345 | 0.0012103
428.5 | 16.525 | 4.309 | 0.0012003
429 | 16.727 | 4.511 | 0.0012566
429.5 | 17.004 | 4.788 | 0.0013337
430 | 16.999 | 4.783 | 0.0013324
430.5 | 17.109 | 4.893 | 0.001363
431 | 16.945 | 4.729 | 0.0013173
431.5 | 16.485 | 4.269 | 0.0011892
432 | 15.806 | 3.59 | 0.001
432.5 | 15.419 | 3.203 | 0.00089223
433 | 15.021 | 2.805 | 0.00078136
433.5 | 14.906 | 2.69 | 0.00074933
434 | 15.03 | 2.814 | 0.00078387
434.5 | 15.149 | 2.933 | 0.00081702
435 | 15.229 | 3.013 | 0.0008393
435.5 | 15.096 | 2.88 | 0.00080225
436 | 15.06 | 2.844 | 0.00079223
436.5 | 15.015 | 2.799 | 0.00077969
437 | 15.203 | 2.987 | 0.00083206
437.5 | 15.501 | 3.285 | 0.00091507
438 | 16.143 | 3.927 | 0.0010939
438.5 | 16.542 | 4.326 | 0.0012051
439 | 16.995 | 4.779 | 0.0013312
439.5 | 17.471 | 5.255 | 0.0014638
440 | 17.669 | 5.453 | 0.001519
440.5 | 17.811 | 5.595 | 0.0015585
441 | 17.876 | 5.66 | 0.0015767
441.5 | 18.094 | 5.878 | 0.0016374
442 | 18.461 | 6.245 | 0.0017396
442.5 | 18.85 | 6.634 | 0.001848
443 | 19.138 | 6.922 | 0.0019282
443.5 | 19.544 | 7.328 | 0.0020413
444 | 19.831 | 7.615 | 0.0021212
444.5 | 19.819 | 7.603 | 0.0021179
445 | 19.565 | 7.349 | 0.0020471
445.5 | 19.128 | 6.912 | 0.0019254
446 | 19.103 | 6.887 | 0.0019184
446.5 | 18.973 | 6.757 | 0.0018822
447 | 19.186 | 6.97 | 0.0019416
447.5 | 19.546 | 7.33 | 0.0020418
448 | 19.759 | 7.543 | 0.0021012
448.5 | 19.839 | 7.623 | 0.0021235
449 | 19.895 | 7.679 | 0.0021391
449.5 | 19.98 | 7.764 | 0.0021627
450 | 20.133 | 7.917 | 0.0022054
450.5 | 20.583 | 8.367 | 0.0023307
451 | 21.068 | 8.852 | 0.0024658
451.5 | 21.64 | 9.424 | 0.0026252
452 | 22.118 | 9.902 | 0.0027583
452.5 | 22.609 | 10.393 | 0.0028951
453 | 22.86 | 10.644 | 0.002965
453.5 | 22.995 | 10.779 | 0.0030026
454 | 23.169 | 10.953 | 0.0030511
454.5 | 23.355 | 11.139 | 0.0031029
455 | 23.674 | 11.458 | 0.0031917
455.5 | 24.064 | 11.848 | 0.0033004
456 | 24.487 | 12.271 | 0.0034182
456.5 | 25.059 | 12.843 | 0.0035776
457 | 25.804 | 13.588 | 0.0037851
457.5 | 26.462 | 14.246 | 0.0039684
458 | 27.005 | 14.789 | 0.0041196
458.5 | 27.624 | 15.408 | 0.0042921
459 | 28.307 | 16.091 | 0.0044823
459.5 | 29.139 | 16.923 | 0.0047141
460 | 29.933 | 17.717 | 0.0049353
460.5 | 30.75 | 18.534 | 0.0051628
461 | 31.736 | 19.52 | 0.0054375
461.5 | 32.691 | 20.475 | 0.0057035
462 | 33.694 | 21.478 | 0.0059829
462.5 | 34.633 | 22.417 | 0.0062445
463 | 35.685 | 23.469 | 0.0065375
463.5 | 36.962 | 24.746 | 0.0068933
464 | 38.414 | 26.198 | 0.0072977
464.5 | 39.961 | 27.745 | 0.0077287
465 | 41.523 | 29.307 | 0.0081638
465.5 | 43.184 | 30.968 | 0.0086265
466 | 45.27 | 33.054 | 0.0092075
466.5 | 47.501 | 35.285 | 0.009829
467 | 49.601 | 37.385 | 0.010414
467.5 | 51.656 | 39.44 | 0.010986
468 | 53.772 | 41.556 | 0.011576
468.5 | 56.106 | 43.89 | 0.012226
469 | 58.393 | 46.177 | 0.012863
469.5 | 61.099 | 48.883 | 0.013617
470 | 64.057 | 51.841 | 0.014441
470.5 | 66.921 | 54.705 | 0.015239
471 | 70.042 | 57.826 | 0.016108
471.5 | 73.281 | 61.065 | 0.01701
472 | 76.599 | 64.383 | 0.017935
472.5 | 80.004 | 67.788 | 0.018883
473 | 83.522 | 71.306 | 0.019863
473.5 | 87.578 | 75.362 | 0.020993
474 | 91.616 | 79.4 | 0.022118
474.5 | 95.948 | 83.732 | 0.023324
475 | 100.69 | 88.474 | 0.024645
475.5 | 105.42 | 93.204 | 0.025963
476 | 110.36 | 98.144 | 0.027339
476.5 | 115.53 | 103.314 | 0.028779
477 | 121.12 | 108.904 | 0.030336
477.5 | 127.12 | 114.904 | 0.032008
478 | 133.38 | 121.164 | 0.033752
478.5 | 140.25 | 128.034 | 0.035665
479 | 147.48 | 135.264 | 0.037679
479.5 | 155.05 | 142.834 | 0.039788
480 | 163.27 | 151.054 | 0.042078
480.5 | 172.04 | 159.824 | 0.044521
481 | 181.09 | 168.874 | 0.047042
481.5 | 190.42 | 178.204 | 0.049641
482 | 200.36 | 188.144 | 0.052409
482.5 | 211.18 | 198.964 | 0.055424
483 | 222.49 | 210.274 | 0.058574
483.5 | 234.38 | 222.164 | 0.061886
484 | 246.71 | 234.494 | 0.065321
484.5 | 259.56 | 247.344 | 0.0689
485 | 272.85 | 260.634 | 0.072602
485.5 | 286.88 | 274.664 | 0.076511
486 | 301.22 | 289.004 | 0.080505
486.5 | 316.12 | 303.904 | 0.084656
487 | 332.07 | 319.854 | 0.089099
487.5 | 349.41 | 337.194 | 0.093929
488 | 367.66 | 355.444 | 0.099013
488.5 | 387.27 | 375.054 | 0.10448
489 | 407.76 | 395.544 | 0.11018
489.5 | 429.36 | 417.144 | 0.1162
490 | 452.23 | 440.014 | 0.12257
490.5 | 476.41 | 464.194 | 0.12931
491 | 502.17 | 489.954 | 0.13648
491.5 | 529.18 | 516.964 | 0.14401
492 | 558.09 | 545.874 | 0.15206
492.5 | 588.15 | 575.934 | 0.16043
493 | 619.78 | 607.564 | 0.16924
493.5 | 652.85 | 640.634 | 0.17846
494 | 687.48 | 675.264 | 0.1881
494.5 | 723.42 | 711.204 | 0.19811
495 | 761.01 | 748.794 | 0.20858
495.5 | 800.37 | 788.154 | 0.21955
496 | 841.45 | 829.234 | 0.23099
496.5 | 883.6 | 871.384 | 0.24273
497 | 927.07 | 914.854 | 0.25484
497.5 | 971.97 | 959.754 | 0.26735
498 | 1018.5 | 1006.284 | 0.28031
498.5 | 1067.6 | 1055.384 | 0.29399
499 | 1118.7 | 1106.484 | 0.30822
499.5 | 1171.6 | 1159.384 | 0.32296
500 | 1225.6 | 1213.384 | 0.338
500.5 | 1281 | 1268.784 | 0.35343
501 | 1336.9 | 1324.684 | 0.369
501.5 | 1392.9 | 1380.684 | 0.3846
502 | 1449.4 | 1437.184 | 0.40034
502.5 | 1507 | 1494.784 | 0.41639
503 | 1565.6 | 1553.384 | 0.43271
503.5 | 1624.8 | 1612.584 | 0.4492
504 | 1685.1 | 1672.884 | 0.466
504.5 | 1745.9 | 1733.684 | 0.48294
505 | 1807.4 | 1795.184 | 0.50007
505.5 | 1870 | 1857.784 | 0.51751
506 | 1934.2 | 1921.984 | 0.53539
506.5 | 2000.2 | 1987.984 | 0.55377
507 | 2068.9 | 2056.684 | 0.57291
507.5 | 2139.1 | 2126.884 | 0.59247
508 | 2211.1 | 2198.884 | 0.61252
508.5 | 2283.8 | 2271.584 | 0.63277
509 | 2357.5 | 2345.284 | 0.6533
509.5 | 2431.6 | 2419.384 | 0.67394
510 | 2505.8 | 2493.584 | 0.69461
510.5 | 2579.1 | 2566.884 | 0.71503
511 | 2650.4 | 2638.184 | 0.73489
511.5 | 2719.5 | 2707.284 | 0.75414
512 | 2785.8 | 2773.584 | 0.77261
512.5 | 2849.3 | 2837.084 | 0.7903
513 | 2911.1 | 2898.884 | 0.80751
513.5 | 2970.9 | 2958.684 | 0.82417
514 | 3028.7 | 3016.484 | 0.84027
514.5 | 3084.1 | 3071.884 | 0.85571
515 | 3137.1 | 3124.884 | 0.87047
515.5 | 3186.6 | 3174.384 | 0.88426
516 | 3232.2 | 3219.984 | 0.89696
516.5 | 3274.6 | 3262.384 | 0.90877
517 | 3315 | 3302.784 | 0.92003
517.5 | 3352.9 | 3340.684 | 0.93058
518 | 3389 | 3376.784 | 0.94064
518.5 | 3422 | 3409.784 | 0.94983
519 | 3452 | 3439.784 | 0.95819
519.5 | 3477.9 | 3465.684 | 0.9654
520 | 3500.5 | 3488.284 | 0.9717
520.5 | 3520.1 | 3507.884 | 0.97716
521 | 3536.9 | 3524.684 | 0.98184
521.5 | 3551.2 | 3538.984 | 0.98582
522 | 3564.4 | 3552.184 | 0.9895
522.5 | 3576.2 | 3563.984 | 0.99279
523 | 3586 | 3573.784 | 0.99552
523.5 | 3593.2 | 3580.984 | 0.99752
524 | 3597.9 | 3585.684 | 0.99883
524.5 | 3600.8 | 3588.584 | 0.99964
525 | 3602.1 | 3589.884 | 1
525.5 | 3601.4 | 3589.184 | 0.99981
526 | 3598.3 | 3586.084 | 0.99894
526.5 | 3592.2 | 3579.984 | 0.99724
527 | 3583.2 | 3570.984 | 0.99474
527.5 | 3570.5 | 3558.284 | 0.9912
528 | 3553.7 | 3541.484 | 0.98652
528.5 | 3533.3 | 3521.084 | 0.98084
529 | 3510.4 | 3498.184 | 0.97446
529.5 | 3485 | 3472.784 | 0.96738
530 | 3456.5 | 3444.284 | 0.95944
530.5 | 3424.2 | 3411.984 | 0.95044
531 | 3388.2 | 3375.984 | 0.94042
531.5 | 3348.5 | 3336.284 | 0.92936
532 | 3305.4 | 3293.184 | 0.91735
532.5 | 3259.8 | 3247.584 | 0.90465
533 | 3213.3 | 3201.084 | 0.8917
533.5 | 3166.3 | 3154.084 | 0.8786
534 | 3118.4 | 3106.184 | 0.86526
534.5 | 3068.7 | 3056.484 | 0.85142
535 | 3016.7 | 3004.484 | 0.83693
535.5 | 2962.6 | 2950.384 | 0.82186
536 | 2907.8 | 2895.584 | 0.8066
536.5 | 2853.2 | 2840.984 | 0.79139
537 | 2800 | 2787.784 | 0.77657
537.5 | 2749 | 2736.784 | 0.76236
538 | 2699.7 | 2687.484 | 0.74863
538.5 | 2651.1 | 2638.884 | 0.73509
539 | 2602 | 2589.784 | 0.72141
539.5 | 2553.4 | 2541.184 | 0.70787
540 | 2505.4 | 2493.184 | 0.6945
540.5 | 2458.6 | 2446.384 | 0.68147
541 | 2412.9 | 2400.684 | 0.66874
541.5 | 2367.6 | 2355.384 | 0.65612
542 | 2321.9 | 2309.684 | 0.64339
542.5 | 2275.6 | 2263.384 | 0.63049
543 | 2228.1 | 2215.884 | 0.61726
543.5 | 2180.4 | 2168.184 | 0.60397
544 | 2133 | 2120.784 | 0.59077
544.5 | 2086.2 | 2073.984 | 0.57773
545 | 2039.3 | 2027.084 | 0.56467
545.5 | 1992.2 | 1979.984 | 0.55155
546 | 1944.8 | 1932.584 | 0.53834
546.5 | 1897.3 | 1885.084 | 0.52511
547 | 1849.5 | 1837.284 | 0.51179
547.5 | 1801.7 | 1789.484 | 0.49848
548 | 1753.4 | 1741.184 | 0.48503
548.5 | 1704.9 | 1692.684 | 0.47151
549 | 1655.8 | 1643.584 | 0.45784
549.5 | 1606.6 | 1594.384 | 0.44413
550 | 1557.4 | 1545.184 | 0.43043
550.5 | 1508.2 | 1495.984 | 0.41672
551 | 1459.5 | 1447.284 | 0.40316
551.5 | 1411.2 | 1398.984 | 0.3897
552 | 1363.6 | 1351.384 | 0.37644
552.5 | 1316.8 | 1304.584 | 0.36341
553 | 1271.8 | 1259.584 | 0.35087
553.5 | 1228.8 | 1216.584 | 0.33889
554 | 1187.4 | 1175.184 | 0.32736
554.5 | 1146.9 | 1134.684 | 0.31608
555 | 1107.3 | 1095.084 | 0.30505
555.5 | 1068.4 | 1056.184 | 0.29421
556 | 1030.4 | 1018.184 | 0.28363
556.5 | 993.41 | 981.194 | 0.27332
557 | 957.17 | 944.954 | 0.26323
557.5 | 921.44 | 909.224 | 0.25327
558 | 886.41 | 874.194 | 0.24352
558.5 | 851.96 | 839.744 | 0.23392
559 | 819.12 | 806.904 | 0.22477
559.5 | 788 | 775.784 | 0.2161
560 | 758.8 | 746.584 | 0.20797
560.5 | 730.65 | 718.434 | 0.20013
561 | 703.56 | 691.344 | 0.19258
561.5 | 677.45 | 665.234 | 0.18531
562 | 652.85 | 640.634 | 0.17846
562.5 | 630.02 | 617.804 | 0.1721
563 | 608.94 | 596.724 | 0.16622
563.5 | 589.41 | 577.194 | 0.16078
564 | 571.19 | 558.974 | 0.15571
564.5 | 553.29 | 541.074 | 0.15072
565 | 535.75 | 523.534 | 0.14584
565.5 | 518.63 | 506.414 | 0.14107
566 | 502.06 | 489.844 | 0.13645
566.5 | 485.93 | 473.714 | 0.13196
567 | 470.4 | 458.184 | 0.12763
567.5 | 454.91 | 442.694 | 0.12332
568 | 439.6 | 427.384 | 0.11905
568.5 | 424.57 | 412.354 | 0.11487
569 | 410.01 | 397.794 | 0.11081
569.5 | 396.03 | 383.814 | 0.10692
570 | 382.42 | 370.204 | 0.10312
570.5 | 369.17 | 356.954 | 0.099433
571 | 356.33 | 344.114 | 0.095857
571.5 | 343.8 | 331.584 | 0.092366
572 | 331.79 | 319.574 | 0.089021
572.5 | 320.05 | 307.834 | 0.08575
573 | 308.94 | 296.724 | 0.082656
573.5 | 298.04 | 285.824 | 0.079619
574 | 287.48 | 275.264 | 0.076678
574.5 | 277.45 | 265.234 | 0.073884
575 | 267.36 | 255.144 | 0.071073
575.5 | 257.8 | 245.584 | 0.06841
576 | 248.57 | 236.354 | 0.065839
576.5 | 239.51 | 227.294 | 0.063315
577 | 231.02 | 218.804 | 0.06095
577.5 | 222.85 | 210.634 | 0.058674
578 | 215.01 | 202.794 | 0.05649
578.5 | 207.4 | 195.184 | 0.054371
579 | 200.07 | 187.854 | 0.052329
579.5 | 192.86 | 180.644 | 0.05032
580 | 185.82 | 173.604 | 0.048359
580.5 | 179.35 | 167.134 | 0.046557
581 | 173.38 | 161.164 | 0.044894
581.5 | 167.73 | 155.514 | 0.04332
582 | 162.44 | 150.224 | 0.041846
582.5 | 157.28 | 145.064 | 0.040409
583 | 152.19 | 139.974 | 0.038991
583.5 | 147.52 | 135.304 | 0.03769
584 | 143.24 | 131.024 | 0.036498
584.5 | 139.39 | 127.174 | 0.035426
585 | 135.67 | 123.454 | 0.034389
585.5 | 131.61 | 119.394 | 0.033258
586 | 127.5 | 115.284 | 0.032114
586.5 | 123.54 | 111.324 | 0.03101
587 | 119.93 | 107.714 | 0.030005
587.5 | 116.47 | 104.254 | 0.029041
588 | 113.17 | 100.954 | 0.028122
588.5 | 110.16 | 97.944 | 0.027283
589 | 106.84 | 94.624 | 0.026359
589.5 | 103.12 | 90.904 | 0.025322
590 | 99.517 | 87.301 | 0.024319
590.5 | 96.251 | 84.035 | 0.023409
591 | 93.776 | 81.56 | 0.022719
591.5 | 91.431 | 79.215 | 0.022066
592 | 89.072 | 76.856 | 0.021409
592.5 | 86.647 | 74.431 | 0.020734
593 | 84.157 | 71.941 | 0.02004
593.5 | 81.42 | 69.204 | 0.019278
594 | 78.778 | 66.562 | 0.018542
594.5 | 76.522 | 64.306 | 0.017913
595 | 74.282 | 62.066 | 0.017289
595.5 | 72.246 | 60.03 | 0.016722
596 | 70.397 | 58.181 | 0.016207
596.5 | 68.39 | 56.174 | 0.015648
597 | 66.419 | 54.203 | 0.015099
597.5 | 64.092 | 51.876 | 0.014451
598 | 61.891 | 49.675 | 0.013837
598.5 | 60.127 | 47.911 | 0.013346
599 | 58.424 | 46.208 | 0.012872
599.5 | 56.425 | 44.209 | 0.012315
600 | 54.737 | 42.521 | 0.011845
600.5 | 53.481 | 41.265 | 0.011495
601 | 52.06 | 39.844 | 0.011099
601.5 | 50.805 | 38.589 | 0.010749
602 | 49.578 | 37.362 | 0.010408
602.5 | 48.067 | 35.851 | 0.0099867
603 | 46.849 | 34.633 | 0.0096474
603.5 | 45.598 | 33.382 | 0.0092989
604 | 44.223 | 32.007 | 0.0089159
604.5 | 42.85 | 30.634 | 0.0085334
605 | 41.881 | 29.665 | 0.0082635
605.5 | 40.669 | 28.453 | 0.0079259
606 | 39.338 | 27.122 | 0.0075551
606.5 | 38.388 | 26.172 | 0.0072905
607 | 37.21 | 24.994 | 0.0069623
607.5 | 35.852 | 23.636 | 0.0065841
608 | 34.551 | 22.335 | 0.0062216
608.5 | 33.275 | 21.059 | 0.0058662
609 | 31.959 | 19.743 | 0.0054996
609.5 | 31.031 | 18.815 | 0.0052411
610 | 30.53 | 18.314 | 0.0051016
610.5 | 29.871 | 17.655 | 0.004918
611 | 28.93 | 16.714 | 0.0046559
611.5 | 27.825 | 15.609 | 0.0043481
612 | 26.271 | 14.055 | 0.0039152
612.5 | 25.067 | 12.851 | 0.0035798
613 | 24.407 | 12.191 | 0.0033959
613.5 | 23.661 | 11.445 | 0.0031881
614 | 23.238 | 11.022 | 0.0030703
614.5 | 22.73 | 10.514 | 0.0029288
615 | 21.932 | 9.716 | 0.0027065
615.5 | 20.888 | 8.672 | 0.0024157
616 | 20.102 | 7.886 | 0.0021967
616.5 | 19.589 | 7.373 | 0.0020538
617 | 19.466 | 7.25 | 0.0020196
617.5 | 19.322 | 7.106 | 0.0019795
618 | 19.07 | 6.854 | 0.0019093
618.5 | 19.029 | 6.813 | 0.0018978
619 | 19.272 | 7.056 | 0.0019655
619.5 | 19.423 | 7.207 | 0.0020076
620 | 19.407 | 7.191 | 0.0020031
620.5 | 19.439 | 7.223 | 0.002012
621 | 19.384 | 7.168 | 0.0019967
621.5 | 19.399 | 7.183 | 0.0020009
622 | 19.549 | 7.333 | 0.0020427
622.5 | 19.579 | 7.363 | 0.002051
623 | 19.673 | 7.457 | 0.0020772
623.5 | 19.504 | 7.288 | 0.0020301
624 | 19.112 | 6.896 | 0.001921
624.5 | 18.35 | 6.134 | 0.0017087
625 | 17.788 | 5.572 | 0.0015521
625.5 | 17.615 | 5.399 | 0.0015039
626 | 17.514 | 5.298 | 0.0014758
626.5 | 17.468 | 5.252 | 0.001463
627 | 17.334 | 5.118 | 0.0014257
627.5 | 16.985 | 4.769 | 0.0013285
628 | 16.756 | 4.54 | 0.0012647
628.5 | 16.749 | 4.533 | 0.0012627
629 | 16.338 | 4.122 | 0.0011482
629.5 | 16.236 | 4.02 | 0.0011198
630 | 16.47 | 4.254 | 0.001185
630.5 | 16.54 | 4.324 | 0.0012045
631 | 16.432 | 4.216 | 0.0011744
631.5 | 16.409 | 4.193 | 0.001168
632 | 16.28 | 4.064 | 0.0011321
632.5 | 16.177 | 3.961 | 0.0011034
633 | 16.021 | 3.805 | 0.0010599
633.5 | 15.736 | 3.52 | 0.00098053
634 | 15.769 | 3.553 | 0.00098973
634.5 | 15.896 | 3.68 | 0.0010251
635 | 15.738 | 3.522 | 0.00098109
635.5 | 15.45 | 3.234 | 0.00090086
636 | 15.295 | 3.079 | 0.00085769
636.5 | 15.345 | 3.129 | 0.00087162
637 | 15.482 | 3.266 | 0.00090978
637.5 | 15.643 | 3.427 | 0.00095463
638 | 15.925 | 3.709 | 0.0010332
638.5 | 16.068 | 3.852 | 0.001073
639 | 15.645 | 3.429 | 0.00095518
639.5 | 15.108 | 2.892 | 0.0008056
640 | 14.898 | 2.682 | 0.0007471
640.5 | 14.472 | 2.256 | 0.00062843
641 | 14.469 | 2.253 | 0.0006276
641.5 | 14.358 | 2.142 | 0.00059668
642 | 13.97 | 1.754 | 0.0004886
642.5 | 13.467 | 1.251 | 0.00034848
643 | 12.874 | 0.658 | 0.00018329
643.5 | 12.335 | 0.119 | 3.3149e-05
644 | 12.449 | 0.233 | 6.4905e-05
644.5 | 12.843 | 0.627 | 0.00017466
645 | 12.894 | 0.678 | 0.00018886
645.5 | 13.193 | 0.977 | 0.00027215
646 | 13.405 | 1.189 | 0.00033121
646.5 | 13.489 | 1.273 | 0.00035461
647 | 13.401 | 1.185 | 0.00033009
647.5 | 13.185 | 0.969 | 0.00026993
648 | 12.945 | 0.729 | 0.00020307
648.5 | 12.699 | 0.483 | 0.00013454
649 | 12.317 | 0.101 | 2.8135e-05
649.5 | 12.166 | 0 | 0
650 | 12.453 | 0.237 | 6.6019e-05
650.5 | 12.335 | 0.119 | 3.3149e-05
651 | 11.903 | 0 | 0
651.5 | 11.451 | 0 | 0
652 | 11.375 | 0 | 0
652.5 | 11.704 | 0 | 0
653 | 12.364 | 0.148 | 4.1227e-05
653.5 | 13.041 | 0.825 | 0.00022981
654 | 13.329 | 1.113 | 0.00031004
654.5 | 13.581 | 1.365 | 0.00038024
655 | 13.507 | 1.291 | 0.00035962
655.5 | 13.452 | 1.236 | 0.0003443
656 | 13.696 | 1.48 | 0.00041227
656.5 | 13.903 | 1.687 | 0.00046993
657 | 13.898 | 1.682 | 0.00046854
657.5 | 13.742 | 1.526 | 0.00042508
658 | 13.148 | 0.932 | 0.00025962
658.5 | 12.552 | 0.336 | 9.3596e-05
659 | 12.492 | 0.276 | 7.6883e-05
659.5 | 12.519 | 0.303 | 8.4404e-05
660 | 12.421 | 0.205 | 5.7105e-05
660.5 | 12.34 | 0.124 | 3.4542e-05
661 | 12.193 | 0 | 0
661.5 | 12.065 | 0 | 0
662 | 12.186 | 0 | 0
662.5 | 12.15 | 0 | 0
663 | 12.264 | 0.048 | 1.3371e-05
663.5 | 12.48 | 0.264 | 7.354e-05
664 | 12.456 | 0.24 | 6.6855e-05
664.5 | 12.545 | 0.329 | 9.1646e-05
665 | 12.531 | 0.315 | 8.7747e-05
665.5 | 12.427 | 0.211 | 5.8776e-05
666 | 12.554 | 0.338 | 9.4153e-05
666.5 | 12.639 | 0.423 | 0.00011783
667 | 12.678 | 0.462 | 0.00012869
667.5 | 12.807 | 0.591 | 0.00016463
668 | 12.519 | 0.303 | 8.4404e-05
668.5 | 12.092 | 0 | 0
669 | 11.476 | 0 | 0
669.5 | 10.744 | 0 | 0
670 | 10.133 | 0 | 0
670.5 | 9.8264 | 0 | 0
671 | 9.4361 | 0 | 0
671.5 | 9.0113 | 0 | 0
672 | 8.7312 | 0 | 0
672.5 | 8.6162 | 0 | 0
673 | 8.5146 | 0 | 0
673.5 | 8.4816 | 0 | 0
674 | 8.8482 | 0 | 0
674.5 | 9.1848 | 0 | 0
675 | 9.2895 | 0 | 0
675.5 | 9.4561 | 0 | 0
676 | 9.6644 | 0 | 0
676.5 | 10.031 | 0 | 0
677 | 10.215 | 0 | 0
677.5 | 9.9785 | 0 | 0
678 | 10.289 | 0 | 0
678.5 | 10.604 | 0 | 0
679 | 10.714 | 0 | 0
679.5 | 10.677 | 0 | 0
680 | 11.172 | 0 | 0
680.5 | 11.359 | 0 | 0
681 | 11.684 | 0 | 0
681.5 | 11.986 | 0 | 0
682 | 12.232 | 0.016 | 4.457e-06
682.5 | 12.587 | 0.371 | 0.00010335
683 | 12.624 | 0.408 | 0.00011365
683.5 | 12.615 | 0.399 | 0.00011115
684 | 12.85 | 0.634 | 0.00017661
684.5 | 13.054 | 0.838 | 0.00023343
685 | 12.788 | 0.572 | 0.00015934
685.5 | 12.431 | 0.215 | 5.9891e-05
686 | 11.977 | 0 | 0
686.5 | 11.505 | 0 | 0
687 | 10.988 | 0 | 0
687.5 | 10.556 | 0 | 0
688 | 10.319 | 0 | 0
688.5 | 10.291 | 0 | 0
689 | 10.163 | 0 | 0
689.5 | 10.205 | 0 | 0
690 | 10.548 | 0 | 0
690.5 | 10.911 | 0 | 0
691 | 10.936 | 0 | 0
691.5 | 10.872 | 0 | 0
692 | 10.915 | 0 | 0
692.5 | 11.048 | 0 | 0
693 | 11.14 | 0 | 0
693.5 | 11.086 | 0 | 0
694 | 11.018 | 0 | 0
694.5 | 10.864 | 0 | 0
695 | 10.689 | 0 | 0
695.5 | 10.902 | 0 | 0
696 | 11.42 | 0 | 0
696.5 | 11.681 | 0 | 0
697 | 11.677 | 0 | 0
697.5 | 11.615 | 0 | 0
698 | 11.48 | 0 | 0
698.5 | 11.588 | 0 | 0
699 | 11.616 | 0 | 0
699.5 | 11.519 | 0 | 0
700 | 11.381 | 0 | 0
700.5 | 10.921 | 0 | 0
701 | 10.358 | 0 | 0
701.5 | 10.002 | 0 | 0
702 | 10.037 | 0 | 0
702.5 | 10.094 | 0 | 0
703 | 10.012 | 0 | 0
703.5 | 9.7574 | 0 | 0
704 | 9.8265 | 0 | 0
704.5 | 10.033 | 0 | 0
705 | 10.14 | 0 | 0
705.5 | 10.465 | 0 | 0
706 | 10.888 | 0 | 0
706.5 | 11.227 | 0 | 0
707 | 11.277 | 0 | 0
707.5 | 11.449 | 0 | 0
708 | 11.592 | 0 | 0
708.5 | 11.833 | 0 | 0
709 | 11.534 | 0 | 0
709.5 | 11.726 | 0 | 0
710 | 12.049 | 0 | 0
710.5 | 12.186 | 0 | 0
711 | 12.105 | 0 | 0
711.5 | 12.065 | 0 | 0
712 | 12.151 | 0 | 0
712.5 | 12.336 | 0.12 | 3.3427e-05
713 | 12.482 | 0.266 | 7.4097e-05
713.5 | 12.445 | 0.229 | 6.379e-05
714 | 12.368 | 0.152 | 4.2341e-05
714.5 | 12.088 | 0 | 0
715 | 11.765 | 0 | 0
715.5 | 11.716 | 0 | 0
716 | 11.958 | 0 | 0
716.5 | 12.258 | 0.042 | 1.17e-05
717 | 12.246 | 0.03 | 8.3568e-06
717.5 | 12.27 | 0.054 | 1.5042e-05
718 | 12.364 | 0.148 | 4.1227e-05
718.5 | 12.835 | 0.619 | 0.00017243
719 | 13.092 | 0.876 | 0.00024402
719.5 | 13.325 | 1.109 | 0.00030892
720 | 13.493 | 1.277 | 0.00035572
720.5 | 13.818 | 1.602 | 0.00044625
721 | 14.034 | 1.818 | 0.00050642
721.5 | 14.048 | 1.832 | 0.00051032
722 | 14.104 | 1.888 | 0.00052592
722.5 | 14.13 | 1.914 | 0.00053316
723 | 13.686 | 1.47 | 0.00040948
723.5 | 13.393 | 1.177 | 0.00032787
724 | 13.464 | 1.248 | 0.00034764
724.5 | 13.079 | 0.863 | 0.0002404
725 | 12.393 | 0.177 | 4.9305e-05
725.5 | 11.549 | 0 | 0
726 | 10.735 | 0 | 0
726.5 | 10.563 | 0 | 0
727 | 10.494 | 0 | 0
727.5 | 10.804 | 0 | 0
728 | 11.137 | 0 | 0
728.5 | 10.87 | 0 | 0
729 | 10.606 | 0 | 0
729.5 | 10.73 | 0 | 0
730 | 10.94 | 0 | 0
730.5 | 11.178 | 0 | 0
731 | 11.425 | 0 | 0
731.5 | 11.104 | 0 | 0
732 | 10.629 | 0 | 0
732.5 | 9.9745 | 0 | 0
733 | 10.058 | 0 | 0
733.5 | 10.604 | 0 | 0
734 | 11.097 | 0 | 0
734.5 | 11.481 | 0 | 0
735 | 11.672 | 0 | 0
735.5 | 11.616 | 0 | 0
736 | 11.657 | 0 | 0
736.5 | 12.161 | 0 | 0
737 | 12.749 | 0.533 | 0.00014847
737.5 | 13.187 | 0.971 | 0.00027048
738 | 13.096 | 0.88 | 0.00024513
738.5 | 12.496 | 0.28 | 7.7997e-05
739 | 12.142 | 0 | 0
739.5 | 12.154 | 0 | 0
740 | 12.194 | 0 | 0
740.5 | 12.49 | 0.274 | 7.6326e-05
741 | 12.7 | 0.484 | 0.00013482
741.5 | 12.574 | 0.358 | 9.9725e-05
742 | 12.652 | 0.436 | 0.00012145
742.5 | 12.683 | 0.467 | 0.00013009
743 | 12.904 | 0.688 | 0.00019165
743.5 | 13.069 | 0.853 | 0.00023761
744 | 13.002 | 0.786 | 0.00021895
744.5 | 13.203 | 0.987 | 0.00027494
745 | 13.292 | 1.076 | 0.00029973
745.5 | 13.314 | 1.098 | 0.00030586
746 | 13.443 | 1.227 | 0.00034179
746.5 | 13.672 | 1.456 | 0.00040558
747 | 13.687 | 1.471 | 0.00040976
747.5 | 13.951 | 1.735 | 0.0004833
748 | 14.122 | 1.906 | 0.00053094
748.5 | 14.126 | 1.91 | 0.00053205
749 | 13.972 | 1.756 | 0.00048915
749.5 | 13.991 | 1.775 | 0.00049444
750 | 13.815 | 1.599 | 0.00044542
750.5 | 13.652 | 1.436 | 0.00040001
751 | 13.345 | 1.129 | 0.00031449
751.5 | 13.256 | 1.04 | 0.0002897
752 | 13.207 | 0.991 | 0.00027605
752.5 | 12.706 | 0.49 | 0.00013649
753 | 12.185 | 0 | 0
753.5 | 11.746 | 0 | 0
754 | 11.296 | 0 | 0
754.5 | 11.109 | 0 | 0
755 | 11.396 | 0 | 0
755.5 | 11.362 | 0 | 0
756 | 11.379 | 0 | 0
756.5 | 11.237 | 0 | 0
757 | 11.413 | 0 | 0
757.5 | 11.875 | 0 | 0
758 | 12.493 | 0.277 | 7.7161e-05
758.5 | 12.458 | 0.242 | 6.7412e-05
759 | 12.328 | 0.112 | 3.1199e-05
759.5 | 12.119 | 0 | 0
760 | 12.32 | 0.104 | 2.897e-05
760.5 | 12.391 | 0.175 | 4.8748e-05
761 | 12.22 | 0.004 | 1.1142e-06
761.5 | 11.98 | 0 | 0
762 | 11.981 | 0 | 0
762.5 | 12.002 | 0 | 0
763 | 12.416 | 0.2 | 5.5712e-05
763.5 | 13.088 | 0.872 | 0.0002429
764 | 13.397 | 1.181 | 0.00032898
764.5 | 13.119 | 0.903 | 0.00025154
765 | 12.956 | 0.74 | 0.00020613
765.5 | 12.941 | 0.725 | 0.00020196
766 | 13.114 | 0.898 | 0.00025015
766.5 | 13.424 | 1.208 | 0.0003365
767 | 14.03 | 1.814 | 0.00050531
767.5 | 14.141 | 1.925 | 0.00053623
768 | 14.054 | 1.838 | 0.00051199
768.5 | 13.866 | 1.65 | 0.00045962
769 | 13.871 | 1.655 | 0.00046102
769.5 | 14.002 | 1.786 | 0.00049751
770 | 14.072 | 1.856 | 0.00051701
770.5 | 14.134 | 1.918 | 0.00053428
771 | 14.064 | 1.848 | 0.00051478
771.5 | 13.699 | 1.483 | 0.00041311
772 | 13.459 | 1.243 | 0.00034625
772.5 | 13.557 | 1.341 | 0.00037355
773 | 13.751 | 1.535 | 0.00042759
773.5 | 13.75 | 1.534 | 0.00042731
774 | 13.748 | 1.532 | 0.00042675
774.5 | 13.702 | 1.486 | 0.00041394
775 | 13.724 | 1.508 | 0.00042007
775.5 | 13.88 | 1.664 | 0.00046352
776 | 14.231 | 2.015 | 0.0005613
776.5 | 14.195 | 1.979 | 0.00055127
777 | 13.805 | 1.589 | 0.00044263
777.5 | 13.322 | 1.106 | 0.00030809
778 | 13.457 | 1.241 | 0.00034569
778.5 | 13.288 | 1.072 | 0.00029862
779 | 13.15 | 0.934 | 0.00026018
779.5 | 12.727 | 0.511 | 0.00014234
780 | 12.092 | 0 | 0
780.5 | 11.551 | 0 | 0
781 | 11.399 | 0 | 0
781.5 | 11.429 | 0 | 0
782 | 11.662 | 0 | 0
782.5 | 11.318 | 0 | 0
783 | 11.216 | 0 | 0
783.5 | 11.557 | 0 | 0
784 | 11.767 | 0 | 0
784.5 | 11.93 | 0 | 0
785 | 11.933 | 0 | 0
785.5 | 11.896 | 0 | 0
786 | 11.887 | 0 | 0
786.5 | 11.912 | 0 | 0
787 | 12.179 | 0 | 0
787.5 | 12.298 | 0.082 | 2.2842e-05
788 | 12.252 | 0.036 | 1.0028e-05
788.5 | 12.283 | 0.067 | 1.8664e-05
789 | 12.193 | 0 | 0
789.5 | 11.928 | 0 | 0
790 | 12.195 | 0 | 0
790.5 | 12.585 | 0.369 | 0.00010279
791 | 12.611 | 0.395 | 0.00011003
791.5 | 12.46 | 0.244 | 6.7969e-05
792 | 12.324 | 0.108 | 3.0085e-05
792.5 | 12.264 | 0.048 | 1.3371e-05
793 | 12.586 | 0.37 | 0.00010307
793.5 | 12.785 | 0.569 | 0.0001585
794 | 13.27 | 1.054 | 0.0002936
794.5 | 13.225 | 1.009 | 0.00028107
795 | 13.113 | 0.897 | 0.00024987
795.5 | 13.371 | 1.155 | 0.00032174
796 | 13.674 | 1.458 | 0.00040614
796.5 | 13.692 | 1.476 | 0.00041116
797 | 13.629 | 1.413 | 0.00039361
797.5 | 13.356 | 1.14 | 0.00031756
798 | 13.517 | 1.301 | 0.00036241
798.5 | 13.302 | 1.086 | 0.00030252
799 | 13.358 | 1.142 | 0.00031812
799.5 | 13.32 | 1.104 | 0.00030753
800 | 13.133 | 0.917 | 0.00025544
800.5 | 13.132 | 0.916 | 0.00025516
801 | 13.48 | 1.264 | 0.0003521
801.5 | 13.535 | 1.319 | 0.00036742
802 | 13.234 | 1.018 | 0.00028357
802.5 | 12.929 | 0.713 | 0.00019861
803 | 13.136 | 0.92 | 0.00025628
803.5 | 12.968 | 0.752 | 0.00020948
804 | 13.017 | 0.801 | 0.00022313
804.5 | 12.83 | 0.614 | 0.00017104
805 | 12.249 | 0.033 | 9.1925e-06
805.5 | 11.98 | 0 | 0
806 | 11.945 | 0 | 0
806.5 | 12.264 | 0.048 | 1.3371e-05
807 | 12.193 | 0 | 0
807.5 | 12.13 | 0 | 0
808 | 12.148 | 0 | 0
808.5 | 12.134 | 0 | 0
809 | 12.172 | 0 | 0
809.5 | 12.443 | 0.227 | 6.3233e-05
810 | 12.354 | 0.138 | 3.8441e-05
810.5 | 12.143 | 0 | 0
811 | 11.974 | 0 | 0
811.5 | 12.082 | 0 | 0
812 | 12.116 | 0 | 0
812.5 | 12.118 | 0 | 0
813 | 12.276 | 0.06 | 1.6714e-05
813.5 | 12.434 | 0.218 | 6.0726e-05
814 | 12.596 | 0.38 | 0.00010585
814.5 | 12.634 | 0.418 | 0.00011644
815 | 13.089 | 0.873 | 0.00024318
815.5 | 13.289 | 1.073 | 0.0002989
816 | 13.422 | 1.206 | 0.00033594
816.5 | 13.557 | 1.341 | 0.00037355
817 | 13.676 | 1.46 | 0.0004067
817.5 | 13.918 | 1.702 | 0.00047411
818 | 14.238 | 2.022 | 0.00056325
818.5 | 14.58 | 2.364 | 0.00065852
819 | 14.667 | 2.451 | 0.00068275
819.5 | 14.204 | 1.988 | 0.00055378
820 | 14.351 | 2.135 | 0.00059473
820.5 | 14.037 | 1.821 | 0.00050726
821 | 14.227 | 2.011 | 0.00056019
821.5 | 14.08 | 1.864 | 0.00051924
822 | 13.883 | 1.667 | 0.00046436
822.5 | 13.711 | 1.495 | 0.00041645
823 | 13.646 | 1.43 | 0.00039834
823.5 | 13.701 | 1.485 | 0.00041366
824 | 13.673 | 1.457 | 0.00040586
824.5 | 13.326 | 1.11 | 0.0003092
825 | 13.327 | 1.111 | 0.00030948
825.5 | 12.879 | 0.663 | 0.00018469
826 | 12.411 | 0.195 | 5.4319e-05
826.5 | 11.951 | 0 | 0
827 | 11.642 | 0 | 0
827.5 | 11.399 | 0 | 0
828 | 11.291 | 0 | 0
828.5 | 11.058 | 0 | 0
829 | 10.745 | 0 | 0
829.5 | 10.583 | 0 | 0
830 | 10.692 | 0 | 0
830.5 | 10.84 | 0 | 0
831 | 11.002 | 0 | 0
831.5 | 10.955 | 0 | 0
832 | 11.103 | 0 | 0
832.5 | 11.113 | 0 | 0
833 | 11.729 | 0 | 0
833.5 | 11.998 | 0 | 0
834 | 11.669 | 0 | 0
834.5 | 11.716 | 0 | 0
835 | 11.99 | 0 | 0
835.5 | 12.002 | 0 | 0
836 | 11.956 | 0 | 0
836.5 | 11.562 | 0 | 0
837 | 11.454 | 0 | 0
837.5 | 11.225 | 0 | 0
838 | 11.559 | 0 | 0
838.5 | 12.247 | 0.031 | 8.6354e-06
839 | 12.162 | 0 | 0
839.5 | 11.994 | 0 | 0
840 | 11.969 | 0 | 0
840.5 | 12.281 | 0.065 | 1.8106e-05
841 | 12.572 | 0.356 | 9.9168e-05
841.5 | 12.645 | 0.429 | 0.0001195
842 | 12.447 | 0.231 | 6.4347e-05
842.5 | 12.037 | 0 | 0
843 | 11.498 | 0 | 0
843.5 | 11.269 | 0 | 0
844 | 11.246 | 0 | 0
844.5 | 11.115 | 0 | 0
845 | 11.005 | 0 | 0
845.5 | 10.715 | 0 | 0
846 | 11.001 | 0 | 0
846.5 | 11.194 | 0 | 0
847 | 11.28 | 0 | 0
847.5 | 11.393 | 0 | 0
848 | 11.3 | 0 | 0
848.5 | 11.444 | 0 | 0
849 | 11.418 | 0 | 0
849.5 | 11.166 | 0 | 0
850 | 10.88 | 0 | 0
850.5 | 9.9578 | 0 | 0
851 | 9.5979 | 0 | 0
851.5 | 9.2787 | 0 | 0
852 | 9.6522 | 0 | 0
852.5 | 9.44 | 0 | 0
853 | 9.4283 | 0 | 0
853.5 | 9.5279 | 0 | 0
854 | 10.087 | 0 | 0
854.5 | 11.006 | 0 | 0
855 | 11.657 | 0 | 0
855.5 | 11.85 | 0 | 0
856 | 11.678 | 0 | 0
856.5 | 11.764 | 0 | 0
857 | 11.967 | 0 | 0
857.5 | 12.392 | 0.176 | 4.9027e-05
858 | 12.488 | 0.272 | 7.5768e-05
858.5 | 12.02 | 0 | 0
859 | 11.455 | 0 | 0
859.5 | 11.204 | 0 | 0
860 | 11.218 | 0 | 0
860.5 | 11.063 | 0 | 0
861 | 10.736 | 0 | 0
861.5 | 10.159 | 0 | 0
862 | 9.9674 | 0 | 0
862.5 | 9.9895 | 0 | 0
863 | 10.283 | 0 | 0
863.5 | 10.843 | 0 | 0
864 | 11.08 | 0 | 0
864.5 | 11.379 | 0 | 0
865 | 11.645 | 0 | 0
865.5 | 12.346 | 0.13 | 3.6213e-05
866 | 12.414 | 0.198 | 5.5155e-05
866.5 | 12.136 | 0 | 0
867 | 12.213 | 0 | 0
867.5 | 11.986 | 0 | 0
868 | 11.962 | 0 | 0
868.5 | 12.343 | 0.127 | 3.5377e-05
869 | 12.688 | 0.472 | 0.00013148
869.5 | 12.644 | 0.428 | 0.00011922
870 | 12.735 | 0.519 | 0.00014457
870.5 | 13.241 | 1.025 | 0.00028552
871 | 13.351 | 1.135 | 0.00031617
871.5 | 13.364 | 1.148 | 0.00031979
872 | 13.445 | 1.229 | 0.00034235
872.5 | 12.909 | 0.693 | 0.00019304
873 | 12.529 | 0.313 | 8.7189e-05
873.5 | 12.331 | 0.115 | 3.2034e-05
874 | 12.064 | 0 | 0
874.5 | 11.815 | 0 | 0
875 | 11.913 | 0 | 0
875.5 | 11.705 | 0 | 0
876 | 11 | 0 | 0
876.5 | 10.623 | 0 | 0
877 | 10.398 | 0 | 0
877.5 | 9.9867 | 0 | 0
878 | 9.7242 | 0 | 0
878.5 | 9.4125 | 0 | 0
879 | 8.7358 | 0 | 0
879.5 | 8.6319 | 0 | 0
880 | 9.3219 | 0 | 0
880.5 | 9.6531 | 0 | 0
881 | 10.127 | 0 | 0
881.5 | 10.303 | 0 | 0
882 | 10.697 | 0 | 0
882.5 | 10.812 | 0 | 0
883 | 10.737 | 0 | 0
883.5 | 11.871 | 0 | 0
884 | 8.2147 | 0 | 0
884.5 | 6.8894 | 0 | 0
885 | 18.284 | 6.068 | 0.0016903
885.5 | 13.413 | 1.197 | 0.00033344
886 | -21.678 | 0 | 0
886.5 | 6.0837 | 0 | 0