## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 19.8 | 0 | 0
246.5 | 18.464 | 0 | 0
247 | 20.382 | 0.432 | 0.00018331
247.5 | 20.768 | 0.818 | 0.0003471
248 | 21.711 | 1.761 | 0.00074725
248.5 | 21.03 | 1.08 | 0.00045828
249 | 18.734 | 0 | 0
249.5 | 18.934 | 0 | 0
250 | 18.751 | 0 | 0
250.5 | 19.95 | 0 | 0
251 | 22.03 | 2.08 | 0.00088261
251.5 | 20.691 | 0.741 | 0.00031443
252 | 22.892 | 2.942 | 0.0012484
252.5 | 23.656 | 3.706 | 0.0015726
253 | 25.181 | 5.231 | 0.0022197
253.5 | 27.631 | 7.681 | 0.0032593
254 | 24.726 | 4.776 | 0.0020266
254.5 | 23.66 | 3.71 | 0.0015743
255 | 19.642 | 0 | 0
255.5 | 22.485 | 2.535 | 0.0010757
256 | 24.208 | 4.258 | 0.0018068
256.5 | 21.229 | 1.279 | 0.00054272
257 | 21.836 | 1.886 | 0.00080029
257.5 | 21.805 | 1.855 | 0.00078713
258 | 21.924 | 1.974 | 0.00083763
258.5 | 21.953 | 2.003 | 0.00084994
259 | 21.973 | 2.023 | 0.00085842
259.5 | 21.846 | 1.896 | 0.00080453
260 | 22.034 | 2.084 | 0.00088431
260.5 | 22.395 | 2.445 | 0.0010375
261 | 22.653 | 2.703 | 0.001147
261.5 | 22.895 | 2.945 | 0.0012497
262 | 22.996 | 3.046 | 0.0012925
262.5 | 23.056 | 3.106 | 0.001318
263 | 23.24 | 3.29 | 0.001396
263.5 | 23.35 | 3.4 | 0.0014427
264 | 23.391 | 3.441 | 0.0014601
264.5 | 23.358 | 3.408 | 0.0014461
265 | 23.342 | 3.392 | 0.0014393
265.5 | 23.309 | 3.359 | 0.0014253
266 | 23.16 | 3.21 | 0.0013621
266.5 | 23.124 | 3.174 | 0.0013468
267 | 22.8 | 2.85 | 0.0012093
267.5 | 22.553 | 2.603 | 0.0011045
268 | 22.328 | 2.378 | 0.0010091
268.5 | 22.301 | 2.351 | 0.0009976
269 | 22.36 | 2.41 | 0.0010226
269.5 | 22.412 | 2.462 | 0.0010447
270 | 22.484 | 2.534 | 0.0010753
270.5 | 22.734 | 2.784 | 0.0011813
271 | 22.782 | 2.832 | 0.0012017
271.5 | 22.776 | 2.826 | 0.0011992
272 | 22.908 | 2.958 | 0.0012552
272.5 | 22.965 | 3.015 | 0.0012794
273 | 22.906 | 2.956 | 0.0012543
273.5 | 23.17 | 3.22 | 0.0013663
274 | 23.374 | 3.424 | 0.0014529
274.5 | 23.206 | 3.256 | 0.0013816
275 | 23.05 | 3.1 | 0.0013154
275.5 | 22.656 | 2.706 | 0.0011482
276 | 22.5 | 2.55 | 0.001082
276.5 | 22.399 | 2.449 | 0.0010392
277 | 22.199 | 2.249 | 0.00095432
277.5 | 22.233 | 2.283 | 0.00096875
278 | 22.403 | 2.453 | 0.0010409
278.5 | 22.553 | 2.603 | 0.0011045
279 | 22.59 | 2.64 | 0.0011202
279.5 | 22.593 | 2.643 | 0.0011215
280 | 22.379 | 2.429 | 0.0010307
280.5 | 22.183 | 2.233 | 0.00094753
281 | 22.27 | 2.32 | 0.00098445
281.5 | 22.442 | 2.492 | 0.0010574
282 | 22.728 | 2.778 | 0.0011788
282.5 | 22.776 | 2.826 | 0.0011992
283 | 22.865 | 2.915 | 0.0012369
283.5 | 23.087 | 3.137 | 0.0013311
284 | 22.963 | 3.013 | 0.0012785
284.5 | 22.54 | 2.59 | 0.001099
285 | 22.123 | 2.173 | 0.00092207
285.5 | 21.992 | 2.042 | 0.00086648
286 | 22.083 | 2.133 | 0.0009051
286.5 | 22.264 | 2.314 | 0.0009819
287 | 22.441 | 2.491 | 0.001057
287.5 | 22.505 | 2.555 | 0.0010842
288 | 22.643 | 2.693 | 0.0011427
288.5 | 22.929 | 2.979 | 0.0012641
289 | 23.105 | 3.155 | 0.0013388
289.5 | 22.991 | 3.041 | 0.0012904
290 | 22.663 | 2.713 | 0.0011512
290.5 | 22.41 | 2.46 | 0.0010439
291 | 22.659 | 2.709 | 0.0011495
291.5 | 23.007 | 3.057 | 0.0012972
292 | 23.144 | 3.194 | 0.0013553
292.5 | 22.942 | 2.992 | 0.0012696
293 | 22.691 | 2.741 | 0.0011631
293.5 | 22.477 | 2.527 | 0.0010723
294 | 22.512 | 2.562 | 0.0010871
294.5 | 22.313 | 2.363 | 0.0010027
295 | 21.979 | 2.029 | 0.00086097
295.5 | 21.91 | 1.96 | 0.00083169
296 | 22.104 | 2.154 | 0.00091401
296.5 | 22.142 | 2.192 | 0.00093013
297 | 22.475 | 2.525 | 0.0010714
297.5 | 22.666 | 2.716 | 0.0011525
298 | 22.67 | 2.72 | 0.0011542
298.5 | 22.762 | 2.812 | 0.0011932
299 | 23.066 | 3.116 | 0.0013222
299.5 | 23.355 | 3.405 | 0.0014448
300 | 23.28 | 3.33 | 0.001413
300.5 | 23.131 | 3.181 | 0.0013498
301 | 23.179 | 3.229 | 0.0013702
301.5 | 23.218 | 3.268 | 0.0013867
302 | 23.143 | 3.193 | 0.0013549
302.5 | 23.149 | 3.199 | 0.0013574
303 | 23.296 | 3.346 | 0.0014198
303.5 | 23.245 | 3.295 | 0.0013982
304 | 23.126 | 3.176 | 0.0013477
304.5 | 23.232 | 3.282 | 0.0013927
305 | 23.231 | 3.281 | 0.0013922
305.5 | 23.09 | 3.14 | 0.0013324
306 | 22.924 | 2.974 | 0.001262
306.5 | 23.101 | 3.151 | 0.0013371
307 | 23.284 | 3.334 | 0.0014147
307.5 | 23.331 | 3.381 | 0.0014347
308 | 23.453 | 3.503 | 0.0014864
308.5 | 23.584 | 3.634 | 0.001542
309 | 23.477 | 3.527 | 0.0014966
309.5 | 23.246 | 3.296 | 0.0013986
310 | 23.226 | 3.276 | 0.0013901
310.5 | 23.162 | 3.212 | 0.001363
311 | 22.854 | 2.904 | 0.0012323
311.5 | 22.691 | 2.741 | 0.0011631
312 | 22.698 | 2.748 | 0.0011661
312.5 | 22.997 | 3.047 | 0.0012929
313 | 23.308 | 3.358 | 0.0014249
313.5 | 23.501 | 3.551 | 0.0015068
314 | 23.471 | 3.521 | 0.0014941
314.5 | 23.292 | 3.342 | 0.0014181
315 | 23.094 | 3.144 | 0.0013341
315.5 | 23.071 | 3.121 | 0.0013243
316 | 23.231 | 3.281 | 0.0013922
316.5 | 23.441 | 3.491 | 0.0014813
317 | 23.751 | 3.801 | 0.0016129
317.5 | 24.175 | 4.225 | 0.0017928
318 | 24.327 | 4.377 | 0.0018573
318.5 | 24.383 | 4.433 | 0.0018811
319 | 24.289 | 4.339 | 0.0018412
319.5 | 24.043 | 4.093 | 0.0017368
320 | 23.818 | 3.868 | 0.0016413
320.5 | 23.856 | 3.906 | 0.0016574
321 | 24.055 | 4.105 | 0.0017419
321.5 | 24.166 | 4.216 | 0.001789
322 | 24.23 | 4.28 | 0.0018161
322.5 | 24.33 | 4.38 | 0.0018586
323 | 24.3 | 4.35 | 0.0018458
323.5 | 24.183 | 4.233 | 0.0017962
324 | 24.137 | 4.187 | 0.0017767
324.5 | 24.201 | 4.251 | 0.0018038
325 | 24.281 | 4.331 | 0.0018378
325.5 | 24.26 | 4.31 | 0.0018289
326 | 24.319 | 4.369 | 0.0018539
326.5 | 24.359 | 4.409 | 0.0018709
327 | 24.296 | 4.346 | 0.0018441
327.5 | 24.222 | 4.272 | 0.0018127
328 | 24.168 | 4.218 | 0.0017898
328.5 | 23.992 | 4.042 | 0.0017151
329 | 24.065 | 4.115 | 0.0017461
329.5 | 23.988 | 4.038 | 0.0017134
330 | 23.751 | 3.801 | 0.0016129
330.5 | 23.306 | 3.356 | 0.0014241
331 | 23.172 | 3.222 | 0.0013672
331.5 | 23.144 | 3.194 | 0.0013553
332 | 23.14 | 3.19 | 0.0013536
332.5 | 23.097 | 3.147 | 0.0013354
333 | 23.013 | 3.063 | 0.0012997
333.5 | 22.978 | 3.028 | 0.0012849
334 | 23.217 | 3.267 | 0.0013863
334.5 | 23.422 | 3.472 | 0.0014733
335 | 23.405 | 3.455 | 0.0014661
335.5 | 22.962 | 3.012 | 0.0012781
336 | 22.725 | 2.775 | 0.0011775
336.5 | 22.636 | 2.686 | 0.0011398
337 | 22.513 | 2.563 | 0.0010876
337.5 | 22.134 | 2.184 | 0.00092674
338 | 21.711 | 1.761 | 0.00074725
338.5 | 21.495 | 1.545 | 0.00065559
339 | 21.358 | 1.408 | 0.00059746
339.5 | 21.252 | 1.302 | 0.00055248
340 | 21.11 | 1.16 | 0.00049222
340.5 | 20.765 | 0.815 | 0.00034583
341 | 20.604 | 0.654 | 0.00027751
341.5 | 20.907 | 0.957 | 0.00040608
342 | 21.298 | 1.348 | 0.000572
342.5 | 21.64 | 1.69 | 0.00071712
343 | 22.102 | 2.152 | 0.00091316
343.5 | 22.596 | 2.646 | 0.0011228
344 | 23.193 | 3.243 | 0.0013761
344.5 | 23.652 | 3.702 | 0.0015709
345 | 23.688 | 3.738 | 0.0015861
345.5 | 23.7 | 3.75 | 0.0015912
346 | 23.845 | 3.895 | 0.0016528
346.5 | 23.902 | 3.952 | 0.001677
347 | 23.893 | 3.943 | 0.0016731
347.5 | 23.911 | 3.961 | 0.0016808
348 | 24.179 | 4.229 | 0.0017945
348.5 | 24.71 | 4.76 | 0.0020198
349 | 24.873 | 4.923 | 0.002089
349.5 | 24.836 | 4.886 | 0.0020733
350 | 24.743 | 4.793 | 0.0020338
350.5 | 24.51 | 4.56 | 0.001935
351 | 24.414 | 4.464 | 0.0018942
351.5 | 24.496 | 4.546 | 0.001929
352 | 24.678 | 4.728 | 0.0020062
352.5 | 24.698 | 4.748 | 0.0020147
353 | 24.822 | 4.872 | 0.0020673
353.5 | 25.216 | 5.266 | 0.0022345
354 | 25.447 | 5.497 | 0.0023325
354.5 | 25.017 | 5.067 | 0.0021501
355 | 24.356 | 4.406 | 0.0018696
355.5 | 23.999 | 4.049 | 0.0017181
356 | 23.967 | 4.017 | 0.0017045
356.5 | 24.016 | 4.066 | 0.0017253
357 | 23.936 | 3.986 | 0.0016914
357.5 | 23.925 | 3.975 | 0.0016867
358 | 23.835 | 3.885 | 0.0016485
358.5 | 23.75 | 3.8 | 0.0016125
359 | 23.748 | 3.798 | 0.0016116
359.5 | 23.507 | 3.557 | 0.0015093
360 | 23.149 | 3.199 | 0.0013574
360.5 | 22.873 | 2.923 | 0.0012403
361 | 22.962 | 3.012 | 0.0012781
361.5 | 23.275 | 3.325 | 0.0014109
362 | 23.672 | 3.722 | 0.0015794
362.5 | 23.718 | 3.768 | 0.0015989
363 | 23.796 | 3.846 | 0.001632
363.5 | 24.014 | 4.064 | 0.0017245
364 | 24.176 | 4.226 | 0.0017932
364.5 | 24.329 | 4.379 | 0.0018581
365 | 24.431 | 4.481 | 0.0019014
365.5 | 24.513 | 4.563 | 0.0019362
366 | 24.699 | 4.749 | 0.0020151
366.5 | 24.664 | 4.714 | 0.0020003
367 | 24.774 | 4.824 | 0.002047
367.5 | 24.635 | 4.685 | 0.001988
368 | 24.366 | 4.416 | 0.0018738
368.5 | 24.157 | 4.207 | 0.0017852
369 | 24.149 | 4.199 | 0.0017818
369.5 | 24.023 | 4.073 | 0.0017283
370 | 23.785 | 3.835 | 0.0016273
370.5 | 23.453 | 3.503 | 0.0014864
371 | 23.295 | 3.345 | 0.0014194
371.5 | 23.236 | 3.286 | 0.0013944
372 | 23.236 | 3.286 | 0.0013944
372.5 | 23.268 | 3.318 | 0.0014079
373 | 23.2 | 3.25 | 0.0013791
373.5 | 23.035 | 3.085 | 0.0013091
374 | 23.069 | 3.119 | 0.0013235
374.5 | 23.006 | 3.056 | 0.0012968
375 | 22.775 | 2.825 | 0.0011987
375.5 | 22.521 | 2.571 | 0.001091
376 | 22.49 | 2.54 | 0.0010778
376.5 | 22.623 | 2.673 | 0.0011342
377 | 22.587 | 2.637 | 0.001119
377.5 | 22.648 | 2.698 | 0.0011448
378 | 22.835 | 2.885 | 0.0012242
378.5 | 22.845 | 2.895 | 0.0012284
379 | 23.079 | 3.129 | 0.0013277
379.5 | 23.236 | 3.286 | 0.0013944
380 | 23.386 | 3.436 | 0.001458
380.5 | 23.419 | 3.469 | 0.001472
381 | 23.365 | 3.415 | 0.0014491
381.5 | 23.629 | 3.679 | 0.0015611
382 | 23.77 | 3.82 | 0.0016209
382.5 | 23.98 | 4.03 | 0.0017101
383 | 24.151 | 4.201 | 0.0017826
383.5 | 24.617 | 4.667 | 0.0019804
384 | 24.722 | 4.772 | 0.0020249
384.5 | 25.127 | 5.177 | 0.0021968
385 | 25.259 | 5.309 | 0.0022528
385.5 | 25.279 | 5.329 | 0.0022613
386 | 25.1 | 5.15 | 0.0021853
386.5 | 25.168 | 5.218 | 0.0022142
387 | 25.29 | 5.34 | 0.0022659
387.5 | 25.754 | 5.804 | 0.0024628
388 | 25.845 | 5.895 | 0.0025014
388.5 | 25.817 | 5.867 | 0.0024896
389 | 25.771 | 5.821 | 0.00247
389.5 | 25.512 | 5.562 | 0.0023601
390 | 25.18 | 5.23 | 0.0022193
390.5 | 24.726 | 4.776 | 0.0020266
391 | 24.26 | 4.31 | 0.0018289
391.5 | 23.994 | 4.044 | 0.001716
392 | 23.978 | 4.028 | 0.0017092
392.5 | 24.082 | 4.132 | 0.0017533
393 | 24.164 | 4.214 | 0.0017881
393.5 | 24.074 | 4.124 | 0.0017499
394 | 23.982 | 4.032 | 0.0017109
394.5 | 23.985 | 4.035 | 0.0017122
395 | 24.227 | 4.277 | 0.0018149
395.5 | 24.494 | 4.544 | 0.0019282
396 | 24.762 | 4.812 | 0.0020419
396.5 | 24.811 | 4.861 | 0.0020627
397 | 24.835 | 4.885 | 0.0020729
397.5 | 24.886 | 4.936 | 0.0020945
398 | 24.751 | 4.801 | 0.0020372
398.5 | 24.737 | 4.787 | 0.0020313
399 | 24.914 | 4.964 | 0.0021064
399.5 | 25.076 | 5.126 | 0.0021751
400 | 25.192 | 5.242 | 0.0022243
400.5 | 25.288 | 5.338 | 0.0022651
401 | 25.153 | 5.203 | 0.0022078
401.5 | 24.897 | 4.947 | 0.0020992
402 | 24.75 | 4.8 | 0.0020368
402.5 | 24.75 | 4.8 | 0.0020368
403 | 24.899 | 4.949 | 0.0021
403.5 | 25.118 | 5.168 | 0.0021929
404 | 25.332 | 5.382 | 0.0022838
404.5 | 25.497 | 5.547 | 0.0023538
405 | 25.575 | 5.625 | 0.0023869
405.5 | 25.338 | 5.388 | 0.0022863
406 | 25.176 | 5.226 | 0.0022176
406.5 | 25.027 | 5.077 | 0.0021543
407 | 25.111 | 5.161 | 0.00219
407.5 | 25.226 | 5.276 | 0.0022388
408 | 25.207 | 5.257 | 0.0022307
408.5 | 25.23 | 5.28 | 0.0022405
409 | 25.159 | 5.209 | 0.0022103
409.5 | 25.18 | 5.23 | 0.0022193
410 | 25.309 | 5.359 | 0.002274
410.5 | 25.314 | 5.364 | 0.0022761
411 | 25.124 | 5.174 | 0.0021955
411.5 | 24.853 | 4.903 | 0.0020805
412 | 24.809 | 4.859 | 0.0020618
412.5 | 24.857 | 4.907 | 0.0020822
413 | 24.906 | 4.956 | 0.002103
413.5 | 24.836 | 4.886 | 0.0020733
414 | 24.861 | 4.911 | 0.0020839
414.5 | 24.804 | 4.854 | 0.0020597
415 | 25.027 | 5.077 | 0.0021543
415.5 | 25.034 | 5.084 | 0.0021573
416 | 25.047 | 5.097 | 0.0021628
416.5 | 25.306 | 5.356 | 0.0022727
417 | 25.531 | 5.581 | 0.0023682
417.5 | 25.744 | 5.794 | 0.0024586
418 | 25.933 | 5.983 | 0.0025388
418.5 | 26.091 | 6.141 | 0.0026058
419 | 26.319 | 6.369 | 0.0027026
419.5 | 26.427 | 6.477 | 0.0027484
420 | 26.556 | 6.606 | 0.0028031
420.5 | 26.787 | 6.837 | 0.0029012
421 | 26.738 | 6.788 | 0.0028804
421.5 | 26.547 | 6.597 | 0.0027993
422 | 26.453 | 6.503 | 0.0027594
422.5 | 26.296 | 6.346 | 0.0026928
423 | 26.273 | 6.323 | 0.002683
423.5 | 26.397 | 6.447 | 0.0027357
424 | 26.446 | 6.496 | 0.0027565
424.5 | 26.364 | 6.414 | 0.0027217
425 | 25.792 | 5.842 | 0.0024789
425.5 | 25.33 | 5.38 | 0.0022829
426 | 25.101 | 5.151 | 0.0021857
426.5 | 25.09 | 5.14 | 0.0021811
427 | 25.17 | 5.22 | 0.002215
427.5 | 25.568 | 5.618 | 0.0023839
428 | 25.614 | 5.664 | 0.0024034
428.5 | 25.61 | 5.66 | 0.0024017
429 | 25.497 | 5.547 | 0.0023538
429.5 | 25.443 | 5.493 | 0.0023309
430 | 25.291 | 5.341 | 0.0022664
430.5 | 25.137 | 5.187 | 0.002201
431 | 25.398 | 5.448 | 0.0023118
431.5 | 25.901 | 5.951 | 0.0025252
432 | 26.081 | 6.131 | 0.0026016
432.5 | 26.095 | 6.145 | 0.0026075
433 | 25.979 | 6.029 | 0.0025583
433.5 | 25.732 | 5.782 | 0.0024535
434 | 25.686 | 5.736 | 0.002434
434.5 | 25.863 | 5.913 | 0.0025091
435 | 26.062 | 6.112 | 0.0025935
435.5 | 26.15 | 6.2 | 0.0026309
436 | 26.356 | 6.406 | 0.0027183
436.5 | 26.453 | 6.503 | 0.0027594
437 | 26.412 | 6.462 | 0.002742
437.5 | 26.235 | 6.285 | 0.0026669
438 | 26.345 | 6.395 | 0.0027136
438.5 | 26.405 | 6.455 | 0.0027391
439 | 26.675 | 6.725 | 0.0028536
439.5 | 26.757 | 6.807 | 0.0028884
440 | 26.709 | 6.759 | 0.0028681
440.5 | 26.625 | 6.675 | 0.0028324
441 | 26.495 | 6.545 | 0.0027772
441.5 | 26.44 | 6.49 | 0.0027539
442 | 26.437 | 6.487 | 0.0027526
442.5 | 26.365 | 6.415 | 0.0027221
443 | 26.286 | 6.336 | 0.0026886
443.5 | 26.332 | 6.382 | 0.0027081
444 | 26.361 | 6.411 | 0.0027204
444.5 | 26.278 | 6.328 | 0.0026852
445 | 26.037 | 6.087 | 0.0025829
445.5 | 25.899 | 5.949 | 0.0025243
446 | 26.049 | 6.099 | 0.002588
446.5 | 26.087 | 6.137 | 0.0026041
447 | 26.151 | 6.201 | 0.0026313
447.5 | 26.398 | 6.448 | 0.0027361
448 | 26.931 | 6.981 | 0.0029623
448.5 | 27.692 | 7.742 | 0.0032852
449 | 28.432 | 8.482 | 0.0035992
449.5 | 28.982 | 9.032 | 0.0038326
450 | 29.078 | 9.128 | 0.0038733
450.5 | 29.256 | 9.306 | 0.0039488
451 | 29.477 | 9.527 | 0.0040426
451.5 | 29.885 | 9.935 | 0.0042157
452 | 30.318 | 10.368 | 0.0043995
452.5 | 30.756 | 10.806 | 0.0045853
453 | 31.188 | 11.238 | 0.0047686
453.5 | 31.444 | 11.494 | 0.0048773
454 | 31.421 | 11.471 | 0.0048675
454.5 | 31.304 | 11.354 | 0.0048179
455 | 31.286 | 11.336 | 0.0048102
455.5 | 31.236 | 11.286 | 0.004789
456 | 31.542 | 11.592 | 0.0049188
456.5 | 32.023 | 12.073 | 0.0051229
457 | 32.53 | 12.58 | 0.0053381
457.5 | 32.749 | 12.799 | 0.005431
458 | 32.884 | 12.934 | 0.0054883
458.5 | 32.938 | 12.988 | 0.0055112
459 | 32.848 | 12.898 | 0.005473
459.5 | 32.896 | 12.946 | 0.0054934
460 | 33.207 | 13.257 | 0.0056254
460.5 | 33.743 | 13.793 | 0.0058528
461 | 34.296 | 14.346 | 0.0060875
461.5 | 35.127 | 15.177 | 0.0064401
462 | 36.161 | 16.211 | 0.0068788
462.5 | 36.867 | 16.917 | 0.0071784
463 | 37.588 | 17.638 | 0.0074844
463.5 | 38.458 | 18.508 | 0.0078535
464 | 39.371 | 19.421 | 0.0082409
464.5 | 40.485 | 20.535 | 0.0087136
465 | 41.771 | 21.821 | 0.0092593
465.5 | 42.731 | 22.781 | 0.0096667
466 | 43.551 | 23.601 | 0.010015
466.5 | 44.292 | 24.342 | 0.010329
467 | 45.365 | 25.415 | 0.010784
467.5 | 46.411 | 26.461 | 0.011228
468 | 47.323 | 27.373 | 0.011615
468.5 | 48.728 | 28.778 | 0.012211
469 | 50.151 | 30.201 | 0.012815
469.5 | 51.757 | 31.807 | 0.013497
470 | 53.427 | 33.477 | 0.014205
470.5 | 55.141 | 35.191 | 0.014933
471 | 57.177 | 37.227 | 0.015797
471.5 | 59.493 | 39.543 | 0.016779
472 | 61.992 | 42.042 | 0.01784
472.5 | 64.658 | 44.708 | 0.018971
473 | 67.166 | 47.216 | 0.020035
473.5 | 69.846 | 49.896 | 0.021172
474 | 72.719 | 52.769 | 0.022392
474.5 | 75.606 | 55.656 | 0.023617
475 | 78.715 | 58.765 | 0.024936
475.5 | 82.095 | 62.145 | 0.02637
476 | 85.668 | 65.718 | 0.027886
476.5 | 89.482 | 69.532 | 0.029505
477 | 93.484 | 73.534 | 0.031203
477.5 | 97.91 | 77.96 | 0.033081
478 | 102.23 | 82.28 | 0.034914
478.5 | 106.62 | 86.67 | 0.036777
479 | 111.25 | 91.3 | 0.038741
479.5 | 116.15 | 96.2 | 0.040821
480 | 121.32 | 101.37 | 0.043014
480.5 | 126.67 | 106.72 | 0.045285
481 | 132.2 | 112.25 | 0.047631
481.5 | 137.8 | 117.85 | 0.050007
482 | 144.27 | 124.32 | 0.052753
482.5 | 150.91 | 130.96 | 0.05557
483 | 157.87 | 137.92 | 0.058524
483.5 | 165.35 | 145.4 | 0.061698
484 | 173.73 | 153.78 | 0.065254
484.5 | 182.77 | 162.82 | 0.06909
485 | 192.28 | 172.33 | 0.073125
485.5 | 201.87 | 181.92 | 0.077194
486 | 211.8 | 191.85 | 0.081408
486.5 | 222.55 | 202.6 | 0.085969
487 | 234.02 | 214.07 | 0.090837
487.5 | 246.2 | 226.25 | 0.096005
488 | 258.19 | 238.24 | 0.10109
488.5 | 270.71 | 250.76 | 0.10641
489 | 283.78 | 263.83 | 0.11195
489.5 | 297.35 | 277.4 | 0.11771
490 | 311.58 | 291.63 | 0.12375
490.5 | 326.76 | 306.81 | 0.13019
491 | 343.07 | 323.12 | 0.13711
491.5 | 360.6 | 340.65 | 0.14455
492 | 379.25 | 359.3 | 0.15246
492.5 | 398.47 | 378.52 | 0.16062
493 | 418.7 | 398.75 | 0.1692
493.5 | 440.02 | 420.07 | 0.17825
494 | 462.67 | 442.72 | 0.18786
494.5 | 486 | 466.05 | 0.19776
495 | 510.21 | 490.26 | 0.20803
495.5 | 535.37 | 515.42 | 0.21871
496 | 561.22 | 541.27 | 0.22968
496.5 | 588.24 | 568.29 | 0.24114
497 | 616.18 | 596.23 | 0.253
497.5 | 645.07 | 625.12 | 0.26526
498 | 675.14 | 655.19 | 0.27802
498.5 | 706.36 | 686.41 | 0.29127
499 | 738.54 | 718.59 | 0.30492
499.5 | 771.69 | 751.74 | 0.31899
500 | 805.65 | 785.7 | 0.3334
500.5 | 841.16 | 821.21 | 0.34846
501 | 877.95 | 858 | 0.36408
501.5 | 915.62 | 895.67 | 0.38006
502 | 954.26 | 934.31 | 0.39646
502.5 | 993.39 | 973.44 | 0.41306
503 | 1033.2 | 1013.25 | 0.42995
503.5 | 1073.9 | 1053.95 | 0.44722
504 | 1115.6 | 1095.65 | 0.46492
504.5 | 1158.3 | 1138.35 | 0.48304
505 | 1201.3 | 1181.35 | 0.50128
505.5 | 1244.7 | 1224.75 | 0.5197
506 | 1289.1 | 1269.15 | 0.53854
506.5 | 1333.4 | 1313.45 | 0.55734
507 | 1378.3 | 1358.35 | 0.57639
507.5 | 1423.5 | 1403.55 | 0.59557
508 | 1469.1 | 1449.15 | 0.61492
508.5 | 1514.8 | 1494.85 | 0.63431
509 | 1561 | 1541.05 | 0.65392
509.5 | 1606.7 | 1586.75 | 0.67331
510 | 1652.2 | 1632.25 | 0.69261
510.5 | 1696.9 | 1676.95 | 0.71158
511 | 1741.3 | 1721.35 | 0.73042
511.5 | 1785.8 | 1765.85 | 0.74931
512 | 1830.3 | 1810.35 | 0.76819
512.5 | 1874.2 | 1854.25 | 0.78682
513 | 1917.5 | 1897.55 | 0.80519
513.5 | 1959.8 | 1939.85 | 0.82314
514 | 2001.1 | 1981.15 | 0.84066
514.5 | 2040.2 | 2020.25 | 0.85726
515 | 2077.2 | 2057.25 | 0.87296
515.5 | 2111.7 | 2091.75 | 0.88759
516 | 2144.5 | 2124.55 | 0.90151
516.5 | 2175.1 | 2155.15 | 0.9145
517 | 2203.6 | 2183.65 | 0.92659
517.5 | 2228.8 | 2208.85 | 0.93728
518 | 2251.4 | 2231.45 | 0.94687
518.5 | 2270.3 | 2250.35 | 0.95489
519 | 2286.3 | 2266.35 | 0.96168
519.5 | 2299.8 | 2279.85 | 0.96741
520 | 2311.9 | 2291.95 | 0.97255
520.5 | 2322.9 | 2302.95 | 0.97721
521 | 2333 | 2313.05 | 0.9815
521.5 | 2341.7 | 2321.75 | 0.98519
522 | 2349.3 | 2329.35 | 0.98842
522.5 | 2355.9 | 2335.95 | 0.99122
523 | 2361.5 | 2341.55 | 0.99359
523.5 | 2366.1 | 2346.15 | 0.99554
524 | 2369.8 | 2349.85 | 0.99711
524.5 | 2373.2 | 2353.25 | 0.99856
525 | 2375.7 | 2355.75 | 0.99962
525.5 | 2376.6 | 2356.65 | 1
526 | 2375.5 | 2355.55 | 0.99953
526.5 | 2371.9 | 2351.95 | 0.99801
527 | 2366.4 | 2346.45 | 0.99567
527.5 | 2359.3 | 2339.35 | 0.99266
528 | 2349.8 | 2329.85 | 0.98863
528.5 | 2338 | 2318.05 | 0.98362
529 | 2323.7 | 2303.75 | 0.97755
529.5 | 2306.9 | 2286.95 | 0.97042
530 | 2287.6 | 2267.65 | 0.96223
530.5 | 2266 | 2246.05 | 0.95307
531 | 2242.1 | 2222.15 | 0.94293
531.5 | 2215.3 | 2195.35 | 0.93156
532 | 2186.4 | 2166.45 | 0.91929
532.5 | 2155.3 | 2135.35 | 0.9061
533 | 2121.9 | 2101.95 | 0.89192
533.5 | 2086.8 | 2066.85 | 0.87703
534 | 2050.7 | 2030.75 | 0.86171
534.5 | 2013.9 | 1993.95 | 0.8461
535 | 1976.8 | 1956.85 | 0.83035
535.5 | 1939.8 | 1919.85 | 0.81465
536 | 1902.6 | 1882.65 | 0.79887
536.5 | 1865.4 | 1845.45 | 0.78308
537 | 1829 | 1809.05 | 0.76764
537.5 | 1793.8 | 1773.85 | 0.7527
538 | 1759.3 | 1739.35 | 0.73806
538.5 | 1725.6 | 1705.65 | 0.72376
539 | 1692.7 | 1672.75 | 0.7098
539.5 | 1660 | 1640.05 | 0.69592
540 | 1627.7 | 1607.75 | 0.68222
540.5 | 1595.8 | 1575.85 | 0.66868
541 | 1564.5 | 1544.55 | 0.6554
541.5 | 1532.9 | 1512.95 | 0.64199
542 | 1501.2 | 1481.25 | 0.62854
542.5 | 1469 | 1449.05 | 0.61488
543 | 1436.8 | 1416.85 | 0.60121
543.5 | 1405 | 1385.05 | 0.58772
544 | 1373.5 | 1353.55 | 0.57435
544.5 | 1341.9 | 1321.95 | 0.56094
545 | 1310.5 | 1290.55 | 0.54762
545.5 | 1279.1 | 1259.15 | 0.5343
546 | 1247 | 1227.05 | 0.52068
546.5 | 1214.1 | 1194.15 | 0.50672
547 | 1181.5 | 1161.55 | 0.49288
547.5 | 1149.3 | 1129.35 | 0.47922
548 | 1117.6 | 1097.65 | 0.46577
548.5 | 1086.1 | 1066.15 | 0.4524
549 | 1054.5 | 1034.55 | 0.43899
549.5 | 1023.2 | 1003.25 | 0.42571
550 | 992.21 | 972.26 | 0.41256
550.5 | 961.54 | 941.59 | 0.39955
551 | 931.27 | 911.32 | 0.3867
551.5 | 901.86 | 881.91 | 0.37422
552 | 873.14 | 853.19 | 0.36204
552.5 | 845.31 | 825.36 | 0.35023
553 | 817.9 | 797.95 | 0.3386
553.5 | 790.88 | 770.93 | 0.32713
554 | 764.45 | 744.5 | 0.31591
554.5 | 738.73 | 718.78 | 0.305
555 | 713.42 | 693.47 | 0.29426
555.5 | 688.99 | 669.04 | 0.28389
556 | 665.16 | 645.21 | 0.27378
556.5 | 641.89 | 621.94 | 0.26391
557 | 619.12 | 599.17 | 0.25425
557.5 | 596.74 | 576.79 | 0.24475
558 | 575.12 | 555.17 | 0.23558
558.5 | 554.2 | 534.25 | 0.2267
559 | 534.37 | 514.42 | 0.21828
559.5 | 515.18 | 495.23 | 0.21014
560 | 496.8 | 476.85 | 0.20234
560.5 | 479.03 | 459.08 | 0.1948
561 | 461.55 | 441.6 | 0.18738
561.5 | 444.69 | 424.74 | 0.18023
562 | 428.67 | 408.72 | 0.17343
562.5 | 413.43 | 393.48 | 0.16697
563 | 399.15 | 379.2 | 0.16091
563.5 | 385.37 | 365.42 | 0.15506
564 | 372.12 | 352.17 | 0.14944
564.5 | 359.38 | 339.43 | 0.14403
565 | 347.2 | 327.25 | 0.13886
565.5 | 335.49 | 315.54 | 0.13389
566 | 324.24 | 304.29 | 0.12912
566.5 | 313.44 | 293.49 | 0.12454
567 | 303 | 283.05 | 0.12011
567.5 | 293.08 | 273.13 | 0.1159
568 | 283.56 | 263.61 | 0.11186
568.5 | 273.95 | 254 | 0.10778
569 | 264.79 | 244.84 | 0.10389
569.5 | 256 | 236.05 | 0.10016
570 | 247.56 | 227.61 | 0.096582
570.5 | 239.46 | 219.51 | 0.093145
571 | 231.61 | 211.66 | 0.089814
571.5 | 223.87 | 203.92 | 0.08653
572 | 216.8 | 196.85 | 0.08353
572.5 | 210.14 | 190.19 | 0.080704
573 | 203.6 | 183.65 | 0.077928
573.5 | 197.21 | 177.26 | 0.075217
574 | 191.37 | 171.42 | 0.072739
574.5 | 185.44 | 165.49 | 0.070223
575 | 179.87 | 159.92 | 0.067859
575.5 | 174.45 | 154.5 | 0.065559
576 | 169.34 | 149.39 | 0.063391
576.5 | 164.24 | 144.29 | 0.061227
577 | 159.64 | 139.69 | 0.059275
577.5 | 154.84 | 134.89 | 0.057238
578 | 150.08 | 130.13 | 0.055218
578.5 | 145.59 | 125.64 | 0.053313
579 | 141.04 | 121.09 | 0.051382
579.5 | 136.55 | 116.6 | 0.049477
580 | 132.37 | 112.42 | 0.047703
580.5 | 128.32 | 108.37 | 0.045985
581 | 124.64 | 104.69 | 0.044423
581.5 | 120.8 | 100.85 | 0.042794
582 | 117.11 | 97.16 | 0.041228
582.5 | 113.3 | 93.35 | 0.039611
583 | 109.87 | 89.92 | 0.038156
583.5 | 106.37 | 86.42 | 0.036671
584 | 103.05 | 83.1 | 0.035262
584.5 | 100.25 | 80.3 | 0.034074
585 | 97.919 | 77.969 | 0.033085
585.5 | 95.427 | 75.477 | 0.032027
586 | 92.552 | 72.602 | 0.030807
586.5 | 89.543 | 69.593 | 0.02953
587 | 86.746 | 66.796 | 0.028344
587.5 | 84.38 | 64.43 | 0.02734
588 | 82.434 | 62.484 | 0.026514
588.5 | 80.782 | 60.832 | 0.025813
589 | 79.436 | 59.486 | 0.025242
589.5 | 77.679 | 57.729 | 0.024496
590 | 75.733 | 55.783 | 0.02367
590.5 | 73.748 | 53.798 | 0.022828
591 | 72.117 | 52.167 | 0.022136
591.5 | 70.792 | 50.842 | 0.021574
592 | 69.552 | 49.602 | 0.021048
592.5 | 68.304 | 48.354 | 0.020518
593 | 67.067 | 47.117 | 0.019993
593.5 | 65.597 | 45.647 | 0.019369
594 | 63.691 | 43.741 | 0.018561
594.5 | 62.05 | 42.1 | 0.017864
595 | 60.78 | 40.83 | 0.017325
595.5 | 59.639 | 39.689 | 0.016841
596 | 58.357 | 38.407 | 0.016297
596.5 | 57.204 | 37.254 | 0.015808
597 | 56.154 | 36.204 | 0.015362
597.5 | 55.207 | 35.257 | 0.014961
598 | 54.257 | 34.307 | 0.014558
598.5 | 53.262 | 33.312 | 0.014135
599 | 52.265 | 32.315 | 0.013712
599.5 | 51.328 | 31.378 | 0.013315
600 | 50.152 | 30.202 | 0.012816
600.5 | 49.08 | 29.13 | 0.012361
601 | 48.038 | 28.088 | 0.011919
601.5 | 47.155 | 27.205 | 0.011544
602 | 46.161 | 26.211 | 0.011122
602.5 | 45.296 | 25.346 | 0.010755
603 | 44.292 | 24.342 | 0.010329
603.5 | 43.235 | 23.285 | 0.0098806
604 | 42.23 | 22.28 | 0.0094541
604.5 | 41.241 | 21.291 | 0.0090344
605 | 40.56 | 20.61 | 0.0087455
605.5 | 40.062 | 20.112 | 0.0085341
606 | 39.565 | 19.615 | 0.0083233
606.5 | 38.939 | 18.989 | 0.0080576
607 | 38.283 | 18.333 | 0.0077793
607.5 | 37.54 | 17.59 | 0.007464
608 | 36.9 | 16.95 | 0.0071924
608.5 | 36.649 | 16.699 | 0.0070859
609 | 36.434 | 16.484 | 0.0069947
609.5 | 35.839 | 15.889 | 0.0067422
610 | 35.347 | 15.397 | 0.0065334
610.5 | 34.753 | 14.803 | 0.0062814
611 | 34.13 | 14.18 | 0.006017
611.5 | 33.809 | 13.859 | 0.0058808
612 | 33.682 | 13.732 | 0.0058269
612.5 | 33.433 | 13.483 | 0.0057213
613 | 33.22 | 13.27 | 0.0056309
613.5 | 32.762 | 12.812 | 0.0054365
614 | 31.93 | 11.98 | 0.0050835
614.5 | 31.297 | 11.347 | 0.0048149
615 | 31.199 | 11.249 | 0.0047733
615.5 | 31.107 | 11.157 | 0.0047343
616 | 31.259 | 11.309 | 0.0047988
616.5 | 30.867 | 10.917 | 0.0046324
617 | 30.02 | 10.07 | 0.004273
617.5 | 29.337 | 9.387 | 0.0039832
618 | 28.854 | 8.904 | 0.0037782
618.5 | 28.666 | 8.716 | 0.0036985
619 | 28.593 | 8.643 | 0.0036675
619.5 | 28.707 | 8.757 | 0.0037159
620 | 28.54 | 8.59 | 0.003645
620.5 | 28.106 | 8.156 | 0.0034608
621 | 27.613 | 7.663 | 0.0032516
621.5 | 27.342 | 7.392 | 0.0031367
622 | 27.611 | 7.661 | 0.0032508
622.5 | 28.202 | 8.252 | 0.0035016
623 | 28.575 | 8.625 | 0.0036599
623.5 | 28.433 | 8.483 | 0.0035996
624 | 28.152 | 8.202 | 0.0034804
624.5 | 27.787 | 7.837 | 0.0033255
625 | 27.844 | 7.894 | 0.0033497
625.5 | 28.004 | 8.054 | 0.0034176
626 | 28.174 | 8.224 | 0.0034897
626.5 | 28.172 | 8.222 | 0.0034889
627 | 27.95 | 8 | 0.0033946
627.5 | 27.438 | 7.488 | 0.0031774
628 | 26.825 | 6.875 | 0.0029173
628.5 | 26.543 | 6.593 | 0.0027976
629 | 26.399 | 6.449 | 0.0027365
629.5 | 26.329 | 6.379 | 0.0027068
630 | 26.194 | 6.244 | 0.0026495
630.5 | 25.975 | 6.025 | 0.0025566
631 | 25.649 | 5.699 | 0.0024183
631.5 | 25.292 | 5.342 | 0.0022668
632 | 25.139 | 5.189 | 0.0022019
632.5 | 25.001 | 5.051 | 0.0021433
633 | 24.854 | 4.904 | 0.0020809
633.5 | 24.852 | 4.902 | 0.0020801
634 | 25.076 | 5.126 | 0.0021751
634.5 | 25.115 | 5.165 | 0.0021917
635 | 24.864 | 4.914 | 0.0020852
635.5 | 24.625 | 4.675 | 0.0019837
636 | 24.721 | 4.771 | 0.0020245
636.5 | 24.975 | 5.025 | 0.0021323
637 | 24.89 | 4.94 | 0.0020962
637.5 | 24.79 | 4.84 | 0.0020538
638 | 24.791 | 4.841 | 0.0020542
638.5 | 24.847 | 4.897 | 0.0020779
639 | 24.503 | 4.553 | 0.001932
639.5 | 24.157 | 4.207 | 0.0017852
640 | 23.871 | 3.921 | 0.0016638
640.5 | 23.801 | 3.851 | 0.0016341
641 | 23.727 | 3.777 | 0.0016027
641.5 | 23.43 | 3.48 | 0.0014767
642 | 23.42 | 3.47 | 0.0014724
642.5 | 23.382 | 3.432 | 0.0014563
643 | 23.376 | 3.426 | 0.0014538
643.5 | 23.059 | 3.109 | 0.0013192
644 | 22.748 | 2.798 | 0.0011873
644.5 | 22.678 | 2.728 | 0.0011576
645 | 22.997 | 3.047 | 0.0012929
645.5 | 23.383 | 3.433 | 0.0014567
646 | 23.247 | 3.297 | 0.001399
646.5 | 23.183 | 3.233 | 0.0013719
647 | 22.794 | 2.844 | 0.0012068
647.5 | 22.493 | 2.543 | 0.0010791
648 | 22.26 | 2.31 | 0.0009802
648.5 | 22.177 | 2.227 | 0.00094499
649 | 22.506 | 2.556 | 0.0010846
649.5 | 22.653 | 2.703 | 0.001147
650 | 22.785 | 2.835 | 0.001203
650.5 | 22.62 | 2.67 | 0.001133
651 | 22.588 | 2.638 | 0.0011194
651.5 | 22.805 | 2.855 | 0.0012115
652 | 23.333 | 3.383 | 0.0014355
652.5 | 23.575 | 3.625 | 0.0015382
653 | 24.035 | 4.085 | 0.0017334
653.5 | 24.331 | 4.381 | 0.001859
654 | 24.812 | 4.862 | 0.0020631
654.5 | 25.173 | 5.223 | 0.0022163
655 | 25.44 | 5.49 | 0.0023296
655.5 | 25.614 | 5.664 | 0.0024034
656 | 25.571 | 5.621 | 0.0023852
656.5 | 25.16 | 5.21 | 0.0022108
657 | 24.479 | 4.529 | 0.0019218
657.5 | 24.355 | 4.405 | 0.0018692
658 | 24.047 | 4.097 | 0.0017385
658.5 | 23.647 | 3.697 | 0.0015688
659 | 22.994 | 3.044 | 0.0012917
659.5 | 22.319 | 2.369 | 0.0010052
660 | 21.627 | 1.677 | 0.0007116
660.5 | 21.112 | 1.162 | 0.00049307
661 | 20.876 | 0.926 | 0.00039293
661.5 | 21.054 | 1.104 | 0.00046846
662 | 21.367 | 1.417 | 0.00060128
662.5 | 21.388 | 1.438 | 0.00061019
663 | 21.375 | 1.425 | 0.00060467
663.5 | 21.629 | 1.679 | 0.00071245
664 | 21.723 | 1.773 | 0.00075234
664.5 | 21.888 | 1.938 | 0.00082235
665 | 22.12 | 2.17 | 0.0009208
665.5 | 22.439 | 2.489 | 0.0010562
666 | 22.651 | 2.701 | 0.0011461
666.5 | 22.33 | 2.38 | 0.0010099
667 | 21.922 | 1.972 | 0.00083678
667.5 | 21.806 | 1.856 | 0.00078756
668 | 21.828 | 1.878 | 0.00079689
668.5 | 21.529 | 1.579 | 0.00067002
669 | 21.609 | 1.659 | 0.00070397
669.5 | 21.783 | 1.833 | 0.0007778
670 | 22.032 | 2.082 | 0.00088346
670.5 | 22.001 | 2.051 | 0.0008703
671 | 21.84 | 1.89 | 0.00080199
671.5 | 21.832 | 1.882 | 0.00079859
672 | 21.909 | 1.959 | 0.00083126
672.5 | 21.706 | 1.756 | 0.00074513
673 | 21.297 | 1.347 | 0.00057157
673.5 | 21.258 | 1.308 | 0.00055503
674 | 21.107 | 1.157 | 0.00049095
674.5 | 20.873 | 0.923 | 0.00039166
675 | 20.508 | 0.558 | 0.00023678
675.5 | 20.023 | 0.073 | 3.0976e-05
676 | 19.787 | 0 | 0
676.5 | 20.022 | 0.072 | 3.0552e-05
677 | 20.305 | 0.355 | 0.00015064
677.5 | 20.911 | 0.961 | 0.00040778
678 | 21.44 | 1.49 | 0.00063225
678.5 | 21.776 | 1.826 | 0.00077483
679 | 22.077 | 2.127 | 0.00090255
679.5 | 22.144 | 2.194 | 0.00093098
680 | 22.523 | 2.573 | 0.0010918
680.5 | 22.839 | 2.889 | 0.0012259
681 | 23.191 | 3.241 | 0.0013753
681.5 | 23.626 | 3.676 | 0.0015598
682 | 24.008 | 4.058 | 0.0017219
682.5 | 24.13 | 4.18 | 0.0017737
683 | 24.053 | 4.103 | 0.001741
683.5 | 23.84 | 3.89 | 0.0016506
684 | 23.585 | 3.635 | 0.0015424
684.5 | 23.381 | 3.431 | 0.0014559
685 | 23.02 | 3.07 | 0.0013027
685.5 | 23.055 | 3.105 | 0.0013175
686 | 23.106 | 3.156 | 0.0013392
686.5 | 22.755 | 2.805 | 0.0011902
687 | 22.311 | 2.361 | 0.0010018
687.5 | 21.841 | 1.891 | 0.00080241
688 | 21.744 | 1.794 | 0.00076125
688.5 | 21.716 | 1.766 | 0.00074937
689 | 21.812 | 1.862 | 0.0007901
689.5 | 22.062 | 2.112 | 0.00089619
690 | 22.321 | 2.371 | 0.0010061
690.5 | 22.377 | 2.427 | 0.0010299
691 | 22.263 | 2.313 | 0.00098148
691.5 | 22.039 | 2.089 | 0.00088643
692 | 21.658 | 1.708 | 0.00072476
692.5 | 21.675 | 1.725 | 0.00073197
693 | 21.957 | 2.007 | 0.00085163
693.5 | 22.274 | 2.324 | 0.00098615
694 | 22.116 | 2.166 | 0.0009191
694.5 | 21.861 | 1.911 | 0.0008109
695 | 21.419 | 1.469 | 0.00062334
695.5 | 20.597 | 0.647 | 0.00027454
696 | 20.279 | 0.329 | 0.0001396
696.5 | 20.214 | 0.264 | 0.00011202
697 | 20.573 | 0.623 | 0.00026436
697.5 | 20.676 | 0.726 | 0.00030806
698 | 20.478 | 0.528 | 0.00022405
698.5 | 20.112 | 0.162 | 6.8742e-05
699 | 20.05 | 0.1 | 4.2433e-05
699.5 | 20.317 | 0.367 | 0.00015573
700 | 20.777 | 0.827 | 0.00035092
700.5 | 21.257 | 1.307 | 0.0005546
701 | 21.206 | 1.256 | 0.00053296
701.5 | 21.245 | 1.295 | 0.00054951
702 | 21.293 | 1.343 | 0.00056988
702.5 | 21.354 | 1.404 | 0.00059576
703 | 21.378 | 1.428 | 0.00060594
703.5 | 21.488 | 1.538 | 0.00065262
704 | 21.358 | 1.408 | 0.00059746
704.5 | 21.274 | 1.324 | 0.00056181
705 | 21.125 | 1.175 | 0.00049859
705.5 | 21.369 | 1.419 | 0.00060213
706 | 21.596 | 1.646 | 0.00069845
706.5 | 21.697 | 1.747 | 0.00074131
707 | 21.701 | 1.751 | 0.000743
707.5 | 21.595 | 1.645 | 0.00069802
708 | 21.231 | 1.281 | 0.00054357
708.5 | 21.347 | 1.397 | 0.00059279
709 | 21.417 | 1.467 | 0.00062249
709.5 | 21.448 | 1.498 | 0.00063565
710 | 21.661 | 1.711 | 0.00072603
710.5 | 21.804 | 1.854 | 0.00078671
711 | 22.254 | 2.304 | 0.00097766
711.5 | 22.693 | 2.743 | 0.0011639
712 | 22.943 | 2.993 | 0.00127
712.5 | 23.069 | 3.119 | 0.0013235
713 | 23.283 | 3.333 | 0.0014143
713.5 | 23.341 | 3.391 | 0.0014389
714 | 23.295 | 3.345 | 0.0014194
714.5 | 23.3 | 3.35 | 0.0014215
715 | 23.29 | 3.34 | 0.0014173
715.5 | 23.228 | 3.278 | 0.001391
716 | 22.897 | 2.947 | 0.0012505
716.5 | 22.276 | 2.326 | 0.00098699
717 | 21.959 | 2.009 | 0.00085248
717.5 | 21.953 | 2.003 | 0.00084994
718 | 21.856 | 1.906 | 0.00080878
718.5 | 21.694 | 1.744 | 0.00074003
719 | 21.417 | 1.467 | 0.00062249
719.5 | 21.122 | 1.172 | 0.00049732
720 | 20.988 | 1.038 | 0.00044046
720.5 | 20.718 | 0.768 | 0.00032589
721 | 20.569 | 0.619 | 0.00026266
721.5 | 20.455 | 0.505 | 0.00021429
722 | 20.261 | 0.311 | 0.00013197
722.5 | 20.696 | 0.746 | 0.00031655
723 | 21.025 | 1.075 | 0.00045616
723.5 | 21.318 | 1.368 | 0.00058049
724 | 21.584 | 1.634 | 0.00069336
724.5 | 21.38 | 1.43 | 0.00060679
725 | 21.37 | 1.42 | 0.00060255
725.5 | 21.605 | 1.655 | 0.00070227
726 | 22.102 | 2.152 | 0.00091316
726.5 | 22.773 | 2.823 | 0.0011979
727 | 22.764 | 2.814 | 0.0011941
727.5 | 22.11 | 2.16 | 0.00091656
728 | 21.762 | 1.812 | 0.00076889
728.5 | 21.773 | 1.823 | 0.00077356
729 | 21.792 | 1.842 | 0.00078162
729.5 | 21.849 | 1.899 | 0.0008058
730 | 22.089 | 2.139 | 0.00090764
730.5 | 22.491 | 2.541 | 0.0010782
731 | 22.603 | 2.653 | 0.0011258
731.5 | 22.571 | 2.621 | 0.0011122
732 | 22.333 | 2.383 | 0.0010112
732.5 | 22.17 | 2.22 | 0.00094202
733 | 21.888 | 1.938 | 0.00082235
733.5 | 21.875 | 1.925 | 0.00081684
734 | 22.218 | 2.268 | 0.00096238
734.5 | 22.37 | 2.42 | 0.0010269
735 | 22.041 | 2.091 | 0.00088728
735.5 | 21.575 | 1.625 | 0.00068954
736 | 20.843 | 0.893 | 0.00037893
736.5 | 20.744 | 0.794 | 0.00033692
737 | 21.116 | 1.166 | 0.00049477
737.5 | 21.313 | 1.363 | 0.00057836
738 | 21.402 | 1.452 | 0.00061613
738.5 | 21.318 | 1.368 | 0.00058049
739 | 21.059 | 1.109 | 0.00047058
739.5 | 20.883 | 0.933 | 0.0003959
740 | 20.558 | 0.608 | 0.00025799
740.5 | 20.523 | 0.573 | 0.00024314
741 | 20.59 | 0.64 | 0.00027157
741.5 | 20.474 | 0.524 | 0.00022235
742 | 20.377 | 0.427 | 0.00018119
742.5 | 20.518 | 0.568 | 0.00024102
743 | 20.561 | 0.611 | 0.00025927
743.5 | 20.648 | 0.698 | 0.00029618
744 | 20.812 | 0.862 | 0.00036577
744.5 | 21.017 | 1.067 | 0.00045276
745 | 21.618 | 1.668 | 0.00070778
745.5 | 22.228 | 2.278 | 0.00096663
746 | 22.571 | 2.621 | 0.0011122
746.5 | 22.672 | 2.722 | 0.001155
747 | 22.779 | 2.829 | 0.0012004
747.5 | 22.882 | 2.932 | 0.0012441
748 | 22.69 | 2.74 | 0.0011627
748.5 | 22.571 | 2.621 | 0.0011122
749 | 22.476 | 2.526 | 0.0010719
749.5 | 21.968 | 2.018 | 0.0008563
750 | 21.56 | 1.61 | 0.00068317
750.5 | 21.178 | 1.228 | 0.00052108
751 | 21.298 | 1.348 | 0.000572
751.5 | 21.539 | 1.589 | 0.00067426
752 | 21.643 | 1.693 | 0.00071839
752.5 | 21.855 | 1.905 | 0.00080835
753 | 21.719 | 1.769 | 0.00075064
753.5 | 21.407 | 1.457 | 0.00061825
754 | 21.344 | 1.394 | 0.00059152
754.5 | 21.348 | 1.398 | 0.00059321
755 | 21.38 | 1.43 | 0.00060679
755.5 | 21.36 | 1.41 | 0.00059831
756 | 21.082 | 1.132 | 0.00048034
756.5 | 20.979 | 1.029 | 0.00043664
757 | 21.025 | 1.075 | 0.00045616
757.5 | 21.591 | 1.641 | 0.00069633
758 | 22.12 | 2.17 | 0.0009208
758.5 | 22.666 | 2.716 | 0.0011525
759 | 22.699 | 2.749 | 0.0011665
759.5 | 22.473 | 2.523 | 0.0010706
760 | 22.431 | 2.481 | 0.0010528
760.5 | 22.531 | 2.581 | 0.0010952
761 | 22.771 | 2.821 | 0.001197
761.5 | 22.516 | 2.566 | 0.0010888
762 | 22.217 | 2.267 | 0.00096196
762.5 | 21.695 | 1.745 | 0.00074046
763 | 21.357 | 1.407 | 0.00059703
763.5 | 21.68 | 1.73 | 0.00073409
764 | 22.133 | 2.183 | 0.00092631
764.5 | 21.969 | 2.019 | 0.00085672
765 | 21.787 | 1.837 | 0.0007795
765.5 | 21.574 | 1.624 | 0.00068911
766 | 21.815 | 1.865 | 0.00079138
766.5 | 21.929 | 1.979 | 0.00083975
767 | 22.35 | 2.4 | 0.0010184
767.5 | 22.681 | 2.731 | 0.0011588
768 | 22.714 | 2.764 | 0.0011729
768.5 | 22.471 | 2.521 | 0.0010697
769 | 22.695 | 2.745 | 0.0011648
769.5 | 22.802 | 2.852 | 0.0012102
770 | 22.952 | 3.002 | 0.0012738
770.5 | 22.81 | 2.86 | 0.0012136
771 | 22.596 | 2.646 | 0.0011228
771.5 | 22.28 | 2.33 | 0.00098869
772 | 21.698 | 1.748 | 0.00074173
772.5 | 21.496 | 1.546 | 0.00065602
773 | 21.409 | 1.459 | 0.0006191
773.5 | 21.288 | 1.338 | 0.00056776
774 | 21.311 | 1.361 | 0.00057751
774.5 | 21.009 | 1.059 | 0.00044937
775 | 21.005 | 1.055 | 0.00044767
775.5 | 20.712 | 0.762 | 0.00032334
776 | 20.773 | 0.823 | 0.00034922
776.5 | 20.931 | 0.981 | 0.00041627
777 | 20.826 | 0.876 | 0.00037171
777.5 | 20.95 | 1 | 0.00042433
778 | 21.112 | 1.162 | 0.00049307
778.5 | 21.21 | 1.26 | 0.00053466
779 | 21.373 | 1.423 | 0.00060382
779.5 | 21.589 | 1.639 | 0.00069548
780 | 21.847 | 1.897 | 0.00080496
780.5 | 22.11 | 2.16 | 0.00091656
781 | 22.359 | 2.409 | 0.0010222
781.5 | 22.591 | 2.641 | 0.0011207
782 | 22.247 | 2.297 | 0.00097469
782.5 | 22.226 | 2.276 | 0.00096578
783 | 22.048 | 2.098 | 0.00089025
783.5 | 22.396 | 2.446 | 0.0010379
784 | 22.599 | 2.649 | 0.0011241
784.5 | 22.678 | 2.728 | 0.0011576
785 | 22.197 | 2.247 | 0.00095347
785.5 | 21.778 | 1.828 | 0.00077568
786 | 21.583 | 1.633 | 0.00069293
786.5 | 21.778 | 1.828 | 0.00077568
787 | 21.874 | 1.924 | 0.00081641
787.5 | 21.954 | 2.004 | 0.00085036
788 | 21.557 | 1.607 | 0.0006819
788.5 | 21.305 | 1.355 | 0.00057497
789 | 21.42 | 1.47 | 0.00062377
789.5 | 21.929 | 1.979 | 0.00083975
790 | 22.35 | 2.4 | 0.0010184
790.5 | 22.502 | 2.552 | 0.0010829
791 | 22.393 | 2.443 | 0.0010366
791.5 | 22.461 | 2.511 | 0.0010655
792 | 22.722 | 2.772 | 0.0011762
792.5 | 22.879 | 2.929 | 0.0012429
793 | 22.891 | 2.941 | 0.001248
793.5 | 22.744 | 2.794 | 0.0011856
794 | 22.313 | 2.363 | 0.0010027
794.5 | 21.873 | 1.923 | 0.00081599
795 | 21.541 | 1.591 | 0.00067511
795.5 | 21.579 | 1.629 | 0.00069124
796 | 21.604 | 1.654 | 0.00070184
796.5 | 21.416 | 1.466 | 0.00062207
797 | 21.211 | 1.261 | 0.00053508
797.5 | 20.97 | 1.02 | 0.00043282
798 | 21.043 | 1.093 | 0.00046379
798.5 | 21.504 | 1.554 | 0.00065941
799 | 21.674 | 1.724 | 0.00073155
799.5 | 22.043 | 2.093 | 0.00088813
800 | 22.225 | 2.275 | 0.00096535
800.5 | 21.981 | 2.031 | 0.00086182
801 | 22.073 | 2.123 | 0.00090086
801.5 | 22.584 | 2.634 | 0.0011177
802 | 22.945 | 2.995 | 0.0012709
802.5 | 22.788 | 2.838 | 0.0012043
803 | 22.466 | 2.516 | 0.0010676
803.5 | 22.602 | 2.652 | 0.0011253
804 | 22.677 | 2.727 | 0.0011572
804.5 | 22.826 | 2.876 | 0.0012204
805 | 22.974 | 3.024 | 0.0012832
805.5 | 23.184 | 3.234 | 0.0013723
806 | 23.166 | 3.216 | 0.0013646
806.5 | 22.982 | 3.032 | 0.0012866
807 | 23.305 | 3.355 | 0.0014236
807.5 | 23.772 | 3.822 | 0.0016218
808 | 23.857 | 3.907 | 0.0016579
808.5 | 23.761 | 3.811 | 0.0016171
809 | 23.653 | 3.703 | 0.0015713
809.5 | 23.981 | 4.031 | 0.0017105
810 | 23.694 | 3.744 | 0.0015887
810.5 | 23.562 | 3.612 | 0.0015327
811 | 23.347 | 3.397 | 0.0014415
811.5 | 23.001 | 3.051 | 0.0012946
812 | 22.556 | 2.606 | 0.0011058
812.5 | 22.32 | 2.37 | 0.0010057
813 | 22.206 | 2.256 | 0.00095729
813.5 | 22.301 | 2.351 | 0.0009976
814 | 22.237 | 2.287 | 0.00097045
814.5 | 22.142 | 2.192 | 0.00093013
815 | 21.804 | 1.854 | 0.00078671
815.5 | 21.612 | 1.662 | 0.00070524
816 | 21.218 | 1.268 | 0.00053805
816.5 | 21.24 | 1.29 | 0.00054739
817 | 21.446 | 1.496 | 0.0006348
817.5 | 21.502 | 1.552 | 0.00065856
818 | 21.357 | 1.407 | 0.00059703
818.5 | 21.307 | 1.357 | 0.00057582
819 | 21.364 | 1.414 | 0.0006
819.5 | 21.498 | 1.548 | 0.00065686
820 | 21.724 | 1.774 | 0.00075276
820.5 | 22.132 | 2.182 | 0.00092589
821 | 22.541 | 2.591 | 0.0010994
821.5 | 22.329 | 2.379 | 0.0010095
822 | 22.066 | 2.116 | 0.00089788
822.5 | 22.136 | 2.186 | 0.00092759
823 | 22.222 | 2.272 | 0.00096408
823.5 | 22.528 | 2.578 | 0.0010939
824 | 23.123 | 3.173 | 0.0013464
824.5 | 23.403 | 3.453 | 0.0014652
825 | 23.143 | 3.193 | 0.0013549
825.5 | 22.922 | 2.972 | 0.0012611
826 | 22.986 | 3.036 | 0.0012883
826.5 | 23.321 | 3.371 | 0.0014304
827 | 23.357 | 3.407 | 0.0014457
827.5 | 23.279 | 3.329 | 0.0014126
828 | 23.211 | 3.261 | 0.0013837
828.5 | 22.923 | 2.973 | 0.0012615
829 | 22.968 | 3.018 | 0.0012806
829.5 | 23 | 3.05 | 0.0012942
830 | 22.927 | 2.977 | 0.0012632
830.5 | 22.739 | 2.789 | 0.0011835
831 | 22.638 | 2.688 | 0.0011406
831.5 | 22.833 | 2.883 | 0.0012233
832 | 23.032 | 3.082 | 0.0013078
832.5 | 23.22 | 3.27 | 0.0013876
833 | 23.041 | 3.091 | 0.0013116
833.5 | 22.773 | 2.823 | 0.0011979
834 | 22.546 | 2.596 | 0.0011016
834.5 | 22.727 | 2.777 | 0.0011784
835 | 23.304 | 3.354 | 0.0014232
835.5 | 23.266 | 3.316 | 0.0014071
836 | 22.915 | 2.965 | 0.0012581
836.5 | 22.297 | 2.347 | 0.00099591
837 | 22.42 | 2.47 | 0.0010481
837.5 | 22.483 | 2.533 | 0.0010748
838 | 22.898 | 2.948 | 0.0012509
838.5 | 23.114 | 3.164 | 0.0013426
839 | 22.996 | 3.046 | 0.0012925
839.5 | 22.999 | 3.049 | 0.0012938
840 | 23.255 | 3.305 | 0.0014024
840.5 | 23.487 | 3.537 | 0.0015009
841 | 23.574 | 3.624 | 0.0015378
841.5 | 23.708 | 3.758 | 0.0015946
842 | 24.067 | 4.117 | 0.001747
842.5 | 24.143 | 4.193 | 0.0017792
843 | 24.064 | 4.114 | 0.0017457
843.5 | 23.806 | 3.856 | 0.0016362
844 | 23.431 | 3.481 | 0.0014771
844.5 | 23.351 | 3.401 | 0.0014432
845 | 23.171 | 3.221 | 0.0013668
845.5 | 23.091 | 3.141 | 0.0013328
846 | 22.398 | 2.448 | 0.0010388
846.5 | 22.224 | 2.274 | 0.00096493
847 | 21.763 | 1.813 | 0.00076931
847.5 | 21.465 | 1.515 | 0.00064286
848 | 21.55 | 1.6 | 0.00067893
848.5 | 21.587 | 1.637 | 0.00069463
849 | 21.485 | 1.535 | 0.00065135
849.5 | 21.684 | 1.734 | 0.00073579
850 | 21.762 | 1.812 | 0.00076889
850.5 | 22.027 | 2.077 | 0.00088134
851 | 22.363 | 2.413 | 0.0010239
851.5 | 22.66 | 2.71 | 0.0011499
852 | 22.314 | 2.364 | 0.0010031
852.5 | 21.882 | 1.932 | 0.00081981
853 | 21.583 | 1.633 | 0.00069293
853.5 | 21.516 | 1.566 | 0.0006645
854 | 21.638 | 1.688 | 0.00071627
854.5 | 21.47 | 1.52 | 0.00064498
855 | 21.291 | 1.341 | 0.00056903
855.5 | 21.588 | 1.638 | 0.00069505
856 | 21.673 | 1.723 | 0.00073112
856.5 | 21.755 | 1.805 | 0.00076592
857 | 21.643 | 1.693 | 0.00071839
857.5 | 21.353 | 1.403 | 0.00059534
858 | 21.444 | 1.494 | 0.00063395
858.5 | 21.563 | 1.613 | 0.00068445
859 | 21.548 | 1.598 | 0.00067808
859.5 | 21.192 | 1.242 | 0.00052702
860 | 20.746 | 0.796 | 0.00033777
860.5 | 20.815 | 0.865 | 0.00036705
861 | 21.034 | 1.084 | 0.00045997
861.5 | 21.088 | 1.138 | 0.00048289
862 | 20.821 | 0.871 | 0.00036959
862.5 | 20.675 | 0.725 | 0.00030764
863 | 20.382 | 0.432 | 0.00018331
863.5 | 20.478 | 0.528 | 0.00022405
864 | 20.633 | 0.683 | 0.00028982
864.5 | 20.699 | 0.749 | 0.00031782
865 | 20.862 | 0.912 | 0.00038699
865.5 | 21.222 | 1.272 | 0.00053975
866 | 21.572 | 1.622 | 0.00068827
866.5 | 21.703 | 1.753 | 0.00074385
867 | 21.978 | 2.028 | 0.00086054
867.5 | 22.004 | 2.054 | 0.00087158
868 | 22.33 | 2.38 | 0.0010099
868.5 | 22.202 | 2.252 | 0.00095559
869 | 21.942 | 1.992 | 0.00084527
869.5 | 21.756 | 1.806 | 0.00076634
870 | 21.826 | 1.876 | 0.00079605
870.5 | 21.799 | 1.849 | 0.00078459
871 | 22 | 2.05 | 0.00086988
871.5 | 21.873 | 1.923 | 0.00081599
872 | 21.514 | 1.564 | 0.00066365
872.5 | 21.53 | 1.58 | 0.00067044
873 | 21.976 | 2.026 | 0.00085969
873.5 | 22.276 | 2.326 | 0.00098699
874 | 22.535 | 2.585 | 0.0010969
874.5 | 22.689 | 2.739 | 0.0011622
875 | 22.375 | 2.425 | 0.001029
875.5 | 22.046 | 2.096 | 0.0008894
876 | 21.73 | 1.78 | 0.00075531
876.5 | 21.599 | 1.649 | 0.00069972
877 | 21.214 | 1.264 | 0.00053635
877.5 | 20.924 | 0.974 | 0.0004133
878 | 20.39 | 0.44 | 0.00018671
878.5 | 20.324 | 0.374 | 0.0001587
879 | 20.315 | 0.365 | 0.00015488
879.5 | 20.59 | 0.64 | 0.00027157
880 | 21.341 | 1.391 | 0.00059024
880.5 | 21.727 | 1.777 | 0.00075404
881 | 22.47 | 2.52 | 0.0010693
881.5 | 23.084 | 3.134 | 0.0013299
882 | 23.375 | 3.425 | 0.0014533
882.5 | 23.199 | 3.249 | 0.0013787
883 | 23.321 | 3.371 | 0.0014304
883.5 | 24.941 | 4.991 | 0.0021178
884 | 20.526 | 0.576 | 0.00024441
884.5 | 18.731 | 0 | 0
885 | 33.175 | 13.225 | 0.0056118
885.5 | 26.297 | 6.347 | 0.0026932
886 | -11.788 | 0 | 0
886.5 | 9.7332 | 0 | 0