## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 113 | 119.465 | 0.044552
246.5 | 72.87 | 79.335 | 0.029586
247 | 54.47 | 60.935 | 0.022725
247.5 | 36.6 | 43.065 | 0.01606
248 | 20.04 | 26.505 | 0.0098845
248.5 | 5.486 | 11.951 | 0.0044569
249 | -6.465 | 0 | 0
249.5 | -14.35 | 0 | 0
250 | -17.22 | 0 | 0
250.5 | -14.68 | 0 | 0
251 | -6.008 | 0.457 | 0.00017043
251.5 | -5.843 | 0.622 | 0.00023196
252 | -6.09 | 0.375 | 0.00013985
252.5 | -6.263 | 0.202 | 7.5332e-05
253 | -6.298 | 0.167 | 6.2279e-05
253.5 | -6.327 | 0.138 | 5.1464e-05
254 | -6.348 | 0.117 | 4.3633e-05
254.5 | -6.301 | 0.164 | 6.1161e-05
255 | -6.174 | 0.291 | 0.00010852
255.5 | -6.002 | 0.463 | 0.00017267
256 | -5.861 | 0.604 | 0.00022525
256.5 | -5.862 | 0.603 | 0.00022488
257 | -5.895 | 0.57 | 0.00021257
257.5 | -5.928 | 0.537 | 0.00020026
258 | -5.937 | 0.528 | 0.00019691
258.5 | -5.972 | 0.493 | 0.00018385
259 | -6.024 | 0.441 | 0.00016446
259.5 | -6.084 | 0.381 | 0.00014209
260 | -6.148 | 0.317 | 0.00011822
260.5 | -6.216 | 0.249 | 9.286e-05
261 | -6.28 | 0.185 | 6.8992e-05
261.5 | -6.342 | 0.123 | 4.587e-05
262 | -6.397 | 0.068 | 2.5359e-05
262.5 | -6.439 | 0.026 | 9.6962e-06
263 | -6.477 | 0 | 0
263.5 | -6.502 | 0 | 0
264 | -6.523 | 0 | 0
264.5 | -6.534 | 0 | 0
265 | -6.542 | 0 | 0
265.5 | -6.562 | 0 | 0
266 | -6.594 | 0 | 0
266.5 | -6.653 | 0 | 0
267 | -6.721 | 0 | 0
267.5 | -6.795 | 0 | 0
268 | -6.864 | 0 | 0
268.5 | -6.924 | 0 | 0
269 | -6.983 | 0 | 0
269.5 | -7.028 | 0 | 0
270 | -7.056 | 0 | 0
270.5 | -7.073 | 0 | 0
271 | -7.085 | 0 | 0
271.5 | -7.084 | 0 | 0
272 | -7.064 | 0 | 0
272.5 | -7.04 | 0 | 0
273 | -7.017 | 0 | 0
273.5 | -6.997 | 0 | 0
274 | -6.981 | 0 | 0
274.5 | -6.959 | 0 | 0
275 | -6.929 | 0 | 0
275.5 | -6.885 | 0 | 0
276 | -6.83 | 0 | 0
276.5 | -6.781 | 0 | 0
277 | -6.733 | 0 | 0
277.5 | -6.683 | 0 | 0
278 | -6.636 | 0 | 0
278.5 | -6.585 | 0 | 0
279 | -6.53 | 0 | 0
279.5 | -6.466 | 0 | 0
280 | -6.414 | 0.051 | 1.9019e-05
280.5 | -6.378 | 0.087 | 3.2445e-05
281 | -6.354 | 0.111 | 4.1395e-05
281.5 | -6.332 | 0.133 | 4.96e-05
282 | -6.288 | 0.177 | 6.6009e-05
282.5 | -6.231 | 0.234 | 8.7266e-05
283 | -6.164 | 0.301 | 0.00011225
283.5 | -6.101 | 0.364 | 0.00013575
284 | -6.042 | 0.423 | 0.00015775
284.5 | -5.991 | 0.474 | 0.00017677
285 | -5.947 | 0.518 | 0.00019318
285.5 | -5.902 | 0.563 | 0.00020996
286 | -5.84 | 0.625 | 0.00023308
286.5 | -5.761 | 0.704 | 0.00026254
287 | -5.672 | 0.793 | 0.00029573
287.5 | -5.581 | 0.884 | 0.00032967
288 | -5.512 | 0.953 | 0.0003554
288.5 | -5.45 | 1.015 | 0.00037852
289 | -5.381 | 1.084 | 0.00040426
289.5 | -5.305 | 1.16 | 0.0004326
290 | -5.234 | 1.231 | 0.00045908
290.5 | -5.171 | 1.294 | 0.00048257
291 | -5.127 | 1.338 | 0.00049898
291.5 | -5.096 | 1.369 | 0.00051054
292 | -5.083 | 1.382 | 0.00051539
292.5 | -5.091 | 1.374 | 0.00051241
293 | -5.095 | 1.37 | 0.00051091
293.5 | -5.09 | 1.375 | 0.00051278
294 | -5.083 | 1.382 | 0.00051539
294.5 | -5.089 | 1.376 | 0.00051315
295 | -5.122 | 1.343 | 0.00050085
295.5 | -5.182 | 1.283 | 0.00047847
296 | -5.257 | 1.208 | 0.0004505
296.5 | -5.322 | 1.143 | 0.00042626
297 | -5.382 | 1.083 | 0.00040388
297.5 | -5.439 | 1.026 | 0.00038263
298 | -5.499 | 0.966 | 0.00036025
298.5 | -5.564 | 0.901 | 0.00033601
299 | -5.641 | 0.824 | 0.00030729
299.5 | -5.739 | 0.726 | 0.00027075
300 | -5.858 | 0.607 | 0.00022637
300.5 | -5.989 | 0.476 | 0.00017751
301 | -6.122 | 0.343 | 0.00012792
301.5 | -6.266 | 0.199 | 7.4213e-05
302 | -6.423 | 0.042 | 1.5663e-05
302.5 | -6.584 | 0 | 0
303 | -6.745 | 0 | 0
303.5 | -6.896 | 0 | 0
304 | -7.027 | 0 | 0
304.5 | -7.119 | 0 | 0
305 | -7.154 | 0 | 0
305.5 | -7.156 | 0 | 0
306 | -7.135 | 0 | 0
306.5 | -7.088 | 0 | 0
307 | -7.029 | 0 | 0
307.5 | -6.969 | 0 | 0
308 | -6.912 | 0 | 0
308.5 | -6.849 | 0 | 0
309 | -6.782 | 0 | 0
309.5 | -6.718 | 0 | 0
310 | -6.659 | 0 | 0
310.5 | -6.606 | 0 | 0
311 | -6.563 | 0 | 0
311.5 | -6.53 | 0 | 0
312 | -6.491 | 0 | 0
312.5 | -6.426 | 0.039 | 1.4544e-05
313 | -6.332 | 0.133 | 4.96e-05
313.5 | -6.208 | 0.257 | 9.5843e-05
314 | -6.063 | 0.402 | 0.00014992
314.5 | -5.909 | 0.556 | 0.00020735
315 | -5.75 | 0.715 | 0.00026665
315.5 | -5.591 | 0.874 | 0.00032594
316 | -5.423 | 1.042 | 0.00038859
316.5 | -5.244 | 1.221 | 0.00045535
317 | -5.085 | 1.38 | 0.00051464
317.5 | -4.957 | 1.508 | 0.00056238
318 | -4.861 | 1.604 | 0.00059818
318.5 | -4.803 | 1.662 | 0.00061981
319 | -4.782 | 1.683 | 0.00062764
319.5 | -4.775 | 1.69 | 0.00063025
320 | -4.744 | 1.721 | 0.00064181
320.5 | -4.687 | 1.778 | 0.00066307
321 | -4.604 | 1.861 | 0.00069402
321.5 | -4.519 | 1.946 | 0.00072572
322 | -4.432 | 2.033 | 0.00075817
322.5 | -4.341 | 2.124 | 0.0007921
323 | -4.252 | 2.213 | 0.0008253
323.5 | -4.163 | 2.302 | 0.00085849
324 | -4.076 | 2.389 | 0.00089093
324.5 | -3.996 | 2.469 | 0.00092077
325 | -3.932 | 2.533 | 0.00094463
325.5 | -3.898 | 2.567 | 0.00095731
326 | -3.902 | 2.563 | 0.00095582
326.5 | -3.932 | 2.533 | 0.00094463
327 | -3.962 | 2.503 | 0.00093344
327.5 | -3.981 | 2.484 | 0.00092636
328 | -4 | 2.465 | 0.00091927
328.5 | -4.027 | 2.438 | 0.0009092
329 | -4.074 | 2.391 | 0.00089168
329.5 | -4.121 | 2.344 | 0.00087415
330 | -4.176 | 2.289 | 0.00085364
330.5 | -4.236 | 2.229 | 0.00083126
331 | -4.28 | 2.185 | 0.00081485
331.5 | -4.307 | 2.158 | 0.00080478
332 | -4.329 | 2.136 | 0.00079658
332.5 | -4.369 | 2.096 | 0.00078166
333 | -4.429 | 2.036 | 0.00075929
333.5 | -4.505 | 1.96 | 0.00073094
334 | -4.591 | 1.874 | 0.00069887
334.5 | -4.674 | 1.791 | 0.00066792
335 | -4.753 | 1.712 | 0.00063846
335.5 | -4.82 | 1.645 | 0.00061347
336 | -4.888 | 1.577 | 0.00058811
336.5 | -4.95 | 1.515 | 0.00056499
337 | -5 | 1.465 | 0.00054634
337.5 | -5.05 | 1.415 | 0.0005277
338 | -5.086 | 1.379 | 0.00051427
338.5 | -5.104 | 1.361 | 0.00050756
339 | -5.109 | 1.356 | 0.00050569
339.5 | -5.116 | 1.349 | 0.00050308
340 | -5.123 | 1.342 | 0.00050047
340.5 | -5.128 | 1.337 | 0.00049861
341 | -5.137 | 1.328 | 0.00049525
341.5 | -5.156 | 1.309 | 0.00048817
342 | -5.184 | 1.281 | 0.00047772
342.5 | -5.207 | 1.258 | 0.00046915
343 | -5.214 | 1.251 | 0.00046654
343.5 | -5.218 | 1.247 | 0.00046504
344 | -5.213 | 1.252 | 0.00046691
344.5 | -5.187 | 1.278 | 0.00047661
345 | -5.15 | 1.315 | 0.0004904
345.5 | -5.092 | 1.373 | 0.00051203
346 | -5.011 | 1.454 | 0.00054224
346.5 | -4.914 | 1.551 | 0.00057842
347 | -4.819 | 1.646 | 0.00061384
347.5 | -4.728 | 1.737 | 0.00064778
348 | -4.643 | 1.822 | 0.00067948
348.5 | -4.555 | 1.91 | 0.0007123
349 | -4.474 | 1.991 | 0.0007425
349.5 | -4.406 | 2.059 | 0.00076786
350 | -4.328 | 2.137 | 0.00079695
350.5 | -4.245 | 2.22 | 0.00082791
351 | -4.169 | 2.296 | 0.00085625
351.5 | -4.098 | 2.367 | 0.00088273
352 | -4.032 | 2.433 | 0.00090734
352.5 | -3.977 | 2.488 | 0.00092785
353 | -3.914 | 2.551 | 0.00095135
353.5 | -3.837 | 2.628 | 0.00098006
354 | -3.746 | 2.719 | 0.001014
354.5 | -3.657 | 2.808 | 0.0010472
355 | -3.576 | 2.889 | 0.0010774
355.5 | -3.5 | 2.965 | 0.0011057
356 | -3.419 | 3.046 | 0.0011359
356.5 | -3.373 | 3.092 | 0.0011531
357 | -3.357 | 3.108 | 0.0011591
357.5 | -3.352 | 3.113 | 0.0011609
358 | -3.378 | 3.087 | 0.0011512
358.5 | -3.438 | 3.027 | 0.0011289
359 | -3.516 | 2.949 | 0.0010998
359.5 | -3.606 | 2.859 | 0.0010662
360 | -3.701 | 2.764 | 0.0010308
360.5 | -3.787 | 2.678 | 0.00099871
361 | -3.867 | 2.598 | 0.00096887
361.5 | -3.942 | 2.523 | 0.0009409
362 | -4.01 | 2.455 | 0.00091554
362.5 | -4.077 | 2.388 | 0.00089056
363 | -4.133 | 2.332 | 0.00086967
363.5 | -4.181 | 2.284 | 0.00085177
364 | -4.246 | 2.219 | 0.00082753
364.5 | -4.31 | 2.155 | 0.00080367
365 | -4.371 | 2.094 | 0.00078092
365.5 | -4.442 | 2.023 | 0.00075444
366 | -4.528 | 1.937 | 0.00072237
366.5 | -4.606 | 1.859 | 0.00069328
367 | -4.673 | 1.792 | 0.00066829
367.5 | -4.745 | 1.72 | 0.00064144
368 | -4.823 | 1.642 | 0.00061235
368.5 | -4.905 | 1.56 | 0.00058177
369 | -4.972 | 1.493 | 0.00055679
369.5 | -5.014 | 1.451 | 0.00054112
370 | -5.046 | 1.419 | 0.00052919
370.5 | -5.055 | 1.41 | 0.00052583
371 | -5.061 | 1.404 | 0.00052359
371.5 | -5.07 | 1.395 | 0.00052024
372 | -5.076 | 1.389 | 0.000518
372.5 | -5.077 | 1.388 | 0.00051763
373 | -5.074 | 1.391 | 0.00051875
373.5 | -5.062 | 1.403 | 0.00052322
374 | -5.031 | 1.434 | 0.00053478
374.5 | -5.012 | 1.453 | 0.00054187
375 | -5.018 | 1.447 | 0.00053963
375.5 | -5.056 | 1.409 | 0.00052546
376 | -5.097 | 1.368 | 0.00051017
376.5 | -5.136 | 1.329 | 0.00049562
377 | -5.173 | 1.292 | 0.00048183
377.5 | -5.202 | 1.263 | 0.00047101
378 | -5.222 | 1.243 | 0.00046355
378.5 | -5.236 | 1.229 | 0.00045833
379 | -5.25 | 1.215 | 0.00045311
379.5 | -5.244 | 1.221 | 0.00045535
380 | -5.205 | 1.26 | 0.00046989
380.5 | -5.146 | 1.319 | 0.0004919
381 | -5.059 | 1.406 | 0.00052434
381.5 | -4.965 | 1.5 | 0.0005594
382 | -4.87 | 1.595 | 0.00059482
382.5 | -4.776 | 1.689 | 0.00062988
383 | -4.668 | 1.797 | 0.00067016
383.5 | -4.543 | 1.922 | 0.00071677
384 | -4.413 | 2.052 | 0.00076525
384.5 | -4.277 | 2.188 | 0.00081597
385 | -4.156 | 2.309 | 0.0008611
385.5 | -4.043 | 2.422 | 0.00090324
386 | -3.957 | 2.508 | 0.00093531
386.5 | -3.888 | 2.577 | 0.00096104
387 | -3.82 | 2.645 | 0.0009864
387.5 | -3.75 | 2.715 | 0.0010125
388 | -3.69 | 2.775 | 0.0010349
388.5 | -3.617 | 2.848 | 0.0010621
389 | -3.541 | 2.924 | 0.0010904
389.5 | -3.455 | 3.01 | 0.0011225
390 | -3.36 | 3.105 | 0.0011579
390.5 | -3.272 | 3.193 | 0.0011908
391 | -3.185 | 3.28 | 0.0012232
391.5 | -3.1 | 3.365 | 0.0012549
392 | -3.028 | 3.437 | 0.0012818
392.5 | -2.969 | 3.496 | 0.0013038
393 | -2.925 | 3.54 | 0.0013202
393.5 | -2.908 | 3.557 | 0.0013265
394 | -2.914 | 3.551 | 0.0013243
394.5 | -2.945 | 3.52 | 0.0013127
395 | -3.006 | 3.459 | 0.00129
395.5 | -3.075 | 3.39 | 0.0012642
396 | -3.155 | 3.31 | 0.0012344
396.5 | -3.249 | 3.216 | 0.0011993
397 | -3.345 | 3.12 | 0.0011635
397.5 | -3.452 | 3.013 | 0.0011236
398 | -3.544 | 2.921 | 0.0010893
398.5 | -3.613 | 2.852 | 0.0010636
399 | -3.645 | 2.82 | 0.0010517
399.5 | -3.662 | 2.803 | 0.0010453
400 | -3.647 | 2.818 | 0.0010509
400.5 | -3.618 | 2.847 | 0.0010617
401 | -3.569 | 2.896 | 0.00108
401.5 | -3.527 | 2.938 | 0.0010957
402 | -3.487 | 2.978 | 0.0011106
402.5 | -3.443 | 3.022 | 0.001127
403 | -3.403 | 3.062 | 0.0011419
403.5 | -3.378 | 3.087 | 0.0011512
404 | -3.378 | 3.087 | 0.0011512
404.5 | -3.395 | 3.07 | 0.0011449
405 | -3.424 | 3.041 | 0.0011341
405.5 | -3.458 | 3.007 | 0.0011214
406 | -3.485 | 2.98 | 0.0011113
406.5 | -3.506 | 2.959 | 0.0011035
407 | -3.523 | 2.942 | 0.0010972
407.5 | -3.539 | 2.926 | 0.0010912
408 | -3.561 | 2.904 | 0.001083
408.5 | -3.602 | 2.863 | 0.0010677
409 | -3.658 | 2.807 | 0.0010468
409.5 | -3.707 | 2.758 | 0.0010285
410 | -3.751 | 2.714 | 0.0010121
410.5 | -3.789 | 2.676 | 0.00099796
411 | -3.824 | 2.641 | 0.00098491
411.5 | -3.837 | 2.628 | 0.00098006
412 | -3.831 | 2.634 | 0.0009823
412.5 | -3.811 | 2.654 | 0.00098976
413 | -3.78 | 2.685 | 0.0010013
413.5 | -3.716 | 2.749 | 0.0010252
414 | -3.633 | 2.832 | 0.0010561
414.5 | -3.537 | 2.928 | 0.0010919
415 | -3.437 | 3.028 | 0.0011292
415.5 | -3.341 | 3.124 | 0.001165
416 | -3.252 | 3.213 | 0.0011982
416.5 | -3.171 | 3.294 | 0.0012284
417 | -3.094 | 3.371 | 0.0012571
417.5 | -3.01 | 3.455 | 0.0012885
418 | -2.935 | 3.53 | 0.0013164
418.5 | -2.858 | 3.607 | 0.0013452
419 | -2.78 | 3.685 | 0.0013742
419.5 | -2.693 | 3.772 | 0.0014067
420 | -2.586 | 3.879 | 0.0014466
420.5 | -2.438 | 4.027 | 0.0015018
421 | -2.257 | 4.208 | 0.0015693
421.5 | -2.063 | 4.402 | 0.0016416
422 | -1.871 | 4.594 | 0.0017132
422.5 | -1.707 | 4.758 | 0.0017744
423 | -1.577 | 4.888 | 0.0018229
423.5 | -1.496 | 4.969 | 0.0018531
424 | -1.467 | 4.998 | 0.0018639
424.5 | -1.484 | 4.981 | 0.0018576
425 | -1.548 | 4.917 | 0.0018337
425.5 | -1.641 | 4.824 | 0.001799
426 | -1.751 | 4.714 | 0.001758
426.5 | -1.856 | 4.609 | 0.0017188
427 | -1.943 | 4.522 | 0.0016864
427.5 | -1.999 | 4.466 | 0.0016655
428 | -2.024 | 4.441 | 0.0016562
428.5 | -2.005 | 4.46 | 0.0016633
429 | -1.96 | 4.505 | 0.0016801
429.5 | -1.907 | 4.558 | 0.0016998
430 | -1.835 | 4.63 | 0.0017267
430.5 | -1.757 | 4.708 | 0.0017558
431 | -1.692 | 4.773 | 0.00178
431.5 | -1.631 | 4.834 | 0.0018027
432 | -1.563 | 4.902 | 0.0018281
432.5 | -1.5 | 4.965 | 0.0018516
433 | -1.445 | 5.02 | 0.0018721
433.5 | -1.408 | 5.057 | 0.0018859
434 | -1.377 | 5.088 | 0.0018975
434.5 | -1.343 | 5.122 | 0.0019101
435 | -1.298 | 5.167 | 0.0019269
435.5 | -1.237 | 5.228 | 0.0019497
436 | -1.163 | 5.302 | 0.0019773
436.5 | -1.087 | 5.378 | 0.0020056
437 | -1.031 | 5.434 | 0.0020265
437.5 | -0.9966 | 5.4684 | 0.0020393
438 | -0.9781 | 5.4869 | 0.0020462
438.5 | -0.9704 | 5.4946 | 0.0020491
439 | -0.9465 | 5.5185 | 0.002058
439.5 | -0.8968 | 5.5682 | 0.0020766
440 | -0.8384 | 5.6266 | 0.0020983
440.5 | -0.7782 | 5.6868 | 0.0021208
441 | -0.7064 | 5.7586 | 0.0021476
441.5 | -0.6156 | 5.8494 | 0.0021814
442 | -0.5028 | 5.9622 | 0.0022235
442.5 | -0.3557 | 6.1093 | 0.0022783
443 | -0.1805 | 6.2845 | 0.0023437
443.5 | -0.009381 | 6.4556 | 0.0024075
444 | 0.1429 | 6.6079 | 0.0024643
444.5 | 0.2768 | 6.7418 | 0.0025142
445 | 0.4065 | 6.8715 | 0.0025626
445.5 | 0.5372 | 7.0022 | 0.0026113
446 | 0.6868 | 7.1518 | 0.0026671
446.5 | 0.8609 | 7.3259 | 0.0027321
447 | 1.042 | 7.507 | 0.0027996
447.5 | 1.229 | 7.694 | 0.0028693
448 | 1.423 | 7.888 | 0.0029417
448.5 | 1.65 | 8.115 | 0.0030263
449 | 1.91 | 8.375 | 0.0031233
449.5 | 2.211 | 8.676 | 0.0032355
450 | 2.534 | 8.999 | 0.003356
450.5 | 2.855 | 9.32 | 0.0034757
451 | 3.145 | 9.61 | 0.0035839
451.5 | 3.396 | 9.861 | 0.0036775
452 | 3.614 | 10.079 | 0.0037588
452.5 | 3.81 | 10.275 | 0.0038319
453 | 3.992 | 10.457 | 0.0038997
453.5 | 4.161 | 10.626 | 0.0039628
454 | 4.313 | 10.778 | 0.0040194
454.5 | 4.442 | 10.907 | 0.0040676
455 | 4.561 | 11.026 | 0.0041119
455.5 | 4.694 | 11.159 | 0.0041615
456 | 4.846 | 11.311 | 0.0042182
456.5 | 5.028 | 11.493 | 0.0042861
457 | 5.245 | 11.71 | 0.004367
457.5 | 5.495 | 11.96 | 0.0044602
458 | 5.762 | 12.227 | 0.0045598
458.5 | 6.061 | 12.526 | 0.0046713
459 | 6.43 | 12.895 | 0.0048089
459.5 | 6.85 | 13.315 | 0.0049656
460 | 7.319 | 13.784 | 0.0051405
460.5 | 7.813 | 14.278 | 0.0053247
461 | 8.33 | 14.795 | 0.0055175
461.5 | 8.86 | 15.325 | 0.0057152
462 | 9.409 | 15.874 | 0.0059199
462.5 | 9.98 | 16.445 | 0.0061328
463 | 10.59 | 17.055 | 0.0063603
463.5 | 11.25 | 17.715 | 0.0066065
464 | 11.95 | 18.415 | 0.0068675
464.5 | 12.68 | 19.145 | 0.0071398
465 | 13.44 | 19.905 | 0.0074232
465.5 | 14.24 | 20.705 | 0.0077215
466 | 15.1 | 21.565 | 0.0080422
466.5 | 16 | 22.465 | 0.0083779
467 | 16.99 | 23.455 | 0.0087471
467.5 | 18.05 | 24.515 | 0.0091424
468 | 19.21 | 25.675 | 0.009575
468.5 | 20.47 | 26.935 | 0.010045
469 | 21.8 | 28.265 | 0.010541
469.5 | 23.24 | 29.705 | 0.011078
470 | 24.78 | 31.245 | 0.011652
470.5 | 26.4 | 32.865 | 0.012256
471 | 28.09 | 34.555 | 0.012887
471.5 | 29.85 | 36.315 | 0.013543
472 | 31.71 | 38.175 | 0.014237
472.5 | 33.65 | 40.115 | 0.01496
473 | 35.73 | 42.195 | 0.015736
473.5 | 37.92 | 44.385 | 0.016553
474 | 40.28 | 46.745 | 0.017433
474.5 | 42.76 | 49.225 | 0.018358
475 | 45.42 | 51.885 | 0.019349
475.5 | 48.26 | 54.725 | 0.020409
476 | 51.34 | 57.805 | 0.021557
476.5 | 54.66 | 61.125 | 0.022795
477 | 58.19 | 64.655 | 0.024112
477.5 | 62 | 68.465 | 0.025533
478 | 66.02 | 72.485 | 0.027032
478.5 | 70.3 | 76.765 | 0.028628
479 | 74.83 | 81.295 | 0.030317
479.5 | 79.63 | 86.095 | 0.032107
480 | 84.68 | 91.145 | 0.033991
480.5 | 89.99 | 96.455 | 0.035971
481 | 95.58 | 102.045 | 0.038056
481.5 | 101.4 | 107.865 | 0.040226
482 | 107.6 | 114.065 | 0.042538
482.5 | 114.2 | 120.665 | 0.045
483 | 121.1 | 127.565 | 0.047573
483.5 | 128.4 | 134.865 | 0.050295
484 | 136.2 | 142.665 | 0.053204
484.5 | 144.3 | 150.765 | 0.056225
485 | 152.8 | 159.265 | 0.059395
485.5 | 161.9 | 168.365 | 0.062788
486 | 171.5 | 177.965 | 0.066369
486.5 | 181.6 | 188.065 | 0.070135
487 | 192.2 | 198.665 | 0.074088
487.5 | 203.5 | 209.965 | 0.078302
488 | 215.3 | 221.765 | 0.082703
488.5 | 227.8 | 234.265 | 0.087365
489 | 241 | 247.465 | 0.092287
489.5 | 255 | 261.465 | 0.097508
490 | 269.8 | 276.265 | 0.10303
490.5 | 285.5 | 291.965 | 0.10888
491 | 302.2 | 308.665 | 0.11511
491.5 | 319.8 | 326.265 | 0.12167
492 | 338.5 | 344.965 | 0.12865
492.5 | 358 | 364.465 | 0.13592
493 | 378.7 | 385.165 | 0.14364
493.5 | 400.2 | 406.665 | 0.15166
494 | 422.6 | 429.065 | 0.16001
494.5 | 446 | 452.465 | 0.16874
495 | 470.3 | 476.765 | 0.1778
495.5 | 495.7 | 502.165 | 0.18727
496 | 522.1 | 528.565 | 0.19712
496.5 | 549.5 | 555.965 | 0.20734
497 | 578 | 584.465 | 0.21796
497.5 | 607.6 | 614.065 | 0.229
498 | 638.3 | 644.765 | 0.24045
498.5 | 670.3 | 676.765 | 0.25239
499 | 703.5 | 709.965 | 0.26477
499.5 | 738.3 | 744.765 | 0.27775
500 | 774.3 | 780.765 | 0.29117
500.5 | 811.8 | 818.265 | 0.30516
501 | 850.6 | 857.065 | 0.31963
501.5 | 890.9 | 897.365 | 0.33465
502 | 932.4 | 938.865 | 0.35013
502.5 | 975.3 | 981.765 | 0.36613
503 | 1019 | 1025.465 | 0.38243
503.5 | 1064 | 1070.465 | 0.39921
504 | 1111 | 1117.465 | 0.41674
504.5 | 1158 | 1164.465 | 0.43426
505 | 1205 | 1211.465 | 0.45179
505.5 | 1254 | 1260.465 | 0.47007
506 | 1302 | 1308.465 | 0.48797
506.5 | 1352 | 1358.465 | 0.50661
507 | 1401 | 1407.465 | 0.52489
507.5 | 1450 | 1456.465 | 0.54316
508 | 1500 | 1506.465 | 0.56181
508.5 | 1549 | 1555.465 | 0.58008
509 | 1598 | 1604.465 | 0.59835
509.5 | 1648 | 1654.465 | 0.617
510 | 1697 | 1703.465 | 0.63527
510.5 | 1747 | 1753.465 | 0.65392
511 | 1796 | 1802.465 | 0.67219
511.5 | 1844 | 1850.465 | 0.69009
512 | 1892 | 1898.465 | 0.708
512.5 | 1940 | 1946.465 | 0.7259
513 | 1988 | 1994.465 | 0.7438
513.5 | 2034 | 2040.465 | 0.76095
514 | 2080 | 2086.465 | 0.77811
514.5 | 2125 | 2131.465 | 0.79489
515 | 2169 | 2175.465 | 0.8113
515.5 | 2212 | 2218.465 | 0.82733
516 | 2254 | 2260.465 | 0.843
516.5 | 2295 | 2301.465 | 0.85829
517 | 2334 | 2340.465 | 0.87283
517.5 | 2372 | 2378.465 | 0.887
518 | 2408 | 2414.465 | 0.90043
518.5 | 2441 | 2447.465 | 0.91273
519 | 2474 | 2480.465 | 0.92504
519.5 | 2503 | 2509.465 | 0.93586
520 | 2531 | 2537.465 | 0.9463
520.5 | 2556 | 2562.465 | 0.95562
521 | 2580 | 2586.465 | 0.96457
521.5 | 2600 | 2606.465 | 0.97203
522 | 2619 | 2625.465 | 0.97912
522.5 | 2635 | 2641.465 | 0.98508
523 | 2649 | 2655.465 | 0.9903
523.5 | 2659 | 2665.465 | 0.99403
524 | 2667 | 2673.465 | 0.99702
524.5 | 2672 | 2678.465 | 0.99888
525 | 2675 | 2681.465 | 1
525.5 | 2675 | 2681.465 | 1
526 | 2672 | 2678.465 | 0.99888
526.5 | 2668 | 2674.465 | 0.99739
527 | 2661 | 2667.465 | 0.99478
527.5 | 2653 | 2659.465 | 0.9918
528 | 2642 | 2648.465 | 0.98769
528.5 | 2631 | 2637.465 | 0.98359
529 | 2618 | 2624.465 | 0.97874
529.5 | 2603 | 2609.465 | 0.97315
530 | 2587 | 2593.465 | 0.96718
530.5 | 2569 | 2575.465 | 0.96047
531 | 2551 | 2557.465 | 0.95376
531.5 | 2531 | 2537.465 | 0.9463
532 | 2509 | 2515.465 | 0.93809
532.5 | 2486 | 2492.465 | 0.92952
533 | 2461 | 2467.465 | 0.92019
533.5 | 2435 | 2441.465 | 0.9105
534 | 2406 | 2412.465 | 0.89968
534.5 | 2376 | 2382.465 | 0.88849
535 | 2345 | 2351.465 | 0.87693
535.5 | 2312 | 2318.465 | 0.86463
536 | 2279 | 2285.465 | 0.85232
536.5 | 2244 | 2250.465 | 0.83927
537 | 2209 | 2215.465 | 0.82621
537.5 | 2172 | 2178.465 | 0.81242
538 | 2135 | 2141.465 | 0.79862
538.5 | 2097 | 2103.465 | 0.78445
539 | 2058 | 2064.465 | 0.7699
539.5 | 2018 | 2024.465 | 0.75498
540 | 1979 | 1985.465 | 0.74044
540.5 | 1940 | 1946.465 | 0.7259
541 | 1901 | 1907.465 | 0.71135
541.5 | 1862 | 1868.465 | 0.69681
542 | 1824 | 1830.465 | 0.68264
542.5 | 1785 | 1791.465 | 0.66809
543 | 1747 | 1753.465 | 0.65392
543.5 | 1709 | 1715.465 | 0.63975
544 | 1671 | 1677.465 | 0.62558
544.5 | 1633 | 1639.465 | 0.61141
545 | 1595 | 1601.465 | 0.59724
545.5 | 1558 | 1564.465 | 0.58344
546 | 1522 | 1528.465 | 0.57001
546.5 | 1485 | 1491.465 | 0.55621
547 | 1449 | 1455.465 | 0.54279
547.5 | 1413 | 1419.465 | 0.52936
548 | 1376 | 1382.465 | 0.51556
548.5 | 1340 | 1346.465 | 0.50214
549 | 1304 | 1310.465 | 0.48871
549.5 | 1268 | 1274.465 | 0.47529
550 | 1232 | 1238.465 | 0.46186
550.5 | 1197 | 1203.465 | 0.44881
551 | 1161 | 1167.465 | 0.43538
551.5 | 1125 | 1131.465 | 0.42196
552 | 1090 | 1096.465 | 0.40891
552.5 | 1055 | 1061.465 | 0.39585
553 | 1020 | 1026.465 | 0.3828
553.5 | 985.7 | 992.165 | 0.37001
554 | 952 | 958.465 | 0.35744
554.5 | 919.1 | 925.565 | 0.34517
555 | 887.3 | 893.765 | 0.33331
555.5 | 856.7 | 863.165 | 0.3219
556 | 827.1 | 833.565 | 0.31086
556.5 | 798.2 | 804.665 | 0.30008
557 | 770.3 | 776.765 | 0.28968
557.5 | 743.3 | 749.765 | 0.27961
558 | 717.2 | 723.665 | 0.26988
558.5 | 691.9 | 698.365 | 0.26044
559 | 667.5 | 673.965 | 0.25134
559.5 | 643.9 | 650.365 | 0.24254
560 | 621.3 | 627.765 | 0.23411
560.5 | 599.5 | 605.965 | 0.22598
561 | 578.6 | 585.065 | 0.21819
561.5 | 558.6 | 565.065 | 0.21073
562 | 539.4 | 545.865 | 0.20357
562.5 | 521 | 527.465 | 0.19671
563 | 503.2 | 509.665 | 0.19007
563.5 | 486.1 | 492.565 | 0.18369
564 | 469.5 | 475.965 | 0.1775
564.5 | 453.4 | 459.865 | 0.1715
565 | 437.6 | 444.065 | 0.16561
565.5 | 422.3 | 428.765 | 0.1599
566 | 407.2 | 413.665 | 0.15427
566.5 | 392.4 | 398.865 | 0.14875
567 | 377.9 | 384.365 | 0.14334
567.5 | 363.8 | 370.265 | 0.13808
568 | 350.2 | 356.665 | 0.13301
568.5 | 337 | 343.465 | 0.12809
569 | 324.4 | 330.865 | 0.12339
569.5 | 312.3 | 318.765 | 0.11888
570 | 300.6 | 307.065 | 0.11451
570.5 | 289.4 | 295.865 | 0.11034
571 | 278.7 | 285.165 | 0.10635
571.5 | 268.5 | 274.965 | 0.10254
572 | 258.6 | 265.065 | 0.098851
572.5 | 249 | 255.465 | 0.095271
573 | 239.8 | 246.265 | 0.09184
573.5 | 231 | 237.465 | 0.088558
574 | 222.6 | 229.065 | 0.085425
574.5 | 214.5 | 220.965 | 0.082405
575 | 206.8 | 213.265 | 0.079533
575.5 | 199.4 | 205.865 | 0.076773
576 | 192.3 | 198.765 | 0.074126
576.5 | 185.6 | 192.065 | 0.071627
577 | 179.3 | 185.765 | 0.069277
577.5 | 173.2 | 179.665 | 0.067003
578 | 167.5 | 173.965 | 0.064877
578.5 | 162 | 168.465 | 0.062826
579 | 156.6 | 163.065 | 0.060812
579.5 | 151.5 | 157.965 | 0.05891
580 | 146.6 | 153.065 | 0.057083
580.5 | 141.9 | 148.365 | 0.05533
581 | 137.4 | 143.865 | 0.053652
581.5 | 133.1 | 139.565 | 0.052048
582 | 128.8 | 135.265 | 0.050444
582.5 | 124.7 | 131.165 | 0.048915
583 | 120.6 | 127.065 | 0.047386
583.5 | 116.7 | 123.165 | 0.045932
584 | 112.9 | 119.365 | 0.044515
584.5 | 109.1 | 115.565 | 0.043098
585 | 105.3 | 111.765 | 0.041681
585.5 | 101.5 | 107.965 | 0.040263
586 | 97.87 | 104.335 | 0.03891
586.5 | 94.28 | 100.745 | 0.037571
587 | 90.77 | 97.235 | 0.036262
587.5 | 87.33 | 93.795 | 0.034979
588 | 83.98 | 90.445 | 0.03373
588.5 | 80.74 | 87.205 | 0.032521
589 | 77.65 | 84.115 | 0.031369
589.5 | 74.7 | 81.165 | 0.030269
590 | 71.89 | 78.355 | 0.029221
590.5 | 69.17 | 75.635 | 0.028207
591 | 66.52 | 72.985 | 0.027218
591.5 | 63.95 | 70.415 | 0.02626
592 | 61.43 | 67.895 | 0.02532
592.5 | 58.98 | 65.445 | 0.024406
593 | 56.62 | 63.085 | 0.023526
593.5 | 54.37 | 60.835 | 0.022687
594 | 52.2 | 58.665 | 0.021878
594.5 | 50.13 | 56.595 | 0.021106
595 | 48.17 | 54.635 | 0.020375
595.5 | 46.33 | 52.795 | 0.019689
596 | 44.57 | 51.035 | 0.019033
596.5 | 42.89 | 49.355 | 0.018406
597 | 41.29 | 47.755 | 0.017809
597.5 | 39.76 | 46.225 | 0.017239
598 | 38.27 | 44.735 | 0.016683
598.5 | 36.79 | 43.255 | 0.016131
599 | 35.33 | 41.795 | 0.015587
599.5 | 33.9 | 40.365 | 0.015053
600 | 32.48 | 38.945 | 0.014524
600.5 | 31.1 | 37.565 | 0.014009
601 | 29.79 | 36.255 | 0.013521
601.5 | 28.53 | 34.995 | 0.013051
602 | 27.34 | 33.805 | 0.012607
602.5 | 26.22 | 32.685 | 0.012189
603 | 25.2 | 31.665 | 0.011809
603.5 | 24.25 | 30.715 | 0.011455
604 | 23.36 | 29.825 | 0.011123
604.5 | 22.48 | 28.945 | 0.010794
605 | 21.6 | 28.065 | 0.010466
605.5 | 20.73 | 27.195 | 0.010142
606 | 19.89 | 26.355 | 0.0098286
606.5 | 19.08 | 25.545 | 0.0095265
607 | 18.3 | 24.765 | 0.0092356
607.5 | 17.52 | 23.985 | 0.0089447
608 | 16.75 | 23.215 | 0.0086576
608.5 | 15.98 | 22.445 | 0.0083704
609 | 15.25 | 21.715 | 0.0080982
609.5 | 14.56 | 21.025 | 0.0078409
610 | 13.88 | 20.345 | 0.0075873
610.5 | 13.24 | 19.705 | 0.0073486
611 | 12.62 | 19.085 | 0.0071174
611.5 | 12 | 18.465 | 0.0068862
612 | 11.38 | 17.845 | 0.0066549
612.5 | 10.76 | 17.225 | 0.0064237
613 | 10.13 | 16.595 | 0.0061888
613.5 | 9.487 | 15.952 | 0.005949
614 | 8.824 | 15.289 | 0.0057017
614.5 | 8.167 | 14.632 | 0.0054567
615 | 7.548 | 14.013 | 0.0052259
615.5 | 6.984 | 13.449 | 0.0050155
616 | 6.467 | 12.932 | 0.0048227
616.5 | 5.994 | 12.459 | 0.0046463
617 | 5.553 | 12.018 | 0.0044819
617.5 | 5.135 | 11.6 | 0.004326
618 | 4.739 | 11.204 | 0.0041783
618.5 | 4.368 | 10.833 | 0.00404
619 | 4.019 | 10.484 | 0.0039098
619.5 | 3.667 | 10.132 | 0.0037785
620 | 3.286 | 9.751 | 0.0036364
620.5 | 2.889 | 9.354 | 0.0034884
621 | 2.482 | 8.947 | 0.0033366
621.5 | 2.088 | 8.553 | 0.0031897
622 | 1.72 | 8.185 | 0.0030524
622.5 | 1.398 | 7.863 | 0.0029324
623 | 1.138 | 7.603 | 0.0028354
623.5 | 0.924 | 7.389 | 0.0027556
624 | 0.7302 | 7.1952 | 0.0026833
624.5 | 0.5471 | 7.0121 | 0.002615
625 | 0.3584 | 6.8234 | 0.0025447
625.5 | 0.1464 | 6.6114 | 0.0024656
626 | -0.08974 | 6.3753 | 0.0023775
626.5 | -0.319 | 6.146 | 0.002292
627 | -0.5398 | 5.9252 | 0.0022097
627.5 | -0.752 | 5.713 | 0.0021306
628 | -0.9324 | 5.5326 | 0.0020633
628.5 | -1.086 | 5.379 | 0.002006
629 | -1.214 | 5.251 | 0.0019583
629.5 | -1.327 | 5.138 | 0.0019161
630 | -1.434 | 5.031 | 0.0018762
630.5 | -1.535 | 4.93 | 0.0018385
631 | -1.637 | 4.828 | 0.0018005
631.5 | -1.732 | 4.733 | 0.0017651
632 | -1.82 | 4.645 | 0.0017323
632.5 | -1.892 | 4.573 | 0.0017054
633 | -1.97 | 4.495 | 0.0016763
633.5 | -2.077 | 4.388 | 0.0016364
634 | -2.203 | 4.262 | 0.0015894
634.5 | -2.333 | 4.132 | 0.0015409
635 | -2.443 | 4.022 | 0.0014999
635.5 | -2.512 | 3.953 | 0.0014742
636 | -2.569 | 3.896 | 0.0014529
636.5 | -2.64 | 3.825 | 0.0014265
637 | -2.754 | 3.711 | 0.0013839
637.5 | -2.876 | 3.589 | 0.0013384
638 | -3.001 | 3.464 | 0.0012918
638.5 | -3.12 | 3.345 | 0.0012475
639 | -3.231 | 3.234 | 0.0012061
639.5 | -3.335 | 3.13 | 0.0011673
640 | -3.409 | 3.056 | 0.0011397
640.5 | -3.45 | 3.015 | 0.0011244
641 | -3.456 | 3.009 | 0.0011221
641.5 | -3.452 | 3.013 | 0.0011236
642 | -3.479 | 2.986 | 0.0011136
642.5 | -3.56 | 2.905 | 0.0010834
643 | -3.693 | 2.772 | 0.0010338
643.5 | -3.848 | 2.617 | 0.00097596
644 | -4.016 | 2.449 | 0.00091331
644.5 | -4.17 | 2.295 | 0.00085588
645 | -4.303 | 2.162 | 0.00080628
645.5 | -4.433 | 2.032 | 0.00075779
646 | -4.541 | 1.924 | 0.00071752
646.5 | -4.612 | 1.853 | 0.00069104
647 | -4.653 | 1.812 | 0.00067575
647.5 | -4.694 | 1.771 | 0.00066046
648 | -4.748 | 1.717 | 0.00064032
648.5 | -4.823 | 1.642 | 0.00061235
649 | -4.925 | 1.54 | 0.00057431
649.5 | -5.046 | 1.419 | 0.00052919
650 | -5.151 | 1.314 | 0.00049003
650.5 | -5.228 | 1.237 | 0.00046131
651 | -5.286 | 1.179 | 0.00043969
651.5 | -5.333 | 1.132 | 0.00042216
652 | -5.351 | 1.114 | 0.00041544
652.5 | -5.337 | 1.128 | 0.00042067
653 | -5.333 | 1.132 | 0.00042216
653.5 | -5.334 | 1.131 | 0.00042178
654 | -5.329 | 1.136 | 0.00042365
654.5 | -5.35 | 1.115 | 0.00041582
655 | -5.408 | 1.057 | 0.00039419
655.5 | -5.469 | 0.996 | 0.00037144
656 | -5.524 | 0.941 | 0.00035093
656.5 | -5.582 | 0.883 | 0.0003293
657 | -5.663 | 0.802 | 0.00029909
657.5 | -5.762 | 0.703 | 0.00026217
658 | -5.846 | 0.619 | 0.00023084
658.5 | -5.934 | 0.531 | 0.00019803
659 | -6.009 | 0.456 | 0.00017006
659.5 | -6.046 | 0.419 | 0.00015626
660 | -6.08 | 0.385 | 0.00014358
660.5 | -6.126 | 0.339 | 0.00012642
661 | -6.17 | 0.295 | 0.00011001
661.5 | -6.199 | 0.266 | 9.92e-05
662 | -6.222 | 0.243 | 9.0622e-05
662.5 | -6.263 | 0.202 | 7.5332e-05
663 | -6.317 | 0.148 | 5.5194e-05
663.5 | -6.376 | 0.089 | 3.3191e-05
664 | -6.439 | 0.026 | 9.6962e-06
664.5 | -6.485 | 0 | 0
665 | -6.501 | 0 | 0
665.5 | -6.511 | 0 | 0
666 | -6.543 | 0 | 0
666.5 | -6.599 | 0 | 0
667 | -6.639 | 0 | 0
667.5 | -6.658 | 0 | 0
668 | -6.686 | 0 | 0
668.5 | -6.711 | 0 | 0
669 | -6.747 | 0 | 0
669.5 | -6.792 | 0 | 0
670 | -6.822 | 0 | 0
670.5 | -6.829 | 0 | 0
671 | -6.834 | 0 | 0
671.5 | -6.863 | 0 | 0
672 | -6.901 | 0 | 0
672.5 | -6.919 | 0 | 0
673 | -6.895 | 0 | 0
673.5 | -6.863 | 0 | 0
674 | -6.838 | 0 | 0
674.5 | -6.833 | 0 | 0
675 | -6.874 | 0 | 0
675.5 | -6.942 | 0 | 0
676 | -7.029 | 0 | 0
676.5 | -7.127 | 0 | 0
677 | -7.232 | 0 | 0
677.5 | -7.338 | 0 | 0
678 | -7.402 | 0 | 0
678.5 | -7.433 | 0 | 0
679 | -7.458 | 0 | 0
679.5 | -7.485 | 0 | 0
680 | -7.537 | 0 | 0
680.5 | -7.609 | 0 | 0
681 | -7.68 | 0 | 0
681.5 | -7.745 | 0 | 0
682 | -7.824 | 0 | 0
682.5 | -7.914 | 0 | 0
683 | -7.98 | 0 | 0
683.5 | -8.018 | 0 | 0
684 | -8.015 | 0 | 0
684.5 | -7.994 | 0 | 0
685 | -7.941 | 0 | 0
685.5 | -7.86 | 0 | 0
686 | -7.775 | 0 | 0
686.5 | -7.685 | 0 | 0
687 | -7.608 | 0 | 0
687.5 | -7.546 | 0 | 0
688 | -7.515 | 0 | 0
688.5 | -7.471 | 0 | 0
689 | -7.417 | 0 | 0
689.5 | -7.35 | 0 | 0
690 | -7.285 | 0 | 0
690.5 | -7.22 | 0 | 0
691 | -7.139 | 0 | 0
691.5 | -7.072 | 0 | 0
692 | -7.02 | 0 | 0
692.5 | -6.991 | 0 | 0
693 | -6.967 | 0 | 0
693.5 | -6.951 | 0 | 0
694 | -6.935 | 0 | 0
694.5 | -6.938 | 0 | 0
695 | -6.973 | 0 | 0
695.5 | -7.032 | 0 | 0
696 | -7.099 | 0 | 0
696.5 | -7.12 | 0 | 0
697 | -7.125 | 0 | 0
697.5 | -7.132 | 0 | 0
698 | -7.153 | 0 | 0
698.5 | -7.18 | 0 | 0
699 | -7.203 | 0 | 0
699.5 | -7.213 | 0 | 0
700 | -7.233 | 0 | 0
700.5 | -7.29 | 0 | 0
701 | -7.348 | 0 | 0
701.5 | -7.386 | 0 | 0
702 | -7.391 | 0 | 0
702.5 | -7.401 | 0 | 0
703 | -7.427 | 0 | 0
703.5 | -7.461 | 0 | 0
704 | -7.467 | 0 | 0
704.5 | -7.446 | 0 | 0
705 | -7.385 | 0 | 0
705.5 | -7.297 | 0 | 0
706 | -7.237 | 0 | 0
706.5 | -7.188 | 0 | 0
707 | -7.13 | 0 | 0
707.5 | -7.088 | 0 | 0
708 | -7.072 | 0 | 0
708.5 | -7.092 | 0 | 0
709 | -7.14 | 0 | 0
709.5 | -7.2 | 0 | 0
710 | -7.254 | 0 | 0
710.5 | -7.303 | 0 | 0
711 | -7.361 | 0 | 0
711.5 | -7.403 | 0 | 0
712 | -7.418 | 0 | 0
712.5 | -7.421 | 0 | 0
713 | -7.425 | 0 | 0
713.5 | -7.442 | 0 | 0
714 | -7.453 | 0 | 0
714.5 | -7.454 | 0 | 0
715 | -7.448 | 0 | 0
715.5 | -7.426 | 0 | 0
716 | -7.408 | 0 | 0
716.5 | -7.386 | 0 | 0
717 | -7.319 | 0 | 0
717.5 | -7.245 | 0 | 0
718 | -7.188 | 0 | 0
718.5 | -7.173 | 0 | 0
719 | -7.185 | 0 | 0
719.5 | -7.181 | 0 | 0
720 | -7.158 | 0 | 0
720.5 | -7.121 | 0 | 0
721 | -7.088 | 0 | 0
721.5 | -7.079 | 0 | 0
722 | -7.073 | 0 | 0
722.5 | -7.073 | 0 | 0
723 | -7.09 | 0 | 0
723.5 | -7.131 | 0 | 0
724 | -7.212 | 0 | 0
724.5 | -7.291 | 0 | 0
725 | -7.357 | 0 | 0
725.5 | -7.399 | 0 | 0
726 | -7.419 | 0 | 0
726.5 | -7.423 | 0 | 0
727 | -7.409 | 0 | 0
727.5 | -7.362 | 0 | 0
728 | -7.286 | 0 | 0
728.5 | -7.182 | 0 | 0
729 | -7.084 | 0 | 0
729.5 | -6.994 | 0 | 0
730 | -6.923 | 0 | 0
730.5 | -6.898 | 0 | 0
731 | -6.893 | 0 | 0
731.5 | -6.903 | 0 | 0
732 | -6.913 | 0 | 0
732.5 | -6.923 | 0 | 0
733 | -6.935 | 0 | 0
733.5 | -6.938 | 0 | 0
734 | -6.94 | 0 | 0
734.5 | -6.96 | 0 | 0
735 | -6.982 | 0 | 0
735.5 | -7.032 | 0 | 0
736 | -7.119 | 0 | 0
736.5 | -7.21 | 0 | 0
737 | -7.29 | 0 | 0
737.5 | -7.355 | 0 | 0
738 | -7.412 | 0 | 0
738.5 | -7.488 | 0 | 0
739 | -7.576 | 0 | 0
739.5 | -7.674 | 0 | 0
740 | -7.756 | 0 | 0
740.5 | -7.79 | 0 | 0
741 | -7.797 | 0 | 0
741.5 | -7.79 | 0 | 0
742 | -7.75 | 0 | 0
742.5 | -7.686 | 0 | 0
743 | -7.601 | 0 | 0
743.5 | -7.506 | 0 | 0
744 | -7.44 | 0 | 0
744.5 | -7.445 | 0 | 0
745 | -7.497 | 0 | 0
745.5 | -7.548 | 0 | 0
746 | -7.576 | 0 | 0
746.5 | -7.593 | 0 | 0
747 | -7.623 | 0 | 0
747.5 | -7.636 | 0 | 0
748 | -7.626 | 0 | 0
748.5 | -7.578 | 0 | 0
749 | -7.52 | 0 | 0
749.5 | -7.489 | 0 | 0
750 | -7.486 | 0 | 0
750.5 | -7.481 | 0 | 0
751 | -7.46 | 0 | 0
751.5 | -7.418 | 0 | 0
752 | -7.385 | 0 | 0
752.5 | -7.379 | 0 | 0
753 | -7.369 | 0 | 0
753.5 | -7.344 | 0 | 0
754 | -7.297 | 0 | 0
754.5 | -7.249 | 0 | 0
755 | -7.222 | 0 | 0
755.5 | -7.212 | 0 | 0
756 | -7.219 | 0 | 0
756.5 | -7.251 | 0 | 0
757 | -7.312 | 0 | 0
757.5 | -7.396 | 0 | 0
758 | -7.476 | 0 | 0
758.5 | -7.527 | 0 | 0
759 | -7.545 | 0 | 0
759.5 | -7.538 | 0 | 0
760 | -7.538 | 0 | 0
760.5 | -7.541 | 0 | 0
761 | -7.544 | 0 | 0
761.5 | -7.557 | 0 | 0
762 | -7.591 | 0 | 0
762.5 | -7.61 | 0 | 0
763 | -7.598 | 0 | 0
763.5 | -7.564 | 0 | 0
764 | -7.521 | 0 | 0
764.5 | -7.509 | 0 | 0
765 | -7.529 | 0 | 0
765.5 | -7.57 | 0 | 0
766 | -7.579 | 0 | 0
766.5 | -7.543 | 0 | 0
767 | -7.496 | 0 | 0
767.5 | -7.457 | 0 | 0
768 | -7.445 | 0 | 0
768.5 | -7.452 | 0 | 0
769 | -7.453 | 0 | 0
769.5 | -7.491 | 0 | 0
770 | -7.578 | 0 | 0
770.5 | -7.685 | 0 | 0
771 | -7.763 | 0 | 0
771.5 | -7.79 | 0 | 0
772 | -7.795 | 0 | 0
772.5 | -7.789 | 0 | 0
773 | -7.773 | 0 | 0
773.5 | -7.707 | 0 | 0
774 | -7.566 | 0 | 0
774.5 | -7.392 | 0 | 0
775 | -7.25 | 0 | 0
775.5 | -7.157 | 0 | 0
776 | -7.078 | 0 | 0
776.5 | -7.017 | 0 | 0
777 | -6.977 | 0 | 0
777.5 | -6.962 | 0 | 0
778 | -6.956 | 0 | 0
778.5 | -6.93 | 0 | 0
779 | -6.877 | 0 | 0
779.5 | -6.812 | 0 | 0
780 | -6.786 | 0 | 0
780.5 | -6.797 | 0 | 0
781 | -6.796 | 0 | 0
781.5 | -6.819 | 0 | 0
782 | -6.88 | 0 | 0
782.5 | -6.998 | 0 | 0
783 | -7.176 | 0 | 0
783.5 | -7.376 | 0 | 0
784 | -7.572 | 0 | 0
784.5 | -7.765 | 0 | 0
785 | -7.963 | 0 | 0
785.5 | -8.131 | 0 | 0
786 | -8.248 | 0 | 0
786.5 | -8.33 | 0 | 0
787 | -8.394 | 0 | 0
787.5 | -8.432 | 0 | 0
788 | -8.438 | 0 | 0
788.5 | -8.377 | 0 | 0
789 | -8.287 | 0 | 0
789.5 | -8.228 | 0 | 0
790 | -8.239 | 0 | 0
790.5 | -8.275 | 0 | 0
791 | -8.311 | 0 | 0
791.5 | -8.311 | 0 | 0
792 | -8.284 | 0 | 0
792.5 | -8.225 | 0 | 0
793 | -8.093 | 0 | 0
793.5 | -7.884 | 0 | 0
794 | -7.654 | 0 | 0
794.5 | -7.449 | 0 | 0
795 | -7.306 | 0 | 0
795.5 | -7.204 | 0 | 0
796 | -7.128 | 0 | 0
796.5 | -7.099 | 0 | 0
797 | -7.14 | 0 | 0
797.5 | -7.222 | 0 | 0
798 | -7.295 | 0 | 0
798.5 | -7.315 | 0 | 0
799 | -7.28 | 0 | 0
799.5 | -7.192 | 0 | 0
800 | -7.069 | 0 | 0
800.5 | -6.922 | 0 | 0
801 | -6.783 | 0 | 0
801.5 | -6.722 | 0 | 0
802 | -6.749 | 0 | 0
802.5 | -6.834 | 0 | 0
803 | -6.951 | 0 | 0
803.5 | -7.047 | 0 | 0
804 | -7.113 | 0 | 0
804.5 | -7.149 | 0 | 0
805 | -7.138 | 0 | 0
805.5 | -7.055 | 0 | 0
806 | -6.955 | 0 | 0
806.5 | -6.873 | 0 | 0
807 | -6.829 | 0 | 0
807.5 | -6.817 | 0 | 0
808 | -6.842 | 0 | 0
808.5 | -6.895 | 0 | 0
809 | -6.984 | 0 | 0
809.5 | -7.098 | 0 | 0
810 | -7.192 | 0 | 0
810.5 | -7.247 | 0 | 0
811 | -7.288 | 0 | 0
811.5 | -7.281 | 0 | 0
812 | -7.236 | 0 | 0
812.5 | -7.179 | 0 | 0
813 | -7.145 | 0 | 0
813.5 | -7.136 | 0 | 0
814 | -7.172 | 0 | 0
814.5 | -7.218 | 0 | 0
815 | -7.269 | 0 | 0
815.5 | -7.296 | 0 | 0
816 | -7.281 | 0 | 0
816.5 | -7.181 | 0 | 0
817 | -7.019 | 0 | 0
817.5 | -6.838 | 0 | 0
818 | -6.631 | 0 | 0
818.5 | -6.395 | 0.07 | 2.6105e-05
819 | -6.173 | 0.292 | 0.0001089
819.5 | -5.967 | 0.498 | 0.00018572
820 | -5.832 | 0.633 | 0.00023606
820.5 | -5.782 | 0.683 | 0.00025471
821 | -5.79 | 0.675 | 0.00025173
821.5 | -5.815 | 0.65 | 0.0002424
822 | -5.855 | 0.61 | 0.00022749
822.5 | -5.893 | 0.572 | 0.00021332
823 | -5.925 | 0.54 | 0.00020138
823.5 | -5.953 | 0.512 | 0.00019094
824 | -5.992 | 0.473 | 0.0001764
824.5 | -6.071 | 0.394 | 0.00014693
825 | -6.242 | 0.223 | 8.3163e-05
825.5 | -6.481 | 0 | 0
826 | -6.731 | 0 | 0
826.5 | -6.984 | 0 | 0
827 | -7.221 | 0 | 0
827.5 | -7.416 | 0 | 0
828 | -7.578 | 0 | 0
828.5 | -7.687 | 0 | 0
829 | -7.731 | 0 | 0
829.5 | -7.756 | 0 | 0
830 | -7.773 | 0 | 0
830.5 | -7.793 | 0 | 0
831 | -7.844 | 0 | 0
831.5 | -7.895 | 0 | 0
832 | -7.914 | 0 | 0
832.5 | -7.926 | 0 | 0
833 | -7.912 | 0 | 0
833.5 | -7.892 | 0 | 0
834 | -7.851 | 0 | 0
834.5 | -7.807 | 0 | 0
835 | -7.781 | 0 | 0
835.5 | -7.808 | 0 | 0
836 | -7.871 | 0 | 0
836.5 | -7.959 | 0 | 0
837 | -8.07 | 0 | 0
837.5 | -8.165 | 0 | 0
838 | -8.255 | 0 | 0
838.5 | -8.326 | 0 | 0
839 | -8.34 | 0 | 0
839.5 | -8.296 | 0 | 0
840 | -8.235 | 0 | 0
840.5 | -8.17 | 0 | 0
841 | -8.121 | 0 | 0
841.5 | -8.084 | 0 | 0
842 | -8.019 | 0 | 0
842.5 | -7.934 | 0 | 0
843 | -7.845 | 0 | 0
843.5 | -7.76 | 0 | 0
844 | -7.672 | 0 | 0
844.5 | -7.592 | 0 | 0
845 | -7.496 | 0 | 0
845.5 | -7.421 | 0 | 0
846 | -7.366 | 0 | 0
846.5 | -7.302 | 0 | 0
847 | -7.221 | 0 | 0
847.5 | -7.147 | 0 | 0
848 | -7.088 | 0 | 0
848.5 | -7.051 | 0 | 0
849 | -7.018 | 0 | 0
849.5 | -6.974 | 0 | 0
850 | -6.965 | 0 | 0
850.5 | -7.035 | 0 | 0
851 | -7.154 | 0 | 0
851.5 | -7.308 | 0 | 0
852 | -7.457 | 0 | 0
852.5 | -7.577 | 0 | 0
853 | -7.657 | 0 | 0
853.5 | -7.672 | 0 | 0
854 | -7.662 | 0 | 0
854.5 | -7.64 | 0 | 0
855 | -7.635 | 0 | 0
855.5 | -7.675 | 0 | 0
856 | -7.756 | 0 | 0
856.5 | -7.84 | 0 | 0
857 | -7.919 | 0 | 0
857.5 | -7.968 | 0 | 0
858 | -7.965 | 0 | 0
858.5 | -7.925 | 0 | 0
859 | -7.858 | 0 | 0
859.5 | -7.759 | 0 | 0
860 | -7.647 | 0 | 0
860.5 | -7.539 | 0 | 0
861 | -7.445 | 0 | 0
861.5 | -7.377 | 0 | 0
862 | -7.31 | 0 | 0
862.5 | -7.241 | 0 | 0
863 | -7.208 | 0 | 0
863.5 | -7.226 | 0 | 0
864 | -7.258 | 0 | 0
864.5 | -7.292 | 0 | 0
865 | -7.304 | 0 | 0
865.5 | -7.294 | 0 | 0
866 | -7.273 | 0 | 0
866.5 | -7.195 | 0 | 0
867 | -7.055 | 0 | 0
867.5 | -6.907 | 0 | 0
868 | -6.813 | 0 | 0
868.5 | -6.751 | 0 | 0
869 | -6.746 | 0 | 0
869.5 | -6.791 | 0 | 0
870 | -6.884 | 0 | 0
870.5 | -7.043 | 0 | 0
871 | -7.151 | 0 | 0
871.5 | -7.167 | 0 | 0
872 | -7.119 | 0 | 0
872.5 | -7.032 | 0 | 0
873 | -6.931 | 0 | 0
873.5 | -6.886 | 0 | 0
874 | -6.892 | 0 | 0
874.5 | -6.973 | 0 | 0
875 | -7.133 | 0 | 0
875.5 | -7.287 | 0 | 0
876 | -7.385 | 0 | 0
876.5 | -7.451 | 0 | 0
877 | -7.472 | 0 | 0
877.5 | -7.496 | 0 | 0
878 | -7.504 | 0 | 0
878.5 | -7.48 | 0 | 0
879 | -7.497 | 0 | 0
879.5 | -7.528 | 0 | 0
880 | -7.549 | 0 | 0
880.5 | -7.584 | 0 | 0
881 | -7.171 | 0 | 0
881.5 | -8.003 | 0 | 0
882 | -8.505 | 0 | 0
882.5 | -9.064 | 0 | 0
883 | -9.251 | 0 | 0
883.5 | -8.838 | 0 | 0
884 | -8.465 | 0 | 0
884.5 | -1.117 | 5.348 | 0.0019944
885 | 0.1813 | 6.6463 | 0.0024786
885.5 | -8.339 | 0 | 0
886 | -11 | 0 | 0
886.5 | -9.362 | 0 | 0