## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 2.355 | 0 | 0
246.5 | 25.445 | 0 | 0
247 | 19.438 | 0 | 0
247.5 | 18.864 | 0 | 0
248 | 20.802 | 0 | 0
248.5 | 19.165 | 0 | 0
249 | 22.031 | 0 | 0
249.5 | 22.002 | 0 | 0
250 | 19.843 | 0 | 0
250.5 | 21.743 | 0 | 0
251 | 14.41 | 0 | 0
251.5 | 19.186 | 0 | 0
252 | 20.194 | 0 | 0
252.5 | 18.113 | 0 | 0
253 | 17.32 | 0 | 0
253.5 | 20.29 | 0 | 0
254 | 18.186 | 0 | 0
254.5 | 19.349 | 0 | 0
255 | 19.986 | 0 | 0
255.5 | 20.059 | 0 | 0
256 | 21.196 | 0 | 0
256.5 | 20.888 | 0 | 0
257 | 20.952 | 0 | 0
257.5 | 21.786 | 0 | 0
258 | 22.067 | 0 | 0
258.5 | 22.186 | 0 | 0
259 | 21.955 | 0 | 0
259.5 | 20.179 | 0 | 0
260 | 19.631 | 0 | 0
260.5 | 19.606 | 0 | 0
261 | 20.433 | 0 | 0
261.5 | 22.212 | 0 | 0
262 | 22.098 | 0 | 0
262.5 | 22.466 | 0 | 0
263 | 23.067 | 0 | 0
263.5 | 22.105 | 0 | 0
264 | 20.828 | 0 | 0
264.5 | 20.054 | 0 | 0
265 | 19.981 | 0 | 0
265.5 | 21.92 | 0 | 0
266 | 22.835 | 0 | 0
266.5 | 23.861 | 0 | 0
267 | 22.998 | 0 | 0
267.5 | 22.068 | 0 | 0
268 | 23.199 | 0 | 0
268.5 | 20.704 | 0 | 0
269 | 21 | 0 | 0
269.5 | 20.993 | 0 | 0
270 | 18.973 | 0 | 0
270.5 | 20.083 | 0 | 0
271 | 20.146 | 0 | 0
271.5 | 20.375 | 0 | 0
272 | 22.646 | 0 | 0
272.5 | 22.512 | 0 | 0
273 | 21.317 | 0 | 0
273.5 | 20.816 | 0 | 0
274 | 18.815 | 0 | 0
274.5 | 18.089 | 0 | 0
275 | 17.786 | 0 | 0
275.5 | 18.029 | 0 | 0
276 | 19.053 | 0 | 0
276.5 | 18.695 | 0 | 0
277 | 18.586 | 0 | 0
277.5 | 18.672 | 0 | 0
278 | 19.07 | 0 | 0
278.5 | 19.583 | 0 | 0
279 | 21.405 | 0 | 0
279.5 | 21.986 | 0 | 0
280 | 21.986 | 0 | 0
280.5 | 23.64 | 0 | 0
281 | 21.857 | 0 | 0
281.5 | 21.062 | 0 | 0
282 | 19.823 | 0 | 0
282.5 | 17.683 | 0 | 0
283 | 17.93 | 0 | 0
283.5 | 18.055 | 0 | 0
284 | 19.725 | 0 | 0
284.5 | 21.107 | 0 | 0
285 | 21.586 | 0 | 0
285.5 | 21.781 | 0 | 0
286 | 20.716 | 0 | 0
286.5 | 19.057 | 0 | 0
287 | 18.117 | 0 | 0
287.5 | 18.512 | 0 | 0
288 | 19.966 | 0 | 0
288.5 | 20.786 | 0 | 0
289 | 22.572 | 0 | 0
289.5 | 22.618 | 0 | 0
290 | 22.986 | 0 | 0
290.5 | 23.242 | 0 | 0
291 | 21.295 | 0 | 0
291.5 | 20.609 | 0 | 0
292 | 20.386 | 0 | 0
292.5 | 22.023 | 0 | 0
293 | 23.005 | 0 | 0
293.5 | 23.163 | 0 | 0
294 | 22.522 | 0 | 0
294.5 | 21.869 | 0 | 0
295 | 21.974 | 0 | 0
295.5 | 22.43 | 0 | 0
296 | 23.325 | 0 | 0
296.5 | 22.364 | 0 | 0
297 | 21.587 | 0 | 0
297.5 | 20.233 | 0 | 0
298 | 20.649 | 0 | 0
298.5 | 21.655 | 0 | 0
299 | 20.877 | 0 | 0
299.5 | 19.899 | 0 | 0
300 | 17.971 | 0 | 0
300.5 | 16.482 | 0 | 0
301 | 17.016 | 0 | 0
301.5 | 17.786 | 0 | 0
302 | 19.18 | 0 | 0
302.5 | 19.614 | 0 | 0
303 | 19.725 | 0 | 0
303.5 | 19.338 | 0 | 0
304 | 18.42 | 0 | 0
304.5 | 18.439 | 0 | 0
305 | 18.7 | 0 | 0
305.5 | 19.903 | 0 | 0
306 | 20.812 | 0 | 0
306.5 | 21.653 | 0 | 0
307 | 21.532 | 0 | 0
307.5 | 21.386 | 0 | 0
308 | 20.683 | 0 | 0
308.5 | 20.769 | 0 | 0
309 | 21.264 | 0 | 0
309.5 | 21.966 | 0 | 0
310 | 23.259 | 0 | 0
310.5 | 22.98 | 0 | 0
311 | 22.298 | 0 | 0
311.5 | 20.545 | 0 | 0
312 | 18.978 | 0 | 0
312.5 | 20.153 | 0 | 0
313 | 21.357 | 0 | 0
313.5 | 22.905 | 0 | 0
314 | 24.244 | 0 | 0
314.5 | 23.622 | 0 | 0
315 | 22.165 | 0 | 0
315.5 | 21.879 | 0 | 0
316 | 21.193 | 0 | 0
316.5 | 23.112 | 0 | 0
317 | 25.43 | 0 | 0
317.5 | 2.586 | 0 | 0
318 | 2.635 | 0 | 0
318.5 | 24.392 | 0 | 0
319 | 22.614 | 0 | 0
319.5 | 21.127 | 0 | 0
320 | 22.082 | 0 | 0
320.5 | 20.763 | 0 | 0
321 | 21.572 | 0 | 0
321.5 | 22.186 | 0 | 0
322 | 21.33 | 0 | 0
322.5 | 20.779 | 0 | 0
323 | 18.98 | 0 | 0
323.5 | 18.549 | 0 | 0
324 | 19.453 | 0 | 0
324.5 | 20.157 | 0 | 0
325 | 19.943 | 0 | 0
325.5 | 20.92 | 0 | 0
326 | 19.638 | 0 | 0
326.5 | 20.485 | 0 | 0
327 | 20.588 | 0 | 0
327.5 | 21.242 | 0 | 0
328 | 22.423 | 0 | 0
328.5 | 23.359 | 0 | 0
329 | 22.315 | 0 | 0
329.5 | 21.586 | 0 | 0
330 | 19.589 | 0 | 0
330.5 | 18.586 | 0 | 0
331 | 18.368 | 0 | 0
331.5 | 17.84 | 0 | 0
332 | 18.712 | 0 | 0
332.5 | 18.589 | 0 | 0
333 | 19.448 | 0 | 0
333.5 | 19.075 | 0 | 0
334 | 19.868 | 0 | 0
334.5 | 20.978 | 0 | 0
335 | 20.345 | 0 | 0
335.5 | 21.586 | 0 | 0
336 | 21.435 | 0 | 0
336.5 | 19.636 | 0 | 0
337 | 19.619 | 0 | 0
337.5 | 19.078 | 0 | 0
338 | 20.019 | 0 | 0
338.5 | 21.041 | 0 | 0
339 | 22.491 | 0 | 0
339.5 | 20.986 | 0 | 0
340 | 21.2 | 0 | 0
340.5 | 20.905 | 0 | 0
341 | 21.002 | 0 | 0
341.5 | 22.719 | 0 | 0
342 | 22.586 | 0 | 0
342.5 | 23.775 | 0 | 0
343 | 24.105 | 0 | 0
343.5 | 24.528 | 0 | 0
344 | 23.605 | 0 | 0
344.5 | 23.22 | 0 | 0
345 | 21.624 | 0 | 0
345.5 | 21.38 | 0 | 0
346 | 21.254 | 0 | 0
346.5 | 20.362 | 0 | 0
347 | 17.904 | 0 | 0
347.5 | 16.365 | 0 | 0
348 | 18.159 | 0 | 0
348.5 | 18.386 | 0 | 0
349 | 21.102 | 0 | 0
349.5 | 21.395 | 0 | 0
350 | 20.786 | 0 | 0
350.5 | 20.701 | 0 | 0
351 | 21.732 | 0 | 0
351.5 | 22.378 | 0 | 0
352 | 23.128 | 0 | 0
352.5 | 22.986 | 0 | 0
353 | 20.87 | 0 | 0
353.5 | 19.088 | 0 | 0
354 | 17.879 | 0 | 0
354.5 | 17.392 | 0 | 0
355 | 19.157 | 0 | 0
355.5 | 20.504 | 0 | 0
356 | 21.377 | 0 | 0
356.5 | 21.18 | 0 | 0
357 | 21.719 | 0 | 0
357.5 | 22.388 | 0 | 0
358 | 23.723 | 0 | 0
358.5 | 24.259 | 0 | 0
359 | 25.369 | 0 | 0
359.5 | 24.297 | 0 | 0
360 | 23.083 | 0 | 0
360.5 | 21.795 | 0 | 0
361 | 21.677 | 0 | 0
361.5 | 20.749 | 0 | 0
362 | 22.042 | 0 | 0
362.5 | 19.605 | 0 | 0
363 | 20 | 0 | 0
363.5 | 22.028 | 0 | 0
364 | 23.191 | 0 | 0
364.5 | 24.82 | 0 | 0
365 | 24.959 | 0 | 0
365.5 | 24.594 | 0 | 0
366 | 24.055 | 0 | 0
366.5 | 22.908 | 0 | 0
367 | 20.961 | 0 | 0
367.5 | 20.213 | 0 | 0
368 | 19.586 | 0 | 0
368.5 | 19.586 | 0 | 0
369 | 20.316 | 0 | 0
369.5 | 19.995 | 0 | 0
370 | 21.074 | 0 | 0
370.5 | 22.537 | 0 | 0
371 | 22.91 | 0 | 0
371.5 | 23.186 | 0 | 0
372 | 22.392 | 0 | 0
372.5 | 23.059 | 0 | 0
373 | 22.902 | 0 | 0
373.5 | 22.774 | 0 | 0
374 | 22.337 | 0 | 0
374.5 | 22.294 | 0 | 0
375 | 22.962 | 0 | 0
375.5 | 23.356 | 0 | 0
376 | 24.484 | 0 | 0
376.5 | 23.113 | 0 | 0
377 | 22.679 | 0 | 0
377.5 | 22.051 | 0 | 0
378 | 20.434 | 0 | 0
378.5 | 21.066 | 0 | 0
379 | 21.178 | 0 | 0
379.5 | 21.26 | 0 | 0
380 | 19.909 | 0 | 0
380.5 | 18.556 | 0 | 0
381 | 17.353 | 0 | 0
381.5 | 18.181 | 0 | 0
382 | 20.26 | 0 | 0
382.5 | 23.051 | 0 | 0
383 | 24.081 | 0 | 0
383.5 | 21.966 | 0 | 0
384 | 20.334 | 0 | 0
384.5 | 18.701 | 0 | 0
385 | 18.652 | 0 | 0
385.5 | 19.386 | 0 | 0
386 | 20.177 | 0 | 0
386.5 | 21.025 | 0 | 0
387 | 19.844 | 0 | 0
387.5 | 21.079 | 0 | 0
388 | 19.522 | 0 | 0
388.5 | 19.83 | 0 | 0
389 | 20.686 | 0 | 0
389.5 | 21.039 | 0 | 0
390 | 22.505 | 0 | 0
390.5 | 24.556 | 0 | 0
391 | 25.586 | 0.141 | 9.2298e-05
391.5 | 24.391 | 0 | 0
392 | 24.841 | 0 | 0
392.5 | 23.711 | 0 | 0
393 | 22.186 | 0 | 0
393.5 | 21.721 | 0 | 0
394 | 21.854 | 0 | 0
394.5 | 23.67 | 0 | 0
395 | 24.901 | 0 | 0
395.5 | 25.363 | 0 | 0
396 | 25.649 | 0.204 | 0.00013354
396.5 | 25.377 | 0 | 0
397 | 24.25 | 0 | 0
397.5 | 25.471 | 0.026 | 1.702e-05
398 | 26.064 | 0.619 | 0.0004052
398.5 | 26.721 | 1.276 | 0.00083527
399 | 27.062 | 1.617 | 0.0010585
399.5 | 26.421 | 0.976 | 0.00063889
400 | 26.159 | 0.714 | 0.00046738
400.5 | 27.776 | 2.331 | 0.0015259
401 | 30.228 | 4.783 | 0.0031309
401.5 | 31.223 | 5.778 | 0.0037823
402 | 32.399 | 6.954 | 0.0045521
402.5 | 32.283 | 6.838 | 0.0044761
403 | 33.108 | 7.663 | 0.0050162
403.5 | 34.116 | 8.671 | 0.005676
404 | 33.533 | 8.088 | 0.0052944
404.5 | 33.72 | 8.275 | 0.0054168
405 | 32.865 | 7.42 | 0.0048571
405.5 | 35.43 | 9.985 | 0.0065362
406 | 37.387 | 11.942 | 0.0078172
406.5 | 40.001 | 14.556 | 0.0095283
407 | 41.545 | 16.1 | 0.010539
407.5 | 42.549 | 17.104 | 0.011196
408 | 44.677 | 19.232 | 0.012589
408.5 | 47.704 | 22.259 | 0.014571
409 | 49.657 | 24.212 | 0.015849
409.5 | 54.63 | 29.185 | 0.019104
410 | 56.281 | 30.836 | 0.020185
410.5 | 61.596 | 36.151 | 0.023664
411 | 65.237 | 39.792 | 0.026048
411.5 | 66.579 | 41.134 | 0.026926
412 | 72.559 | 47.114 | 0.030841
412.5 | 75.096 | 49.651 | 0.032501
413 | 79.928 | 54.483 | 0.035664
413.5 | 83.041 | 57.596 | 0.037702
414 | 84.899 | 59.454 | 0.038918
414.5 | 90.421 | 64.976 | 0.042533
415 | 94.439 | 68.994 | 0.045163
415.5 | 99.697 | 74.252 | 0.048605
416 | 105.34 | 79.895 | 0.052299
416.5 | 112.26 | 86.815 | 0.056829
417 | 121.3 | 95.855 | 0.062746
417.5 | 128.34 | 102.895 | 0.067355
418 | 136.81 | 111.365 | 0.072899
418.5 | 140.58 | 115.135 | 0.075367
419 | 147.24 | 121.795 | 0.079727
419.5 | 152.24 | 126.795 | 0.083
420 | 156.12 | 130.675 | 0.08554
420.5 | 162.02 | 136.575 | 0.089402
421 | 165.34 | 139.895 | 0.091575
421.5 | 171.11 | 145.665 | 0.095352
422 | 174.94 | 149.495 | 0.097859
422.5 | 179.72 | 154.275 | 0.10099
423 | 183.83 | 158.385 | 0.10368
423.5 | 190.35 | 164.905 | 0.10795
424 | 198.88 | 173.435 | 0.11353
424.5 | 206.46 | 181.015 | 0.11849
425 | 214.27 | 188.825 | 0.1236
425.5 | 218.5 | 193.055 | 0.12637
426 | 219.96 | 194.515 | 0.12733
426.5 | 224.16 | 198.715 | 0.13008
427 | 229.12 | 203.675 | 0.13333
427.5 | 235.08 | 209.635 | 0.13723
428 | 237.91 | 212.465 | 0.13908
428.5 | 239.55 | 214.105 | 0.14015
429 | 244.53 | 219.085 | 0.14341
429.5 | 246.04 | 220.595 | 0.1444
430 | 254.24 | 228.795 | 0.14977
430.5 | 259.53 | 234.085 | 0.15323
431 | 263.62 | 238.175 | 0.15591
431.5 | 270.39 | 244.945 | 0.16034
432 | 273.31 | 247.865 | 0.16225
432.5 | 280.7 | 255.255 | 0.16709
433 | 286.43 | 260.985 | 0.17084
433.5 | 292.97 | 267.525 | 0.17512
434 | 298.13 | 272.685 | 0.1785
434.5 | 295.88 | 270.435 | 0.17703
435 | 296.02 | 270.575 | 0.17712
435.5 | 296.76 | 271.315 | 0.1776
436 | 303.98 | 278.535 | 0.18233
436.5 | 309.34 | 283.895 | 0.18584
437 | 319.11 | 293.665 | 0.19223
437.5 | 322.6 | 297.155 | 0.19452
438 | 327.94 | 302.495 | 0.19801
438.5 | 332.11 | 306.665 | 0.20074
439 | 333.95 | 308.505 | 0.20195
439.5 | 336.59 | 311.145 | 0.20367
440 | 338.11 | 312.665 | 0.20467
440.5 | 339.58 | 314.135 | 0.20563
441 | 341.51 | 316.065 | 0.2069
441.5 | 342.63 | 317.185 | 0.20763
442 | 343.43 | 317.985 | 0.20815
442.5 | 342.61 | 317.165 | 0.20762
443 | 338.39 | 312.945 | 0.20485
443.5 | 340.25 | 314.805 | 0.20607
444 | 338.36 | 312.915 | 0.20483
444.5 | 335.95 | 310.505 | 0.20326
445 | 331.43 | 305.985 | 0.2003
445.5 | 328.48 | 303.035 | 0.19837
446 | 324.6 | 299.155 | 0.19583
446.5 | 318.99 | 293.545 | 0.19215
447 | 315.95 | 290.505 | 0.19016
447.5 | 308.46 | 283.015 | 0.18526
448 | 301.22 | 275.775 | 0.18052
448.5 | 295.17 | 269.725 | 0.17656
449 | 284.86 | 259.415 | 0.16981
449.5 | 276.38 | 250.935 | 0.16426
450 | 266.88 | 241.435 | 0.15804
450.5 | 257.55 | 232.105 | 0.15194
451 | 250.49 | 225.045 | 0.14731
451.5 | 243.73 | 218.285 | 0.14289
452 | 236.91 | 211.465 | 0.13842
452.5 | 230.49 | 205.045 | 0.13422
453 | 228.32 | 202.875 | 0.1328
453.5 | 223.32 | 197.875 | 0.12953
454 | 216.92 | 191.475 | 0.12534
454.5 | 210.09 | 184.645 | 0.12087
455 | 203.61 | 178.165 | 0.11663
455.5 | 200.82 | 175.375 | 0.1148
456 | 195.33 | 169.885 | 0.11121
456.5 | 190.76 | 165.315 | 0.10821
457 | 183.99 | 158.545 | 0.10378
457.5 | 182.34 | 156.895 | 0.1027
458 | 181.67 | 156.225 | 0.10226
458.5 | 185.22 | 159.775 | 0.10459
459 | 184.46 | 159.015 | 0.10409
459.5 | 186.05 | 160.605 | 0.10513
460 | 184.95 | 159.505 | 0.10441
460.5 | 184.58 | 159.135 | 0.10417
461 | 184.24 | 158.795 | 0.10395
461.5 | 188.14 | 162.695 | 0.1065
462 | 190.71 | 165.265 | 0.10818
462.5 | 193.31 | 167.865 | 0.10988
463 | 193.86 | 168.415 | 0.11024
463.5 | 192.93 | 167.485 | 0.10964
464 | 194.05 | 168.605 | 0.11037
464.5 | 195.91 | 170.465 | 0.11159
465 | 196.24 | 170.795 | 0.1118
465.5 | 199.48 | 174.035 | 0.11392
466 | 201.22 | 175.775 | 0.11506
466.5 | 202.9 | 177.455 | 0.11616
467 | 204.89 | 179.445 | 0.11746
467.5 | 207.03 | 181.585 | 0.11887
468 | 208.41 | 182.965 | 0.11977
468.5 | 210.21 | 184.765 | 0.12095
469 | 209.99 | 184.545 | 0.1208
469.5 | 211.81 | 186.365 | 0.12199
470 | 215.02 | 189.575 | 0.1241
470.5 | 218.8 | 193.355 | 0.12657
471 | 224.28 | 198.835 | 0.13016
471.5 | 229.14 | 203.695 | 0.13334
472 | 232.52 | 207.075 | 0.13555
472.5 | 233.88 | 208.435 | 0.13644
473 | 231.98 | 206.535 | 0.1352
473.5 | 234.04 | 208.595 | 0.13655
474 | 236.74 | 211.295 | 0.13831
474.5 | 242.74 | 217.295 | 0.14224
475 | 249.42 | 223.975 | 0.14661
475.5 | 256.52 | 231.075 | 0.15126
476 | 262.48 | 237.035 | 0.15516
476.5 | 266.81 | 241.365 | 0.158
477 | 270.61 | 245.165 | 0.16048
477.5 | 274.12 | 248.675 | 0.16278
478 | 279.97 | 254.525 | 0.16661
478.5 | 285.49 | 260.045 | 0.17022
479 | 293.98 | 268.535 | 0.17578
479.5 | 303.21 | 277.765 | 0.18182
480 | 313.78 | 288.335 | 0.18874
480.5 | 325.66 | 300.215 | 0.19652
481 | 335.78 | 310.335 | 0.20314
481.5 | 348.46 | 323.015 | 0.21144
482 | 357.33 | 331.885 | 0.21725
482.5 | 368.81 | 343.365 | 0.22477
483 | 381.8 | 356.355 | 0.23327
483.5 | 395.8 | 370.355 | 0.24243
484 | 408.43 | 382.985 | 0.2507
484.5 | 423.62 | 398.175 | 0.26064
485 | 436.88 | 411.435 | 0.26932
485.5 | 449.94 | 424.495 | 0.27787
486 | 464.05 | 438.605 | 0.28711
486.5 | 480.66 | 455.215 | 0.29798
487 | 499.92 | 474.475 | 0.31059
487.5 | 524.58 | 499.135 | 0.32673
488 | 543.65 | 518.205 | 0.33922
488.5 | 563.34 | 537.895 | 0.35211
489 | 585.75 | 560.305 | 0.36677
489.5 | 608.97 | 583.525 | 0.38197
490 | 633.3 | 607.855 | 0.3979
490.5 | 657.8 | 632.355 | 0.41394
491 | 683.18 | 657.735 | 0.43055
491.5 | 710.83 | 685.385 | 0.44865
492 | 736.35 | 710.905 | 0.46536
492.5 | 761.91 | 736.465 | 0.48209
493 | 787.35 | 761.905 | 0.49874
493.5 | 814.77 | 789.325 | 0.51669
494 | 841.27 | 815.825 | 0.53404
494.5 | 869.42 | 843.975 | 0.55246
495 | 902.84 | 877.395 | 0.57434
495.5 | 936.14 | 910.695 | 0.59614
496 | 970.56 | 945.115 | 0.61867
496.5 | 1001 | 975.555 | 0.6386
497 | 1028.5 | 1003.055 | 0.6566
497.5 | 1059.2 | 1033.755 | 0.67669
498 | 1083.1 | 1057.655 | 0.69234
498.5 | 1108.6 | 1083.155 | 0.70903
499 | 1135 | 1109.555 | 0.72631
499.5 | 1161.1 | 1135.655 | 0.7434
500 | 1192.6 | 1167.155 | 0.76402
500.5 | 1224.6 | 1199.155 | 0.78496
501 | 1251.2 | 1225.755 | 0.80238
501.5 | 1277.7 | 1252.255 | 0.81972
502 | 1301 | 1275.555 | 0.83498
502.5 | 1326.4 | 1300.955 | 0.8516
503 | 1347.3 | 1321.855 | 0.86528
503.5 | 1364.5 | 1339.055 | 0.87654
504 | 1380.9 | 1355.455 | 0.88728
504.5 | 1403.8 | 1378.355 | 0.90227
505 | 1426.1 | 1400.655 | 0.91687
505.5 | 1446.3 | 1420.855 | 0.93009
506 | 1465.2 | 1439.755 | 0.94246
506.5 | 1479.3 | 1453.855 | 0.95169
507 | 1492.7 | 1467.255 | 0.96046
507.5 | 1501.3 | 1475.855 | 0.96609
508 | 1507.3 | 1481.855 | 0.97002
508.5 | 1509.6 | 1484.155 | 0.97152
509 | 1514.5 | 1489.055 | 0.97473
509.5 | 1521.7 | 1496.255 | 0.97945
510 | 1528.8 | 1503.355 | 0.98409
510.5 | 1534.7 | 1509.255 | 0.98796
511 | 1537.5 | 1512.055 | 0.98979
511.5 | 1540.9 | 1515.455 | 0.99201
512 | 1546 | 1520.555 | 0.99535
512.5 | 1547.4 | 1521.955 | 0.99627
513 | 1547.6 | 1522.155 | 0.9964
513.5 | 1551.4 | 1525.955 | 0.99889
514 | 1550.9 | 1525.455 | 0.99856
514.5 | 1553.1 | 1527.655 | 1
515 | 1546.1 | 1520.655 | 0.99542
515.5 | 1544.5 | 1519.055 | 0.99437
516 | 1532.1 | 1506.655 | 0.98625
516.5 | 1524.2 | 1498.755 | 0.98108
517 | 1517 | 1491.555 | 0.97637
517.5 | 1518 | 1492.555 | 0.97702
518 | 1518.6 | 1493.155 | 0.97742
518.5 | 1507.9 | 1482.455 | 0.97041
519 | 1501.7 | 1476.255 | 0.96635
519.5 | 1496.8 | 1471.355 | 0.96315
520 | 1491.9 | 1466.455 | 0.95994
520.5 | 1492 | 1466.555 | 0.96
521 | 1485.3 | 1459.855 | 0.95562
521.5 | 1483.7 | 1458.255 | 0.95457
522 | 1480.3 | 1454.855 | 0.95235
522.5 | 1475.5 | 1450.055 | 0.9492
523 | 1470.4 | 1444.955 | 0.94586
523.5 | 1463.4 | 1437.955 | 0.94128
524 | 1457.2 | 1431.755 | 0.93722
524.5 | 1457.5 | 1432.055 | 0.93742
525 | 1454.3 | 1428.855 | 0.93533
525.5 | 1452.4 | 1426.955 | 0.93408
526 | 1449.1 | 1423.655 | 0.93192
526.5 | 1447.4 | 1421.955 | 0.93081
527 | 1446.2 | 1420.755 | 0.93002
527.5 | 1446.4 | 1420.955 | 0.93015
528 | 1444.1 | 1418.655 | 0.92865
528.5 | 1444.2 | 1418.755 | 0.92871
529 | 1440.5 | 1415.055 | 0.92629
529.5 | 1437.5 | 1412.055 | 0.92433
530 | 1437.7 | 1412.255 | 0.92446
530.5 | 1442.9 | 1417.455 | 0.92786
531 | 1448.1 | 1422.655 | 0.93127
531.5 | 1451.9 | 1426.455 | 0.93375
532 | 1447.1 | 1421.655 | 0.93061
532.5 | 1444.9 | 1419.455 | 0.92917
533 | 1442 | 1416.555 | 0.92727
533.5 | 1447.5 | 1422.055 | 0.93087
534 | 1449.1 | 1423.655 | 0.93192
534.5 | 1452.3 | 1426.855 | 0.93402
535 | 1447.4 | 1421.955 | 0.93081
535.5 | 1450.3 | 1424.855 | 0.93271
536 | 1448.7 | 1423.255 | 0.93166
536.5 | 1451.1 | 1425.655 | 0.93323
537 | 1451.4 | 1425.955 | 0.93343
537.5 | 1451.8 | 1426.355 | 0.93369
538 | 1452.7 | 1427.255 | 0.93428
538.5 | 1449.4 | 1423.955 | 0.93212
539 | 1448.6 | 1423.155 | 0.93159
539.5 | 1449.9 | 1424.455 | 0.93245
540 | 1449.4 | 1423.955 | 0.93212
540.5 | 1447.5 | 1422.055 | 0.93087
541 | 1443.7 | 1418.255 | 0.92839
541.5 | 1445.9 | 1420.455 | 0.92983
542 | 1442.9 | 1417.455 | 0.92786
542.5 | 1441.6 | 1416.155 | 0.92701
543 | 1439.1 | 1413.655 | 0.92538
543.5 | 1435 | 1409.555 | 0.92269
544 | 1434.9 | 1409.455 | 0.92263
544.5 | 1431.7 | 1406.255 | 0.92053
545 | 1425.8 | 1400.355 | 0.91667
545.5 | 1413.9 | 1388.455 | 0.90888
546 | 1408.2 | 1382.755 | 0.90515
546.5 | 1406.8 | 1381.355 | 0.90423
547 | 1407.2 | 1381.755 | 0.90449
547.5 | 1401.5 | 1376.055 | 0.90076
548 | 1388.7 | 1363.255 | 0.89238
548.5 | 1374.6 | 1349.155 | 0.88315
549 | 1361.5 | 1336.055 | 0.87458
549.5 | 1359.2 | 1333.755 | 0.87307
550 | 1352.2 | 1326.755 | 0.86849
550.5 | 1348.2 | 1322.755 | 0.86587
551 | 1337.9 | 1312.455 | 0.85913
551.5 | 1325.7 | 1300.255 | 0.85114
552 | 1313.1 | 1287.655 | 0.8429
552.5 | 1297.6 | 1272.155 | 0.83275
553 | 1291.5 | 1266.055 | 0.82876
553.5 | 1281.6 | 1256.155 | 0.82228
554 | 1272.8 | 1247.355 | 0.81652
554.5 | 1260.7 | 1235.255 | 0.8086
555 | 1251.9 | 1226.455 | 0.80284
555.5 | 1244.9 | 1219.455 | 0.79825
556 | 1236.5 | 1211.055 | 0.79275
556.5 | 1223 | 1197.555 | 0.78392
557 | 1206.5 | 1181.055 | 0.77312
557.5 | 1185.9 | 1160.455 | 0.75963
558 | 1167.8 | 1142.355 | 0.74778
558.5 | 1148.9 | 1123.455 | 0.73541
559 | 1140.4 | 1114.955 | 0.72985
559.5 | 1133.3 | 1107.855 | 0.7252
560 | 1126.4 | 1100.955 | 0.72068
560.5 | 1114.9 | 1089.455 | 0.71316
561 | 1099.6 | 1074.155 | 0.70314
561.5 | 1088.2 | 1062.755 | 0.69568
562 | 1077.2 | 1051.755 | 0.68848
562.5 | 1068.1 | 1042.655 | 0.68252
563 | 1055.9 | 1030.455 | 0.67453
563.5 | 1039.4 | 1013.955 | 0.66373
564 | 1028.5 | 1003.055 | 0.6566
564.5 | 1013.2 | 987.755 | 0.64658
565 | 1001.4 | 975.955 | 0.63886
565.5 | 991.55 | 966.105 | 0.63241
566 | 987.39 | 961.945 | 0.62969
566.5 | 978.96 | 953.515 | 0.62417
567 | 967.46 | 942.015 | 0.61664
567.5 | 954.55 | 929.105 | 0.60819
568 | 939.99 | 914.545 | 0.59866
568.5 | 931.17 | 905.725 | 0.59289
569 | 920.54 | 895.095 | 0.58593
569.5 | 914.18 | 888.735 | 0.58176
570 | 898.37 | 872.925 | 0.57142
570.5 | 885.47 | 860.025 | 0.56297
571 | 875.5 | 850.055 | 0.55644
571.5 | 872.47 | 847.025 | 0.55446
572 | 866.02 | 840.575 | 0.55024
572.5 | 860.9 | 835.455 | 0.54689
573 | 847.63 | 822.185 | 0.5382
573.5 | 833.98 | 808.535 | 0.52927
574 | 823.65 | 798.205 | 0.5225
574.5 | 811.57 | 786.125 | 0.5146
575 | 805.36 | 779.915 | 0.51053
575.5 | 801.83 | 776.385 | 0.50822
576 | 799.15 | 773.705 | 0.50647
576.5 | 792.37 | 766.925 | 0.50203
577 | 785.15 | 759.705 | 0.4973
577.5 | 778.07 | 752.625 | 0.49267
578 | 767.57 | 742.125 | 0.48579
578.5 | 759.5 | 734.055 | 0.48051
579 | 751.44 | 725.995 | 0.47523
579.5 | 744.77 | 719.325 | 0.47087
580 | 737.02 | 711.575 | 0.4658
580.5 | 725.45 | 700.005 | 0.45822
581 | 717.28 | 691.835 | 0.45287
581.5 | 707.21 | 681.765 | 0.44628
582 | 702.28 | 676.835 | 0.44305
582.5 | 697.57 | 672.125 | 0.43997
583 | 691.02 | 665.575 | 0.43568
583.5 | 686.17 | 660.725 | 0.43251
584 | 677.58 | 652.135 | 0.42689
584.5 | 669.15 | 643.705 | 0.42137
585 | 658.99 | 633.545 | 0.41472
585.5 | 650.16 | 624.715 | 0.40894
586 | 642.62 | 617.175 | 0.404
586.5 | 634.86 | 609.415 | 0.39892
587 | 627.58 | 602.135 | 0.39416
587.5 | 622.39 | 596.945 | 0.39076
588 | 613.81 | 588.365 | 0.38514
588.5 | 605.28 | 579.835 | 0.37956
589 | 598.57 | 573.125 | 0.37517
589.5 | 591.45 | 566.005 | 0.37051
590 | 583.68 | 558.235 | 0.36542
590.5 | 573.66 | 548.215 | 0.35886
591 | 565.32 | 539.875 | 0.3534
591.5 | 560.77 | 535.325 | 0.35042
592 | 555.96 | 530.515 | 0.34727
592.5 | 549.73 | 524.285 | 0.3432
593 | 542.01 | 516.565 | 0.33814
593.5 | 529.54 | 504.095 | 0.32998
594 | 522.96 | 497.515 | 0.32567
594.5 | 513.28 | 487.835 | 0.31934
595 | 505.53 | 480.085 | 0.31426
595.5 | 497.13 | 471.685 | 0.30876
596 | 489.99 | 464.545 | 0.30409
596.5 | 486.02 | 460.575 | 0.30149
597 | 481.44 | 455.995 | 0.29849
597.5 | 475.85 | 450.405 | 0.29483
598 | 464.7 | 439.255 | 0.28754
598.5 | 454.93 | 429.485 | 0.28114
599 | 446.05 | 420.605 | 0.27533
599.5 | 439.56 | 414.115 | 0.27108
600 | 431.63 | 406.185 | 0.26589
600.5 | 421.57 | 396.125 | 0.2593
601 | 413.99 | 388.545 | 0.25434
601.5 | 408.03 | 382.585 | 0.25044
602 | 401.78 | 376.335 | 0.24635
602.5 | 391.63 | 366.185 | 0.2397
603 | 381.64 | 356.195 | 0.23316
603.5 | 373.56 | 348.115 | 0.22788
604 | 370.3 | 344.855 | 0.22574
604.5 | 366.73 | 341.285 | 0.2234
605 | 356.76 | 331.315 | 0.21688
605.5 | 349.1 | 323.655 | 0.21186
606 | 340.77 | 315.325 | 0.20641
606.5 | 338.31 | 312.865 | 0.2048
607 | 331.75 | 306.305 | 0.20051
607.5 | 324.51 | 299.065 | 0.19577
608 | 315.6 | 290.155 | 0.18993
608.5 | 310.85 | 285.405 | 0.18683
609 | 306.71 | 281.265 | 0.18412
609.5 | 301.3 | 275.855 | 0.18057
610 | 292.35 | 266.905 | 0.17472
610.5 | 283.51 | 258.065 | 0.16893
611 | 276.5 | 251.055 | 0.16434
611.5 | 270.62 | 245.175 | 0.16049
612 | 268.41 | 242.965 | 0.15904
612.5 | 263.98 | 238.535 | 0.15614
613 | 258.98 | 233.535 | 0.15287
613.5 | 253.85 | 228.405 | 0.14951
614 | 249.22 | 223.775 | 0.14648
614.5 | 245.64 | 220.195 | 0.14414
615 | 242.5 | 217.055 | 0.14208
615.5 | 239.43 | 213.985 | 0.14007
616 | 237.08 | 211.635 | 0.13854
616.5 | 232.84 | 207.395 | 0.13576
617 | 225.79 | 200.345 | 0.13115
617.5 | 220.95 | 195.505 | 0.12798
618 | 215 | 189.555 | 0.12408
618.5 | 211.86 | 186.415 | 0.12203
619 | 207.3 | 181.855 | 0.11904
619.5 | 205.63 | 180.185 | 0.11795
620 | 201.67 | 176.225 | 0.11536
620.5 | 199.5 | 174.055 | 0.11394
621 | 194.54 | 169.095 | 0.11069
621.5 | 192 | 166.555 | 0.10903
622 | 188.2 | 162.755 | 0.10654
622.5 | 185.98 | 160.535 | 0.10509
623 | 182.45 | 157.005 | 0.10278
623.5 | 179.06 | 153.615 | 0.10056
624 | 176.84 | 151.395 | 0.099103
624.5 | 174.36 | 148.915 | 0.097479
625 | 173.27 | 147.825 | 0.096766
625.5 | 171.66 | 146.215 | 0.095712
626 | 168.79 | 143.345 | 0.093833
626.5 | 164.52 | 139.075 | 0.091038
627 | 161.61 | 136.165 | 0.089133
627.5 | 160.84 | 135.395 | 0.088629
628 | 159.86 | 134.415 | 0.087988
628.5 | 155.36 | 129.915 | 0.085042
629 | 153.12 | 127.675 | 0.083576
629.5 | 149.26 | 123.815 | 0.081049
630 | 147.15 | 121.705 | 0.079668
630.5 | 144.6 | 119.155 | 0.077999
631 | 143.77 | 118.325 | 0.077455
631.5 | 142.34 | 116.895 | 0.076519
632 | 139.52 | 114.075 | 0.074673
632.5 | 136.35 | 110.905 | 0.072598
633 | 134.27 | 108.825 | 0.071237
633.5 | 132.81 | 107.365 | 0.070281
634 | 131.15 | 105.705 | 0.069194
634.5 | 130.01 | 104.565 | 0.068448
635 | 128.37 | 102.925 | 0.067375
635.5 | 127.37 | 101.925 | 0.06672
636 | 125.8 | 100.355 | 0.065692
636.5 | 123.53 | 98.085 | 0.064206
637 | 120.63 | 95.185 | 0.062308
637.5 | 117.43 | 91.985 | 0.060213
638 | 113.52 | 88.075 | 0.057654
638.5 | 111.55 | 86.105 | 0.056364
639 | 113.16 | 87.715 | 0.057418
639.5 | 113.25 | 87.805 | 0.057477
640 | 111.43 | 85.985 | 0.056286
640.5 | 108.35 | 82.905 | 0.054269
641 | 107.98 | 82.535 | 0.054027
641.5 | 109.03 | 83.585 | 0.054715
642 | 106.79 | 81.345 | 0.053248
642.5 | 104.14 | 78.695 | 0.051514
643 | 100.44 | 74.995 | 0.049092
643.5 | 98.002 | 72.557 | 0.047496
644 | 96.986 | 71.541 | 0.046831
644.5 | 96.017 | 70.572 | 0.046196
645 | 97.071 | 71.626 | 0.046886
645.5 | 94.458 | 69.013 | 0.045176
646 | 91.693 | 66.248 | 0.043366
646.5 | 89.272 | 63.827 | 0.041781
647 | 89.17 | 63.725 | 0.041714
647.5 | 88.215 | 62.77 | 0.041089
648 | 84.886 | 59.441 | 0.03891
648.5 | 82.383 | 56.938 | 0.037272
649 | 82.923 | 57.478 | 0.037625
649.5 | 83.065 | 57.62 | 0.037718
650 | 82.506 | 57.061 | 0.037352
650.5 | 77.08 | 51.635 | 0.0338
651 | 75.336 | 49.891 | 0.032659
651.5 | 75.36 | 49.915 | 0.032674
652 | 76.333 | 50.888 | 0.033311
652.5 | 77.394 | 51.949 | 0.034006
653 | 76.986 | 51.541 | 0.033739
653.5 | 76.592 | 51.147 | 0.033481
654 | 73.786 | 48.341 | 0.031644
654.5 | 70.151 | 44.706 | 0.029264
655 | 66.492 | 41.047 | 0.026869
655.5 | 65.801 | 40.356 | 0.026417
656 | 63.768 | 38.323 | 0.025086
656.5 | 63.645 | 38.2 | 0.025006
657 | 62.549 | 37.104 | 0.024288
657.5 | 62.441 | 36.996 | 0.024218
658 | 62.182 | 36.737 | 0.024048
658.5 | 59.791 | 34.346 | 0.022483
659 | 61.45 | 36.005 | 0.023569
659.5 | 60.168 | 34.723 | 0.02273
660 | 61.927 | 36.482 | 0.023881
660.5 | 61.1 | 35.655 | 0.02334
661 | 61.031 | 35.586 | 0.023295
661.5 | 58.625 | 33.18 | 0.02172
662 | 55.991 | 30.546 | 0.019995
662.5 | 53.878 | 28.433 | 0.018612
663 | 51.961 | 26.516 | 0.017357
663.5 | 51.469 | 26.024 | 0.017035
664 | 52.937 | 27.492 | 0.017996
664.5 | 53.661 | 28.216 | 0.01847
665 | 53.263 | 27.818 | 0.01821
665.5 | 51.894 | 26.449 | 0.017313
666 | 52.118 | 26.673 | 0.01746
666.5 | 51.865 | 26.42 | 0.017294
667 | 49.198 | 23.753 | 0.015549
667.5 | 48.014 | 22.569 | 0.014774
668 | 45.681 | 20.236 | 0.013246
668.5 | 45.297 | 19.852 | 0.012995
669 | 43.963 | 18.518 | 0.012122
669.5 | 41.954 | 16.509 | 0.010807
670 | 41.797 | 16.352 | 0.010704
670.5 | 41.975 | 16.53 | 0.010821
671 | 42.44 | 16.995 | 0.011125
671.5 | 43.078 | 17.633 | 0.011543
672 | 43.031 | 17.586 | 0.011512
672.5 | 43.186 | 17.741 | 0.011613
673 | 41.522 | 16.077 | 0.010524
673.5 | 41.821 | 16.376 | 0.01072
674 | 42.483 | 17.038 | 0.011153
674.5 | 44.137 | 18.692 | 0.012236
675 | 42.571 | 17.126 | 0.011211
675.5 | 40.409 | 14.964 | 0.0097954
676 | 37.11 | 11.665 | 0.0076359
676.5 | 36.37 | 10.925 | 0.0071515
677 | 38.024 | 12.579 | 0.0082342
677.5 | 39.227 | 13.782 | 0.0090217
678 | 38.755 | 13.31 | 0.0087127
678.5 | 36.942 | 11.497 | 0.0075259
679 | 35.468 | 10.023 | 0.006561
679.5 | 34.902 | 9.457 | 0.0061905
680 | 36.002 | 10.557 | 0.0069106
680.5 | 37.335 | 11.89 | 0.0077832
681 | 38.862 | 13.417 | 0.0087827
681.5 | 37.33 | 11.885 | 0.0077799
682 | 36.777 | 11.332 | 0.0074179
682.5 | 35.729 | 10.284 | 0.0067319
683 | 34.986 | 9.541 | 0.0062455
683.5 | 35.907 | 10.462 | 0.0068484
684 | 32.32 | 6.875 | 0.0045004
684.5 | 33.073 | 7.628 | 0.0049933
685 | 30.935 | 5.49 | 0.0035937
685.5 | 32.078 | 6.633 | 0.0043419
686 | 31.341 | 5.896 | 0.0038595
686.5 | 31.062 | 5.617 | 0.0036769
687 | 31.428 | 5.983 | 0.0039165
687.5 | 30.753 | 5.308 | 0.0034746
688 | 29.517 | 4.072 | 0.0026655
688.5 | 28.178 | 2.733 | 0.001789
689 | 29.18 | 3.735 | 0.0024449
689.5 | 30.638 | 5.193 | 0.0033993
690 | 30.997 | 5.552 | 0.0036343
690.5 | 29.294 | 3.849 | 0.0025195
691 | 30.33 | 4.885 | 0.0031977
691.5 | 31.238 | 5.793 | 0.0037921
692 | 33.577 | 8.132 | 0.0053232
692.5 | 32.182 | 6.737 | 0.00441
693 | 31.608 | 6.163 | 0.0040343
693.5 | 28.535 | 3.09 | 0.0020227
694 | 26.451 | 1.006 | 0.00065853
694.5 | 25.366 | 0 | 0
695 | 24.866 | 0 | 0
695.5 | 27.757 | 2.312 | 0.0015134
696 | 27.247 | 1.802 | 0.0011796
696.5 | 28.538 | 3.093 | 0.0020247
697 | 26.013 | 0.568 | 0.00037181
697.5 | 27.038 | 1.593 | 0.0010428
698 | 26.502 | 1.057 | 0.00069191
698.5 | 27.219 | 1.774 | 0.0011613
699 | 27.415 | 1.97 | 0.0012896
699.5 | 29.493 | 4.048 | 0.0026498
700 | 29.73 | 4.285 | 0.002805
700.5 | 27.195 | 1.75 | 0.0011455
701 | 24.852 | 0 | 0
701.5 | 25.061 | 0 | 0
702 | 26.142 | 0.697 | 0.00045625
702.5 | 26.104 | 0.659 | 0.00043138
703 | 24.863 | 0 | 0
703.5 | 24.432 | 0 | 0
704 | 25.947 | 0.502 | 0.00032861
704.5 | 27.783 | 2.338 | 0.0015305
705 | 28.058 | 2.613 | 0.0017105
705.5 | 27.863 | 2.418 | 0.0015828
706 | 27.748 | 2.303 | 0.0015075
706.5 | 27.586 | 2.141 | 0.0014015
707 | 25.726 | 0.281 | 0.00018394
707.5 | 24.828 | 0 | 0
708 | 24.866 | 0 | 0
708.5 | 26.082 | 0.637 | 0.00041698
709 | 26.386 | 0.941 | 0.00061598
709.5 | 25.786 | 0.341 | 0.00022322
710 | 24.803 | 0 | 0
710.5 | 26.306 | 0.861 | 0.00056361
711 | 26.395 | 0.95 | 0.00062187
711.5 | 25.94 | 0.495 | 0.00032403
712 | 22.746 | 0 | 0
712.5 | 21.193 | 0 | 0
713 | 20.848 | 0 | 0
713.5 | 22.473 | 0 | 0
714 | 23.774 | 0 | 0
714.5 | 23.697 | 0 | 0
715 | 24.291 | 0 | 0
715.5 | 26.351 | 0.906 | 0.00059307
716 | 25.391 | 0 | 0
716.5 | 26.36 | 0.915 | 0.00059896
717 | 26.217 | 0.772 | 0.00050535
717.5 | 26.41 | 0.965 | 0.00063169
718 | 22.374 | 0 | 0
718.5 | 19.319 | 0 | 0
719 | 17.357 | 0 | 0
719.5 | 20.327 | 0 | 0
720 | 21.638 | 0 | 0
720.5 | 21.292 | 0 | 0
721 | 20.013 | 0 | 0
721.5 | 19.391 | 0 | 0
722 | 20.49 | 0 | 0
722.5 | 22.265 | 0 | 0
723 | 23.83 | 0 | 0
723.5 | 23.014 | 0 | 0
724 | 20.905 | 0 | 0
724.5 | 20.927 | 0 | 0
725 | 22.72 | 0 | 0
725.5 | 23.046 | 0 | 0
726 | 23.507 | 0 | 0
726.5 | 22.993 | 0 | 0
727 | 25.175 | 0 | 0
727.5 | 25.485 | 0.04 | 2.6184e-05
728 | 23.323 | 0 | 0
728.5 | 20.567 | 0 | 0
729 | 20.186 | 0 | 0
729.5 | 21.699 | 0 | 0
730 | 21.692 | 0 | 0
730.5 | 20.987 | 0 | 0
731 | 22.186 | 0 | 0
731.5 | 22.744 | 0 | 0
732 | 23.817 | 0 | 0
732.5 | 24.435 | 0 | 0
733 | 23.154 | 0 | 0
733.5 | 22.837 | 0 | 0
734 | 21.738 | 0 | 0
734.5 | 23.085 | 0 | 0
735 | 23.483 | 0 | 0
735.5 | 23.798 | 0 | 0
736 | 22.148 | 0 | 0
736.5 | 20.774 | 0 | 0
737 | 20.89 | 0 | 0
737.5 | 22.15 | 0 | 0
738 | 21.963 | 0 | 0
738.5 | 20.919 | 0 | 0
739 | 20.465 | 0 | 0
739.5 | 20.536 | 0 | 0
740 | 19.369 | 0 | 0
740.5 | 19.992 | 0 | 0
741 | 20.586 | 0 | 0
741.5 | 21.159 | 0 | 0
742 | 20.938 | 0 | 0
742.5 | 17.974 | 0 | 0
743 | 17.878 | 0 | 0
743.5 | 18.805 | 0 | 0
744 | 21.354 | 0 | 0
744.5 | 20.874 | 0 | 0
745 | 20.574 | 0 | 0
745.5 | 20.811 | 0 | 0
746 | 21.684 | 0 | 0
746.5 | 21.613 | 0 | 0
747 | 19.796 | 0 | 0
747.5 | 17.368 | 0 | 0
748 | 17.498 | 0 | 0
748.5 | 17.186 | 0 | 0
749 | 19.245 | 0 | 0
749.5 | 19.53 | 0 | 0
750 | 20.805 | 0 | 0
750.5 | 19.901 | 0 | 0
751 | 20.643 | 0 | 0
751.5 | 19.786 | 0 | 0
752 | 19.508 | 0 | 0
752.5 | 19.957 | 0 | 0
753 | 18.59 | 0 | 0
753.5 | 19.346 | 0 | 0
754 | 19.328 | 0 | 0
754.5 | 20.074 | 0 | 0
755 | 19.994 | 0 | 0
755.5 | 21.684 | 0 | 0
756 | 22.786 | 0 | 0
756.5 | 23.078 | 0 | 0
757 | 22.633 | 0 | 0
757.5 | 20.89 | 0 | 0
758 | 21.545 | 0 | 0
758.5 | 21.248 | 0 | 0
759 | 22.814 | 0 | 0
759.5 | 22.786 | 0 | 0
760 | 23.149 | 0 | 0
760.5 | 20.702 | 0 | 0
761 | 17.81 | 0 | 0
761.5 | 16.182 | 0 | 0
762 | 16.843 | 0 | 0
762.5 | 18.386 | 0 | 0
763 | 18.798 | 0 | 0
763.5 | 16.807 | 0 | 0
764 | 17.504 | 0 | 0
764.5 | 17.687 | 0 | 0
765 | 19.786 | 0 | 0
765.5 | 21.186 | 0 | 0
766 | 21.158 | 0 | 0
766.5 | 20.454 | 0 | 0
767 | 20.75 | 0 | 0
767.5 | 21.281 | 0 | 0
768 | 20.196 | 0 | 0
768.5 | 19.306 | 0 | 0
769 | 18.646 | 0 | 0
769.5 | 16.188 | 0 | 0
770 | 15.856 | 0 | 0
770.5 | 15.667 | 0 | 0
771 | 17.353 | 0 | 0
771.5 | 17.332 | 0 | 0
772 | 19.256 | 0 | 0
772.5 | 20.235 | 0 | 0
773 | 20.586 | 0 | 0
773.5 | 20.319 | 0 | 0
774 | 19.831 | 0 | 0
774.5 | 18.354 | 0 | 0
775 | 17.42 | 0 | 0
775.5 | 15.942 | 0 | 0
776 | 15.873 | 0 | 0
776.5 | 18.198 | 0 | 0
777 | 18.638 | 0 | 0
777.5 | 19.844 | 0 | 0
778 | 20.091 | 0 | 0
778.5 | 21.376 | 0 | 0
779 | 21.312 | 0 | 0
779.5 | 19.729 | 0 | 0
780 | 19.704 | 0 | 0
780.5 | 19.42 | 0 | 0
781 | 19.319 | 0 | 0
781.5 | 18.421 | 0 | 0
782 | 16.57 | 0 | 0
782.5 | 14.467 | 0 | 0
783 | 14.224 | 0 | 0
783.5 | 16.73 | 0 | 0
784 | 19.106 | 0 | 0
784.5 | 19.204 | 0 | 0
785 | 16.409 | 0 | 0
785.5 | 16.698 | 0 | 0
786 | 16.218 | 0 | 0
786.5 | 19.769 | 0 | 0
787 | 20.028 | 0 | 0
787.5 | 19.882 | 0 | 0
788 | 19.593 | 0 | 0
788.5 | 18.079 | 0 | 0
789 | 17.603 | 0 | 0
789.5 | 17.057 | 0 | 0
790 | 18.289 | 0 | 0
790.5 | 16.904 | 0 | 0
791 | 17.38 | 0 | 0
791.5 | 16.257 | 0 | 0
792 | 17.248 | 0 | 0
792.5 | 18.912 | 0 | 0
793 | 20.536 | 0 | 0
793.5 | 19.534 | 0 | 0
794 | 18.7 | 0 | 0
794.5 | 21.919 | 0 | 0
795 | 22.975 | 0 | 0
795.5 | 21.758 | 0 | 0
796 | 22.615 | 0 | 0
796.5 | 22.041 | 0 | 0
797 | 21.441 | 0 | 0
797.5 | 22.314 | 0 | 0
798 | 22.639 | 0 | 0
798.5 | 19.636 | 0 | 0
799 | 16.59 | 0 | 0
799.5 | 17.241 | 0 | 0
800 | 19.522 | 0 | 0
800.5 | 20.842 | 0 | 0
801 | 22.083 | 0 | 0
801.5 | 22.423 | 0 | 0
802 | 20.998 | 0 | 0
802.5 | 21.613 | 0 | 0
803 | 21.844 | 0 | 0
803.5 | 23.319 | 0 | 0
804 | 22.343 | 0 | 0
804.5 | 19.832 | 0 | 0
805 | 19.853 | 0 | 0
805.5 | 20.2 | 0 | 0
806 | 21.504 | 0 | 0
806.5 | 21.261 | 0 | 0
807 | 22.057 | 0 | 0
807.5 | 20.986 | 0 | 0
808 | 20.215 | 0 | 0
808.5 | 22.047 | 0 | 0
809 | 23.596 | 0 | 0
809.5 | 25.335 | 0 | 0
810 | 23.586 | 0 | 0
810.5 | 23.152 | 0 | 0
811 | 23.294 | 0 | 0
811.5 | 22.386 | 0 | 0
812 | 22.839 | 0 | 0
812.5 | 24.306 | 0 | 0
813 | 24.169 | 0 | 0
813.5 | 20.991 | 0 | 0
814 | 20.112 | 0 | 0
814.5 | 17.818 | 0 | 0
815 | 16.386 | 0 | 0
815.5 | 18.502 | 0 | 0
816 | 20.076 | 0 | 0
816.5 | 20.47 | 0 | 0
817 | 21.026 | 0 | 0
817.5 | 22.344 | 0 | 0
818 | 20.586 | 0 | 0
818.5 | 18.782 | 0 | 0
819 | 19.569 | 0 | 0
819.5 | 22.364 | 0 | 0
820 | 23.273 | 0 | 0
820.5 | 23.734 | 0 | 0
821 | 23.786 | 0 | 0
821.5 | 21.467 | 0 | 0
822 | 20.647 | 0 | 0
822.5 | 21.186 | 0 | 0
823 | 22.104 | 0 | 0
823.5 | 19.986 | 0 | 0
824 | 19.446 | 0 | 0
824.5 | 20.684 | 0 | 0
825 | 21.106 | 0 | 0
825.5 | 19.529 | 0 | 0
826 | 19.296 | 0 | 0
826.5 | 20.914 | 0 | 0
827 | 21.685 | 0 | 0
827.5 | 20.596 | 0 | 0
828 | 18.986 | 0 | 0
828.5 | 20.205 | 0 | 0
829 | 20.049 | 0 | 0
829.5 | 19.386 | 0 | 0
830 | 19.304 | 0 | 0
830.5 | 17.786 | 0 | 0
831 | 17.42 | 0 | 0
831.5 | 17.918 | 0 | 0
832 | 20.386 | 0 | 0
832.5 | 20.952 | 0 | 0
833 | 24.242 | 0 | 0
833.5 | 24.444 | 0 | 0
834 | 22.88 | 0 | 0
834.5 | 21.505 | 0 | 0
835 | 20.998 | 0 | 0
835.5 | 19.833 | 0 | 0
836 | 21.458 | 0 | 0
836.5 | 21.802 | 0 | 0
837 | 21.548 | 0 | 0
837.5 | 19.061 | 0 | 0
838 | 18.608 | 0 | 0
838.5 | 19.309 | 0 | 0
839 | 18.948 | 0 | 0
839.5 | 18.659 | 0 | 0
840 | 18.902 | 0 | 0
840.5 | 20.125 | 0 | 0
841 | 20.316 | 0 | 0
841.5 | 19.599 | 0 | 0
842 | 20.668 | 0 | 0
842.5 | 22.685 | 0 | 0
843 | 22.103 | 0 | 0
843.5 | 20.767 | 0 | 0
844 | 19.958 | 0 | 0
844.5 | 17.95 | 0 | 0
845 | 19.833 | 0 | 0
845.5 | 21.447 | 0 | 0
846 | 22.594 | 0 | 0
846.5 | 21.27 | 0 | 0
847 | 20.342 | 0 | 0
847.5 | 19.225 | 0 | 0
848 | 20.642 | 0 | 0
848.5 | 20.662 | 0 | 0
849 | 19.939 | 0 | 0
849.5 | 22.041 | 0 | 0
850 | 20.403 | 0 | 0
850.5 | 20.387 | 0 | 0
851 | 19.37 | 0 | 0
851.5 | 18.152 | 0 | 0
852 | 18.665 | 0 | 0
852.5 | 20.586 | 0 | 0
853 | 19.677 | 0 | 0
853.5 | 20.602 | 0 | 0
854 | 20.172 | 0 | 0
854.5 | 19.756 | 0 | 0
855 | 20.045 | 0 | 0
855.5 | 20.278 | 0 | 0
856 | 22.295 | 0 | 0
856.5 | 19.907 | 0 | 0
857 | 18.923 | 0 | 0
857.5 | 18.699 | 0 | 0
858 | 19.83 | 0 | 0
858.5 | 18.942 | 0 | 0
859 | 20.259 | 0 | 0
859.5 | 21.182 | 0 | 0
860 | 19.795 | 0 | 0
860.5 | 19.388 | 0 | 0
861 | 22.786 | 0 | 0
861.5 | 22.288 | 0 | 0
862 | 22.056 | 0 | 0
862.5 | 21.469 | 0 | 0
863 | 21.621 | 0 | 0
863.5 | 23.698 | 0 | 0
864 | 24.621 | 0 | 0
864.5 | 24.184 | 0 | 0
865 | 21.468 | 0 | 0
865.5 | 20.515 | 0 | 0
866 | 22.786 | 0 | 0
866.5 | 22.314 | 0 | 0
867 | 20.242 | 0 | 0
867.5 | 21.324 | 0 | 0
868 | 21.931 | 0 | 0
868.5 | 22.504 | 0 | 0
869 | 21.683 | 0 | 0
869.5 | 21.705 | 0 | 0
870 | 21.168 | 0 | 0
870.5 | 19.278 | 0 | 0
871 | 21.492 | 0 | 0
871.5 | 22.186 | 0 | 0
872 | 21.186 | 0 | 0
872.5 | 21.348 | 0 | 0
873 | 21.479 | 0 | 0
873.5 | 23.206 | 0 | 0
874 | 22.243 | 0 | 0
874.5 | 21.226 | 0 | 0
875 | 22.339 | 0 | 0
875.5 | 20.101 | 0 | 0
876 | 18.619 | 0 | 0
876.5 | 20.404 | 0 | 0
877 | 20.745 | 0 | 0
877.5 | 21.056 | 0 | 0
878 | 19.501 | 0 | 0
878.5 | 21.614 | 0 | 0
879 | 23.957 | 0 | 0
879.5 | 21.332 | 0 | 0
880 | 19.83 | 0 | 0
880.5 | 21.89 | 0 | 0
881 | 23.546 | 0 | 0
881.5 | 23.718 | 0 | 0
882 | 21.224 | 0 | 0
882.5 | 21.548 | 0 | 0
883 | 22.126 | 0 | 0
883.5 | 23.415 | 0 | 0
884 | 24.376 | 0 | 0
884.5 | 23.766 | 0 | 0
885 | 21.666 | 0 | 0
885.5 | 22.386 | 0 | 0
886 | 22.541 | 0 | 0
886.5 | 21.396 | 0 | 0