## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 10 | 0 | 0
246.5 | 10 | 0 | 0
247 | 10 | 0 | 0
247.5 | 10 | 0 | 0
248 | 10 | 0 | 0
248.5 | 10 | 0 | 0
249 | 10 | 0 | 0
249.5 | 10 | 0 | 0
250 | 10 | 0 | 0
250.5 | 10 | 0 | 0
251 | 10 | 0 | 0
251.5 | 10 | 0 | 0
252 | 10 | 0 | 0
252.5 | 10 | 0 | 0
253 | 10 | 0 | 0
253.5 | 10 | 0 | 0
254 | 10 | 0 | 0
254.5 | 10 | 0 | 0
255 | 10 | 0 | 0
255.5 | 10 | 0 | 0
256 | 10 | 0 | 0
256.5 | 10 | 0 | 0
257 | 10 | 0 | 0
257.5 | 10 | 0 | 0
258 | 10 | 0 | 0
258.5 | 10 | 0 | 0
259 | 10 | 0 | 0
259.5 | 10 | 0 | 0
260 | 10 | 0 | 0
260.5 | 10 | 0 | 0
261 | 10 | 0 | 0
261.5 | 10 | 0 | 0
262 | 10 | 0 | 0
262.5 | 10 | 0 | 0
263 | 10 | 0 | 0
263.5 | 10 | 0 | 0
264 | 10 | 0 | 0
264.5 | 10 | 0 | 0
265 | 10 | 0 | 0
265.5 | 10 | 0 | 0
266 | 10 | 0 | 0
266.5 | 10 | 0 | 0
267 | 10 | 0 | 0
267.5 | 10 | 0 | 0
268 | 10 | 0 | 0
268.5 | 10 | 0 | 0
269 | 10 | 0 | 0
269.5 | 10 | 0 | 0
270 | 10 | 0 | 0
270.5 | 10 | 0 | 0
271 | 10 | 0 | 0
271.5 | 10 | 0 | 0
272 | 10 | 0 | 0
272.5 | 10 | 0 | 0
273 | 10 | 0 | 0
273.5 | 10 | 0 | 0
274 | 10 | 0 | 0
274.5 | 10 | 0 | 0
275 | 10 | 0 | 0
275.5 | 10 | 0 | 0
276 | 10 | 0 | 0
276.5 | 10 | 0 | 0
277 | 10 | 0 | 0
277.5 | 10 | 0 | 0
278 | 10 | 0 | 0
278.5 | 10 | 0 | 0
279 | 10 | 0 | 0
279.5 | 10 | 0 | 0
280 | 10 | 0 | 0
280.5 | 10 | 0 | 0
281 | 10 | 0 | 0
281.5 | 10 | 0 | 0
282 | 10 | 0 | 0
282.5 | 10 | 0 | 0
283 | 10 | 0 | 0
283.5 | 10 | 0 | 0
284 | 10 | 0 | 0
284.5 | 10 | 0 | 0
285 | 10 | 0 | 0
285.5 | 10 | 0 | 0
286 | 10 | 0 | 0
286.5 | 10 | 0 | 0
287 | 10 | 0 | 0
287.5 | 10 | 0 | 0
288 | 10 | 0 | 0
288.5 | 10 | 0 | 0
289 | 10 | 0 | 0
289.5 | 10 | 0 | 0
290 | 10 | 0 | 0
290.5 | 10 | 0 | 0
291 | 10 | 0 | 0
291.5 | 10 | 0 | 0
292 | 10 | 0 | 0
292.5 | 10 | 0 | 0
293 | 10 | 0 | 0
293.5 | 10 | 0 | 0
294 | 10 | 0 | 0
294.5 | 10 | 0 | 0
295 | 10 | 0 | 0
295.5 | 10 | 0 | 0
296 | 10 | 0 | 0
296.5 | 10 | 0 | 0
297 | 10 | 0 | 0
297.5 | 10 | 0 | 0
298 | 10 | 0 | 0
298.5 | 10 | 0 | 0
299 | 10 | 0 | 0
299.5 | 10 | 0 | 0
300 | 10 | 0 | 0
300.5 | 10 | 0 | 0
301 | 10 | 0 | 0
301.5 | 10 | 0 | 0
302 | 10 | 0 | 0
302.5 | 10 | 0 | 0
303 | 10 | 0 | 0
303.5 | 10 | 0 | 0
304 | 10 | 0 | 0
304.5 | 10 | 0 | 0
305 | 10 | 0 | 0
305.5 | 10 | 0 | 0
306 | 10 | 0 | 0
306.5 | 10 | 0 | 0
307 | 10 | 0 | 0
307.5 | 10 | 0 | 0
308 | 10 | 0 | 0
308.5 | 10 | 0 | 0
309 | 10 | 0 | 0
309.5 | 10 | 0 | 0
310 | 10 | 0 | 0
310.5 | 10 | 0 | 0
311 | 10 | 0 | 0
311.5 | 10 | 0 | 0
312 | 10 | 0 | 0
312.5 | 10 | 0 | 0
313 | 10 | 0 | 0
313.5 | 10 | 0 | 0
314 | 10 | 0 | 0
314.5 | 10 | 0 | 0
315 | 10 | 0 | 0
315.5 | 10 | 0 | 0
316 | 10 | 0 | 0
316.5 | 10 | 0 | 0
317 | 10 | 0 | 0
317.5 | 10 | 0 | 0
318 | 10 | 0 | 0
318.5 | 10 | 0 | 0
319 | 10 | 0 | 0
319.5 | 10 | 0 | 0
320 | 10 | 0 | 0
320.5 | 10 | 0 | 0
321 | 10 | 0 | 0
321.5 | 10 | 0 | 0
322 | 10 | 0 | 0
322.5 | 10 | 0 | 0
323 | 10 | 0 | 0
323.5 | 10 | 0 | 0
324 | 10 | 0 | 0
324.5 | 10 | 0 | 0
325 | 10 | 0 | 0
325.5 | 10 | 0 | 0
326 | 10 | 0 | 0
326.5 | 10 | 0 | 0
327 | 10 | 0 | 0
327.5 | 10 | 0 | 0
328 | 10 | 0 | 0
328.5 | 10 | 0 | 0
329 | 10 | 0 | 0
329.5 | 10 | 0 | 0
330 | 10 | 0 | 0
330.5 | 10 | 0 | 0
331 | 10 | 0 | 0
331.5 | 10 | 0 | 0
332 | 10 | 0 | 0
332.5 | 10 | 0 | 0
333 | 10 | 0 | 0
333.5 | 10 | 0 | 0
334 | 10 | 0 | 0
334.5 | 10 | 0 | 0
335 | 10 | 0 | 0
335.5 | 10 | 0 | 0
336 | 10 | 0 | 0
336.5 | 10 | 0 | 0
337 | 10 | 0 | 0
337.5 | 10 | 0 | 0
338 | 10 | 0 | 0
338.5 | 10 | 0 | 0
339 | 10 | 0 | 0
339.5 | 10 | 0 | 0
340 | 10 | 0 | 0
340.5 | 10 | 0 | 0
341 | 10 | 0 | 0
341.5 | 10 | 0 | 0
342 | 10 | 0 | 0
342.5 | 10 | 0 | 0
343 | 10 | 0 | 0
343.5 | 10 | 0 | 0
344 | 10 | 0 | 0
344.5 | 10 | 0 | 0
345 | 10 | 0 | 0
345.5 | 10 | 0 | 0
346 | 10 | 0 | 0
346.5 | 10 | 0 | 0
347 | 10 | 0 | 0
347.5 | 10 | 0 | 0
348 | 10 | 0 | 0
348.5 | 10 | 0 | 0
349 | 10 | 0 | 0
349.5 | 10 | 0 | 0
350 | 10 | 0 | 0
350.5 | 10 | 0 | 0
351 | 10 | 0 | 0
351.5 | 10 | 0 | 0
352 | 10 | 0 | 0
352.5 | 10 | 0 | 0
353 | 10 | 0 | 0
353.5 | 10 | 0 | 0
354 | 10 | 0 | 0
354.5 | 10 | 0 | 0
355 | 10 | 0 | 0
355.5 | 10 | 0 | 0
356 | 10 | 0 | 0
356.5 | 10 | 0 | 0
357 | 10 | 0 | 0
357.5 | 10 | 0 | 0
358 | 10 | 0 | 0
358.5 | 10 | 0 | 0
359 | 10 | 0 | 0
359.5 | 10 | 0 | 0
360 | 10 | 0 | 0
360.5 | 10 | 0 | 0
361 | 10 | 0 | 0
361.5 | 10 | 0 | 0
362 | 10 | 0 | 0
362.5 | 10 | 0 | 0
363 | 10 | 0 | 0
363.5 | 10 | 0 | 0
364 | 10 | 0 | 0
364.5 | 10 | 0 | 0
365 | 10 | 0 | 0
365.5 | 10 | 0 | 0
366 | 10 | 0 | 0
366.5 | 10 | 0 | 0
367 | 10 | 0 | 0
367.5 | 10 | 0 | 0
368 | 10 | 0 | 0
368.5 | 10 | 0 | 0
369 | 10 | 0 | 0
369.5 | 10 | 0 | 0
370 | 10 | 0 | 0
370.5 | 10 | 0 | 0
371 | 10 | 0 | 0
371.5 | 10 | 0 | 0
372 | 10 | 0 | 0
372.5 | 10 | 0 | 0
373 | 10 | 0 | 0
373.5 | 10 | 0 | 0
374 | 10 | 0 | 0
374.5 | 10 | 0 | 0
375 | 10 | 0 | 0
375.5 | 10 | 0 | 0
376 | 10 | 0 | 0
376.5 | 10 | 0 | 0
377 | 10 | 0 | 0
377.5 | 10 | 0 | 0
378 | 10 | 0 | 0
378.5 | 10 | 0 | 0
379 | 10 | 0 | 0
379.5 | 10 | 0 | 0
380 | 10 | 0 | 0
380.5 | 10 | 0 | 0
381 | 10 | 0 | 0
381.5 | 10 | 0 | 0
382 | 10 | 0 | 0
382.5 | 10 | 0 | 0
383 | 10 | 0 | 0
383.5 | 10 | 0 | 0
384 | 10 | 0 | 0
384.5 | 10 | 0 | 0
385 | 10 | 0 | 0
385.5 | 10 | 0 | 0
386 | 10 | 0 | 0
386.5 | 10 | 0 | 0
387 | 10 | 0 | 0
387.5 | 10 | 0 | 0
388 | 10 | 0 | 0
388.5 | 10 | 0 | 0
389 | 10 | 0 | 0
389.5 | 10 | 0 | 0
390 | 10.6597 | 0.65967 | 0.00017634
390.5 | 12.3875 | 2.3875 | 0.00063819
391 | 16.7365 | 6.7365 | 0.0018007
391.5 | 17.0125 | 7.0125 | 0.0018745
392 | 10.234 | 0.23405 | 6.2562e-05
392.5 | 15.9421 | 5.9421 | 0.0015884
393 | 19.7032 | 9.7032 | 0.0025938
393.5 | 20.8389 | 10.8389 | 0.0028973
394 | 16.5953 | 6.5953 | 0.001763
394.5 | 7.6002 | 0 | 0
395 | 0.94186 | 0 | 0
395.5 | 5.7481 | 0 | 0
396 | 17.3096 | 7.3096 | 0.0019539
396.5 | 24.8698 | 14.8698 | 0.0039748
397 | 29.2841 | 19.2841 | 0.0051548
397.5 | 32.6786 | 22.6786 | 0.0060622
398 | 34.9542 | 24.9542 | 0.0066705
398.5 | 35.4325 | 25.4325 | 0.0067983
399 | 34.9289 | 24.9289 | 0.0066637
399.5 | 30.6811 | 20.6811 | 0.0055282
400 | 28.8458 | 18.8458 | 0.0050376
400.5 | 27.6932 | 17.6932 | 0.0047295
401 | 27.9356 | 17.9356 | 0.0047943
401.5 | 28.928 | 18.928 | 0.0050596
402 | 28.9659 | 18.9659 | 0.0050697
402.5 | 32.6069 | 22.6069 | 0.006043
403 | 35.8876 | 25.8876 | 0.00692
403.5 | 43.2603 | 33.2603 | 0.0088907
404 | 49.3898 | 39.3898 | 0.010529
404.5 | 55.4771 | 45.4771 | 0.012156
405 | 65.433 | 55.433 | 0.014818
405.5 | 78.4947 | 68.4947 | 0.018309
406 | 87.8628 | 77.8628 | 0.020813
406.5 | 90.8021 | 80.8021 | 0.021599
407 | 89.4178 | 79.4178 | 0.021229
407.5 | 91.0782 | 81.0782 | 0.021673
408 | 99.93 | 89.93 | 0.024039
408.5 | 113.6533 | 103.6533 | 0.027707
409 | 126.6624 | 116.6624 | 0.031185
409.5 | 136.6562 | 126.6562 | 0.033856
410 | 145.5143 | 135.5143 | 0.036224
410.5 | 158.1104 | 148.1104 | 0.039591
411 | 174.0694 | 164.0694 | 0.043857
411.5 | 189.5416 | 179.5416 | 0.047993
412 | 201.4276 | 191.4276 | 0.05117
412.5 | 213.4653 | 203.4653 | 0.054388
413 | 230.088 | 220.088 | 0.058831
413.5 | 250.1684 | 240.1684 | 0.064199
414 | 268.974 | 258.974 | 0.069226
414.5 | 284.3092 | 274.3092 | 0.073325
415 | 298.4835 | 288.4835 | 0.077114
415.5 | 314.788 | 304.788 | 0.081472
416 | 331.1242 | 321.1242 | 0.085839
416.5 | 349.1417 | 339.1417 | 0.090655
417 | 365.1386 | 355.1386 | 0.094931
417.5 | 383.0824 | 373.0824 | 0.099728
418 | 406.787 | 396.787 | 0.10606
418.5 | 429.6276 | 419.6276 | 0.11217
419 | 456.7372 | 446.7372 | 0.11942
419.5 | 480.4881 | 470.4881 | 0.12577
420 | 503.4678 | 493.4678 | 0.13191
420.5 | 526.0915 | 516.0915 | 0.13796
421 | 547.8912 | 537.8912 | 0.14378
421.5 | 568.6143 | 558.6143 | 0.14932
422 | 590.3361 | 580.3361 | 0.15513
422.5 | 613.556 | 603.556 | 0.16134
423 | 636.424 | 626.424 | 0.16745
423.5 | 655.2254 | 645.2254 | 0.17247
424 | 670.3605 | 660.3605 | 0.17652
424.5 | 684.1935 | 674.1935 | 0.18022
425 | 698.2013 | 688.2013 | 0.18396
425.5 | 715.6879 | 705.6879 | 0.18864
426 | 724.6113 | 714.6113 | 0.19102
426.5 | 730.4605 | 720.4605 | 0.19259
427 | 739.7211 | 729.7211 | 0.19506
427.5 | 754.2894 | 744.2894 | 0.19895
428 | 769.8691 | 759.8691 | 0.20312
428.5 | 776.9741 | 766.9741 | 0.20502
429 | 772.6209 | 762.6209 | 0.20385
429.5 | 771.3567 | 761.3567 | 0.20352
430 | 779.3151 | 769.3151 | 0.20564
430.5 | 790.1581 | 780.1581 | 0.20854
431 | 796.2517 | 786.2517 | 0.21017
431.5 | 797.3853 | 787.3853 | 0.21047
432 | 791.9301 | 781.9301 | 0.20902
432.5 | 783.1752 | 773.1752 | 0.20668
433 | 776.8561 | 766.8561 | 0.20499
433.5 | 766.2997 | 756.2997 | 0.20217
434 | 757.0897 | 747.0897 | 0.1997
434.5 | 757.5406 | 747.5406 | 0.19982
435 | 751.4238 | 741.4238 | 0.19819
435.5 | 750.7706 | 740.7706 | 0.19801
436 | 740.3448 | 730.3448 | 0.19523
436.5 | 724.9021 | 714.9021 | 0.1911
437 | 707.6936 | 697.6936 | 0.1865
437.5 | 689.9668 | 679.9668 | 0.18176
438 | 672.1094 | 662.1094 | 0.17699
438.5 | 660.1244 | 650.1244 | 0.17378
439 | 646.4474 | 636.4474 | 0.17013
439.5 | 631.7611 | 621.7611 | 0.1662
440 | 618.2232 | 608.2232 | 0.16258
440.5 | 604.7105 | 594.7105 | 0.15897
441 | 590.6269 | 580.6269 | 0.15521
441.5 | 580.3759 | 570.3759 | 0.15247
442 | 564.1431 | 554.1431 | 0.14813
442.5 | 551.8104 | 541.8104 | 0.14483
443 | 535.7292 | 525.7292 | 0.14053
443.5 | 520.0758 | 510.0758 | 0.13635
444 | 506.7886 | 496.7886 | 0.1328
444.5 | 493.6405 | 483.6405 | 0.12928
445 | 482.9871 | 472.9871 | 0.12643
445.5 | 469.4323 | 459.4323 | 0.12281
446 | 452.7696 | 442.7696 | 0.11836
446.5 | 433.2033 | 423.2033 | 0.11313
447 | 413.6413 | 403.6413 | 0.1079
447.5 | 396.1147 | 386.1147 | 0.10321
448 | 379.6837 | 369.6837 | 0.098819
448.5 | 365.9498 | 355.9498 | 0.095148
449 | 349.7549 | 339.7549 | 0.090819
449.5 | 336.1558 | 326.1558 | 0.087184
450 | 322.8644 | 312.8644 | 0.083631
450.5 | 310.1167 | 300.1167 | 0.080224
451 | 298.9976 | 288.9976 | 0.077251
451.5 | 286.5385 | 276.5385 | 0.073921
452 | 277.2674 | 267.2674 | 0.071443
452.5 | 265.3035 | 255.3035 | 0.068245
453 | 254.9683 | 244.9683 | 0.065482
453.5 | 245.2189 | 235.2189 | 0.062876
454 | 236.6115 | 226.6115 | 0.060575
454.5 | 231.5966 | 221.5966 | 0.059235
455 | 226.2805 | 216.2805 | 0.057814
455.5 | 227.1971 | 217.1971 | 0.058059
456 | 229.5465 | 219.5465 | 0.058687
456.5 | 232.1213 | 222.1213 | 0.059375
457 | 232.8187 | 222.8187 | 0.059561
457.5 | 232.1445 | 222.1445 | 0.059381
458 | 234.6329 | 224.6329 | 0.060046
458.5 | 238.8955 | 228.8955 | 0.061186
459 | 242.25 | 232.25 | 0.062082
459.5 | 243.5248 | 233.5248 | 0.062423
460 | 245.9184 | 235.9184 | 0.063063
460.5 | 250.7499 | 240.7499 | 0.064354
461 | 256.3379 | 246.3379 | 0.065848
461.5 | 258.8348 | 248.8348 | 0.066516
462 | 261.4433 | 251.4433 | 0.067213
462.5 | 260.7733 | 250.7733 | 0.067034
463 | 263.0763 | 253.0763 | 0.067649
463.5 | 264.8273 | 254.8273 | 0.068117
464 | 266.3149 | 256.3149 | 0.068515
464.5 | 271.9049 | 261.9049 | 0.070009
465 | 276.393 | 266.393 | 0.071209
465.5 | 278.1355 | 268.1355 | 0.071675
466 | 279.2017 | 269.2017 | 0.07196
466.5 | 279.4988 | 269.4988 | 0.072039
467 | 281.9683 | 271.9683 | 0.072699
467.5 | 287.0653 | 277.0653 | 0.074062
468 | 291.0034 | 281.0034 | 0.075115
468.5 | 297.194 | 287.194 | 0.076769
469 | 300.4852 | 290.4852 | 0.077649
469.5 | 304.3938 | 294.3938 | 0.078694
470 | 307.3522 | 297.3522 | 0.079485
470.5 | 312.8306 | 302.8306 | 0.080949
471 | 322.2681 | 312.2681 | 0.083472
471.5 | 327.5274 | 317.5274 | 0.084878
472 | 333.8971 | 323.8971 | 0.08658
472.5 | 340.646 | 330.646 | 0.088384
473 | 351.0297 | 341.0297 | 0.09116
473.5 | 362.6291 | 352.6291 | 0.094261
474 | 372.7641 | 362.7641 | 0.09697
474.5 | 381.1966 | 371.1966 | 0.099224
475 | 391.7741 | 381.7741 | 0.10205
475.5 | 404.3091 | 394.3091 | 0.1054
476 | 417.4214 | 407.4214 | 0.10891
476.5 | 431.8864 | 421.8864 | 0.11277
477 | 445.7847 | 435.7847 | 0.11649
477.5 | 459.7545 | 449.7545 | 0.12022
478 | 476.4236 | 466.4236 | 0.12468
478.5 | 491.0993 | 481.0993 | 0.1286
479 | 510.2568 | 500.2568 | 0.13372
479.5 | 530.6449 | 520.6449 | 0.13917
480 | 553.043 | 543.043 | 0.14516
480.5 | 576.9562 | 566.9562 | 0.15155
481 | 602.2558 | 592.2558 | 0.15831
481.5 | 629.8289 | 619.8289 | 0.16569
482 | 657.7455 | 647.7455 | 0.17315
482.5 | 686.9305 | 676.9305 | 0.18095
483 | 712.3229 | 702.3229 | 0.18774
483.5 | 742.5277 | 732.5277 | 0.19581
484 | 776.6012 | 766.6012 | 0.20492
484.5 | 811.3636 | 801.3636 | 0.21421
485 | 850.9766 | 840.9766 | 0.2248
485.5 | 886.1857 | 876.1857 | 0.23421
486 | 926.3718 | 916.3718 | 0.24495
486.5 | 965.9721 | 955.9721 | 0.25554
487 | 1010.0731 | 1000.0731 | 0.26733
487.5 | 1058.1649 | 1048.1649 | 0.28018
488 | 1107.0574 | 1097.0574 | 0.29325
488.5 | 1160.6381 | 1150.6381 | 0.30758
489 | 1208.9259 | 1198.9259 | 0.32048
489.5 | 1258.4926 | 1248.4926 | 0.33373
490 | 1308.9991 | 1298.9991 | 0.34723
490.5 | 1362.0194 | 1352.0194 | 0.36141
491 | 1420.4843 | 1410.4843 | 0.37703
491.5 | 1484.1621 | 1474.1621 | 0.39406
492 | 1540.994 | 1530.994 | 0.40925
492.5 | 1602.8344 | 1592.8344 | 0.42578
493 | 1665.2227 | 1655.2227 | 0.44245
493.5 | 1734.9246 | 1724.9246 | 0.46109
494 | 1806.2448 | 1796.2448 | 0.48015
494.5 | 1872.095 | 1862.095 | 0.49775
495 | 1931.9189 | 1921.9189 | 0.51374
495.5 | 1996.4038 | 1986.4038 | 0.53098
496 | 2063.7584 | 2053.7584 | 0.54899
496.5 | 2128.6457 | 2118.6457 | 0.56633
497 | 2192.4625 | 2182.4625 | 0.58339
497.5 | 2255.1879 | 2245.1879 | 0.60016
498 | 2320.3597 | 2310.3597 | 0.61758
498.5 | 2393.8374 | 2383.8374 | 0.63722
499 | 2461.4829 | 2451.4829 | 0.6553
499.5 | 2524.8952 | 2514.8952 | 0.67225
500 | 2582.4014 | 2572.4014 | 0.68762
500.5 | 2636.2413 | 2626.2413 | 0.70202
501 | 2692.519 | 2682.519 | 0.71706
501.5 | 2752.0396 | 2742.0396 | 0.73297
502 | 2806.7307 | 2796.7307 | 0.74759
502.5 | 2868.7018 | 2858.7018 | 0.76415
503 | 2910.5841 | 2900.5841 | 0.77535
503.5 | 2972.2054 | 2962.2054 | 0.79182
504 | 3024.2648 | 3014.2648 | 0.80574
504.5 | 3072.8749 | 3062.8749 | 0.81873
505 | 3129.5298 | 3119.5298 | 0.83388
505.5 | 3167.4318 | 3157.4318 | 0.84401
506 | 3217.5296 | 3207.5296 | 0.8574
506.5 | 3257.4649 | 3247.4649 | 0.86807
507 | 3297.4424 | 3287.4424 | 0.87876
507.5 | 3343.484 | 3333.484 | 0.89107
508 | 3388.9904 | 3378.9904 | 0.90323
508.5 | 3426.9577 | 3416.9577 | 0.91338
509 | 3466.4421 | 3456.4421 | 0.92394
509.5 | 3483.3134 | 3473.3134 | 0.92845
510 | 3511.9991 | 3501.9991 | 0.93611
510.5 | 3542.2651 | 3532.2651 | 0.9442
511 | 3577.2066 | 3567.2066 | 0.95354
511.5 | 3606.988 | 3596.988 | 0.9615
512 | 3623.2377 | 3613.2377 | 0.96585
512.5 | 3650.0123 | 3640.0123 | 0.97301
513 | 3649.0051 | 3639.0051 | 0.97274
513.5 | 3665.8532 | 3655.8532 | 0.97724
514 | 3682.0271 | 3672.0271 | 0.98156
514.5 | 3702.6596 | 3692.6596 | 0.98708
515 | 3727.2786 | 3717.2786 | 0.99366
515.5 | 3743.5831 | 3733.5831 | 0.99802
516 | 3736.7393 | 3726.7393 | 0.99619
516.5 | 3741.7963 | 3731.7963 | 0.99754
517 | 3744.2194 | 3734.2194 | 0.99819
517.5 | 3747.8584 | 3737.8584 | 0.99916
518 | 3751 | 3741 | 1
518.5 | 3749.0615 | 3739.0615 | 0.99948
519 | 3740.6711 | 3730.6711 | 0.99724
519.5 | 3737.2198 | 3727.2198 | 0.99632
520 | 3734.1687 | 3724.1687 | 0.9955
520.5 | 3729.4299 | 3719.4299 | 0.99423
521 | 3705.5863 | 3695.5863 | 0.98786
521.5 | 3673.7 | 3663.7 | 0.97934
522 | 3638.2843 | 3628.2843 | 0.96987
522.5 | 3593.7029 | 3583.7029 | 0.95795
523 | 3555.0381 | 3545.0381 | 0.94762
523.5 | 3506.5144 | 3496.5144 | 0.93465
524 | 3462.681 | 3452.681 | 0.92293
524.5 | 3419.4481 | 3409.4481 | 0.91137
525 | 3369.2682 | 3359.2682 | 0.89796
525.5 | 3315.1038 | 3305.1038 | 0.88348
526 | 3267.3555 | 3257.3555 | 0.87072
526.5 | 3219.2784 | 3209.2784 | 0.85787
527 | 3170.5651 | 3160.5651 | 0.84484
527.5 | 3135.4634 | 3125.4634 | 0.83546
528 | 3098.5432 | 3088.5432 | 0.82559
528.5 | 3073.8968 | 3063.8968 | 0.819
529 | 3060.5801 | 3050.5801 | 0.81545
529.5 | 3041.2646 | 3031.2646 | 0.81028
530 | 3043.3211 | 3033.3211 | 0.81083
530.5 | 3031.7533 | 3021.7533 | 0.80774
531 | 3035.1141 | 3025.1141 | 0.80864
531.5 | 3045.306 | 3035.306 | 0.81136
532 | 3065.6835 | 3055.6835 | 0.81681
532.5 | 3091.6889 | 3081.6889 | 0.82376
533 | 3110.1132 | 3100.1132 | 0.82869
533.5 | 3126.6727 | 3116.6727 | 0.83311
534 | 3149.2204 | 3139.2204 | 0.83914
534.5 | 3176.8167 | 3166.8167 | 0.84652
535 | 3211.7667 | 3201.7667 | 0.85586
535.5 | 3243.6846 | 3233.6846 | 0.86439
536 | 3270.6615 | 3260.6615 | 0.8716
536.5 | 3304.7096 | 3294.7096 | 0.8807
537 | 3355.4163 | 3345.4163 | 0.89426
537.5 | 3403.5692 | 3393.5692 | 0.90713
538 | 3449.6846 | 3439.6846 | 0.91946
538.5 | 3491.6174 | 3481.6174 | 0.93066
539 | 3537.836 | 3527.836 | 0.94302
539.5 | 3585.814 | 3575.814 | 0.95584
540 | 3621.019 | 3611.019 | 0.96526
540.5 | 3642.8567 | 3632.8567 | 0.97109
541 | 3652.1636 | 3642.1636 | 0.97358
541.5 | 3668.4871 | 3658.4871 | 0.97794
542 | 3676.5003 | 3666.5003 | 0.98009
542.5 | 3679.4797 | 3669.4797 | 0.98088
543 | 3685.3437 | 3675.3437 | 0.98245
543.5 | 3697.9187 | 3687.9187 | 0.98581
544 | 3715.401 | 3705.401 | 0.99048
544.5 | 3728.191 | 3718.191 | 0.9939
545 | 3719.3476 | 3709.3476 | 0.99154
545.5 | 3703.4034 | 3693.4034 | 0.98728
546 | 3684.8717 | 3674.8717 | 0.98232
546.5 | 3667.758 | 3657.758 | 0.97775
547 | 3657.524 | 3647.524 | 0.97501
547.5 | 3655.4443 | 3645.4443 | 0.97446
548 | 3650.5959 | 3640.5959 | 0.97316
548.5 | 3644.2452 | 3634.2452 | 0.97146
549 | 3634.9552 | 3624.9552 | 0.96898
549.5 | 3624.8517 | 3614.8517 | 0.96628
550 | 3614.9169 | 3604.9169 | 0.96362
550.5 | 3602.4346 | 3592.4346 | 0.96029
551 | 3580.9256 | 3570.9256 | 0.95454
551.5 | 3563.2073 | 3553.2073 | 0.9498
552 | 3555.3964 | 3545.3964 | 0.94771
552.5 | 3543.3966 | 3533.3966 | 0.94451
553 | 3529.2371 | 3519.2371 | 0.94072
553.5 | 3510.6906 | 3500.6906 | 0.93576
554 | 3488.3704 | 3478.3704 | 0.9298
554.5 | 3483.9877 | 3473.9877 | 0.92863
555 | 3470.5572 | 3460.5572 | 0.92504
555.5 | 3456.7517 | 3446.7517 | 0.92135
556 | 3438.85 | 3428.85 | 0.91656
556.5 | 3421.3929 | 3411.3929 | 0.91189
557 | 3406.8268 | 3396.8268 | 0.908
557.5 | 3392.0204 | 3382.0204 | 0.90404
558 | 3370.1405 | 3360.1405 | 0.89819
558.5 | 3354.9443 | 3344.9443 | 0.89413
559 | 3334.1328 | 3324.1328 | 0.88857
559.5 | 3320.0154 | 3310.0154 | 0.88479
560 | 3305.2301 | 3295.2301 | 0.88084
560.5 | 3289.6588 | 3279.6588 | 0.87668
561 | 3273.6177 | 3263.6177 | 0.87239
561.5 | 3247.5954 | 3237.5954 | 0.86544
562 | 3224.5356 | 3214.5356 | 0.85927
562.5 | 3205.2959 | 3195.2959 | 0.85413
563 | 3189.1262 | 3179.1262 | 0.84981
563.5 | 3166.4647 | 3156.4647 | 0.84375
564 | 3143.2448 | 3133.2448 | 0.83754
564.5 | 3124.3696 | 3114.3696 | 0.8325
565 | 3100.8252 | 3090.8252 | 0.8262
565.5 | 3083.1132 | 3073.1132 | 0.82147
566 | 3056.8443 | 3046.8443 | 0.81445
566.5 | 3035.3964 | 3025.3964 | 0.80871
567 | 3023.8665 | 3013.8665 | 0.80563
567.5 | 3012.5284 | 3002.5284 | 0.8026
568 | 2995.1703 | 2985.1703 | 0.79796
568.5 | 2975.6588 | 2965.6588 | 0.79274
569 | 2938.6966 | 2928.6966 | 0.78286
569.5 | 2915.6958 | 2905.6958 | 0.77672
570 | 2893.7865 | 2883.7865 | 0.77086
570.5 | 2872.5493 | 2862.5493 | 0.76518
571 | 2848.6488 | 2838.6488 | 0.75879
571.5 | 2823.72 | 2813.72 | 0.75213
572 | 2803.1361 | 2793.1361 | 0.74663
572.5 | 2780.7505 | 2770.7505 | 0.74064
573 | 2754.4606 | 2744.4606 | 0.73362
573.5 | 2722.4015 | 2712.4015 | 0.72505
574 | 2694.7083 | 2684.7083 | 0.71764
574.5 | 2671.3788 | 2661.3788 | 0.71141
575 | 2650.4429 | 2640.4429 | 0.70581
575.5 | 2630.805 | 2620.805 | 0.70056
576 | 2610.1789 | 2600.1789 | 0.69505
576.5 | 2580.0098 | 2570.0098 | 0.68698
577 | 2552.0869 | 2542.0869 | 0.67952
577.5 | 2526.9622 | 2516.9622 | 0.6728
578 | 2507.1874 | 2497.1874 | 0.66752
578.5 | 2488.3438 | 2478.3438 | 0.66248
579 | 2463.4045 | 2453.4045 | 0.65582
579.5 | 2432.8309 | 2422.8309 | 0.64764
580 | 2412.1921 | 2402.1921 | 0.64213
580.5 | 2390.7759 | 2380.7759 | 0.6364
581 | 2373.363 | 2363.363 | 0.63175
581.5 | 2348.3373 | 2338.3373 | 0.62506
582 | 2322.7891 | 2312.7891 | 0.61823
582.5 | 2303.2376 | 2293.2376 | 0.613
583 | 2278.7176 | 2268.7176 | 0.60645
583.5 | 2263.4561 | 2253.4561 | 0.60237
584 | 2236.4434 | 2226.4434 | 0.59515
584.5 | 2208.2297 | 2198.2297 | 0.5876
585 | 2179.5125 | 2169.5125 | 0.57993
585.5 | 2149.4656 | 2139.4656 | 0.5719
586 | 2121.2372 | 2111.2372 | 0.56435
586.5 | 2100.5373 | 2090.5373 | 0.55882
587 | 2082.1405 | 2072.1405 | 0.5539
587.5 | 2064.4938 | 2054.4938 | 0.54918
588 | 2046.7354 | 2036.7354 | 0.54444
588.5 | 2027.5842 | 2017.5842 | 0.53932
589 | 2004.1704 | 1994.1704 | 0.53306
589.5 | 1976.1717 | 1966.1717 | 0.52557
590 | 1946.8686 | 1936.8686 | 0.51774
590.5 | 1920.9727 | 1910.9727 | 0.51082
591 | 1898.6441 | 1888.6441 | 0.50485
591.5 | 1883.5427 | 1873.5427 | 0.50081
592 | 1865.4935 | 1855.4935 | 0.49599
592.5 | 1846.9808 | 1836.9808 | 0.49104
593 | 1826.2957 | 1816.2957 | 0.48551
593.5 | 1799.7297 | 1789.7297 | 0.47841
594 | 1769.8978 | 1759.8978 | 0.47044
594.5 | 1741.6925 | 1731.6925 | 0.4629
595 | 1714.1426 | 1704.1426 | 0.45553
595.5 | 1695.9059 | 1685.9059 | 0.45066
596 | 1678.8913 | 1668.8913 | 0.44611
596.5 | 1662.1801 | 1652.1801 | 0.44164
597 | 1644.2447 | 1634.2447 | 0.43685
597.5 | 1618.8587 | 1608.8587 | 0.43006
598 | 1595.5208 | 1585.5208 | 0.42382
598.5 | 1572.3219 | 1562.3219 | 0.41762
599 | 1548.8091 | 1538.8091 | 0.41134
599.5 | 1528.1598 | 1518.1598 | 0.40582
600 | 1508.6188 | 1498.6188 | 0.40059
600.5 | 1488.45 | 1478.45 | 0.3952
601 | 1467.0843 | 1457.0843 | 0.38949
601.5 | 1441.6603 | 1431.6603 | 0.38269
602 | 1417.8062 | 1407.8062 | 0.37632
602.5 | 1396.8282 | 1386.8282 | 0.37071
603 | 1378.6863 | 1368.6863 | 0.36586
603.5 | 1361.9372 | 1351.9372 | 0.36138
604 | 1346.014 | 1336.014 | 0.35713
604.5 | 1332.1706 | 1322.1706 | 0.35343
605 | 1321.8249 | 1311.8249 | 0.35066
605.5 | 1301.8435 | 1291.8435 | 0.34532
606 | 1282.2014 | 1272.2014 | 0.34007
606.5 | 1256.7269 | 1246.7269 | 0.33326
607 | 1235.9175 | 1225.9175 | 0.3277
607.5 | 1220.0997 | 1210.0997 | 0.32347
608 | 1205.0741 | 1195.0741 | 0.31945
608.5 | 1189.7621 | 1179.7621 | 0.31536
609 | 1174.9767 | 1164.9767 | 0.31141
609.5 | 1157.1446 | 1147.1446 | 0.30664
610 | 1137.6057 | 1127.6057 | 0.30142
610.5 | 1120.4036 | 1110.4036 | 0.29682
611 | 1103.7303 | 1093.7303 | 0.29236
611.5 | 1089.5666 | 1079.5666 | 0.28858
612 | 1080.3313 | 1070.3313 | 0.28611
612.5 | 1066.4352 | 1056.4352 | 0.28239
613 | 1047.4399 | 1037.4399 | 0.27732
613.5 | 1027.9664 | 1017.9664 | 0.27211
614 | 1005.4586 | 995.4586 | 0.26609
614.5 | 988.562 | 978.562 | 0.26158
615 | 974.2845 | 964.2845 | 0.25776
615.5 | 958.5152 | 948.5152 | 0.25355
616 | 947.5268 | 937.5268 | 0.25061
616.5 | 933.8372 | 923.8372 | 0.24695
617 | 917.9857 | 907.9857 | 0.24271
617.5 | 900.0102 | 890.0102 | 0.23791
618 | 883.1115 | 873.1115 | 0.23339
618.5 | 866.9693 | 856.9693 | 0.22907
619 | 849.5543 | 839.5543 | 0.22442
619.5 | 830.3694 | 820.3694 | 0.21929
620 | 813.7341 | 803.7341 | 0.21484
620.5 | 804.68 | 794.68 | 0.21242
621 | 789.3848 | 779.3848 | 0.20834
621.5 | 774.4857 | 764.4857 | 0.20435
622 | 763.4193 | 753.4193 | 0.2014
622.5 | 755.8276 | 745.8276 | 0.19937
623 | 748.5813 | 738.5813 | 0.19743
623.5 | 737.8332 | 727.8332 | 0.19456
624 | 720.8523 | 710.8523 | 0.19002
624.5 | 714.5564 | 704.5564 | 0.18833
625 | 703.9367 | 693.9367 | 0.18549
625.5 | 692.7229 | 682.7229 | 0.1825
626 | 680.1121 | 670.1121 | 0.17913
626.5 | 666.2012 | 656.2012 | 0.17541
627 | 653.9865 | 643.9865 | 0.17214
627.5 | 641.7191 | 631.7191 | 0.16886
628 | 636.4788 | 626.4788 | 0.16746
628.5 | 625.0817 | 615.0817 | 0.16442
629 | 615.3365 | 605.3365 | 0.16181
629.5 | 597.6392 | 587.6392 | 0.15708
630 | 575.9785 | 565.9785 | 0.15129
630.5 | 559.1872 | 549.1872 | 0.1468
631 | 541.4878 | 531.4878 | 0.14207
631.5 | 530.7228 | 520.7228 | 0.13919
632 | 518.3669 | 508.3669 | 0.13589
632.5 | 505.7308 | 495.7308 | 0.13251
633 | 492.4689 | 482.4689 | 0.12897
633.5 | 478.3326 | 468.3326 | 0.12519
634 | 464.9506 | 454.9506 | 0.12161
634.5 | 454.0865 | 444.0865 | 0.11871
635 | 441.6274 | 431.6274 | 0.11538
635.5 | 435.1566 | 425.1566 | 0.11365
636 | 425.403 | 415.403 | 0.11104
636.5 | 419.4989 | 409.4989 | 0.10946
637 | 413.5296 | 403.5296 | 0.10787
637.5 | 406.0453 | 396.0453 | 0.10587
638 | 399.2416 | 389.2416 | 0.10405
638.5 | 394.8778 | 384.8778 | 0.10288
639 | 392.9161 | 382.9161 | 0.10236
639.5 | 389.1487 | 379.1487 | 0.10135
640 | 388.0488 | 378.0488 | 0.10106
640.5 | 385.691 | 375.691 | 0.10043
641 | 386.144 | 376.144 | 0.10055
641.5 | 388.4702 | 378.4702 | 0.10117
642 | 386.9594 | 376.9594 | 0.10076
642.5 | 387.5873 | 377.5873 | 0.10093
643 | 387.1617 | 377.1617 | 0.10082
643.5 | 382.9476 | 372.9476 | 0.099692
644 | 381.7065 | 371.7065 | 0.09936
644.5 | 379.315 | 369.315 | 0.098721
645 | 379.0495 | 369.0495 | 0.09865
645.5 | 382.0774 | 372.0774 | 0.099459
646 | 379.7343 | 369.7343 | 0.098833
646.5 | 376.2176 | 366.2176 | 0.097893
647 | 367.4206 | 357.4206 | 0.095541
647.5 | 361.3965 | 351.3965 | 0.093931
648 | 358.1073 | 348.1073 | 0.093052
648.5 | 356.7209 | 346.7209 | 0.092681
649 | 355.0099 | 345.0099 | 0.092224
649.5 | 351.0149 | 341.0149 | 0.091156
650 | 345.6798 | 335.6798 | 0.08973
650.5 | 339.0383 | 329.0383 | 0.087955
651 | 332.1482 | 322.1482 | 0.086113
651.5 | 319.6111 | 309.6111 | 0.082762
652 | 307.506 | 297.506 | 0.079526
652.5 | 299.0714 | 289.0714 | 0.077271
653 | 296.4923 | 286.4923 | 0.076582
653.5 | 300.5274 | 290.5274 | 0.07766
654 | 302.3795 | 292.3795 | 0.078155
654.5 | 303.6543 | 293.6543 | 0.078496
655 | 295.2386 | 285.2386 | 0.076247
655.5 | 288.7193 | 278.7193 | 0.074504
656 | 280.3227 | 270.3227 | 0.072259
656.5 | 272.2905 | 262.2905 | 0.070112
657 | 267.7835 | 257.7835 | 0.068908
657.5 | 261.3527 | 251.3527 | 0.067189
658 | 255.9439 | 245.9439 | 0.065743
658.5 | 253.4048 | 243.4048 | 0.065064
659 | 250.4465 | 240.4465 | 0.064273
659.5 | 244.9323 | 234.9323 | 0.062799
660 | 239.1947 | 229.1947 | 0.061266
660.5 | 232.3657 | 222.3657 | 0.05944
661 | 224.2493 | 214.2493 | 0.057271
661.5 | 224.4368 | 214.4368 | 0.057321
662 | 218.8425 | 208.8425 | 0.055825
662.5 | 223.4844 | 213.4844 | 0.057066
663 | 224.1229 | 214.1229 | 0.057237
663.5 | 221.2572 | 211.2572 | 0.056471
664 | 217.5045 | 207.5045 | 0.055468
664.5 | 214.0173 | 204.0173 | 0.054536
665 | 210.6018 | 200.6018 | 0.053623
665.5 | 208.7265 | 198.7265 | 0.053121
666 | 199.8578 | 189.8578 | 0.050751
666.5 | 194.0992 | 184.0992 | 0.049211
667 | 189.7987 | 179.7987 | 0.048062
667.5 | 187.1269 | 177.1269 | 0.047347
668 | 187.1037 | 177.1037 | 0.047341
668.5 | 188.2268 | 178.2268 | 0.047641
669 | 186.6149 | 176.6149 | 0.047211
669.5 | 187.1669 | 177.1669 | 0.047358
670 | 177.0656 | 167.0656 | 0.044658
670.5 | 171.3344 | 161.3344 | 0.043126
671 | 165.5695 | 155.5695 | 0.041585
671.5 | 163.2243 | 153.2243 | 0.040958
672 | 163.2517 | 153.2517 | 0.040965
672.5 | 161.1277 | 151.1277 | 0.040398
673 | 157.1327 | 147.1327 | 0.03933
673.5 | 155.2427 | 145.2427 | 0.038825
674 | 154.1955 | 144.1955 | 0.038545
674.5 | 156.5322 | 146.5322 | 0.039169
675 | 154.5516 | 144.5516 | 0.03864
675.5 | 151.1592 | 141.1592 | 0.037733
676 | 148.4137 | 138.4137 | 0.036999
676.5 | 145.1309 | 135.1309 | 0.036122
677 | 144.3576 | 134.3576 | 0.035915
677.5 | 142.2147 | 132.2147 | 0.035342
678 | 137.6381 | 127.6381 | 0.034119
678.5 | 130.1854 | 120.1854 | 0.032127
679 | 124.0854 | 114.0854 | 0.030496
679.5 | 120.3917 | 110.3917 | 0.029509
680 | 120.2 | 110.2 | 0.029457
680.5 | 124.2982 | 114.2982 | 0.030553
681 | 126.5633 | 116.5633 | 0.031158
681.5 | 125.9207 | 115.9207 | 0.030987
682 | 124.9557 | 114.9557 | 0.030729
682.5 | 122.5536 | 112.5536 | 0.030086
683 | 118.7524 | 108.7524 | 0.02907
683.5 | 116.0891 | 106.0891 | 0.028358
684 | 114.1485 | 104.1485 | 0.02784
684.5 | 109.9891 | 99.9891 | 0.026728
685 | 111.3735 | 101.3735 | 0.027098
685.5 | 106.2638 | 96.2638 | 0.025732
686 | 106.4556 | 96.4556 | 0.025783
686.5 | 104.7193 | 94.7193 | 0.025319
687 | 104.0514 | 94.0514 | 0.025141
687.5 | 104.1441 | 94.1441 | 0.025165
688 | 103.2739 | 93.2739 | 0.024933
688.5 | 102.5996 | 92.5996 | 0.024753
689 | 100.8739 | 90.8739 | 0.024291
689.5 | 102.4016 | 92.4016 | 0.0247
690 | 101.0425 | 91.0425 | 0.024336
690.5 | 97.3362 | 87.3362 | 0.023346
691 | 94.7887 | 84.7887 | 0.022665
691.5 | 93.7752 | 83.7752 | 0.022394
692 | 93.2716 | 83.2716 | 0.022259
692.5 | 92.9851 | 82.9851 | 0.022183
693 | 83.912 | 73.912 | 0.019757
693.5 | 81.0085 | 71.0085 | 0.018981
694 | 79.7779 | 69.7779 | 0.018652
694.5 | 80.5175 | 70.5175 | 0.01885
695 | 83.4716 | 73.4716 | 0.01964
695.5 | 84.3419 | 74.3419 | 0.019872
696 | 81.236 | 71.236 | 0.019042
696.5 | 80.6629 | 70.6629 | 0.018889
697 | 76.1685 | 66.1685 | 0.017687
697.5 | 75.6544 | 65.6544 | 0.01755
698 | 74.0088 | 64.0088 | 0.01711
698.5 | 69.7693 | 59.7693 | 0.015977
699 | 67.0344 | 57.0344 | 0.015246
699.5 | 67.146 | 57.146 | 0.015276
700 | 68.7622 | 58.7622 | 0.015708
700.5 | 71.8806 | 61.8806 | 0.016541
701 | 71.297 | 61.297 | 0.016385
701.5 | 70.9725 | 60.9725 | 0.016298
702 | 70.8503 | 60.8503 | 0.016266
702.5 | 67.1144 | 57.1144 | 0.015267
703 | 61.8046 | 51.8046 | 0.013848
703.5 | 58.4417 | 48.4417 | 0.012949
704 | 58.9032 | 48.9032 | 0.013072
704.5 | 62.7633 | 52.7633 | 0.014104
705 | 68.012 | 58.012 | 0.015507
705.5 | 70.372 | 60.372 | 0.016138
706 | 69.7525 | 59.7525 | 0.015972
706.5 | 67.2577 | 57.2577 | 0.015305
707 | 62.8919 | 52.8919 | 0.014138
707.5 | 59.7186 | 49.7186 | 0.01329
708 | 59.7629 | 49.7629 | 0.013302
708.5 | 57.5757 | 47.5757 | 0.012717
709 | 50.6793 | 40.6793 | 0.010874
709.5 | 52.0678 | 42.0678 | 0.011245
710 | 55.7215 | 45.7215 | 0.012222
710.5 | 62.285 | 52.285 | 0.013976
711 | 63.6904 | 53.6904 | 0.014352
711.5 | 58.2753 | 48.2753 | 0.012904
712 | 51.7897 | 41.7897 | 0.011171
712.5 | 47.8853 | 37.8853 | 0.010127
713 | 47.1015 | 37.1015 | 0.0099175
713.5 | 48.1023 | 38.1023 | 0.010185
714 | 50.8752 | 40.8752 | 0.010926
714.5 | 51.6001 | 41.6001 | 0.01112
715 | 50.0767 | 40.0767 | 0.010713
715.5 | 50.0071 | 40.0071 | 0.010694
716 | 51.933 | 41.933 | 0.011209
716.5 | 49.2317 | 39.2317 | 0.010487
717 | 50.2684 | 40.2684 | 0.010764
717.5 | 45.045 | 35.045 | 0.0093678
718 | 49.1327 | 39.1327 | 0.01046
718.5 | 48.9894 | 38.9894 | 0.010422
719 | 47.3606 | 37.3606 | 0.0099868
719.5 | 44.7984 | 34.7984 | 0.0093019
720 | 39.3095 | 29.3095 | 0.0078347
720.5 | 35.028 | 25.028 | 0.0066902
721 | 37.2341 | 27.2341 | 0.0072799
721.5 | 32.7334 | 22.7334 | 0.0060768
722 | 40.7002 | 30.7002 | 0.0082064
722.5 | 42.1541 | 32.1541 | 0.008595
723 | 42.0803 | 32.0803 | 0.0085753
723.5 | 41.8991 | 31.8991 | 0.0085269
724 | 39.4191 | 29.4191 | 0.007864
724.5 | 38.5931 | 28.5931 | 0.0076432
725 | 42.9168 | 32.9168 | 0.0087989
725.5 | 34.7835 | 24.7835 | 0.0066248
726 | 33.0642 | 23.0642 | 0.0061652
726.5 | 32.4405 | 22.4405 | 0.0059985
727 | 37.4005 | 27.4005 | 0.0073244
727.5 | 42.0171 | 32.0171 | 0.0085584
728 | 41.8001 | 31.8001 | 0.0085004
728.5 | 43.6796 | 33.6796 | 0.0090028
729 | 46.9034 | 36.9034 | 0.0098646
729.5 | 45.5148 | 35.5148 | 0.0094934
730 | 48.2793 | 38.2793 | 0.010232
730.5 | 42.4828 | 32.4828 | 0.0086829
731 | 38.6037 | 28.6037 | 0.007646
731.5 | 36.9285 | 26.9285 | 0.0071982
732 | 35.0912 | 25.0912 | 0.0067071
732.5 | 35.2766 | 25.2766 | 0.0067566
733 | 33.4455 | 23.4455 | 0.0062672
733.5 | 34.4064 | 24.4064 | 0.006524
734 | 30.8496 | 20.8496 | 0.0055733
734.5 | 38.1696 | 28.1696 | 0.00753
735 | 36.6167 | 26.6167 | 0.0071149
735.5 | 36.2079 | 26.2079 | 0.0070056
736 | 39.7625 | 29.7625 | 0.0079558
736.5 | 35.6074 | 25.6074 | 0.0068451
737 | 35.245 | 25.245 | 0.0067482
737.5 | 32.2909 | 22.2909 | 0.0059585
738 | 26.0645 | 16.0645 | 0.0042942
738.5 | 25.2174 | 15.2174 | 0.0040677
739 | 27.3793 | 17.3793 | 0.0046456
739.5 | 27.335 | 17.335 | 0.0046338
740 | 26.1909 | 16.1909 | 0.004328
740.5 | 26.9789 | 16.9789 | 0.0045386
741 | 25.4597 | 15.4597 | 0.0041325
741.5 | 23.7804 | 13.7804 | 0.0036836
742 | 20.3733 | 10.3733 | 0.0027729
742.5 | 18.2493 | 8.2493 | 0.0022051
743 | 18.0955 | 8.0955 | 0.002164
743.5 | 20.6767 | 10.6767 | 0.002854
744 | 19.8423 | 9.8423 | 0.0026309
744.5 | 16.865 | 6.865 | 0.0018351
745 | 24.4863 | 14.4863 | 0.0038723
745.5 | 24.2376 | 14.2376 | 0.0038058
746 | 29.8256 | 19.8256 | 0.0052995
746.5 | 22.5962 | 12.5962 | 0.0033671
747 | 20.1015 | 10.1015 | 0.0027002
747.5 | 14.5346 | 4.5346 | 0.0012121
748 | 11.4519 | 1.4519 | 0.00038811
748.5 | 15.4048 | 5.4048 | 0.0014447
749 | 18.9468 | 8.9468 | 0.0023915
749.5 | 21.825 | 11.825 | 0.0031609
750 | 20.584 | 10.584 | 0.0028292
750.5 | 24.6001 | 14.6001 | 0.0039027
751 | 35.8286 | 25.8286 | 0.0069042
751.5 | 38.0347 | 28.0347 | 0.0074939
752 | 30.896 | 20.896 | 0.0055857
752.5 | 21.1508 | 11.1508 | 0.0029807
753 | 16.1465 | 6.1465 | 0.001643
753.5 | 23.0682 | 13.0682 | 0.0034932
754 | 26.7092 | 16.7092 | 0.0044665
754.5 | 17.9122 | 7.9122 | 0.002115
755 | 12.2568 | 2.2568 | 0.00060327
755.5 | 5.9188 | 0 | 0
756 | 6.8016 | 0 | 0
756.5 | 12.4275 | 2.4275 | 0.00064889
757 | 16.4583 | 6.4583 | 0.0017264
757.5 | 22.1622 | 12.1622 | 0.003251
758 | 29.4526 | 19.4526 | 0.0051999
758.5 | 35.2344 | 25.2344 | 0.0067454
759 | 31.7177 | 21.7177 | 0.0058053
759.5 | 27.0611 | 17.0611 | 0.0045606
760 | 21.9536 | 11.9536 | 0.0031953
760.5 | 17.9839 | 7.9839 | 0.0021341
761 | 19.0374 | 9.0374 | 0.0024158
761.5 | 24.2903 | 14.2903 | 0.0038199
762 | 20.7273 | 10.7273 | 0.0028675
762.5 | 26.8357 | 16.8357 | 0.0045003
763 | 19.6126 | 9.6126 | 0.0025695
763.5 | 23.3632 | 13.3632 | 0.0035721
764 | 23.576 | 13.576 | 0.003629
764.5 | 22.1706 | 12.1706 | 0.0032533
765 | 17.7015 | 7.7015 | 0.0020587
765.5 | 8.9782 | 0 | 0
766 | 6.5993 | 0 | 0
766.5 | -1.8753 | 0 | 0
767 | 7.2336 | 0 | 0
767.5 | 11.7532 | 1.7532 | 0.00046866
768 | 17.5266 | 7.5266 | 0.0020119
768.5 | 20.841 | 10.841 | 0.0028979
769 | 17.0883 | 7.0883 | 0.0018948
769.5 | 12.2632 | 2.2632 | 0.00060496
770 | 15.39 | 5.39 | 0.0014408
770.5 | 12.4907 | 2.4907 | 0.00066579
771 | 20.1331 | 10.1331 | 0.0027087
771.5 | 32.1202 | 22.1202 | 0.0059129
772 | 33.8606 | 23.8606 | 0.0063781
772.5 | 33.1653 | 23.1653 | 0.0061923
773 | 27.1475 | 17.1475 | 0.0045837
773.5 | 22.1959 | 12.1959 | 0.0032601
774 | 24.8655 | 14.8655 | 0.0039737
774.5 | 22.2465 | 12.2465 | 0.0032736
775 | 13.7929 | 3.7929 | 0.0010139
775.5 | 7.7056 | 0 | 0
776 | 3.11 | 0 | 0
776.5 | 2.0628 | 0 | 0
777 | 5.2108 | 0 | 0
777.5 | 11.1169 | 1.1169 | 0.00029856
778 | 13.1039 | 3.1039 | 0.00082969
778.5 | 6.1758 | 0 | 0
779 | 2.0944 | 0 | 0
779.5 | 2.1008 | 0 | 0
780 | 15.7398 | 5.7398 | 0.0015343
780.5 | 16.8776 | 6.8776 | 0.0018385
781 | 19.0564 | 9.0564 | 0.0024208
781.5 | 21.3236 | 11.3236 | 0.0030269
782 | 26.2878 | 16.2878 | 0.0043539
782.5 | 32.175 | 22.175 | 0.0059276
783 | 24.5179 | 14.5179 | 0.0038807
783.5 | 18.302 | 8.302 | 0.0022192
784 | 7.9837 | 0 | 0
784.5 | 1.4202 | 0 | 0
785 | 0.89129 | 0 | 0
785.5 | -0.6553 | 0 | 0
786 | 0.93765 | 0 | 0
786.5 | 8.8666 | 0 | 0
787 | 18.6729 | 8.6729 | 0.0023183
787.5 | 26.2078 | 16.2078 | 0.0043325
788 | 26.7746 | 16.7746 | 0.004484
788.5 | 19.0037 | 9.0037 | 0.0024068
789 | 13.6538 | 3.6538 | 0.0009767
789.5 | 6.7595 | 0 | 0
790 | 1.7889 | 0 | 0
790.5 | -3.4177 | 0 | 0
791 | -6.513 | 0 | 0
791.5 | 0.76065 | 0 | 0
792 | 6.0178 | 0 | 0
792.5 | 0.71008 | 0 | 0
793 | -2.4632 | 0 | 0
793.5 | -0.88918 | 0 | 0
794 | 6.239 | 0 | 0
794.5 | 12.2379 | 2.2379 | 0.0005982
795 | 11.3002 | 1.3002 | 0.00034756
795.5 | 5.2445 | 0 | 0
796 | 1.4518 | 0 | 0
796.5 | -1.4707 | 0 | 0
797 | -6.6331 | 0 | 0
797.5 | 3.7232 | 0 | 0
798 | 12.0208 | 2.0208 | 0.00054019
798.5 | 28.8142 | 18.8142 | 0.0050292
799 | 38.3656 | 28.3656 | 0.0075823
799.5 | 27.4636 | 17.4636 | 0.0046682
800 | 0.2193 | 0 | 0
800.5 | 0.198 | 0 | 0
801 | 0.1749 | 0 | 0
801.5 | 0.176 | 0 | 0
802 | 0.1979 | 0 | 0
802.5 | 0.2358 | 0 | 0
803 | 0.2749 | 0 | 0
803.5 | 0.3175 | 0 | 0
804 | 0.3883 | 0 | 0
804.5 | 0.4863 | 0 | 0
805 | 0.5904 | 0 | 0
805.5 | 0.708 | 0 | 0
806 | 0.8086 | 0 | 0
806.5 | 0.9389 | 0 | 0
807 | 1.062 | 0 | 0
807.5 | 1.159 | 0 | 0
808 | 1.213 | 0 | 0
808.5 | 1.238 | 0 | 0
809 | 1.271 | 0 | 0
809.5 | 1.298 | 0 | 0
810 | 1.299 | 0 | 0
810.5 | 1.306 | 0 | 0
811 | 1.332 | 0 | 0
811.5 | 1.417 | 0 | 0
812 | 1.514 | 0 | 0
812.5 | 1.585 | 0 | 0
813 | 1.602 | 0 | 0
813.5 | 1.591 | 0 | 0
814 | 1.557 | 0 | 0
814.5 | 1.481 | 0 | 0
815 | 1.378 | 0 | 0
815.5 | 1.242 | 0 | 0
816 | 1.097 | 0 | 0
816.5 | 0.9641 | 0 | 0
817 | 0.8256 | 0 | 0
817.5 | 0.6659 | 0 | 0
818 | 0.5136 | 0 | 0
818.5 | 0.3831 | 0 | 0
819 | 0.2822 | 0 | 0
819.5 | 0.2103 | 0 | 0
820 | 0.1728 | 0 | 0
820.5 | 0.14 | 0 | 0
821 | 0.1348 | 0 | 0
821.5 | 0.1673 | 0 | 0
822 | 0.2301 | 0 | 0
822.5 | 0.3118 | 0 | 0
823 | 0.4148 | 0 | 0
823.5 | 0.5124 | 0 | 0
824 | 0.6392 | 0 | 0
824.5 | 0.7764 | 0 | 0
825 | 0.9091 | 0 | 0
825.5 | 0.995 | 0 | 0
826 | 1.017 | 0 | 0
826.5 | 0.9906 | 0 | 0
827 | 0.9415 | 0 | 0
827.5 | 0.8612 | 0 | 0
828 | 0.7882 | 0 | 0
828.5 | 0.6832 | 0 | 0
829 | 0.5875 | 0 | 0
829.5 | 0.5088 | 0 | 0
830 | 0.4688 | 0 | 0
830.5 | 0.4298 | 0 | 0
831 | 0.3918 | 0 | 0
831.5 | 0.3453 | 0 | 0
832 | 0.3135 | 0 | 0
832.5 | 0.2904 | 0 | 0
833 | 0.2835 | 0 | 0
833.5 | 0.2533 | 0 | 0
834 | 0.2656 | 0 | 0
834.5 | 0.3654 | 0 | 0
835 | 0.5119 | 0 | 0
835.5 | 0.6391 | 0 | 0
836 | 0.7116 | 0 | 0
836.5 | 0.7174 | 0 | 0
837 | 0.7293 | 0 | 0
837.5 | 0.7105 | 0 | 0
838 | 0.6799 | 0 | 0
838.5 | 0.6405 | 0 | 0
839 | 0.6508 | 0 | 0
839.5 | 0.7065 | 0 | 0
840 | 0.7842 | 0 | 0
840.5 | 0.8417 | 0 | 0
841 | 0.8571 | 0 | 0
841.5 | 0.8688 | 0 | 0
842 | 0.8797 | 0 | 0
842.5 | 0.8403 | 0 | 0
843 | 0.764 | 0 | 0
843.5 | 0.6629 | 0 | 0
844 | 0.581 | 0 | 0
844.5 | 0.5525 | 0 | 0
845 | 0.5455 | 0 | 0
845.5 | 0.559 | 0 | 0
846 | 0.5568 | 0 | 0
846.5 | 0.5158 | 0 | 0
847 | 0.3974 | 0 | 0
847.5 | 0.181 | 0 | 0
848 | -0.097 | 0 | 0
848.5 | -0.3771 | 0 | 0
849 | -0.6107 | 0 | 0
849.5 | -0.7901 | 0 | 0
850 | -0.8843 | 0 | 0
850.5 | -0.8829 | 0 | 0
851 | -0.8062 | 0 | 0
851.5 | -0.6755 | 0 | 0
852 | -0.5184 | 0 | 0
852.5 | -0.3546 | 0 | 0
853 | -0.1793 | 0 | 0
853.5 | -0.01249 | 0 | 0
854 | 0.1254 | 0 | 0
854.5 | 0.272 | 0 | 0
855 | 0.4428 | 0 | 0
855.5 | 0.6757 | 0 | 0
856 | 0.9593 | 0 | 0
856.5 | 1.244 | 0 | 0
857 | 1.491 | 0 | 0
857.5 | 1.708 | 0 | 0
858 | 1.861 | 0 | 0
858.5 | 1.923 | 0 | 0
859 | 1.904 | 0 | 0
859.5 | 1.826 | 0 | 0
860 | 1.713 | 0 | 0
860.5 | 1.57 | 0 | 0
861 | 1.391 | 0 | 0
861.5 | 1.211 | 0 | 0
862 | 1.094 | 0 | 0
862.5 | 1.035 | 0 | 0
863 | 0.9901 | 0 | 0
863.5 | 0.9449 | 0 | 0
864 | 0.8936 | 0 | 0
864.5 | 0.8366 | 0 | 0
865 | 0.7947 | 0 | 0
865.5 | 0.7383 | 0 | 0
866 | 0.7103 | 0 | 0
866.5 | 0.7253 | 0 | 0
867 | 0.7501 | 0 | 0
867.5 | 0.7845 | 0 | 0
868 | 0.8128 | 0 | 0
868.5 | 0.8475 | 0 | 0
869 | 0.8791 | 0 | 0
869.5 | 0.9112 | 0 | 0
870 | 0.8789 | 0 | 0
870.5 | 0.8081 | 0 | 0
871 | 0.7573 | 0 | 0
871.5 | 0.6863 | 0 | 0
872 | 0.595 | 0 | 0
872.5 | 0.4901 | 0 | 0
873 | 0.4045 | 0 | 0
873.5 | 0.3582 | 0 | 0
874 | 0.3356 | 0 | 0
874.5 | 0.3458 | 0 | 0
875 | 0.4129 | 0 | 0
875.5 | 0.5268 | 0 | 0
876 | 0.6399 | 0 | 0
876.5 | 0.7387 | 0 | 0
877 | 0.8445 | 0 | 0
877.5 | 0.9472 | 0 | 0
878 | 1.069 | 0 | 0
878.5 | 1.15 | 0 | 0
879 | 1.209 | 0 | 0
879.5 | 1.263 | 0 | 0
880 | 1.306 | 0 | 0
880.5 | 1.306 | 0 | 0
881 | 1.857 | 0 | 0
881.5 | 1.091 | 0 | 0
882 | 0.3638 | 0 | 0
882.5 | -0.1253 | 0 | 0
883 | -0.511 | 0 | 0
883.5 | -0.4675 | 0 | 0
884 | -0.6335 | 0 | 0
884.5 | 7.454 | 0 | 0
885 | 8.833 | 0 | 0
885.5 | -0.4172 | 0 | 0
886 | -1.911 | 0 | 0
886.5 | 1.877 | 0 | 0