## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
380 | 0.0761 | 0.04184 | 0.002252
380.5 | -0.00472 | 0 | 0
381 | -0.02492 | 0 | 0
381.5 | -0.05748 | 0 | 0
382 | -0.05837 | 0 | 0
382.5 | 0.03426 | 0 | 0
383 | 0.07809 | 0.04383 | 0.0023591
383.5 | 0.14459 | 0.11033 | 0.0059384
384 | 0.12286 | 0.0886 | 0.0047688
384.5 | 0.10887 | 0.07461 | 0.0040158
385 | 0.10384 | 0.06958 | 0.0037451
385.5 | 0.09956 | 0.0653 | 0.0035147
386 | 0.12099 | 0.08673 | 0.0046682
386.5 | 0.09964 | 0.06538 | 0.003519
387 | 0.09848 | 0.06422 | 0.0034566
387.5 | 0.04751 | 0.01325 | 0.00071317
388 | 0.03471 | 0.00045 | 2.4221e-05
388.5 | 0.03859 | 0.00433 | 0.00023306
389 | -0.01545 | 0 | 0
389.5 | 0.02669 | 0 | 0
390 | -0.03269 | 0 | 0
390.5 | 0.00239 | 0 | 0
391 | 0.02545 | 0 | 0
391.5 | 0.05141 | 0.01715 | 0.00092308
392 | 0.0926 | 0.05834 | 0.0031401
392.5 | 0.05499 | 0.02073 | 0.0011158
393 | 0.08209 | 0.04783 | 0.0025744
393.5 | 0.03151 | 0 | 0
394 | 0.04104 | 0.00678 | 0.00036493
394.5 | 0.05191 | 0.01765 | 0.00095
395 | 0.04465 | 0.01039 | 0.00055923
395.5 | 0.06737 | 0.03311 | 0.0017821
396 | 0.07888 | 0.04462 | 0.0024016
396.5 | 0.10265 | 0.06839 | 0.003681
397 | 0.11474 | 0.08048 | 0.0043318
397.5 | 0.11818 | 0.08392 | 0.0045169
398 | 0.11306 | 0.0788 | 0.0042413
398.5 | 0.11017 | 0.07591 | 0.0040858
399 | 0.14346 | 0.1092 | 0.0058776
399.5 | 0.1719 | 0.13764 | 0.0074084
400 | 0.19324 | 0.15898 | 0.008557
400.5 | 0.19984 | 0.16558 | 0.0089122
401 | 0.19415 | 0.15989 | 0.0086059
401.5 | 0.18564 | 0.15138 | 0.0081479
402 | 0.19196 | 0.1577 | 0.0084881
402.5 | 0.25605 | 0.22179 | 0.011938
403 | 0.28533 | 0.25107 | 0.013514
403.5 | 0.31999 | 0.28573 | 0.015379
404 | 0.34284 | 0.30858 | 0.016609
404.5 | 0.36081 | 0.32655 | 0.017576
405 | 0.39004 | 0.35578 | 0.01915
405.5 | 0.42606 | 0.3918 | 0.021088
406 | 0.4575 | 0.42324 | 0.022781
406.5 | 0.50206 | 0.4678 | 0.025179
407 | 0.55242 | 0.51816 | 0.02789
407.5 | 0.59634 | 0.56208 | 0.030253
408 | 0.63526 | 0.601 | 0.032348
408.5 | 0.68202 | 0.64776 | 0.034865
409 | 0.71598 | 0.68172 | 0.036693
409.5 | 0.79292 | 0.75866 | 0.040834
410 | 0.81653 | 0.78227 | 0.042105
410.5 | 0.85286 | 0.8186 | 0.04406
411 | 0.8956 | 0.86134 | 0.046361
411.5 | 0.92856 | 0.8943 | 0.048135
412 | 1.034 | 0.99972 | 0.053809
412.5 | 1.0937 | 1.0595 | 0.057025
413 | 1.1983 | 1.164 | 0.062651
413.5 | 1.299 | 1.2647 | 0.068072
414 | 1.3817 | 1.3474 | 0.072522
414.5 | 1.4501 | 1.4158 | 0.076206
415 | 1.5145 | 1.4802 | 0.079671
415.5 | 1.5741 | 1.5398 | 0.082881
416 | 1.6529 | 1.6187 | 0.087125
416.5 | 1.7498 | 1.7155 | 0.092337
417 | 1.8497 | 1.8154 | 0.097712
417.5 | 1.9467 | 1.9125 | 0.10294
418 | 2.0391 | 2.0049 | 0.10791
418.5 | 2.1202 | 2.0859 | 0.11227
419 | 2.2093 | 2.1751 | 0.11707
419.5 | 2.3027 | 2.2684 | 0.1221
420 | 2.4068 | 2.3725 | 0.1277
420.5 | 2.5064 | 2.4722 | 0.13306
421 | 2.602 | 2.5677 | 0.1382
421.5 | 2.7015 | 2.6672 | 0.14356
422 | 2.7406 | 2.7063 | 0.14566
422.5 | 2.8396 | 2.8053 | 0.15099
423 | 2.9192 | 2.8849 | 0.15528
423.5 | 3.026 | 2.9917 | 0.16103
424 | 3.1334 | 3.0991 | 0.16681
424.5 | 3.2106 | 3.1764 | 0.17097
425 | 3.3025 | 3.2683 | 0.17591
425.5 | 3.3838 | 3.3495 | 0.18029
426 | 3.4654 | 3.4312 | 0.18468
426.5 | 3.53 | 3.4957 | 0.18815
427 | 3.5866 | 3.5524 | 0.1912
427.5 | 3.6389 | 3.6046 | 0.19402
428 | 3.6857 | 3.6514 | 0.19654
428.5 | 3.7528 | 3.7186 | 0.20015
429 | 3.7932 | 3.7589 | 0.20232
429.5 | 3.8522 | 3.8179 | 0.2055
430 | 3.9138 | 3.8796 | 0.20881
430.5 | 3.9817 | 3.9475 | 0.21247
431 | 4.0485 | 4.0142 | 0.21606
431.5 | 4.0786 | 4.0444 | 0.21769
432 | 4.0947 | 4.0604 | 0.21855
432.5 | 4.1014 | 4.0671 | 0.21891
433 | 4.1107 | 4.0765 | 0.21941
433.5 | 4.1276 | 4.0933 | 0.22032
434 | 4.1618 | 4.1275 | 0.22216
434.5 | 4.2127 | 4.1785 | 0.2249
435 | 4.2392 | 4.2049 | 0.22632
435.5 | 4.2294 | 4.1951 | 0.2258
436 | 4.2287 | 4.1945 | 0.22576
436.5 | 4.2442 | 4.2099 | 0.22659
437 | 4.2599 | 4.2257 | 0.22744
437.5 | 4.2675 | 4.2332 | 0.22785
438 | 4.2754 | 4.2411 | 0.22828
438.5 | 4.2707 | 4.2364 | 0.22802
439 | 4.2746 | 4.2404 | 0.22823
439.5 | 4.2859 | 4.2516 | 0.22884
440 | 4.2885 | 4.2543 | 0.22898
440.5 | 4.2806 | 4.2463 | 0.22856
441 | 4.2714 | 4.2372 | 0.22806
441.5 | 4.2717 | 4.2375 | 0.22808
442 | 4.2706 | 4.2364 | 0.22802
442.5 | 4.2806 | 4.2463 | 0.22855
443 | 4.2646 | 4.2304 | 0.2277
443.5 | 4.2465 | 4.2123 | 0.22672
444 | 4.2252 | 4.1909 | 0.22557
444.5 | 4.1811 | 4.1469 | 0.2232
445 | 4.177 | 4.1428 | 0.22298
445.5 | 4.1414 | 4.1072 | 0.22107
446 | 4.1185 | 4.0842 | 0.21983
446.5 | 4.064 | 4.0297 | 0.2169
447 | 3.9971 | 3.9628 | 0.2133
447.5 | 3.9335 | 3.8992 | 0.20987
448 | 3.8473 | 3.813 | 0.20523
448.5 | 3.8098 | 3.7755 | 0.20321
449 | 3.7327 | 3.6984 | 0.19906
449.5 | 3.6664 | 3.6321 | 0.1955
450 | 3.581 | 3.5467 | 0.1909
450.5 | 3.4927 | 3.4585 | 0.18615
451 | 3.4263 | 3.3921 | 0.18258
451.5 | 3.3297 | 3.2955 | 0.17738
452 | 3.2536 | 3.2193 | 0.17328
452.5 | 3.1602 | 3.1259 | 0.16825
453 | 3.0814 | 3.0471 | 0.16401
453.5 | 3.0148 | 2.9805 | 0.16042
454 | 2.9511 | 2.9168 | 0.15699
454.5 | 2.8858 | 2.8516 | 0.15348
455 | 2.8193 | 2.785 | 0.1499
455.5 | 2.7549 | 2.7207 | 0.14644
456 | 2.7069 | 2.6726 | 0.14385
456.5 | 2.6696 | 2.6353 | 0.14184
457 | 2.6384 | 2.6041 | 0.14017
457.5 | 2.6138 | 2.5795 | 0.13884
458 | 2.6012 | 2.567 | 0.13816
458.5 | 2.6027 | 2.5684 | 0.13824
459 | 2.6118 | 2.5776 | 0.13874
459.5 | 2.6098 | 2.5756 | 0.13863
460 | 2.6178 | 2.5836 | 0.13906
460.5 | 2.6307 | 2.5964 | 0.13975
461 | 2.635 | 2.6008 | 0.13998
461.5 | 2.6519 | 2.6177 | 0.14089
462 | 2.6528 | 2.6185 | 0.14094
462.5 | 2.6502 | 2.6159 | 0.1408
463 | 2.6459 | 2.6117 | 0.14057
463.5 | 2.6459 | 2.6116 | 0.14057
464 | 2.6544 | 2.6202 | 0.14103
464.5 | 2.6715 | 2.6372 | 0.14195
465 | 2.6917 | 2.6575 | 0.14304
465.5 | 2.6786 | 2.6444 | 0.14233
466 | 2.6893 | 2.655 | 0.1429
466.5 | 2.6972 | 2.6629 | 0.14333
467 | 2.7186 | 2.6844 | 0.14448
467.5 | 2.7571 | 2.7228 | 0.14656
468 | 2.7774 | 2.7432 | 0.14765
468.5 | 2.7946 | 2.7604 | 0.14857
469 | 2.7906 | 2.7563 | 0.14836
469.5 | 2.7947 | 2.7605 | 0.14858
470 | 2.8039 | 2.7696 | 0.14907
470.5 | 2.8215 | 2.7873 | 0.15002
471 | 2.8498 | 2.8156 | 0.15155
471.5 | 2.878 | 2.8437 | 0.15306
472 | 2.9177 | 2.8834 | 0.1552
472.5 | 2.9525 | 2.9183 | 0.15707
473 | 2.9971 | 2.9629 | 0.15947
473.5 | 3.0326 | 2.9983 | 0.16138
474 | 3.0631 | 3.0288 | 0.16302
474.5 | 3.1091 | 3.0748 | 0.1655
475 | 3.1656 | 3.1314 | 0.16854
475.5 | 3.2295 | 3.1952 | 0.17198
476 | 3.2945 | 3.2603 | 0.17548
476.5 | 3.3728 | 3.3386 | 0.1797
477 | 3.4617 | 3.4274 | 0.18448
477.5 | 3.5546 | 3.5203 | 0.18948
478 | 3.6469 | 3.6126 | 0.19445
478.5 | 3.7349 | 3.7006 | 0.19918
479 | 3.8159 | 3.7816 | 0.20354
479.5 | 3.9076 | 3.8734 | 0.20848
480 | 4.0194 | 3.9852 | 0.2145
480.5 | 4.1465 | 4.1123 | 0.22134
481 | 4.2836 | 4.2493 | 0.22872
481.5 | 4.4295 | 4.3952 | 0.23657
482 | 4.5546 | 4.5204 | 0.2433
482.5 | 4.7242 | 4.6899 | 0.25243
483 | 4.8769 | 4.8426 | 0.26065
483.5 | 5.0406 | 5.0064 | 0.26946
484 | 5.2075 | 5.1733 | 0.27845
484.5 | 5.3674 | 5.3331 | 0.28705
485 | 5.5513 | 5.517 | 0.29695
485.5 | 5.7354 | 5.7012 | 0.30686
486 | 5.963 | 5.9287 | 0.31911
486.5 | 6.1836 | 6.1493 | 0.33098
487 | 6.4158 | 6.3815 | 0.34348
487.5 | 6.6485 | 6.6142 | 0.356
488 | 6.8642 | 6.8299 | 0.36761
488.5 | 7.1048 | 7.0706 | 0.38057
489 | 7.329 | 7.2947 | 0.39263
489.5 | 7.5769 | 7.5426 | 0.40597
490 | 7.8445 | 7.8102 | 0.42038
490.5 | 8.1138 | 8.0795 | 0.43487
491 | 8.3897 | 8.3554 | 0.44972
491.5 | 8.6867 | 8.6524 | 0.46571
492 | 8.9703 | 8.936 | 0.48097
492.5 | 9.2383 | 9.2041 | 0.4954
493 | 9.5251 | 9.4908 | 0.51083
493.5 | 9.8155 | 9.7813 | 0.52647
494 | 10.1094 | 10.0752 | 0.54229
494.5 | 10.3989 | 10.3647 | 0.55787
495 | 10.6785 | 10.6442 | 0.57292
495.5 | 11.017 | 10.9828 | 0.59114
496 | 11.357 | 11.3228 | 0.60944
496.5 | 11.6489 | 11.6146 | 0.62515
497 | 11.9259 | 11.8916 | 0.64006
497.5 | 12.2043 | 12.1701 | 0.65504
498 | 12.4946 | 12.4604 | 0.67067
498.5 | 12.8052 | 12.7709 | 0.68738
499 | 13.1047 | 13.0704 | 0.7035
499.5 | 13.3776 | 13.3434 | 0.7182
500 | 13.6386 | 13.6043 | 0.73224
500.5 | 13.8671 | 13.8328 | 0.74454
501 | 14.0926 | 14.0584 | 0.75668
501.5 | 14.338 | 14.3037 | 0.76989
502 | 14.5785 | 14.5442 | 0.78283
502.5 | 14.8729 | 14.8387 | 0.79868
503 | 15.1334 | 15.0992 | 0.8127
503.5 | 15.3774 | 15.3431 | 0.82583
504 | 15.5556 | 15.5213 | 0.83542
504.5 | 15.7242 | 15.6899 | 0.8445
505 | 15.9418 | 15.9075 | 0.85621
505.5 | 16.1466 | 16.1123 | 0.86723
506 | 16.4052 | 16.3709 | 0.88115
506.5 | 16.5968 | 16.5625 | 0.89146
507 | 16.7782 | 16.7439 | 0.90123
507.5 | 16.943 | 16.9087 | 0.9101
508 | 17.1129 | 17.0787 | 0.91924
508.5 | 17.3015 | 17.2673 | 0.9294
509 | 17.4498 | 17.4155 | 0.93738
509.5 | 17.5803 | 17.5461 | 0.9444
510 | 17.7042 | 17.67 | 0.95107
510.5 | 17.8596 | 17.8253 | 0.95943
511 | 18.017 | 17.9827 | 0.96791
511.5 | 18.1484 | 18.1141 | 0.97498
512 | 18.254 | 18.2197 | 0.98066
512.5 | 18.366 | 18.3317 | 0.98669
513 | 18.4196 | 18.3853 | 0.98957
513.5 | 18.4793 | 18.445 | 0.99279
514 | 18.5033 | 18.469 | 0.99408
514.5 | 18.5206 | 18.4864 | 0.99501
515 | 18.561 | 18.5267 | 0.99718
515.5 | 18.6114 | 18.5771 | 0.9999
516 | 18.592 | 18.5577 | 0.99885
516.5 | 18.5835 | 18.5493 | 0.9984
517 | 18.5863 | 18.552 | 0.99855
517.5 | 18.6009 | 18.5666 | 0.99933
518 | 18.6133 | 18.579 | 1
518.5 | 18.598 | 18.5638 | 0.99918
519 | 18.5426 | 18.5084 | 0.9962
519.5 | 18.4907 | 18.4565 | 0.9934
520 | 18.4827 | 18.4485 | 0.99297
520.5 | 18.4645 | 18.4303 | 0.992
521 | 18.4346 | 18.4003 | 0.99038
521.5 | 18.3986 | 18.3644 | 0.98845
522 | 18.3572 | 18.3229 | 0.98621
522.5 | 18.3056 | 18.2713 | 0.98344
523 | 18.2489 | 18.2147 | 0.98039
523.5 | 18.153 | 18.1188 | 0.97523
524 | 18.0631 | 18.0289 | 0.97039
524.5 | 17.987 | 17.9527 | 0.96629
525 | 17.8767 | 17.8425 | 0.96036
525.5 | 17.7305 | 17.6962 | 0.95248
526 | 17.5947 | 17.5605 | 0.94518
526.5 | 17.442 | 17.4078 | 0.93696
527 | 17.2778 | 17.2435 | 0.92812
527.5 | 17.1453 | 17.1111 | 0.92099
528 | 16.9775 | 16.9433 | 0.91196
528.5 | 16.851 | 16.8167 | 0.90515
529 | 16.7721 | 16.7379 | 0.9009
529.5 | 16.6653 | 16.631 | 0.89515
530 | 16.6505 | 16.6162 | 0.89435
530.5 | 16.624 | 16.5897 | 0.89293
531 | 16.6363 | 16.602 | 0.89359
531.5 | 16.6972 | 16.6629 | 0.89687
532 | 16.7647 | 16.7305 | 0.9005
532.5 | 16.813 | 16.7787 | 0.9031
533 | 16.8435 | 16.8092 | 0.90474
533.5 | 16.8133 | 16.7791 | 0.90312
534 | 16.8262 | 16.792 | 0.90381
534.5 | 16.8498 | 16.8156 | 0.90508
535 | 16.9233 | 16.889 | 0.90904
535.5 | 17.0089 | 16.9747 | 0.91365
536 | 17.0782 | 17.044 | 0.91738
536.5 | 17.1524 | 17.1182 | 0.92137
537 | 17.2766 | 17.2424 | 0.92806
537.5 | 17.4768 | 17.4425 | 0.93883
538 | 17.6401 | 17.6059 | 0.94762
538.5 | 17.7946 | 17.7603 | 0.95593
539 | 17.9425 | 17.9082 | 0.96389
539.5 | 18.0936 | 18.0593 | 0.97203
540 | 18.2463 | 18.2121 | 0.98025
540.5 | 18.2934 | 18.2591 | 0.98278
541 | 18.3473 | 18.313 | 0.98568
541.5 | 18.3825 | 18.3483 | 0.98758
542 | 18.4344 | 18.4002 | 0.99037
542.5 | 18.4606 | 18.4264 | 0.99178
543 | 18.4678 | 18.4336 | 0.99217
543.5 | 18.5093 | 18.475 | 0.9944
544 | 18.5324 | 18.4981 | 0.99565
544.5 | 18.5695 | 18.5353 | 0.99765
545 | 18.5146 | 18.4803 | 0.99469
545.5 | 18.444 | 18.4097 | 0.99089
546 | 18.3635 | 18.3292 | 0.98656
546.5 | 18.2809 | 18.2467 | 0.98211
547 | 18.2244 | 18.1901 | 0.97907
547.5 | 18.2052 | 18.1709 | 0.97803
548 | 18.2021 | 18.1678 | 0.97787
548.5 | 18.2151 | 18.1809 | 0.97857
549 | 18.215 | 18.1807 | 0.97856
549.5 | 18.1789 | 18.1446 | 0.97662
550 | 18.0986 | 18.0644 | 0.9723
550.5 | 17.9879 | 17.9537 | 0.96634
551 | 17.8864 | 17.8521 | 0.96088
551.5 | 17.8305 | 17.7963 | 0.95787
552 | 17.7753 | 17.741 | 0.9549
552.5 | 17.6862 | 17.6519 | 0.9501
553 | 17.5759 | 17.5416 | 0.94416
553.5 | 17.4679 | 17.4336 | 0.93835
554 | 17.3874 | 17.3532 | 0.93402
554.5 | 17.362 | 17.3278 | 0.93265
555 | 17.3012 | 17.2669 | 0.92938
555.5 | 17.2248 | 17.1905 | 0.92527
556 | 17.1397 | 17.1055 | 0.92069
556.5 | 17.0633 | 17.029 | 0.91657
557 | 17.0039 | 16.9697 | 0.91338
557.5 | 16.9493 | 16.915 | 0.91044
558 | 16.8657 | 16.8315 | 0.90594
558.5 | 16.7757 | 16.7414 | 0.90109
559 | 16.6366 | 16.6023 | 0.89361
559.5 | 16.5234 | 16.4891 | 0.88751
560 | 16.427 | 16.3927 | 0.88233
560.5 | 16.3495 | 16.3152 | 0.87815
561 | 16.2875 | 16.2533 | 0.87482
561.5 | 16.2022 | 16.168 | 0.87023
562 | 16.103 | 16.0687 | 0.86489
562.5 | 15.9917 | 15.9574 | 0.8589
563 | 15.8969 | 15.8626 | 0.85379
563.5 | 15.7937 | 15.7595 | 0.84824
564 | 15.6888 | 15.6545 | 0.84259
564.5 | 15.5895 | 15.5553 | 0.83725
565 | 15.4783 | 15.4441 | 0.83126
565.5 | 15.3919 | 15.3576 | 0.82661
566 | 15.2815 | 15.2472 | 0.82067
566.5 | 15.1722 | 15.138 | 0.81479
567 | 15.0776 | 15.0433 | 0.80969
567.5 | 14.9754 | 14.9412 | 0.8042
568 | 14.8617 | 14.8274 | 0.79807
568.5 | 14.7626 | 14.7283 | 0.79274
569 | 14.6263 | 14.5921 | 0.78541
569.5 | 14.5136 | 14.4793 | 0.77934
570 | 14.3901 | 14.3559 | 0.77269
570.5 | 14.2665 | 14.2323 | 0.76604
571 | 14.1596 | 14.1254 | 0.76029
571.5 | 14.057 | 14.0227 | 0.75476
572 | 13.9307 | 13.8965 | 0.74797
572.5 | 13.8195 | 13.7853 | 0.74198
573 | 13.7082 | 13.674 | 0.73599
573.5 | 13.5797 | 13.5454 | 0.72907
574 | 13.4568 | 13.4226 | 0.72246
574.5 | 13.3333 | 13.2991 | 0.71581
575 | 13.2135 | 13.1793 | 0.70936
575.5 | 13.1121 | 13.0779 | 0.70391
576 | 13.0193 | 12.9851 | 0.69891
576.5 | 12.8976 | 12.8633 | 0.69236
577 | 12.7658 | 12.7315 | 0.68526
577.5 | 12.6219 | 12.5877 | 0.67752
578 | 12.4972 | 12.463 | 0.67081
578.5 | 12.3973 | 12.363 | 0.66543
579 | 12.3048 | 12.2705 | 0.66045
579.5 | 12.2086 | 12.1744 | 0.65528
580 | 12.1072 | 12.0729 | 0.64981
580.5 | 12.0012 | 11.967 | 0.64411
581 | 11.8934 | 11.8591 | 0.63831
581.5 | 11.7762 | 11.7419 | 0.632
582 | 11.6515 | 11.6172 | 0.62529
582.5 | 11.518 | 11.4837 | 0.6181
583 | 11.3686 | 11.3344 | 0.61006
583.5 | 11.2585 | 11.2242 | 0.60414
584 | 11.1553 | 11.1211 | 0.59858
584.5 | 11.0364 | 11.0022 | 0.59218
585 | 10.9345 | 10.9003 | 0.5867
585.5 | 10.8135 | 10.7792 | 0.58018
586 | 10.6768 | 10.6426 | 0.57283
586.5 | 10.5823 | 10.548 | 0.56774
587 | 10.4387 | 10.4044 | 0.56001
587.5 | 10.3486 | 10.3144 | 0.55516
588 | 10.2399 | 10.2056 | 0.54931
588.5 | 10.1314 | 10.0971 | 0.54347
589 | 10.0226 | 9.9883 | 0.53761
589.5 | 9.9076 | 9.8734 | 0.53143
590 | 9.7878 | 9.7536 | 0.52498
590.5 | 9.6761 | 9.6418 | 0.51896
591 | 9.5592 | 9.5249 | 0.51267
591.5 | 9.4462 | 9.4119 | 0.50659
592 | 9.3445 | 9.3103 | 0.50112
592.5 | 9.2537 | 9.2194 | 0.49623
593 | 9.15 | 9.1157 | 0.49065
593.5 | 9.0218 | 8.9875 | 0.48375
594 | 8.9048 | 8.8705 | 0.47745
594.5 | 8.7917 | 8.7574 | 0.47136
595 | 8.6894 | 8.6552 | 0.46586
595.5 | 8.6043 | 8.5701 | 0.46128
596 | 8.5045 | 8.4703 | 0.45591
596.5 | 8.4011 | 8.3669 | 0.45034
597 | 8.2975 | 8.2633 | 0.44476
597.5 | 8.1674 | 8.1331 | 0.43776
598 | 8.0698 | 8.0355 | 0.43251
598.5 | 7.9624 | 7.9282 | 0.42673
599 | 7.8615 | 7.8272 | 0.42129
599.5 | 7.7627 | 7.7285 | 0.41598
600 | 7.6637 | 7.6295 | 0.41065
600.5 | 7.5673 | 7.5331 | 0.40546
601 | 7.479 | 7.4447 | 0.4007
601.5 | 7.398 | 7.3638 | 0.39635
602 | 7.2876 | 7.2534 | 0.39041
602.5 | 7.1845 | 7.1502 | 0.38486
603 | 7.0986 | 7.0644 | 0.38023
603.5 | 7.0195 | 6.9853 | 0.37598
604 | 6.9263 | 6.8921 | 0.37096
604.5 | 6.8185 | 6.7843 | 0.36516
605 | 6.7334 | 6.6991 | 0.36058
605.5 | 6.6332 | 6.599 | 0.35518
606 | 6.5531 | 6.5188 | 0.35087
606.5 | 6.4286 | 6.3943 | 0.34417
607 | 6.339 | 6.3047 | 0.33935
607.5 | 6.2637 | 6.2294 | 0.3353
608 | 6.1823 | 6.1481 | 0.33092
608.5 | 6.1312 | 6.0969 | 0.32816
609 | 6.0317 | 5.9974 | 0.32281
609.5 | 5.9775 | 5.9433 | 0.31989
610 | 5.8731 | 5.8388 | 0.31427
610.5 | 5.7964 | 5.7622 | 0.31014
611 | 5.7262 | 5.6919 | 0.30636
611.5 | 5.6545 | 5.6202 | 0.3025
612 | 5.5959 | 5.5616 | 0.29935
612.5 | 5.5084 | 5.4742 | 0.29464
613 | 5.4304 | 5.3962 | 0.29044
613.5 | 5.3553 | 5.3211 | 0.2864
614 | 5.2874 | 5.2531 | 0.28274
614.5 | 5.2249 | 5.1906 | 0.27938
615 | 5.1678 | 5.1335 | 0.27631
615.5 | 5.1042 | 5.0699 | 0.27288
616 | 5.0124 | 4.9781 | 0.26794
616.5 | 4.9396 | 4.9054 | 0.26403
617 | 4.8495 | 4.8152 | 0.25918
617.5 | 4.7736 | 4.7393 | 0.25509
618 | 4.6922 | 4.6579 | 0.25071
618.5 | 4.622 | 4.5877 | 0.24693
619 | 4.5636 | 4.5293 | 0.24379
619.5 | 4.4952 | 4.461 | 0.24011
620 | 4.4345 | 4.4003 | 0.23684
620.5 | 4.3698 | 4.3355 | 0.23335
621 | 4.3288 | 4.2945 | 0.23115
621.5 | 4.269 | 4.2348 | 0.22793
622 | 4.2082 | 4.1739 | 0.22466
622.5 | 4.1432 | 4.1089 | 0.22116
623 | 4.0672 | 4.033 | 0.21707
623.5 | 4.0048 | 3.9705 | 0.21371
624 | 3.9193 | 3.885 | 0.20911
624.5 | 3.8529 | 3.8187 | 0.20554
625 | 3.7608 | 3.7266 | 0.20058
625.5 | 3.6864 | 3.6521 | 0.19657
626 | 3.6206 | 3.5863 | 0.19303
626.5 | 3.5494 | 3.5151 | 0.1892
627 | 3.4803 | 3.446 | 0.18548
627.5 | 3.4028 | 3.3685 | 0.18131
628 | 3.3385 | 3.3042 | 0.17785
628.5 | 3.2673 | 3.2331 | 0.17402
629 | 3.1923 | 3.1581 | 0.16998
629.5 | 3.119 | 3.0847 | 0.16603
630 | 3.058 | 3.0237 | 0.16275
630.5 | 3.0053 | 2.971 | 0.15991
631 | 2.9327 | 2.8984 | 0.15601
631.5 | 2.8886 | 2.8543 | 0.15363
632 | 2.8028 | 2.7685 | 0.14901
632.5 | 2.7437 | 2.7095 | 0.14584
633 | 2.6782 | 2.644 | 0.14231
633.5 | 2.6209 | 2.5866 | 0.13922
634 | 2.5798 | 2.5455 | 0.13701
634.5 | 2.5354 | 2.5012 | 0.13462
635 | 2.5 | 2.4657 | 0.13272
635.5 | 2.4475 | 2.4133 | 0.12989
636 | 2.4113 | 2.377 | 0.12794
636.5 | 2.3648 | 2.3305 | 0.12544
637 | 2.3306 | 2.2963 | 0.1236
637.5 | 2.3083 | 2.274 | 0.1224
638 | 2.2808 | 2.2465 | 0.12092
638.5 | 2.247 | 2.2127 | 0.1191
639 | 2.213 | 2.1788 | 0.11727
639.5 | 2.1767 | 2.1425 | 0.11532
640 | 2.1348 | 2.1006 | 0.11306
640.5 | 2.0972 | 2.063 | 0.11104
641 | 2.0705 | 2.0363 | 0.1096
641.5 | 2.0584 | 2.0242 | 0.10895
642 | 2.0542 | 2.02 | 0.10872
642.5 | 2.0273 | 1.993 | 0.10727
643 | 2.006 | 1.9717 | 0.10613
643.5 | 1.9891 | 1.9549 | 0.10522
644 | 1.9793 | 1.945 | 0.10469
644.5 | 1.9591 | 1.9249 | 0.10361
645 | 1.9445 | 1.9103 | 0.10282
645.5 | 1.9406 | 1.9064 | 0.10261
646 | 1.916 | 1.8817 | 0.10128
646.5 | 1.9176 | 1.8834 | 0.10137
647 | 1.8642 | 1.8299 | 0.098494
647.5 | 1.841 | 1.8067 | 0.097245
648 | 1.8169 | 1.7826 | 0.095949
648.5 | 1.8087 | 1.7745 | 0.09551
649 | 1.8019 | 1.7677 | 0.095143
649.5 | 1.775 | 1.7407 | 0.093694
650 | 1.779 | 1.7447 | 0.093909
650.5 | 1.7374 | 1.7032 | 0.091671
651 | 1.7437 | 1.7094 | 0.092009
651.5 | 1.706 | 1.6717 | 0.089978
652 | 1.681 | 1.6467 | 0.088632
652.5 | 1.6603 | 1.626 | 0.087521
653 | 1.6348 | 1.6006 | 0.08615
653.5 | 1.626 | 1.5917 | 0.085671
654 | 1.5823 | 1.548 | 0.083321
654.5 | 1.5468 | 1.5125 | 0.081409
655 | 1.5016 | 1.4673 | 0.078977
655.5 | 1.4899 | 1.4557 | 0.078349
656 | 1.4817 | 1.4475 | 0.077909
656.5 | 1.4639 | 1.4297 | 0.07695
657 | 1.4368 | 1.4025 | 0.075491
657.5 | 1.3899 | 1.3556 | 0.072964
658 | 1.3576 | 1.3233 | 0.071228
658.5 | 1.3336 | 1.2994 | 0.069936
659 | 1.3209 | 1.2866 | 0.069251
659.5 | 1.2785 | 1.2442 | 0.066969
660 | 1.2422 | 1.2079 | 0.065014
660.5 | 1.2257 | 1.1914 | 0.064128
661 | 1.2176 | 1.1833 | 0.063692
661.5 | 1.248 | 1.2137 | 0.065328
662 | 1.223 | 1.1887 | 0.063983
662.5 | 1.2054 | 1.1712 | 0.063037
663 | 1.1627 | 1.1285 | 0.06074
663.5 | 1.1373 | 1.103 | 0.05937
664 | 1.1199 | 1.0857 | 0.058435
664.5 | 1.1057 | 1.0715 | 0.05767
665 | 1.1077 | 1.0735 | 0.057778
665.5 | 1.0653 | 1.031 | 0.055493
666 | 1.0587 | 1.0245 | 0.055142
666.5 | 1.0157 | 0.98149 | 0.052828
667 | 1.0177 | 0.98341 | 0.052931
667.5 | 1.0095 | 0.97521 | 0.05249
668 | 0.98996 | 0.9557 | 0.05144
668.5 | 0.97769 | 0.94343 | 0.050779
669 | 0.94971 | 0.91545 | 0.049273
669.5 | 0.93508 | 0.90082 | 0.048486
670 | 0.89996 | 0.8657 | 0.046596
670.5 | 0.87341 | 0.83915 | 0.045167
671 | 0.85446 | 0.8202 | 0.044147
671.5 | 0.84066 | 0.8064 | 0.043404
672 | 0.83164 | 0.79738 | 0.042918
672.5 | 0.8254 | 0.79114 | 0.042582
673 | 0.81506 | 0.7808 | 0.042026
673.5 | 0.80661 | 0.77235 | 0.041571
674 | 0.80156 | 0.7673 | 0.041299
674.5 | 0.78852 | 0.75426 | 0.040597
675 | 0.79918 | 0.76492 | 0.041171
675.5 | 0.79929 | 0.76503 | 0.041177
676 | 0.78289 | 0.74863 | 0.040294
676.5 | 0.77595 | 0.74169 | 0.039921
677 | 0.75404 | 0.71978 | 0.038742
677.5 | 0.7324 | 0.69814 | 0.037577
678 | 0.70946 | 0.6752 | 0.036342
678.5 | 0.6897 | 0.65544 | 0.035279
679 | 0.67674 | 0.64248 | 0.034581
679.5 | 0.68033 | 0.64607 | 0.034774
680 | 0.68177 | 0.64751 | 0.034852
680.5 | 0.65773 | 0.62347 | 0.033558
681 | 0.66936 | 0.6351 | 0.034184
681.5 | 0.62341 | 0.58915 | 0.031711
682 | 0.62302 | 0.58876 | 0.03169
682.5 | 0.61675 | 0.58249 | 0.031352
683 | 0.61092 | 0.57666 | 0.031038
683.5 | 0.60333 | 0.56907 | 0.03063
684 | 0.59229 | 0.55803 | 0.030036
684.5 | 0.58667 | 0.55241 | 0.029733
685 | 0.57996 | 0.5457 | 0.029372
685.5 | 0.57965 | 0.54539 | 0.029355
686 | 0.54848 | 0.51422 | 0.027677
686.5 | 0.5351 | 0.50084 | 0.026957
687 | 0.53145 | 0.49719 | 0.026761
687.5 | 0.5348 | 0.50054 | 0.026941
688 | 0.53923 | 0.50497 | 0.02718
688.5 | 0.52685 | 0.49259 | 0.026513
689 | 0.52566 | 0.4914 | 0.026449
689.5 | 0.50443 | 0.47017 | 0.025307
690 | 0.50373 | 0.46947 | 0.025269
690.5 | 0.47468 | 0.44042 | 0.023705
691 | 0.45118 | 0.41692 | 0.02244
691.5 | 0.43903 | 0.40477 | 0.021786
692 | 0.42995 | 0.39569 | 0.021298
692.5 | 0.44431 | 0.41005 | 0.022071
693 | 0.45367 | 0.41941 | 0.022574
693.5 | 0.45867 | 0.42441 | 0.022844
694 | 0.44274 | 0.40848 | 0.021986
694.5 | 0.43017 | 0.39591 | 0.02131
695 | 0.40316 | 0.3689 | 0.019856
695.5 | 0.38274 | 0.34848 | 0.018757
696 | 0.39023 | 0.35597 | 0.01916
696.5 | 0.38788 | 0.35362 | 0.019033
697 | 0.42194 | 0.38768 | 0.020867
697.5 | 0.41045 | 0.37619 | 0.020248
698 | 0.41944 | 0.38518 | 0.020732
698.5 | 0.40267 | 0.36841 | 0.019829
699 | 0.37315 | 0.33889 | 0.01824
699.5 | 0.35324 | 0.31898 | 0.017169
700 | 0.35464 | 0.32038 | 0.017244
700.5 | 0.38377 | 0.34951 | 0.018812
701 | 0.41999 | 0.38573 | 0.020762
701.5 | 0.41692 | 0.38266 | 0.020596
702 | 0.37989 | 0.34563 | 0.018603
702.5 | 0.34919 | 0.31493 | 0.016951
703 | 0.33182 | 0.29756 | 0.016016
703.5 | 0.34298 | 0.30872 | 0.016617
704 | 0.37212 | 0.33786 | 0.018185
704.5 | 0.34935 | 0.31509 | 0.016959
705 | 0.38164 | 0.34738 | 0.018697
705.5 | 0.35753 | 0.32327 | 0.0174
706 | 0.37844 | 0.34418 | 0.018525
706.5 | 0.36023 | 0.32597 | 0.017545
707 | 0.34711 | 0.31285 | 0.016839
707.5 | 0.34646 | 0.3122 | 0.016804
708 | 0.33366 | 0.2994 | 0.016115
708.5 | 0.354 | 0.31974 | 0.01721
709 | 0.34641 | 0.31215 | 0.016801
709.5 | 0.33165 | 0.29739 | 0.016007
710 | 0.31648 | 0.28222 | 0.01519
710.5 | 0.31116 | 0.2769 | 0.014904
711 | 0.29554 | 0.26128 | 0.014063
711.5 | 0.27595 | 0.24169 | 0.013009
712 | 0.26847 | 0.23421 | 0.012606
712.5 | 0.256 | 0.22174 | 0.011935
713 | 0.28416 | 0.2499 | 0.013451
713.5 | 0.26183 | 0.22757 | 0.012249
714 | 0.26391 | 0.22965 | 0.012361
714.5 | 0.26855 | 0.23429 | 0.01261
715 | 0.26951 | 0.23525 | 0.012662
715.5 | 0.2727 | 0.23844 | 0.012834
716 | 0.27781 | 0.24355 | 0.013109
716.5 | 0.27238 | 0.23812 | 0.012817
717 | 0.28497 | 0.25071 | 0.013494
717.5 | 0.28085 | 0.24659 | 0.013273
718 | 0.24778 | 0.21352 | 0.011493
718.5 | 0.25734 | 0.22308 | 0.012007
719 | 0.25585 | 0.22159 | 0.011927
719.5 | 0.24517 | 0.21091 | 0.011352
720 | 0.25266 | 0.2184 | 0.011755
720.5 | 0.2383 | 0.20404 | 0.010982
721 | 0.24912 | 0.21486 | 0.011565
721.5 | 0.25056 | 0.2163 | 0.011642
722 | 0.23277 | 0.19851 | 0.010685
722.5 | 0.20591 | 0.17165 | 0.0092389
723 | 0.21176 | 0.1775 | 0.0095538
723.5 | 0.22825 | 0.19399 | 0.010441
724 | 0.23248 | 0.19822 | 0.010669
724.5 | 0.25692 | 0.22266 | 0.011984
725 | 0.22853 | 0.19427 | 0.010456
725.5 | 0.25516 | 0.2209 | 0.01189
726 | 0.24244 | 0.20818 | 0.011205
726.5 | 0.22249 | 0.18823 | 0.010131
727 | 0.17907 | 0.14481 | 0.0077943
727.5 | 0.14451 | 0.11025 | 0.0059341
728 | 0.14622 | 0.11196 | 0.0060262
728.5 | 0.1641 | 0.12984 | 0.0069885
729 | 0.22327 | 0.18901 | 0.010173
729.5 | 0.21164 | 0.17738 | 0.0095473
730 | 0.19114 | 0.15688 | 0.0084439
730.5 | 0.16528 | 0.13102 | 0.007052
731 | 0.16547 | 0.13121 | 0.0070623
731.5 | 0.17332 | 0.13906 | 0.0074848
732 | 0.17457 | 0.14031 | 0.0075521
732.5 | 0.1821 | 0.14784 | 0.0079574
733 | 0.16704 | 0.13278 | 0.0071468
733.5 | 0.1844 | 0.15014 | 0.0080812
734 | 0.15757 | 0.12331 | 0.0066371
734.5 | 0.14798 | 0.11372 | 0.0061209
735 | 0.12734 | 0.09308 | 0.00501
735.5 | 0.11971 | 0.08545 | 0.0045993
736 | 0.12777 | 0.09351 | 0.0050331
736.5 | 0.12062 | 0.08636 | 0.0046483
737 | 0.11648 | 0.08222 | 0.0044254
737.5 | 0.11524 | 0.08098 | 0.0043587
738 | 0.12352 | 0.08926 | 0.0048043
738.5 | 0.13431 | 0.10005 | 0.0053851
739 | 0.13959 | 0.10533 | 0.0056693
739.5 | 0.14601 | 0.11175 | 0.0060149
740 | 0.14539 | 0.11113 | 0.0059815
740.5 | 0.12894 | 0.09468 | 0.0050961
741 | 0.11923 | 0.08497 | 0.0045734
741.5 | 0.12441 | 0.09015 | 0.0048522
742 | 0.12157 | 0.08731 | 0.0046994
742.5 | 0.15003 | 0.11577 | 0.0062312
743 | 0.13195 | 0.09769 | 0.0052581
743.5 | 0.12454 | 0.09028 | 0.0048592
744 | 0.13009 | 0.09583 | 0.005158
744.5 | 0.12398 | 0.08972 | 0.0048291
745 | 0.13079 | 0.09653 | 0.0051956
745.5 | 0.10433 | 0.07007 | 0.0037715
746 | 0.06309 | 0.02883 | 0.0015518
746.5 | 0.05579 | 0.02153 | 0.0011588
747 | 0.05447 | 0.02021 | 0.0010878
747.5 | 0.07238 | 0.03812 | 0.0020518
748 | 0.12136 | 0.0871 | 0.0046881
748.5 | 0.1601 | 0.12584 | 0.0067732
749 | 0.14347 | 0.10921 | 0.0058781
749.5 | 0.16859 | 0.13433 | 0.0072302
750 | 0.11985 | 0.08559 | 0.0046068
750.5 | 0.11557 | 0.08131 | 0.0043764
751 | 0.06405 | 0.02979 | 0.0016034
751.5 | 0.08282 | 0.04856 | 0.0026137
752 | 0.09947 | 0.06521 | 0.0035099
752.5 | 0.10712 | 0.07286 | 0.0039216
753 | 0.1617 | 0.12744 | 0.0068594
753.5 | 0.15063 | 0.11637 | 0.0062635
754 | 0.12636 | 0.0921 | 0.0049572
754.5 | 0.04646 | 0.0122 | 0.00065666
755 | -0.01286 | 0 | 0
755.5 | -0.00171 | 0 | 0
756 | 0.07733 | 0.04307 | 0.0023182
756.5 | 0.1633 | 0.12904 | 0.0069455
757 | 0.21047 | 0.17621 | 0.0094844
757.5 | 0.22757 | 0.19331 | 0.010405
758 | 0.1569 | 0.12264 | 0.006601
758.5 | 0.09998 | 0.06572 | 0.0035373
759 | 0.01506 | 0 | 0
759.5 | -0.00564 | 0 | 0
760 | 0.01411 | 0 | 0
760.5 | 0.05566 | 0.0214 | 0.0011518
761 | 0.07961 | 0.04535 | 0.0024409
761.5 | 0.06455 | 0.03029 | 0.0016303
762 | 0.11589 | 0.08163 | 0.0043937
762.5 | 0.0707 | 0.03644 | 0.0019614
763 | 0.09849 | 0.06423 | 0.0034571
763.5 | 0.04486 | 0.0106 | 0.00057054
764 | 0.0528 | 0.01854 | 0.0009979
764.5 | 0.04202 | 0.00776 | 0.00041768
765 | 0.01467 | 0 | 0
765.5 | 0.02394 | 0 | 0
766 | -0.00914 | 0 | 0
766.5 | 0.02867 | 0 | 0
767 | 0.04573 | 0.01147 | 0.00061736
767.5 | 0.05804 | 0.02378 | 0.0012799
768 | 0.03481 | 0.00055 | 2.9603e-05
768.5 | 0.03435 | 9e-05 | 4.8442e-06
769 | 0.02642 | 0 | 0
769.5 | 0.01659 | 0 | 0
770 | 0.07393 | 0.03967 | 0.0021352
770.5 | 0.10908 | 0.07482 | 0.0040271
771 | 0.19858 | 0.16432 | 0.0088444
771.5 | 0.1634 | 0.12914 | 0.0069509
772 | 0.18386 | 0.1496 | 0.0080521
772.5 | 0.13845 | 0.10419 | 0.0056079
773 | 0.12147 | 0.08721 | 0.004694
773.5 | 0.12946 | 0.0952 | 0.0051241
774 | 0.10542 | 0.07116 | 0.0038301
774.5 | 0.14699 | 0.11273 | 0.0060676
775 | 0.10866 | 0.0744 | 0.0040045
775.5 | 0.13812 | 0.10386 | 0.0055902
776 | 0.15525 | 0.12099 | 0.0065122
776.5 | 0.13028 | 0.09602 | 0.0051682
777 | 0.12628 | 0.09202 | 0.0049529
777.5 | 0.16978 | 0.13552 | 0.0072943
778 | 0.20749 | 0.17323 | 0.009324
778.5 | 0.17671 | 0.14245 | 0.0076673
779 | 0.1302 | 0.09594 | 0.0051639
779.5 | 0.04182 | 0.00756 | 0.00040691
780 | 0.09954 | 0.06528 | 0.0035136
780.5 | 0.0245 | 0 | 0
781 | -0.01442 | 0 | 0
781.5 | -0.04675 | 0 | 0
782 | -0.03518 | 0 | 0
782.5 | 0.03806 | 0.0038 | 0.00020453
783 | 0.03705 | 0.00279 | 0.00015017
783.5 | 0.1203 | 0.08604 | 0.004631
784 | 0.08736 | 0.0531 | 0.0028581
784.5 | 0.12162 | 0.08736 | 0.0047021
785 | 0.08991 | 0.05565 | 0.0029953
785.5 | 0.09118 | 0.05692 | 0.0030637
786 | 0.10475 | 0.07049 | 0.0037941
786.5 | 0.13822 | 0.10396 | 0.0055956
787 | 0.22381 | 0.18955 | 0.010202
787.5 | 0.22713 | 0.19287 | 0.010381
788 | 0.22483 | 0.19057 | 0.010257
788.5 | 0.10658 | 0.07232 | 0.0038926
789 | 0.05791 | 0.02365 | 0.0012729
789.5 | 0.02133 | 0 | 0
790 | 0.02542 | 0 | 0
790.5 | -0.00393 | 0 | 0
791 | -0.03497 | 0 | 0
791.5 | 0.06818 | 0.03392 | 0.0018257
792 | 0.03434 | 8e-05 | 4.3059e-06
792.5 | 0.164 | 0.12974 | 0.0069831
793 | 0.03823 | 0.00397 | 0.00021368
793.5 | 0.06315 | 0.02889 | 0.001555
794 | 0.06029 | 0.02603 | 0.001401
794.5 | 0.09154 | 0.05728 | 0.003083
795 | 0.12035 | 0.08609 | 0.0046337
795.5 | 0.08685 | 0.05259 | 0.0028306
796 | 0.10534 | 0.07108 | 0.0038258
796.5 | -0.01327 | 0 | 0
797 | 0.06313 | 0.02887 | 0.0015539
797.5 | -0.07122 | 0 | 0
798 | -0.01763 | 0 | 0
798.5 | -0.0364 | 0 | 0
799 | 0.00665 | 0 | 0
799.5 | 0.00507 | 0 | 0
800 | 0.00563 | 0 | 0