## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 110.9 | 100.01 | 0.028267
246.5 | 74.81 | 63.92 | 0.018066
247 | 57.31 | 46.42 | 0.01312
247.5 | 40.29 | 29.4 | 0.0083095
248 | 24.76 | 13.87 | 0.0039202
248.5 | 10.89 | 0 | 0
249 | -0.5317 | 0 | 0
249.5 | -8.173 | 0 | 0
250 | -11.56 | 0 | 0
250.5 | -9.751 | 0 | 0
251 | -1.823 | 0 | 0
251.5 | -1.699 | 0 | 0
252 | -1.617 | 0 | 0
252.5 | -1.596 | 0 | 0
253 | -1.721 | 0 | 0
253.5 | -1.941 | 0 | 0
254 | -2.084 | 0 | 0
254.5 | -2.03 | 0 | 0
255 | -1.873 | 0 | 0
255.5 | -1.655 | 0 | 0
256 | -1.645 | 0 | 0
256.5 | -1.663 | 0 | 0
257 | -1.548 | 0 | 0
257.5 | -1.462 | 0 | 0
258 | -1.448 | 0 | 0
258.5 | -1.4 | 0 | 0
259 | -1.353 | 0 | 0
259.5 | -1.302 | 0 | 0
260 | -1.249 | 0 | 0
260.5 | -1.182 | 0 | 0
261 | -1.098 | 0 | 0
261.5 | -1.011 | 0 | 0
262 | -0.93 | 0 | 0
262.5 | -0.8482 | 0 | 0
263 | -0.7727 | 0 | 0
263.5 | -0.7082 | 0 | 0
264 | -0.6636 | 0 | 0
264.5 | -0.645 | 0 | 0
265 | -0.63 | 0 | 0
265.5 | -0.6177 | 0 | 0
266 | -0.6144 | 0 | 0
266.5 | -0.6189 | 0 | 0
267 | -0.6189 | 0 | 0
267.5 | -0.6226 | 0 | 0
268 | -0.6337 | 0 | 0
268.5 | -0.6375 | 0 | 0
269 | -0.6306 | 0 | 0
269.5 | -0.6105 | 0 | 0
270 | -0.5739 | 0 | 0
270.5 | -0.517 | 0 | 0
271 | -0.4503 | 0 | 0
271.5 | -0.387 | 0 | 0
272 | -0.3534 | 0 | 0
272.5 | -0.338 | 0 | 0
273 | -0.3356 | 0 | 0
273.5 | -0.3643 | 0 | 0
274 | -0.4018 | 0 | 0
274.5 | -0.4248 | 0 | 0
275 | -0.4335 | 0 | 0
275.5 | -0.4357 | 0 | 0
276 | -0.4091 | 0 | 0
276.5 | -0.3506 | 0 | 0
277 | -0.2519 | 0 | 0
277.5 | -0.1181 | 0 | 0
278 | 0.04743 | 0 | 0
278.5 | 0.2308 | 0 | 0
279 | 0.4087 | 0 | 0
279.5 | 0.5504 | 0 | 0
280 | 0.6554 | 0 | 0
280.5 | 0.7261 | 0 | 0
281 | 0.7565 | 0 | 0
281.5 | 0.7621 | 0 | 0
282 | 0.7571 | 0 | 0
282.5 | 0.7294 | 0 | 0
283 | 0.6808 | 0 | 0
283.5 | 0.6064 | 0 | 0
284 | 0.5187 | 0 | 0
284.5 | 0.4396 | 0 | 0
285 | 0.3911 | 0 | 0
285.5 | 0.3689 | 0 | 0
286 | 0.3876 | 0 | 0
286.5 | 0.4326 | 0 | 0
287 | 0.4699 | 0 | 0
287.5 | 0.4892 | 0 | 0
288 | 0.5004 | 0 | 0
288.5 | 0.5077 | 0 | 0
289 | 0.505 | 0 | 0
289.5 | 0.4938 | 0 | 0
290 | 0.4642 | 0 | 0
290.5 | 0.4075 | 0 | 0
291 | 0.3068 | 0 | 0
291.5 | 0.1834 | 0 | 0
292 | 0.06243 | 0 | 0
292.5 | -0.03098 | 0 | 0
293 | -0.09771 | 0 | 0
293.5 | -0.1417 | 0 | 0
294 | -0.1655 | 0 | 0
294.5 | -0.1876 | 0 | 0
295 | -0.1999 | 0 | 0
295.5 | -0.1977 | 0 | 0
296 | -0.1826 | 0 | 0
296.5 | -0.1574 | 0 | 0
297 | -0.118 | 0 | 0
297.5 | -0.08023 | 0 | 0
298 | -0.06418 | 0 | 0
298.5 | -0.06904 | 0 | 0
299 | -0.0918 | 0 | 0
299.5 | -0.1145 | 0 | 0
300 | -0.1171 | 0 | 0
300.5 | -0.11 | 0 | 0
301 | -0.1012 | 0 | 0
301.5 | -0.09219 | 0 | 0
302 | -0.09543 | 0 | 0
302.5 | -0.0971 | 0 | 0
303 | -0.09255 | 0 | 0
303.5 | -0.08397 | 0 | 0
304 | -0.0534 | 0 | 0
304.5 | 0.0001395 | 0 | 0
305 | 0.0561 | 0 | 0
305.5 | 0.1094 | 0 | 0
306 | 0.1648 | 0 | 0
306.5 | 0.2042 | 0 | 0
307 | 0.2226 | 0 | 0
307.5 | 0.2139 | 0 | 0
308 | 0.1933 | 0 | 0
308.5 | 0.1807 | 0 | 0
309 | 0.1813 | 0 | 0
309.5 | 0.1924 | 0 | 0
310 | 0.2308 | 0 | 0
310.5 | 0.3004 | 0 | 0
311 | 0.3926 | 0 | 0
311.5 | 0.5165 | 0 | 0
312 | 0.6574 | 0 | 0
312.5 | 0.7937 | 0 | 0
313 | 0.9277 | 0 | 0
313.5 | 1.045 | 0 | 0
314 | 1.128 | 0 | 0
314.5 | 1.176 | 0 | 0
315 | 1.2 | 0 | 0
315.5 | 1.219 | 0 | 0
316 | 1.243 | 0 | 0
316.5 | 1.265 | 0 | 0
317 | 1.278 | 0 | 0
317.5 | 1.285 | 0 | 0
318 | 1.279 | 0 | 0
318.5 | 1.262 | 0 | 0
319 | 1.252 | 0 | 0
319.5 | 1.263 | 0 | 0
320 | 1.297 | 0 | 0
320.5 | 1.345 | 0 | 0
321 | 1.393 | 0 | 0
321.5 | 1.444 | 0 | 0
322 | 1.497 | 0 | 0
322.5 | 1.536 | 0 | 0
323 | 1.547 | 0 | 0
323.5 | 1.539 | 0 | 0
324 | 1.5 | 0 | 0
324.5 | 1.432 | 0 | 0
325 | 1.345 | 0 | 0
325.5 | 1.244 | 0 | 0
326 | 1.143 | 0 | 0
326.5 | 1.054 | 0 | 0
327 | 0.9913 | 0 | 0
327.5 | 0.9544 | 0 | 0
328 | 0.927 | 0 | 0
328.5 | 0.9142 | 0 | 0
329 | 0.9202 | 0 | 0
329.5 | 0.928 | 0 | 0
330 | 0.9354 | 0 | 0
330.5 | 0.9447 | 0 | 0
331 | 0.955 | 0 | 0
331.5 | 0.9569 | 0 | 0
332 | 0.9525 | 0 | 0
332.5 | 0.9491 | 0 | 0
333 | 0.9383 | 0 | 0
333.5 | 0.9155 | 0 | 0
334 | 0.8814 | 0 | 0
334.5 | 0.84 | 0 | 0
335 | 0.7965 | 0 | 0
335.5 | 0.7702 | 0 | 0
336 | 0.7593 | 0 | 0
336.5 | 0.7604 | 0 | 0
337 | 0.7634 | 0 | 0
337.5 | 0.7634 | 0 | 0
338 | 0.7538 | 0 | 0
338.5 | 0.7403 | 0 | 0
339 | 0.7223 | 0 | 0
339.5 | 0.6988 | 0 | 0
340 | 0.6777 | 0 | 0
340.5 | 0.6473 | 0 | 0
341 | 0.6122 | 0 | 0
341.5 | 0.5656 | 0 | 0
342 | 0.5131 | 0 | 0
342.5 | 0.4709 | 0 | 0
343 | 0.45 | 0 | 0
343.5 | 0.4477 | 0 | 0
344 | 0.4642 | 0 | 0
344.5 | 0.4927 | 0 | 0
345 | 0.5184 | 0 | 0
345.5 | 0.5514 | 0 | 0
346 | 0.5988 | 0 | 0
346.5 | 0.6429 | 0 | 0
347 | 0.6836 | 0 | 0
347.5 | 0.7214 | 0 | 0
348 | 0.7457 | 0 | 0
348.5 | 0.7542 | 0 | 0
349 | 0.7455 | 0 | 0
349.5 | 0.7351 | 0 | 0
350 | 0.7414 | 0 | 0
350.5 | 0.7688 | 0 | 0
351 | 0.8117 | 0 | 0
351.5 | 0.8793 | 0 | 0
352 | 0.9656 | 0 | 0
352.5 | 1.059 | 0 | 0
353 | 1.165 | 0 | 0
353.5 | 1.259 | 0 | 0
354 | 1.35 | 0 | 0
354.5 | 1.439 | 0 | 0
355 | 1.525 | 0 | 0
355.5 | 1.6 | 0 | 0
356 | 1.66 | 0 | 0
356.5 | 1.698 | 0 | 0
357 | 1.726 | 0 | 0
357.5 | 1.749 | 0 | 0
358 | 1.759 | 0 | 0
358.5 | 1.765 | 0 | 0
359 | 1.774 | 0 | 0
359.5 | 1.785 | 0 | 0
360 | 1.803 | 0 | 0
360.5 | 1.834 | 0 | 0
361 | 1.886 | 0 | 0
361.5 | 1.953 | 0 | 0
362 | 2.025 | 0 | 0
362.5 | 2.091 | 0 | 0
363 | 2.148 | 0 | 0
363.5 | 2.18 | 0 | 0
364 | 2.166 | 0 | 0
364.5 | 2.123 | 0 | 0
365 | 2.054 | 0 | 0
365.5 | 1.978 | 0 | 0
366 | 1.907 | 0 | 0
366.5 | 1.839 | 0 | 0
367 | 1.788 | 0 | 0
367.5 | 1.745 | 0 | 0
368 | 1.716 | 0 | 0
368.5 | 1.696 | 0 | 0
369 | 1.673 | 0 | 0
369.5 | 1.641 | 0 | 0
370 | 1.612 | 0 | 0
370.5 | 1.586 | 0 | 0
371 | 1.537 | 0 | 0
371.5 | 1.478 | 0 | 0
372 | 1.407 | 0 | 0
372.5 | 1.327 | 0 | 0
373 | 1.239 | 0 | 0
373.5 | 1.143 | 0 | 0
374 | 1.066 | 0 | 0
374.5 | 0.9989 | 0 | 0
375 | 0.9243 | 0 | 0
375.5 | 0.8369 | 0 | 0
376 | 0.7479 | 0 | 0
376.5 | 0.6674 | 0 | 0
377 | 0.5982 | 0 | 0
377.5 | 0.5547 | 0 | 0
378 | 0.5328 | 0 | 0
378.5 | 0.5343 | 0 | 0
379 | 0.545 | 0 | 0
379.5 | 0.5481 | 0 | 0
380 | 0.5495 | 0 | 0
380.5 | 0.5596 | 0 | 0
381 | 0.6085 | 0 | 0
381.5 | 0.6899 | 0 | 0
382 | 0.7798 | 0 | 0
382.5 | 0.8644 | 0 | 0
383 | 0.9536 | 0 | 0
383.5 | 1.052 | 0 | 0
384 | 1.156 | 0 | 0
384.5 | 1.271 | 0 | 0
385 | 1.405 | 0 | 0
385.5 | 1.546 | 0 | 0
386 | 1.677 | 0 | 0
386.5 | 1.779 | 0 | 0
387 | 1.871 | 0 | 0
387.5 | 1.962 | 0 | 0
388 | 2.052 | 0 | 0
388.5 | 2.15 | 0 | 0
389 | 2.245 | 0 | 0
389.5 | 2.312 | 0 | 0
390 | 2.352 | 0 | 0
390.5 | 2.377 | 0 | 0
391 | 2.394 | 0 | 0
391.5 | 2.413 | 0 | 0
392 | 2.432 | 0 | 0
392.5 | 2.436 | 0 | 0
393 | 2.415 | 0 | 0
393.5 | 2.36 | 0 | 0
394 | 2.281 | 0 | 0
394.5 | 2.177 | 0 | 0
395 | 2.047 | 0 | 0
395.5 | 1.908 | 0 | 0
396 | 1.77 | 0 | 0
396.5 | 1.619 | 0 | 0
397 | 1.456 | 0 | 0
397.5 | 1.321 | 0 | 0
398 | 1.214 | 0 | 0
398.5 | 1.136 | 0 | 0
399 | 1.082 | 0 | 0
399.5 | 1.053 | 0 | 0
400 | 1.054 | 0 | 0
400.5 | 1.064 | 0 | 0
401 | 1.075 | 0 | 0
401.5 | 1.096 | 0 | 0
402 | 1.118 | 0 | 0
402.5 | 1.125 | 0 | 0
403 | 1.122 | 0 | 0
403.5 | 1.107 | 0 | 0
404 | 1.076 | 0 | 0
404.5 | 1.053 | 0 | 0
405 | 1.039 | 0 | 0
405.5 | 1.04 | 0 | 0
406 | 1.062 | 0 | 0
406.5 | 1.118 | 0 | 0
407 | 1.21 | 0 | 0
407.5 | 1.32 | 0 | 0
408 | 1.441 | 0 | 0
408.5 | 1.572 | 0 | 0
409 | 1.682 | 0 | 0
409.5 | 1.734 | 0 | 0
410 | 1.756 | 0 | 0
410.5 | 1.765 | 0 | 0
411 | 1.781 | 0 | 0
411.5 | 1.813 | 0 | 0
412 | 1.878 | 0 | 0
412.5 | 1.977 | 0 | 0
413 | 2.112 | 0 | 0
413.5 | 2.274 | 0 | 0
414 | 2.466 | 0 | 0
414.5 | 2.688 | 0 | 0
415 | 2.919 | 0 | 0
415.5 | 3.151 | 0 | 0
416 | 3.368 | 0 | 0
416.5 | 3.556 | 0 | 0
417 | 3.731 | 0 | 0
417.5 | 3.9 | 0 | 0
418 | 4.074 | 0 | 0
418.5 | 4.247 | 0 | 0
419 | 4.424 | 0 | 0
419.5 | 4.614 | 0 | 0
420 | 4.807 | 0 | 0
420.5 | 5.011 | 0 | 0
421 | 5.263 | 0 | 0
421.5 | 5.556 | 0 | 0
422 | 5.873 | 0 | 0
422.5 | 6.2 | 0 | 0
423 | 6.536 | 0 | 0
423.5 | 6.867 | 0 | 0
424 | 7.191 | 0 | 0
424.5 | 7.519 | 0 | 0
425 | 7.867 | 0 | 0
425.5 | 8.227 | 0 | 0
426 | 8.61 | 0 | 0
426.5 | 9.023 | 0 | 0
427 | 9.478 | 0 | 0
427.5 | 10 | 0 | 0
428 | 10.61 | 0 | 0
428.5 | 11.32 | 0.43 | 0.00012153
429 | 12.13 | 1.24 | 0.00035047
429.5 | 13.05 | 2.16 | 0.0006105
430 | 14.08 | 3.19 | 0.00090161
430.5 | 15.21 | 4.32 | 0.001221
431 | 16.47 | 5.58 | 0.0015771
431.5 | 17.83 | 6.94 | 0.0019615
432 | 19.32 | 8.43 | 0.0023826
432.5 | 20.93 | 10.04 | 0.0028377
433 | 22.66 | 11.77 | 0.0033266
433.5 | 24.53 | 13.64 | 0.0038552
434 | 26.53 | 15.64 | 0.0044204
434.5 | 28.67 | 17.78 | 0.0050253
435 | 30.96 | 20.07 | 0.0056725
435.5 | 33.38 | 22.49 | 0.0063565
436 | 35.96 | 25.07 | 0.0070857
436.5 | 38.65 | 27.76 | 0.007846
437 | 41.44 | 30.55 | 0.0086346
437.5 | 44.33 | 33.44 | 0.0094514
438 | 47.29 | 36.4 | 0.010288
438.5 | 50.28 | 39.39 | 0.011133
439 | 53.29 | 42.4 | 0.011984
439.5 | 56.29 | 45.4 | 0.012832
440 | 59.24 | 48.35 | 0.013665
440.5 | 62.11 | 51.22 | 0.014477
441 | 64.85 | 53.96 | 0.015251
441.5 | 67.46 | 56.57 | 0.015989
442 | 69.93 | 59.04 | 0.016687
442.5 | 72.24 | 61.35 | 0.01734
443 | 74.34 | 63.45 | 0.017933
443.5 | 76.19 | 65.3 | 0.018456
444 | 77.82 | 66.93 | 0.018917
444.5 | 79.17 | 68.28 | 0.019298
445 | 80.26 | 69.37 | 0.019607
445.5 | 81.06 | 70.17 | 0.019833
446 | 81.55 | 70.66 | 0.019971
446.5 | 81.77 | 70.88 | 0.020033
447 | 81.64 | 70.75 | 0.019997
447.5 | 81.24 | 70.35 | 0.019883
448 | 80.6 | 69.71 | 0.019703
448.5 | 79.77 | 68.88 | 0.019468
449 | 78.79 | 67.9 | 0.019191
449.5 | 77.62 | 66.73 | 0.01886
450 | 76.3 | 65.41 | 0.018487
450.5 | 74.86 | 63.97 | 0.01808
451 | 73.32 | 62.43 | 0.017645
451.5 | 71.72 | 60.83 | 0.017193
452 | 70.08 | 59.19 | 0.016729
452.5 | 68.41 | 57.52 | 0.016257
453 | 66.71 | 55.82 | 0.015777
453.5 | 64.96 | 54.07 | 0.015282
454 | 63.19 | 52.3 | 0.014782
454.5 | 61.44 | 50.55 | 0.014287
455 | 59.75 | 48.86 | 0.01381
455.5 | 58.14 | 47.25 | 0.013355
456 | 56.61 | 45.72 | 0.012922
456.5 | 55.17 | 44.28 | 0.012515
457 | 53.82 | 42.93 | 0.012134
457.5 | 52.57 | 41.68 | 0.01178
458 | 51.45 | 40.56 | 0.011464
458.5 | 50.45 | 39.56 | 0.011181
459 | 49.55 | 38.66 | 0.010927
459.5 | 48.69 | 37.8 | 0.010684
460 | 47.83 | 36.94 | 0.010441
460.5 | 46.95 | 36.06 | 0.010192
461 | 46.06 | 35.17 | 0.0099403
461.5 | 45.17 | 34.28 | 0.0096888
462 | 44.3 | 33.41 | 0.0094429
462.5 | 43.44 | 32.55 | 0.0091998
463 | 42.59 | 31.7 | 0.0089596
463.5 | 41.75 | 30.86 | 0.0087222
464 | 40.92 | 30.03 | 0.0084876
464.5 | 40.13 | 29.24 | 0.0082643
465 | 39.41 | 28.52 | 0.0080608
465.5 | 38.74 | 27.85 | 0.0078714
466 | 38.11 | 27.22 | 0.0076934
466.5 | 37.5 | 26.61 | 0.007521
467 | 36.91 | 26.02 | 0.0073542
467.5 | 36.31 | 25.42 | 0.0071846
468 | 35.69 | 24.8 | 0.0070094
468.5 | 35.08 | 24.19 | 0.006837
469 | 34.47 | 23.58 | 0.0066646
469.5 | 33.87 | 22.98 | 0.006495
470 | 33.26 | 22.37 | 0.0063226
470.5 | 32.65 | 21.76 | 0.0061502
471 | 32.05 | 21.16 | 0.0059806
471.5 | 31.48 | 20.59 | 0.0058195
472 | 30.95 | 20.06 | 0.0056697
472.5 | 30.47 | 19.58 | 0.005534
473 | 30.03 | 19.14 | 0.0054097
473.5 | 29.63 | 18.74 | 0.0052966
474 | 29.25 | 18.36 | 0.0051892
474.5 | 28.87 | 17.98 | 0.0050818
475 | 28.51 | 17.62 | 0.0049801
475.5 | 28.15 | 17.26 | 0.0048783
476 | 27.75 | 16.86 | 0.0047653
476.5 | 27.33 | 16.44 | 0.0046465
477 | 26.89 | 16 | 0.0045222
477.5 | 26.42 | 15.53 | 0.0043893
478 | 25.96 | 15.07 | 0.0042593
478.5 | 25.5 | 14.61 | 0.0041293
479 | 25.07 | 14.18 | 0.0040078
479.5 | 24.66 | 13.77 | 0.0038919
480 | 24.28 | 13.39 | 0.0037845
480.5 | 23.94 | 13.05 | 0.0036884
481 | 23.62 | 12.73 | 0.003598
481.5 | 23.32 | 12.43 | 0.0035132
482 | 23.04 | 12.15 | 0.003434
482.5 | 22.77 | 11.88 | 0.0033577
483 | 22.49 | 11.6 | 0.0032786
483.5 | 22.2 | 11.31 | 0.0031966
484 | 21.9 | 11.01 | 0.0031118
484.5 | 21.6 | 10.71 | 0.003027
485 | 21.29 | 10.4 | 0.0029394
485.5 | 20.98 | 10.09 | 0.0028518
486 | 20.67 | 9.78 | 0.0027642
486.5 | 20.38 | 9.49 | 0.0026822
487 | 20.13 | 9.24 | 0.0026116
487.5 | 19.92 | 9.03 | 0.0025522
488 | 19.75 | 8.86 | 0.0025042
488.5 | 19.63 | 8.74 | 0.0024702
489 | 19.53 | 8.64 | 0.002442
489.5 | 19.42 | 8.53 | 0.0024109
490 | 19.29 | 8.4 | 0.0023741
490.5 | 19.15 | 8.26 | 0.0023346
491 | 18.99 | 8.1 | 0.0022894
491.5 | 18.82 | 7.93 | 0.0022413
492 | 18.63 | 7.74 | 0.0021876
492.5 | 18.44 | 7.55 | 0.0021339
493 | 18.25 | 7.36 | 0.0020802
493.5 | 18.08 | 7.19 | 0.0020322
494 | 17.94 | 7.05 | 0.0019926
494.5 | 17.81 | 6.92 | 0.0019558
495 | 17.7 | 6.81 | 0.0019248
495.5 | 17.6 | 6.71 | 0.0018965
496 | 17.52 | 6.63 | 0.0018739
496.5 | 17.48 | 6.59 | 0.0018626
497 | 17.46 | 6.57 | 0.0018569
497.5 | 17.48 | 6.59 | 0.0018626
498 | 17.53 | 6.64 | 0.0018767
498.5 | 17.61 | 6.72 | 0.0018993
499 | 17.71 | 6.82 | 0.0019276
499.5 | 17.83 | 6.94 | 0.0019615
500 | 17.96 | 7.07 | 0.0019982
500.5 | 18.12 | 7.23 | 0.0020435
501 | 18.33 | 7.44 | 0.0021028
501.5 | 18.6 | 7.71 | 0.0021791
502 | 18.92 | 8.03 | 0.0022696
502.5 | 19.31 | 8.42 | 0.0023798
503 | 19.77 | 8.88 | 0.0025098
503.5 | 20.27 | 9.38 | 0.0026511
504 | 20.79 | 9.9 | 0.0027981
504.5 | 21.36 | 10.47 | 0.0029592
505 | 21.96 | 11.07 | 0.0031288
505.5 | 22.6 | 11.71 | 0.0033097
506 | 23.31 | 12.42 | 0.0035103
506.5 | 24.09 | 13.2 | 0.0037308
507 | 24.96 | 14.07 | 0.0039767
507.5 | 25.89 | 15 | 0.0042396
508 | 26.91 | 16.02 | 0.0045278
508.5 | 28.01 | 17.12 | 0.0048387
509 | 29.19 | 18.3 | 0.0051723
509.5 | 30.45 | 19.56 | 0.0055284
510 | 31.77 | 20.88 | 0.0059015
510.5 | 33.16 | 22.27 | 0.0062943
511 | 34.62 | 23.73 | 0.006707
511.5 | 36.16 | 25.27 | 0.0071422
512 | 37.83 | 26.94 | 0.0076142
512.5 | 39.6 | 28.71 | 0.0081145
513 | 41.47 | 30.58 | 0.008643
513.5 | 43.45 | 32.56 | 0.0092027
514 | 45.52 | 34.63 | 0.0097877
514.5 | 47.69 | 36.8 | 0.010401
515 | 49.98 | 39.09 | 0.011048
515.5 | 52.41 | 41.52 | 0.011735
516 | 54.99 | 44.1 | 0.012464
516.5 | 57.73 | 46.84 | 0.013239
517 | 60.58 | 49.69 | 0.014044
517.5 | 63.57 | 52.68 | 0.014889
518 | 66.7 | 55.81 | 0.015774
518.5 | 70.03 | 59.14 | 0.016715
519 | 73.52 | 62.63 | 0.017702
519.5 | 77.19 | 66.3 | 0.018739
520 | 81.02 | 70.13 | 0.019821
520.5 | 85.03 | 74.14 | 0.020955
521 | 89.23 | 78.34 | 0.022142
521.5 | 93.71 | 82.82 | 0.023408
522 | 98.44 | 87.55 | 0.024745
522.5 | 103.5 | 92.61 | 0.026175
523 | 108.8 | 97.91 | 0.027673
523.5 | 114.5 | 103.61 | 0.029284
524 | 120.3 | 109.41 | 0.030923
524.5 | 126.5 | 115.61 | 0.032676
525 | 133 | 122.11 | 0.034513
525.5 | 139.8 | 128.91 | 0.036435
526 | 146.9 | 136.01 | 0.038441
526.5 | 154.4 | 143.51 | 0.040561
527 | 162.2 | 151.31 | 0.042766
527.5 | 170.5 | 159.61 | 0.045112
528 | 179.2 | 168.31 | 0.047571
528.5 | 188.4 | 177.51 | 0.050171
529 | 198.1 | 187.21 | 0.052912
529.5 | 208.3 | 197.41 | 0.055795
530 | 218.8 | 207.91 | 0.058763
530.5 | 229.9 | 219.01 | 0.0619
531 | 241.4 | 230.51 | 0.065151
531.5 | 253.5 | 242.61 | 0.068571
532 | 266.2 | 255.31 | 0.07216
532.5 | 279.4 | 268.51 | 0.075891
533 | 293.3 | 282.41 | 0.079819
533.5 | 307.8 | 296.91 | 0.083918
534 | 323 | 312.11 | 0.088214
534.5 | 338.9 | 328.01 | 0.092708
535 | 355.6 | 344.71 | 0.097428
535.5 | 373 | 362.11 | 0.10235
536 | 391.1 | 380.21 | 0.10746
536.5 | 410.1 | 399.21 | 0.11283
537 | 429.9 | 419.01 | 0.11843
537.5 | 450.6 | 439.71 | 0.12428
538 | 472.1 | 461.21 | 0.13035
538.5 | 494.5 | 483.61 | 0.13669
539 | 517.6 | 506.71 | 0.14321
539.5 | 541.6 | 530.71 | 0.15
540 | 566.5 | 555.61 | 0.15704
540.5 | 592.1 | 581.21 | 0.16427
541 | 618.4 | 607.51 | 0.1717
541.5 | 645.5 | 634.61 | 0.17936
542 | 673.2 | 662.31 | 0.18719
542.5 | 701.5 | 690.61 | 0.19519
543 | 730.4 | 719.51 | 0.20336
543.5 | 760.1 | 749.21 | 0.21175
544 | 790.5 | 779.61 | 0.22035
544.5 | 821.8 | 810.91 | 0.22919
545 | 853.9 | 843.01 | 0.23827
545.5 | 887.1 | 876.21 | 0.24765
546 | 921.2 | 910.31 | 0.25729
546.5 | 956.4 | 945.51 | 0.26724
547 | 992.4 | 981.51 | 0.27741
547.5 | 1029 | 1018.11 | 0.28776
548 | 1067 | 1056.11 | 0.2985
548.5 | 1105 | 1094.11 | 0.30924
549 | 1143 | 1132.11 | 0.31998
549.5 | 1183 | 1172.11 | 0.33128
550 | 1223 | 1212.11 | 0.34259
550.5 | 1263 | 1252.11 | 0.35389
551 | 1304 | 1293.11 | 0.36548
551.5 | 1345 | 1334.11 | 0.37707
552 | 1387 | 1376.11 | 0.38894
552.5 | 1428 | 1417.11 | 0.40053
553 | 1469 | 1458.11 | 0.41212
553.5 | 1510 | 1499.11 | 0.4237
554 | 1551 | 1540.11 | 0.43529
554.5 | 1593 | 1582.11 | 0.44716
555 | 1634 | 1623.11 | 0.45875
555.5 | 1676 | 1665.11 | 0.47062
556 | 1718 | 1707.11 | 0.48249
556.5 | 1760 | 1749.11 | 0.49436
557 | 1802 | 1791.11 | 0.50623
557.5 | 1843 | 1832.11 | 0.51782
558 | 1885 | 1874.11 | 0.52969
558.5 | 1925 | 1914.11 | 0.541
559 | 1965 | 1954.11 | 0.5523
559.5 | 2005 | 1994.11 | 0.56361
560 | 2044 | 2033.11 | 0.57463
560.5 | 2082 | 2071.11 | 0.58537
561 | 2120 | 2109.11 | 0.59611
561.5 | 2157 | 2146.11 | 0.60657
562 | 2194 | 2183.11 | 0.61703
562.5 | 2231 | 2220.11 | 0.62748
563 | 2269 | 2258.11 | 0.63822
563.5 | 2307 | 2296.11 | 0.64897
564 | 2345 | 2334.11 | 0.65971
564.5 | 2383 | 2372.11 | 0.67045
565 | 2420 | 2409.11 | 0.6809
565.5 | 2457 | 2446.11 | 0.69136
566 | 2494 | 2483.11 | 0.70182
566.5 | 2530 | 2519.11 | 0.71199
567 | 2565 | 2554.11 | 0.72189
567.5 | 2599 | 2588.11 | 0.7315
568 | 2633 | 2622.11 | 0.7411
568.5 | 2666 | 2655.11 | 0.75043
569 | 2699 | 2688.11 | 0.75976
569.5 | 2732 | 2721.11 | 0.76909
570 | 2764 | 2753.11 | 0.77813
570.5 | 2796 | 2785.11 | 0.78717
571 | 2828 | 2817.11 | 0.79622
571.5 | 2860 | 2849.11 | 0.80526
572 | 2892 | 2881.11 | 0.81431
572.5 | 2924 | 2913.11 | 0.82335
573 | 2956 | 2945.11 | 0.8324
573.5 | 2987 | 2976.11 | 0.84116
574 | 3018 | 3007.11 | 0.84992
574.5 | 3047 | 3036.11 | 0.85812
575 | 3076 | 3065.11 | 0.86631
575.5 | 3105 | 3094.11 | 0.87451
576 | 3133 | 3122.11 | 0.88242
576.5 | 3160 | 3149.11 | 0.89005
577 | 3186 | 3175.11 | 0.8974
577.5 | 3211 | 3200.11 | 0.90447
578 | 3235 | 3224.11 | 0.91125
578.5 | 3258 | 3247.11 | 0.91775
579 | 3281 | 3270.11 | 0.92425
579.5 | 3303 | 3292.11 | 0.93047
580 | 3324 | 3313.11 | 0.93641
580.5 | 3344 | 3333.11 | 0.94206
581 | 3365 | 3354.11 | 0.94799
581.5 | 3385 | 3374.11 | 0.95365
582 | 3404 | 3393.11 | 0.95902
582.5 | 3423 | 3412.11 | 0.96439
583 | 3440 | 3429.11 | 0.96919
583.5 | 3456 | 3445.11 | 0.97371
584 | 3470 | 3459.11 | 0.97767
584.5 | 3482 | 3471.11 | 0.98106
585 | 3494 | 3483.11 | 0.98445
585.5 | 3503 | 3492.11 | 0.987
586 | 3512 | 3501.11 | 0.98954
586.5 | 3519 | 3508.11 | 0.99152
587 | 3525 | 3514.11 | 0.99322
587.5 | 3531 | 3520.11 | 0.99491
588 | 3536 | 3525.11 | 0.99633
588.5 | 3541 | 3530.11 | 0.99774
589 | 3545 | 3534.11 | 0.99887
589.5 | 3547 | 3536.11 | 0.99943
590 | 3549 | 3538.11 | 1
590.5 | 3549 | 3538.11 | 1
591 | 3548 | 3537.11 | 0.99972
591.5 | 3546 | 3535.11 | 0.99915
592 | 3542 | 3531.11 | 0.99802
592.5 | 3537 | 3526.11 | 0.99661
593 | 3529 | 3518.11 | 0.99435
593.5 | 3520 | 3509.11 | 0.9918
594 | 3508 | 3497.11 | 0.98841
594.5 | 3495 | 3484.11 | 0.98474
595 | 3482 | 3471.11 | 0.98106
595.5 | 3468 | 3457.11 | 0.97711
596 | 3452 | 3441.11 | 0.97258
596.5 | 3437 | 3426.11 | 0.96834
597 | 3421 | 3410.11 | 0.96382
597.5 | 3405 | 3394.11 | 0.9593
598 | 3388 | 3377.11 | 0.9545
598.5 | 3371 | 3360.11 | 0.94969
599 | 3353 | 3342.11 | 0.9446
599.5 | 3334 | 3323.11 | 0.93923
600 | 3313 | 3302.11 | 0.9333
600.5 | 3293 | 3282.11 | 0.92764
601 | 3271 | 3260.11 | 0.92143
601.5 | 3249 | 3238.11 | 0.91521
602 | 3225 | 3214.11 | 0.90843
602.5 | 3200 | 3189.11 | 0.90136
603 | 3174 | 3163.11 | 0.89401
603.5 | 3147 | 3136.11 | 0.88638
604 | 3120 | 3109.11 | 0.87875
604.5 | 3093 | 3082.11 | 0.87112
605 | 3065 | 3054.11 | 0.8632
605.5 | 3037 | 3026.11 | 0.85529
606 | 3009 | 2998.11 | 0.84738
606.5 | 2981 | 2970.11 | 0.83946
607 | 2951 | 2940.11 | 0.83098
607.5 | 2920 | 2909.11 | 0.82222
608 | 2888 | 2877.11 | 0.81318
608.5 | 2856 | 2845.11 | 0.80413
609 | 2823 | 2812.11 | 0.79481
609.5 | 2791 | 2780.11 | 0.78576
610 | 2759 | 2748.11 | 0.77672
610.5 | 2728 | 2717.11 | 0.76796
611 | 2697 | 2686.11 | 0.75919
611.5 | 2666 | 2655.11 | 0.75043
612 | 2636 | 2625.11 | 0.74195
612.5 | 2605 | 2594.11 | 0.73319
613 | 2575 | 2564.11 | 0.72471
613.5 | 2544 | 2533.11 | 0.71595
614 | 2513 | 2502.11 | 0.70719
614.5 | 2483 | 2472.11 | 0.69871
615 | 2454 | 2443.11 | 0.69051
615.5 | 2425 | 2414.11 | 0.68232
616 | 2397 | 2386.11 | 0.6744
616.5 | 2370 | 2359.11 | 0.66677
617 | 2344 | 2333.11 | 0.65942
617.5 | 2318 | 2307.11 | 0.65207
618 | 2293 | 2282.11 | 0.64501
618.5 | 2269 | 2258.11 | 0.63822
619 | 2244 | 2233.11 | 0.63116
619.5 | 2219 | 2208.11 | 0.62409
620 | 2193 | 2182.11 | 0.61674
620.5 | 2168 | 2157.11 | 0.60968
621 | 2142 | 2131.11 | 0.60233
621.5 | 2116 | 2105.11 | 0.59498
622 | 2090 | 2079.11 | 0.58763
622.5 | 2065 | 2054.11 | 0.58057
623 | 2039 | 2028.11 | 0.57322
623.5 | 2015 | 2004.11 | 0.56644
624 | 1990 | 1979.11 | 0.55937
624.5 | 1967 | 1956.11 | 0.55287
625 | 1943 | 1932.11 | 0.54609
625.5 | 1919 | 1908.11 | 0.5393
626 | 1895 | 1884.11 | 0.53252
626.5 | 1871 | 1860.11 | 0.52574
627 | 1848 | 1837.11 | 0.51923
627.5 | 1825 | 1814.11 | 0.51273
628 | 1801 | 1790.11 | 0.50595
628.5 | 1778 | 1767.11 | 0.49945
629 | 1755 | 1744.11 | 0.49295
629.5 | 1732 | 1721.11 | 0.48645
630 | 1709 | 1698.11 | 0.47995
630.5 | 1686 | 1675.11 | 0.47345
631 | 1662 | 1651.11 | 0.46666
631.5 | 1639 | 1628.11 | 0.46016
632 | 1616 | 1605.11 | 0.45366
632.5 | 1594 | 1583.11 | 0.44745
633 | 1573 | 1562.11 | 0.44151
633.5 | 1553 | 1542.11 | 0.43586
634 | 1533 | 1522.11 | 0.4302
634.5 | 1514 | 1503.11 | 0.42483
635 | 1495 | 1484.11 | 0.41946
635.5 | 1476 | 1465.11 | 0.41409
636 | 1457 | 1446.11 | 0.40872
636.5 | 1438 | 1427.11 | 0.40335
637 | 1419 | 1408.11 | 0.39798
637.5 | 1400 | 1389.11 | 0.39261
638 | 1381 | 1370.11 | 0.38724
638.5 | 1361 | 1350.11 | 0.38159
639 | 1342 | 1331.11 | 0.37622
639.5 | 1323 | 1312.11 | 0.37085
640 | 1304 | 1293.11 | 0.36548
640.5 | 1286 | 1275.11 | 0.36039
641 | 1268 | 1257.11 | 0.35531
641.5 | 1249 | 1238.11 | 0.34994
642 | 1231 | 1220.11 | 0.34485
642.5 | 1213 | 1202.11 | 0.33976
643 | 1194 | 1183.11 | 0.33439
643.5 | 1176 | 1165.11 | 0.3293
644 | 1157 | 1146.11 | 0.32393
644.5 | 1139 | 1128.11 | 0.31885
645 | 1120 | 1109.11 | 0.31348
645.5 | 1102 | 1091.11 | 0.30839
646 | 1084 | 1073.11 | 0.3033
646.5 | 1066 | 1055.11 | 0.29821
647 | 1048 | 1037.11 | 0.29313
647.5 | 1030 | 1019.11 | 0.28804
648 | 1012 | 1001.11 | 0.28295
648.5 | 994.7 | 983.81 | 0.27806
649 | 977.2 | 966.31 | 0.27311
649.5 | 960 | 949.11 | 0.26825
650 | 942.9 | 932.01 | 0.26342
650.5 | 925.9 | 915.01 | 0.25862
651 | 908.8 | 897.91 | 0.25378
651.5 | 891.8 | 880.91 | 0.24898
652 | 875 | 864.11 | 0.24423
652.5 | 858.6 | 847.71 | 0.23959
653 | 842.5 | 831.61 | 0.23504
653.5 | 826.4 | 815.51 | 0.23049
654 | 810.4 | 799.51 | 0.22597
654.5 | 794.4 | 783.51 | 0.22145
655 | 778.6 | 767.71 | 0.21698
655.5 | 763 | 752.11 | 0.21257
656 | 747.6 | 736.71 | 0.20822
656.5 | 732.4 | 721.51 | 0.20393
657 | 717.5 | 706.61 | 0.19971
657.5 | 703.2 | 692.31 | 0.19567
658 | 689.4 | 678.51 | 0.19177
658.5 | 676.2 | 665.31 | 0.18804
659 | 663.2 | 652.31 | 0.18437
659.5 | 650.4 | 639.51 | 0.18075
660 | 637.7 | 626.81 | 0.17716
660.5 | 625.1 | 614.21 | 0.1736
661 | 612.4 | 601.51 | 0.17001
661.5 | 599.8 | 588.91 | 0.16645
662 | 587.1 | 576.21 | 0.16286
662.5 | 574.3 | 563.41 | 0.15924
663 | 561.7 | 550.81 | 0.15568
663.5 | 549.3 | 538.41 | 0.15217
664 | 537.2 | 526.31 | 0.14875
664.5 | 525.6 | 514.71 | 0.14548
665 | 514.5 | 503.61 | 0.14234
665.5 | 503.7 | 492.81 | 0.13929
666 | 493.3 | 482.41 | 0.13635
666.5 | 483 | 472.11 | 0.13344
667 | 472.6 | 461.71 | 0.1305
667.5 | 462.2 | 451.31 | 0.12756
668 | 451.8 | 440.91 | 0.12462
668.5 | 441.5 | 430.61 | 0.12171
669 | 431.5 | 420.61 | 0.11888
669.5 | 421.9 | 411.01 | 0.11617
670 | 412.7 | 401.81 | 0.11357
670.5 | 403.9 | 393.01 | 0.11108
671 | 395.7 | 384.81 | 0.10876
671.5 | 387.8 | 376.91 | 0.10653
672 | 380.2 | 369.31 | 0.10438
672.5 | 372.5 | 361.61 | 0.1022
673 | 364.9 | 354.01 | 0.10006
673.5 | 357.4 | 346.51 | 0.097936
674 | 350.1 | 339.21 | 0.095873
674.5 | 342.8 | 331.91 | 0.09381
675 | 335.7 | 324.81 | 0.091803
675.5 | 328.7 | 317.81 | 0.089825
676 | 321.8 | 310.91 | 0.087875
676.5 | 315.2 | 304.31 | 0.086009
677 | 308.8 | 297.91 | 0.0842
677.5 | 302.5 | 291.61 | 0.08242
678 | 296.3 | 285.41 | 0.080667
678.5 | 290 | 279.11 | 0.078887
679 | 283.8 | 272.91 | 0.077134
679.5 | 277.6 | 266.71 | 0.075382
680 | 271.5 | 260.61 | 0.073658
680.5 | 265.3 | 254.41 | 0.071906
681 | 259.3 | 248.41 | 0.07021
681.5 | 253.5 | 242.61 | 0.068571
682 | 248 | 237.11 | 0.067016
682.5 | 242.8 | 231.91 | 0.065546
683 | 237.9 | 227.01 | 0.064161
683.5 | 233.2 | 222.31 | 0.062833
684 | 228.5 | 217.61 | 0.061505
684.5 | 224 | 213.11 | 0.060233
685 | 219.4 | 208.51 | 0.058933
685.5 | 214.8 | 203.91 | 0.057632
686 | 210.3 | 199.41 | 0.056361
686.5 | 205.8 | 194.91 | 0.055089
687 | 201.4 | 190.51 | 0.053845
687.5 | 197.1 | 186.21 | 0.05263
688 | 193 | 182.11 | 0.051471
688.5 | 189.1 | 178.21 | 0.050369
689 | 185.3 | 174.41 | 0.049295
689.5 | 181.6 | 170.71 | 0.048249
690 | 177.9 | 167.01 | 0.047203
690.5 | 174.4 | 163.51 | 0.046214
691 | 170.8 | 159.91 | 0.045196
691.5 | 167.4 | 156.51 | 0.044235
692 | 164 | 153.11 | 0.043275
692.5 | 160.6 | 149.71 | 0.042314
693 | 157.4 | 146.51 | 0.041409
693.5 | 154.2 | 143.31 | 0.040505
694 | 151.2 | 140.31 | 0.039657
694.5 | 148.3 | 137.41 | 0.038837
695 | 145.5 | 134.61 | 0.038046
695.5 | 142.7 | 131.81 | 0.037254
696 | 140.1 | 129.21 | 0.036519
696.5 | 137.4 | 126.51 | 0.035756
697 | 134.9 | 124.01 | 0.03505
697.5 | 132.3 | 121.41 | 0.034315
698 | 129.8 | 118.91 | 0.033608
698.5 | 127.5 | 116.61 | 0.032958
699 | 125.1 | 114.21 | 0.03228
699.5 | 123 | 112.11 | 0.031686
700 | 120.9 | 110.01 | 0.031093
700.5 | 118.9 | 108.01 | 0.030528
701 | 116.9 | 106.01 | 0.029962
701.5 | 114.9 | 104.01 | 0.029397
702 | 112.9 | 102.01 | 0.028832
702.5 | 111 | 100.11 | 0.028295
703 | 109 | 98.11 | 0.027729
703.5 | 107 | 96.11 | 0.027164
704 | 104.9 | 94.01 | 0.026571
704.5 | 102.8 | 91.91 | 0.025977
705 | 100.7 | 89.81 | 0.025384
705.5 | 98.74 | 87.85 | 0.02483
706 | 96.82 | 85.93 | 0.024287
706.5 | 94.99 | 84.1 | 0.02377
707 | 93.28 | 82.39 | 0.023286
707.5 | 91.65 | 80.76 | 0.022826
708 | 90.04 | 79.15 | 0.022371
708.5 | 88.42 | 77.53 | 0.021913
709 | 86.73 | 75.84 | 0.021435
709.5 | 84.93 | 74.04 | 0.020926
710 | 83.06 | 72.17 | 0.020398
710.5 | 81.15 | 70.26 | 0.019858
711 | 79.25 | 68.36 | 0.019321
711.5 | 77.4 | 66.51 | 0.018798
712 | 75.62 | 64.73 | 0.018295
712.5 | 73.94 | 63.05 | 0.01782
713 | 72.37 | 61.48 | 0.017377
713.5 | 70.86 | 59.97 | 0.01695
714 | 69.39 | 58.5 | 0.016534
714.5 | 67.95 | 57.06 | 0.016127
715 | 66.5 | 55.61 | 0.015717
715.5 | 65.03 | 54.14 | 0.015302
716 | 63.54 | 52.65 | 0.014881
716.5 | 62.04 | 51.15 | 0.014457
717 | 60.54 | 49.65 | 0.014033
717.5 | 59.08 | 48.19 | 0.01362
718 | 57.63 | 46.74 | 0.01321
718.5 | 56.23 | 45.34 | 0.012815
719 | 54.89 | 44 | 0.012436
719.5 | 53.62 | 42.73 | 0.012077
720 | 52.43 | 41.54 | 0.011741
720.5 | 51.31 | 40.42 | 0.011424
721 | 50.2 | 39.31 | 0.01111
721.5 | 49.06 | 38.17 | 0.010788
722 | 47.89 | 37 | 0.010458
722.5 | 46.71 | 35.82 | 0.010124
723 | 45.53 | 34.64 | 0.0097905
723.5 | 44.35 | 33.46 | 0.009457
724 | 43.18 | 32.29 | 0.0091263
724.5 | 42.06 | 31.17 | 0.0088098
725 | 41 | 30.11 | 0.0085102
725.5 | 40 | 29.11 | 0.0082276
726 | 39.07 | 28.18 | 0.0079647
726.5 | 38.19 | 27.3 | 0.007716
727 | 37.36 | 26.47 | 0.0074814
727.5 | 36.61 | 25.72 | 0.0072694
728 | 35.93 | 25.04 | 0.0070772
728.5 | 35.31 | 24.42 | 0.006902
729 | 34.74 | 23.85 | 0.0067409
729.5 | 34.18 | 23.29 | 0.0065826
730 | 33.59 | 22.7 | 0.0064159
730.5 | 32.98 | 22.09 | 0.0062434
731 | 32.38 | 21.49 | 0.0060739
731.5 | 31.75 | 20.86 | 0.0058958
732 | 31.13 | 20.24 | 0.0057206
732.5 | 30.49 | 19.6 | 0.0055397
733 | 29.84 | 18.95 | 0.005356
733.5 | 29.19 | 18.3 | 0.0051723
734 | 28.55 | 17.66 | 0.0049914
734.5 | 27.92 | 17.03 | 0.0048133
735 | 27.3 | 16.41 | 0.0046381
735.5 | 26.63 | 15.74 | 0.0044487
736 | 25.96 | 15.07 | 0.0042593
736.5 | 25.28 | 14.39 | 0.0040671
737 | 24.59 | 13.7 | 0.0038721
737.5 | 23.89 | 13 | 0.0036743
738 | 23.17 | 12.28 | 0.0034708
738.5 | 22.44 | 11.55 | 0.0032645
739 | 21.72 | 10.83 | 0.003061
739.5 | 21.05 | 10.16 | 0.0028716
740 | 20.43 | 9.54 | 0.0026964
740.5 | 19.87 | 8.98 | 0.0025381
741 | 19.32 | 8.43 | 0.0023826
741.5 | 18.79 | 7.9 | 0.0022328
742 | 18.29 | 7.4 | 0.0020915
742.5 | 17.81 | 6.92 | 0.0019558
743 | 17.34 | 6.45 | 0.001823
743.5 | 16.86 | 5.97 | 0.0016873
744 | 16.36 | 5.47 | 0.001546
744.5 | 15.88 | 4.99 | 0.0014104
745 | 15.43 | 4.54 | 0.0012832
745.5 | 15.01 | 4.12 | 0.0011645
746 | 14.64 | 3.75 | 0.0010599
746.5 | 14.31 | 3.42 | 0.00096662
747 | 14.01 | 3.12 | 0.00088183
747.5 | 13.72 | 2.83 | 0.00079986
748 | 13.43 | 2.54 | 0.0007179
748.5 | 13.11 | 2.22 | 0.00062745
749 | 12.78 | 1.89 | 0.00053418
749.5 | 12.46 | 1.57 | 0.00044374
750 | 12.14 | 1.25 | 0.0003533
750.5 | 11.85 | 0.96 | 0.00027133
751 | 11.61 | 0.72 | 0.0002035
751.5 | 11.43 | 0.54 | 0.00015262
752 | 11.29 | 0.4 | 0.00011305
752.5 | 11.15 | 0.26 | 7.3486e-05
753 | 10.99 | 0.1 | 2.8264e-05
753.5 | 10.83 | 0 | 0
754 | 10.67 | 0 | 0
754.5 | 10.55 | 0 | 0
755 | 10.42 | 0 | 0
755.5 | 10.23 | 0 | 0
756 | 10.02 | 0 | 0
756.5 | 9.825 | 0 | 0
757 | 9.687 | 0 | 0
757.5 | 9.592 | 0 | 0
758 | 9.499 | 0 | 0
758.5 | 9.392 | 0 | 0
759 | 9.281 | 0 | 0
759.5 | 9.176 | 0 | 0
760 | 9.054 | 0 | 0
760.5 | 8.859 | 0 | 0
761 | 8.598 | 0 | 0
761.5 | 8.34 | 0 | 0
762 | 8.108 | 0 | 0
762.5 | 7.878 | 0 | 0
763 | 7.608 | 0 | 0
763.5 | 7.247 | 0 | 0
764 | 6.861 | 0 | 0
764.5 | 6.525 | 0 | 0
765 | 6.253 | 0 | 0
765.5 | 6.015 | 0 | 0
766 | 5.789 | 0 | 0
766.5 | 5.612 | 0 | 0
767 | 5.496 | 0 | 0
767.5 | 5.386 | 0 | 0
768 | 5.254 | 0 | 0
768.5 | 5.053 | 0 | 0
769 | 4.828 | 0 | 0
769.5 | 4.644 | 0 | 0
770 | 4.509 | 0 | 0
770.5 | 4.401 | 0 | 0
771 | 4.332 | 0 | 0
771.5 | 4.322 | 0 | 0
772 | 4.389 | 0 | 0
772.5 | 4.495 | 0 | 0
773 | 4.566 | 0 | 0
773.5 | 4.564 | 0 | 0
774 | 4.509 | 0 | 0
774.5 | 4.435 | 0 | 0
775 | 4.348 | 0 | 0
775.5 | 4.244 | 0 | 0
776 | 4.145 | 0 | 0
776.5 | 4.085 | 0 | 0
777 | 4.079 | 0 | 0
777.5 | 4.122 | 0 | 0
778 | 4.164 | 0 | 0
778.5 | 4.19 | 0 | 0
779 | 4.226 | 0 | 0
779.5 | 4.286 | 0 | 0
780 | 4.34 | 0 | 0
780.5 | 4.346 | 0 | 0
781 | 4.308 | 0 | 0
781.5 | 4.266 | 0 | 0
782 | 4.234 | 0 | 0
782.5 | 4.203 | 0 | 0
783 | 4.122 | 0 | 0
783.5 | 3.986 | 0 | 0
784 | 3.822 | 0 | 0
784.5 | 3.632 | 0 | 0
785 | 3.419 | 0 | 0
785.5 | 3.227 | 0 | 0
786 | 3.065 | 0 | 0
786.5 | 2.977 | 0 | 0
787 | 2.94 | 0 | 0
787.5 | 2.904 | 0 | 0
788 | 2.849 | 0 | 0
788.5 | 2.749 | 0 | 0
789 | 2.619 | 0 | 0
789.5 | 2.46 | 0 | 0
790 | 2.276 | 0 | 0
790.5 | 2.089 | 0 | 0
791 | 1.916 | 0 | 0
791.5 | 1.784 | 0 | 0
792 | 1.699 | 0 | 0
792.5 | 1.619 | 0 | 0
793 | 1.55 | 0 | 0
793.5 | 1.5 | 0 | 0
794 | 1.435 | 0 | 0
794.5 | 1.35 | 0 | 0
795 | 1.225 | 0 | 0
795.5 | 1.057 | 0 | 0
796 | 0.9115 | 0 | 0
796.5 | 0.8123 | 0 | 0
797 | 0.748 | 0 | 0
797.5 | 0.7043 | 0 | 0
798 | 0.695 | 0 | 0
798.5 | 0.7332 | 0 | 0
799 | 0.8093 | 0 | 0
799.5 | 0.9032 | 0 | 0
800 | 1.024 | 0 | 0
800.5 | 1.176 | 0 | 0
801 | 1.388 | 0 | 0
801.5 | 1.622 | 0 | 0
802 | 1.826 | 0 | 0
802.5 | 2.012 | 0 | 0
803 | 2.177 | 0 | 0
803.5 | 2.313 | 0 | 0
804 | 2.433 | 0 | 0
804.5 | 2.515 | 0 | 0
805 | 2.556 | 0 | 0
805.5 | 2.574 | 0 | 0
806 | 2.565 | 0 | 0
806.5 | 2.497 | 0 | 0
807 | 2.366 | 0 | 0
807.5 | 2.202 | 0 | 0
808 | 2.007 | 0 | 0
808.5 | 1.778 | 0 | 0
809 | 1.536 | 0 | 0
809.5 | 1.294 | 0 | 0
810 | 1.082 | 0 | 0
810.5 | 0.9384 | 0 | 0
811 | 0.821 | 0 | 0
811.5 | 0.7052 | 0 | 0
812 | 0.5846 | 0 | 0
812.5 | 0.4778 | 0 | 0
813 | 0.3826 | 0 | 0
813.5 | 0.2627 | 0 | 0
814 | 0.1306 | 0 | 0
814.5 | 0.02643 | 0 | 0
815 | -0.03982 | 0 | 0
815.5 | -0.07122 | 0 | 0
816 | -0.1148 | 0 | 0
816.5 | -0.1352 | 0 | 0
817 | -0.1307 | 0 | 0
817.5 | -0.1036 | 0 | 0
818 | -0.09839 | 0 | 0
818.5 | -0.157 | 0 | 0
819 | -0.2448 | 0 | 0
819.5 | -0.3047 | 0 | 0
820 | -0.3412 | 0 | 0
820.5 | -0.3831 | 0 | 0
821 | -0.4773 | 0 | 0
821.5 | -0.5911 | 0 | 0
822 | -0.6664 | 0 | 0
822.5 | -0.714 | 0 | 0
823 | -0.7679 | 0 | 0
823.5 | -0.7875 | 0 | 0
824 | -0.7308 | 0 | 0
824.5 | -0.5818 | 0 | 0
825 | -0.3926 | 0 | 0
825.5 | -0.2442 | 0 | 0
826 | -0.1854 | 0 | 0
826.5 | -0.1526 | 0 | 0
827 | -0.09219 | 0 | 0
827.5 | -0.05996 | 0 | 0
828 | -0.08476 | 0 | 0
828.5 | -0.1101 | 0 | 0
829 | -0.09226 | 0 | 0
829.5 | -0.03572 | 0 | 0
830 | 0.03166 | 0 | 0
830.5 | 0.06692 | 0 | 0
831 | 0.07092 | 0 | 0
831.5 | 0.05857 | 0 | 0
832 | 0.02499 | 0 | 0
832.5 | -0.04702 | 0 | 0
833 | -0.1802 | 0 | 0
833.5 | -0.3178 | 0 | 0
834 | -0.4179 | 0 | 0
834.5 | -0.486 | 0 | 0
835 | -0.549 | 0 | 0
835.5 | -0.6195 | 0 | 0
836 | -0.6825 | 0 | 0
836.5 | -0.746 | 0 | 0
837 | -0.8116 | 0 | 0
837.5 | -0.8795 | 0 | 0
838 | -0.9507 | 0 | 0
838.5 | -0.9975 | 0 | 0
839 | -1.027 | 0 | 0
839.5 | -1.042 | 0 | 0
840 | -1.054 | 0 | 0
840.5 | -1.083 | 0 | 0
841 | -1.122 | 0 | 0
841.5 | -1.194 | 0 | 0
842 | -1.295 | 0 | 0
842.5 | -1.375 | 0 | 0
843 | -1.413 | 0 | 0
843.5 | -1.417 | 0 | 0
844 | -1.426 | 0 | 0
844.5 | -1.402 | 0 | 0
845 | -1.35 | 0 | 0
845.5 | -1.287 | 0 | 0
846 | -1.207 | 0 | 0
846.5 | -1.157 | 0 | 0
847 | -1.146 | 0 | 0
847.5 | -1.118 | 0 | 0
848 | -1.081 | 0 | 0
848.5 | -1.067 | 0 | 0
849 | -1.058 | 0 | 0
849.5 | -1.004 | 0 | 0
850 | -0.8984 | 0 | 0
850.5 | -0.7717 | 0 | 0
851 | -0.6802 | 0 | 0
851.5 | -0.6645 | 0 | 0
852 | -0.6696 | 0 | 0
852.5 | -0.7016 | 0 | 0
853 | -0.7786 | 0 | 0
853.5 | -0.9004 | 0 | 0
854 | -1.038 | 0 | 0
854.5 | -1.133 | 0 | 0
855 | -1.166 | 0 | 0
855.5 | -1.205 | 0 | 0
856 | -1.25 | 0 | 0
856.5 | -1.261 | 0 | 0
857 | -1.254 | 0 | 0
857.5 | -1.258 | 0 | 0
858 | -1.293 | 0 | 0
858.5 | -1.339 | 0 | 0
859 | -1.351 | 0 | 0
859.5 | -1.29 | 0 | 0
860 | -1.173 | 0 | 0
860.5 | -1.023 | 0 | 0
861 | -0.8522 | 0 | 0
861.5 | -0.6588 | 0 | 0
862 | -0.4832 | 0 | 0
862.5 | -0.3857 | 0 | 0
863 | -0.3684 | 0 | 0
863.5 | -0.3693 | 0 | 0
864 | -0.3665 | 0 | 0
864.5 | -0.3794 | 0 | 0
865 | -0.3858 | 0 | 0
865.5 | -0.3922 | 0 | 0
866 | -0.3925 | 0 | 0
866.5 | -0.4174 | 0 | 0
867 | -0.4887 | 0 | 0
867.5 | -0.5887 | 0 | 0
868 | -0.6695 | 0 | 0
868.5 | -0.7241 | 0 | 0
869 | -0.7642 | 0 | 0
869.5 | -0.7804 | 0 | 0
870 | -0.7849 | 0 | 0
870.5 | -0.7445 | 0 | 0
871 | -0.6723 | 0 | 0
871.5 | -0.5967 | 0 | 0
872 | -0.5197 | 0 | 0
872.5 | -0.434 | 0 | 0
873 | -0.3428 | 0 | 0
873.5 | -0.252 | 0 | 0
874 | -0.1697 | 0 | 0
874.5 | -0.07159 | 0 | 0
875 | 0.05062 | 0 | 0
875.5 | 0.1656 | 0 | 0
876 | 0.2151 | 0 | 0
876.5 | 0.2054 | 0 | 0
877 | 0.1757 | 0 | 0
877.5 | 0.1442 | 0 | 0
878 | 0.08602 | 0 | 0
878.5 | 0.02184 | 0 | 0
879 | -0.02562 | 0 | 0
879.5 | -0.09716 | 0 | 0
880 | -0.1602 | 0 | 0
880.5 | -0.2352 | 0 | 0
881 | 0.2262 | 0 | 0
881.5 | -0.5623 | 0 | 0
882 | -1.023 | 0 | 0
882.5 | -1.23 | 0 | 0
883 | -1.603 | 0 | 0
883.5 | -1.901 | 0 | 0
884 | -1.671 | 0 | 0
884.5 | 6.386 | 0 | 0
885 | 7.633 | 0 | 0
885.5 | 2.287 | 0 | 0
886 | -0.05273 | 0 | 0
886.5 | -0.3281 | 0 | 0