## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 6.756 | 0 | 0
246.5 | 6.161 | 0 | 0
247 | 5.143 | 0 | 0
247.5 | 5.487 | 0 | 0
248 | 8.676 | 0 | 0
248.5 | 9.58 | 0 | 0
249 | 9.119 | 0 | 0
249.5 | 11.71 | 2.13 | 0.0006078
250 | 8.288 | 0 | 0
250.5 | 5.724 | 0 | 0
251 | 5.092 | 0 | 0
251.5 | 8.08 | 0 | 0
252 | 8.08 | 0 | 0
252.5 | 9.233 | 0 | 0
253 | 11.55 | 1.97 | 0.00056215
253.5 | 10.28 | 0.7 | 0.00019975
254 | 8.45 | 0 | 0
254.5 | 7.165 | 0 | 0
255 | 8.08 | 0 | 0
255.5 | 8.08 | 0 | 0
256 | 8.395 | 0 | 0
256.5 | 5.885 | 0 | 0
257 | 4.91 | 0 | 0
257.5 | 9.297 | 0 | 0
258 | 9.229 | 0 | 0
258.5 | 8.594 | 0 | 0
259 | 7.96 | 0 | 0
259.5 | 9.108 | 0 | 0
260 | 10.19 | 0.61 | 0.00017407
260.5 | 8.629 | 0 | 0
261 | 8.941 | 0 | 0
261.5 | 6.4 | 0 | 0
262 | 7.302 | 0 | 0
262.5 | 8.315 | 0 | 0
263 | 7.388 | 0 | 0
263.5 | 9.594 | 0.014 | 3.995e-06
264 | 9.606 | 0.026 | 7.4192e-06
264.5 | 9.19 | 0 | 0
265 | 8.592 | 0 | 0
265.5 | 6.429 | 0 | 0
266 | 7.998 | 0 | 0
266.5 | 6.553 | 0 | 0
267 | 8.759 | 0 | 0
267.5 | 10.44 | 0.86 | 0.0002454
268 | 10.29 | 0.71 | 0.0002026
268.5 | 10.34 | 0.76 | 0.00021687
269 | 7.545 | 0 | 0
269.5 | 5.631 | 0 | 0
270 | 8.443 | 0 | 0
270.5 | 8.801 | 0 | 0
271 | 6.488 | 0 | 0
271.5 | 7.117 | 0 | 0
272 | 7.755 | 0 | 0
272.5 | 7.765 | 0 | 0
273 | 8.941 | 0 | 0
273.5 | 12.71 | 3.13 | 0.00089316
274 | 10.15 | 0.57 | 0.00016265
274.5 | 10.57 | 0.99 | 0.0002825
275 | 8.032 | 0 | 0
275.5 | 6.536 | 0 | 0
276 | 8.164 | 0 | 0
276.5 | 9.878 | 0.298 | 8.5035e-05
277 | 8.007 | 0 | 0
277.5 | 8.649 | 0 | 0
278 | 9.371 | 0 | 0
278.5 | 7.593 | 0 | 0
279 | 8.943 | 0 | 0
279.5 | 8.302 | 0 | 0
280 | 7.66 | 0 | 0
280.5 | 7.641 | 0 | 0
281 | 7.47 | 0 | 0
281.5 | 7.271 | 0 | 0
282 | 10.99 | 1.41 | 0.00040235
282.5 | 12.56 | 2.98 | 0.00085035
283 | 12.17 | 2.59 | 0.00073907
283.5 | 10.17 | 0.59 | 0.00016836
284 | 6.963 | 0 | 0
284.5 | 6.483 | 0 | 0
285 | 8.458 | 0 | 0
285.5 | 9.568 | 0 | 0
286 | 8.448 | 0 | 0
286.5 | 9.732 | 0.152 | 4.3374e-05
287 | 10.24 | 0.66 | 0.00018833
287.5 | 8.953 | 0 | 0
288 | 6.626 | 0 | 0
288.5 | 4.932 | 0 | 0
289 | 6.57 | 0 | 0
289.5 | 6.155 | 0 | 0
290 | 5.94 | 0 | 0
290.5 | 6.58 | 0 | 0
291 | 7.734 | 0 | 0
291.5 | 8.802 | 0 | 0
292 | 6.502 | 0 | 0
292.5 | 5.58 | 0 | 0
293 | 5.9 | 0 | 0
293.5 | 6.58 | 0 | 0
294 | 7.485 | 0 | 0
294.5 | 6.481 | 0 | 0
295 | 6.326 | 0 | 0
295.5 | 6.187 | 0 | 0
296 | 6.04 | 0 | 0
296.5 | 5.58 | 0 | 0
297 | 7.252 | 0 | 0
297.5 | 8.562 | 0 | 0
298 | 6.912 | 0 | 0
298.5 | 5.246 | 0 | 0
299 | 8.709 | 0 | 0
299.5 | 9.006 | 0 | 0
300 | 8.803 | 0 | 0
300.5 | 8.337 | 0 | 0
301 | 10.02 | 0.44 | 0.00012556
301.5 | 9.594 | 0.014 | 3.995e-06
302 | 10.31 | 0.73 | 0.00020831
302.5 | 9.112 | 0 | 0
303 | 11.23 | 1.65 | 0.00047083
303.5 | 10.08 | 0.5 | 0.00014268
304 | 9.663 | 0.083 | 2.3684e-05
304.5 | 11.15 | 1.57 | 0.00044801
305 | 11.36 | 1.78 | 0.00050793
305.5 | 9.978 | 0.398 | 0.00011357
306 | 9.008 | 0 | 0
306.5 | 7.249 | 0 | 0
307 | 8.858 | 0 | 0
307.5 | 9.109 | 0 | 0
308 | 8.836 | 0 | 0
308.5 | 8.08 | 0 | 0
309 | 8.93 | 0 | 0
309.5 | 6.734 | 0 | 0
310 | 6.893 | 0 | 0
310.5 | 6.842 | 0 | 0
311 | 8.247 | 0 | 0
311.5 | 11.7 | 2.12 | 0.00060495
312 | 10.19 | 0.61 | 0.00017407
312.5 | 8.58 | 0 | 0
313 | 8.935 | 0 | 0
313.5 | 10.37 | 0.79 | 0.00022543
314 | 10.68 | 1.1 | 0.00031389
314.5 | 7.58 | 0 | 0
315 | 7.839 | 0 | 0
315.5 | 7.254 | 0 | 0
316 | 9.714 | 0.134 | 3.8237e-05
316.5 | 11.69 | 2.11 | 0.0006021
317 | 11.95 | 2.37 | 0.00067629
317.5 | 12.93 | 3.35 | 0.00095594
318 | 11.14 | 1.56 | 0.00044515
318.5 | 10.72 | 1.14 | 0.0003253
319 | 8.097 | 0 | 0
319.5 | 9.126 | 0 | 0
320 | 8.08 | 0 | 0
320.5 | 8.543 | 0 | 0
321 | 10.11 | 0.53 | 0.00015124
321.5 | 10.5 | 0.92 | 0.00026253
322 | 11.65 | 2.07 | 0.00059068
322.5 | 7.142 | 0 | 0
323 | 5.324 | 0 | 0
323.5 | 4.777 | 0 | 0
324 | 9.347 | 0 | 0
324.5 | 8.011 | 0 | 0
325 | 9.699 | 0.119 | 3.3957e-05
325.5 | 9.988 | 0.408 | 0.00011642
326 | 9.334 | 0 | 0
326.5 | 10.58 | 1 | 0.00028535
327 | 6.589 | 0 | 0
327.5 | 8.557 | 0 | 0
328 | 11.22 | 1.64 | 0.00046798
328.5 | 9.179 | 0 | 0
329 | 8.997 | 0 | 0
329.5 | 11.27 | 1.69 | 0.00048225
330 | 11.62 | 2.04 | 0.00058212
330.5 | 7.878 | 0 | 0
331 | 6.686 | 0 | 0
331.5 | 8.889 | 0 | 0
332 | 10.58 | 1 | 0.00028535
332.5 | 11.35 | 1.77 | 0.00050508
333 | 11.66 | 2.08 | 0.00059354
333.5 | 11.69 | 2.11 | 0.0006021
334 | 9.103 | 0 | 0
334.5 | 7.781 | 0 | 0
335 | 7.761 | 0 | 0
335.5 | 10.19 | 0.61 | 0.00017407
336 | 12.73 | 3.15 | 0.00089886
336.5 | 11.81 | 2.23 | 0.00063634
337 | 9.08 | 0 | 0
337.5 | 9.08 | 0 | 0
338 | 9.924 | 0.344 | 9.8162e-05
338.5 | 7.58 | 0 | 0
339 | 8.292 | 0 | 0
339.5 | 9.156 | 0 | 0
340 | 10.72 | 1.14 | 0.0003253
340.5 | 11.12 | 1.54 | 0.00043945
341 | 8.606 | 0 | 0
341.5 | 10.77 | 1.19 | 0.00033957
342 | 13.09 | 3.51 | 0.0010016
342.5 | 13.08 | 3.5 | 0.00099874
343 | 10.91 | 1.33 | 0.00037952
343.5 | 11.25 | 1.67 | 0.00047654
344 | 7.137 | 0 | 0
344.5 | 8.265 | 0 | 0
345 | 6.613 | 0 | 0
345.5 | 7.542 | 0 | 0
346 | 11.93 | 2.35 | 0.00067058
346.5 | 10.94 | 1.36 | 0.00038808
347 | 10.58 | 1 | 0.00028535
347.5 | 9.481 | 0 | 0
348 | 6.817 | 0 | 0
348.5 | 7.526 | 0 | 0
349 | 7.322 | 0 | 0
349.5 | 10.02 | 0.44 | 0.00012556
350 | 11.06 | 1.48 | 0.00042232
350.5 | 11.38 | 1.8 | 0.00051364
351 | 12.71 | 3.13 | 0.00089316
351.5 | 11.63 | 2.05 | 0.00058498
352 | 11.93 | 2.35 | 0.00067058
352.5 | 10.94 | 1.36 | 0.00038808
353 | 10.09 | 0.51 | 0.00014553
353.5 | 8.461 | 0 | 0
354 | 9.018 | 0 | 0
354.5 | 7.622 | 0 | 0
355 | 8.721 | 0 | 0
355.5 | 11.4 | 1.82 | 0.00051934
356 | 11.08 | 1.5 | 0.00042803
356.5 | 12.91 | 3.33 | 0.00095023
357 | 11.91 | 2.33 | 0.00066487
357.5 | 8.073 | 0 | 0
358 | 7.227 | 0 | 0
358.5 | 6.58 | 0 | 0
359 | 7.648 | 0 | 0
359.5 | 10.52 | 0.94 | 0.00026823
360 | 11.72 | 2.14 | 0.00061066
360.5 | 10.46 | 0.88 | 0.00025111
361 | 9.18 | 0 | 0
361.5 | 6.74 | 0 | 0
362 | 5.622 | 0 | 0
362.5 | 7.151 | 0 | 0
363 | 7.036 | 0 | 0
363.5 | 6.87 | 0 | 0
364 | 9.771 | 0.191 | 5.4503e-05
364.5 | 9.372 | 0 | 0
365 | 6.73 | 0 | 0
365.5 | 7.58 | 0 | 0
366 | 6.738 | 0 | 0
366.5 | 3.891 | 0 | 0
367 | 6.024 | 0 | 0
367.5 | 10.79 | 1.21 | 0.00034528
368 | 10.04 | 0.46 | 0.00013126
368.5 | 11.87 | 2.29 | 0.00065346
369 | 11.62 | 2.04 | 0.00058212
369.5 | 8.667 | 0 | 0
370 | 8.516 | 0 | 0
370.5 | 7.619 | 0 | 0
371 | 9.565 | 0 | 0
371.5 | 10.92 | 1.34 | 0.00038237
372 | 9.08 | 0 | 0
372.5 | 8.516 | 0 | 0
373 | 8.307 | 0 | 0
373.5 | 7.659 | 0 | 0
374 | 9.659 | 0.079 | 2.2543e-05
374.5 | 10.3 | 0.72 | 0.00020545
375 | 7.13 | 0 | 0
375.5 | 9.352 | 0 | 0
376 | 11.04 | 1.46 | 0.00041662
376.5 | 9.681 | 0.101 | 2.8821e-05
377 | 8.357 | 0 | 0
377.5 | 8.58 | 0 | 0
378 | 9.418 | 0 | 0
378.5 | 8.201 | 0 | 0
379 | 8.58 | 0 | 0
379.5 | 10.91 | 1.33 | 0.00037952
380 | 10.93 | 1.35 | 0.00038523
380.5 | 7.58 | 0 | 0
381 | 8.596 | 0 | 0
381.5 | 11.23 | 1.65 | 0.00047083
382 | 10.89 | 1.31 | 0.00037381
382.5 | 8.615 | 0 | 0
383 | 6.738 | 0 | 0
383.5 | 8.782 | 0 | 0
384 | 9.299 | 0 | 0
384.5 | 10 | 0.42 | 0.00011985
385 | 10.72 | 1.14 | 0.0003253
385.5 | 12.37 | 2.79 | 0.00079614
386 | 10.58 | 1 | 0.00028535
386.5 | 10.52 | 0.94 | 0.00026823
387 | 9.213 | 0 | 0
387.5 | 9.887 | 0.307 | 8.7604e-05
388 | 8.54 | 0 | 0
388.5 | 6.196 | 0 | 0
389 | 8.645 | 0 | 0
389.5 | 9.697 | 0.117 | 3.3386e-05
390 | 6.743 | 0 | 0
390.5 | 9.291 | 0 | 0
391 | 10.1 | 0.52 | 0.00014838
391.5 | 9.038 | 0 | 0
392 | 6.772 | 0 | 0
392.5 | 4.451 | 0 | 0
393 | 6.223 | 0 | 0
393.5 | 4.798 | 0 | 0
394 | 6.508 | 0 | 0
394.5 | 6.804 | 0 | 0
395 | 8.471 | 0 | 0
395.5 | 9.08 | 0 | 0
396 | 5.747 | 0 | 0
396.5 | 6.432 | 0 | 0
397 | 8.693 | 0 | 0
397.5 | 10.08 | 0.5 | 0.00014268
398 | 10.08 | 0.5 | 0.00014268
398.5 | 9.676 | 0.096 | 2.7394e-05
399 | 8.106 | 0 | 0
399.5 | 6.58 | 0 | 0
400 | 6.046 | 0 | 0
400.5 | 9.134 | 0 | 0
401 | 12.17 | 2.59 | 0.00073907
401.5 | 11.84 | 2.26 | 0.0006449
402 | 9.58 | 0 | 0
402.5 | 9.042 | 0 | 0
403 | 9.398 | 0 | 0
403.5 | 8.549 | 0 | 0
404 | 6.051 | 0 | 0
404.5 | 8.463 | 0 | 0
405 | 10.68 | 1.1 | 0.00031389
405.5 | 11.63 | 2.05 | 0.00058498
406 | 9.841 | 0.261 | 7.4477e-05
406.5 | 10.17 | 0.59 | 0.00016836
407 | 9.164 | 0 | 0
407.5 | 7.169 | 0 | 0
408 | 10.25 | 0.67 | 0.00019119
408.5 | 9.492 | 0 | 0
409 | 9.633 | 0.053 | 1.5124e-05
409.5 | 9.836 | 0.256 | 7.3051e-05
410 | 9.145 | 0 | 0
410.5 | 7.08 | 0 | 0
411 | 6.445 | 0 | 0
411.5 | 6.58 | 0 | 0
412 | 7.585 | 0 | 0
412.5 | 8.687 | 0 | 0
413 | 6.092 | 0 | 0
413.5 | 8.302 | 0 | 0
414 | 9.021 | 0 | 0
414.5 | 10.74 | 1.16 | 0.00033101
415 | 11.08 | 1.5 | 0.00042803
415.5 | 9.23 | 0 | 0
416 | 9.363 | 0 | 0
416.5 | 8.954 | 0 | 0
417 | 6.686 | 0 | 0
417.5 | 7.207 | 0 | 0
418 | 10.64 | 1.06 | 0.00030248
418.5 | 12.08 | 2.5 | 0.00071338
419 | 10.03 | 0.45 | 0.00012841
419.5 | 7.58 | 0 | 0
420 | 7.28 | 0 | 0
420.5 | 10.05 | 0.47 | 0.00013412
421 | 11.39 | 1.81 | 0.00051649
421.5 | 10.69 | 1.11 | 0.00031674
422 | 9.497 | 0 | 0
422.5 | 8.801 | 0 | 0
423 | 9.532 | 0 | 0
423.5 | 7.789 | 0 | 0
424 | 8.971 | 0 | 0
424.5 | 8.982 | 0 | 0
425 | 9.729 | 0.149 | 4.2518e-05
425.5 | 8.542 | 0 | 0
426 | 7.26 | 0 | 0
426.5 | 7.296 | 0 | 0
427 | 5.636 | 0 | 0
427.5 | 6.08 | 0 | 0
428 | 8.803 | 0 | 0
428.5 | 9.774 | 0.194 | 5.5359e-05
429 | 8.024 | 0 | 0
429.5 | 8.286 | 0 | 0
430 | 10.33 | 0.75 | 0.00021402
430.5 | 8.776 | 0 | 0
431 | 7.08 | 0 | 0
431.5 | 7.783 | 0 | 0
432 | 6.132 | 0 | 0
432.5 | 7.085 | 0 | 0
433 | 8.941 | 0 | 0
433.5 | 8.115 | 0 | 0
434 | 7.436 | 0 | 0
434.5 | 7.696 | 0 | 0
435 | 8.06 | 0 | 0
435.5 | 8.504 | 0 | 0
436 | 7.751 | 0 | 0
436.5 | 7.814 | 0 | 0
437 | 8.732 | 0 | 0
437.5 | 7.943 | 0 | 0
438 | 7.176 | 0 | 0
438.5 | 9.939 | 0.359 | 0.00010244
439 | 11.35 | 1.77 | 0.00050508
439.5 | 10.75 | 1.17 | 0.00033386
440 | 8.961 | 0 | 0
440.5 | 5.594 | 0 | 0
441 | 7.08 | 0 | 0
441.5 | 8.699 | 0 | 0
442 | 9.031 | 0 | 0
442.5 | 9.285 | 0 | 0
443 | 9.56 | 0 | 0
443.5 | 9.306 | 0 | 0
444 | 7.42 | 0 | 0
444.5 | 6.633 | 0 | 0
445 | 8.769 | 0 | 0
445.5 | 8.131 | 0 | 0
446 | 8.322 | 0 | 0
446.5 | 6.22 | 0 | 0
447 | 6.959 | 0 | 0
447.5 | 8.44 | 0 | 0
448 | 9.781 | 0.201 | 5.7356e-05
448.5 | 12.49 | 2.91 | 0.00083038
449 | 9.068 | 0 | 0
449.5 | 6.943 | 0 | 0
450 | 6.08 | 0 | 0
450.5 | 6.859 | 0 | 0
451 | 7.724 | 0 | 0
451.5 | 8.918 | 0 | 0
452 | 10.27 | 0.69 | 0.00019689
452.5 | 8.58 | 0 | 0
453 | 7.014 | 0 | 0
453.5 | 5.468 | 0 | 0
454 | 6.481 | 0 | 0
454.5 | 6.08 | 0 | 0
455 | 7.58 | 0 | 0
455.5 | 9.2 | 0 | 0
456 | 10.64 | 1.06 | 0.00030248
456.5 | 10.77 | 1.19 | 0.00033957
457 | 10.45 | 0.87 | 0.00024826
457.5 | 8.423 | 0 | 0
458 | 7.871 | 0 | 0
458.5 | 8.594 | 0 | 0
459 | 10.36 | 0.78 | 0.00022258
459.5 | 10.94 | 1.36 | 0.00038808
460 | 9.58 | 0 | 0
460.5 | 8.155 | 0 | 0
461 | 8.22 | 0 | 0
461.5 | 8.228 | 0 | 0
462 | 8.078 | 0 | 0
462.5 | 6.505 | 0 | 0
463 | 7.935 | 0 | 0
463.5 | 7.441 | 0 | 0
464 | 4.222 | 0 | 0
464.5 | 7.58 | 0 | 0
465 | 7.291 | 0 | 0
465.5 | 5.607 | 0 | 0
466 | 7.918 | 0 | 0
466.5 | 8.391 | 0 | 0
467 | 7.119 | 0 | 0
467.5 | 7.562 | 0 | 0
468 | 8.167 | 0 | 0
468.5 | 9.799 | 0.219 | 6.2493e-05
469 | 8.169 | 0 | 0
469.5 | 8.879 | 0 | 0
470 | 8.496 | 0 | 0
470.5 | 8.08 | 0 | 0
471 | 8.08 | 0 | 0
471.5 | 8.08 | 0 | 0
472 | 9.41 | 0 | 0
472.5 | 9.476 | 0 | 0
473 | 9.123 | 0 | 0
473.5 | 11.05 | 1.47 | 0.00041947
474 | 11.74 | 2.16 | 0.00061636
474.5 | 11.87 | 2.29 | 0.00065346
475 | 9.125 | 0 | 0
475.5 | 7.708 | 0 | 0
476 | 9.301 | 0 | 0
476.5 | 8.708 | 0 | 0
477 | 9.009 | 0 | 0
477.5 | 8.08 | 0 | 0
478 | 9.038 | 0 | 0
478.5 | 8.976 | 0 | 0
479 | 9.775 | 0.195 | 5.5644e-05
479.5 | 9.08 | 0 | 0
480 | 9.818 | 0.238 | 6.7914e-05
480.5 | 10.86 | 1.28 | 0.00036525
481 | 11.45 | 1.87 | 0.00053361
481.5 | 8.775 | 0 | 0
482 | 10.29 | 0.71 | 0.0002026
482.5 | 8.119 | 0 | 0
483 | 6.946 | 0 | 0
483.5 | 6.952 | 0 | 0
484 | 9.919 | 0.339 | 9.6735e-05
484.5 | 9.58 | 0 | 0
485 | 9.191 | 0 | 0
485.5 | 10.25 | 0.67 | 0.00019119
486 | 11.33 | 1.75 | 0.00049937
486.5 | 11.35 | 1.77 | 0.00050508
487 | 10.59 | 1.01 | 0.00028821
487.5 | 11.56 | 1.98 | 0.000565
488 | 11.14 | 1.56 | 0.00044515
488.5 | 8.47 | 0 | 0
489 | 9.502 | 0 | 0
489.5 | 9.93 | 0.35 | 9.9874e-05
490 | 10.71 | 1.13 | 0.00032245
490.5 | 7.897 | 0 | 0
491 | 9.08 | 0 | 0
491.5 | 8.58 | 0 | 0
492 | 7.416 | 0 | 0
492.5 | 9.06 | 0 | 0
493 | 8.829 | 0 | 0
493.5 | 9.559 | 0 | 0
494 | 7.58 | 0 | 0
494.5 | 9.335 | 0 | 0
495 | 9.742 | 0.162 | 4.6227e-05
495.5 | 9.08 | 0 | 0
496 | 8.189 | 0 | 0
496.5 | 9.247 | 0 | 0
497 | 9.172 | 0 | 0
497.5 | 8.932 | 0 | 0
498 | 5.58 | 0 | 0
498.5 | 6.156 | 0 | 0
499 | 6.64 | 0 | 0
499.5 | 7.575 | 0 | 0
500 | 8.051 | 0 | 0
500.5 | 9.206 | 0 | 0
501 | 8.532 | 0 | 0
501.5 | 8.451 | 0 | 0
502 | 7.822 | 0 | 0
502.5 | 10.43 | 0.85 | 0.00024255
503 | 10.85 | 1.27 | 0.0003624
503.5 | 9.824 | 0.244 | 6.9626e-05
504 | 9.866 | 0.286 | 8.1611e-05
504.5 | 9.896 | 0.316 | 9.0172e-05
505 | 7.77 | 0 | 0
505.5 | 6.895 | 0 | 0
506 | 9.08 | 0 | 0
506.5 | 8.58 | 0 | 0
507 | 8.037 | 0 | 0
507.5 | 9.564 | 0 | 0
508 | 8.58 | 0 | 0
508.5 | 9.062 | 0 | 0
509 | 8.738 | 0 | 0
509.5 | 11.86 | 2.28 | 0.00065061
510 | 9.716 | 0.136 | 3.8808e-05
510.5 | 8.013 | 0 | 0
511 | 9.908 | 0.328 | 9.3596e-05
511.5 | 7.119 | 0 | 0
512 | 8.177 | 0 | 0
512.5 | 10.75 | 1.17 | 0.00033386
513 | 9.08 | 0 | 0
513.5 | 7.242 | 0 | 0
514 | 6.08 | 0 | 0
514.5 | 7.124 | 0 | 0
515 | 11.26 | 1.68 | 0.00047939
515.5 | 11.42 | 1.84 | 0.00052505
516 | 10.87 | 1.29 | 0.00036811
516.5 | 10.83 | 1.25 | 0.00035669
517 | 10.42 | 0.84 | 0.0002397
517.5 | 8.49 | 0 | 0
518 | 6.839 | 0 | 0
518.5 | 12.04 | 2.46 | 0.00070197
519 | 11.54 | 1.96 | 0.00055929
519.5 | 10.58 | 1 | 0.00028535
520 | 10.56 | 0.98 | 0.00027965
520.5 | 10.59 | 1.01 | 0.00028821
521 | 10.59 | 1.01 | 0.00028821
521.5 | 9.645 | 0.065 | 1.8548e-05
522 | 7.113 | 0 | 0
522.5 | 11.35 | 1.77 | 0.00050508
523 | 10.13 | 0.55 | 0.00015694
523.5 | 7.645 | 0 | 0
524 | 4.766 | 0 | 0
524.5 | 5.497 | 0 | 0
525 | 5.626 | 0 | 0
525.5 | 8.581 | 0 | 0
526 | 9.187 | 0 | 0
526.5 | 7.693 | 0 | 0
527 | 6.64 | 0 | 0
527.5 | 4.891 | 0 | 0
528 | 8.819 | 0 | 0
528.5 | 9.58 | 0 | 0
529 | 10.44 | 0.86 | 0.0002454
529.5 | 7.044 | 0 | 0
530 | 5.653 | 0 | 0
530.5 | 5.756 | 0 | 0
531 | 9.055 | 0 | 0
531.5 | 9.231 | 0 | 0
532 | 8.156 | 0 | 0
532.5 | 8.601 | 0 | 0
533 | 8.732 | 0 | 0
533.5 | 7.58 | 0 | 0
534 | 7.155 | 0 | 0
534.5 | 7.904 | 0 | 0
535 | 9.288 | 0 | 0
535.5 | 9.83 | 0.25 | 7.1338e-05
536 | 7.58 | 0 | 0
536.5 | 10.03 | 0.45 | 0.00012841
537 | 11.25 | 1.67 | 0.00047654
537.5 | 10.45 | 0.87 | 0.00024826
538 | 8.879 | 0 | 0
538.5 | 10.89 | 1.31 | 0.00037381
539 | 11.03 | 1.45 | 0.00041376
539.5 | 8.179 | 0 | 0
540 | 9.852 | 0.272 | 7.7616e-05
540.5 | 10.83 | 1.25 | 0.00035669
541 | 10.47 | 0.89 | 0.00025396
541.5 | 11.08 | 1.5 | 0.00042803
542 | 9.188 | 0 | 0
542.5 | 7.037 | 0 | 0
543 | 9.516 | 0 | 0
543.5 | 8.84 | 0 | 0
544 | 8.084 | 0 | 0
544.5 | 7.833 | 0 | 0
545 | 7.599 | 0 | 0
545.5 | 10.18 | 0.6 | 0.00017121
546 | 12.46 | 2.88 | 0.00082182
546.5 | 10.92 | 1.34 | 0.00038237
547 | 10.12 | 0.54 | 0.00015409
547.5 | 10.88 | 1.3 | 0.00037096
548 | 9.58 | 0 | 0
548.5 | 9.265 | 0 | 0
549 | 8.948 | 0 | 0
549.5 | 9.749 | 0.169 | 4.8225e-05
550 | 11.45 | 1.87 | 0.00053361
550.5 | 13.43 | 3.85 | 0.0010986
551 | 10.41 | 0.83 | 0.00023684
551.5 | 8.453 | 0 | 0
552 | 6.813 | 0 | 0
552.5 | 4.897 | 0 | 0
553 | 7.325 | 0 | 0
553.5 | 13.42 | 3.84 | 0.0010958
554 | 10.54 | 0.96 | 0.00027394
554.5 | 9.58 | 0 | 0
555 | 8.673 | 0 | 0
555.5 | 7.614 | 0 | 0
556 | 8.768 | 0 | 0
556.5 | 12.53 | 2.95 | 0.00084179
557 | 7.348 | 0 | 0
557.5 | 9.52 | 0 | 0
558 | 8.364 | 0 | 0
558.5 | 6.774 | 0 | 0
559 | 8.893 | 0 | 0
559.5 | 8.158 | 0 | 0
560 | 8.237 | 0 | 0
560.5 | 8.625 | 0 | 0
561 | 8.706 | 0 | 0
561.5 | 8.503 | 0 | 0
562 | 10.39 | 0.81 | 0.00023114
562.5 | 8.732 | 0 | 0
563 | 8.08 | 0 | 0
563.5 | 11.16 | 1.58 | 0.00045086
564 | 8.2 | 0 | 0
564.5 | 8.104 | 0 | 0
565 | 9.556 | 0 | 0
565.5 | 8.86 | 0 | 0
566 | 10.83 | 1.25 | 0.00035669
566.5 | 8.58 | 0 | 0
567 | 9.554 | 0 | 0
567.5 | 8.51 | 0 | 0
568 | 8.835 | 0 | 0
568.5 | 9.58 | 0 | 0
569 | 10.58 | 1 | 0.00028535
569.5 | 9.263 | 0 | 0
570 | 7.5 | 0 | 0
570.5 | 5.673 | 0 | 0
571 | 8.599 | 0 | 0
571.5 | 10.63 | 1.05 | 0.00029962
572 | 12.77 | 3.19 | 0.00091028
572.5 | 11.79 | 2.21 | 0.00063063
573 | 12.39 | 2.81 | 0.00080184
573.5 | 12.28 | 2.7 | 0.00077046
574 | 13.02 | 3.44 | 0.00098162
574.5 | 14.42 | 4.84 | 0.0013811
575 | 12.77 | 3.19 | 0.00091028
575.5 | 12.31 | 2.73 | 0.00077902
576 | 12.04 | 2.46 | 0.00070197
576.5 | 12.1 | 2.52 | 0.00071909
577 | 10.41 | 0.83 | 0.00023684
577.5 | 14.58 | 5 | 0.0014268
578 | 15.87 | 6.29 | 0.0017949
578.5 | 12.94 | 3.36 | 0.00095879
579 | 11.3 | 1.72 | 0.00049081
579.5 | 11.83 | 2.25 | 0.00064205
580 | 14.58 | 5 | 0.0014268
580.5 | 16 | 6.42 | 0.001832
581 | 14.08 | 4.5 | 0.0012841
581.5 | 16.94 | 7.36 | 0.0021002
582 | 13.66 | 4.08 | 0.0011642
582.5 | 13.75 | 4.17 | 0.0011899
583 | 16.04 | 6.46 | 0.0018434
583.5 | 18.8 | 9.22 | 0.002631
584 | 18.04 | 8.46 | 0.0024141
584.5 | 18.58 | 9 | 0.0025682
585 | 16.65 | 7.07 | 0.0020175
585.5 | 15.08 | 5.5 | 0.0015694
586 | 13.67 | 4.09 | 0.0011671
586.5 | 15.88 | 6.3 | 0.0017977
587 | 17.79 | 8.21 | 0.0023428
587.5 | 17.42 | 7.84 | 0.0022372
588 | 17.75 | 8.17 | 0.0023313
588.5 | 17.18 | 7.6 | 0.0021687
589 | 17.08 | 7.5 | 0.0021402
589.5 | 18.06 | 8.48 | 0.0024198
590 | 18.78 | 9.2 | 0.0026253
590.5 | 18.92 | 9.34 | 0.0026652
591 | 22.42 | 12.84 | 0.0036639
591.5 | 23.82 | 14.24 | 0.0040634
592 | 22.52 | 12.94 | 0.0036925
592.5 | 20.8 | 11.22 | 0.0032017
593 | 22.61 | 13.03 | 0.0037182
593.5 | 24.29 | 14.71 | 0.0041976
594 | 25.24 | 15.66 | 0.0044686
594.5 | 25.72 | 16.14 | 0.0046056
595 | 27.83 | 18.25 | 0.0052077
595.5 | 31.33 | 21.75 | 0.0062064
596 | 32.08 | 22.5 | 0.0064205
596.5 | 34.03 | 24.45 | 0.0069769
597 | 32.08 | 22.5 | 0.0064205
597.5 | 36.52 | 26.94 | 0.0076874
598 | 36.7 | 27.12 | 0.0077388
598.5 | 37.74 | 28.16 | 0.0080356
599 | 38.17 | 28.59 | 0.0081583
599.5 | 40.29 | 30.71 | 0.0087632
600 | 45.05 | 35.47 | 0.010122
600.5 | 45.54 | 35.96 | 0.010261
601 | 47.02 | 37.44 | 0.010684
601.5 | 44.28 | 34.7 | 0.0099018
602 | 47.43 | 37.85 | 0.010801
602.5 | 52.97 | 43.39 | 0.012382
603 | 52.48 | 42.9 | 0.012242
603.5 | 54.91 | 45.33 | 0.012935
604 | 58.52 | 48.94 | 0.013965
604.5 | 61.18 | 51.6 | 0.014724
605 | 63.91 | 54.33 | 0.015503
605.5 | 65.53 | 55.95 | 0.015966
606 | 68.02 | 58.44 | 0.016676
606.5 | 71.29 | 61.71 | 0.017609
607 | 79.79 | 70.21 | 0.020035
607.5 | 80.02 | 70.44 | 0.0201
608 | 81.17 | 71.59 | 0.020428
608.5 | 82.59 | 73.01 | 0.020834
609 | 86.06 | 76.48 | 0.021824
609.5 | 90.89 | 81.31 | 0.023202
610 | 91.63 | 82.05 | 0.023413
610.5 | 96.61 | 87.03 | 0.024834
611 | 102 | 92.42 | 0.026372
611.5 | 104.2 | 94.62 | 0.027
612 | 110.1 | 100.52 | 0.028684
612.5 | 116.8 | 107.22 | 0.030596
613 | 121.4 | 111.82 | 0.031908
613.5 | 121.6 | 112.02 | 0.031965
614 | 129.6 | 120.02 | 0.034248
614.5 | 135.9 | 126.32 | 0.036046
615 | 139.9 | 130.32 | 0.037187
615.5 | 145.9 | 136.32 | 0.038899
616 | 153.4 | 143.82 | 0.04104
616.5 | 160.4 | 150.82 | 0.043037
617 | 167.8 | 158.22 | 0.045149
617.5 | 172.7 | 163.12 | 0.046547
618 | 180.9 | 171.32 | 0.048887
618.5 | 186.5 | 176.92 | 0.050485
619 | 196.3 | 186.72 | 0.053281
619.5 | 205.6 | 196.02 | 0.055935
620 | 212 | 202.42 | 0.057761
620.5 | 222.3 | 212.72 | 0.0607
621 | 236.3 | 226.72 | 0.064695
621.5 | 241.1 | 231.52 | 0.066065
622 | 253.7 | 244.12 | 0.069661
622.5 | 263.3 | 253.72 | 0.0724
623 | 275.2 | 265.62 | 0.075796
623.5 | 290.1 | 280.52 | 0.080047
624 | 296.6 | 287.02 | 0.081902
624.5 | 305.8 | 296.22 | 0.084528
625 | 321.1 | 311.52 | 0.088893
625.5 | 336.3 | 326.72 | 0.093231
626 | 346.6 | 337.02 | 0.09617
626.5 | 356 | 346.42 | 0.098852
627 | 367.6 | 358.02 | 0.10216
627.5 | 387.6 | 378.02 | 0.10787
628 | 401.2 | 391.62 | 0.11175
628.5 | 414.7 | 405.12 | 0.1156
629 | 434 | 424.42 | 0.12111
629.5 | 448.9 | 439.32 | 0.12536
630 | 466.5 | 456.92 | 0.13038
630.5 | 489.5 | 479.92 | 0.13695
631 | 509.9 | 500.32 | 0.14277
631.5 | 534.9 | 525.32 | 0.1499
632 | 551.9 | 542.32 | 0.15475
632.5 | 579 | 569.42 | 0.16249
633 | 605.5 | 595.92 | 0.17005
633.5 | 637.6 | 628.02 | 0.17921
634 | 673.7 | 664.12 | 0.18951
634.5 | 701.7 | 692.12 | 0.1975
635 | 729.2 | 719.62 | 0.20535
635.5 | 764.2 | 754.62 | 0.21533
636 | 796.3 | 786.72 | 0.22449
636.5 | 836.8 | 827.22 | 0.23605
637 | 882.2 | 872.62 | 0.24901
637.5 | 922.9 | 913.32 | 0.26062
638 | 963.7 | 954.12 | 0.27226
638.5 | 1014 | 1004.42 | 0.28662
639 | 1066 | 1056.42 | 0.30145
639.5 | 1115 | 1105.42 | 0.31544
640 | 1166 | 1156.42 | 0.32999
640.5 | 1213 | 1203.42 | 0.3434
641 | 1263 | 1253.42 | 0.35767
641.5 | 1325 | 1315.42 | 0.37536
642 | 1383 | 1373.42 | 0.39191
642.5 | 1454 | 1444.42 | 0.41217
643 | 1520 | 1510.42 | 0.431
643.5 | 1574 | 1564.42 | 0.44641
644 | 1634 | 1624.42 | 0.46353
644.5 | 1699 | 1689.42 | 0.48208
645 | 1765 | 1755.42 | 0.50092
645.5 | 1849 | 1839.42 | 0.52489
646 | 1911 | 1901.42 | 0.54258
646.5 | 1980 | 1970.42 | 0.56227
647 | 2040 | 2030.42 | 0.57939
647.5 | 2108 | 2098.42 | 0.59879
648 | 2186 | 2176.42 | 0.62105
648.5 | 2259 | 2249.42 | 0.64188
649 | 2335 | 2325.42 | 0.66357
649.5 | 2416 | 2406.42 | 0.68668
650 | 2512 | 2502.42 | 0.71408
650.5 | 2594 | 2584.42 | 0.73747
651 | 2657 | 2647.42 | 0.75545
651.5 | 2724 | 2714.42 | 0.77457
652 | 2809 | 2799.42 | 0.79883
652.5 | 2870 | 2860.42 | 0.81623
653 | 2936 | 2926.42 | 0.83507
653.5 | 3027 | 3017.42 | 0.86103
654 | 3072 | 3062.42 | 0.87387
654.5 | 3119 | 3109.42 | 0.88729
655 | 3169 | 3159.42 | 0.90155
655.5 | 3208 | 3198.42 | 0.91268
656 | 3258 | 3248.42 | 0.92695
656.5 | 3337 | 3327.42 | 0.94949
657 | 3390 | 3380.42 | 0.96462
657.5 | 3438 | 3428.42 | 0.97831
658 | 3487 | 3477.42 | 0.9923
658.5 | 3514 | 3504.42 | 1
659 | 3513 | 3503.42 | 0.99971
659.5 | 3509 | 3499.42 | 0.99857
660 | 3477 | 3467.42 | 0.98944
660.5 | 3423 | 3413.42 | 0.97403
661 | 3403 | 3393.42 | 0.96833
661.5 | 3323 | 3313.42 | 0.9455
662 | 3221 | 3211.42 | 0.91639
662.5 | 3139 | 3129.42 | 0.89299
663 | 3011 | 3001.42 | 0.85647
663.5 | 2855 | 2845.42 | 0.81195
664 | 2732 | 2722.42 | 0.77685
664.5 | 2568 | 2558.42 | 0.73006
665 | 2405 | 2395.42 | 0.68354
665.5 | 2253 | 2243.42 | 0.64017
666 | 2108 | 2098.42 | 0.59879
666.5 | 1936 | 1926.42 | 0.54971
667 | 1808 | 1798.42 | 0.51319
667.5 | 1672 | 1662.42 | 0.47438
668 | 1518 | 1508.42 | 0.43043
668.5 | 1400 | 1390.42 | 0.39676
669 | 1274 | 1264.42 | 0.36081
669.5 | 1155 | 1145.42 | 0.32685
670 | 1051 | 1041.42 | 0.29717
670.5 | 957.5 | 947.92 | 0.27049
671 | 868.8 | 859.22 | 0.24518
671.5 | 799 | 789.42 | 0.22526
672 | 724.3 | 714.72 | 0.20395
672.5 | 653.1 | 643.52 | 0.18363
673 | 596 | 586.42 | 0.16734
673.5 | 548.5 | 538.92 | 0.15378
674 | 499 | 489.42 | 0.13966
674.5 | 458.9 | 449.32 | 0.12822
675 | 418.7 | 409.12 | 0.11674
675.5 | 381.5 | 371.92 | 0.10613
676 | 355 | 345.42 | 0.098567
676.5 | 324.4 | 314.82 | 0.089835
677 | 298.2 | 288.62 | 0.082359
677.5 | 273.1 | 263.52 | 0.075196
678 | 252.8 | 243.22 | 0.069404
678.5 | 231.4 | 221.82 | 0.063297
679 | 214.2 | 204.62 | 0.058389
679.5 | 196.1 | 186.52 | 0.053224
680 | 183 | 173.42 | 0.049486
680.5 | 167.2 | 157.62 | 0.044977
681 | 155.7 | 146.12 | 0.041696
681.5 | 143.9 | 134.32 | 0.038329
682 | 133.5 | 123.92 | 0.035361
682.5 | 126.5 | 116.92 | 0.033364
683 | 116.5 | 106.92 | 0.03051
683.5 | 109.5 | 99.92 | 0.028513
684 | 102.6 | 93.02 | 0.026544
684.5 | 97.12 | 87.54 | 0.02498
685 | 89.95 | 80.37 | 0.022934
685.5 | 84.43 | 74.85 | 0.021359
686 | 75.44 | 65.86 | 0.018793
686.5 | 70.82 | 61.24 | 0.017475
687 | 67.65 | 58.07 | 0.016571
687.5 | 65.62 | 56.04 | 0.015991
688 | 59.6 | 50.02 | 0.014273
688.5 | 56.11 | 46.53 | 0.013278
689 | 52.05 | 42.47 | 0.012119
689.5 | 50.71 | 41.13 | 0.011737
690 | 49.3 | 39.72 | 0.011334
690.5 | 45.66 | 36.08 | 0.010296
691 | 46.08 | 36.5 | 0.010415
691.5 | 42.15 | 32.57 | 0.009294
692 | 42.58 | 33 | 0.0094167
692.5 | 40.09 | 30.51 | 0.0087061
693 | 37.23 | 27.65 | 0.00789
693.5 | 34.87 | 25.29 | 0.0072166
694 | 32.95 | 23.37 | 0.0066687
694.5 | 31.66 | 22.08 | 0.0063006
695 | 30.92 | 21.34 | 0.0060895
695.5 | 29.28 | 19.7 | 0.0056215
696 | 31.08 | 21.5 | 0.0061351
696.5 | 28.08 | 18.5 | 0.005279
697 | 28.51 | 18.93 | 0.0054017
697.5 | 27.66 | 18.08 | 0.0051592
698 | 28.08 | 18.5 | 0.005279
698.5 | 25.39 | 15.81 | 0.0045114
699 | 23.74 | 14.16 | 0.0040406
699.5 | 25.08 | 15.5 | 0.004423
700 | 23.94 | 14.36 | 0.0040977
700.5 | 19.85 | 10.27 | 0.0029306
701 | 18.19 | 8.61 | 0.0024569
701.5 | 17.64 | 8.06 | 0.0023
702 | 19.08 | 9.5 | 0.0027109
702.5 | 17.69 | 8.11 | 0.0023142
703 | 19.09 | 9.51 | 0.0027137
703.5 | 18.13 | 8.55 | 0.0024398
704 | 17.08 | 7.5 | 0.0021402
704.5 | 16.24 | 6.66 | 0.0019005
705 | 17.45 | 7.87 | 0.0022457
705.5 | 14.58 | 5 | 0.0014268
706 | 12.34 | 2.76 | 0.00078758
706.5 | 14.2 | 4.62 | 0.0013183
707 | 16.54 | 6.96 | 0.0019861
707.5 | 15.43 | 5.85 | 0.0016693
708 | 13.85 | 4.27 | 0.0012185
708.5 | 11.56 | 1.98 | 0.000565
709 | 13.11 | 3.53 | 0.0010073
709.5 | 10.58 | 1 | 0.00028535
710 | 11.88 | 2.3 | 0.00065631
710.5 | 11.35 | 1.77 | 0.00050508
711 | 12.76 | 3.18 | 0.00090743
711.5 | 13.12 | 3.54 | 0.0010102
712 | 13.08 | 3.5 | 0.00099874
712.5 | 14.02 | 4.44 | 0.001267
713 | 13.15 | 3.57 | 0.0010187
713.5 | 11.66 | 2.08 | 0.00059354
714 | 9.035 | 0 | 0
714.5 | 9.747 | 0.167 | 4.7654e-05
715 | 9.359 | 0 | 0
715.5 | 10.66 | 1.08 | 0.00030818
716 | 11.9 | 2.32 | 0.00066202
716.5 | 14.08 | 4.5 | 0.0012841
717 | 11.49 | 1.91 | 0.00054503
717.5 | 10.27 | 0.69 | 0.00019689
718 | 10.65 | 1.07 | 0.00030533
718.5 | 7.771 | 0 | 0
719 | 8.638 | 0 | 0
719.5 | 11.14 | 1.56 | 0.00044515
720 | 12.67 | 3.09 | 0.00088174
720.5 | 11.35 | 1.77 | 0.00050508
721 | 7.792 | 0 | 0
721.5 | 7.405 | 0 | 0
722 | 10.3 | 0.72 | 0.00020545
722.5 | 10.88 | 1.3 | 0.00037096
723 | 12.08 | 2.5 | 0.00071338
723.5 | 8.13 | 0 | 0
724 | 7.57 | 0 | 0
724.5 | 9.325 | 0 | 0
725 | 11.06 | 1.48 | 0.00042232
725.5 | 10.87 | 1.29 | 0.00036811
726 | 7.744 | 0 | 0
726.5 | 7.406 | 0 | 0
727 | 10.08 | 0.5 | 0.00014268
727.5 | 11.81 | 2.23 | 0.00063634
728 | 8.663 | 0 | 0
728.5 | 6.668 | 0 | 0
729 | 11.21 | 1.63 | 0.00046513
729.5 | 9.58 | 0 | 0
730 | 9.61 | 0.03 | 8.5606e-06
730.5 | 8.546 | 0 | 0
731 | 7.936 | 0 | 0
731.5 | 7.247 | 0 | 0
732 | 9.58 | 0 | 0
732.5 | 7.893 | 0 | 0
733 | 8.283 | 0 | 0
733.5 | 8.298 | 0 | 0
734 | 7.08 | 0 | 0
734.5 | 9.703 | 0.123 | 3.5099e-05
735 | 9.541 | 0 | 0
735.5 | 8.918 | 0 | 0
736 | 7.58 | 0 | 0
736.5 | 9.824 | 0.244 | 6.9626e-05
737 | 8.394 | 0 | 0
737.5 | 8.767 | 0 | 0
738 | 8.977 | 0 | 0
738.5 | 9.968 | 0.388 | 0.00011072
739 | 9.351 | 0 | 0
739.5 | 9.08 | 0 | 0
740 | 9.448 | 0 | 0
740.5 | 10.51 | 0.93 | 0.00026538
741 | 7.129 | 0 | 0
741.5 | 8.67 | 0 | 0
742 | 10.08 | 0.5 | 0.00014268
742.5 | 8.997 | 0 | 0
743 | 6.62 | 0 | 0
743.5 | 7.588 | 0 | 0
744 | 9.306 | 0 | 0
744.5 | 9.151 | 0 | 0
745 | 9.446 | 0 | 0
745.5 | 5.08 | 0 | 0
746 | 7.596 | 0 | 0
746.5 | 9.336 | 0 | 0
747 | 8.114 | 0 | 0
747.5 | 7.71 | 0 | 0
748 | 7.319 | 0 | 0
748.5 | 8.509 | 0 | 0
749 | 7.58 | 0 | 0
749.5 | 6.426 | 0 | 0
750 | 10.08 | 0.5 | 0.00014268
750.5 | 7.963 | 0 | 0
751 | 8.248 | 0 | 0
751.5 | 11.63 | 2.05 | 0.00058498
752 | 9.697 | 0.117 | 3.3386e-05
752.5 | 8.746 | 0 | 0
753 | 10.18 | 0.6 | 0.00017121
753.5 | 10.03 | 0.45 | 0.00012841
754 | 8.039 | 0 | 0
754.5 | 8.374 | 0 | 0
755 | 8.422 | 0 | 0
755.5 | 11.06 | 1.48 | 0.00042232
756 | 7.58 | 0 | 0
756.5 | 8.687 | 0 | 0
757 | 7.563 | 0 | 0
757.5 | 7.675 | 0 | 0
758 | 8.941 | 0 | 0
758.5 | 7.314 | 0 | 0
759 | 6.176 | 0 | 0
759.5 | 6.838 | 0 | 0
760 | 7.138 | 0 | 0
760.5 | 7.272 | 0 | 0
761 | 7.509 | 0 | 0
761.5 | 7.812 | 0 | 0
762 | 6.48 | 0 | 0
762.5 | 7.806 | 0 | 0
763 | 8.03 | 0 | 0
763.5 | 7.045 | 0 | 0
764 | 9.061 | 0 | 0
764.5 | 6.332 | 0 | 0
765 | 7.417 | 0 | 0
765.5 | 6.67 | 0 | 0
766 | 5.141 | 0 | 0
766.5 | 6.71 | 0 | 0
767 | 8.08 | 0 | 0
767.5 | 8.206 | 0 | 0
768 | 10.08 | 0.5 | 0.00014268
768.5 | 9.58 | 0 | 0
769 | 8.525 | 0 | 0
769.5 | 4.714 | 0 | 0
770 | 7.301 | 0 | 0
770.5 | 4.912 | 0 | 0
771 | 7.102 | 0 | 0
771.5 | 10.89 | 1.31 | 0.00037381
772 | 9.813 | 0.233 | 6.6487e-05
772.5 | 10.08 | 0.5 | 0.00014268
773 | 9.131 | 0 | 0
773.5 | 8.984 | 0 | 0
774 | 8.741 | 0 | 0
774.5 | 7.876 | 0 | 0
775 | 8.777 | 0 | 0
775.5 | 8.066 | 0 | 0
776 | 7.337 | 0 | 0
776.5 | 7.061 | 0 | 0
777 | 6.153 | 0 | 0
777.5 | 8.524 | 0 | 0
778 | 6.989 | 0 | 0
778.5 | 6.85 | 0 | 0
779 | 7.248 | 0 | 0
779.5 | 5.988 | 0 | 0
780 | 8.964 | 0 | 0
780.5 | 9.007 | 0 | 0
781 | 4.687 | 0 | 0
781.5 | 6.08 | 0 | 0
782 | 8.32 | 0 | 0
782.5 | 7.434 | 0 | 0
783 | 4.742 | 0 | 0
783.5 | 7.971 | 0 | 0
784 | 7.63 | 0 | 0
784.5 | 7.097 | 0 | 0
785 | 8.447 | 0 | 0
785.5 | 7.956 | 0 | 0
786 | 8.168 | 0 | 0
786.5 | 6.958 | 0 | 0
787 | 5.961 | 0 | 0
787.5 | 6.476 | 0 | 0
788 | 6.888 | 0 | 0
788.5 | 6.247 | 0 | 0
789 | 6.616 | 0 | 0
789.5 | 5.645 | 0 | 0
790 | 9.844 | 0.264 | 7.5333e-05
790.5 | 7.59 | 0 | 0
791 | 9.028 | 0 | 0
791.5 | 7.671 | 0 | 0
792 | 7.787 | 0 | 0
792.5 | 10.69 | 1.11 | 0.00031674
793 | 7.58 | 0 | 0
793.5 | 7.695 | 0 | 0
794 | 10.06 | 0.48 | 0.00013697
794.5 | 10.88 | 1.3 | 0.00037096
795 | 9.152 | 0 | 0
795.5 | 8.207 | 0 | 0
796 | 6.873 | 0 | 0
796.5 | 7.818 | 0 | 0
797 | 6.688 | 0 | 0
797.5 | 6.213 | 0 | 0
798 | 6.809 | 0 | 0
798.5 | 7.365 | 0 | 0
799 | 6.195 | 0 | 0
799.5 | 7.593 | 0 | 0
800 | 9.415 | 0 | 0
800.5 | 9.984 | 0.404 | 0.00011528
801 | 9.352 | 0 | 0
801.5 | 6.608 | 0 | 0
802 | 7.365 | 0 | 0
802.5 | 8.334 | 0 | 0
803 | 9.08 | 0 | 0
803.5 | 7.08 | 0 | 0
804 | 8.08 | 0 | 0
804.5 | 10.37 | 0.79 | 0.00022543
805 | 9.141 | 0 | 0
805.5 | 7.158 | 0 | 0
806 | 8.088 | 0 | 0
806.5 | 8.037 | 0 | 0
807 | 7.612 | 0 | 0
807.5 | 6.798 | 0 | 0
808 | 5.362 | 0 | 0
808.5 | 6.024 | 0 | 0
809 | 6.856 | 0 | 0
809.5 | 6.253 | 0 | 0
810 | 4.138 | 0 | 0
810.5 | 5.286 | 0 | 0
811 | 5.144 | 0 | 0
811.5 | 7.729 | 0 | 0
812 | 7.552 | 0 | 0
812.5 | 10.49 | 0.91 | 0.00025967
813 | 9.944 | 0.364 | 0.00010387
813.5 | 8.58 | 0 | 0
814 | 10.53 | 0.95 | 0.00027109
814.5 | 10.06 | 0.48 | 0.00013697
815 | 10.49 | 0.91 | 0.00025967
815.5 | 9.635 | 0.055 | 1.5694e-05
816 | 8.08 | 0 | 0
816.5 | 6.68 | 0 | 0
817 | 7.215 | 0 | 0
817.5 | 5.723 | 0 | 0
818 | 6.254 | 0 | 0
818.5 | 10.35 | 0.77 | 0.00021972
819 | 9.791 | 0.211 | 6.021e-05
819.5 | 8.8 | 0 | 0
820 | 8.58 | 0 | 0
820.5 | 7.057 | 0 | 0
821 | 10.35 | 0.77 | 0.00021972
821.5 | 7.101 | 0 | 0
822 | 3.951 | 0 | 0
822.5 | 6.942 | 0 | 0
823 | 9.747 | 0.167 | 4.7654e-05
823.5 | 9.733 | 0.153 | 4.3659e-05
824 | 9.38 | 0 | 0
824.5 | 8.197 | 0 | 0
825 | 9.233 | 0 | 0
825.5 | 9.893 | 0.313 | 8.9316e-05
826 | 10.49 | 0.91 | 0.00025967
826.5 | 9.996 | 0.416 | 0.00011871
827 | 9.005 | 0 | 0
827.5 | 6.278 | 0 | 0
828 | 6.312 | 0 | 0
828.5 | 10.03 | 0.45 | 0.00012841
829 | 8.536 | 0 | 0
829.5 | 8.005 | 0 | 0
830 | 9.451 | 0 | 0
830.5 | 8.689 | 0 | 0
831 | 10.08 | 0.5 | 0.00014268
831.5 | 8.502 | 0 | 0
832 | 4.596 | 0 | 0
832.5 | 4.552 | 0 | 0
833 | 6.592 | 0 | 0
833.5 | 7.58 | 0 | 0
834 | 9.069 | 0 | 0
834.5 | 9.057 | 0 | 0
835 | 9.092 | 0 | 0
835.5 | 8.566 | 0 | 0
836 | 8.08 | 0 | 0
836.5 | 8.524 | 0 | 0
837 | 7.102 | 0 | 0
837.5 | 7.949 | 0 | 0
838 | 7.111 | 0 | 0
838.5 | 8.543 | 0 | 0
839 | 7.165 | 0 | 0
839.5 | 9.481 | 0 | 0
840 | 9.353 | 0 | 0
840.5 | 9.645 | 0.065 | 1.8548e-05
841 | 8.565 | 0 | 0
841.5 | 7.414 | 0 | 0
842 | 9.452 | 0 | 0
842.5 | 9.165 | 0 | 0
843 | 9.004 | 0 | 0
843.5 | 7.962 | 0 | 0
844 | 9.02 | 0 | 0
844.5 | 7.927 | 0 | 0
845 | 9.413 | 0 | 0
845.5 | 6.08 | 0 | 0
846 | 7.661 | 0 | 0
846.5 | 10.51 | 0.93 | 0.00026538
847 | 8.197 | 0 | 0
847.5 | 7.576 | 0 | 0
848 | 9.814 | 0.234 | 6.6773e-05
848.5 | 10.15 | 0.57 | 0.00016265
849 | 11.8 | 2.22 | 0.00063349
849.5 | 10.26 | 0.68 | 0.00019404
850 | 7.925 | 0 | 0
850.5 | 11.35 | 1.77 | 0.00050508
851 | 8.58 | 0 | 0
851.5 | 8.168 | 0 | 0
852 | 9.773 | 0.193 | 5.5073e-05
852.5 | 6.4 | 0 | 0
853 | 8.52 | 0 | 0
853.5 | 4.601 | 0 | 0
854 | 7.803 | 0 | 0
854.5 | 11.63 | 2.05 | 0.00058498
855 | 5.856 | 0 | 0
855.5 | 7.857 | 0 | 0
856 | 6.131 | 0 | 0
856.5 | 4.439 | 0 | 0
857 | 6.5 | 0 | 0
857.5 | 7.356 | 0 | 0
858 | 7.353 | 0 | 0
858.5 | 10.39 | 0.81 | 0.00023114
859 | 11.56 | 1.98 | 0.000565
859.5 | 7.585 | 0 | 0
860 | 6.397 | 0 | 0
860.5 | 8.191 | 0 | 0
861 | 9.58 | 0 | 0
861.5 | 8.51 | 0 | 0
862 | 6.691 | 0 | 0
862.5 | 9.424 | 0 | 0
863 | 10.48 | 0.9 | 0.00025682
863.5 | 10.39 | 0.81 | 0.00023114
864 | 11.01 | 1.43 | 0.00040806
864.5 | 8.315 | 0 | 0
865 | 8.065 | 0 | 0
865.5 | 9.561 | 0 | 0
866 | 8.813 | 0 | 0
866.5 | 7.508 | 0 | 0
867 | 10.05 | 0.47 | 0.00013412
867.5 | 10.04 | 0.46 | 0.00013126
868 | 6.839 | 0 | 0
868.5 | 10.36 | 0.78 | 0.00022258
869 | 8.72 | 0 | 0
869.5 | 8.871 | 0 | 0
870 | 6.58 | 0 | 0
870.5 | 10.08 | 0.5 | 0.00014268
871 | 9.658 | 0.078 | 2.2258e-05
871.5 | 8.58 | 0 | 0
872 | 9.288 | 0 | 0
872.5 | 11.01 | 1.43 | 0.00040806
873 | 8.651 | 0 | 0
873.5 | 9.705 | 0.125 | 3.5669e-05
874 | 8.899 | 0 | 0
874.5 | 9.868 | 0.288 | 8.2182e-05
875 | 9.403 | 0 | 0
875.5 | 8.616 | 0 | 0
876 | 6.617 | 0 | 0
876.5 | 4.701 | 0 | 0
877 | 5.64 | 0 | 0
877.5 | 6.761 | 0 | 0
878 | 7.167 | 0 | 0
878.5 | 6.08 | 0 | 0
879 | 7.135 | 0 | 0
879.5 | 5.189 | 0 | 0
880 | 7.424 | 0 | 0
880.5 | 8.08 | 0 | 0
881 | 8.428 | 0 | 0
881.5 | 7.08 | 0 | 0
882 | 7.753 | 0 | 0
882.5 | 9.529 | 0 | 0
883 | 8.647 | 0 | 0
883.5 | 7.818 | 0 | 0
884 | 8.128 | 0 | 0
884.5 | 8.39 | 0 | 0
885 | 7.273 | 0 | 0
885.5 | 8.24 | 0 | 0
886 | 8.812 | 0 | 0
886.5 | 7.218 | 0 | 0