## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 2.7805 | 0 | 0
246.5 | 1.0739 | 0 | 0
247 | 3.7887 | 0.7821 | 0.00052518
247.5 | 4.4245 | 1.4179 | 0.00095213
248 | 6.1844 | 3.1778 | 0.0021339
248.5 | 6.6771 | 3.6705 | 0.0024648
249 | 3.0066 | 0 | 0
249.5 | 3.5922 | 0.5856 | 0.00039323
250 | 3.2511 | 0.2445 | 0.00016418
250.5 | 2.2495 | 0 | 0
251 | 1.0691 | 0 | 0
251.5 | 3.5978 | 0.5912 | 0.00039699
252 | 5.1113 | 2.1047 | 0.0014133
252.5 | 4.8939 | 1.8873 | 0.0012673
253 | 5.4951 | 2.4885 | 0.001671
253.5 | 6.4059 | 3.3993 | 0.0022826
254 | 7.3791 | 4.3725 | 0.0029362
254.5 | 6.745 | 3.7384 | 0.0025104
255 | 8.1576 | 5.151 | 0.0034589
255.5 | 7.9879 | 4.9813 | 0.003345
256 | 6.9553 | 3.9487 | 0.0026516
256.5 | 5.7055 | 2.6989 | 0.0018123
257 | 6.3212 | 3.3146 | 0.0022258
257.5 | 6.8493 | 3.8427 | 0.0025804
258 | 6.9797 | 3.9731 | 0.002668
258.5 | 6.8571 | 3.8505 | 0.0025856
259 | 6.3215 | 3.3149 | 0.002226
259.5 | 6.1043 | 3.0977 | 0.0020801
260 | 6.0861 | 3.0795 | 0.0020679
260.5 | 6.1437 | 3.1371 | 0.0021066
261 | 6.0932 | 3.0866 | 0.0020727
261.5 | 5.8618 | 2.8552 | 0.0019173
262 | 5.4511 | 2.4445 | 0.0016415
262.5 | 5.4109 | 2.4043 | 0.0016145
263 | 5.2374 | 2.2308 | 0.001498
263.5 | 4.9029 | 1.8963 | 0.0012734
264 | 4.347 | 1.3404 | 0.00090008
264.5 | 4.3405 | 1.3339 | 0.00089572
265 | 4.5533 | 1.5467 | 0.0010386
265.5 | 4.7711 | 1.7645 | 0.0011849
266 | 5.0074 | 2.0008 | 0.0013435
266.5 | 4.9886 | 1.982 | 0.0013309
267 | 4.8558 | 1.8492 | 0.0012417
267.5 | 4.7912 | 1.7846 | 0.0011984
268 | 4.6006 | 1.594 | 0.0010704
268.5 | 4.5439 | 1.5373 | 0.0010323
269 | 4.7109 | 1.7043 | 0.0011444
269.5 | 4.7293 | 1.7227 | 0.0011568
270 | 4.6473 | 1.6407 | 0.0011017
270.5 | 4.82 | 1.8134 | 0.0012177
271 | 4.6571 | 1.6505 | 0.0011083
271.5 | 4.3742 | 1.3676 | 0.00091835
272 | 4.2087 | 1.2021 | 0.00080722
272.5 | 4.0758 | 1.0692 | 0.00071797
273 | 3.961 | 0.9544 | 0.00064088
273.5 | 4.0144 | 1.0078 | 0.00067674
274 | 3.7961 | 0.7895 | 0.00053015
274.5 | 3.7202 | 0.7136 | 0.00047919
275 | 3.8406 | 0.834 | 0.00056003
275.5 | 3.6016 | 0.595 | 0.00039955
276 | 3.4681 | 0.4615 | 0.0003099
276.5 | 3.5962 | 0.5896 | 0.00039592
277 | 3.7588 | 0.7522 | 0.00050511
277.5 | 4.0222 | 1.0156 | 0.00068198
278 | 4.1283 | 1.1217 | 0.00075323
278.5 | 4.1853 | 1.1787 | 0.0007915
279 | 4.2932 | 1.2866 | 0.00086396
279.5 | 4.4046 | 1.398 | 0.00093876
280 | 4.3993 | 1.3927 | 0.0009352
280.5 | 4.5374 | 1.5308 | 0.0010279
281 | 4.6558 | 1.6492 | 0.0011074
281.5 | 4.4132 | 1.4066 | 0.00094454
282 | 4.3365 | 1.3299 | 0.00089303
282.5 | 4.3416 | 1.335 | 0.00089646
283 | 4.2229 | 1.2163 | 0.00081675
283.5 | 4.14 | 1.1334 | 0.00076108
284 | 4.214 | 1.2074 | 0.00081077
284.5 | 4.4426 | 1.436 | 0.00096428
285 | 4.5601 | 1.5535 | 0.0010432
285.5 | 4.6605 | 1.6539 | 0.0011106
286 | 4.7913 | 1.7847 | 0.0011984
286.5 | 4.926 | 1.9194 | 0.0012889
287 | 5.0533 | 2.0467 | 0.0013744
287.5 | 5.3355 | 2.3289 | 0.0015639
288 | 5.9918 | 2.9852 | 0.0020046
288.5 | 6.52 | 3.5134 | 0.0023593
289 | 6.7538 | 3.7472 | 0.0025163
289.5 | 6.7839 | 3.7773 | 0.0025365
290 | 6.6789 | 3.6723 | 0.002466
290.5 | 6.4402 | 3.4336 | 0.0023057
291 | 6.2112 | 3.2046 | 0.0021519
291.5 | 6.1766 | 3.17 | 0.0021287
292 | 6.0035 | 2.9969 | 0.0020124
292.5 | 5.8254 | 2.8188 | 0.0018928
293 | 5.5832 | 2.5766 | 0.0017302
293.5 | 5.5556 | 2.549 | 0.0017117
294 | 5.4419 | 2.4353 | 0.0016353
294.5 | 5.0471 | 2.0405 | 0.0013702
295 | 4.8525 | 1.8459 | 0.0012395
295.5 | 4.6913 | 1.6847 | 0.0011313
296 | 4.5501 | 1.5435 | 0.0010365
296.5 | 4.639 | 1.6324 | 0.0010962
297 | 4.7933 | 1.7867 | 0.0011998
297.5 | 5.0149 | 2.0083 | 0.0013486
298 | 5.0953 | 2.0887 | 0.0014026
298.5 | 5.1041 | 2.0975 | 0.0014085
299 | 5.1145 | 2.1079 | 0.0014155
299.5 | 5.2406 | 2.234 | 0.0015001
300 | 5.2445 | 2.2379 | 0.0015028
300.5 | 5.3338 | 2.3272 | 0.0015627
301 | 5.5746 | 2.568 | 0.0017244
301.5 | 5.9258 | 2.9192 | 0.0019603
302 | 6.1297 | 3.1231 | 0.0020972
302.5 | 6.1711 | 3.1645 | 0.002125
303 | 5.9937 | 2.9871 | 0.0020059
303.5 | 5.505 | 2.4984 | 0.0016777
304 | 5.0848 | 2.0782 | 0.0013955
304.5 | 4.8431 | 1.8365 | 0.0012332
305 | 4.9911 | 1.9845 | 0.0013326
305.5 | 5.0377 | 2.0311 | 0.0013639
306 | 4.9538 | 1.9472 | 0.0013076
306.5 | 4.9006 | 1.894 | 0.0012718
307 | 4.7745 | 1.7679 | 0.0011872
307.5 | 4.5036 | 1.497 | 0.0010052
308 | 4.0347 | 1.0281 | 0.00069037
308.5 | 3.8951 | 0.8885 | 0.00059663
309 | 3.877 | 0.8704 | 0.00058448
309.5 | 4.2238 | 1.2172 | 0.00081736
310 | 4.823 | 1.8164 | 0.0012197
310.5 | 5.2572 | 2.2506 | 0.0015113
311 | 5.5545 | 2.5479 | 0.0017109
311.5 | 5.4706 | 2.464 | 0.0016546
312 | 5.2076 | 2.201 | 0.001478
312.5 | 5.2194 | 2.2128 | 0.0014859
313 | 5.0726 | 2.066 | 0.0013873
313.5 | 4.766 | 1.7594 | 0.0011814
314 | 4.5593 | 1.5527 | 0.0010426
314.5 | 4.5159 | 1.5093 | 0.0010135
315 | 4.2942 | 1.2876 | 0.00086463
315.5 | 4.1587 | 1.1521 | 0.00077364
316 | 4.0997 | 1.0931 | 0.00073402
316.5 | 4.0788 | 1.0722 | 0.00071999
317 | 4.0106 | 1.004 | 0.00067419
317.5 | 3.8125 | 0.8059 | 0.00054117
318 | 3.5642 | 0.5576 | 0.00037443
318.5 | 3.5081 | 0.5015 | 0.00033676
319 | 3.386 | 0.3794 | 0.00025477
319.5 | 3.4321 | 0.4255 | 0.00028573
320 | 3.5337 | 0.5271 | 0.00035395
320.5 | 3.4393 | 0.4327 | 0.00029056
321 | 3.3006 | 0.294 | 0.00019742
321.5 | 3.2978 | 0.2912 | 0.00019554
322 | 3.3919 | 0.3853 | 0.00025873
322.5 | 3.3556 | 0.349 | 0.00023436
323 | 3.3838 | 0.3772 | 0.00025329
323.5 | 3.4762 | 0.4696 | 0.00031534
324 | 3.7467 | 0.7401 | 0.00049698
324.5 | 4.1544 | 1.1478 | 0.00077075
325 | 4.5074 | 1.5008 | 0.0010078
325.5 | 4.823 | 1.8164 | 0.0012197
326 | 5.1825 | 2.1759 | 0.0014611
326.5 | 5.6093 | 2.6027 | 0.0017477
327 | 6.2418 | 3.2352 | 0.0021725
327.5 | 6.4796 | 3.473 | 0.0023321
328 | 6.4916 | 3.485 | 0.0023402
328.5 | 6.4857 | 3.4791 | 0.0023362
329 | 6.5791 | 3.5725 | 0.0023989
329.5 | 6.4448 | 3.4382 | 0.0023088
330 | 6.3313 | 3.3247 | 0.0022326
330.5 | 6.0491 | 3.0425 | 0.0020431
331 | 5.9124 | 2.9058 | 0.0019513
331.5 | 5.9066 | 2.9 | 0.0019474
332 | 5.8982 | 2.8916 | 0.0019417
332.5 | 5.7605 | 2.7539 | 0.0018493
333 | 5.5706 | 2.564 | 0.0017217
333.5 | 5.4148 | 2.4082 | 0.0016171
334 | 5.2295 | 2.2229 | 0.0014927
334.5 | 5.2476 | 2.241 | 0.0015048
335 | 5.0833 | 2.0767 | 0.0013945
335.5 | 4.8257 | 1.8191 | 0.0012215
336 | 4.7281 | 1.7215 | 0.001156
336.5 | 4.6702 | 1.6636 | 0.0011171
337 | 4.6445 | 1.6379 | 0.0010999
337.5 | 4.3968 | 1.3902 | 0.00093353
338 | 4.0516 | 1.045 | 0.00070172
338.5 | 3.6154 | 0.6088 | 0.00040881
339 | 3.3708 | 0.3642 | 0.00024456
339.5 | 3.2018 | 0.1952 | 0.00013108
340 | 3.0613 | 0.0547 | 3.6731e-05
340.5 | 3.0756 | 0.069 | 4.6334e-05
341 | 3.0497 | 0.0431 | 2.8942e-05
341.5 | 3.2127 | 0.2061 | 0.0001384
342 | 3.1758 | 0.1692 | 0.00011362
342.5 | 2.9447 | 0 | 0
343 | 2.6684 | 0 | 0
343.5 | 2.5969 | 0 | 0
344 | 2.5825 | 0 | 0
344.5 | 2.4919 | 0 | 0
345 | 2.5783 | 0 | 0
345.5 | 2.7726 | 0 | 0
346 | 2.703 | 0 | 0
346.5 | 2.5934 | 0 | 0
347 | 2.2789 | 0 | 0
347.5 | 2.0237 | 0 | 0
348 | 1.9213 | 0 | 0
348.5 | 1.8192 | 0 | 0
349 | 1.7265 | 0 | 0
349.5 | 1.7467 | 0 | 0
350 | 1.7401 | 0 | 0
350.5 | 2.0124 | 0 | 0
351 | 2.3726 | 0 | 0
351.5 | 2.3579 | 0 | 0
352 | 2.1499 | 0 | 0
352.5 | 2.116 | 0 | 0
353 | 2.0111 | 0 | 0
353.5 | 2.224 | 0 | 0
354 | 2.298 | 0 | 0
354.5 | 2.3503 | 0 | 0
355 | 2.7487 | 0 | 0
355.5 | 3.0358 | 0.0292 | 1.9608e-05
356 | 3.2693 | 0.2627 | 0.0001764
356.5 | 3.4275 | 0.4209 | 0.00028264
357 | 3.2956 | 0.289 | 0.00019406
357.5 | 3.1249 | 0.1183 | 7.9439e-05
358 | 3.275 | 0.2684 | 0.00018023
358.5 | 3.4935 | 0.4869 | 0.00032696
359 | 3.9323 | 0.9257 | 0.00062161
359.5 | 4.5269 | 1.5203 | 0.0010209
360 | 4.7266 | 1.72 | 0.001155
360.5 | 4.6912 | 1.6846 | 0.0011312
361 | 4.7204 | 1.7138 | 0.0011508
361.5 | 5.0241 | 2.0175 | 0.0013548
362 | 5.3938 | 2.3872 | 0.001603
362.5 | 5.5978 | 2.5912 | 0.00174
363 | 5.7046 | 2.698 | 0.0018117
363.5 | 5.6546 | 2.648 | 0.0017781
364 | 5.8223 | 2.8157 | 0.0018908
364.5 | 5.9063 | 2.8997 | 0.0019472
365 | 5.5934 | 2.5868 | 0.001737
365.5 | 5.067 | 2.0604 | 0.0013836
366 | 4.6811 | 1.6745 | 0.0011244
366.5 | 4.667 | 1.6604 | 0.001115
367 | 4.8491 | 1.8425 | 0.0012372
367.5 | 4.8607 | 1.8541 | 0.001245
368 | 4.7754 | 1.7688 | 0.0011878
368.5 | 4.9069 | 1.9003 | 0.0012761
369 | 5.0007 | 1.9941 | 0.001339
369.5 | 5.2058 | 2.1992 | 0.0014768
370 | 5.4026 | 2.396 | 0.0016089
370.5 | 5.4001 | 2.3935 | 0.0016072
371 | 5.5572 | 2.5506 | 0.0017127
371.5 | 6.0141 | 3.0075 | 0.0020195
372 | 6.2718 | 3.2652 | 0.0021926
372.5 | 6.3994 | 3.3928 | 0.0022783
373 | 6.2113 | 3.2047 | 0.002152
373.5 | 5.9776 | 2.971 | 0.001995
374 | 5.4384 | 2.4318 | 0.001633
374.5 | 4.8789 | 1.8723 | 0.0012573
375 | 4.323 | 1.3164 | 0.00088397
375.5 | 4.0253 | 1.0187 | 0.00068406
376 | 3.6522 | 0.6456 | 0.00043352
376.5 | 3.6395 | 0.6329 | 0.000425
377 | 3.6246 | 0.618 | 0.00041499
377.5 | 3.4315 | 0.4249 | 0.00028532
378 | 3.3678 | 0.3612 | 0.00024255
378.5 | 3.5263 | 0.5197 | 0.00034898
379 | 3.8393 | 0.8327 | 0.00055916
379.5 | 3.9183 | 0.9117 | 0.00061221
380 | 4.0443 | 1.0377 | 0.00069682
380.5 | 4.341 | 1.3344 | 0.00089606
381 | 4.4092 | 1.4026 | 0.00094185
381.5 | 4.5159 | 1.5093 | 0.0010135
382 | 4.5367 | 1.5301 | 0.0010275
382.5 | 4.6829 | 1.6763 | 0.0011256
383 | 4.7346 | 1.728 | 0.0011604
383.5 | 4.7435 | 1.7369 | 0.0011663
384 | 4.6848 | 1.6782 | 0.0011269
384.5 | 4.7239 | 1.7173 | 0.0011532
385 | 4.4139 | 1.4073 | 0.00094501
385.5 | 4.3057 | 1.2991 | 0.00087235
386 | 4.4155 | 1.4089 | 0.00094608
386.5 | 4.553 | 1.5464 | 0.0010384
387 | 4.7526 | 1.746 | 0.0011724
387.5 | 4.794 | 1.7874 | 0.0012002
388 | 4.8269 | 1.8203 | 0.0012223
388.5 | 4.9645 | 1.9579 | 0.0013147
389 | 4.8621 | 1.8555 | 0.001246
389.5 | 4.4807 | 1.4741 | 0.00098986
390 | 4.3556 | 1.349 | 0.00090586
390.5 | 4.3053 | 1.2987 | 0.00087208
391 | 4.2493 | 1.2427 | 0.00083448
391.5 | 4.4219 | 1.4153 | 0.00095038
392 | 4.2924 | 1.2858 | 0.00086342
392.5 | 4.0004 | 0.9938 | 0.00066734
393 | 3.7021 | 0.6955 | 0.00046703
393.5 | 3.386 | 0.3794 | 0.00025477
394 | 3.3453 | 0.3387 | 0.00022744
394.5 | 3.3387 | 0.3321 | 0.00022301
395 | 3.4122 | 0.4056 | 0.00027236
395.5 | 3.6184 | 0.6118 | 0.00041083
396 | 3.8495 | 0.8429 | 0.00056601
396.5 | 3.903 | 0.8964 | 0.00060194
397 | 3.7453 | 0.7387 | 0.00049604
397.5 | 3.6912 | 0.6846 | 0.00045971
398 | 3.816 | 0.8094 | 0.00054352
398.5 | 4.0044 | 0.9978 | 0.00067003
399 | 4.2397 | 1.2331 | 0.00082803
399.5 | 4.4621 | 1.4555 | 0.00097737
400 | 4.5392 | 1.5326 | 0.0010291
400.5 | 4.4692 | 1.4626 | 0.00098214
401 | 4.3107 | 1.3041 | 0.00087571
401.5 | 4.3472 | 1.3406 | 0.00090022
402 | 4.2788 | 1.2722 | 0.00085429
402.5 | 4.3513 | 1.3447 | 0.00090297
403 | 4.2898 | 1.2832 | 0.00086167
403.5 | 4.1328 | 1.1262 | 0.00075625
404 | 3.9302 | 0.9236 | 0.0006202
404.5 | 3.7051 | 0.6985 | 0.00046905
405 | 3.5684 | 0.5618 | 0.00037725
405.5 | 3.3975 | 0.3909 | 0.00026249
406 | 3.4955 | 0.4889 | 0.0003283
406.5 | 3.6384 | 0.6318 | 0.00042426
407 | 3.6996 | 0.693 | 0.00046535
407.5 | 3.5749 | 0.5683 | 0.00038162
408 | 3.3797 | 0.3731 | 0.00025054
408.5 | 3.1196 | 0.113 | 7.588e-05
409 | 2.9098 | 0 | 0
409.5 | 3.1546 | 0.148 | 9.9383e-05
410 | 3.2224 | 0.2158 | 0.00014491
410.5 | 3.4918 | 0.4852 | 0.00032581
411 | 3.6688 | 0.6622 | 0.00044467
411.5 | 3.6512 | 0.6446 | 0.00043285
412 | 3.1093 | 0.1027 | 6.8964e-05
412.5 | 2.6098 | 0 | 0
413 | 2.2685 | 0 | 0
413.5 | 2.0175 | 0 | 0
414 | 1.9031 | 0 | 0
414.5 | 1.9584 | 0 | 0
415 | 1.9357 | 0 | 0
415.5 | 1.9218 | 0 | 0
416 | 2.1119 | 0 | 0
416.5 | 2.2084 | 0 | 0
417 | 2.2596 | 0 | 0
417.5 | 2.4996 | 0 | 0
418 | 3.1066 | 0.1 | 6.715e-05
418.5 | 3.4843 | 0.4777 | 0.00032078
419 | 3.5611 | 0.5545 | 0.00037235
419.5 | 3.5291 | 0.5225 | 0.00035086
420 | 3.4735 | 0.4669 | 0.00031353
420.5 | 3.6595 | 0.6529 | 0.00043843
421 | 3.8309 | 0.8243 | 0.00055352
421.5 | 3.8495 | 0.8429 | 0.00056601
422 | 3.9197 | 0.9131 | 0.00061315
422.5 | 3.8966 | 0.89 | 0.00059764
423 | 3.6861 | 0.6795 | 0.00045629
423.5 | 3.7603 | 0.7537 | 0.00050611
424 | 3.8778 | 0.8712 | 0.00058501
424.5 | 4.1133 | 1.1067 | 0.00074315
425 | 4.5676 | 1.561 | 0.0010482
425.5 | 4.9456 | 1.939 | 0.001302
426 | 5.2623 | 2.2557 | 0.0015147
426.5 | 5.2838 | 2.2772 | 0.0015291
427 | 5.3027 | 2.2961 | 0.0015418
427.5 | 5.2395 | 2.2329 | 0.0014994
428 | 4.9553 | 1.9487 | 0.0013086
428.5 | 5.0282 | 2.0216 | 0.0013575
429 | 5.3776 | 2.371 | 0.0015921
429.5 | 5.4727 | 2.4661 | 0.001656
430 | 5.359 | 2.3524 | 0.0015796
430.5 | 5.2813 | 2.2747 | 0.0015275
431 | 5.0315 | 2.0249 | 0.0013597
431.5 | 4.9576 | 1.951 | 0.0013101
432 | 5.0511 | 2.0445 | 0.0013729
432.5 | 5.1928 | 2.1862 | 0.001468
433 | 5.2333 | 2.2267 | 0.0014952
433.5 | 5.5247 | 2.5181 | 0.0016909
434 | 6.0173 | 3.0107 | 0.0020217
434.5 | 6.1764 | 3.1698 | 0.0021285
435 | 5.9659 | 2.9593 | 0.0019872
435.5 | 6.0216 | 3.015 | 0.0020246
436 | 5.9378 | 2.9312 | 0.0019683
436.5 | 5.9528 | 2.9462 | 0.0019784
437 | 6.0087 | 3.0021 | 0.0020159
437.5 | 6.1037 | 3.0971 | 0.0020797
438 | 6.0104 | 3.0038 | 0.0020171
438.5 | 5.8555 | 2.8489 | 0.001913
439 | 5.829 | 2.8224 | 0.0018953
439.5 | 5.7027 | 2.6961 | 0.0018104
440 | 5.4801 | 2.4735 | 0.001661
440.5 | 5.3161 | 2.3095 | 0.0015508
441 | 5.379 | 2.3724 | 0.0015931
441.5 | 5.3148 | 2.3082 | 0.00155
442 | 5.0305 | 2.0239 | 0.0013591
442.5 | 4.6317 | 1.6251 | 0.0010913
443 | 4.2232 | 1.2166 | 0.00081695
443.5 | 3.8781 | 0.8715 | 0.00058522
444 | 3.7467 | 0.7401 | 0.00049698
444.5 | 3.6885 | 0.6819 | 0.0004579
445 | 3.6204 | 0.6138 | 0.00041217
445.5 | 3.62 | 0.6134 | 0.0004119
446 | 3.6108 | 0.6042 | 0.00040572
446.5 | 3.3251 | 0.3185 | 0.00021387
447 | 3.1567 | 0.1501 | 0.00010079
447.5 | 3.0289 | 0.0223 | 1.4975e-05
448 | 3.0052 | 0 | 0
448.5 | 2.964 | 0 | 0
449 | 2.9863 | 0 | 0
449.5 | 3.1809 | 0.1743 | 0.00011704
450 | 3.365 | 0.3584 | 0.00024067
450.5 | 3.4148 | 0.4082 | 0.00027411
451 | 3.5215 | 0.5149 | 0.00034576
451.5 | 3.4318 | 0.4252 | 0.00028552
452 | 3.341 | 0.3344 | 0.00022455
452.5 | 3.4516 | 0.445 | 0.00029882
453 | 3.616 | 0.6094 | 0.00040921
453.5 | 3.7942 | 0.7876 | 0.00052888
454 | 3.9474 | 0.9408 | 0.00063175
454.5 | 4.2212 | 1.2146 | 0.00081561
455 | 4.557 | 1.5504 | 0.0010411
455.5 | 4.5824 | 1.5758 | 0.0010582
456 | 4.5114 | 1.5048 | 0.0010105
456.5 | 4.6749 | 1.6683 | 0.0011203
457 | 4.9809 | 1.9743 | 0.0013258
457.5 | 5.3965 | 2.3899 | 0.0016048
458 | 5.7813 | 2.7747 | 0.0018632
458.5 | 6.1172 | 3.1106 | 0.0020888
459 | 6.1627 | 3.1561 | 0.0021193
459.5 | 6.1941 | 3.1875 | 0.0021404
460 | 6.3445 | 3.3379 | 0.0022414
460.5 | 6.4553 | 3.4487 | 0.0023158
461 | 6.544 | 3.5374 | 0.0023754
461.5 | 6.8977 | 3.8911 | 0.0026129
462 | 7.2475 | 4.2409 | 0.0028478
462.5 | 7.2693 | 4.2627 | 0.0028624
463 | 7.0666 | 4.06 | 0.0027263
463.5 | 6.9256 | 3.919 | 0.0026316
464 | 6.6818 | 3.6752 | 0.0024679
464.5 | 6.3708 | 3.3642 | 0.0022591
465 | 6.2312 | 3.2246 | 0.0021653
465.5 | 6.2234 | 3.2168 | 0.0021601
466 | 6.3625 | 3.3559 | 0.0022535
466.5 | 6.2902 | 3.2836 | 0.002205
467 | 6.1606 | 3.154 | 0.0021179
467.5 | 5.8788 | 2.8722 | 0.0019287
468 | 5.6194 | 2.6128 | 0.0017545
468.5 | 5.5157 | 2.5091 | 0.0016849
469 | 5.6208 | 2.6142 | 0.0017554
469.5 | 5.6476 | 2.641 | 0.0017734
470 | 5.9116 | 2.905 | 0.0019507
470.5 | 6.2537 | 3.2471 | 0.0021804
471 | 6.3584 | 3.3518 | 0.0022507
471.5 | 6.1986 | 3.192 | 0.0021434
472 | 6.1395 | 3.1329 | 0.0021038
472.5 | 5.9893 | 2.9827 | 0.0020029
473 | 6.1598 | 3.1532 | 0.0021174
473.5 | 6.0717 | 3.0651 | 0.0020582
474 | 5.9762 | 2.9696 | 0.0019941
474.5 | 5.6459 | 2.6393 | 0.0017723
475 | 5.0879 | 2.0813 | 0.0013976
475.5 | 4.7948 | 1.7882 | 0.0012008
476 | 4.5792 | 1.5726 | 0.001056
476.5 | 4.468 | 1.4614 | 0.00098134
477 | 4.4166 | 1.41 | 0.00094682
477.5 | 4.3854 | 1.3788 | 0.00092587
478 | 4.1898 | 1.1832 | 0.00079452
478.5 | 4.1266 | 1.12 | 0.00075208
479 | 3.7401 | 0.7335 | 0.00049255
479.5 | 3.7077 | 0.7011 | 0.00047079
480 | 3.8123 | 0.8057 | 0.00054103
480.5 | 4.0777 | 1.0711 | 0.00071925
481 | 4.296 | 1.2894 | 0.00086584
481.5 | 4.1875 | 1.1809 | 0.00079298
482 | 3.8992 | 0.8926 | 0.00059938
482.5 | 3.6886 | 0.682 | 0.00045797
483 | 3.5988 | 0.5922 | 0.00039766
483.5 | 3.6205 | 0.6139 | 0.00041224
484 | 3.6857 | 0.6791 | 0.00045602
484.5 | 3.7739 | 0.7673 | 0.00051525
485 | 4.0156 | 1.009 | 0.00067755
485.5 | 4.1925 | 1.1859 | 0.00079634
486 | 4.2704 | 1.2638 | 0.00084865
486.5 | 4.3308 | 1.3242 | 0.00088921
487 | 4.5609 | 1.5543 | 0.0010437
487.5 | 4.7732 | 1.7666 | 0.0011863
488 | 4.9859 | 1.9793 | 0.0013291
488.5 | 5.1177 | 2.1111 | 0.0014176
489 | 5.1635 | 2.1569 | 0.0014484
489.5 | 5.2481 | 2.2415 | 0.0015052
490 | 5.2111 | 2.2045 | 0.0014803
490.5 | 5.1573 | 2.1507 | 0.0014442
491 | 4.6588 | 1.6522 | 0.0011095
491.5 | 4.4686 | 1.462 | 0.00098174
492 | 4.4291 | 1.4225 | 0.00095522
492.5 | 4.413 | 1.4064 | 0.0009444
493 | 4.4793 | 1.4727 | 0.00098892
493.5 | 4.55 | 1.5434 | 0.0010364
494 | 4.418 | 1.4114 | 0.00094776
494.5 | 4.4867 | 1.4801 | 0.00099389
495 | 4.6646 | 1.658 | 0.0011134
495.5 | 5.1058 | 2.0992 | 0.0014096
496 | 5.4904 | 2.4838 | 0.0016679
496.5 | 6.117 | 3.1104 | 0.0020886
497 | 6.9182 | 3.9116 | 0.0026267
497.5 | 7.3742 | 4.3676 | 0.0029329
498 | 7.6277 | 4.6211 | 0.0031031
498.5 | 7.5126 | 4.506 | 0.0030258
499 | 7.2296 | 4.223 | 0.0028358
499.5 | 7.1136 | 4.107 | 0.0027579
500 | 7.04 | 4.0334 | 0.0027084
500.5 | 6.8338 | 3.8272 | 0.00257
501 | 6.2934 | 3.2868 | 0.0022071
501.5 | 5.878 | 2.8714 | 0.0019282
502 | 5.4646 | 2.458 | 0.0016506
502.5 | 5.0121 | 2.0055 | 0.0013467
503 | 4.6052 | 1.5986 | 0.0010735
503.5 | 4.4991 | 1.4925 | 0.0010022
504 | 4.4797 | 1.4731 | 0.00098919
504.5 | 4.4325 | 1.4259 | 0.0009575
505 | 4.1962 | 1.1896 | 0.00079882
505.5 | 4.2132 | 1.2066 | 0.00081024
506 | 4.6664 | 1.6598 | 0.0011146
506.5 | 5.08 | 2.0734 | 0.0013923
507 | 5.5625 | 2.5559 | 0.0017163
507.5 | 5.5838 | 2.5772 | 0.0017306
508 | 5.5386 | 2.532 | 0.0017002
508.5 | 5.5708 | 2.5642 | 0.0017219
509 | 5.5381 | 2.5315 | 0.0016999
509.5 | 5.6273 | 2.6207 | 0.0017598
510 | 5.7206 | 2.714 | 0.0018225
510.5 | 6.0554 | 3.0488 | 0.0020473
511 | 6.1651 | 3.1585 | 0.0021209
511.5 | 5.8945 | 2.8879 | 0.0019392
512 | 5.3778 | 2.3712 | 0.0015923
512.5 | 5.1269 | 2.1203 | 0.0014238
513 | 4.8936 | 1.887 | 0.0012671
513.5 | 4.8443 | 1.8377 | 0.001234
514 | 4.8679 | 1.8613 | 0.0012499
514.5 | 4.7689 | 1.7623 | 0.0011834
515 | 4.3374 | 1.3308 | 0.00089364
515.5 | 4.007 | 1.0004 | 0.00067177
516 | 3.8838 | 0.8772 | 0.00058904
516.5 | 3.9317 | 0.9251 | 0.00062121
517 | 4.1498 | 1.1432 | 0.00076766
517.5 | 4.1245 | 1.1179 | 0.00075067
518 | 3.9801 | 0.9735 | 0.00065371
518.5 | 3.9242 | 0.9176 | 0.00061617
519 | 3.899 | 0.8924 | 0.00059925
519.5 | 3.8764 | 0.8698 | 0.00058407
520 | 3.7366 | 0.73 | 0.0004902
520.5 | 3.8719 | 0.8653 | 0.00058105
521 | 4.021 | 1.0144 | 0.00068117
521.5 | 3.8326 | 0.826 | 0.00055466
522 | 3.7202 | 0.7136 | 0.00047919
522.5 | 3.8374 | 0.8308 | 0.00055789
523 | 4.2919 | 1.2853 | 0.00086308
523.5 | 4.7925 | 1.7859 | 0.0011992
524 | 5.2125 | 2.2059 | 0.0014813
524.5 | 5.6294 | 2.6228 | 0.0017612
525 | 6.0712 | 3.0646 | 0.0020579
525.5 | 6.4077 | 3.4011 | 0.0022839
526 | 6.4434 | 3.4368 | 0.0023078
526.5 | 6.5379 | 3.5313 | 0.0023713
527 | 7.0191 | 4.0125 | 0.0026944
527.5 | 7.6767 | 4.6701 | 0.003136
528 | 8.0069 | 5.0003 | 0.0033577
528.5 | 7.749 | 4.7424 | 0.0031845
529 | 7.2874 | 4.2808 | 0.0028746
529.5 | 6.7635 | 3.7569 | 0.0025228
530 | 6.394 | 3.3874 | 0.0022747
530.5 | 6.2858 | 3.2792 | 0.002202
531 | 6.209 | 3.2024 | 0.0021504
531.5 | 6.1513 | 3.1447 | 0.0021117
532 | 6.1582 | 3.1516 | 0.0021163
532.5 | 6.0464 | 3.0398 | 0.0020412
533 | 6.0944 | 3.0878 | 0.0020735
533.5 | 5.9424 | 2.9358 | 0.0019714
534 | 5.9095 | 2.9029 | 0.0019493
534.5 | 6.3567 | 3.3501 | 0.0022496
535 | 6.6542 | 3.6476 | 0.0024494
535.5 | 6.7302 | 3.7236 | 0.0025004
536 | 6.322 | 3.3154 | 0.0022263
536.5 | 5.9818 | 2.9752 | 0.0019979
537 | 5.9816 | 2.975 | 0.0019977
537.5 | 6.4494 | 3.4428 | 0.0023119
538 | 6.8994 | 3.8928 | 0.002614
538.5 | 6.8657 | 3.8591 | 0.0025914
539 | 6.5683 | 3.5617 | 0.0023917
539.5 | 6.2429 | 3.2363 | 0.0021732
540 | 5.5252 | 2.5186 | 0.0016913
540.5 | 5.2076 | 2.201 | 0.001478
541 | 5.0683 | 2.0617 | 0.0013844
541.5 | 5.1193 | 2.1127 | 0.0014187
542 | 5.1682 | 2.1616 | 0.0014515
542.5 | 5.1764 | 2.1698 | 0.001457
543 | 5.0123 | 2.0057 | 0.0013468
543.5 | 4.6371 | 1.6305 | 0.0010949
544 | 4.256 | 1.2494 | 0.00083898
544.5 | 4.3083 | 1.3017 | 0.0008741
545 | 4.5638 | 1.5572 | 0.0010457
545.5 | 5.1221 | 2.1155 | 0.0014206
546 | 5.4942 | 2.4876 | 0.0016704
546.5 | 5.7158 | 2.7092 | 0.0018192
547 | 6.0573 | 3.0507 | 0.0020486
547.5 | 6.3683 | 3.3617 | 0.0022574
548 | 6.5812 | 3.5746 | 0.0024004
548.5 | 6.5378 | 3.5312 | 0.0023712
549 | 6.3476 | 3.341 | 0.0022435
549.5 | 6.3687 | 3.3621 | 0.0022577
550 | 6.2432 | 3.2366 | 0.0021734
550.5 | 6.056 | 3.0494 | 0.0020477
551 | 5.8487 | 2.8421 | 0.0019085
551.5 | 5.606 | 2.5994 | 0.0017455
552 | 5.4753 | 2.4687 | 0.0016577
552.5 | 5.1368 | 2.1302 | 0.0014304
553 | 4.9249 | 1.9183 | 0.0012881
553.5 | 4.8154 | 1.8088 | 0.0012146
554 | 4.562 | 1.5554 | 0.0010445
554.5 | 4.4296 | 1.423 | 0.00095555
555 | 4.557 | 1.5504 | 0.0010411
555.5 | 4.7117 | 1.7051 | 0.001145
556 | 4.8869 | 1.8803 | 0.0012626
556.5 | 5.2029 | 2.1963 | 0.0014748
557 | 5.4381 | 2.4315 | 0.0016328
557.5 | 5.5618 | 2.5552 | 0.0017158
558 | 5.8807 | 2.8741 | 0.00193
558.5 | 6.2801 | 3.2735 | 0.0021982
559 | 6.7904 | 3.7838 | 0.0025408
559.5 | 7.3459 | 4.3393 | 0.0029139
560 | 7.4838 | 4.4772 | 0.0030065
560.5 | 7.7209 | 4.7143 | 0.0031657
561 | 8.0121 | 5.0055 | 0.0033612
561.5 | 8.3188 | 5.3122 | 0.0035672
562 | 8.2697 | 5.2631 | 0.0035342
562.5 | 8.1925 | 5.1859 | 0.0034824
563 | 8.2543 | 5.2477 | 0.0035239
563.5 | 8.5035 | 5.4969 | 0.0036912
564 | 8.6452 | 5.6386 | 0.0037863
564.5 | 8.306 | 5.2994 | 0.0035586
565 | 7.8726 | 4.866 | 0.0032675
565.5 | 7.7996 | 4.793 | 0.0032185
566 | 7.4469 | 4.4403 | 0.0029817
566.5 | 7.0628 | 4.0562 | 0.0027238
567 | 6.4882 | 3.4816 | 0.0023379
567.5 | 6.3122 | 3.3056 | 0.0022197
568 | 6.4864 | 3.4798 | 0.0023367
568.5 | 6.4298 | 3.4232 | 0.0022987
569 | 6.0929 | 3.0863 | 0.0020725
569.5 | 5.5267 | 2.5201 | 0.0016923
570 | 5.4615 | 2.4549 | 0.0016485
570.5 | 5.5547 | 2.5481 | 0.0017111
571 | 5.7195 | 2.7129 | 0.0018217
571.5 | 5.9703 | 2.9637 | 0.0019901
572 | 6.2754 | 3.2688 | 0.002195
572.5 | 6.7771 | 3.7705 | 0.0025319
573 | 6.8967 | 3.8901 | 0.0026122
573.5 | 6.5371 | 3.5305 | 0.0023707
574 | 6.521 | 3.5144 | 0.0023599
574.5 | 6.5212 | 3.5146 | 0.0023601
575 | 6.8395 | 3.8329 | 0.0025738
575.5 | 6.848 | 3.8414 | 0.0025795
576 | 6.6576 | 3.651 | 0.0024517
576.5 | 6.5062 | 3.4996 | 0.00235
577 | 6.5194 | 3.5128 | 0.0023589
577.5 | 6.4137 | 3.4071 | 0.0022879
578 | 6.2733 | 3.2667 | 0.0021936
578.5 | 6.4066 | 3.4 | 0.0022831
579 | 6.7888 | 3.7822 | 0.0025398
579.5 | 6.6678 | 3.6612 | 0.0024585
580 | 6.5525 | 3.5459 | 0.0023811
580.5 | 6.2954 | 3.2888 | 0.0022084
581 | 6.1741 | 3.1675 | 0.002127
581.5 | 6.212 | 3.2054 | 0.0021524
582 | 6.2731 | 3.2665 | 0.0021935
582.5 | 5.9913 | 2.9847 | 0.0020042
583 | 5.6785 | 2.6719 | 0.0017942
583.5 | 5.3752 | 2.3686 | 0.0015905
584 | 5.1191 | 2.1125 | 0.0014186
584.5 | 4.9387 | 1.9321 | 0.0012974
585 | 5.0941 | 2.0875 | 0.0014018
585.5 | 5.2905 | 2.2839 | 0.0015336
586 | 5.4904 | 2.4838 | 0.0016679
586.5 | 5.7224 | 2.7158 | 0.0018237
587 | 5.9788 | 2.9722 | 0.0019958
587.5 | 6.2501 | 3.2435 | 0.002178
588 | 6.6005 | 3.5939 | 0.0024133
588.5 | 6.6221 | 3.6155 | 0.0024278
589 | 6.4807 | 3.4741 | 0.0023329
589.5 | 6.5061 | 3.4995 | 0.0023499
590 | 6.4963 | 3.4897 | 0.0023433
590.5 | 6.5013 | 3.4947 | 0.0023467
591 | 6.6424 | 3.6358 | 0.0024415
591.5 | 6.7447 | 3.7381 | 0.0025102
592 | 6.7166 | 3.71 | 0.0024913
592.5 | 6.6046 | 3.598 | 0.0024161
593 | 6.419 | 3.4124 | 0.0022914
593.5 | 6.5965 | 3.5899 | 0.0024106
594 | 7.4202 | 4.4136 | 0.0029638
594.5 | 8.0949 | 5.0883 | 0.0034168
595 | 8.6732 | 5.6666 | 0.0038051
595.5 | 8.9231 | 5.9165 | 0.003973
596 | 9.1318 | 6.1252 | 0.0041131
596.5 | 9.0769 | 6.0703 | 0.0040762
597 | 9.0911 | 6.0845 | 0.0040858
597.5 | 9.2129 | 6.2063 | 0.0041676
598 | 9.3685 | 6.3619 | 0.004272
598.5 | 9.4776 | 6.471 | 0.0043453
599 | 9.0563 | 6.0497 | 0.0040624
599.5 | 8.5566 | 5.55 | 0.0037268
600 | 8.1214 | 5.1148 | 0.0034346
600.5 | 7.7997 | 4.7931 | 0.0032186
601 | 7.5928 | 4.5862 | 0.0030797
601.5 | 7.5535 | 4.5469 | 0.0030533
602 | 7.6872 | 4.6806 | 0.003143
602.5 | 7.6984 | 4.6918 | 0.0031506
603 | 7.6172 | 4.6106 | 0.003096
603.5 | 7.4633 | 4.4567 | 0.0029927
604 | 7.4906 | 4.484 | 0.003011
604.5 | 7.5444 | 4.5378 | 0.0030472
605 | 7.4784 | 4.4718 | 0.0030028
605.5 | 7.5395 | 4.5329 | 0.0030439
606 | 7.4988 | 4.4922 | 0.0030165
606.5 | 7.1623 | 4.1557 | 0.0027906
607 | 6.9824 | 3.9758 | 0.0026698
607.5 | 6.9415 | 3.9349 | 0.0026423
608 | 6.9417 | 3.9351 | 0.0026424
608.5 | 7.0113 | 4.0047 | 0.0026892
609 | 7.0456 | 4.039 | 0.0027122
609.5 | 7.2024 | 4.1958 | 0.0028175
610 | 7.3254 | 4.3188 | 0.0029001
610.5 | 7.5287 | 4.5221 | 0.0030366
611 | 7.8183 | 4.8117 | 0.0032311
611.5 | 8.2512 | 5.2446 | 0.0035218
612 | 8.9297 | 5.9231 | 0.0039774
612.5 | 9.164 | 6.1574 | 0.0041347
613 | 9.4571 | 6.4505 | 0.0043315
613.5 | 9.8858 | 6.8792 | 0.0046194
614 | 10.278 | 7.2714 | 0.0048828
614.5 | 10.531 | 7.5244 | 0.0050527
615 | 10.528 | 7.5214 | 0.0050507
615.5 | 10.772 | 7.7654 | 0.0052145
616 | 11.211 | 8.2044 | 0.0055093
616.5 | 11.596 | 8.5894 | 0.0057678
617 | 12.222 | 9.2154 | 0.0061882
617.5 | 12.407 | 9.4004 | 0.0063124
618 | 12.907 | 9.9004 | 0.0066482
618.5 | 12.873 | 9.8664 | 0.0066253
619 | 12.878 | 9.8714 | 0.0066287
619.5 | 12.916 | 9.9094 | 0.0066542
620 | 13.149 | 10.1424 | 0.0068107
620.5 | 14 | 10.9934 | 0.0073821
621 | 14.643 | 11.6364 | 0.0078139
621.5 | 15.095 | 12.0884 | 0.0081174
622 | 15.47 | 12.4634 | 0.0083692
622.5 | 15.779 | 12.7724 | 0.0085767
623 | 16.13 | 13.1234 | 0.0088124
623.5 | 16.842 | 13.8354 | 0.0092905
624 | 17.728 | 14.7214 | 0.0098855
624.5 | 18.675 | 15.6684 | 0.010521
625 | 19.609 | 16.6024 | 0.011149
625.5 | 20.285 | 17.2784 | 0.011603
626 | 20.411 | 17.4044 | 0.011687
626.5 | 20.967 | 17.9604 | 0.01206
627 | 21.547 | 18.5404 | 0.01245
627.5 | 21.904 | 18.8974 | 0.01269
628 | 22.255 | 19.2484 | 0.012925
628.5 | 22.379 | 19.3724 | 0.013009
629 | 22.685 | 19.6784 | 0.013214
629.5 | 23.318 | 20.3114 | 0.013639
630 | 23.948 | 20.9414 | 0.014062
630.5 | 24.785 | 21.7784 | 0.014624
631 | 25.693 | 22.6864 | 0.015234
631.5 | 26.646 | 23.6394 | 0.015874
632 | 27.603 | 24.5964 | 0.016517
632.5 | 28.551 | 25.5444 | 0.017153
633 | 29.905 | 26.8984 | 0.018062
633.5 | 31.297 | 28.2904 | 0.018997
634 | 32.736 | 29.7294 | 0.019963
634.5 | 34.073 | 31.0664 | 0.020861
635 | 35.163 | 32.1564 | 0.021593
635.5 | 36.353 | 33.3464 | 0.022392
636 | 37.62 | 34.6134 | 0.023243
636.5 | 38.932 | 35.9254 | 0.024124
637 | 40.579 | 37.5724 | 0.02523
637.5 | 42.247 | 39.2404 | 0.02635
638 | 43.837 | 40.8304 | 0.027418
638.5 | 45.35 | 42.3434 | 0.028434
639 | 47.187 | 44.1804 | 0.029667
639.5 | 49.063 | 46.0564 | 0.030927
640 | 50.859 | 47.8524 | 0.032133
640.5 | 52.83 | 49.8234 | 0.033457
641 | 54.978 | 51.9714 | 0.034899
641.5 | 57.433 | 54.4264 | 0.036548
642 | 59.83 | 56.8234 | 0.038157
642.5 | 62.177 | 59.1704 | 0.039733
643 | 64.571 | 61.5644 | 0.041341
643.5 | 67.624 | 64.6174 | 0.043391
644 | 70.818 | 67.8114 | 0.045536
644.5 | 73.906 | 70.8994 | 0.047609
645 | 77.211 | 74.2044 | 0.049829
645.5 | 80.62 | 77.6134 | 0.052118
646 | 84.072 | 81.0654 | 0.054436
646.5 | 87.411 | 84.4044 | 0.056678
647 | 91.006 | 87.9994 | 0.059092
647.5 | 94.677 | 91.6704 | 0.061557
648 | 98.92 | 95.9134 | 0.064406
648.5 | 103.04 | 100.0334 | 0.067173
649 | 107 | 103.9934 | 0.069832
649.5 | 111.17 | 108.1634 | 0.072632
650 | 115.37 | 112.3634 | 0.075453
650.5 | 119.77 | 116.7634 | 0.078407
651 | 124.73 | 121.7234 | 0.081738
651.5 | 129.65 | 126.6434 | 0.085042
652 | 134.49 | 131.4834 | 0.088292
652.5 | 139.11 | 136.1034 | 0.091394
653 | 143.71 | 140.7034 | 0.094483
653.5 | 148.39 | 145.3834 | 0.097626
654 | 153.48 | 150.4734 | 0.10104
654.5 | 159.05 | 156.0434 | 0.10478
655 | 165.2 | 162.1934 | 0.10891
655.5 | 172.05 | 169.0434 | 0.11351
656 | 178.96 | 175.9534 | 0.11815
656.5 | 186.18 | 183.1734 | 0.123
657 | 193.84 | 190.8334 | 0.12815
657.5 | 201.93 | 198.9234 | 0.13358
658 | 210.34 | 207.3334 | 0.13923
658.5 | 218.73 | 215.7234 | 0.14486
659 | 226.98 | 223.9734 | 0.1504
659.5 | 235.39 | 232.3834 | 0.15605
660 | 244 | 240.9934 | 0.16183
660.5 | 252.55 | 249.5434 | 0.16757
661 | 261.25 | 258.2434 | 0.17341
661.5 | 270.32 | 267.3134 | 0.1795
662 | 279.91 | 276.9034 | 0.18594
662.5 | 289.66 | 286.6534 | 0.19249
663 | 299.59 | 296.5834 | 0.19916
663.5 | 310.38 | 307.3734 | 0.2064
664 | 321.65 | 318.6434 | 0.21397
664.5 | 333.33 | 330.3234 | 0.22181
665 | 345.28 | 342.2734 | 0.22984
665.5 | 357.55 | 354.5434 | 0.23808
666 | 369.8 | 366.7934 | 0.2463
666.5 | 382 | 378.9934 | 0.2545
667 | 394.18 | 391.1734 | 0.26267
667.5 | 406.65 | 403.6434 | 0.27105
668 | 419.42 | 416.4134 | 0.27962
668.5 | 432.24 | 429.2334 | 0.28823
669 | 445.75 | 442.7434 | 0.2973
669.5 | 459.8 | 456.7934 | 0.30674
670 | 474.32 | 471.3134 | 0.31649
670.5 | 489.29 | 486.2834 | 0.32654
671 | 504.88 | 501.8734 | 0.33701
671.5 | 520.71 | 517.7034 | 0.34764
672 | 536.63 | 533.6234 | 0.35833
672.5 | 552.22 | 549.2134 | 0.3688
673 | 567.73 | 564.7234 | 0.37921
673.5 | 583.33 | 580.3234 | 0.38969
674 | 599.24 | 596.2334 | 0.40037
674.5 | 615.39 | 612.3834 | 0.41122
675 | 631.68 | 628.6734 | 0.42216
675.5 | 648.02 | 645.0134 | 0.43313
676 | 664.07 | 661.0634 | 0.44391
676.5 | 681.17 | 678.1634 | 0.45539
677 | 699.32 | 696.3134 | 0.46758
677.5 | 718.78 | 715.7734 | 0.48065
678 | 739.58 | 736.5734 | 0.49461
678.5 | 760.77 | 757.7634 | 0.50884
679 | 781.79 | 778.7834 | 0.52296
679.5 | 802.48 | 799.4734 | 0.53685
680 | 822.5 | 819.4934 | 0.55029
680.5 | 842.28 | 839.2734 | 0.56358
681 | 862.69 | 859.6834 | 0.57728
681.5 | 883.14 | 880.1334 | 0.59101
682 | 904.67 | 901.6634 | 0.60547
682.5 | 926.84 | 923.8334 | 0.62036
683 | 949.73 | 946.7234 | 0.63573
683.5 | 973.11 | 970.1034 | 0.65143
684 | 996.42 | 993.4134 | 0.66708
684.5 | 1020 | 1016.9934 | 0.68292
685 | 1044.9 | 1041.8934 | 0.69964
685.5 | 1070.4 | 1067.3934 | 0.71676
686 | 1096 | 1092.9934 | 0.73395
686.5 | 1121.6 | 1118.5934 | 0.75114
687 | 1146.8 | 1143.7934 | 0.76806
687.5 | 1172.5 | 1169.4934 | 0.78532
688 | 1199.4 | 1196.3934 | 0.80338
688.5 | 1228 | 1224.9934 | 0.82259
689 | 1257.6 | 1254.5934 | 0.84247
689.5 | 1287.8 | 1284.7934 | 0.86274
690 | 1317.7 | 1314.6934 | 0.88282
690.5 | 1346.7 | 1343.6934 | 0.9023
691 | 1374.7 | 1371.6934 | 0.9211
691.5 | 1402.3 | 1399.2934 | 0.93963
692 | 1427.7 | 1424.6934 | 0.95669
692.5 | 1449.2 | 1446.1934 | 0.97113
693 | 1466.3 | 1463.2934 | 0.98261
693.5 | 1479.1 | 1476.0934 | 0.9912
694 | 1487.7 | 1484.6934 | 0.99698
694.5 | 1492.2 | 1489.1934 | 1
695 | 1491.9 | 1488.8934 | 0.9998
695.5 | 1486.4 | 1483.3934 | 0.99611
696 | 1473.9 | 1470.8934 | 0.98771
696.5 | 1453.5 | 1450.4934 | 0.97401
697 | 1425.4 | 1422.3934 | 0.95514
697.5 | 1389.3 | 1386.2934 | 0.9309
698 | 1345.5 | 1342.4934 | 0.90149
698.5 | 1294.8 | 1291.7934 | 0.86745
699 | 1238.8 | 1235.7934 | 0.82984
699.5 | 1177.2 | 1174.1934 | 0.78848
700 | 1111.8 | 1108.7934 | 0.74456
700.5 | 1044.7 | 1041.6934 | 0.6995
701 | 977.01 | 974.0034 | 0.65405
701.5 | 910.14 | 907.1334 | 0.60914
702 | 845.94 | 842.9334 | 0.56603
702.5 | 785.17 | 782.1634 | 0.52523
703 | 727.57 | 724.5634 | 0.48655
703.5 | 673.18 | 670.1734 | 0.45002
704 | 621.84 | 618.8334 | 0.41555
704.5 | 573.53 | 570.5234 | 0.38311
705 | 528.4 | 525.3934 | 0.3528
705.5 | 486.61 | 483.6034 | 0.32474
706 | 447.54 | 444.5334 | 0.29851
706.5 | 411.18 | 408.1734 | 0.27409
707 | 377.53 | 374.5234 | 0.25149
707.5 | 346.46 | 343.4534 | 0.23063
708 | 318.07 | 315.0634 | 0.21157
708.5 | 292.26 | 289.2534 | 0.19423
709 | 268.54 | 265.5334 | 0.17831
709.5 | 247.42 | 244.4134 | 0.16412
710 | 228.35 | 225.3434 | 0.15132
710.5 | 210.93 | 207.9234 | 0.13962
711 | 195.56 | 192.5534 | 0.1293
711.5 | 181.26 | 178.2534 | 0.1197
712 | 167.55 | 164.5434 | 0.11049
712.5 | 155 | 151.9934 | 0.10206
713 | 143.35 | 140.3434 | 0.094241
713.5 | 132.92 | 129.9134 | 0.087237
714 | 123.5 | 120.4934 | 0.080912
714.5 | 114.58 | 111.5734 | 0.074922
715 | 106.44 | 103.4334 | 0.069456
715.5 | 98.701 | 95.6944 | 0.064259
716 | 91.669 | 88.6624 | 0.059537
716.5 | 85.411 | 82.4044 | 0.055335
717 | 79.988 | 76.9814 | 0.051693
717.5 | 75.104 | 72.0974 | 0.048414
718 | 70.715 | 67.7084 | 0.045466
718.5 | 66.248 | 63.2414 | 0.042467
719 | 62.083 | 59.0764 | 0.03967
719.5 | 58.442 | 55.4354 | 0.037225
720 | 55.172 | 52.1654 | 0.035029
720.5 | 52.075 | 49.0684 | 0.03295
721 | 48.922 | 45.9154 | 0.030832
721.5 | 46.221 | 43.2144 | 0.029019
722 | 43.601 | 40.5944 | 0.027259
722.5 | 41.238 | 38.2314 | 0.025673
723 | 39.038 | 36.0314 | 0.024195
723.5 | 37.364 | 34.3574 | 0.023071
724 | 35.621 | 32.6144 | 0.021901
724.5 | 33.664 | 30.6574 | 0.020587
725 | 31.795 | 28.7884 | 0.019332
725.5 | 30.215 | 27.2084 | 0.018271
726 | 29.219 | 26.2124 | 0.017602
726.5 | 28.448 | 25.4414 | 0.017084
727 | 27.51 | 24.5034 | 0.016454
727.5 | 26.157 | 23.1504 | 0.015546
728 | 24.933 | 21.9264 | 0.014724
728.5 | 23.573 | 20.5664 | 0.01381
729 | 22.364 | 19.3574 | 0.012999
729.5 | 21.767 | 18.7604 | 0.012598
730 | 21.037 | 18.0304 | 0.012107
730.5 | 20.056 | 17.0494 | 0.011449
731 | 18.84 | 15.8334 | 0.010632
731.5 | 17.617 | 14.6104 | 0.0098109
732 | 16.757 | 13.7504 | 0.0092335
732.5 | 15.931 | 12.9244 | 0.0086788
733 | 15.361 | 12.3544 | 0.008296
733.5 | 15.179 | 12.1724 | 0.0081738
734 | 14.567 | 11.5604 | 0.0077629
734.5 | 13.808 | 10.8014 | 0.0072532
735 | 13.395 | 10.3884 | 0.0069759
735.5 | 13.037 | 10.0304 | 0.0067355
736 | 12.761 | 9.7544 | 0.0065501
736.5 | 12.325 | 9.3184 | 0.0062573
737 | 12.309 | 9.3024 | 0.0062466
737.5 | 12.407 | 9.4004 | 0.0063124
738 | 12.248 | 9.2414 | 0.0062056
738.5 | 11.881 | 8.8744 | 0.0059592
739 | 11.652 | 8.6454 | 0.0058054
739.5 | 11.482 | 8.4754 | 0.0056913
740 | 11.616 | 8.6094 | 0.0057813
740.5 | 11.493 | 8.4864 | 0.0056987
741 | 11.496 | 8.4894 | 0.0057007
741.5 | 11.317 | 8.3104 | 0.0055805
742 | 10.987 | 7.9804 | 0.0053589
742.5 | 10.727 | 7.7204 | 0.0051843
743 | 10.56 | 7.5534 | 0.0050721
743.5 | 10.542 | 7.5354 | 0.0050601
744 | 10.294 | 7.2874 | 0.0048935
744.5 | 9.6771 | 6.6705 | 0.0044793
745 | 9.1229 | 6.1163 | 0.0041071
745.5 | 8.9695 | 5.9629 | 0.0040041
746 | 8.508 | 5.5014 | 0.0036942
746.5 | 8.3213 | 5.3147 | 0.0035688
747 | 8.2903 | 5.2837 | 0.003548
747.5 | 8.1761 | 5.1695 | 0.0034713
748 | 7.8951 | 4.8885 | 0.0032826
748.5 | 7.4571 | 4.4505 | 0.0029885
749 | 7.3793 | 4.3727 | 0.0029363
749.5 | 7.4358 | 4.4292 | 0.0029742
750 | 7.3298 | 4.3232 | 0.002903
750.5 | 7.2757 | 4.2691 | 0.0028667
751 | 7.3278 | 4.3212 | 0.0029017
751.5 | 7.0419 | 4.0353 | 0.0027097
752 | 6.669 | 3.6624 | 0.0024593
752.5 | 6.4453 | 3.4387 | 0.0023091
753 | 6.5658 | 3.5592 | 0.00239
753.5 | 7.1039 | 4.0973 | 0.0027514
754 | 7.1687 | 4.1621 | 0.0027949
754.5 | 7.0535 | 4.0469 | 0.0027175
755 | 6.8673 | 3.8607 | 0.0025925
755.5 | 6.7449 | 3.7383 | 0.0025103
756 | 6.8625 | 3.8559 | 0.0025893
756.5 | 6.5733 | 3.5667 | 0.0023951
757 | 6.6066 | 3.6 | 0.0024174
757.5 | 6.275 | 3.2684 | 0.0021947
758 | 5.7995 | 2.7929 | 0.0018754
758.5 | 5.5446 | 2.538 | 0.0017043
759 | 5.6001 | 2.5935 | 0.0017415
759.5 | 5.6675 | 2.6609 | 0.0017868
760 | 5.6107 | 2.6041 | 0.0017487
760.5 | 5.441 | 2.4344 | 0.0016347
761 | 5.3994 | 2.3928 | 0.0016068
761.5 | 5.6098 | 2.6032 | 0.0017481
762 | 5.5583 | 2.5517 | 0.0017135
762.5 | 5.7823 | 2.7757 | 0.0018639
763 | 6.087 | 3.0804 | 0.0020685
763.5 | 6.542 | 3.5354 | 0.002374
764 | 6.7012 | 3.6946 | 0.0024809
764.5 | 6.8038 | 3.7972 | 0.0025498
765 | 6.8024 | 3.7958 | 0.0025489
765.5 | 6.9955 | 3.9889 | 0.0026786
766 | 7.0564 | 4.0498 | 0.0027195
766.5 | 7.3497 | 4.3431 | 0.0029164
767 | 7.5878 | 4.5812 | 0.0030763
767.5 | 7.4272 | 4.4206 | 0.0029685
768 | 6.6733 | 3.6667 | 0.0024622
768.5 | 6.1422 | 3.1356 | 0.0021056
769 | 6.5144 | 3.5078 | 0.0023555
769.5 | 6.499 | 3.4924 | 0.0023452
770 | 6.3521 | 3.3455 | 0.0022465
770.5 | 5.999 | 2.9924 | 0.0020094
771 | 5.6976 | 2.691 | 0.001807
771.5 | 5.4065 | 2.3999 | 0.0016115
772 | 5.3702 | 2.3636 | 0.0015872
772.5 | 5.528 | 2.5214 | 0.0016931
773 | 5.5925 | 2.5859 | 0.0017364
773.5 | 5.2445 | 2.2379 | 0.0015028
774 | 4.8998 | 1.8932 | 0.0012713
774.5 | 4.7924 | 1.7858 | 0.0011992
775 | 4.8467 | 1.8401 | 0.0012356
775.5 | 4.8054 | 1.7988 | 0.0012079
776 | 4.894 | 1.8874 | 0.0012674
776.5 | 4.771 | 1.7644 | 0.0011848
777 | 4.7499 | 1.7433 | 0.0011706
777.5 | 4.6148 | 1.6082 | 0.0010799
778 | 4.7667 | 1.7601 | 0.0011819
778.5 | 5.0741 | 2.0675 | 0.0013883
779 | 5.4146 | 2.408 | 0.001617
779.5 | 5.2653 | 2.2587 | 0.0015167
780 | 5.3145 | 2.3079 | 0.0015498
780.5 | 5.1953 | 2.1887 | 0.0014697
781 | 5.2998 | 2.2932 | 0.0015399
781.5 | 5.4869 | 2.4803 | 0.0016655
782 | 5.6868 | 2.6802 | 0.0017998
782.5 | 5.2321 | 2.2255 | 0.0014944
783 | 4.9952 | 1.9886 | 0.0013354
783.5 | 4.7364 | 1.7298 | 0.0011616
784 | 4.6944 | 1.6878 | 0.0011334
784.5 | 4.8269 | 1.8203 | 0.0012223
785 | 4.9381 | 1.9315 | 0.001297
785.5 | 4.8898 | 1.8832 | 0.0012646
786 | 4.6934 | 1.6868 | 0.0011327
786.5 | 4.8138 | 1.8072 | 0.0012135
787 | 4.8096 | 1.803 | 0.0012107
787.5 | 4.7963 | 1.7897 | 0.0012018
788 | 5.0856 | 2.079 | 0.0013961
788.5 | 5.6318 | 2.6252 | 0.0017628
789 | 5.7725 | 2.7659 | 0.0018573
789.5 | 5.7379 | 2.7313 | 0.0018341
790 | 5.4614 | 2.4548 | 0.0016484
790.5 | 5.1736 | 2.167 | 0.0014552
791 | 4.4803 | 1.4737 | 0.0009896
791.5 | 4.6626 | 1.656 | 0.001112
792 | 4.5166 | 1.51 | 0.001014
792.5 | 4.4522 | 1.4456 | 0.00097073
793 | 4.1374 | 1.1308 | 0.00075934
793.5 | 3.8607 | 0.8541 | 0.00057353
794 | 3.7566 | 0.75 | 0.00050363
794.5 | 3.8417 | 0.8351 | 0.00056077
795 | 4.1223 | 1.1157 | 0.0007492
795.5 | 4.528 | 1.5214 | 0.0010216
796 | 4.4539 | 1.4473 | 0.00097187
796.5 | 4.6368 | 1.6302 | 0.0010947
797 | 4.2616 | 1.255 | 0.00084274
797.5 | 4.2671 | 1.2605 | 0.00084643
798 | 4.6033 | 1.5967 | 0.0010722
798.5 | 4.5718 | 1.5652 | 0.001051
799 | 4.4386 | 1.432 | 0.00096159
799.5 | 4.1972 | 1.1906 | 0.00079949
800 | 4.0097 | 1.0031 | 0.00067359
800.5 | 4.2147 | 1.2081 | 0.00081124
801 | 4.2879 | 1.2813 | 0.0008604
801.5 | 4.8119 | 1.8053 | 0.0012123
802 | 4.8964 | 1.8898 | 0.001269
802.5 | 4.8805 | 1.8739 | 0.0012583
803 | 5.0944 | 2.0878 | 0.001402
803.5 | 5.4505 | 2.4439 | 0.0016411
804 | 5.5649 | 2.5583 | 0.0017179
804.5 | 5.5673 | 2.5607 | 0.0017195
805 | 5.2777 | 2.2711 | 0.0015251
805.5 | 4.8228 | 1.8162 | 0.0012196
806 | 4.3577 | 1.3511 | 0.00090727
806.5 | 3.9251 | 0.9185 | 0.00061678
807 | 3.5947 | 0.5881 | 0.00039491
807.5 | 3.3481 | 0.3415 | 0.00022932
808 | 3.0931 | 0.0865 | 5.8085e-05
808.5 | 3.0886 | 0.082 | 5.5063e-05
809 | 3.3175 | 0.3109 | 0.00020877
809.5 | 3.5036 | 0.497 | 0.00033374
810 | 3.8205 | 0.8139 | 0.00054654
810.5 | 4.0906 | 1.084 | 0.00072791
811 | 3.9417 | 0.9351 | 0.00062792
811.5 | 4.0981 | 1.0915 | 0.00073295
812 | 4.4901 | 1.4835 | 0.00099618
812.5 | 4.5075 | 1.5009 | 0.0010079
813 | 4.5907 | 1.5841 | 0.0010637
813.5 | 5.0217 | 2.0151 | 0.0013531
814 | 5.6048 | 2.5982 | 0.0017447
814.5 | 5.8094 | 2.8028 | 0.0018821
815 | 6.0841 | 3.0775 | 0.0020666
815.5 | 6.4914 | 3.4848 | 0.0023401
816 | 6.3642 | 3.3576 | 0.0022546
816.5 | 6.2873 | 3.2807 | 0.002203
817 | 6.2261 | 3.2195 | 0.0021619
817.5 | 5.7036 | 2.697 | 0.001811
818 | 4.9407 | 1.9341 | 0.0012988
818.5 | 4.3065 | 1.2999 | 0.00087289
819 | 4.0226 | 1.016 | 0.00068225
819.5 | 3.8947 | 0.8881 | 0.00059636
820 | 3.743 | 0.7364 | 0.0004945
820.5 | 3.9047 | 0.8981 | 0.00060308
821 | 3.8738 | 0.8672 | 0.00058233
821.5 | 4.2377 | 1.2311 | 0.00082669
822 | 4.6644 | 1.6578 | 0.0011132
822.5 | 5.3023 | 2.2957 | 0.0015416
823 | 5.4013 | 2.3947 | 0.0016081
823.5 | 5.1713 | 2.1647 | 0.0014536
824 | 4.9297 | 1.9231 | 0.0012914
824.5 | 4.869 | 1.8624 | 0.0012506
825 | 4.7618 | 1.7552 | 0.0011786
825.5 | 4.5021 | 1.4955 | 0.0010042
826 | 4.3613 | 1.3547 | 0.00090969
826.5 | 3.9709 | 0.9643 | 0.00064753
827 | 3.5805 | 0.5739 | 0.00038538
827.5 | 3.6596 | 0.653 | 0.00043849
828 | 3.7438 | 0.7372 | 0.00049503
828.5 | 3.5551 | 0.5485 | 0.00036832
829 | 3.5174 | 0.5108 | 0.000343
829.5 | 3.9499 | 0.9433 | 0.00063343
830 | 4.3249 | 1.3183 | 0.00088524
830.5 | 4.3438 | 1.3372 | 0.00089794
831 | 4.2574 | 1.2508 | 0.00083992
831.5 | 4.336 | 1.3294 | 0.0008927
832 | 4.6456 | 1.639 | 0.0011006
832.5 | 4.9629 | 1.9563 | 0.0013137
833 | 5.3433 | 2.3367 | 0.0015691
833.5 | 5.3374 | 2.3308 | 0.0015651
834 | 5.2029 | 2.1963 | 0.0014748
834.5 | 5.6807 | 2.6741 | 0.0017957
835 | 6.3597 | 3.3531 | 0.0022516
835.5 | 7.0696 | 4.063 | 0.0027283
836 | 7.1404 | 4.1338 | 0.0027759
836.5 | 7.0663 | 4.0597 | 0.0027261
837 | 7.1644 | 4.1578 | 0.002792
837.5 | 7.3599 | 4.3533 | 0.0029233
838 | 7.4318 | 4.4252 | 0.0029715
838.5 | 7.165 | 4.1584 | 0.0027924
839 | 6.5629 | 3.5563 | 0.0023881
839.5 | 6.1179 | 3.1113 | 0.0020893
840 | 5.9923 | 2.9857 | 0.0020049
840.5 | 5.9661 | 2.9595 | 0.0019873
841 | 5.6619 | 2.6553 | 0.001783
841.5 | 5.2675 | 2.2609 | 0.0015182
842 | 5.0192 | 2.0126 | 0.0013515
842.5 | 5.0839 | 2.0773 | 0.0013949
843 | 5.6181 | 2.6115 | 0.0017536
843.5 | 5.7655 | 2.7589 | 0.0018526
844 | 5.6059 | 2.5993 | 0.0017454
844.5 | 5.7235 | 2.7169 | 0.0018244
845 | 6.156 | 3.1494 | 0.0021148
845.5 | 6.4722 | 3.4656 | 0.0023272
846 | 6.4271 | 3.4205 | 0.0022969
846.5 | 6.2695 | 3.2629 | 0.0021911
847 | 5.6464 | 2.6398 | 0.0017726
847.5 | 5.1358 | 2.1292 | 0.0014298
848 | 4.8974 | 1.8908 | 0.0012697
848.5 | 4.4285 | 1.4219 | 0.00095481
849 | 4.06 | 1.0534 | 0.00070736
849.5 | 4.2217 | 1.2151 | 0.00081595
850 | 4.1727 | 1.1661 | 0.00078304
850.5 | 4.1865 | 1.1799 | 0.00079231
851 | 4.1782 | 1.1716 | 0.00078673
851.5 | 4.1957 | 1.1891 | 0.00079849
852 | 4.4215 | 1.4149 | 0.00095011
852.5 | 4.8649 | 1.8583 | 0.0012479
853 | 4.8109 | 1.8043 | 0.0012116
853.5 | 4.3116 | 1.305 | 0.00087631
854 | 4.2496 | 1.243 | 0.00083468
854.5 | 4.474 | 1.4674 | 0.00098537
855 | 4.5646 | 1.558 | 0.0010462
855.5 | 4.6925 | 1.6859 | 0.0011321
856 | 4.7413 | 1.7347 | 0.0011649
856.5 | 4.5178 | 1.5112 | 0.0010148
857 | 4.4494 | 1.4428 | 0.00096885
857.5 | 4.4397 | 1.4331 | 0.00096233
858 | 4.6775 | 1.6709 | 0.001122
858.5 | 4.4372 | 1.4306 | 0.00096065
859 | 4.2679 | 1.2613 | 0.00084697
859.5 | 4.0426 | 1.036 | 0.00069568
860 | 4.1708 | 1.1642 | 0.00078177
860.5 | 4.1064 | 1.0998 | 0.00073852
861 | 3.9893 | 0.9827 | 0.00065989
861.5 | 3.8385 | 0.8319 | 0.00055862
862 | 3.3118 | 0.3052 | 0.00020494
862.5 | 3.0215 | 0.0149 | 1.0005e-05
863 | 2.9661 | 0 | 0
863.5 | 2.8671 | 0 | 0
864 | 2.6989 | 0 | 0
864.5 | 2.7033 | 0 | 0
865 | 2.7658 | 0 | 0
865.5 | 3.1711 | 0.1645 | 0.00011046
866 | 3.7122 | 0.7056 | 0.00047381
866.5 | 3.6757 | 0.6691 | 0.0004493
867 | 3.7275 | 0.7209 | 0.00048409
867.5 | 3.9916 | 0.985 | 0.00066143
868 | 4.3544 | 1.3478 | 0.00090505
868.5 | 4.5809 | 1.5743 | 0.0010571
869 | 4.6803 | 1.6737 | 0.0011239
869.5 | 4.564 | 1.5574 | 0.0010458
870 | 4.5548 | 1.5482 | 0.0010396
870.5 | 4.3696 | 1.363 | 0.00091526
871 | 4.4883 | 1.4817 | 0.00099497
871.5 | 4.193 | 1.1864 | 0.00079667
872 | 4.0343 | 1.0277 | 0.00069011
872.5 | 3.7018 | 0.6952 | 0.00046683
873 | 3.3649 | 0.3583 | 0.0002406
873.5 | 3.2025 | 0.1959 | 0.00013155
874 | 2.9233 | 0 | 0
874.5 | 3.1703 | 0.1637 | 0.00010993
875 | 3.066 | 0.0594 | 3.9887e-05
875.5 | 3.3521 | 0.3455 | 0.000232
876 | 3.5621 | 0.5555 | 0.00037302
876.5 | 3.5192 | 0.5126 | 0.00034421
877 | 3.8928 | 0.8862 | 0.00059509
877.5 | 4.1941 | 1.1875 | 0.00079741
878 | 4.1576 | 1.151 | 0.0007729
878.5 | 4.093 | 1.0864 | 0.00072952
879 | 4.0754 | 1.0688 | 0.0007177
879.5 | 4.0234 | 1.0168 | 0.00068279
880 | 3.9461 | 0.9395 | 0.00063088
880.5 | 3.9723 | 0.9657 | 0.00064847
881 | 3.6661 | 0.6595 | 0.00044286
881.5 | 3.3869 | 0.3803 | 0.00025537
882 | 3.1832 | 0.1766 | 0.00011859
882.5 | 3.3707 | 0.3641 | 0.00024449
883 | 3.6845 | 0.6779 | 0.00045521
883.5 | 5.2867 | 2.2801 | 0.0015311
884 | 1.3576 | 0 | 0
884.5 | 1.4811 | 0 | 0
885 | 18.26 | 15.2534 | 0.010243
885.5 | 9.2569 | 6.2503 | 0.0041971
886 | -25.883 | 0 | 0
886.5 | 6.2263 | 3.2197 | 0.002162