## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 11.8 | 0 | 0
246.5 | 11.2 | 0 | 0
247 | 12.5 | 0 | 0
247.5 | 12.5 | 0 | 0
248 | 12.2 | 0 | 0
248.5 | 12.1 | 0 | 0
249 | 13.8 | 0 | 0
249.5 | 15 | 1.2 | 0.00034922
250 | 15.1 | 1.3 | 0.00037832
250.5 | 13.1 | 0 | 0
251 | 12.6 | 0 | 0
251.5 | 11 | 0 | 0
252 | 10.5 | 0 | 0
252.5 | 11.2 | 0 | 0
253 | 11.3 | 0 | 0
253.5 | 12 | 0 | 0
254 | 12.2 | 0 | 0
254.5 | 12.5 | 0 | 0
255 | 12.5 | 0 | 0
255.5 | 12.3 | 0 | 0
256 | 12.2 | 0 | 0
256.5 | 12.3 | 0 | 0
257 | 12.2 | 0 | 0
257.5 | 12.1 | 0 | 0
258 | 12.1 | 0 | 0
258.5 | 12.1 | 0 | 0
259 | 12.1 | 0 | 0
259.5 | 12 | 0 | 0
260 | 11.7 | 0 | 0
260.5 | 11.5 | 0 | 0
261 | 11.3 | 0 | 0
261.5 | 11.1 | 0 | 0
262 | 11.1 | 0 | 0
262.5 | 11.2 | 0 | 0
263 | 11.2 | 0 | 0
263.5 | 11 | 0 | 0
264 | 10.8 | 0 | 0
264.5 | 11 | 0 | 0
265 | 11.2 | 0 | 0
265.5 | 11.4 | 0 | 0
266 | 11.9 | 0 | 0
266.5 | 12.2 | 0 | 0
267 | 12.5 | 0 | 0
267.5 | 13 | 0 | 0
268 | 13 | 0 | 0
268.5 | 12.8 | 0 | 0
269 | 12.6 | 0 | 0
269.5 | 12.3 | 0 | 0
270 | 12.2 | 0 | 0
270.5 | 12.1 | 0 | 0
271 | 11.8 | 0 | 0
271.5 | 11.8 | 0 | 0
272 | 12.3 | 0 | 0
272.5 | 12.4 | 0 | 0
273 | 12.8 | 0 | 0
273.5 | 12.7 | 0 | 0
274 | 12.5 | 0 | 0
274.5 | 12.5 | 0 | 0
275 | 12.4 | 0 | 0
275.5 | 12.5 | 0 | 0
276 | 12.5 | 0 | 0
276.5 | 12.3 | 0 | 0
277 | 12.1 | 0 | 0
277.5 | 12.4 | 0 | 0
278 | 12.6 | 0 | 0
278.5 | 12.6 | 0 | 0
279 | 12.4 | 0 | 0
279.5 | 12.3 | 0 | 0
280 | 12 | 0 | 0
280.5 | 12.3 | 0 | 0
281 | 12.2 | 0 | 0
281.5 | 12 | 0 | 0
282 | 12 | 0 | 0
282.5 | 12 | 0 | 0
283 | 12.1 | 0 | 0
283.5 | 12.5 | 0 | 0
284 | 12.5 | 0 | 0
284.5 | 12.5 | 0 | 0
285 | 12.7 | 0 | 0
285.5 | 12.6 | 0 | 0
286 | 12.4 | 0 | 0
286.5 | 12.2 | 0 | 0
287 | 12.2 | 0 | 0
287.5 | 12.5 | 0 | 0
288 | 12.6 | 0 | 0
288.5 | 12.7 | 0 | 0
289 | 12.6 | 0 | 0
289.5 | 12.4 | 0 | 0
290 | 12.3 | 0 | 0
290.5 | 12 | 0 | 0
291 | 11.7 | 0 | 0
291.5 | 11.1 | 0 | 0
292 | 11 | 0 | 0
292.5 | 11.1 | 0 | 0
293 | 11.5 | 0 | 0
293.5 | 11.6 | 0 | 0
294 | 11.5 | 0 | 0
294.5 | 11.2 | 0 | 0
295 | 11.2 | 0 | 0
295.5 | 11.1 | 0 | 0
296 | 10.9 | 0 | 0
296.5 | 10.7 | 0 | 0
297 | 10.5 | 0 | 0
297.5 | 10.3 | 0 | 0
298 | 10.5 | 0 | 0
298.5 | 10.6 | 0 | 0
299 | 10.7 | 0 | 0
299.5 | 10.8 | 0 | 0
300 | 11.2 | 0 | 0
300.5 | 11.7 | 0 | 0
301 | 12.2 | 0 | 0
301.5 | 12.8 | 0 | 0
302 | 13.2 | 0 | 0
302.5 | 13.8 | 0 | 0
303 | 13.9 | 0.1 | 2.9102e-05
303.5 | 13.8 | 0 | 0
304 | 13.5 | 0 | 0
304.5 | 13.2 | 0 | 0
305 | 12.8 | 0 | 0
305.5 | 12.3 | 0 | 0
306 | 11.9 | 0 | 0
306.5 | 11.9 | 0 | 0
307 | 11.8 | 0 | 0
307.5 | 11.7 | 0 | 0
308 | 11.7 | 0 | 0
308.5 | 12 | 0 | 0
309 | 12.2 | 0 | 0
309.5 | 12.2 | 0 | 0
310 | 12.2 | 0 | 0
310.5 | 12.1 | 0 | 0
311 | 12.3 | 0 | 0
311.5 | 12.1 | 0 | 0
312 | 12 | 0 | 0
312.5 | 12.3 | 0 | 0
313 | 12.7 | 0 | 0
313.5 | 12.9 | 0 | 0
314 | 13.4 | 0 | 0
314.5 | 13.7 | 0 | 0
315 | 13.9 | 0.1 | 2.9102e-05
315.5 | 14 | 0.2 | 5.8204e-05
316 | 13.5 | 0 | 0
316.5 | 13.5 | 0 | 0
317 | 13.6 | 0 | 0
317.5 | 13.4 | 0 | 0
318 | 13.4 | 0 | 0
318.5 | 13.1 | 0 | 0
319 | 13.2 | 0 | 0
319.5 | 13.3 | 0 | 0
320 | 12.9 | 0 | 0
320.5 | 12.5 | 0 | 0
321 | 12.3 | 0 | 0
321.5 | 12.6 | 0 | 0
322 | 13 | 0 | 0
322.5 | 13.2 | 0 | 0
323 | 13.6 | 0 | 0
323.5 | 14.1 | 0.3 | 8.7306e-05
324 | 14.2 | 0.4 | 0.00011641
324.5 | 14 | 0.2 | 5.8204e-05
325 | 13.6 | 0 | 0
325.5 | 13.5 | 0 | 0
326 | 13.2 | 0 | 0
326.5 | 12.8 | 0 | 0
327 | 12.3 | 0 | 0
327.5 | 12.4 | 0 | 0
328 | 12.3 | 0 | 0
328.5 | 12 | 0 | 0
329 | 11.6 | 0 | 0
329.5 | 11.2 | 0 | 0
330 | 11.1 | 0 | 0
330.5 | 10.9 | 0 | 0
331 | 10.5 | 0 | 0
331.5 | 10.5 | 0 | 0
332 | 10.7 | 0 | 0
332.5 | 10.9 | 0 | 0
333 | 11.2 | 0 | 0
333.5 | 11.5 | 0 | 0
334 | 11.8 | 0 | 0
334.5 | 12 | 0 | 0
335 | 12 | 0 | 0
335.5 | 11.7 | 0 | 0
336 | 11.5 | 0 | 0
336.5 | 11.1 | 0 | 0
337 | 10.6 | 0 | 0
337.5 | 10.2 | 0 | 0
338 | 10.3 | 0 | 0
338.5 | 10.4 | 0 | 0
339 | 10.6 | 0 | 0
339.5 | 10.9 | 0 | 0
340 | 11.4 | 0 | 0
340.5 | 12.1 | 0 | 0
341 | 12.4 | 0 | 0
341.5 | 12.3 | 0 | 0
342 | 12.2 | 0 | 0
342.5 | 12.4 | 0 | 0
343 | 12.6 | 0 | 0
343.5 | 12.7 | 0 | 0
344 | 12.8 | 0 | 0
344.5 | 13 | 0 | 0
345 | 13.2 | 0 | 0
345.5 | 13.2 | 0 | 0
346 | 13.5 | 0 | 0
346.5 | 13.8 | 0 | 0
347 | 13.7 | 0 | 0
347.5 | 13.4 | 0 | 0
348 | 13.1 | 0 | 0
348.5 | 13 | 0 | 0
349 | 12.9 | 0 | 0
349.5 | 12.6 | 0 | 0
350 | 12.4 | 0 | 0
350.5 | 12.3 | 0 | 0
351 | 12.6 | 0 | 0
351.5 | 12.8 | 0 | 0
352 | 12.9 | 0 | 0
352.5 | 13 | 0 | 0
353 | 13.2 | 0 | 0
353.5 | 13.4 | 0 | 0
354 | 13.3 | 0 | 0
354.5 | 12.9 | 0 | 0
355 | 12.9 | 0 | 0
355.5 | 12.6 | 0 | 0
356 | 12.4 | 0 | 0
356.5 | 12.1 | 0 | 0
357 | 11.9 | 0 | 0
357.5 | 11.9 | 0 | 0
358 | 12.1 | 0 | 0
358.5 | 12.4 | 0 | 0
359 | 12.8 | 0 | 0
359.5 | 12.7 | 0 | 0
360 | 12.4 | 0 | 0
360.5 | 12.2 | 0 | 0
361 | 12.1 | 0 | 0
361.5 | 11.8 | 0 | 0
362 | 11.8 | 0 | 0
362.5 | 11.9 | 0 | 0
363 | 12.2 | 0 | 0
363.5 | 12.6 | 0 | 0
364 | 12.7 | 0 | 0
364.5 | 12.8 | 0 | 0
365 | 12.9 | 0 | 0
365.5 | 12.8 | 0 | 0
366 | 12.9 | 0 | 0
366.5 | 13.1 | 0 | 0
367 | 13.1 | 0 | 0
367.5 | 12.9 | 0 | 0
368 | 12.2 | 0 | 0
368.5 | 11.6 | 0 | 0
369 | 11.2 | 0 | 0
369.5 | 10.8 | 0 | 0
370 | 10.5 | 0 | 0
370.5 | 10.4 | 0 | 0
371 | 10.7 | 0 | 0
371.5 | 11.5 | 0 | 0
372 | 12.1 | 0 | 0
372.5 | 11.9 | 0 | 0
373 | 11.7 | 0 | 0
373.5 | 11.6 | 0 | 0
374 | 11.8 | 0 | 0
374.5 | 11.7 | 0 | 0
375 | 11.3 | 0 | 0
375.5 | 11 | 0 | 0
376 | 11.2 | 0 | 0
376.5 | 11.4 | 0 | 0
377 | 11.4 | 0 | 0
377.5 | 11.6 | 0 | 0
378 | 11.9 | 0 | 0
378.5 | 12.3 | 0 | 0
379 | 12.8 | 0 | 0
379.5 | 12.9 | 0 | 0
380 | 13.1 | 0 | 0
380.5 | 13.4 | 0 | 0
381 | 13.4 | 0 | 0
381.5 | 13.3 | 0 | 0
382 | 12.9 | 0 | 0
382.5 | 12.8 | 0 | 0
383 | 13 | 0 | 0
383.5 | 12.4 | 0 | 0
384 | 12.3 | 0 | 0
384.5 | 12.2 | 0 | 0
385 | 12.4 | 0 | 0
385.5 | 12.3 | 0 | 0
386 | 11.9 | 0 | 0
386.5 | 11.7 | 0 | 0
387 | 11.5 | 0 | 0
387.5 | 11.3 | 0 | 0
388 | 11.1 | 0 | 0
388.5 | 11.1 | 0 | 0
389 | 11.5 | 0 | 0
389.5 | 11.4 | 0 | 0
390 | 11.4 | 0 | 0
390.5 | 11.4 | 0 | 0
391 | 11.4 | 0 | 0
391.5 | 11.4 | 0 | 0
392 | 11.6 | 0 | 0
392.5 | 11.6 | 0 | 0
393 | 11.7 | 0 | 0
393.5 | 12.1 | 0 | 0
394 | 12.3 | 0 | 0
394.5 | 12.3 | 0 | 0
395 | 12.4 | 0 | 0
395.5 | 12.2 | 0 | 0
396 | 12.9 | 0 | 0
396.5 | 13.3 | 0 | 0
397 | 13.3 | 0 | 0
397.5 | 13.6 | 0 | 0
398 | 13.6 | 0 | 0
398.5 | 13.4 | 0 | 0
399 | 13 | 0 | 0
399.5 | 12.6 | 0 | 0
400 | 12.3 | 0 | 0
400.5 | 12.3 | 0 | 0
401 | 11.8 | 0 | 0
401.5 | 11.6 | 0 | 0
402 | 11.6 | 0 | 0
402.5 | 11.4 | 0 | 0
403 | 11.5 | 0 | 0
403.5 | 11.6 | 0 | 0
404 | 11.8 | 0 | 0
404.5 | 12.4 | 0 | 0
405 | 12.6 | 0 | 0
405.5 | 12.9 | 0 | 0
406 | 13.3 | 0 | 0
406.5 | 13.4 | 0 | 0
407 | 13.2 | 0 | 0
407.5 | 13 | 0 | 0
408 | 13.1 | 0 | 0
408.5 | 13.1 | 0 | 0
409 | 13.2 | 0 | 0
409.5 | 13 | 0 | 0
410 | 13.1 | 0 | 0
410.5 | 13.3 | 0 | 0
411 | 13.4 | 0 | 0
411.5 | 13.1 | 0 | 0
412 | 12.9 | 0 | 0
412.5 | 12.4 | 0 | 0
413 | 12.5 | 0 | 0
413.5 | 12.3 | 0 | 0
414 | 12.1 | 0 | 0
414.5 | 12.3 | 0 | 0
415 | 12.5 | 0 | 0
415.5 | 12.6 | 0 | 0
416 | 12.4 | 0 | 0
416.5 | 12.2 | 0 | 0
417 | 12.2 | 0 | 0
417.5 | 12.4 | 0 | 0
418 | 12.4 | 0 | 0
418.5 | 12.5 | 0 | 0
419 | 12.6 | 0 | 0
419.5 | 12.5 | 0 | 0
420 | 12.2 | 0 | 0
420.5 | 11.7 | 0 | 0
421 | 11.4 | 0 | 0
421.5 | 11.3 | 0 | 0
422 | 11.5 | 0 | 0
422.5 | 11.7 | 0 | 0
423 | 11.9 | 0 | 0
423.5 | 12.4 | 0 | 0
424 | 12.9 | 0 | 0
424.5 | 13 | 0 | 0
425 | 13.1 | 0 | 0
425.5 | 12.9 | 0 | 0
426 | 13 | 0 | 0
426.5 | 12.8 | 0 | 0
427 | 12.6 | 0 | 0
427.5 | 12.4 | 0 | 0
428 | 12.3 | 0 | 0
428.5 | 12.5 | 0 | 0
429 | 12.4 | 0 | 0
429.5 | 12.2 | 0 | 0
430 | 12 | 0 | 0
430.5 | 11.8 | 0 | 0
431 | 11.4 | 0 | 0
431.5 | 10.6 | 0 | 0
432 | 10.3 | 0 | 0
432.5 | 10.4 | 0 | 0
433 | 10.3 | 0 | 0
433.5 | 10.1 | 0 | 0
434 | 10.2 | 0 | 0
434.5 | 10.9 | 0 | 0
435 | 11.4 | 0 | 0
435.5 | 11.6 | 0 | 0
436 | 12 | 0 | 0
436.5 | 12.1 | 0 | 0
437 | 12.2 | 0 | 0
437.5 | 12.3 | 0 | 0
438 | 12.3 | 0 | 0
438.5 | 12.3 | 0 | 0
439 | 11.8 | 0 | 0
439.5 | 11.5 | 0 | 0
440 | 11.6 | 0 | 0
440.5 | 11.6 | 0 | 0
441 | 11.4 | 0 | 0
441.5 | 11.1 | 0 | 0
442 | 11.3 | 0 | 0
442.5 | 12 | 0 | 0
443 | 12.4 | 0 | 0
443.5 | 12.7 | 0 | 0
444 | 13 | 0 | 0
444.5 | 13.3 | 0 | 0
445 | 13.1 | 0 | 0
445.5 | 12.7 | 0 | 0
446 | 12.3 | 0 | 0
446.5 | 12.2 | 0 | 0
447 | 12.1 | 0 | 0
447.5 | 12 | 0 | 0
448 | 12.2 | 0 | 0
448.5 | 12.5 | 0 | 0
449 | 12.9 | 0 | 0
449.5 | 12.8 | 0 | 0
450 | 12.5 | 0 | 0
450.5 | 12.2 | 0 | 0
451 | 12.2 | 0 | 0
451.5 | 12.2 | 0 | 0
452 | 12 | 0 | 0
452.5 | 12.2 | 0 | 0
453 | 12.3 | 0 | 0
453.5 | 12.5 | 0 | 0
454 | 12.7 | 0 | 0
454.5 | 12.5 | 0 | 0
455 | 12.4 | 0 | 0
455.5 | 12 | 0 | 0
456 | 11.6 | 0 | 0
456.5 | 11.3 | 0 | 0
457 | 11 | 0 | 0
457.5 | 11 | 0 | 0
458 | 11.4 | 0 | 0
458.5 | 11.5 | 0 | 0
459 | 11.8 | 0 | 0
459.5 | 12 | 0 | 0
460 | 12 | 0 | 0
460.5 | 12 | 0 | 0
461 | 11.4 | 0 | 0
461.5 | 11.3 | 0 | 0
462 | 11.6 | 0 | 0
462.5 | 11.9 | 0 | 0
463 | 12.1 | 0 | 0
463.5 | 12.2 | 0 | 0
464 | 12.2 | 0 | 0
464.5 | 12.4 | 0 | 0
465 | 12.3 | 0 | 0
465.5 | 12.2 | 0 | 0
466 | 12 | 0 | 0
466.5 | 11.9 | 0 | 0
467 | 12 | 0 | 0
467.5 | 12.2 | 0 | 0
468 | 11.9 | 0 | 0
468.5 | 11.6 | 0 | 0
469 | 11.8 | 0 | 0
469.5 | 11.8 | 0 | 0
470 | 11.9 | 0 | 0
470.5 | 11.8 | 0 | 0
471 | 11.7 | 0 | 0
471.5 | 11.6 | 0 | 0
472 | 11.4 | 0 | 0
472.5 | 11.4 | 0 | 0
473 | 11.3 | 0 | 0
473.5 | 11.3 | 0 | 0
474 | 11.4 | 0 | 0
474.5 | 11.7 | 0 | 0
475 | 12.2 | 0 | 0
475.5 | 12.6 | 0 | 0
476 | 13 | 0 | 0
476.5 | 13.1 | 0 | 0
477 | 13.5 | 0 | 0
477.5 | 13.8 | 0 | 0
478 | 13.5 | 0 | 0
478.5 | 13.2 | 0 | 0
479 | 12.9 | 0 | 0
479.5 | 12.8 | 0 | 0
480 | 12.9 | 0 | 0
480.5 | 13.1 | 0 | 0
481 | 13.1 | 0 | 0
481.5 | 13.1 | 0 | 0
482 | 13.3 | 0 | 0
482.5 | 13.5 | 0 | 0
483 | 13.4 | 0 | 0
483.5 | 13.3 | 0 | 0
484 | 13.3 | 0 | 0
484.5 | 13.4 | 0 | 0
485 | 13 | 0 | 0
485.5 | 13 | 0 | 0
486 | 13.1 | 0 | 0
486.5 | 12.7 | 0 | 0
487 | 12.3 | 0 | 0
487.5 | 12.2 | 0 | 0
488 | 12.2 | 0 | 0
488.5 | 12 | 0 | 0
489 | 11.9 | 0 | 0
489.5 | 11.9 | 0 | 0
490 | 12.1 | 0 | 0
490.5 | 11.9 | 0 | 0
491 | 11.9 | 0 | 0
491.5 | 12.3 | 0 | 0
492 | 12.3 | 0 | 0
492.5 | 12.6 | 0 | 0
493 | 12.7 | 0 | 0
493.5 | 13 | 0 | 0
494 | 13.3 | 0 | 0
494.5 | 13.3 | 0 | 0
495 | 13 | 0 | 0
495.5 | 12.4 | 0 | 0
496 | 11.9 | 0 | 0
496.5 | 11.6 | 0 | 0
497 | 11.4 | 0 | 0
497.5 | 11.1 | 0 | 0
498 | 11.1 | 0 | 0
498.5 | 11.4 | 0 | 0
499 | 11.9 | 0 | 0
499.5 | 12 | 0 | 0
500 | 12.1 | 0 | 0
500.5 | 12.2 | 0 | 0
501 | 12.5 | 0 | 0
501.5 | 12.6 | 0 | 0
502 | 12.3 | 0 | 0
502.5 | 12 | 0 | 0
503 | 12.1 | 0 | 0
503.5 | 11.7 | 0 | 0
504 | 11.4 | 0 | 0
504.5 | 11.1 | 0 | 0
505 | 11.3 | 0 | 0
505.5 | 11.3 | 0 | 0
506 | 11.1 | 0 | 0
506.5 | 11.6 | 0 | 0
507 | 11.9 | 0 | 0
507.5 | 12.2 | 0 | 0
508 | 12.3 | 0 | 0
508.5 | 12.4 | 0 | 0
509 | 12.7 | 0 | 0
509.5 | 12.8 | 0 | 0
510 | 12.6 | 0 | 0
510.5 | 12.3 | 0 | 0
511 | 12.3 | 0 | 0
511.5 | 12.7 | 0 | 0
512 | 12.8 | 0 | 0
512.5 | 12.6 | 0 | 0
513 | 12.5 | 0 | 0
513.5 | 12.7 | 0 | 0
514 | 13 | 0 | 0
514.5 | 13 | 0 | 0
515 | 13.1 | 0 | 0
515.5 | 13.2 | 0 | 0
516 | 13.3 | 0 | 0
516.5 | 13.5 | 0 | 0
517 | 13.5 | 0 | 0
517.5 | 12.7 | 0 | 0
518 | 12.2 | 0 | 0
518.5 | 12.5 | 0 | 0
519 | 12.6 | 0 | 0
519.5 | 12.5 | 0 | 0
520 | 12.2 | 0 | 0
520.5 | 12.4 | 0 | 0
521 | 12.4 | 0 | 0
521.5 | 12 | 0 | 0
522 | 11.7 | 0 | 0
522.5 | 11.7 | 0 | 0
523 | 12.1 | 0 | 0
523.5 | 12.8 | 0 | 0
524 | 13.4 | 0 | 0
524.5 | 13.3 | 0 | 0
525 | 13.6 | 0 | 0
525.5 | 13.8 | 0 | 0
526 | 14 | 0.2 | 5.8204e-05
526.5 | 13.9 | 0.1 | 2.9102e-05
527 | 13.6 | 0 | 0
527.5 | 13.9 | 0.1 | 2.9102e-05
528 | 13.7 | 0 | 0
528.5 | 13.6 | 0 | 0
529 | 12.8 | 0 | 0
529.5 | 12 | 0 | 0
530 | 11.5 | 0 | 0
530.5 | 11.2 | 0 | 0
531 | 11.3 | 0 | 0
531.5 | 11.2 | 0 | 0
532 | 11.3 | 0 | 0
532.5 | 11.6 | 0 | 0
533 | 12 | 0 | 0
533.5 | 12.1 | 0 | 0
534 | 12.3 | 0 | 0
534.5 | 12.5 | 0 | 0
535 | 12.9 | 0 | 0
535.5 | 13 | 0 | 0
536 | 13.1 | 0 | 0
536.5 | 13.3 | 0 | 0
537 | 13 | 0 | 0
537.5 | 13 | 0 | 0
538 | 13 | 0 | 0
538.5 | 13.4 | 0 | 0
539 | 13.6 | 0 | 0
539.5 | 13.9 | 0.1 | 2.9102e-05
540 | 14.3 | 0.5 | 0.00014551
540.5 | 14.3 | 0.5 | 0.00014551
541 | 14.2 | 0.4 | 0.00011641
541.5 | 13.7 | 0 | 0
542 | 13.2 | 0 | 0
542.5 | 13.1 | 0 | 0
543 | 13.2 | 0 | 0
543.5 | 13.6 | 0 | 0
544 | 13.7 | 0 | 0
544.5 | 14 | 0.2 | 5.8204e-05
545 | 14.3 | 0.5 | 0.00014551
545.5 | 14.5 | 0.7 | 0.00020371
546 | 14.2 | 0.4 | 0.00011641
546.5 | 13.9 | 0.1 | 2.9102e-05
547 | 13.8 | 0 | 0
547.5 | 13.8 | 0 | 0
548 | 13.9 | 0.1 | 2.9102e-05
548.5 | 13.5 | 0 | 0
549 | 13.5 | 0 | 0
549.5 | 13.4 | 0 | 0
550 | 13.3 | 0 | 0
550.5 | 13.2 | 0 | 0
551 | 13.3 | 0 | 0
551.5 | 13 | 0 | 0
552 | 12.6 | 0 | 0
552.5 | 12.3 | 0 | 0
553 | 12.2 | 0 | 0
553.5 | 12.2 | 0 | 0
554 | 11.8 | 0 | 0
554.5 | 12 | 0 | 0
555 | 12.1 | 0 | 0
555.5 | 12 | 0 | 0
556 | 12.3 | 0 | 0
556.5 | 12.3 | 0 | 0
557 | 12.4 | 0 | 0
557.5 | 12.2 | 0 | 0
558 | 12.3 | 0 | 0
558.5 | 12.8 | 0 | 0
559 | 12.7 | 0 | 0
559.5 | 12.5 | 0 | 0
560 | 12.4 | 0 | 0
560.5 | 12.2 | 0 | 0
561 | 12.1 | 0 | 0
561.5 | 12.1 | 0 | 0
562 | 12.4 | 0 | 0
562.5 | 12.6 | 0 | 0
563 | 13.1 | 0 | 0
563.5 | 13.6 | 0 | 0
564 | 13.8 | 0 | 0
564.5 | 13.4 | 0 | 0
565 | 13.6 | 0 | 0
565.5 | 13.6 | 0 | 0
566 | 13.5 | 0 | 0
566.5 | 13.3 | 0 | 0
567 | 13.4 | 0 | 0
567.5 | 13.8 | 0 | 0
568 | 13.6 | 0 | 0
568.5 | 13.5 | 0 | 0
569 | 13.6 | 0 | 0
569.5 | 13.7 | 0 | 0
570 | 13.6 | 0 | 0
570.5 | 13.4 | 0 | 0
571 | 13.3 | 0 | 0
571.5 | 13.3 | 0 | 0
572 | 13.1 | 0 | 0
572.5 | 13.2 | 0 | 0
573 | 13.1 | 0 | 0
573.5 | 12.9 | 0 | 0
574 | 12.7 | 0 | 0
574.5 | 12.6 | 0 | 0
575 | 12.4 | 0 | 0
575.5 | 12.1 | 0 | 0
576 | 12.1 | 0 | 0
576.5 | 12.4 | 0 | 0
577 | 12.8 | 0 | 0
577.5 | 12.9 | 0 | 0
578 | 13.3 | 0 | 0
578.5 | 13.2 | 0 | 0
579 | 13.2 | 0 | 0
579.5 | 12.9 | 0 | 0
580 | 12.4 | 0 | 0
580.5 | 12.7 | 0 | 0
581 | 12.7 | 0 | 0
581.5 | 12.8 | 0 | 0
582 | 13.2 | 0 | 0
582.5 | 13.3 | 0 | 0
583 | 13.1 | 0 | 0
583.5 | 12.6 | 0 | 0
584 | 12.3 | 0 | 0
584.5 | 12.2 | 0 | 0
585 | 12.3 | 0 | 0
585.5 | 12.6 | 0 | 0
586 | 13 | 0 | 0
586.5 | 13.2 | 0 | 0
587 | 13.3 | 0 | 0
587.5 | 13.5 | 0 | 0
588 | 13.5 | 0 | 0
588.5 | 13.6 | 0 | 0
589 | 13.4 | 0 | 0
589.5 | 13.3 | 0 | 0
590 | 13.2 | 0 | 0
590.5 | 12.8 | 0 | 0
591 | 12 | 0 | 0
591.5 | 11.7 | 0 | 0
592 | 11.6 | 0 | 0
592.5 | 12 | 0 | 0
593 | 12.2 | 0 | 0
593.5 | 12.5 | 0 | 0
594 | 12.6 | 0 | 0
594.5 | 12.6 | 0 | 0
595 | 12.4 | 0 | 0
595.5 | 12 | 0 | 0
596 | 11.9 | 0 | 0
596.5 | 11.9 | 0 | 0
597 | 12.1 | 0 | 0
597.5 | 12.4 | 0 | 0
598 | 13 | 0 | 0
598.5 | 13.6 | 0 | 0
599 | 14 | 0.2 | 5.8204e-05
599.5 | 14.2 | 0.4 | 0.00011641
600 | 14.5 | 0.7 | 0.00020371
600.5 | 14.4 | 0.6 | 0.00017461
601 | 13.8 | 0 | 0
601.5 | 13.7 | 0 | 0
602 | 13.7 | 0 | 0
602.5 | 14 | 0.2 | 5.8204e-05
603 | 13.9 | 0.1 | 2.9102e-05
603.5 | 14 | 0.2 | 5.8204e-05
604 | 14 | 0.2 | 5.8204e-05
604.5 | 13.8 | 0 | 0
605 | 13.7 | 0 | 0
605.5 | 13.8 | 0 | 0
606 | 14.2 | 0.4 | 0.00011641
606.5 | 14.3 | 0.5 | 0.00014551
607 | 14.6 | 0.8 | 0.00023282
607.5 | 14.5 | 0.7 | 0.00020371
608 | 14.4 | 0.6 | 0.00017461
608.5 | 14.3 | 0.5 | 0.00014551
609 | 14.2 | 0.4 | 0.00011641
609.5 | 13.9 | 0.1 | 2.9102e-05
610 | 14 | 0.2 | 5.8204e-05
610.5 | 14.3 | 0.5 | 0.00014551
611 | 13.9 | 0.1 | 2.9102e-05
611.5 | 13.5 | 0 | 0
612 | 13.3 | 0 | 0
612.5 | 13.5 | 0 | 0
613 | 13.5 | 0 | 0
613.5 | 13.6 | 0 | 0
614 | 14.1 | 0.3 | 8.7306e-05
614.5 | 14.7 | 0.9 | 0.00026192
615 | 14.9 | 1.1 | 0.00032012
615.5 | 14.8 | 1 | 0.00029102
616 | 14.9 | 1.1 | 0.00032012
616.5 | 14.8 | 1 | 0.00029102
617 | 14.6 | 0.8 | 0.00023282
617.5 | 14.5 | 0.7 | 0.00020371
618 | 14.1 | 0.3 | 8.7306e-05
618.5 | 13.5 | 0 | 0
619 | 13.3 | 0 | 0
619.5 | 12.9 | 0 | 0
620 | 13 | 0 | 0
620.5 | 13.3 | 0 | 0
621 | 14.2 | 0.4 | 0.00011641
621.5 | 14.6 | 0.8 | 0.00023282
622 | 15 | 1.2 | 0.00034922
622.5 | 15.5 | 1.7 | 0.00049473
623 | 15.5 | 1.7 | 0.00049473
623.5 | 15.7 | 1.9 | 0.00055294
624 | 16 | 2.2 | 0.00064024
624.5 | 16.3 | 2.5 | 0.00072755
625 | 16.3 | 2.5 | 0.00072755
625.5 | 16.5 | 2.7 | 0.00078575
626 | 16.6 | 2.8 | 0.00081485
626.5 | 16.9 | 3.1 | 0.00090216
627 | 17 | 3.2 | 0.00093126
627.5 | 17.6 | 3.8 | 0.0011059
628 | 18.2 | 4.4 | 0.0012805
628.5 | 18.8 | 5 | 0.0014551
629 | 19.2 | 5.4 | 0.0015715
629.5 | 20.1 | 6.3 | 0.0018334
630 | 21 | 7.2 | 0.0020953
630.5 | 21.9 | 8.1 | 0.0023573
631 | 22.8 | 9 | 0.0026192
631.5 | 23.9 | 10.1 | 0.0029393
632 | 25 | 11.2 | 0.0032594
632.5 | 25.5 | 11.7 | 0.0034049
633 | 26.2 | 12.4 | 0.0036086
633.5 | 27.2 | 13.4 | 0.0038997
634 | 28.5 | 14.7 | 0.004278
634.5 | 30 | 16.2 | 0.0047145
635 | 31.2 | 17.4 | 0.0050637
635.5 | 32.7 | 18.9 | 0.0055003
636 | 34 | 20.2 | 0.0058786
636.5 | 35.3 | 21.5 | 0.0062569
637 | 36.7 | 22.9 | 0.0066643
637.5 | 38 | 24.2 | 0.0070427
638 | 40 | 26.2 | 0.0076247
638.5 | 42.1 | 28.3 | 0.0082358
639 | 44.2 | 30.4 | 0.008847
639.5 | 45.5 | 31.7 | 0.0092253
640 | 46.8 | 33 | 0.0096036
640.5 | 48.2 | 34.4 | 0.010011
641 | 49.5 | 35.7 | 0.010389
641.5 | 51.2 | 37.4 | 0.010884
642 | 53.2 | 39.4 | 0.011466
642.5 | 56 | 42.2 | 0.012281
643 | 58.7 | 44.9 | 0.013067
643.5 | 61.3 | 47.5 | 0.013823
644 | 63.8 | 50 | 0.014551
644.5 | 65.9 | 52.1 | 0.015162
645 | 68.1 | 54.3 | 0.015802
645.5 | 71 | 57.2 | 0.016646
646 | 74.4 | 60.6 | 0.017636
646.5 | 77.4 | 63.6 | 0.018509
647 | 80.2 | 66.4 | 0.019324
647.5 | 83 | 69.2 | 0.020139
648 | 86 | 72.2 | 0.021012
648.5 | 89 | 75.2 | 0.021885
649 | 93.1 | 79.3 | 0.023078
649.5 | 96.9 | 83.1 | 0.024184
650 | 101 | 87.2 | 0.025377
650.5 | 106 | 92.2 | 0.026832
651 | 111 | 97.2 | 0.028287
651.5 | 115 | 101.2 | 0.029451
652 | 119 | 105.2 | 0.030615
652.5 | 124 | 110.2 | 0.03207
653 | 129 | 115.2 | 0.033525
653.5 | 133 | 119.2 | 0.034689
654 | 138 | 124.2 | 0.036145
654.5 | 143 | 129.2 | 0.0376
655 | 149 | 135.2 | 0.039346
655.5 | 154 | 140.2 | 0.040801
656 | 160 | 146.2 | 0.042547
656.5 | 165 | 151.2 | 0.044002
657 | 171 | 157.2 | 0.045748
657.5 | 177 | 163.2 | 0.047494
658 | 183 | 169.2 | 0.04924
658.5 | 190 | 176.2 | 0.051278
659 | 198 | 184.2 | 0.053606
659.5 | 206 | 192.2 | 0.055934
660 | 214 | 200.2 | 0.058262
660.5 | 221 | 207.2 | 0.060299
661 | 228 | 214.2 | 0.062336
661.5 | 236 | 222.2 | 0.064664
662 | 245 | 231.2 | 0.067284
662.5 | 253 | 239.2 | 0.069612
663 | 262 | 248.2 | 0.072231
663.5 | 272 | 258.2 | 0.075141
664 | 282 | 268.2 | 0.078051
664.5 | 294 | 280.2 | 0.081544
665 | 306 | 292.2 | 0.085036
665.5 | 318 | 304.2 | 0.088528
666 | 330 | 316.2 | 0.09202
666.5 | 343 | 329.2 | 0.095804
667 | 355 | 341.2 | 0.099296
667.5 | 367 | 353.2 | 0.10279
668 | 380 | 366.2 | 0.10657
668.5 | 395 | 381.2 | 0.11094
669 | 409 | 395.2 | 0.11501
669.5 | 423 | 409.2 | 0.11909
670 | 439 | 425.2 | 0.12374
670.5 | 455 | 441.2 | 0.1284
671 | 471 | 457.2 | 0.13305
671.5 | 487 | 473.2 | 0.13771
672 | 503 | 489.2 | 0.14237
672.5 | 522 | 508.2 | 0.1479
673 | 542 | 528.2 | 0.15372
673.5 | 561 | 547.2 | 0.15925
674 | 582 | 568.2 | 0.16536
674.5 | 605 | 591.2 | 0.17205
675 | 630 | 616.2 | 0.17933
675.5 | 655 | 641.2 | 0.1866
676 | 682 | 668.2 | 0.19446
676.5 | 709 | 695.2 | 0.20232
677 | 736 | 722.2 | 0.21017
677.5 | 760 | 746.2 | 0.21716
678 | 785 | 771.2 | 0.22443
678.5 | 811 | 797.2 | 0.232
679 | 839 | 825.2 | 0.24015
679.5 | 871 | 857.2 | 0.24946
680 | 904 | 890.2 | 0.25907
680.5 | 936 | 922.2 | 0.26838
681 | 969 | 955.2 | 0.27798
681.5 | 1010 | 996.2 | 0.28991
682 | 1040 | 1026.2 | 0.29864
682.5 | 1080 | 1066.2 | 0.31028
683 | 1130 | 1116.2 | 0.32484
683.5 | 1170 | 1156.2 | 0.33648
684 | 1200 | 1186.2 | 0.34521
684.5 | 1240 | 1226.2 | 0.35685
685 | 1270 | 1256.2 | 0.36558
685.5 | 1320 | 1306.2 | 0.38013
686 | 1370 | 1356.2 | 0.39468
686.5 | 1420 | 1406.2 | 0.40923
687 | 1480 | 1466.2 | 0.42669
687.5 | 1530 | 1516.2 | 0.44124
688 | 1590 | 1576.2 | 0.4587
688.5 | 1640 | 1626.2 | 0.47326
689 | 1700 | 1686.2 | 0.49072
689.5 | 1760 | 1746.2 | 0.50818
690 | 1830 | 1816.2 | 0.52855
690.5 | 1900 | 1886.2 | 0.54892
691 | 1980 | 1966.2 | 0.5722
691.5 | 2050 | 2036.2 | 0.59257
692 | 2120 | 2106.2 | 0.61294
692.5 | 2190 | 2176.2 | 0.63332
693 | 2250 | 2236.2 | 0.65078
693.5 | 2310 | 2296.2 | 0.66824
694 | 2380 | 2366.2 | 0.68861
694.5 | 2440 | 2426.2 | 0.70607
695 | 2510 | 2496.2 | 0.72644
695.5 | 2580 | 2566.2 | 0.74681
696 | 2650 | 2636.2 | 0.76718
696.5 | 2730 | 2716.2 | 0.79047
697 | 2810 | 2796.2 | 0.81375
697.5 | 2900 | 2886.2 | 0.83994
698 | 2990 | 2976.2 | 0.86613
698.5 | 3070 | 3056.2 | 0.88941
699 | 3150 | 3136.2 | 0.91269
699.5 | 3220 | 3206.2 | 0.93307
700 | 3280 | 3266.2 | 0.95053
700.5 | 3340 | 3326.2 | 0.96799
701 | 3380 | 3366.2 | 0.97963
701.5 | 3430 | 3416.2 | 0.99418
702 | 3450 | 3436.2 | 1
702.5 | 3440 | 3426.2 | 0.99709
703 | 3410 | 3396.2 | 0.98836
703.5 | 3370 | 3356.2 | 0.97672
704 | 3310 | 3296.2 | 0.95926
704.5 | 3250 | 3236.2 | 0.9418
705 | 3180 | 3166.2 | 0.92142
705.5 | 3090 | 3076.2 | 0.89523
706 | 2990 | 2976.2 | 0.86613
706.5 | 2870 | 2856.2 | 0.83121
707 | 2740 | 2726.2 | 0.79338
707.5 | 2610 | 2596.2 | 0.75554
708 | 2480 | 2466.2 | 0.71771
708.5 | 2340 | 2326.2 | 0.67697
709 | 2210 | 2196.2 | 0.63914
709.5 | 2070 | 2056.2 | 0.59839
710 | 1950 | 1936.2 | 0.56347
710.5 | 1820 | 1806.2 | 0.52564
711 | 1700 | 1686.2 | 0.49072
711.5 | 1580 | 1566.2 | 0.45579
712 | 1460 | 1446.2 | 0.42087
712.5 | 1350 | 1336.2 | 0.38886
713 | 1240 | 1226.2 | 0.35685
713.5 | 1150 | 1136.2 | 0.33066
714 | 1060 | 1046.2 | 0.30446
714.5 | 983 | 969.2 | 0.28206
715 | 910 | 896.2 | 0.26081
715.5 | 841 | 827.2 | 0.24073
716 | 779 | 765.2 | 0.22269
716.5 | 721 | 707.2 | 0.20581
717 | 666 | 652.2 | 0.1898
717.5 | 616 | 602.2 | 0.17525
718 | 568 | 554.2 | 0.16128
718.5 | 524 | 510.2 | 0.14848
719 | 485 | 471.2 | 0.13713
719.5 | 448 | 434.2 | 0.12636
720 | 415 | 401.2 | 0.11676
720.5 | 386 | 372.2 | 0.10832
721 | 358 | 344.2 | 0.10017
721.5 | 332 | 318.2 | 0.092602
722 | 309 | 295.2 | 0.085909
722.5 | 289 | 275.2 | 0.080088
723 | 269 | 255.2 | 0.074268
723.5 | 251 | 237.2 | 0.06903
724 | 235 | 221.2 | 0.064373
724.5 | 220 | 206.2 | 0.060008
725 | 206 | 192.2 | 0.055934
725.5 | 193 | 179.2 | 0.052151
726 | 180 | 166.2 | 0.048367
726.5 | 168 | 154.2 | 0.044875
727 | 158 | 144.2 | 0.041965
727.5 | 149 | 135.2 | 0.039346
728 | 140 | 126.2 | 0.036727
728.5 | 133 | 119.2 | 0.034689
729 | 127 | 113.2 | 0.032943
729.5 | 119 | 105.2 | 0.030615
730 | 112 | 98.2 | 0.028578
730.5 | 105 | 91.2 | 0.026541
731 | 98.4 | 84.6 | 0.02462
731.5 | 92.2 | 78.4 | 0.022816
732 | 86.8 | 73 | 0.021244
732.5 | 82.9 | 69.1 | 0.020109
733 | 78.8 | 65 | 0.018916
733.5 | 75.2 | 61.4 | 0.017869
734 | 72 | 58.2 | 0.016937
734.5 | 69 | 55.2 | 0.016064
735 | 65.6 | 51.8 | 0.015075
735.5 | 62.1 | 48.3 | 0.014056
736 | 58.5 | 44.7 | 0.013009
736.5 | 55.2 | 41.4 | 0.012048
737 | 51.9 | 38.1 | 0.011088
737.5 | 49 | 35.2 | 0.010244
738 | 45.8 | 32 | 0.0093126
738.5 | 44 | 30.2 | 0.0087888
739 | 42 | 28.2 | 0.0082067
739.5 | 40.4 | 26.6 | 0.0077411
740 | 39.3 | 25.5 | 0.007421
740.5 | 38.6 | 24.8 | 0.0072173
741 | 37 | 23.2 | 0.0067516
741.5 | 35.8 | 22 | 0.0064024
742 | 34.4 | 20.6 | 0.005995
742.5 | 32.8 | 19 | 0.0055294
743 | 32 | 18.2 | 0.0052965
743.5 | 31 | 17.2 | 0.0050055
744 | 30 | 16.2 | 0.0047145
744.5 | 28.8 | 15 | 0.0043653
745 | 27.9 | 14.1 | 0.0041034
745.5 | 26.8 | 13 | 0.0037832
746 | 26 | 12.2 | 0.0035504
746.5 | 25 | 11.2 | 0.0032594
747 | 24.3 | 10.5 | 0.0030557
747.5 | 24.1 | 10.3 | 0.0029975
748 | 24.1 | 10.3 | 0.0029975
748.5 | 24 | 10.2 | 0.0029684
749 | 22.9 | 9.1 | 0.0026483
749.5 | 21.9 | 8.1 | 0.0023573
750 | 20.9 | 7.1 | 0.0020662
750.5 | 20 | 6.2 | 0.0018043
751 | 19.3 | 5.5 | 0.0016006
751.5 | 18.9 | 5.1 | 0.0014842
752 | 18.6 | 4.8 | 0.0013969
752.5 | 18.1 | 4.3 | 0.0012514
753 | 17.6 | 3.8 | 0.0011059
753.5 | 17.5 | 3.7 | 0.0010768
754 | 18 | 4.2 | 0.0012223
754.5 | 18 | 4.2 | 0.0012223
755 | 17.4 | 3.6 | 0.0010477
755.5 | 17.2 | 3.4 | 0.00098947
756 | 16.9 | 3.1 | 0.00090216
756.5 | 16.8 | 3 | 0.00087306
757 | 17 | 3.2 | 0.00093126
757.5 | 17.4 | 3.6 | 0.0010477
758 | 17.1 | 3.3 | 0.00096036
758.5 | 16.7 | 2.9 | 0.00084396
759 | 16.3 | 2.5 | 0.00072755
759.5 | 15.9 | 2.1 | 0.00061114
760 | 15.9 | 2.1 | 0.00061114
760.5 | 16 | 2.2 | 0.00064024
761 | 15.7 | 1.9 | 0.00055294
761.5 | 14.8 | 1 | 0.00029102
762 | 14.7 | 0.9 | 0.00026192
762.5 | 14.5 | 0.7 | 0.00020371
763 | 14.9 | 1.1 | 0.00032012
763.5 | 15.5 | 1.7 | 0.00049473
764 | 16.1 | 2.3 | 0.00066934
764.5 | 15.7 | 1.9 | 0.00055294
765 | 15.5 | 1.7 | 0.00049473
765.5 | 14.9 | 1.1 | 0.00032012
766 | 14.4 | 0.6 | 0.00017461
766.5 | 14.1 | 0.3 | 8.7306e-05
767 | 14.1 | 0.3 | 8.7306e-05
767.5 | 13.9 | 0.1 | 2.9102e-05
768 | 13.7 | 0 | 0
768.5 | 13.9 | 0.1 | 2.9102e-05
769 | 14.4 | 0.6 | 0.00017461
769.5 | 14.5 | 0.7 | 0.00020371
770 | 14.4 | 0.6 | 0.00017461
770.5 | 14.3 | 0.5 | 0.00014551
771 | 13.7 | 0 | 0
771.5 | 13.3 | 0 | 0
772 | 13.1 | 0 | 0
772.5 | 13.7 | 0 | 0
773 | 13.9 | 0.1 | 2.9102e-05
773.5 | 13.7 | 0 | 0
774 | 13.5 | 0 | 0
774.5 | 13.6 | 0 | 0
775 | 13.6 | 0 | 0
775.5 | 13.9 | 0.1 | 2.9102e-05
776 | 14.5 | 0.7 | 0.00020371
776.5 | 14.5 | 0.7 | 0.00020371
777 | 13.8 | 0 | 0
777.5 | 13 | 0 | 0
778 | 12.3 | 0 | 0
778.5 | 12 | 0 | 0
779 | 12 | 0 | 0
779.5 | 12.5 | 0 | 0
780 | 12.8 | 0 | 0
780.5 | 12.6 | 0 | 0
781 | 13.2 | 0 | 0
781.5 | 13.5 | 0 | 0
782 | 13.3 | 0 | 0
782.5 | 13.4 | 0 | 0
783 | 13.7 | 0 | 0
783.5 | 13.5 | 0 | 0
784 | 13.2 | 0 | 0
784.5 | 13.1 | 0 | 0
785 | 13.1 | 0 | 0
785.5 | 12.8 | 0 | 0
786 | 12.8 | 0 | 0
786.5 | 12.8 | 0 | 0
787 | 12.1 | 0 | 0
787.5 | 12.2 | 0 | 0
788 | 12.5 | 0 | 0
788.5 | 12.2 | 0 | 0
789 | 12.2 | 0 | 0
789.5 | 12.4 | 0 | 0
790 | 12.1 | 0 | 0
790.5 | 12.5 | 0 | 0
791 | 12.3 | 0 | 0
791.5 | 12.4 | 0 | 0
792 | 12.9 | 0 | 0
792.5 | 12.5 | 0 | 0
793 | 11.8 | 0 | 0
793.5 | 12.2 | 0 | 0
794 | 12.3 | 0 | 0
794.5 | 11.9 | 0 | 0
795 | 12.2 | 0 | 0
795.5 | 12.6 | 0 | 0
796 | 12.7 | 0 | 0
796.5 | 12.4 | 0 | 0
797 | 12.6 | 0 | 0
797.5 | 12.7 | 0 | 0
798 | 12.3 | 0 | 0
798.5 | 12 | 0 | 0
799 | 11.9 | 0 | 0
799.5 | 11.7 | 0 | 0
800 | 11.6 | 0 | 0
800.5 | 11.8 | 0 | 0
801 | 12 | 0 | 0
801.5 | 12 | 0 | 0
802 | 12.4 | 0 | 0
802.5 | 12.7 | 0 | 0
803 | 12.9 | 0 | 0
803.5 | 12.8 | 0 | 0
804 | 12.5 | 0 | 0
804.5 | 12.2 | 0 | 0
805 | 12.1 | 0 | 0
805.5 | 11.9 | 0 | 0
806 | 11.8 | 0 | 0
806.5 | 12 | 0 | 0
807 | 12.1 | 0 | 0
807.5 | 11.9 | 0 | 0
808 | 12.4 | 0 | 0
808.5 | 13.1 | 0 | 0
809 | 13.4 | 0 | 0
809.5 | 13.5 | 0 | 0
810 | 13.9 | 0.1 | 2.9102e-05
810.5 | 14.2 | 0.4 | 0.00011641
811 | 14.2 | 0.4 | 0.00011641
811.5 | 14.1 | 0.3 | 8.7306e-05
812 | 14.3 | 0.5 | 0.00014551
812.5 | 14.2 | 0.4 | 0.00011641
813 | 13.9 | 0.1 | 2.9102e-05
813.5 | 13.6 | 0 | 0
814 | 13 | 0 | 0
814.5 | 12.8 | 0 | 0
815 | 12.5 | 0 | 0
815.5 | 12.2 | 0 | 0
816 | 11.8 | 0 | 0
816.5 | 11.2 | 0 | 0
817 | 11 | 0 | 0
817.5 | 11.2 | 0 | 0
818 | 11.2 | 0 | 0
818.5 | 12 | 0 | 0
819 | 12.4 | 0 | 0
819.5 | 12.4 | 0 | 0
820 | 12.4 | 0 | 0
820.5 | 12.2 | 0 | 0
821 | 12.6 | 0 | 0
821.5 | 12.4 | 0 | 0
822 | 12.2 | 0 | 0
822.5 | 12 | 0 | 0
823 | 11.5 | 0 | 0
823.5 | 11.2 | 0 | 0
824 | 11.4 | 0 | 0
824.5 | 11.5 | 0 | 0
825 | 11.5 | 0 | 0
825.5 | 11.7 | 0 | 0
826 | 11.4 | 0 | 0
826.5 | 11.5 | 0 | 0
827 | 11.2 | 0 | 0
827.5 | 10.8 | 0 | 0
828 | 10.7 | 0 | 0
828.5 | 10.7 | 0 | 0
829 | 10.8 | 0 | 0
829.5 | 11.3 | 0 | 0
830 | 11.6 | 0 | 0
830.5 | 11.5 | 0 | 0
831 | 11.4 | 0 | 0
831.5 | 11.3 | 0 | 0
832 | 11.3 | 0 | 0
832.5 | 11.5 | 0 | 0
833 | 11.6 | 0 | 0
833.5 | 11.2 | 0 | 0
834 | 10.9 | 0 | 0
834.5 | 11.3 | 0 | 0
835 | 11.5 | 0 | 0
835.5 | 11.6 | 0 | 0
836 | 12.1 | 0 | 0
836.5 | 11.8 | 0 | 0
837 | 11.3 | 0 | 0
837.5 | 10.8 | 0 | 0
838 | 11.2 | 0 | 0
838.5 | 11.3 | 0 | 0
839 | 10.9 | 0 | 0
839.5 | 11.2 | 0 | 0
840 | 11 | 0 | 0
840.5 | 10.8 | 0 | 0
841 | 11.3 | 0 | 0
841.5 | 12 | 0 | 0
842 | 12.4 | 0 | 0
842.5 | 12.9 | 0 | 0
843 | 13.4 | 0 | 0
843.5 | 13.1 | 0 | 0
844 | 12.5 | 0 | 0
844.5 | 12.2 | 0 | 0
845 | 11.7 | 0 | 0
845.5 | 11.6 | 0 | 0
846 | 12.2 | 0 | 0
846.5 | 12.5 | 0 | 0
847 | 12.2 | 0 | 0
847.5 | 12.2 | 0 | 0
848 | 12.2 | 0 | 0
848.5 | 12.3 | 0 | 0
849 | 12.5 | 0 | 0
849.5 | 13.4 | 0 | 0
850 | 13.6 | 0 | 0
850.5 | 13.3 | 0 | 0
851 | 13 | 0 | 0
851.5 | 12.8 | 0 | 0
852 | 12.4 | 0 | 0
852.5 | 12.4 | 0 | 0
853 | 12.4 | 0 | 0
853.5 | 12.2 | 0 | 0
854 | 12 | 0 | 0
854.5 | 11.8 | 0 | 0
855 | 12 | 0 | 0
855.5 | 12.3 | 0 | 0
856 | 12 | 0 | 0
856.5 | 11.5 | 0 | 0
857 | 11.4 | 0 | 0
857.5 | 12.2 | 0 | 0
858 | 12.9 | 0 | 0
858.5 | 13.5 | 0 | 0
859 | 13.9 | 0.1 | 2.9102e-05
859.5 | 13.2 | 0 | 0
860 | 12.5 | 0 | 0
860.5 | 12.7 | 0 | 0
861 | 13 | 0 | 0
861.5 | 13 | 0 | 0
862 | 13.1 | 0 | 0
862.5 | 13 | 0 | 0
863 | 13 | 0 | 0
863.5 | 13 | 0 | 0
864 | 13.2 | 0 | 0
864.5 | 13.7 | 0 | 0
865 | 13.5 | 0 | 0
865.5 | 13 | 0 | 0
866 | 13.1 | 0 | 0
866.5 | 12.8 | 0 | 0
867 | 12.4 | 0 | 0
867.5 | 12.3 | 0 | 0
868 | 12.5 | 0 | 0
868.5 | 12.9 | 0 | 0
869 | 12.9 | 0 | 0
869.5 | 13.2 | 0 | 0
870 | 13.5 | 0 | 0
870.5 | 12.9 | 0 | 0
871 | 12.8 | 0 | 0
871.5 | 12.7 | 0 | 0
872 | 12.7 | 0 | 0
872.5 | 12.8 | 0 | 0
873 | 12.5 | 0 | 0
873.5 | 12.3 | 0 | 0
874 | 12.4 | 0 | 0
874.5 | 12.3 | 0 | 0
875 | 12.3 | 0 | 0
875.5 | 11.8 | 0 | 0
876 | 11.3 | 0 | 0
876.5 | 11.6 | 0 | 0
877 | 11.4 | 0 | 0
877.5 | 11.4 | 0 | 0
878 | 11.7 | 0 | 0
878.5 | 11.5 | 0 | 0
879 | 11.7 | 0 | 0
879.5 | 12.6 | 0 | 0
880 | 13 | 0 | 0
880.5 | 13.4 | 0 | 0
881 | 13.2 | 0 | 0
881.5 | 12.4 | 0 | 0
882 | 12.3 | 0 | 0
882.5 | 11.9 | 0 | 0
883 | 11.9 | 0 | 0
883.5 | 11.8 | 0 | 0
884 | 11.3 | 0 | 0
884.5 | 11.1 | 0 | 0
885 | 11.4 | 0 | 0
885.5 | 11.8 | 0 | 0
886 | 12.4 | 0 | 0
886.5 | 13.4 | 0 | 0