## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 7.87 | 0 | 0
246.5 | 7.633 | 0 | 0
247 | 8.174 | 0 | 0
247.5 | 9.225 | 0 | 0
248 | 8.488 | 0 | 0
248.5 | 10.07 | 0.343 | 9.1071e-05
249 | 9.727 | 0 | 0
249.5 | 11.2 | 1.473 | 0.0003911
250 | 12.43 | 2.703 | 0.00071769
250.5 | 10.94 | 1.213 | 0.00032207
251 | 9.668 | 0 | 0
251.5 | 9.464 | 0 | 0
252 | 11.92 | 2.193 | 0.00058227
252.5 | 11.13 | 1.403 | 0.00037252
253 | 10.29 | 0.563 | 0.00014948
253.5 | 9.776 | 0.049 | 1.301e-05
254 | 10.78 | 1.053 | 0.00027959
254.5 | 10.64 | 0.913 | 0.00024241
255 | 10.34 | 0.613 | 0.00016276
255.5 | 10.25 | 0.523 | 0.00013886
256 | 10.18 | 0.453 | 0.00012028
256.5 | 10.01 | 0.283 | 7.5141e-05
257 | 9.615 | 0 | 0
257.5 | 9.682 | 0 | 0
258 | 9.832 | 0.105 | 2.7879e-05
258.5 | 10.11 | 0.383 | 0.00010169
259 | 10.03 | 0.303 | 8.0451e-05
259.5 | 9.851 | 0.124 | 3.2924e-05
260 | 9.819 | 0.092 | 2.4427e-05
260.5 | 9.679 | 0 | 0
261 | 9.213 | 0 | 0
261.5 | 9.002 | 0 | 0
262 | 9.065 | 0 | 0
262.5 | 9.181 | 0 | 0
263 | 9.617 | 0 | 0
263.5 | 9.896 | 0.169 | 4.4872e-05
264 | 10.07 | 0.343 | 9.1071e-05
264.5 | 10.3 | 0.573 | 0.00015214
265 | 10.48 | 0.753 | 0.00019993
265.5 | 10.75 | 1.023 | 0.00027162
266 | 11.05 | 1.323 | 0.00035128
266.5 | 10.98 | 1.253 | 0.00033269
267 | 10.86 | 1.133 | 0.00030083
267.5 | 10.72 | 0.993 | 0.00026366
268 | 10.64 | 0.913 | 0.00024241
268.5 | 10.27 | 0.543 | 0.00014417
269 | 10.03 | 0.303 | 8.0451e-05
269.5 | 9.806 | 0.079 | 2.0976e-05
270 | 9.821 | 0.094 | 2.4958e-05
270.5 | 9.584 | 0 | 0
271 | 9.424 | 0 | 0
271.5 | 9.608 | 0 | 0
272 | 10.28 | 0.553 | 0.00014683
272.5 | 10.47 | 0.743 | 0.00019728
273 | 10.68 | 0.953 | 0.00025304
273.5 | 11.02 | 1.293 | 0.00034331
274 | 11.19 | 1.463 | 0.00038845
274.5 | 11.53 | 1.803 | 0.00047872
275 | 11.7 | 1.973 | 0.00052386
275.5 | 11.57 | 1.843 | 0.00048934
276 | 11.57 | 1.843 | 0.00048934
276.5 | 11.42 | 1.693 | 0.00044952
277 | 11.08 | 1.353 | 0.00035924
277.5 | 11.11 | 1.383 | 0.00036721
278 | 11.09 | 1.363 | 0.0003619
278.5 | 10.92 | 1.193 | 0.00031676
279 | 10.46 | 0.733 | 0.00019462
279.5 | 10.22 | 0.493 | 0.0001309
280 | 10 | 0.273 | 7.2485e-05
280.5 | 9.891 | 0.164 | 4.3544e-05
281 | 9.88 | 0.153 | 4.0624e-05
281.5 | 9.653 | 0 | 0
282 | 9.569 | 0 | 0
282.5 | 9.676 | 0 | 0
283 | 9.834 | 0.107 | 2.841e-05
283.5 | 9.947 | 0.22 | 5.8413e-05
284 | 9.89 | 0.163 | 4.3279e-05
284.5 | 9.902 | 0.175 | 4.6465e-05
285 | 10.34 | 0.613 | 0.00016276
285.5 | 10.62 | 0.893 | 0.0002371
286 | 10.45 | 0.723 | 0.00019197
286.5 | 10.25 | 0.523 | 0.00013886
287 | 10.4 | 0.673 | 0.00017869
287.5 | 10.79 | 1.063 | 0.00028224
288 | 10.94 | 1.213 | 0.00032207
288.5 | 10.63 | 0.903 | 0.00023976
289 | 10.35 | 0.623 | 0.00016542
289.5 | 10.39 | 0.663 | 0.00017604
290 | 10.59 | 0.863 | 0.00022914
290.5 | 10.59 | 0.863 | 0.00022914
291 | 10.49 | 0.763 | 0.00020259
291.5 | 10.34 | 0.613 | 0.00016276
292 | 10.35 | 0.623 | 0.00016542
292.5 | 10.43 | 0.703 | 0.00018666
293 | 10.55 | 0.823 | 0.00021852
293.5 | 10.45 | 0.723 | 0.00019197
294 | 10.4 | 0.673 | 0.00017869
294.5 | 9.755 | 0.028 | 7.4344e-06
295 | 9.407 | 0 | 0
295.5 | 9.099 | 0 | 0
296 | 8.886 | 0 | 0
296.5 | 8.632 | 0 | 0
297 | 8.686 | 0 | 0
297.5 | 8.502 | 0 | 0
298 | 8.498 | 0 | 0
298.5 | 8.429 | 0 | 0
299 | 8.414 | 0 | 0
299.5 | 8.459 | 0 | 0
300 | 8.577 | 0 | 0
300.5 | 8.61 | 0 | 0
301 | 9.149 | 0 | 0
301.5 | 9.835 | 0.108 | 2.8676e-05
302 | 10.67 | 0.943 | 0.00025038
302.5 | 11.51 | 1.783 | 0.00047341
303 | 12.06 | 2.333 | 0.00061945
303.5 | 12 | 2.273 | 0.00060351
304 | 11.74 | 2.013 | 0.00053448
304.5 | 10.99 | 1.263 | 0.00033534
305 | 10.27 | 0.543 | 0.00014417
305.5 | 9.602 | 0 | 0
306 | 8.995 | 0 | 0
306.5 | 8.853 | 0 | 0
307 | 8.973 | 0 | 0
307.5 | 9.058 | 0 | 0
308 | 9.685 | 0 | 0
308.5 | 10.32 | 0.593 | 0.00015745
309 | 10.61 | 0.883 | 0.00023445
309.5 | 10.58 | 0.853 | 0.00022648
310 | 10.54 | 0.813 | 0.00021586
310.5 | 10.13 | 0.403 | 0.000107
311 | 10.09 | 0.363 | 9.6382e-05
311.5 | 9.823 | 0.096 | 2.5489e-05
312 | 9.259 | 0 | 0
312.5 | 9.138 | 0 | 0
313 | 9.451 | 0 | 0
313.5 | 9.51 | 0 | 0
314 | 9.671 | 0 | 0
314.5 | 9.75 | 0.023 | 6.1068e-06
315 | 9.824 | 0.097 | 2.5755e-05
315.5 | 9.966 | 0.239 | 6.3458e-05
316 | 9.921 | 0.194 | 5.151e-05
316.5 | 10.13 | 0.403 | 0.000107
317 | 10.32 | 0.593 | 0.00015745
317.5 | 10.7 | 0.973 | 0.00025835
318 | 10.66 | 0.933 | 0.00024773
318.5 | 10.55 | 0.823 | 0.00021852
319 | 10.56 | 0.833 | 0.00022117
319.5 | 10.49 | 0.763 | 0.00020259
320 | 10.03 | 0.303 | 8.0451e-05
320.5 | 10.13 | 0.403 | 0.000107
321 | 10.4 | 0.673 | 0.00017869
321.5 | 10.83 | 1.103 | 0.00029286
322 | 11.33 | 1.603 | 0.00042562
322.5 | 11.7 | 1.973 | 0.00052386
323 | 12.01 | 2.283 | 0.00060617
323.5 | 12.36 | 2.633 | 0.0006991
324 | 12.21 | 2.483 | 0.00065927
324.5 | 11.99 | 2.263 | 0.00060086
325 | 11.97 | 2.243 | 0.00059555
325.5 | 12.05 | 2.323 | 0.00061679
326 | 11.82 | 2.093 | 0.00055572
326.5 | 11.49 | 1.763 | 0.0004681
327 | 10.96 | 1.233 | 0.00032738
327.5 | 10.89 | 1.163 | 0.00030879
328 | 10.86 | 1.133 | 0.00030083
328.5 | 10.56 | 0.833 | 0.00022117
329 | 10.27 | 0.543 | 0.00014417
329.5 | 10.04 | 0.313 | 8.3106e-05
330 | 9.689 | 0 | 0
330.5 | 9.435 | 0 | 0
331 | 8.99 | 0 | 0
331.5 | 8.801 | 0 | 0
332 | 8.893 | 0 | 0
332.5 | 8.766 | 0 | 0
333 | 8.944 | 0 | 0
333.5 | 9.568 | 0 | 0
334 | 10.12 | 0.393 | 0.00010435
334.5 | 10.2 | 0.473 | 0.00012559
335 | 10.32 | 0.593 | 0.00015745
335.5 | 10.24 | 0.513 | 0.00013621
336 | 10.16 | 0.433 | 0.00011497
336.5 | 9.964 | 0.237 | 6.2927e-05
337 | 9.652 | 0 | 0
337.5 | 9.298 | 0 | 0
338 | 9.212 | 0 | 0
338.5 | 9.162 | 0 | 0
339 | 9.205 | 0 | 0
339.5 | 9.196 | 0 | 0
340 | 9.544 | 0 | 0
340.5 | 9.52 | 0 | 0
341 | 9.636 | 0 | 0
341.5 | 9.666 | 0 | 0
342 | 9.392 | 0 | 0
342.5 | 9.246 | 0 | 0
343 | 9.461 | 0 | 0
343.5 | 9.27 | 0 | 0
344 | 9.559 | 0 | 0
344.5 | 9.888 | 0.161 | 4.2748e-05
345 | 10.13 | 0.403 | 0.000107
345.5 | 10.19 | 0.463 | 0.00012293
346 | 10.31 | 0.583 | 0.00015479
346.5 | 10.2 | 0.473 | 0.00012559
347 | 10.17 | 0.443 | 0.00011762
347.5 | 9.819 | 0.092 | 2.4427e-05
348 | 9.52 | 0 | 0
348.5 | 9.362 | 0 | 0
349 | 9.332 | 0 | 0
349.5 | 9.118 | 0 | 0
350 | 9.237 | 0 | 0
350.5 | 9.427 | 0 | 0
351 | 9.85 | 0.123 | 3.2658e-05
351.5 | 10.06 | 0.333 | 8.8416e-05
352 | 9.963 | 0.236 | 6.2661e-05
352.5 | 10.33 | 0.603 | 0.00016011
353 | 10.8 | 1.073 | 0.0002849
353.5 | 11.14 | 1.413 | 0.00037517
354 | 11.26 | 1.533 | 0.00040703
354.5 | 11.18 | 1.453 | 0.00038579
355 | 11.41 | 1.683 | 0.00044686
355.5 | 11.55 | 1.823 | 0.00048403
356 | 11.32 | 1.593 | 0.00042296
356.5 | 11.06 | 1.333 | 0.00035393
357 | 10.81 | 1.083 | 0.00028755
357.5 | 10.56 | 0.833 | 0.00022117
358 | 10.36 | 0.633 | 0.00016807
358.5 | 10.36 | 0.633 | 0.00016807
359 | 10.66 | 0.933 | 0.00024773
359.5 | 10.61 | 0.883 | 0.00023445
360 | 10.3 | 0.573 | 0.00015214
360.5 | 10.16 | 0.433 | 0.00011497
361 | 9.988 | 0.261 | 6.9299e-05
361.5 | 9.613 | 0 | 0
362 | 9.41 | 0 | 0
362.5 | 9.537 | 0 | 0
363 | 9.797 | 0.07 | 1.8586e-05
363.5 | 10.17 | 0.443 | 0.00011762
364 | 10.46 | 0.733 | 0.00019462
364.5 | 10.95 | 1.223 | 0.00032472
365 | 11.48 | 1.753 | 0.00046545
365.5 | 11.49 | 1.763 | 0.0004681
366 | 11.3 | 1.573 | 0.00041765
366.5 | 11.39 | 1.663 | 0.00044155
367 | 11.19 | 1.463 | 0.00038845
367.5 | 10.66 | 0.933 | 0.00024773
368 | 9.925 | 0.198 | 5.2572e-05
368.5 | 9.25 | 0 | 0
369 | 8.892 | 0 | 0
369.5 | 8.671 | 0 | 0
370 | 8.551 | 0 | 0
370.5 | 8.744 | 0 | 0
371 | 9.135 | 0 | 0
371.5 | 9.605 | 0 | 0
372 | 10.02 | 0.293 | 7.7796e-05
372.5 | 10.08 | 0.353 | 9.3727e-05
373 | 10.08 | 0.353 | 9.3727e-05
373.5 | 10.3 | 0.573 | 0.00015214
374 | 10.12 | 0.393 | 0.00010435
374.5 | 9.826 | 0.099 | 2.6286e-05
375 | 9.599 | 0 | 0
375.5 | 9.411 | 0 | 0
376 | 9.29 | 0 | 0
376.5 | 9.297 | 0 | 0
377 | 9.179 | 0 | 0
377.5 | 9.673 | 0 | 0
378 | 9.998 | 0.271 | 7.1954e-05
378.5 | 10.11 | 0.383 | 0.00010169
379 | 10.33 | 0.603 | 0.00016011
379.5 | 10.43 | 0.703 | 0.00018666
380 | 10.44 | 0.713 | 0.00018931
380.5 | 10.13 | 0.403 | 0.000107
381 | 10.02 | 0.293 | 7.7796e-05
381.5 | 10.14 | 0.413 | 0.00010966
382 | 10.18 | 0.453 | 0.00012028
382.5 | 10.18 | 0.453 | 0.00012028
383 | 10.12 | 0.393 | 0.00010435
383.5 | 9.822 | 0.095 | 2.5224e-05
384 | 9.52 | 0 | 0
384.5 | 9.244 | 0 | 0
385 | 9.303 | 0 | 0
385.5 | 9.023 | 0 | 0
386 | 8.69 | 0 | 0
386.5 | 8.696 | 0 | 0
387 | 8.886 | 0 | 0
387.5 | 9.186 | 0 | 0
388 | 9.402 | 0 | 0
388.5 | 9.486 | 0 | 0
389 | 9.753 | 0.026 | 6.9034e-06
389.5 | 9.92 | 0.193 | 5.1244e-05
390 | 10.09 | 0.363 | 9.6382e-05
390.5 | 10.13 | 0.403 | 0.000107
391 | 10.15 | 0.423 | 0.00011231
391.5 | 10.11 | 0.383 | 0.00010169
392 | 10.38 | 0.653 | 0.00017338
392.5 | 10.59 | 0.863 | 0.00022914
393 | 10.8 | 1.073 | 0.0002849
393.5 | 10.86 | 1.133 | 0.00030083
394 | 10.83 | 1.103 | 0.00029286
394.5 | 10.84 | 1.113 | 0.00029552
395 | 11.01 | 1.283 | 0.00034066
395.5 | 10.95 | 1.223 | 0.00032472
396 | 11.51 | 1.783 | 0.00047341
396.5 | 11.81 | 2.083 | 0.00055307
397 | 11.93 | 2.203 | 0.00058493
397.5 | 12.3 | 2.573 | 0.00068317
398 | 12.08 | 2.353 | 0.00062476
398.5 | 11.53 | 1.803 | 0.00047872
399 | 11.22 | 1.493 | 0.00039641
399.5 | 10.61 | 0.883 | 0.00023445
400 | 10.5 | 0.773 | 0.00020524
400.5 | 10.26 | 0.533 | 0.00014152
401 | 9.657 | 0 | 0
401.5 | 9.603 | 0 | 0
402 | 9.573 | 0 | 0
402.5 | 9.481 | 0 | 0
403 | 9.813 | 0.086 | 2.2834e-05
403.5 | 9.837 | 0.11 | 2.9207e-05
404 | 10.01 | 0.283 | 7.5141e-05
404.5 | 10.4 | 0.673 | 0.00017869
405 | 10.44 | 0.713 | 0.00018931
405.5 | 10.74 | 1.013 | 0.00026897
406 | 10.62 | 0.893 | 0.0002371
406.5 | 10.46 | 0.733 | 0.00019462
407 | 10.52 | 0.793 | 0.00021055
407.5 | 10.65 | 0.923 | 0.00024507
408 | 10.6 | 0.873 | 0.00023179
408.5 | 10.64 | 0.913 | 0.00024241
409 | 10.2 | 0.473 | 0.00012559
409.5 | 10.16 | 0.433 | 0.00011497
410 | 10.2 | 0.473 | 0.00012559
410.5 | 9.849 | 0.122 | 3.2393e-05
411 | 9.775 | 0.048 | 1.2745e-05
411.5 | 9.579 | 0 | 0
412 | 9.818 | 0.091 | 2.4162e-05
412.5 | 9.806 | 0.079 | 2.0976e-05
413 | 9.756 | 0.029 | 7.6999e-06
413.5 | 9.756 | 0.029 | 7.6999e-06
414 | 9.805 | 0.078 | 2.071e-05
414.5 | 9.78 | 0.053 | 1.4072e-05
415 | 9.753 | 0.026 | 6.9034e-06
415.5 | 9.651 | 0 | 0
416 | 9.407 | 0 | 0
416.5 | 8.96 | 0 | 0
417 | 8.533 | 0 | 0
417.5 | 8.363 | 0 | 0
418 | 8.276 | 0 | 0
418.5 | 8.248 | 0 | 0
419 | 8.159 | 0 | 0
419.5 | 8.364 | 0 | 0
420 | 8.564 | 0 | 0
420.5 | 8.786 | 0 | 0
421 | 9.252 | 0 | 0
421.5 | 9.828 | 0.101 | 2.6817e-05
422 | 10.37 | 0.643 | 0.00017073
422.5 | 10.73 | 1.003 | 0.00026631
423 | 10.93 | 1.203 | 0.00031941
423.5 | 11.42 | 1.693 | 0.00044952
424 | 11.73 | 2.003 | 0.00053183
424.5 | 11.69 | 1.963 | 0.0005212
425 | 11.67 | 1.943 | 0.00051589
425.5 | 11.73 | 2.003 | 0.00053183
426 | 11.88 | 2.153 | 0.00057165
426.5 | 11.6 | 1.873 | 0.00049731
427 | 11.34 | 1.613 | 0.00042827
427.5 | 10.75 | 1.023 | 0.00027162
428 | 10.27 | 0.543 | 0.00014417
428.5 | 10.37 | 0.643 | 0.00017073
429 | 10.26 | 0.533 | 0.00014152
429.5 | 10.23 | 0.503 | 0.00013355
430 | 10.03 | 0.303 | 8.0451e-05
430.5 | 9.741 | 0.014 | 3.7172e-06
431 | 9.108 | 0 | 0
431.5 | 8.453 | 0 | 0
432 | 8.049 | 0 | 0
432.5 | 7.827 | 0 | 0
433 | 7.873 | 0 | 0
433.5 | 7.686 | 0 | 0
434 | 8.196 | 0 | 0
434.5 | 8.972 | 0 | 0
435 | 8.987 | 0 | 0
435.5 | 8.98 | 0 | 0
436 | 9.365 | 0 | 0
436.5 | 9.69 | 0 | 0
437 | 10.06 | 0.333 | 8.8416e-05
437.5 | 10.17 | 0.443 | 0.00011762
438 | 10.28 | 0.553 | 0.00014683
438.5 | 10.55 | 0.823 | 0.00021852
439 | 10.37 | 0.643 | 0.00017073
439.5 | 10.19 | 0.463 | 0.00012293
440 | 10.07 | 0.343 | 9.1071e-05
440.5 | 9.856 | 0.129 | 3.4251e-05
441 | 9.515 | 0 | 0
441.5 | 9.24 | 0 | 0
442 | 9.251 | 0 | 0
442.5 | 9.536 | 0 | 0
443 | 9.921 | 0.194 | 5.151e-05
443.5 | 10.34 | 0.613 | 0.00016276
444 | 10.94 | 1.213 | 0.00032207
444.5 | 11.31 | 1.583 | 0.00042031
445 | 11.3 | 1.573 | 0.00041765
445.5 | 11.34 | 1.613 | 0.00042827
446 | 11.32 | 1.593 | 0.00042296
446.5 | 11.13 | 1.403 | 0.00037252
447 | 11.09 | 1.363 | 0.0003619
447.5 | 10.95 | 1.223 | 0.00032472
448 | 11.22 | 1.493 | 0.00039641
448.5 | 11.21 | 1.483 | 0.00039376
449 | 10.92 | 1.193 | 0.00031676
449.5 | 10.57 | 0.843 | 0.00022383
450 | 10.32 | 0.593 | 0.00015745
450.5 | 10.03 | 0.303 | 8.0451e-05
451 | 9.792 | 0.065 | 1.7258e-05
451.5 | 9.855 | 0.128 | 3.3986e-05
452 | 9.84 | 0.113 | 3.0003e-05
452.5 | 10.27 | 0.543 | 0.00014417
453 | 10.07 | 0.343 | 9.1071e-05
453.5 | 9.747 | 0.02 | 5.3103e-06
454 | 9.851 | 0.124 | 3.2924e-05
454.5 | 9.661 | 0 | 0
455 | 9.822 | 0.095 | 2.5224e-05
455.5 | 9.897 | 0.17 | 4.5137e-05
456 | 10.03 | 0.303 | 8.0451e-05
456.5 | 10.57 | 0.843 | 0.00022383
457 | 10.68 | 0.953 | 0.00025304
457.5 | 10.78 | 1.053 | 0.00027959
458 | 10.49 | 0.763 | 0.00020259
458.5 | 10.11 | 0.383 | 0.00010169
459 | 9.943 | 0.216 | 5.7351e-05
459.5 | 9.703 | 0 | 0
460 | 9.524 | 0 | 0
460.5 | 9.797 | 0.07 | 1.8586e-05
461 | 9.756 | 0.029 | 7.6999e-06
461.5 | 9.641 | 0 | 0
462 | 9.901 | 0.174 | 4.62e-05
462.5 | 10.12 | 0.393 | 0.00010435
463 | 10.31 | 0.583 | 0.00015479
463.5 | 9.966 | 0.239 | 6.3458e-05
464 | 9.86 | 0.133 | 3.5313e-05
464.5 | 10.06 | 0.333 | 8.8416e-05
465 | 9.823 | 0.096 | 2.5489e-05
465.5 | 9.277 | 0 | 0
466 | 9.032 | 0 | 0
466.5 | 9.134 | 0 | 0
467 | 9.077 | 0 | 0
467.5 | 9.136 | 0 | 0
468 | 9.15 | 0 | 0
468.5 | 9.43 | 0 | 0
469 | 10.02 | 0.293 | 7.7796e-05
469.5 | 10.11 | 0.383 | 0.00010169
470 | 10.37 | 0.643 | 0.00017073
470.5 | 10.2 | 0.473 | 0.00012559
471 | 10.19 | 0.463 | 0.00012293
471.5 | 9.919 | 0.192 | 5.0979e-05
472 | 9.817 | 0.09 | 2.3896e-05
472.5 | 9.536 | 0 | 0
473 | 9.251 | 0 | 0
473.5 | 9.246 | 0 | 0
474 | 9.193 | 0 | 0
474.5 | 9.3 | 0 | 0
475 | 9.228 | 0 | 0
475.5 | 9.636 | 0 | 0
476 | 9.976 | 0.249 | 6.6113e-05
476.5 | 10.1 | 0.373 | 9.9037e-05
477 | 10.39 | 0.663 | 0.00017604
477.5 | 10.64 | 0.913 | 0.00024241
478 | 10.89 | 1.163 | 0.00030879
478.5 | 10.93 | 1.203 | 0.00031941
479 | 10.9 | 1.173 | 0.00031145
479.5 | 10.95 | 1.223 | 0.00032472
480 | 10.95 | 1.223 | 0.00032472
480.5 | 11.16 | 1.433 | 0.00038048
481 | 11.09 | 1.363 | 0.0003619
481.5 | 10.93 | 1.203 | 0.00031941
482 | 11.05 | 1.323 | 0.00035128
482.5 | 11.17 | 1.443 | 0.00038314
483 | 11.11 | 1.383 | 0.00036721
483.5 | 11.18 | 1.453 | 0.00038579
484 | 11.41 | 1.683 | 0.00044686
484.5 | 11.55 | 1.823 | 0.00048403
485 | 11.35 | 1.623 | 0.00043093
485.5 | 11.48 | 1.753 | 0.00046545
486 | 11.49 | 1.763 | 0.0004681
486.5 | 11.11 | 1.383 | 0.00036721
487 | 10.68 | 0.953 | 0.00025304
487.5 | 10.66 | 0.933 | 0.00024773
488 | 10.6 | 0.873 | 0.00023179
488.5 | 10.66 | 0.933 | 0.00024773
489 | 10.75 | 1.023 | 0.00027162
489.5 | 10.62 | 0.893 | 0.0002371
490 | 10.81 | 1.083 | 0.00028755
490.5 | 10.68 | 0.953 | 0.00025304
491 | 10.49 | 0.763 | 0.00020259
491.5 | 10.63 | 0.903 | 0.00023976
492 | 10.28 | 0.553 | 0.00014683
492.5 | 10.18 | 0.453 | 0.00012028
493 | 10.19 | 0.463 | 0.00012293
493.5 | 10.36 | 0.633 | 0.00016807
494 | 10.48 | 0.753 | 0.00019993
494.5 | 10.25 | 0.523 | 0.00013886
495 | 10.01 | 0.283 | 7.5141e-05
495.5 | 9.796 | 0.069 | 1.832e-05
496 | 9.574 | 0 | 0
496.5 | 9.439 | 0 | 0
497 | 9.481 | 0 | 0
497.5 | 9.367 | 0 | 0
498 | 9.571 | 0 | 0
498.5 | 9.731 | 0.004 | 1.0621e-06
499 | 10.11 | 0.383 | 0.00010169
499.5 | 10.12 | 0.393 | 0.00010435
500 | 10.01 | 0.283 | 7.5141e-05
500.5 | 10.07 | 0.343 | 9.1071e-05
501 | 10.45 | 0.723 | 0.00019197
501.5 | 10.71 | 0.983 | 0.000261
502 | 10.43 | 0.703 | 0.00018666
502.5 | 9.956 | 0.229 | 6.0803e-05
503 | 9.764 | 0.037 | 9.824e-06
503.5 | 9.67 | 0 | 0
504 | 9.743 | 0.016 | 4.2482e-06
504.5 | 9.756 | 0.029 | 7.6999e-06
505 | 9.591 | 0 | 0
505.5 | 9.441 | 0 | 0
506 | 9.267 | 0 | 0
506.5 | 9.315 | 0 | 0
507 | 8.949 | 0 | 0
507.5 | 8.579 | 0 | 0
508 | 8.622 | 0 | 0
508.5 | 9.016 | 0 | 0
509 | 9.802 | 0.075 | 1.9914e-05
509.5 | 10.19 | 0.463 | 0.00012293
510 | 10.4 | 0.673 | 0.00017869
510.5 | 10.55 | 0.823 | 0.00021852
511 | 10.74 | 1.013 | 0.00026897
511.5 | 11.08 | 1.353 | 0.00035924
512 | 10.93 | 1.203 | 0.00031941
512.5 | 10.9 | 1.173 | 0.00031145
513 | 10.87 | 1.143 | 0.00030348
513.5 | 10.7 | 0.973 | 0.00025835
514 | 10.75 | 1.023 | 0.00027162
514.5 | 10.52 | 0.793 | 0.00021055
515 | 10.63 | 0.903 | 0.00023976
515.5 | 10.68 | 0.953 | 0.00025304
516 | 10.91 | 1.183 | 0.0003141
516.5 | 11.47 | 1.743 | 0.00046279
517 | 11.77 | 2.043 | 0.00054245
517.5 | 11.56 | 1.833 | 0.00048669
518 | 11.03 | 1.303 | 0.00034597
518.5 | 10.72 | 0.993 | 0.00026366
519 | 10.4 | 0.673 | 0.00017869
519.5 | 9.607 | 0 | 0
520 | 9.045 | 0 | 0
520.5 | 9.2 | 0 | 0
521 | 9.231 | 0 | 0
521.5 | 9.394 | 0 | 0
522 | 9.403 | 0 | 0
522.5 | 9.679 | 0 | 0
523 | 10.05 | 0.323 | 8.5761e-05
523.5 | 10.5 | 0.773 | 0.00020524
524 | 11.22 | 1.493 | 0.00039641
524.5 | 11.39 | 1.663 | 0.00044155
525 | 11.61 | 1.883 | 0.00049996
525.5 | 11.76 | 2.033 | 0.00053979
526 | 12.11 | 2.383 | 0.00063272
526.5 | 11.93 | 2.203 | 0.00058493
527 | 11.33 | 1.603 | 0.00042562
527.5 | 11.11 | 1.383 | 0.00036721
528 | 10.62 | 0.893 | 0.0002371
528.5 | 10.34 | 0.613 | 0.00016276
529 | 9.637 | 0 | 0
529.5 | 9.135 | 0 | 0
530 | 8.994 | 0 | 0
530.5 | 8.952 | 0 | 0
531 | 9.535 | 0 | 0
531.5 | 9.851 | 0.124 | 3.2924e-05
532 | 10.05 | 0.323 | 8.5761e-05
532.5 | 10.06 | 0.333 | 8.8416e-05
533 | 10.28 | 0.553 | 0.00014683
533.5 | 10.18 | 0.453 | 0.00012028
534 | 9.963 | 0.236 | 6.2661e-05
534.5 | 9.896 | 0.169 | 4.4872e-05
535 | 10.14 | 0.413 | 0.00010966
535.5 | 10.33 | 0.603 | 0.00016011
536 | 10.34 | 0.613 | 0.00016276
536.5 | 10.3 | 0.573 | 0.00015214
537 | 10.39 | 0.663 | 0.00017604
537.5 | 10.28 | 0.553 | 0.00014683
538 | 10.31 | 0.583 | 0.00015479
538.5 | 10.56 | 0.833 | 0.00022117
539 | 10.64 | 0.913 | 0.00024241
539.5 | 10.92 | 1.193 | 0.00031676
540 | 10.86 | 1.133 | 0.00030083
540.5 | 11.1 | 1.373 | 0.00036455
541 | 11.23 | 1.503 | 0.00039907
541.5 | 10.85 | 1.123 | 0.00029817
542 | 10.57 | 0.843 | 0.00022383
542.5 | 10.49 | 0.763 | 0.00020259
543 | 10.59 | 0.863 | 0.00022914
543.5 | 10.45 | 0.723 | 0.00019197
544 | 9.949 | 0.222 | 5.8944e-05
544.5 | 10.05 | 0.323 | 8.5761e-05
545 | 10.29 | 0.563 | 0.00014948
545.5 | 10.71 | 0.983 | 0.000261
546 | 10.68 | 0.953 | 0.00025304
546.5 | 11 | 1.273 | 0.000338
547 | 11.57 | 1.843 | 0.00048934
547.5 | 12.34 | 2.613 | 0.00069379
548 | 13.01 | 3.283 | 0.00087168
548.5 | 12.87 | 3.143 | 0.00083451
549 | 12.86 | 3.133 | 0.00083186
549.5 | 12.68 | 2.953 | 0.00078406
550 | 12.26 | 2.533 | 0.00067255
550.5 | 11.87 | 2.143 | 0.000569
551 | 11.76 | 2.033 | 0.00053979
551.5 | 11.73 | 2.003 | 0.00053183
552 | 11.4 | 1.673 | 0.00044421
552.5 | 11.24 | 1.513 | 0.00040172
553 | 11.07 | 1.343 | 0.00035659
553.5 | 10.81 | 1.083 | 0.00028755
554 | 10.26 | 0.533 | 0.00014152
554.5 | 10.38 | 0.653 | 0.00017338
555 | 10.52 | 0.793 | 0.00021055
555.5 | 10.31 | 0.583 | 0.00015479
556 | 10.18 | 0.453 | 0.00012028
556.5 | 10.11 | 0.383 | 0.00010169
557 | 10.07 | 0.343 | 9.1071e-05
557.5 | 9.709 | 0 | 0
558 | 10.07 | 0.343 | 9.1071e-05
558.5 | 10.75 | 1.023 | 0.00027162
559 | 11.14 | 1.413 | 0.00037517
559.5 | 11.02 | 1.293 | 0.00034331
560 | 10.89 | 1.163 | 0.00030879
560.5 | 10.93 | 1.203 | 0.00031941
561 | 10.43 | 0.703 | 0.00018666
561.5 | 10.2 | 0.473 | 0.00012559
562 | 10.04 | 0.313 | 8.3106e-05
562.5 | 10.34 | 0.613 | 0.00016276
563 | 10.36 | 0.633 | 0.00016807
563.5 | 10.39 | 0.663 | 0.00017604
564 | 10.14 | 0.413 | 0.00010966
564.5 | 9.926 | 0.199 | 5.2837e-05
565 | 10.14 | 0.413 | 0.00010966
565.5 | 10.17 | 0.443 | 0.00011762
566 | 10.03 | 0.303 | 8.0451e-05
566.5 | 9.641 | 0 | 0
567 | 9.928 | 0.201 | 5.3368e-05
567.5 | 10.2 | 0.473 | 0.00012559
568 | 9.971 | 0.244 | 6.4786e-05
568.5 | 9.865 | 0.138 | 3.6641e-05
569 | 10.14 | 0.413 | 0.00010966
569.5 | 10.41 | 0.683 | 0.00018135
570 | 10.23 | 0.503 | 0.00013355
570.5 | 9.979 | 0.252 | 6.691e-05
571 | 9.76 | 0.033 | 8.762e-06
571.5 | 9.316 | 0 | 0
572 | 9.365 | 0 | 0
572.5 | 9.766 | 0.039 | 1.0355e-05
573 | 10.07 | 0.343 | 9.1071e-05
573.5 | 10.09 | 0.363 | 9.6382e-05
574 | 10.27 | 0.543 | 0.00014417
574.5 | 10.45 | 0.723 | 0.00019197
575 | 10.36 | 0.633 | 0.00016807
575.5 | 9.788 | 0.061 | 1.6196e-05
576 | 9.591 | 0 | 0
576.5 | 9.933 | 0.206 | 5.4696e-05
577 | 10.3 | 0.573 | 0.00015214
577.5 | 10.5 | 0.773 | 0.00020524
578 | 10.83 | 1.103 | 0.00029286
578.5 | 11.04 | 1.313 | 0.00034862
579 | 11.37 | 1.643 | 0.00043624
579.5 | 11.09 | 1.363 | 0.0003619
580 | 10.21 | 0.483 | 0.00012824
580.5 | 9.927 | 0.2 | 5.3103e-05
581 | 9.831 | 0.104 | 2.7614e-05
581.5 | 10.08 | 0.353 | 9.3727e-05
582 | 10.5 | 0.773 | 0.00020524
582.5 | 10.83 | 1.103 | 0.00029286
583 | 11.29 | 1.563 | 0.000415
583.5 | 11.03 | 1.303 | 0.00034597
584 | 10.75 | 1.023 | 0.00027162
584.5 | 10.16 | 0.433 | 0.00011497
585 | 9.662 | 0 | 0
585.5 | 9.867 | 0.14 | 3.7172e-05
586 | 10.17 | 0.443 | 0.00011762
586.5 | 10.13 | 0.403 | 0.000107
587 | 10.19 | 0.463 | 0.00012293
587.5 | 10.56 | 0.833 | 0.00022117
588 | 10.95 | 1.223 | 0.00032472
588.5 | 10.96 | 1.233 | 0.00032738
589 | 10.94 | 1.213 | 0.00032207
589.5 | 11.15 | 1.423 | 0.00037783
590 | 11.11 | 1.383 | 0.00036721
590.5 | 10.57 | 0.843 | 0.00022383
591 | 9.902 | 0.175 | 4.6465e-05
591.5 | 9.59 | 0 | 0
592 | 9.772 | 0.045 | 1.1948e-05
592.5 | 9.948 | 0.221 | 5.8679e-05
593 | 9.729 | 0.002 | 5.3103e-07
593.5 | 10.12 | 0.393 | 0.00010435
594 | 10.36 | 0.633 | 0.00016807
594.5 | 10.76 | 1.033 | 0.00027428
595 | 10.52 | 0.793 | 0.00021055
595.5 | 10.13 | 0.403 | 0.000107
596 | 10.4 | 0.673 | 0.00017869
596.5 | 10.65 | 0.923 | 0.00024507
597 | 10.38 | 0.653 | 0.00017338
597.5 | 10.32 | 0.593 | 0.00015745
598 | 10.39 | 0.663 | 0.00017604
598.5 | 10.32 | 0.593 | 0.00015745
599 | 10.3 | 0.573 | 0.00015214
599.5 | 10.26 | 0.533 | 0.00014152
600 | 10.65 | 0.923 | 0.00024507
600.5 | 10.61 | 0.883 | 0.00023445
601 | 10.45 | 0.723 | 0.00019197
601.5 | 10.35 | 0.623 | 0.00016542
602 | 10.38 | 0.653 | 0.00017338
602.5 | 10.71 | 0.983 | 0.000261
603 | 10.61 | 0.883 | 0.00023445
603.5 | 10.62 | 0.893 | 0.0002371
604 | 10.88 | 1.153 | 0.00030614
604.5 | 10.95 | 1.223 | 0.00032472
605 | 10.98 | 1.253 | 0.00033269
605.5 | 10.6 | 0.873 | 0.00023179
606 | 10.54 | 0.813 | 0.00021586
606.5 | 10.72 | 0.993 | 0.00026366
607 | 10.85 | 1.123 | 0.00029817
607.5 | 10.68 | 0.953 | 0.00025304
608 | 10.95 | 1.223 | 0.00032472
608.5 | 10.91 | 1.183 | 0.0003141
609 | 10.84 | 1.113 | 0.00029552
609.5 | 10.42 | 0.693 | 0.000184
610 | 10.57 | 0.843 | 0.00022383
610.5 | 10.52 | 0.793 | 0.00021055
611 | 10.21 | 0.483 | 0.00012824
611.5 | 10.64 | 0.913 | 0.00024241
612 | 11.12 | 1.393 | 0.00036986
612.5 | 11.38 | 1.653 | 0.0004389
613 | 10.97 | 1.243 | 0.00033003
613.5 | 11.03 | 1.303 | 0.00034597
614 | 11.25 | 1.523 | 0.00040438
614.5 | 11.32 | 1.593 | 0.00042296
615 | 11.32 | 1.593 | 0.00042296
615.5 | 11.19 | 1.463 | 0.00038845
616 | 11.37 | 1.643 | 0.00043624
616.5 | 11.26 | 1.533 | 0.00040703
617 | 10.88 | 1.153 | 0.00030614
617.5 | 10.64 | 0.913 | 0.00024241
618 | 10.25 | 0.523 | 0.00013886
618.5 | 9.862 | 0.135 | 3.5844e-05
619 | 9.615 | 0 | 0
619.5 | 9.179 | 0 | 0
620 | 9.387 | 0 | 0
620.5 | 9.618 | 0 | 0
621 | 10.22 | 0.493 | 0.0001309
621.5 | 10.51 | 0.783 | 0.0002079
622 | 10.85 | 1.123 | 0.00029817
622.5 | 10.88 | 1.153 | 0.00030614
623 | 10.81 | 1.083 | 0.00028755
623.5 | 10.77 | 1.043 | 0.00027693
624 | 10.63 | 0.903 | 0.00023976
624.5 | 10.52 | 0.793 | 0.00021055
625 | 10.5 | 0.773 | 0.00020524
625.5 | 10.6 | 0.873 | 0.00023179
626 | 10.76 | 1.033 | 0.00027428
626.5 | 10.69 | 0.963 | 0.00025569
627 | 10.68 | 0.953 | 0.00025304
627.5 | 10.91 | 1.183 | 0.0003141
628 | 10.9 | 1.173 | 0.00031145
628.5 | 10.6 | 0.873 | 0.00023179
629 | 10.41 | 0.683 | 0.00018135
629.5 | 10.68 | 0.953 | 0.00025304
630 | 10.83 | 1.103 | 0.00029286
630.5 | 10.93 | 1.203 | 0.00031941
631 | 11.43 | 1.703 | 0.00045217
631.5 | 11.74 | 2.013 | 0.00053448
632 | 11.78 | 2.053 | 0.0005451
632.5 | 11.71 | 1.983 | 0.00052652
633 | 11.71 | 1.983 | 0.00052652
633.5 | 11.54 | 1.813 | 0.00048138
634 | 11.49 | 1.763 | 0.0004681
634.5 | 11.51 | 1.783 | 0.00047341
635 | 11.53 | 1.803 | 0.00047872
635.5 | 11.23 | 1.503 | 0.00039907
636 | 11.33 | 1.603 | 0.00042562
636.5 | 11.47 | 1.743 | 0.00046279
637 | 11.76 | 2.033 | 0.00053979
637.5 | 11.76 | 2.033 | 0.00053979
638 | 12.06 | 2.333 | 0.00061945
638.5 | 12.06 | 2.333 | 0.00061945
639 | 11.73 | 2.003 | 0.00053183
639.5 | 11.13 | 1.403 | 0.00037252
640 | 10.78 | 1.053 | 0.00027959
640.5 | 10.73 | 1.003 | 0.00026631
641 | 10.54 | 0.813 | 0.00021586
641.5 | 10.26 | 0.533 | 0.00014152
642 | 10.23 | 0.503 | 0.00013355
642.5 | 10.45 | 0.723 | 0.00019197
643 | 10.5 | 0.773 | 0.00020524
643.5 | 10.58 | 0.853 | 0.00022648
644 | 10.89 | 1.163 | 0.00030879
644.5 | 10.82 | 1.093 | 0.00029021
645 | 10.56 | 0.833 | 0.00022117
645.5 | 10.67 | 0.943 | 0.00025038
646 | 10.87 | 1.143 | 0.00030348
646.5 | 10.88 | 1.153 | 0.00030614
647 | 10.85 | 1.123 | 0.00029817
647.5 | 10.94 | 1.213 | 0.00032207
648 | 10.45 | 0.723 | 0.00019197
648.5 | 10.44 | 0.713 | 0.00018931
649 | 10.76 | 1.033 | 0.00027428
649.5 | 10.78 | 1.053 | 0.00027959
650 | 10.57 | 0.843 | 0.00022383
650.5 | 11.08 | 1.353 | 0.00035924
651 | 11.49 | 1.763 | 0.0004681
651.5 | 11.18 | 1.453 | 0.00038579
652 | 11.06 | 1.333 | 0.00035393
652.5 | 11.65 | 1.923 | 0.00051058
653 | 11.74 | 2.013 | 0.00053448
653.5 | 11.37 | 1.643 | 0.00043624
654 | 11.01 | 1.283 | 0.00034066
654.5 | 11.02 | 1.293 | 0.00034331
655 | 10.68 | 0.953 | 0.00025304
655.5 | 10.49 | 0.763 | 0.00020259
656 | 10.54 | 0.813 | 0.00021586
656.5 | 10.75 | 1.023 | 0.00027162
657 | 10.89 | 1.163 | 0.00030879
657.5 | 10.81 | 1.083 | 0.00028755
658 | 11.14 | 1.413 | 0.00037517
658.5 | 11.68 | 1.953 | 0.00051855
659 | 11.75 | 2.023 | 0.00053714
659.5 | 11.4 | 1.673 | 0.00044421
660 | 11.24 | 1.513 | 0.00040172
660.5 | 10.95 | 1.223 | 0.00032472
661 | 10.82 | 1.093 | 0.00029021
661.5 | 10.41 | 0.683 | 0.00018135
662 | 10.84 | 1.113 | 0.00029552
662.5 | 10.96 | 1.233 | 0.00032738
663 | 11 | 1.273 | 0.000338
663.5 | 11.29 | 1.563 | 0.000415
664 | 11.28 | 1.553 | 0.00041234
664.5 | 11.54 | 1.813 | 0.00048138
665 | 11.55 | 1.823 | 0.00048403
665.5 | 11.97 | 2.243 | 0.00059555
666 | 11.87 | 2.143 | 0.000569
666.5 | 12 | 2.273 | 0.00060351
667 | 12.51 | 2.783 | 0.00073893
667.5 | 12.9 | 3.173 | 0.00084248
668 | 13.47 | 3.743 | 0.00099382
668.5 | 14.01 | 4.283 | 0.0011372
669 | 14.61 | 4.883 | 0.0012965
669.5 | 14.71 | 4.983 | 0.0013231
670 | 14.57 | 4.843 | 0.0012859
670.5 | 14.88 | 5.153 | 0.0013682
671 | 15.21 | 5.483 | 0.0014558
671.5 | 15.48 | 5.753 | 0.0015275
672 | 15.55 | 5.823 | 0.0015461
672.5 | 15.46 | 5.733 | 0.0015222
673 | 15.25 | 5.523 | 0.0014664
673.5 | 14.9 | 5.173 | 0.0013735
674 | 14.67 | 4.943 | 0.0013124
674.5 | 14.89 | 5.163 | 0.0013709
675 | 15.49 | 5.763 | 0.0015302
675.5 | 16.26 | 6.533 | 0.0017346
676 | 17.2 | 7.473 | 0.0019842
676.5 | 18.14 | 8.413 | 0.0022338
677 | 18.71 | 8.983 | 0.0023851
677.5 | 18.94 | 9.213 | 0.0024462
678 | 18.89 | 9.163 | 0.0024329
678.5 | 19.03 | 9.303 | 0.0024701
679 | 19.4 | 9.673 | 0.0025683
679.5 | 19.75 | 10.023 | 0.0026613
680 | 20.77 | 11.043 | 0.0029321
680.5 | 21.48 | 11.753 | 0.0031206
681 | 21.69 | 11.963 | 0.0031763
681.5 | 22.17 | 12.443 | 0.0033038
682 | 22.46 | 12.733 | 0.0033808
682.5 | 22.15 | 12.423 | 0.0032985
683 | 22.12 | 12.393 | 0.0032905
683.5 | 22.72 | 12.993 | 0.0034498
684 | 23.49 | 13.763 | 0.0036543
684.5 | 23.73 | 14.003 | 0.003718
685 | 24.6 | 14.873 | 0.003949
685.5 | 25.29 | 15.563 | 0.0041322
686 | 26.36 | 16.633 | 0.0044163
686.5 | 26.66 | 16.933 | 0.004496
687 | 27.13 | 17.403 | 0.0046207
687.5 | 27.27 | 17.543 | 0.0046579
688 | 27.49 | 17.763 | 0.0047163
688.5 | 27.68 | 17.953 | 0.0047668
689 | 28.26 | 18.533 | 0.0049208
689.5 | 28.68 | 18.953 | 0.0050323
690 | 29.53 | 19.803 | 0.005258
690.5 | 30.72 | 20.993 | 0.0055739
691 | 31.68 | 21.953 | 0.0058288
691.5 | 32.51 | 22.783 | 0.0060492
692 | 33.4 | 23.673 | 0.0062855
692.5 | 34.65 | 24.923 | 0.0066174
693 | 35.31 | 25.583 | 0.0067927
693.5 | 36.31 | 26.583 | 0.0070582
694 | 37.56 | 27.833 | 0.0073901
694.5 | 38.86 | 29.133 | 0.0077352
695 | 39.49 | 29.763 | 0.0079025
695.5 | 40.95 | 31.223 | 0.0082902
696 | 42.5 | 32.773 | 0.0087017
696.5 | 44.4 | 34.673 | 0.0092062
697 | 46.12 | 36.393 | 0.0096629
697.5 | 48.31 | 38.583 | 0.010244
698 | 50.34 | 40.613 | 0.010783
698.5 | 51.74 | 42.013 | 0.011155
699 | 53.1 | 43.373 | 0.011516
699.5 | 54.78 | 45.053 | 0.011962
700 | 56.12 | 46.393 | 0.012318
700.5 | 56.91 | 47.183 | 0.012528
701 | 58.26 | 48.533 | 0.012886
701.5 | 60.14 | 50.413 | 0.013385
702 | 61.88 | 52.153 | 0.013847
702.5 | 63.75 | 54.023 | 0.014344
703 | 66.25 | 56.523 | 0.015008
703.5 | 68.78 | 59.053 | 0.015679
704 | 71.06 | 61.333 | 0.016285
704.5 | 73.26 | 63.533 | 0.016869
705 | 75.59 | 65.863 | 0.017488
705.5 | 78.51 | 68.783 | 0.018263
706 | 81.64 | 71.913 | 0.019094
706.5 | 84.37 | 74.643 | 0.019819
707 | 86.84 | 77.113 | 0.020475
707.5 | 89.55 | 79.823 | 0.021194
708 | 92.21 | 82.483 | 0.0219
708.5 | 94.43 | 84.703 | 0.02249
709 | 96.89 | 87.163 | 0.023143
709.5 | 100.1 | 90.373 | 0.023995
710 | 103.5 | 93.773 | 0.024898
710.5 | 106.2 | 96.473 | 0.025615
711 | 109.6 | 99.873 | 0.026518
711.5 | 113.3 | 103.573 | 0.0275
712 | 117.5 | 107.773 | 0.028615
712.5 | 121.2 | 111.473 | 0.029598
713 | 126.2 | 116.473 | 0.030925
713.5 | 130.5 | 120.773 | 0.032067
714 | 134.7 | 124.973 | 0.033182
714.5 | 138 | 128.273 | 0.034058
715 | 141.8 | 132.073 | 0.035067
715.5 | 145.5 | 135.773 | 0.03605
716 | 149.9 | 140.173 | 0.037218
716.5 | 154.6 | 144.873 | 0.038466
717 | 159.9 | 150.173 | 0.039873
717.5 | 165.2 | 155.473 | 0.04128
718 | 170.2 | 160.473 | 0.042608
718.5 | 174.8 | 165.073 | 0.043829
719 | 180.6 | 170.873 | 0.045369
719.5 | 186.2 | 176.473 | 0.046856
720 | 192 | 182.273 | 0.048396
720.5 | 198.2 | 188.473 | 0.050042
721 | 205.2 | 195.473 | 0.051901
721.5 | 211 | 201.273 | 0.053441
722 | 217.3 | 207.573 | 0.055114
722.5 | 224.2 | 214.473 | 0.056946
723 | 230.9 | 221.173 | 0.058725
723.5 | 238.2 | 228.473 | 0.060663
724 | 245.5 | 235.773 | 0.062601
724.5 | 252.6 | 242.873 | 0.064486
725 | 260.8 | 251.073 | 0.066664
725.5 | 269.2 | 259.473 | 0.068894
726 | 277.1 | 267.373 | 0.070991
726.5 | 285.6 | 275.873 | 0.073248
727 | 295.1 | 285.373 | 0.075771
727.5 | 303.6 | 293.873 | 0.078028
728 | 312.7 | 302.973 | 0.080444
728.5 | 322.3 | 312.573 | 0.082993
729 | 331.1 | 321.373 | 0.085329
729.5 | 339.5 | 329.773 | 0.08756
730 | 348.2 | 338.473 | 0.089869
730.5 | 357.4 | 347.673 | 0.092312
731 | 367.4 | 357.673 | 0.094967
731.5 | 379.2 | 369.473 | 0.0981
732 | 391.4 | 381.673 | 0.10134
732.5 | 404.1 | 394.373 | 0.10471
733 | 416.8 | 407.073 | 0.10808
733.5 | 429.9 | 420.173 | 0.11156
734 | 442.3 | 432.573 | 0.11485
734.5 | 456.1 | 446.373 | 0.11852
735 | 470.2 | 460.473 | 0.12226
735.5 | 483.3 | 473.573 | 0.12574
736 | 495.1 | 485.373 | 0.12887
736.5 | 508.6 | 498.873 | 0.13246
737 | 523.2 | 513.473 | 0.13633
737.5 | 537.3 | 527.573 | 0.14008
738 | 552.1 | 542.373 | 0.14401
738.5 | 569.2 | 559.473 | 0.14855
739 | 585.9 | 576.173 | 0.15298
739.5 | 600.3 | 590.573 | 0.15681
740 | 615.4 | 605.673 | 0.16081
740.5 | 632.8 | 623.073 | 0.16543
741 | 650.3 | 640.573 | 0.17008
741.5 | 668.2 | 658.473 | 0.17483
742 | 688 | 678.273 | 0.18009
742.5 | 710.8 | 701.073 | 0.18615
743 | 733.3 | 723.573 | 0.19212
743.5 | 755.3 | 745.573 | 0.19796
744 | 778.4 | 768.673 | 0.20409
744.5 | 801.4 | 791.673 | 0.2102
745 | 821.5 | 811.773 | 0.21554
745.5 | 841.9 | 832.173 | 0.22095
746 | 865.5 | 855.773 | 0.22722
746.5 | 889.9 | 880.173 | 0.2337
747 | 916.5 | 906.773 | 0.24076
747.5 | 945.6 | 935.873 | 0.24849
748 | 976.6 | 966.873 | 0.25672
748.5 | 1008 | 998.273 | 0.26506
749 | 1038 | 1028.273 | 0.27302
749.5 | 1068 | 1058.273 | 0.28099
750 | 1097 | 1087.273 | 0.28869
750.5 | 1126 | 1116.273 | 0.29639
751 | 1154 | 1144.273 | 0.30382
751.5 | 1184 | 1174.273 | 0.31179
752 | 1218 | 1208.273 | 0.32081
752.5 | 1254 | 1244.273 | 0.33037
753 | 1287 | 1277.273 | 0.33913
753.5 | 1321 | 1311.273 | 0.34816
754 | 1356 | 1346.273 | 0.35745
754.5 | 1394 | 1384.273 | 0.36754
755 | 1431 | 1421.273 | 0.37737
755.5 | 1471 | 1461.273 | 0.38799
756 | 1513 | 1503.273 | 0.39914
756.5 | 1553 | 1543.273 | 0.40976
757 | 1592 | 1582.273 | 0.42012
757.5 | 1632 | 1622.273 | 0.43074
758 | 1678 | 1668.273 | 0.44295
758.5 | 1726 | 1716.273 | 0.4557
759 | 1775 | 1765.273 | 0.46871
759.5 | 1827 | 1817.273 | 0.48251
760 | 1884 | 1874.273 | 0.49765
760.5 | 1938 | 1928.273 | 0.51198
761 | 1988 | 1978.273 | 0.52526
761.5 | 2040 | 2030.273 | 0.53907
762 | 2089 | 2079.273 | 0.55208
762.5 | 2136 | 2126.273 | 0.56456
763 | 2190 | 2180.273 | 0.57889
763.5 | 2253 | 2243.273 | 0.59562
764 | 2316 | 2306.273 | 0.61235
764.5 | 2378 | 2368.273 | 0.62881
765 | 2440 | 2430.273 | 0.64527
765.5 | 2501 | 2491.273 | 0.66147
766 | 2564 | 2554.273 | 0.6782
766.5 | 2625 | 2615.273 | 0.69439
767 | 2689 | 2679.273 | 0.71139
767.5 | 2755 | 2745.273 | 0.72891
768 | 2823 | 2813.273 | 0.74696
768.5 | 2888 | 2878.273 | 0.76422
769 | 2960 | 2950.273 | 0.78334
769.5 | 3036 | 3026.273 | 0.80352
770 | 3106 | 3096.273 | 0.82211
770.5 | 3173 | 3163.273 | 0.83989
771 | 3237 | 3227.273 | 0.85689
771.5 | 3294 | 3284.273 | 0.87202
772 | 3352 | 3342.273 | 0.88742
772.5 | 3417 | 3407.273 | 0.90468
773 | 3473 | 3463.273 | 0.91955
773.5 | 3524 | 3514.273 | 0.93309
774 | 3579 | 3569.273 | 0.94769
774.5 | 3623 | 3613.273 | 0.95938
775 | 3658 | 3648.273 | 0.96867
775.5 | 3691 | 3681.273 | 0.97743
776 | 3724 | 3714.273 | 0.98619
776.5 | 3750 | 3740.273 | 0.9931
777 | 3771 | 3761.273 | 0.99867
777.5 | 3776 | 3766.273 | 1
778 | 3767 | 3757.273 | 0.99761
778.5 | 3741 | 3731.273 | 0.99071
779 | 3706 | 3696.273 | 0.98141
779.5 | 3669 | 3659.273 | 0.97159
780 | 3643 | 3633.273 | 0.96469
780.5 | 3618 | 3608.273 | 0.95805
781 | 3592 | 3582.273 | 0.95115
781.5 | 3566 | 3556.273 | 0.94424
782 | 3525 | 3515.273 | 0.93336
782.5 | 3466 | 3456.273 | 0.91769
783 | 3400 | 3390.273 | 0.90017
783.5 | 3329 | 3319.273 | 0.88132
784 | 3243 | 3233.273 | 0.85848
784.5 | 3156 | 3146.273 | 0.83538
785 | 3069 | 3059.273 | 0.81228
785.5 | 2981 | 2971.273 | 0.78892
786 | 2884 | 2874.273 | 0.76316
786.5 | 2784 | 2774.273 | 0.73661
787 | 2683 | 2673.273 | 0.70979
787.5 | 2586 | 2576.273 | 0.68404
788 | 2487 | 2477.273 | 0.65775
788.5 | 2389 | 2379.273 | 0.63173
789 | 2289 | 2279.273 | 0.60518
789.5 | 2184 | 2174.273 | 0.5773
790 | 2076 | 2066.273 | 0.54863
790.5 | 1969 | 1959.273 | 0.52022
791 | 1864 | 1854.273 | 0.49234
791.5 | 1766 | 1756.273 | 0.46632
792 | 1675 | 1665.273 | 0.44215
792.5 | 1586 | 1576.273 | 0.41852
793 | 1497 | 1487.273 | 0.39489
793.5 | 1414 | 1404.273 | 0.37285
794 | 1338 | 1328.273 | 0.35268
794.5 | 1262 | 1252.273 | 0.3325
795 | 1185 | 1175.273 | 0.31205
795.5 | 1115 | 1105.273 | 0.29347
796 | 1049 | 1039.273 | 0.27594
796.5 | 985.5 | 975.773 | 0.25908
797 | 925.9 | 916.173 | 0.24326
797.5 | 871.5 | 861.773 | 0.22881
798 | 820.4 | 810.673 | 0.21525
798.5 | 772 | 762.273 | 0.20239
799 | 725.6 | 715.873 | 0.19007
799.5 | 683.2 | 673.473 | 0.17882
800 | 645 | 635.273 | 0.16867
800.5 | 608.1 | 598.373 | 0.15888
801 | 571.8 | 562.073 | 0.14924
801.5 | 537.5 | 527.773 | 0.14013
802 | 505.7 | 495.973 | 0.13169
802.5 | 475.8 | 466.073 | 0.12375
803 | 447.4 | 437.673 | 0.11621
803.5 | 420.7 | 410.973 | 0.10912
804 | 395.8 | 386.073 | 0.10251
804.5 | 373 | 363.273 | 0.096454
805 | 351.7 | 341.973 | 0.090799
805.5 | 331.6 | 321.873 | 0.085462
806 | 313.5 | 303.773 | 0.080656
806.5 | 296.1 | 286.373 | 0.076036
807 | 280.1 | 270.373 | 0.071788
807.5 | 265.1 | 255.373 | 0.067805
808 | 250.7 | 240.973 | 0.063982
808.5 | 237.1 | 227.373 | 0.060371
809 | 223.8 | 214.073 | 0.056839
809.5 | 209.8 | 200.073 | 0.053122
810 | 196.4 | 186.673 | 0.049564
810.5 | 184.6 | 174.873 | 0.046431
811 | 173.9 | 164.173 | 0.04359
811.5 | 164.3 | 154.573 | 0.041041
812 | 156 | 146.273 | 0.038838
812.5 | 147.8 | 138.073 | 0.03666
813 | 139.4 | 129.673 | 0.03443
813.5 | 131.2 | 121.473 | 0.032253
814 | 124 | 114.273 | 0.030341
814.5 | 117 | 107.273 | 0.028483
815 | 110.7 | 100.973 | 0.02681
815.5 | 104.7 | 94.973 | 0.025217
816 | 98.75 | 89.023 | 0.023637
816.5 | 93.09 | 83.363 | 0.022134
817 | 87.66 | 77.933 | 0.020692
817.5 | 82.73 | 73.003 | 0.019383
818 | 78.48 | 68.753 | 0.018255
818.5 | 74.35 | 64.623 | 0.017158
819 | 70.41 | 60.683 | 0.016112
819.5 | 66.61 | 56.883 | 0.015103
820 | 62.81 | 53.083 | 0.014094
820.5 | 60.19 | 50.463 | 0.013399
821 | 57.83 | 48.103 | 0.012772
821.5 | 55.33 | 45.603 | 0.012108
822 | 53.43 | 43.703 | 0.011604
822.5 | 51.36 | 41.633 | 0.011054
823 | 48.29 | 38.563 | 0.010239
823.5 | 45.33 | 35.603 | 0.0094531
824 | 42.44 | 32.713 | 0.0086858
824.5 | 39.85 | 30.123 | 0.0079981
825 | 37.31 | 27.583 | 0.0073237
825.5 | 35.48 | 25.753 | 0.0068378
826 | 34.35 | 24.623 | 0.0065378
826.5 | 33.05 | 23.323 | 0.0061926
827 | 31.44 | 21.713 | 0.0057651
827.5 | 30.5 | 20.773 | 0.0055155
828 | 29.99 | 20.263 | 0.0053801
828.5 | 29.12 | 19.393 | 0.0051491
829 | 28.69 | 18.963 | 0.005035
829.5 | 27.64 | 17.913 | 0.0047562
830 | 26.53 | 16.803 | 0.0044614
830.5 | 25.19 | 15.463 | 0.0041057
831 | 24.01 | 14.283 | 0.0037923
831.5 | 23.41 | 13.683 | 0.003633
832 | 23.31 | 13.583 | 0.0036065
832.5 | 22.54 | 12.813 | 0.003402
833 | 21.38 | 11.653 | 0.003094
833.5 | 20.8 | 11.073 | 0.00294
834 | 20.47 | 10.743 | 0.0028524
834.5 | 20.35 | 10.623 | 0.0028206
835 | 20.03 | 10.303 | 0.0027356
835.5 | 20.24 | 10.513 | 0.0027914
836 | 19.44 | 9.713 | 0.0025789
836.5 | 18.64 | 8.913 | 0.0023665
837 | 17.58 | 7.853 | 0.0020851
837.5 | 16.83 | 7.103 | 0.0018859
838 | 16.66 | 6.933 | 0.0018408
838.5 | 16.63 | 6.903 | 0.0018328
839 | 16.33 | 6.603 | 0.0017532
839.5 | 16.21 | 6.483 | 0.0017213
840 | 15.49 | 5.763 | 0.0015302
840.5 | 14.74 | 5.013 | 0.001331
841 | 14.39 | 4.663 | 0.0012381
841.5 | 14.7 | 4.973 | 0.0013204
842 | 14.99 | 5.263 | 0.0013974
842.5 | 15.11 | 5.383 | 0.0014293
843 | 15.07 | 5.343 | 0.0014186
843.5 | 14.34 | 4.613 | 0.0012248
844 | 13.54 | 3.813 | 0.0010124
844.5 | 12.88 | 3.153 | 0.00083717
845 | 12.23 | 2.503 | 0.00066458
845.5 | 11.96 | 2.233 | 0.00059289
846 | 11.84 | 2.113 | 0.00056103
846.5 | 11.29 | 1.563 | 0.000415
847 | 11.21 | 1.483 | 0.00039376
847.5 | 11.49 | 1.763 | 0.0004681
848 | 11.57 | 1.843 | 0.00048934
848.5 | 11.71 | 1.983 | 0.00052652
849 | 12.09 | 2.363 | 0.00062741
849.5 | 12.22 | 2.493 | 0.00066193
850 | 11.65 | 1.923 | 0.00051058
850.5 | 11.13 | 1.403 | 0.00037252
851 | 10.86 | 1.133 | 0.00030083
851.5 | 10.86 | 1.133 | 0.00030083
852 | 11.25 | 1.523 | 0.00040438
852.5 | 11.92 | 2.193 | 0.00058227
853 | 12 | 2.273 | 0.00060351
853.5 | 11.62 | 1.893 | 0.00050262
854 | 10.9 | 1.173 | 0.00031145
854.5 | 10.75 | 1.023 | 0.00027162
855 | 10.59 | 0.863 | 0.00022914
855.5 | 11.08 | 1.353 | 0.00035924
856 | 11.25 | 1.523 | 0.00040438
856.5 | 11.46 | 1.733 | 0.00046014
857 | 11.85 | 2.123 | 0.00056369
857.5 | 12.13 | 2.403 | 0.00063803
858 | 12.36 | 2.633 | 0.0006991
858.5 | 12.96 | 3.233 | 0.00085841
859 | 12.9 | 3.173 | 0.00084248
859.5 | 12.35 | 2.623 | 0.00069644
860 | 11.96 | 2.233 | 0.00059289
860.5 | 11.49 | 1.763 | 0.0004681
861 | 11.57 | 1.843 | 0.00048934
861.5 | 11.64 | 1.913 | 0.00050793
862 | 11.53 | 1.803 | 0.00047872
862.5 | 11.51 | 1.783 | 0.00047341
863 | 10.93 | 1.203 | 0.00031941
863.5 | 10.57 | 0.843 | 0.00022383
864 | 10.39 | 0.663 | 0.00017604
864.5 | 10.79 | 1.063 | 0.00028224
865 | 10.72 | 0.993 | 0.00026366
865.5 | 10.52 | 0.793 | 0.00021055
866 | 10.51 | 0.783 | 0.0002079
866.5 | 9.946 | 0.219 | 5.8148e-05
867 | 9.645 | 0 | 0
867.5 | 9.436 | 0 | 0
868 | 9.445 | 0 | 0
868.5 | 10.19 | 0.463 | 0.00012293
869 | 10.45 | 0.723 | 0.00019197
869.5 | 10.87 | 1.143 | 0.00030348
870 | 10.84 | 1.113 | 0.00029552
870.5 | 9.908 | 0.181 | 4.8058e-05
871 | 9.846 | 0.119 | 3.1596e-05
871.5 | 10.11 | 0.383 | 0.00010169
872 | 10.22 | 0.493 | 0.0001309
872.5 | 10.36 | 0.633 | 0.00016807
873 | 10.49 | 0.763 | 0.00020259
873.5 | 10.48 | 0.753 | 0.00019993
874 | 10.56 | 0.833 | 0.00022117
874.5 | 11.15 | 1.423 | 0.00037783
875 | 10.7 | 0.973 | 0.00025835
875.5 | 10.32 | 0.593 | 0.00015745
876 | 9.892 | 0.165 | 4.381e-05
876.5 | 9.214 | 0 | 0
877 | 8.747 | 0 | 0
877.5 | 9.083 | 0 | 0
878 | 9.085 | 0 | 0
878.5 | 8.984 | 0 | 0
879 | 9.577 | 0 | 0
879.5 | 9.892 | 0.165 | 4.381e-05
880 | 10.02 | 0.293 | 7.7796e-05
880.5 | 10.41 | 0.683 | 0.00018135
881 | 10.28 | 0.553 | 0.00014683
881.5 | 9.939 | 0.212 | 5.6289e-05
882 | 9.829 | 0.102 | 2.7082e-05
882.5 | 9.577 | 0 | 0
883 | 9.584 | 0 | 0
883.5 | 9.941 | 0.214 | 5.682e-05
884 | 9.736 | 0.009 | 2.3896e-06
884.5 | 9.76 | 0.033 | 8.762e-06
885 | 10.03 | 0.303 | 8.0451e-05
885.5 | 9.909 | 0.182 | 4.8324e-05
886 | 10.36 | 0.633 | 0.00016807
886.5 | 9.033 | 0 | 0