## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | -6.0229 | 0.2945 | 0.00010631
246.5 | -5.4709 | 0.8465 | 0.00030556
247 | -3.7456 | 2.5718 | 0.00092834
247.5 | -4.3188 | 1.9986 | 0.00072143
248 | -6.4345 | 0 | 0
248.5 | -7.2428 | 0 | 0
249 | -6.3174 | 0 | 0
249.5 | -6.0362 | 0.2812 | 0.0001015
250 | -6.8307 | 0 | 0
250.5 | -6.942 | 0 | 0
251 | -9.6841 | 0 | 0
251.5 | -8.0333 | 0 | 0
252 | -5.7797 | 0.5377 | 0.00019409
252.5 | -6.08 | 0.2374 | 8.5694e-05
253 | -7.4076 | 0 | 0
253.5 | -8.8623 | 0 | 0
254 | -8.3473 | 0 | 0
254.5 | -7.9955 | 0 | 0
255 | -6.8652 | 0 | 0
255.5 | -7.5898 | 0 | 0
256 | -7.3482 | 0 | 0
256.5 | -4.6641 | 1.6533 | 0.00059679
257 | -6.5386 | 0 | 0
257.5 | -6.3098 | 0.0076 | 2.7434e-06
258 | -6.4295 | 0 | 0
258.5 | -6.1428 | 0.1746 | 6.3025e-05
259 | -6.0359 | 0.2815 | 0.00010161
259.5 | -5.8546 | 0.4628 | 0.00016706
260 | -5.8671 | 0.4503 | 0.00016254
260.5 | -5.8217 | 0.4957 | 0.00017893
261 | -5.6215 | 0.6959 | 0.0002512
261.5 | -5.64 | 0.6774 | 0.00024452
262 | -5.6265 | 0.6909 | 0.00024939
262.5 | -5.8369 | 0.4805 | 0.00017345
263 | -6.0479 | 0.2695 | 9.7281e-05
263.5 | -6.2698 | 0.0476 | 1.7182e-05
264 | -6.5489 | 0 | 0
264.5 | -6.3025 | 0.0149 | 5.3784e-06
265 | -5.9232 | 0.3942 | 0.00014229
265.5 | -5.5424 | 0.775 | 0.00027975
266 | -5.2272 | 1.0902 | 0.00039353
266.5 | -5.0228 | 1.2946 | 0.00046731
267 | -4.8952 | 1.4222 | 0.00051337
267.5 | -5.0321 | 1.2853 | 0.00046395
268 | -5.1961 | 1.1213 | 0.00040476
268.5 | -5.3068 | 1.0106 | 0.0003648
269 | -5.2485 | 1.0689 | 0.00038584
269.5 | -4.89 | 1.4274 | 0.00051525
270 | -4.5161 | 1.8013 | 0.00065021
270.5 | -4.327 | 1.9904 | 0.00071847
271 | -4.4805 | 1.8369 | 0.00066306
271.5 | -4.9221 | 1.3953 | 0.00050366
272 | -5.4301 | 0.8873 | 0.00032029
272.5 | -5.8774 | 0.44 | 0.00015883
273 | -6.3472 | 0 | 0
273.5 | -6.6397 | 0 | 0
274 | -6.8397 | 0 | 0
274.5 | -6.8753 | 0 | 0
275 | -6.7177 | 0 | 0
275.5 | -6.6439 | 0 | 0
276 | -6.5132 | 0 | 0
276.5 | -6.1502 | 0.1672 | 6.0354e-05
277 | -5.8756 | 0.4418 | 0.00015948
277.5 | -5.7225 | 0.5949 | 0.00021474
278 | -5.6584 | 0.659 | 0.00023788
278.5 | -5.5065 | 0.8109 | 0.00029271
279 | -5.5927 | 0.7247 | 0.00026159
279.5 | -5.7178 | 0.5996 | 0.00021644
280 | -5.5993 | 0.7181 | 0.00025921
280.5 | -5.2972 | 1.0202 | 0.00036826
281 | -4.9934 | 1.324 | 0.00047792
281.5 | -5.1343 | 1.1831 | 0.00042706
282 | -5.3766 | 0.9408 | 0.0003396
282.5 | -5.7423 | 0.5751 | 0.00020759
283 | -6.3497 | 0 | 0
283.5 | -7.0038 | 0 | 0
284 | -7.4201 | 0 | 0
284.5 | -7.3994 | 0 | 0
285 | -7.3323 | 0 | 0
285.5 | -7.4395 | 0 | 0
286 | -7.288 | 0 | 0
286.5 | -7.4415 | 0 | 0
287 | -7.8645 | 0 | 0
287.5 | -8.239 | 0 | 0
288 | -8.0108 | 0 | 0
288.5 | -7.6237 | 0 | 0
289 | -7.1008 | 0 | 0
289.5 | -6.6347 | 0 | 0
290 | -6.2061 | 0.1113 | 4.0176e-05
290.5 | -5.9785 | 0.3389 | 0.00012233
291 | -6.273 | 0.0444 | 1.6027e-05
291.5 | -6.5261 | 0 | 0
292 | -6.4644 | 0 | 0
292.5 | -6.4077 | 0 | 0
293 | -6.3145 | 0.0029 | 1.0468e-06
293.5 | -6.1658 | 0.1516 | 5.4723e-05
294 | -5.9981 | 0.3193 | 0.00011526
294.5 | -6.1595 | 0.1579 | 5.6997e-05
295 | -6.4856 | 0 | 0
295.5 | -6.7252 | 0 | 0
296 | -6.8599 | 0 | 0
296.5 | -7.1214 | 0 | 0
297 | -7.2167 | 0 | 0
297.5 | -6.9916 | 0 | 0
298 | -6.8192 | 0 | 0
298.5 | -6.644 | 0 | 0
299 | -6.3756 | 0 | 0
299.5 | -5.9894 | 0.328 | 0.0001184
300 | -5.5699 | 0.7475 | 0.00026982
300.5 | -5.2812 | 1.0362 | 0.00037404
301 | -4.9583 | 1.3591 | 0.00049059
301.5 | -4.6021 | 1.7153 | 0.00061917
302 | -4.404 | 1.9134 | 0.00069068
302.5 | -4.325 | 1.9924 | 0.0007192
303 | -4.1022 | 2.2152 | 0.00079962
303.5 | -3.6123 | 2.7051 | 0.00097646
304 | -3.167 | 3.1504 | 0.0011372
304.5 | -2.9113 | 3.4061 | 0.0012295
305 | -2.9187 | 3.3987 | 0.0012268
305.5 | -2.9343 | 3.3831 | 0.0012212
306 | -3.1569 | 3.1605 | 0.0011408
306.5 | -3.4295 | 2.8879 | 0.0010424
307 | -3.5034 | 2.814 | 0.0010158
307.5 | -3.4741 | 2.8433 | 0.0010263
308 | -3.7524 | 2.565 | 0.00092589
308.5 | -3.7819 | 2.5355 | 0.00091524
309 | -3.8801 | 2.4373 | 0.00087979
309.5 | -4.0362 | 2.2812 | 0.00082344
310 | -4.4239 | 1.8935 | 0.0006835
310.5 | -4.8161 | 1.5013 | 0.00054192
311 | -5.1931 | 1.1243 | 0.00040584
311.5 | -5.3948 | 0.9226 | 0.00033303
312 | -5.5295 | 0.7879 | 0.00028441
312.5 | -5.7186 | 0.5988 | 0.00021615
313 | -5.8584 | 0.459 | 0.00016568
313.5 | -6.0655 | 0.2519 | 9.0928e-05
314 | -6.336 | 0 | 0
314.5 | -6.5727 | 0 | 0
315 | -6.8075 | 0 | 0
315.5 | -6.8857 | 0 | 0
316 | -6.876 | 0 | 0
316.5 | -6.7337 | 0 | 0
317 | -6.4878 | 0 | 0
317.5 | -6.2851 | 0.0323 | 1.1659e-05
318 | -6.1756 | 0.1418 | 5.1185e-05
318.5 | -6.1913 | 0.1261 | 4.5518e-05
319 | -6.0556 | 0.2618 | 9.4502e-05
319.5 | -5.968 | 0.3494 | 0.00012612
320 | -5.8753 | 0.4421 | 0.00015958
320.5 | -5.8339 | 0.4835 | 0.00017453
321 | -5.4321 | 0.8853 | 0.00031957
321.5 | -5.1603 | 1.1571 | 0.00041768
322 | -5.2938 | 1.0236 | 0.00036949
322.5 | -5.6437 | 0.6737 | 0.00024319
323 | -6.0425 | 0.2749 | 9.9231e-05
323.5 | -6.5331 | 0 | 0
324 | -6.741 | 0 | 0
324.5 | -6.7878 | 0 | 0
325 | -6.614 | 0 | 0
325.5 | -6.5262 | 0 | 0
326 | -6.3801 | 0 | 0
326.5 | -6.3065 | 0.0109 | 3.9346e-06
327 | -6.2734 | 0.044 | 1.5883e-05
327.5 | -6.3996 | 0 | 0
328 | -6.4442 | 0 | 0
328.5 | -6.2659 | 0.0515 | 1.859e-05
329 | -5.9317 | 0.3857 | 0.00013923
329.5 | -5.8215 | 0.4959 | 0.000179
330 | -5.7198 | 0.5976 | 0.00021572
330.5 | -5.6442 | 0.6732 | 0.000243
331 | -5.7508 | 0.5666 | 0.00020453
331.5 | -6.1401 | 0.1773 | 6.4e-05
332 | -6.5379 | 0 | 0
332.5 | -6.8671 | 0 | 0
333 | -7.0867 | 0 | 0
333.5 | -6.9353 | 0 | 0
334 | -6.7854 | 0 | 0
334.5 | -6.949 | 0 | 0
335 | -7.0385 | 0 | 0
335.5 | -7.0148 | 0 | 0
336 | -7.1462 | 0 | 0
336.5 | -7.1402 | 0 | 0
337 | -7.0907 | 0 | 0
337.5 | -6.9071 | 0 | 0
338 | -6.4933 | 0 | 0
338.5 | -6.2016 | 0.1158 | 4.18e-05
339 | -6.021 | 0.2964 | 0.00010699
339.5 | -5.8651 | 0.4523 | 0.00016327
340 | -5.8794 | 0.438 | 0.0001581
340.5 | -5.7325 | 0.5849 | 0.00021113
341 | -5.5307 | 0.7867 | 0.00028397
341.5 | -5.5581 | 0.7593 | 0.00027408
342 | -5.5572 | 0.7602 | 0.00027441
342.5 | -5.1503 | 1.1671 | 0.00042129
343 | -5.0831 | 1.2343 | 0.00044554
343.5 | -5.1299 | 1.1875 | 0.00042865
344 | -5.2736 | 1.0438 | 0.00037678
344.5 | -5.4594 | 0.858 | 0.00030971
345 | -5.5263 | 0.7911 | 0.00028556
345.5 | -5.5126 | 0.8048 | 0.00029051
346 | -5.4804 | 0.837 | 0.00030213
346.5 | -5.5812 | 0.7362 | 0.00026575
347 | -5.8555 | 0.4619 | 0.00016673
347.5 | -5.9266 | 0.3908 | 0.00014107
348 | -5.8149 | 0.5025 | 0.00018139
348.5 | -5.7094 | 0.608 | 0.00021947
349 | -5.6983 | 0.6191 | 0.00022348
349.5 | -5.6712 | 0.6462 | 0.00023326
350 | -5.8285 | 0.4889 | 0.00017648
350.5 | -6.1502 | 0.1672 | 6.0354e-05
351 | -6.2373 | 0.0801 | 2.8914e-05
351.5 | -6.2672 | 0.0502 | 1.8121e-05
352 | -6.2684 | 0.049 | 1.7688e-05
352.5 | -6.3181 | 0 | 0
353 | -6.5501 | 0 | 0
353.5 | -6.879 | 0 | 0
354 | -7.1295 | 0 | 0
354.5 | -7.6245 | 0 | 0
355 | -7.9999 | 0 | 0
355.5 | -8.3144 | 0 | 0
356 | -8.3462 | 0 | 0
356.5 | -7.9768 | 0 | 0
357 | -7.7455 | 0 | 0
357.5 | -7.8122 | 0 | 0
358 | -7.9524 | 0 | 0
358.5 | -8.097 | 0 | 0
359 | -8.2816 | 0 | 0
359.5 | -8.0749 | 0 | 0
360 | -7.781 | 0 | 0
360.5 | -7.5484 | 0 | 0
361 | -7.081 | 0 | 0
361.5 | -6.5654 | 0 | 0
362 | -6.2024 | 0.115 | 4.1511e-05
362.5 | -6.1198 | 0.1976 | 7.1328e-05
363 | -5.9728 | 0.3446 | 0.00012439
363.5 | -5.7753 | 0.5421 | 0.00019568
364 | -5.3337 | 0.9837 | 0.00035509
364.5 | -5.0019 | 1.3155 | 0.00047486
365 | -4.6472 | 1.6702 | 0.00060289
365.5 | -4.2923 | 2.0251 | 0.000731
366 | -3.9212 | 2.3962 | 0.00086496
366.5 | -3.7598 | 2.5576 | 0.00092322
367 | -3.663 | 2.6544 | 0.00095816
367.5 | -3.8005 | 2.5169 | 0.00090852
368 | -3.733 | 2.5844 | 0.00093289
368.5 | -3.6808 | 2.6366 | 0.00095173
369 | -3.7011 | 2.6163 | 0.0009444
369.5 | -3.7366 | 2.5808 | 0.00093159
370 | -3.699 | 2.6184 | 0.00094516
370.5 | -3.748 | 2.5694 | 0.00092747
371 | -3.8148 | 2.5026 | 0.00090336
371.5 | -3.7662 | 2.5512 | 0.00092091
372 | -3.9132 | 2.4042 | 0.00086784
372.5 | -4.0167 | 2.3007 | 0.00083048
373 | -3.9904 | 2.327 | 0.00083998
373.5 | -3.9803 | 2.3371 | 0.00084362
374 | -4.1432 | 2.1742 | 0.00078482
374.5 | -4.4776 | 1.8398 | 0.00066411
375 | -4.2782 | 2.0392 | 0.00073609
375.5 | -4.2559 | 2.0615 | 0.00074414
376 | -4.3546 | 1.9628 | 0.00070851
376.5 | -4.4917 | 1.8257 | 0.00065902
377 | -4.5312 | 1.7862 | 0.00064476
377.5 | -4.6428 | 1.6746 | 0.00060448
378 | -5.0182 | 1.2992 | 0.00046897
378.5 | -5.1606 | 1.1568 | 0.00041757
379 | -5.4198 | 0.8976 | 0.00032401
379.5 | -5.6403 | 0.6771 | 0.00024441
380 | -5.7836 | 0.5338 | 0.00019269
380.5 | -5.7712 | 0.5462 | 0.00019716
381 | -5.7759 | 0.5415 | 0.00019546
381.5 | -5.94 | 0.3774 | 0.00013623
382 | -5.9493 | 0.3681 | 0.00013287
382.5 | -5.9229 | 0.3945 | 0.0001424
383 | -5.9977 | 0.3197 | 0.0001154
383.5 | -6 | 0.3174 | 0.00011457
384 | -5.9256 | 0.3918 | 0.00014143
384.5 | -5.7122 | 0.6052 | 0.00021846
385 | -5.4459 | 0.8715 | 0.00031458
385.5 | -5.3429 | 0.9745 | 0.00035176
386 | -5.3721 | 0.9453 | 0.00034122
386.5 | -5.2499 | 1.0675 | 0.00038533
387 | -5.2213 | 1.0961 | 0.00039566
387.5 | -5.2951 | 1.0223 | 0.00036902
388 | -4.9981 | 1.3193 | 0.00047623
388.5 | -4.8892 | 1.4282 | 0.00051554
389 | -4.8202 | 1.4972 | 0.00054044
389.5 | -4.9961 | 1.3213 | 0.00047695
390 | -5.3194 | 0.998 | 0.00036025
390.5 | -5.8771 | 0.4403 | 0.00015893
391 | -6.333 | 0 | 0
391.5 | -6.6401 | 0 | 0
392 | -6.8158 | 0 | 0
392.5 | -6.9099 | 0 | 0
393 | -7.2589 | 0 | 0
393.5 | -7.4175 | 0 | 0
394 | -7.6557 | 0 | 0
394.5 | -7.9127 | 0 | 0
395 | -8.0685 | 0 | 0
395.5 | -8.0153 | 0 | 0
396 | -7.8799 | 0 | 0
396.5 | -7.5997 | 0 | 0
397 | -7.333 | 0 | 0
397.5 | -7.0951 | 0 | 0
398 | -6.6531 | 0 | 0
398.5 | -6.4253 | 0 | 0
399 | -6.1576 | 0.1598 | 5.7683e-05
399.5 | -6.0708 | 0.2466 | 8.9015e-05
400 | -6.244 | 0.0734 | 2.6495e-05
400.5 | -6.4741 | 0 | 0
401 | -6.6618 | 0 | 0
401.5 | -6.575 | 0 | 0
402 | -6.3999 | 0 | 0
402.5 | -5.9015 | 0.4159 | 0.00015013
403 | -5.6948 | 0.6226 | 0.00022474
403.5 | -5.547 | 0.7704 | 0.00027809
404 | -5.5352 | 0.7822 | 0.00028235
404.5 | -5.5473 | 0.7701 | 0.00027798
405 | -5.6024 | 0.715 | 0.00025809
405.5 | -5.2505 | 1.0669 | 0.00038512
406 | -4.7636 | 1.5538 | 0.00056087
406.5 | -4.4113 | 1.9061 | 0.00068804
407 | -4.0816 | 2.2358 | 0.00080706
407.5 | -3.7791 | 2.5383 | 0.00091625
408 | -3.8337 | 2.4837 | 0.00089654
408.5 | -4.0901 | 2.2273 | 0.00080399
409 | -4.2391 | 2.0783 | 0.0007502
409.5 | -4.2253 | 2.0921 | 0.00075518
410 | -4.1176 | 2.1998 | 0.00079406
410.5 | -3.9964 | 2.321 | 0.00083781
411 | -3.8806 | 2.4368 | 0.00087961
411.5 | -3.9136 | 2.4038 | 0.0008677
412 | -4.1383 | 2.1791 | 0.00078659
412.5 | -4.3049 | 2.0125 | 0.00072645
413 | -4.1098 | 2.2076 | 0.00079688
413.5 | -4.1411 | 2.1763 | 0.00078558
414 | -4.1326 | 2.1848 | 0.00078865
414.5 | -4.0165 | 2.3009 | 0.00083055
415 | -3.9615 | 2.3559 | 0.00085041
415.5 | -4.1747 | 2.1427 | 0.00077345
416 | -4.2441 | 2.0733 | 0.0007484
416.5 | -4.3893 | 1.9281 | 0.00069599
417 | -4.4692 | 1.8482 | 0.00066714
417.5 | -4.5484 | 1.769 | 0.00063855
418 | -4.5388 | 1.7786 | 0.00064202
418.5 | -4.6473 | 1.6701 | 0.00060286
419 | -4.7152 | 1.6022 | 0.00057835
419.5 | -4.599 | 1.7184 | 0.00062029
420 | -4.6793 | 1.6381 | 0.0005913
420.5 | -5.0552 | 1.2622 | 0.00045562
421 | -5.3749 | 0.9425 | 0.00034021
421.5 | -5.3667 | 0.9507 | 0.00034317
422 | -5.4304 | 0.887 | 0.00032018
422.5 | -5.494 | 0.8234 | 0.00029722
423 | -5.5088 | 0.8086 | 0.00029188
423.5 | -5.5884 | 0.729 | 0.00026315
424 | -5.8871 | 0.4303 | 0.00015533
424.5 | -6.2025 | 0.1149 | 4.1475e-05
425 | -6.5575 | 0 | 0
425.5 | -7.1133 | 0 | 0
426 | -7.5004 | 0 | 0
426.5 | -7.4648 | 0 | 0
427 | -7.2949 | 0 | 0
427.5 | -7.2366 | 0 | 0
428 | -7.3986 | 0 | 0
428.5 | -7.5244 | 0 | 0
429 | -7.613 | 0 | 0
429.5 | -7.4056 | 0 | 0
430 | -6.8702 | 0 | 0
430.5 | -6.2498 | 0.0676 | 2.4402e-05
431 | -5.7011 | 0.6163 | 0.00022247
431.5 | -5.1242 | 1.1932 | 0.00043071
432 | -4.5523 | 1.7651 | 0.00063715
432.5 | -4.1968 | 2.1206 | 0.00076547
433 | -3.9331 | 2.3843 | 0.00086066
433.5 | -3.7868 | 2.5306 | 0.00091347
434 | -3.491 | 2.8264 | 0.0010202
434.5 | -3.4198 | 2.8976 | 0.0010459
435 | -3.4882 | 2.8292 | 0.0010213
435.5 | -3.6924 | 2.625 | 0.00094754
436 | -3.9938 | 2.3236 | 0.00083875
436.5 | -4.1291 | 2.1883 | 0.00078991
437 | -4.2517 | 2.0657 | 0.00074565
437.5 | -4.3281 | 1.9893 | 0.00071808
438 | -4.1433 | 2.1741 | 0.00078478
438.5 | -3.8683 | 2.4491 | 0.00088405
439 | -3.7895 | 2.5279 | 0.00091249
439.5 | -3.5718 | 2.7456 | 0.00099108
440 | -3.5689 | 2.7485 | 0.00099212
440.5 | -3.5067 | 2.8107 | 0.0010146
441 | -3.2797 | 3.0377 | 0.0010965
441.5 | -3.0052 | 3.3122 | 0.0011956
442 | -2.6604 | 3.657 | 0.0013201
442.5 | -2.5451 | 3.7723 | 0.0013617
443 | -2.6145 | 3.7029 | 0.0013366
443.5 | -3.0822 | 3.2352 | 0.0011678
444 | -3.7702 | 2.5472 | 0.00091946
444.5 | -4.3478 | 1.9696 | 0.00071097
445 | -4.5098 | 1.8076 | 0.00065249
445.5 | -4.5726 | 1.7448 | 0.00062982
446 | -4.6338 | 1.6836 | 0.00060773
446.5 | -4.3783 | 1.9391 | 0.00069996
447 | -4.3701 | 1.9473 | 0.00070292
447.5 | -4.5204 | 1.797 | 0.00064866
448 | -4.8316 | 1.4858 | 0.00053633
448.5 | -5.0327 | 1.2847 | 0.00046374
449 | -5.0212 | 1.2962 | 0.00046789
449.5 | -4.6958 | 1.6216 | 0.00058535
450 | -4.3548 | 1.9626 | 0.00070844
450.5 | -4.2205 | 2.0969 | 0.00075692
451 | -4.2978 | 2.0196 | 0.00072901
451.5 | -4.3615 | 1.9559 | 0.00070602
452 | -4.3035 | 2.0139 | 0.00072696
452.5 | -4.4362 | 1.8812 | 0.00067906
453 | -4.3167 | 2.0007 | 0.00072219
453.5 | -4.4875 | 1.8299 | 0.00066054
454 | -4.7318 | 1.5856 | 0.00057235
454.5 | -4.9273 | 1.3901 | 0.00050178
455 | -5.2724 | 1.045 | 0.00037721
455.5 | -5.6785 | 0.6389 | 0.00023062
456 | -5.9922 | 0.3252 | 0.00011739
456.5 | -6.0392 | 0.2782 | 0.00010042
457 | -6.2552 | 0.0622 | 2.2452e-05
457.5 | -6.6903 | 0 | 0
458 | -6.9634 | 0 | 0
458.5 | -7.1043 | 0 | 0
459 | -7.419 | 0 | 0
459.5 | -7.2463 | 0 | 0
460 | -6.9632 | 0 | 0
460.5 | -6.8068 | 0 | 0
461 | -6.6314 | 0 | 0
461.5 | -6.597 | 0 | 0
462 | -6.7844 | 0 | 0
462.5 | -7.0375 | 0 | 0
463 | -7.0555 | 0 | 0
463.5 | -6.7459 | 0 | 0
464 | -6.5352 | 0 | 0
464.5 | -6.555 | 0 | 0
465 | -6.406 | 0 | 0
465.5 | -6.3502 | 0 | 0
466 | -6.4785 | 0 | 0
466.5 | -6.4729 | 0 | 0
467 | -6.3426 | 0 | 0
467.5 | -6.1832 | 0.1342 | 4.8442e-05
468 | -5.8528 | 0.4646 | 0.00016771
468.5 | -5.4841 | 0.8333 | 0.0003008
469 | -5.118 | 1.1994 | 0.00043295
469.5 | -4.8212 | 1.4962 | 0.00054008
470 | -4.6698 | 1.6476 | 0.00059473
470.5 | -4.5293 | 1.7881 | 0.00064545
471 | -4.3851 | 1.9323 | 0.0006975
471.5 | -4.3123 | 2.0051 | 0.00072378
472 | -4.2496 | 2.0678 | 0.00074641
472.5 | -4.2021 | 2.1153 | 0.00076356
473 | -4.2433 | 2.0741 | 0.00074869
473.5 | -4.2735 | 2.0439 | 0.00073779
474 | -4.3673 | 1.9501 | 0.00070393
474.5 | -4.6026 | 1.7148 | 0.00061899
475 | -4.8733 | 1.4441 | 0.00052128
475.5 | -5.0795 | 1.2379 | 0.00044684
476 | -5.0999 | 1.2175 | 0.00043948
476.5 | -5.3215 | 0.9959 | 0.00035949
477 | -5.463 | 0.8544 | 0.00030841
477.5 | -5.5768 | 0.7406 | 0.00026733
478 | -5.5145 | 0.8029 | 0.00028982
478.5 | -5.5 | 0.8174 | 0.00029506
479 | -5.5423 | 0.7751 | 0.00027979
479.5 | -5.4663 | 0.8511 | 0.00030722
480 | -5.3791 | 0.9383 | 0.0003387
480.5 | -5.1082 | 1.2092 | 0.00043648
481 | -5.105 | 1.2124 | 0.00043764
481.5 | -5.2547 | 1.0627 | 0.0003836
482 | -5.1838 | 1.1336 | 0.00040919
482.5 | -5.0155 | 1.3019 | 0.00046995
483 | -4.9333 | 1.3841 | 0.00049962
483.5 | -4.7794 | 1.538 | 0.00055517
484 | -4.5895 | 1.7279 | 0.00062372
484.5 | -4.5328 | 1.7846 | 0.00064419
485 | -4.6492 | 1.6682 | 0.00060217
485.5 | -4.6709 | 1.6465 | 0.00059434
486 | -4.8101 | 1.5073 | 0.00054409
486.5 | -4.8719 | 1.4455 | 0.00052178
487 | -4.7617 | 1.5557 | 0.00056156
487.5 | -5.0385 | 1.2789 | 0.00046164
488 | -5.3497 | 0.9677 | 0.00034931
488.5 | -5.6033 | 0.7141 | 0.00025777
489 | -5.85 | 0.4674 | 0.00016872
489.5 | -6.0644 | 0.253 | 9.1325e-05
490 | -6.0182 | 0.2992 | 0.000108
490.5 | -5.9157 | 0.4017 | 0.000145
491 | -5.7362 | 0.5812 | 0.0002098
491.5 | -5.5983 | 0.7191 | 0.00025957
492 | -5.5237 | 0.7937 | 0.0002865
492.5 | -5.7114 | 0.606 | 0.00021875
493 | -5.9818 | 0.3356 | 0.00012114
493.5 | -6.2269 | 0.0905 | 3.2668e-05
494 | -6.3864 | 0 | 0
494.5 | -6.3649 | 0 | 0
495 | -6.3499 | 0 | 0
495.5 | -6.6769 | 0 | 0
496 | -7.019 | 0 | 0
496.5 | -7.1403 | 0 | 0
497 | -7.3284 | 0 | 0
497.5 | -7.5694 | 0 | 0
498 | -7.733 | 0 | 0
498.5 | -7.7134 | 0 | 0
499 | -7.4558 | 0 | 0
499.5 | -7.225 | 0 | 0
500 | -7.149 | 0 | 0
500.5 | -7.237 | 0 | 0
501 | -7.266 | 0 | 0
501.5 | -7.4596 | 0 | 0
502 | -7.54 | 0 | 0
502.5 | -7.4988 | 0 | 0
503 | -7.4052 | 0 | 0
503.5 | -7.2749 | 0 | 0
504 | -7.2153 | 0 | 0
504.5 | -7.0636 | 0 | 0
505 | -6.9446 | 0 | 0
505.5 | -7.0272 | 0 | 0
506 | -6.8184 | 0 | 0
506.5 | -6.9665 | 0 | 0
507 | -6.7109 | 0 | 0
507.5 | -6.4486 | 0 | 0
508 | -6.2758 | 0.0416 | 1.5016e-05
508.5 | -6.1107 | 0.2067 | 7.4612e-05
509 | -6.0699 | 0.2475 | 8.934e-05
509.5 | -5.988 | 0.3294 | 0.0001189
510 | -5.8864 | 0.431 | 0.00015558
510.5 | -6.0131 | 0.3043 | 0.00010984
511 | -5.9649 | 0.3525 | 0.00012724
511.5 | -5.7353 | 0.5821 | 0.00021012
512 | -5.5983 | 0.7191 | 0.00025957
512.5 | -5.2761 | 1.0413 | 0.00037588
513 | -5.0637 | 1.2537 | 0.00045255
513.5 | -5.1802 | 1.1372 | 0.00041049
514 | -5.4137 | 0.9037 | 0.00032621
514.5 | -5.7539 | 0.5635 | 0.00020341
515 | -5.7575 | 0.5599 | 0.00020211
515.5 | -5.7427 | 0.5747 | 0.00020745
516 | -5.7838 | 0.5336 | 0.00019261
516.5 | -5.4246 | 0.8928 | 0.00032227
517 | -5.3024 | 1.015 | 0.00036638
517.5 | -5.2476 | 1.0698 | 0.00038617
518 | -5.3829 | 0.9345 | 0.00033733
518.5 | -5.4178 | 0.8996 | 0.00032473
519 | -5.244 | 1.0734 | 0.00038746
519.5 | -4.9353 | 1.3821 | 0.0004989
520 | -4.4548 | 1.8626 | 0.00067234
520.5 | -4.189 | 2.1284 | 0.00076829
521 | -4.3796 | 1.9378 | 0.00069949
521.5 | -4.7997 | 1.5177 | 0.00054784
522 | -5.3706 | 0.9468 | 0.00034177
522.5 | -5.8939 | 0.4235 | 0.00015287
523 | -6.1091 | 0.2083 | 7.519e-05
523.5 | -6.0706 | 0.2468 | 8.9087e-05
524 | -6.1346 | 0.1828 | 6.5985e-05
524.5 | -6.3721 | 0 | 0
525 | -6.6737 | 0 | 0
525.5 | -6.9707 | 0 | 0
526 | -6.9753 | 0 | 0
526.5 | -7.0468 | 0 | 0
527 | -6.8296 | 0 | 0
527.5 | -6.4293 | 0 | 0
528 | -6.2217 | 0.0957 | 3.4545e-05
528.5 | -6.1991 | 0.1183 | 4.2703e-05
529 | -6.2614 | 0.056 | 2.0214e-05
529.5 | -6.3021 | 0.0153 | 5.5228e-06
530 | -6.2519 | 0.0655 | 2.3644e-05
530.5 | -6.4268 | 0 | 0
531 | -6.2715 | 0.0459 | 1.6568e-05
531.5 | -6.4638 | 0 | 0
532 | -6.3945 | 0 | 0
532.5 | -6.3021 | 0.0153 | 5.5228e-06
533 | -6.3414 | 0 | 0
533.5 | -6.3759 | 0 | 0
534 | -6.2941 | 0.0233 | 8.4106e-06
534.5 | -6.3042 | 0.0132 | 4.7648e-06
535 | -6.3544 | 0 | 0
535.5 | -6.4679 | 0 | 0
536 | -6.2146 | 0.1028 | 3.7108e-05
536.5 | -6.2317 | 0.0857 | 3.0935e-05
537 | -6.315 | 0.0024 | 8.6633e-07
537.5 | -6.3099 | 0.0075 | 2.7073e-06
538 | -6.3429 | 0 | 0
538.5 | -6.4052 | 0 | 0
539 | -6.1796 | 0.1378 | 4.9742e-05
539.5 | -6.1734 | 0.144 | 5.198e-05
540 | -6.3945 | 0 | 0
540.5 | -6.5988 | 0 | 0
541 | -6.7297 | 0 | 0
541.5 | -6.9921 | 0 | 0
542 | -6.9546 | 0 | 0
542.5 | -6.6324 | 0 | 0
543 | -6.6551 | 0 | 0
543.5 | -6.5614 | 0 | 0
544 | -6.1051 | 0.2123 | 7.6634e-05
544.5 | -5.802 | 0.5154 | 0.00018604
545 | -5.4318 | 0.8856 | 0.00031967
545.5 | -5.1795 | 1.1379 | 0.00041075
546 | -4.8947 | 1.4227 | 0.00051355
546.5 | -4.6151 | 1.7023 | 0.00061448
547 | -4.4338 | 1.8836 | 0.00067992
547.5 | -4.3162 | 2.0012 | 0.00072237
548 | -4.5493 | 1.7681 | 0.00063823
548.5 | -4.5176 | 1.7998 | 0.00064967
549 | -4.3242 | 1.9932 | 0.00071948
549.5 | -4.6392 | 1.6782 | 0.00060578
550 | -5.0934 | 1.224 | 0.00044183
550.5 | -5.3528 | 0.9646 | 0.00034819
551 | -5.3081 | 1.0093 | 0.00036433
551.5 | -5.2188 | 1.0986 | 0.00039656
552 | -5.1941 | 1.1233 | 0.00040548
552.5 | -5.3608 | 0.9566 | 0.0003453
553 | -5.8485 | 0.4689 | 0.00016926
553.5 | -5.9972 | 0.3202 | 0.00011558
554 | -6.0343 | 0.2831 | 0.00010219
554.5 | -6.1776 | 0.1398 | 5.0464e-05
555 | -6.1746 | 0.1428 | 5.1546e-05
555.5 | -6.1137 | 0.2037 | 7.3529e-05
556 | -6.2953 | 0.0221 | 7.9774e-06
556.5 | -6.5825 | 0 | 0
557 | -6.994 | 0 | 0
557.5 | -7.0896 | 0 | 0
558 | -6.9987 | 0 | 0
558.5 | -6.6286 | 0 | 0
559 | -6.5732 | 0 | 0
559.5 | -6.671 | 0 | 0
560 | -7.0735 | 0 | 0
560.5 | -7.317 | 0 | 0
561 | -7.5156 | 0 | 0
561.5 | -7.6573 | 0 | 0
562 | -7.7915 | 0 | 0
562.5 | -7.9383 | 0 | 0
563 | -8.3659 | 0 | 0
563.5 | -8.5068 | 0 | 0
564 | -8.7137 | 0 | 0
564.5 | -8.7146 | 0 | 0
565 | -8.6593 | 0 | 0
565.5 | -8.2547 | 0 | 0
566 | -7.8982 | 0 | 0
566.5 | -7.4939 | 0 | 0
567 | -7.1467 | 0 | 0
567.5 | -6.5757 | 0 | 0
568 | -6.0946 | 0.2228 | 8.0424e-05
568.5 | -5.5869 | 0.7305 | 0.00026369
569 | -5.2247 | 1.0927 | 0.00039443
569.5 | -4.9651 | 1.3523 | 0.00048814
570 | -4.9457 | 1.3717 | 0.00049514
570.5 | -5.0987 | 1.2187 | 0.00043991
571 | -5.4225 | 0.8949 | 0.00032303
571.5 | -5.736 | 0.5814 | 0.00020987
572 | -5.9764 | 0.341 | 0.00012309
572.5 | -6.0182 | 0.2992 | 0.000108
573 | -6.1745 | 0.1429 | 5.1583e-05
573.5 | -6.0352 | 0.2822 | 0.00010187
574 | -5.8695 | 0.4479 | 0.00016168
574.5 | -6.004 | 0.3134 | 0.00011313
575 | -5.7915 | 0.5259 | 0.00018983
575.5 | -5.4251 | 0.8923 | 0.00032209
576 | -4.8769 | 1.4405 | 0.00051998
576.5 | -4.4043 | 1.9131 | 0.00069057
577 | -3.9566 | 2.3608 | 0.00085218
577.5 | -3.9254 | 2.392 | 0.00086344
578 | -4.1476 | 2.1698 | 0.00078323
578.5 | -4.5239 | 1.7935 | 0.0006474
579 | -4.7415 | 1.5759 | 0.00056885
579.5 | -4.659 | 1.6584 | 0.00059863
580 | -4.4827 | 1.8347 | 0.00066227
580.5 | -4.5257 | 1.7917 | 0.00064675
581 | -4.8888 | 1.4286 | 0.00051568
581.5 | -5.2188 | 1.0986 | 0.00039656
582 | -5.3608 | 0.9566 | 0.0003453
582.5 | -5.4437 | 0.8737 | 0.00031538
583 | -5.0088 | 1.3086 | 0.00047236
583.5 | -4.8846 | 1.4328 | 0.0005172
584 | -4.8124 | 1.505 | 0.00054326
584.5 | -5.087 | 1.2304 | 0.00044414
585 | -5.4551 | 0.8623 | 0.00031126
585.5 | -5.7332 | 0.5842 | 0.00021088
586 | -5.9714 | 0.346 | 0.0001249
586.5 | -6.0877 | 0.2297 | 8.2915e-05
587 | -6.204 | 0.1134 | 4.0934e-05
587.5 | -6.6375 | 0 | 0
588 | -7.0509 | 0 | 0
588.5 | -7.6231 | 0 | 0
589 | -7.7383 | 0 | 0
589.5 | -7.6536 | 0 | 0
590 | -7.5261 | 0 | 0
590.5 | -7.4355 | 0 | 0
591 | -7.3374 | 0 | 0
591.5 | -7.3986 | 0 | 0
592 | -7.1772 | 0 | 0
592.5 | -7.0236 | 0 | 0
593 | -6.8189 | 0 | 0
593.5 | -6.9509 | 0 | 0
594 | -6.6254 | 0 | 0
594.5 | -6.2878 | 0.0296 | 1.0685e-05
595 | -6.0203 | 0.2971 | 0.00010724
595.5 | -5.6927 | 0.6247 | 0.0002255
596 | -5.5864 | 0.731 | 0.00026387
596.5 | -5.3874 | 0.93 | 0.0003357
597 | -5.2718 | 1.0456 | 0.00037743
597.5 | -4.9926 | 1.3248 | 0.00047821
598 | -4.9084 | 1.409 | 0.00050861
598.5 | -4.6578 | 1.6596 | 0.00059906
599 | -4.2502 | 2.0672 | 0.0007462
599.5 | -4.395 | 1.9224 | 0.00069393
600 | -4.7044 | 1.613 | 0.00058224
600.5 | -4.9922 | 1.3252 | 0.00047836
601 | -5.0178 | 1.2996 | 0.00046912
601.5 | -4.8903 | 1.4271 | 0.00051514
602 | -4.7973 | 1.5201 | 0.00054871
602.5 | -4.4677 | 1.8497 | 0.00066769
603 | -4.7003 | 1.6171 | 0.00058372
603.5 | -4.7409 | 1.5765 | 0.00056907
604 | -4.8566 | 1.4608 | 0.0005273
604.5 | -4.853 | 1.4644 | 0.0005286
605 | -4.3694 | 1.948 | 0.00070317
605.5 | -3.9409 | 2.3765 | 0.00085784
606 | -3.9816 | 2.3358 | 0.00084315
606.5 | -4.2732 | 2.0442 | 0.00073789
607 | -4.7448 | 1.5726 | 0.00056766
607.5 | -5.1104 | 1.207 | 0.00043569
608 | -5.3511 | 0.9663 | 0.0003488
608.5 | -5.2561 | 1.0613 | 0.0003831
609 | -5.1634 | 1.154 | 0.00041656
609.5 | -5.2661 | 1.0513 | 0.00037949
610 | -5.5185 | 0.7989 | 0.00028838
610.5 | -5.8033 | 0.5141 | 0.00018557
611 | -5.8167 | 0.5007 | 0.00018074
611.5 | -5.6303 | 0.6871 | 0.00024802
612 | -5.3464 | 0.971 | 0.0003505
612.5 | -5.3013 | 1.0161 | 0.00036678
613 | -5.3397 | 0.9777 | 0.00035292
613.5 | -5.1079 | 1.2095 | 0.00043659
614 | -4.7804 | 1.537 | 0.00055481
614.5 | -4.7999 | 1.5175 | 0.00054777
615 | -4.8348 | 1.4826 | 0.00053517
615.5 | -4.9712 | 1.3462 | 0.00048594
616 | -5.386 | 0.9314 | 0.00033621
616.5 | -5.4047 | 0.9127 | 0.00032946
617 | -5.1095 | 1.2079 | 0.00043602
617.5 | -5.2623 | 1.0551 | 0.00038086
618 | -5.3485 | 0.9689 | 0.00034974
618.5 | -5.7565 | 0.5609 | 0.00020247
619 | -6.6432 | 0 | 0
619.5 | -7.4973 | 0 | 0
620 | -7.522 | 0 | 0
620.5 | -7.1759 | 0 | 0
621 | -6.8822 | 0 | 0
621.5 | -6.396 | 0 | 0
622 | -6.4846 | 0 | 0
622.5 | -6.5571 | 0 | 0
623 | -6.4416 | 0 | 0
623.5 | -6.4503 | 0 | 0
624 | -6.3287 | 0 | 0
624.5 | -6.0037 | 0.3137 | 0.00011324
625 | -5.9567 | 0.3607 | 0.0001302
625.5 | -6.1779 | 0.1395 | 5.0355e-05
626 | -6.5644 | 0 | 0
626.5 | -6.8991 | 0 | 0
627 | -7.5017 | 0 | 0
627.5 | -7.8922 | 0 | 0
628 | -7.6176 | 0 | 0
628.5 | -7.1884 | 0 | 0
629 | -6.6215 | 0 | 0
629.5 | -6.1895 | 0.1279 | 4.6168e-05
630 | -5.8165 | 0.5009 | 0.00018081
630.5 | -5.4962 | 0.8212 | 0.00029643
631 | -5.4262 | 0.8912 | 0.0003217
631.5 | -5.5947 | 0.7227 | 0.00026087
632 | -5.4746 | 0.8428 | 0.00030423
632.5 | -5.2307 | 1.0867 | 0.00039227
633 | -5.3615 | 0.9559 | 0.00034505
633.5 | -5.7992 | 0.5182 | 0.00018705
634 | -5.8117 | 0.5057 | 0.00018254
634.5 | -5.3188 | 0.9986 | 0.00036046
635 | -5.3937 | 0.9237 | 0.00033343
635.5 | -5.2865 | 1.0309 | 0.00037212
636 | -5.1444 | 1.173 | 0.00042342
636.5 | -4.7779 | 1.5395 | 0.00055571
637 | -4.4975 | 1.8199 | 0.00065693
637.5 | -4.0058 | 2.3116 | 0.00083442
638 | -4.0191 | 2.2983 | 0.00082962
638.5 | -3.7503 | 2.5671 | 0.00092664
639 | -3.4818 | 2.8356 | 0.0010236
639.5 | -3.8162 | 2.5012 | 0.00090286
640 | -4.0262 | 2.2912 | 0.00082705
640.5 | -4.2891 | 2.0283 | 0.00073215
641 | -4.2754 | 2.042 | 0.0007371
641.5 | -4.1946 | 2.1228 | 0.00076627
642 | -4.3358 | 1.9816 | 0.0007153
642.5 | -4.943 | 1.3744 | 0.00049612
643 | -5.4383 | 0.8791 | 0.00031733
643.5 | -5.6548 | 0.6626 | 0.00023918
644 | -5.9056 | 0.4118 | 0.00014865
644.5 | -5.989 | 0.3284 | 0.00011854
645 | -6.1555 | 0.1619 | 5.8441e-05
645.5 | -6.4266 | 0 | 0
646 | -6.6382 | 0 | 0
646.5 | -6.8764 | 0 | 0
647 | -6.8646 | 0 | 0
647.5 | -6.5501 | 0 | 0
648 | -6.1873 | 0.1301 | 4.6962e-05
648.5 | -6.0207 | 0.2967 | 0.0001071
649 | -5.9786 | 0.3388 | 0.0001223
649.5 | -6.222 | 0.0954 | 3.4436e-05
650 | -6.319 | 0 | 0
650.5 | -6.1388 | 0.1786 | 6.4469e-05
651 | -6.039 | 0.2784 | 0.00010049
651.5 | -5.8888 | 0.4286 | 0.00015471
652 | -6.0256 | 0.2918 | 0.00010533
652.5 | -6.5293 | 0 | 0
653 | -6.8387 | 0 | 0
653.5 | -7.1778 | 0 | 0
654 | -7.4256 | 0 | 0
654.5 | -7.5957 | 0 | 0
655 | -7.7181 | 0 | 0
655.5 | -7.7226 | 0 | 0
656 | -7.6116 | 0 | 0
656.5 | -7.4247 | 0 | 0
657 | -7.075 | 0 | 0
657.5 | -6.5318 | 0 | 0
658 | -6.1509 | 0.1665 | 6.0101e-05
658.5 | -5.7869 | 0.5305 | 0.00019149
659 | -5.2442 | 1.0732 | 0.00038739
659.5 | -4.7192 | 1.5982 | 0.0005769
660 | -4.5485 | 1.7689 | 0.00063852
660.5 | -4.6048 | 1.7126 | 0.0006182
661 | -4.5494 | 1.768 | 0.00063819
661.5 | -4.3247 | 1.9927 | 0.0007193
662 | -4.1219 | 2.1955 | 0.00079251
662.5 | -3.8666 | 2.4508 | 0.00088466
663 | -3.7195 | 2.5979 | 0.00093776
663.5 | -3.0929 | 3.2245 | 0.0011639
664 | -3.0246 | 3.2928 | 0.0011886
664.5 | -2.9997 | 3.3177 | 0.0011976
665 | -2.8098 | 3.5076 | 0.0012661
665.5 | -2.3541 | 3.9633 | 0.0014306
666 | -1.8608 | 4.4566 | 0.0016087
666.5 | -2.2692 | 4.0482 | 0.0014613
667 | -2.5167 | 3.8007 | 0.0013719
667.5 | -2.7405 | 3.5769 | 0.0012912
668 | -2.5383 | 3.7791 | 0.0013641
668.5 | -2.7617 | 3.5557 | 0.0012835
669 | -2.6233 | 3.6941 | 0.0013335
669.5 | -2.5337 | 3.7837 | 0.0013658
670 | -2.505 | 3.8124 | 0.0013762
670.5 | -2.5136 | 3.8038 | 0.0013731
671 | -2.6062 | 3.7112 | 0.0013396
671.5 | -2.1945 | 4.1229 | 0.0014882
672 | -1.9883 | 4.3291 | 0.0015627
672.5 | -2.1631 | 4.1543 | 0.0014996
673 | -2.5234 | 3.794 | 0.0013695
673.5 | -2.4906 | 3.8268 | 0.0013814
674 | -2.3789 | 3.9385 | 0.0014217
674.5 | -2.2694 | 4.048 | 0.0014612
675 | -2.1169 | 4.2005 | 0.0015163
675.5 | -2.1246 | 4.1928 | 0.0015135
676 | -2.2637 | 4.0537 | 0.0014633
676.5 | -2.2954 | 4.022 | 0.0014518
677 | -2.3349 | 3.9825 | 0.0014376
677.5 | -2.1624 | 4.155 | 0.0014998
678 | -2.0797 | 4.2377 | 0.0015297
678.5 | -2.2128 | 4.1046 | 0.0014816
679 | -2.5333 | 3.7841 | 0.0013659
679.5 | -2.53 | 3.7874 | 0.0013671
680 | -2.1782 | 4.1392 | 0.0014941
680.5 | -1.9315 | 4.3859 | 0.0015832
681 | -1.5472 | 4.7702 | 0.0017219
681.5 | -1.3754 | 4.942 | 0.0017839
682 | -1.128 | 5.1894 | 0.0018732
682.5 | -0.98793 | 5.3295 | 0.0019238
683 | -0.72533 | 5.5921 | 0.0020186
683.5 | -0.38565 | 5.9318 | 0.0021412
684 | 0.023398 | 6.3408 | 0.0022888
684.5 | 0.21454 | 6.5319 | 0.0023578
685 | 0.33385 | 6.6513 | 0.0024009
685.5 | 0.75523 | 7.0726 | 0.002553
686 | 1.2629 | 7.5803 | 0.0027363
686.5 | 1.8864 | 8.2038 | 0.0029613
687 | 2.3139 | 8.6313 | 0.0031156
687.5 | 2.5902 | 8.9076 | 0.0032154
688 | 2.9689 | 9.2863 | 0.0033521
688.5 | 3.5073 | 9.8247 | 0.0035464
689 | 4.2678 | 10.5852 | 0.0038209
689.5 | 5.0632 | 11.3806 | 0.004108
690 | 5.7301 | 12.0475 | 0.0043488
690.5 | 6.4297 | 12.7471 | 0.0046013
691 | 6.8528 | 13.1702 | 0.004754
691.5 | 7.1065 | 13.4239 | 0.0048456
692 | 7.7342 | 14.0516 | 0.0050722
692.5 | 8.4675 | 14.7849 | 0.0053369
693 | 9.288 | 15.6054 | 0.0056331
693.5 | 9.963 | 16.2804 | 0.0058767
694 | 10.208 | 16.5254 | 0.0059652
694.5 | 10.452 | 16.7694 | 0.0060532
695 | 10.537 | 16.8544 | 0.0060839
695.5 | 10.369 | 16.6864 | 0.0060233
696 | 10.857 | 17.1744 | 0.0061994
696.5 | 11.346 | 17.6634 | 0.0063759
697 | 11.679 | 17.9964 | 0.0064962
697.5 | 12.34 | 18.6574 | 0.0067348
698 | 13.275 | 19.5924 | 0.0070723
698.5 | 13.935 | 20.2524 | 0.0073105
699 | 14.927 | 21.2444 | 0.0076686
699.5 | 15.884 | 22.2014 | 0.008014
700 | 16.88 | 23.1974 | 0.0083736
700.5 | 17.936 | 24.2534 | 0.0087547
701 | 18.691 | 25.0084 | 0.0090273
701.5 | 19.921 | 26.2384 | 0.0094713
702 | 21.295 | 27.6124 | 0.0099672
702.5 | 22.348 | 28.6654 | 0.010347
703 | 23.171 | 29.4884 | 0.010644
703.5 | 24.031 | 30.3484 | 0.010955
704 | 24.866 | 31.1834 | 0.011256
704.5 | 25.671 | 31.9884 | 0.011547
705 | 26.63 | 32.9474 | 0.011893
705.5 | 27.915 | 34.2324 | 0.012357
706 | 29.23 | 35.5474 | 0.012832
706.5 | 30.43 | 36.7474 | 0.013265
707 | 31.607 | 37.9244 | 0.01369
707.5 | 33.032 | 39.3494 | 0.014204
708 | 34.511 | 40.8284 | 0.014738
708.5 | 36.197 | 42.5144 | 0.015346
709 | 38.085 | 44.4024 | 0.016028
709.5 | 40.072 | 46.3894 | 0.016745
710 | 42.073 | 48.3904 | 0.017467
710.5 | 44.041 | 50.3584 | 0.018178
711 | 46.008 | 52.3254 | 0.018888
711.5 | 48.436 | 54.7534 | 0.019764
712 | 51.089 | 57.4064 | 0.020722
712.5 | 53.488 | 59.8054 | 0.021588
713 | 55.97 | 62.2874 | 0.022484
713.5 | 58.476 | 64.7934 | 0.023388
714 | 60.644 | 66.9614 | 0.024171
714.5 | 62.767 | 69.0844 | 0.024937
715 | 64.903 | 71.2204 | 0.025708
715.5 | 67.176 | 73.4934 | 0.026529
716 | 69.61 | 75.9274 | 0.027407
716.5 | 71.257 | 77.5744 | 0.028002
717 | 73.218 | 79.5354 | 0.02871
717.5 | 75.574 | 81.8914 | 0.02956
718 | 77.896 | 84.2134 | 0.030398
718.5 | 80.576 | 86.8934 | 0.031366
719 | 83.6 | 89.9174 | 0.032457
719.5 | 86.864 | 93.1814 | 0.033636
720 | 90.074 | 96.3914 | 0.034794
720.5 | 92.995 | 99.3124 | 0.035849
721 | 96.061 | 102.3784 | 0.036955
721.5 | 99.28 | 105.5974 | 0.038117
722 | 102.4 | 108.7174 | 0.039244
722.5 | 105.96 | 112.2774 | 0.040529
723 | 109.69 | 116.0074 | 0.041875
723.5 | 113.5 | 119.8174 | 0.04325
724 | 117.44 | 123.7574 | 0.044673
724.5 | 121.38 | 127.6974 | 0.046095
725 | 125.85 | 132.1674 | 0.047708
725.5 | 130.5 | 136.8174 | 0.049387
726 | 135.41 | 141.7274 | 0.051159
726.5 | 140.74 | 147.0574 | 0.053083
727 | 146.02 | 152.3374 | 0.054989
727.5 | 150.79 | 157.1074 | 0.056711
728 | 155.65 | 161.9674 | 0.058465
728.5 | 160.78 | 167.0974 | 0.060317
729 | 166.13 | 172.4474 | 0.062248
729.5 | 171.66 | 177.9774 | 0.064244
730 | 176.84 | 183.1574 | 0.066114
730.5 | 182.15 | 188.4674 | 0.068031
731 | 187.33 | 193.6474 | 0.069901
731.5 | 192.49 | 198.8074 | 0.071763
732 | 198.2 | 204.5174 | 0.073825
732.5 | 204.68 | 210.9974 | 0.076164
733 | 211.01 | 217.3274 | 0.078449
733.5 | 217.31 | 223.6274 | 0.080723
734 | 223.41 | 229.7274 | 0.082925
734.5 | 230.04 | 236.3574 | 0.085318
735 | 237.33 | 243.6474 | 0.087949
735.5 | 245.3 | 251.6174 | 0.090826
736 | 253.76 | 260.0774 | 0.09388
736.5 | 262.66 | 268.9774 | 0.097093
737 | 271.08 | 277.3974 | 0.10013
737.5 | 279.42 | 285.7374 | 0.10314
738 | 288.13 | 294.4474 | 0.10629
738.5 | 297.1 | 303.4174 | 0.10952
739 | 306.68 | 312.9974 | 0.11298
739.5 | 316.65 | 322.9674 | 0.11658
740 | 326.75 | 333.0674 | 0.12023
740.5 | 336.91 | 343.2274 | 0.12389
741 | 346.94 | 353.2574 | 0.12752
741.5 | 356.91 | 363.2274 | 0.13111
742 | 367.51 | 373.8274 | 0.13494
742.5 | 378.72 | 385.0374 | 0.13899
743 | 390.6 | 396.9174 | 0.14328
743.5 | 402.77 | 409.0874 | 0.14767
744 | 414.93 | 421.2474 | 0.15206
744.5 | 427.15 | 433.4674 | 0.15647
745 | 439.42 | 445.7374 | 0.1609
745.5 | 452.39 | 458.7074 | 0.16558
746 | 466.29 | 472.6074 | 0.1706
746.5 | 481.49 | 487.8074 | 0.17608
747 | 497.29 | 503.6074 | 0.18179
747.5 | 514.37 | 520.6874 | 0.18795
748 | 531.99 | 538.3074 | 0.19431
748.5 | 550.08 | 556.3974 | 0.20084
749 | 568.12 | 574.4374 | 0.20735
749.5 | 585.96 | 592.2774 | 0.21379
750 | 604.09 | 610.4074 | 0.22034
750.5 | 621.94 | 628.2574 | 0.22678
751 | 640.35 | 646.6674 | 0.23343
751.5 | 659.38 | 665.6974 | 0.2403
752 | 678.33 | 684.6474 | 0.24714
752.5 | 696.7 | 703.0174 | 0.25377
753 | 714.91 | 721.2274 | 0.26034
753.5 | 733.21 | 739.5274 | 0.26695
754 | 752.69 | 759.0074 | 0.27398
754.5 | 773.87 | 780.1874 | 0.28162
755 | 796.39 | 802.7074 | 0.28975
755.5 | 818.77 | 825.0874 | 0.29783
756 | 840.89 | 847.2074 | 0.30582
756.5 | 863.15 | 869.4674 | 0.31385
757 | 886.54 | 892.8574 | 0.32229
757.5 | 912.19 | 918.5074 | 0.33155
758 | 939.48 | 945.7974 | 0.3414
758.5 | 968.9 | 975.2174 | 0.35202
759 | 999.13 | 1005.4474 | 0.36294
759.5 | 1029.7 | 1036.0174 | 0.37397
760 | 1060.3 | 1066.6174 | 0.38502
760.5 | 1091.5 | 1097.8174 | 0.39628
761 | 1122.8 | 1129.1174 | 0.40758
761.5 | 1154.6 | 1160.9174 | 0.41906
762 | 1186.8 | 1193.1174 | 0.43068
762.5 | 1219.6 | 1225.9174 | 0.44252
763 | 1252.7 | 1259.0174 | 0.45447
763.5 | 1285.2 | 1291.5174 | 0.4662
764 | 1317.5 | 1323.8174 | 0.47786
764.5 | 1350.3 | 1356.6174 | 0.4897
765 | 1384 | 1390.3174 | 0.50186
765.5 | 1419.5 | 1425.8174 | 0.51468
766 | 1457 | 1463.3174 | 0.52821
766.5 | 1495.4 | 1501.7174 | 0.54207
767 | 1534.3 | 1540.6174 | 0.55612
767.5 | 1573.8 | 1580.1174 | 0.57037
768 | 1614.2 | 1620.5174 | 0.58496
768.5 | 1657.4 | 1663.7174 | 0.60055
769 | 1703 | 1709.3174 | 0.61701
769.5 | 1749.8 | 1756.1174 | 0.6339
770 | 1796.8 | 1803.1174 | 0.65087
770.5 | 1843.5 | 1849.8174 | 0.66773
771 | 1889.6 | 1895.9174 | 0.68437
771.5 | 1936.3 | 1942.6174 | 0.70123
772 | 1984.3 | 1990.6174 | 0.71855
772.5 | 2033.7 | 2040.0174 | 0.73638
773 | 2083.3 | 2089.6174 | 0.75429
773.5 | 2133.1 | 2139.4174 | 0.77226
774 | 2183.3 | 2189.6174 | 0.79039
774.5 | 2233.3 | 2239.6174 | 0.80843
775 | 2281 | 2287.3174 | 0.82565
775.5 | 2326 | 2332.3174 | 0.8419
776 | 2367.2 | 2373.5174 | 0.85677
776.5 | 2405.2 | 2411.5174 | 0.87048
777 | 2441.3 | 2447.6174 | 0.88352
777.5 | 2476.6 | 2482.9174 | 0.89626
778 | 2512.2 | 2518.5174 | 0.90911
778.5 | 2549.3 | 2555.6174 | 0.9225
779 | 2587.6 | 2593.9174 | 0.93632
779.5 | 2626.3 | 2632.6174 | 0.95029
780 | 2663.2 | 2669.5174 | 0.96361
780.5 | 2696.4 | 2702.7174 | 0.9756
781 | 2724.8 | 2731.1174 | 0.98585
781.5 | 2746.1 | 2752.4174 | 0.99354
782 | 2759.5 | 2765.8174 | 0.99838
782.5 | 2764 | 2770.3174 | 1
783 | 2757.7 | 2764.0174 | 0.99773
783.5 | 2741.3 | 2747.6174 | 0.99181
784 | 2716.1 | 2722.4174 | 0.98271
784.5 | 2684.3 | 2690.6174 | 0.97123
785 | 2646.8 | 2653.1174 | 0.95769
785.5 | 2603.8 | 2610.1174 | 0.94217
786 | 2554.9 | 2561.2174 | 0.92452
786.5 | 2498.5 | 2504.8174 | 0.90416
787 | 2432.7 | 2439.0174 | 0.88041
787.5 | 2358.5 | 2364.8174 | 0.85363
788 | 2277 | 2283.3174 | 0.82421
788.5 | 2189.2 | 2195.5174 | 0.79251
789 | 2096.6 | 2102.9174 | 0.75909
789.5 | 2000.8 | 2007.1174 | 0.72451
790 | 1902.7 | 1909.0174 | 0.6891
790.5 | 1803.1 | 1809.4174 | 0.65314
791 | 1702.8 | 1709.1174 | 0.61694
791.5 | 1603.6 | 1609.9174 | 0.58113
792 | 1507.1 | 1513.4174 | 0.5463
792.5 | 1413.8 | 1420.1174 | 0.51262
793 | 1324.8 | 1331.1174 | 0.48049
793.5 | 1240.3 | 1246.6174 | 0.44999
794 | 1160.1 | 1166.4174 | 0.42104
794.5 | 1083.7 | 1090.0174 | 0.39346
795 | 1011.7 | 1018.0174 | 0.36747
795.5 | 944.59 | 950.9074 | 0.34325
796 | 882.12 | 888.4374 | 0.3207
796.5 | 823.91 | 830.2274 | 0.29969
797 | 769.15 | 775.4674 | 0.27992
797.5 | 717.48 | 723.7974 | 0.26127
798 | 668.26 | 674.5774 | 0.2435
798.5 | 622.31 | 628.6274 | 0.22692
799 | 579.75 | 586.0674 | 0.21155
799.5 | 539.74 | 546.0574 | 0.19711
800 | 502.45 | 508.7674 | 0.18365
800.5 | 468.09 | 474.4074 | 0.17125
801 | 435.58 | 441.8974 | 0.15951
801.5 | 405.28 | 411.5974 | 0.14857
802 | 377.21 | 383.5274 | 0.13844
802.5 | 351.25 | 357.5674 | 0.12907
803 | 326.41 | 332.7274 | 0.1201
803.5 | 302.68 | 308.9974 | 0.11154
804 | 280.85 | 287.1674 | 0.10366
804.5 | 260.84 | 267.1574 | 0.096436
805 | 242.35 | 248.6674 | 0.089761
805.5 | 225.47 | 231.7874 | 0.083668
806 | 210.05 | 216.3674 | 0.078102
806.5 | 195.39 | 201.7074 | 0.07281
807 | 181.28 | 187.5974 | 0.067717
807.5 | 167.79 | 174.1074 | 0.062847
808 | 155.57 | 161.8874 | 0.058436
808.5 | 144.22 | 150.5374 | 0.054339
809 | 133.43 | 139.7474 | 0.050445
809.5 | 123.21 | 129.5274 | 0.046755
810 | 113.88 | 120.1974 | 0.043388
810.5 | 104.86 | 111.1774 | 0.040132
811 | 97.007 | 103.3244 | 0.037297
811.5 | 90.529 | 96.8464 | 0.034959
812 | 84.27 | 90.5874 | 0.032699
812.5 | 78.025 | 84.3424 | 0.030445
813 | 72.267 | 78.5844 | 0.028367
813.5 | 67.249 | 73.5664 | 0.026555
814 | 63.034 | 69.3514 | 0.025034
814.5 | 59.215 | 65.5324 | 0.023655
815 | 55.547 | 61.8644 | 0.022331
815.5 | 51.872 | 58.1894 | 0.021005
816 | 48.254 | 54.5714 | 0.019699
816.5 | 45.457 | 51.7744 | 0.018689
817 | 43.007 | 49.3244 | 0.017805
817.5 | 40.417 | 46.7344 | 0.01687
818 | 38.093 | 44.4104 | 0.016031
818.5 | 35.33 | 41.6474 | 0.015033
819 | 32.949 | 39.2664 | 0.014174
819.5 | 30.56 | 36.8774 | 0.013312
820 | 28.343 | 34.6604 | 0.012511
820.5 | 26.609 | 32.9264 | 0.011885
821 | 24.965 | 31.2824 | 0.011292
821.5 | 23.402 | 29.7194 | 0.010728
822 | 22.224 | 28.5414 | 0.010303
822.5 | 21.238 | 27.5554 | 0.0099467
823 | 20.31 | 26.6274 | 0.0096117
823.5 | 19.453 | 25.7704 | 0.0093023
824 | 18.887 | 25.2044 | 0.009098
824.5 | 17.951 | 24.2684 | 0.0087602
825 | 16.859 | 23.1764 | 0.008366
825.5 | 15.905 | 22.2224 | 0.0080216
826 | 14.862 | 21.1794 | 0.0076451
826.5 | 13.629 | 19.9464 | 0.0072
827 | 12.455 | 18.7724 | 0.0067763
827.5 | 11.208 | 17.5254 | 0.0063261
828 | 10.022 | 16.3394 | 0.005898
828.5 | 8.6362 | 14.9536 | 0.0053978
829 | 7.3962 | 13.7136 | 0.0049502
829.5 | 6.3468 | 12.6642 | 0.0045714
830 | 5.7402 | 12.0576 | 0.0043524
830.5 | 5.2506 | 11.568 | 0.0041757
831 | 4.6607 | 10.9781 | 0.0039628
831.5 | 3.8079 | 10.1253 | 0.0036549
832 | 2.9048 | 9.2222 | 0.0033289
832.5 | 2.3111 | 8.6285 | 0.0031146
833 | 2.1004 | 8.4178 | 0.0030386
833.5 | 1.5925 | 7.9099 | 0.0028552
834 | 0.89388 | 7.2113 | 0.0026031
834.5 | 0.12684 | 6.4442 | 0.0023262
835 | -0.58104 | 5.7364 | 0.0020707
835.5 | -0.90422 | 5.4132 | 0.001954
836 | -1.1509 | 5.1665 | 0.0018649
836.5 | -1.6556 | 4.6618 | 0.0016828
837 | -1.9554 | 4.362 | 0.0015745
837.5 | -2.0568 | 4.2606 | 0.0015379
838 | -2.1254 | 4.192 | 0.0015132
838.5 | -2.5943 | 3.7231 | 0.0013439
839 | -2.9353 | 3.3821 | 0.0012208
839.5 | -3.3604 | 2.957 | 0.0010674
840 | -3.71 | 2.6074 | 0.00094119
840.5 | -3.6583 | 2.6591 | 0.00095985
841 | -3.5974 | 2.72 | 0.00098184
841.5 | -3.8018 | 2.5156 | 0.00090805
842 | -3.9451 | 2.3723 | 0.00085633
842.5 | -3.5886 | 2.7288 | 0.00098501
843 | -2.933 | 3.3844 | 0.0012217
843.5 | -2.5863 | 3.7311 | 0.0013468
844 | -2.3033 | 4.0141 | 0.001449
844.5 | -1.9561 | 4.3613 | 0.0015743
845 | -1.7108 | 4.6066 | 0.0016628
845.5 | -1.7343 | 4.5831 | 0.0016544
846 | -1.6876 | 4.6298 | 0.0016712
846.5 | -1.9954 | 4.322 | 0.0015601
847 | -2.4912 | 3.8262 | 0.0013811
847.5 | -2.7795 | 3.5379 | 0.0012771
848 | -2.8162 | 3.5012 | 0.0012638
848.5 | -3.0414 | 3.276 | 0.0011825
849 | -3.251 | 3.0664 | 0.0011069
849.5 | -3.374 | 2.9434 | 0.0010625
850 | -3.4216 | 2.8958 | 0.0010453
850.5 | -3.162 | 3.1554 | 0.001139
851 | -2.7358 | 3.5816 | 0.0012928
851.5 | -2.6329 | 3.6845 | 0.00133
852 | -2.9271 | 3.3903 | 0.0012238
852.5 | -3.152 | 3.1654 | 0.0011426
853 | -3.3164 | 3.001 | 0.0010833
853.5 | -3.3267 | 2.9907 | 0.0010796
854 | -3.376 | 2.9414 | 0.0010618
854.5 | -3.4159 | 2.9015 | 0.0010474
855 | -3.8885 | 2.4289 | 0.00087676
855.5 | -4.4951 | 1.8223 | 0.00065779
856 | -4.9752 | 1.3422 | 0.00048449
856.5 | -5.102 | 1.2154 | 0.00043872
857 | -5.264 | 1.0534 | 0.00038025
857.5 | -5.3516 | 0.9658 | 0.00034862
858 | -5.4542 | 0.8632 | 0.00031159
858.5 | -5.7801 | 0.5373 | 0.00019395
859 | -6.2433 | 0.0741 | 2.6748e-05
859.5 | -6.4183 | 0 | 0
860 | -6.2254 | 0.092 | 3.3209e-05
860.5 | -6.1687 | 0.1487 | 5.3676e-05
861 | -6.0782 | 0.2392 | 8.6344e-05
861.5 | -6.078 | 0.2394 | 8.6416e-05
862 | -6.0306 | 0.2868 | 0.00010353
862.5 | -6.1134 | 0.204 | 7.3638e-05
863 | -6.0531 | 0.2643 | 9.5404e-05
863.5 | -6.0084 | 0.309 | 0.00011154
864 | -6.152 | 0.1654 | 5.9704e-05
864.5 | -6.6424 | 0 | 0
865 | -7.0124 | 0 | 0
865.5 | -6.9806 | 0 | 0
866 | -7.1 | 0 | 0
866.5 | -7.1993 | 0 | 0
867 | -7.3293 | 0 | 0
867.5 | -7.1104 | 0 | 0
868 | -6.8615 | 0 | 0
868.5 | -6.3749 | 0 | 0
869 | -6.3013 | 0.0161 | 5.8116e-06
869.5 | -6.3009 | 0.0165 | 5.956e-06
870 | -6.4163 | 0 | 0
870.5 | -6.0921 | 0.2253 | 8.1326e-05
871 | -5.4874 | 0.83 | 0.0002996
871.5 | -5.0401 | 1.2773 | 0.00046107
872 | -4.7971 | 1.5203 | 0.00054878
872.5 | -4.8624 | 1.455 | 0.00052521
873 | -4.7861 | 1.5313 | 0.00055275
873.5 | -4.5902 | 1.7272 | 0.00062347
874 | -4.2102 | 2.1072 | 0.00076063
874.5 | -4.101 | 2.2164 | 0.00080005
875 | -4.3904 | 1.927 | 0.00069559
875.5 | -4.8871 | 1.4303 | 0.00051629
876 | -5.1176 | 1.1998 | 0.00043309
876.5 | -5.1983 | 1.1191 | 0.00040396
877 | -5.1363 | 1.1811 | 0.00042634
877.5 | -5.115 | 1.2024 | 0.00043403
878 | -4.729 | 1.5884 | 0.00057336
878.5 | -5.0668 | 1.2506 | 0.00045143
879 | -5.4935 | 0.8239 | 0.0002974
879.5 | -5.874 | 0.4434 | 0.00016005
880 | -5.8956 | 0.4218 | 0.00015226
880.5 | -5.5347 | 0.7827 | 0.00028253
881 | -5.6685 | 0.6489 | 0.00023423
881.5 | -6.1506 | 0.1668 | 6.021e-05
882 | -7.2788 | 0 | 0
882.5 | -7.2905 | 0 | 0
883 | -6.9418 | 0 | 0
883.5 | -5.3029 | 1.0145 | 0.0003662
884 | -8.8568 | 0 | 0
884.5 | -9.4481 | 0 | 0
885 | 5.6922 | 12.0096 | 0.0043351
885.5 | -2.8503 | 3.4671 | 0.0012515
886 | -33.49 | 0 | 0
886.5 | 2.0602 | 8.3776 | 0.0030241