## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 15.819 | 1.663 | 0.00057558
246.5 | 14.256 | 0.1 | 3.4611e-05
247 | 13.452 | 0 | 0
247.5 | 13.162 | 0 | 0
248 | 11.94 | 0 | 0
248.5 | 12.939 | 0 | 0
249 | 14.156 | 0 | 0
249.5 | 11.598 | 0 | 0
250 | 9.8438 | 0 | 0
250.5 | 7.673 | 0 | 0
251 | 9.4419 | 0 | 0
251.5 | 12.251 | 0 | 0
252 | 10.897 | 0 | 0
252.5 | 11.384 | 0 | 0
253 | 12.675 | 0 | 0
253.5 | 12.642 | 0 | 0
254 | 10.39 | 0 | 0
254.5 | 8.5427 | 0 | 0
255 | 7.2111 | 0 | 0
255.5 | 9.9859 | 0 | 0
256 | 11.282 | 0 | 0
256.5 | 10.816 | 0 | 0
257 | 11.914 | 0 | 0
257.5 | 12.039 | 0 | 0
258 | 12.195 | 0 | 0
258.5 | 12.931 | 0 | 0
259 | 13.269 | 0 | 0
259.5 | 13.46 | 0 | 0
260 | 13.613 | 0 | 0
260.5 | 13.414 | 0 | 0
261 | 13.482 | 0 | 0
261.5 | 13.711 | 0 | 0
262 | 13.757 | 0 | 0
262.5 | 13.571 | 0 | 0
263 | 13.435 | 0 | 0
263.5 | 13.179 | 0 | 0
264 | 12.873 | 0 | 0
264.5 | 12.571 | 0 | 0
265 | 12.236 | 0 | 0
265.5 | 12.027 | 0 | 0
266 | 11.722 | 0 | 0
266.5 | 11.475 | 0 | 0
267 | 11.379 | 0 | 0
267.5 | 11.424 | 0 | 0
268 | 11.167 | 0 | 0
268.5 | 10.908 | 0 | 0
269 | 10.832 | 0 | 0
269.5 | 10.839 | 0 | 0
270 | 10.811 | 0 | 0
270.5 | 10.92 | 0 | 0
271 | 10.878 | 0 | 0
271.5 | 11.022 | 0 | 0
272 | 11.062 | 0 | 0
272.5 | 11.37 | 0 | 0
273 | 11.749 | 0 | 0
273.5 | 12.283 | 0 | 0
274 | 12.594 | 0 | 0
274.5 | 12.704 | 0 | 0
275 | 12.849 | 0 | 0
275.5 | 12.995 | 0 | 0
276 | 13.145 | 0 | 0
276.5 | 13.278 | 0 | 0
277 | 13.387 | 0 | 0
277.5 | 13.584 | 0 | 0
278 | 13.694 | 0 | 0
278.5 | 13.689 | 0 | 0
279 | 13.452 | 0 | 0
279.5 | 13.044 | 0 | 0
280 | 12.718 | 0 | 0
280.5 | 12.479 | 0 | 0
281 | 12.379 | 0 | 0
281.5 | 12.189 | 0 | 0
282 | 12.166 | 0 | 0
282.5 | 12.056 | 0 | 0
283 | 11.964 | 0 | 0
283.5 | 11.86 | 0 | 0
284 | 11.614 | 0 | 0
284.5 | 11.49 | 0 | 0
285 | 11.491 | 0 | 0
285.5 | 11.629 | 0 | 0
286 | 11.793 | 0 | 0
286.5 | 11.593 | 0 | 0
287 | 11.313 | 0 | 0
287.5 | 11.149 | 0 | 0
288 | 11.354 | 0 | 0
288.5 | 11.513 | 0 | 0
289 | 11.846 | 0 | 0
289.5 | 12.209 | 0 | 0
290 | 12.483 | 0 | 0
290.5 | 12.651 | 0 | 0
291 | 12.61 | 0 | 0
291.5 | 12.591 | 0 | 0
292 | 12.689 | 0 | 0
292.5 | 12.857 | 0 | 0
293 | 12.916 | 0 | 0
293.5 | 12.86 | 0 | 0
294 | 12.79 | 0 | 0
294.5 | 12.511 | 0 | 0
295 | 12.119 | 0 | 0
295.5 | 11.679 | 0 | 0
296 | 11.499 | 0 | 0
296.5 | 11.328 | 0 | 0
297 | 11.347 | 0 | 0
297.5 | 11.186 | 0 | 0
298 | 10.885 | 0 | 0
298.5 | 10.498 | 0 | 0
299 | 10.052 | 0 | 0
299.5 | 10.062 | 0 | 0
300 | 10.445 | 0 | 0
300.5 | 10.734 | 0 | 0
301 | 10.842 | 0 | 0
301.5 | 10.946 | 0 | 0
302 | 10.879 | 0 | 0
302.5 | 10.593 | 0 | 0
303 | 10.378 | 0 | 0
303.5 | 10.17 | 0 | 0
304 | 10.272 | 0 | 0
304.5 | 10.593 | 0 | 0
305 | 10.627 | 0 | 0
305.5 | 10.526 | 0 | 0
306 | 10.433 | 0 | 0
306.5 | 10.244 | 0 | 0
307 | 10.042 | 0 | 0
307.5 | 9.9209 | 0 | 0
308 | 10.093 | 0 | 0
308.5 | 10.367 | 0 | 0
309 | 10.674 | 0 | 0
309.5 | 11.044 | 0 | 0
310 | 11.426 | 0 | 0
310.5 | 11.682 | 0 | 0
311 | 11.854 | 0 | 0
311.5 | 12.237 | 0 | 0
312 | 12.66 | 0 | 0
312.5 | 12.894 | 0 | 0
313 | 13.014 | 0 | 0
313.5 | 13.239 | 0 | 0
314 | 13.385 | 0 | 0
314.5 | 13.225 | 0 | 0
315 | 13.123 | 0 | 0
315.5 | 12.991 | 0 | 0
316 | 12.684 | 0 | 0
316.5 | 12.372 | 0 | 0
317 | 12.144 | 0 | 0
317.5 | 11.841 | 0 | 0
318 | 11.733 | 0 | 0
318.5 | 11.775 | 0 | 0
319 | 11.825 | 0 | 0
319.5 | 11.666 | 0 | 0
320 | 11.573 | 0 | 0
320.5 | 11.93 | 0 | 0
321 | 12.495 | 0 | 0
321.5 | 12.87 | 0 | 0
322 | 12.922 | 0 | 0
322.5 | 13.048 | 0 | 0
323 | 13.072 | 0 | 0
323.5 | 13.102 | 0 | 0
324 | 13.137 | 0 | 0
324.5 | 12.958 | 0 | 0
325 | 12.791 | 0 | 0
325.5 | 12.668 | 0 | 0
326 | 12.779 | 0 | 0
326.5 | 12.928 | 0 | 0
327 | 12.706 | 0 | 0
327.5 | 12.298 | 0 | 0
328 | 11.967 | 0 | 0
328.5 | 11.933 | 0 | 0
329 | 12.089 | 0 | 0
329.5 | 12.164 | 0 | 0
330 | 12.101 | 0 | 0
330.5 | 12.096 | 0 | 0
331 | 12.191 | 0 | 0
331.5 | 12.204 | 0 | 0
332 | 12.319 | 0 | 0
332.5 | 12.381 | 0 | 0
333 | 12.363 | 0 | 0
333.5 | 12.436 | 0 | 0
334 | 12.296 | 0 | 0
334.5 | 12.182 | 0 | 0
335 | 11.998 | 0 | 0
335.5 | 11.865 | 0 | 0
336 | 11.919 | 0 | 0
336.5 | 12.134 | 0 | 0
337 | 12.144 | 0 | 0
337.5 | 11.921 | 0 | 0
338 | 11.758 | 0 | 0
338.5 | 11.663 | 0 | 0
339 | 11.629 | 0 | 0
339.5 | 11.526 | 0 | 0
340 | 11.534 | 0 | 0
340.5 | 11.831 | 0 | 0
341 | 12.211 | 0 | 0
341.5 | 12.408 | 0 | 0
342 | 12.38 | 0 | 0
342.5 | 12.208 | 0 | 0
343 | 12.154 | 0 | 0
343.5 | 12.203 | 0 | 0
344 | 12.509 | 0 | 0
344.5 | 12.701 | 0 | 0
345 | 12.669 | 0 | 0
345.5 | 12.669 | 0 | 0
346 | 12.289 | 0 | 0
346.5 | 12.097 | 0 | 0
347 | 12.004 | 0 | 0
347.5 | 12.015 | 0 | 0
348 | 12.071 | 0 | 0
348.5 | 12.057 | 0 | 0
349 | 12.047 | 0 | 0
349.5 | 11.843 | 0 | 0
350 | 11.675 | 0 | 0
350.5 | 11.293 | 0 | 0
351 | 11.122 | 0 | 0
351.5 | 11.094 | 0 | 0
352 | 11.31 | 0 | 0
352.5 | 11.702 | 0 | 0
353 | 11.894 | 0 | 0
353.5 | 11.869 | 0 | 0
354 | 11.768 | 0 | 0
354.5 | 11.751 | 0 | 0
355 | 11.768 | 0 | 0
355.5 | 11.944 | 0 | 0
356 | 12.123 | 0 | 0
356.5 | 12.363 | 0 | 0
357 | 12.712 | 0 | 0
357.5 | 12.888 | 0 | 0
358 | 12.833 | 0 | 0
358.5 | 12.646 | 0 | 0
359 | 12.588 | 0 | 0
359.5 | 12.567 | 0 | 0
360 | 12.681 | 0 | 0
360.5 | 12.951 | 0 | 0
361 | 13.213 | 0 | 0
361.5 | 13.199 | 0 | 0
362 | 12.999 | 0 | 0
362.5 | 12.852 | 0 | 0
363 | 12.8 | 0 | 0
363.5 | 12.74 | 0 | 0
364 | 12.841 | 0 | 0
364.5 | 13.108 | 0 | 0
365 | 13.429 | 0 | 0
365.5 | 13.622 | 0 | 0
366 | 13.587 | 0 | 0
366.5 | 13.487 | 0 | 0
367 | 13.215 | 0 | 0
367.5 | 13.151 | 0 | 0
368 | 13.188 | 0 | 0
368.5 | 13.438 | 0 | 0
369 | 13.374 | 0 | 0
369.5 | 13.184 | 0 | 0
370 | 12.976 | 0 | 0
370.5 | 12.948 | 0 | 0
371 | 12.82 | 0 | 0
371.5 | 12.67 | 0 | 0
372 | 12.693 | 0 | 0
372.5 | 12.665 | 0 | 0
373 | 12.45 | 0 | 0
373.5 | 12.199 | 0 | 0
374 | 11.943 | 0 | 0
374.5 | 11.798 | 0 | 0
375 | 11.968 | 0 | 0
375.5 | 12.503 | 0 | 0
376 | 13.078 | 0 | 0
376.5 | 13.386 | 0 | 0
377 | 13.412 | 0 | 0
377.5 | 13.343 | 0 | 0
378 | 12.801 | 0 | 0
378.5 | 12.417 | 0 | 0
379 | 12.149 | 0 | 0
379.5 | 11.937 | 0 | 0
380 | 12.076 | 0 | 0
380.5 | 12.439 | 0 | 0
381 | 12.421 | 0 | 0
381.5 | 12.246 | 0 | 0
382 | 11.991 | 0 | 0
382.5 | 11.627 | 0 | 0
383 | 11.266 | 0 | 0
383.5 | 11.183 | 0 | 0
384 | 11.173 | 0 | 0
384.5 | 11.428 | 0 | 0
385 | 11.654 | 0 | 0
385.5 | 12.128 | 0 | 0
386 | 12.268 | 0 | 0
386.5 | 12.171 | 0 | 0
387 | 12.096 | 0 | 0
387.5 | 12.138 | 0 | 0
388 | 12.1 | 0 | 0
388.5 | 11.907 | 0 | 0
389 | 11.984 | 0 | 0
389.5 | 11.937 | 0 | 0
390 | 11.873 | 0 | 0
390.5 | 12.212 | 0 | 0
391 | 12.116 | 0 | 0
391.5 | 11.955 | 0 | 0
392 | 11.868 | 0 | 0
392.5 | 12.067 | 0 | 0
393 | 12.136 | 0 | 0
393.5 | 12.292 | 0 | 0
394 | 12.288 | 0 | 0
394.5 | 12.322 | 0 | 0
395 | 12.296 | 0 | 0
395.5 | 12.268 | 0 | 0
396 | 12.364 | 0 | 0
396.5 | 12.293 | 0 | 0
397 | 12.383 | 0 | 0
397.5 | 12.701 | 0 | 0
398 | 12.895 | 0 | 0
398.5 | 12.948 | 0 | 0
399 | 12.723 | 0 | 0
399.5 | 12.477 | 0 | 0
400 | 12.2 | 0 | 0
400.5 | 12.183 | 0 | 0
401 | 12.355 | 0 | 0
401.5 | 12.244 | 0 | 0
402 | 12.173 | 0 | 0
402.5 | 12.359 | 0 | 0
403 | 12.165 | 0 | 0
403.5 | 11.866 | 0 | 0
404 | 11.733 | 0 | 0
404.5 | 11.852 | 0 | 0
405 | 12.163 | 0 | 0
405.5 | 12.075 | 0 | 0
406 | 11.998 | 0 | 0
406.5 | 11.793 | 0 | 0
407 | 11.427 | 0 | 0
407.5 | 11.238 | 0 | 0
408 | 11.197 | 0 | 0
408.5 | 11.087 | 0 | 0
409 | 11.309 | 0 | 0
409.5 | 11.687 | 0 | 0
410 | 11.77 | 0 | 0
410.5 | 11.875 | 0 | 0
411 | 11.772 | 0 | 0
411.5 | 11.906 | 0 | 0
412 | 12.112 | 0 | 0
412.5 | 12.499 | 0 | 0
413 | 13.198 | 0 | 0
413.5 | 13.772 | 0 | 0
414 | 14.168 | 0.012 | 4.1533e-06
414.5 | 14.272 | 0.116 | 4.0149e-05
415 | 14.048 | 0 | 0
415.5 | 13.831 | 0 | 0
416 | 13.913 | 0 | 0
416.5 | 13.723 | 0 | 0
417 | 13.535 | 0 | 0
417.5 | 13.442 | 0 | 0
418 | 13.474 | 0 | 0
418.5 | 13.163 | 0 | 0
419 | 12.586 | 0 | 0
419.5 | 12.131 | 0 | 0
420 | 11.747 | 0 | 0
420.5 | 11.627 | 0 | 0
421 | 11.628 | 0 | 0
421.5 | 11.405 | 0 | 0
422 | 11.114 | 0 | 0
422.5 | 11.205 | 0 | 0
423 | 11.302 | 0 | 0
423.5 | 11.462 | 0 | 0
424 | 11.575 | 0 | 0
424.5 | 11.825 | 0 | 0
425 | 12.289 | 0 | 0
425.5 | 12.583 | 0 | 0
426 | 12.667 | 0 | 0
426.5 | 12.833 | 0 | 0
427 | 13.062 | 0 | 0
427.5 | 13.521 | 0 | 0
428 | 13.814 | 0 | 0
428.5 | 14.007 | 0 | 0
429 | 14.119 | 0 | 0
429.5 | 13.977 | 0 | 0
430 | 13.906 | 0 | 0
430.5 | 13.701 | 0 | 0
431 | 13.551 | 0 | 0
431.5 | 13.604 | 0 | 0
432 | 13.861 | 0 | 0
432.5 | 13.687 | 0 | 0
433 | 13.694 | 0 | 0
433.5 | 13.692 | 0 | 0
434 | 13.959 | 0 | 0
434.5 | 14.081 | 0 | 0
435 | 13.866 | 0 | 0
435.5 | 13.89 | 0 | 0
436 | 13.929 | 0 | 0
436.5 | 14.011 | 0 | 0
437 | 13.982 | 0 | 0
437.5 | 13.654 | 0 | 0
438 | 13.635 | 0 | 0
438.5 | 13.818 | 0 | 0
439 | 13.888 | 0 | 0
439.5 | 13.652 | 0 | 0
440 | 13.146 | 0 | 0
440.5 | 12.463 | 0 | 0
441 | 12.224 | 0 | 0
441.5 | 11.814 | 0 | 0
442 | 11.524 | 0 | 0
442.5 | 11.599 | 0 | 0
443 | 11.529 | 0 | 0
443.5 | 11.908 | 0 | 0
444 | 12.011 | 0 | 0
444.5 | 12.173 | 0 | 0
445 | 12.132 | 0 | 0
445.5 | 12.344 | 0 | 0
446 | 12.587 | 0 | 0
446.5 | 12.753 | 0 | 0
447 | 13.065 | 0 | 0
447.5 | 13.439 | 0 | 0
448 | 13.716 | 0 | 0
448.5 | 13.713 | 0 | 0
449 | 13.933 | 0 | 0
449.5 | 13.732 | 0 | 0
450 | 13.703 | 0 | 0
450.5 | 13.383 | 0 | 0
451 | 13.382 | 0 | 0
451.5 | 13.133 | 0 | 0
452 | 12.816 | 0 | 0
452.5 | 12.863 | 0 | 0
453 | 12.789 | 0 | 0
453.5 | 12.827 | 0 | 0
454 | 12.765 | 0 | 0
454.5 | 12.478 | 0 | 0
455 | 12.344 | 0 | 0
455.5 | 12.538 | 0 | 0
456 | 12.424 | 0 | 0
456.5 | 12.534 | 0 | 0
457 | 12.684 | 0 | 0
457.5 | 12.891 | 0 | 0
458 | 13.289 | 0 | 0
458.5 | 13.381 | 0 | 0
459 | 13.278 | 0 | 0
459.5 | 13.103 | 0 | 0
460 | 13.042 | 0 | 0
460.5 | 13.21 | 0 | 0
461 | 13.211 | 0 | 0
461.5 | 13.062 | 0 | 0
462 | 13.302 | 0 | 0
462.5 | 13.26 | 0 | 0
463 | 12.979 | 0 | 0
463.5 | 12.891 | 0 | 0
464 | 12.92 | 0 | 0
464.5 | 12.983 | 0 | 0
465 | 13.244 | 0 | 0
465.5 | 13.483 | 0 | 0
466 | 13.468 | 0 | 0
466.5 | 13.634 | 0 | 0
467 | 13.713 | 0 | 0
467.5 | 13.603 | 0 | 0
468 | 13.183 | 0 | 0
468.5 | 12.965 | 0 | 0
469 | 12.651 | 0 | 0
469.5 | 12.219 | 0 | 0
470 | 11.63 | 0 | 0
470.5 | 11.3 | 0 | 0
471 | 11.152 | 0 | 0
471.5 | 11.19 | 0 | 0
472 | 11.549 | 0 | 0
472.5 | 11.738 | 0 | 0
473 | 11.809 | 0 | 0
473.5 | 11.678 | 0 | 0
474 | 11.527 | 0 | 0
474.5 | 11.418 | 0 | 0
475 | 11.876 | 0 | 0
475.5 | 12.328 | 0 | 0
476 | 12.911 | 0 | 0
476.5 | 13.392 | 0 | 0
477 | 13.527 | 0 | 0
477.5 | 13.41 | 0 | 0
478 | 13.019 | 0 | 0
478.5 | 12.676 | 0 | 0
479 | 12.795 | 0 | 0
479.5 | 13.125 | 0 | 0
480 | 13.532 | 0 | 0
480.5 | 13.744 | 0 | 0
481 | 13.407 | 0 | 0
481.5 | 13.229 | 0 | 0
482 | 13.217 | 0 | 0
482.5 | 13.241 | 0 | 0
483 | 13.31 | 0 | 0
483.5 | 13.427 | 0 | 0
484 | 13.507 | 0 | 0
484.5 | 13.387 | 0 | 0
485 | 13.073 | 0 | 0
485.5 | 12.914 | 0 | 0
486 | 12.893 | 0 | 0
486.5 | 12.967 | 0 | 0
487 | 13.113 | 0 | 0
487.5 | 12.843 | 0 | 0
488 | 12.381 | 0 | 0
488.5 | 12.039 | 0 | 0
489 | 11.891 | 0 | 0
489.5 | 11.867 | 0 | 0
490 | 11.863 | 0 | 0
490.5 | 11.892 | 0 | 0
491 | 12.085 | 0 | 0
491.5 | 12.284 | 0 | 0
492 | 12.37 | 0 | 0
492.5 | 12.49 | 0 | 0
493 | 12.604 | 0 | 0
493.5 | 12.898 | 0 | 0
494 | 13.386 | 0 | 0
494.5 | 13.641 | 0 | 0
495 | 13.404 | 0 | 0
495.5 | 13.321 | 0 | 0
496 | 13.242 | 0 | 0
496.5 | 13.182 | 0 | 0
497 | 13.039 | 0 | 0
497.5 | 12.846 | 0 | 0
498 | 12.686 | 0 | 0
498.5 | 12.731 | 0 | 0
499 | 12.527 | 0 | 0
499.5 | 12.503 | 0 | 0
500 | 12.127 | 0 | 0
500.5 | 12.014 | 0 | 0
501 | 12.066 | 0 | 0
501.5 | 12.146 | 0 | 0
502 | 12.501 | 0 | 0
502.5 | 12.684 | 0 | 0
503 | 12.771 | 0 | 0
503.5 | 12.847 | 0 | 0
504 | 12.994 | 0 | 0
504.5 | 13.141 | 0 | 0
505 | 13.615 | 0 | 0
505.5 | 13.79 | 0 | 0
506 | 13.764 | 0 | 0
506.5 | 13.481 | 0 | 0
507 | 13.003 | 0 | 0
507.5 | 12.613 | 0 | 0
508 | 12.558 | 0 | 0
508.5 | 12.579 | 0 | 0
509 | 12.599 | 0 | 0
509.5 | 12.533 | 0 | 0
510 | 12.194 | 0 | 0
510.5 | 11.918 | 0 | 0
511 | 11.268 | 0 | 0
511.5 | 11.085 | 0 | 0
512 | 11.224 | 0 | 0
512.5 | 11.643 | 0 | 0
513 | 11.764 | 0 | 0
513.5 | 11.522 | 0 | 0
514 | 11.268 | 0 | 0
514.5 | 11.286 | 0 | 0
515 | 11.533 | 0 | 0
515.5 | 11.62 | 0 | 0
516 | 11.633 | 0 | 0
516.5 | 11.51 | 0 | 0
517 | 11.637 | 0 | 0
517.5 | 11.6 | 0 | 0
518 | 11.838 | 0 | 0
518.5 | 12.263 | 0 | 0
519 | 12.887 | 0 | 0
519.5 | 13.356 | 0 | 0
520 | 13.558 | 0 | 0
520.5 | 13.344 | 0 | 0
521 | 13.435 | 0 | 0
521.5 | 13.394 | 0 | 0
522 | 13.508 | 0 | 0
522.5 | 13.702 | 0 | 0
523 | 13.747 | 0 | 0
523.5 | 13.737 | 0 | 0
524 | 13.656 | 0 | 0
524.5 | 13.39 | 0 | 0
525 | 12.954 | 0 | 0
525.5 | 12.881 | 0 | 0
526 | 12.802 | 0 | 0
526.5 | 12.898 | 0 | 0
527 | 13.065 | 0 | 0
527.5 | 13.018 | 0 | 0
528 | 12.927 | 0 | 0
528.5 | 12.76 | 0 | 0
529 | 12.72 | 0 | 0
529.5 | 12.641 | 0 | 0
530 | 12.518 | 0 | 0
530.5 | 12.431 | 0 | 0
531 | 12.124 | 0 | 0
531.5 | 11.877 | 0 | 0
532 | 11.668 | 0 | 0
532.5 | 11.291 | 0 | 0
533 | 11.008 | 0 | 0
533.5 | 11.166 | 0 | 0
534 | 11.717 | 0 | 0
534.5 | 12.136 | 0 | 0
535 | 12.018 | 0 | 0
535.5 | 12.036 | 0 | 0
536 | 11.998 | 0 | 0
536.5 | 12.281 | 0 | 0
537 | 12.731 | 0 | 0
537.5 | 12.909 | 0 | 0
538 | 12.582 | 0 | 0
538.5 | 12.02 | 0 | 0
539 | 11.409 | 0 | 0
539.5 | 10.823 | 0 | 0
540 | 10.395 | 0 | 0
540.5 | 10.467 | 0 | 0
541 | 10.546 | 0 | 0
541.5 | 10.625 | 0 | 0
542 | 10.555 | 0 | 0
542.5 | 10.399 | 0 | 0
543 | 10.207 | 0 | 0
543.5 | 10.463 | 0 | 0
544 | 11.125 | 0 | 0
544.5 | 11.777 | 0 | 0
545 | 12.119 | 0 | 0
545.5 | 12.145 | 0 | 0
546 | 12.118 | 0 | 0
546.5 | 11.984 | 0 | 0
547 | 11.743 | 0 | 0
547.5 | 11.587 | 0 | 0
548 | 11.381 | 0 | 0
548.5 | 11.201 | 0 | 0
549 | 11.031 | 0 | 0
549.5 | 11.104 | 0 | 0
550 | 11.092 | 0 | 0
550.5 | 11.128 | 0 | 0
551 | 11.23 | 0 | 0
551.5 | 11.203 | 0 | 0
552 | 11.166 | 0 | 0
552.5 | 11.59 | 0 | 0
553 | 11.939 | 0 | 0
553.5 | 12.316 | 0 | 0
554 | 12.633 | 0 | 0
554.5 | 12.98 | 0 | 0
555 | 13.039 | 0 | 0
555.5 | 12.793 | 0 | 0
556 | 12.846 | 0 | 0
556.5 | 12.865 | 0 | 0
557 | 12.765 | 0 | 0
557.5 | 12.855 | 0 | 0
558 | 12.58 | 0 | 0
558.5 | 12.289 | 0 | 0
559 | 11.857 | 0 | 0
559.5 | 11.607 | 0 | 0
560 | 11.419 | 0 | 0
560.5 | 11.145 | 0 | 0
561 | 11.28 | 0 | 0
561.5 | 11.298 | 0 | 0
562 | 11.245 | 0 | 0
562.5 | 11.175 | 0 | 0
563 | 11.204 | 0 | 0
563.5 | 11.418 | 0 | 0
564 | 11.78 | 0 | 0
564.5 | 12.164 | 0 | 0
565 | 12.36 | 0 | 0
565.5 | 12.388 | 0 | 0
566 | 12.366 | 0 | 0
566.5 | 12.312 | 0 | 0
567 | 12.188 | 0 | 0
567.5 | 12.181 | 0 | 0
568 | 12.353 | 0 | 0
568.5 | 12.158 | 0 | 0
569 | 11.542 | 0 | 0
569.5 | 10.735 | 0 | 0
570 | 10.152 | 0 | 0
570.5 | 10.022 | 0 | 0
571 | 10.061 | 0 | 0
571.5 | 10.347 | 0 | 0
572 | 10.59 | 0 | 0
572.5 | 10.777 | 0 | 0
573 | 10.787 | 0 | 0
573.5 | 10.865 | 0 | 0
574 | 10.863 | 0 | 0
574.5 | 11.345 | 0 | 0
575 | 12.081 | 0 | 0
575.5 | 12.592 | 0 | 0
576 | 12.616 | 0 | 0
576.5 | 12.396 | 0 | 0
577 | 12.296 | 0 | 0
577.5 | 12.214 | 0 | 0
578 | 12.146 | 0 | 0
578.5 | 12.089 | 0 | 0
579 | 11.799 | 0 | 0
579.5 | 11.869 | 0 | 0
580 | 11.945 | 0 | 0
580.5 | 12.086 | 0 | 0
581 | 12.391 | 0 | 0
581.5 | 12.605 | 0 | 0
582 | 12.854 | 0 | 0
582.5 | 13.103 | 0 | 0
583 | 13.138 | 0 | 0
583.5 | 13.289 | 0 | 0
584 | 13.471 | 0 | 0
584.5 | 13.578 | 0 | 0
585 | 13.748 | 0 | 0
585.5 | 13.464 | 0 | 0
586 | 12.877 | 0 | 0
586.5 | 12.419 | 0 | 0
587 | 12.115 | 0 | 0
587.5 | 11.836 | 0 | 0
588 | 11.658 | 0 | 0
588.5 | 11.435 | 0 | 0
589 | 11.272 | 0 | 0
589.5 | 11.004 | 0 | 0
590 | 10.961 | 0 | 0
590.5 | 10.954 | 0 | 0
591 | 11.192 | 0 | 0
591.5 | 11.29 | 0 | 0
592 | 11.227 | 0 | 0
592.5 | 11.384 | 0 | 0
593 | 11.537 | 0 | 0
593.5 | 11.526 | 0 | 0
594 | 11.699 | 0 | 0
594.5 | 11.81 | 0 | 0
595 | 12.005 | 0 | 0
595.5 | 11.974 | 0 | 0
596 | 11.701 | 0 | 0
596.5 | 11.546 | 0 | 0
597 | 11.654 | 0 | 0
597.5 | 11.935 | 0 | 0
598 | 12.239 | 0 | 0
598.5 | 12.13 | 0 | 0
599 | 11.963 | 0 | 0
599.5 | 11.705 | 0 | 0
600 | 11.562 | 0 | 0
600.5 | 11.437 | 0 | 0
601 | 11.574 | 0 | 0
601.5 | 11.855 | 0 | 0
602 | 12.199 | 0 | 0
602.5 | 12.536 | 0 | 0
603 | 12.748 | 0 | 0
603.5 | 12.767 | 0 | 0
604 | 13.097 | 0 | 0
604.5 | 13.203 | 0 | 0
605 | 13.404 | 0 | 0
605.5 | 13.391 | 0 | 0
606 | 13.312 | 0 | 0
606.5 | 13.275 | 0 | 0
607 | 12.916 | 0 | 0
607.5 | 12.323 | 0 | 0
608 | 11.562 | 0 | 0
608.5 | 11.026 | 0 | 0
609 | 10.785 | 0 | 0
609.5 | 10.851 | 0 | 0
610 | 11.253 | 0 | 0
610.5 | 11.383 | 0 | 0
611 | 11.37 | 0 | 0
611.5 | 11.272 | 0 | 0
612 | 11.342 | 0 | 0
612.5 | 11.654 | 0 | 0
613 | 12.274 | 0 | 0
613.5 | 12.859 | 0 | 0
614 | 13.21 | 0 | 0
614.5 | 13.452 | 0 | 0
615 | 13.587 | 0 | 0
615.5 | 13.633 | 0 | 0
616 | 13.709 | 0 | 0
616.5 | 13.992 | 0 | 0
617 | 14.298 | 0.142 | 4.9148e-05
617.5 | 14.201 | 0.045 | 1.5575e-05
618 | 13.937 | 0 | 0
618.5 | 13.771 | 0 | 0
619 | 13.888 | 0 | 0
619.5 | 13.927 | 0 | 0
620 | 13.686 | 0 | 0
620.5 | 13.285 | 0 | 0
621 | 13.25 | 0 | 0
621.5 | 13.1 | 0 | 0
622 | 12.9 | 0 | 0
622.5 | 12.893 | 0 | 0
623 | 12.771 | 0 | 0
623.5 | 12.765 | 0 | 0
624 | 12.515 | 0 | 0
624.5 | 12.309 | 0 | 0
625 | 12.046 | 0 | 0
625.5 | 11.827 | 0 | 0
626 | 11.617 | 0 | 0
626.5 | 11.636 | 0 | 0
627 | 11.577 | 0 | 0
627.5 | 11.124 | 0 | 0
628 | 10.624 | 0 | 0
628.5 | 10.394 | 0 | 0
629 | 9.9109 | 0 | 0
629.5 | 9.3475 | 0 | 0
630 | 8.8345 | 0 | 0
630.5 | 8.5571 | 0 | 0
631 | 8.248 | 0 | 0
631.5 | 7.9478 | 0 | 0
632 | 7.6687 | 0 | 0
632.5 | 7.9842 | 0 | 0
633 | 8.5387 | 0 | 0
633.5 | 8.8488 | 0 | 0
634 | 9.4411 | 0 | 0
634.5 | 9.9032 | 0 | 0
635 | 10.247 | 0 | 0
635.5 | 10.318 | 0 | 0
636 | 10.394 | 0 | 0
636.5 | 10.263 | 0 | 0
637 | 10.331 | 0 | 0
637.5 | 10.343 | 0 | 0
638 | 10.139 | 0 | 0
638.5 | 10.076 | 0 | 0
639 | 10.081 | 0 | 0
639.5 | 9.9869 | 0 | 0
640 | 10.075 | 0 | 0
640.5 | 10.173 | 0 | 0
641 | 10.376 | 0 | 0
641.5 | 10.748 | 0 | 0
642 | 11.112 | 0 | 0
642.5 | 11.217 | 0 | 0
643 | 11.402 | 0 | 0
643.5 | 11.835 | 0 | 0
644 | 12.119 | 0 | 0
644.5 | 12.185 | 0 | 0
645 | 12.226 | 0 | 0
645.5 | 12.256 | 0 | 0
646 | 12.251 | 0 | 0
646.5 | 11.947 | 0 | 0
647 | 11.817 | 0 | 0
647.5 | 11.814 | 0 | 0
648 | 11.747 | 0 | 0
648.5 | 11.556 | 0 | 0
649 | 11.113 | 0 | 0
649.5 | 10.977 | 0 | 0
650 | 10.842 | 0 | 0
650.5 | 10.875 | 0 | 0
651 | 11.171 | 0 | 0
651.5 | 11.707 | 0 | 0
652 | 12.053 | 0 | 0
652.5 | 12.139 | 0 | 0
653 | 12.194 | 0 | 0
653.5 | 12.336 | 0 | 0
654 | 12.778 | 0 | 0
654.5 | 13.007 | 0 | 0
655 | 13.353 | 0 | 0
655.5 | 13.753 | 0 | 0
656 | 13.906 | 0 | 0
656.5 | 13.797 | 0 | 0
657 | 13.515 | 0 | 0
657.5 | 13.413 | 0 | 0
658 | 13.47 | 0 | 0
658.5 | 13.337 | 0 | 0
659 | 12.879 | 0 | 0
659.5 | 12.475 | 0 | 0
660 | 11.899 | 0 | 0
660.5 | 11.466 | 0 | 0
661 | 11.166 | 0 | 0
661.5 | 11.099 | 0 | 0
662 | 11.156 | 0 | 0
662.5 | 11.179 | 0 | 0
663 | 11.089 | 0 | 0
663.5 | 11.053 | 0 | 0
664 | 11.039 | 0 | 0
664.5 | 11.307 | 0 | 0
665 | 11.754 | 0 | 0
665.5 | 11.983 | 0 | 0
666 | 11.867 | 0 | 0
666.5 | 11.835 | 0 | 0
667 | 11.798 | 0 | 0
667.5 | 12.031 | 0 | 0
668 | 11.889 | 0 | 0
668.5 | 11.954 | 0 | 0
669 | 12.169 | 0 | 0
669.5 | 12.195 | 0 | 0
670 | 12.277 | 0 | 0
670.5 | 12.533 | 0 | 0
671 | 12.878 | 0 | 0
671.5 | 13.039 | 0 | 0
672 | 13.016 | 0 | 0
672.5 | 12.642 | 0 | 0
673 | 12.389 | 0 | 0
673.5 | 12.417 | 0 | 0
674 | 12.178 | 0 | 0
674.5 | 12.068 | 0 | 0
675 | 11.977 | 0 | 0
675.5 | 11.894 | 0 | 0
676 | 11.549 | 0 | 0
676.5 | 11.128 | 0 | 0
677 | 10.869 | 0 | 0
677.5 | 10.775 | 0 | 0
678 | 10.932 | 0 | 0
678.5 | 11.089 | 0 | 0
679 | 11.503 | 0 | 0
679.5 | 11.672 | 0 | 0
680 | 11.674 | 0 | 0
680.5 | 11.624 | 0 | 0
681 | 11.739 | 0 | 0
681.5 | 11.961 | 0 | 0
682 | 12.108 | 0 | 0
682.5 | 12.199 | 0 | 0
683 | 12.243 | 0 | 0
683.5 | 12.23 | 0 | 0
684 | 12.132 | 0 | 0
684.5 | 12.206 | 0 | 0
685 | 12.092 | 0 | 0
685.5 | 11.545 | 0 | 0
686 | 11.234 | 0 | 0
686.5 | 11.369 | 0 | 0
687 | 11.467 | 0 | 0
687.5 | 11.573 | 0 | 0
688 | 11.625 | 0 | 0
688.5 | 11.394 | 0 | 0
689 | 10.977 | 0 | 0
689.5 | 10.537 | 0 | 0
690 | 10.401 | 0 | 0
690.5 | 10.872 | 0 | 0
691 | 10.983 | 0 | 0
691.5 | 10.913 | 0 | 0
692 | 10.809 | 0 | 0
692.5 | 10.905 | 0 | 0
693 | 11.177 | 0 | 0
693.5 | 11.199 | 0 | 0
694 | 11.28 | 0 | 0
694.5 | 11.61 | 0 | 0
695 | 11.567 | 0 | 0
695.5 | 11.187 | 0 | 0
696 | 11.027 | 0 | 0
696.5 | 10.969 | 0 | 0
697 | 11.223 | 0 | 0
697.5 | 11.357 | 0 | 0
698 | 11.398 | 0 | 0
698.5 | 11.577 | 0 | 0
699 | 11.94 | 0 | 0
699.5 | 11.951 | 0 | 0
700 | 12.091 | 0 | 0
700.5 | 12.481 | 0 | 0
701 | 12.881 | 0 | 0
701.5 | 12.739 | 0 | 0
702 | 12.61 | 0 | 0
702.5 | 12.542 | 0 | 0
703 | 12.586 | 0 | 0
703.5 | 12.67 | 0 | 0
704 | 12.624 | 0 | 0
704.5 | 12.709 | 0 | 0
705 | 13.075 | 0 | 0
705.5 | 13.389 | 0 | 0
706 | 13.726 | 0 | 0
706.5 | 14.351 | 0.195 | 6.7492e-05
707 | 14.49 | 0.334 | 0.0001156
707.5 | 14.731 | 0.575 | 0.00019901
708 | 14.969 | 0.813 | 0.00028139
708.5 | 14.871 | 0.715 | 0.00024747
709 | 14.767 | 0.611 | 0.00021147
709.5 | 14.618 | 0.462 | 0.0001599
710 | 14.531 | 0.375 | 0.00012979
710.5 | 14.173 | 0.017 | 5.8839e-06
711 | 14.006 | 0 | 0
711.5 | 13.536 | 0 | 0
712 | 13.154 | 0 | 0
712.5 | 12.469 | 0 | 0
713 | 12.194 | 0 | 0
713.5 | 12.155 | 0 | 0
714 | 12.348 | 0 | 0
714.5 | 12.438 | 0 | 0
715 | 12.151 | 0 | 0
715.5 | 12.069 | 0 | 0
716 | 12.061 | 0 | 0
716.5 | 12.13 | 0 | 0
717 | 12.344 | 0 | 0
717.5 | 12.536 | 0 | 0
718 | 12.579 | 0 | 0
718.5 | 12.591 | 0 | 0
719 | 12.621 | 0 | 0
719.5 | 12.891 | 0 | 0
720 | 13.311 | 0 | 0
720.5 | 13.982 | 0 | 0
721 | 14.329 | 0.173 | 5.9877e-05
721.5 | 14.698 | 0.542 | 0.00018759
722 | 15.115 | 0.959 | 0.00033192
722.5 | 15.443 | 1.287 | 0.00044545
723 | 15.59 | 1.434 | 0.00049632
723.5 | 15.859 | 1.703 | 0.00058943
724 | 16.149 | 1.993 | 0.0006898
724.5 | 16.285 | 2.129 | 0.00073687
725 | 16.353 | 2.197 | 0.00076041
725.5 | 16.095 | 1.939 | 0.00067111
726 | 15.948 | 1.792 | 0.00062023
726.5 | 15.8 | 1.644 | 0.00056901
727 | 15.748 | 1.592 | 0.00055101
727.5 | 15.856 | 1.7 | 0.00058839
728 | 16.239 | 2.083 | 0.00072095
728.5 | 16.153 | 1.997 | 0.00069118
729 | 16.013 | 1.857 | 0.00064273
729.5 | 16.019 | 1.863 | 0.00064481
730 | 15.946 | 1.79 | 0.00061954
730.5 | 15.87 | 1.714 | 0.00059323
731 | 15.909 | 1.753 | 0.00060673
731.5 | 15.828 | 1.672 | 0.0005787
732 | 15.733 | 1.577 | 0.00054582
732.5 | 15.861 | 1.705 | 0.00059012
733 | 15.889 | 1.733 | 0.00059981
733.5 | 16.213 | 2.057 | 0.00071195
734 | 16.47 | 2.314 | 0.0008009
734.5 | 16.835 | 2.679 | 0.00092723
735 | 17.201 | 3.045 | 0.0010539
735.5 | 17.673 | 3.517 | 0.0012173
736 | 18.089 | 3.933 | 0.0013613
736.5 | 18.682 | 4.526 | 0.0015665
737 | 19.387 | 5.231 | 0.0018105
737.5 | 19.995 | 5.839 | 0.0020209
738 | 20.4 | 6.244 | 0.0021611
738.5 | 20.863 | 6.707 | 0.0023214
739 | 21.005 | 6.849 | 0.0023705
739.5 | 21.234 | 7.078 | 0.0024498
740 | 21.639 | 7.483 | 0.00259
740.5 | 22.28 | 8.124 | 0.0028118
741 | 22.783 | 8.627 | 0.0029859
741.5 | 22.815 | 8.659 | 0.002997
742 | 23.05 | 8.894 | 0.0030783
742.5 | 23.469 | 9.313 | 0.0032233
743 | 24.169 | 10.013 | 0.0034656
743.5 | 24.974 | 10.818 | 0.0037442
744 | 26.121 | 11.965 | 0.0041412
744.5 | 27.012 | 12.856 | 0.0044496
745 | 27.954 | 13.798 | 0.0047756
745.5 | 28.929 | 14.773 | 0.0051131
746 | 29.938 | 15.782 | 0.0054623
746.5 | 30.699 | 16.543 | 0.0057257
747 | 31.226 | 17.07 | 0.0059081
747.5 | 31.573 | 17.417 | 0.0060282
748 | 32.113 | 17.957 | 0.0062151
748.5 | 32.542 | 18.386 | 0.0063636
749 | 32.982 | 18.826 | 0.0065159
749.5 | 33.247 | 19.091 | 0.0066076
750 | 33.677 | 19.521 | 0.0067564
750.5 | 34.126 | 19.97 | 0.0069118
751 | 34.864 | 20.708 | 0.0071673
751.5 | 35.654 | 21.498 | 0.0074407
752 | 36.337 | 22.181 | 0.0076771
752.5 | 37.266 | 23.11 | 0.0079986
753 | 38.249 | 24.093 | 0.0083389
753.5 | 39.169 | 25.013 | 0.0086573
754 | 40.344 | 26.188 | 0.009064
754.5 | 41.495 | 27.339 | 0.0094623
755 | 42.385 | 28.229 | 0.0097704
755.5 | 43.222 | 29.066 | 0.01006
756 | 43.878 | 29.722 | 0.010287
756.5 | 44.758 | 30.602 | 0.010592
757 | 45.766 | 31.61 | 0.010941
757.5 | 46.686 | 32.53 | 0.011259
758 | 47.799 | 33.643 | 0.011644
758.5 | 48.777 | 34.621 | 0.011983
759 | 50.076 | 35.92 | 0.012432
759.5 | 51.3 | 37.144 | 0.012856
760 | 52.611 | 38.455 | 0.01331
760.5 | 53.757 | 39.601 | 0.013706
761 | 55.334 | 41.178 | 0.014252
761.5 | 56.584 | 42.428 | 0.014685
762 | 57.87 | 43.714 | 0.01513
762.5 | 59.305 | 45.149 | 0.015627
763 | 60.897 | 46.741 | 0.016178
763.5 | 62.142 | 47.986 | 0.016608
764 | 63.226 | 49.07 | 0.016984
764.5 | 64.3 | 50.144 | 0.017355
765 | 65.718 | 51.562 | 0.017846
765.5 | 67.157 | 53.001 | 0.018344
766 | 68.716 | 54.56 | 0.018884
766.5 | 70.149 | 55.993 | 0.01938
767 | 71.526 | 57.37 | 0.019856
767.5 | 72.961 | 58.805 | 0.020353
768 | 74.764 | 60.608 | 0.020977
768.5 | 76.998 | 62.842 | 0.02175
769 | 79.362 | 65.206 | 0.022569
769.5 | 81.841 | 67.685 | 0.023427
770 | 84.02 | 69.864 | 0.024181
770.5 | 85.893 | 71.737 | 0.024829
771 | 87.836 | 73.68 | 0.025501
771.5 | 90.117 | 75.961 | 0.026291
772 | 92.404 | 78.248 | 0.027083
772.5 | 94.461 | 80.305 | 0.027794
773 | 96.433 | 82.277 | 0.028477
773.5 | 98.146 | 83.99 | 0.02907
774 | 99.767 | 85.611 | 0.029631
774.5 | 101.5 | 87.344 | 0.030231
775 | 103.42 | 89.264 | 0.030895
775.5 | 105.56 | 91.404 | 0.031636
776 | 107.49 | 93.334 | 0.032304
776.5 | 109.24 | 95.084 | 0.03291
777 | 110.91 | 96.754 | 0.033488
777.5 | 112.87 | 98.714 | 0.034166
778 | 115.17 | 101.014 | 0.034962
778.5 | 118.52 | 104.364 | 0.036122
779 | 122.04 | 107.884 | 0.03734
779.5 | 125.74 | 111.584 | 0.03862
780 | 129.01 | 114.854 | 0.039752
780.5 | 132.45 | 118.294 | 0.040943
781 | 135.97 | 121.814 | 0.042161
781.5 | 139.92 | 125.764 | 0.043528
782 | 143.96 | 129.804 | 0.044927
782.5 | 147.74 | 133.584 | 0.046235
783 | 151.35 | 137.194 | 0.047484
783.5 | 154.99 | 140.834 | 0.048744
784 | 158.58 | 144.424 | 0.049987
784.5 | 162.7 | 148.544 | 0.051413
785 | 166.89 | 152.734 | 0.052863
785.5 | 171.28 | 157.124 | 0.054382
786 | 176.05 | 161.894 | 0.056033
786.5 | 180.43 | 166.274 | 0.057549
787 | 184.97 | 170.814 | 0.059121
787.5 | 189.64 | 175.484 | 0.060737
788 | 194.56 | 180.404 | 0.06244
788.5 | 199.41 | 185.254 | 0.064119
789 | 204.07 | 189.914 | 0.065731
789.5 | 208.94 | 194.784 | 0.067417
790 | 214.67 | 200.514 | 0.0694
790.5 | 220.32 | 206.164 | 0.071356
791 | 226.72 | 212.564 | 0.073571
791.5 | 233.63 | 219.474 | 0.075962
792 | 240.02 | 225.864 | 0.078174
792.5 | 246.52 | 232.364 | 0.080424
793 | 253.65 | 239.494 | 0.082892
793.5 | 261.11 | 246.954 | 0.085474
794 | 268.49 | 254.334 | 0.088028
794.5 | 275.42 | 261.264 | 0.090426
795 | 282.63 | 268.474 | 0.092922
795.5 | 290.01 | 275.854 | 0.095476
796 | 297.22 | 283.064 | 0.097972
796.5 | 304.82 | 290.664 | 0.1006
797 | 312.52 | 298.364 | 0.10327
797.5 | 319.73 | 305.574 | 0.10576
798 | 327.6 | 313.444 | 0.10849
798.5 | 336.17 | 322.014 | 0.11145
799 | 344.96 | 330.804 | 0.1145
799.5 | 353.42 | 339.264 | 0.11742
800 | 361.74 | 347.584 | 0.1203
800.5 | 370.68 | 356.524 | 0.1234
801 | 380.29 | 366.134 | 0.12672
801.5 | 390.53 | 376.374 | 0.13027
802 | 401.36 | 387.204 | 0.13402
802.5 | 411.84 | 397.684 | 0.13764
803 | 422.9 | 408.744 | 0.14147
803.5 | 434.82 | 420.664 | 0.1456
804 | 447.57 | 433.414 | 0.15001
804.5 | 460.9 | 446.744 | 0.15462
805 | 474.06 | 459.904 | 0.15918
805.5 | 487.14 | 472.984 | 0.16371
806 | 500.42 | 486.264 | 0.1683
806.5 | 514.02 | 499.864 | 0.17301
807 | 527.98 | 513.824 | 0.17784
807.5 | 541.16 | 527.004 | 0.1824
808 | 553.43 | 539.274 | 0.18665
808.5 | 565.21 | 551.054 | 0.19073
809 | 577.34 | 563.184 | 0.19492
809.5 | 590.97 | 576.814 | 0.19964
810 | 606.45 | 592.294 | 0.205
810.5 | 623.14 | 608.984 | 0.21078
811 | 640.47 | 626.314 | 0.21677
811.5 | 658.24 | 644.084 | 0.22292
812 | 677.34 | 663.184 | 0.22954
812.5 | 697.85 | 683.694 | 0.23663
813 | 719.69 | 705.534 | 0.24419
813.5 | 741.08 | 726.924 | 0.2516
814 | 761.13 | 746.974 | 0.25854
814.5 | 779.85 | 765.694 | 0.26502
815 | 798.62 | 784.464 | 0.27151
815.5 | 818 | 803.844 | 0.27822
816 | 838.1 | 823.944 | 0.28518
816.5 | 858.4 | 844.244 | 0.2922
817 | 879.8 | 865.644 | 0.29961
817.5 | 902.66 | 888.504 | 0.30752
818 | 927.04 | 912.884 | 0.31596
818.5 | 952.33 | 938.174 | 0.32471
819 | 976.48 | 962.324 | 0.33307
819.5 | 999.64 | 985.484 | 0.34109
820 | 1021.7 | 1007.544 | 0.34872
820.5 | 1043.4 | 1029.244 | 0.35623
821 | 1065.5 | 1051.344 | 0.36388
821.5 | 1088 | 1073.844 | 0.37167
822 | 1111.2 | 1097.044 | 0.3797
822.5 | 1135.6 | 1121.444 | 0.38814
823 | 1161.2 | 1147.044 | 0.397
823.5 | 1187.8 | 1173.644 | 0.40621
824 | 1216.1 | 1201.944 | 0.41601
824.5 | 1246.1 | 1231.944 | 0.42639
825 | 1277.1 | 1262.944 | 0.43712
825.5 | 1308.1 | 1293.944 | 0.44785
826 | 1338.2 | 1324.044 | 0.45827
826.5 | 1366.9 | 1352.744 | 0.4682
827 | 1394.6 | 1380.444 | 0.47779
827.5 | 1421.6 | 1407.444 | 0.48713
828 | 1448 | 1433.844 | 0.49627
828.5 | 1474.1 | 1459.944 | 0.5053
829 | 1500.1 | 1485.944 | 0.5143
829.5 | 1526.5 | 1512.344 | 0.52344
830 | 1553.5 | 1539.344 | 0.53278
830.5 | 1581.5 | 1567.344 | 0.54248
831 | 1609.8 | 1595.644 | 0.55227
831.5 | 1638.9 | 1624.744 | 0.56234
832 | 1669.1 | 1654.944 | 0.57279
832.5 | 1699.8 | 1685.644 | 0.58342
833 | 1731 | 1716.844 | 0.59422
833.5 | 1761.6 | 1747.444 | 0.60481
834 | 1791.4 | 1777.244 | 0.61512
834.5 | 1820.6 | 1806.444 | 0.62523
835 | 1851.1 | 1836.944 | 0.63579
835.5 | 1884.7 | 1870.544 | 0.64742
836 | 1920.5 | 1906.344 | 0.65981
836.5 | 1957.6 | 1943.444 | 0.67265
837 | 1993.5 | 1979.344 | 0.68507
837.5 | 2028 | 2013.844 | 0.69701
838 | 2061.6 | 2047.444 | 0.70864
838.5 | 2092.9 | 2078.744 | 0.71948
839 | 2121 | 2106.844 | 0.7292
839.5 | 2146.4 | 2132.244 | 0.73799
840 | 2169.3 | 2155.144 | 0.74592
840.5 | 2191.6 | 2177.444 | 0.75364
841 | 2213.1 | 2198.944 | 0.76108
841.5 | 2234.3 | 2220.144 | 0.76842
842 | 2258.4 | 2244.244 | 0.77676
842.5 | 2287.2 | 2273.044 | 0.78673
843 | 2319.8 | 2305.644 | 0.79801
843.5 | 2352 | 2337.844 | 0.80915
844 | 2380.7 | 2366.544 | 0.81909
844.5 | 2408.4 | 2394.244 | 0.82867
845 | 2438.3 | 2424.144 | 0.83902
845.5 | 2470.2 | 2456.044 | 0.85006
846 | 2498.2 | 2484.044 | 0.85976
846.5 | 2520 | 2505.844 | 0.8673
847 | 2541.4 | 2527.244 | 0.87471
847.5 | 2565.3 | 2551.144 | 0.88298
848 | 2591.4 | 2577.244 | 0.89201
848.5 | 2614 | 2599.844 | 0.89984
849 | 2631.1 | 2616.944 | 0.90575
849.5 | 2648.5 | 2634.344 | 0.91178
850 | 2671.6 | 2657.444 | 0.91977
850.5 | 2695.9 | 2681.744 | 0.92818
851 | 2713.7 | 2699.544 | 0.93434
851.5 | 2724.3 | 2710.144 | 0.93801
852 | 2736.1 | 2721.944 | 0.9421
852.5 | 2754.1 | 2739.944 | 0.94833
853 | 2775.4 | 2761.244 | 0.9557
853.5 | 2791 | 2776.844 | 0.9611
854 | 2801 | 2786.844 | 0.96456
854.5 | 2815.1 | 2800.944 | 0.96944
855 | 2836.8 | 2822.644 | 0.97695
855.5 | 2858.6 | 2844.444 | 0.98449
856 | 2870.8 | 2856.644 | 0.98872
856.5 | 2874.9 | 2860.744 | 0.99014
857 | 2880.4 | 2866.244 | 0.99204
857.5 | 2892.2 | 2878.044 | 0.99612
858 | 2902.3 | 2888.144 | 0.99962
858.5 | 2901.6 | 2887.444 | 0.99938
859 | 2892.6 | 2878.444 | 0.99626
859.5 | 2888.8 | 2874.644 | 0.99495
860 | 2895.7 | 2881.544 | 0.99733
860.5 | 2903.4 | 2889.244 | 1
861 | 2900.3 | 2886.144 | 0.99893
861.5 | 2887.8 | 2873.644 | 0.9946
862 | 2876.2 | 2862.044 | 0.99059
862.5 | 2869.5 | 2855.344 | 0.98827
863 | 2859.3 | 2845.144 | 0.98474
863.5 | 2833.4 | 2819.244 | 0.97577
864 | 2791.6 | 2777.444 | 0.9613
864.5 | 2745.7 | 2731.544 | 0.94542
865 | 2702.9 | 2688.744 | 0.9306
865.5 | 2658.3 | 2644.144 | 0.91517
866 | 2604.9 | 2590.744 | 0.89669
866.5 | 2542.4 | 2528.244 | 0.87505
867 | 2478.4 | 2464.244 | 0.8529
867.5 | 2419.2 | 2405.044 | 0.83241
868 | 2361.8 | 2347.644 | 0.81255
868.5 | 2299.4 | 2285.244 | 0.79095
869 | 2232.5 | 2218.344 | 0.76779
869.5 | 2165.5 | 2151.344 | 0.7446
870 | 2100 | 2085.844 | 0.72193
870.5 | 2033 | 2018.844 | 0.69874
871 | 1960.6 | 1946.444 | 0.67369
871.5 | 1883.9 | 1869.744 | 0.64714
872 | 1808.2 | 1794.044 | 0.62094
872.5 | 1735.2 | 1721.044 | 0.59567
873 | 1661.4 | 1647.244 | 0.57013
873.5 | 1584.3 | 1570.144 | 0.54344
874 | 1505 | 1490.844 | 0.516
874.5 | 1428.2 | 1414.044 | 0.48942
875 | 1356.4 | 1342.244 | 0.46457
875.5 | 1288.1 | 1273.944 | 0.44093
876 | 1220.7 | 1206.544 | 0.4176
876.5 | 1155.5 | 1141.344 | 0.39503
877 | 1093.8 | 1079.644 | 0.37368
877.5 | 1035.7 | 1021.544 | 0.35357
878 | 979.64 | 965.484 | 0.33416
878.5 | 923.88 | 909.724 | 0.31487
879 | 869.58 | 855.424 | 0.29607
879.5 | 818.14 | 803.984 | 0.27827
880 | 769.62 | 755.464 | 0.26147
880.5 | 722.43 | 708.274 | 0.24514
881 | 675.79 | 661.634 | 0.229
881.5 | 631.09 | 616.934 | 0.21353
882 | 589.44 | 575.284 | 0.19911
882.5 | 550.7 | 536.544 | 0.1857
883 | 514.08 | 499.924 | 0.17303
883.5 | 482.23 | 468.074 | 0.16201
884 | 437.9 | 423.744 | 0.14666
884.5 | 400 | 385.844 | 0.13354
885 | 389.13 | 374.974 | 0.12978
885.5 | 361.9 | 347.744 | 0.12036
886 | 239.11 | 224.954 | 0.077859
886.5 | 84.05 | 69.894 | 0.024191