## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
246 | 86.34 | 89.765 | 0.025099
246.5 | 54.74 | 58.165 | 0.016263
247 | 41.58 | 45.005 | 0.012584
247.5 | 28.53 | 31.955 | 0.0089349
248 | 16.42 | 19.845 | 0.0055488
248.5 | 5.534 | 8.959 | 0.002505
249 | -3.425 | 0 | 0
249.5 | -9.654 | 0 | 0
250 | -12.17 | 0 | 0
250.5 | -10.24 | 0 | 0
251 | -3.623 | 0 | 0
251.5 | -3.219 | 0.206 | 5.7599e-05
252 | -2.989 | 0.436 | 0.00012191
252.5 | -2.916 | 0.509 | 0.00014232
253 | -2.894 | 0.531 | 0.00014847
253.5 | -3.074 | 0.351 | 9.8143e-05
254 | -3.202 | 0.223 | 6.2353e-05
254.5 | -3.045 | 0.38 | 0.00010625
255 | -2.865 | 0.56 | 0.00015658
255.5 | -2.799 | 0.626 | 0.00017504
256 | -2.703 | 0.722 | 0.00020188
256.5 | -2.581 | 0.844 | 0.00023599
257 | -2.395 | 1.03 | 0.000288
257.5 | -2.378 | 1.047 | 0.00029275
258 | -2.35 | 1.075 | 0.00030058
258.5 | -2.292 | 1.133 | 0.0003168
259 | -2.24 | 1.185 | 0.00033134
259.5 | -2.205 | 1.22 | 0.00034112
260 | -2.186 | 1.239 | 0.00034644
260.5 | -2.181 | 1.244 | 0.00034783
261 | -2.187 | 1.238 | 0.00034616
261.5 | -2.203 | 1.222 | 0.00034168
262 | -2.217 | 1.208 | 0.00033777
262.5 | -2.246 | 1.179 | 0.00032966
263 | -2.29 | 1.135 | 0.00031736
263.5 | -2.346 | 1.079 | 0.0003017
264 | -2.408 | 1.017 | 0.00028436
264.5 | -2.468 | 0.957 | 0.00026759
265 | -2.515 | 0.91 | 0.00025444
265.5 | -2.544 | 0.881 | 0.00024634
266 | -2.562 | 0.863 | 0.0002413
266.5 | -2.581 | 0.844 | 0.00023599
267 | -2.609 | 0.816 | 0.00022816
267.5 | -2.649 | 0.776 | 0.00021698
268 | -2.684 | 0.741 | 0.00020719
268.5 | -2.721 | 0.704 | 0.00019684
269 | -2.749 | 0.676 | 0.00018902
269.5 | -2.759 | 0.666 | 0.00018622
270 | -2.776 | 0.649 | 0.00018147
270.5 | -2.811 | 0.614 | 0.00017168
271 | -2.858 | 0.567 | 0.00015854
271.5 | -2.92 | 0.505 | 0.0001412
272 | -2.99 | 0.435 | 0.00012163
272.5 | -3.056 | 0.369 | 0.00010318
273 | -3.102 | 0.323 | 9.0314e-05
273.5 | -3.113 | 0.312 | 8.7238e-05
274 | -3.103 | 0.322 | 9.0034e-05
274.5 | -3.076 | 0.349 | 9.7583e-05
275 | -3.044 | 0.381 | 0.00010653
275.5 | -3.002 | 0.423 | 0.00011827
276 | -2.944 | 0.481 | 0.00013449
276.5 | -2.874 | 0.551 | 0.00015406
277 | -2.79 | 0.635 | 0.00017755
277.5 | -2.71 | 0.715 | 0.00019992
278 | -2.645 | 0.78 | 0.00021809
278.5 | -2.597 | 0.828 | 0.00023152
279 | -2.558 | 0.867 | 0.00024242
279.5 | -2.52 | 0.905 | 0.00025305
280 | -2.482 | 0.943 | 0.00026367
280.5 | -2.433 | 0.992 | 0.00027737
281 | -2.36 | 1.065 | 0.00029778
281.5 | -2.269 | 1.156 | 0.00032323
282 | -2.175 | 1.25 | 0.00034951
282.5 | -2.102 | 1.323 | 0.00036992
283 | -2.034 | 1.391 | 0.00038894
283.5 | -1.96 | 1.465 | 0.00040963
284 | -1.884 | 1.541 | 0.00043088
284.5 | -1.801 | 1.624 | 0.00045408
285 | -1.723 | 1.702 | 0.00047589
285.5 | -1.65 | 1.775 | 0.00049631
286 | -1.593 | 1.832 | 0.00051224
286.5 | -1.553 | 1.872 | 0.00052343
287 | -1.522 | 1.903 | 0.0005321
287.5 | -1.502 | 1.923 | 0.00053769
288 | -1.479 | 1.946 | 0.00054412
288.5 | -1.453 | 1.972 | 0.00055139
289 | -1.418 | 2.007 | 0.00056117
289.5 | -1.384 | 2.041 | 0.00057068
290 | -1.346 | 2.079 | 0.00058131
290.5 | -1.297 | 2.128 | 0.00059501
291 | -1.225 | 2.2 | 0.00061514
291.5 | -1.138 | 2.287 | 0.00063947
292 | -1.042 | 2.383 | 0.00066631
292.5 | -0.9453 | 2.4797 | 0.00069335
293 | -0.8566 | 2.5684 | 0.00071815
293.5 | -0.7859 | 2.6391 | 0.00073792
294 | -0.7412 | 2.6838 | 0.00075041
294.5 | -0.7036 | 2.7214 | 0.00076093
295 | -0.6749 | 2.7501 | 0.00076895
295.5 | -0.6507 | 2.7743 | 0.00077572
296 | -0.6312 | 2.7938 | 0.00078117
296.5 | -0.6041 | 2.8209 | 0.00078875
297 | -0.5779 | 2.8471 | 0.00079607
297.5 | -0.5521 | 2.8729 | 0.00080329
298 | -0.5241 | 2.9009 | 0.00081112
298.5 | -0.4937 | 2.9313 | 0.00081962
299 | -0.4557 | 2.9693 | 0.00083024
299.5 | -0.4131 | 3.0119 | 0.00084215
300 | -0.3794 | 3.0456 | 0.00085158
300.5 | -0.3446 | 3.0804 | 0.00086131
301 | -0.3104 | 3.1146 | 0.00087087
301.5 | -0.2928 | 3.1322 | 0.00087579
302 | -0.2743 | 3.1507 | 0.00088096
302.5 | -0.2565 | 3.1685 | 0.00088594
303 | -0.239 | 3.186 | 0.00089083
303.5 | -0.2194 | 3.2056 | 0.00089631
304 | -0.1969 | 3.2281 | 0.00090261
304.5 | -0.174 | 3.251 | 0.00090901
305 | -0.1428 | 3.2822 | 0.00091773
305.5 | -0.1096 | 3.3154 | 0.00092702
306 | -0.08069 | 3.3443 | 0.0009351
306.5 | -0.0712 | 3.3538 | 0.00093775
307 | -0.07635 | 3.3486 | 0.00093631
307.5 | -0.09006 | 3.3349 | 0.00093248
308 | -0.07935 | 3.3457 | 0.00093547
308.5 | -0.04335 | 3.3816 | 0.00094554
309 | 0.00314 | 3.4281 | 0.00095854
309.5 | 0.065 | 3.49 | 0.00097583
310 | 0.1393 | 3.5643 | 0.00099661
310.5 | 0.2219 | 3.6469 | 0.0010197
311 | 0.3177 | 3.7427 | 0.0010465
311.5 | 0.4218 | 3.8468 | 0.0010756
312 | 0.5273 | 3.9523 | 0.0011051
312.5 | 0.6398 | 4.0648 | 0.0011366
313 | 0.7433 | 4.1683 | 0.0011655
313.5 | 0.8352 | 4.2602 | 0.0011912
314 | 0.9144 | 4.3394 | 0.0012133
314.5 | 0.9903 | 4.4153 | 0.0012346
315 | 1.067 | 4.492 | 0.001256
315.5 | 1.151 | 4.576 | 0.0012795
316 | 1.243 | 4.668 | 0.0013052
316.5 | 1.337 | 4.762 | 0.0013315
317 | 1.428 | 4.853 | 0.0013569
317.5 | 1.514 | 4.939 | 0.001381
318 | 1.6 | 5.025 | 0.001405
318.5 | 1.678 | 5.103 | 0.0014268
319 | 1.753 | 5.178 | 0.0014478
319.5 | 1.815 | 5.24 | 0.0014652
320 | 1.873 | 5.298 | 0.0014814
320.5 | 1.914 | 5.339 | 0.0014928
321 | 1.925 | 5.35 | 0.0014959
321.5 | 1.917 | 5.342 | 0.0014937
322 | 1.887 | 5.312 | 0.0014853
322.5 | 1.84 | 5.265 | 0.0014721
323 | 1.791 | 5.216 | 0.0014584
323.5 | 1.755 | 5.18 | 0.0014484
324 | 1.736 | 5.161 | 0.0014431
324.5 | 1.734 | 5.159 | 0.0014425
325 | 1.751 | 5.176 | 0.0014473
325.5 | 1.785 | 5.21 | 0.0014568
326 | 1.833 | 5.258 | 0.0014702
326.5 | 1.887 | 5.312 | 0.0014853
327 | 1.937 | 5.362 | 0.0014993
327.5 | 1.969 | 5.394 | 0.0015082
328 | 1.977 | 5.402 | 0.0015104
328.5 | 1.953 | 5.378 | 0.0015037
329 | 1.902 | 5.327 | 0.0014895
329.5 | 1.829 | 5.254 | 0.0014691
330 | 1.734 | 5.159 | 0.0014425
330.5 | 1.631 | 5.056 | 0.0014137
331 | 1.548 | 4.973 | 0.0013905
331.5 | 1.482 | 4.907 | 0.001372
332 | 1.45 | 4.875 | 0.0013631
332.5 | 1.44 | 4.865 | 0.0013603
333 | 1.446 | 4.871 | 0.001362
333.5 | 1.474 | 4.899 | 0.0013698
334 | 1.51 | 4.935 | 0.0013799
334.5 | 1.548 | 4.973 | 0.0013905
335 | 1.589 | 5.014 | 0.001402
335.5 | 1.634 | 5.059 | 0.0014145
336 | 1.664 | 5.089 | 0.0014229
336.5 | 1.663 | 5.088 | 0.0014226
337 | 1.617 | 5.042 | 0.0014098
337.5 | 1.532 | 4.957 | 0.001386
338 | 1.43 | 4.855 | 0.0013575
338.5 | 1.315 | 4.74 | 0.0013253
339 | 1.2 | 4.625 | 0.0012932
339.5 | 1.101 | 4.526 | 0.0012655
340 | 1.01 | 4.435 | 0.0012401
340.5 | 0.9266 | 4.3516 | 0.0012167
341 | 0.8573 | 4.2823 | 0.0011974
341.5 | 0.7917 | 4.2167 | 0.001179
342 | 0.7455 | 4.1705 | 0.0011661
342.5 | 0.7369 | 4.1619 | 0.0011637
343 | 0.7678 | 4.1928 | 0.0011723
343.5 | 0.8139 | 4.2389 | 0.0011852
344 | 0.8678 | 4.2928 | 0.0012003
344.5 | 0.9218 | 4.3468 | 0.0012154
345 | 0.9756 | 4.4006 | 0.0012304
345.5 | 1.029 | 4.454 | 0.0012454
346 | 1.077 | 4.502 | 0.0012588
346.5 | 1.135 | 4.56 | 0.001275
347 | 1.206 | 4.631 | 0.0012949
347.5 | 1.278 | 4.703 | 0.001315
348 | 1.336 | 4.761 | 0.0013312
348.5 | 1.381 | 4.806 | 0.0013438
349 | 1.431 | 4.856 | 0.0013578
349.5 | 1.514 | 4.939 | 0.001381
350 | 1.629 | 5.054 | 0.0014131
350.5 | 1.761 | 5.186 | 0.0014501
351 | 1.909 | 5.334 | 0.0014914
351.5 | 2.059 | 5.484 | 0.0015334
352 | 2.201 | 5.626 | 0.0015731
352.5 | 2.344 | 5.769 | 0.0016131
353 | 2.493 | 5.918 | 0.0016547
353.5 | 2.639 | 6.064 | 0.0016955
354 | 2.789 | 6.214 | 0.0017375
354.5 | 2.925 | 6.35 | 0.0017755
355 | 3.019 | 6.444 | 0.0018018
355.5 | 3.069 | 6.494 | 0.0018158
356 | 3.091 | 6.516 | 0.0018219
356.5 | 3.113 | 6.538 | 0.0018281
357 | 3.146 | 6.571 | 0.0018373
357.5 | 3.182 | 6.607 | 0.0018474
358 | 3.21 | 6.635 | 0.0018552
358.5 | 3.228 | 6.653 | 0.0018602
359 | 3.238 | 6.663 | 0.001863
359.5 | 3.248 | 6.673 | 0.0018658
360 | 3.263 | 6.688 | 0.00187
360.5 | 3.282 | 6.707 | 0.0018753
361 | 3.297 | 6.722 | 0.0018795
361.5 | 3.294 | 6.719 | 0.0018787
362 | 3.262 | 6.687 | 0.0018697
362.5 | 3.213 | 6.638 | 0.001856
363 | 3.162 | 6.587 | 0.0018418
363.5 | 3.13 | 6.555 | 0.0018328
364 | 3.119 | 6.544 | 0.0018298
364.5 | 3.132 | 6.557 | 0.0018334
365 | 3.166 | 6.591 | 0.0018429
365.5 | 3.216 | 6.641 | 0.0018569
366 | 3.281 | 6.706 | 0.0018751
366.5 | 3.349 | 6.774 | 0.0018941
367 | 3.429 | 6.854 | 0.0019164
367.5 | 3.525 | 6.95 | 0.0019433
368 | 3.637 | 7.062 | 0.0019746
368.5 | 3.739 | 7.164 | 0.0020031
369 | 3.839 | 7.264 | 0.0020311
369.5 | 3.938 | 7.363 | 0.0020588
370 | 4.053 | 7.478 | 0.0020909
370.5 | 4.194 | 7.619 | 0.0021303
371 | 4.359 | 7.784 | 0.0021765
371.5 | 4.532 | 7.957 | 0.0022248
372 | 4.709 | 8.134 | 0.0022743
372.5 | 4.885 | 8.31 | 0.0023235
373 | 5.06 | 8.485 | 0.0023725
373.5 | 5.236 | 8.661 | 0.0024217
374 | 5.412 | 8.837 | 0.0024709
374.5 | 5.582 | 9.007 | 0.0025184
375 | 5.726 | 9.151 | 0.0025587
375.5 | 5.825 | 9.25 | 0.0025864
376 | 5.89 | 9.315 | 0.0026046
376.5 | 5.934 | 9.359 | 0.0026169
377 | 5.974 | 9.399 | 0.002628
377.5 | 6.028 | 9.453 | 0.0026431
378 | 6.111 | 9.536 | 0.0026663
378.5 | 6.216 | 9.641 | 0.0026957
379 | 6.335 | 9.76 | 0.002729
379.5 | 6.46 | 9.885 | 0.0027639
380 | 6.604 | 10.029 | 0.0028042
380.5 | 6.773 | 10.198 | 0.0028515
381 | 6.959 | 10.384 | 0.0029035
381.5 | 7.145 | 10.57 | 0.0029555
382 | 7.325 | 10.75 | 0.0030058
382.5 | 7.486 | 10.911 | 0.0030508
383 | 7.62 | 11.045 | 0.0030883
383.5 | 7.734 | 11.159 | 0.0031202
384 | 7.847 | 11.272 | 0.0031518
384.5 | 7.969 | 11.394 | 0.0031859
385 | 8.108 | 11.533 | 0.0032247
385.5 | 8.269 | 11.694 | 0.0032697
386 | 8.439 | 11.864 | 0.0033173
386.5 | 8.625 | 12.05 | 0.0033693
387 | 8.834 | 12.259 | 0.0034277
387.5 | 9.076 | 12.501 | 0.0034954
388 | 9.354 | 12.779 | 0.0035731
388.5 | 9.663 | 13.088 | 0.0036595
389 | 9.994 | 13.419 | 0.0037521
389.5 | 10.32 | 13.745 | 0.0038432
390 | 10.63 | 14.055 | 0.0039299
390.5 | 10.92 | 14.345 | 0.004011
391 | 11.23 | 14.655 | 0.0040977
391.5 | 11.55 | 14.975 | 0.0041871
392 | 11.87 | 15.295 | 0.0042766
392.5 | 12.2 | 15.625 | 0.0043689
393 | 12.54 | 15.965 | 0.004464
393.5 | 12.88 | 16.305 | 0.004559
394 | 13.23 | 16.655 | 0.0046569
394.5 | 13.62 | 17.045 | 0.0047659
395 | 14.06 | 17.485 | 0.004889
395.5 | 14.55 | 17.975 | 0.005026
396 | 15.09 | 18.515 | 0.005177
396.5 | 15.68 | 19.105 | 0.0053419
397 | 16.32 | 19.745 | 0.0055209
397.5 | 17.03 | 20.455 | 0.0057194
398 | 17.81 | 21.235 | 0.0059375
398.5 | 18.68 | 22.105 | 0.0061808
399 | 19.61 | 23.035 | 0.0064408
399.5 | 20.6 | 24.025 | 0.0067176
400 | 21.65 | 25.075 | 0.0070112
400.5 | 22.76 | 26.185 | 0.0073216
401 | 23.94 | 27.365 | 0.0076515
401.5 | 25.24 | 28.665 | 0.008015
402 | 26.66 | 30.085 | 0.008412
402.5 | 28.23 | 31.655 | 0.008851
403 | 29.94 | 33.365 | 0.0093291
403.5 | 31.82 | 35.245 | 0.0098548
404 | 33.96 | 37.385 | 0.010453
404.5 | 36.31 | 39.735 | 0.01111
405 | 38.91 | 42.335 | 0.011837
405.5 | 41.81 | 45.235 | 0.012648
406 | 44.97 | 48.395 | 0.013532
406.5 | 48.43 | 51.855 | 0.014499
407 | 52.2 | 55.625 | 0.015553
407.5 | 56.29 | 59.715 | 0.016697
408 | 60.77 | 64.195 | 0.017949
408.5 | 65.62 | 69.045 | 0.019306
409 | 70.86 | 74.285 | 0.020771
409.5 | 76.55 | 79.975 | 0.022362
410 | 82.65 | 86.075 | 0.024067
410.5 | 89.31 | 92.735 | 0.02593
411 | 96.56 | 99.985 | 0.027957
411.5 | 104.4 | 107.825 | 0.030149
412 | 113.1 | 116.525 | 0.032581
412.5 | 122.4 | 125.825 | 0.035182
413 | 132.5 | 135.925 | 0.038006
413.5 | 143.3 | 146.725 | 0.041026
414 | 154.7 | 158.125 | 0.044213
414.5 | 167.1 | 170.525 | 0.04768
415 | 180.2 | 183.625 | 0.051343
415.5 | 194.1 | 197.525 | 0.05523
416 | 208.8 | 212.225 | 0.05934
416.5 | 224.4 | 227.825 | 0.063702
417 | 241 | 244.425 | 0.068343
417.5 | 258.5 | 261.925 | 0.073237
418 | 277.2 | 280.625 | 0.078465
418.5 | 297.3 | 300.725 | 0.084085
419 | 318.7 | 322.125 | 0.090069
419.5 | 341.5 | 344.925 | 0.096444
420 | 365.7 | 369.125 | 0.10321
420.5 | 391.3 | 394.725 | 0.11037
421 | 418.8 | 422.225 | 0.11806
421.5 | 447.8 | 451.225 | 0.12617
422 | 478.7 | 482.125 | 0.13481
422.5 | 511.6 | 515.025 | 0.14401
423 | 546.1 | 549.525 | 0.15365
423.5 | 582.9 | 586.325 | 0.16394
424 | 621.6 | 625.025 | 0.17476
424.5 | 662.7 | 666.125 | 0.18625
425 | 706.6 | 710.025 | 0.19853
425.5 | 753 | 756.425 | 0.2115
426 | 802.8 | 806.225 | 0.22543
426.5 | 855.7 | 859.125 | 0.24022
427 | 912 | 915.425 | 0.25596
427.5 | 972.3 | 975.725 | 0.27282
428 | 1036 | 1039.425 | 0.29063
428.5 | 1104 | 1107.425 | 0.30965
429 | 1176 | 1179.425 | 0.32978
429.5 | 1253 | 1256.425 | 0.35131
430 | 1333 | 1336.425 | 0.37368
430.5 | 1418 | 1421.425 | 0.39744
431 | 1507 | 1510.425 | 0.42233
431.5 | 1601 | 1604.425 | 0.44861
432 | 1698 | 1701.425 | 0.47573
432.5 | 1800 | 1803.425 | 0.50425
433 | 1906 | 1909.425 | 0.53389
433.5 | 2014 | 2017.425 | 0.56409
434 | 2126 | 2129.425 | 0.59541
434.5 | 2239 | 2242.425 | 0.627
435 | 2353 | 2356.425 | 0.65888
435.5 | 2468 | 2471.425 | 0.69103
436 | 2581 | 2584.425 | 0.72263
436.5 | 2694 | 2697.425 | 0.75422
437 | 2803 | 2806.425 | 0.7847
437.5 | 2909 | 2912.425 | 0.81434
438 | 3011 | 3014.425 | 0.84286
438.5 | 3106 | 3109.425 | 0.86942
439 | 3195 | 3198.425 | 0.89431
439.5 | 3276 | 3279.425 | 0.91696
440 | 3349 | 3352.425 | 0.93737
440.5 | 3414 | 3417.425 | 0.95554
441 | 3467 | 3470.425 | 0.97036
441.5 | 3511 | 3514.425 | 0.98266
442 | 3543 | 3546.425 | 0.99161
442.5 | 3564 | 3567.425 | 0.99748
443 | 3573 | 3576.425 | 1
443.5 | 3570 | 3573.425 | 0.99916
444 | 3556 | 3559.425 | 0.99525
444.5 | 3530 | 3533.425 | 0.98798
445 | 3493 | 3496.425 | 0.97763
445.5 | 3446 | 3449.425 | 0.96449
446 | 3389 | 3392.425 | 0.94855
446.5 | 3325 | 3328.425 | 0.93066
447 | 3253 | 3256.425 | 0.91053
447.5 | 3176 | 3179.425 | 0.889
448 | 3094 | 3097.425 | 0.86607
448.5 | 3007 | 3010.425 | 0.84174
449 | 2918 | 2921.425 | 0.81686
449.5 | 2826 | 2829.425 | 0.79113
450 | 2733 | 2736.425 | 0.76513
450.5 | 2640 | 2643.425 | 0.73912
451 | 2547 | 2550.425 | 0.71312
451.5 | 2455 | 2458.425 | 0.6874
452 | 2365 | 2368.425 | 0.66223
452.5 | 2278 | 2281.425 | 0.63791
453 | 2194 | 2197.425 | 0.61442
453.5 | 2114 | 2117.425 | 0.59205
454 | 2038 | 2041.425 | 0.5708
454.5 | 1966 | 1969.425 | 0.55067
455 | 1898 | 1901.425 | 0.53166
455.5 | 1836 | 1839.425 | 0.51432
456 | 1777 | 1780.425 | 0.49782
456.5 | 1723 | 1726.425 | 0.48272
457 | 1672 | 1675.425 | 0.46846
457.5 | 1625 | 1628.425 | 0.45532
458 | 1582 | 1585.425 | 0.4433
458.5 | 1541 | 1544.425 | 0.43183
459 | 1503 | 1506.425 | 0.42121
459.5 | 1468 | 1471.425 | 0.41142
460 | 1434 | 1437.425 | 0.40192
460.5 | 1403 | 1406.425 | 0.39325
461 | 1373 | 1376.425 | 0.38486
461.5 | 1345 | 1348.425 | 0.37703
462 | 1319 | 1322.425 | 0.36976
462.5 | 1295 | 1298.425 | 0.36305
463 | 1272 | 1275.425 | 0.35662
463.5 | 1250 | 1253.425 | 0.35047
464 | 1229 | 1232.425 | 0.3446
464.5 | 1209 | 1212.425 | 0.339
465 | 1191 | 1194.425 | 0.33397
465.5 | 1173 | 1176.425 | 0.32894
466 | 1157 | 1160.425 | 0.32447
466.5 | 1142 | 1145.425 | 0.32027
467 | 1128 | 1131.425 | 0.31636
467.5 | 1116 | 1119.425 | 0.313
468 | 1105 | 1108.425 | 0.30993
468.5 | 1095 | 1098.425 | 0.30713
469 | 1086 | 1089.425 | 0.30461
469.5 | 1079 | 1082.425 | 0.30266
470 | 1072 | 1075.425 | 0.3007
470.5 | 1066 | 1069.425 | 0.29902
471 | 1061 | 1064.425 | 0.29762
471.5 | 1058 | 1061.425 | 0.29678
472 | 1055 | 1058.425 | 0.29594
472.5 | 1053 | 1056.425 | 0.29539
473 | 1052 | 1055.425 | 0.29511
473.5 | 1052 | 1055.425 | 0.29511
474 | 1053 | 1056.425 | 0.29539
474.5 | 1056 | 1059.425 | 0.29622
475 | 1060 | 1063.425 | 0.29734
475.5 | 1064 | 1067.425 | 0.29846
476 | 1070 | 1073.425 | 0.30014
476.5 | 1077 | 1080.425 | 0.3021
477 | 1084 | 1087.425 | 0.30405
477.5 | 1093 | 1096.425 | 0.30657
478 | 1102 | 1105.425 | 0.30909
478.5 | 1111 | 1114.425 | 0.3116
479 | 1122 | 1125.425 | 0.31468
479.5 | 1133 | 1136.425 | 0.31775
480 | 1145 | 1148.425 | 0.32111
480.5 | 1157 | 1160.425 | 0.32447
481 | 1171 | 1174.425 | 0.32838
481.5 | 1185 | 1188.425 | 0.33229
482 | 1201 | 1204.425 | 0.33677
482.5 | 1217 | 1220.425 | 0.34124
483 | 1233 | 1236.425 | 0.34572
483.5 | 1251 | 1254.425 | 0.35075
484 | 1269 | 1272.425 | 0.35578
484.5 | 1287 | 1290.425 | 0.36081
485 | 1305 | 1308.425 | 0.36585
485.5 | 1324 | 1327.425 | 0.37116
486 | 1343 | 1346.425 | 0.37647
486.5 | 1362 | 1365.425 | 0.38178
487 | 1382 | 1385.425 | 0.38738
487.5 | 1402 | 1405.425 | 0.39297
488 | 1423 | 1426.425 | 0.39884
488.5 | 1443 | 1446.425 | 0.40443
489 | 1465 | 1468.425 | 0.41058
489.5 | 1486 | 1489.425 | 0.41646
490 | 1509 | 1512.425 | 0.42289
490.5 | 1532 | 1535.425 | 0.42932
491 | 1555 | 1558.425 | 0.43575
491.5 | 1578 | 1581.425 | 0.44218
492 | 1601 | 1604.425 | 0.44861
492.5 | 1624 | 1627.425 | 0.45504
493 | 1647 | 1650.425 | 0.46147
493.5 | 1670 | 1673.425 | 0.4679
494 | 1692 | 1695.425 | 0.47406
494.5 | 1714 | 1717.425 | 0.48021
495 | 1737 | 1740.425 | 0.48664
495.5 | 1759 | 1762.425 | 0.49279
496 | 1781 | 1784.425 | 0.49894
496.5 | 1803 | 1806.425 | 0.50509
497 | 1826 | 1829.425 | 0.51152
497.5 | 1848 | 1851.425 | 0.51767
498 | 1871 | 1874.425 | 0.52411
498.5 | 1893 | 1896.425 | 0.53026
499 | 1916 | 1919.425 | 0.53669
499.5 | 1938 | 1941.425 | 0.54284
500 | 1960 | 1963.425 | 0.54899
500.5 | 1981 | 1984.425 | 0.55486
501 | 2001 | 2004.425 | 0.56045
501.5 | 2020 | 2023.425 | 0.56577
502 | 2038 | 2041.425 | 0.5708
502.5 | 2056 | 2059.425 | 0.57583
503 | 2072 | 2075.425 | 0.58031
503.5 | 2088 | 2091.425 | 0.58478
504 | 2103 | 2106.425 | 0.58898
504.5 | 2118 | 2121.425 | 0.59317
505 | 2132 | 2135.425 | 0.59708
505.5 | 2146 | 2149.425 | 0.601
506 | 2159 | 2162.425 | 0.60463
506.5 | 2173 | 2176.425 | 0.60855
507 | 2185 | 2188.425 | 0.6119
507.5 | 2197 | 2200.425 | 0.61526
508 | 2209 | 2212.425 | 0.61861
508.5 | 2220 | 2223.425 | 0.62169
509 | 2230 | 2233.425 | 0.62449
509.5 | 2239 | 2242.425 | 0.627
510 | 2248 | 2251.425 | 0.62952
510.5 | 2255 | 2258.425 | 0.63148
511 | 2261 | 2264.425 | 0.63315
511.5 | 2267 | 2270.425 | 0.63483
512 | 2272 | 2275.425 | 0.63623
512.5 | 2276 | 2279.425 | 0.63735
513 | 2280 | 2283.425 | 0.63847
513.5 | 2285 | 2288.425 | 0.63986
514 | 2289 | 2292.425 | 0.64098
514.5 | 2293 | 2296.425 | 0.6421
515 | 2297 | 2300.425 | 0.64322
515.5 | 2300 | 2303.425 | 0.64406
516 | 2304 | 2307.425 | 0.64518
516.5 | 2307 | 2310.425 | 0.64602
517 | 2311 | 2314.425 | 0.64713
517.5 | 2313 | 2316.425 | 0.64769
518 | 2316 | 2319.425 | 0.64853
518.5 | 2318 | 2321.425 | 0.64909
519 | 2320 | 2323.425 | 0.64965
519.5 | 2322 | 2325.425 | 0.65021
520 | 2324 | 2327.425 | 0.65077
520.5 | 2327 | 2330.425 | 0.65161
521 | 2330 | 2333.425 | 0.65245
521.5 | 2333 | 2336.425 | 0.65329
522 | 2338 | 2341.425 | 0.65468
522.5 | 2342 | 2345.425 | 0.6558
523 | 2348 | 2351.425 | 0.65748
523.5 | 2354 | 2357.425 | 0.65916
524 | 2360 | 2363.425 | 0.66083
524.5 | 2367 | 2370.425 | 0.66279
525 | 2374 | 2377.425 | 0.66475
525.5 | 2382 | 2385.425 | 0.66699
526 | 2390 | 2393.425 | 0.66922
526.5 | 2398 | 2401.425 | 0.67146
527 | 2407 | 2410.425 | 0.67398
527.5 | 2417 | 2420.425 | 0.67677
528 | 2426 | 2429.425 | 0.67929
528.5 | 2437 | 2440.425 | 0.68236
529 | 2448 | 2451.425 | 0.68544
529.5 | 2459 | 2462.425 | 0.68852
530 | 2470 | 2473.425 | 0.69159
530.5 | 2481 | 2484.425 | 0.69467
531 | 2493 | 2496.425 | 0.69802
531.5 | 2505 | 2508.425 | 0.70138
532 | 2517 | 2520.425 | 0.70473
532.5 | 2529 | 2532.425 | 0.70809
533 | 2541 | 2544.425 | 0.71144
533.5 | 2553 | 2556.425 | 0.7148
534 | 2566 | 2569.425 | 0.71843
534.5 | 2579 | 2582.425 | 0.72207
535 | 2592 | 2595.425 | 0.7257
535.5 | 2605 | 2608.425 | 0.72934
536 | 2619 | 2622.425 | 0.73325
536.5 | 2633 | 2636.425 | 0.73717
537 | 2647 | 2650.425 | 0.74108
537.5 | 2661 | 2664.425 | 0.745
538 | 2674 | 2677.425 | 0.74863
538.5 | 2688 | 2691.425 | 0.75255
539 | 2701 | 2704.425 | 0.75618
539.5 | 2714 | 2717.425 | 0.75982
540 | 2727 | 2730.425 | 0.76345
540.5 | 2739 | 2742.425 | 0.76681
541 | 2752 | 2755.425 | 0.77044
541.5 | 2764 | 2767.425 | 0.7738
542 | 2775 | 2778.425 | 0.77687
542.5 | 2786 | 2789.425 | 0.77995
543 | 2797 | 2800.425 | 0.78302
543.5 | 2807 | 2810.425 | 0.78582
544 | 2816 | 2819.425 | 0.78834
544.5 | 2825 | 2828.425 | 0.79085
545 | 2832 | 2835.425 | 0.79281
545.5 | 2839 | 2842.425 | 0.79477
546 | 2844 | 2847.425 | 0.79617
546.5 | 2848 | 2851.425 | 0.79728
547 | 2852 | 2855.425 | 0.7984
547.5 | 2854 | 2857.425 | 0.79896
548 | 2855 | 2858.425 | 0.79924
548.5 | 2856 | 2859.425 | 0.79952
549 | 2856 | 2859.425 | 0.79952
549.5 | 2855 | 2858.425 | 0.79924
550 | 2853 | 2856.425 | 0.79868
550.5 | 2851 | 2854.425 | 0.79812
551 | 2849 | 2852.425 | 0.79756
551.5 | 2846 | 2849.425 | 0.79672
552 | 2842 | 2845.425 | 0.79561
552.5 | 2838 | 2841.425 | 0.79449
553 | 2833 | 2836.425 | 0.79309
553.5 | 2828 | 2831.425 | 0.79169
554 | 2822 | 2825.425 | 0.79001
554.5 | 2816 | 2819.425 | 0.78834
555 | 2810 | 2813.425 | 0.78666
555.5 | 2804 | 2807.425 | 0.78498
556 | 2798 | 2801.425 | 0.7833
556.5 | 2792 | 2795.425 | 0.78163
557 | 2786 | 2789.425 | 0.77995
557.5 | 2780 | 2783.425 | 0.77827
558 | 2774 | 2777.425 | 0.77659
558.5 | 2768 | 2771.425 | 0.77491
559 | 2762 | 2765.425 | 0.77324
559.5 | 2757 | 2760.425 | 0.77184
560 | 2751 | 2754.425 | 0.77016
560.5 | 2744 | 2747.425 | 0.7682
561 | 2738 | 2741.425 | 0.76653
561.5 | 2731 | 2734.425 | 0.76457
562 | 2724 | 2727.425 | 0.76261
562.5 | 2717 | 2720.425 | 0.76065
563 | 2710 | 2713.425 | 0.7587
563.5 | 2704 | 2707.425 | 0.75702
564 | 2697 | 2700.425 | 0.75506
564.5 | 2692 | 2695.425 | 0.75366
565 | 2686 | 2689.425 | 0.75199
565.5 | 2682 | 2685.425 | 0.75087
566 | 2677 | 2680.425 | 0.74947
566.5 | 2673 | 2676.425 | 0.74835
567 | 2669 | 2672.425 | 0.74723
567.5 | 2665 | 2668.425 | 0.74612
568 | 2661 | 2664.425 | 0.745
568.5 | 2657 | 2660.425 | 0.74388
569 | 2653 | 2656.425 | 0.74276
569.5 | 2649 | 2652.425 | 0.74164
570 | 2645 | 2648.425 | 0.74052
570.5 | 2641 | 2644.425 | 0.7394
571 | 2638 | 2641.425 | 0.73857
571.5 | 2635 | 2638.425 | 0.73773
572 | 2632 | 2635.425 | 0.73689
572.5 | 2630 | 2633.425 | 0.73633
573 | 2628 | 2631.425 | 0.73577
573.5 | 2626 | 2629.425 | 0.73521
574 | 2625 | 2628.425 | 0.73493
574.5 | 2624 | 2627.425 | 0.73465
575 | 2623 | 2626.425 | 0.73437
575.5 | 2621 | 2624.425 | 0.73381
576 | 2620 | 2623.425 | 0.73353
576.5 | 2619 | 2622.425 | 0.73325
577 | 2618 | 2621.425 | 0.73297
577.5 | 2617 | 2620.425 | 0.73269
578 | 2616 | 2619.425 | 0.73241
578.5 | 2614 | 2617.425 | 0.73186
579 | 2613 | 2616.425 | 0.73158
579.5 | 2612 | 2615.425 | 0.7313
580 | 2610 | 2613.425 | 0.73074
580.5 | 2608 | 2611.425 | 0.73018
581 | 2607 | 2610.425 | 0.7299
581.5 | 2604 | 2607.425 | 0.72906
582 | 2602 | 2605.425 | 0.7285
582.5 | 2600 | 2603.425 | 0.72794
583 | 2597 | 2600.425 | 0.7271
583.5 | 2595 | 2598.425 | 0.72654
584 | 2592 | 2595.425 | 0.7257
584.5 | 2589 | 2592.425 | 0.72486
585 | 2586 | 2589.425 | 0.72403
585.5 | 2582 | 2585.425 | 0.72291
586 | 2577 | 2580.425 | 0.72151
586.5 | 2572 | 2575.425 | 0.72011
587 | 2566 | 2569.425 | 0.71843
587.5 | 2559 | 2562.425 | 0.71648
588 | 2552 | 2555.425 | 0.71452
588.5 | 2545 | 2548.425 | 0.71256
589 | 2537 | 2540.425 | 0.71033
589.5 | 2530 | 2533.425 | 0.70837
590 | 2523 | 2526.425 | 0.70641
590.5 | 2516 | 2519.425 | 0.70445
591 | 2509 | 2512.425 | 0.7025
591.5 | 2501 | 2504.425 | 0.70026
592 | 2494 | 2497.425 | 0.6983
592.5 | 2486 | 2489.425 | 0.69607
593 | 2478 | 2481.425 | 0.69383
593.5 | 2469 | 2472.425 | 0.69131
594 | 2459 | 2462.425 | 0.68852
594.5 | 2449 | 2452.425 | 0.68572
595 | 2438 | 2441.425 | 0.68264
595.5 | 2427 | 2430.425 | 0.67957
596 | 2415 | 2418.425 | 0.67621
596.5 | 2403 | 2406.425 | 0.67286
597 | 2390 | 2393.425 | 0.66922
597.5 | 2377 | 2380.425 | 0.66559
598 | 2363 | 2366.425 | 0.66167
598.5 | 2349 | 2352.425 | 0.65776
599 | 2334 | 2337.425 | 0.65356
599.5 | 2319 | 2322.425 | 0.64937
600 | 2304 | 2307.425 | 0.64518
600.5 | 2287 | 2290.425 | 0.64042
601 | 2270 | 2273.425 | 0.63567
601.5 | 2253 | 2256.425 | 0.63092
602 | 2235 | 2238.425 | 0.62588
602.5 | 2216 | 2219.425 | 0.62057
603 | 2196 | 2199.425 | 0.61498
603.5 | 2176 | 2179.425 | 0.60939
604 | 2156 | 2159.425 | 0.60379
604.5 | 2135 | 2138.425 | 0.59792
605 | 2114 | 2117.425 | 0.59205
605.5 | 2093 | 2096.425 | 0.58618
606 | 2071 | 2074.425 | 0.58003
606.5 | 2050 | 2053.425 | 0.57416
607 | 2029 | 2032.425 | 0.56828
607.5 | 2008 | 2011.425 | 0.56241
608 | 1987 | 1990.425 | 0.55654
608.5 | 1967 | 1970.425 | 0.55095
609 | 1946 | 1949.425 | 0.54508
609.5 | 1926 | 1929.425 | 0.53948
610 | 1905 | 1908.425 | 0.53361
610.5 | 1884 | 1887.425 | 0.52774
611 | 1864 | 1867.425 | 0.52215
611.5 | 1843 | 1846.425 | 0.51628
612 | 1822 | 1825.425 | 0.5104
612.5 | 1802 | 1805.425 | 0.50481
613 | 1781 | 1784.425 | 0.49894
613.5 | 1762 | 1765.425 | 0.49363
614 | 1742 | 1745.425 | 0.48804
614.5 | 1724 | 1727.425 | 0.483
615 | 1705 | 1708.425 | 0.47769
615.5 | 1687 | 1690.425 | 0.47266
616 | 1669 | 1672.425 | 0.46762
616.5 | 1652 | 1655.425 | 0.46287
617 | 1634 | 1637.425 | 0.45784
617.5 | 1617 | 1620.425 | 0.45309
618 | 1600 | 1603.425 | 0.44833
618.5 | 1583 | 1586.425 | 0.44358
619 | 1567 | 1570.425 | 0.4391
619.5 | 1551 | 1554.425 | 0.43463
620 | 1535 | 1538.425 | 0.43016
620.5 | 1520 | 1523.425 | 0.42596
621 | 1505 | 1508.425 | 0.42177
621.5 | 1491 | 1494.425 | 0.41785
622 | 1477 | 1480.425 | 0.41394
622.5 | 1464 | 1467.425 | 0.4103
623 | 1451 | 1454.425 | 0.40667
623.5 | 1438 | 1441.425 | 0.40304
624 | 1425 | 1428.425 | 0.3994
624.5 | 1412 | 1415.425 | 0.39577
625 | 1399 | 1402.425 | 0.39213
625.5 | 1387 | 1390.425 | 0.38878
626 | 1374 | 1377.425 | 0.38514
626.5 | 1362 | 1365.425 | 0.38178
627 | 1350 | 1353.425 | 0.37843
627.5 | 1338 | 1341.425 | 0.37507
628 | 1326 | 1329.425 | 0.37172
628.5 | 1314 | 1317.425 | 0.36836
629 | 1302 | 1305.425 | 0.36501
629.5 | 1290 | 1293.425 | 0.36165
630 | 1278 | 1281.425 | 0.3583
630.5 | 1267 | 1270.425 | 0.35522
631 | 1255 | 1258.425 | 0.35187
631.5 | 1244 | 1247.425 | 0.34879
632 | 1232 | 1235.425 | 0.34544
632.5 | 1221 | 1224.425 | 0.34236
633 | 1210 | 1213.425 | 0.33928
633.5 | 1199 | 1202.425 | 0.33621
634 | 1188 | 1191.425 | 0.33313
634.5 | 1178 | 1181.425 | 0.33034
635 | 1167 | 1170.425 | 0.32726
635.5 | 1158 | 1161.425 | 0.32474
636 | 1148 | 1151.425 | 0.32195
636.5 | 1138 | 1141.425 | 0.31915
637 | 1129 | 1132.425 | 0.31664
637.5 | 1119 | 1122.425 | 0.31384
638 | 1111 | 1114.425 | 0.3116
638.5 | 1102 | 1105.425 | 0.30909
639 | 1094 | 1097.425 | 0.30685
639.5 | 1086 | 1089.425 | 0.30461
640 | 1078 | 1081.425 | 0.30238
640.5 | 1071 | 1074.425 | 0.30042
641 | 1063 | 1066.425 | 0.29818
641.5 | 1055 | 1058.425 | 0.29594
642 | 1046 | 1049.425 | 0.29343
642.5 | 1038 | 1041.425 | 0.29119
643 | 1029 | 1032.425 | 0.28868
643.5 | 1020 | 1023.425 | 0.28616
644 | 1011 | 1014.425 | 0.28364
644.5 | 1002 | 1005.425 | 0.28113
645 | 992.1 | 995.525 | 0.27836
645.5 | 982.4 | 985.825 | 0.27565
646 | 972.4 | 975.825 | 0.27285
646.5 | 962.3 | 965.725 | 0.27003
647 | 952 | 955.425 | 0.26715
647.5 | 941.3 | 944.725 | 0.26415
648 | 930.1 | 933.525 | 0.26102
648.5 | 918.7 | 922.125 | 0.25783
649 | 906.9 | 910.325 | 0.25453
649.5 | 894.7 | 898.125 | 0.25112
650 | 882.3 | 885.725 | 0.24766
650.5 | 869.5 | 872.925 | 0.24408
651 | 856.5 | 859.925 | 0.24044
651.5 | 843.2 | 846.625 | 0.23672
652 | 829.8 | 833.225 | 0.23298
652.5 | 816.4 | 819.825 | 0.22923
653 | 803 | 806.425 | 0.22548
653.5 | 789.6 | 793.025 | 0.22174
654 | 776.3 | 779.725 | 0.21802
654.5 | 763.1 | 766.525 | 0.21433
655 | 750.1 | 753.525 | 0.21069
655.5 | 737.2 | 740.625 | 0.20709
656 | 724.4 | 727.825 | 0.20351
656.5 | 711.8 | 715.225 | 0.19998
657 | 699.4 | 702.825 | 0.19652
657.5 | 687.2 | 690.625 | 0.1931
658 | 675.2 | 678.625 | 0.18975
658.5 | 663.3 | 666.725 | 0.18642
659 | 651.6 | 655.025 | 0.18315
659.5 | 640.1 | 643.525 | 0.17994
660 | 628.7 | 632.125 | 0.17675
660.5 | 617.5 | 620.925 | 0.17362
661 | 606.5 | 609.925 | 0.17054
661.5 | 595.7 | 599.125 | 0.16752
662 | 585.3 | 588.725 | 0.16461
662.5 | 575.1 | 578.525 | 0.16176
663 | 565.2 | 568.625 | 0.15899
663.5 | 555.5 | 558.925 | 0.15628
664 | 546 | 549.425 | 0.15362
664.5 | 536.7 | 540.125 | 0.15102
665 | 527.6 | 531.025 | 0.14848
665.5 | 518.7 | 522.125 | 0.14599
666 | 509.8 | 513.225 | 0.1435
666.5 | 500.9 | 504.325 | 0.14101
667 | 492.1 | 495.525 | 0.13855
667.5 | 483.3 | 486.725 | 0.13609
668 | 474.5 | 477.925 | 0.13363
668.5 | 465.7 | 469.125 | 0.13117
669 | 456.9 | 460.325 | 0.12871
669.5 | 448.3 | 451.725 | 0.12631
670 | 439.9 | 443.325 | 0.12396
670.5 | 431.6 | 435.025 | 0.12164
671 | 423.7 | 427.125 | 0.11943
671.5 | 415.9 | 419.325 | 0.11725
672 | 408.2 | 411.625 | 0.11509
672.5 | 400.5 | 403.925 | 0.11294
673 | 392.9 | 396.325 | 0.11082
673.5 | 385.3 | 388.725 | 0.10869
674 | 377.7 | 381.125 | 0.10657
674.5 | 370.2 | 373.625 | 0.10447
675 | 362.9 | 366.325 | 0.10243
675.5 | 355.6 | 359.025 | 0.10039
676 | 348.6 | 352.025 | 0.098429
676.5 | 341.9 | 345.325 | 0.096556
677 | 335.4 | 338.825 | 0.094738
677.5 | 329.2 | 332.625 | 0.093005
678 | 323.3 | 326.725 | 0.091355
678.5 | 317.6 | 321.025 | 0.089761
679 | 312.1 | 315.525 | 0.088224
679.5 | 306.8 | 310.225 | 0.086742
680 | 301.7 | 305.125 | 0.085316
680.5 | 296.7 | 300.125 | 0.083918
681 | 291.8 | 295.225 | 0.082548
681.5 | 287 | 290.425 | 0.081205
682 | 282.4 | 285.825 | 0.079919
682.5 | 277.8 | 281.225 | 0.078633
683 | 273.3 | 276.725 | 0.077375
683.5 | 269 | 272.425 | 0.076172
684 | 264.8 | 268.225 | 0.074998
684.5 | 260.6 | 264.025 | 0.073824
685 | 256.4 | 259.825 | 0.072649
685.5 | 252.3 | 255.725 | 0.071503
686 | 248.2 | 251.625 | 0.070357
686.5 | 244.2 | 247.625 | 0.069238
687 | 240.2 | 243.625 | 0.06812
687.5 | 236.3 | 239.725 | 0.067029
688 | 232.5 | 235.925 | 0.065967
688.5 | 228.7 | 232.125 | 0.064904
689 | 224.9 | 228.325 | 0.063842
689.5 | 221.2 | 224.625 | 0.062807
690 | 217.4 | 220.825 | 0.061745
690.5 | 213.6 | 217.025 | 0.060682
691 | 209.8 | 213.225 | 0.05962
691.5 | 206 | 209.425 | 0.058557
692 | 202.4 | 205.825 | 0.05755
692.5 | 198.8 | 202.225 | 0.056544
693 | 195.4 | 198.825 | 0.055593
693.5 | 192 | 195.425 | 0.054643
694 | 188.7 | 192.125 | 0.05372
694.5 | 185.5 | 188.925 | 0.052825
695 | 182.4 | 185.825 | 0.051958
695.5 | 179.3 | 182.725 | 0.051092
696 | 176.2 | 179.625 | 0.050225
696.5 | 173 | 176.425 | 0.04933
697 | 169.9 | 173.325 | 0.048463
697.5 | 166.7 | 170.125 | 0.047568
698 | 163.6 | 167.025 | 0.046702
698.5 | 160.4 | 163.825 | 0.045807
699 | 157.3 | 160.725 | 0.04494
699.5 | 154.3 | 157.725 | 0.044101
700 | 151.3 | 154.725 | 0.043262
700.5 | 148.5 | 151.925 | 0.04248
701 | 145.6 | 149.025 | 0.041669
701.5 | 142.8 | 146.225 | 0.040886
702 | 140 | 143.425 | 0.040103
702.5 | 137.3 | 140.725 | 0.039348
703 | 134.7 | 138.125 | 0.038621
703.5 | 132.1 | 135.525 | 0.037894
704 | 129.5 | 132.925 | 0.037167
704.5 | 127 | 130.425 | 0.036468
705 | 124.4 | 127.825 | 0.035741
705.5 | 122 | 125.425 | 0.03507
706 | 119.6 | 123.025 | 0.034399
706.5 | 117.2 | 120.625 | 0.033728
707 | 114.8 | 118.225 | 0.033057
707.5 | 112.4 | 115.825 | 0.032386
708 | 110.1 | 113.525 | 0.031743
708.5 | 107.9 | 111.325 | 0.031127
709 | 105.5 | 108.925 | 0.030456
709.5 | 103.2 | 106.625 | 0.029813
710 | 100.9 | 104.325 | 0.02917
710.5 | 98.51 | 101.935 | 0.028502
711 | 96.16 | 99.585 | 0.027845
711.5 | 93.78 | 97.205 | 0.027179
712 | 91.37 | 94.795 | 0.026506
712.5 | 88.94 | 92.365 | 0.025826
713 | 86.53 | 89.955 | 0.025152
713.5 | 84.15 | 87.575 | 0.024487
714 | 81.76 | 85.185 | 0.023818
714.5 | 79.36 | 82.785 | 0.023147
715 | 76.97 | 80.395 | 0.022479
715.5 | 74.64 | 78.065 | 0.021828
716 | 72.33 | 75.755 | 0.021182
716.5 | 70 | 73.425 | 0.02053
717 | 67.66 | 71.085 | 0.019876
717.5 | 65.32 | 68.745 | 0.019222
718 | 63.02 | 66.445 | 0.018579
718.5 | 60.76 | 64.185 | 0.017947
719 | 58.55 | 61.975 | 0.017329
719.5 | 56.41 | 59.835 | 0.01673
720 | 54.37 | 57.795 | 0.01616
720.5 | 52.47 | 55.895 | 0.015629
721 | 50.71 | 54.135 | 0.015137
721.5 | 49.03 | 52.455 | 0.014667
722 | 47.36 | 50.785 | 0.0142
722.5 | 45.68 | 49.105 | 0.01373
723 | 44.01 | 47.435 | 0.013263
723.5 | 42.35 | 45.775 | 0.012799
724 | 40.7 | 44.125 | 0.012338
724.5 | 39.09 | 42.515 | 0.011888
725 | 37.51 | 40.935 | 0.011446
725.5 | 36.04 | 39.465 | 0.011035
726 | 34.73 | 38.155 | 0.010668
726.5 | 33.58 | 37.005 | 0.010347
727 | 32.51 | 35.935 | 0.010048
727.5 | 31.53 | 34.955 | 0.0097737
728 | 30.61 | 34.035 | 0.0095165
728.5 | 29.78 | 33.205 | 0.0092844
729 | 29.01 | 32.435 | 0.0090691
729.5 | 28.26 | 31.685 | 0.0088594
730 | 27.44 | 30.865 | 0.0086301
730.5 | 26.59 | 30.015 | 0.0083925
731 | 25.76 | 29.185 | 0.0081604
731.5 | 25.02 | 28.445 | 0.0079535
732 | 24.34 | 27.765 | 0.0077633
732.5 | 23.74 | 27.165 | 0.0075956
733 | 23.24 | 26.665 | 0.0074558
733.5 | 22.83 | 26.255 | 0.0073411
734 | 22.49 | 25.915 | 0.0072461
734.5 | 22.21 | 25.635 | 0.0071678
735 | 21.94 | 25.365 | 0.0070923
735.5 | 21.62 | 25.045 | 0.0070028
736 | 21.29 | 24.715 | 0.0069105
736.5 | 20.97 | 24.395 | 0.0068211
737 | 20.67 | 24.095 | 0.0067372
737.5 | 20.38 | 23.805 | 0.0066561
738 | 20.08 | 23.505 | 0.0065722
738.5 | 19.76 | 23.185 | 0.0064827
739 | 19.45 | 22.875 | 0.0063961
739.5 | 19.18 | 22.605 | 0.0063206
740 | 18.93 | 22.355 | 0.0062507
740.5 | 18.69 | 22.115 | 0.0061835
741 | 18.45 | 21.875 | 0.0061164
741.5 | 18.24 | 21.665 | 0.0060577
742 | 18.02 | 21.445 | 0.0059962
742.5 | 17.84 | 21.265 | 0.0059459
743 | 17.66 | 21.085 | 0.0058956
743.5 | 17.48 | 20.905 | 0.0058452
744 | 17.29 | 20.715 | 0.0057921
744.5 | 17.12 | 20.545 | 0.0057446
745 | 16.95 | 20.375 | 0.005697
745.5 | 16.81 | 20.235 | 0.0056579
746 | 16.67 | 20.095 | 0.0056187
746.5 | 16.53 | 19.955 | 0.0055796
747 | 16.36 | 19.785 | 0.0055321
747.5 | 16.18 | 19.605 | 0.0054817
748 | 16 | 19.425 | 0.0054314
748.5 | 15.81 | 19.235 | 0.0053783
749 | 15.61 | 19.035 | 0.0053224
749.5 | 15.39 | 18.815 | 0.0052608
750 | 15.15 | 18.575 | 0.0051937
750.5 | 14.91 | 18.335 | 0.0051266
751 | 14.71 | 18.135 | 0.0050707
751.5 | 14.5 | 17.925 | 0.005012
752 | 14.28 | 17.705 | 0.0049505
752.5 | 14.02 | 17.445 | 0.0048778
753 | 13.74 | 17.165 | 0.0047995
753.5 | 13.46 | 16.885 | 0.0047212
754 | 13.19 | 16.615 | 0.0046457
754.5 | 12.94 | 16.365 | 0.0045758
755 | 12.72 | 16.145 | 0.0045143
755.5 | 12.52 | 15.945 | 0.0044584
756 | 12.38 | 15.805 | 0.0044192
756.5 | 12.29 | 15.715 | 0.0043941
757 | 12.21 | 15.635 | 0.0043717
757.5 | 12.15 | 15.575 | 0.0043549
758 | 12.08 | 15.505 | 0.0043353
758.5 | 12.04 | 15.465 | 0.0043242
759 | 12.03 | 15.455 | 0.0043214
759.5 | 12.02 | 15.445 | 0.0043186
760 | 11.99 | 15.415 | 0.0043102
760.5 | 11.94 | 15.365 | 0.0042962
761 | 11.85 | 15.275 | 0.004271
761.5 | 11.76 | 15.185 | 0.0042459
762 | 11.7 | 15.125 | 0.0042291
762.5 | 11.66 | 15.085 | 0.0042179
763 | 11.62 | 15.045 | 0.0042067
763.5 | 11.58 | 15.005 | 0.0041955
764 | 11.5 | 14.925 | 0.0041732
764.5 | 11.38 | 14.805 | 0.0041396
765 | 11.2 | 14.625 | 0.0040893
765.5 | 10.96 | 14.385 | 0.0040222
766 | 10.67 | 14.095 | 0.0039411
766.5 | 10.38 | 13.805 | 0.00386
767 | 10.13 | 13.555 | 0.0037901
767.5 | 9.89 | 13.315 | 0.003723
768 | 9.64 | 13.065 | 0.0036531
768.5 | 9.38 | 12.805 | 0.0035804
769 | 9.123 | 12.548 | 0.0035085
769.5 | 8.875 | 12.3 | 0.0034392
770 | 8.681 | 12.106 | 0.0033849
770.5 | 8.522 | 11.947 | 0.0033405
771 | 8.367 | 11.792 | 0.0032971
771.5 | 8.203 | 11.628 | 0.0032513
772 | 8.011 | 11.436 | 0.0031976
772.5 | 7.758 | 11.183 | 0.0031269
773 | 7.473 | 10.898 | 0.0030472
773.5 | 7.163 | 10.588 | 0.0029605
774 | 6.841 | 10.266 | 0.0028705
774.5 | 6.545 | 9.97 | 0.0027877
775 | 6.294 | 9.719 | 0.0027175
775.5 | 6.06 | 9.485 | 0.0026521
776 | 5.838 | 9.263 | 0.00259
776.5 | 5.629 | 9.054 | 0.0025316
777 | 5.44 | 8.865 | 0.0024787
777.5 | 5.225 | 8.65 | 0.0024186
778 | 4.996 | 8.421 | 0.0023546
778.5 | 4.802 | 8.227 | 0.0023003
779 | 4.645 | 8.07 | 0.0022564
779.5 | 4.51 | 7.935 | 0.0022187
780 | 4.39 | 7.815 | 0.0021851
780.5 | 4.267 | 7.692 | 0.0021508
781 | 4.16 | 7.585 | 0.0021208
781.5 | 4.112 | 7.537 | 0.0021074
782 | 4.102 | 7.527 | 0.0021046
782.5 | 4.094 | 7.519 | 0.0021024
783 | 4.091 | 7.516 | 0.0021015
783.5 | 4.101 | 7.526 | 0.0021043
784 | 4.136 | 7.561 | 0.0021141
784.5 | 4.149 | 7.574 | 0.0021178
785 | 4.118 | 7.543 | 0.0021091
785.5 | 4.055 | 7.48 | 0.0020915
786 | 4.01 | 7.435 | 0.0020789
786.5 | 4.012 | 7.437 | 0.0020795
787 | 4.05 | 7.475 | 0.0020901
787.5 | 4.082 | 7.507 | 0.002099
788 | 4.091 | 7.516 | 0.0021015
788.5 | 4.055 | 7.48 | 0.0020915
789 | 3.992 | 7.417 | 0.0020739
789.5 | 3.9 | 7.325 | 0.0020481
790 | 3.762 | 7.187 | 0.0020095
790.5 | 3.576 | 7.001 | 0.0019575
791 | 3.376 | 6.801 | 0.0019016
791.5 | 3.185 | 6.61 | 0.0018482
792 | 3.007 | 6.432 | 0.0017984
792.5 | 2.824 | 6.249 | 0.0017473
793 | 2.656 | 6.081 | 0.0017003
793.5 | 2.518 | 5.943 | 0.0016617
794 | 2.432 | 5.857 | 0.0016377
794.5 | 2.39 | 5.815 | 0.0016259
795 | 2.37 | 5.795 | 0.0016203
795.5 | 2.328 | 5.753 | 0.0016086
796 | 2.255 | 5.68 | 0.0015882
796.5 | 2.157 | 5.582 | 0.0015608
797 | 2.064 | 5.489 | 0.0015348
797.5 | 1.979 | 5.404 | 0.001511
798 | 1.906 | 5.331 | 0.0014906
798.5 | 1.836 | 5.261 | 0.001471
799 | 1.78 | 5.205 | 0.0014554
799.5 | 1.743 | 5.168 | 0.001445
800 | 1.746 | 5.171 | 0.0014459
800.5 | 1.782 | 5.207 | 0.0014559
801 | 1.839 | 5.264 | 0.0014719
801.5 | 1.89 | 5.315 | 0.0014861
802 | 1.943 | 5.368 | 0.0015009
802.5 | 1.995 | 5.42 | 0.0015155
803 | 2.038 | 5.463 | 0.0015275
803.5 | 2.066 | 5.491 | 0.0015353
804 | 2.075 | 5.5 | 0.0015378
804.5 | 2.054 | 5.479 | 0.001532
805 | 2.007 | 5.432 | 0.0015188
805.5 | 1.949 | 5.374 | 0.0015026
806 | 1.89 | 5.315 | 0.0014861
806.5 | 1.836 | 5.261 | 0.001471
807 | 1.839 | 5.264 | 0.0014719
807.5 | 1.91 | 5.335 | 0.0014917
808 | 2.035 | 5.46 | 0.0015267
808.5 | 2.193 | 5.618 | 0.0015708
809 | 2.337 | 5.762 | 0.0016111
809.5 | 2.429 | 5.854 | 0.0016368
810 | 2.465 | 5.89 | 0.0016469
810.5 | 2.457 | 5.882 | 0.0016447
811 | 2.422 | 5.847 | 0.0016349
811.5 | 2.376 | 5.801 | 0.001622
812 | 2.33 | 5.755 | 0.0016091
812.5 | 2.295 | 5.72 | 0.0015994
813 | 2.286 | 5.711 | 0.0015968
813.5 | 2.317 | 5.742 | 0.0016055
814 | 2.38 | 5.805 | 0.0016231
814.5 | 2.435 | 5.86 | 0.0016385
815 | 2.448 | 5.873 | 0.0016421
815.5 | 2.381 | 5.806 | 0.0016234
816 | 2.226 | 5.651 | 0.0015801
816.5 | 2.001 | 5.426 | 0.0015172
817 | 1.734 | 5.159 | 0.0014425
817.5 | 1.481 | 4.906 | 0.0013718
818 | 1.28 | 4.705 | 0.0013156
818.5 | 1.171 | 4.596 | 0.0012851
819 | 1.134 | 4.559 | 0.0012747
819.5 | 1.088 | 4.513 | 0.0012619
820 | 0.9879 | 4.4129 | 0.0012339
820.5 | 0.8154 | 4.2404 | 0.0011857
821 | 0.5933 | 4.0183 | 0.0011236
821.5 | 0.3433 | 3.7683 | 0.0010536
822 | 0.07534 | 3.5003 | 0.00097873
822.5 | -0.1836 | 3.2414 | 0.00090632
823 | -0.3785 | 3.0465 | 0.00085183
823.5 | -0.4997 | 2.9253 | 0.00081794
824 | -0.5661 | 2.8589 | 0.00079937
824.5 | -0.6024 | 2.8226 | 0.00078922
825 | -0.583 | 2.842 | 0.00079465
825.5 | -0.5339 | 2.8911 | 0.00080838
826 | -0.5006 | 2.9244 | 0.00081769
826.5 | -0.4865 | 2.9385 | 0.00082163
827 | -0.493 | 2.932 | 0.00081981
827.5 | -0.4844 | 2.9406 | 0.00082222
828 | -0.4265 | 2.9985 | 0.00083841
828.5 | -0.3096 | 3.1154 | 0.00087109
829 | -0.1307 | 3.2943 | 0.00092112
829.5 | 0.09147 | 3.5165 | 0.00098324
830 | 0.3702 | 3.7952 | 0.0010612
830.5 | 0.6327 | 4.0577 | 0.0011346
831 | 0.8176 | 4.2426 | 0.0011863
831.5 | 0.9501 | 4.3751 | 0.0012233
832 | 1.04 | 4.465 | 0.0012485
832.5 | 1.127 | 4.552 | 0.0012728
833 | 1.203 | 4.628 | 0.001294
833.5 | 1.264 | 4.689 | 0.0013111
834 | 1.296 | 4.721 | 0.00132
834.5 | 1.318 | 4.743 | 0.0013262
835 | 1.335 | 4.76 | 0.0013309
835.5 | 1.321 | 4.746 | 0.001327
836 | 1.26 | 4.685 | 0.00131
836.5 | 1.207 | 4.632 | 0.0012951
837 | 1.146 | 4.571 | 0.0012781
837.5 | 1.113 | 4.538 | 0.0012689
838 | 1.074 | 4.499 | 0.001258
838.5 | 1.037 | 4.462 | 0.0012476
839 | 1.013 | 4.438 | 0.0012409
839.5 | 1.002 | 4.427 | 0.0012378
840 | 0.9837 | 4.4087 | 0.0012327
840.5 | 0.9432 | 4.3682 | 0.0012214
841 | 0.9035 | 4.3285 | 0.0012103
841.5 | 0.8772 | 4.3022 | 0.0012029
842 | 0.8659 | 4.2909 | 0.0011998
842.5 | 0.8818 | 4.3068 | 0.0012042
843 | 0.9014 | 4.3264 | 0.0012097
843.5 | 0.9467 | 4.3717 | 0.0012224
844 | 1.012 | 4.437 | 0.0012406
844.5 | 1.086 | 4.511 | 0.0012613
845 | 1.131 | 4.556 | 0.0012739
845.5 | 1.135 | 4.56 | 0.001275
846 | 1.114 | 4.539 | 0.0012691
846.5 | 1.069 | 4.494 | 0.0012566
847 | 1.007 | 4.432 | 0.0012392
847.5 | 0.9384 | 4.3634 | 0.00122
848 | 0.9068 | 4.3318 | 0.0012112
848.5 | 0.9723 | 4.3973 | 0.0012295
849 | 1.092 | 4.517 | 0.001263
849.5 | 1.206 | 4.631 | 0.0012949
850 | 1.284 | 4.709 | 0.0013167
850.5 | 1.344 | 4.769 | 0.0013335
851 | 1.425 | 4.85 | 0.0013561
851.5 | 1.502 | 4.927 | 0.0013776
852 | 1.569 | 4.994 | 0.0013964
852.5 | 1.642 | 5.067 | 0.0014168
853 | 1.788 | 5.213 | 0.0014576
853.5 | 1.994 | 5.419 | 0.0015152
854 | 2.171 | 5.596 | 0.0015647
854.5 | 2.331 | 5.756 | 0.0016094
855 | 2.514 | 5.939 | 0.0016606
855.5 | 2.783 | 6.208 | 0.0017358
856 | 3.084 | 6.509 | 0.00182
856.5 | 3.359 | 6.784 | 0.0018969
857 | 3.612 | 7.037 | 0.0019676
857.5 | 3.874 | 7.299 | 0.0020409
858 | 4.162 | 7.587 | 0.0021214
858.5 | 4.409 | 7.834 | 0.0021905
859 | 4.565 | 7.99 | 0.0022341
859.5 | 4.647 | 8.072 | 0.002257
860 | 4.723 | 8.148 | 0.0022783
860.5 | 4.757 | 8.182 | 0.0022878
861 | 4.718 | 8.143 | 0.0022769
861.5 | 4.652 | 8.077 | 0.0022584
862 | 4.667 | 8.092 | 0.0022626
862.5 | 4.761 | 8.186 | 0.0022889
863 | 4.897 | 8.322 | 0.0023269
863.5 | 5.004 | 8.429 | 0.0023568
864 | 5.098 | 8.523 | 0.0023831
864.5 | 5.231 | 8.656 | 0.0024203
865 | 5.377 | 8.802 | 0.0024611
865.5 | 5.493 | 8.918 | 0.0024936
866 | 5.6 | 9.025 | 0.0025235
866.5 | 5.761 | 9.186 | 0.0025685
867 | 5.963 | 9.388 | 0.002625
867.5 | 6.196 | 9.621 | 0.0026901
868 | 6.411 | 9.836 | 0.0027502
868.5 | 6.655 | 10.08 | 0.0028185
869 | 6.945 | 10.37 | 0.0028995
869.5 | 7.219 | 10.644 | 0.0029762
870 | 7.444 | 10.869 | 0.0030391
870.5 | 7.611 | 11.036 | 0.0030858
871 | 7.768 | 11.193 | 0.0031297
871.5 | 7.945 | 11.37 | 0.0031792
872 | 8.09 | 11.515 | 0.0032197
872.5 | 8.186 | 11.611 | 0.0032465
873 | 8.272 | 11.697 | 0.0032706
873.5 | 8.403 | 11.828 | 0.0033072
874 | 8.592 | 12.017 | 0.0033601
874.5 | 8.841 | 12.266 | 0.0034297
875 | 9.141 | 12.566 | 0.0035136
875.5 | 9.481 | 12.906 | 0.0036086
876 | 9.884 | 13.309 | 0.0037213
876.5 | 10.27 | 13.695 | 0.0038292
877 | 10.61 | 14.035 | 0.0039243
877.5 | 10.93 | 14.355 | 0.0040138
878 | 11.26 | 14.685 | 0.0041061
878.5 | 11.6 | 15.025 | 0.0042011
879 | 11.9 | 15.325 | 0.004285
879.5 | 12.16 | 15.585 | 0.0043577
880 | 12.37 | 15.795 | 0.0044164
880.5 | 12.58 | 16.005 | 0.0044751
881 | 13.25 | 16.675 | 0.0046625
881.5 | 12.89 | 16.315 | 0.0045618
882 | 12.31 | 15.735 | 0.0043996
882.5 | 11.97 | 15.395 | 0.0043046
883 | 11.9 | 15.325 | 0.004285
883.5 | 11.59 | 15.015 | 0.0041983
884 | 11.71 | 15.135 | 0.0042319
884.5 | 18.52 | 21.945 | 0.006136
885 | 19.55 | 22.975 | 0.006424
885.5 | 11.77 | 15.195 | 0.0042487
886 | 14.26 | 17.685 | 0.0049449
886.5 | 13.02 | 16.445 | 0.0045982