## Spectrometer Raw Data
Wavelength | Spectrometer Data | Background Subtracted | Normalized Power | The spectral output of any given LED can vary due to LED die manufacturing proces, LED operating temperature and current. Therefore these spectral data are provided as a guidline. Please refere to specific test report of your product.
[nm] | [a.u.] | [a.u.] | [a.u.]
380 | 12.5694 | 7.7531 | 0.00014314
380.5 | 13.1066 | 8.2903 | 0.00015306
381 | 16.4686 | 11.6523 | 0.00021513
381.5 | 19.7673 | 14.9511 | 0.00027604
382 | 17.9138 | 13.0975 | 0.00024182
382.5 | 12.9149 | 8.0986 | 0.00014952
383 | 4.8163 | 0 | 0
383.5 | 3.3196 | 0 | 0
384 | 2.1625 | 0 | 0
384.5 | 4.3761 | 0 | 0
385 | 8.5432 | 3.7269 | 6.8808e-05
385.5 | 10.593 | 5.7767 | 0.00010665
386 | 11.2986 | 6.4823 | 0.00011968
386.5 | 14.9342 | 10.1179 | 0.0001868
387 | 19.9598 | 15.1435 | 0.00027959
387.5 | 18.1992 | 13.3829 | 0.00024709
388 | 18.9696 | 14.1533 | 0.00026131
388.5 | 24.6977 | 19.8814 | 0.00036707
389 | 24.0889 | 19.2726 | 0.00035583
389.5 | 36.3431 | 31.5268 | 0.00058207
390 | 32.317 | 27.5007 | 0.00050774
390.5 | 27.6031 | 22.7868 | 0.00042071
391 | 27.0385 | 22.2222 | 0.00041028
391.5 | 28.5281 | 23.7118 | 0.00043779
392 | 29.3586 | 24.5423 | 0.00045312
392.5 | 34.8574 | 30.0411 | 0.00055464
393 | 39.6307 | 34.8144 | 0.00064277
393.5 | 42.2895 | 37.4732 | 0.00069186
394 | 45.1101 | 40.2938 | 0.00074394
394.5 | 43.6486 | 38.8323 | 0.00071695
395 | 39.5271 | 34.7108 | 0.00064086
395.5 | 41.9346 | 37.1183 | 0.00068531
396 | 48.2069 | 43.3906 | 0.00080111
396.5 | 60.6671 | 55.8508 | 0.0010312
397 | 77.6606 | 72.8443 | 0.0013449
397.5 | 86.7456 | 81.9293 | 0.0015126
398 | 92.9399 | 88.1236 | 0.001627
398.5 | 104.7913 | 99.975 | 0.0018458
399 | 114.9106 | 110.0943 | 0.0020326
399.5 | 133.9873 | 129.1711 | 0.0023849
400 | 148.743 | 143.9267 | 0.0026573
400.5 | 153.2047 | 148.3884 | 0.0027397
401 | 165.4192 | 160.6029 | 0.0029652
401.5 | 189.7888 | 184.9725 | 0.0034151
402 | 215.6395 | 210.8232 | 0.0038924
402.5 | 256.5169 | 251.7006 | 0.0046471
403 | 277.2731 | 272.4568 | 0.0050303
403.5 | 307.1021 | 302.2858 | 0.005581
404 | 339.3344 | 334.5181 | 0.0061761
404.5 | 379.535 | 374.7187 | 0.0069183
405 | 431.8617 | 427.0454 | 0.0078844
405.5 | 487.8437 | 483.0274 | 0.008918
406 | 561.738 | 556.9217 | 0.010282
406.5 | 617.0707 | 612.2544 | 0.011304
407 | 675.3158 | 670.4995 | 0.012379
407.5 | 735.6511 | 730.8348 | 0.013493
408 | 804.9834 | 800.1671 | 0.014773
408.5 | 891.8684 | 887.0522 | 0.016377
409 | 981.335 | 976.5187 | 0.018029
409.5 | 1092.4706 | 1087.6543 | 0.020081
410 | 1210.5555 | 1205.7392 | 0.022261
410.5 | 1352.9113 | 1348.095 | 0.02489
411 | 1498.3276 | 1493.5113 | 0.027574
411.5 | 1641.4864 | 1636.6701 | 0.030217
412 | 1809.6347 | 1804.8184 | 0.033322
412.5 | 1979.0122 | 1974.1959 | 0.036449
413 | 2190.2006 | 2185.3843 | 0.040348
413.5 | 2420.061 | 2415.2447 | 0.044592
414 | 2658.169 | 2653.3527 | 0.048988
414.5 | 2912.4012 | 2907.5849 | 0.053682
415 | 3194.8108 | 3189.9945 | 0.058896
415.5 | 3503.5576 | 3498.7413 | 0.064596
416 | 3870.6848 | 3865.8685 | 0.071375
416.5 | 4212.8953 | 4208.079 | 0.077693
417 | 4597.7271 | 4592.9109 | 0.084798
417.5 | 5009.6683 | 5004.852 | 0.092403
418 | 5457.3981 | 5452.5818 | 0.10067
418.5 | 5972.3168 | 5967.5005 | 0.11018
419 | 6502.3684 | 6497.5521 | 0.11996
419.5 | 7088.3246 | 7083.5083 | 0.13078
420 | 7717.234 | 7712.4177 | 0.14239
420.5 | 8352.3061 | 8347.4898 | 0.15412
421 | 9011.7645 | 9006.9483 | 0.16629
421.5 | 9717.4575 | 9712.6412 | 0.17932
422 | 10464.0639 | 10459.2476 | 0.19311
422.5 | 11314.2337 | 11309.4174 | 0.2088
423 | 12202.942 | 12198.1257 | 0.22521
423.5 | 13159.3147 | 13154.4984 | 0.24287
424 | 14137.7137 | 14132.8974 | 0.26093
424.5 | 15164.0453 | 15159.229 | 0.27988
425 | 16278.5088 | 16273.6925 | 0.30046
425.5 | 17420.0555 | 17415.2392 | 0.32153
426 | 18608.2271 | 18603.4108 | 0.34347
426.5 | 19721.2285 | 19716.4122 | 0.36402
427 | 20920.7302 | 20915.9139 | 0.38617
427.5 | 22210.4595 | 22205.6432 | 0.40998
428 | 23596.0865 | 23591.2702 | 0.43556
428.5 | 25097.133 | 25092.3167 | 0.46327
429 | 26593.9209 | 26589.1046 | 0.49091
429.5 | 28102.0408 | 28097.2245 | 0.51875
430 | 29690.2649 | 29685.4486 | 0.54808
430.5 | 31221.7469 | 31216.9306 | 0.57635
431 | 32741.0459 | 32736.2296 | 0.6044
431.5 | 34310.2511 | 34305.4348 | 0.63337
432 | 35886.363 | 35881.5467 | 0.66247
432.5 | 37477.9834 | 37473.1671 | 0.69186
433 | 39084.9163 | 39080.1 | 0.72153
433.5 | 40674.6185 | 40669.8022 | 0.75088
434 | 42224.5225 | 42219.7062 | 0.77949
434.5 | 43758.4592 | 43753.6429 | 0.80781
435 | 45287.4156 | 45282.5993 | 0.83604
435.5 | 46732.7211 | 46727.9048 | 0.86273
436 | 48134.9635 | 48130.1472 | 0.88862
436.5 | 49331.9774 | 49327.1611 | 0.91072
437 | 50396.385 | 50391.5688 | 0.93037
437.5 | 51359.9544 | 51355.1381 | 0.94816
438 | 52238.7518 | 52233.9355 | 0.96438
438.5 | 53019.8283 | 53015.012 | 0.9788
439 | 53612.3707 | 53607.5544 | 0.98974
439.5 | 54036.0513 | 54031.235 | 0.99757
440 | 54167.9024 | 54163.0861 | 1
440.5 | 54126.472 | 54121.6557 | 0.99924
441 | 53888.2625 | 53883.4462 | 0.99484
441.5 | 53474.0966 | 53469.2803 | 0.98719
442 | 52982.9387 | 52978.1224 | 0.97812
442.5 | 52125.8125 | 52120.9962 | 0.9623
443 | 51119.9725 | 51115.1562 | 0.94373
443.5 | 49894.4271 | 49889.6108 | 0.9211
444 | 48584.3154 | 48579.4991 | 0.89691
444.5 | 47189.9756 | 47185.1593 | 0.87117
445 | 45656.1099 | 45651.2936 | 0.84285
445.5 | 43996.8719 | 43992.0556 | 0.81221
446 | 42188.975 | 42184.1587 | 0.77884
446.5 | 40385.1821 | 40380.3658 | 0.74553
447 | 38644.9035 | 38640.0872 | 0.7134
447.5 | 36951.3971 | 36946.5808 | 0.68214
448 | 35281.359 | 35276.5427 | 0.6513
448.5 | 33616.1543 | 33611.338 | 0.62056
449 | 31934.4805 | 31929.6642 | 0.58951
449.5 | 30404.3002 | 30399.4839 | 0.56126
450 | 28974.9078 | 28970.0915 | 0.53487
450.5 | 27652.6399 | 27647.8236 | 0.51046
451 | 26399.5523 | 26394.736 | 0.48732
451.5 | 25207.4289 | 25202.6126 | 0.46531
452 | 24104.3247 | 24099.5085 | 0.44494
452.5 | 23085.4558 | 23080.6395 | 0.42613
453 | 22156.1112 | 22151.2949 | 0.40897
453.5 | 21353.6704 | 21348.8541 | 0.39416
454 | 20606.5913 | 20601.775 | 0.38037
454.5 | 19910.5195 | 19905.7032 | 0.36751
455 | 19255.4731 | 19250.6568 | 0.35542
455.5 | 18599.3188 | 18594.5025 | 0.34331
456 | 18004.3977 | 17999.5814 | 0.33232
456.5 | 17356.8672 | 17352.0509 | 0.32037
457 | 16736.3582 | 16731.5419 | 0.30891
457.5 | 16125.17 | 16120.3537 | 0.29763
458 | 15551.9866 | 15547.1703 | 0.28704
458.5 | 15021.0877 | 15016.2714 | 0.27724
459 | 14454.4859 | 14449.6696 | 0.26678
459.5 | 13908.6373 | 13903.821 | 0.2567
460 | 13355.8854 | 13351.0692 | 0.2465
460.5 | 12823.5359 | 12818.7196 | 0.23667
461 | 12306.7635 | 12301.9472 | 0.22713
461.5 | 11805.7228 | 11800.9065 | 0.21788
462 | 11322.4285 | 11317.6122 | 0.20895
462.5 | 10847.9868 | 10843.1705 | 0.20019
463 | 10416.2208 | 10411.4045 | 0.19222
463.5 | 9991.29 | 9986.4737 | 0.18438
464 | 9596.0043 | 9591.188 | 0.17708
464.5 | 9226.5958 | 9221.7795 | 0.17026
465 | 8878.207 | 8873.3908 | 0.16383
465.5 | 8552.3041 | 8547.4878 | 0.15781
466 | 8253.337 | 8248.5207 | 0.15229
466.5 | 7940.2487 | 7935.4324 | 0.14651
467 | 7674.6806 | 7669.8643 | 0.14161
467.5 | 7406.8506 | 7402.0344 | 0.13666
468 | 7149.1438 | 7144.3275 | 0.1319
468.5 | 6915.9863 | 6911.17 | 0.1276
469 | 6702.7785 | 6697.9622 | 0.12366
469.5 | 6515.129 | 6510.3127 | 0.1202
470 | 6324.6235 | 6319.8072 | 0.11668
470.5 | 6139.054 | 6134.2377 | 0.11325
471 | 5977.3833 | 5972.567 | 0.11027
471.5 | 5828.5643 | 5823.748 | 0.10752
472 | 5674.4241 | 5669.6079 | 0.10468
472.5 | 5511.9999 | 5507.1836 | 0.10168
473 | 5375.8294 | 5371.0131 | 0.099164
473.5 | 5262.185 | 5257.3687 | 0.097066
474 | 5178.1197 | 5173.3034 | 0.095513
474.5 | 5077.4868 | 5072.6705 | 0.093655
475 | 4963.4676 | 4958.6513 | 0.09155
475.5 | 4851.4428 | 4846.6265 | 0.089482
476 | 4738.1906 | 4733.3743 | 0.087391
476.5 | 4673.6999 | 4668.8836 | 0.0862
477 | 4610.8247 | 4606.0084 | 0.08504
477.5 | 4561.4416 | 4556.6253 | 0.084128
478 | 4505.0208 | 4500.2045 | 0.083086
478.5 | 4451.3468 | 4446.5305 | 0.082095
479 | 4418.3031 | 4413.4868 | 0.081485
479.5 | 4399.3298 | 4394.5136 | 0.081135
480 | 4383.1231 | 4378.3068 | 0.080836
480.5 | 4379.5198 | 4374.7035 | 0.080769
481 | 4361.5094 | 4356.6931 | 0.080437
481.5 | 4355.9443 | 4351.128 | 0.080334
482 | 4365.1355 | 4360.3192 | 0.080504
482.5 | 4378.0532 | 4373.2369 | 0.080742
483 | 4405.6314 | 4400.8151 | 0.081251
483.5 | 4454.6995 | 4449.8832 | 0.082157
484 | 4511.3282 | 4506.5119 | 0.083203
484.5 | 4572.0722 | 4567.2559 | 0.084324
485 | 4624.9001 | 4620.0838 | 0.085299
485.5 | 4673.6615 | 4668.8452 | 0.0862
486 | 4732.6558 | 4727.8395 | 0.087289
486.5 | 4806.3841 | 4801.5678 | 0.08865
487 | 4891.9812 | 4887.1649 | 0.090231
487.5 | 4972.8652 | 4968.0489 | 0.091724
488 | 5065.4167 | 5060.6005 | 0.093433
488.5 | 5164.1622 | 5159.3459 | 0.095256
489 | 5252.8207 | 5248.0044 | 0.096893
489.5 | 5323.9631 | 5319.1468 | 0.098206
490 | 5405.1179 | 5400.3016 | 0.099704
490.5 | 5501.3585 | 5496.5422 | 0.10148
491 | 5637.4564 | 5632.6401 | 0.10399
491.5 | 5775.2335 | 5770.4172 | 0.10654
492 | 5888.5858 | 5883.7695 | 0.10863
492.5 | 5993.0545 | 5988.2382 | 0.11056
493 | 6119.4869 | 6114.6706 | 0.11289
493.5 | 6234.3212 | 6229.5049 | 0.11501
494 | 6393.7876 | 6388.9713 | 0.11796
494.5 | 6510.2847 | 6505.4684 | 0.12011
495 | 6639.0578 | 6634.2416 | 0.12249
495.5 | 6790.1948 | 6785.3785 | 0.12528
496 | 6951.4108 | 6946.5945 | 0.12825
496.5 | 7106.3024 | 7101.4862 | 0.13111
497 | 7247.6864 | 7242.8701 | 0.13372
497.5 | 7377.7096 | 7372.8933 | 0.13612
498 | 7526.5004 | 7521.6841 | 0.13887
498.5 | 7690.2678 | 7685.4515 | 0.14189
499 | 7849.5646 | 7844.7483 | 0.14484
499.5 | 7996.7307 | 7991.9144 | 0.14755
500 | 8140.0699 | 8135.2536 | 0.1502
500.5 | 8276.5675 | 8271.7512 | 0.15272
501 | 8398.9342 | 8394.1179 | 0.15498
501.5 | 8557.3268 | 8552.5105 | 0.1579
502 | 8732.7716 | 8727.9553 | 0.16114
502.5 | 8902.4057 | 8897.5894 | 0.16427
503 | 9066.4951 | 9061.6788 | 0.1673
503.5 | 9235.1755 | 9230.3592 | 0.17042
504 | 9350.8155 | 9345.9992 | 0.17255
504.5 | 9540.608 | 9535.7917 | 0.17606
505 | 9693.5631 | 9688.7468 | 0.17888
505.5 | 9889.4469 | 9884.6306 | 0.1825
506 | 10077.818 | 10073.0017 | 0.18598
506.5 | 10230.0013 | 10225.185 | 0.18879
507 | 10381.9111 | 10377.0949 | 0.19159
507.5 | 10467.5202 | 10462.7039 | 0.19317
508 | 10627.3165 | 10622.5002 | 0.19612
508.5 | 10780.2325 | 10775.4162 | 0.19894
509 | 10937.6712 | 10932.855 | 0.20185
509.5 | 11084.741 | 11079.9247 | 0.20457
510 | 11216.9862 | 11212.1699 | 0.20701
510.5 | 11352.8612 | 11348.0449 | 0.20952
511 | 11497.2739 | 11492.4576 | 0.21218
511.5 | 11644.6464 | 11639.8301 | 0.2149
512 | 11784.6244 | 11779.8081 | 0.21749
512.5 | 11937.5064 | 11932.6901 | 0.22031
513 | 12120.3193 | 12115.503 | 0.22369
513.5 | 12311.9657 | 12307.1494 | 0.22722
514 | 12469.3051 | 12464.4889 | 0.23013
514.5 | 12627.405 | 12622.5887 | 0.23305
515 | 12720.8746 | 12716.0583 | 0.23477
515.5 | 12878.1884 | 12873.3721 | 0.23768
516 | 13022.8871 | 13018.0708 | 0.24035
516.5 | 13181.2537 | 13176.4374 | 0.24327
517 | 13355.4244 | 13350.6081 | 0.24649
517.5 | 13502.1041 | 13497.2878 | 0.2492
518 | 13699.7704 | 13694.9541 | 0.25285
518.5 | 13894.9832 | 13890.1669 | 0.25645
519 | 14107.98 | 14103.1637 | 0.26038
519.5 | 14308.0163 | 14303.2 | 0.26408
520 | 14476.5458 | 14471.7295 | 0.26719
520.5 | 14639.6101 | 14634.7938 | 0.2702
521 | 14839.3551 | 14834.5388 | 0.27389
521.5 | 15023.8028 | 15018.9865 | 0.27729
522 | 15260.8552 | 15256.039 | 0.28167
522.5 | 15416.5052 | 15411.689 | 0.28454
523 | 15560.4545 | 15555.6382 | 0.2872
523.5 | 15684.2002 | 15679.3839 | 0.28948
524 | 15801.8202 | 15797.0039 | 0.29166
524.5 | 15955.8903 | 15951.074 | 0.2945
525 | 16106.7606 | 16101.9443 | 0.29729
525.5 | 16249.6278 | 16244.8115 | 0.29992
526 | 16369.9273 | 16365.111 | 0.30215
526.5 | 16461.8376 | 16457.0213 | 0.30384
527 | 16547.8763 | 16543.06 | 0.30543
527.5 | 16641.2791 | 16636.4628 | 0.30716
528 | 16748.9116 | 16744.0953 | 0.30914
528.5 | 16910.3897 | 16905.5734 | 0.31212
529 | 17065.9337 | 17061.1175 | 0.315
529.5 | 17183.6914 | 17178.8751 | 0.31717
530 | 17275.8035 | 17270.9872 | 0.31887
530.5 | 17359.6899 | 17354.8736 | 0.32042
531 | 17441.835 | 17437.0187 | 0.32194
531.5 | 17523.6217 | 17518.8054 | 0.32345
532 | 17622.2311 | 17617.4148 | 0.32527
532.5 | 17750.7724 | 17745.9561 | 0.32764
533 | 17870.8014 | 17865.9851 | 0.32986
533.5 | 18005.3406 | 18000.5243 | 0.33234
534 | 18128.5235 | 18123.7072 | 0.33461
534.5 | 18236.141 | 18231.3247 | 0.3366
535 | 18332.5604 | 18327.7441 | 0.33838
535.5 | 18381.8084 | 18376.9921 | 0.33929
536 | 18387.3656 | 18382.5493 | 0.33939
536.5 | 18436.9695 | 18432.1532 | 0.34031
537 | 18495.6285 | 18490.8122 | 0.34139
537.5 | 18584.5572 | 18579.741 | 0.34303
538 | 18688.1155 | 18683.2992 | 0.34495
538.5 | 18766.2086 | 18761.3923 | 0.34639
539 | 18805.5523 | 18800.736 | 0.34711
539.5 | 18859.0084 | 18854.1921 | 0.3481
540 | 18906.9893 | 18902.173 | 0.34899
540.5 | 18944.8085 | 18939.9922 | 0.34968
541 | 18947.5604 | 18942.7441 | 0.34974
541.5 | 18958.9059 | 18954.0897 | 0.34994
542 | 19010.1211 | 19005.3048 | 0.35089
542.5 | 19048.1796 | 19043.3633 | 0.35159
543 | 19127.484 | 19122.6677 | 0.35306
543.5 | 19066.1288 | 19061.3125 | 0.35192
544 | 19033.5679 | 19028.7516 | 0.35132
544.5 | 18991.84 | 18987.0237 | 0.35055
545 | 18957.3776 | 18952.5613 | 0.34992
545.5 | 18945.7396 | 18940.9233 | 0.3497
546 | 18919.2576 | 18914.4413 | 0.34921
546.5 | 18883.4877 | 18878.6714 | 0.34855
547 | 18846.3011 | 18841.4848 | 0.34787
547.5 | 18866.1791 | 18861.3628 | 0.34823
548 | 18866.9795 | 18862.1632 | 0.34825
548.5 | 18841.0022 | 18836.1859 | 0.34777
549 | 18794.1341 | 18789.3178 | 0.3469
549.5 | 18718.7876 | 18713.9713 | 0.34551
550 | 18660.5065 | 18655.6902 | 0.34444
550.5 | 18642.1261 | 18637.3098 | 0.3441
551 | 18597.91 | 18593.0937 | 0.34328
551.5 | 18567.7693 | 18562.953 | 0.34272
552 | 18540.0475 | 18535.2312 | 0.34221
552.5 | 18506.7678 | 18501.9515 | 0.3416
553 | 18475.3965 | 18470.5802 | 0.34102
553.5 | 18428.3133 | 18423.497 | 0.34015
554 | 18400.3812 | 18395.5649 | 0.33963
554.5 | 18386.3384 | 18381.5221 | 0.33937
555 | 18370.048 | 18365.2317 | 0.33907
555.5 | 18360.3043 | 18355.488 | 0.33889
556 | 18344.8461 | 18340.0298 | 0.33861
556.5 | 18301.2406 | 18296.4243 | 0.3378
557 | 18236.7533 | 18231.937 | 0.33661
557.5 | 18135.9868 | 18131.1705 | 0.33475
558 | 18032.3548 | 18027.5385 | 0.33284
558.5 | 17966.0603 | 17961.244 | 0.33161
559 | 17913.6956 | 17908.8793 | 0.33065
559.5 | 17860.3636 | 17855.5473 | 0.32966
560 | 17804.3243 | 17799.508 | 0.32863
560.5 | 17741.9365 | 17737.1202 | 0.32748
561 | 17669.483 | 17664.6667 | 0.32614
561.5 | 17624.3217 | 17619.5054 | 0.3253
562 | 17586.667 | 17581.8507 | 0.32461
562.5 | 17516.1669 | 17511.3506 | 0.32331
563 | 17419.3192 | 17414.5029 | 0.32152
563.5 | 17309.6721 | 17304.8558 | 0.3195
564 | 17186.8928 | 17182.0765 | 0.31723
564.5 | 17121.1639 | 17116.3476 | 0.31601
565 | 17043.9169 | 17039.1006 | 0.31459
565.5 | 16947.6908 | 16942.8745 | 0.31281
566 | 16815.0319 | 16810.2156 | 0.31036
566.5 | 16667.3273 | 16662.511 | 0.30764
567 | 16538.3248 | 16533.5085 | 0.30525
567.5 | 16451.3439 | 16446.5276 | 0.30365
568 | 16409.4941 | 16404.6778 | 0.30288
568.5 | 16365.0708 | 16360.2545 | 0.30206
569 | 16300.304 | 16295.4877 | 0.30086
569.5 | 16181.1331 | 16176.3168 | 0.29866
570 | 16059.9212 | 16055.105 | 0.29642
570.5 | 15950.0674 | 15945.2512 | 0.29439
571 | 15837.8402 | 15833.0239 | 0.29232
571.5 | 15760.1098 | 15755.2935 | 0.29089
572 | 15589.6181 | 15584.8018 | 0.28774
572.5 | 15435.1241 | 15430.3078 | 0.28489
573 | 15278.5589 | 15273.7426 | 0.282
573.5 | 15167.3597 | 15162.5434 | 0.27994
574 | 15089.0331 | 15084.2168 | 0.2785
574.5 | 14995.4574 | 14990.6411 | 0.27677
575 | 14865.4629 | 14860.6466 | 0.27437
575.5 | 14738.1524 | 14733.3362 | 0.27202
576 | 14585.3155 | 14580.4992 | 0.2692
576.5 | 14466.8366 | 14462.0203 | 0.26701
577 | 14314.5342 | 14309.7179 | 0.2642
577.5 | 14152.8212 | 14148.0049 | 0.26121
578 | 14012.4574 | 14007.6411 | 0.25862
578.5 | 13888.9016 | 13884.0853 | 0.25634
579 | 13836.6545 | 13831.8382 | 0.25537
579.5 | 13698.0445 | 13693.2282 | 0.25281
580 | 13567.9427 | 13563.1264 | 0.25041
580.5 | 13380.7808 | 13375.9645 | 0.24696
581 | 13222.3652 | 13217.5489 | 0.24403
581.5 | 13113.2474 | 13108.4311 | 0.24202
582 | 13010.6245 | 13005.8082 | 0.24012
582.5 | 12954.7049 | 12949.8886 | 0.23909
583 | 12833.8545 | 12829.0382 | 0.23686
583.5 | 12732.2248 | 12727.4085 | 0.23498
584 | 12597.6697 | 12592.8534 | 0.2325
584.5 | 12493.5871 | 12488.7708 | 0.23058
585 | 12390.0158 | 12385.1995 | 0.22866
585.5 | 12252.3425 | 12247.5262 | 0.22612
586 | 12140.23 | 12135.4137 | 0.22405
586.5 | 11996.3793 | 11991.563 | 0.2214
587 | 11898.7933 | 11893.977 | 0.2196
587.5 | 11801.9796 | 11797.1633 | 0.21781
588 | 11694.8811 | 11690.0649 | 0.21583
588.5 | 11572.6162 | 11567.7999 | 0.21357
589 | 11443.1369 | 11438.3206 | 0.21118
589.5 | 11320.6749 | 11315.8586 | 0.20892
590 | 11198.7633 | 11193.947 | 0.20667
590.5 | 11075.5458 | 11070.7296 | 0.2044
591 | 11005.7676 | 11000.9514 | 0.20311
591.5 | 10897.6529 | 10892.8366 | 0.20111
592 | 10803.1695 | 10798.3532 | 0.19937
592.5 | 10684.9342 | 10680.1179 | 0.19718
593 | 10498.9052 | 10494.0889 | 0.19375
593.5 | 10377.8995 | 10373.0832 | 0.19152
594 | 10220.749 | 10215.9327 | 0.18861
594.5 | 10113.515 | 10108.6987 | 0.18663
595 | 9973.305 | 9968.4887 | 0.18405
595.5 | 9845.8782 | 9841.0619 | 0.18169
596 | 9737.6204 | 9732.8041 | 0.17969
596.5 | 9639.436 | 9634.6197 | 0.17788
597 | 9546.4548 | 9541.6385 | 0.17616
597.5 | 9379.6435 | 9374.8272 | 0.17309
598 | 9248.0291 | 9243.2128 | 0.17066
598.5 | 9125.1608 | 9120.3445 | 0.16839
599 | 9036.5005 | 9031.6842 | 0.16675
599.5 | 8944.9183 | 8940.102 | 0.16506
600 | 8830.7289 | 8825.9126 | 0.16295
600.5 | 8711.5319 | 8706.7156 | 0.16075
601 | 8604.6252 | 8599.8089 | 0.15878
601.5 | 8504.0799 | 8499.2636 | 0.15692
602 | 8426.7001 | 8421.8838 | 0.15549
602.5 | 8317.2121 | 8312.3958 | 0.15347
603 | 8200.2431 | 8195.4268 | 0.15131
603.5 | 8088.8361 | 8084.0198 | 0.14925
604 | 7982.0853 | 7977.269 | 0.14728
604.5 | 7881.8688 | 7877.0525 | 0.14543
605 | 7791.8963 | 7787.08 | 0.14377
605.5 | 7675.4106 | 7670.5943 | 0.14162
606 | 7575.9979 | 7571.1816 | 0.13978
606.5 | 7496.0997 | 7491.2834 | 0.13831
607 | 7402.8722 | 7398.0559 | 0.13659
607.5 | 7294.1815 | 7289.3652 | 0.13458
608 | 7190.2007 | 7185.3844 | 0.13266
608.5 | 7061.1131 | 7056.2968 | 0.13028
609 | 6943.197 | 6938.3807 | 0.1281
609.5 | 6811.4852 | 6806.6689 | 0.12567
610 | 6670.5895 | 6665.7732 | 0.12307
610.5 | 6531.3087 | 6526.4924 | 0.1205
611 | 6389.1309 | 6384.3146 | 0.11787
611.5 | 6240.8267 | 6236.0104 | 0.11513
612 | 6101.7206 | 6096.9043 | 0.11257
612.5 | 5989.0725 | 5984.2562 | 0.11049
613 | 5866.8078 | 5861.9915 | 0.10823
613.5 | 5754.3591 | 5749.5428 | 0.10615
614 | 5648.5889 | 5643.7726 | 0.1042
614.5 | 5558.0869 | 5553.2707 | 0.10253
615 | 5483.0113 | 5478.195 | 0.10114
615.5 | 5417.6989 | 5412.8826 | 0.099937
616 | 5373.9697 | 5369.1535 | 0.099129
616.5 | 5357.4037 | 5352.5874 | 0.098824
617 | 5329.937 | 5325.1207 | 0.098316
617.5 | 5329.7866 | 5324.9703 | 0.098314
618 | 5353.1523 | 5348.336 | 0.098745
618.5 | 5387.1268 | 5382.3106 | 0.099372
619 | 5414.8472 | 5410.0309 | 0.099884
619.5 | 5415.0412 | 5410.2249 | 0.099888
620 | 5363.4127 | 5358.5964 | 0.098934
620.5 | 5275.6422 | 5270.8259 | 0.097314
621 | 5192.0947 | 5187.2784 | 0.095771
621.5 | 5121.8885 | 5117.0722 | 0.094475
622 | 5077.785 | 5072.9687 | 0.093661
622.5 | 5041.2174 | 5036.4011 | 0.092986
623 | 4986.5346 | 4981.7183 | 0.091976
623.5 | 4936.0775 | 4931.2612 | 0.091045
624 | 4885.2901 | 4880.4738 | 0.090107
624.5 | 4834.8448 | 4830.0285 | 0.089176
625 | 4791.2558 | 4786.4395 | 0.088371
625.5 | 4727.7862 | 4722.9699 | 0.087199
626 | 4665.1859 | 4660.3697 | 0.086043
626.5 | 4617.0748 | 4612.2585 | 0.085155
627 | 4565.5965 | 4560.7802 | 0.084205
627.5 | 4542.5191 | 4537.7028 | 0.083779
628 | 4503.7246 | 4498.9083 | 0.083062
628.5 | 4461.5835 | 4456.7673 | 0.082284
629 | 4429.6963 | 4424.88 | 0.081695
629.5 | 4383.6904 | 4378.8741 | 0.080846
630 | 4330.3798 | 4325.5635 | 0.079862
630.5 | 4287.4135 | 4282.5972 | 0.079069
631 | 4240.8409 | 4236.0246 | 0.078209
631.5 | 4230.211 | 4225.3947 | 0.078012
632 | 4204.9472 | 4200.1309 | 0.077546
632.5 | 4168.1261 | 4163.3098 | 0.076866
633 | 4111.2837 | 4106.4674 | 0.075817
633.5 | 4042.9768 | 4038.1605 | 0.074556
634 | 3976.5079 | 3971.6916 | 0.073328
634.5 | 3915.5269 | 3910.7107 | 0.072203
635 | 3848.9557 | 3844.1394 | 0.070973
635.5 | 3830.641 | 3825.8247 | 0.070635
636 | 3817.7337 | 3812.9174 | 0.070397
636.5 | 3815.3035 | 3810.4872 | 0.070352
637 | 3790.2677 | 3785.4514 | 0.06989
637.5 | 3739.3754 | 3734.5591 | 0.06895
638 | 3679.8558 | 3675.0395 | 0.067851
638.5 | 3624.1498 | 3619.3335 | 0.066823
639 | 3575.015 | 3570.1987 | 0.065916
639.5 | 3552.2887 | 3547.4724 | 0.065496
640 | 3532.8177 | 3528.0014 | 0.065137
640.5 | 3501.0736 | 3496.2574 | 0.064551
641 | 3455.3178 | 3450.5015 | 0.063706
641.5 | 3411.239 | 3406.4227 | 0.062892
642 | 3377.0842 | 3372.2679 | 0.062261
642.5 | 3332.7837 | 3327.9674 | 0.061443
643 | 3304.3024 | 3299.4861 | 0.060918
643.5 | 3266.3425 | 3261.5262 | 0.060217
644 | 3243.5113 | 3238.695 | 0.059795
644.5 | 3200.4374 | 3195.6211 | 0.059
645 | 3147.0356 | 3142.2193 | 0.058014
645.5 | 3095.8845 | 3091.0682 | 0.05707
646 | 3045.8848 | 3041.0685 | 0.056147
646.5 | 3009.5464 | 3004.7301 | 0.055476
647 | 2992.8896 | 2988.0733 | 0.055168
647.5 | 2975.7634 | 2970.9471 | 0.054852
648 | 2958.9966 | 2954.1803 | 0.054542
648.5 | 2923.2928 | 2918.4765 | 0.053883
649 | 2881.1559 | 2876.3396 | 0.053105
649.5 | 2844.8937 | 2840.0774 | 0.052436
650 | 2806.9848 | 2802.1685 | 0.051736
650.5 | 2780.3677 | 2775.5514 | 0.051244
651 | 2750.64 | 2745.8237 | 0.050695
651.5 | 2728.7731 | 2723.9568 | 0.050292
652 | 2702.1547 | 2697.3384 | 0.0498
652.5 | 2665.022 | 2660.2057 | 0.049115
653 | 2621.7369 | 2616.9206 | 0.048316
653.5 | 2583.8463 | 2579.03 | 0.047616
654 | 2565.165 | 2560.3487 | 0.047271
654.5 | 2581.8361 | 2577.0198 | 0.047579
655 | 2594.5272 | 2589.7109 | 0.047813
655.5 | 2593.4759 | 2588.6596 | 0.047794
656 | 2558.865 | 2554.0487 | 0.047155
656.5 | 2526.4846 | 2521.6683 | 0.046557
657 | 2509.3708 | 2504.5545 | 0.046241
657.5 | 2495.33 | 2490.5137 | 0.045982
658 | 2488.5171 | 2483.7008 | 0.045856
658.5 | 2468.5558 | 2463.7395 | 0.045487
659 | 2429.8962 | 2425.0799 | 0.044774
659.5 | 2399.3913 | 2394.575 | 0.04421
660 | 2361.6227 | 2356.8064 | 0.043513
660.5 | 2329.4817 | 2324.6654 | 0.04292
661 | 2306.5579 | 2301.7416 | 0.042496
661.5 | 2277.298 | 2272.4817 | 0.041956
662 | 2234.1509 | 2229.3346 | 0.04116
662.5 | 2163.653 | 2158.8367 | 0.039858
663 | 2098.7476 | 2093.9313 | 0.03866
663.5 | 2050.0346 | 2045.2183 | 0.03776
664 | 2015.8677 | 2011.0514 | 0.03713
664.5 | 1989.563 | 1984.7467 | 0.036644
665 | 1962.2066 | 1957.3903 | 0.036139
665.5 | 1930.8612 | 1926.045 | 0.03556
666 | 1910.0793 | 1905.263 | 0.035176
666.5 | 1875.2332 | 1870.4169 | 0.034533
667 | 1843.387 | 1838.5707 | 0.033945
667.5 | 1818.6762 | 1813.86 | 0.033489
668 | 1805.3055 | 1800.4892 | 0.033242
668.5 | 1799.3955 | 1794.5792 | 0.033133
669 | 1789.2065 | 1784.3902 | 0.032945
669.5 | 1764.3499 | 1759.5336 | 0.032486
670 | 1733.7922 | 1728.976 | 0.031922
670.5 | 1712.7805 | 1707.9642 | 0.031534
671 | 1696.5245 | 1691.7082 | 0.031234
671.5 | 1676.7268 | 1671.9105 | 0.030868
672 | 1646.9017 | 1642.0854 | 0.030317
672.5 | 1612.3409 | 1607.5246 | 0.029679
673 | 1579.4477 | 1574.6315 | 0.029072
673.5 | 1547.7544 | 1542.9381 | 0.028487
674 | 1525.3384 | 1520.5221 | 0.028073
674.5 | 1498.1243 | 1493.308 | 0.027571
675 | 1472.9619 | 1468.1456 | 0.027106
675.5 | 1447.7391 | 1442.9228 | 0.02664
676 | 1427.6669 | 1422.8506 | 0.02627
676.5 | 1410.1692 | 1405.3529 | 0.025947
677 | 1391.2513 | 1386.435 | 0.025597
677.5 | 1372.4347 | 1367.6184 | 0.02525
678 | 1341.7639 | 1336.9476 | 0.024684
678.5 | 1322.722 | 1317.9058 | 0.024332
679 | 1309.5093 | 1304.693 | 0.024088
679.5 | 1291.3252 | 1286.5089 | 0.023753
680 | 1272.909 | 1268.0927 | 0.023412
680.5 | 1253.1631 | 1248.3468 | 0.023048
681 | 1231.6675 | 1226.8512 | 0.022651
681.5 | 1217.4171 | 1212.6008 | 0.022388
682 | 1196.4052 | 1191.5889 | 0.022
682.5 | 1167.6131 | 1162.7968 | 0.021468
683 | 1143.3815 | 1138.5652 | 0.021021
683.5 | 1124.0555 | 1119.2393 | 0.020664
684 | 1109.0725 | 1104.2562 | 0.020388
684.5 | 1096.7807 | 1091.9644 | 0.020161
685 | 1082.4609 | 1077.6446 | 0.019896
685.5 | 1063.5643 | 1058.748 | 0.019547
686 | 1071.8453 | 1067.029 | 0.0197
686.5 | 1050.1867 | 1045.3704 | 0.0193
687 | 1045.1563 | 1040.34 | 0.019208
687.5 | 1026.507 | 1021.6907 | 0.018863
688 | 1008.2768 | 1003.4605 | 0.018527
688.5 | 997.4168 | 992.6005 | 0.018326
689 | 984.8183 | 980.002 | 0.018094
689.5 | 966.289 | 961.4727 | 0.017751
690 | 955.525 | 950.7087 | 0.017553
690.5 | 931.7037 | 926.8874 | 0.017113
691 | 913.8395 | 909.0232 | 0.016783
691.5 | 899.9956 | 895.1793 | 0.016527
692 | 883.6808 | 878.8645 | 0.016226
692.5 | 865.935 | 861.1187 | 0.015899
693 | 848.5729 | 843.7566 | 0.015578
693.5 | 825.9542 | 821.1379 | 0.01516
694 | 807.8878 | 803.0715 | 0.014827
694.5 | 791.4732 | 786.6569 | 0.014524
695 | 776.5111 | 771.6948 | 0.014248
695.5 | 764.3557 | 759.5394 | 0.014023
696 | 752.5965 | 747.7802 | 0.013806
696.5 | 744.5473 | 739.731 | 0.013657
697 | 737.8559 | 733.0397 | 0.013534
697.5 | 718.7776 | 713.9613 | 0.013182
698 | 705.8997 | 701.0834 | 0.012944
698.5 | 669.8498 | 665.0335 | 0.012278
699 | 651.1817 | 646.3654 | 0.011934
699.5 | 630.8782 | 626.0619 | 0.011559
700 | 622.1139 | 617.2976 | 0.011397
700.5 | 619.326 | 614.5097 | 0.011346
701 | 613.4046 | 608.5883 | 0.011236
701.5 | 614.2965 | 609.4802 | 0.011253
702 | 602.6094 | 597.7932 | 0.011037
702.5 | 591.4755 | 586.6592 | 0.010831
703 | 571.7186 | 566.9023 | 0.010467
703.5 | 557.7297 | 552.9134 | 0.010208
704 | 547.0099 | 542.1936 | 0.01001
704.5 | 536.4872 | 531.6709 | 0.0098161
705 | 526.8594 | 522.0431 | 0.0096384
705.5 | 518.8843 | 514.068 | 0.0094911
706 | 506.5298 | 501.7135 | 0.009263
706.5 | 492.7319 | 487.9156 | 0.0090083
707 | 483.2414 | 478.4251 | 0.008833
707.5 | 471.9433 | 467.127 | 0.0086245
708 | 464.1807 | 459.3645 | 0.0084811
708.5 | 449.6041 | 444.7878 | 0.008212
709 | 425.7327 | 420.9164 | 0.0077713
709.5 | 409.5075 | 404.6912 | 0.0074717
710 | 401.965 | 397.1487 | 0.0073325
710.5 | 405.007 | 400.1907 | 0.0073886
711 | 397.8649 | 393.0486 | 0.0072568
711.5 | 391.4817 | 386.6654 | 0.0071389
712 | 376.1974 | 371.3811 | 0.0068567
712.5 | 363.4321 | 358.6158 | 0.006621
713 | 355.1278 | 350.3115 | 0.0064677
713.5 | 342.0814 | 337.2651 | 0.0062268
714 | 349.6583 | 344.842 | 0.0063667
714.5 | 345.9709 | 341.1546 | 0.0062987
715 | 344.7538 | 339.9375 | 0.0062762
715.5 | 329.656 | 324.8397 | 0.0059974
716 | 317.5252 | 312.7089 | 0.0057735
716.5 | 311.4398 | 306.6235 | 0.0056611
717 | 307.1406 | 302.3243 | 0.0055817
717.5 | 304.3738 | 299.5575 | 0.0055307
718 | 307.6828 | 302.8665 | 0.0055918
718.5 | 298.0507 | 293.2344 | 0.0054139
719 | 282.0172 | 277.2009 | 0.0051179
719.5 | 257.126 | 252.3098 | 0.0046583
720 | 237.7426 | 232.9263 | 0.0043005
720.5 | 231.4115 | 226.5952 | 0.0041836
721 | 235.5033 | 230.687 | 0.0042591
721.5 | 237.6812 | 232.8649 | 0.0042993
722 | 224.5078 | 219.6915 | 0.0040561
722.5 | 212.0583 | 207.242 | 0.0038263
723 | 199.6351 | 194.8188 | 0.0035969
723.5 | 199.1459 | 194.3296 | 0.0035879
724 | 203.4609 | 198.6446 | 0.0036675
724.5 | 206.165 | 201.3487 | 0.0037175
725 | 200.693 | 195.8767 | 0.0036164
725.5 | 188.5161 | 183.6998 | 0.0033916
726 | 178.955 | 174.1387 | 0.0032151
726.5 | 164.672 | 159.8557 | 0.0029514
727 | 169.0394 | 164.2231 | 0.003032
727.5 | 159.9018 | 155.0855 | 0.0028633
728 | 153.7816 | 148.9653 | 0.0027503
728.5 | 143.7309 | 138.9146 | 0.0025647
729 | 136.8177 | 132.0014 | 0.0024371
729.5 | 137.085 | 132.2687 | 0.002442
730 | 135.9781 | 131.1618 | 0.0024216
730.5 | 133.9384 | 129.1221 | 0.002384
731 | 134.0264 | 129.2101 | 0.0023856
731.5 | 138.3021 | 133.4858 | 0.0024645
732 | 137.712 | 132.8957 | 0.0024536
732.5 | 136.0873 | 131.271 | 0.0024236
733 | 127.6076 | 122.7913 | 0.0022671
733.5 | 118.8271 | 114.0108 | 0.002105
734 | 117.6592 | 112.8429 | 0.0020834
734.5 | 107.6333 | 102.817 | 0.0018983
735 | 106.3424 | 101.5261 | 0.0018745
735.5 | 110.1317 | 105.3154 | 0.0019444
736 | 114.9228 | 110.1065 | 0.0020329
736.5 | 118.7397 | 113.9234 | 0.0021033
737 | 116.9804 | 112.1641 | 0.0020709
737.5 | 112.783 | 107.9667 | 0.0019934
738 | 111.7995 | 106.9832 | 0.0019752
738.5 | 112.9167 | 108.1004 | 0.0019958
739 | 110.6584 | 105.8421 | 0.0019541
739.5 | 110.1887 | 105.3724 | 0.0019455
740 | 112.1017 | 107.2854 | 0.0019808
740.5 | 114.2676 | 109.4513 | 0.0020208
741 | 111.9203 | 107.104 | 0.0019774
741.5 | 108.038 | 103.2217 | 0.0019058
742 | 102.961 | 98.1447 | 0.001812
742.5 | 93.9768 | 89.1605 | 0.0016461
743 | 89.4933 | 84.677 | 0.0015634
743.5 | 84.764 | 79.9477 | 0.0014761
744 | 86.4214 | 81.6051 | 0.0015067
744.5 | 89.0732 | 84.257 | 0.0015556
745 | 84.9955 | 80.1792 | 0.0014803
745.5 | 81.4216 | 76.6053 | 0.0014143
746 | 81.1105 | 76.2942 | 0.0014086
746.5 | 82.163 | 77.3467 | 0.001428
747 | 86.84 | 82.0237 | 0.0015144
747.5 | 85.8701 | 81.0538 | 0.0014965
748 | 86.4232 | 81.6069 | 0.0015067
748.5 | 93.8261 | 89.0098 | 0.0016434
749 | 95.7693 | 90.953 | 0.0016792
749.5 | 91.7732 | 86.9569 | 0.0016055
750 | 85.1631 | 80.3468 | 0.0014834
750.5 | 77.783 | 72.9667 | 0.0013472
751 | 71.5462 | 66.7299 | 0.001232
751.5 | 74.2511 | 69.4348 | 0.001282
752 | 75.104 | 70.2877 | 0.0012977
752.5 | 82.4965 | 77.6802 | 0.0014342
753 | 84.11 | 79.2937 | 0.001464
753.5 | 75.0735 | 70.2572 | 0.0012971
754 | 69.6691 | 64.8528 | 0.0011974
754.5 | 69.9158 | 65.0995 | 0.0012019
755 | 69.7613 | 64.945 | 0.0011991
755.5 | 73.8778 | 69.0615 | 0.0012751
756 | 61.6958 | 56.8795 | 0.0010502
756.5 | 58.2668 | 53.4505 | 0.00098684
757 | 58.4342 | 53.618 | 0.00098994
757.5 | 59.3203 | 54.504 | 0.0010063
758 | 65.4619 | 60.6456 | 0.0011197
758.5 | 71.098 | 66.2817 | 0.0012237
759 | 71.7569 | 66.9406 | 0.0012359
759.5 | 70.8166 | 66.0003 | 0.0012185
760 | 66.4183 | 61.602 | 0.0011373
760.5 | 64.7105 | 59.8942 | 0.0011058
761 | 70.7413 | 65.925 | 0.0012172
761.5 | 67.7285 | 62.9122 | 0.0011615
762 | 62.5667 | 57.7504 | 0.0010662
762.5 | 56.3733 | 51.5571 | 0.00095189
763 | 53.4179 | 48.6016 | 0.00089732
763.5 | 55.4643 | 50.648 | 0.0009351
764 | 55.8937 | 51.0774 | 0.00094303
764.5 | 63.7604 | 58.9441 | 0.0010883
765 | 58.0156 | 53.1993 | 0.00098221
765.5 | 57.6189 | 52.8026 | 0.00097488
766 | 50.7618 | 45.9455 | 0.00084828
766.5 | 37.9727 | 33.1565 | 0.00061216
767 | 25.7322 | 20.9159 | 0.00038616
767.5 | 22.0104 | 17.1941 | 0.00031745
768 | 28.6341 | 23.8178 | 0.00043974
768.5 | 35.1948 | 30.3785 | 0.00056087
769 | 36.5507 | 31.7344 | 0.0005859
769.5 | 26.1462 | 21.3299 | 0.00039381
770 | 24.3333 | 19.517 | 0.00036034
770.5 | 25.6791 | 20.8628 | 0.00038519
771 | 28.8429 | 24.0267 | 0.0004436
771.5 | 32.5774 | 27.7611 | 0.00051255
772 | 36.2814 | 31.4651 | 0.00058093
772.5 | 40.5257 | 35.7094 | 0.00065929
773 | 42.8438 | 38.0275 | 0.00070209
773.5 | 44.3776 | 39.5613 | 0.00073041
774 | 42.0574 | 37.2411 | 0.00068757
774.5 | 42.8052 | 37.9889 | 0.00070138
775 | 44.4573 | 39.641 | 0.00073188
775.5 | 48.2842 | 43.4679 | 0.00080254
776 | 50.4216 | 45.6053 | 0.000842
776.5 | 46.5793 | 41.763 | 0.00077106
777 | 41.0921 | 36.2759 | 0.00066975
777.5 | 34.9817 | 30.1654 | 0.00055694
778 | 36.2803 | 31.464 | 0.00058091
778.5 | 39.2717 | 34.4554 | 0.00063614
779 | 39.9111 | 35.0948 | 0.00064795
779.5 | 39.1153 | 34.299 | 0.00063325
780 | 36.8691 | 32.0528 | 0.00059178
780.5 | 31.8314 | 27.0151 | 0.00049877
781 | 26.2135 | 21.3972 | 0.00039505
781.5 | 26.274 | 21.4577 | 0.00039617
782 | 11.1545 | 6.3382 | 0.00011702
782.5 | 20.6315 | 15.8152 | 0.00029199
783 | 16.9873 | 12.171 | 0.00022471
783.5 | 21.1163 | 16.3 | 0.00030094
784 | 23.0517 | 18.2354 | 0.00033668
784.5 | 20.7223 | 15.906 | 0.00029367
785 | 20.2549 | 15.4387 | 0.00028504
785.5 | 22.1573 | 17.341 | 0.00032016
786 | 19.3034 | 14.4871 | 0.00026747
786.5 | 24.7996 | 19.9833 | 0.00036895
787 | 20.6247 | 15.8084 | 0.00029187
787.5 | 12.9869 | 8.1706 | 0.00015085
788 | 10.1584 | 5.3421 | 9.8629e-05
788.5 | 18.9767 | 14.1604 | 0.00026144
789 | 28.803 | 23.9867 | 0.00044286
789.5 | 32.3252 | 27.5089 | 0.00050789
790 | 35.5431 | 30.7268 | 0.0005673
790.5 | 25.0259 | 20.2097 | 0.00037313
791 | 33.6295 | 28.8132 | 0.00053197
791.5 | 20.2943 | 15.478 | 0.00028577
792 | 13.8449 | 9.0286 | 0.00016669
792.5 | 12.5332 | 7.7169 | 0.00014248
793 | 13.6377 | 8.8214 | 0.00016287
793.5 | 15.6925 | 10.8762 | 0.00020081
794 | 14.9677 | 10.1514 | 0.00018742
794.5 | 7.6735 | 2.8573 | 5.2753e-05
795 | 3.5813 | 0 | 0
795.5 | 0.65205 | 0 | 0
796 | 0.58929 | 0 | 0
796.5 | 8.8798 | 4.0635 | 7.5024e-05
797 | 13.9978 | 9.1815 | 0.00016952
797.5 | 10.7348 | 5.9185 | 0.00010927
798 | 7.4719 | 2.6556 | 4.903e-05
798.5 | 4.209 | 0 | 0
799 | 7.4719 | 2.6556 | 4.903e-05
799.5 | 4.209 | 0 | 0
800 | 13.9978 | 9.1815 | 0.00016952